Board Staff Interrogatories

West Coast Huron Energy Inc.

EB-2009-0248
Page 3 of 34

Board Staff Interrogatories

2009 Electricity Distribution Rates

West Coast Huron Energy Inc. (“West Coast Huron”)
EB-2008-0248
Economic Assumptions
1.  Ref: n/a
a)
Given the general economic situation in Ontario, has West Coast Huron assessed the situation and identified any specific issues that may have a material impact on its load and revenue forecasts and bad debt expense forecast?
· West Coast Huron Energy filed its application in September, in order to file at this time Load and Revenue forecasts were completed in July.  While there were initial signs that the economic situation could worsen in Ontario, it was not apparent how significant the downturn would be when these forecasts were completed.  
b)
If so, please indicate if West Coast Huron will be updating its current application, in whole or in part, to address any material impacts.  If yes, please provide an estimate of the timing of the update. 
· Given the current economic situation, and other interrogatories posed in this document concerning load forecasts, WCHE is in the process of recalculating its load and revenue forecasts.
· WCHE plans to update its current application by January 16th, 2009.
2.  Ref: Exh2/Tab3/Sch2 
a)
Please provide a list of criteria and the rationale that West Coast Huron has used in the prioritization and selection of 2009 maintenance and capital projects in its application.  
· The list of criteria established for WCHE has been provided as Schedule 2 A, Criteria are consistent across all projects. The ranking of each criterion is the differentiator between projects.  Rational for selection on the drop downs for each established criteria is based on an assessment of the individual project.  Each criterion is reviewed and ranked on the projects individual merit value by doing the project and the risk along with probability associated with deferral. Ranking is not intended to be taken literally, however is intended to guide the process scoring.  Each project has its own unique characteristics such as system constraints, pole condition, copper primary conductor, open secondary buss, old construction, location of the project, close to schools, high density areas, PCB issues etc.  The project characteristics facilitate scoring discussions that determine the ranking established. 

· The process establishes the appropriate investments needed to achieve WCHE value expectation established by management within WCHE risk tolerance.  Value expectations are considerations important to the enterprise that include why we are in business.  Types of risk that are reviewed are Operational Risk, Market Risk and Financial Risks.  Risk considerations are probability/how often, consequence/how bad or good, what is absolutely necessary.
b)
Please identify, individually, maintenance and capital programs, if any, that West Coast Huron may consider as a candidate for a deferral, cut, or partial adjustment, given the current economic situation. Please identify these programs, if any, in a ranking order that West Coast Huron would consider, using a ranking of “1” as the first suitable candidate, ranking of “2” as the second suitable candidate, ranking of “3” as the third suitable candidate, etc.  
· WCHE has not considered any of the projects for deferral based on the high risks associated with each project.  
c) Please identify the rationale for the selection of these maintenance and capital programs and projects.  WCHE has not considered any of the projects for deferral based on the high risks associated with each project.  
· Risk of deferral for maintenance projects would jeopardize the utilities compliance to current regulations and potentially increase risk to public safety as well as impact the reliability of the system.  Regulations have been put in place to ensure distributors are managing their assets to a standard that is considered a minimum.  WCHE’s maintenance plan detailed in Appendix J of the original application is aligned with current regulations and is deemed to be in compliance with the DSC and ESA’s regulation 22/04 that establishes the inspection requirements as well as the follow up for corrective action.  

· Pole replacements:  WCHE’s capital investments plan takes necessary steps to follow up with corrective action in replacing poles that have been determined to be danger poles.  Danger poles identified were a direct result of the Distribution System Maintenance plan.

· New bucket truck:  WCHE has a current fleet that consists of only one bucket truck. The existing bucket truck is a 1990 50’ aerial devise over 18 years old and has exceeded its end of life expectation. Most bucket truck fleets are fully depreciated after 10 years.  Typically the life expectancy of a bucket truck does not exceed 15 years maximum. With the constraint of only having one bucket truck it is imperative that the utilities fleet is maintained in good operational standing, so as not to jeopardize worker safety while working aloft. The fact that this truck has surpassed it useful life expectancy demonstrates that WCHE has been prudent with its fleet operations.

· New connections:  Although the economy has take a drastic turn over the last six month the anticipation for new commercial development is still high within the Town of Goderich.  Goderich serves as a commercial hub to smaller outlying communities.  With local area energy developments and a high tourism attraction to the community, trends are predicted to be consistent with past years on the commercial development side.  

· M3 & M4 Feeder Enhancements:  Rational for this project has been detailed in Appendix I of the original application, titled “Distribution System Assessment”.  The project for 2009 is phase 2 of a multiyear investment to relieve the already constrained distribution system.  The recent announcement of the Volvo plant shut down in 2010 will alleviate only some of the constraints.  The fact remains, as detailed in the study, Sifto Salt is a large industrial user connected to the end of the distribution loop that continues to create a great deal of constraint in the ability to operate the system effectively.  A well planned multiyear investment will increase system capacity and operating flexibility that will improve system reliability and spread the costs over time to alleviate rate shock to the customer. With the new trends for green and clean the future demands on the distribution system are sure to increase as we move towards the electric vehicles of the future.  Investment into aging infrastructure may be more crucial than ever before.  
· Any deletion of capital projects due to the economic downturn may impact the ability of WCHE to supply this customer, and maintain reliability, given its existing requirements and possible growth.
d) Please describe the expected impacts on West Coast Huron’s revenue requirement, operations and service quality and reliability to customers if the identified programs are reduced, deferred or cut during the economic downturn. 
· If the capital programs are reduced to 2008 levels then WCHE’s revenue requirement would be reduced by $43,000.  If the programs were all cut there would be a $73,000 reduction to revenue requirement.
· The expected impacts on Operations, and service quality are detailed in the responses to question # 2 C above.
· In the short term reliability  would be impacted minimally, however, by deferring this second phase of the M3 & M4 feeder enhancements the system will continue to be constrained and as more load is added to the system reliability would eventually be negatively impacted.
Operating Costs

3.  Ref: Exh2/Tab4/Sch1 & Exh4/Tab2/Sch1

In this Exhibit, for 2007 meter reading expense and customer billing expense, West Coast Huron reports the following amounts:

· $3,365 in Exh2/Tab4/Sch1/p2 and a different number, $90,990 in Exh4/Tab2/Sch1/p3, for meter reading expense (APH account 5310)

· $22,557 in Exh2/Tab4/Sch1/p2 and a different number, $287,904 in Exh4/Tab2/Sch1/p3, for customer billing expense (APH account 5315)

· There are also different numbers reported in Exh2/Tab4/Sch1/p2 versus Exh4/Tab2/Sch1/p3, for accounts 5325 and 5340, although the differences are immaterial.
For each account, please:

a) State the amount reported to the Board for the account in West Coast Huron’s 2007 annual filing pursuant to RRR 2.1.7.
·  5310=$81,296.00; 5315=$252,898.00; 5325=$40.00; 5340=$0.00
b) Identify the components of any difference between the amount in a) and the amounts reported in Exh2/Tab4/Sch1 and Exh4/Tab2/Sch1.
· WCHE’s 2007 annual 2.1.7 filing needs to be updated with respect to these accounts in order to reconcile to the 2007 audited financial statements.  
· The values filed in Exhibit 4/Tab 2/Schedule 1 of the application are correct and reconcile to Schedule 3 in this response.
c) Explain each component of any difference identified in b).  Please include an explanation of which other accounts now contain any such difference by component.
· Attached to this response is Schedule 3 C which details the differences for each account between the 2007 data used in the application and the 2007 RRR 2.1.7 filing.
d) State which amount (the amount in a) above or the amount in Exh2/Tab4/Sch1 or Exh4/Tab2/Sch1 has been reflected in West Coast Huron’s 2007 audited financial statements and identify the line item in the audited financial statements.
· Exhibit 4/Tab 2/Schedule 1 has been reflected in WCHE’s 2007 audited financial statements within the Administration line item of the statements.
e) State which value should be relied upon in this proceeding, and, if different from the value reported in the 2007 audited financial statements, explain why the Board should rely on such different value.
· The Board should rely on the 2007 audited financial statements.
f) Explain the differences in amounts reported in Exh2/Tab4/Sch1 versus Exh4/Tab2/Sch1 and update the necessary schedules as appropriate.
· There were incorrect cell references in Exhibit 2/ Tab 4/ Schedule 1 which have been corrected; an updated Ex2/Tab 4/Sch 1 is included in this response as Schedule 3 F.  The two schedules referenced in the question now reconcile.
4.  Ref: Exh4/Tab1/Sch1

The figures in Table 1 below are taken directly from the public information filing in the Reporting and Record-keeping Requirements (“RRR”) initiative of the OEB.  The figures are available on the OEB’s public website.
Table 1
West Coast Huron Energy Inc.

	
	
	Col. 1
	Col. 2
	Col. 3

	
	
	2003
	2004
	2005

	1
	Operation
	$353,748
	$355,584
	$352,016

	2
	Maintenance
	$0
	$0
	$800

	3
	Billing and Collection 
	$298,799
	$300,181
	$296,804

	4
	Community Relations
	$26,362
	$35,976
	$87,834

	5
	Administrative and General Expenses
	$438,078
	$419,708
	$669,363

	6
	Total OM&A Expenses
	  1,116,986 
	1,111,450 
	 1,406,817 


a) Please confirm West Coast Huron’s agreement with the numbers for Total OM&A Expenses that are summarized in Table 1.
· Confirmed
Board staff also prepared Table 2 below to review West Coast Huron’s OM&A expenses.   Note rounding differences may occur, but are immaterial to the questions below.
Table 2
West Coast Huron Energy Inc.

	
	
	Col. 1
	Col. 2
	Col. 3
	Col. 4
	Col. 5

	
	
	2006 Bd Appr.
	2006 Actual
	2007
	2008 Bridge
	2009 Test

	1
	Operation
	$355,584
	$352,301
	$266,504
	$237,000
	$380,750

	2
	Maintenance
	$2,821
	$115,972
	$43,195
	$109,300
	$91,800

	3
	Billing and Collection 
	$300,181
	$328,405
	$378,933
	$399,324
	$436,800

	4
	Community Relations
	$35,976
	$56,633
	$30,797
	$20,000
	$26,000

	5
	Administrative and General Expenses
	$419,717
	$592,087
	$652,188
	$641,900
	$885,900

	6
	Total
	1,114,279 
	 1,445,398 
	1,371,617 
	 1,407,524 
	1,821,250 


Board Staff Table 3 below was created to review West Coast Huron’s OM&A forecasted expenses from the evidence provided in the application’s Exhibit 4.  Note rounding differences may occur, but are immaterial to the following questions.

[image: image6.wmf]Col. 1

Col. 2

Col. 3

Col. 4

Col. 5

Col. 6

Col. 7

Col. 8

Col. 9

Col. 11

2006

2006

2007

2008

2009

Board 

Approved 

Variance

2006/2006

Actual 

Variance

2007/2006

Actual

Variance

2008/2007

Bridge

Variance

2009/2008

Test

Variance

2009/2006

1

Operation 

355,584

-3,283

352,301

-85,797

266,504

-29,504

237,000

143,750

380,750

28,449

2

-0.9%

-24.4%

-11.1%

60.7%

8.1%

3

Maintenance 

2,821

113,151

115,972

-72,777

43,195

66,105

109,300

-17,500

91,800

-24,172

4

4011.0%

-62.8%

153.0%

-16.0%

-20.8%

5

Billing & Collections

300,181

28,224

328,405

50,528

378,933

20,391

399,324

37,476

436,800

108,395

6

9.4%

15.4%

5.4%

9.4%

33.0%

7

Community Relations

35,976

20,657

56,633

-25,836

30,797

-10,797

20,000

6,000

26,000

-30,633

8

57.4%

-45.6%

-35.1%

30.0%

-54.1%

9

Administrative and General Expenses 

419,717

172,370

592,087

60,101

652,188

-10,288

641,900

244,000

885,900

293,813

10

41.1%

10.2%

-1.6%

38.0%

49.6%

11

Total OM&A Expenses

1,114,279

331,119

1,445,398

-73,781

1,371,617

35,907

1,407,524

413,726

1,821,250

375,852

29.7%

-5.1%

2.6%

29.4%

26.0%

West Coast Huron Energy Inc.

Table 3

b)
Please confirm that West Coast Huron agrees with the two tables prepared by Board Staff presented above. If West Coast Huron does not agree with any table please advise why not. If West Coast Huron determines that the tables require amending, please provide amended tables with full explanation of changes made.
· Confirmed
c)
Please complete Table 4 by identifying the key cost drivers that are contributing to the overall increase of 26% over 2006 Historical relative to 2009 cost levels.

Schedule #4 C attached to this response details the cost drivers.
5. Ref: Exh4/Tab2/Sch3 
Page 7 states for Account 5630, Outside Services Employed that the increase of $55,658 is due to Environmental Services provided by the Town of Goderich.

b) Please provide a more detailed explanation of these Environmental Services.
· The Environmental Services Technologist manages and operates the Demand Side Management Programs, assists customers with energy conservation and updates the hydro webpage. Below is the purpose of this position from the Town of Goderich job description for the Environmental Services Technologist:

· “To develop and manage a comprehensive program for improving the ecology of the Town of Goderich and area, and which specifically:
addresses local, regional, national and international environmental issues as they relate to, or impact upon, local needs and priorities determined by Council; and provides scientific and technical advice and assistance to Council, the Environmental Committee and West Coast Energy Inc. (Goderich Hydro) concerning issues that relate to the environment.“

c) Does West Coast Huron have a planned vegetation management programme?  If not, why not?
· Yes.
d) If West Coast Huron has a planned vegetation management programme, what annual cycle does it employ? 
· West Coast Huron Energy’s vegetation management program is a three year cycle. On an annual basis one third of the vegetation in the Town of Goderich is reviewed and any necessary work completed by our trained utility arborists. West Coast Huron’s annual program is completed during the winter months. West Coast Huron also consults with the Town on their tree planting and removal programs throughout the year.

e) In their application before the Board, EB-2007-0681, Hydro One Networks Inc. stated that they were intending to reach an optimum cycle of eight years for their vegetation management programme.  Please comment on whether such an approach would be appropriate, or alternatively not be appropriate for West Coast Huron.  
· West Coast Huron’s three year program cycle is preferred over Hydro One Networks eight year cycle. An eight cycle for West Coast Huron would be unmanageable. An eight year cycle would mean vegetation would not meet the Hydro Act’s requirements. Also staff would be cutting down trees, not trimming them. Since the vegetation would be so over grown, trimming would not be possible.

6.  Ref: Exh4/Tab2/Sch3/p9 

This schedule shows in Account 5630, Outside Services Employed, that the increase of $131,400 is due to the 2009 Cost of Service Application and increased legal expenses.

a) Please provide the breakdown for actual and forecast, where applicable, for the 2006 Board approved, 2006 actual, 2007 actual, 2008 bridge year, and 2009 Test Year regarding the following regulatory costs and present it in the table format shown below. 
· See Schedule # 6 included in this response.
b) Under “Ongoing or One-time Cost”, please identify and state if any of the regulatory costs are “One-time Cost” and not expected to be incurred by the applicant during the impending period when the applicant is subject to the 3rd Generation IRM process or it is “Ongoing Cost” and will continue throughout the 3rd Generation of IRM process. 
· See Schedule # 6 included in this response.
c) Please state the utility’s proposal on how it intends to recover the “One-time” costs as part of its 2009 rate application.
· Currently one time costs have been treated no differently in WCHE’s application.
· WCHE would propose to recover one third of its costs that are deemed one time costs in order to recover the costs appropriately over a 3 year rebasing window.
7.  Ref: Exh4/Tab2/Sch1

Beginning on Page 6 West Coast Huron itemizes the account balances for OM&A expenses in the test year.  

a)
For the 2009 Forecast test year, please identify and describe any onetime costs other than those explained for regulatory and legal costs above.  
· There are one-time costs of $5,000 to account 5315 to upgrade software.
· There is also a one-time cost for post retirement benefits for $150,000.
b)
Are there any one time costs that were inadvertently carried forward from previous years?
· There are no one-time costs carried forward from previous years.
c)
Are there any expenses for charitable donations in the 2009 forecast?  If there are please identify them.
· There are charitable donations in the form of sponsorship of local charitable events in the amount of $11,900
d)
Are there any costs in the forecast for conversion due to the adoption of International Financial Reporting Standards?  If there are please itemize the costs and the rational of the drivers of the costs.

· There are no costs forecast for the conversion to IFRS.
f) Does West Coast Huron partake in any Winter Warmth or other programmes to assist low income customers?  If so what are the programmes and their costs for 2009?
·  WCHE does not provide such programs, however these programs are provided by and available locally through the County of Huron.
g) Please identify any programmes in the 2009 forecast that are specifically aimed at productivity and efficiency improvements.
· Tree trimming and removals of trees to minimize power outages due to storms, and also reduce line losses.  Regular truck and equipment maintenance minimizes breakdowns and out of service time.  Pole testing schedules help determine deficiencies before problems occur.  Infrared scanning to determine hot spots in the system before they result in an outage.
g)
What inflation rate is used for 2009 and what is the source document for the inflation assumptions?
· A 3% inflation rate is used for 2009 and the source of the assumptions is the Stats Canada Website.
h)
It appears that West Coast Huron has not made a budget provision for bad debt in 2008 and 2009 in Account 5335.  Are bad debt expenses included in any other account?  If so, please provide the levels for bad debt for 2006 Board approved, 2006 Actual, 2007 actual and budgeted 2008 and 2009.
· This was an input error in 2008 and 2009.  There is a budget amount of $10,000 in each year; however it was placed in account 5325 as opposed to account 5335.
8.  Ref:  Exh4/Tab2/Sch6

a)
For what year are the costs provided in this table?  If they are not for 2009, please provide the 2009 estimates.
· The data provided here is for 2009.
b)
Please provide a similar breakdown of purchased services for 2006 Board Approved, 2006 Actual, 2007 and 2008. 

[image: image1.emf]West Coast Huron Energy

Purchased Services

2006 2007 2008 2009

Erie Thames Services IT Support, billing, data processing 77,894.39      86,003.03       99,224.00      128,900.00   

Erie Thames Services Rate rebasing 15,000.00      100,000.00   

Erie Thames Services Operational and Asset Management 40,000.00      63,200.00       69,600.00      72,000.00     

Town of Goderich Administration and environmental services 40,000.00      40,000.00       106,500.00    110,000.00   

Alexandra Marine Hospital after hours call service 7,200.00        7,200.00         7,200.00        7,200.00       

Takalo & Burt audit, rate filing, consultation 36,075.00      34,810.00       40,000.00      40,000.00     

Donnelly & Murphy, Borden Ladner Legal -                3,153.84         15,000.00      75,000.00     

EDA, CHEC, USF, ESA, MEARIE various memberships 33,117.13      30,237.41       35,700.00      36,650.00     

Banter MacEwan, MEARIE insurance premiums 26,966.68      27,773.12       32,000.00      33,900.00     

Goderich Signal Star customer notifications 1,742.14        2,753.85         10,000.00      13,000.00     

RCS rates models 5,840.47        11,458.10       -               

RCS and Ecoanalysis consulting - large user 35,331.49      130.00            -                -                

Hydro One, Ecoanalysis, EMERA cost allocation study 8,009.59        4,511.91        

Erie Thames Services OPG rebate 1,000.00        2,000.00         2,000.00        2,100.00       

Hydro One  Weather  - Norm/load, spec survey 4,500.00       

Organized Power appliance survey 3,000.00       

telephone, fax, photocopy rentals 9,142.43        9,290.41         7,200.00        7,200.00       

329,819.32    322,521.67     439,424.00    625,950.00   

Omitted from above on Exhibit 4 Tab 2 Sched 6 - 2009 test 

2006 2007 2008 2009

EMERA Inc. - Utilismart  wholesale settlement services 31,212.00      31,212.00       36,000.00      38,000.00     

Erie Thames MSP monthly mtce 4,879.92        4,800.00         6,000.00        6,000.00       

671,959.00   


c)
For the 2009 test year, what portion of total OM&A expenses is related to purchased services from third parties?
· 36.9% of the total OM&A expenses (excluding amortization) are related to purchased services from third parties in 2009.
d)
For each contracted service, please identify the year in which a tendering process was used to obtain the contract.
· Billing Services: 2002
· Rate Rebasing Application: 2008
· Operation and Asset Management Services: 2005
d) For each purchased service, please identify as to whether the vendor is an affiliate or an arms length 3rd party. 
· Billing Services: 3rd Party
· Rate Rebasing Application: 3rd Party
· Operation and Asset Management Services: 3rd Party
· Admin and Environmental Services: Affiliate
· Insurance Coverage: 3rd Party
· After Hours Call Service: 3rd Party
· Audit, Rate Filing, Consultation: 3rd Party
· Legal: 3rd Party
· Memberships: 3rd Party
· Insurance Coverage: 3rd Party
· Customer Notifications: 3rd Party
· Telephone, fax Photocopy: 3rd Party
Compensation

9. Ref:  Exh4/Tab2/Sch7

This schedule contains the compensation and benefits statistics.  Although the changes in the levels of compensation and benefits appear forecasted to be 3% for 2009, there are large historical increases that have resulted in large component changes from 2006 to 2009.  

a)
The following table summarizes the data found on this referenced schedule for Base Wages and Benefits.  The indicated percent changes are from one year to the next.  Column 1 contains the Board approved 2006 figures while Column 2 contains the actual 2006.  The percentage change found in Column 6 is based on comparing 2009 to Actual 2006.  Please explain the drivers of the large percentage changes observed in Column 6, referencing the year over year changes for both Base Wage and Benefits by employee type that contribute to these increases.
· 2007 had significant increases due to the recording of $150,000 post employment liability allocation.
· In March of 2006 a Line Superintendent retired and was not replaced by an additional employee.  An outside service contract was entered into to fill this role.
· An Executive secretary retired in September of 2007 and was not replaced.
b) Executive and Management receive incentive pay.  Please describe the basis of determining the incentive payments?  In the description identify the specific goals and the means of quantifying the payout versus results, and whether any of these incentives are tied to productivity or efficiency improvements or to return to the shareholder.
· Incentive payments are determined based on positive results delivered by Executive and Management as well as the ability of the company to pay such incentives.  Consideration is given to the efforts put forth by Executive and Management during the year in terms of productivity, success of the company and managing the business within the approved budget.
Table 5

	West Coast Huron - Compensation 

	
	
	Col 1
	Col. 2
	Col 3
	Col 4
	Col 5
	Col 6

	
	
	2006 BAP
	2006Act
	2007
	2008
	2009
	2009/06

	Compensation - Avg. Base Wage
	
	
	
	

	1.1
	Executive
	9,888
	9,833
	9,833
	9,833
	10,128
	

	1.2
	Management
	55,799
	32,424
	40,445
	43,872
	45,188
	

	1.3
	Non-Union
	
	6,632
	7,417
	7,184
	7,400
	

	1.4
	Union
	52,689
	57,555
	76,641
	70,997
	73,127
	

	1.5
	Total
	118,376
	106,444
	134,336
	131,886
	135,843
	

	Percentage change
	
	
	
	
	

	2.1
	Executive
	
	0%
	0%
	0%
	3%
	3%

	2.2
	Management
	
	-42%
	25%
	8%
	3%
	39%

	2.3
	Non-Union
	
	
	12%
	-3%
	3%
	12%

	2.4
	Union
	
	9%
	33%
	-7%
	3%
	27%

	2.5
	Total
	
	-10%
	26%
	-2%
	3%
	28%

	Compensation - Avg. Benefits
	
	
	
	
	

	3.1
	Executive
	
	200
	219
	231
	238
	

	3.2
	Management
	5,358
	8,511
	12,779
	12,828
	13,213
	

	3.3
	Non-Union
	
	775
	975
	975
	1,004
	

	3.4
	Union
	4,926
	17,042
	24,489
	25,224
	25,981
	

	3.5
	Total
	10,284
	26,528
	38,462
	39,258
	40,436
	

	Percentage change
	
	
	
	
	

	4.1
	Executive
	
	
	10%
	5%
	3%
	19%

	4.2
	Management
	
	59%
	50%
	0%
	3%
	55%

	4.3
	Non-Union
	
	
	26%
	0%
	3%
	30%

	4.4
	Union
	
	246%
	44%
	3%
	3%
	52%

	4.5
	Total
	
	158%
	45%
	2%
	3%
	52%


c) Please complete the following table.
· The table is included as Schedule # 9 C in this response.
Rate Base
10.  Ref: Exh2/Tab2/Sch2/p3
In this Exhibit, for 2007 meters, West Coast Huron reports $320,108 (APH account 1860).  Please:

a) State the amount reported to the Board for the account in West Coast Huron’s 2007 annual filing pursuant to RRR 2.1.7.
· See Schedule 3 C included with this response for a complete reconciliation of differences between filed exhibits and RRR 2.1.7 filings.
b) Identify the components of any difference between the amount in a) and the amount reported in Exh2/Tab2/Sch2.
· The amounts filed in RRR 2.1.7 are correct and the amounts reported in Exhibit 2/2/2 need to be updated in the application.
c) Explain each component of any difference identified in b).  Please include an explanation of which other accounts now contain any such difference by component.
· The amounts filed in Exhibit 2/Tab 2/Schedule 2 were incorrectly entered into the rate model and should reconcile to the RRR 2.1.7 filing and in turn the audited statements.
· Accounts 1920, 1925, 1915 and 1995 also contain such differences and are detailed in Schedule 3 C included in this response.
d) State which amount (the amount in a) above or the amount in Exh2/Tab2/Sch2 has been reflected in West Coast Huron’s 2007 audited financial statements and identify the line item in the audited financial statements.
· The amount filed in RRR 2.1.7 has been reflected in WCHE’s audited financial statements and are included in the Property Plant and Equipment Net line item.
e) State which value should be relied upon in this proceeding, and, if different from the value reported in the 2007 audited financial statements, explain why the Board should rely on such different value.
· The audited financial statements are correct and therefore the value reported in RRR filing 2.1.7 should be relied upon.
11.  Ref: Exh2/Tab2/Sch4/p2
In this Exhibit, for 2007 accumulated deprecation, West Coast Huron reports $1,329,086 (APH account 2105).  Please:

a) State the amount reported to the Board for the account in West Coast Huron’s 2007 annual filing pursuant to RRR 2.1.7.
· The amount filed in the 2007 RRR 2.1.7 in account 2105 is ($1,569,015).

b) Identify the components of any difference between the amount in a) and the amount reported in Exh2/Tab2/Sch4.
· When calculating 2007 accumulated depreciation the model utilized 2006 figures as its starting point.  The values input for 2006 accumulated amortization were in fact 2005 accumulated amortization figures.  When 2006 figures are input the model is correct and Exhibit 2/Tab 2/Schedule 4 is correct.
· An updated Exhibit 2/Tab 2/Schedule 4 is included in this response as Schedule 11 B.
c) Explain each component of any difference identified in b).  Please include an explanation of which other accounts now contain any such difference by component.
· Schedule 11 C details the difference between the 2006 accumulated depreciation amount filed as part of Exhibit 2/Tab 2/ Schedule 4 and the corrected Exhibit filed as Schedule 11 B.
d) State which amount (the amount in a) above or the amount in Exh2/Tab2/Sch4 has been reflected in West Coast Huron’s 2007 audited financial statements and identify the line item in the audited financial statements.
· The RRR 2.1.7 filing amount for this account has been reflected in the audited financial statements in line item Property Plant and Equipment Net.
e) State which value should be relied upon in this proceeding, and, if different from the value reported in the 2007 audited financial statements, explain why the Board should rely on such different value.
· The value filed in RRR 2.1.7 filing should be relied on since it reconciles to the 2007 audited financial statements.
12.  Ref: Exh2/Tab1/Sch1

a)  Please provide West Coast Huron’s Code of Business Conduct.
b)
For the years 2003 to 2009 inclusive, please provide a table listing the following information (actual dollars where available, or expected, planned or projected dollars or % where indicated):

i Net income;

ii Actual Return on Equity (%);

iii Allowed Return on Equity (%);

iv Retained Earnings;

v Dividends to Shareholders;

vi Sustainment Capital Expenditures excluding smart meters;

vii Development Capital Expenditures excluding smart meters;

viii Operations Capital Expenditures;

ix Smart meters Capital Expenditures;

x Other Capital Expenditures (identify);

xi Total Capital Expenditures including and excluding smart meters;

xii Depreciation.
[image: image2.emf]2003 2004 2005 2006 2007 2008 2009

Net income 120,586 $      151,292 $     (327,035) $    31,763 $        117,061 $     62,614 $       264,036 $  

Actual Return on Equity 3.29% 3.97% -9.27% 0.89% 3.21% 1.71% 7.21%

Alowed Return on Equity 9% 9% 9% 9% 9% 9% 8.57

Retained Earnings 120,586 $      443,227 $     116,242 $      148,005 $      235,278 $     297,892 $     561,928 $  

Dividends to shareholders - $              - $             - $             - $              - $             - $             - $          

Sustainment Capital Expenditures ++ ++ ++ ++ ++ ++ ++

excluding smart meters

Development Capital Expenditures ++ ++ ++ ++ ++ ++ ++

Operations Capital Expenditures ++ ++ ++ ++ ++ ++ ++

Smart Meters Capital Expenditures ++ ++ ++ ++ ++ ++ ++

Other Capital Expenditures ++ ++ ++ ++ ++ ++ ++

Total Capital Expenditures 158,443 $      222,049 $     141,441 $      108,118 $      209,808 $     453,000 $     755,000 $  

Including smart meters

Excluding smart meters

Depreciation 189,309 $      202,506 $     205,518 $      210,183 $      212,970 $     294,516 $     350,459 $  

++ Company does not track expenditures separately between Sustainment, Development and Other Capital.

No expenditures have been made to acquire smart meters.


13.  Ref:  Exh2/Tab1/Sch1

For each of the years 2003 to 2009 please provide a table listing the following information (actual dollars where available, or expected, planned or projected dollars or % where indicated):

a)
Average Fixed Assets in Service

b)
Average Depreciation Rate as a % of Average Fixed Assets in Service;

c)
Working Capital as a % of Average Fixed Assets in Service;

d)
Number of Customer Connections in each Customer Category 

xiii New Connections

xiv Service Upgrade Connections

xv Population (actual or estimated) of Service Area.
· Schedule 13 included in this application includes the data requested above.
14. Ref: Exh2/Tab1/Sch1/p2/line6
a)
Please confirm that West Coast Huron Rate Base is described arithmetically as follows:

Rate Base = Gross Assets in Service – (Accumulated Depreciation + Contributed Capital) + Working Capital
· Confirmed
b)
Please confirm that the existing rate base and capital expenditure for 2009 contains AFUDC (also known as “Interest During Construction”) and capitalized overhead. 
· WCHE does not have capital expenditures of a nature that contain AFUDC in 2009 nor capitalized overhead. 
15.  Ref: Exh2/Tab2/Sch1
Please confirm that the continuity statement has included interest during construction and all overheads. 
· The continuity statements do not include interest during construction or overheads.
16. Ref: Exh2/Tab4/Sch1/p6

The 2009 working capital estimate, (based on 15% of power cost and O&M cost), makes up about 24% of the rate base.
a)
Please identify the commodity prices, the wholesale market service charges and the transmission rates used to arrive at the 2009 forecast.

· Schedule 16 A included in this response identifies the rates and volumes used to determine the 2008 and 2009 cost of power forecasts.
d) In view of the impending closure of the Volvo grading equipment manufacturing plant and probable reduction in power purchased, please provide a revised working capital estimate to reflect the lower anticipated power costs.
· WCHE will re-file its application in January of 2009 to update its load forecast for the impending closure of Volvo and projected Sifto load increases.  Working capital estimates will reflect the corrected change in power costs.
Capital Expenditures
17.  Ref: Exh2/Tab3/Sch1
In this Schedule, West Coast Huron sets out its capital expenditure forecast for 2008 and 2009.
a) 
Please provide actual capital expenditure data from 2005 to 2007. 
· Schedule # 17 A attached to this response includes actual capital expenditure data for 2005 to 2007.
b)
Please provide the breakdown for each 2005 through 2009 showing the total of capital expenditures that are “one-time programs” vs. “ongoing programs”.
· “one-time programs”

· upgrade Poles and Conductor on M3 6 spans from TS-$80,000 

· purchase truck-$33,000

· Fencing & Grounding and station overhaul-$30,000

· Bucket Truck-$290,000

· Transformer purchases for inventory-$15,000 bridge year, $20,000 test year 

· “on-going programs”

· cost of connecting new customers-$50,000 bridge year, $60,000 test year

· replace danger poles within distribution system-$95,000 bridge year, $50,000 test year

· 27kv Conversion and Feeder Operating Enhancements-$175,000 & Relieve 31M3 27.6kv constraints on South Loop by introducing 31M4 27.6kv circuit.  Both projects are part of a multiyear investment designed to relieve the 31M3 constraints.

c)
Please provide an overview of why West Coast Huron’s capital expenditure programs have varied significantly on a year by year basis over the 2005 to 2009 period.
· In 2007 WCHE conducted an engineering study to assess the distribution system constraints and operating abilities.  WCHE recognized the fact that the system was becoming heavily constrained and required a multiyear plan that would help rectify the situation.  The study revealed a necessary multiyear plan that would address the issues and concerns which has lead to increased capital investment in 2008 and 2009.  The requirement to purchase a new bucket truck in 2009 has led to a one time significant increase in 2009 capital spends.
d)

Please discuss the extent to which West Coast Huron considered a more phased approach to its capital program and if a more phased approach was considered, why it was not adopted. If a more phased approach was not considered, please explain why not.
· A phased approach was considered and in fact has been adopted in WCHE’s capital plan.   WCHE’s capital plan has only been detailed for the purposes of the cost of service rate application, both 2008 bridge year and the 2009 test year.  The final outcome will allow WCHE to continue to provide safe reliable power in the future.

e)

Please state why West Coast Huron believes that it has the capacity to complete such a large capital program in 2009. In this context, please provide an update as to where the 2008 capital program stands on a completion basis as of September 30, 2008. Please also discuss whether or not West Coast Huron anticipates having any carryover projects from 2008 and if so what their impact would be in 2009.
· WCHE failed to explain in its original application that the capital plan for 2008 bridge year and 2009 test year is only the start of a multi-year plan to address the constraints on the distribution system.  The Board is correct in its assessment that WCHE does not have the financial or resource capability to address the feeder issues in a one or even two year horizon.  To achieve the full results detailed in the Engineering Assessment By Design, has been a stage in approach. Phase 1 will be 90% complete by December 31, 2008; however Phase 1 rolls and ties directly into the Phase 2 plans for 2009.  The entire scope outlined in the assessment will likely span through to 2012.

f)
Please provide an explanation on the measures that West Coast Huron has taken or will undertake, e.g. use of tendering process and deploying the lowest bid contractor, negotiations with suppliers on purchase of material and equipment, etc. to execute capital program projects in the most cost-effective way. 
· WCHE is part of the Southwestern Ontario buying group consisting of approximately 8 utilities.  The buying group establishes the tendering scope of material each year to ensure the lowest price through buying power.  Collectively the buying group services a customer base of approximately 120,000 customers, which is considered the largest buying group outside of the CLD.  Each year the buying group puts out 3-4 tenders, each tender covers off one group that contains multiple material items within the grouping.   Tender usually span 2-3 years to achieve better pricing.
g)
If available, please provide the Capital Expenditure plans/forecasts for 2010, 2011, and 2012.  
· As stated in Section “e” above to achieve the desired results detailed in the distribution assessment study, WCHE anticipates capital spending for 2010, 2011 and 2012 around $460,000/year, consistent with 2008 and 2009 rebasing years, minus the one-time spend of $290,000 for the new bucket truck.  
18.  Ref: Exhibit(s) General

On September 30, 2008, Volvo announced that it was closing its grading equipment manufacturing plant, a major energy consumer, in Goderich.  

a) Are there any plans by West Coast Huron which result in reducing the number or scope of the capital projects in response to this large reduction in load?  
· There are no plans by WCHE to reduce the number or scope of the capital projects in response to the reduction in load. 
· The projects identified for 2009 are in response to system constraints that are not alleviated by the Volvo closure and are therefore not proposed to change.
· Please reference comments made in question # 2 C in this response.
b) If so, please provide the details of these changes and the quantitative effect on rate base.
· No planned changes.
c) Is the South Loop project, planned to improve the capacity restraints, no longer necessary, or reducible in scope, in the light of the impending Volvo plant closure?  If so, please provide details.
· No planned changes.
d) Is there any change in plans regarding the acquisition of a new bucket truck and/or repairing and upgrading the existing bucket truck?  If so, please provide details.
· No planned changes.
19.  Ref:  Exh2/Tab1/Sch1 

Please provide the following information on service reliability indicators recorded and used by West Coast Huron:

a) a listing of the Service Reliability Indicators maintained and used, and their actual values for the years 2002 through 2007;
· Schedule 19 A attached details WCHE’s SQI’s.
b) West Coast Huron’s 2008 and 2009 reliability improvement targets, if any, for the SAIDI, SAIFI and CAIDI indicators; and
· WCHE strives to maintain reliability standards consistent with the DSC and Provincial averages.
c) If West Coast Huron has established reliability improvement targets, a copy of the plan that identifies programs or projects that West Coast Huron will undertake to achieve these targets.  Do any specific capital expenditure projects relate specifically to increasing reliability?

· Although WCHE’s capital plan does not address reliability improvements directly, however through the investment in the multi-year feeder enhancement project it is anticipated that reliability will improve.  Lessening the constraint on the distribution system and providing improved operating flexibility will allow WCHE to reduce its SAIDI levels through switching configurations on the feeder in an effort to restore power quicker to customers during outage events.

Smart Meters
20.  Ref: Exh1 /Tab1/Sch6

West Coast Huron states that it has current approval for $0.26 per customer per month to cover the costs of Smart Metering. On October 22, 2008, the Board issued Guideline G-2008-0002 on Smart Meter Funding and Cost Recovery.  Section 4 of the Guideline specifies filing requirements for distributors when seeking a smart meter funding adder greater than $0.30 per month per residential customer.  Any such distributor must be authorized in accordance with the applicable regulations, and must have a clear intention on installing smart meters in the rate test year.

a)
Please identify whether West Coast Huron is authorized or is becoming authorized to deploy smart meters pursuant to and compliant with the London Hydro RFP process, in accordance with O. Reg. 427/06 amended June 25, 2008.  Provide supporting documentation supporting West Coast Huron’s authorization.
· WCHE is authorized to deploy smart meters pursuant to and compliant with the London Hydro RFP process.
· Negotiations with WCHE number one vendor have been abandoned since vendor number one has been unable to answer questions posed by WCHE in relation to the smart meter program.
· WCHE has moved on to its second vendor in order to begin creating its Statement of Work or Work Plan in relation to the implementation of smart metering.
· This process has been overseen by the fairness commissioner appointed to the London Hydro RFP process.
b)
Please confirm that West Coast Huron is planning to commence smart meter deployment, once authorized, no later than December 31, 2009.  Provide supporting documentation on West Coast Huron’s planned smart meter deployment.
· WCHE is planning to commence smart meter deployment no later than December 31st, 2009.
· WCHE is planning to file its work plan in early 2009.
c)
Please provide the following information in accordance with section 4 of the Guideline:
i) the estimated number of smart meters to be installed in the test year; Approximately 1,678 meters are to be installed in the test year.
ii) the estimated costs per installed meter, and in total; The estimated costs per installed meter is $135, and $226,530 in total in the test year.
iii) a statement as to whether West Coast Huron has purchased or expects to purchase smart meters or advanced metering infrastructure whose functionality exceeds the minimum functionality adopted in O.Reg. 425/06, and an estimate of the costs for “beyond minimum functionality” equipment and capabilities; and WCHE has not purchased or does not expect to purchase smart meters or advanced metering infrastructure whose functionality exceeds the minimum functionality adopted in O.Reg.425/06.
iv) a statement as to whether West Coast Huron has incurred, or expects to incur, costs associated with functions for which the Smart Metering Entity has the exclusive authority to carry out pursuant to O.Reg. 393/07, and an estimate of those costs;   WCHE has not incurred and does not expect to incur costs associated with functions for which the SME has the exclusive authority to carry out.
d)
If West Coast Huron is not planning smart meter deployment until 2010, please provide West Coast Huron’s rationale for proposing an increased smart meter rate adder of $1.00 per month per metered customer.
· WCHE is planning smart meter deployment in 2009 and in order to facilitate the deployment a smart meter rate adder of $1.00 per month is requested.
e)
Please explain the impact on West Coast Huron’s plans for smart meter deployment should the Board determine that West Coast Huron’s existing smart meter funding adder of $0.26 per month per metered customer continue.
· Given the fact that the cost to install the proposed smart meters in 2009 is approximately $226,530 WCHE’s smart meter deployment would be delayed until such a time that WCHE was certain enough revenue would be collected through rates to sufficiently alleviate the costs of purchase and installation.  
f)
Based on the capital expenditures for smart meters in 2007, 2008 and projected 2009, please provide justification of the continuance of the $0.26 per customer per month or any other figure for smart metering.
· The projected capital expenditures for smart meters in 2009 is substantial enough that WCHE feels $1.00 per metered customer is justified until such a time that WCHE is in position to file for a utility specific rate adder.
g)
If West Coast Huron is seeking a monthly change rider for anticipated smart meters, please specify the amount desired and supporting quantitative material justifying that request.
· WCHE is seeking a monthly charge of $1.00 per metered customer and has provided the required information in Question C above per G-2008-0002.
h)
Please provide copies of all directives and regulations West Coast Huron has received from the Ontario Government directing or allowing the utility to undertake smart meter activities. 
· WCHE is part of the London RFP and has received no such directive other than the directive given in Ontario Regulation 427/06, 
21.  Ref: Exh2/Tab3/Sch1 Capital Budget by Project - 2008

On page 7, West Coast Huron indicates that the capital expenditure amount for account 1860 – Smart Meters is $2,037,923 in 2008.  Please indicate how many smart meters West Coast Huron plans to install in 2009.
· WCHE cannot find any such reference in its filed data.  Please see question # 20 above for WCHE’s planned smart meter expenditures for 2009.
Payments in Lieu of Taxes (PILS)
22.  Ref:  Exh4/Tab3/Sch1/p1
a) 
West Coast Huron has calculated their 2009 regulatory income before tax at $384,776.  Board staff cannot reconcile this figure using the same rate base of $5,280,630, a deemed equity at 43.3% and cost of equity at 8.57%, where use of these figures yields $195,954.  Please calculate, and show the calculations of the before-tax regulatory income, when calculated on those assumptions. 
· See Schedule 22 A included in this response.
b)
Please calculate and show the calculations of income tax using the following assumptions 

i) Net income before taxes of $384,776 and 195,954

ii) Proportions: Short term debt 7.3%; Long term debt 31.09% and Equity 66.15% at costs of 4.77%, 7.25% and 8.68% respectively

iii) Proportions: Short term debt 4.0%; Long term debt 52.7% and Equity 43.3% at costs of 4.47%, 6.10% and 8.57% respectively
· See Schedule 22 B included with this response.
c)
Please calculate and show the calculations for the taxes as calculated in b) above, grossed up for rate purposes.
· Included in Schedule 22 B above.
23.  Ref: Exh4/Tab3/Sch1/p1

Please provide an explanation and details explaining 2009 items entitled “Other Additions” $164,390 and “Other Deductions” $170,696. 
· The other additions and other deductions amounts are actual and deemed interest expense.  These amounts have both been removed from all tax calculations referenced in interrogatory responses to question #22 above.
Cost of Capital/Capital Structure
24.  Ref: Exh6/Tab1/Sch2/p1
In this Exhibit, for 2007, West Coast Huron reports the following amounts:

· $353,532 for short-term debt

· $1,505,068 for long-term debt

For each account, please:

a) State the amount reported to the Board for the account in West Coast Huron’s 2007 annual filing pursuant to RRR 2.1.7 and the respective APH account numbers.
· The amount filed for account 2520 is $974,454.
b) Identify the components of any difference between the amount in a) and the amount reported in Exh6/Tab1/Sch2.
· The difference between the amount in a) and the amount reported in Exhibit 6/Tab 1/Schedule 2 is that the amount in a) is the actual debt currently in place and the amount in Exhibit 6 is adjusted to be the deemed amount for rate making purposes.
c) Explain each component of any difference identified in b).  Please include an explanation of which other accounts now contain any such difference by component.
· No other accounts contain any such difference.
d) State which amount (the amount in a) above or the amount in Exh6/Tab1/Sch2 has been reflected in West Coast Huron’s 2007 audited financial statements and identify the line item in the audited financial statements.
· The amount stated in question a) above has been reflected in WCHE’s audited financial statements in line item Note Payable.
e)
State which value should be relied upon in this proceeding, and, if different from the value reported in the 2007 audited financial statements, explain why the Board should rely on such different value.
· The value necessary to move WCHE to a 60/40 debt equity split should be relied upon in this proceeding.  
· WCHE proposes it rates on a 60/40 debt equity split and plans to move its actual split to mirror that which will be approved in rates.
· WCHE will update Exhibit 6 in its revised application.
25.  Ref: Exh6/Tab1/Sch2  Short-Term Debt

In the table shown under “Capital Structure”, West Coast Huron has used a short-term debt rate (or “Cost Rate”) of 4.77%.

The Board Report on Cost of Capital and 2nd Generation Incentive Regulation Mechanism for Ontario Electricity Distributors, issued December 20, 2006 (the “Board Report”) states the following in section 2.2.2: 

“The Board has determined that the deemed short-term debt rate will be calculated as the average of the 3-month bankers’ acceptance rate plus a fixed spread of 25 basis points.” This is consistent with the Board’s method for accounting interest rates (i.e. short-term carrying cost treatment) for variance and deferral accounts.  The Board will use the 3-month bankers’ acceptance rate as published on the Bank of Canada’s website, for all business days of the same month as used for determining the deemed long-term debt rate and the ROE. 

For the purposes of distribution rate-setting, the deemed short-term debt rate will be updated whenever a cost of service rate application is filed.  The deemed short-term debt rate will be applied to the deemed short-term debt component of a distributor’s rate base.  Further, consistent with updating of the ROE and deemed long-term rate, the deemed short-term debt rate will be updated using data available three full months in advance of the effective date of the rates.”  [Emphasis in original]

a)
Please provide the derivation of the 4.77% short-term debt rate estimate showing the calculations, data used and identifying data sources.  [Short term debt rate as per the Board is 4.47%].
· The derivation of the 4.77% short term debt rate was simply a placeholder and it was expected that this amount would be updated as per the rates determined as per the Board prior to approval of rates.
b)
Please confirm whether West Coast Huron is proposing that the deemed short-term debt rate would be updated based on January 2008 Consensus Forecasts and Bank of Canada data, in accordance with the methodology documented in section 2.2.2 of Board Report.  If West Coast Huron is not proposing that the methodology in the Board Report be followed, please provide West Coast Huron’s reasons for varying from the methodology in the Board Report.
· Confirmed.
26.  Ref: Exh6/Tab1/Sch2 & Exh6/Tab1/Sch3 - Long-Term Debt & Weighted Average Cost of Capital

West Coast Huron indicates that long term debt is mainly a note for $974,454 held by the sole shareholder, yielding 7.25%.  This is debt held by an affiliate and is payable on demand by and to the sole shareholder by West Coast Huron.  The Board’s long term debt rate is 6.10% for affiliates.
The Board Report on Cost of Capital, section 2.2.1 sets the following policy for setting the debt rate:

“For rate-making purposes, the Board considers it appropriate that further distinctions be made between affiliated debt and third party debt, and between new and existing debt.

The Board has determined that for embedded debt the rate approved in prior Board decisions shall be maintained for the life of each active instrument, unless a new rate is negotiated, in which case it will be treated as new debt.

The Board has determined that the rate for new debt that is held by a third party will be the prudently negotiated contracted rate. This would include recognition of premiums and discounts.

For new affiliated debt, the Board has determined that the allowed rate will be the lower of the contracted rate and the deemed long-term debt rate. This deemed long-term debt rate will be calculated as the Long Canada Bond Forecast plus an average spread with “A/BBB” rate corporate bond yields. The Long Canada Bond Forecast is comprised of the 10-year Government of Canada bond yield forecast (Consensus Forecast) plus the actual spread between 10-year and 30-year bond yields observed in Bank of Canada data.  The average spread with “A/BBB” rate corporate bond yields is calculated from the observed spread between Government of Canada Bonds and “A/BBB” corporate bond yield data of the same term from Scotia Capital Inc., both available from the Bank of Canada.

For all variable-rate debt and for all affiliate debt that is callable on demand the Board will use the current deemed long-term debt rate. When setting distribution rates at rebasing these debt rates will be adjusted regardless of whether the applicant makes a request for the change.”  [Emphasis in original]
What is West Coast Huron’s intent with regard to taking action to reduce debt interest expense by acquiring less costly non-affiliated debt or renegotiating a lower debt rate from its affiliate, the sole shareholder?
· WCHE had not intended to take action regarding its long term debt rate.  However, given the economic downturn, WCHE will analyse its debt agreements to determine if a lower rate could be renegotiated with its shareholder.
· Copies of WCHE’s promissory notes are included as schedule 26 in the response.
Load Forecast 
Weather Normalization and Modelling

27.  Ref: 
Exh3/Tab2/Sch1/p1
On page 1, West Coast Huron states that the weather normalization that was generated was performed by Hydro One.

Please provide the Hydro One report and any spreadsheets received from Hydro One containing data supporting the calculation of the normalized historical load. (Any summary reports that the West Coast Huron received from Hydro One that show the weather correction factors by class (as distinct from raw unprocessed data) are particularly requested.) 
· Hydro One data is provided as Schedule # 27 in this response.
28.  Ref: 
Exh3/Tab2/Sch1/pp1-7

In pages 1 to 7 West Coast Huron explains how it developed its 2009 load forecast for the weather-sensitive classes.  While some details are missing, the essential approach used appears to be that West Coast Huron: 

· determined the 2009 forecasted customer count for each customer class,

· determined the weather-normalized retail energy for each customer class for 2004, 

· determined the 2004 retail normalized average use per customer (“retail NAC”) for each class by dividing each of the weather-normalized retail energy values by the corresponding number of customers/connections in each class existing in 2004, 

· applied the 2004 retail NAC for each class to the 2009 Test Year without modification, and

· determined the 2009 Test Year energy forecast for each customer class by multiplying the applicable 2004 retail NAC value for each class by the 2009 forecasted customer count in that class.  

Please: 

a) confirm that the above is the essence of West Coast Huron’s load forecasting methodology, 
· Confirmed
b) differentiate the approach used for weather sensitive loads from that used for non-weather sensitive loads, and 
· Weather sensitivity was only applied to the residential class.
c) fully correct any errors in the above explanation.
· WCHE is in the process of updating its load forecasting to include in its re-filed application in January of 2009.
29.  Ref: 
Exh3/Tab2/Sch1/p 1

Expected Future Changes

On page 1, West Coast Huron states that it “has used a simple trend growth in customer connections, by class, to forecast Bridge and Test Year customer numbers.”  

Please:
a) Explain how West Coast Huron’s forecasting methodology is differentiated from a “rear view mirror” approach that relies solely (or substantially) on the future being an extrapolation of the past and ignores both broader economic effects that would impact the Province as a whole and energy consumption changes as a result of CDM, and
· WCHE is in the process of updating its load forecasting to include in its re-filed application in January of 2009.
b) Compare the economic assumptions made in the application with economic forecasts prepared by national economic forecasting institutions (e.g. Canadian chartered banks) and regional equivalents (e.g. Boards of Trade or regional councils).   
· WCHE is in the process of updating its load forecasting to include in its re-filed application in January of 2009.
30.  Ref: Exh3/Tab2/Sch1/pp 1-7

Customer Count and Revenue Forecast

On page 2, West Coast Huron develops its customer count forecast.  In subsequent pages this customer count forecast is used to develop a kWh/kW load forecast. 

Please: 
a) Clarify if the Volvo plant closure (The Toronto Star, October 1, 2008, announcement: “Volvo plant closure takes toll on Goderich.”) has been included in West Coast Huron’s forecast and, if not,
· The impact of the Volvo Plant closure was not included in WCHE’s forecast.
b) Explain the anticipated effect on West Coast Huron’s 2009 load of the planned closure. 

· WCHE is in the process of updating its load forecasting to include in its re-filed application in January of 2009.
31.  Ref: Exh3/Tab2/Sch1/pp 2, 3 & 6

Customer Count and Revenue Forecast

On page 2, West Coast Huron shows its only GS customer classes to be “GS<50, GS>50 to 499 kW and GS>500 to 4999 kW.”  On page 3, West Coast Huron claims to have a “GS>3000 to 4999 kW” class. On page 6, West Coast Huron claims to have “GS>50 to 999, GS>1000 to 2999 and GS>3000 to 4999” classes.
Please state the GS customer classes for which West Coast Huron is developing its customer and other forecasts. 
· West Coast Huron only GS customer classes are GS<50, GS>50 to 499 kW and GS>500 to 4999 kW
32.  Ref: Exh3/Tab2/Sch1/ pp 3&4

kW and Revenue Forecast

West Coast Huron briefly outlines on page 3 the method used for determining the class loss factors.  It also states that “associated loss factors are reported in the following table below” though in fact, such loss factors do not appear to be reported on the next page. 

Please provide:
· WCHE is in the process of updating its load forecasting to include in its re-filed application in January of 2009.
a) a detailed description of the process used to develop the class loss factors,

b) the class load factor supporting values and calculations, and

c) details of the loss factors that appear not to have been reported on page 4.  

33.  Ref: Exh3/Tab2/Sch1/pp 4&5

Customer Count, kWh load, kW load and Revenue 

On page 4, West Coast Huron provides two tables containing different data but both titled: “Normalized Average Consumption kWh”.  Similarly, on page 5, West Coast Huron provides two tables containing different data but both titled: “Normalized Average Consumption kW”.  

Please provide the correct titles for the four tables. 
· On page 4 the top table should be titled Normalized Average Customer Consumption kWh
· On page 5 the top table should be titled Normalized Average Customer Consumption kW
34.  Ref: Exh3/Tab2/Sch1/pp1-7

Customer Count, kWh load, kW load and Revenue 

On page 2, West Coast Huron explains that for certain customer classes “the percentage change for 2008 represents the annual average growth for 2002 to 2007.”  However, without the basic data for the 2002 to 2007 period an independent assessment of this calculation is not possible.  Also, on pages 1 to 7, West Cost Huron explains how it determined the 2004 retail normalized average use per customer (“retail NAC”) for each class and apparently used this value for other years also.  This does not appear to adequately weather-normalize the energy usage in historical years and does not allow for the possible change in energy usage per customer over the 2002 – 2009 period due, for example, to Conservation and Demand Management.  The minimal amount of weather normalization and the constant retail energy assumption could potentially lead to forecasting errors. 

a) Please file a data table for the historical years 2002 to 2007 that shows:

i. the actual retail energy (kWh) for each customer class in each year, 

ii. the weather normalized retail energy (kWh) for each customer class in each year (where, for the customer classes that the Applicant has identified as weather sensitive, the weather normalization process should, as a minimum, involve the direct conversion of the actual load to the weather normalized load using a multiplier factor for that year and not rely on results for any other year), 

iii. the values of the weather conversion factors used, 

iv. the customer count for each class in each year, 

v. the retail normalized average use per customer for each class in each year based on the weather corrected kWh data in item ii. above, and 

vi. as a footnote to the table, the source(s) of the weather correction factors.
· WCHE is in the process of updating its load forecasting to include in its re-filed application in January of 2009.
b) Please file a data table for the 2002 to 2009 period: 

i. utilizing the retail normalized average use per customer values for each class in each year obtained in a) v. above for the historical years 2002 to 2007,  

ii. including 2008 and 2009 projections for the retail normalized average use per customer values (where, for each of the weather-sensitive classes, this is based on trends in the data) for each class, and

iii. as a footnote to the table, for each of the weather-sensitive classes describe in detail the trend analysis performed in ii. above. 
· WCHE is in the process of updating its load forecasting to include in its re-filed application in January of 2009.
c) Please file an updated version of the historical/forecast table in Exh3/Tab2/Sch1/p7, utilizing the weather corrected data determined in b) above.
· WCHE is in the process of updating its load forecasting to include in its re-filed application in January of 2009.
35.  Ref: Exh3/Tab2/Sch1/pp1-7

Customer Count, kWh load, kW load and Revenue 

Some of West Coast Huron’s evidence may require to be adjusted in light of responses to the preceding customer count, load and revenue forecasting interrogatories.

Please re-file any Exhibit 3 tables that require updating as a result of changes in the West Coast Huron’s evidence. 
· WCHE is in the process of updating its customer forecasting to include in its re-filed application in January of 2009.
36.  Ref: Exh3/Tab2/Sch1/pp1-7

Customer Count, kWh load, kW load and Revenue  

In Exhibit 3, West Coast Huron has developed its load and revenue forecasts.  While there is no precise method to measure the accuracy of a forecast until after the actual load has been delivered, West Coast Huron’s forecasting track record may provide some indication of its forecasting accuracy.

Please provide any data that illustrates the accuracy of West Coast Huron’s previous load forecasts. 
· WCHE has no data that illustrates the accuracy of its previous load forecasts.
37.  Ref:  Exh5/Tab1/Sch1    Deferral and Variance Accounts

For all of West Coast Huron’s deferral and variance accounts please complete the attached continuity schedule for regulatory assets.  Please note that including forecasted principal transactions beyond 2007 and the accrued interest on these forecasted balances in the attached continuity schedule is optional.
· Schedule 37 is included with this response.
Cost Allocation

38.  Ref: Exh3/Tab3/Sch4/p1; Informational Filing EB-2007-0001 (filed separately, document D08-36624)

The Approved Distribution Revenues from the respective classes in Exhibit 3 match the approved revenues in RP-2005-0020/EB-2005-0431.  However, the class revenue amounts shown in the Informational Filing Worksheet O1 ‘Revenue to Cost Summary Worksheet’ are not consistent with Exhibit 3, differing by 10% or more for some classes.

Please explain why these differences occur, or alternatively identify which source should be disregarded. 

· WCHE’s approved EDR application incorporated changes from the Sifto Salt decision EB-2004-0513 which reduced the large use class allocation of costs and moved those costs amongst the other rate classes.  This movement is displayed in the Cost Allocation informational filing.  
· WCHE’s approved EDR model does not reflect these changes as it was not updated as per the Sifto Decision.  However, the rates reflected in the approved EDR model are not consistent with those that were approved.  Attached to this response is Schedule 38 the filing for WCHE’s 2006 EDR that incorporated the changes required in decision EB-2004-0513.
· The amounts in this filing and the cost allocation filing are immaterial different and would not call into question the cost allocation filing utilized to allocate costs in this application.
Revenue to Cost Ratios

39.  Ref: Exh8/Tab1/Sch2/p5

Please confirm that the information on the revenue to cost ratios proposed for 2009 may be relied upon in West Coast Huron’s application, despite the inconsistency that has been identified in the 2006 information.

· The information on the revenue to cost ratios proposed for 2009 may be relied upon given the board’s decision with respect to EB-2004-0513.
40.  Ref: Exh8/Tab1/Sch2; Exh9/Tab1/Sch7 

The 2009 Total Revenue Requirement shown in each table in Exhibit 8 is $2,618,540.  The Distribution Revenue Requirement shown in Exhibit 9 is $2,541,041 before Transformer Ownership Allowance, and $2,672,398 including the allowance.  Please explain how these totals can be reconciled, or alternatively please make an appropriate adjustment(s) in one or both of the exhibits to accomplish this.

· The incorrect revenue requirement amount was referenced thoughout Exhibit 8.  Included in this response is Schedule #40 that details the calculations for the allocation of costs.  The revenue requirement has been updated to reconcile to Exhibit 9/Tab 1/Schedule 2.
41. Ref: Exh8/Tab1/Sch2/pp1&4; Exh9/Tab1/Sch8/pp 8 & 10

The illustrative impacts for the Large User class (Distribution Cost sub-total) ranges from 50% to 130%, and the impact on Un-metered Scattered Load is 47%.  At the same time, the proposal is that the revenue to cost ratio for the Large User class will be decreased slightly from 108% to 106%, while the ratio for USL is increased substantially from 64% to 83%. Please provide an explanation of this apparent inconsistency between a large rate increase and lower revenue to cost ratio on the one hand for Large Users, and a small rate increase and higher revenue to cost ratio for Un-metered Scattered Load on the other hand. 
· Both rate classes had increases in costs recovered through a variable rate increase only the effect of the fixed variable split helps explain the difference.  Since the unmetered class is 40% fixed charge and Large Use class is 30% fixed the impact to the large use class increases as consumption increases.  While the unmetered class shows less impact since more of its cost is recovered through the fixed charge.  
· Included in this apparent inconsistency is the Transformer allowance which has added a full $0.60 to the variable charge of the Large Use class which was not how transformer allowance was allocated in the variable rate that is currently approved.
42. Ref: Exh8/Tab1/Sch2/p5

Reconciliation of Class Revenue and Total Revenue Requirements

a)

Does the revenue component of the “applied for RC%” include revenue from the Smart Meter rate adder?  If so, please provide a calculation of the ratio net of the Smart Meter adder, and a recalculation of the Subsidization Value for each class that is affected.

· The applied for RC% does not include revenue from the smart meter rate adder.
c) Please confirm that the revenue component is net of the “cost” of the transformer ownership allowance for the three classes affected by this allowance.

· The revenue component is net of the cost of the transformer ownership allowance for the three classes affected by this allowance.
Rate Design

43. Ref: Exh1/Tab1/Sch6; Exh9/Tab1/Sch1/p1

Please confirm that the current Monthly Service Charges for all classes with metered loads include an adder for Smart Meters of $0.26 per month, and that the proposed rates continue to include this adder.
· The current monthly service charges include a smart meter rate adder of $0.26 per month; however the proposed rates include no such adder.  WCHE would request $1.00 per metered customer per month since they have been named as per the London Hydro RFP.
44. Ref: Exh9/Tab1/Sch7 

Please confirm that the proposed variable charges are gross of the transformer ownership allowance for the three applicable classes.

· The proposed variable charges include the transformer ownership allowance portion of the rate.
45.  Ref: Exh9/Tab1/Sch8/p9

The illustrative impact for Streetlighting is for 1 kW but only 25 kWh.  Please provide an impact calculation for a representative streetlight connection that has a more typical amount of monthly energy consumption. 
[image: image3.emf]Street Light

1 kW Consumption

100

kWh Consumption

Metric Volume

Rate                             

$

Charge

$

Volume

Rate                             

$

Charge

$

Change

$

Change

%

% of Total 

Bill

0.71 1.95 1.24 174.1% 5.3%

kW

1 2.65630 1.99 1 16.66339 12.50 10.51 527.3% 45.4%

2.70 14.44 11.74 434.5% 50.7%

kW

1 0.00 1 0.00 0.00 0.0%

kW

1 1.10000 0.85 1 1.10000 0.85 0.00 0.1% 0.0%

kW

1 1.13840 0.88 1 1.13840 0.88 0.00 0.1% 0.0%

kWh

103 0.00520 0.54 103 0.00520 0.54 0.00 0.1% 0.0%

kWh

103 0.00100 0.10 103 0.00100 0.10 0.00 0.1% 0.0%

kWh

100 0.00700 0.70 100 0.00700 0.70 0.00 0.0% 0.0%

kWh

103 0.05450 5.63 103 0.05450 5.63 0.01 0.1% 0.0%

11.40 23.15 11.75 103.0% 50.8%



2008 Bill 2009 Bill IMPACT

Regulatory Asset Recovery

Retail Transmission - Network

Retail Transmission - Line and Transformation 

Wholesale Market Service



Monthly Service Charge

Distribution

Sub-Total

Rural Rate Protection Charge

Debt Retirement Charge

Cost of Power Commodity 

Total Bill


Retail Transmission Rates

46.  Ref:  Electricity Distribution Retail Transmission Service Rates, Guideline G-



2008-
0001, October 22, 2008 and Exh9
Under the OEB Guideline, West Coast Huron is expected to file an update to its Cost of Service application with evidence to support a change in its RTSRs.  The adjustment in RTSRs is intended to eliminate future growth in the Applicant’s variance accounts that are related to the pass-through of transmission costs.

a)

Please file a table showing 2 years of West Coast Huron’s wholesale Network and Connection costs, and its retail billings for Network and Connection service to its retail customers.
· Schedule # 46 A & B included in this response provides the table showing 2 years of Network and Connection costs and revenues.
b)

Please provide an analysis of the variances between costs and the corresponding revenues, and any trends in these amounts. 
· Schedule # 46 A & B also includes a calculation of the difference between the cost and the revenues and the % change on a monthly basis.
· For most of 2007 WCHE consistently under recovered the network costs until December of 2007 when it began to over recover.  This over recovery was substantial until June of 2008 when the new rates approved in May of 2008 were fully implemented.  From this point until the current time frame the network rates are over recovering but less significantly.
· Connection charges in 2007 showed now real trend as the revenues were slightly insufficient some months and other months produced an over recovery.  Beginning in November of 2007 the rates were yielding a substantial over recovery until June of 2008 when the rates approved in May were fully implemented.  From this point until year end WCHE is under recovering on its connection charge on a consistent basis.
c)
Please file proposed RTSR rates for each customer class that are an adjustment to the currently approved RTSRs and would have recovered the wholesale cost of Network and Connection transmission service if the Uniform Transmission Rates approved for implementation January 1, 2009 had been in effect throughout the 2-year period described in part a).  Please provide the calculation of the respective adjustment factors for Network and Connection rates.
· WCHE will file proposed RTSR for each customer class taking into consideration the data and requests contained in this interrogatory, along with its revised application in January of 2009.
Deferral and Variance Accounts

47.  Ref: Exh1/Tab1/Sch5/p3

Please confirm that West Coast Huron does not have a balance in Account 1550 ‘LV Variance’, and does not require continuation of this account.
Please confirm that West Coast Huron is not currently charging a rate rider for Regulatory Asset Recovery, and is not applying for disposition of the balance of any deferral or variance accounts.   Despite this aspect of West Coast Huron’s application:

a)

Please provide a continuity schedule for West Coast Huron’s deferral and variance accounts using the Excel spreadsheet attached. (Please note that forecasting principal transactions beyond December 31, 2007 and the interest on those transactions in columns AM – AP is optional.)
· Schedule 37 provides the continuity schedule.
b)
The spreadsheet provides a sub-total for the accounts: 1508, 1518, 1525, 1548, 1570, 1571, 1572, 1574, 1582, 1592, 1595 and 2425.  Please calculate a set of rate riders that would dispose of the net balance of these accounts, identifying the date of the balance and how many years the rate rider would be in effect.  Please also provide details of how the individual balances would be allocated to customer classes, where possible using updated values of the same allocators as were used for the respective accounts in the 2006 model for regulatory asset recovery rate riders.
· The date of the balance for the calculated rate riders is December 31st, 2007 and the riders would be in effect for 2 years to clear the balances.
· All values were allocated using the same allocators that were used in the 2006 model with up to date values.
[image: image4.emf]RESIDENTIAL Rate Rider

Regular

$0.0010

GENERAL SERVICE

Less than 50 kW

$0.0007

Greater than 50 to 499 kW

$0.1877

Greater than 500 to 4,999 kW

$0.2549

Large Use 

$0.1796

Unmetered Scattered Load

$0.0009

Sentinel Lighting

$0.5261

Street Lighting

$0.2745


d) Please provide a table and explanatory notes similar to part b, assuming that all deferral and variance accounts would be cleared, except Accounts 1562 and 1563.
· The date of the balance for the calculated rate riders is December 31st, 2007 and the riders would be in effect for 2 years to clear the balances.
· All values were allocated using the same allocators that were used in the 2006 model with up to date values.
[image: image5.emf]RESIDENTIAL Rate Rider

Regular

-$0.0010

GENERAL SERVICE

Less than 50 kW

-$0.0012

Greater than 50 to 499 kW

-$0.4075

Greater than 500 to 4,999 kW

-$0.5764

Large Use 

-$0.7534

Unmetered Scattered Load

-$0.0010

Sentinel Lighting

-$0.1280

Street Lighting

-$0.4366


PAGE  

