November 18, 2009

Ontario Energy Board P.O. Box 2319 27th. Floor 2300 Yonge Street Toronto ON M4P 1E4 Telephone: 416- 481-1967 Facsimile: 416- 440-7656 Toll free: 1-888-632-6273

Dear Board Secretary,

Re: Brant County Power Inc.’s Application for a Service Area Amendment

Board File Number EB-2009-0391

We were asked to provide information regarding comparative costs for Hydro One to service this customer.  We asked Mr. Steven Vance, Manager –Integrated Systems Support, Business Integration – Hydro One Networks Inc., to comment on this and here is his response:

“The electrical service upgrade at the RC School at 185 King Street in Burfordl is calling for a 3 phase service.  The RC school is landlocked behind the associated church. The closest Hydro One 3 phase is located approximately 1.5 Km away. Estimated costs to build this line would be over $100,000. It would not be cost effective for Hydro One to incur significant costs to build these facilities, nor would it be fair for the customer to incur significant costs.”

I hope this is satisfactory to the Board.  If additional information is required please let me know.

Yours truly,

Glen Fuller

Operations Manager