## Table 2.1
Table 2.1: Historic Ontario Annual Energy & Peak Demand
Calendar Year | Annual Demand
| Actual Energy (TWh) | Weather-Corrected Energy (TWh) | Actual Peak (MW) | Weather-Corrected Peak (MW) | Minimum Hour (MW)
1987 | 126.4551 |  | 20448 |  | 8976
1988 | 134.3947 |  | 22933 |  | 8989
1989 | 140.7702 |  | 23491 |  | 9826
1990 | 136.7441 |  | 22272 |  | 9554
1991 | 136.9656 |  | 23046 |  | 9911
1992 | 134.3763 |  | 23463 |  | 9850
1993 | 133.4771 |  | 21964 |  | 9859
1994 | 134.874 |  | 23857 |  | 9952
1995 | 137.038 | 135.6944 | 22812 | 21792.22 | 10100
1996 | 137.4181 | 136.4015 | 22072 | 21901.66 | 10123
1997 | 138.3708 | 137.7958 | 22030 | 21870.76 | 10430
1998 | 139.9313 | 141.3174 | 22403 | 21841.86 | 10971
1999 | 144.0941 | 144.074 | 23433 | 22546.48 | 10903
2000 | 146.9451 | 147.4871 | 23301 | 22918.65 | 11624
2001 | 146.9121 | 147.6901 | 25239 | 22817.51 | 11157
2002 | 152.9598 | 151.5312 | 25414 | 24373.02 | 11537
2003 | 151.7168 | 151.7356 | 24753 | 23329.89 | 11604
2004 | 153.4373 | 153.7364 | 24979 | 24202.16 | 11983
Indicates summer peak
2000
2000
2000
2000

## Table 2.2
Table 2.2: Actual and Weather Corrected Annual Energy Demand
Calendar Year | Annual Energy Demand
| Actual Energy (TWh) | Annual Growth (%) | Weather-Corrected Energy (TWh) | Annual Growth (%) | Weather Correction Impact
1995 | 137.038 | 1.604% | 135.6944 |  | -0.9805%
1996 | 137.4181 | 0.2774% | 136.4015 | 0.5211% | -0.7398%
1997 | 138.3708 | 0.6933% | 137.7958 | 1.022% | -0.4155%
1998 | 139.9313 | 1.128% | 141.3174 | 2.556% | 0.9905%
1999 | 144.0941 | 2.975% | 144.074 | 1.951% | -0.01398%
2000 | 146.9451 | 1.979% | 147.4871 | 2.369% | 0.3688%
2001 | 146.9121 | -0.02247% | 147.6901 | 0.1376% | 0.5296%
2002 | 152.9598 | 4.117% | 151.5312 | 2.601% | -0.934%
2003 | 151.7168 | -0.8127% | 151.7356 | 0.1349% | 0.0124%
2004 | 153.4373 | 1.134% | 153.7364 | 1.319% | 0.1949%

## Table 2.3
Table 2.3: Weather Impact - Months and Seasons
Rank | Hottest Months | Coldest Months | Hottest Summers | Coldest Winters
1 | 1999-07-31 | 1994-01-31 | 2002 | 1977
2 | 1988-07-31 | 1977-01-31 | 1988 | 1978
3 | 2002-07-31 | 1982-01-31 | 1995 | 1996
4 | 1987-07-31 | 1989-12-31 | 1999 | 1994
5 | 1973-08-31 | 1970-01-31 | 1983 | 1971
6 | 1995-07-31 | 2004-01-31 | 1973 | 1972
7 | 2001-08-31 | 1976-01-31 | 1998 | 2003
8 | 1983-07-31 | 1981-01-31 | 2001 | 1982
9 | 1988-08-31 | 1971-01-31 | 1987 | 1984
10 | 2002-08-31 | 1978-01-31 | 2003 | 1979

## Table 2.4
Table 2.4: Seasonal Energy Demand
Seasonal Year | Seasonal Energy Demand
| Actual Energy Demand |  |  |  |  | Weather-Corrected Energy Demand
| Winter (TWh) | Spring (TWh) | Summer (TWh) | Fall (TWh) | Total (TWh) | Winter (TWh) | Spring (TWh) | Summer (TWh) | Fall (TWh) | Total (TWh)
1996 | 62.0082 | 21.4707 | 32.9199 | 21.5425 | 137.9413 | 60.7653 | 21.0434 | 32.9169 | 21.4149 | 136.1406
1997 | 60.9518 | 21.6549 | 33.65 | 21.8271 | 138.0837 | 60.7036 | 21.2275 | 33.5898 | 21.9334 | 137.4543
1998 | 60.531 | 21.7913 | 35.7121 | 22.1817 | 140.2162 | 61.4909 | 22.0969 | 34.9413 | 22.409 | 140.938
1999 | 61.4126 | 21.8858 | 37.0652 | 22.983 | 143.3465 | 62.5964 | 22.2648 | 35.9916 | 22.8215 | 143.6743
2000 | 62.9414 | 22.8915 | 36.4565 | 23.3222 | 145.6116 | 64.1162 | 22.8708 | 36.7474 | 23.3297 | 147.0641
2001 | 64.7096 | 22.5937 | 38.0283 | 23.2506 | 148.5821 | 64.3268 | 22.966 | 37.2647 | 23.3001 | 147.8577
2002 | 62.4478 | 23.6938 | 39.9675 | 24.991 | 151.1 | 64.2306 | 23.2971 | 38.7766 | 24.3849 | 150.6891
2003 | 67.1627 | 23.7248 | 37.2968 | 23.9544 | 152.1388 | 66.394 | 23.6415 | 37.7103 | 23.9321 | 151.6779
2004 | 66.7977 | 23.6274 | 37.5622 | 24.5849 | 152.5721 | 67.012 | 23.5939 | 37.7732 | 24.7526 | 153.1317
2005 | 67.428 | 23.5727 |  |  |  | 67.6288 | 23.8196
Seasonal Year | Daily Energy Demand
| Actual Energy Demand |  |  |  |  | Weather-Corrected Energy Demand
| Winter (GWh) | Spring (GWh) | Summer (GWh) | Fall (GWh) | Total (GWh) | Winter (GWh) | Spring (GWh) | Summer (GWh) | Fall (GWh) | Total (GWh)
1996 | 407.9484 | 351.9794 | 357.8255 | 353.1554 | 376.8889 | 399.772 | 344.9742 | 357.792 | 351.0645 | 371.9687
1997 | 403.6541 | 354.9981 | 365.7604 | 357.8218 | 378.3116 | 402.0108 | 347.9916 | 365.1065 | 359.5644 | 376.5873
1998 | 400.8677 | 357.2352 | 388.175 | 363.6352 | 384.154 | 407.2242 | 362.2441 | 379.7962 | 367.3614 | 386.1316
1999 | 406.7057 | 358.7839 | 402.8823 | 376.7702 | 392.7302 | 414.5455 | 364.9975 | 391.2127 | 374.1228 | 393.6281
2000 | 414.0884 | 375.2704 | 396.2661 | 382.3309 | 397.8459 | 421.817 | 374.9307 | 399.4286 | 382.4539 | 401.8144
2001 | 428.5401 | 370.3891 | 413.351 | 381.1566 | 407.0744 | 426.0054 | 376.4921 | 405.0514 | 381.9696 | 405.0896
2002 | 413.5617 | 388.4228 | 434.4289 | 409.6881 | 413.9727 | 425.3684 | 381.9195 | 421.4843 | 399.7519 | 412.847
2003 | 444.7863 | 388.9308 | 405.4005 | 392.6951 | 416.8185 | 439.6951 | 387.5659 | 409.8947 | 392.3293 | 415.5559
2004 | 439.4582 | 387.3344 | 408.2844 | 403.0304 | 416.8636 | 440.8681 | 386.7852 | 410.5788 | 405.7804 | 418.3926
2005 | 446.5432 | 386.4375 |  |  |  | 447.8727 | 390.4854

## Table 2.5
Table 2.5: Historic Percent of Time Analysis
Summer (June 1st to September 30th) | 2000 | 2001 | 2002 | 2003 | 2004
Maximum Hour (MW) | 22950 | 24980 | 25414 | 24753 | 23976
Average Hour (MW) | 16417.7883 | 16909.209 | 17951.0236 | 16766.1609 | 17053.2288
Minimum Hour (MW) | 11624 | 11157 | 11537 | 2270 | 12059
Standard Deviation (MW) | 2437.9341 | 2788.5309 | 2991.7891 | 2776.332 | 2544.1772
90th Percentile (MW) | 19506.2 | 20586.9 | 21986 | 20303.6 | 20254.2
Percent above 23,000 MW | 0% | 1.9% | 6.6% | 1.2% | 0.5%
# of Hours Above 23,000 MW | 0 | 55.632 | 193.248 | 35.136 | 14.64
Winter (November 1st to March 31st) | 2000-01 | 2001-02 | 2002-03 | 2003-04 | 2004-05
Maximum Hour (MW) | 23024 | 22534 | 24158 | 24937 | 24979
Average Hour (MW) | 17855.8394 | 17231.7368 | 18532.7643 | 18310.7593 | 18605.9658
Minimum Hour (MW) | 12552 | 12116 | 12709 | 12550 | 12969
Standard Deviation (MW) | 2016.5747 | 2155.3939 | 2288.9875 | 2404.3546 | 2258.4236
90th Percentile (MW) | 20293.7 | 19895.4 | 21456.2 | 21351.2 | 21483.5
Percent above 23,000 MW | 0.1% | 0% | 1.1% | 2% | 1.7%
# of Hours Above 23,000 MW | 3.624 | 0 | 39.864 | 72.48 | 61.608

## Table 2.6
Table 2.6: Monthly Peak Demands
Month | Peak Date | Day of Week | Actual Peak (MW) | Weather Corrected Peak (MW) | Actual Peak Day Temperature (°C) | Normal Peak Day Temperature (°C) | Monthly Minimum (MW)
2000-01-01 | 2000-01-17 | 2000-01-17 | 23301 | 22918.65 | -15.1 | -14.7 | 12674
2000-02-01 | 2000-02-02 | 2000-02-02 | 21759 | 22292.63 | -5.9 | -8.6 | 12587
2000-03-01 | 2000-03-02 | 2000-03-02 | 20162 | 21051.77 | 0.6 | -4.3 | 12107
2000-04-01 | 2000-04-11 | 2000-04-11 | 19265 | 18658.62 | 1.3 | 5.3 | 11922
2000-05-01 | 2000-05-08 | 2000-05-08 | 20313 | 20346.58 | 26.1 | 12 | 11642
2000-06-01 | 2000-06-26 | 2000-06-26 | 21851 | 22086.98 | 27.9 | 28.5 | 11624
2000-07-01 | 2000-07-31 | 2000-07-31 | 21616 | 22035.51 | 26.5 | 27.5 | 11631
2000-08-01 | 2000-08-31 | 2000-08-31 | 23160 | 22214 | 29 | 29.3 | 11801
2000-09-01 | 2000-09-01 | 2000-09-01 | 23107 | 21986.77 | 30.4 | 29.3 | 11735
2000-10-01 | 2000-10-30 | 2000-10-30 | 19259 | 19764.29 | 13.9 | 4 | 11729
2000-11-01 | 2000-11-22 | 2000-11-22 | 21862 | 21188.88 | -2.2 | -0.3 | 12552
2000-12-01 | 2000-12-12 | 2000-12-12 | 23126 | 22724.92 | -8.6 | -3.9 | 13947
2001-01-01 | 2001-01-09 | 2001-01-09 | 22432 | 22817.51 | -4.9 | -7.6 | 14029
2001-02-01 | 2001-02-21 | 2001-02-21 | 21795 | 21978.04 | -8.3 | -6 | 14714
2001-03-01 | 2001-03-05 | 2001-03-05 | 21165 | 21384.12 | -2.5 | -5.5 | 13809
2001-04-01 | 2001-04-02 | 2001-04-02 | 18852 | 19196.67 | 6 | 0.2 | 11670
2001-05-01 | 2001-05-03 | 2001-05-03 | 19144 | 19045.11 | 30.4 | 7.1 | 11309
2001-06-01 | 2001-06-27 | 2001-06-27 | 23550 | 22787.91 | 30.9 | 28.5 | 11821
2001-07-01 | 2001-07-24 | 2001-07-24 | 23966 | 22368.8 | 31.8 | 27.9 | 11157
2001-08-01 | 2001-08-08 | 2001-08-08 | 25239 | 22672.91 | 37.2 | 26.6 | 12663
2001-09-01 | 2001-09-07 | 2001-09-07 | 21238 | 20726.39 | 29 | 24.2 | 11508
2001-10-01 | 2001-10-31 | 2001-10-31 | 19591 | 20105.09 | 8.8 | 4 | 11760
2001-11-01 | 2001-11-29 | 2001-11-29 | 21178 | 21714.43 | 2.2 | 0 | 12116
2001-12-01 | 2001-12-17 | 2001-12-17 | 21741 | 22344.62 | 4.1 | -4.7 | 12148
2002-01-01 | 2002-01-14 | 2002-01-14 | 22191 | 23229.72 | 0.7 | -14.7 | 13461
2002-02-01 | 2002-02-04 | 2002-02-04 | 22623 | 22690.59 | -10 | -9.6 | 14038
2002-03-01 | 2002-03-04 | 2002-03-04 | 21886 | 21315.68 | -6.8 | -5.5 | 12887
2002-04-01 | 2002-04-02 | 2002-04-02 | 20386 | 20148 | 1 | 0.2 | 12291
2002-05-01 | 2002-05-30 | 2002-05-30 | 20068 | 19679.67 | 27.9 | 27.2 | 12092
2002-06-01 | 2002-06-26 | 2002-06-26 | 23578 | 23296.12 | 30.7 | 28.5 | 11537
2002-07-01 | 2002-07-03 | 2002-07-03 | 25226 | 24373.02 | 34.7 | 31.5 | 12348
2002-08-01 | 2002-08-13 | 2002-08-13 | 25414 | 23584.47 | 33.4 | 29.6 | 13077
2002-09-01 | 2002-09-09 | 2002-09-09 | 25062 | 22046.84 | 33.5 | 29.6 | 12409
2002-10-01 | 2002-10-01 | 2002-10-01 | 21216 | 20097.6 | 28.8 | 10.1 | 12244
2002-11-01 | 2002-11-28 | 2002-11-28 | 21862 | 21383.01 | 0.1 | 0 | 12709
2002-12-01 | 2002-12-09 | 2002-12-09 | 23334 | 23236.12 | -1.2 | -3.9 | 13057
2003-01-01 | 2003-01-22 | 2003-01-22 | 24158 | 23329.89 | -13.4 | -12 | 13236
2003-02-01 | 2003-02-13 | 2003-02-13 | 23469 | 23103.11 | -10 | -6.1 | 14523
2003-03-01 | 2003-03-03 | 2003-03-03 | 23117 | 21583.55 | -14.3 | -5.5 | 13289
2003-04-01 | 2003-04-03 | 2003-04-03 | 21010 | 20290.27 | -1.8 | 0.2 | 12290
2003-05-01 | 2003-05-05 | 2003-05-05 | 18741 | 19350.59 | 13.1 | 12 | 11604
2003-06-01 | 2003-06-26 | 2003-06-26 | 24753 | 22757.1 | 33.3 | 28.5 | 11821
2003-07-01 | 2003-07-04 | 2003-07-04 | 23175 | 22450.41 | 31.3 | 31.5 | 11957
2003-08-01 | 2003-08-14 | 2003-08-14 | 23891 | 23164.1102 | 31 | 29.6 | 12690.315
2003-09-01 | 2003-09-11 | 2003-09-11 | 20700 | 20273.86 | 26.8 | 29.6 | 11802
2003-10-01 | 2003-10-28 | 2003-10-28 | 20408 | 20777.34 | 9.7 | 4 | 11941
2003-11-01 | 2003-11-24 | 2003-11-24 | 21584 | 22167.27 | 13.4 | 0 | 12724
2003-12-01 | 2003-12-02 | 2003-12-02 | 22798 | 22796.12 | -5.6 | -3.1 | 12550
2004-01-01 | 2004-01-15 | 2004-01-15 | 24937 | 24202.16 | -19.7 | -14.7 | 13219
2004-02-01 | 2004-02-04 | 2004-02-04 | 22608 | 22854.2 | -3.9 | -9.6 | 14243
2004-03-01 | 2004-03-16 | 2004-03-16 | 21634 | 21645.3 | -3.1 | -1.5 | 13238
2004-04-01 | 2004-04-05 | 2004-04-05 | 19911 | 19964.03 | 3.2 | 5.3 | 12427
2004-05-01 | 2004-05-13 | 2004-05-13 | 20327 | 19657.07 | 27.3 | 11.2 | 11983
2004-06-01 | 2004-06-09 | 2004-06-09 | 23163 | 22854.57 | 31.3 | 30.7 | 12059
2004-07-01 | 2004-07-22 | 2004-07-22 | 23976 | 23371.7 | 30.1 | 27.9 | 12385
2004-08-01 | 2004-08-03 | 2004-08-03 | 23159 | 22823.49 | 28.6 | 26.6 | 12223
2004-09-01 | 2004-09-15 | 2004-09-15 | 21911 | 20804.45 | 25.8 | 19.6 | 12285
2004-10-01 | 2004-10-18 | 2004-10-18 | 19829 | 20615.35 | 8.8 | 5.6 | 12343
2004-11-01 | 2004-11-29 | 2004-11-29 | 22066 | 22387.13 | 5 | -3.1 | 12969
2004-12-01 | 2004-12-20 | 2004-12-20 | 24979 | 23695.93 | -12.3 | -4.8 | 14169
2005-01-01 | 2005-01-18 | 2005-01-18 | 24362 | 23988.18 | -14.5 | -14.7 | 13545
2005-02-01 | 2005-02-09 | 2005-02-09 | 22322 | 23606.83 | -3.9 | -9.6 | 14854
2005-03-01 | 2005-03-08 | 2005-03-08 | 22724 | 22234.82 | -8.5 | -5.5 | 13959
2005-04-01 | 2005-04-04 | 2005-04-04 | 19343 | 20719.92 | 10.9 | 0.2 | 12279
2005-05-01 | 2005-05-31 | 2005-05-31 | 19007 | 19328.25 | 22.3 | 27.2 | 11950

## Table 2.7
Table 2.7: Weather Impact - Top 25 Winter Days
Rank | Weather Impact Days | Day of Week | Temperature (°C) | Wind Speed (km/hr) | Cloud Cover
1 | 1994-01-15 | 1994-01-15 | -21.4 | 19.5 | Mainly Sunny
2 | 1982-01-17 | 1982-01-17 | -20.8 | 35.8333 | Sunny
3 | 1982-01-10 | 1982-01-10 | -15.8 | 41.3333 | Mainly Cloudy
4 | 1976-01-23 | 1976-01-23 | -18.3 | 10.6667 | Overcast
5 | 1995-02-05 | 1995-02-05 | -17.6 | 40.6667 | Mainly Cloudy
6 | 1999-01-14 | 1999-01-14 | -17 | 24 | Overcast
7 | 1981-01-04 | 1981-01-04 | -14.1 | 32.3333 | Mainly Sunny
8 | 1994-01-19 | 1994-01-19 | -19 | 35.6667 | Sunny
9 | 1981-01-03 | 1981-01-03 | -20.1 | 15.5 | Mix of Sun & Clouds
10 | 1994-01-16 | 1994-01-16 | -13.8 | 15.1667 | Mainly Sunny
11 | 1971-01-27 | 1971-01-27 | -17.2 | 47.6667 | Mainly Sunny
12 | 2004-01-15 | 2004-01-15 | -19.7 | 23.6667 | Sunny
13 | 1977-01-17 | 1977-01-17 | -15 | 33.3333 | Mainly Cloudy
14 | 1981-01-11 | 1981-01-11 | -20.1 | 19.6667 | Sunny
15 | 1994-01-26 | 1994-01-26 | -17.7 | 22.1667 | Mainly Cloudy
16 | 1979-02-17 | 1979-02-17 | -19.4 | 14.6667 | Sunny
17 | 1993-12-26 | 1993-12-26 | -17 | 33 | Sunny
18 | 2005-01-22 | 2005-01-22 | -15.6 | 38.5 | Overcast
19 | 1982-01-11 | 1982-01-11 | -13.8 | 17.6667 | Overcast
20 | 1995-02-06 | 1995-02-06 | -15.4 | 18.6667 | Mainly Sunny
21 | 1997-01-17 | 1997-01-17 | -14.2 | 36.8333 | Mainly Sunny
22 | 1977-01-29 | 1977-01-29 | -15.2 | 36.3333 | Mainly Cloudy
23 | 1985-01-20 | 1985-01-20 | -13.9 | 28.8333 | Overcast
24 | 1984-01-21 | 1984-01-21 | -16.1 | 19.8333 | Mainly Sunny
25 | 1994-02-08 | 1994-02-08 | -14.4 | 27.5 | Overcast

## Table 2.8
Table 2.8: Weather Impact - Top 25 Summer Days
Rank | Weather Impact Days | Day of Week | Temperature (°C) | Humidex (°C) | Wind Speed (km/hr) | Cloud Cover
1 | 1995-07-14 | 1995-07-14 | 36.7 | 50.8 | 17.3333 | Sunny
2 | 2002-07-02 | 2002-07-02 | 34.3 | 43.6 | 21.6667 | Mainly Sunny
3 | 1999-07-05 | 1999-07-05 | 34.7 | 46.8 | 27.5 | Mainly Sunny
4 | 1994-06-18 | 1994-06-18 | 35.2 | 42.1 | 9.8333 | Sunny
5 | 1988-07-08 | 1988-07-08 | 36.3 | 38.7 | 15.6667 | Mainly Sunny
6 | 2002-07-03 | 2002-07-03 | 34.7 | 44.6 | 21.3333 | Mix of Sun & Clouds
7 | 1977-07-20 | 1977-07-20 | 33.8 | 44.8 | 16.3333 | Sunny
8 | 2001-08-07 | 2001-08-07 | 35.3 | 45.4 | 28 | Mix of Sun & Clouds
9 | 1999-07-04 | 1999-07-04 | 34.4 | 47.7 | 23.3333 | Mix of Sun & Clouds
10 | 2001-08-09 | 2001-08-09 | 35.4 | 43.9 | 30.3333 | Mainly Sunny
11 | 1975-08-01 | 1975-08-01 | 34.4 | 43 | 17.5 | Sunny
12 | 2002-07-01 | 2002-07-01 | 35.1 | 45.7 | 14.6667 | Mainly Sunny
13 | 1975-07-31 | 1975-07-31 | 36.1 | 46.3 | 14.6667 | Sunny
14 | 1987-07-12 | 1987-07-12 | 33 | 44.7 | 15.3333 | Mix of Sun & Clouds
15 | 2001-08-08 | 2001-08-08 | 37.2 | 42.8 | 25 | Sunny
16 | 1988-08-03 | 1988-08-03 | 34.2 | 42.6 | 14.6667 | Sunny
17 | 1995-06-19 | 1995-06-19 | 35.1 | 43.7 | 20.1667 | Sunny
18 | 1994-06-17 | 1994-06-17 | 32.6 | 40.9 | 12.5 | Mainly Sunny
19 | 2002-08-01 | 2002-08-01 | 34.6 | 45.8 | 19.1667 | Sunny
20 | 1973-08-28 | 1973-08-28 | 35.6 | 45.8 | 26.6667 | Sunny
21 | 1988-08-13 | 1988-08-13 | 34.2 | 44.6 | 17.6667 | Mainly Sunny
22 | 1991-07-20 | 1991-07-20 | 34.2 | 42.8 | 15.3333 | Mainly Sunny
23 | 1999-07-30 | 1999-07-30 | 34.4 | 40.7 | 18 | Sunny
24 | 2001-07-24 | 2001-07-24 | 31.8 | 41 | 28.1667 | Mainly Sunny
25 | 1988-07-09 | 1988-07-09 | 35.6 | 39.7 | 11.1667 | Mainly Sunny

## Table 3.1
Table 3.1: Normal and Extreme Weekly Peak Day Weather
Week | Normal Weather Scenario |  |  |  | Extreme Weather Scenario
| Peak Date | Temperature (°C) | Humidex (°C) | Wind Speed (km/hr) | Peak Date | Temperature (°C) | Humidex (°C) | Wind Speed (km/hr)
1 | 1990-12-31 | -6.2 |  | 9.6667 | 1982-01-10 | -15.8 |  | 41.33
2 | 1996-01-11 | -7.6 |  | 4 | 1994-01-15 | -21.4 |  | 19.5
3 | 2003-01-17 | -14.7 |  | 23.3333 | 1994-01-19 | -19 |  | 35.67
4 | 1993-01-30 | -12 |  | 8 | 1976-01-23 | -18.3 |  | 10.67
5 | 1989-02-02 | -8.6 |  | 20.3333 | 1995-02-05 | -17.6 |  | 40.67
6 | 1984-02-07 | -9.6 |  | 12.8333 | 1995-02-06 | -15.4 |  | 18.67
7 | 1995-02-13 | -6.1 |  | 31.5 | 1979-02-17 | -19.4 |  | 14.67
8 | 1979-02-19 | -6 |  | 6.8333 | 1990-02-25 | -15.9 |  | 27.83
9 | 2001-02-28 | -4.3 |  | 27.3333 | 1980-02-29 | -14.4 |  | 35
10 | 1995-03-08 | -5.5 |  | 24 | 2003-03-03 | -14.3 |  | 6.33
11 | 1989-03-17 | -3.7 |  | 19 | 1984-03-12 | -11.3 |  | 7
12 | 1990-03-24 | -1.5 |  | 12.1667 | 1986-03-20 | -11.1 |  | 29.17
13 | 1993-04-01 | 1.1 |  | 14 | 2002-03-25 | -3.5 |  | 15.17
14 | 2000-04-08 | 0.2 |  | 38.1667 | 1982-04-06 | -7.4 |  | 38
15 | 1983-04-17 | 5.3 |  | 17.1667 | 2003-04-07 | -2 |  | 35.5
16 | 1978-04-20 | 3.4 |  | 26.6667 | 1983-04-18 | 1.9 |  | 25.67
17 | 1988-04-27 | 7.1 |  | 27.8333 | 1986-04-22 | 1 |  | 19
18 | 1979-05-01 | 7.1 |  | 25.6667 | 1976-04-26 | 3.9 |  | 33.83
19 | 1992-05-05 | 12 |  | 13.6667 | 1979-05-09 | 29.7 | 34.9 | 21.5
20 | 2000-05-19 | 11.2 |  | 23.1667 | 1996-05-19 | 28.8 | 36.7 | 38.83
21 | 1984-05-22 | 27.5 | 33.7 | 26.6667 | 1975-05-23 | 27.8 | 33.6 | 7.33
22 | 1994-05-30 | 27.2 | 28.8 | 23 | 1987-05-29 | 32 | 37.8 | 18.17
23 | 1978-06-11 | 27.9 | 28.4 | 28.6667 | 1999-06-07 | 32.9 | 41.9 | 22.17
24 | 1992-06-13 | 30.7 | 32.7 | 26.3333 | 1994-06-18 | 35.2 | 42.1 | 9.83
25 | 1994-06-21 | 31.3 | 35.4 | 36.6667 | 1995-06-19 | 35.1 | 43.7 | 20.17
26 | 1995-06-26 | 28.5 | 36.3 | 26 | 1999-07-04 | 34.4 | 47.7 | 23.33
27 | 2001-07-09 | 31.5 | 32.1 | 18.6667 | 2002-07-02 | 34.3 | 43.6 | 21.67
28 | 1997-06-30 | 29.1 | 37.5 | 18.8333 | 1995-07-14 | 36.7 | 50.8 | 17.33
29 | 1997-06-30 | 29.1 | 37.5 | 18.8333 | 1995-07-14 | 36.7 | 50.8 | 17.33
30 | 1993-07-28 | 27.9 | 37.2 | 16 | 1999-07-30 | 34.4 | 40.7 | 18
31 | 2000-08-02 | 27.5 | 35.4 | 21.5 | 1975-08-01 | 34.4 | 43 | 17.5
32 | 2003-08-04 | 26.6 | 34.9 | 18.8333 | 2001-08-07 | 35.3 | 45.4 | 28
33 | 1991-08-13 | 29.6 | 31.4 | 10.6667 | 1995-08-15 | 31.9 | 43.8 | 9.17
34 | 2001-08-26 | 28.7 | 37.1 | 24.5 | 1993-08-27 | 34 | 44.5 | 25.83
35 | 1979-08-30 | 29.3 | 37.3 | 22.3333 | 1973-08-28 | 35.6 | 45.8 | 26.67
36 | 1997-09-01 | 24.2 | 29.4 | 10.5 | 1973-09-03 | 32.8 | 41.4 | 9.33
37 | 1978-09-11 | 29.6 | 38.4 | 19.3333 | 2002-09-09 | 33.5 | 37.2 | 14.83
38 | 2003-09-15 | 19.6 | 26.2 | 16.3333 | 1991-09-16 | 31.2 | 41.9 | 30.33
39 | 1976-09-24 | 12.8 |  | 11.6667 | 1970-09-22 | 26.7 | 35.8 | 21.33
40 | 1994-10-04 | 10.1 |  | 20.6667 | 2002-10-01 | 28.8 | 36 | 34.17
41 | 1981-10-07 | 9.5 |  | 40.1667 | 1988-10-12 | 4.6 |  | 23.5
42 | 2003-10-17 | 9.8 |  | 19 | 1974-10-20 | 2.2 |  | 27.33
43 | 1983-10-29 | 5.6 |  | 25 | 1979-10-26 | 2.5 |  | 26.67
44 | 1992-10-30 | 4 |  | 10.1667 | 1993-11-07 | 2.6 |  | 26
45 | 1979-11-11 | 3.8 |  | 15.8333 | 1995-11-12 | 0.5 |  | 34.33
46 | 1993-11-20 | 1 |  | 35.6667 | 1986-11-13 | -4.2 |  | 11.5
47 | 1981-11-22 | -0.3 |  | 22.5 | 1987-11-21 | -8 |  | 22.67
48 | 1975-11-25 | 0 |  | 24.6667 | 1989-12-03 | -9.2 |  | 34.83
49 | 2003-12-06 | -3.1 |  | 5.5 | 1977-12-11 | -14.1 |  | 8.5
50 | 1978-12-11 | -3.9 |  | 5.5 | 1989-12-15 | -8.5 |  | 17.83
51 | 2002-12-17 | -4.7 |  | 12.3333 | 1993-12-26 | -17 |  | 33
52 | 1996-12-25 | -4.8 |  | 21 | 1993-12-27 | -9.5 |  | 22.5
Indicates seasonal peak weather

## Table 3.2
Table 3.2: Forecasted Ontario Economic Drivers
Year | Ontario Employment |  | Ontario Housing Starts |  | Ontario Growth Index
| Thousands | Annual Growth (%) | Thousands | Annual Growth (%) | Index | Annual Growth (%)
1995 | 5090.8838 | 2.02 | 31.893 | -23.26 | 1.0248 | 1.4195
1996 | 5152.018 | 1.2009 | 39.512 | 23.8893 | 1.0354 | 1.0365
1997 | 5268.8168 | 2.2671 | 49.972 | 26.473 | 1.0531 | 1.7017
1998 | 5437.7835 | 3.2069 | 50.088 | 0.23213 | 1.0766 | 2.2342
1999 | 5617.7248 | 3.3091 | 62.925 | 25.6289 | 1.1017 | 2.3334
2000 | 5797.0746 | 3.1926 | 67.423 | 7.1482 | 1.1281 | 2.3943
2001 | 5923.1747 | 2.1752 | 68.326 | 1.3393 | 1.1496 | 1.9105
2002 | 6017.8917 | 1.5991 | 74.765 | 9.4239 | 1.169 | 1.6857
2003 | 6198.6083 | 3.003 | 79.4427 | 6.2565 | 1.1974 | 2.4251
2004 | 6308.6501 | 1.7753 | 79.9639 | 0.65613 | 1.2189 | 1.802
2005 (f) | 6367.0051 | 0.925 | 74.8198 | -6.433 | 1.2348 | 1.302
2006 (f) | 6435.4504 | 1.075 | 66.8585 | -10.6407 | 1.2506 | 1.2757
2007 (f) | 6519.9803 | 1.3135 | 58.3627 | -12.7071 | 1.2667 | 1.2919
2008 (f) | 6604.442 | 1.2954 | 58.3627 | 0 | 1.2829 | 1.2749
2009 (f) | 6686.1903 | 1.2378 | 58.2905 | -0.12384 | 1.2987 | 1.2376
2010 (f) | 6767.2817 | 1.2128 | 58.2182 | -0.12399 | 1.3145 | 1.2168
2011 (f) | 6848.3851 | 1.1985 | 58.0736 | -0.24829 | 1.3303 | 1.2007
2012 (f) | 6929.9835 | 1.1915 | 57.8568 | -0.37337 | 1.3461 | 1.1879
2013 (f) | 7010.6042 | 1.1634 | 57.5677 | -0.49969 | 1.3618 | 1.164
2014 (f) | 7090.7388 | 1.143 | 57.2425 | -0.56497 | 1.3774 | 1.1438
2015 (f) | 7170.5264 | 1.1252 | 56.9172 | -0.56818 | 1.3929 | 1.1252

## Table 4.1
Table 4.1: Forecasted Ontario Annual Annual Energy Demand
Calendar Year | Energy Demand - Median Growth | Energy Demand - Low Growth | Energy Demand - High Growth
| (TWh) | (TWh) | (TWh)
2004 (WC) | 153.7364 | 153.7364 | 153.7364
2005 (18) | 155.232 | 152.7806 | 156.3989
2006 | 156.8403 | 151.3058 | 160.4144
2007 | 158.3464 | 152.848 | 161.9464
2008 | 160.3485 | 154.4462 | 164.2358
2009 | 161.2305 | 154.6461 | 165.5737
2010 | 162.6264 | 155.278 | 167.4983
2011 | 164.2109 | 156.147 | 169.5814
2012 | 165.974 | 157.192 | 171.8713
2013 | 167.0051 | 157.4815 | 173.4245
2014 | 168.4046 | 158.1048 | 175.384
2015 | 169.7341 | 158.6597 | 177.2956
Avg Growth | 0.8971% | 0.3813% | 1.281%

## Table 4.2
Table 4.2: Percent of Time - Summer 2008 & Winter 2007-08
| Median Growth |  |  |  | High Growth
Summer 2008 (June 1st to September 30th) | Normal Weather Scenario | 1990 Weather Scenario | 1999 Weather Scenario | 2002 Weather Scenario | Normal Weather Scenario | 1990 Weather Scenario | 1999 Weather Scenario | 2002 Weather Scenario
Maximum Hour (MW) | 24626.53 | 25851.92 | 26870.66 | 26917.96 | 25116.29 | 26341.69 | 27360.43 | 27407.72
Average Hour (MW) | 18291.3649 | 18402.4317 | 18830.2811 | 19050.8626 | 18737.4211 | 18848.4881 | 19276.3372 | 19496.9189
Minimum Hour (MW) | 12156.23 | 12255.87 | 12183.84 | 12087.96 | 12436.87 | 12436.87 | 12590.62 | 12548.76
Standard Deviation (MW) | 3117.6597 | 3177.199 | 3352.2032 | 3446.0694 | 3117.5626 | 3176.2708 | 3342.1083 | 3436.3928
90th Percentile (MW) | 22559.062 | 22714.277 | 23492.446 | 23746.008 | 23005.771 | 23126.852 | 23942.446 | 24204.031
Percent above 23,000 MW | 6.4% | 8% | 14.4% | 16.2% | 10.1% | 11.6% | 17.3% | 19.8%
# of Hours Above 23,000 MW | 187.392 | 234.24 | 421.632 | 474.336 | 295.728 | 339.648 | 506.544 | 579.744
Winter 2007-08 (November 1st to March 31st) | Normal Weather Scenario | 1989-90 Weather Scenario | 1976-77 Weather Scenario | 1993-94 Weather Scenario | Normal Weather Scenario | 1989-90 Weather Scenario | 1976-77 Weather Scenario | 1993-94 Weather Scenario
Maximum Hour (MW) | 24548.79 | 25819.43 | 25469.48 | 26080.23 | 25029.58 | 26273.73 | 25950.28 | 26561.03
Average Hour (MW) | 18839.1297 | 18936.0692 | 19234.2579 | 19143.7802 | 19266.8375 | 19363.777 | 19661.9657 | 19571.4879
Minimum Hour (MW) | 12679.33 | 12771.23 | 12844.99 | 12679.33 | 13167.16 | 13190.56 | 13316.17 | 13167.16
Standard Deviation (MW) | 2415.7337 | 2504.3947 | 2524.1204 | 2591.2742 | 2456.08 | 2551.292 | 2570.6504 | 2631.4749
90th Percentile (MW) | 21850.161 | 22079.313 | 22508.01 | 22502.679 | 22337.287 | 22537.763 | 22985.002 | 22984.802
Percent above 23,000 MW | 2.9% | 4.1% | 5.9% | 6.3% | 4.8% | 6.7% | 9.9% | 9.9%
# of Hours Above 23,000 MW | 105.792 | 149.568 | 215.232 | 229.824 | 175.104 | 244.416 | 361.152 | 361.152

## Table 4.3
Table 4.3: Percent of Time - Summer 2010 & Winter 2009-10
| Median Growth |  |  |  | High Growth
Summer 2010 (June 1st to September 30th) | Normal Weather Scenario | 1990 Weather Scenario | 1999 Weather Scenario | 2002 Weather Scenario | Normal Weather Scenario | 1990 Weather Scenario | 1999 Weather Scenario | 2002 Weather Scenario
Maximum Hour (MW) | 25228.42 | 26519.9 | 27538.64 | 27585.94 | 25843.89 | 27135.37 | 28154.11 | 28201.41
Average Hour (MW) | 18784.9978 | 18897.651 | 19383.6833 | 19577.9518 | 19345.5388 | 19458.1919 | 19944.2245 | 20138.4928
Minimum Hour (MW) | 12413.51 | 11975.34 | 12609.78 | 12040.41 | 12741.07 | 12508.06 | 12929.55 | 12572.82
Standard Deviation (MW) | 3242.225 | 3316.8947 | 3472.2117 | 3555.2411 | 3240.1242 | 3312.9189 | 3460.0642 | 3538.013
90th Percentile (MW) | 23218.828 | 23377.098 | 24181.229 | 24363.074 | 23745.464 | 23897.559 | 24711.535 | 24904.878
Percent above 23,000 MW | 12.1% | 13.9% | 18.7% | 21% | 17.4% | 19% | 23% | 25.7%
# of Hours Above 23,000 MW | 354.288 | 406.992 | 547.536 | 614.88 | 509.472 | 556.32 | 673.44 | 752.496
Winter 2009-10 (November 1st to March 31st) | Normal Weather Scenario | 1989-90 Weather Scenario | 1976-77 Weather Scenario | 1993-94 Weather Scenario | Normal Weather Scenario | 1989-90 Weather Scenario | 1976-77 Weather Scenario | 1993-94 Weather Scenario
Maximum Hour (MW) | 24848.14 | 26171.13 | 25768.84 | 26366.06 | 25452.34 | 26719.21 | 26373.04 | 26970.26
Average Hour (MW) | 19192.8154 | 19306.38 | 19621.0541 | 19518.4611 | 19721.8275 | 19835.3921 | 20150.0662 | 20047.4733
Minimum Hour (MW) | 12924.08 | 13016.34 | 13069.47 | 12924.08 | 13414.49 | 13448.97 | 13557.52 | 13414.49
Standard Deviation (MW) | 2405.2685 | 2495.9556 | 2519.0857 | 2604.022 | 2471.5651 | 2560.732 | 2583.7383 | 2665.7038
90th Percentile (MW) | 22194.436 | 22391.477 | 22843.217 | 22903.736 | 22793.808 | 22986.601 | 23452.695 | 23531.341
Percent above 23,000 MW | 4.4% | 5.6% | 8.9% | 9.1% | 8% | 10% | 14.1% | 14.8%
# of Hours Above 23,000 MW | 159.456 | 202.944 | 322.536 | 329.784 | 289.92 | 362.4 | 510.984 | 536.352

## Table 4.4
Table 4.4: Forecasted Ontario Seasonal Peak Demand
Year | Normal Weather Winter Peak Demand | Normal Weather Summer Peak Demand | Normal +1 LFU Weather Winter Peak Demand | Normal +1 LFU Weather Summer Peak Demand | Extreme Weather Winter Peak Demand | Extreme Weather Summer Peak Demand
| (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
2003 | 23329.89 | 23164.1102 | 24158 | 24753 | 24158 | 24753
2004 | 24202.16 | 23371.7 | 24937 | 23976 | 24937 | 23976
2005 (18) | 23988.18 | 23671.58 | 24979 | 24896.38 | 24979 | 26429.92
2006 | 24204.77 | 23990.79 | 25252.42 | 25230.53 | 25817.9 | 26764.08
2007 | 24374.36 | 24301.22 | 25422.01 | 25541.65 | 26008.15 | 27075.2
2008 | 24548.79 | 24626.53 | 25598.65 | 25964.03 | 26198.31 | 27497.58
2009 | 24724.04 | 25044.86 | 25771.69 | 26396.64 | 26407.75 | 27930.19
2010 | 24848.14 | 25228.42 | 25902.93 | 26453.89 | 26521.35 | 27987.44
2011 | 25017.56 | 25534.35 | 26067.43 | 26759.14 | 26706.51 | 28292.69
2012 | 25189.45 | 25839.86 | 26237.1 | 27079.61 | 26802.58 | 28613.15
2013 | 25359.65 | 26157.53 | 26409.51 | 27495.04 | 27009.17 | 29028.58
2014 | 25521.31 | 26460.57 | 26571.17 | 27812.35 | 27191.49 | 29345.9
2015 | 25689.04 | 26873.87 | 26736.69 | 28225.66 | 27372.74 | 29759.2
Avg Growth (2005-15) | 0.6874% | 1.277% | 0.6823% | 1.263% | 0.9193% | 1.193%
Notes to Table 4.4
Indicates actual or weather corrected peak demands - actuals under the Normal + 1LFU and Extreme weather scenarios. Weather corrected actuals for the Normal weather scenarios
2005 (18) indicates that these values are not in the time frame of this document but can be found in the 18-Month Outlook that covers the period July 2005 to December 2006

## Table 4.5
Table 4.5: Current Vs Previous Forecast
Year | Annual Energy Demand | Normal Weather Winter Peak Demand | Normal Weather Summer Peak Demand | Normal +1 LFU Weather Winter Peak Demand | Normal +1 LFU Weather Summer Peak Demand | Extreme Weather Winter Peak Demand | Extreme Weather Summer Peak Demand
| (TWh) | (MW) | (MW) | (MW) | (MW) | (MW) | (MW)
2005 | 155.232 | 23988.18 | 23671.58 | 24979 | 24896.38 | 24979 | 26429.92
Difference (Current - Previous) | -0.30488 | -164.6 | -475.31 | -90.33 | -674.26 | -1142.57 | -492.96
2008 | 160.3485 | 24548.79 | 24626.53 | 25598.65 | 25964.03 | 26198.31 | 27497.58
Difference (Current - Previous) | -0.66059 | -170.76 | -400.55 | -37.45 | -487.36 | -490.03 | -310.39
2011 | 164.2109 | 25017.56 | 25534.35 | 26067.43 | 26759.14 | 26706.51 | 28292.69
Difference (Current - Previous) | -0.98018 | -164.67 | -348.16 | -31.35 | -547.47 | -444.51 | -367.26
2014 | 168.4046 | 25521.31 | 26460.57 | 26571.17 | 27812.35 | 27191.49 | 29345.9
Difference (Current - Previous) | -0.50792 | -115.3 | -150.71 | 18.01 | -227.37 | -413.91 | -23.46
Indicates actual or weather corrected peak demands - actuals under the Normal + 1LFU and Extreme weather scenarios. Weather corrected actuals for the Normal weather scenarios

## Table A1
Table A1: Monthly Zonal Energy Forecast, Normal Weather
Monthly Energy (GWh)
Month | Northwest | Northeast | East | Essa | Ottawa | Toronto | Niagara | Bruce | Southwest | West | Total System
2006-01-01 | 728.6768 | 1126.6555 | 992.031 | 893.5651 | 1126.5133 | 4616.6413 | 518.5057 | 37.3186 | 2799.3162 | 1586.6243 | 14425.8477
2006-02-01 | 660.6035 | 997.3031 | 872.6305 | 788.5502 | 969.7802 | 4171.7134 | 469.2839 | 36.375 | 2534.8302 | 1434.0123 | 12935.0824
2006-03-01 | 700.7328 | 1047.9348 | 889.4784 | 831.9912 | 1002.1637 | 4387.3893 | 508.3042 | 37.1566 | 2668.1289 | 1525.541 | 13598.8208
2006-04-01 | 629.3598 | 920.9633 | 766.4735 | 694.8068 | 851.2527 | 3845.9916 | 460.0089 | 29.2905 | 2375.7054 | 1375.1038 | 11948.9562
2006-05-01 | 641.3391 | 895.4644 | 768.1809 | 713.5479 | 874.3968 | 4054.885 | 473.3771 | 27.2614 | 2445.7447 | 1429.8831 | 12324.0805
2006-06-01 | 631.7111 | 833.6445 | 747.6808 | 668.7075 | 887.2578 | 4236.1753 | 482.4467 | 31.1044 | 2507.5906 | 1516.6214 | 12542.9401
2006-07-01 | 649.9139 | 855.4491 | 796.3004 | 715.5294 | 986.3619 | 4692.4244 | 521.848 | 30.1046 | 2680.3815 | 1648.7392 | 13577.0524
2006-08-01 | 663.8669 | 917.6293 | 815.266 | 731.729 | 992.7031 | 4738.7231 | 534.4783 | 30.5059 | 2684.3007 | 1710.8835 | 13820.0859
2006-09-01 | 622.9201 | 909.8362 | 703.7927 | 589.2366 | 900.9336 | 4157.6702 | 470.9774 | 29.6833 | 2448.9914 | 1488.1075 | 12322.1491
2006-10-01 | 657.189 | 983.456 | 782.2073 | 681.8671 | 948.3625 | 4096.5675 | 475.2387 | 31.3374 | 2477.1808 | 1459.5929 | 12592.9992
2006-11-01 | 670.1274 | 1003.9751 | 821.924 | 732.7908 | 961.3571 | 4195.3723 | 483.438 | 36.2734 | 2553.1193 | 1477.0434 | 12935.4207
2006-12-01 | 694.8623 | 1072.7447 | 936.9987 | 852.977 | 1077.1368 | 4442.3924 | 492.107 | 37.2721 | 2682.1284 | 1528.1977 | 13816.817
2007-01-01 | 730.7274 | 1125.4748 | 999.2208 | 913.8395 | 1149.1426 | 4669.4338 | 522.1905 | 37.663 | 2851.3241 | 1614.3442 | 14613.3607
2007-02-01 | 660.2249 | 994.3623 | 872.5479 | 797.101 | 981.5845 | 4180.7612 | 469.8887 | 36.5224 | 2561.3972 | 1449.6368 | 13004.0269
2007-03-01 | 699.8273 | 1042.9603 | 883.7886 | 833.36 | 1008.7467 | 4364.1749 | 506.522 | 37.1697 | 2679.8002 | 1535.7721 | 13592.1218
2007-04-01 | 629.3583 | 912.4286 | 768.8967 | 705.3608 | 866.4938 | 3879.0555 | 461.4372 | 29.4119 | 2414.781 | 1395.7474 | 12062.9712
2007-05-01 | 644.4981 | 896.0301 | 771.3673 | 725.5601 | 892.4007 | 4097.2535 | 475.4016 | 27.55 | 2486.5601 | 1454.8135 | 12471.435
2007-06-01 | 643.0718 | 836.4922 | 753.2016 | 681.4348 | 910.9683 | 4291.7017 | 487.0915 | 31.1041 | 2553.4631 | 1539.8243 | 12728.3533
2007-07-01 | 650.0825 | 854.0564 | 803.8708 | 733.4227 | 1001.1255 | 4758.0294 | 525.3161 | 30.8824 | 2739.8768 | 1692.4249 | 13789.0874
2007-08-01 | 670.0175 | 918.8872 | 816.8692 | 743.1135 | 1004.5851 | 4764.7125 | 535.7157 | 30.7567 | 2723.7906 | 1733.6926 | 13942.1406
2007-09-01 | 626.7652 | 912.2807 | 706.2576 | 597.5842 | 915.7199 | 4176.5443 | 471.08 | 29.841 | 2481.6162 | 1505.9219 | 12423.6109
2007-10-01 | 659.6936 | 981.921 | 786.683 | 699.5416 | 971.0958 | 4143.0558 | 478.8035 | 31.835 | 2526.7826 | 1487.078 | 12766.4899
2007-11-01 | 671.7829 | 1002.6348 | 823.4392 | 743.3697 | 976.9935 | 4209.3778 | 484.2748 | 36.4724 | 2583.201 | 1495.593 | 13027.1389
2007-12-01 | 695.6095 | 1072.7624 | 940.5023 | 864.5491 | 1097.0573 | 4461.9759 | 493.7698 | 37.8462 | 2714.6714 | 1546.8991 | 13925.6429
2008-01-01 | 732.8742 | 1126.6487 | 1001.024 | 926.2967 | 1168.5571 | 4691.8404 | 523.9777 | 37.9055 | 2884.9649 | 1634.6755 | 14728.7649
2008-02-01 | 683.2674 | 1023.435 | 902.9832 | 834.3669 | 1028.965 | 4341.0348 | 487.822 | 37.992 | 2679.5454 | 1519.0093 | 13538.421
2008-03-01 | 695.7547 | 1035.7976 | 874.0453 | 829.5634 | 1011.6233 | 4310.2828 | 500.5419 | 36.7261 | 2676.8949 | 1533.9475 | 13505.1774
2008-04-01 | 633.1309 | 919.3316 | 777.0415 | 739.8961 | 888.0663 | 3937.3335 | 468.543 | 29.8132 | 2473.5607 | 1425.1149 | 12291.8316
2008-05-01 | 648.8173 | 897.3033 | 770.5456 | 730.0552 | 907.0469 | 4116.8115 | 475.8557 | 27.6452 | 2514.2217 | 1476.5772 | 12564.8796
2008-06-01 | 646.8647 | 834.0665 | 759.6243 | 694.7551 | 931.1716 | 4358.4486 | 491.3249 | 31.7976 | 2607.9092 | 1574.1433 | 12930.1059
2008-07-01 | 657.5359 | 854.7169 | 816.8152 | 758.3239 | 1029.0851 | 4865.5512 | 532.379 | 31.1142 | 2809.9242 | 1738.043 | 14093.4886
2008-08-01 | 675.5339 | 924.7272 | 811.9554 | 741.8184 | 1008.1304 | 4735.355 | 531.8287 | 30.9976 | 2740.3977 | 1738.2262 | 13938.9703
2008-09-01 | 630.1028 | 909.3056 | 710.5066 | 616.2452 | 937.5566 | 4221.2672 | 474.3044 | 30.0018 | 2531.4184 | 1533.8429 | 12594.5514
2008-10-01 | 663.7967 | 984.7302 | 789.9814 | 712.4729 | 988.5061 | 4175.4854 | 482.3066 | 32.5608 | 2569.0184 | 1512.2572 | 12911.1158
2008-11-01 | 671.9904 | 1005.5864 | 826.7139 | 750.5758 | 994.2546 | 4200.5598 | 481.852 | 36.635 | 2600.861 | 1505.0355 | 13074.0644
2008-12-01 | 699.3764 | 1077.3014 | 952.8508 | 890.5908 | 1130.2973 | 4533.6043 | 500.3466 | 38.9191 | 2772.4424 | 1581.3829 | 14177.1119
2009-01-01 | 733.5653 | 1126.5488 | 995.9697 | 929.9738 | 1181.3492 | 4681.3936 | 523.7027 | 37.9893 | 2899.4257 | 1645.414 | 14755.3321
2009-02-01 | 659.6696 | 983.6675 | 872.3642 | 813.4029 | 1004.9843 | 4199.5295 | 470.984 | 36.8275 | 2614.3351 | 1481.1158 | 13136.8805
2009-03-01 | 697.4324 | 1031.5392 | 879.3849 | 845.7264 | 1030.0222 | 4358.0093 | 504.7356 | 37.3174 | 2722.7936 | 1561.8385 | 13668.7994
2009-04-01 | 632.3882 | 912.148 | 773.9492 | 740.3474 | 898.2226 | 3931.4596 | 466.5456 | 29.8341 | 2491.1051 | 1436.3505 | 12312.3503
2009-05-01 | 653.3265 | 897.0043 | 772.0922 | 737.309 | 920.0602 | 4137.1116 | 475.8542 | 27.9591 | 2545.2389 | 1496.0263 | 12661.9823
2009-06-01 | 650.2551 | 834.384 | 769.8368 | 715.5844 | 954.0192 | 4451.1869 | 498.7553 | 32.0437 | 2670.2283 | 1623.7193 | 13200.0129
2009-07-01 | 665.1973 | 856.4368 | 819.5505 | 769.8055 | 1046.1806 | 4913.7906 | 534.5007 | 31.5826 | 2861.5618 | 1759.4485 | 14258.0549
2009-08-01 | 681.23 | 921.1469 | 814.6381 | 754.4679 | 1025.1401 | 4764.9223 | 532.1833 | 31.0192 | 2779.4503 | 1759.1046 | 14063.3027
2009-09-01 | 633.246 | 912.0091 | 717.3391 | 633.9377 | 954.4029 | 4253.3695 | 476.6671 | 30.3737 | 2574.5647 | 1557.1056 | 12743.0153
2009-10-01 | 665.1535 | 982.1958 | 783.8554 | 713.3268 | 1001.5117 | 4169.6828 | 480.8745 | 32.797 | 2589.9515 | 1527.1028 | 12946.4518
2009-11-01 | 673.6976 | 1007.1322 | 833.6516 | 768.1405 | 1018.9993 | 4246.9275 | 484.6745 | 37.0288 | 2650.2186 | 1528.9855 | 13249.4561
2009-12-01 | 697.4992 | 1072.9687 | 950.5045 | 897.2066 | 1139.6828 | 4540.4367 | 500.6696 | 39.4421 | 2797.146 | 1599.3371 | 14234.8934
2010-01-01 | 734.3264 | 1123.1728 | 991.919 | 932.0167 | 1194.3997 | 4654.2124 | 521.6857 | 37.9893 | 2906.1603 | 1653.1151 | 14748.9976
2010-02-01 | 664.7268 | 988.8383 | 881.3119 | 830.5703 | 1030.1161 | 4234.8017 | 473.1762 | 37.1833 | 2655.2794 | 1504.1523 | 13300.1561
2010-03-01 | 705.3807 | 1045.2004 | 900.5414 | 879.6254 | 1069.5795 | 4463.7328 | 512.0076 | 38.0661 | 2804.5851 | 1602.5406 | 14021.2596
2010-04-01 | 634.8423 | 916.3096 | 780.9934 | 754.9444 | 922.6781 | 3945.6351 | 468.1314 | 30.0626 | 2523.6192 | 1458.1 | 12435.3162
2010-05-01 | 652.1658 | 897.419 | 773.8877 | 750.4898 | 930.5568 | 4130.53 | 475.6244 | 28.2328 | 2574.9192 | 1506.0788 | 12719.9043
2010-06-01 | 653.4324 | 836.0644 | 770.0179 | 726.1522 | 963.0869 | 4415.6494 | 492.2683 | 32.1367 | 2689.3854 | 1615.8964 | 13194.09
2010-07-01 | 671.8907 | 858.0712 | 814.9098 | 773.5467 | 1051.4839 | 4905.3701 | 534.6669 | 31.6176 | 2884.9985 | 1776.9037 | 14303.4591
2010-08-01 | 686.9888 | 921.0542 | 831.1165 | 781.3409 | 1058.1346 | 4902.834 | 540.4634 | 31.7713 | 2866.7773 | 1811.1669 | 14431.6478
2010-09-01 | 642.1073 | 908.0801 | 725.5684 | 646.7741 | 979.7917 | 4387.9342 | 487.4614 | 31.0353 | 2645.4258 | 1619.0983 | 13073.2766
2010-10-01 | 664.6306 | 978.0305 | 790.1002 | 722.3371 | 1012.2304 | 4182.8355 | 479.2759 | 31.6616 | 2604.6989 | 1540.7624 | 13006.563
2010-11-01 | 671.4447 | 989.2864 | 823.7826 | 769.5486 | 1019.7199 | 4240.547 | 484.8593 | 36.8891 | 2668.0273 | 1544.1242 | 13248.2289
2010-12-01 | 688.7954 | 1064.5432 | 937.9253 | 894.9667 | 1141.2083 | 4491.5434 | 494.5071 | 39.1728 | 2794.5144 | 1596.3406 | 14143.5173
2011-01-01 | 737.8694 | 1122.098 | 997.9481 | 948.225 | 1213.0898 | 4698.8125 | 525.5987 | 38.2902 | 2956.1076 | 1680.4127 | 14918.452
2011-02-01 | 665.2976 | 987.8081 | 881.9965 | 838.8822 | 1044.1419 | 4240.627 | 473.3123 | 37.2421 | 2678.8201 | 1518.2151 | 13366.3429
2011-03-01 | 705.6639 | 1039.4237 | 900.1182 | 888.289 | 1081.6016 | 4475.7941 | 512.8646 | 38.2029 | 2834.1611 | 1620.4045 | 14096.5234
2011-04-01 | 635.0563 | 913.0018 | 777.5327 | 755.1782 | 930.2323 | 3945.2603 | 466.8408 | 30.2344 | 2542.7044 | 1471.6116 | 12467.6527
2011-05-01 | 655.452 | 894.6438 | 781.2389 | 767.9153 | 952.3055 | 4193.586 | 479.5953 | 28.4832 | 2628.4783 | 1538.4677 | 12920.166
2011-06-01 | 656.9071 | 835.5881 | 773.2925 | 737.8155 | 975.4431 | 4463.9634 | 496.5656 | 32.5471 | 2735.0139 | 1650.2749 | 13357.4112
2011-07-01 | 678.4027 | 859.738 | 816.3933 | 782.002 | 1065.242 | 4914.1541 | 533.2985 | 31.6755 | 2914.1151 | 1791.165 | 14386.1862
2011-08-01 | 694.7458 | 923.227 | 842.2807 | 804.2411 | 1083.0669 | 5006.9638 | 548.2448 | 32.2126 | 2940.8799 | 1857.8432 | 14733.7058
2011-09-01 | 645.9196 | 910.2839 | 725.9264 | 655.8547 | 992.1484 | 4395.5635 | 486.5348 | 31.1471 | 2676.8455 | 1631.4796 | 13151.7036
2011-10-01 | 665.8854 | 975.9659 | 790.1539 | 732.0517 | 1028.5912 | 4195.2221 | 479.502 | 32.0963 | 2637.3855 | 1559.9441 | 13096.7982
2011-11-01 | 673.7377 | 991.1122 | 828.3846 | 783.3308 | 1038.8791 | 4270.5176 | 486.8427 | 37.2019 | 2706.3106 | 1565.2463 | 13381.5634
2011-12-01 | 697.181 | 1059.8112 | 945.9419 | 911.5308 | 1161.8152 | 4543.5863 | 497.9566 | 38.2223 | 2852.6441 | 1625.7218 | 14334.4111
2012-01-01 | 733.2897 | 1113.1259 | 1001.194 | 957.1435 | 1218.2101 | 4703.0143 | 522.8855 | 38.4184 | 2988.0842 | 1695.2301 | 14970.5957
2012-02-01 | 688.8873 | 1021.6083 | 913.3775 | 878.1341 | 1091.199 | 4411.4043 | 490.9425 | 38.7958 | 2805.7618 | 1588.6085 | 13928.719
2012-03-01 | 703.394 | 1032.7085 | 889.3924 | 886.0544 | 1083.3028 | 4428.5305 | 510.0444 | 37.8921 | 2835.0009 | 1624.6517 | 14030.9716
2012-04-01 | 635.0994 | 903.3137 | 777.8473 | 758.9449 | 939.5031 | 3961.5495 | 465.7924 | 30.2407 | 2570.523 | 1487.5915 | 12530.4055
2012-05-01 | 658.125 | 892.581 | 786.4217 | 784.7248 | 973.168 | 4250.5359 | 483.5422 | 28.7 | 2678.3342 | 1569.1979 | 13105.3307
2012-06-01 | 667.2508 | 836.922 | 774.0512 | 745.268 | 992.1269 | 4509.8975 | 499.0687 | 32.7552 | 2777.4854 | 1670.1789 | 13505.0047
2012-07-01 | 680.9663 | 859.5122 | 829.6685 | 804.5782 | 1086.5526 | 5020.3548 | 539.9798 | 32.3276 | 2990.296 | 1846.9301 | 14691.1661
2012-08-01 | 701.0695 | 928.9952 | 843.6036 | 814.2762 | 1092.9504 | 5027.3159 | 551.236 | 32.5181 | 2979.4305 | 1886.8289 | 14858.2242
2012-09-01 | 648.2351 | 913.2553 | 721.9659 | 654.6145 | 1002.8224 | 4375.691 | 481.5831 | 31.1864 | 2690.6209 | 1632.3384 | 13152.313
2012-10-01 | 668.7134 | 977.2055 | 800.7382 | 758.8167 | 1055.0693 | 4254.6924 | 484.7815 | 32.9134 | 2699.9475 | 1590.5919 | 13323.4697
2012-11-01 | 675.7824 | 992.0877 | 832.0334 | 795.2482 | 1054.2308 | 4289.3944 | 488.0985 | 37.3448 | 2736.9083 | 1585.3512 | 13486.4795
2012-12-01 | 699.3366 | 1061.6718 | 948.3858 | 918.3011 | 1179.3171 | 4537.1546 | 497.3585 | 38.6782 | 2873.3084 | 1637.7753 | 14391.2875
2013-01-01 | 736.6695 | 1116.4059 | 1008.5243 | 978.3777 | 1242.2406 | 4760.9081 | 527.5707 | 38.8109 | 3041.704 | 1724.9307 | 15176.1424
2013-02-01 | 662.8032 | 979.9305 | 879.9063 | 852.6711 | 1061.0866 | 4254.1172 | 473.9254 | 37.4755 | 2729.6089 | 1547.4955 | 13479.0201
2013-03-01 | 702.5776 | 1027.8354 | 883.897 | 882.3839 | 1086.3226 | 4391.9778 | 504.932 | 37.9158 | 2837.1887 | 1627.3626 | 13982.3935
2013-04-01 | 639.2647 | 914.7214 | 785.4143 | 791.0758 | 961.3057 | 4016.8151 | 473.3138 | 30.8044 | 2631.7174 | 1518.4319 | 12762.8646
2013-05-01 | 663.1023 | 894.6736 | 789.3157 | 796.3952 | 988.5202 | 4287.601 | 485.9007 | 28.938 | 2718.3556 | 1595.1575 | 13247.96
2013-06-01 | 671.5822 | 841.3547 | 777.4589 | 754.3319 | 1004.7765 | 4539.8301 | 500.0924 | 32.9037 | 2813.1421 | 1698.929 | 13634.4016
2013-07-01 | 687.3375 | 859.9855 | 841.2829 | 827.4851 | 1110.1788 | 5117.8919 | 547.5223 | 32.962 | 3066.4434 | 1889.5644 | 14980.6537
2013-08-01 | 706.2355 | 927.1498 | 840.6381 | 819.7602 | 1101.1072 | 5026.5298 | 549.0032 | 32.5251 | 3004.2801 | 1900.1621 | 14907.3911
2013-09-01 | 652.4414 | 914.6853 | 728.8939 | 673.9938 | 1017.8089 | 4411.7424 | 484.3877 | 31.4442 | 2739.851 | 1657.6673 | 13312.9159
2013-10-01 | 669.8096 | 975.608 | 798.6381 | 765.5086 | 1071.411 | 4278.2885 | 486.3049 | 33.2945 | 2735.6618 | 1612.4364 | 13426.9613
2013-11-01 | 677.1436 | 993.8337 | 831.9987 | 801.9852 | 1069.3941 | 4287.8983 | 487.4811 | 37.6075 | 2762.1707 | 1600.3388 | 13549.8517
2013-12-01 | 700.4099 | 1062.1117 | 953.8441 | 934.2565 | 1199.6128 | 4575.7227 | 500.6632 | 39.4523 | 2915.6853 | 1662.8307 | 14544.5892
2014-01-01 | 738.5582 | 1116.77 | 1008.4499 | 988.0252 | 1256.4917 | 4769.7429 | 528.6172 | 38.9488 | 3069.5627 | 1741.5388 | 15256.7054
2014-02-01 | 663.6055 | 977.0617 | 879.7309 | 860.5804 | 1069.0266 | 4262.1198 | 474.7018 | 37.6762 | 2756.8807 | 1564.3169 | 13545.7005
2014-03-01 | 701.7529 | 1025.098 | 885.9548 | 894.4008 | 1099.8128 | 4414.133 | 507.4162 | 38.2086 | 2873.9856 | 1648.9411 | 14089.7038
2014-04-01 | 639.6158 | 909.7198 | 784.3004 | 795.2889 | 969.4845 | 4016.9568 | 471.5587 | 30.7955 | 2653.9661 | 1531.4943 | 12803.1807
2014-05-01 | 666.914 | 896.3901 | 789.8314 | 803.0765 | 999.962 | 4306.173 | 486.3092 | 29.0911 | 2750.0735 | 1616.744 | 13344.5648
2014-06-01 | 676.7722 | 840.1686 | 785.7004 | 772.4518 | 1023.812 | 4614.0216 | 505.6764 | 33.4123 | 2874.7914 | 1740.1791 | 13866.9858
2014-07-01 | 694.2521 | 862.1713 | 848.3374 | 843.6415 | 1127.416 | 5182.2314 | 550.3998 | 33.2946 | 3122.6329 | 1918.9775 | 15183.3545
2014-08-01 | 712.1314 | 929.7864 | 840.934 | 826.1628 | 1108.7709 | 5039.5934 | 548.5765 | 32.7893 | 3039.7083 | 1918.3893 | 14996.8423
2014-09-01 | 654.5844 | 914.4822 | 732.6091 | 690.8748 | 1035.036 | 4442.8606 | 486.7594 | 31.5712 | 2780.9115 | 1683.6983 | 13453.3874
2014-10-01 | 672.5633 | 975.6003 | 797.8939 | 773.3754 | 1083.0032 | 4294.0005 | 488.2932 | 33.7347 | 2771.9085 | 1634.3251 | 13524.6981
2014-11-01 | 677.2799 | 995.3344 | 834.4248 | 810.2858 | 1083.555 | 4287.308 | 486.481 | 37.8026 | 2786.976 | 1613.4772 | 13612.9247
2014-12-01 | 703.7533 | 1064.9212 | 961.3509 | 953.2925 | 1223.32 | 4622.126 | 504.5964 | 40.1328 | 2962.2922 | 1690.7487 | 14726.5341
2015-01-01 | 738.3724 | 1116.4044 | 1005.1197 | 992.4139 | 1264.4123 | 4760.0119 | 528.1415 | 39.079 | 3088.4959 | 1754.2859 | 15286.7368
2015-02-01 | 664.187 | 974.699 | 880.495 | 869.4299 | 1079.2077 | 4270.2763 | 475.0552 | 37.8256 | 2784.6928 | 1579.2586 | 13615.1273
2015-03-01 | 702.547 | 1021.7478 | 887.8455 | 907.5113 | 1111.5973 | 4436.2942 | 509.2496 | 38.396 | 2911.071 | 1670.699 | 14196.9587
2015-04-01 | 639.3335 | 904.8821 | 783.7498 | 801.0733 | 978.705 | 4023.8633 | 471.981 | 30.9044 | 2680.41 | 1547.8073 | 12862.7096
2015-05-01 | 672.103 | 897.3479 | 791.37 | 810.0252 | 1009.6487 | 4326.259 | 486.3546 | 29.3965 | 2783.2077 | 1638.0287 | 13443.7412
2015-06-01 | 680.4493 | 839.9618 | 795.9515 | 793.5014 | 1043.3285 | 4710.8623 | 513.3534 | 33.8509 | 2943.9832 | 1788.9838 | 14144.2262
2015-07-01 | 702.1145 | 864.8929 | 850.4374 | 855.1753 | 1140.8091 | 5224.2701 | 552.0228 | 33.553 | 3170.9239 | 1943.4212 | 15337.6201
2015-08-01 | 717.9682 | 930.6664 | 844.171 | 838.7204 | 1121.8502 | 5063.5514 | 549.2095 | 32.9284 | 3081.2587 | 1940.3333 | 15120.6574
2015-09-01 | 656.932 | 916.1167 | 736.8637 | 704.9977 | 1048.9259 | 4468.5753 | 488.5403 | 31.918 | 2821.8319 | 1706.0655 | 13580.767
2015-10-01 | 674.8996 | 976.7635 | 795.6002 | 778.2944 | 1093.1898 | 4289.6874 | 487.4745 | 34.0276 | 2795.9167 | 1650.9101 | 13576.7638
2015-11-01 | 678.9152 | 997.8895 | 842.6166 | 828.8539 | 1104.5619 | 4333.1641 | 489.3514 | 38.1404 | 2836.4415 | 1637.2808 | 13787.2152
2015-12-01 | 703.4714 | 1062.2757 | 959.4241 | 960.401 | 1229.4343 | 4624.4802 | 504.9864 | 40.5579 | 2987.703 | 1708.8891 | 14781.6231

## Table B1
Table B1: Monthly Zonal Coincident Peak Demand Forecast, Normal Weather
Hourly Coincident Peak Demand (MW)
Month | Northwest | Northeast | East | Essa | Ottawa | Toronto | Niagara | Bruce | Southwest | West | Total System | Load Forecast Uncertainty
2006-01-01 | 993 | 1637 | 1697 | 1679 | 2005 | 7993 | 849 | 62 | 4716 | 2574 | 24205 | 1048
2006-02-01 | 1041 | 1607 | 1660 | 1625 | 1928 | 7835 | 826 | 62 | 4597 | 2515 | 23696 | 637
2006-03-01 | 982 | 1554 | 1546 | 1528 | 1800 | 7576 | 816 | 62 | 4410 | 2414 | 22688 | 721
2006-04-01 | 915 | 1353 | 1339 | 1249 | 1619 | 6939 | 783 | 56 | 4129 | 2330 | 20712 | 686
2006-05-01 | 903 | 1231 | 1360 | 1255 | 1483 | 7835 | 809 | 43 | 4112 | 2609 | 21640 | 994
2006-06-01 | 919 | 1189 | 1492 | 1401 | 1698 | 8596 | 930 | 50 | 4475 | 3037 | 23787 | 1018
2006-07-01 | 898 | 1182 | 1508 | 1443 | 1713 | 8877 | 853 | 49 | 4711 | 2757 | 23991 | 1240
2006-08-01 | 926 | 1354 | 1460 | 1356 | 1664 | 8439 | 924 | 47 | 4473 | 3020 | 23663 | 1190
2006-09-01 | 889 | 1338 | 1363 | 1223 | 1591 | 8108 | 860 | 50 | 4406 | 2815 | 22643 | 1797
2006-10-01 | 935 | 1505 | 1378 | 1321 | 1670 | 7130 | 779 | 60 | 4265 | 2362 | 21405 | 772
2006-11-01 | 1011 | 1620 | 1531 | 1429 | 1772 | 7653 | 818 | 61 | 4451 | 2505 | 22851 | 561
2006-12-01 | 966 | 1552 | 1645 | 1625 | 1875 | 7890 | 846 | 63 | 4619 | 2534 | 23615 | 959
2007-01-01 | 991 | 1628 | 1702 | 1698 | 2034 | 8038 | 852 | 62 | 4768 | 2601 | 24374 | 1048
2007-02-01 | 1004 | 1542 | 1618 | 1603 | 1924 | 7910 | 833 | 62 | 4663 | 2546 | 23705 | 758
2007-03-01 | 967 | 1483 | 1514 | 1508 | 1752 | 7575 | 820 | 64 | 4429 | 2487 | 22599 | 940
2007-04-01 | 910 | 1342 | 1340 | 1260 | 1653 | 6988 | 787 | 53 | 4176 | 2353 | 20862 | 695
2007-05-01 | 911 | 1228 | 1387 | 1274 | 1505 | 7945 | 814 | 44 | 4197 | 2658 | 21963 | 980
2007-06-01 | 925 | 1195 | 1512 | 1411 | 1711 | 8636 | 933 | 51 | 4547 | 3079 | 24000 | 1273
2007-07-01 | 904 | 1176 | 1533 | 1458 | 1736 | 8988 | 858 | 51 | 4794 | 2803 | 24301 | 1240
2007-08-01 | 934 | 1346 | 1488 | 1379 | 1687 | 8550 | 930 | 48 | 4553 | 3069 | 23984 | 1155
2007-09-01 | 897 | 1340 | 1388 | 1246 | 1614 | 8215 | 865 | 51 | 4489 | 2863 | 22968 | 1447
2007-10-01 | 930 | 1450 | 1380 | 1350 | 1710 | 7270 | 792 | 60 | 4339 | 2438 | 21719 | 631
2007-11-01 | 979 | 1562 | 1571 | 1553 | 1822 | 7616 | 829 | 64 | 4508 | 2514 | 23018 | 561
2007-12-01 | 965 | 1543 | 1651 | 1647 | 1905 | 7947 | 849 | 63 | 4671 | 2563 | 23804 | 937
2008-01-01 | 989 | 1617 | 1710 | 1718 | 2065 | 8082 | 855 | 63 | 4820 | 2630 | 24549 | 1050
2008-02-01 | 1002 | 1533 | 1626 | 1623 | 1954 | 7954 | 836 | 63 | 4715 | 2573 | 23879 | 721
2008-03-01 | 964 | 1476 | 1520 | 1523 | 1784 | 7626 | 824 | 62 | 4484 | 2517 | 22780 | 750
2008-04-01 | 903 | 1408 | 1363 | 1408 | 1719 | 7060 | 794 | 51 | 4274 | 2382 | 21362 | 667
2008-05-01 | 918 | 1224 | 1412 | 1294 | 1527 | 8051 | 819 | 45 | 4278 | 2704 | 22272 | 994
2008-06-01 | 933 | 1191 | 1537 | 1428 | 1734 | 8744 | 938 | 51 | 4627 | 3126 | 24309 | 1273
2008-07-01 | 911 | 1172 | 1559 | 1474 | 1760 | 9100 | 863 | 51 | 4897 | 2840 | 24627 | 1338
2008-08-01 | 941 | 1340 | 1514 | 1399 | 1710 | 8657 | 935 | 51 | 4628 | 3115 | 24290 | 1150
2008-09-01 | 905 | 1341 | 1414 | 1269 | 1639 | 8325 | 871 | 51 | 4566 | 2912 | 23293 | 1447
2008-10-01 | 929 | 1444 | 1385 | 1370 | 1739 | 7314 | 795 | 61 | 4390 | 2465 | 21892 | 633
2008-11-01 | 976 | 1552 | 1571 | 1565 | 1853 | 7651 | 830 | 64 | 4557 | 2542 | 23161 | 561
2008-12-01 | 962 | 1532 | 1656 | 1665 | 1936 | 7993 | 853 | 63 | 4724 | 2591 | 23975 | 955
2009-01-01 | 987 | 1605 | 1719 | 1738 | 2097 | 8130 | 859 | 62 | 4870 | 2657 | 24724 | 1048
2009-02-01 | 1000 | 1526 | 1636 | 1644 | 1986 | 8000 | 839 | 64 | 4765 | 2599 | 24059 | 726
2009-03-01 | 963 | 1468 | 1534 | 1543 | 1816 | 7694 | 830 | 63 | 4543 | 2545 | 22999 | 727
2009-04-01 | 902 | 1382 | 1369 | 1431 | 1745 | 7109 | 796 | 53 | 4328 | 2412 | 21527 | 644
2009-05-01 | 925 | 1219 | 1436 | 1315 | 1548 | 8154 | 823 | 47 | 4359 | 2751 | 22577 | 979
2009-06-01 | 940 | 1193 | 1560 | 1436 | 1749 | 8793 | 943 | 50 | 4687 | 3181 | 24532 | 1370
2009-07-01 | 918 | 1172 | 1589 | 1495 | 1792 | 9274 | 868 | 52 | 5005 | 2880 | 25045 | 1352
2009-08-01 | 949 | 1322 | 1536 | 1417 | 1733 | 8760 | 938 | 49 | 4698 | 3158 | 24560 | 1139
2009-09-01 | 915 | 1346 | 1442 | 1298 | 1662 | 8431 | 877 | 52 | 4645 | 2959 | 23627 | 1447
2009-10-01 | 927 | 1440 | 1391 | 1395 | 1767 | 7352 | 797 | 60 | 4441 | 2494 | 22064 | 629
2009-11-01 | 957 | 1548 | 1596 | 1602 | 1911 | 7736 | 812 | 61 | 4639 | 2481 | 23343 | 1393
2009-12-01 | 961 | 1521 | 1660 | 1682 | 1965 | 8051 | 855 | 66 | 4775 | 2620 | 24156 | 937
2010-01-01 | 985 | 1596 | 1713 | 1744 | 2118 | 8166 | 859 | 62 | 4921 | 2684 | 24848 | 1055
2010-02-01 | 1034 | 1565 | 1674 | 1686 | 2039 | 8008 | 836 | 65 | 4801 | 2625 | 24333 | 731
2010-03-01 | 970 | 1528 | 1560 | 1583 | 1923 | 7741 | 829 | 63 | 4598 | 2516 | 23311 | 827
2010-04-01 | 905 | 1332 | 1361 | 1315 | 1743 | 7111 | 798 | 52 | 4333 | 2442 | 21392 | 774
2010-05-01 | 931 | 1222 | 1461 | 1314 | 1570 | 8268 | 827 | 47 | 4430 | 2794 | 22864 | 980
2010-06-01 | 944 | 1171 | 1593 | 1468 | 1788 | 9026 | 968 | 51 | 4800 | 3209 | 25018 | 1090
2010-07-01 | 916 | 1162 | 1593 | 1530 | 1841 | 9299 | 875 | 52 | 5016 | 2944 | 25228 | 1225
2010-08-01 | 934 | 1221 | 1577 | 1520 | 1889 | 8968 | 884 | 52 | 4825 | 3029 | 24899 | 1192
2010-09-01 | 950 | 1332 | 1550 | 1406 | 1754 | 8861 | 941 | 51 | 4795 | 3208 | 24848 | 1116
2010-10-01 | 900 | 1449 | 1425 | 1443 | 1787 | 7106 | 784 | 54 | 4317 | 2410 | 21675 | 595
2010-11-01 | 951 | 1459 | 1571 | 1582 | 1886 | 7788 | 842 | 64 | 4684 | 2646 | 23473 | 647
2010-12-01 | 1002 | 1498 | 1669 | 1692 | 1999 | 8034 | 861 | 65 | 4779 | 2673 | 24272 | 740
2011-01-01 | 983 | 1588 | 1720 | 1763 | 2147 | 8209 | 863 | 62 | 4972 | 2711 | 25018 | 1050
2011-02-01 | 1031 | 1557 | 1685 | 1708 | 2070 | 8053 | 839 | 65 | 4850 | 2651 | 24509 | 660
2011-03-01 | 968 | 1521 | 1567 | 1598 | 1952 | 7791 | 833 | 66 | 4652 | 2543 | 23491 | 751
2011-04-01 | 901 | 1322 | 1363 | 1325 | 1774 | 7155 | 801 | 55 | 4383 | 2466 | 21545 | 686
2011-05-01 | 937 | 1219 | 1486 | 1333 | 1590 | 8373 | 831 | 47 | 4511 | 2840 | 23167 | 994
2011-06-01 | 952 | 1168 | 1619 | 1485 | 1811 | 9139 | 954 | 53 | 4884 | 3258 | 25323 | 1033
2011-07-01 | 921 | 1162 | 1614 | 1546 | 1866 | 9407 | 880 | 54 | 5095 | 2989 | 25534 | 1225
2011-08-01 | 957 | 1347 | 1580 | 1431 | 1779 | 8974 | 947 | 52 | 4875 | 3255 | 25197 | 1210
2011-09-01 | 925 | 1320 | 1466 | 1300 | 1722 | 8656 | 883 | 54 | 4804 | 3049 | 24179 | 2053
2011-10-01 | 897 | 1434 | 1420 | 1450 | 1816 | 7140 | 786 | 55 | 4358 | 2435 | 21791 | 1227
2011-11-01 | 972 | 1527 | 1600 | 1630 | 1941 | 7804 | 842 | 65 | 4715 | 2624 | 23720 | 561
2011-12-01 | 956 | 1505 | 1674 | 1716 | 2026 | 8116 | 860 | 64 | 4874 | 2670 | 24461 | 954
2012-01-01 | 981 | 1579 | 1729 | 1782 | 2177 | 8254 | 866 | 61 | 5022 | 2738 | 25189 | 1048
2012-02-01 | 1029 | 1550 | 1693 | 1726 | 2098 | 8096 | 842 | 65 | 4901 | 2678 | 24678 | 637
2012-03-01 | 953 | 1451 | 1534 | 1576 | 1903 | 7786 | 837 | 63 | 4677 | 2617 | 23397 | 940
2012-04-01 | 897 | 1311 | 1365 | 1333 | 1805 | 7202 | 804 | 56 | 4433 | 2489 | 21695 | 686
2012-05-01 | 944 | 1216 | 1511 | 1351 | 1610 | 8476 | 835 | 49 | 4593 | 2886 | 23471 | 994
2012-06-01 | 964 | 1164 | 1643 | 1500 | 1831 | 9240 | 958 | 52 | 4955 | 3320 | 25627 | 1176
2012-07-01 | 927 | 1155 | 1636 | 1560 | 1890 | 9514 | 883 | 56 | 5194 | 3025 | 25840 | 1240
2012-08-01 | 960 | 1339 | 1592 | 1468 | 1837 | 9035 | 956 | 55 | 4959 | 3316 | 25517 | 1190
2012-09-01 | 933 | 1321 | 1489 | 1319 | 1744 | 8760 | 888 | 55 | 4889 | 3097 | 24495 | 1447
2012-10-01 | 920 | 1402 | 1404 | 1429 | 1860 | 7501 | 806 | 61 | 4596 | 2575 | 22554 | 633
2012-11-01 | 970 | 1517 | 1600 | 1640 | 1970 | 7839 | 843 | 66 | 4763 | 2650 | 23858 | 561
2012-12-01 | 954 | 1495 | 1677 | 1731 | 2054 | 8161 | 863 | 64 | 4925 | 2698 | 24622 | 959
2013-01-01 | 978 | 1572 | 1737 | 1800 | 2204 | 8296 | 869 | 64 | 5074 | 2766 | 25360 | 1050
2013-02-01 | 984 | 1484 | 1653 | 1741 | 2096 | 8135 | 861 | 63 | 4974 | 2696 | 24687 | 721
2013-03-01 | 950 | 1446 | 1543 | 1588 | 1931 | 7842 | 842 | 64 | 4733 | 2648 | 23587 | 750
2013-04-01 | 887 | 1375 | 1384 | 1474 | 1870 | 7276 | 811 | 54 | 4526 | 2514 | 22171 | 718
2013-05-01 | 952 | 1213 | 1538 | 1372 | 1629 | 8580 | 840 | 49 | 4680 | 2935 | 23788 | 994
2013-06-01 | 970 | 1172 | 1663 | 1508 | 1841 | 9275 | 961 | 53 | 5028 | 3362 | 25833 | 1273
2013-07-01 | 933 | 1149 | 1660 | 1574 | 1914 | 9625 | 888 | 56 | 5298 | 3061 | 26158 | 1338
2013-08-01 | 968 | 1328 | 1617 | 1493 | 1859 | 9143 | 962 | 56 | 5035 | 3364 | 25825 | 1150
2013-09-01 | 941 | 1328 | 1518 | 1348 | 1763 | 8863 | 893 | 56 | 4970 | 3147 | 24827 | 1447
2013-10-01 | 919 | 1399 | 1410 | 1453 | 1884 | 7536 | 809 | 63 | 4647 | 2604 | 22724 | 633
2013-11-01 | 967 | 1508 | 1598 | 1648 | 1997 | 7872 | 844 | 65 | 4812 | 2679 | 23990 | 561
2013-12-01 | 952 | 1486 | 1683 | 1749 | 2081 | 8214 | 866 | 67 | 4979 | 2728 | 24805 | 954
2014-01-01 | 976 | 1562 | 1742 | 1816 | 2230 | 8337 | 872 | 65 | 5127 | 2794 | 25521 | 1050
2014-02-01 | 982 | 1480 | 1657 | 1756 | 2124 | 8180 | 865 | 63 | 5025 | 2724 | 24856 | 719
2014-03-01 | 948 | 1440 | 1551 | 1603 | 1958 | 7890 | 847 | 63 | 4788 | 2676 | 23764 | 746
2014-04-01 | 886 | 1362 | 1391 | 1491 | 1895 | 7321 | 815 | 56 | 4579 | 2543 | 22339 | 653
2014-05-01 | 950 | 1217 | 1535 | 1409 | 1692 | 8640 | 847 | 49 | 4765 | 2984 | 24088 | 979
2014-06-01 | 979 | 1170 | 1691 | 1523 | 1861 | 9387 | 967 | 54 | 5095 | 3422 | 26149 | 1273
2014-07-01 | 939 | 1142 | 1682 | 1590 | 1936 | 9732 | 892 | 60 | 5380 | 3108 | 26461 | 1352
2014-08-01 | 975 | 1318 | 1636 | 1508 | 1882 | 9245 | 965 | 55 | 5110 | 3409 | 26103 | 1150
2014-09-01 | 950 | 1330 | 1544 | 1370 | 1783 | 8968 | 898 | 57 | 5049 | 3195 | 25144 | 1446
2014-10-01 | 917 | 1393 | 1416 | 1472 | 1910 | 7576 | 811 | 63 | 4699 | 2632 | 22889 | 633
2014-11-01 | 964 | 1499 | 1601 | 1662 | 2023 | 7916 | 847 | 67 | 4863 | 2706 | 24148 | 533
2014-12-01 | 949 | 1477 | 1686 | 1763 | 2107 | 8257 | 869 | 68 | 5031 | 2756 | 24963 | 959
2015-01-01 | 974 | 1539 | 1705 | 1857 | 2255 | 8396 | 883 | 63 | 5194 | 2823 | 25689 | 1048
2015-02-01 | 980 | 1475 | 1663 | 1770 | 2151 | 8222 | 869 | 64 | 5076 | 2751 | 25021 | 726
2015-03-01 | 946 | 1435 | 1562 | 1620 | 1985 | 7949 | 851 | 65 | 4843 | 2703 | 23959 | 727
2015-04-01 | 884 | 1346 | 1395 | 1509 | 1918 | 7362 | 818 | 55 | 4632 | 2572 | 22491 | 644
2015-05-01 | 957 | 1214 | 1556 | 1426 | 1712 | 8743 | 851 | 50 | 4848 | 3031 | 24388 | 979
2015-06-01 | 985 | 1173 | 1712 | 1531 | 1869 | 9422 | 970 | 55 | 5170 | 3465 | 26352 | 1370
2015-07-01 | 946 | 1145 | 1706 | 1612 | 1965 | 9905 | 898 | 60 | 5489 | 3148 | 26874 | 1352
2015-08-01 | 982 | 1309 | 1656 | 1525 | 1903 | 9349 | 969 | 56 | 5188 | 3457 | 26394 | 1139
2015-09-01 | 958 | 1333 | 1568 | 1392 | 1803 | 9070 | 903 | 57 | 5132 | 3243 | 25459 | 1447
2015-10-01 | 919 | 1400 | 1391 | 1493 | 1973 | 7599 | 823 | 61 | 4753 | 2642 | 23054 | 629
2015-11-01 | 944 | 1498 | 1628 | 1701 | 2077 | 7994 | 829 | 67 | 4947 | 2645 | 24330 | 1393
2015-12-01 | 948 | 1470 | 1692 | 1782 | 2133 | 8310 | 872 | 67 | 5084 | 2785 | 25143 | 937

## Table B2
Table B2: Monthly Zonal Non-Coincident Peak Demand Forecast, Normal Weather
Hourly Non-Coincident Peak Demand (MW)
Month | Northwest | Northeast | East | Essa | Ottawa | Toronto | Niagara | Bruce | Southwest | West | System | Zonal Total
2006-01-01 | 1136 | 1822 | 1719 | 1718 | 2044 | 7993 | 849 | 66 | 4716 | 2608 | 24205 | 24671
2006-02-01 | 1170 | 1783 | 1660 | 1656 | 1928 | 7868 | 835 | 69 | 4611 | 2527 | 23696 | 24107
2006-03-01 | 1110 | 1749 | 1546 | 1535 | 1800 | 7598 | 817 | 69 | 4413 | 2486 | 22688 | 23123
2006-04-01 | 1028 | 1535 | 1354 | 1305 | 1619 | 6939 | 786 | 59 | 4129 | 2364 | 20712 | 21118
2006-05-01 | 991 | 1423 | 1372 | 1271 | 1544 | 7835 | 810 | 64 | 4114 | 2609 | 21640 | 22033
2006-06-01 | 1004 | 1365 | 1494 | 1421 | 1706 | 8596 | 983 | 59 | 4556 | 3214 | 23787 | 24398
2006-07-01 | 981 | 1337 | 1509 | 1470 | 1743 | 8882 | 945 | 57 | 4711 | 3131 | 23991 | 24766
2006-08-01 | 1001 | 1471 | 1491 | 1450 | 1783 | 8588 | 927 | 53 | 4505 | 3028 | 23663 | 24297
2006-09-01 | 996 | 1493 | 1366 | 1223 | 1842 | 8144 | 900 | 55 | 4407 | 2956 | 22643 | 23382
2006-10-01 | 1009 | 1613 | 1387 | 1391 | 1670 | 7135 | 779 | 64 | 4265 | 2387 | 21405 | 21700
2006-11-01 | 1072 | 1687 | 1568 | 1535 | 1792 | 7683 | 833 | 65 | 4475 | 2550 | 22851 | 23260
2006-12-01 | 1092 | 1712 | 1668 | 1653 | 1899 | 7966 | 850 | 65 | 4622 | 2583 | 23615 | 24110
2007-01-01 | 1166 | 1824 | 1727 | 1735 | 2073 | 8038 | 852 | 66 | 4768 | 2633 | 24374 | 24882
2007-02-01 | 1173 | 1786 | 1620 | 1655 | 1924 | 7910 | 840 | 70 | 4663 | 2554 | 23705 | 24195
2007-03-01 | 1113 | 1681 | 1515 | 1513 | 1779 | 7575 | 821 | 68 | 4429 | 2515 | 22599 | 23009
2007-04-01 | 1032 | 1544 | 1348 | 1314 | 1653 | 6988 | 789 | 60 | 4176 | 2389 | 20862 | 21293
2007-05-01 | 1000 | 1434 | 1394 | 1291 | 1573 | 7945 | 815 | 65 | 4200 | 2658 | 21963 | 22375
2007-06-01 | 1014 | 1372 | 1512 | 1432 | 1724 | 8736 | 1000 | 59 | 4679 | 3224 | 24000 | 24752
2007-07-01 | 992 | 1339 | 1535 | 1487 | 1770 | 8994 | 949 | 59 | 4794 | 3179 | 24301 | 25098
2007-08-01 | 1012 | 1465 | 1516 | 1472 | 1812 | 8694 | 933 | 53 | 4581 | 3078 | 23984 | 24616
2007-09-01 | 1002 | 1506 | 1394 | 1246 | 1876 | 8250 | 906 | 56 | 4490 | 3005 | 22968 | 23731
2007-10-01 | 1024 | 1618 | 1384 | 1399 | 1715 | 7291 | 792 | 65 | 4339 | 2438 | 21719 | 22065
2007-11-01 | 1076 | 1688 | 1571 | 1553 | 1822 | 7701 | 835 | 65 | 4524 | 2572 | 23018 | 23407
2007-12-01 | 1095 | 1708 | 1673 | 1657 | 1930 | 8003 | 853 | 66 | 4675 | 2606 | 23804 | 24266
2008-01-01 | 1169 | 1824 | 1736 | 1753 | 2104 | 8082 | 855 | 67 | 4820 | 2660 | 24549 | 25070
2008-02-01 | 1176 | 1771 | 1627 | 1673 | 1954 | 7954 | 844 | 70 | 4717 | 2582 | 23879 | 24368
2008-03-01 | 1117 | 1690 | 1522 | 1525 | 1811 | 7626 | 824 | 69 | 4484 | 2546 | 22780 | 23214
2008-04-01 | 1034 | 1609 | 1363 | 1455 | 1719 | 7060 | 794 | 58 | 4274 | 2413 | 21362 | 21779
2008-05-01 | 1010 | 1446 | 1419 | 1310 | 1606 | 8051 | 820 | 65 | 4281 | 2704 | 22272 | 22712
2008-06-01 | 1027 | 1343 | 1537 | 1449 | 1753 | 8850 | 1005 | 61 | 4764 | 3290 | 24309 | 25079
2008-07-01 | 1003 | 1342 | 1559 | 1502 | 1797 | 9100 | 954 | 61 | 4897 | 3226 | 24627 | 25441
2008-08-01 | 1021 | 1461 | 1539 | 1489 | 1841 | 8802 | 938 | 54 | 4660 | 3125 | 24290 | 24930
2008-09-01 | 1008 | 1519 | 1423 | 1269 | 1911 | 8361 | 911 | 57 | 4567 | 3054 | 23293 | 24080
2008-10-01 | 1028 | 1623 | 1389 | 1411 | 1750 | 7314 | 795 | 66 | 4390 | 2467 | 21892 | 22233
2008-11-01 | 1079 | 1690 | 1571 | 1565 | 1853 | 7728 | 837 | 66 | 4574 | 2595 | 23161 | 23558
2008-12-01 | 1099 | 1797 | 1676 | 1683 | 2035 | 8030 | 855 | 71 | 4726 | 2629 | 23975 | 24601
2009-01-01 | 1170 | 1825 | 1727 | 1769 | 2136 | 8130 | 859 | 67 | 4870 | 2687 | 24724 | 25240
2009-02-01 | 1180 | 1780 | 1636 | 1690 | 1986 | 8000 | 848 | 71 | 4768 | 2608 | 24059 | 24567
2009-03-01 | 1119 | 1700 | 1535 | 1543 | 1842 | 7694 | 830 | 70 | 4543 | 2577 | 22999 | 23453
2009-04-01 | 1037 | 1602 | 1369 | 1472 | 1745 | 7109 | 796 | 60 | 4328 | 2433 | 21527 | 21951
2009-05-01 | 1021 | 1456 | 1444 | 1331 | 1639 | 8154 | 825 | 65 | 4364 | 2751 | 22577 | 23050
2009-06-01 | 1037 | 1353 | 1560 | 1461 | 1774 | 8951 | 1011 | 63 | 4834 | 3351 | 24532 | 25395
2009-07-01 | 1016 | 1347 | 1589 | 1516 | 1828 | 9274 | 959 | 61 | 5005 | 3253 | 25045 | 25848
2009-08-01 | 1030 | 1459 | 1562 | 1508 | 1871 | 8909 | 941 | 55 | 4734 | 3168 | 24560 | 25237
2009-09-01 | 1013 | 1533 | 1454 | 1304 | 1945 | 8469 | 917 | 59 | 4645 | 3105 | 23627 | 24444
2009-10-01 | 1033 | 1625 | 1396 | 1405 | 1784 | 7352 | 797 | 66 | 4441 | 2505 | 22065 | 22404
2009-11-01 | 1083 | 1696 | 1596 | 1602 | 1911 | 7772 | 838 | 67 | 4639 | 2616 | 23343 | 23820
2009-12-01 | 1102 | 1804 | 1682 | 1704 | 2071 | 8067 | 859 | 71 | 4779 | 2652 | 24156 | 24791
2010-01-01 | 1155 | 1836 | 1719 | 1781 | 2157 | 8166 | 861 | 68 | 4926 | 2704 | 24848 | 25373
2010-02-01 | 1180 | 1811 | 1675 | 1716 | 2039 | 8026 | 853 | 72 | 4821 | 2710 | 24333 | 24903
2010-03-01 | 1119 | 1784 | 1560 | 1591 | 1923 | 7741 | 830 | 71 | 4598 | 2577 | 23311 | 23794
2010-04-01 | 1046 | 1593 | 1361 | 1431 | 1761 | 7111 | 801 | 62 | 4333 | 2475 | 21392 | 21974
2010-05-01 | 1032 | 1468 | 1463 | 1334 | 1639 | 8268 | 828 | 67 | 4431 | 2794 | 22864 | 23324
2010-06-01 | 1054 | 1372 | 1594 | 1490 | 1817 | 9026 | 1004 | 63 | 4877 | 3395 | 25018 | 25692
2010-07-01 | 1027 | 1356 | 1610 | 1544 | 1855 | 9321 | 966 | 62 | 5019 | 3328 | 25228 | 26088
2010-08-01 | 1046 | 1489 | 1594 | 1520 | 1913 | 9035 | 915 | 57 | 4838 | 3142 | 24899 | 25549
2010-09-01 | 1031 | 1499 | 1550 | 1420 | 1995 | 8861 | 944 | 60 | 4796 | 3218 | 24848 | 25374
2010-10-01 | 1026 | 1652 | 1425 | 1477 | 1787 | 7250 | 784 | 58 | 4317 | 2559 | 21675 | 22335
2010-11-01 | 1068 | 1692 | 1596 | 1598 | 1886 | 7801 | 846 | 67 | 4684 | 2646 | 23473 | 23884
2010-12-01 | 1103 | 1717 | 1681 | 1701 | 2032 | 8047 | 861 | 72 | 4779 | 2674 | 24272 | 24667
2011-01-01 | 1157 | 1845 | 1727 | 1797 | 2186 | 8209 | 866 | 69 | 4980 | 2732 | 25018 | 25568
2011-02-01 | 1183 | 1820 | 1685 | 1734 | 2070 | 8063 | 857 | 72 | 4871 | 2737 | 24509 | 25092
2011-03-01 | 1122 | 1791 | 1567 | 1605 | 1952 | 7791 | 834 | 72 | 4652 | 2606 | 23491 | 23992
2011-04-01 | 1049 | 1584 | 1363 | 1357 | 1774 | 7156 | 804 | 63 | 4383 | 2499 | 21545 | 22032
2011-05-01 | 1043 | 1479 | 1493 | 1353 | 1702 | 8373 | 833 | 68 | 4513 | 2840 | 23167 | 23697
2011-06-01 | 1069 | 1385 | 1619 | 1507 | 1845 | 9139 | 1011 | 64 | 4956 | 3447 | 25323 | 26042
2011-07-01 | 1040 | 1356 | 1635 | 1560 | 1882 | 9430 | 970 | 62 | 5098 | 3374 | 25534 | 26407
2011-08-01 | 1057 | 1490 | 1618 | 1538 | 1945 | 9138 | 950 | 58 | 4913 | 3266 | 25197 | 25973
2011-09-01 | 1033 | 1557 | 1489 | 1337 | 2028 | 8690 | 933 | 61 | 4806 | 3207 | 24179 | 25141
2011-10-01 | 1028 | 1657 | 1420 | 1482 | 1816 | 7313 | 787 | 64 | 4369 | 2598 | 21791 | 22534
2011-11-01 | 1084 | 1710 | 1600 | 1630 | 1947 | 7834 | 848 | 68 | 4733 | 2674 | 23720 | 24128
2011-12-01 | 1106 | 1702 | 1694 | 1737 | 2051 | 8116 | 864 | 68 | 4876 | 2701 | 24461 | 24915
2012-01-01 | 1153 | 1853 | 1752 | 1813 | 2216 | 8254 | 870 | 69 | 5033 | 2771 | 25189 | 25784
2012-02-01 | 1186 | 1828 | 1693 | 1750 | 2098 | 8104 | 861 | 73 | 4922 | 2687 | 24678 | 25202
2012-03-01 | 1124 | 1727 | 1536 | 1579 | 1930 | 7786 | 838 | 71 | 4677 | 2636 | 23397 | 23904
2012-04-01 | 1052 | 1590 | 1365 | 1368 | 1805 | 7202 | 807 | 64 | 4433 | 2524 | 21695 | 22210
2012-05-01 | 1055 | 1495 | 1521 | 1371 | 1738 | 8476 | 837 | 68 | 4595 | 2886 | 23471 | 24042
2012-06-01 | 1077 | 1374 | 1643 | 1523 | 1871 | 9283 | 1026 | 66 | 5094 | 3467 | 25627 | 26424
2012-07-01 | 1052 | 1358 | 1660 | 1574 | 1910 | 9535 | 974 | 63 | 5199 | 3420 | 25840 | 26745
2012-08-01 | 1068 | 1500 | 1641 | 1555 | 1974 | 9242 | 956 | 59 | 4991 | 3316 | 25517 | 26302
2012-09-01 | 1037 | 1568 | 1513 | 1357 | 2059 | 8795 | 930 | 63 | 4891 | 3244 | 24495 | 25457
2012-10-01 | 1036 | 1663 | 1417 | 1490 | 1883 | 7501 | 808 | 68 | 4596 | 2639 | 22554 | 23101
2012-11-01 | 1088 | 1718 | 1600 | 1640 | 1979 | 7867 | 851 | 68 | 4783 | 2701 | 23858 | 24295
2012-12-01 | 1109 | 1708 | 1700 | 1744 | 2080 | 8161 | 867 | 69 | 4929 | 2729 | 24622 | 25096
2013-01-01 | 1182 | 1861 | 1764 | 1829 | 2244 | 8299 | 874 | 70 | 5086 | 2798 | 25360 | 26007
2013-02-01 | 1190 | 1815 | 1653 | 1741 | 2096 | 8142 | 865 | 73 | 4974 | 2714 | 24687 | 25263
2013-03-01 | 1129 | 1735 | 1545 | 1588 | 1960 | 7842 | 842 | 73 | 4733 | 2670 | 23587 | 24117
2013-04-01 | 1054 | 1666 | 1384 | 1517 | 1870 | 7276 | 811 | 62 | 4526 | 2547 | 22171 | 22713
2013-05-01 | 1067 | 1506 | 1546 | 1402 | 1769 | 8580 | 842 | 69 | 4683 | 2936 | 23788 | 24400
2013-06-01 | 1089 | 1387 | 1663 | 1531 | 1895 | 9385 | 1031 | 67 | 5169 | 3535 | 25833 | 26752
2013-07-01 | 1063 | 1361 | 1685 | 1585 | 1935 | 9639 | 979 | 64 | 5304 | 3467 | 26158 | 27082
2013-08-01 | 1077 | 1508 | 1664 | 1577 | 2000 | 9340 | 962 | 60 | 5064 | 3364 | 25825 | 26616
2013-09-01 | 1042 | 1582 | 1546 | 1390 | 2085 | 8903 | 935 | 64 | 4970 | 3294 | 24827 | 25811
2013-10-01 | 1041 | 1666 | 1415 | 1489 | 1915 | 7536 | 814 | 69 | 4647 | 2677 | 22724 | 23269
2013-11-01 | 1092 | 1730 | 1598 | 1648 | 2011 | 7903 | 854 | 69 | 4830 | 2728 | 23990 | 24463
2013-12-01 | 1112 | 1742 | 1703 | 1758 | 2152 | 8214 | 872 | 73 | 4981 | 2758 | 24805 | 25365
2014-01-01 | 1184 | 1870 | 1752 | 1843 | 2271 | 8349 | 879 | 71 | 5142 | 2826 | 25521 | 26187
2014-02-01 | 1193 | 1825 | 1657 | 1756 | 2124 | 8180 | 869 | 74 | 5025 | 2740 | 24856 | 25443
2014-03-01 | 1131 | 1746 | 1556 | 1603 | 1986 | 7890 | 847 | 74 | 4788 | 2698 | 23764 | 24319
2014-04-01 | 1057 | 1673 | 1391 | 1533 | 1895 | 7321 | 815 | 63 | 4579 | 2570 | 22339 | 22897
2014-05-01 | 1079 | 1518 | 1573 | 1430 | 1802 | 8680 | 847 | 69 | 4765 | 2984 | 24088 | 24747
2014-06-01 | 1098 | 1402 | 1691 | 1548 | 1929 | 9484 | 1036 | 69 | 5241 | 3584 | 26149 | 27082
2014-07-01 | 1076 | 1364 | 1711 | 1605 | 1964 | 9745 | 984 | 66 | 5386 | 3505 | 26461 | 27406
2014-08-01 | 1087 | 1513 | 1689 | 1601 | 2029 | 9444 | 965 | 61 | 5144 | 3409 | 26103 | 26942
2014-09-01 | 1052 | 1601 | 1576 | 1423 | 2113 | 9004 | 941 | 66 | 5050 | 3344 | 25144 | 26170
2014-10-01 | 1045 | 1680 | 1418 | 1492 | 1946 | 7576 | 819 | 69 | 4699 | 2719 | 22889 | 23463
2014-11-01 | 1095 | 1737 | 1601 | 1662 | 2042 | 7935 | 858 | 70 | 4881 | 2756 | 24148 | 24637
2014-12-01 | 1115 | 1846 | 1709 | 1784 | 2232 | 8257 | 876 | 74 | 5036 | 2786 | 24963 | 25715
2015-01-01 | 1186 | 1879 | 1760 | 1857 | 2299 | 8396 | 883 | 71 | 5194 | 2853 | 25689 | 26378
2015-02-01 | 1197 | 1834 | 1663 | 1770 | 2151 | 8222 | 873 | 75 | 5076 | 2765 | 25021 | 25626
2015-03-01 | 1134 | 1755 | 1563 | 1620 | 2012 | 7949 | 851 | 75 | 4843 | 2728 | 23959 | 24530
2015-04-01 | 1060 | 1685 | 1395 | 1546 | 1918 | 7362 | 818 | 64 | 4632 | 2594 | 22491 | 23074
2015-05-01 | 1091 | 1530 | 1597 | 1459 | 1828 | 8780 | 851 | 70 | 4848 | 3031 | 24388 | 25085
2015-06-01 | 1111 | 1412 | 1712 | 1566 | 1957 | 9586 | 1042 | 70 | 5322 | 3646 | 26352 | 27424
2015-07-01 | 1089 | 1379 | 1741 | 1626 | 1988 | 9914 | 988 | 68 | 5495 | 3543 | 26874 | 27831
2015-08-01 | 1097 | 1521 | 1713 | 1626 | 2058 | 9546 | 969 | 62 | 5221 | 3457 | 26394 | 27270
2015-09-01 | 1062 | 1621 | 1604 | 1457 | 2138 | 9109 | 944 | 67 | 5135 | 3388 | 25459 | 26525
2015-10-01 | 1049 | 1694 | 1421 | 1493 | 1973 | 7601 | 823 | 70 | 4753 | 2758 | 23054 | 23635
2015-11-01 | 1099 | 1748 | 1628 | 1701 | 2100 | 7994 | 861 | 70 | 4947 | 2782 | 24330 | 24930
2015-12-01 | 1118 | 1855 | 1714 | 1805 | 2263 | 8310 | 881 | 75 | 5092 | 2814 | 25143 | 25927

## Table C1
Table C1: Factors Affecting Demand
Factors Affecting Daily Energy Demand
Variable Class | Variable | Change in Variable | Impact On Daily Energy Demand (MWh)
Weather | Daily Avg Temperature
| > 16º C | 1ºC Increase | 6,730 MWh Increase
| 10ºC > and < 16º C | 1ºC Increase | 70 MWh Increase
| < 10ºC | 1ºC Decrease | 2,940 MWh Increase
Daily Avg Humidity - Dewpoint
| > 16º C | 1ºC Increase | 2,450 MWh Increase
| 10ºC > and < 16º C | 1ºC Increase | 20 MWh Increase
| < 10ºC | 1ºC Decrease | 1,070 MWh Increase
Wind
| Summer | 1 km/hr Decrease | 390 MWh Increase
| Winter | 1 km/hr Increase | 160 MWh Increase
Cloud
| Summer | Decrease of 1 on Scale | 1,080 MWh Decrease
| Winter | Increase of 1 on Scale | 1,580 MWh Increase
Economic | Employment | Increase of 1,000 jobs | 30 MWh Increase
| Housing Stock | Increase of 1,000 houses | 45 MWh Increase
Calendar | Holidays | New Year's Day | 67,000 MWh Decrease
|  | Good Friday | 43,000 MWh Decrease
|  | Victoria Day | 52,000 MWh Decrease
|  | Canada Day | 41,000 MWh Decrease
|  | August Civic Holiday | 37,000 MWh Decrease
|  | Labour Day | 59,000 MWh Decrease
|  | Thanksgiving Day | 55,000 MWh Decrease
|  | Remembrance Day | 7,000 MWh Decrease
|  | Christmas | 80,000 MWh Decrease
|  | Boxing Day | 77,000 MWh Decrease
|  | New Year's Eve | 9,000 MWh Decrease
| Day of Week | Monday vs Sunday | 45,000 MWh Increase
|  | Tuesday vs Sunday | 47,000 MWh Increase
|  | Wednesday vs Sunday | 47,000 MWh Increase
|  | Thursday vs Sunday | 47,000 MWh Increase
|  | Friday vs Sunday | 44,000 MWh Increase
|  | Saturday vs Sunday | 11,000 MWh Increase
Factors Affecting Daily Peak Demand
Variable Class | Variable | Change in Variable | Impact On Daily Peak Demand (MW)
Weather | Temperature
| > 16º C | 1ºC Increase | 380 MW Increase
| 10ºC > and < 16º C | 1ºC Increase | 50 MW Increase
| < 10ºC | 1ºC Decrease | 120 MW Increase
Humidity - Dewpoint
| > 16º C | 1ºC Increase | 140 MW Increase
| 10ºC > and < 16º C | 1ºC Increase | 20 MW Increase
| < 10ºC | 1ºC Decrease | 40 MW Increase
Wind
| Summer | 1 km/hr Decrease | 21 MW Increase
| Winter | 1 km/hr Increase | 10 MW Increase
Cloud
| Summer | Decrease of 1 on Scale | 90 MW Increase
| Winter | Increase of 1 on Scale | 80 MW Increase
Economic | Employment | Increase of 1,000 jobs | 1 MW Increase
| Housing Stock | Increase of 1,000 houses | 2 MW Increase
Calendar | Holidays | New Year's Day | 3,100 MW Decrease
|  | Good Friday | 2,100 MW Decrease
|  | Victoria Day | 2,500 MW Decrease
|  | Canada Day | 1,900 MW Decrease
|  | August Civic Holiday | 1,600 MW Decrease
|  | Labour Day | 2,500 MW Decrease
|  | Thanksgiving Day | 2,600 MW Decrease
|  | Remembrance Day | 200 MW Decrease
|  | Christmas | 4,300 MW Decrease
|  | Boxing Day | 3,600 MW Decrease
|  | New Year's Eve | 700 MW Decrease
| Day of Week | Monday vs Sunday | 2,100 MW Increase
|  | Tuesday vs Sunday | 2,100 MW Increase
|  | Wednesday vs Sunday | 2,100 MW Increase
|  | Thursday vs Sunday | 2,000 MW Increase
|  | Friday vs Sunday | 1,800 MW Increase
|  | Saturday vs Sunday | 300 MW Increase