## Table 2.1
Resource Type | Total, MW | Percentage of Total, % | # of Stations
Nuclear | 10882 | 36.136 | 5
Coal | 6434 | 21.3655 | 4
Oil / Gas | 4976 | 16.5239 | 20
Hydroelectric | 7756 | 25.7555 | 67
Miscellaneous | 66 | 0.21917 | 2
Total | 30114 | 100 | 98

## Table 2.2
Proponent/Project Name | Zone | Fuel Type | Capacity MW | Connection Applicant's Estimated I/S Date
Pickering Unit 1 | Toronto | Uranium | 515 | 2005-Q3
Greater Toronto Airports Authority | Toronto | Gas | 117 | 2005-Q4
Kingsbridge Wind Power Project | Southwest | Wind | 40 | 2005-Q4
Melancthon Grey Wind Project | Southwest | Wind | 67.5 | 2005-Q4
Prince Wind Farm | Northeast | Wind | 99 | 2006-Q1
Erie Shores Wind Farm | Southwest | Wind | 99 | 2006-Q2
Loblaws Properties | distributed | Demand | 10 | 2006-Q2
Blue Highlands Wind Farm | Southwest | Wind | 50 | 2006-Q3
Umbata Falls Hydroelectric | Northwest | Water | 23 | 2007-Q1
Greenfield South Power Project | Toronto | Gas | 284 | 2007-Q4
Greenfield Energy Centre | West | Gas | 1015 | 2007-Q4
St. Clair Power | West | Gas | 688 | 2008-Q1
Greenfield North Power Project | Toronto | Gas | 330 | 2009-Q2
Total |  |  | 3337.5

## Table 2.3
Year | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015
Reference Resource Scenario | 31051.5 | 30992.4 | 32024.4 | 32422.8 | 31910.8 | 31983.8 | 32017.8 | 32053.8 | 30501.8 | 29594.8
Coal Replacement Scenario | 31051.5 | 30992.4 | 32042.4 | 32127.8 | 32385.8 | 32458.8 | 32492.8 | 32528.8 | 30976.8 | 30069.8

## Table A1
Year | Summer Peak Demand MW | Week Ending | Available Resources MW | Required Resources MW | Available Reserve MW | Required Reserve MW | Available Reserve % | Required Reserve % | Reserve Above Requirement MW
2006 | 23292 | 2006-07-16 | 28670.5 | 27003 | 5379 | 3711 | 23.09 | 15.93 | 1668
2007 | 23607 | 2007-07-15 | 28541.4 | 27155 | 4934 | 3548 | 20.9 | 15.03 | 1386
2008 | 23883 | 2008-07-13 | 28457.4 | 27570 | 4574 | 3687 | 19.15 | 15.44 | 887
2009 | 24213 | 2009-07-12 | 28786.8 | 27800 | 4574 | 3587 | 18.89 | 14.81 | 987
2010 | 24300 | 2010-07-18 | 28291.8 | 27617 | 3992 | 3317 | 16.43 | 13.65 | 675
2011 | 24516 | 2011-07-17 | 28355.8 | 27848 | 3840 | 3332 | 15.66 | 13.59 | 508
2012 | 24733 | 2012-07-15 | 28387.8 | 28110 | 3655 | 3377 | 14.78 | 13.65 | 278
2013 | 24954 | 2013-07-14 | 28415.8 | 28482 | 3462 | 3528 | 13.87 | 14.14 | -66
2014 | 25159 | 2014-07-13 | 26859.8 | 28852 | 1701 | 3693 | 6.76 | 14.68 | -1992
2015 | 25475 | 2015-07-12 | 25961.8 | 29311 | 487 | 3836 | 1.91 | 15.06 | -3349

## Table A2
Year | Summer Peak Demand MW | Week Ending | Available Resources MW | Required Resources MW | Available Reserve MW | Required Reserve MW | Available Reserve % | Required Reserve % | Reserve Above Requirement MW
2006 | 24089 | 2006-07-09 | 28654.5 | 28037 | 4566 | 3948 | 18.95 | 16.39 | 618
2007 | 24301 | 2007-07-15 | 28541.4 | 27848 | 4240 | 3547 | 17.45 | 14.6 | 693
2008 | 24627 | 2008-07-13 | 28457.4 | 28344 | 3830 | 3717 | 15.55 | 15.09 | 113
2009 | 25045 | 2009-07-12 | 28786.8 | 28685 | 3742 | 3640 | 14.94 | 14.53 | 102
2010 | 25228 | 2010-07-18 | 28291.8 | 28701 | 3064 | 3473 | 12.15 | 13.77 | -409
2011 | 25534 | 2011-07-17 | 28355.8 | 29037 | 2822 | 3503 | 11.05 | 13.72 | -681
2012 | 25840 | 2012-07-15 | 28387.8 | 29411 | 2548 | 3571 | 9.86 | 13.82 | -1023
2013 | 26158 | 2013-07-14 | 28415.8 | 29883 | 2258 | 3725 | 8.63 | 14.24 | -1467
2014 | 26461 | 2014-07-13 | 26859.8 | 30371 | 399 | 3910 | 1.51 | 14.78 | -3511
2015 | 26874 | 2015-07-12 | 25961.8 | 30925 | -912 | 4051 | -3.39 | 15.07 | -4963

## Table A3
Year | Summer Peak Demand MW | Week Ending | Available Resources MW | Required Resources MW | Available Reserve MW | Required Reserve MW | Available Reserve % | Required Reserve % | Reserve Above Requirement MW
2006 | 24442 | 2006-07-16 | 28651.5 | 28151 | 4210 | 3709 | 17.22 | 15.17 | 501
2007 | 24756 | 2007-07-15 | 28541.4 | 28344 | 3785 | 3588 | 15.29 | 14.49 | 197
2008 | 25116 | 2008-07-13 | 28457.4 | 28917 | 3341 | 3801 | 13.3 | 15.13 | -460
2009 | 25594 | 2009-07-12 | 28786.8 | 29325 | 3193 | 3731 | 12.48 | 14.58 | -538
2010 | 25844 | 2010-07-18 | 28291.8 | 29423 | 2448 | 3579 | 9.47 | 13.85 | -1131
2011 | 26213 | 2011-07-17 | 28355.8 | 29830 | 2143 | 3617 | 8.18 | 13.8 | -1474
2012 | 26583 | 2012-07-15 | 28387.8 | 30272 | 1805 | 3689 | 6.79 | 13.88 | -1884
2013 | 26968 | 2013-07-14 | 28415.8 | 30827 | 1448 | 3859 | 5.37 | 14.31 | -2411
2014 | 27342 | 2014-07-13 | 26859.8 | 31385 | -482 | 4043 | -1.76 | 14.79 | -4525
2015 | 27829 | 2015-07-12 | 25961.8 | 32036 | -1867 | 4207 | -6.71 | 15.12 | -6074

## Table A4
Year | Summer Peak Demand MW | Week Ending | Available Resources MW | Required Resources MW | Available Reserve MW | Required Reserve MW | Available Reserve % | Required Reserve % | Reserve Above Requirement MW
2006 | 23292 | 2006-07-16 | 28654.5 | 27003 | 5362.5 | 3711 | 23.02% | 15.93% | 1651.5
2007 | 23607 | 2007-07-15 | 28541.4 | 27155 | 4934.4 | 3548 | 20.9% | 15.03% | 1386.4
2008 | 23883 | 2008-07-13 | 28477.4 | 27570 | 4594.4 | 3687 | 19.24% | 15.44% | 907.4
2009 | 24213 | 2009-07-12 | 28740.8 | 27800 | 4527.8 | 3587 | 18.7% | 14.81% | 940.8
2010 | 24300 | 2010-07-18 | 29015.8 | 27617 | 4715.8 | 3317 | 19.41% | 13.65% | 1398.8
2011 | 24516 | 2011-07-17 | 29079.8 | 27848 | 4563.8 | 3332 | 18.62% | 13.59% | 1231.8
2012 | 24733 | 2012-07-15 | 29111.8 | 28110 | 4378.8 | 3377 | 17.7% | 13.65% | 1001.8
2013 | 24954 | 2013-07-14 | 29139.8 | 28482 | 4185.8 | 3528 | 16.77% | 14.14% | 657.8
2014 | 25159 | 2014-07-13 | 27583.8 | 28852 | 2424.8 | 3693 | 9.638% | 14.68% | -1268.2
2015 | 25475 | 2015-07-12 | 26685.8 | 29311 | 1210.8 | 3836 | 4.753% | 15.06% | -2625.2

## Table A5
Year | Summer Peak Demand MW | Week Ending | Available Resources MW | Required Resources MW | Available Reserve MW | Required Reserve MW | Available Reserve % | Required Reserve % | Reserve Above Requirement MW
2006 | 24089 | 2006-07-09 | 28654.5 | 28037 | 4565.5 | 3948 | 18.95% | 16.39% | 617.5
2007 | 24301 | 2007-07-15 | 28541.4 | 27848 | 4240.4 | 3547 | 17.45% | 14.6% | 693.4
2008 | 24627 | 2008-07-13 | 28477.4 | 28344 | 3850.4 | 3717 | 15.63% | 15.09% | 133.4
2009 | 25045 | 2009-07-12 | 28740.8 | 28685 | 3695.8 | 3640 | 14.76% | 14.53% | 55.8
2010 | 25228 | 2010-07-18 | 29015.8 | 28701 | 3787.8 | 3473 | 15.01% | 13.77% | 314.8
2011 | 25534 | 2011-07-17 | 29079.8 | 29037 | 3545.8 | 3503 | 13.89% | 13.72% | 42.8
2012 | 25840 | 2012-07-15 | 29111.8 | 29411 | 3271.8 | 3571 | 12.66% | 13.82% | -299.2
2013 | 26158 | 2013-07-14 | 29139.8 | 29883 | 2981.8 | 3725 | 11.4% | 14.24% | -743.2
2014 | 26461 | 2014-07-13 | 27583.8 | 30371 | 1122.8 | 3910 | 4.243% | 14.78% | -2787.2
2015 | 26874 | 2015-07-12 | 26685.8 | 30925 | -188.2 | 4051 | -0.7003% | 15.07% | -4239.2

## Table A6
Year | Summer Peak Demand MW | Week Ending | Available Resources MW | Required Resources MW | Available Reserve MW | Required Reserve MW | Available Reserve % | Required Reserve % | Reserve Above Requirement MW
2006 | 24442 | 2006-07-16 | 28654.5 | 28151 | 4212.5 | 3709 | 17.23% | 15.17% | 503.5
2007 | 24756 | 2007-07-15 | 28541.4 | 28344 | 3785.4 | 3588 | 15.29% | 14.49% | 197.4
2008 | 25116 | 2008-07-13 | 28477.4 | 28917 | 3361.4 | 3801 | 13.38% | 15.13% | -439.6
2009 | 25594 | 2009-07-12 | 28740.8 | 29325 | 3146.8 | 3731 | 12.3% | 14.58% | -584.2
2010 | 25844 | 2010-07-18 | 29015.8 | 29423 | 3171.8 | 3579 | 12.27% | 13.85% | -407.2
2011 | 26213 | 2011-07-17 | 29079.8 | 29830 | 2866.8 | 3617 | 10.94% | 13.8% | -750.2
2012 | 26583 | 2012-07-15 | 29111.8 | 30272 | 2528.8 | 3689 | 9.513% | 13.88% | -1160.2
2013 | 26968 | 2013-07-14 | 29139.8 | 30827 | 2171.8 | 3859 | 8.053% | 14.31% | -1687.2
2014 | 27342 | 2014-07-13 | 27583.8 | 31385 | 241.8 | 4043 | 0.8844% | 14.79% | -3801.2
2015 | 27829 | 2015-07-12 | 26685.8 | 32036 | -1143.2 | 4207 | -4.108% | 15.12% | -5350.2