### TO BE E-FILED: Boardsec@oeb.gov.on.ca

April 21, 2010

Ontario Energy Board

2300 Yonge Street

27th Floor

Toronto, ON M4P 1E4

Attn: Ms. Kirsten Walli, Board Secretary

Dear Sirs/Mesdames:

Re: Hydro One Networks Inc. Toronto Midtown Transmission Reinforcement Project – Your File EB-2009-0425 –

Deficient Responses to Interrogatories filed by The North Rosedale Ratepayers Association

NOTICE OF MOTION

Please consider this letter a Notice of Motion by the North Rosedale Ratepayers Association (“NRRA”), pursuant to Rules 29.03 and 8 of the Board’s Rules of Practice and Procedure, seeking an Order of the Board directing Hydro One Networks Inc. (“Hydro One”) to provide full and adequate Responses to the following NRRA Interrogatories dated March 19, 2010 which have not been satisfactorily responded to by Hydro One:

March 19, 2010 Interrogatory #1

Reference:

- Section 4.8 – Key Issues Summary and Hydro One Responses

Preamble:

Table 4-2 contains very general “Hydro One Responses” and fails to address a number of serious concerns.

Question/Request:

Please be more specific about the following:

a) ROUTE SELECTION

- Requested Plans and/or Surveys showing full details of the existing use of the relevant portion of the CPR corridor with dimensions have not been provided.

- Details of “existing below-ground infrastructure” on Shaftesbury Avenue and Yonge Street have not been provided.

- Details of “easement requirements” for trenching alternative have not been provided.

b) COST OF BURYING TRANSMISSION LINE

- Detailed cost comparisons for the various routing alternatives for both the trenching option and for the tunneling option have not been provided in sufficient detail to assess the merits of each approach.

- Additional detail is required on the differences between the two approaches from the construction perspective: type, operating time and cost of equipment used and labour component in terms of hours and cost.

- In Exhibit C, Tab 1, Schedule 5, to which we have been referred, Hydro One states that trenching costs are estimated to be $12,300,000 per kilometer and tunneling costs are estimated to be $12,500,000 per kilometer, but the basis for such estimates has not been provided.

- In Exhibit C, Tab 1, Schedule 5, it is stated that, since the original proposal for this project, real estate costs have increased by 395%, contingency allowances have increased by 290% and interest costs have increased by 368%, but the basis for these statements has not been provided.

Yours truly,

The North Rosedale Ratepayers Association

Per: Normunds Mierins CFA, MBA, P.Eng,

Director, The North Rosedale Ratepayers Association

c.c. Hydro One Networks Inc. BY E-MAIL TO regulatory@hydroone.com

c.c. Hydro One Networks Inc. BY E-MAIL TO mengelberg@hydroone.com