TO BE DELIVERED AND E-FILED: Boardsec@oeb.gov.on.ca

May 10, 2010.

Ontario Energy Board

2300 Yonge Street,

27th Floor,

Toronto, ON M4P 1E4

##### Attention: Ms. Kirsten Walli, Board Secretary

Re: Hydro One Networks Inc. Toronto Midtown Transmission Reinforcement Project – Your File EB-2009-0425 –

Responses to Board Staff Interrogatories on Evidence of The North Rosedale Ratepayers Association

The North Rosedale Ratepayers Association (“NRRA”) hereby submits the following responses to the Interrogatories of Board Staff on the evidence of the NRRA dated April 26, 2010 in respect of this Application by Hydro One Networks Inc. (“Hydro One”).

Interrogatory #1

Reference:

Evidence of the North Rosedale Ratepayers Association dated April 26, 2010

- Page 1, 2nd paragraph, 1st line

- Page 1, second paragraph, 5th line

Preamble:

The evidence at reference 1) [reference 2)?] indicates that “The Hybrid Solution would result in substantially lower costs and a much shorter construction schedule…” and reference 2 [reference 1)?] indicates that “…a detailed review and consideration of the route and construction methods proposed by Hydro One indicate…”

Question/Request:

- Please provide for each of the seven sections identified by you the difference between your proposal and that of Hydro One’s in regard to:

  - Route

  - Construction method

  - Cost

Response:

The second paragraph on page 1 of the evidence of the NRRA reads as follows:

“Our detailed review and consideration of the route and construction methods proposed by Hydro One indicate that the associated costs would be excessive when compared with a construction hybrid consisting of soft ground tunneling in the vicinity of Yonge Street and trenching elsewhere along a route deviating slightly from that proposed by Hydro One, as described below (the “Hybrid Solution”). The Hybrid Solution would result in substantially lower costs and a much shorter construction schedule, while at the same time avoiding most of the difficulties inherent in co-ordinating schedules and making the necessary arrangements with the CPR. Furthermore, the impact on the community would be greatly reduced because the work will be undertaken in sections and “move along” with the trench.”

I - Birch Junction to East Side of Summerhill Subway Station on Shaftesbury Avenue

Route:

Our proposal follows the same route as Hydro One’s proposed tunnel.

Construction Method:

This section of the route will involve relatively shallow, soft ground tunneling, rather than hard rock tunneling at great depth. This tunnel does not need to be 3 metres in diameter or 50 – 60 metres deep, since it will be accessed and serviced from either end and its length will be relatively short.  An additional shaft would be required just east of the Summerhill Subway Station in the road allowance for Shaftesbury Avenue.

Cost:

Since Hydro One has not provided any separate costs for this section, we are unable to make the requested comparison.

II - Balance of Shaftesbury Avenue

Route:

Our proposal essentially follows the same route as Hydro One’s, although the precise route will have to be determined after a careful analysis of the below-ground infrastructure in Shaftesbury Avenue.

Construction Method:

In this section, our proposal involves trenching, rather than deep rock tunneling as proposed by Hydro One. Trenching will be within the street pavement where-ever possible. The road allowance south of the curb/sidewalk on the south side of Shaftesbury Avenue will be used only the extent absolutely necessary. If required, the existing trees which have been planted in front of the relatively new (approximately 10-12 years old) residential development on the south side of Shaftesbury Avenue could be temporarily removed and/or replaced as appropriate. Further east on Shaftesbury Avenue, the absence of buildings on the south side of the street should reduce interference with existing utilities.

Cost:

Since Hydro One has not provided any separate costs for this section, we are unable to make the requested comparison.

III - David Balfour Park from Shaftesbury Avenue to Mount Pleasant Road

Route:

Our proposal essentially follows the same route as Hydro One’s.

Construction Method:

In this section, our proposal involves trenching, rather than deep rock tunneling as proposed by Hydro One.

Cost:

Since Hydro One has not provided any separate costs for this section, we are unable to make the requested comparison.

IV - Mount Pleasant Road to East End of Hydro One Lands Immediately North of CPR

Route:

Our proposal essentially follows the same route as Hydro One’s.

Construction Method:

In this section, our proposal involves trenching, rather than deep rock tunneling as proposed by Hydro One.

Cost:

Since Hydro One has not provided any separate costs for this section, we are unable to make the requested comparison.

V - East End of Hydro One Lands to Moore Park Ravine

Route:

This section of our proposed route involves the acquisition, by agreement or expropriation, of a relatively narrow easement across the rear portions of 17 large residential properties fronting onto Rosedale Heights Drive. In addition, approximately 300 feet of this stretch is over a public, but un-opened, lane owned by the City of Toronto. The lands over which the easement will be required are immediately north of the CPR right-of-way, whereas the Hydro One proposal is to tunnel under the CPR right-of-way in this section.

Construction Method:

In this section, our proposal involves trenching, rather than deep rock tunneling as proposed by Hydro One.

Cost:

Since Hydro One has not provided any separate costs for this section, we are unable to make the requested comparison.

VI – Moore Park Ravine

Route:

Our proposal essentially follows the same route as Hydro One’s.

Construction Method:

In this section, our proposal involves trenching, rather than deep rock tunneling as proposed by Hydro One.

Cost:

Since Hydro One has not provided any separate costs for this section, we are unable to make the requested comparison.

VII – Moore Park Ravine to Bayview Junction

Route:

The Hydro One proposed route is under the CPR right-of-way in this section. Our proposal for this section of the route involves the acquisition of a narrow easement, having a total length of about 100 metres, across the rear portions of 4 residential properties fronting onto Moorehill Drive. The balance of this section of our proposed route is across an un-opened portion of the original road allowance for Bayview Avenue.

Construction Method:

Rather than deep rock tunneling as proposed by Hydro One, our proposal involves trenching. However, the steepness of the site across the properties on the south side of Moorehill Drive suggests that directional boring, rather than trenching, or trenching though a portion of the CPR right-of-way might be more appropriate in this vicinity.

Cost:

Since Hydro One has not provided any separate costs for this section, we are unable to make the requested comparison.

Cost Issues relating to all seven sections of NRRA Hybrid Solution:

1) Real Estate Cost Estimation by Hydro One – Exhibit C-3-5 Appendix A

Hydro One has refused or neglected to provide useful and meaningful real estate cost estimates for any of the proposed routes. These require easements, rather than fee simple ownership, of narrow strips of land. The figures supplied by Hydro One are incomplete and unsupported.

2) Tunneling is new Technology for Hydro One

Hydro One has very limited project experience with tunneling. Given the fact that substantial contingencies have been built into the budget for this Project, tunneling is very clearly viewed by Hydro One as much more risky than trenching.

3) Tunneling Makes a Relatively Simple Installation into an Enormous Project

Tunneling requires the construction of a large staging area and main shaft with a depth of between 50 & 60 metres and a width of between 7 & 10 metres. This is necessary in order to lower the boring equipment to the level of the hard rock tunnel, to install elevating equipment to provide access to the underground work site for workers, supplies and equipment and to remove and store the spoil from the shaft and tunnel. The proposed tunneling project would create huge amounts of rock tailings that will need to be transported to dump sites. On the other hand, a substantial portion of the material excavated in the trenching process will go right back into the trench to cover the new cable duct.

4) Co-ordination with CPR

Scheduling and coordinating work and easement issues with the CPR has been cited by Hydro One as a major challenge. Using the route described in the Hybrid Solution will mean that most, if not all, of the trenching will occur well away from the CPR tracks. Hydro One has not made any effort to quantify the costs savings in this regard.

Interrogatory #2

Reference:

1) Hydro One response to Interrogatory #11(k)

- Please provide a table similar to the one provided by Hydro One in reference (1) with the additional column for the costs estimated for your Hybrid option.

The Hybrid Solution, proposed by the NRRA is essentially Option 1 presented in the Transmission Alternatives and identified as the preferred alternative by Hydro One. Options 1 is described as a “Combination of overhead and underground duct/ tunnel predominantly following the CPR corridor”.  Furthermore, for costing/cost allocation  the table referenced in Exhibit C-1-17 on page (P3)  describes how the project costs will be allocated between Hydro One and Toronto Hydro (THES)  under two options: 1(a) the trenching approach and 1(b) the tunneling approach.

The table allocates approximately 78% of the cable installation costs for the section from Bayview Junction to Birch Junction to Hydro One and the balance to THES.  We note that Hydro One’s portion of the cost between Bayview Junction and Birch Junction  remains the same under both Option 1(a) and Option 1(b).

The Hybrid Solution should not impact the cost allocation formula for the project. We assume that project risk, as reflected in the contingency amount, will be shared with THES.

Yours truly,

The North Rosedale Ratepayers Association

Per: Normunds Mierins CFA, MBA, P.Eng,

Director, The North Rosedale Ratepayers Association

c.c. Hydro One Networks Inc. BY E-MAIL TO regulatory@hydroone.com

c.c. Hydro One Networks Inc. BY E-MAIL TO mengelberg@hydroone.com

cc. Rep. And Address for Service, Peter Faye. BY E-MAIL TO pfaye@rogers.com

cc. Energy Probe, Oelna Loskutova, BY E-MAIL TO olena.loskutova@gmail.com

cc. Energy Probe, David Macintosh, BY E-MAIL TO DavidMacintosh@nextcity.com

cc. IESO, Legal Counsel, BY E-MAIL TO  richard.lanni@ieso.ca

cc. IESO, Senior Analyst, BY E-MAIL TO  carl.burrell@ieso.ca

cc. TDSB, Associate Counsel, BY E-MAIL TO  neda.ebrahimzadeh@tdsb.on.ca

cc. Toronto Hydro, Manager Regulatory Affairs,

BY E-MAIL TO  regulatoryaffairs@torontohydro.com