## Data
METERED KILOWATT-HOURS (kWh)
| 2006 Approved | 2005 Actual | 2006 Actual | 2007 Actual |  | 2008 Actual |  | 2009 Actual |  | 2010 Actual (8 Months) | 2010 Forecasted
Residential | 27473385.7896 | 26899810 | 25897339 | 27069577 |  | 26596195 |  | 26719860 |  | 17969990 | 26627362.2832
GS<50kW | 12719993.6625 | 13067330 | 12993046 | 12370240 |  | 12592670 |  | 11429892 |  | 8111365 | 12405534.8518
GS>50kW | 21314306.2693 | 20810683 | 19484942 | 21523842 |  | 20680870 |  | 18126386 |  | 10612537 | 19022891.8987
Intermediate Users | 47635245.3333 | 50416143 | 53977594 | 44939095 | 20.1128 | 24123994 | 86.2838 | 20110397 | 168.4064 | 12013995 | 18502357
Sentinel Lights | 64847.5887 | 60548 | 60823 | 54603 |  | 42445 |  | 26687 |  | 15198 | 23544
Street Lights | 1108379.4379 | 1085954 | 1091309 | 1097289 |  | 1159799 |  | 1001530 |  | 653103 | 1006025
TOTAL | 110316158.0814 | 112340468 | 113505053 | 107054646 |  | 85195973 |  | 77414752 |  | 49376188 | 77587715.0337
KILOWATTS (kW) | [11 empty] | kW/kWh ratio
| 2006 Approved | 2005 Actual | 2006 Actual | 2007 Actual |  | 2008 Actual |  | 2009 Actual |  | 2010 Actual (8 Months) | 2010 Forecasted | 2005 Actual | 2006 Actual | 2007 Actual | 2008 Actual | 2009 Actual | 2010 Actual (8 Months)
Residential
GS<50kW
GS>50kW | 60958 | 59893.28 | 55083 | 57195 |  | 56061 |  | 50670 |  | 32178 | 53176.0679 | 0.002878 | 0.002827 | 0.0026573 | 0.0027108 | 0.0027954 | 0.0030321
Intermediate Users | 108040 | 112529 | 115268 | 109115 |  | 70701 |  | 65897 |  | 37170 | 59720.9 | 0.002232 | 0.0021355 | 0.0024281 | 0.0029307 | 0.0032768 | 0.0030939
Sentinel Lights | 182 | 169.47 | 168 | 148 |  | 121 |  | 99 |  | 42 | 72 | 0.0027989 | 0.0027621 | 0.0027105 | 0.0028507 | 0.0037097 | 0.0027635
Street Lights | 3072 | 3038 | 3036 | 3056 |  | 3069 |  | 3071 |  | 2061 | 3084 | 0.0027975 | 0.002782 | 0.002785 | 0.0026461 | 0.0030663 | 0.0031557
TOTAL | 172252 | 175629.75 | 173555 | 169514 |  | 129952 |  | 119737 |  | 71451 | 116052.9679
CUSTOMERS (CONNECTIONS)
| 2006 Approved | 2005 Actual | 2006 Actual | 2007 Actual |  | 2008 Actual |  | 2009 Actual |  |  | 2010 Forecasted
Residential | 2340 | 2342 | 2318 | 2316 |  | 2318 |  | 2320 |  |  | 2322
GS<50kW | 395 | 396 | 399 | 391 |  | 391 |  | 391 |  |  | 391
GS>50kW | 39 | 39 | 41 | 41 |  | 41 |  | 39 |  |  | 38
Intermediate Users | 3 | 3 | 3 | 3 |  | 3 |  | 3 |  |  | 3
Sentinel Lights | 23 | 46 | 46 | 45 |  | 38 |  | 17 |  |  | 17
Street Lights | 900 | 903 | 907 | 909 |  | 916 |  | 915 |  |  | 922
TOTAL | 2802 |  | 2783 | 2772 |  | 2769 |  | 2767 |  |  | 2768
Annual Average Use Per Customer (kWh)
|  | 2005 Actual | 2006 Actual | 2007 Actual |  | 2008 Actual |  | 2009 Actual |  | 2005-2009 Avg
Residential |  | 11485.8284 | 11172.2774 | 11688.073 |  | 11473.7683 |  | 11517.181 |  | 11467.4256
GS<50kW |  | 32998.3081 | 32564.0251 | 31637.4425 |  | 32206.3171 |  | 29232.4604 |  | 31727.7106
GS>50kW |  | 533607.2564 | 475242.4878 | 524971.7561 |  | 504411.4634 |  | 464779.1282 |  | 500602.4184
Intermediate Users |  | 16805381 | 17992531.3333 | 14979698.3333 |  | 8041331.3333 |  | 6703465.6667
Sentinel Lights |  | 1316.2609 | 1322.2391 | 1213.4 |  | 1116.9737 |  | 1569.8235
Street Lights |  | 1202.6069 | 1203.2073 | 1207.1386 |  | 1266.1561 |  | 1094.5683
Note on M5: user: based on 5 year average (2005-2009) use per customer.
Note on M6: user: based on 5 year average (2005-2009) use per customer.
Note on M7: user: based on 5 year average (2005-2009) use per customer.
Note on M8: user: based on actual 12 months of usage, Sept'09 to Aug'10.
Note on M9: user: based on actual 12 months of usage, Sept'09 to Aug'10.
Note on M10: user: based on actual 12 months of usage, Sept'09 to Aug'10.
Note on M18: user: based on 2009 kW/kWh and 2010 normalized kWh
Note on M19: user: most recent 12 month kW (Sept'09 to Aug'10).
Note on M20: user: most recent 12 month kW (Sept'09 to Aug'10).
Note on M21: user: most recent 12 month kW (Sept'09 to Aug'10).

## Monthly Int, Street, Sent
| Intermediate |  |  | Sentinel |  |  | Street Light
| Month | kWh | kW | Month | kWh | kW | Month | kWh | kW
1 | 2009-09-01 | 1388956 | 5846.7 | 2009-09-01 | 2088 | 6 | 2009-09-01 | 68700 | 255.6
2 | 2009-10-01 | 1893443 | 5790.5 | 2009-10-01 | 2088 | 6 | 2009-10-01 | 80160 | 255.6
3 | 2009-11-01 | 1920514 | 5404.4 | 2009-11-01 | 2088 | 6 | 2009-11-01 | 97360 | 255.6
4 | 2009-12-01 | 1285449 | 5509.4 | 2009-12-01 | 2088 | 6 | 2009-12-01 | 106702 | 257.2
5 | 2010-01-01 | 1170086 | 3471.7 | 2010-01-01 | 2088 | 6 | 2010-01-01 | 117300 | 257.2
6 | 2010-02-01 | 1275424 | 3352.5 | 2010-02-01 | 2088 | 6 | 2010-02-01 | 113992 | 257.2
7 | 2010-03-01 | 1235918 | 3387.4 | 2010-03-01 | 2088 | 6 | 2010-03-01 | 92760 | 257.2
8 | 2010-04-01 | 1413675 | 5444.1 | 2010-04-01 | 1836 | 6 | 2010-04-01 | 87723 | 257.2
9 | 2010-05-01 | 1923037 | 5470.2 | 2010-05-01 | 1773 | 6 | 2010-05-01 | 70779 | 257.8
10 | 2010-06-01 | 1771071 | 5425.6 | 2010-06-01 | 1773 | 6 | 2010-06-01 | 60439 | 257.8
11 | 2010-07-01 | 1811818 | 5332.1 | 2010-07-01 | 1773 | 6 | 2010-07-01 | 52320 | 257.8
12 | 2010-08-01 | 1412966 | 5286.3 | 2010-08-01 | 1773 | 6 | 2010-08-01 | 57790 | 257.8
| Total | 18502357 | 59720.9 | Total | 23544 | 72 | Total | 1006025 | 3084

## NAC
weather normalized
METERED KILOWATT-HOURS (kWh)
|  |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010F
| Residential |  | 26856710.7955 | 26581492.5807 | 26558557.7295 | 26581492.5807 | 26604427.4319 | 26627362.2832
| GS<50kW |  | 12564173.4049 | 12659356.5368 | 12405534.8518 | 12405534.8518 | 12405534.8518 | 12405534.8518
| GS>50kW |  | 19523494.3171 | 20524699.1538 | 20524699.1538 | 20524699.1538 | 19523494.3171 | 19022891.8987
| Intermediate Users |  | 50416143 | 53977594 | 44939095 | 24123994 | 20110397 | 18502357
| Sentinel Lights |  | 60548 | 60823 | 54603 | 42445 | 26687 | 23544
| Street Lights |  | 1085954 | 1091309 | 1097289 | 1159799 | 1001530 | 1006025
| TOTAL |  | 110507023.5175 | 114895274.2713 | 105579778.7351 | 84837964.5864 | 79672070.6008 | 77587715.0337
weather sensitive kWh load, weather normalized based on 5-yr average use per customer
not weather sensitive, 2010 intermediate based on most recent actual 12-months, Sept'09 to Aug'10
KILOWATTS (kW)
|  |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010F
Residential
GS<50kW
| GS>50kW |  | 59893.28 | 55083 | 57195 | 56061 | 50670 | 53176.0679
| Intermediate Users |  | 112529 | 115268 | 109115 | 70701 | 65897 | 59720.9
| Sentinel Lights |  | 169.47 | 168 | 148 | 121 | 99 | 72
| Street Lights |  | 3038 | 3036 | 3056 | 3069 | 3071 | 3084
| TOTAL |  | 175629.75 | 173555 | 169514 | 129952 | 119737 | 116052.9679
weather sensitive kW, use actual kW/kWh and weather normalized kWh; 2010 based on 2009 actual kW/kWh
not weather sensitive, 2010 intermediate based on most recent actual 12-months, Sept'09 to Aug'10
Note on J7: user: based on 5 year average (2005-2009) use per customer.
Note on J8: user: based on 5 year average (2005-2009) use per customer.
Note on J9: user: based on 5 year average (2005-2009) use per customer.
Note on J10: user: based on actual 12 months of usage, Sept'09 to Aug'10.
Note on J11: user: based on actual 12 months of usage, Sept'09 to Aug'10.
Note on J12: user: based on actual 12 months of usage, Sept'09 to Aug'10.
Note on J24: user: based on 2009 kW/kWh and 2010 normalized kWh
Note on J25: user: most recent 12 month kW (Sept'09 to Aug'10).
Note on J26: user: most recent 12 month kW (Sept'09 to Aug'10).
Note on J27: user: most recent 12 month kW (Sept'09 to Aug'10).