INDEX

Ex.		Tab	Schedule	Contents of Schedule

1 - Administrative Documents

1			Administration

1		Application

2		Contact Information

3		List of Specific Approvals Requested

4		Draft Issues List

5	Accounting Orders / List of non-compliance with USofA

7		Description of Applicants Operating Environment

8	Corporate and Utility Organizational Structure

9	Identification of Board Directives

10 	List of Witnesses and their Curriculum Vitae

2			Overview

1	Summary of the Application

2	Budget Overview (Capital and Operating)

3	Changes in Methodology

4	Schedule Detailing the Revenue Deficiency / Sufficiency

5 	Revenue Requirement Work Form

3	Finance

1	Historical Financial Statements (2008 & 2009)

2	Pro Forma Statements (2010 and 2011)

3	Detailed Reconciliation Financial Statements to Regulatory Financial Results

4	Annual Report and Management Discussions

4			Materiality Thresholds

1		Threshold Identification

5	1		Conditions of Service Document

Ex.		Tab	Schedule	Contents of Schedule

2 – Rate Base

1

1	Rate Base Overview

2	Rate Base Summary

3	Rate Base Continuity Schedule

4	Variance Analysis on Rate Base Table

2

1	Gross Assets – Property Plant and Equipment

3

1	Accumulated Depreciation

4

1	Allowance for Working Capital

5	1		Capital Expenditures

6	1		Asset Management Plan

7	1		Service Quality and Reliability Performance
Ex.	Tab	Schedule	Contents of Schedule

3 - Operating Revenue

1	1		Overview of Operation Revenue

2		Summary of Operating Revenue Table

3		Variance Analysis on Operating Revenue

2			Load and Revenue Forecasts

1		Customer, Consumption and Load Forecast

- Variance Analysis

3		Weather Normalization Methodology

3			Other Revenue

1		Other Revenue (Appendix 2-C)

2		Comparison of Other Revenue

Ex.	Tab	Schedule	Contents of Schedule

4 - Operating Costs

1	1		Managers Summary

2	1		Summary and Cost Driver Tables

3	1		Variance Analysis

4	1		Employee Compensation Breakdown

5	1		Shared Services / Corporate Cost Allocation

6	1		Purchase of Non-Affiliate Services

7	1		Depreciation / Amortization / Depletion

8	1		Taxes

9	1		Green Energy Act

10	1		CDM Costs

Ex.		Tab	Schedule	Contents of Schedule

5 – Cost of Capital and Rate of Return

1	1		Overview

2		Capital Structure

3		Cost of Capital

Ex.		Tab	Schedule	Contents of Schedule

6 - Calculation of Revenue Deficiency or Surplus

1	1		Determination of Net Utility Income and Calculation

of Revenue Deficiency or Surplus

Ex.	Tab	Schedule	Contents of Schedule

7 – Cost Allocation

1	1		Cost Allocation – 2011 Rebasing Application

2	2011 Cost Allocation Sheets (incorporate transformer allowance removal)

3		2004 (Run 3) Informational Filing Cost Allocation Sheets

2	1		Treatment of Transformer Ownership Allowance

2	2011 Cost Allocation Output 1 (O1) - prior to transformer adjustments outlined in filing guidelines

3	1		Revenue to Cost Ratios

Ex.	Tab	Schedule	Contents of Schedule

8 - Rate Design

1		1	Overview

2	Fixed / Variable Proportion

3		Retail Transmission Service Rates

4		Low Voltage Charges

5		Loss Adjustment Factors

6		Rate Schedule

7		Customer Impacts

Ex.	Tab	Schedule	Contents of Schedule

9 – Deferral and Variance Accounts

1

1		Status of Deferral and variance accounts

2		Disposition of Deferral and Variance Accounts

3		Smart Meters

Ex.	Tab	Schedule	Contents of Schedule

10 – LRAM & SSM

1

1		Overview of request

2		LRAM Report
	Ex.		Tab	Schedule	Contents of Schedule

1 - Administrative Documents

1			Administration

1		Application

2		Contact Information

3		List of Specific Approvals Requested

4		Draft Issues List

5	Accounting Orders / List of non-compliance with USofA

7		Description of Applicants Operating Environment

8	Corporate and Utility Organizational Structure

9	Identification of Board Directives

10 	List of Witnesses and their Curriculum Vitae

2			Overview

1	Summary of the Application

2	Budget Overview (Capital and Operating)

3	Changes in Methodology

4	Schedule Detailing the Revenue Deficiency / Sufficiency

5 	Revenue Requirement Work Form

3	Finance

1	Historical Financial Statements (2008 & 2009)

2	Pro Forma Statements (2010 and 2011)

3	Detailed Reconciliation Financial Statements to Regulatory Financial Results

4	Annual Report and Management Discussions

4			Materiality Thresholds

1		Threshold Identification

5	1		Conditions of Service Document

APPLICATION

IN THE MATTER OF the Ontario Energy Board Act, 1998,

being Schedule B to the Energy Competition Act, 1998, S.O.

1998, c.15;

AND IN THE MATTER OF an Application by Brant County Power Inc. to the Ontario Energy Board for an Order or Orders approving or fixing just and reasonable rates and other service charges for the distribution of electricity as of May 1, 2011.

Title of Proceeding: 		An application by Brant County Power Inc. for an Order or

Orders approving or fixing just and reasonable distribution

rates and other charges, effective May 1, 2011.

Applicant’s Name: 		Brant County Power Inc.

Address for Service: 	65 Dundas Street East

Paris  ON  N3L 3H1

Primary Contact:		Mr. Ed Glassbergen, Chief Financial Officer

Telephone: 			1-877-871-2215  ext. 734 or (519) 442-2215

Fax: 				(519) 442-3701

E-mail: 			eglassbergen@brantcountypower.com

Introduction:

Brant County Power Inc. (“BCP” or the “Applicant”) is a licensed electricity distributor, License No. ED-2002-0522 with its office in the Town of Paris Ontario.  BCP carries on the business of distributing electricity within the County of Brant including the towns and villages of Paris, St. George, Cainsville and Burford.  BCP does not distribute electricity within the City of Brantford.  Schedule 1 of the Brant County Power’s distribution license defines the service territory as follows:

BCP hereby applies to the Ontario Energy Board (the “OEB”) pursuant to section 78 of the Ontario Energy Board Act, 1998 for approval of its proposed distribution rates and other charges, effective May 1, 2011.

Except where specifically identified in the Application, BCP followed Chapter 2 of the Filing Requirements for Transmission and Distribution Applications dated June 28, 2010 (the “Filing Guidelines” or “Filing Requirements”) in order to prepare this application.

Proposed Distribution Rates and Other Service Charges:

The Schedule of Rates and Charges proposed in this Application is identified in Exhibit 9; Tab 1; Schedule 6 attached to this Summary.

Effective Date:

BCP requests that the OEB make its Rate Order effective May 1, 2011 in accordance with the Filing Requirements.

Reasonableness of Request:

BCP submits the proposed distribution rates contained in this Application are just and reasonable on the following grounds:

- the proposed rates for the distribution of electricity have been prepared in accordance with the Filing Requirements;

- the proposed adjusted rates are necessary to meet BCP’s Market Based Rate of Return and PILs requirements;

- there are no impacts to any of the customer classes or consumption level subgroups that are so significant as to warrant the deferral of any adjustments being requested by BCP; and

- other grounds as may be set out in the material accompanying this Application Summary.

Relief Sought:

BCP applies for:

- an Order or Orders approving the proposed distribution rates and other charges set out in this Application to be effective May 1, 2011, or as soon as possible thereafter; and

- an Order or Orders for the providing of notice of the Application and such procedural orders necessary for the appropriate conduct and disposition of the Application.

Form of Hearing

BCP requests the Board proceed by way of written hearing.

DATED at Paris Ontario, this 5th day of November, 2010.

ALL OF WHICH IS RESPECTFULLY SUBMITTED.

BRANT COUNTY POWER INC.

_______________________________

Bruce Noble

Chief Executive Officer

CONTACT INFORMATION

Bruce Noble

CHIEF EXECUTIVE OFFICER

Phone:  	(519) 442-2215

Fax:  		(519) 442-3701

E-mail:        	bnoble@brantcountypower.com

Ed Glasbergen

CHIEF FINANCIAL OFFICER

Phone:  	(519) 442-2215

Fax:  		(519) 442-3701

E-mail:        	eglasbergen@brantcountypower.com

SPECIFIC APPROVALS REQUESTED

- Approval to charge rates effective May 1, 2011 to return a revenue sufficiency of $300,388.

(Exhibit 8,  Tab 1, Schedule 7)

- Approval of BCP proposed capital structure, continuing BCPs deemed common equity component of 40%.

- Approval to continue the following deferral/variance accounts on May 1, 2011:

  - 1508 – Other Regulatory Assets (including various sub-accounts)

  - 1518 – Retail Cost Variance Accounts (Retail)

  - 1521 – Special Purpose Charge

  - 1525 – Miscellaneous Deferred Debits

  - 1548 – Retail Cost Variance Account (Service Transaction Request)

  - 1550 – Low Voltage Variance Account

  - 1555 – Smart Meter Capital and Recovery Offset Variance Account (including sub-accounts)

  - 1556 – Smart Meter OM&A Variance Account

  - 1562 – Deferred Payment in Lieu of Taxes

  - 1580 – Retail Service Variance Account – Wholesale Market Service

  - 1582 – Retail Service Variance Account – One Time

  - 1584 – Retail Service Variance Account – Network

  - 1586 – Retail Service Variance Account – Connection

  - 1588 – Retail Service Variance Account – Power (including  sub-accounts)

  - 1590 – Recovery of Regulatory Asset Balances

  - 1592 – PILS and Tax Variance for 2006 an Subsequent Years

- Approval of the proposed loss factor of 4.82% Exhibit 8, Tab 1, Schedule 5.

- Approval for continued collection of $1.00 per metered customer per month for smart meter funding rate adder

- Approval to collect low voltage rate rider for all customer classes

- Approval to collect LRAM rate rider as provided in Exhibit 10.

- Approval to collect retail transmission rates for all customer classes

- Approval to continue to use the currently approved specific customer charges for miscellaneous services

DRAFT ISSUES LIST

This Application is the first cost of service application by the Applicant with the Ontario Energy Board.  Based upon experience and other hearings, BCP would expect that the following matters pertaining to the 2011 Test Year may constitute issues in this Application:

- The reasonableness of the 2011 weather normalized forecast and customer forecast ;

- The reasonableness of the 2011 capital program;

- The reasonableness of the use of the Board’s deemed capital structure, return on equity formula and the proposed cost of debt;

- The reasonableness of the proposed loss factor;

- The reasonableness of the 2011 operating, maintenance and administrative budget;

- The amount of BCP’s proposed revenue requirement;

- The reasonableness of the proposed changes to the fixed variable split;

- The reasonableness of the disposal of the various deferral/variance accounts;

- The reasonableness of the proposed electricity distribution rates;

- The reasonableness of the LRAM

Accounting Orders / List of Non-Compliance with USoA

Accounting Orders

Brant County Power requests:

    - An order for the establishment of a CDM variance account.

Compliance with USoA

Brant County Power has followed the accounting principles and main categories of accounts as

stated in the OEB’s Accounting Procedures Handbook (the “APH”) and the Uniform System of Accounts (“USoA”) in the preparation of this Application.

.

Description of Applicant’s Operating Environment

List of Neighboring LDC

BCP is neighbored by Hydro One and Brantford Power.

Host / Embedded Distributors

BCP is embedded via Brantford Power through 3 specific supply points.

BCP is a host distributor to Brantford Power through 1 specific supply point

Communities Served:

    - County of Brant

    - Paris

    - Burford

    - St. George

See map attached.

Service Area:	 	258.3 sq km

Rural Service Area: 	254.0 sq km

Distribution Type:	 Electricity distribution

Map of Distribution Service Area

Corporate and Utility Organizational Structure

Representation of Municipality of Brant on Brant County Board of Directors

The Municipality of Brant is represented by two members on the Board of Directors, the Mayor and one other councilor representative.

Reporting Relationships between Utility Management and Parent Company Officials

All management and executives report directly to the CEO. The CEO reports to the Brant County Power Board of Directors directly and not to any Parent Company Officials.

Services Purchased from / Provided to Affiliates

Brant County Power Inc. has a sister company – Brant County Power Services Inc. (”BCPS”).  BCP has loaned BCPS funds over the years to enable BCPS to get into certain lines of business – namely certain aspects of the water heater and water softener rental business.  The amount of the loan outstanding as of Sep 30/10 is $563,800.  BCPS pays interest at the prevailing market rate.

Certain of BCPs management team provide executive management services to BCPS.  For this BCP charges BCPS for time spent on BCPS activities.  The company has recently implemented a “time sheet” system to help more assist in this process.  BCP is also taking steps to more clearly define the distinction between BCP and BCPS by separating the billing systems, and expects to have this in place by the end of calendar 2010.

Planned Changes to Corporate or Operational Structure

None Planned.

Identification of Board Directives

None

List of Witnesses and CV’s

SUMMARY OF THE APPLICATION

PURPOSE AND NEED

BCP estimates that its present rates will produce a sufficiency in distribution revenue of $300,388 for the 2011 Test Year.  Excluded from this estimate is the impact of energy costs. BCP therefore seeks the Board’s approval to revise its rates applicable to its distribution of electricity. The issues to be reviewed in this case, as BCP sees them, are discussed below.

Through this Application, BCP seeks:

- To recover:

  - Revenue Deficiency arising from changes in OM&A, Amortization, Rate of Return and PILS

- To change:

  - Distribution Loss Factor

- To reflect:

  - Just and reasonable Distribution Rates that have been filed in accordance with the Ontario Energy Board Filing Requirements for Distribution Rate Applications

The information used in this Application is BCPs forecasted results for its 2011 Test Year. With the rates presently in effect, BCP estimates that its revenue for 2011 would not be sufficient to provide a reasonable return.  BCP is also presenting the historical actual information for fiscal 2006, 2007, 2008, 2009 information for the current approved test year (2006) and forecasts for the fiscal 2010 bridge year.

TIMING

The financial information supporting the test Year for this Application will be BCPs fiscal year ending December 31, 2011 (the “2011 Test Year”).  However, this information will be used to set rates for the period May 1, 2011 to April 30, 2012.  For the required revenues to match and appropriately offset the expected costs of service for the Test Year, revised rates reflecting the Board’s decision must be effective for volumes consumed on and after May 1, 2011.

CUSTOMER IMPACT

BCP will have impacts below 10%.   As discussed in details later in this application, the majority of drivers causing these impacts are beyond the control of LDC management (HST, Regulated Embedded Distributor Charges) and therefore BCP is not proposing any rate mitigation measures.

Residential

The impact on a typical residential customer (800 kWh / month) is an increase of 5.48% on total bill. The overall bill impact on a typical Residential customer is shown in detail in Exhibit 8, Tab 1, Schedule 6.

General Service < 50 kW

The impact on a typical GS<50 kW (2,000 kWh / month) customer is an decrease of 0.25% on total bill. The overall bill impact on a typical GS<50 kW customer is shown in detail in Exhibit 8, Tab 1, Schedule 6.

General Service 50 to 4,999 kW

The impact on a typical GS>50 to 4,999 kW customer (1,000 kW) is a decrease of 5.51% on total bill. The overall bill impact on a typical GS>50 to 999 kW customer is shown in detail in Exhibit 8, Tab 1, Schedule 6.

Street Light

The impact on a typical Street Lighting connection is an increase of 222.8% on total bill. The overall bill impact on a typical Street Lighting connection is shown in detail in Exhibit 8, Tab 1, Schedule 6.

Sentinel Light

The impact on a typical Street Lighting connection is an increase of 44.98% on total bill. The overall bill impact on a typical Street Lighting connection is shown in detail in Exhibit 8, Tab 1, Schedule 6.

Unmetered Loads

The impact on a typical Street Lighting connection is an decrease of 3.48% on total bill. The overall bill impact on a typical Street Lighting connection is shown in detail in Exhibit 8, Tab 1, Schedule 6.

Specific Service Charges

BCP is not proposing any changes to its currently approved Specific Service Charges and a minor change to the loss factor listed below. Details can be found in Exhibit 8, Schedule 1, Tab 5.  The Charges are listed below.

OTHER ISSUES

There are a number of issues that, although they may not all be defined as major, are anticipated to be examined in this case.  These issues are listed below.

Return on Equity

BCP has assumed a return on equity of 9.85%. BCP understands the OEB will be finalizing the return on equity for 2011 rates based on January 2010 market interest rate information. BCP will use the deemed return on equity rates established upon final approval of distribution rates.

Budget Overview

The budgets for 2010 and 2011 is done in excel format and has been prepared by the CFO.   Significant input to the budget was obtained from other BCP staff including the Board of Directors, CEO, Operations Manager and other BCP management.  The budget numbers were compared to historical actual numbers to test for reasonability.  Capital projects were assessed for based on requirement (i.e. preventative maintenance), but also considering further growth opportunities in BCP’s service territory.

In addition to the items noted above, several assumptions as follows were considering when preparing these budgets:

- 2.5% wage increase across all wage categories

- Several staff additions as noted in other areas of this rate application

- Benefits were adjusted to account for wage and staff increases

- All other expense items were assessed based on need/requirement and estimated using historical trending.

- Where capital additions are significant – quotations from third parties were procured to assist with estimation.

Distribution revenue was budged using our approved load forecast and current rates to derive a revenue deficiency. This was then included in the bottom line revenue line.

Other revenue was projected to be consistent with 2009 results with the exception of the $135,000 related to green energy initiatives.

CHANGES IN METHODOLOGY

BCP is not proposing any methodology changes from previous applications or Board established policy or practices.

NUMERICAL DETAILS OF CAUSES OF SUFFICIENCY 2011 TEST YEAR

Revenue Requirement Workform

Attached as excel file

Audited Financial Statements at December 31 2008 & 2009

Detailed Reconciliations – Financial Statements to Regulatory Returns

Annual Report and Management Discussions (Fiscal Year 2009)

BCP is including a presentation delivered to the County of Brant (shareholder) as the annual report and management discussion portion of the minimum filing requirements.

Identification of Materiality Thresholds

Brant County Power has a distribution revenue requirement of approximately $6.5 million (see exhibit 1, tab 3, schedule 3, page 2) which is below the $10 million threshold outlined by the OEB in the “Supplemental Report of the Board on 3rd Generation Incentive Regulation for Ontario’s Electricity Distributors” of September 17, 2008 (EB-2007-0673).

BCP is using the $50,000 threshold for major categories of expenses (rate base, capital expenditures, OM&A) however is using a $25,000 threshold by specific USoA details to discuss variances.

Conditions of Service

Issue date: 		September 15, 2004

Revision date:		June 19, 2007

CONDITIONS OF SERVICE

TABLE OF CONTENTS

SECTION 1 - INTRODUCTION

  - Identification of Distributor and Service Area

1.2	Related Codes and Governing Laws

1.3	Interpretations

1.4	Amendments and Changes

1.5	Contact Information

1.6	Customer Rights

  - Distributor Rights

    - Access to Customer Property

    - Safety of Equipment

    - Operating Control

    - Repairs of Defective Consumer Electrical Equipment

    - Repairs of Customer’s Physical Structures

1.8	Disputes

SECTION 2 - DISTRIBUTION ACTIVITIES (GENERAL)

2.1	Connections

    - Building that Lies Along

2.1.1.1	Connection Charges

    - Expansions / Offer to Connect

      - Offer to Connect

      - Capital Contributions

      - Rebates Related to Expansions

      - Supply Agreement and Securities

2.1.3	Connection Denial

2.1.4	Inspections Before Connections

2.1.5	Relocation of Plant

2.1.6	Easements

    - Contracts

2.1.7.1	Contract for New or Modified Electricity Service

2.1.7.2	 Implied Contract

2.1.7.3 	Special Contracts

2.1.7.4 	Connection Agreements

2.1.7.5	Payment By Building Owner

2.1.7.6 	Opening and Closing Accounts

  - Disconnection

    - Disconnection and Reconnection – Process and Charges

    - Unauthorized Energy Use

2.3	Conveyance of Electricity

    - Limitations on the Guarantee of Supply

    - Power Quality

      - Power Quality Testing

      - Prevention of Voltage Distortion on Distribution

      - Obligation to Help in the Investigation

      - Timely Correction of Deficiencies

      - Notification for Interruptions

      - Notification to Customers on Life Support

      - Emergency Interruptions for Safety

      - Emergency Service (Trouble Calls)

      - Outage Reporting

2.3.3	Electrical Disturbances

2.3.4	Standard Voltage Offerings

      - Primary Voltage

      - Supply Voltage

2.3.5	Voltage Guidelines

2.3.6	Back-up Generators

    - Metering - General Information

2.3.7.1 	General

2.3.7.2 	Multi-Unit Sites

      - Interval Metering

      - Meter Reading

      - Final Meter Reading

      - Faulty Registration of Meters

      - Meter Dispute Testing

2.4	Tariffs and Charges

    - Service Connection

2.4.1.1	Customers Switching to Retailer

    - Energy Supply

      - Standard Supply Service (SSS)

      - Retailer Supply

      - Wheeling of Energy

2.4.3	Security Deposits

2.4.4	Billing

    - Payments and Overdue Account Interest Charges

  - Customer Information

2.6	General Information

2.6.1	House, Equipment and Vessel Moving

2.6.2	Customer Owned Primary Lines

2.6.3	Customer Owned Substations

SECTION 3 - CUSTOMER SPECIFIC

3.1	Residential Service

3.1.1	General Information

3.1.1.1 	Secondary Services in Overhead Distribution Area

3.1.1.1.1 	Services Over Swimming Pools

3.1.1.2	New Infill

3.1.1.3	Upgrades

3.1.1.4	Standard Underground Services (Secondary)

3.1.1.5	Large Residential Services (Secondary)

3.1.1.6	Primary Residential Services (Standard & Large)

    - Early Consultation and Notification

    - Point of Demarcation

    - Access

    - Metering

    - Inspection

  - General Service

    - General Information

3.2.1.1	Standard Overhead Services (Secondary)

3.2.1.2	Standard Underground Services (Secondary)

3.2.1.3	Large General Services (Secondary)

3.2.1.4	Primary Services

3.2.1.5	Transformation

    - Early Consultation

    - Point of Demarcation

    - Supply Voltage

    - Underground Service

    - Location of Transformers

    - Supply of Equipment

    - Short Circuit Capacity

    - Access

    - Metering

3.2.10.1	Revenue Metering Specifications

3.2.10.2	Meter Socket Specifications

3.2.10.3	Commercial and Industrial Meter Cabinet Specifications

3.2.10.4	Meter Cabinet

3.2.10.5	Current Transformer Cabinet

3.2.10.6	Combination Current Transformer and Potential Transformer Cabinet

3.2.10.7	Meter Enclosed Switchgear

3.2.10.8	Instrument Transformers

3.2.10.9	Meter Cabinet Specifications

3.2.10.10	Interval Demand

  - General Services (Above 50 kW)

  - General Services (Above 750 kW)

3.5	Net Metered Generators and Embedded Generation

  - Embedded Market Participant

  - Embedded Distributor

    - Contact Information

    - Energy Supply

    - Billing

    - Ownership

    - Assignment of Responsibility

    - Normal Operations

    - Communication

    - Emergency Operations

    - Metering and Faulty Protection

    - Costs

    - Force Majeure

3.8	Unmetered Connections

3.8.1	Street Lighting

3.8.2	Traffic Control Signals

    - Other Small Services

  - Small Metered Connections

    - Temporary Services (Construction Power)

3.9.1.1	Metering

    - Billboards

SECTION 4 - GLOSSARY OF TERMS

4.1	Definitions

SECTION 5 - RATES AND CHARGES

# SECTION 1 – INTRODUCTION

This document provides information regarding the services offered by Brant County Power Distribution Inc. and conditions associated with the supply of electrical energy to Customers.  These Conditions convey Brant County Power Distribution Inc. policy with respect to service to buildings and associated matters.

1.1	Identification of Distributor and Service Area

Brant County Power Distribution Inc., referred to herein as “Brant County Power” is a corporation incorporated under the laws of the Province of Ontario and a Distributor of electricity.

Brant County Power is licenced by the Ontario Energy Board (“OEB”) to supply electricity to Customers as described in the current Distribution Licence issued to Brant County Power by the OEB.  Additionally, there are requirements imposed on Brant County Power by the various codes referred to in the Licence and by the Electricity Act, 1998 and Ontario Energy Board Act.

Brant County Power may only operate distribution facilities within its Licenced  Service Area as defined in its Distribution Licence. This service area is subject to change with the OEB’s approval.

Nothing contained in this document or in any contract for the supply of electricity by Brant County Power shall prejudice or affect any rights, privileges, or powers vested in Brant County Power by law under any Act of the Legislature of Ontario or the Parliament of Canada, or any regulations thereunder.

1.2	Related Codes and Governing Laws

The supply of electricity or related services by Brant County Power to any Customer shall be subject to various laws, regulations and codes, including the provisions of the latest editions of the following documents:

  - Electricity Act, 1998		} part of the Energy Competition

  - Ontario Energy Board Act, 1998	} Act, 1998

  - Distribution Licence

  - Affiliate Relationships Code

  - Transmission System Code

  - Distribution System Code

  - Retail Settlement Code

  - Standard Service Supply Code

In the event of a conflict between this document and the Distribution Licence or regulatory codes issued by the OEB, or the Energy Competition Act, 1998 (the “Act”), the provisions of the Act, the Distribution Licence and associated regulatory codes shall prevail in the order of priority indicated above. If there is a conflict between a Connection Agreement with a Customer and this Conditions of Service, this Conditions of Service shall govern.

When planning and designing for electricity service, Customers and their agents must refer to all applicable provincial and Canadian electrical codes, and all other applicable federal, provincial, and municipal laws, regulations, codes and by-laws to also ensure compliance with their requirements.  Without limiting the foregoing, the work shall be conducted in accordance with the latest edition of the Ontario Occupational Health and Safety Act (OHSA), the Regulations for Construction Projects and the harmonized Electrical & Utilities Safety Association of Ontario (E&USA) rulebook.

1.3	Interpretations

In these Conditions, unless the context otherwise requires:

- Headings, paragraph numbers and underlining are for convenience only and do not affect the interpretation of this Conditions;

- Words referring to the singular include the plural and vice versa;

- Words referring to a gender include any gender.

1.4	Amendments and Changes

The provisions of this Conditions of Service and any amendments made from time to time form part of any Contract made between Brant County Power and any connected Customer, Retailer, or Generator and this Conditions of Service supersedes all previous conditions of service, oral or written, of Brant County Power or any of its predecessor municipal electric utilities as of its effective date.

In the event of changes to this Conditions of Service, a public notice shall be made in the form of either a notice in a local newspaper or a notice with the Customer’s bill.

The Customer is responsible for contacting Brant County Power to ensure that the Customer has, or to obtain the current version of this Conditions of Service. Brant County Power may charge a reasonable fee for providing the Customer with a copy of this document.

1.5	Contact Information

Brant County Power and its agents can be contacted at:

(519) 442-2215 or 1 (877) 871-2215 or by fax at (519) 442-3701.

Normal working hours are Monday to Friday between 8:30 am and 4:30 pm excluding statutory holidays.  The Corporate mailing address is 65 Dundas Street East, Paris, ON  
N3L 3H1

  - Customer Rights

Brant County Power shall only be liable to a Customer and a Customer shall only be liable to Brant County Power for any damages that arise directly out of the willful misconduct or negligence:

- of Brant County Power in providing distribution services to the Customer;

- of the Customer in being connected to Brant County Power’s distribution system; or

- of Brant County Power or Customer in meeting their respective obligations under this Conditions, their licences and any other applicable law.

Notwithstanding the above, neither Brant County Power nor the Customer shall be liable under any circumstances whatsoever for any loss of profits or revenues, business interruption losses, loss of contract or loss of goodwill, or for any indirect, consequential, incidental or special damages, including but not limited to punitive or exemplary damages, whether any of the said liability, loss or damages arise in contract, tort or otherwise.

The Customer or Embedded Generator shall indemnify and hold harmless Brant County Power, its directors, officers, employees and agents from any claims made by any third parties in connection with the construction and installation of a generator by or on behalf of the Customer or the Embedded Generator.

1.7	Distributor Rights

1.7.1	Access to Customer Property

Brant County Power shall have access to Customer property in accordance with section 40 of the Electricity Act, 1998.

1.7.2 	Safety of Equipment

The Customer will comply with all aspects of the Ontario Electrical Safety Code with respect to insuring that equipment is properly identified and connected for metering and operation purposes and will take whatever steps necessary to correct any deficiencies, in particular cross wiring situations, in a timely fashion. If the Customer does not take such action within a reasonable time, Brant County Power may disconnect the supply of power to the Customer.

The Customer shall not build, plant or maintain or cause to be built, planted or maintained any structure, tree, shrub or landscaping that would or could obstruct the running of distribution lines, endanger the equipment of Brant County Power , interfere with the proper and safe operation of Brant County Power’s facilities or adversely affect compliance with any applicable legislation in the sole opinion of Brant County Power.

The Customer shall not use or interfere with the facilities of Brant County Power except in accordance with a written agreement with Brant County Power. The Customer must also grant Brant County Power the right to seal any point where a connection may be made on the line side of the metering equipment.

1.7.3	Operating Control

The Customer will provide a convenient and safe place, satisfactory to Brant County Power, for installing, maintaining and operating its equipment in, on, or about the Customer's premises. Brant County Power assumes no risk and will not be liable for damages resulting from the presence of its equipment on the Customer’s premises or approaches thereto, or action, omission or occurrence beyond its control, or negligence of any Persons over whom Brant County Power has no control.

Unless an employee or an agent of Brant County Power, or other Person lawfully entitled to do so, no Person shall remove, replace, alter, repair, inspect or tamper with Brant County Power’s equipment.

Customers will be required to pay the cost of repairs or replacement of Brant County Power’s equipment that has been damaged or lost by the direct or indirect act or omission of the Customer or its agents.

The physical location on customer’s premises at which a distributor’s responsibility for operational control of distribution equipment ends is defined by the Distribution System Code as the “operational demarcation point”.

1.7.4 	Repairs of Defective Customer Electrical Equipment

The Customer will be required to repair or replace any equipment owned by the Customer that may affect the integrity or reliability of Brant County Power's distribution system. If the Customer does not take such action within a reasonable time, Brant County Power may disconnect the supply of power to the Customer. Brant County Power’s policies and procedures with respect to the disconnection process are further described in this Conditions of Service. The determination of “reasonable time” shall be the sole discretion of Brant County Power.

1.7.5	Repairs of Customer’s Physical Structures

The Customer is responsible for maintaining, repairing and replacing, in a safe condition satisfactory to Brant County Power, all the Customer’s civil infrastructure on private property including but not limited to poles, underground conduits, cable chambers, cable pull rooms, transformer rooms, transformer vaults and transformer pads that Brant County Power deems required to house Brant County Power’s Connection Assets.

1.8	Disputes

Customer Dispute Resolution Process

1. In addition to other civil avenues that may be pursued to resolve disputes or other specific dispute resolution processes

Step 1

To resister a complaint, a customer must call or write the Manager of the applicable department.

Step 2

If the matter is not satisfactorily resolved in Step 1, the customer may refer the matter to the CEO who will address the matter in consultation with the applicable manager and Department Head.

Step 3

If the matter is not satisfactorily resolved in Step 2, the customer may refer the matter to the Board or a Committee of the Board. The Brant Coun ty Power Inc. Board of Directors will consider delegations and other customer dispute matters through written presentation. Written presentations must be submitted to the Secretary of the Board one week prior to the Board meeting. The Board will respond to delegations and other customer dispute matters in writing. Contact the Co-ordinator of Corporate Services at (519) 442-2215 ext. 742 or by e-mail at information@brantcountypower.com.

2. Brant County Power Inc. shall keep a record of all complaints whether resolved or not including the name of the complainant, the nature of the complaint, the date resolved or referred and the result of the dispute resolution.

SECTION 2 - DISTRIBUTION ACTIVITIES (GENERAL)

2.1	Connections

Under the terms of the Distribution System Code, Brant County Power has the obligation to either connect or to make an offer to connect any Customers that lie in its service area.

The Customer or their representative shall consult with Brant County Power concerning the availability of supply, the supply voltage, service location, metering, and any other details. These requirements are separate from and in addition to those of the Electrical Safety Authority. Brant County Power will confirm, in writing, the characteristics of the electric supply.

The Customer or their authorized representative shall apply for new or upgraded electric services and temporary power services in writing. The Customer is required to provide Brant County Power with sufficient lead-time in order to ensure:

a)	the timely provision of supply to new and upgraded premises; or

b)	the availability of adequate capacity for additional loads to be connected in existing  premises.

Brant County Power shall make every reasonable effort to respond promptly to a Customer’s request for connection. Brant County Power shall respond to a Customer’s request for a Customer connection within 15 calendar days of receipt of the written request. Brant County Power will make an offer to connect within 60 calendar days of receipt of the written request, unless other necessary information is required from the Customer before the offer can be made.

Brant County Power shall make every reasonable effort to respond promptly to a generator’ s request for connection. In any event Brant County Power shall provide an initial consultation with a generator that wishes to connect to the distribution system regarding the connection process within thirty (30) calendar days of receiving a written request for connection. A final offer to connect a generator to its distribution system shall be made within ninety (90) calendar days of receiving a written request for connection, unless other necessary information outside the distributor’ s control is required before the offer can be made.

Brant County Power shall make every reasonable effort to respond promptly to another distributor’s request for connection. Brant County Power shall provide an initial consultation with another distributor regarding the connection process within thirty (30) days of receiving a written request for connection. A final offer to connect the distributor to Brant County Power’s distribution system shall be made within ninety (90) days of receiving the written request for connection, unless other necessary information outside the distributor’s control is required before the offer can be made.

If special equipment is required or equipment delivery problems occur then longer lead times may be necessary. Brant County Power will notify the Customer of any extended lead times.

In addition to any other requirements in this Conditions of Service, the supply of electricity is conditional upon Brant County Power being permitted and able to provide such a supply, obtaining the necessary apparatus and material, and constructing works to provide the service. Should Brant County Power not be permitted or able to do so, it is under no responsibility to the Customer whatsoever and the Customer releases Brant County Power from any liability in respect thereto.

Brant County Power, in its discretion, may require a Customer, generator or distributor to enter into a Connection Agreement with Brant County Power including terms and conditions in addition to those expressed in this Conditions (refer to the sample in the Distribution System Code - Appendix D).

2.1.1	Building that Lies Along

For the purpose of this Condition "lies along”, means a Customer property or parcel of land that is directly adjacent to or abuts onto the public road allowance where Brant County Power has distribution facilities of the appropriate voltage and capacity.

Under the terms of the Distribution System Code, Brant County Power has the Obligation to connect (under Section 28 of the Electricity Act, 1998) a building or facility that “lies along” its distribution line, provided:

a)	the building can be connected to Brant County Power’s distribution system without an Expansion or Enhancement; and

b)	the service installation meets the conditions listed in the Conditions of Service of the Distributor that owns and operates the distribution line.

The location of the Customer's service entrance equipment will be subject to the approval of Brant County Power and the Electrical Safety Authority.

2.1.1.1 	Connection Charges

Brant County Power shall recover costs associated with the installation of “Connection Assets”, by Customer Class, via a Basic Connection Charge and a Variable Connection Charge, as applicable.

- For Residential Customers, the Basic Connection Charge is recovered through Brant County Power’s rates and covers the Standard Allowance to provide a basic connection consistent with the defined ownership demarcation point as outlined in Section 5. This point may differ from the “operational demarcation point”.

- Connection charges for General Service Class customers shall be variable based on the total cost of providing the connection.

Note:  Subdivisions, multi units or townhouse type developments are considered General Service Class Customers with respect to connecting the development to the distribution system.  Connection charges related to connection of the individual dwelling units in the development will be treated as Residential Class Customers.

c) 	For Non-Residential Customers, Brant County Power may recover the Basic Connection Charge either through Brant County Power’s rates, or through a Basic Connection Fee levied from the Customer requesting the connection. The Basic Connection Fee is determined for each Customer Class as indicated in Section 5 of this Condition.

d)	The Variable Connection Charge shall be calculated as the costs associated with the installation of Connection assets above and beyond the Standard Allowance for Basic Connection as described in Section 5.  Brant County Power may recover this variable connection fee, which shall be based on actual cost.

Note:  Basic Connection Fees are reviewed annually and are calculated based on the average costs to provide the Standard Allowance and the Basic Connection for each Customer Class as identified in Section 5 of this Conditions. Standard fees are determined using historical data from previous year(s) for all completed projects in each Customer Class.

2.1.2	Expansions / Offer to Connect

Under the terms of the Distribution System Code, Brant County Power is required to make an “Offer to Connect” if, in order to connect a Customer, Brant County Power must construct new distribution system facilities or increase the capacity of existing distribution facilities (i.e. an “Expansion” of its system). In making an “Offer to Connect”, Brant County Power will include, without limitation, the following components, as applicable:

a)	 the Basic Connection Fee;

b)	the Variable Connection Fee;

c)	the Capital Contribution;

d)	the Security Deposit.

The cost associated with the Expansion is to be fair and reasonable and is in addition to any Basic and/or Variable Connection Charges. Refer to Section 5 for Basic and Variable Connection Fees of each Customer Class and the respective ownership demarcation point.

Brant County Power may perform an economic evaluation to determine whether the future revenue from the Customer will pay for the capital and on-going maintenance costs of the Expansion project (refer to methodology and assumptions in the Distribution System Code – Appendix B). At the discretion of Brant County Power, the capital costs for the Expansion may include incremental costs associated with the full use of Brant County Power’s existing spare facilities or equipment, which may result in an adverse impact to future Customers. The economic evaluation will be based on the Customer’s proposed load (“Estimated Incremental Demand”).

In performing the economic evaluation, should the Net Present value (NPV) of the costs and revenues associated with the expansion be less than zero, a capital contribution in the amount of the shortfall is required. Brant County Power has the choice of either:

a) 	collecting this shortfall from the Customer; or

b) 	absorbing this shortfall.

2.1.2.1 	Offer to Connect

If Brant County Power’s offer to connect is a firm offer, Brant County Power may provide one estimate to the Customer for any plans submitted to Brant County Power for an expansion project, at no expense to the Customer. If the Customer submits revised plans, Brant County Power may provide a new firm offer for revised plans at the Customer’ s expense.

If Brant County Power’s offer to connect is an estimate of the costs to construct the expansion and not a firm offer, the final amount charged to the Customer will be based on actual costs incurred. Brant County Power will calculate the first estimate and the final payment at no expense to the Customer.

Where the offer to connect meets the conditions identified in the Distribution System Code, Brant County Power will inform the Customer that the Customer may obtain other bids from qualified contractors.

Brant County Power may charge a Customer that chooses to pursue an alternative bid any costs incurred by Brant County Power associated with the expansion project, including but not limited to the following:

- costs for additional design, engineering, or installation of facilities required to complete the project that were made in addition to the original offer to connect;

- costs for inspection or approval of the work performed by the contractor hired by the Customer.

2.1.2.2 	Capital Contributions

Customers, (including developers) may be required to pay a capital contribution to pay for a portion of Brant County Power costs incurred to provide service in compliance to section 3 of the Distribution System Code.

General Principles for All Classes of Customers

Brant County Power shall supply, install and maintain the following basic service at no charge to a new customer or group of customers.

- Basic KWH, KW /KVA meters as required.

- Interval meter supplied for loads over 500 KVA.

- 30 meters of overhead conductor to Residential Class Customers for connection to Brant County Power’s primary distribution system or transformer or equivalent credit.

- Brant County Power may supply, install and maintain overhead road crossing facilities.

- Installed (lowest cost) transformation.

Related costs for basic service shall be recovered through the retail distribution service charge to all customers as part of Brant County Power’s general revenue requirement.

The customer shall pay a capital contribution to pay for the incremental cost of metering, connections, transformation and distribution facilities that exceed the basic service provided by Brant County Power as follows:

General Terms and Conditions for all Classes of Customers.

- The customer shall pay all costs for service less a credit for the cost of basic service.

- Brant County Power is under no obligation to invest in infrastructure for speculation.

- In circumstances where a significant delay is expected  (in the opinion of the Distributor) between construction of infrastructure and connection of metered retail consumers, the customer may be required to pay a deposit covering 100% of all Utility costs. A refund of the portion of the deposit related to Brant County Power contribution for basic service shall be paid to the customer at the time metered connection is completed.

- In the case of subdivision development, the deposit refunds shall be rebated for Brant County Power’s share of related capital works, as metered service connections are completed.

- Deposit refunds to subdivision developers shall not be paid after five years from the date the final deposit was paid by the Developer.

Connection to Existing Brant County Power Distribution Facilities:

- Residential Class:

The customer shall pay for all costs of providing the connection and metering less an allowance equal to the installed cost of providing an overhead service up to 30 meters in length plus the installed cost of a basic KWH meter and road crossing facilities.  Installed (lowest cost) transformation is provided at no additional charge.

(Under this guideline, the customer would be required to pay for the incremental cost of special metering plus the incremental cost of connection service beyond the basic 30 meters and/or the incremental cost of upgrading to an underground service and transformation costs that exceed the lowest cost option.)

- General Service Class:

The customer shall pay for all costs of providing the connection including metering and modifications to transformer support structures and adjacent distribution facilities, less the installed cost of (lowest cost) transformation, basic metering and road crossing facilities.

1000 KVA transformation or greater shall be customer owned.

(Under this guideline the customer would be required to pay for the incremental cost of special metering, the full cost of connection including underground supply plus transformation costs in excess of the lowest cost option.  At their sole discretion, where Brant County Power requires installation of a pad mount transformer, this may be considered the lowest cost option.).

Service Upgrades

- Residential Class:

Service upgrades as a result of an increase in customer energy requirements for residential class customers are provided at no charge. Brant County Power reserves the right to apply the 25 year net present value calculation (per appendix B of the Distribution System Code ) to determine if a capital contribution is required, where in the opinion of Brant County Power the cost of upgrade is excessive

- General Service Class:  (Non demand less than 50 KW)

For small general service class customers (non demand less than 50 KW) service upgrades are provided at no charge. Brant County Power reserves the right to apply the 25 year net present value calculation to determine if a capital contribution is required, where in the opinion of Brant County Power the cost of upgrade is excessive.

- General Service Class (Demand of 50 KW or higher)

Where large general service customers request an upgrade to their service the customer shall pay a capital contribution.  The amount of the capital contribution will be determined using a 25 year net present value calculation (per appendix B of the Distribution System Code) comparing the present value of incremental revenue to the present value of the incremental cost of related capital works including transformation and metering upgrades.

- All incremental costs associated with service upgrades shall be included in the “Net Present Value” calculation including basic services supplied by Brant County Power.  This method is required because the NPV of all future revenues must be adequate to recover Brant County Power’s future cost of basic service as recovered through retail rates.

By including all incremental costs and all incremental revenue, the cost sharing between the customer and Utility is fair and reasonable and in compliance to section 3 of the Distribution System Code.

System Expansions

Where customers request a system expansion (line extensions, conversion to three phase power, etc.) of the distribution system to accommodate their supply requirements, the customer shall pay a capital contribution.  The amount of the capital contribution will be determined using a 25 year net present value calculation (per appendix B of the Distribution System Code) comparing the present value of incremental revenue to the present value of the incremental cost of related capital works.

A portion of the customer’s capital contribution for system expansion shall be rebated in compliance to section 3.2.7 of the Distribution System Code where additional customers connect to the expanded distribution system within a subsequent five year period.

Where a system expansion (ie. line extension) directly benefits distribution system reliability or economically provides for the connection of future new customers within a five-year window, Brant County Power at its sole discretion may reduce the amount of capital contribution required as per section 3.2.6 of the Distribution System Code.

The initial offer shall include, at no cost to the customer:

- A statement as to whether the offer is a firm offer or is an estimate of the costs that would be revised in the future to reflect actual costs incurred.;

- A reference to our Condition’s of Service and information on how the customer may obtain a copy of them,

- A statement as to whether a capital contribution will be required from the customer;

- A statement as to the amount of the expansion deposit the customer will have to provide; and

- A statement as to whether the connection charges will be charged separately and a description of, and if known, the amount for those connection charges.

If a capital contribution is required, Brant County Power Inc. will also include in       its initial offer, at no cost to the customer:

- The amount of the capital contribution;

- The calculation used to determine the amount of the contribution to be paid by the customer;

- A statement as to whether the offer includes work for which the customer may obtain alternate bids and if so the process by which the customer may obtain alternate bids;

- A description of the costs for the contestable work and the uncontestable work associated with the expansion broken down into the following categories:

  - Labor (including design, engineering and construction);

  - Materials;

  - Equipment; and

  - Overhead (including administration)

Subdivision Development:

General:

With respect to subdivision development, there is a delay between investment in infrastructure (lines, services, meters, transformers etc) and the revenue stream from new connected customers. As a result of this delay, Developers will be required to pay 100% of all related costs to build the infrastructure and to be subsequently rebated for a prorated share of Brant County Power’s portion of subdivision costs at the time metered customers are connected based on the 25 year net present value calculation.

Note: In circumstances where a subdivision has restricted access ie. “gated” community, Brant County Power shall be granted convenient unrestricted access for meter reading and emergency response. Easements shall be provided for Brant County Power electrical distribution facilities at the customer’s expense.

Where Brant County Power constructs the subdivision electrical distribution facilities, at the Developer’s request:

- The developer shall pay a capital contribution determined using the 25 year net present value calculation, per appendix B of the Distribution System Code.

- All Utility costs associated with servicing the subdivision shall be included in the net present value calculation including basic services supplied by Brant County Power.  This method is required because the net present value of future revenues must be adequate to recover Brant County Power’s future cost of basic service as recovered through retail rates.

By including all costs and all revenue, the cost sharing between the Developer and Utility is fair and reasonable and in compliance to section 3 of the Distribution System Code.

- Any surplus of NPV revenue over costs accrues to the benefit of the Developer in reducing the amount of the capital contribution required.

- The Developer shall be required to pay a deposit equal to 100% of the Utilities estimated costs including the Utilities portion for basic services.

- The Developer shall be subsequently rebated for Brant County Power’s share of related capital works (per 25 year NPV calculation) at the end of the 5 years or when the last lot is connected, whichever comes first.

- It is reasonable to expect that a subdivision development will be completed within five years.  Any remaining portion of the calculated total rebate after five years from the start of electrical facilities construction is therefore not refundable.

Where the Developer constructs the subdivision electrical distribution facilities.

The Developer shall be reimbursed for Brant County Power’s share of the total subdivision cost based on a 25-year net present value calculation per appendix B of the Distribution System Code, subject to the following terms and conditions.

- All costs associated with servicing the subdivision shall be included in the “Net Present Value” calculation including basic services supplied by Brant County Power.  This method is required because the NPV of future revenues must be adequate to recover Brant County Power’s future cost of basic service as recovered through retail rates.

By including all costs and all revenue, the cost sharing between the Developer and Utility is fair and reasonable and in compliance to section 3 of the Distribution System Code.

- The total calculated rebate shall be divided by the number of individual metered residences to determine a rebate per residence.

- Rebates based on a 25 year Net Present Value calculation shall be paid to the developer as each lot is connected.

- It is reasonable to expect that a subdivision development will be completed within five years.  Any remaining portion of the rebate after five years from the start of electrical facilities construction is therefore not refundable.

2.1.2.3 	Rebates Related to Expansions

In scenarios where Brant County Power is required to install new plant solely for the connection of a Customer, the Customer will be required to pay Brant County Power 100% of the calculated shortfall. If within 5 years from the connection date, non-forecasted Customers are connected to this new plant without any further capital costs, non-forecasted Customers shall contribute their share and the first Customer may be entitled to a rebate as outlined in Brant County Power’s rebate process.

2.1.2.4	Supply Agreement and Securities

To keep Brant County Power harmless as a result of Brant County Power agreeing to reduce the amount of capital contribution required for the Expansion, the General Service Class customer shall enter into a Supply agreement and provide a security deposit to cover for the difference between the actual costs incurred by Brant County Power and the capital contribution(s) paid by the Customer. With each subsequent renewal of the security deposit, an amount equal to the actual incremental revenue collected since the in-service date shall reduce the Customer’s liability. The residual debt, if any, is due 25 years after the in-service date, or upon termination of the Supply Agreement. The obligation to pay any outstanding amount shall survive the termination of the Supply Agreement. An irrevocable (standby) letter of credit or a letter of guarantee from a chartered bank, trust company or credit union is acceptable in lieu of a cash deposit. This security deposit is in addition to any other charges or deposits that may be required by Brant County Power and is to be provided prior to the connection of service.

2.1.3	Connection Denial

The Distribution System Code sets outs the conditions for Brant County Power to deny connections. Brant County Power is not obligated to connect a building within its service area if the connection would result in any of the following:

- Contravention of existing laws of Canada and the Province of Ontario.

- Violations of conditions in Brant County Power’s Licence.

- Use of a distribution system line for a purpose that it does not serve and that Brant County Power does not intend to serve.

- Adverse effect on the reliability and safety of the distribution system.

- Public safety reasons or imposition of an unsafe work situation beyond normal risks inherent in the operation of the distribution system.

- A material decrease in the efficiency of Brant County Power’ s distribution system.

- A material adverse effect on the quality of distribution services received by an existing connection.

- Discriminatory access to distribution services.

- Potential increases in monetary amounts that already are in arrears with Brant County Power.

- If the person requesting the connection owes Brant County Power money for distribution services.

- If an electrical connection to Brant County Power’s distribution system does not meet Brant County Power’s design requirements.

- Any other conditions documented in Brant County Power's Conditions of Service document that are consistent with the conditions identified above and with the goals delineated in the Energy Competition Act, 1998.

If Brant County Power refuses to connect a building in its service area that lies along one of its distribution lines, Brant County Power shall inform the person requesting the connection of the reasons for the denial, and where Brant County Power is able to provide a remedy, make an offer to connect. If Brant County Power is unable to provide a remedy to resolve the issue, it is the responsibility of the customer to do so before a connection can be made.

2.1.4	Inspections Before Connections

All customer electrical installations shall be inspected and approved by the Electrical Safety Authority and must also meet Brant County Power’s requirements.  Brant County Power requires notification from the Electrical Safety Authority of this approval prior to energizing a Customer’s supply of electricity.    Services that have been disconnected for a period of six months or longer must also be re-inspected and approved by the Electrical Safety Authority prior to reconnection.

Temporary services, typically used for construction purposes and for a period of twelve months or less, must be approved by the Electrical Safety Authority and must be re-inspected should the period of use exceed twelve months.

Customer owned substations must be inspected by both the Electrical Safety Authority and Brant County Power.

Transformer rooms are not permitted by Brant County Power. All new underground installations must be padmount transformer type installation.

Duct banks shall be inspected and approved by Brant County Power prior to the pouring of concrete and again before backfilling. The completed ducts must be rodded by the site contractor in the presence of a Brant County Power inspector, and shall be clear of all extraneous material. A mandrel, appropriately sized, to nominal diameter of duct, will be supplied by the contractor and be passed through each duct. In the event of ducts blocked any extraneous material, the owner’s representative will be responsible for clearing the ducts prior to the cable installation.  Connection to existing concrete duct banks or manholes will be done only by an approved contractor.  All work done on existing duct banks must be authorized by Brant County Power and carried out in accordance with all applicable safety acts and regulations.

Provision for metering shall be inspected and approved by Brant County Power prior to energization.

2.1.5	Relocation of Plant

When requested to relocate distribution plant, Brant County Power may exercise its rights and discharge its obligations in accordance with existing acts, by-laws and regulations including the Public Service Works on Highways Act, formal agreements, easements and law. In the absence of existing agreements, Brant County Power is not obligated to relocate the plant. However, Brant County Power shall resolve the issue in a fair and reasonable manner. Resolution in a fair and reasonable manner may include a response to the requesting party that explains the feasibility or unfeasibility of the relocation and a fair and reasonable charge for relocation based on cost recovery principles.

2.1.6	Easements

To maintain the reliability, integrity and efficiency of the distribution system, Brant County Power has the right to have supply facilities on private property and to have easements registered against title to the property.  Easements are required whenever Brant County Power's underground or overhead plant is to be located on private property.

The Customer shall grant, at no cost to Brant County Power, where required, an easement to permit installation and maintenance of service.  The width and extent of this easement shall be determined by Brant County Power.   The easement shall be granted prior to energization of the service.

The Customer will prepare at its own cost a reference plan and associated easement documents to the satisfaction of Brant County Power's solicitor prior to its registration and registering of the easement plan. Details will be provided upon application for service.

2.1.7	Contracts

2.1.7.1	Contract for New or Modified Electricity Service

Brant County Power shall only connect a Building for a new or modified supply of electricity upon receipt by Brant County Power of a completed and signed contract for service in a form acceptable to Brant County Power, payment to Brant County Power of any applicable connection charge or security deposit, and an inspection and approval by the Electrical Safety Authority of the electrical equipment for the new service.

      - Implied Contract

In all cases, notwithstanding the absence of a written contract, Brant County Power has an implied contract with any Customer that is connected to Brant County Power’s distribution system and receives distribution services from Brant County Power. The terms of the implied contract are embedded in Brant County Power’s Conditions of Service, the Rate Handbook, Brant County Power’s rate schedules, Brant County Power’s licence, the Distribution System Code, the Standard Supply Service Code and the Retail Settlement Code, all as amended from time to time.

Any Person(s) who take or use electricity from Brant County Power shall be liable for payment for such electricity. Any implied contract for the supply of electricity by Brant County Power shall be binding upon the heirs, administrators, executors, successors or assigns of the Person(s) who took and/or used electricity supplied by Brant County Power.

In the absence of a contract for electricity with a tenant, or in the event the electricity is used by a person(s) unknown to Brant County Power, then the cost for electricity consumed by such person(s) is due and payable by the owner(s) of such property.

2.1.7.3	Special Contracts

Special contracts that are customized in accordance with the service requested by the Customer normally include, but are not necessarily limited to, the following examples:

- construction sites

- mobile facilities

- non-permanent structures

- special occasions, etc.

- generation

2.1.7.4	Connection Agreements

Brant County Power may require a Customer to enter into a Connection Agreement in a form acceptable to Brant County Power (Refer to the sample in the Distribution System Code – Appendix D)

An Embedded Generator and/or Embedded Retail Generator shall enter into a Connection Agreement in a form acceptable to Brant County Power (Refer to the Distribution System Code – Appendix E and F)

A Wholesale Market Participant shall enter into a Connection Agreement in a form acceptable to Brant County Power

An Embedded Distributor shall enter into a Connection Agreement in a form acceptable to Brant County Power (Refer to the Distribution System Code – Appendix G)

Brant County Power shall make a good faith effort to enter into a Connection Agreement with a distributor connected to the distributor’s distribution system in accordance with the requirements in the Distribution System Code issued by the Ontario Energy Board.

      - Payment by Building Owner

The owner of a building is responsible for paying for the supply of electricity except where a tenant or occupant has a supply contract with Brant County Power.

A building owner wishing to terminate the supply of electricity to their building must notify Brant County Power in writing. Until Brant County Power receives such written notice from the building owner, the building owner or the occupant(s), as applicable, shall be responsible for payment to Brant County Power for the supply of electricity to such building. Brant County Power may refuse to terminate the supply of electricity to an owner’s building when there are occupant(s) in the building (i.e. during certain periods of the winter).

      - Opening and Closing of Accounts

A Customer who wishes to open or close an account for the supply of electricity by Brant County Power shall contact Brant County Power’s office by phone, by written request (including requests submitted by facsimile), or other means acceptable to Brant County Power.

The Customer shall be responsible for payment to Brant County Power for the supply of electricity to the property up to the date Brant County Power is notified of the termination of the account.

2.2 Disconnection

Brant County Power reserves the right to disconnect the supply of electrical energy for causes not limited to:

- Contravention of the laws of Canada or the Province of Ontario.

- Adverse effect on the reliability and safety of the distribution system.

- Imposition of an unsafe worker situation beyond normal risks inherent in the operation of the distribution system.

- A material decrease in the efficiency of the distributor's distribution system.

- A materially adverse effect on the quality of distribution services received by an existing connection.

- Discriminatory access to distribution services.

- Inability of Brant County Power to perform planned inspections and maintenance.

- Failure of the Consumer or Customer to comply with a directive of Brant County Power that Brant County Power makes for purposes of meeting its licence obligations.

- Overdue amounts payable to Brant County Power for the distribution or retail of electricity.

- Electrical disturbance propagation caused by Customer equipment that are not corrected in a timely fashion.

- Any other conditions identified in this Conditions of Service document.

Brant County Power may disconnect the supply of electricity to a Customer without notice in accordance with a court order, or for emergency, safety or system reliability reasons or at the direction of the Electrical Safety Authority.

2.2.1 	Disconnection and Reconnection – Process and Charges

Immediately following the due date, steps will be taken to collect the full amount of the bill. If the bill is still unpaid twenty-one calendar days after the due date (including seven calendar days after a disconnect notice has been given to the Customer), the service may be disconnected and not restored until satisfactory payment arrangements have been made, including costs of reconnection. Such discontinuance of service does not relieve the Customer of the liability for arrears or minimum bills for the balance for the term of contract, nor shall Brant County Power be liable for any damage to the Customer’s premises resulting from such discontinuance of service. Disconnect notices will be in writing and if given by mail should be deemed to be received on the third business day after mailing.

Upon discovery that a hazardous condition or disturbance propagation (feedback) exists, Brant County Power will notify the Customer to rectify the condition at once. In case the Customer fails to make satisfactory arrangements to remedy the condition within seven calendar days after a disconnect notice has been given to the Customer, the service may be disconnected and not restored until satisfactory arrangements to remedy the condition have been made. Brant County Power shall not be liable for any damage to the Customer’s premises resulting from such discontinuance of service. Disconnect notices will be in writing and if given by mail shall be deemed to be received on the third business day after mailing.

Upon receipt of a Disconnection request by the Customer, Brant County Power may disconnect and/or remove Brant County Power’s connection assets at the Customer’s cost.

2.2.2 	Unauthorized Energy Use

Brant County Power reserves the right to disconnect the supply of electrical energy to a Customer for causes not limited to energy diversion, fraud or abuse on the part of the Customer. Such service may not be reconnected until the Customer rectifies the condition and provides full payment to Brant County Power including all costs incurred by Brant County Power arising from unauthorized energy use, including inspections, repair costs, and the cost of disconnection and reconnection.

2.3	Conveyance of Electricity

    - Limitations on the Guarantee of Supply

Brant County Power will endeavor to use reasonable diligence in providing a regular and uninterrupted supply but does not guarantee a constant supply or the maintenance of unvaried frequency or voltage and will not be liable in damages to the Customer by reason of any failure in respect thereof.

Customers requiring a higher degree of security than that of normal supply are responsible to provide their own back-up or standby facilities.  Customers may require special protective equipment on their premises to minimize the effect of momentary power interruptions.

Customers requiring a three-phase supply should install protective apparatus to avoid damage to their equipment, which may be caused by the interruption of one phase, or non-simultaneous switching of phases of the Distributor’s supply.

During an emergency, Brant County Power may interrupt supply to a Customer in response to a shortage of supply, or to effect repairs on the distribution system, or while repairs are being made to Customer-owned equipment.

Brant County Power shall have rights to access to a property in accordance with section 40 of the Electricity Act, 1998 and any successor acts thereto.

To assist with distribution system outages or emergency response, Brant County Power may require a Customer to provide Brant County Power with emergency access to Customer-owned distribution equipment that normally is operated by Brant County Power or Brant County Power-owned equipment on Customer’s property.

    - Power Quality

      - Power Quality Testing

In response to a Customer power quality concern, where the utilization of electric power affects the performance of electrical equipment, Brant County Power or a designated contractor will perform investigative analysis to identify the underlying cause. Depending on the circumstances, this may include review of relevant power interruption data, trend analysis, and/or use of diagnostic measurement tools.

Upon determination of the cause resulting in the power quality concern, where it is deemed a system delivery issue and where industry standards are not met, Brant County Power may recommend and/or take appropriate mitigation measures. If Brant County Power is unable to correct the problem due to the impact on other Customers, then it is not obligated to make the corrections. Brant County Power will use appropriate industry standards (such as IEC or IEEE standards) as a guideline. If the problem lies on the Customer side of the system, Brant County Power may seek reimbursement for the time spent in investigating the problem.

If an undesirable system disturbance is being caused by Customer's equipment, the Customer will be required to cease operation of the equipment until satisfactory remedial action has been taken. If the Customer does not take such action within a reasonable time, Brant County Power may disconnect the supply of power to the Customer.

It is the responsibility of the Customer to provide protection from voltage variations and transient operations.

2.3.2.2	Prevention of Voltage Distortion on Distribution

Customers having non-linear load shall not be connected to Brant County Power’s distribution system unless power quality is maintained by implementing proper corrective measures such as installing proper filters, and/or grounding. Further, to ensure the distribution system is not adversely affected, power electronics equipment installed must comply with IEEE Standard 519-1992. The limit on individual harmonic distortion is 3%, while the limit on total harmonic distortion is 5%.

2.3.2.3 	Obligation to Help in the Investigation

If Brant County Power determines the Customer’s equipment may be the source causing unacceptable harmonics, voltage flicker or voltage level on Brant County Power’s distribution system, the Customer is obligated to help Brant County Power by providing required equipment information, relevant data and necessary access for monitoring the equipment.

2.3.2.4 Timely Correction of Deficiencies

If an undesirable system disturbance is being caused by Customer's equipment, the Customer will be required to cease operation of the equipment until satisfactory remedial action has been taken by the Customer at the Customer’s cost.  If the Customer does not take such action within a reasonable time, Brant County Power may disconnect the supply of power to the Customer.

      - Notification for Interruptions

Although it is Brant County Power’s policy to minimize inconvenience to Customers it is necessary to occasionally interrupt a Customer’s supply to allow work on the electrical system.  Brant County Power will endeavour to provide such Customers with reasonable notice of planned power interruptions.  However, interruption times may change due to inclement weather or other unforeseen circumstances.

Brant County Power shall not be liable in any manner to such Customers for failure to provide such notice of planned power interruptions or for any change to the schedule for planned power interruptions.

Notice may not be given where work is of an emergency nature involving the possibility of injury to persons or damage to property or equipment.

During an emergency, Brant County Power may interrupt supply to a Customer in response to a shortage of supply or to effect repairs on Brant County Power’s distribution system or while repairs are being made to Customer-owned equipment.

      - Notification to Customers on Life Support

Customers who require an uninterrupted source of power for human life support equipment must provide their own equipment for these purposes. Customers with life support system are encouraged to inform Brant County Power of their medical needs and their available backup power. These Customers are responsible for ensuring that the information they provide Brant County Power is accurate and up-to-date.

With planned interruptions, the same procedure as prescribed in section 2.3.2.5 will be observed. For those unplanned power interruptions that extend beyond two hours and the time expected to restore power is longer than what was indicated by Customers (registered on life support) as their available backup power, Brant County Power will endeavor to contact these Customers but will not be liable in any manner to the Customers for failure to do so.

      - Emergency Interruptions for Safety

Brant County Power will endeavor to notify Customers prior to interrupting the supply to any service. However, if an unsafe or hazardous condition is found to exist, or if the use of electricity by apparatus, appliances, or other equipment is found to be unsafe or damaging to Brant County Power or the public, service may be interrupted without notice.

      - Emergency Service (Trouble Calls)

Brant County Power may exercise reasonable diligence and care to deliver a continuous supply of electrical energy to the Customer. However, Brant County Power cannot guarantee a supply that is free from interruption.

When power is interrupted, the Customer should first ensure that failure is not due to blown fuses or breakers within their premises. If there is a partial power failure outside of  normal business hours, the   Customer should obtain the services of an electrical contractor to carry out necessary repairs. If, on examination, it appears that Brant County Power’s main source of supply has failed, the Customer should report these conditions to Brant County Power.

Brant County Power operates a 24-hour a day phone line to provide emergency service to Customers. Brant County Power will initiate restoration efforts as rapidly as practicable.

      - Outage Reporting

Depending on the outage, duration and the number of Customers affected, Brant County Power may issue a news release to advise the general public of the outage. In turn, news radio stations may call for information on a 24-hour basis when they hear of an outage.

    - Electrical Disturbances

Brant County Power shall not be held liable for the failure to maintain supply voltages within standard levels due to Force Majeure as defined in Section 2.3.5 of the Conditions.

Voltage fluctuations and other disturbances can cause flickering of lights and other serious difficulties for Customers connected to Brant County Power’s distribution system. Customers must ensure that their equipment does not cause disturbances such as harmonics and spikes that might interfere with the operation of adjacent Customer equipment. Equipment that may cause disturbances include large motors, welders and variable speed drives, etc. In planning the installation of such equipment, the Customer must consult with Brant County Power.

Some types of electronic equipment, such as video display terminals, can be affected by the close proximity of high electrical currents. Brant County Power may assist in attempting to resolve any such difficulties at the Customer’s expense.

Customers who may require an uninterrupted source of power supply or a supply completely free from fluctuation and disturbance must provide their own power conditioning equipment for these purposes.

2.3.4	Standard Voltage Offerings

2.3.4.1 	Primary Voltage

The primary voltage to be used will be determined by Brant County Power for both Brant County Power-owned and Customer-owned transformation.  Depending on what voltage of the plant that “lies along”, the preferred primary voltage will be at 27.6/16 kV grounded wye, three phase, four-wire system.  However, in some areas the primary voltage will be 8.3/4.8 kV or 4.16/2.4 kV grounded wye, three phase, four wire.

2.3.4.2	Supply Voltage

Depending on what voltage of plant “lies along” Brant County Power’s distribution system, the preferred secondary voltage will be at 120/240 V, single phase, 120/208 V, three phase; and 347/600V, three phase.

The limit of supply capacity for any customer is governed by the supply voltage.  General guidelines for supply from overhead circuits are as follows:

- at 120/240 V, single phase up to 167 kVA demand load, or

  - 120/208 V, three phase, four wire or 347/600 V, three phase, four wire up to 300 kVA demand load.

OR

Where circuits are buried, the supply voltage and limits will be determined upon application to Brant County Power.

OR

Where the Customer or Developer provides a pad on private property:

- at 120/240 V, single phase, supply is available up to 100 kVA, or

ii)	at 120/208 V, three phase, four wire, supply is available for loads up to 1000 kVA demand load, or

OR

When the Customer requires voltages other than at the available Supply Voltage, or demands by a single occupant exceed 750 kVA, transformation requirements may be determined by Brant County Power.

2.3.5	Voltage Guidelines

Brant County Power maintains service voltage at the customer’s service entrance within the guidelines of C.S.A. Standard CAN3-C235-87 (latest edition), which allows variations from nominal voltage of,

5% for normal operating conditions

8% for extreme operating conditions

Definitions of these conditions are:

- Normal Operating Conditions.  Where voltages lie within the indicated limits under this heading no improvement or corrective action is required.  It is recognized that special situations may call for closer voltage control, but such cases are considered to be outside the application scope of this Standard; and

- Extreme Operating Conditions.  Where voltages lie outside the indicated limits for normal operating conditions but within the indicated limits for extreme operating conditions improvement or corrective action should be taken on a planned and programmed basis but not necessarily on an emergency basis.  Where voltages lie outside the indicated limits for extreme operating conditions, improvements or corrective action should be taken out on an emergency basis.  The urgency for such action will depend on many factors such as location and nature of load or circuit involved, extent to which limits are exceeded with respect to voltage levels and duration, etc.

Brant County Power shall practice reasonable diligence in maintaining voltage levels, but is not responsible for variations in voltage from external forces such as operating contingencies, exceptionally high loads and low voltage supply from the transmitter or host Distributor. Brant County Power shall not be liable for any delay or failure in the performance of any of its obligations under this Conditions of Supply due to any events or causes beyond the reasonable control of Brant County Power, including, without limitation, severe weather, flood, fire, lightning, other forces of nature, acts of animals, epidemic, quarantine restriction, war, sabotage, act of a public enemy, earthquake, insurrection, riot, civil disturbance, strike, restraint by court order or public authority, or action or non-action by or inability to obtain authorization or approval from any governmental authority, or any combination of these causes (“Force Majeure”).

    - Back-up Generators

Customers with portable or permanently connected emergency generation capability shall comply with all applicable criteria of the Ontario Electrical Safety Code and in particular, shall ensure that customer emergency generation does not back feed on Brant County Power’s system to the satisfaction of Brant County Power’s requirements.

Customers with permanently connected emergency generation equipment shall notify Brant County Power regarding the presence of such equipment.

    - Metering - General Information

Specifics to be determined further in Section 3.

Customers will provide a convenient and safe location, reserved solely for metering equipment with outside access, acceptable to Brant County Power and Electrical Safety Authority for the installation of Brant County Power revenue metering equipment, free of charge or rent.

Customers will allow, no one, except a properly identified employee or authorized agent of Brant County Power to remove, inspect or tamper with Brant County Power metering, service entrance equipment, or other plant located on the Customer’s premises.

Customers will allow Brant County Power employees and agents free access at all reasonable hours to Brant County Power meters, wires and other equipment.  Where safety or reliability of the electrical distribution system is at risk, free access will be required at all times.

All Brant County Power metering equipment located on the Customer’s premises is in the care and at the risk of the Customer.  If Brant County Power metering equipment is destroyed or damaged, other than by normal usage, it will be at the expense of the Customer to be repaired or replaced.

The Customer will provide and maintain all civil works on private property and other facilities to accommodate Brant County Power service equipment, as outlined further in the Service Sections of this manual.

      - General

Generally, metering will be at utilization voltage. Where Brant County Power provides primary transformation, primary voltage metering may be allowed only in special circumstances following full discussion with Brant County Power. However, primary transformation supplied and owned by the Customer must be primary-metered, unless the building qualifies for individual tenant metering.

The meter shall be located as near as possible to the service entrance box.

The meters shall be grouped where practical and be accessible from a public area. Either a dual locking arrangement or a key box arrangement will be required on the access door. In any case, a copy of the metering layout plan shall be forwarded to Brant County Power for review.

When a disconnect device has been locked and tagged in the "OFF" position by Brant County Power, under no circumstances shall anyone remove the lock and tag and energize it without first receiving approval from Brant County Power.

Regardless of any charges for metering installations, all revenue metering equipment shall remain the property of Brant County Power and maintenance of this equipment shall be Brant County Power responsibility.

2.3.7.2	Multi-Unit Sites

Residential Class customers in multi unit town houses or condominiums shall be individual metered.

General Service class customers in multi unit sites shall be individual metered.  Central metering or bulk metering may be allowed under special circumstances.

2.3.7.3	Interval Metering

Interval meters will be installed for all new or upgraded services where the peak demand is forecast to be 500 kW or greater, or for any Customer wishing to participate in the spot market pass-through pricing. Prior to the installation of an interval meter, the Customer must provide a ½ inch conduit from their telephone room to the meter cabinet and will arrange for the installation of a telephone line, terminated in the meter cabinet for the exclusive use of Brant County Power to retrieve interval meter data. The Customer will be responsible for the installation and ongoing monthly costs of operating the phone line. The phone line will be direct dial voice quality, active 24 hours per day, and energized prior to meter installation.

All Customers that request interval metering shall compensate Brant County Power for all incremental costs associated with that meter, including the capital cost of the interval meter, installation costs associated with the interval meter, ongoing maintenance (including allowance for meter failure), verification and reverification of the meter, installation and ongoing provision of communication line or communication link with the Customer' s meter, and cost of metering made redundant by the Customer requesting interval metering.

2.3.7.4	Meter Reading

The Customer must provide or arrange free, safe and unobstructed access during regular business hours to any authorized representative of Brant County Power for the purpose of meter reading, meter changing, or meter inspection. Where premises are closed during Brant County Power’s normal business hours, the Customer must, on reasonable notice, arrange such access at a mutually convenient time.

2.3.7.5	Final Meter Reading

When a service is no longer required, the Customer shall provide sufficient notice of the date the service is to be discontinued so that Brant County Power can obtain a final meter reading as close as possible to the final reading date. The Customer shall provide access to Brant County Power or its agents for this purpose. If a final meter reading is not obtained, the Customer shall pay a sum based on an estimated demand and/or energy for electricity used since the last meter reading.

      - Faulty Registration of Meters

Metering electricity usage for the purpose of billing is governed by the Federal Electricity and Gas Inspection Act and associated regulations, under the jurisdiction of Measurement Canada, Industry Canada. Brant County Power's revenue meters are required to comply with the accuracy specifications established by the regulations under the above Act.

In the event of incorrect electricity usage registration, Brant County Power will determine the correction factors based on the specific cause of the metering error and the Customer's electricity usage history. The Customer shall pay for all the energy supplied a reasonable sum based on the reading of any meter formerly or subsequently installed on the premises by Brant County Power, due regard being given to any change in the characteristics of the installation and/or the demand. If Measurement Canada, Industry Canada determines that the Customer was overcharged, Brant County Power will reimburse the Customer for the amount incorrectly billed.

If the incorrect measurement is due to reasons other than the accuracy of the meter, such as incorrect meter connection, incorrect connection of auxiliary metering equipment, or incorrect meter multiplier used in the bill calculation, the billing correction will apply for the duration of the error. Brant County Power will correct the bills for that period in accordance with the regulations under the Electricity and Gas Inspection Act.

2.3.7.7	Meter Dispute Testing

Metering inaccuracy is an extremely rare occurrence. Most billing inquiries can be resolved between the Customer and Brant County Power without resorting to the meter dispute test.

Either Brant County Power or the Customer may request the service of Measurement Canada to resolve a dispute. If the Customer initiates the dispute, Brant County Power may charge the Customer a meter dispute fee if the meter is found to be accurate and Measurement Canada rules in favor of Brant County Power.

  - Tariffs and Charges

2.4.1 	Service Connection

Charges for distribution services are made as set out in the Schedule of Rates available from Brant County Power. Notice of Rate revisions shall be published in major local newspapers. Information about changes will also be mailed to all Customers with the first billing issued at revised rates.

2.4.1.1 	Customers Switching to Retailer

There are no physical service connection differences between Standard Service Supply (SSS) Customers and third party retailers’ Customers. Both Customer energy supplies are delivered through the local Distributor with the same distribution requirements. Therefore, all service connections requirements applicable to the SSS Customers are applicable to third party retailers’ Customers.

    - Energy Supply

The Ontario Energy Board approves all Brant County Power Inc. Service and connection rates, which are listed in the current “Schedule of Rates and Charges”.

In addition to the monthly service charge for distribution services, the distribution volumetric charge, and competitive electricity charges, miscellaneous charges include:

- New Account set-up fee;

- returned cheque;

- collection visit;

- reconnection after hours;

- reconnection during regular working hours;

- Secondary Service installation;

- Temporary Service installation;

- pole relocation;

- arrears certificates;

- credit check fee;

- overdue account interest charges;

- street lighting;

- cogeneration charges;

- transformers;

- various equipment rentals; and

- service calls.

      - Standard Service Supply (SSS)

Brant County Power will provide Standard Supply Service. Standard Supply Service is the electricity that the Customer will automatically be provided with if he or she chooses NOT to sign with an electricity retailer.  The cost of the commodity will be charged to consumers on a pass-through basis.

      - Retailer Supply

Customer transferring from Standard Service Supply (SSS) to a retailer shall comply with the Service Transfer Request (STR) requirements as outlined in sections 10.5 through 10.5.6 of the Retail Settlement Code.

All requests shall be submitted as electronic file and transmitted through an EBT (electronic business transaction).  Service Transfer Request (STR) shall contain information as set out in section 10.3 of the Retail Settlement Code.

If the information is incomplete, Brant County Power shall notify the Retailer or Customer about the specific deficiencies and await a reply before proceeding to process the transfer.

      - Wheeling of Energy

All Customers considering delivery of electricity through the Brant County Power distribution system are required to contact Brant County Power for technical requirements and applicable tariffs.

    - Security Deposits

The following outlines the security deposit requirements of a customer who is not billed by a competitive retailer under the retailer-consolidated billing method, as outlined in the Distribution System Code.

# For Residential Customers

The form of payment of a security deposit for residential customers shall be in the form of cash, cheque, certified cheque, or debit transaction.

The maximum amount of a security deposit will be calculated as follows:

“billing cycle factor”    x 	“estimated bill based on the customer’s avg. monthly load with BCP during the most recent 12 consecutive months within the last 2 years”

OR

“If actual load data is unavailable, a reasonable	estimate of the average monthly load is acceptable”

The billing cycle factor for BCP is 2.5.  This factor is based on BCP’s billing frequency, which is monthly.

Every customer’s security deposit shall be reviewed at least once in a calendar year.  This review will determine whether the entire amount of the security deposit is to be returned, retained, or whether the amount is to be adjusted based on a re-calculation of the maximum amount.

If BCP determines some or all of the security deposit is to be returned to the customer, BCP will promptly do so by crediting their BCP account, or by another mutually agreeable method.

If BCP determines the security amount needs to be adjusted upwards BCP will require the customer to pay this additional amount at the same time as the customer’s next regular bill comes due.

A security deposit shall be returned when a customer proceeds to close their account with BCP.  The amount will be used to offset any amount owing by the customer to BCP.  If the customer moves from one location to another within BCP’s service territory the security deposit plus any applicable interest will be transferred to the new location.

Interest shall accrue monthly on security deposits made by way of cash or cheque, starting after the entire deposit is obtained.  The interest rate shall be at the Prime Business Rate, less 2 percent, which is updated quarterly.  The interest shall be paid out at least once every twelve (12) months or on return or application of the security deposit or closure of the account, whichever comes first, and may be paid by crediting the account of the customer or otherwise.

At the discretion of BCP the security deposit may be waived provided the residential customer meets the following requirements:

- Has a Good Payment History (GPH) of 1 year.  The review period must be the most recent period of time and, some of the time period must have occurred within the previous 24 months or,

Provides a reference letter from another Local Distribution Company (LDC), or gas distributor in Canada confirming GPH for the most recent relevant time period as outlined or,
A residential customer may provide a satisfactory credit check, at their own expense.

Plus:

- Provides two major pieces of identification, one of which must be photo ID.

- Accurately completes the appropriate Application for Service. (Tenant or Homeowner)

BCP will allow thirty days to supply a letter of reference.  If the letter of reference is not received or does not reflect a GPH a security deposit will then be required.

A customer may be allowed to provide the security deposit in equal installments paid over a four (4) month period.  A customer may choose to pay the security deposit over a shorter time period.  If a customer defaults on payment arrangements they will be subjected to our collection process. This non-compliance can lead to the electrical service being disconnected.

A customer is deemed to have a GPH during the relevant time period, unless they have:

-received more than one(1) “Door Hanger”

-received more than one (1) “Disconnection Notice”

-issued more than one (1) NSF cheque

-issued more than one (1) NSF pre-authorized payment

A customer must apply in writing to request BCP to undertake a review to determine whether a portion or the entire amount of the security deposit is to be returned to the customer.  The customer must meet all qualifying criteria to be eligible for any refund.

A customer, no earlier than 12 months after payment of a security deposit or making of a prior demand for review, request a review of their account to determine eligibility for a refund.

# For Non-Residential Customers

This group is divided into the following:

-<50kW demand rate class

->50kW demand rate class

The form of payment of a security deposit for non-residential customers shall be in the form of cash, cheque or an automatically renewing, irrevocable letter of credit from a bank as defined in the Bank Act, 1991, c46.

The maximum amount of a security deposit will be calculated as follows:

“billing cycle factor”    x 	“estimated bill based on the customer’s avg. monthly load with BCP  during the most recent 12 consecutive months within the last 2 years”

or,

“If actual load data is unavailable, a reasonable	estimate of the average monthly load is acceptable”

The billing cycle factor for BCP is 2.5.  This factor is based on BCP’s billing frequency, which is monthly.

Every customer’s security deposit shall be reviewed at least once in a calendar year.  This review will determine whether the entire amount of the security deposit is to be returned, retained, or whether the amount is to be adjusted based on a re-calculation of the maximum amount.

If BCP determines some or all of the security deposit is to be returned to the customer, BCP will promptly do so by crediting their BCP account, or by another mutually agreeable method.  Full return does not apply to those customers who are in the >5000kW rate class.  If BCP determines they are now in a position that it would be exempt from paying a deposit, BCP is only required to return 50% of the security deposit being held.

If BCP determines the security amount needs to be adjusted upwards BCP will require the customer to pay this additional amount at the same time as the customer’s next regular bill comes due.

A security deposit shall be returned when a customer proceeds to close their account with BCP.  The amount will be used to offset any amount owing by the customer to BCP.  If the customer moves from one location to another within BCP’s service territory the security deposit plus any applicable interest will be transferred to the new location.

Interest shall accrue monthly on security deposits made by way of cash or cheque, starting after the entire deposit is obtained.  The interest rate shall be at the Prime Business Rate, less 2 percent, which is updated quarterly.  The interest shall be paid out at least once every twelve (12) months or on return or application of the security deposit or closure of the account, whichever comes first, and may be paid by crediting the account of the customer or otherwise.

At the discretion of BCP the security deposit may be waived provided the non-residential customer meets the following requirements:

- Provides two major pieces of identification, one of which must be photo ID, if applicable.

- Accurately completes the Application for Service (Business).

- Has a Good Payment History (GPH) of:

5 years for customers in the <50kW rate class

7 years for customers in the >50kW rate class

The review period must be the most recent period of time and, some of the time period must have occurred within the previous 24 months or,

Provides a reference letter from another Local Distribution Company (LDC), or gas distributor in Canada confirming GPH for the most recent relevant time period as outlined or, 
A customer, other than a customer in a >5000kW or <50kW demand rate class, may provide a satisfactory credit check at their own expense.

Provided the credit rating is from a recognized agency, the maximum amount of a security deposit, which the distributor may require to pay, shall be reduced in accordance with the following table.

| Credit Rating (Using Standard and Poor’s Rating Terminology) | Allowable Reduction in Security Deposit |
| --- | --- |
| AAA- and above or equivalent | 100% |
| AA-, AA, AA+ or equivalent | 95% |
| A-, From A, A+ to below AA or equivalent | 85% |
| BBB-, From BBB, BBB+ to below A or equivalent | 75% |
| Below BBB- or equivalent | 0% |

BCP will allow thirty days to supply a letter of reference.  If the letter of reference is not received or does not reflect a GPH a security deposit will then be required.

A customer may be allowed to provide the security deposit in equal installments paid over a four (4) month period.  A customer may choose to pay the security deposit over a shorter time period.  If a customer defaults on payment arrangements they will be subjected to our collection process. This non-compliance can lead to the electrical service being disconnected.

A customer is deemed to have a GPH during the relevant time period, unless they have:

-received more than one(1) “Door Hanger”

-received more than one (1) “Disconnection Notice”

-issued more than one (1) NSF cheque

-issued more than one (1) NSF pre-authorized payment

A customer must apply in writing to request BCP to undertake a review to determine whether a portion or the entire amount of the security deposit is to be returned to the customer.  The customer must meet all qualifying criteria to be eligible for any refund.

A customer, no earlier than 12 months after payment of a security deposit or making of a prior demand for review, request a review of their account to determine eligibility for a refund.

    - Billing

Brant County Power may, at its option, render bills to its Customers on either a monthly, every two months, quarterly or annual basis.  Bills for the use of electrical energy may be based on either a metered rate or a flat rate, as determined by Brant County Power.

A Customer may elect aggregated billing for multiple services provided all of the following conditions are met:

- The premises and businesses are situated on one contiguous parcel of land i.e. not separated by public roadway.

- All premises are under one ownership

- The services are supplied at the same voltage

- The meters are of the interval type, allowing logical totalization of the coincident demands.  If interval meters are not already in place, the Customer will install the necessary equipment, at the Customer’s own cost, to Brant County Power specifications.

The Customer may dispute charges shown on the Customer’s bill or other matters by contacting and advising Brant County Power of the reason for the dispute.  Brant County Power will promptly investigate all disputes and advise the Customer of the results.

2.4.5	Payments and Overdue Account Interest Charges

Bills are rendered for energy services provided to the Customer.  Bills are payable in full by the due date; otherwise, overdue interest charges will apply.  Where the Customer on or before the due date has made a partial payment, the interest charge will apply only to the amount of the bill outstanding at the due date including arrears.

Outstanding bills are subject to the collection process and may ultimately lead to the service being discontinued.  Service will be restored once satisfactory payment has been made.  Discontinuance of service does not relieve the Customer of the liability for arrears.

Brant County Power shall not be liable for any damage on the Customer’s premises resulting from such discontinuance of service.  A reconnection charge will apply where the service has been disconnected due to non-payment.

The Customer will be required to pay additional charges for the processing of returned or rejected payments.

Customers will be required to pay additional charges, on request, which may arise from a variety of conditions such as:

Transfer Charge:  A change of occupancy charge will apply to all accounts taken over by a new Customer.

Collection Charge:  A collection charge will apply when an account is overdue and collection procedures are initiated.

Reconnection Charge:  A Consumer disconnected for non-payment shall be required to pay a reconnection fee.

Customer Information

A third party who is not a retailer may request historical usage information with the written authorization of the Customer to provide their historical usage information.

Brant County Power may provide information appropriate for operational purposes that has been aggregated sufficiently, such that an individual’s Customer information cannot reasonably be identified, at no charge to another distributor, a transmitter, the IMO or the OEB. Brant County Power may charge a fee that has been approved by the OEB for all other requests for aggregated information.

At the request of a Customer, Brant County Power may provide a list of retailers who have Service Agreements in effect within its distribution service area.  The list will inform the Customer that an alternative retailer does not have to be chosen in order to ensure that the Customer receives electricity and the terms of service that are available under Standard Supply Service.

Upon receiving an inquiry from a Customer connected to its distribution system, Brant County Power will either respond to the inquiry if it deals with its own distribution services or provide the Customer with contact information for the entity responsible for the item of inquiry, in accordance with chapter 7 of the Retail Settlement Code.

An embedded distributor that receives electricity from Brant County Power shall provide load forecasts or any other information related to the embedded distributor’s system load to Brant County Power, as determined and required by Brant County Power.  A Distributor shall not require any information from another Distributor unless it is required for the safe and reliable operation of either Distributor’s distribution system or to meet a Distributor’s licence obligations.

2.6	General Information

2.6.1	House, Equipment and Vessel Moving

All costs incurred by Brant County Power relating to the moving of a house, equipment or vessel, will be provided based on the proposed route and the dimensions of the house, equipment or vessel being moved.

A deposit based on the estimated cost, will be required prior to moving.

Any house, equipment or vessel moving may or may not be approved by Brant County Power.

All requests for house moving must be accompanied with proper permits and licences.  If the height of the house being moved is higher than provided for in the estimate, the move will be cancelled until a new estimate is done based on the actual height.

    - Customer Owned Primary Lines

Owners of private primary lines are encouraged to perform regular line maintenance and tree maintenance so that public safety and system reliability are not compromised.

To facilitate and encourage the maintenance of these lines, it is Brant County Power’s policy to provide one power interruption per year at no charge during regular working hours.

For power interruptions arranged on weekends and for times other than as outlined above, there will be a charge to offset the cost of overtime paid to Brant County Power crews.

The customer shall be charged for the full cost of service calls to restore service following a power outage if in the opinion of Brant County Power the outage was the result of inadequate line and tree maintenance.

2.6.3	Customer Owned Substations

Owners of private substations are encouraged to perform regular maintenance to the electrical equipment so that inconvenience to themselves and to other customers is not caused through equipment failure.

To facilitate and encourage the maintenance of this equipment, it is Brant County Power’s policy to provide one power interruption, at no charge, once each year at the Customer’s substation.  This no charge service will occur during normal working hours, Monday to Friday, 7:30 a.m. to 3:30 p.m., holidays excepted.

For power interruptions arranged on weekends and for times other than as outlined above, there will be a charge to offset the cost of overtime paid to Brant County Power crews.

Should a customer be required to operate their three phase load break switch, Brant County Power must be notified in advance of the operation.

SECTION 3 - CUSTOMER SPECIFIC

3.1	Residential Service

This section refers to the supply of electrical energy to residential Customers residing in detached or semi-detached dwelling units, as defined in the local zoning by-law.

3.1.1	General Information

There shall be only one service to a building except for semi-detached buildings. For semi-detached buildings with required fire separation, there may be two services.

Standard residential services will include all services up to and including 200 amp, 120/240 volt, (1) single phase, (3) three wire.  Large residential services will include all services up to and including 400 amp, 120/240 volt, (1) single phase, (3) three wire.  For new connections and upgrades, standard conductor size shall be #2 triplex for 100 Amp overhead service or # 1/0 triplex for 200 Amp overhead service.  For underground service, #3/0 AL shall be the standard. Underground conductor size for 400 Amp service to be in compliance to ESA (Electrical Safety Authority) and Brant County Power requirements.

Where revenue metering is located inside a residence, it will be relocated by the owner to the exterior of the building at the time of upgrading.

Infill residential services are those new residential services not considered to be part of a subdivision development.

Infill residential services may be installed underground.

Exceptionally long underground or overhead privately owned services shall be constructed to Electrical Safety Authority requirements in order to provide adequate secondary supply voltage.

Where upgrades are required to existing standard residential services, the upgrade will be allowed to remain overhead provided adequate ampacity standard conductor is available.

3.1.1.1		Secondary Services in Overhead Distribution Area

Where Brant County Power specifies that the building is in an overhead distribution area, the following shall apply:

- The maximum service entrance capacity that will be connected overhead is 400 amperes;

- The Customer is responsible for the supply and installation of the portion of the service beyond the first point of connection to customer-owned equipment;

- If a pole line or other attachments are required on the Customer’s property to support the service wires, these shall be supplied, installed and maintained by the Customer. This pole line shall be in accordance with the Electrical Safety Code;

- For services up to 30 meters the demarcation point shall be at the Customer’s stack.

- For services over 30 meters the customer shall own the secondary cables and the demarcation point shall be at Brant County Power’s transformer as connected by Brant County Power.

- The Customer is also responsible for the provision of pole or structure and dead-end terminations suitable for terminating the incoming aerial service, and any guying required to make it safe and serviceable.

- At the Customer’s request and where practical, secondary services 400 amperes and less may be installed underground to Brant County Power’s overhead distribution system. In this case the Customer, at his own expense, shall install the entire service from the service entrance at the building to Brant County Power’s distribution pole less an allowance for Utility supplied basic services. If there is no pole on the same side of the street as the building, then Brant County Power may provide one on the road right-of-way. Brant County Power may bring an overhead service to this pole. All work by the Customer must be in accordance to Brant County Power specifications and the Electrical Safety Code.  Restrictions may apply to avoid having customer owned underground conductor on the public road allowance.

        - Services Over Swimming Pools

The Ontario Electrical Safety Code allows electrical conductors to be located at adequate height above swimming pools. Brant County Power discourages this practice

3.1.1.2	New Infill

New infill shall be treated as a new customer as per section 3.1.1.1

3.1.1.3	Upgrades

Brant County Power may provide material, installation and labour for the upgrade of existing overhead standard residential services (maximum 30 meters) from the point of supply to the first attachment point on customer property.

Meter base minimum size requirement will be dictated as per main service capacity.

Where revenue metering is located inside a residence, it will be relocated by the owner to the exterior of the building at the time of upgrading.

      - Standard Underground Services (Secondary)

Standard underground secondary services will be terminated as shown on Brant County Power’s layout sheet.

Standard underground secondary services will be installed in either of the following manners:

Brant County Power Installed and Owned:  Brant County Power may supply, install and maintain conductor for new infill standard underground residential services from point of supply to meter location.  All material, labour, and installation costs (less an allowance for basic services) will be at the owner’s expense.  Cost of installation will be calculated by Brant County Power at the time of designing the customer service layout.

Standard underground conductor for services shall be 3/0 AL.  The total length of 3/0 AL underground cable may not exceed 80 metres in length, if 250 MCM is used length shall not exceed 100 metres.  All measurements are to initiate from point of transformation.

All meter bases will be of 200 Amp capacity and allow up to 250 MCM for underground cable connections.  The meter base to be used is “jumbo size” (18 x 12 x  4 7/8 inches) for underground services. For services greater than 200 Amp. Brant County Power is to be contacted for appropriate meter base specifications.

Note: Brant County Power may allow the customer to supply and install underground secondary service to Brant County Power specifications at the customer’s expense less a credit for Utility supplied basic services. At the customer’s expense, these facilities are subject to inspection by Brant County Power.

Customer Installed and Owned: All utility locates and permissions from the relevant road authority required for the trenching are the responsibility of the property owner, as is the proper location of the trench with regard to neighbouring properties.

Restrictions may apply to avoid having customer owned underground conductor on the public road allowance.

Customer supplied, installed and maintained conductor to be approved by the Electrical Safety Authority.

The trench must be inspected and approved by the Electrical Safety Authority.

Up to and including 200 Amp services with max 4/0 conductor, the customer is required to provide 2 inch PVC conduit, steel guard complete with steel straps, ¼ x 3 inch lag bolts and appropriate weather head for cover-up at the Utility pole.

Customer shall install one length of conduit, guard and associated cable on the pole.

Brant County Power will complete the installation of the supplied conduit and cable and make the necessary connections. The customer must supply sufficient conduit to reach to within 6 inches below the final secondary cable height.  Instances where 250 MCM conductor is used, customers are to provide 2 ½ inch conduit.

Connection at the weather head will be completed by Brant County Power and become the demarcation point.

A “jumbo” (18 x 12 x 4 7/8 inch) meter base is required for underground services.

Brant County Power will not consider themselves liable for any problems resulting from the cable size selected, or to be responsible for the detection and/or repair of any defects in the cable(s).

Voltage problems resulting from the cable selected is the responsibility of the owner.

At the customer’s request, Brant County Power may provide assistance to locate cable faults for a fee. The repair and/or replacement of damaged cables will remain the responsibility of the customer.

3.1.1.5  Large Residential Services (Secondary)

Refer to Section 3.2.1.3

3.1.1.6	Primary Residential Services (Standard & Large)

Refer to Section 3.2.1.4

3.1.2	Early Consultation and Notification

Well in advance of installation commencement, the Customer shall make a request for electrical service. Such request must provide adequate lead-time to permit acquisition of major materials. This shall apply for the installation of a new service and the upgrade of an existing service. At the time the request is made, the Customer shall submit the following:

New Residential Service:

- address (municipal address and street name);

- name of owner and electrician;

- a site plan to scale, showing the building in relation to existing and proposed property lines, any existing easements, other buildings, streets and driveways, and the location of other services, gas, telephone, water and cable T.V.;

- amperage of service required;

- preferred location of service entry as per Section 3.1.6 requirements;

- type of heat and any significant loads.

Upgrade of an Existing Residential Service:

- address (municipal address and street name);

- name of owner and electrician;

- amperage of service required;

- preferred location of service entry as per Section 3.1.6 requirements;

- type of heat and any significant loads.

Brant County Power will review the request and advise the Customer as to whether or not 
his / her request has been accepted or denied. If the request is denied, Brant County Power will give reasons for denying the request and offer assistance in modifying the proposed service.

The Customer or Brant County Power may request a site meeting to review the service. In consultation with the Customer, Brant County Power will make the final determination of where the service will connect to Brant County Power distribution system, the route that the service will take, and the location of the Service Entrance at the building.

3.1.3	Point of Demarcation

A residential customer delivery point is at the meter for underground installations if the conductor is owned and maintained by Brant County Power and the service stack for overhead installations. This supply point might be located on an adjacent property from which the Distributor has an authorized easement. In all cases the final delivery point will be the decision of the Distributor.

The location of supply (connection to the distribution system) service entrance point and meter base will be established through consultation with Brant County Power for both new and upgraded electrical services.  Failure to comply may result in relocation of the service at the owner's expense.

For customer supplied, installed and maintained conductor the point of supply is considered to be the connection point to Brant County Power distribution system. (ie. Brant County Power transformer for overhead secondary installation or weather head for underground secondary)

3.1.4	Access

Service locations requiring access to adjacent properties (mutual drives, narrow side setbacks, etc.) will require the completion of a legal easement and a "Letter of Permission" from the property owner(s) involved.

The Customer will provide unimpeded and safe access to the Distributor at all times for the purpose of installing, removing, maintaining, operating or changing metering and distribution equipment.

3.1.5	Metering

Meter sockets will be directly accessible from the street by Brant County Power staff and mounted on the exterior of the building within 10ft (3m) of the front face of the building and 5ft, 6in (1.68m) from final grade to centre of the meter.  Meter sockets will be installed ahead of (on the line side of) the main disconnect switch.  Meter sockets found to be inaccessible by Brant County Power will be relocated at the owners expense.

3.1.6	Inspection

All electrical installations inside the home and out to the delivery point must be inspected and approved in accordance with Brant County Power and Electrical Safety Authority requirements.  Brant County Power requires notification from the Electrical Safety Authority prior to energization.

Brant County Power requires a minimum (5) five days notification prior to date of energization.

3.2	General Service

Commercial buildings are defined as buildings which are used for purposes other than single family dwellings.

3.2.1	General Information

One single phase and/or one three phase general service per lot, per customer.

Where upgrades are required to existing general services, the upgrade may be allowed to remain overhead provided overhead conductor ampacity is available.

Brant County Power will supply, install and maintain all road crossing facilities.

General Service class customers shall pay all costs of providing service including upgrades.

Brant County Power shall maintain all services supplied and installed to the meter base by Brant Coun ty Power Inc.

The Customer shall own and maintain all services the customer installs

In circumstances where multiple services are installed to a general service customer, and one service is to be upgraded, the upgraded service will conform to one single phase and/or one three phase general service per lot, per customer.

3.2.1.1	Standard Overhead Services (Secondary)

Allowable limit will be maximum 400 amp, 120/240 volt, single (1) phase, three (3) wire, , 120/208 volt or 347/600 volt, three (3) phase, four (4) wire services.

For 400 amp 120/240 volt single phase services, the owner will supply and install a self contained meter base complete with a 4 Jaw transformer rated meter socket with self shorting CT link on left side and a 400 & 400:5, 3 wire bar type CT transformers.

APPROVED 400 AMP METER SOCKET

Micro Electric Cat #JS4A-4-400:5

Note:  Meter socket is adaptable to both overhead and underground services.

Connection of meter base to secondary service wires is the responsibility of the owner.

Where upgrades are required to existing general services, the upgrade will be allowed to remain overhead provided overhead conductor ampacity is available.

      - Standard Underground Services (Secondary)

Standard underground secondary services will be terminated as shown on Brant County Power’s layout sheet.

Standard underground secondary services will be installed in either of the following manners:

Brant County Power Installed: Brant County Power may supply, install and maintain conductor for new infill standard underground residential services from point of supply to meter location.  All material, labour, and installation by Brant County Power or its agent will be at the owner’s expense.  Cost of installation will be calculated by Brant County Power at the time of designing the customer service layout.

Standard underground conductor for services shall be 3/0 AL.  The total length of 3/0 AL underground cable may not exceed 80 metres in length, if 250 MCM is used length shall not exceed 100 metres.  All measurements are to initiate from point of transformation.

All meter bases will be of 200 Amp capacity and allow up to 250 MCM for underground cable connections.  The meter base to be used is “jumbo size” (18 x 12 x  4 7/8 inches) for underground services. For services greater than 200 Amp. Brant County Power is to be contacted for appropriate meter base and conductor specifications.

Customer Installed and Owned:  All utility locates and permissions from the relevant road authority required for the trenching are the responsibility of the property owner, as is the proper location of the trench with regard to neighbouring properties.

Restrictions may apply to avoid having customer owned underground conductor on the public road allowance.

Customer supplied, installed and maintained conductor and related material such as conduit, guards and weather head to be approved by the Electrical Safety Authority.

The trench must be inspected and approved by the Electrical Safety Authority.

Customers must also install one length of conduit, guard and associated cable on the pole.

Brant County Power will complete the installation of the supplied conduit and cable and make the necessary connections. The customer must supply sufficient conduit to reach to within 6 inches below the final secondary cable height and appropriate weather head.

The connection at the weather head shall be completed by Brant County Power and become the demarcation point.

A “jumbo” (18 x 12 x 4 7/8 inch)  meter base is required for underground services.

Brant County Power will not consider themselves liable for any problems resulting from the cable size selected, or to be responsible for the detection and/or repair of any defects in the cable(s).

Voltage problems resulting from the cable selected is the responsibility of the owner.

At the request of the customer, Brant County Power will locate cable faults for a fee, but the repair and/or replacement of damaged cables will remain the responsibility of the customer.

3.2.1.3	Large General Services (Secondary)

Where general services are required to be larger than 400 amps, the maximum allowable limit will be 600 Amp, 120/240 volt, (1) single phase, (3) three wire service.  The customer is to consult with Brant County Power regarding specifications.

All large general services are to be supplied, installed and maintained to Brant County Power and Electrical Safety Authority specification and requirements at the customer’s expense.

For 400 amp 120/240 volt single phase services, the owner will supply and install a self contained meter base complete with a 4 Jaw transformer rated meter socket with self shorting CT link on left side and a 400 & 400:5, 3 wire bar type CT transformers.

APPROVED 400 AMP METER SOCKET

Micro Electric Cat #JS4A-4-400:5

Note:  Meter socket is adaptable to both overhead and underground  services.

Connection of meter base to secondary service wires is the responsibility of the owner.

3.2.1.4	Primary Services

General Information.  Where it is determined through consultation with Brant County Power that a primary supply is required, the customer will supply, install and maintain the service to Brant County Power and Electrical Safety Authority specifications and requirements at the owner’s expense. ESA Inspection documentation is to be provided to Brant County Power.

Customers will supply, maintain and retain ownership of primary and secondary cables, poles, anchors, terminations, grounding and transformer pads.

It is the customer’s responsibility to ensure that all transformers located on private property are kept clear of any obstacles in order to facilitate regular and emergency maintenance.

Any repairs completed on customer owned equipment will require Electrical Safety Authority approval before energization.

Underground.  Cables terminating on the supply pole will be, where applicable, rise on the opposite side of the flow of traffic.

Primary cables terminating on poles up to 45 feet require 45 feet of approved cable, poles in excess of 45feet will require consultation with Brant County Power

Customers must supply and install at their expense all ducts and underground cable to ESA requirements up to and including the first length of cable guard on Brant County Power pole. The customer is also required to supply additional guards to protect cable beyond the first length.

The underground cable is also to be terminated at the customers expense.

Brant County Power will complete the installation (cable and additional guards)  hi-pot the termination and cable and make the necessary connections at the demarcation point  at the customer’s expense.

Brant County Power may provide assistance to a fault locate for a fee  in order to assure restoration of service in a reasonable time frame subject to having required materials in stock.

Overhead.  The customer will supply, install and maintain the primary services from the demarcation point in compliance to Brant County Power and Electrical Safety Authority requirements.

Brant County Power will connect the primary cable at the demarcation point.

3.2.1.5	Transformation

General Information.   Transformation will be required to be installed within 10ft (3m) of an accessible road way capable of carrying heavy trucks.  This roadway is to facilitate the installation, repair or replacement of the transformer by Brant County Power approved personnel. This roadway when required will be installed and maintained by the customer.

Transformers up to 750 kVA will be supplied and installed by Brant County Power Transformers greater than 750 kVA will be customer owned. Connection to the distribution system must be in compliance to Utility specifications.

Primary Voltage supplied to padmount transformers or customer owned substations will be one of the following as determined by Brant County Power:

- 2400/4160 Volts – 3 phase, 4 wire

- 4,800/8,320 Volts - 3 phase, 4 wire

- 16,000/27,600 Volts - 3 phase, 4 wire

Dual voltage transformation will be required for primary voltages other than 16,000 Grd Y/27,600 volts, in order to facilitate voltage conversions.

When transformers are rated at or less than:

      - 167 kVA single (1) phase

      - 750 kVA three (3) phase

the transformers will be provided by Brant County Power.

3.2.2	Early Consultation

Prior to the establishing new general service details to a building or lot, Brant County Power will require the following information from the owner:

    - a grading and site plan showing the building(s) in relation to existing and proposed property lines, other buildings, streets and driveways, and the location of other sources, gas, telephone, and water;

    - a floor plan indicating unit numbers and corresponding service requirements;

    - amperage of main source and/or sub services;

    - voltage level;

    - metering requirements - individual or bulk;

    - a single line diagram showing the provision for metering facilities and a listing of all significant loads such as lighting, motors, cooling, heating, welders, etc.;

    - requested energization date;

- preferred location of electrical room, and routing of primary conductors.

Brant County Power will review the request and advise the Customer as to whether or not his / her request has been accepted or denied. If the request is denied, Brant County Power will give reasons for denying the request and offer assistance in modifying the proposed service.

The Customer or Brant County Power may request a site meeting to review the service. In consultation with the Customer, Brant County Power will make the final determination of where the service will connect to Brant County Power distribution system, the route that the service will take, and the location of the Service Entrance at the building.

3.2.3	Point of Demarcation

A general service customer delivery point is dependent on customer ownership in the applicable general service section.  For the purposes of this document, the point of supply will be:

- For customer owned conductor, the point of connection will be Brant County Power distribution system at the bottom of the switch on the Utility pole.

- For utility owned conductor, the point of connection will be the service attachment point and/or meter.

3.2.4	Supply Voltage

The service voltage will be established by the owner and will be one of the following:

      - 120/240 volts - 1 phase 3 wire (maximum 400 amp)

      - 120Y/208 volts - 3 phase 4 wire

      - 347Y/600 volts - 3 phase 4 wire

3.2.5	Underground Service

See Section 3.2.1 .1 through 3.2.1.4

3.2.6	Location of Transformers

The location of the supply point, primary cables, transformer, and metering will be established by Brant County Power through consultation with the customer for both new and upgraded services.  Failure to comply may result in relocation of the service at the owner's expense.

3.2.7	Supply of Equipment

The Distributor will supply, install and maintain equipment as specified in the applicable general service section.

The owner will supply, install and maintain equipment as specified in the applicable general service section.

3.2.8	Short Circuit Capacity

The Owner shall ensure that his service entrance equipment has an adequate short-circuit interrupting capability. Brant County Power will advise, on request, the maximum available short-circuit symmetrical in-rush Amperes at any specific location.

Customer’s protective equipment shall include:

27600/16000 Volt supply: 3 phase, short circuit rating of 835 MVA symmetrical.

8000/4800 Volt supply:     3 phase, short circuit rating of 500 MVA symmetrical.

4160/2400 Volt supply:     3 phase, short circuit rating of 250 MVA symmetrical.

600/347 and 208/120 Volt supply:      -        Available on request.

3.2.9	Access

Service locations requiring access to adjacent properties (mutual drives, narrow side setbacks, etc.) will require the completion of a legal easement and a "Letter of Permission" from the property owner(s) involved.

The Customer will provide unimpeded and safe access to the Distributor at all times for the purpose of installing, removing, maintaining, operating or changing metering and distribution equipment.

3.2.10	Metering

The owner will make provisions acceptable to Brant County Power for revenue metering equipment.

This provision could be one, or a combination of the following as established by Brant County Power for each service:

- appropriate meter socket; as specified further in this Section.

- a lockable metal enclosure, with removable back plate of dimensions; as specified further in this Section.

- a lockable compartment within metal enclosed switchgear to accommodate Brant County Power instrument transformers, as specified further in this Section.

Metering will be installed as per Revenue Metering Specifications as outlined further in this Section.

Prior to energization of service, Brant County Power will require notification of approval from the Electrical Safety Authority.

3.2.10.1	Revenue Metering Specifications

Brant County Power will install revenue meters, instrument transformers, test panels and all interconnecting wiring.

The owner will provide at his expense, as outlined further in this section:

- Space acceptable to Brant County Power, as outlined further in this section, for the installation of revenue metering equipment.

- Where metering equipment is required to be installed in a locked environment, the customer shall supply Brant County Power with a key.

- Facilities for attachment including meter sockets.

- A pad lockable metal enclosure with removable back plate.

- Installation of conduit for instrument wiring, where required.

- All metering installations and/or rooms must be inspected and approved by the Electrical Safety Authority to Brant County Power  requirements.

- All meters shall be grouped in a central location which is readily accessible to and approved by Brant County Power.

- If electrical service room is to be located above the main floor level, a stairway built in accordance with the Ontario Building Code shall be installed.

Note:  Ladders are not acceptable.

All locations accessible to the general public will have a lockable enclosure or room for the service equipment and meters provided by the	owner as follows:

- An electrical room;

- A metal metering cabinet approved by Brant County Power; or

- A metal enclosed switchgear approved by Brant County Power and the Electrical Safety Authority.

All locations will be clear and safe with working space of not less than 1.2m (48") in front of the equipment.

Where the possibility of danger exists to workmen, or damage to equipment from moving machinery, vibration, dust, fumes or moisture, protective arrangements shall be provided by the customer to the approval of Brant County Power.

3.2.10.2 Meter Socket Specifications

120/240V, single (1) phase three (3) wire services up to and including 200A require:

- A 4 JAW, square type meter socket base.

- To be installed on the load side of the disconnect switch supplying each individual service.

- Meter base shall be “jumbo’  (18 x 12  x 4 7/8 inch" ) for underground services.

120/240V, single (1) phase three (3) wire 400A service will require:

- A 4 Jaw 400 and 400:5, 3 wire, bar type current transformer rated meter base complete with self shorting device on the left side, 400:5 current transformers and twin covers suitable for 120/240V (1) single phase service is required.

APPROVED 400 AMP METER SOCKET

Micro Electric Cat #JS4-2

Note:  Services with suspected poor power factor will be required to install the appropriate meter facilities for metering both watt and kVA demand.

120/208V, two (2) phase with a neutral wire service up to and including 200A require:

- A 5 JAW, square type meter socket base (5th JAW to be installed in the 9 o'clock position).

- To be installed on the load side of the disconnect switch supplying each individual service.

600Y/347 or 208Y/120V, three (3) phase, four (4) wire services up to and including 200A require:

- A 7 JAW, square type meter socket base complete with an isolated neutral connection.

- 208Y/120V services meter sockets will be allowed to be installed on the exterior of the building on the load side of the disconnect switch.

- 600Y/347V services meter sockets are to be installed on the load side of the disconnect switch supplying each individual service.

Meter mounting height shall be 5'6" (1.68meters) from final grade to center of meter.

The customer/contractor shall permanently and legibly identify all metered services with respect to municipal address and/or unit #.  The identification shall apply to all disconnect switches, and meter mounting devices.

Services will not be connected unless service identification on the disconnect switches and meter mounting devices, correspondence with the appropriate addresses and/or unit #'s.  Owners of the multiple unit buildings are required to inform Brant County Power of any changes made to municipal address and/or unit #.

Where required by these conditions of supply, the owner shall supply, install and maintain a meter cabinet to Brant County Power specifications.

3.2.10.3	Commercial and Industrial Meter Cabinet Specifications

208Y/120V (3) three phase, four wire service over 200A require:

- Current Transformer Cabinet as outlined further in this Section.

600Y/347V (3) three phase, (4) four wire service over 200A require:

- Combination Current Transformer and Potential Transformer Cabinet as outlined further in this Section.

3.2.10.4	Meter Cabinet

The meter cabinet will be supplied to Brant County Power specifications at the customer’s expense.

If required, a voice grade telephone line is to be installed from customer’s main telecommunication panel to meter cabinet by the customer for Brant County Power remote interrogation.

3.2.10.5	Current Transformer Cabinet

36" (914mm)w x 36" (914mm)h x 10" (254mm)d  CEMA/NEMA-1 current transformer cabinet for services up to 800A.

Current transformer cabinet is to be complete with the provision for padlocking and a removable steel back plate.

Notes:

- Current transformer cabinet is to be installed on the load side of the main disconnect switch.

- Top of current transformer cabinet is to be mounted at a height of 6' (1828mm) from final grade.

- Current transformer cabinet location must not exceed a distance of 50' (15.2m) from the meter cabinet.

- The location of the indoor current transformer cabinet is to be readily accessible to and approved by Brant County Power.

- Electrical contractor to supply,, install and connect  conductor termination lugs for current transformers and appropriate size neutral.

- Removable back plate must be submitted to Brant County Power at least ten (10) working days prior to the date of energizing.

- 1 1/4" (32mm) PVC conduit to be installed in one continuous run from current transformer cabinet to meter cabinet complete with a minimum of 1/4" poly rope from current transformer to meter cabinet.  Access type fittings are not acceptable.

- Back plate to be marked, top line, and load for current transformer polarity.

- Line side conductors are to enter at center left and center right of current transformer cabinet.

3.2.10.6	 Combination Current Transformer and Potential Transformer Cabinet

36" (914mm)w x 36" (914mm)h x 10" (254mm)d  CEMA/NEMA-1 current transformer cabinet for services up to 800A.

Current transformer cabinet is to be complete with the provision for padlocking and a removable steel back plate.

Notes:

- Current transformer cabinet is to be installed on the load side of the main disconnect switch.

- Top of current transformer cabinet is to be mounted at a height of 6' (1828mm) from final grade.

- Current transformer cabinet location must not exceed a distance of 50' (15.2m) from the meter cabinet.

- The location of the indoor current transformer cabinet is to be readily accessible to and approved by Brant County Power.

- Electrical contractor to supply, install and connect conductor termination lugs for current transformers and appropriate size neutral.

- Removable back plate must be submitted to Brant County Power at least ten (10) working days prior to the date of energizing.

- 1 1/4" (32mm) PVC conduit to be installed in one continuous run from combination current transformer and potential transformer cabinet to meter cabinet.  Access type fittings are not acceptable.  The contractor is to install a minimum of 1/4" poly rope from current transformer to meter cabinet.

- Line side conductors are to enter at center left and center right of current transformer cabinet.

3.2.10.7	 Meter Enclosed Switchgear

The following regulations apply to the installation of instrument transformers and metering equipment within metal enclosed switchgear.

Brant County Power will, install revenue meters, instrument transformers, test panels and all interconnecting wiring.

The owner shall:

- Consult with Brant County Power regarding metering equipment to be provided, which may include:

-	potential transformers

-	current transformers

- Brant County Power will use Schlumberger MV-7 current transformers or

- similar bar type CT's for services up to  1200 amps (347/600V)

- terminal test block

- All metal enclosed switchgear metering compartments will be equipped with a neutral bus bar for provision of connecting metering equipment.

- Submit two (2) copies of the manufactures switchboard drawings for approval.  Drawing to indicate provisions for Brant County Power metering arrangement complete with dimensions.

- Install meter cabinet and conduit.

3.2.10.8 Instrument Transformers

Instrument transformers shall be supplied and installed by Brant County Power in a separate switchgear compartment on the load side of a main switch to permit removal or replacement of equipment.  The compartment door shall have provision for a Brant County Power padlock.

3.2.10.9	Meter Cabinet Specifications

Meter cabinet to be installed as outlined earlier in this Section.

3.2.10.10 Interval Demand

Brant County Power will install, at the owners expense, interval metering on all new 3 phase, 4 wire services, with a usage greater than 500kW.

A 13mm (1/2in.) conduit from the telephone entrance equipment and a 1 ML direct dial voice quality telephone line supplied and maintained by the Customer which is active 24 hours a day to the metering location extension jack which is mounted on the metering board. This phone line must be installed and functioning prior to the new service being energized.

A voice grade telephone line, for the purpose of remote interrogation, will be supplied by the customer .

Existing services will, at the owners expense, be considered for interval metering if a review of the customers usage for the previous year shows a consistent demand greater than 500kW.  A voice grade telephone line, for the purpose of remote interrogation, will be supplied by the customer.

3.3	General Services (Above 50 kW)

A customer classified as being over 50kW by is one that identified the billing system as registering over 50kW on a demand meter.

3.4	General Services (Above 1000 kW)

A customer is classified as being above a 1000kW if they have a service of 1200 amps (347/600 volts) or larger.

Customer Owned

Installations with a capacity larger than:

750 kVA three (3) phase

The transformers shall be supplied and installed by the owner to Electrical Safety Authority and Brant County Power requirements.

  - Net Metered Generators and Embedded Generation

Brant County Power will make net metering available to eligible generators in accordance with the Net Metering regulation, on a first come first served bass, unless the cumulative generation capacity from net metered generators equals one per cent of our peak load for our service area.  The customer will be billed in accordance with the Net Metering Regulations, provided that the net metered generator meets the requirements of section 2(2) of the Net Metering regulation.

Brant County Power will provide a connection to the distribution system where it is technically feasible for embedded generators for the purpose of selling energy or for load displacement within the customers premise.  The cost of the connection and related protection to assure the safety of the public, employees and security of the system will be charged to the customer.  The requirements for embedded generation are set out in the Embedded Generation Agreement, which must be signed between Brant County Power and the embedded generator.  Brant County Power and the Generator must comply with regulators relating to Generation.  Sufficient time (see section 2.1) must be provided to Brant County Power to respond to connection requests. Early consultation is encouraged.  Charges may apply for Utility backup support.

  - Embedded Market Participant

Embedded Market Participants are subject to the terms and conditions of the Independent Electricity Market Operator. Market participants are responsible for all LDC charges as approved by the Ontario Energy Board.

  - Embedded Distributor

The following terms and conditions apply to the connection of an Embedded Distributor.

    - Contact Information

The contact information will be reviewed annually. Each Party will notify each other by November 1 of each year to confirm or update such information. If either party proposes to make a change affecting the embedded connected point, then notice of such change will be given in writing. Such notice will be given a minimum of thirty (30) days prior to any planned implementation of the change. Any change will require the approval of both Parties.

The Customer acknowledges and agrees that Brant County Power  may provide any information provided by the Customer under the terms of the Standard Embedded Distributor Agreement to Brant County Power’s representatives, provided that Brant County Power:

- provides such information to only those of Brant County Power’s representatives who need to know the information; and

- has directed such representatives to use the information in accordance with the terms hereof.

    - Energy Supply

As the Host Distributor, Brant County Power reserves the right to limit the amount of energy that it agrees to supply the Customer at each embedded connection/delivery point, and this amount shall be agreed upon by both Parties.

The Customer shall notify and include Brant County Power in any discussion, planning and interconnection design of any proposed embedded generation facility that the Customer proposes to connect to its portion of the distribution system.

    - Billing

Brant County Power shall bill the Customer on a billing cycle each month for the provision of distribution services by Brant County Power, and for all other applicable charges approved or authorized by the Ontario Energy Board, pursuant to Brant County Power’s rate orders or any codes issues by the Ontario Energy Board.

Brant County Power shall settle non-competitive electricity services based on the rates approved by the Ontario Energy Board and by the requirements of the Retail Settlement Code. Brant County Power shall adjust the Customer’s usage by the applicable total loss factor for purposes of determining the Customer’s noncompetitive electricity costs.

If the Customer is not a Wholesale Market Participant, then Brant County Power shall provide revenue metering for the settlement and monthly billing of the Customer. If the Customer is or becomes a Wholesale Market Participant Distributor, then the Independent Market Operator shall settle the Customer’s monthly energy bill.

If the Customer is or becomes a Wholesale Market Participant Distributor, then the Corporation shall act as the default Metering Service Provider (MSP) and as such, enter into a Metering Service Provider Agreement with the Customer.

    - Ownership

All Brant County Power-owned equipment, including the revenue metering equipment and instrument transformers, shall continue to be vested in Brant County Power, unless the Parties have specified otherwise in the Embedded Distributor Agreement. (Note: presently Hydro One may own the wholesale metering installation.).

All Customer equipment and facilities shall continue to be vested in the Customer, unless the Parties have specified otherwise in the Embedded Distributor Agreement.

    - Assignment of Responsibility

The electrical distribution systems shall be under the operating control of a controlling authority at all times.

The responsibility for regular maintenance of equipment rests with the owner.

Brant County Power and the Customer shall ensure that only qualified persons perform the operation and maintenance of their respective electrical distribution systems.

Each Party shall be responsible for maintenance, protection and power quality of each Party’s portion of the shared distribution feeder that each party owns. Each Party shall ensure that its portion of the feeder has proper fault protection and voltage within proper limits.

Brant County Power and the Customer shall maintain their respective equipment in efficient condition with proper devices, according to electrical distribution utility standards. If, in the opinion of Brant County Power or the Customer, maintenance is not properly performed, the identifying Party will notify the other in writing.

    - Normal Operations

Control Authorities will inform each other at least seven calendar days in advance of any planned work which would have an effect on the other Parties electrical distribution systems. Applications for work involving load interruptions shall be initiated at least ten (10) calendar days in advance, to permit proper notification of other customers who would be interrupted for, and the co-ordination of, switching on the equipment under its control.

The control authority of the equipment under its control shall issue work protection on the equipment when work is done on that equipment. Each control authority is responsible for establishing a safe work environment, in accordance with industry standards, for their forces while carrying out planned or emergency maintenance.

Each Party is responsible for providing isolation at devices under their operating control to assist the other Party.

    - Communication

Communications between controlling authorities must be readily available to deal with routine and unforeseen system conditions.

The Controlling Authority of each Party agrees to communicate for the following reasons:

- For normal operating communications with regard to outage planning, work protection and switching, etc.

- Provide each other with information relative to prearranged outages, power

- interruptions or system problems which materially affect the supply of power to each others distribution system.

- Provide each other with information relative to feeder trips or recloser operations caused by equipment under each Parties ownership or control.

- Following an A (auto) / or A/R/A (auto/reslose/auto) during regular working hours Brant County Power’s Controlling Authority will not authorize the Hydro One Controlling Authority to reenergize a feeder owned by Brant County Power until contact has been made with the Customer’s Controlling Authority.

- Following an A/ or A/R/A after regular working hours, and if no “Hold Off” is in effect, Brant County Power has authorized the Hydro One Controlling Authority to allow one minute prior to attempting re-energization. After one attempt at re-energization, no further attempts to re-energize a feeder owned by Brant County Power will be made until contact has been made with the Customer and Hydro One. It will be the responsibility of the Hydro One Controlling Authority to contact Brant County Power’s Controlling Authority after hours.

- When a permanent fault occurs on a feeder which supplies Brant County Power and Customer load, the Brant County Power Controlling Authority will notify the Customer’s Controlling Authority during regular working hours, and the Customer’s Line Superintendent on call for after hours permanent faults. Once communication is established and the location of the fault is not known, Brant County Power and/or Customer staff will be dispatched to patrol their systems, and may assist each other in sectionalizing the faulted feeder.

Since Brant County Power and the Customer each own portions of, and share, a common feeder, both Parties agree to provide each other with the following information:

- Brant County Power shall provide the Customer with fault current information and protection settings of upstream protective devices.

- The Customer shall provide Brant County Power with load forecasting information.

- Brant County Power and the Customer agree to maintain phase balance within generally acceptable industry standards.

- Brant County Power and the Customer agree to adhere to generally acceptable standards pertaining to power quality and voltage levels on the section of feeder each Party owns.

- Brant County Power and the Customer agree to provide each other, on request, with maintenance schedules and records on the section of feeder each party owns.

    - Emergency Operations

Each Party will co-operate fully in case of emergencies in order to facilitate restoration of the system back to normal, and to permit the organization of possible repairs.

Switching agreements with Hydro One are in place to accommodate emergency restoration.

On the request of one Controlling Authority, the other Controlling Authority’s staff or agents will provide the required timely isolation of equipment as required for emergency switching, or to establish a Condition Guarantee.

    - Metering and Fault Protection

Brant County Power agrees to deliver electricity to the Customer’s distribution system through a bulk meter or interval meter for settlement purposes.

If the Customer is, or becomes, a Wholesale Market Participant Distributor registered with the Independent Market Operator, the Customer will be responsible for the wholesale metering installation(s) metering data as per the Ontario Market rules.

Brant County Power shall have read-only access to such wholesale metering installations.

The Parties shall act at all times in accordance with the Distribution System Code, for situations where Brant County Power or the Customer provides distribution services through a load transfer.

Brant County Power and the Customer shall each manage its own portion of a supply feeder, and ensure that its portion of the feeder has proper fault protection and voltage within proper limits in accordance with industry standards.

The owner of the feeder breaker would be responsible for maintaining appropriate relay settings for overall feeder protection, and both Brant County Power and the Customer would be responsible to provide the required information to accomplish this.

    - Costs

Once the request for connection has been approved, and upon receipt of a Purchase Order or equivalent from the Customer, Brant County Power shall prepare detailed engineering specifications for required system enhancements, obtain cost estimates for the specified work, and determine cost-sharing arrangements.

Brant County Power agrees to provide the Customer, in writing, a Project Description and Letter of Intent that includes:

1.	a description of the work to be performed by Brant County Power Inc.

2.	a summary of the work to be performed by the Customer

3. 	Brant County Power Inc.’s capital investment in the project; and

4.	the Customer’s financial contribution to the package.

Brant County Power Inc. shall only be liable to the Customer, and the Customer shall only be liable to Brant County Power Inc., for any damages which arise directly out of the willful misconduct or negligence:

- of Brant County Power Inc. in providing distribution services to the Customer;

- of the Customer in being connected to Brant County Power Inc.’s distribution system; or

- of Brant County Power Inc. or the Customer in meeting their respective obligations under the Distributed System Code, their licences, and any other applicable law.

# The Distributor-Customer agrees to take out liability insurance in the amount of

$5,000,000 to which the Corporation of the County of Brant on the Grand and Brant County Power Inc. are added as additional named insured, and to provide proof of such insurance.

Despite the above, neither Brant County Power Inc. nor the Customer shall be liable under any circumstances whatsoever for any loss of goodwill or for any indirect, consequential, incidental or special damages, including but not limited to punitive or exemplary damages, whether any of the said liability, loss or damages arise in contract, tort or otherwise notwithstanding the Customer financial contribution as per section 3.7.3.

    - Force Majeure

Subject to the items below, neither Party shall be held to have committee an event of default in respect of any obligation under the Embedded Distributor agreement if prevented from performing that obligation, in whole or in part, because of a force majeure event.

If a force majeure event prevents a Party from performing any of its obligation under the DSC and the Embedded Distributor agreement, that Party shall:

- promptly notify the other Party of the force majeure event and its assessment, in good faith, of the effect that the event will have on its ability to perform any of its obligations. If the immediate notice is not in writing, it shall be confirmed in writing as soon as reasonably practicable;

- not be entitled to suspend performance of any of its obligations under the

Embedded Distributor Agreement to any greater extent, or for any longer time, than the force majeure event requires it to do;

- use its best efforts to mitigate the effects of the force majeure event, remedy its inability to perform, and resume full performance of its obligations;

- keep the other Party continually informed of its efforts; and

- provide written notice to the other Party when it resumes performance of any obligations affected by the force majeure event.

Notwithstanding any of the foregoing, settlement of any strike, lockout or labour dispute constituting a force majeure event shall be within the sole discretion of the Party to the Embedded Distribution Agreement involved in the strike, lockout or labour dispute. The requirement that a Party must use its best efforts to remedy the cause of the force majeure event, mitigates its effects, and resume full performance under the Embedded Distributor Agreement and the DSC shall not apply to strikes, lockouts or labour disputes.

3.8	Unmetered Connections

    - Street Lighting

Street lighting is owned by the County of Brant and maintained by their authorized contractor, which may be Brant County Power Inc. Attachment of street lights to Brant County Power Inc.-owned poles and electrical supply to street lights is subject to approval of Brant County Power Inc.

The service to streetlights will be unmetered. Street lighting is supplied at a rate to be approved by the OEB. Energy consumption will be based on connected wattage information submitted by the Customer and calculated as per hours of use, subject to the approval of Brant County Power Inc. It is the responsibility of the Customer to report to Brant County Power Inc. in writing any change of consumption.

    - Other Small Services Traffic Control Signals

This section pertains to the supply of electrical energy to various traffic control signals and crosswalks telephone booths, cable T.V. amplifiers, bill boards and similar small- loads. The method of supply will vary and will be established for each application through consultation with Brant Coun ty Power Inc. Where transformation does not exist, it will be provided and considered an expansion of the system. A capital contribution may be required.

The service will be metered. This service will be classed as a General Service Customer under 50 kW. The rates charged will be as per Under 50 kW General Service Class, as approved by the Ontario Energy Board. Energy consumption will be based on connected wattage information submitted by the Customer and calculated as per hours of use. It is the responsibility of the Customer to report to Brant County Power Inc. in writing any change of consumption to the installation.

Service conductors will be supplied by the Road Authority. Prior to energization of service, Brant County Power Inc. will require connection authorization from the Electrical Safety Authority.

Where transformation does not exist, a contribution in aid of will be required.

Service conductors will be supplied by the owner.

Prior to energization of service, Brant County Power will require notification of approval from the Electrical Safety Authority.

3.9	Small Metered Connections

    - Temporary Services (Construction Power)

This section pertains to the supply of electrical energy on a temporary basis to facilitate construction work.  This includes pole mounted service equipment, trailers, cranes and similar applications.

Such services would be in place for a period of less than 12 months, extensions will be at the discretion of Brant County Power.

All other temporary services will be dealt with as general services outlined in Section 3.2.  For applicable charges refer to Section 5.

At the discretion of Brant County Power one or more temporary services may be provided for a construction project.

The nominal service voltage will be one of the following:

120/240 volts, 1 phase, 3 wire (Max. 200 amp)

120/208 volts, 3 phase, 4 wire (Max. 200 amp)

347/600 volts, 3 phase, 4 wire (Max. 400 amp)

The location of the service entrance point and metering details will be established through consultation with Brant County Power.  Failure to comply may result in modifications at the owner's expense.

The owner will pay the total cost of the temporary service installation and removal, prior to the commencement of any work being initiated by Brant County Power.

Primary or secondary pole lines required to be constructed on private property will be the responsibility of the customer.  All pole lines will be built in accordance to Ontario Electrical Safety Code and be approved by the Electrical Safety Authority.

The following information will be provided by the owner:

- requested energization and removal dates;

- amperage of service;

- preferred voltage;

- preferred point of service entrance;

- estimated kilowatt demand;

- a listing of all significant loads such as large motors;

- a site plan showing the location of the delivery point relative to lot lines and the street.

3.9.1.1	Metering

The owner will make provision, acceptable to Brant County Power, for revenue metering equipment.  The provision for metering could be one or a combination of the following as established by Brant County Power:

- approved meter sockets as outlined in Section 3.2.10;

- a lockable metal enclosure as outlined in Sections 3.2.10.

The metering equipment location will be agreed upon through consultation with Brant County Power.  The location allocated for Brant County Power metering equipment, shall be directly accessible to Brant County Power staff and shall be subject to satisfactory environmental conditions some of which are:

- safe and adequate working space not less than 1.2m (48") in front of equipment;

- protected against the adverse effects of moving machinery, vibration, dust, moisture or fumes.

Prior to energization of service, Brant County Power will require notification of approval the Electrical Safety Authority.  The service entrance and metering provision shall be inspected and accepted by Brant County Power prior to energization.

SECTION 4 - GLOSSARY OF TERMS

  - Definitions

Sources for Definitions:

A 	Electricity Act, 1998, Schedule A, Section 2, Definitions

MR 	Market Rules for the Ontario Electricity Market, Chapter 11, Definitions

TDL 	Transitional Distribution Licence, Part I, Definitions

TTL 	Transitional Transmission Licence, Part I, Definitions

DSC 	Distribution System Code Definitions

RSC 	Retail Settlement Code Definitions

“Accounting Procedures Handbook” means the handbook approved by the Board and in effect at the relevant time, which specifies the accounting records, accounting principles and accounting separation standards to be followed by the distributor; (TDL, DSC)

“Affiliate Relationships Code” means the code, approved by the Board and in effect at the relevant time, which among other things, establishes the standards and conditions for the interaction between electricity distributors or transmitters and their respective affiliated companies; (TDL, DSC)

“ancillary services” means services necessary to maintain the reliability of the IMO controlled grid; including frequency control, voltage control, reactive power and operating reserve services; (MR, TDL, DSC)

"apartment building" means a structure containing four or more dwelling units having access from an interior corridor system or common entrance;

"apparent power" means the total power measured in kiloVolt Amperes (kVA);

"application for service" means the agreement or contract with Brant County Power under which electrical service is requested;

“bandwidth” means a distributor’s defined tolerance used to flag data for further

scrutiny at the stage in the VEE (validating, estimating and editing) process where a current reading is compared to a reading from an equivalent historical billing period. For example, a 30 percent bandwidth means a current reading that is either 30 percent lower or 30 percent higher than the measurement from an equivalent historical billing period will be identified by the VEE process as requiring further scrutiny and verification; (DSC)

"billing demand" means the metered demand or connected load after necessary

adjustments have been made for power factor, intermittent rating, transformer losses and minimum billing. A measurement in kiloWatts (kW) of the maximum rate at which electricity is consumed during a billing period;

“Board” or “OEB” means the Ontario Energy Board; (A, TDL, DSC)

“building” means a building, portion of a building, structure or facility;

“complex metering installation” means a metering installation where instrument

transformers, test blocks, recorders, pulse duplicators and multiple meters may be employed; (DSC)

“Conditions of Service” means the document developed by a distributor in accordance with subsection 2.4 of the Code that describes the operating practices and connection rules for the distributor; (DSC)

“connection” means the process of installing and activating connection assets in order to distribute electricity to a Customer; (DSC)

“Connection Agreement” means an agreement entered into between a distributor and a person connected to its distribution system that delineates the conditions of the connection and delivery of electricity to that connection; (DSC)

“connection assets” means that portion of the distribution system used to connect a Customer to the existing main distribution system, and consists of the assets between the point of connection on a distributor’ s main distribution system and the ownership demarcation point with that Customer; (DSC)

“Consumer” means a person who uses, for the person’ s own consumption, electricity that the person did not generate; (A, MR, TDL, DSC)

“Customer” means a person that has contracted for or intends to contract for connection of a building. This includes developers of residential or commercial subdivisions; (DSC)

"demand" means the average value of power measured over a specified interval of time, usually expressed in kilowatts (kW). Typical demand intervals are 15, 30 and 60 minutes; (DSC)

“demand meter” means a meter that measures a Consumer’s peak usage during a specified period of time; (DSC)

"developer" means a person or persons owning property for which new or modified electrical services are to be installed;

“disconnection” means a deactivation of connection assets that results in cessation of distribution services to a Consumer; (DSC)

“distribute”, with respect to electricity, means to convey electricity at voltages of 50 kilovolts or less; (A, MR, TDL, DSC)

“distribution losses” means energy losses that result from the interaction of intrinsic characteristics of the distribution network such as electrical resistance with network voltages and current flows; (DSC)

“distribution loss factor” means a factor or factors by which metered loads must be multiplied such that when summed equal the total measured load at the supply point(s) to the distribution system; (RSC)

“distribution services” means services related to the distribution of electricity and the services the Board has required distributors to carry out, for which a charge or rate has been approved by the Board under section 78 of the Ontario Energy Board Act; (RSC, DSC)

“distribution system” means a system for distributing electricity, and includes any

structures, equipment or other things used for that purpose. A distribution system is comprised of the main system capable of distributing electricity to many Customers and the connection assets used to connect a Customer to the main distribution system; (A, MR, TDL, DSC)

“Distribution System Code” means the code, approved by the Board, and in effect at the relevant time, which, among other things, establishes the obligations of the distributor with respect to the services and terms of service to be offered to Customers and retailers and provides minimum technical operating standards of distribution systems; (TDL, DSC)

“distributor” means a person who owns or operates a distribution system; (A, MR,

TDL, DSC)

"duct bank" means two or more ducts that may be encased in concrete used for the purpose of containing and protecting underground electric cables;

“Electricity Act” means the Electricity Act, 1998, S.O. 1998, c.15, Schedule A; (MR, TDL, DSC)

“Electrical Safety Authority” or “ESA” means the person or body designated under the Electricity Act regulations as the Electrical Safety Authority;(A)

"electric service" means the Customer’s conductors and equipment for energy from Brant County Power; “embedded distributor” means a distributor who is not a wholesale market participant and that is provided electricity by a host distributor; (RSC, DSC)

“embedded generator” or “embedded generation facility” means a generator whose generation facility is not directly connected to the IMO-controlled grid but instead is connected to a distribution system; (DSC)

“embedded retail generator” means an embedded generator that settles through a distributor’s retail settlements system and is not a wholesale market participant; (DSC)

“embedded wholesale Consumer” means a Consumer who is a wholesale market participant whose facility is not directly connected to the IMO-controlled grid but is connected to a distribution system; (DSC)

“embedded wholesale generator” means an embedded generator that is a wholesale market participant; (DSC)

“emergency” means any abnormal system condition that requires remedial action to prevent or limit loss of a distribution system or supply of electricity that could adversely affect the reliability of the electricity system; (DSC)

“emergency backup” means a generation facility that has a transfer switch that isolates it from a distribution system; (DSC)

"energy" means the product of power multiplied by time, usually expressed in

kilowatt-hours (kWH);

“Energy Competition Act” means the Energy Competition Act, 1998, S.O. 1998, c. 15; (MR)

"energy diversion" means the electricity consumption unaccounted for but that can be quantified through various measures upon review of the meter mechanism, such as unbilled meter readings, tap off load(s) before revenue meter or meter tampering;

“enhancement” means a modification to an existing distribution system that is made for purposes of improving system operating characteristics such as reliability or power quality or for relieving system capacity constraints resulting, for example, from general load growth; (DSC)

apartments buildings supplied through one service (bulk-metered);

“generate”, with respect to electricity, means to produce electricity or provide

ancillary services, other than ancillary services provided by a transmitter or

distributor through the operation of a transmission or distribution system; (A, TDL, DSC)

“generation facility” means a facility for generating electricity or providing ancillary services, other than ancillary services provided by a transmitter or distributor through the operation of a transmission or distribution system, and includes any structures, equipment or other things used for that purpose; (A, MR, TDL, DSC)

“generator” means a person who owns or operates a generation facility; (A, R, TDL, DSC)

“geographic distributor,” with respect to a load transfer, means the distributor that is licenced to service a load transfer Customer and is responsible for connecting and billing the load transfer Customer; (DSC)

“good utility practice” means any of the practices, methods and acts engaged in or approved by a significant portion of the electric utility industry in North America during the relevant time period, or any of the practices, methods and acts which, in the exercise of reasonable judgment in light of the facts known at the time the decision was made, could have been expected to accomplish the desired result at a reasonable cost consistent with good practices, reliability, safety and expedition.  Good utility practice is not intended to be limited to the optimum practice, method, or act to the exclusion of all others, but rather to be acceptable practices, methods, or acts generally accepted in North America; (MR, DSC)

“host distributor” means the registered wholesale market participant distributor who provides electricity to an embedded distributor; (RSC, DSC)

"house service" means that portion of the electrical service in a multiple occupancy facility which is common to all occupants, (i.e. parking lot lighting, sign service, corridor and walkway lighting, et cetera);

“IEC” means International Electrotechnical Commission;

“IEEE” means Institute of Electrical and Electronics Engineers;

“IMO” means the Independent Electricity Market Operator established under the Electricity Act; (A, TDL, DSC)

“IMO-controlled grid” means the transmission systems with respect to which,

pursuant to agreements, the IMO has authority to direct operation; (A, TDL, DSC)

“interval meter” means a meter that measures and records electricity use on an hourly or sub-hourly basis; (RSC, DSC)

"large user" means a Customer with a monthly peak demand of 5000 kW or greater, regardless the demand occurs in the peak or off-peak periods, averaged over 12 months;

"load factor" means the ratio of average demand for a designated time period (usually one month) to the maximum demand occurring in that period;

“load transfer” means a network supply point of one distributor that is supplied

through the distribution network of another distributor and where this supply point is not considered a wholesale supply or bulk sale point; (DSC)

“load transfer Customer” means a Customer that is provided distribution services through a load transfer; (DSC)

"main service" refers to Brant County Power’s incoming cables, bus duct, disconnecting and protective equipment for a Building or from which all other metered sub-services are taken;

“Market Rules” means the rules made under section 32 of the Electricity Act; (MR,  TDL, DSC)

“Measurement Canada” means the Special Operating Agency established in August 1996 by the Electricity and Gas Inspection Act, 1980-81-82-83, c. 87., and Electricity and Gas Inspection Regulations (SOR/86-131; (DSC)

“meter service provider” means any entity that performs metering services on behalf of a distributor; (DSC)

“meter installation” means the meter and, if so equipped, the instrument transformers, wiring, test links, fuses, lamps, loss of potential alarms, meters, data recorders, telecommunication equipment and spin-off data facilities installed to measure power past a meter point, provide remote access to the metered data and monitor the condition of the installed equipment; (RSC, DSC)

"meter socket" means the mounting device for accommodating a socket type revenue meter;

“metering services” means installation, testing, reading and maintenance of meters; (DSC)

“MIST meter” means an interval meter from which data is obtained and validated within a designated settlement timeframe. MIST refers to “Metering Inside the Settlement Timeframe;” (RSC, DSC)

“MOST meter” means an interval meter from which data is only available outside of the designated settlement timeframe. MOST refers to “Metering Outside the Settlement Timeframe;” (RSC, DSC)

"multiple dwelling" means a Building which contains more than one self-contained dwelling unit;

"municipal street lighting" means all services supplied to street lighting equipment owned and operated for a municipal corporation;

“non-competitive electricity costs” means costs for services from the IMO that are not deemed by the Board to be competitive electricity services plus costs for distribution services, other than Standard Supply Service (SSS); (RSC)

"normal operating conditions" means the operating conditions comply with the

standards set by the Canadian Standards Association ("CSA") Standard CAN3-C235- 87 (latest edition);

“Ontario Energy Board Act” means the Ontario Energy Board Act, 1998, S.O. 1998, c.15, Schedule B; (MR, DSC)

“operational demarcation point” means the physical location at which a distributor’s responsibility for operational control of distribution equipment including connection assets ends at the Customer; (DSC)

“ownership demarcation point” means the physical location at which a distributor’s ownership of distribution equipment including connection assets ends at the Customer; (DSC)

“performance standards” means the performance targets for the distribution and connection activities of the distributor as established by the Board pursuant to the Ontario Energy Board Act and in the Rate Handbook; (DSC)

"person" includes an individual, a corporation, sole proprietorship, partnership, unincorporated organization, unincorporated association, body corporate, and any other legal entity;

“physical distributor,” with respect to a load transfer, means the distributor that

provides physical delivery of electricity to a load transfer Customer, but is not

responsible for connecting and billing the load transfer Customer directly; (DSC)

"plaza" means any Building containing two or more commercial business tenants;

“point of supply,” with respect to an embedded generator, means the connection point where electricity produced by the generator is injected into a distribution system; (DSC)

"power factor" means the ratio between Real Power and Apparent Power (i.e.

kW/kVA);

"primary service" means any service which is supplied with a nominal voltage greater than 1000 volts;

"private property" means the property beyond the existing public street allowances;

“rate” means any rate, charge or other consideration, and includes a penalty for late payment; (TDL, DSC)

“Rate Handbook” means the regulatory mechanisms that will be applied in the setting of distributor rates; (RSC, DSC)

"reactive power" means the power component which does not produce work but is necessary to allow some equipment to operate, and is measured in kiloVolt Amperes Reactive (kVAR);

"real power" means the power component required to do real work, which is

measured in kiloWatts (kW);

“Regulations” means the regulations made under the Ontario Energy Board Act or the Electricity Act; (TDL, DSC)

"residential service" means a service which is less than 50kW supplied to single family dwelling units that is for domestic or household purposes, including seasonal occupancy. At Brant County Power’s discretion, residential rates may be applied to apartment buildings with 6 or less units by simple application of the residential rate or by blocking the residential rate by the number of units;

“retail”, with respect to electricity means,

a) to sell or offer to sell electricity to a Consumer

b) to act as agent or broker for a retailer with respect to the sale or offering for

sale of electricity, or

c) to act or offer to act as an agent or broker for a Consumer with respect to the sale or offering for sale of electricity; (A, MR, TDL, DSC)

“Retail Settlement Code” means the code approved by the Board and in effect at the relevant time, which, among other things, establishes a distributor’s obligations and responsibilities associated with financial settlement among retailers and Consumers and provides for tracking and facilitating Consumers transfers among competitive retailers; (TDL, DSC)

“retailer” means a person who retails electricity; (A, MR, TDL, DSC)

"secondary service" means any service which is supplied with a nominal voltage less than 1000 Volts;

“service agreement” means the agreement that sets out the relationship between a licenced retailer and a distributor, in accordance with the provisions of Chapter 12 of the Retail Settlement Code; (RSC)

“service area,” with respect to a distributor, means the area in which the distributor is authorized by its licence to distribute electricity; (A, TDL, DSC)

"service date" means the date that the Customer and Brant County Power mutually agree upon to begin the supply of electricity by Brant County Power;

“Standard Supply Service Code” means the code approved by the Board and in effect at the relevant time, which, among other things, establishes the minimum conditions that a distributor must meet in carrying out its obligations to sell electricity under section 29 of the Electricity Act; (TDL)

"sub-service" means a separately metered service that is taken from the main

Building service;

"supply voltage" means the voltage measured at the Customer's main service entrance equipment (typically below 1000 volts). Operating conditions are defined in the Canadian Standards Association ("CSA") Standard CAN3-C235 (latest edition);

"temporary service" means an electrical service granted temporarily for such purposes as construction, real estate sales, trailers, et cetera;

"terminal pole" refers to the Brant County Power’s distribution pole on which the service supply cables are terminated;

“total losses” means the sum of distribution losses and unaccounted for energy; (DSC)

"transformer room" means an isolated enclosure built to applicable codes to house transformers and associated electrical equipment;

“transmission system” means a system for transmitting electricity, and includes any structures, equipment or other things used for that purpose; (A, MR, TDL, DSC)

“Transmission System Code” means the code, approved by the Board, that is in force at the relevant time, which regulates the financial and information obligations of the Transmitter with respect to its relationship with Customers, as well as establishing the standards for connection of Customers to, and expansion of a transmission system; (DSC)

“transmit”, with respect to electricity, means to convey electricity at voltages of more than 50 kilovolts; (A, TDL, DSC)

“transmitter” means a person who owns or operates a transmission system; (A, MR, TDL, DSC)

“unaccounted for energy” means all energy losses that can not be attributed to distribution losses. These include measurement error, errors in estimates the document approved by the Board that outlines of distribution losses

SECTION 5 - RATES AND CHARGES

| Residential Class |  |  |
| --- | --- | --- |
| Service not requiring transformation on customer’s property |  | Basic service includes up to 30m overhead conductor, connections, overhead transformation and a basic kWh meter. Brant County Power shall also provide road crossing facilities at no charge. (See section 3.1 for details). |
| Charge Notes | No charge for basic service. Customer pays all costs in excess of basic service allowance. |  |
| Demarcation Point | Overhead - Top of Customer’s Service Mast Underground – Line side of customer’s meter base. |  |

| Residential Services Requiring Transformation on Customer Property |  |
| --- | --- |
| Overhead Primary Service | Customer supplies, owns and maintains service, including poles. |
| Underground Primary Service | Customer supplies, owns and maintains service including pad for transformer. |
| Charge Notes | Customer pays all Utility costs over "basic" service cost. Brant County Power shall provide road crossing facilities at no charge. |

| Demarcation Point | Bottom of switch on Utility pole |
| --- | --- |

| Residential Services Requiring Transformation on Customer Property |  |
| --- | --- |
| Overhead Primary Service | Customer supplies, owns and maintains service, including poles. |
| Underground Primary Service | Customer supplies, owns and maintains service including pad for transformer. |
| Charge Notes | Customer pays all Utility costs over "basic" service cost. Brant County Power shall provide road crossing facilities at no charge. |

| General Service Class |  |  |  |
| --- | --- | --- | --- |
| Overhead or Underground Secondary Service |  | Basic service for General Service Class customers includes overhead transformation plus a basic KWH or KWH/ KVA demand meter or interval metering for loads over 500 KVA at no charge. See section 3.2 for details |  |
| Charge Notes |  | Customer pays incremental costs in excess of basic service. Where applicable, the 25-year Net Present Value Capital Contribution calculation will be applied. |
| Demarcation Point |  | Overhead - Top of Customer’s Service Mast Underground – Line side of customer meter base. Note: For exceptions see sections 3.2.1.1. and 3.2.1.2 for customer owned secondary services. |
| Overhead or Underground Primary Service (Customer Owned) |  | Owner responsible to supply, own and maintain all customer primary cable and related equipment (ie.switchgear.) See section 3.2 for details. |
| Charge Notes |  | Customer pays incremental costs in excess of basic service. Where applicable, the 25-year Net Present Value Capital Contribution calculation will be applied. |
| Demarcation point |  | Bottom of switches on Utility pole or load side of inline switches |

Temporary Service

| Overhead -Single Service | Temporary Service is defined as a short duration service up to 12 months. |
| --- | --- |
| Charge Notes | Customer to pay all costs to install and remove temporary service and transformation in advance. Transformer provided at no cost. |
| Residential Subdivisions |  |
| Developer or Utility Installed | Brant County Power to design and connect the new subdivision to the Brant County Power distribution system. |
| Charge Notes | See Capital contribution section 2.1.2.2 |
| Demarcation Point | Overhead - Top of Customer’s Service Mast Underground – Line side of customer meter base. |

Flat Rate UnMetered Services

All new services MUST be metered other than streetlights and cable TV power suppliers. Exceptions shall be at the sole discretion of Brant County Power subject to OEB regulations.