## Sheet1
Calculation of ratio of unit costs for Housing vs. Street Lights | [9 empty] | kW test
| Development |  | Mattamy Homes Phase 2 | Ardee Residential Phase 2 | Harvest Hills Phase 2 | Woodland Hills Phase 5B | Woodland Hills Phase 5A | Menkes Walker Farm Estates Inc. | Totals
1 | Number of Homes |  | 306 | 97 | 159 | 200 | 113 | 126 | 1001 | 126
2 | Number of Transformers |  | 33 | 11 | 18 | 27 | 13 | 17 | 119 | 17
3 | Number of Street Lights |  | 75 | 21 | 28 | 82 | 26 | 64 | 296 | 64
4 | Number of Street Light Pedestals |  | 6 | 2 | 2 | 7 | 2 | 10 | 29 | 10
5 | Positions used on Transformers (1 + 4) |  | 312 | 99 | 161 | 207 | 115 | 136 | 1030 | 136
6 | Average kWh/home/yr in this Development |  | 8880 | 8880 | 8880 | 8880 | 8556 | 8880 | 8880 | 4
7 | Street Light Average on Hours |  | 50% | 50% | 50% | 50% | 50% | 50% | 50% | 50%
8 | Hours/Day |  | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
9 | Days |  | 365 | 365 | 365 | 365 | 365 | 365 | 365 | 365
10 | Average kW/Light |  | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13 | 0.13
11 | Annual Housing kWh (1 X 6) |  | 2717280 | 861360 | 1411920 | 1776000 | 966828 | 1118880 | 8888880 | 504
12 | Annual Street Light kWh (3 x 7 x 8 x 9 x 10) |  | 42705 | 11957.4 | 15943.2 | 46690.8 | 14804.4 | 36441.6 | 168542.4 | 8.32
13 | Total Development Load (11 + 12) |  | 2759985 | 873317.4 | 1427863.2 | 1822690.8 | 981632.4 | 1155321.6 | 9057422.4 | 512.32
14 | Primary Conductor |  | 221903.5 | 103077 | 120734.69 | 653003.86 | 61400 | 268424 | 1428543.05 | 268424
15 | Secondary Housing |  | 362862.5 | 110701.5 | 237871.54 | 177749.68 | 115105 | 142220 | 1146510.22 | 142220
16 | Secondary Street Lights |  | 71305 | 17271.15 | 13892.36 | 50757.29 | 26670 | 53843 | 233738.8 | 53843
17 | Transformer |  | 314041 | 106054 | 123841.69 | 211658.97 | 70990 | 131988.06 | 958573.72 | 131988.06
18 | Services - Lot Line to Meter |  | 139230 | 44135 | 72345 | 65000 | 39550 | 57330 | 417590 | 57330
| Total Development Cost |  | 1109342 | 381238.65 | 568685.28 | 1158169.8 | 313715 | 653805.06 | 4184955.79 | 653805.06
| Allocation of Capital Cost | Formula
Homes
| Primary Conductor | kWh of Total | 218470.0071 | 101665.677 | 119386.5936 | 636276.2435 | 60474.0015 | 259957.2665 | 1401960.4238 | 264064.8345
| Secondary Housing | 100% Housing | 362862.5 | 110701.5 | 237871.54 | 177749.68 | 115105 | 142220 | 1146510.22 | 142220
| Secondary Street Lights | 100% Street Lights | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Transformer | % of Tx Positions Used | 308001.75 | 103911.4949 | 122303.2839 | 204501.4203 | 69755.3913 | 122283.0556 | 931584.7512 | 122283.0556
| Services - Lot Line to Meter | 100% Housing | 139230 | 44135 | 72345 | 65000 | 39550 | 57330 | 417590 | 57330
| Housing Cost |  | 1028564.2571 | 360413.672 | 551906.4175 | 1083527.3438 | 284884.3928 | 581790.3221 | 3897645.395 | 585897.8901
Street Lights
| Primary Conductor | kWh of Total | 3433.4929 | 1411.323 | 1348.0964 | 16727.6165 | 925.9985 | 8466.7335 | 26582.6262 | 4359.1655
| Secondary Housing | 100% Housing | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Secondary Street Lights | 100% Street Lights | 71305 | 17271.15 | 13892.36 | 50757.29 | 26670 | 53843 | 233738.8 | 53843
| Transformer | % of Tx Positions Used | 6039.25 | 2142.5051 | 1538.4061 | 7157.5497 | 1234.6087 | 9705.0044 | 26988.9688 | 9705.0044
| Services - Lot Line to Meter | 100% Housing | 0 | 0 | 0 | 1 | 2 | 0 | 0 | 0
| Street Light Cost |  | 80777.7429 | 20824.978 | 16778.8625 | 74643.4562 | 28832.6072 | 72014.7379 | 287310.395 | 67907.1699
| Total Development Cost |  | 1109342 | 381238.65 | 568685.28 | 1158170.8 | 313717 | 653805.06 | 4184955.79 | 653805.06
| Total Cost/Home | # of Homes | 3361.3211 | 3715.6049 | 3471.1095 | 5417.6367 | 2521.1008 | 4617.3835 | 3893.7516 | 4649.9833
| Total Cost/Light | # of Lights | 1077.0366 | 991.6656 | 599.2451 | 910.2861 | 1108.9464 | 1125.2303 | 970.6432 | 1061.0495
| Ratio Home Cost to Light Cost |  | 3.1209 | 3.7468 | 5.7925 | 5.9516 | 2.2734 | 4.1035 | 4.0115 | 4.3824