## OPA Load Impacts (hidden)
ATTACHMENT A
CDM Load Impacts by Class and Program
Class | Year Implemented | 2005 |  | 2006 |  | 2007 |  | 2008 |  | 2009 |  | Total kWh | Total kW
Program |  | kWh | kW | kWh | kW | kWh | kW | kWh | kW | kWh | kW
Third Tranche
RESIDENTIAL
Education & Training | 2006, 2007
Community Events | 2006, 2007
Seniors Care Package | 2006, 2007
GENERAL SERVICE <50KW
Seasonal Lighting | 2006
GENERAL SERVICE >50KW
Durham Non Profit Housing | 2006
Whitby Hydro Funded Programs
RESIDENTIAL
Seniors Program | 2008
Low Income | 2008
Community Events | 2008
OPA Programs
RESIDENTIAL
Every Kilowatt Counts (spring) | 2006 |  |  | 1146995.2621 | 7.4761 | 1146995.2621 | 7.4761 | 1146995.2621 | 7.4761 | 1146995.2621 | 7.4761 | 4587981.0483 | 29.9046
Cool Savings Rebate Program | 2006, 2007, 2008 |  |  | 87423.0194 | 89.5463 | 343004.3199 | 257.3342 | 494245.1508 | 379.4611 | 494245.1508 | 379.4611 | 1418917.6409 | 1105.8027
Secondary Fridge Retirement Pilot | 2006 |  |  | 46956.912 | 10.6436 | 46956.912 | 10.6436 | 46956.912 | 10.6436 | 46956.912 | 10.6436 | 187827.6481 | 42.5743
Every Kilowatt Counts (fall) | 2006 |  |  | 1860773.7867 | 27.9977 | 1860773.7867 | 27.9977 | 1860773.7867 | 27.9977 | 1860773.7867 | 27.9977 | 7443095.147 | 111.9907
Great Refrigerator Roundup | 2007, 2008 |  |  |  |  | 190206.2086 | 21.2392 | 459350.3573 | 46.0332 | 459350.3573 | 46.0332 | 1108906.9232 | 113.3056
Aboriginal – Pilot | 2007 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Every Kilowatt Counts | 2007 |  |  |  |  | 1117809.4609 | 42.9194 | 1104253.6545 | 38.8922 | 1104253.6545 | 38.8922 | 3326316.77 | 120.7039
peaksaver® | 2007, 2008 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Summer Savings | 2007 |  |  |  |  | 530370.4437 | 294.6502 | 530370.4437 | 294.6502 | 0 | 0 | 1060740.8873 | 589.3005
Affordable Housing – Pilot | 2007 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Social Housing – Pilot | 2007 |  |  |  |  | 100740.6477 | 11.8518 | 100740.6477 | 11.8518 | 100740.6477 | 11.8518 | 302221.9432 | 35.5555
Energy Efficiency Assistance for Houses – Pilot | 2007 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Aboriginal | 2008 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
Summer Sweepstakes | 2008 | [6 empty] | 0 | 1.4855 | 0 | 0 | 0 | 1.4855
Every Kilowatt Counts Power Savings Event | 2008 | [6 empty] | 378206.8005 | 25.287 | 375097.8451 | 24.3638 | 753304.6455 | 49.6508
Community Initiatives | 2008 | [6 empty] | 281880 |  | 281880 |  | 563760
GENERAL SERVICE <50KW
Toronto Comprehensive | 2007, 2008 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
High Performance New Construction | 2008 | [6 empty] | 1779.3323 | 0.78117 | 1779.3323 | 0.78117 | 3558.6647 | 1.5623
Power Savings Blitz | 2008 | [6 empty] | 21061.7598 | 2.8742 | 21061.7598 | 2.8742 | 42123.5195 | 5.7484
Chiller Plant Re-Commissioning | 2008 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0
GENERAL SERVICE >50KW
Demand Response 1 | 2006, 2007, 2008 |  |  | 0 | 1187.428 | 0 | 1967.8052 | 0 | 1967.9908 | 0 | 0 | 0 | 5123.2239
Demand Response 3 | 2008 | [6 empty] | 0 | 494.9892 | 0 | 0 | 0 | 494.9892
Electricity Retrofit Incentive Program | 2007, 2008 |  |  |  |  | 0 | 0 | 316116.794 | 138.6477 | 316116.794 | 138.6477 | 632233.588 | 277.2954
Other Demand Response | 2007, 2008 |  |  |  |  | 0 | 163.6738 | 0 | 181.0951 | 0 | 0 | 0 | 344.7689
|  |  |  | 3142148.9803 | 1323.0916 | 5336857.0417 | 2805.5911 | 6742730.9014 | 3630.1567 | 6209251.5024 | 689.0227 | 21430988.4257 | 8447.8621

## Attachment A - Load Impacts
ATTACHMENT A
CDM Load Impacts by Class and Program
[5 empty] | NET |  | GROSS |  | NET |  | GROSS |  | NET |  | GROSS |  | NET |  | GROSS |  | NET |  | GROSS
Class |  | Year Implemented | 2005 |  | 2006 |  | 2006 |  | 2007 |  | 2007 |  | 2008 |  | 2008 |  | 2009 |  | 2009 |  | Total kWh | Total kW | Total kWh | Total kW
Program |  |  | kWh | kW | kWh | kW | kWh | kW | kWh | kW | kWh | kW | kWh | kW | kWh | kW | kWh | kW | kWh | kW
Third Tranche
RESIDENTIAL
Lighten Your Electricty Bill |  | 2005 |  |  | 98903.9007 | 5.7869 | 109697.671 | 6.4298 | 98903.9007 | 5.7869 | 109697.671 | 6.4298 | 98903.9007 | 5.7869 | 109697.671 | 6.4298 | 60415.2261 | 6.3998 | 66646.403 | 7.1108 | 357126.9282 | 23.7603 | 395739.416 | 19.9705
| 15W CFL |  |  |  | 63986.76 | 0 | 71096.4 | 0 | 63986.76 | 0 | 71096.4 | 0 | 63986.76 | 0 | 71096.4 | 0 | 26477.28 | 0.6129 | 29419.2 | 0.681 | 218437.56 | 0.6129 | 242708.4 | 0.681
| Ceiling Fan |  |  |  | 1212.3 | 0.0405 | 1347 | 0.045 | 1212.3 | 0.0405 | 1347 | 0.045 | 1212.3 | 0.0405 | 1347 | 0.045 | 1212.3 | 0.0405 | 1347 | 0.045 | 4849.2 | 0.162 | 5388 | 0.135
| Pstat Space Cooling |  |  |  | 5011.146 | 5.1344 | 5567.94 | 5.7049 | 5011.146 | 5.1344 | 5567.94 | 5.7049 | 5011.146 | 5.1344 | 5567.94 | 5.7049 | 5011.146 | 5.1344 | 5567.94 | 5.7049 | 20044.584 | 20.5375 | 22271.76 | 17.1146
| Pstat Space Heating |  |  |  | 17156.2131 | 0 | 19062.459 | 0 | 17156.2131 | 0 | 19062.459 | 0 | 17156.2131 | 0 | 19062.459 | 0 | 17156.2131 | 0 | 19062.459 | 0 | 68624.8524 | 0 | 76249.836 | 0
| SLED 5W |  |  |  | 2418.3846 | 0 | 2545.668 | 0 | 2418.3846 | 0 | 2545.668 | 0 | 2418.3846 | 0 | 2545.668 | 0 | 7310.25 | 0 | 7695 | 0 | 14565.4038 | 0 | 15332.004 | 0
| SLED Mini Lights |  |  |  | 925.5546 | 0 | 974.268 | 0 | 925.5546 | 0 | 974.268 | 0 | 925.5546 | 0 | 974.268 | 0 | 925.5546 | 0 | 974.268 | 0 | 3702.2184 | 0 | 3897.072 | 0
| Timer - AC |  |  |  | 572.7024 | 0.58679 | 636.336 | 0.65198 | 572.7024 | 0.58679 | 636.336 | 0.65198 | 572.7024 | 0.58679 | 636.336 | 0.65198 | 572.7024 | 0.58679 | 636.336 | 0.65198 | 2290.8096 | 2.3471 | 2545.344 | 1.956
| Timer - Indoor |  |  |  | 788.04 | 0.0252 | 875.6 | 0.028 | 788.04 | 0.0252 | 875.6 | 0.028 | 788.04 | 0.0252 | 875.6 | 0.028 | 788.04 | 0.0252 | 875.6 | 0.028 | 3152.16 | 0.1008 | 3502.4 | 0.084
| Timer - Outdoor |  |  |  | 6832.8 | 0 | 7592 | 0 | 6832.8 | 0 | 7592 | 0 | 6832.8 | 0 | 7592 | 0 | 961.74 | 0 | 1068.6 | 0 | 21460.14 | 0 | 23844.6 | 0
Lightbulb Giveaway - Project Porchlight |  | 2007 | [10 empty] | 610740 | 0 | 678600 | 0 | 252720 | 5.85 | 280800 | 6.5 | 863460 | 5.85 | 959400 | 6.5
Phantom Power Bars |  | 2008 | [14 empty] | 32159.7 | 1.161 | 35733 | 1.29 | 32159.7 | 1.161 | 35733 | 1.29
GENERAL SERVICE (< 50 kW Demand)
Food Bank Fridge/Freezer Replacement |  | 2008 | [14 empty] | 33600 | 3.8356 | 37333.3333 | 3.8356 | 33600 | 3.8356 | 37333.3333 | 3.8356
UNMETERED SCATTERED LOAD
LED Traffic Lights |  | 2007 | [10 empty] | 5244.38 | 0.59875 | 5827.0889 | 0.59872 | 5244.38 | 0.59875 | 5827.0889 | 0.59872 | 10488.76 | 1.1975 | 11654.1778 | 1.1974
OPA Programs
A Copy of the Program Measures by Year, Unit kWh Savings, Useful life, # of Units can be found on "OPA MEASURES" Tab
Residential
Secondary Fridge Retirement Pilot |  | 2006 |  |  | 10200.1623 | 2.312 | 11333.5136 | 2.5689 | 10200.1623 | 2.312 | 11333.5136 | 2.5689 | 10200.1623 | 2.312 | 11333.5136 | 2.5689 | 10200.1623 | 2.312 | 11333.5136 | 2.5689 | 40800.6491 | 9.2481 | 45334.0545 | 7.7068
Cool & Hot Savings Rebate |  | 2006-2007 |  |  | 25179.9145 | 23.336 | 31898.3784 | 28.3745 | 66606.8787 | 50.976 | 113264.8515 | 86.3956 | 66606.8787 | 50.976 | 113264.8515 | 86.3956 | 66606.8787 | 50.976 | 113264.8515 | 86.3956
Cool Savings Rebate Program |  | 2008-2009 | [10 empty] | 44314.7924 | 28.0717 | 77144.4581 | 48.7361 | 113890.067 | 73.2432 | 196906.5826 | 126.8944
Every Kilowatt Counts |  | 2006-2007 |  |  | 653359.2399 | 7.7058 | 725954.711 | 8.562 | 901690.3174 | 17.3215 | 1064744.011 | 22.4848 | 898653.2468 | 16.4193 | 1059222.0645 | 20.8443 | 898653.2468 | 16.4193 | 1059222.0645 | 20.8443 | 3352356.051 | 57.8658 | 3909142.8509 | 64.1735
Great Refrigerator Roundup |  | 2007-2009 | [6 empty] | 41050.5708 | 4.6467 | 101925.2877 | 11.4742 | 124156.8808 | 13.4722 | 254281.2877 | 27.8469 | 194787.8922 | 23.1755 | 400470.9073 | 48.1339 | 359995.3439 | 41.2943 | 756677.4827 | 87.4551
Summer Savings |  | 2007 | [6 empty] | 403.5714 | 225.9338 | 3363.0951 | 1882.7819 | 68.0229 | 67.3792 | 566.8579 | 561.4937 | 25.7478 | 32.4416 | 214.5648 | 270.3471 | 497.3421 | 325.7547 | 4144.5178 | 2714.6227
Social Housing – Pilot |  | 2007 | [6 empty] | 22570.1408 | 2.6553 | 22570.1408 | 2.6553 | 22570.1408 | 2.6553 | 22570.1408 | 2.6553 | 22570.1408 | 2.6553 | 2257.0141 | 2.6553 | 67710.4224 | 7.9659 | 47397.2956 | 7.9659
Summer Sweepstakes |  | 2008 | [10 empty] | 25.3151 | 25.3151 | 12897.0764 | 32.6285 | 9.1351 | 14.5171 | 46539.5334 | 18.711 | 34.4502 | 39.8322 | 59436.6098 | 51.3394
Every Kilowatt Counts Power Savings Event |  | 2008-2009 | [10 empty] | 224952.9184 | 12.2678 | 557918.4921 | 29.3816 | 284150.3396 | 16.6133 | 646990.7711 | 37.7603 | 509103.258 | 28.8811 | 1204909.2632 | 67.1419
General Service<50kW
OPA Conservation Programs
High Performance New Construction |  | 2008-2009 | [10 empty] | 132.8161 | 0.15734 | 189.7373 | 0.22478 | 4228.0864 | 1.9536 | 6040.1234 | 2.7909 | 4360.9025 | 2.1109 | 6229.8607 | 3.0156
Power Savings Blitz |  | 2008-2009 | [14 empty] | 1166362.29 | 158.711 | 1254153 | 170.657 | 1166362.29 | 158.711 | 1254153 | 170.657
[21 empty] | 0 | 0 | 0 | 0
General Service>50kW to 4,999kW
OPA Conservation Programs
Demand Response 1 |  | 2006 -2009 |  |  |  | 107.6573 |  | 107.6573 |  | 136.2922 |  | 136.2922 |  | 203.4122 |  | 203.4122 |  | 81.1011 |  | 81.1011 | 0 | 528.4628 | 0 | 420.8055
Demand Response 2 |  | 2009 | [15 empty] | 70.8044 |  | 70.8044
Demand Response 3 |  | 2008-2009 | [11 empty] | 39.3358 |  | 3.9336 |  | 78.6715 |  | 78.6715 | 0 | 118.0073 | 0 | 82.6051
Electricity Resources Demand Response |  | 2006-2009 |  |  |  | 5.2694 |  | 5.2694 |  | 11.0243 |  | 11.0243 |  | 12.4126 |  | 12.4126 |  | 13.713 |  | 13.713 | 0 | 42.4192 | 0 | 37.1498
[21 empty] | 0 | 0 | 0 | 0
[21 empty] | 0 | 0 | 0 | 0

## Attachment B - LRAM Amounts
ATTACHMENT B
Foregone Revenue by Class and Program
|  | 2006 |  |  |  | 2007 |  |  |  | 2008 |  |  |  | 2009
Class | Year Implemented | Load Unit | kWh or kW | Rate per Unit | Revenue | Load Unit | kWh or kW | Rate per Unit | Revenue | Load Unit | kWh or kW | Rate per Unit | Revenue | Load Unit | kWh or kW | Rate per Unit | Revenue | Total Revenue
Program
Third Tranche
RESIDENTIAL
Lighten Your Electricty Bill | 2005 | 98903.9007 | kWh | 0.016 | 1607.1884 | 98903.9007 | kWh | 0.0161 | 1589.056 | 98903.9007 | kWh | 0.0161 | 1592.3528 | 60415.2261 | kWh | 0.0162 | 976.7128 | 5765.31
Lightbulb Giveaway - Project Porchlight | 2007 |  |  | 0.016 |  |  |  | 0.0161 |  | 610740 | kWh | 0.0161 | 9832.914 | 252720 | kWh | 0.0162 | 4085.64 | 13918.554
Phantom Power Bars | 2008 |  |  | 0.016 |  |  |  | 0.0161 | [5 empty] | 32159.7 | kWh | 0.0162 | 347.3248 | 347.3248
20031.1888
GENERAL SERVICE (< 50 kW Demand)
Food Bank Fridge/Freezer Replacement | 2008 |  | kWh | 0.015 |  |  |  | 0.0151 |  |  |  | 0.0151 |  | 33600 | kWh | 0.0152 | 3400.32 | 3400.32
3400.32
UNMETERED SCATTERED LOAD
LED Traffic Lights | 2007 |  |  | 5.2842 | 0 |  |  | 0.0151 |  | 5244.38 | kW | 0.0151 | 79.1901 | 5244.38 | kW | 0.0152 | 79.5398 | 158.7299
158.7299
OPA Programs
Residential
Secondary Fridge Retirement Pilot |  | 10200.1623 | kWh | 0.016 | 165.7526 | 10200.1623 | kWh | 0.0161 | 163.8826 | 10200.1623 | kWh | 0.0161 | 164.2226 | 10200.1623 | kWh | 0.0162 | 164.9026 | 658.7605
Cool & Hot Savings Rebate |  | 25179.9145 | kWh | 0.016 | 409.1736 | 66606.8787 | kWh | 0.0161 | 1070.1505 | 66606.8787 | kWh | 0.0161 | 1072.3707 | 66606.8787 | kWh | 0.0162 | 1076.8112 | 3628.5061
Cool Savings Rebate Program |  | 0 | kWh | 0.016 | 0 | 0 | kWh | 0.0161 | 0 | 44314.7924 | kWh | 0.0161 | 713.4682 | 113890.067 | kWh | 0.0162 | 1841.2227 | 2554.6909
Every Kilowatt Counts |  | 653359.2399 | kWh | 0.016 | 10617.0876 | 901690.3174 | kWh | 0.0161 | 14487.1578 | 898653.2468 | kWh | 0.0161 | 14468.3173 | 898653.2468 | kWh | 0.0162 | 14528.2275 | 54100.7902
Great Refrigerator Roundup |  | 0 | kWh | 0.016 | 0 | 41050.5708 | kWh | 0.0161 | 659.5458 | 124156.8808 | kWh | 0.0161 | 1998.9258 | 194787.8922 | kWh | 0.0162 | 3149.0709 | 5807.5425
Summer Savings |  | 0 | kWh | 0.016 | 0 | 403.5714 | kWh | 0.0161 | 6.484 | 68.0229 | kWh | 0.0161 | 1.0952 | 25.7478 | kWh | 0.0162 | 0.41626 | 7.9955
Social Housing – Pilot |  | 0 | kWh | 0.016 | 0 | 22570.1408 | kWh | 0.0161 | 362.6269 | 22570.1408 | kWh | 0.0161 | 363.3793 | 22570.1408 | kWh | 0.0162 | 364.8839 | 1090.8901
Summer Sweepstakes |  | 0 | kWh | 0.016 | 0 | 0 | kWh | 0.0161 | 0 | 25.3151 | kWh | 0.0161 | 0.40757 | 9.1351 | kWh | 0.0162 | 0.14768 | 0.55526
Every Kilowatt Counts Power Savings Event |  | 0 | kWh | 0.016 | 0 | 0 | kWh | 0.0161 | 0 | 224952.9184 | kWh | 0.0161 | 3621.742 | 284150.3396 | kWh | 0.0162 | 4593.7638 | 8215.5058
76065.2369
General Service<50kW
OPA Conservation Programs | [8 empty] | 0
High Performance New Construction |  |  | kWh | 0.015 |  |  | kWh | 0.0151 | 0 | 132.8161 | kWh | 0.0151 | 2.0055 | 4228.0864 | kWh | 0.0152 | 64.126 | 66.1315
Power Savings Blitz |  |  | kWh | 0.015 |  |  | kWh | 0.0151 | 0 | 0 | kWh | 0.0151 | 0 | 1166362.29 | kWh | 0.0152 | 17689.8281 | 17689.8281
17755.9596
General Service>50kW to 4,999kW
OPA Conservation Programs
Demand Response 1 |  | 107.6573 | kW | 5.2842 | 4013.8293 | 136.2922 | kW | 5.3318 | 4835.9018 | 203.4122 | kW | 5.3158 | 7212.9972 | 81.1011 | kW | 5.3364 | 2883.0253 | 18945.7536
Demand Response 2 |  | 0 | kW | 5.2842 | 0 | 0 | kW | 5.3318 | 0 | 0 | kW | 5.3158 | 0 | 70.8044 | kW | 5.3364 | 2516.9922 | 2516.9922
Demand Response 3 |  | 0 | kW | 5.2842 | 0 | 0 | kW | 5.3318 | 0 | 39.3358 | kW | 5.3158 | 1394.8465 | 78.6715 | kW | 5.3364 | 2796.658 | 4191.5044
Electricity Resources Demand Response |  | 5.2694 | kW | 5.2842 | 196.46 | 11.0243 | kW | 5.3318 | 391.1614 | 12.4126 | kW | 5.3158 | 440.1503 | 13.713 | kW | 5.3364 | 487.4763 | 1515.248
27169.4982
144580.9334

## Attachment C - SSM Amounts
ATTACHMENT C
SSM Amounts by Class and Program
Class |  | Total Costs $ | Total Benefits $ | Net Benefits $ NPV | Benefits/Cost Ratio | SSM Amount $
Program
Third Tranche
RESIDENTIAL
Conservation Website |  | 6235.03 | 0 | -6235.03 | 0 | -311.7515
Education & Promotion |  | 17185.57 | 0 | -17185.57 | 0 | -859.2785
Lighten Your Electricity Bill |  | 7778.3 | 46410.6858 | 38632.3858 | 5.9667 | 1931.6193
| 15W CFL | 1225.8 | 15483.9517 | 14258.1517 | 12.6317 | 712.9076
| Ceiling Fan | 634.5 | 604.9177 | -29.5823 | 0.95338 | -1.4791
| Pstat Space Cooling | 1890 | 6814.5319 | 4924.5319 | 3.6056 | 246.2266
| Pstat Space Heating | 702 | 13161.9966 | 12459.9966 | 18.7493 | 622.9998
| SLED 5W | 256.5 | 2644.1625 | 2387.6625 | 10.3086 | 119.3831
| SLED Mini Lights | 256.5 | 1011.9634 | 755.4634 | 3.9453 | 37.7732
| Timer - AC | 216 | 535.0929 | 319.0929 | 2.4773 | 15.9546
| Timer - Indoor | 72 | 392.7966 | 320.7966 | 5.4555 | 16.0398
| Timer - Outdoor | 468 | 5761.2727 | 5293.2727 | 12.3104 | 264.6636
| LDC OM&A | 2057 |  | -2057 | 0 | -102.85
Customer Survey |  | 1353.24 | 0 | -1353.24 | 0 | -67.662
Lightbulb Giveaway - Project Prochlight |  | 11700 | 147931.4465 | 136231.4465 | 12.6437 | 6811.5723
Low Carbon Diet Education and Action Plan |  | 8140 | 0 | -8140 | 0 | -407
Phanton Power Bars |  | 3914.16 | 14561.2997 | 10647.1397 | 3.7202 | 532.357
GENERAL SERVICE (< 50 kW Demand)
Food Bank Fridge/Freezer Replacement |  | 12933.34 | 25650.2749 | 12716.9349 | 12933.34 | 635.8467
UNMETERED SCATTERED LOAD
LED Traffic Lights |  | 12976 | 1703.0735 | -11272.9265 |  | -563.6463
TOTALS |  | 82215.64 | 236256.7805 | 154041.1405 |  | 7702.057

## Attachment D -LRAM SSM TOTALS
ATTACHMENT D
LRAM & SSM Totals
Rate Class
| LRAM $ | SSM $ | TOTAL $
Third Tranche
RESIDENTIAL | 20031.1888 | 7629.8566 | 27661.0454
GENERAL SERVICE <50KW | 3400.32 | 635.8467 | 4036.1667
UNMETERED SCATTERED LOAD | 158.7299 | -563.6463 | -404.9164
OPA Programs
RESIDENTIAL | 76065.2369 |  | 76065.2369
GENERAL SERVICE <50KW | 17755.9596 |  | 17755.9596
GENERAL SERVICE >50KW | 27169.4982 |  | 27169.4982
| 144580.9334 | 7702.057 | 152282.9904

## Attachment E -Input Assumptions
ATTACHMENT E
LRAM & SSM Input Assumptions
Class |  | Free Rider Rate |  | Number of Units |  | Table Applied |  | Discount Factor |  | Technology Life
Program |  | LRAM | SSM | LRAM | SSM | LRAM | SSM | LRAM | SSM | LRAM | SSM
Third Tranche
RESIDENTIAL
Lighten Your Electricity Bill
| 15W CFL | 10% |  | 681 |  | OPA | OEB | 7.675% |  | 8 | 4
| Ceiling Fan | 10% |  | 15 |  | OPA | OPA | 7.675% |  | 10
| Pstat Space Cooling | 10% |  | 35 |  | OPA | OPA | 7.675% |  | 18
| Pstat Space Heating | 10% |  | 13 |  | OEB | OEB | 7.675% |  | 18
| SLED 5W | 5% |  | 135 |  | OPA | OEB | 7.675% |  | 30
| SLED Mini Lights | 5% |  | 135 |  | OPA | OEB | 7.675% |  | 30
| Timer - AC | 10% |  | 4 |  | OPA | OEB | 7.675% |  | 10
| Timer - Indoor | 10% |  | 4 |  | OPA | OEB | 7.675% |  | 10
| Timer - Outdoor | 10% |  | 26 |  | OPA | OEB | 7.675% |  | 10 | 20
Lightbulb Giveaway - Project Prochlight |  | 10% |  | 6500 |  | OPA | OEB | 7.675% |  | 8 | 4
Phanton Power Bars |  | 10% |  | 1290 |  | OPA | OEB | 7.675% |  | 8 | 3
GENERAL SERVICE (< 50 kW Demand)
Food Bank Fridge/Freezer Replacement |  | 10% |  | 4 |  | Direct Input |  | 7.59% |  | 14
UNMETERED SCATTERED LOAD
LED Traffic Lights |  | 10% |  | 19 |  | Direct Input |  | 7.675% |  | 5

## OPA Measures
OPA Conservation & Demand Management Programs
Measure Results
For: | Wasaga Distribution Inc.
# | Initiative Name | Program Name | Program Year | Results Status | # | Measure Name | Unit Savings Assumptions |  |  | Net-to-Gross Adjustments (%) | [5 empty] | LDC Total (# Units)
[7 empty] | Summer Peak Demand Savings per Unit (kW) | Annual Energy Savings per Unit (kWh) | Effective Useful Life (EUL) | Free Rider (#1) | Spill Over (#2) | Exclusions (#3) | Part Use (#4) | Other (#5) | Aggregate (#6)
2006
1 | 2006 Every Kilowatt Counts (spring) | Consumer | 2006 | Final | 1 | Energy Star® Compact Fluorescent Light Bulb | 0 | 104.4 | 4 | 90% | 100% | 100% | 100% | 100% | 90% | 2442.896
1 | 2006 Every Kilowatt Counts (spring) | Consumer | 2006 | Final | 2 | Electric Timers | 0 | 183 | 20 | 90% | 100% | 100% | 100% | 100% | 90% | 68.4856
1 | 2006 Every Kilowatt Counts (spring) | Consumer | 2006 | Final | 3 | Programmable Thermostats | 0.05 | 216 | 15 | 90% | 100% | 100% | 100% | 100% | 90% | 29.7906
1 | 2006 Every Kilowatt Counts (spring) | Consumer | 2006 | Final | 4 | Energy Star® Ceiling Fans | 0.014 | 141 | 20 | 90% | 100% | 100% | 100% | 100% | 90% | 22.6624
2 | 2006 Cool Savings Rebate Program | Consumer | 2006 | Final | 1 | Energy Star® Air Conditioner | 0.359 | 351 | 14 | 90% | 100% | 100% | 100% | 100% | 90% | 26.2731
2 | 2006 Cool Savings Rebate Program | Consumer | 2006 | Final | 2 | Programmable Thermostats | 0.163 | 159 | 18 | 90% | 100% | 100% | 100% | 100% | 90% | 20.0156
2 | 2006 Cool Savings Rebate Program | Consumer | 2006 | Final | 3 | Air Conditioner Tune-Up | 0.0378 | 369 | 8 | 90% | 100% | 100% | 100% | 100% | 90% | 17.9182
3 | 2006 Secondary Fridge Retirement Pilot | Consumer | 2006 | Final | 1 | Refrigerator Retirement | 0.272 | 1200 | 6 | 90% | 100% | 100% | 100% | 100% | 90% | 9.1599
3 | 2006 Secondary Fridge Retirement Pilot | Consumer | 2006 | Final | 2 | Freezer Retirement | 0.204 | 900 | 6 | 90% | 100% | 100% | 100% | 100% | 90% | 0.39611
4 | 2006 Every Kilowatt Counts (fall) | Consumer | 2006 | Final | 1 | Energy Star® Compact Fluorescent Light Bulb | 0 | 104.4 | 4 | 90% | 100% | 100% | 100% | 100% | 90% | 3622.0924
4 | 2006 Every Kilowatt Counts (fall) | Consumer | 2006 | Final | 2 | Seasonal Light Emitting Diode Light String | 0 | 30.75 | 30 | 90% | 100% | 100% | 100% | 100% | 90% | 871.8357
4 | 2006 Every Kilowatt Counts (fall) | Consumer | 2006 | Final | 3 | Programmable Thermostats | 0.11774 | 522.0945 | 18 | 90% | 100% | 100% | 100% | 100% | 90% | 57.4709
4 | 2006 Every Kilowatt Counts (fall) | Consumer | 2006 | Final | 4 | Dimmers | 0 | 139 | 10 | 90% | 100% | 100% | 100% | 100% | 90% | 45.4435
4 | 2006 Every Kilowatt Counts (fall) | Consumer | 2006 | Final | 5 | Indoor Motion Sensors | 0 | 209 | 20 | 90% | 100% | 100% | 100% | 100% | 90% | 16.3063
4 | 2006 Every Kilowatt Counts (fall) | Consumer | 2006 | Final | 6 | Programmable Basebaord Thermostats | 0 | 1466.3 | 18 | 90% | 100% | 100% | 100% | 100% | 90% | 3.4231
6 | 2006 Demand Response 1 | Industrial, Business | 2006 | Final | 1 | Voluntary Load Shedding Project | Custom | Custom | 3 | 100% | 100% | 100% | 100% | 100% | 100% | n/a
2007
7 | 2007 Great Refrigerator Roundup | Consumer | 2007 | Final | 1 | Refrigerator | 0.070625 | 744.7 | 9 | 48.25% | 100% | 100% | 81.22% | 100% | 39.19% | 117
7 | 2007 Great Refrigerator Roundup | Consumer | 2007 | Final | 2 | Freezer | 0.065982 | 515.4 | 8 | 50.06% | 100% | 100% | 91.25% | 100% | 45.68% | 26
7 | 2007 Great Refrigerator Roundup | Consumer | 2007 | Final | 3 | Small Refrigerator | 0.045244 | 490 | 9 | 38.16% | 100% | 100% | 78.78% | 100% | 30.06% | 2
7 | 2007 Great Refrigerator Roundup | Consumer | 2007 | Final | 4 | Small Freezer | 0.042497 | 338.5 | 8 | 38.16% | 100% | 100% | 78.78% | 100% | 30.06% | 1
7 | 2007 Great Refrigerator Roundup | Consumer | 2007 | Final | 5 | Window Air Conditioner | 0.56157 | 240.2 | 5 | 43.14% | 100% | 100% | 100% | 100% | 43.14% | 0
8 | 2007 Cool Savings Rebate | Consumer | 2007 | Final | 1 | ENERGY STAR® Central Air Conditioner | 0.16618 | 152.1955 | 18 | 52% | 5.2% | 100% | 100% | 100% | 57.2% | 62.9732
8 | 2007 Cool Savings Rebate | Consumer | 2007 | Final | 2 | Programmable Thermostat | 0.029131 | 54.6209 | 15 | 46% | 0% | 59.7% | 100% | 100% | 27.46% | 89.1871
8 | 2007 Cool Savings Rebate | Consumer | 2007 | Final | 3 | Furnace with Electronically Commutated Motor | 0.49336 | 831.854 | 15 | 54.2% | 4.9% | 100% | 100% | 100% | 59.1% | 98.6792
8 | 2007 Cool Savings Rebate | Consumer | 2007 | Final | 4 | Central Air Conditioning Tune Up | 0.2567 | 235.4813 | 5 | 41.9% | 0% | 37.5% | 100% | 100% | 15.71% | 53.2363
9 | 2007 Aboriginal – Pilot | Consumer | 2007 | Final | 1 | Consumer Retrofit Kit | 0.043478 | 900 | 4 | 100% | 100% | 100% | 100% | 100% | 100% | 0
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 1 | 15 W CFL | 0.0013 | 43 | 8 | 78% | 100% | 100% | 100% | 100% | 78% | 4509.8478
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 2 | 20 W+ CFLs | 0.0019 | 62.1 | 8 | 78% | 100% | 100% | 100% | 100% | 78% | 734.1606
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 3 | Project Porchlight CFLs | 0.0013 | 43 | 8 | 76% | 100% | 100% | 100% | 100% | 76% | 949.0209
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 4 | Energy Star Ceiling Fan | 0.0028 | 89.8 | 10 | 55% | 100% | 100% | 100% | 100% | 55% | 36.3779
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 5 | Furnace Filter | 0.0112 | 37.7 | 1 | 55% | 100% | 100% | 100% | 100% | 55% | 146.5782
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 6 | Solar Lights | 0 | 32.8 | 5 | 13% | 100% | 100% | 100% | 100% | 13% | 578.9938
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 7 | Outdoor Motion Sensor | 0 | 159.8 | 10 | 55% | 100% | 100% | 100% | 100% | 55% | 57.9206
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 8 | Dimmer Switch | 0.0007 | 23.7 | 10 | 55% | 100% | 100% | 100% | 100% | 55% | 36.803
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 9 | Energy Star Light Fixtures | 0.0056 | 122.9 | 16 | 55% | 100% | 100% | 100% | 100% | 55% | 17.517
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 10 | SLEDs | 0 | 13.7 | 5 | 49% | 100% | 100% | 100% | 100% | 49% | 1194.8135
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 11 | T8 | 0.0012 | 37.2 | 18 | 77% | 100% | 100% | 100% | 100% | 77% | 34.3318
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 12 | Programmable Thermostat | 0 | 75.1 | 15 | 55% | 100% | 100% | 100% | 100% | 55% | 35.3662
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 13 | Power Bar with Timer | 0.0063 | 72.4 | 10 | 77% | 100% | 100% | 100% | 100% | 77% | 16.0233
10 | 2007 Every Kilowatt Counts | Consumer | 2007 | Final | 14 | Lighting Control Devices | 0.0185 | 72.2 | 10 | 55% | 100% | 100% | 100% | 100% | 55% | 185.5184
11 | 2007 peaksaver® | Consumer, Business | 2007 | Final | 1 | Residential Programmable Thermostat | 0.63 | 0 | 12 | 90% | 100% | 100% | 100% | 100% | 90% | 0
11 | 2007 peaksaver® | Consumer, Business | 2007 | Final | 2 | Residential Air Conditioner Switch | 0.63 | 0 | 12 | 90% | 100% | 100% | 100% | 100% | 90% | 0
11 | 2007 peaksaver® | Consumer, Business | 2007 | Final | 3 | Residential Water Heater Switch | 0.3 | 0 | 12 | 90% | 100% | 100% | 100% | 100% | 90% | 0
11 | 2007 peaksaver® | Consumer, Business | 2007 | Final | 4 | Commercial Programmable Thermostat | 4 | 0 | 12 | 90% | 100% | 100% | 100% | 100% | 90% | 0
11 | 2007 peaksaver® | Consumer, Business | 2007 | Final | 5 | Commercial Air Conditioner Switch | 4 | 0 | 12 | 90% | 100% | 100% | 100% | 100% | 90% | 0
11 | 2007 peaksaver® | Consumer, Business | 2007 | Final | 6 | Commercial Water Heater Switch | 0.3 | 0 | 12 | 90% | 100% | 100% | 100% | 100% | 90% | 0
12 | 2007 Summer Savings | Consumer | 2007 | Final | 1 | Household | 0.43704 | 786.6775 | 2 | 12% | 100% | 100% | 100% | 100% | 12% | 4274.7076
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 1 | 1 - T8 32W w/EL ballast | 0.013 | 30.16 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 2 | 2 - T8 32W w/EL ballast | 0.02 | 46.4 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 3 | Air-source Heat Pump - Split | 6.0787 | 4437 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 4 | Automated Controls for HVAC | 0 | 18565 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 5 | Boiler | 0.01122 | 17 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 6 | Ceiling Fan (common area) | 0.00462 | 7 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 7 | Ceiling Fan (in-suite) | 0.00462 | 7 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 8 | Central Air Conditioning System - Single | 1.0733 | 807 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 9 | Central Air Conditioning System - Split | 1.9365 | 1456 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 10 | CFL Screw-In 15W - in suite | 0.0054 | 180 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 11 | CFL Screw-In 25W - in suite | 0.009 | 300 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 12 | Dimmer Switch | 0.004 | 139 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 13 | Energy Star Clotheswasher | 0.0287 | 287 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 14 | Energy Star Dishwasher | 0.00952 | 136 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 15 | Energy Star Refrigerator | 0.0069 | 69 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 16 | Flood Light, 26W Fluorescent Fixture | 0.013 | 128 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 17 | Front Loading Washing Machine | 0.1108 | 1108 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 18 | Furnace | 0.0165 | 25 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 19 | Furnace with DC Motor | 0.0297 | 45 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 20 | Ground-source Heat Pump | 4.7149 | 3545 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 21 | High Pressure Sodium | 0.0855 | 748.98 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 22 | Motion Detector | 0 | 209 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 23 | Occupancy Sensors | 0 | 209 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 24 | Other CFL Screw-in Light (please specify) | 0.011482 | 382.75 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 25 | Other Exterior Lighting (please specify) | 0.013 | 160 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 26 | Other Parking Garage Lighting (please specify) | 0.0505 | 442.38 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 27 | Photo Sensors | 0 | 292 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 28 | Programmable Thermostat | 0.013 | 631 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 29 | Timer - Outdoor Light | 0 | 292 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
13 | 2007 Affordable Housing – Pilot | Consumer | 2007 | Final | 30 | Ventilating Fan (in-suite) | 0.0012 | 12 | 14 | 100% | 100% | 100% | 100% | 100% | 100% | 0
14 | 2007 Social Housing – Pilot | Consumer | 2007 | Final | 1 | Custom Retrofit Projects | Custom | Custom | 10 | 100% | 100% | 100% | 100% | 100% | 100% | 18.373
15 | 2007 Energy Efficiency Assistance for Houses – Pilot | Consumer | 2007 | Final | 1 | Custom Retrofit Projects | Custom | Custom | 19 | 100% | 100% | 100% | 100% | 100% | 100% | 0
16 | 2007 Toronto Comprehensive | Business | 2007 | Final | 1 | City of Toronto - Better Building Partnership Project | Custom | Custom | 5 | 90% | 100% | 100% | 100% | 100% | 90% | 0
16 | 2007 Toronto Comprehensive | Business | 2007 | Final | 2 | Toronto Hydro - Business Incentive Program Project | Custom | Custom | 5 | 90% | 100% | 100% | 100% | 100% | 90% | 0
16 | 2007 Toronto Comprehensive | Business | 2007 | Final | 3 | Building Owners & Managers Association - Toronto Project | Custom | Custom | 5 | 90% | 100% | 100% | 100% | 100% | 90% | 0
17 | 2007 Electricity Retrofit Incentive Program | Business | 2007 | Final | 1 | Custom Retrofit Projects | Custom | Custom | 5 | 90% | 100% | 100% | 100% | 100% | 90% | n/a
18 | 2007 Demand Response 1 | Industrial, Business | 2007 | Final | 1 | Voluntary Load Shedding Project | Custom | Custom | 2 | 100% | 100% | 100% | 100% | 100% | 100% | n/a
19 | 2007 Other Demand Response | Industrial, Business | 2007 | Final | 1 | Loblaw Contract | Custom | Custom | 2 | 100% | 100% | 100% | 100% | 100% | 100% | n/a
19 | 2007 Other Demand Response | Industrial, Business | 2007 | Final | 2 | Rodan Contract | Custom | Custom | 2 | 100% | 100% | 100% | 100% | 100% | 100% | n/a
20 | 2007 Renewable Energy Standard Offer | Consumer, Business, Industrial, Low-Income | 2007 | Final | 1 | Hydro | Custom | Custom | 20 | 100% | 100% | 100% | 100% | 100% | 100% | 0
20 | 2007 Renewable Energy Standard Offer | Consumer, Business, Industrial, Low-Income | 2007 | Final | 2 | Wind | Custom | Custom | 20 | 100% | 100% | 100% | 100% | 100% | 100% | 0
20 | 2007 Renewable Energy Standard Offer | Consumer, Business, Industrial, Low-Income | 2007 | Final | 3 | Solar Photo-Voltaic | Custom | Custom | 20 | 100% | 100% | 100% | 100% | 100% | 100% | 0
20 | 2007 Renewable Energy Standard Offer | Consumer, Business, Industrial, Low-Income | 2007 | Final | 4 | Bio-Energy | Custom | Custom | 20 | 100% | 100% | 100% | 100% | 100% | 100% | 0
2008
21 | 2008 Great Refrigerator Roundup | Consumer | 2008 | Final | 1 | Refrigerator | 0.079387 | 775 | 9 | 55% | 100% | 100% | 100% | 100% | 55% | 171
21 | 2008 Great Refrigerator Roundup | Consumer | 2008 | Final | 2 | Freezer | 0.084636 | 740 | 8 | 52% | 100% | 100% | 100% | 100% | 52% | 26
21 | 2008 Great Refrigerator Roundup | Consumer | 2008 | Final | 3 | Room Air Conditioner | 0.19946 | 197 | 4.5 | 36% | 100% | 100% | 100% | 100% | 36% | 3
22 | 2008 Cool Savings Rebate | Consumer | 2008 | Final | 1 | 2007 Efficient Furnance with Electronically Commutable Motor | 0.49614 | 836.6963 | 15 | 54.2% | 100% | 100% | 100% | 4.9% | 100% | 17.5498
22 | 2008 Cool Savings Rebate | Consumer | 2008 | Final | 2 | 2007 ENERGYSTAR® Central Air Conditioner | 0.16977 | 155.2554 | 18 | 52% | 100% | 100% | 100% | 5.2% | 100% | 8.4301
22 | 2008 Cool Savings Rebate | Consumer | 2008 | Final | 3 | 2007 Programable Thermostat | 0.027697 | 53.7071 | 15 | 46% | 100% | 100% | 100% | 0% | 59.7% | 13.6617
22 | 2008 Cool Savings Rebate | Consumer | 2008 | Final | 4 | 2007 Central Air Conditioner Tune-ups | 0.25694 | 234.9713 | 5 | 15.71% | 100% | 100% | 100% | 0% | 100% | 0
22 | 2008 Cool Savings Rebate | Consumer | 2008 | Final | 5 | 2008 Efficient Furnance with Electronically Commutable Motor | 0.48529 | 819.2223 | 18 | 54.2% | 100% | 100% | 100% | 4.9% | 100% | 62.8578
22 | 2008 Cool Savings Rebate | Consumer | 2008 | Final | 6 | 2008 ENERGYSTAR® Central Air Conditioner | 0.13697 | 125.2554 | 18 | 52% | 100% | 100% | 100% | 5.2% | 100% | 41.6747
22 | 2008 Cool Savings Rebate | Consumer | 2008 | Final | 7 | 2008 Programable Thermostat | 0.027697 | 53.7071 | 18 | 46% | 100% | 100% | 100% | 0% | 59.7% | 53.4121
23 | 2008 Aboriginal | Consumer | 2008 | Final | 1 | Building Retrofits | 1.6 | 2820 | 10 | 100% | 100% | 100% | 100% | 100% | 100% | 0
24 | 2008 Summer Sweepstakes | Consumer | 2008 | Final | 1 | Households | 0.19512 | 768.181 | 1 | 78% | 100% | 100% | 100% | 100% | 78% | 167
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 1 | Air Conditioner/Furnace Filters | 0.021 | 37.7 | 1 | 35.09% | 100% | 100% | 100% | 100% | 100% | 74.0323
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 2 | Energy Star® Qualified Compact Fluorescent Floods (Indoor & Outdoor) | 0.0027615 | 87.6192 | 7 | 37.47% | 100% | 100% | 100% | 100% | 100% | 803.2794
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 3 | Energy Star® Qualified Light Fixtures | 0.0042068 | 133.4769 | 16 | 33.37% | 100% | 100% | 100% | 100% | 100% | 1246.6207
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 4 | Heavy Duty Timers | 0.017281 | 301.2009 | 10 | 33.27% | 100% | 100% | 100% | 100% | 100% | 28.2165
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 5 | T8 Fluorescent Fixtures | 0.001 | 37.2 | 16 | 32.85% | 100% | 100% | 100% | 100% | 100% | 226.8111
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 6 | ENERGY STAR Decorative CFLs | 0.00095742 | 30.3777 | 4 | 38.57% | 100% | 100% | 100% | 100% | 100% | 2893.2892
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 7 | ENERGY STAR Dimmable CFLs | 0.0030822 | 97.7955 | 6 | 37.67% | 100% | 100% | 100% | 100% | 100% | 186.5301
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 8 | Power Bars with Timers | 0.004156 | 53.3039 | 10 | 40.74% | 100% | 100% | 100% | 100% | 100% | 13.3734
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 9 | Programmable Thermostats - Baseboard | 0 | 63.6581 | 15 | 46.51% | 100% | 100% | 100% | 100% | 100% | 78.6612
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 10 | Car block heater timer | n/a | n/a | n/a | 0% | 100% | 100% | 100% | 100% | 100% | n/a
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 11 | Energy Star® Qualified Compact Fluorescent Light Bulbs | 0.0022 | 52.96 | 8 | 52.26% | 100% | 100% | 100% | 100% | 100% | 1712.6386
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 12 | Lighting Control Devices | 0.003 | 102.2333 | 10 | 45.36% | 100% | 100% | 100% | 100% | 100% | 243.8016
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 13 | Awnings | 0 | 0 | n/a | 0% | 100% | 100% | 100% | 100% | 100% | 53.7917
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 14 | Window Films | 0 | 0 | n/a | 0% | 100% | 100% | 100% | 100% | 100% | 867.5594
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 15 | Electric Water Heater Blankets | 0 | 0 | n/a | 0% | 100% | 100% | 100% | 100% | 100% | 26.5943
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 16 | Pipe Wrap | 0.003 | 38 | 6 | 46.82% | 100% | 100% | 100% | 100% | 100% | 1597.6328
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 17 | Low-Flow Toilets | 0 | 0 | n/a | 0% | 100% | 100% | 100% | 100% | 100% | 208.9958
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 18 | Keep Cool – Dehumidifier | 0.29 | 499.8 | 12 | 35% | 100% | 100% | 100% | 100% | 100% | 0.49857
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 19 | Keep Cool – Room Air Conditioner | 0.142 | 140.7 | 9 | 42% | 100% | 100% | 100% | 100% | 100% | 0.55923
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 20 | Rewards for Recycling – Dehumidifier | 0.29 | 499.8 | 12 | 44% | 100% | 100% | 100% | 100% | 100% | 14.9702
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 21 | Rewards for Recycling – Room Air Conditioner | 0.142 | 140.7 | 9 | 44% | 100% | 100% | 100% | 100% | 100% | 16.1797
25 | 2008 Every Kilowatt Counts Power Savings Event | Consumer | 2008 | Final | 22 | Rewards for Recycling - Halogen Lamp | 0.009 | 275.2 | 16 | 48% | 100% | 100% | 100% | 100% | 100% | 12.9058
26 | 2008 peaksaver® | Consumer, Business | 2008 | Final | 1 | Residential Programmable Thermostat | 0.865 | 17.3 | 13 | 90% | 100% | 100% | 100% | 100% | 90% | 0
26 | 2008 peaksaver® | Consumer, Business | 2008 | Final | 2 | Residential Air Conditioner Switch | 0.865 | 17.3 | 13 | 90% | 100% | 100% | 100% | 100% | 90% | 0
26 | 2008 peaksaver® | Consumer, Business | 2008 | Final | 3 | Residential Water Heater Switch | 0.3 | 6 | 13 | 90% | 100% | 100% | 100% | 100% | 90% | 0
26 | 2008 peaksaver® | Consumer, Business | 2008 | Final | 4 | Commercial Programmable Thermostat | 3.7 | 74 | 13 | 90% | 100% | 100% | 100% | 100% | 90% | 0
26 | 2008 peaksaver® | Consumer, Business | 2008 | Final | 5 | Commercial Air Conditioner Switch | 3.7 | 74 | 13 | 90% | 100% | 100% | 100% | 100% | 90% | 0
26 | 2008 peaksaver® | Consumer, Business | 2008 | Final | 6 | Commercial Water Heater Switch | 1.85 | 37 | 13 | 90% | 100% | 100% | 100% | 100% | 90% | 0
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 1 | Agribusiness ENERGY STAR® Rated Exit Signs, All sizes | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 2 | Agribusiness ENERGY STAR® Rated CFLs, Screw in. All sizes < 40 W | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 3 | Agribusiness ENERGY STAR® Rated CFLs, Hard wired. All sizes < 40 W | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 4 | Agribusiness Standard Performance T8, Single lamp standard T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 5 | Agribusiness Standard Performance T8, Double lamp standard T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 6 | Agribusiness Standard Performance T8, Triple lamp standard T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 7 | Agribusiness Standard Performance T8, Quadruple lamp standard T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 8 | Agribusiness High Performance T8 (Consortium for Energy Efficiency qualifying list compliance), Single lamp high performance T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 9 | Agribusiness High Performance T8 (Consortium for Energy Efficiency qualifying list compliance), Double lamp high performance T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 10 | Agribusiness High Performance T8 (Consortium for Energy Efficiency qualifying list compliance), Triple lamp high performance T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 11 | Agribusiness High Performance T8 (Consortium for Energy Efficiency qualifying list compliance), Quadruple lamp high performance T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 12 | Agribusiness T5 Fixtures, T5 fixture with 1, 2, or 3 lamps and 1 electronic ballast | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 13 | Agribusiness T5 Fixtures, High Bay T5. Maximum 6 lamps/fixture. | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 14 | Agribusiness Metal Halide, 320 W Ceramic pulse start | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 15 | Agribusiness Occupancy Sensors, Switch plate mounted occupancy sensor | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 16 | Agribusiness Occupancy Sensors, Ceiling mounted occupancy sensor | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 17 | Agribusiness Creep Heat Pads, up to 100W maximum | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 18 | Agribusiness Creep Heat Pads, up to 200W maximum | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 19 | Agribusiness High Temperature Cutout Thermostat | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 20 | Agribusiness Creep Heat Controller | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 21 | Agribusiness Energy Efficient Ventilation Exhaust Fans | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 22 | Agribusiness Low Energy Livestock Waterers | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 23 | Agribusiness Photocell and Timer for Lighting Control | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 24 | Lighting System Exit Signs, 5 W or less | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 25 | Lighting System ENERGY STAR® Rated CFLs, Screw in. All sizes < 40 W | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 26 | Lighting System ENERGY STAR® Rated CFLs, Hard wired. All sizes < 40 W | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 27 | Lighting System Standard Performance T8, Single lamp standard T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 28 | Lighting System Standard Performance T8, Double lamp standard T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 29 | Lighting System Standard Performance T8, Triple lamp standard T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 30 | Lighting System Standard Performance T8, Quadruple lamp standard T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 31 | Lighting System High Performance T8 (Consortium for Energy Efficiency qualifying list compliance), Single lamp high performance T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 32 | Lighting System High Performance T8 (Consortium for Energy Efficiency qualifying list compliance), Double lamp high performance T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 33 | Lighting System High Performance T8 (Consortium for Energy Efficiency qualifying list compliance), Triple lamp high performance T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 34 | Lighting System High Performance T8 (Consortium for Energy Efficiency qualifying list compliance), Quadruple lamp high performance T8 fixture | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 35 | Lighting System T5 Fixtures, T5 fixture with 1, 2, or 3 lamps and 1 electronic ballast | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 36 | Lighting System T5 Fixtures, High Bay T5. Maximum 6 lamps/fixture. | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 37 | Lighting System Metal Halide, 320 W Ceramic pulse start | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 38 | Lighting System Occupancy Sensors, Switch plate mounted occupancy sensor | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 39 | Lighting System Occupancy Sensors, Ceiling mounted occupancy sensor | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 40 | Motor Open Drip-Proof (ODP), 1 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 41 | Motor Open Drip-Proof (ODP), 1.5 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 42 | Motor Open Drip-Proof (ODP), 2 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 43 | Motor Open Drip-Proof (ODP), 3 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 44 | Motor Open Drip-Proof (ODP), 5 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 45 | Motor Open Drip-Proof (ODP), 7.5 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 46 | Motor Open Drip-Proof (ODP), 10 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 47 | Motor Open Drip-Proof (ODP), 15 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 48 | Motor Open Drip-Proof (ODP), 20 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 49 | Motor Open Drip-Proof (ODP), 25 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 50 | Motor Open Drip-Proof (ODP), 30 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 51 | Motor Open Drip-Proof (ODP), 40 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 52 | Motor Open Drip-Proof (ODP), 50 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 53 | Motor Open Drip-Proof (ODP), 60 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 54 | Motor Open Drip-Proof (ODP), 75 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 55 | Motor Open Drip-Proof (ODP), 100 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 56 | Motor Open Drip-Proof (ODP), 125 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 57 | Motor Open Drip-Proof (ODP), 150 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 58 | Motor Open Drip-Proof (ODP), 200 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 59 | Motor Totally Enclosed Fan-Cooled (TEFC), 1 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 60 | Motor Totally Enclosed Fan-Cooled (TEFC), 1.5 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 61 | Motor Totally Enclosed Fan-Cooled (TEFC), 2 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 62 | Motor Totally Enclosed Fan-Cooled (TEFC), 3 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 63 | Motor Totally Enclosed Fan-Cooled (TEFC), 5 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 64 | Motor Totally Enclosed Fan-Cooled (TEFC), 7.5 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 65 | Motor Totally Enclosed Fan-Cooled (TEFC), 10 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 66 | Motor Totally Enclosed Fan-Cooled (TEFC), 15 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 67 | Motor Totally Enclosed Fan-Cooled (TEFC), 20 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 68 | Motor Totally Enclosed Fan-Cooled (TEFC), 25 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 69 | Motor Totally Enclosed Fan-Cooled (TEFC), 30 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 70 | Motor Totally Enclosed Fan-Cooled (TEFC), 40 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 71 | Motor Totally Enclosed Fan-Cooled (TEFC), 50 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 72 | Motor Totally Enclosed Fan-Cooled (TEFC), 60 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 73 | Motor Totally Enclosed Fan-Cooled (TEFC), 75 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 74 | Motor Totally Enclosed Fan-Cooled (TEFC), 100 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 75 | Motor Totally Enclosed Fan-Cooled (TEFC), 125 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 76 | Motor Totally Enclosed Fan-Cooled (TEFC), 150 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 77 | Motor Totally Enclosed Fan-Cooled (TEFC), 200 HP | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 78 | Transformer Size 15 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 79 | Transformer Size 30 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 80 | Transformer Size 45 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 81 | Transformer Size 75 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 82 | Transformer Size 112.5 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 83 | Transformer Size 150 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 84 | Transformer Size 225 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 85 | Transformer Size 300 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 86 | Transformer Size 500 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 87 | Transformer Size 750 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 88 | Transformer Size 1000 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 89 | Unitary AC Single Phase <= 5.4 Tons | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 90 | Unitary AC 3 Phase <= 5.4 Tons | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 91 | Unitary AC >5.4 & <= 11.25 tons | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 92 | Unitary AC >11.25 & <= 20 tons | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 93 | Unitary AC 25 tons | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
27 | 2008 Electricity Retrofit Incentive | Business | 2008 | Final | 94 | Custom | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a
28 | 2008 Toronto Comprehensive | Business | 2008 | Final | 1 | City of Toronto - Better Building Partnership Project | Custom | Custom | Custom | Custom | 100% | 100% | 100% | 100% | Custom | n/a
28 | 2008 Toronto Comprehensive | Business | 2008 | Final | 2 | Toronto Hydro - Business Incentive Program Project | Custom | Custom | Custom | Custom | 100% | 100% | 100% | 100% | Custom | n/a
28 | 2008 Toronto Comprehensive | Business | 2008 | Final | 3 | Building Owners & Managers Association - Toronto Project | Custom | Custom | Custom | Custom | 100% | 100% | 100% | 100% | Custom | n/a
29 | 2008 High Performance New Construction | Business | 2008 | Final | 1 | Custom New Construction Project | Custom | Custom | 14 | Custom | 100% | 100% | 100% | 100% | Custom | n/a
30 | 2008 Power Savings Blitz | Business | 2008 | Final | 1 | T8 Fixture With Electronic Balllast | 0.021 | 151.12 | 15 | 93% | 100% | 100% | 100% | 100% | 93% | 0
30 | 2008 Power Savings Blitz | Business | 2008 | Final | 2 | Energy Star® rated LED Exit Sign | 0.032 | 236.52 | 16 | 93% | 100% | 100% | 100% | 100% | 93% | 0
30 | 2008 Power Savings Blitz | Business | 2008 | Final | 3 | Energy Star® rated CLF | 0.026 | 190.86 | 2 | 93% | 100% | 100% | 100% | 100% | 93% | 0
30 | 2008 Power Savings Blitz | Business | 2008 | Final | 4 | Electric Water Heater Tank Wrap | 0.047 | 436.28 | 7 | 93% | 100% | 100% | 100% | 100% | 93% | 0
30 | 2008 Power Savings Blitz | Business | 2008 | Final | 5 | Electric Water Heater Pipe Insulation | 0.03 | 276.71 | 15 | 93% | 100% | 100% | 100% | 100% | 93% | 0
30 | 2008 Power Savings Blitz | Business | 2008 | Final | 6 | Aerator | 0.0333 | 309.76 | 5 | 93% | 100% | 100% | 100% | 100% | 93% | 0
30 | 2008 Power Savings Blitz | Business | 2008 | Final | 7 | Halogen | 1.9599 | 14.4 | 1 | 93% | 100% | 100% | 100% | 100% | 93% | 0
30 | 2008 Power Savings Blitz | Business | 2008 | Final | 8 | Other | 0 | 0 | 0 | 100% | 100% | 100% | 100% | 100% | 100% | 0
31 | 2008 Chiller Plant Re-Commissioning | Business | 2008 | Final | 1 | Mixed Use Facility | TBD | TBD | TBD | 70% | 100% | 100% | 100% | 100% | 70% | 0
31 | 2008 Chiller Plant Re-Commissioning | Business | 2008 | Final | 2 | University Campus | TBD | TBD | TBD | 70% | 100% | 100% | 100% | 100% | 70% | 0
31 | 2008 Chiller Plant Re-Commissioning | Business | 2008 | Final | 3 | Hospital | TBD | TBD | TBD | 70% | 100% | 100% | 100% | 100% | 70% | 0
31 | 2008 Chiller Plant Re-Commissioning | Business | 2008 | Final | 4 | Commercial Office Tower | TBD | TBD | TBD | 70% | 100% | 100% | 100% | 100% | 70% | 0
31 | 2008 Chiller Plant Re-Commissioning | Business | 2008 | Final | 5 | Industrial/Manufacturing Facility | TBD | TBD | TBD | 70% | 100% | 100% | 100% | 100% | 70% | 0
31 | 2008 Chiller Plant Re-Commissioning | Business | 2008 | Final | 6 | City Government Central Utilities Plant | TBD | TBD | TBD | 70% | 100% | 100% | 100% | 100% | 70% | 0
31 | 2008 Chiller Plant Re-Commissioning | Business | 2008 | Final | 7 | Hotel | TBD | TBD | TBD | 70% | 100% | 100% | 100% | 100% | 70% | 0
32 | 2008 Demand Response 1 | Industrial, Business | 2008 | Final | 1 | Voluntary Load Shedding Project | Custom | Custom | 1 | 100% | 100% | 100% | 100% | 100% | 100% | n/a
33 | 2008 Demand Response 3 | Industrial, Business | 2008 | Final | 1 | Contractual Load Shedding Project | Custom | Custom | 5 | 100% | 100% | 100% | 100% | 100% | 100% | n/a
34 | 2008 Other Demand Response | Industrial, Business | 2008 | Final | 1 | Loblaw Contract | Custom | Custom | 1 | 100% | 100% | 100% | 100% | 100% | 100% | n/a
34 | 2008 Other Demand Response | Industrial, Business | 2008 | Final | 2 | Rodan Contract | Custom | Custom | 1 | 100% | 100% | 100% | 100% | 100% | 100% | n/a
35 | 2008 LDC Custom | Consumer, Business, Industrial, Low-Income | 2008 | Final | 1 | Hydro One Networks - Double Return | 52000 | 0 | 1 | 100% | 100% | 100% | 100% | 100% | 100% | n/a
36 | 2008 Renewable Energy Standard Offer | Consumer, Business, Industrial, Low-Income | 2008 | Final | 1 | Hydro | Custom | Custom | 20 | 100% | 100% | 100% | 100% | 100% | 100% | 0
36 | 2008 Renewable Energy Standard Offer | Consumer, Business, Industrial, Low-Income | 2008 | Final | 2 | Wind | Custom | Custom | 20 | 100% | 100% | 100% | 100% | 100% | 100% | 0
36 | 2008 Renewable Energy Standard Offer | Consumer, Business, Industrial, Low-Income | 2008 | Final | 3 | Solar Photo-Voltaic | Custom | Custom | 20 | 100% | 100% | 100% | 100% | 100% | 100% | 0
36 | 2008 Renewable Energy Standard Offer | Consumer, Business, Industrial, Low-Income | 2008 | Final | 4 | Bio-Energy | Custom | Custom | 20 | 100% | 100% | 100% | 100% | 100% | 100% | 0
37 | 2008 Other Customer Based Generation | Consumer, Business, Industrial, Low-Income | 2008 | Final | 1 | Combined Heat & Power / By-Product | Custom | Custom | 20 | 100% | 100% | 100% | 100% | 100% | 100% | 0

## Variance from Old Tables (hidden)
Rate Class
| 2009 OPA Tables | 2008 OEB Tables | Variance
LRAM $
Third Tranche
RESIDENTIAL | #REF! | 104802.2819 | #REF!
GENERAL SERVICE <50KW | 0 | 1191.993 | -1191.993
GENERAL SERVICE >50KW | #REF! | 507.9928 | #REF!
Whitby Hydro Funded Programs
RESIDENTIAL | #REF! | 11287.4148 | #REF!
OPA Programs
RESIDENTIAL | 0 | 283752.2666 | -283752.2666
GENERAL SERVICE <50KW | #REF! | 824.5634 | #REF!
GENERAL SERVICE >50KW | 0 | 20990.26 | -20990.26
| #REF! | 423356.7726 | #REF!

## Sheet2 (hidden)
|  | TRC VALUE | % OF Admin costs allocated
2005 Program and Admin Costs |  |  |  | 1652
| Municipal Building Lighting | #REF! | #REF! | #REF!
| Fall Discount Coupon | -17185.57 | #REF! | #REF!
| Energy Conservation Kits | -1353.24 | #REF! | #REF!
| SHSC Energy Pilot | #REF! | #REF! | #REF!
#REF!