Erie Thames Powerlines Corporation (ETPL)

2008 Electricity Rate Application

Board File No.  EB-2007-0928

VECC’s Interrogatories

Question #1

Reference:		i)  Exhibit 1/Tab 1/Schedule 5

ii) Exhibit 9/Tab 1/Schedule 5

- Please confirm that ETPL is requesting approval of the proposed rates as set out in Exhibit 9, Tab 1, Schedule 5.

  - Yes ETPL is requesting approval of the proposed rates as set out in Exhibit 9, Tab 1, Schedule 5.

- Please confirm that ETPL has an approved Smart Meter Rate Adder for 2007?  If yes, has it been recording the revenue in Deferral Account #1555?  If not, why not?  If yes, why is it not requesting approval to continue using this account?

  - ETPL does have an approved Smart Meter rate adder for 2007 and has been recording it in Deferral Account #1555.  ETPL inadvertently did not request approval to continue using this account and will do so in this interrogatory process.  An updated Exhibit 9, Tab 1, Schedule 5 is included as Schedule # 1 in this response, fixed charge now includes $0.27 smart meter rate adder where applicable.

Question #2

Reference:		i)  Exhibit 1/Tab 1/Schedule 12

- When did Hydro One Networks deregister several of its wholesale meter points (between ETPL and itself) with the IESO?

- Hydro One Networks deregistered its wholesale meter points in December of 2006.

- Are any of the points where Hydro One receives power from ETPL (as a distributor embedded in ETPL) still registered with the IESO?  If so, how many and what proportion of the deliveries to Hydro One are through “registered meters”?

- None of the meter points Hydro One receives power from ETPL are registered through the IESO.

- Are any of ETPL’s delivery points embedded in another distributor such as Hydro One Networks? If yes, why is that not disclosed here?  If no, why is ETPL requesting approval to continue Deferral Account #1550 (per Exhibit 1, Tab 1, Schedule 5)?

- Yes some of ETPL’s meter points are embedded within Hydro One Networks and its disclosure was an inadvertent omission from the application and as such ETPL is still requesting approval to continue Deferral Account # 1550.

Question #3

Reference:		i)  Exhibit 1/Tab 2/Schedule 1, pages 2 and 6

- Please confirm that, under the proposed rates, the delivery component of the bill for a 1,000 kWh residential customer increases by 6.9% (i.e., $26.01 vs. $24.34) and not by 1.9% as suggested.

- The delivery component of the bill for a 1,000 kWh residential customer does increase by 6.9% since the 1.9% increase is on the total bill, not distribution only.

- Does the 2007 Residential Service Charge used on page 2 include the 2007 Smart Meter Rate Adder and, if so, how much is it?

- The 2007 Residential Service Charge includes a smart meter rate adder of $0.27.

- Please confirm that the 2008 Residential Service Charge set out on this page does not include a Smart Meter Rate Adder.

- The 2008 Residential Service Charge set out in Exhibit 1, Tab 2, Schedule 1 does not include a Smart Meter Rate Adder.

- Please redo the bill impact calculation assuming the Board approved 2007 Smart Meter Rate Adder is continued for 2008.

- Assuming the 2007 Smart Meter Rate Adder is continued for 2008 would result in an 8.0% increase on the delivery component of the bill and a 2.0% increase on the total bill.

- As an embedded distributor within ETPL, does Hydro One Networks use ETPL’s distribution facilities in order to receive delivery of power at its embedded service points?

- Hydro One Networks does use ETPL’s distribution facilities in order to receive delivery of power at its embedded service points.

- If the response to part (e) is yes, why wasn’t ETPL billing Hydro One Networks for Distribution Service in 2007 (even prior to the deregistration of Hydro One Network’s wholesale meters) – see page 6 of Reference (i)?

- Currently ETPL does recover its costs to provide electricity to the embedded distributor.   ETPL bills each deregistered meter point as it would any other consumer for cost of power and distribution with a similar consumption profile (one point is treated as a GS>1,000 to 2,999 and the other as a Large Use customer for distribution purposes).

Question #4

Reference:		i)  Exhibit 1/Tab 2/Schedule 5

- Please provide a schedule that sets out the 2008 revenues based on currently approved rates for each customer class.  In doing so, please include in the schedule both the 2007 rates and the 2008 billing quantities by customer class used in the calculation.  (Note:  For purposes of the calculation, please exclude the approved 2007 Smart Meter Rate Adder from the rates use in the calculation)

- See Schedule #4 A attached to this response.

- Please provide a schedule that sets out the individual components of the 2008 revenue requirement requested by ETPL and provide cross-references as to where each of the values can be found in the Application.

- See Schedule #4 B attached to this response.

- Please provide a schedule that shows the calculation of the Revenue Deficiency by setting out the following:

  - The results of part (a)

  - Plus Any Revenues from any other sources (e.g. Specific Service Charges)

  - Less the results from part b).

    - See Schedule #4 C attached to this response.

Question #5

Reference:		i)  Exhibit 2/Tab 1/Schedule 2, page 1

ii) Exhibit 2/Tab 2/Schedule 1

iii) Exhibit 2/Tab 2/Schedule 2

iv) Exhibit 2/Tab 2/Schedule 4

- The Gross Book Values reported in Reference (i) do not appear to be the same as those reported in Reference (ii).  For example, for 2008 Reference (i) reports a value of $23,388,786; while Reference (ii) appears to report an average value of $22,598,681.  Please reconcile the values reported in the two schedules for 2006 (actual), 2007 and 2008.

- Please see the response to Board Staff Interrogatory #19.

- The Accumulated Depreciation values reported in Reference (i) do not appear to be the same as those reported in Reference (ii).  For example, for 2008 Reference (i) reports a value of $5,831,190; while Reference (ii) appears to report an average value for the year of $5,396,704.  Please reconcile the values reported in the two schedules for 2006 (actual), 2007 and 2008.

- Please see updated Exhibit 2, Tab 2, Schedule 4 listed as Schedule # 5 B in this response and Board Staff Interrogatory # 19.

- The Net Book Values reported in Reference (i) do not appear to be the same as those reported in Reference (ii).  For example, for 2008, Reference (i) reports a value of $16,557,596; while Reference (ii) appears to report an average value of $17,202,179.  Please reconcile the values reported in the two schedules for 2006 (actual), 2007 and 2008.

- Please see the response to Board Staff Interrogatory #19.

- The total Gross Asset Values reported in Reference (ii) for 2008 do not appear to be consistent with those reported in Reference (iii).  Please reconcile.

- Please see the response to Board Staff Interrogatory #19.

- The Accumulated Depreciation values reported in Reference (ii) for 2008 do not appear to be consistent with those reported in Reference (iii).  Please reconcile.

- Please see the response to Board Staff Interrogatory #19.

- With respect to Reference (ii), please provide a schedule that just shows the Additions by Account (and in total) for each of the three years.

  - Please see attached response as Schedule # 5 F.

- Do ETPL’s capital additions in each of the three years equal its capital expenditures?  If not please, provide a continuity schedule that sets out  opening and closing gross book values, capital spending, capital additions and construction work in progress from 2006 to 2008.

- Yes.

Question #6

Reference:		Exhibit 2/Tab 3/Schedule 1

- Please provide the actual capital spending for 2006 by project, in a similar format to that set out for 2007 and 2008.

- Please see Schedule #6 in this response.  Please note that this comparison is on a project by project basis and is not comparable to the data for question # 5 due to timing issues for year end accounting purposes.

- The 2007 spending includes $70,000 for serving new residential customers (Project 1058).  How many new residential customers is this?

- In 2007 ETPL connected 129 new residential customers $70,000 was budgeted, however 2007 actual expenditures was $116,072.

- The 2008 spending includes $262,000 for serving new residential customers (Projects 1058, 1097, 1100 and 1105).  How many new customers does this represent?

  - In project 1058 ETPL estimates approximately 123 new residential connections to come on line in 2008 at a budgeted cost of $110,000.

  - Projects 1097, 1100 and 1105; the descriptions should have been system expansions not new residential services.  These expansions are being driven by the need to eliminate long term load transfer customers off of another distributor’s distribution system and on to ETPL’s distribution system at a cost of $152,000.

- If the average capital spending (per new residential customer) in 2008 differs from that in 2007 by more than 10% please explain why.

- Cost per service for 2008 has not increased by more than 10% in comparison to 2007.

- The 2007 spending includes $80,000 to serve new C&I customers (Project 1059).  How many new customers is this?

- In 2007 ETPL connected 19 new C&I customers.

- The 2008 spending includes $130,000 to service new C&I customers (Projects 1059 and 1094).  How many new customers does this involve?

- Project 1059 represents ETPL’s projection of 17 new C&I customers for 2008.

- Project 1094; the descriptions should have been system expansions not new C&I services.  These expansions are being driven by the need to eliminate long term load transfer customers off of another distributor’s distribution system and onto ETPL’s distribution system.

Question #7

Reference:		Exhibit 2/Tab 3/Schedule 2

- The discussion makes reference to a 27 kV voltage conversion project.  Please provide a description of what the overall project entails, when it started, when it is to be completed and the annual spending.  Please identify all individual 2007 and 2008 projects that are related to the voltage conversion project.

  - Exhibit 2/Tab 3/Schedule 2 references a 27kv voltage conversion projects.  The scope, costs and completion dates for each of the projects are outlined in the schedule with the exception of project 1043 which has carried over into the first quarter of 2008.

  - 27kv conversion/enhancement projects in general typically require upgrades or replacements of poles, line hardware, wire and transformers.

  - Projects related to 27kv conversion in 2007& 2008 are:

  - 2007 - project # 1048, 1043, 1029, 1036

  - 2008 – project # 1011, 1098,1101,1107,1110

Question #8

Reference:		i)  Exhibit 2/Tab 4/Schedule 1, page 3

- Please explain the basis for the 2007 and 2008 forecast values for each of the cost of power components presented on page 3.

- The cost of power assumption used to forecast the 2007 and 2008 power purchased cost was utilizing the normalized consumption profile from the load forecast data multiplied by the cost of power rate of $0.05704 per kWh.  The source of this assumption is a weighted average of the current pricing scheme in place for billing the cost of power on a consumers bill.  The source of these assumptions has not been updated since the forecast was prepared.

- Please explain why the 2008 charges for Network and Connection increase significantly in 2008, in light of the lower Wholesale Transmission rates approved by the OEB for 2008.

- A cell reference in Exhibit 2, Tab 4, Schedule 1 was found to be incorrect for the 2007 amount which caused the 2008 charges look to have significantly increased the reference has been corrected.  A revised Schedule can be found attached as Schedule #8 in this response.

- What was the average cost of power purchased (cents/kWh) used for the 2007 and 2008 projected Power Purchased values.

- The average cost of power purchased used for the 2007 and 2008 projected power purchased values was $0.05704 per kWh.

Question #9

Reference:		Exhibit 3/Tab 3/Schedule 1

- Please explain where the SSS Admin revenues are captured in the Other Distribution Revenue figures shown.

- The SSS Admin revenues are not captured in this schedule.  ETPL did include them as part of other revenue and an updated schedule is attached as Schedule #9 of Energy Probe’s Interrogatory responses.

- Please confirm whether or not ETPL receives revenues from any of its affiliates for services other than the sale of electricity at OEB approved rates.  If yes, please undertake the following:

  - Indicate the services provided.

  - Indicate the revenues received for each service in 2006, 2007 and 2008.

  - Indicate where in the Application these revenues are accounted for.

  - Provide a copy of the Service Agreements

    - ETPL does not receive revenues from any of its affiliates.

Question #10

Reference:		i)  Exhibit 3/Tab 1/Schedule 2

ii) Exhibit 7/Tab 1/Schedule 2

- Reference (i) shows a total distribution revenue from approved rates of $7,631,268.  However, Reference (ii) suggests that Distribution revenues of $6,918,858 (i.e., $7,402,936 - $484,078) are required to provide for revenue sufficiency.  Please reconcile.

- The difference between the two schedules is the addition of low voltage charges of $516,713 and recovery of transformer allowance of $212,666.

- Please see Schedule # 4 B in this response for reconciliation as $6,918,858 is actually $6,901,889.

- The difference between reference i) Exhibit 3, Tab 1, Schedule 2 and amended reference ii) Schedule # 4 B ($6,901,889) is $729,379, which reconciles to the LV revenue and transformer allowance referenced above.

- Please provide a schedule that sets out the derivation of the $7,402,936 forecast of 2008 distribution revenues at existing rates.

- Please see attached Schedule # 10.

Question #11

Reference:		i)  Exhibit 3/Tab 2/Schedule 1, pages 1-4

- With respect to the calculation of the Retail NAC by customer class (page 4), ETPL does not appear to have adjusted the wholesale loads by customer class for losses in determining this value.  Please comment and indicate if any corrections to the filing are required.

- No corrections to the filing are required.

- Since retail NAC by customer class was calculated using Hydro One’s weather normalization process, which fully accounted for losses, losses have been utilized in determining this value.

- Please provide the 2002 to 2006 customer counts by customer class (page 2) used to determine the average historical growth rate.

- Please comment on any significant variances between the residential customer additions calculated in Exhibit 3 for 2007 and 2008 as compared to the additions indicated in response to Question #6 above.

- There are no significant variances.

- Into what customer class do the new Aylmer Ethanol Plant and the Otterville Golf Course (both new 2007 customers) fall?  If either is over 999 kW, please correct the forecast customer count and overall load forecast accordingly.

- The Aylmer Ethanol Plant is projected to be a Large Use customer and at the time of the application it was uncertain if the customer would be connected in 2008, and it is still uncertain when the customer will be connected.  Otterville Golf Course is projected to be a GS>50 to 999 kW customer and may be connected in 2008.

Question #12

Reference:		i)  Exhibit 4/Tab 1/Schedule 2

- Please reconcile the 2008 Distribution Expenses and PILs values reported here with the values reported in Exhibit 1, Tab 2, Schedule 5.

- Please see the response to Energy Probe Interrogatory #12 A.

- Please reconcile the 2008 Distribution Expenses reported here (i.e., the sum of the first 6 lines) with the Distribution and O&M costs reported in Exhibit 7, Tab 1, Schedule 2 ($4,428,761).

- Please reference Schedule #12 A in the Energy Probe Interrogatory responses.

- Please reconcile the cost of power value reported her for 2008 with that reported at Exhibit 2, Tab 4, Schedule 1.

- A cell reference in Exhibit 2, Tab 4, Schedule 1 was incorrect for Network and Connection in both 2007 and 2008 and Exhibit 4, Tab 1, Schedule 2 is correct. Exhibit 2, Tab 4, Schedule 1 has been corrected and can be found in Energy Probe response question #13.

- Please reconcile the Operation cost reported here for 2008 ($53,150) with the value reported in Exhibit 4, Tab 2, Schedule 1, page 1 ($34,756).

- Please see the response to Energy Probe Interrogatory # 12 A.

- Please reconcile the Maintenance cost reported here for 2008 ($1,113,402) with the value reported in Exhibit 4, Tab 2, Schedule 1, page 2 ($1,461,897).

- Please see the response to Energy Probe Interrogatory # 12 A.

- Please reconcile the LCT, OCT and Income Taxes reported here($338,270.08) with the value reported in Exhibit 4, Tab 3, Schedule 1 ($302,852).

- Please reference Schedule #12 A in the Energy Probe Interrogatory responses.

- Please reconcile the Amortization Expense shown here with that reported in Exhibit 4, Tab 2, Schedule 8, page 1.

- Please reference Schedule #17 A in the responses to Energy Probe’s Interrogatories.

Question #13

Reference:		i)  Exhibit 4/Tab 2/Schedule 1

- With respect to the Maintenance costs reported on page 2, please explain how the change in reporting of expenses as of 2006 creates variances between 2006 and 2007 results as indicated for Accounts #5110 and #5120 in Exhibit 4, Tab 2, Schedule 3.

- O&M expenses have variances between 2006 and 2007 as a result of a different allocation process.

- All OM&A expenses in total have increased by less than 4% between the two years in question.

- In 2007 ETPL used a work order classification to allocate costs expended through the MSA with its affiliate. This classification is a departure from the allocation of MSA costs used in 2006 and therefore it is difficult to compare those results.

- What are the actual additional work activities that account for the more than 10% increase in Maintenance costs between 2006 (actual) and 2007?

- The allocation referenced above effected all segments of OM&A and the total OM&A increased by 3.6%. 2006 OM&A is $4,168,682 and 2007 OM&A is $4,325,887.  These amounts include Operations, Maintenance, Billing/Collecting and Administration/General expenses found in Energy Probe Schedule # 12.

- Please explain the reason for the bad debt expense increase in 2007 (over 2006).

- Other billing expenses were inadvertently included with bad debt.  Actual bad debt remains unchanged year over year.

- Why is this high level of bad debt expense expected to continue for 2008?

- See response to question C above.

Question #14

Reference:		i)  Exhibit 4/Tab 2/Schedule 3

- On page 4 the Application states that the increase in Management Salaries and Expenses is due to an increase in staff and offset by a reduction in outside services.  However, the increase shown for Management Salaries and Expenses is $173,595; while the decrease in Outside Services is only $102,000.  Please reconcile.

- Outside Services have been offset by the addition of a corporate lawyer and finance personnel.  The remaining expenditures in Outside Services are typical Audit, Legal and consulting fees, which are relatively stable over time.  The increase of $70,000 is due to a portion of ETPL’s outside services necessary to complete the 2008 cost of service rate application.  The estimated cost of the total application is estimated to be $210,000 and therefore this results in one third of the total cost of the application to be recovered over three years.

Question #15

Reference:		i)  Exhibit 4/Tab 2/Schedule 4

- Please provide copies of the Service Agreements between ETPL and Erie Thames Services Corporation and between ETPL and Erie Thames Power Corporation.  In both cases, please include any schedules setting out the services provided and the associated pricing arrangements.

  - A copy of the service agreements is included as Schedule #15 A and B.

- Please explain why the costs for Erie Thames Power Corporation’s Executive Services have increased by over 70% between 2006 and 2008.

- Please see the response to question # 15 in board staff interrogatories.

Question #16

Reference:		i)  Exhibit 4/Tab 3/Schedules 1 & 2

- Please reconcile the Net Income reported here ($897,742) with that reported in Exhibit 7, Tab 1, Schedule 2 ($897,483).

- Exhibit 7, Tab 1, Schedule 2 has been updated and included in the Energy Probe responses as Schedule # 23.

- Why wasn’t the excess interest (per Exhibit 4, Tab 3, Schedule 2) deducted from Accounting Income consistent with the treatment in the 2006 EDR?

- Please see the response to Energy Probe Question # 18.

- Please provide a schedule setting out the calculation of deemed interest expense.

- Please see the response to Energy Probe Question # 18.

- Please reconcile the tax values reported here with those reported in Exhibit 7/Tab 1/Schedule 2 for income tax and capital tax.

- Please see Energy Probe responses Schedule #23.

Question #17

Reference:		i)  Exhibit 5/Tab 1/Schedule 2

- For ETPL Deferral Account which has a non-zero balance as of December 31, 2006, please provide a continuity schedule that explains the basis for the annual in the account balance from December 31, 2004 to December 31, 2006.

- A continuity schedule for the 6 regulatory asset accounts included in this rebasing application has been provided as part of the response to Board Staff Interrogatory 49.

- Did ETPL’s rates for 2006 include a rate rider for recovery of LV costs.  If yes, were the associated revenues posted to the LV Variance account (#`1550)?

- Yes, ETPL’s approved 2006 distribution rates include a provision for LV costs. However, ETPL’s rates were not approved until January 1, 2007 and as a result there were no LV revenues earned in 2006. The balance in the 1550 LV Variance account included in the 2008 rebasing application represents the actual Hydro One LV costs only for 2006.

- If the 2006 revenues from the LV Rate Adder were not included in the LV Charge Variance account balance determination, please undertake the following:

  - Provide a schedule setting out the revenues from the LV Rate Adder for 2006 based on the approved adder and the actual volumes by customer class.

  - Re-state the balance for the LV Variance account as of December 31, 2006 taking into account these revenues

  - Re-calculated the interest on the account up to April 31, 2008.

    - Not applicable. See response to b) above.

Question #18

Reference:		i)  Exhibit 6/Tab 1/Schedule 2

- Please provide a schedule that sets out the calculation ETPL’s 2008 weighted average cost of capital (in dollar terms) based on its deemed capital structure and proposed rate base, broken down as between interest cost and return on equity (net income).

- Please see Schedule # 18 in this response.

Question #19

Reference:		i)  Exhibit 7/Tab 1/Schedule 2

- Please explain what the line item “Net Adjustments Per 2008 PILs” is meant to represent and why it is included in the calculation.

  - Please see Schedule # 23 in the responses to Energy Probe’s Interrogatories.

- Please provide a schedule that indicates where in the Application each of the cost entries (including taxes) were determined/can be found.

  - Please see Schedule # 23 in the responses to Energy Probe’s Interrogatories.

Question #20

Reference:		i)  Exhibit 8/Tab 1/Schedule 2, pages 1-3

- Please provide a schedule that sets out how the derivation of the total 2008 Revenue Requirement of $7,592,989 (per page 2).

- Please see Schedule #4 B provided in this response.  $7,592,989 was incorrectly stated and should be $7,631,268 also see answers to Board Staff Interrogatory #43.

- Please reconcile this $7,592,989 value for 2008 revenues required from distribution rates with the $6,918,858 value suggested in Exhibit 7, Tab 1, Schedule 2.

- $7,592,989 was incorrectly stated and should be $7,631,268, see Question #20 A.

- Revenue required from distribution rates should be $6,901,889, from Schedule # 4 B.

- Schedule # 4 B reconciles these two numbers and are the values utilized to drive the rates applied for in this application.

- Note the reconciling items are transformer allowance and low voltage revenue.

- Please indicate which of the Cost Allocation Informational filing Runs submitted b ETPL best reflects its 2008 Rate Proposal.

- Cost Allocation Information filing run 3 submitted by ETPL best reflects its 2008 Rate Proposal.

- Please confirm whether the Cost Allocation informational filing included LV Charges (i.e., were LV charges included as a “cost” in the filing and did the rates used to determine revenues include an allowance for LV Charge recovery?).

- LV expenses were included in the trial balance for 2006, and therefore are included in the cost side of the Cost Allocation Filing.

- Rates applied for in this application include an allowance for LV revenue.

- The Application indicates that the 2006 revenue proportions from the Cost Allocation Informational filing were used in Step 1 (pages 1-2) to establish an allocation of the 2008 Revenue Requirement consistent with the 2006 Revenue to Cost ratios.  Please explain why these percentages are appropriate for 2008 when the customer count and loads forecast for each customer class have changed between 2006 (the year used in the Informational filing) and 2008.

- As a full cost allocation update was not performed as part of the 2008 rebasing application, the best data available was the 2006 cost allocation informational filing. A set of generic rules, set by the OEB, were followed to determine the class specific revenue to cost ratios for the 2006 CA filing. The 2008 revenue requirement was calculated based on projected load profiles and this 2008 revenue requirement was than allocated using the most recent cost allocation information.

- Please recalculate the starting point for Step 1 (i.e., the revenue proportions consistent the revenue to cost ratios derived by the 2006 Cost Allocation Informational filing) as follows:

- Determine the revenue by customer class based on 2007 approved rates (excluding the Smart Meter Rate Adder and the LV Cost recovery adder) and forecast 2008 billing parameters

- Determine the revenue proportions based on the results of the preceding step.

Please provide a schedule that sets out the associated input data and calculations and that provides an allocation of the 2008 revenue requirement to customers classes based on these proportions,

  - The above question seems to indicate using a 2007 actual revenue allocation to allocation 2008 projected revenue requirement.  As the 2007 distribution rates are based on the initial RUD model unbundling of rates, which was quite arbitrary, the requested analysis would continue the identified subsidization as identified in the 2006 CA filing and as shown in Exhibit 8, tab 1, Schedule 2, page 1 of this application.

  - Unless the question is misunderstood, it seems like a proposal to utilize a different allocation method from the 2006 CA filing is being suggested. As the generic guidelines provided by OEB staff suggest using the CA information for revenue allocation (to ensure cost causality), Erie Thames does not see the merit in providing this analysis. This question, as currently worded, seems to be a generic issue as opposed to an Erie Thames specific question. If the question is misunderstood, please contact and Erie Thames will provide an alternative response.

- Please recalculate the Table at the top of page 2 following the same process as described in Step 1 of the Application – but using the results from part (e) as the starting point.

- Please see response in part f) above

- Please redo Step 1, but use the results from part (e) as the starting point and move the revenue to cost ratios for all customer classes to (just) within the ranges set out in the Board’s November 28, 2007 Report – Application of Cost Allocation Results for Electricity Distributors.

- Please see response in part f) above

- The allocation of revenue requirement to customer classes does not appear to include any provision for recovery of the Transformer Allowance discount paid to certain customers.  Please undertake the following:

- Confirm whether any provision has been made in the Application for recovery of the Transformer Allowance and, if so, indicate where.

- Provide an estimate of how much the total cost of the Transformer Alllowance will be for 2008, broken down by customer class.

- Please see Schedule # 4 B attached to this response.

- Transformer Allowance has only been allocated to the customer classes that do not utilize LDC transformation.

- GS>50 to 999 - $44,360

- GS>1,000 to 2,999 = $63,796

- GS>3,000 to 4,999 = $18,528

- Large Use = $85,982

- Cost Allocation Informational Filing allocated the amount of the Transformer Allowance to all customer classes.  Please provide an alternative version of the Cost Allocation Informational filing where:

- The cost of Transformer Allowance is not allocated to customer classes (i.e. it is excluded from the allocation)

- The Revenues reported for each customer class are net of any discounts received for Transformer Allowance.

  - In its application the model utilized allocated Transformer Allowances to only the specific rate classes that they are applicable to.

- Please confirm that the proposed rates do not include any provision for recovery of LV Costs charged by Hydro One Networks.  If this is case, please explain why and provide an estimate of what the 2008 LV Rate Adder would be by customer class based on the same methodology as used in the 2006 EDR.

- The proposed rates do include a provision for the recovery of LV costs charged by Hydro One Networks.  Please see Schedule #4 B for the details.

Question #21

Reference:		i) Exhibit 9/Tab 1/Schedule 6

- How exactly was the proposed $14.83 monthly customer charge for residential customers determined?

- The proposed $14.83 monthly customer charge was determined using the mean between the current fixed charge and cost allocation results.

- What is the fixed/variable revenue split for the residential class using 2008 billing quantities and 2007 approved rates (Excluding the Smart Meter Rate adder and the LV Rate adder).  What would be the monthly service charge if this fixed revenue proportion was applied to the proposed residential revenue requirement ($4,366,939)?

- The fixed variable split when using 2008 billing quantities and 2007 approved rates is 57.52% fixed and 42.48% variable.

- The resulting monthly service charge would be $16.81 if this fixed revenue proportion was applied to the proposed residential revenue requirement.

Question #22

Reference:		i)  Exhibit 9/Tab 1/Schedules 1

- Based on a recent 12 consecutive months of actual billing data, please indicate the percentage of total residential customers that:

- Consume less than 100 kWh per month 	= 3%

- Consume 100 -> 250 kWh per month 	= 6%

- Consume 250 -> 500 kWh per month		= 20%

- Consume 500 -> 750 kWh per month		= 25%

Question #23

Reference:		i)  General

- Please provide copies of all Board Decisions pertaining to ETPL’s rates issued since December 31, 2004.

- A copy of all Board Decisions is included as Schedule # 23.

Question #24

Reference:		i)  Exhibit 9/Tab 1/ Schedule 3

ii) Exhibit 9/Tab 1/Schedule 5

- ETPL’s Application appears to include a proposed change in the Retail Transmission Rates (Network and Connection) charged to customers.  For example, the Residential Retail Transmission Rate for Network Service is proposed to decrease from $0.0047/kWh to $0.0038/kWh.  Please indicate where in the Application the derivation of the new rates is described.  If not included in the Application, please provide.

  - The follow analysis was not included in the original application.  Please see rationale and methodology below.

  - Erie Thames has lowered the retail transmission rates the same percentage as the wholesale charges. This has been performed as a simple mathematical formula. The thought would be to disposition variance and deferral values as of Dec. 31, 2006 and continue to track differences between retail and wholesale transmission rates. Upon ETPL’s next rebasing window (or next deferral account disposition period) the RSVA –network and connection charges variances would be reviewed and a further change in retail rates would be implemented if warranted. This process ensures that ETPL customers receive an immediate relief of network / connection changes and ensure that over the long run, all parties (customers and LDC) are kept whole by utilizing an interest calculation on any deferral variance. The calculation worksheet is included below.

Question #25

Reference:		i)  Exhibit 9/Tab 1/Schedule 7

ii) Exhibit 8/Tab 1/Schedule 2

- Please reconcile total 2008 distribution revenue requirement allocated to customer classes set out in Reference (i) {$7,631,268.37} with the revenue figure set out in Reference (ii) {$7,592,989}.

- Please see the response to question # 43 in the Board Staff Interrogatories.