# Union Gas

# CONDITIONS OF SERVICE

# January 2012

Foreword	1

Basic Terminology	2

1. About our Area and Gas Services	5

1.1 Area Served by Company	5

1.2 Quality of Gas	10

1.3 Gas Distribution Services	10

1.4  Limitations of Liability	10

2. Initiation of Service	12

2.1  Main Extensions	12

2.2  Service Lateral Installations	12

2.3  Customer Costs	12

2.4  Relocation of Service Laterals	13

2.5  Customer Piping	13

2.6  Meters and Meter Location	14

2.7  Delivery and Use of Gas	15

2.8  Inspection of New Installations	15

3. Maintenance of Service	16

3.1  Customer Service Policy Statement	16

3.2  Access to Premises	16

3.3  Testing Meters	16

3.4  Resale Prohibited	16

4.  Customer Care	17

4.1 Establishing an Account	17

4.2 Meter Reading	17

4.3 Billings for Accounts	17

4.4 Bill issuance and Payment	18

4.5 Allocation of Payments between gas and non-gas charges	18

4.6 Correction of Billing Errors	19

4.7 Equal Billing Plan	19

4.8 Discontinuance of Gas Delivery – Customer Initiated	19

4.9 Disconnection for Non-payment	19

4.10 Discontinuance of Gas Delivery for other than Non-payment	20

4.11 Security deposits	20

4.12 Arrears Management Programs	21

4.13 Management of Customer Accounts	21

4.14 Customer Complaint Policy	22

# Foreword

Union Gas is a distributor of natural gas in the province of Ontario.  We are committed to serving our customers in a safe, reliable and efficient manner.  This document has been prepared to explain, in a summary form, the conditions which govern our operations.  It is intended that this communication will help us to better serve our customers.

Except as otherwise noted, the following conditions apply to all gas rates and gas service, by or with Union Gas (referred to as “us” or “we” throughout this document).

We reserve the right to modify, alter or amend these conditions and to make further and other conditions as experience may suggest and as we may deem necessary or convenient in the conduct of our business.  These conditions do not supersede any terms and conditions agreed to in our contracts for gas supply with you.

# Basic Terminology

| British Thermal Unit (BTU) | The amount of heat required to raise the temperature of one pound of water 1 degree Fahrenheit at 60 degrees Fahrenheit. |
| --- | --- |
| Company | Union Gas – also referred to as “We” and “Us” throughout this document. Refers to Union Gas, and where appropriate, any member that provides you with Union Gas services or products. |
| Cubic Metre | One standard cubic metre of gas is the volume of the gas that occupies one cubic metre at a temperature of 15 degrees Celsius and an absolute pressure of 101.325 kPa. (One standard cubic metre equals 35.494 standard cubic feet). |
| Curtailment | An unplanned suspension of gas delivery caused by a physical failure or a high risk failure on our pipeline system, or non-delivery of gas into our pipeline system. |
| Customer | An individual, group of individuals, company or corporation responsible for the receipt and payment of goods and/or services provided by the Company. Referred to as “you” and “your” throughout this document. |
| Customer Service | Work done for you by our service personnel or authorized agents on behalf of us, including the installation and adjustment to meters and regulators and the associated appliance inspections. |
| Degree Days | A measure of the coldness of the weather experienced, based on the extent to which the daily mean temperature falls below the reference temperature of 18 degrees Celsius. A heating degree day is the difference between 18 degrees Celsius and the average temperature of the day. For example if the average given temperature on any given day is 10 degrees Celsius, then the number of degree days would be 8 (18-10). If the average temperature for the day is 18 degrees Celsius or higher, then the number of degree days for that day would be zero. As the weather gets colder the number of degree days increases. Union Gas uses degree days as a measure of coldness for comparative purposes. Generally the higher the degree days recorded, the higher the gas used on an account. |
| Gas | Natural gas or manufactured gas or liquefied petroleum gas or any mixture of these containing not less than 36 megajoules per cubic metre. |
| Gas Appliance | A device that consumes or is intended to consume a gas and is certified or field approved as acceptable to the provincial authority having jurisdiction. |
| Gas Sales Contract | A contract between the Company and a customer prescribing rates and conditions for the supply of gas, transportation and storage services to the customer. |
| Main | The pipe that is used to carry natural gas to a service. |
| Main Extension | The addition of pipe to an existing main to serve new customers. |
| Point of Delivery | The point(s) or points at the outlet side of our meter(s) at the location(s) where the gas is delivered to you. |
| Property Line | The Line that separates the boundary between one property and the next immediately adjacent property whether it is public or private. |
| Rate Schedule | One of a set of schedules filed with and approved by the Ontario Energy Board describing a category of customer, the rates charged for gas supplied to customers in the category and the particular terms under which gas is supplied to such customers. The rates determined by Union Gas and approved by the Ontario Energy Board that outlines the type of customer and the payment schedules for each of these customer types. |
| Service Lateral | Piping that conveys gas from a main to your meter. |
| Service | Residential: Customers supplied for residential purposes in a single family dwelling or building, or in an individual flat or apartment within a multiple family dwelling or building or a portion of a building occupied as the home, residence, or sleeping place of one or more persons. |
|  | - When service for residential purposes is supplied to two or more families served as a single customer under one rate classification contract that service is considered as commercial but is counted as only one customer. |
|  | - Residential premises also used regularly for professional or business purposes (such as doctor's office in a home or where a small store is integral with the living space), are considered as residential where the residential use of gas is half or more than half of the total service. |
|  | - Commercial: Applies to customers engaged in selling, warehousing or distributing a commodity, in some business activity or in some other form of economic or social activity (also includes professions). - The size of the customer's operation or volume of use is not a criterion for determining Commercial service. |
|  | - Industrial: Customers engaged in a process which creates or changes raw or unfinished materials into another form or product, or who change or complete a semi-finished material into a finished form. - All gas used on premises which qualify under the industrial classification is to be classified as industrial service. - The size of the customer's operation or volume of use is not a criterion for determining Industrial Service. |

# 1. About our Area and Gas Services

## 1.1 Area Served by Company

As outlined in these conditions of service, Union Gas has an adequate supply of gas to serve its customers, and has properly installed pipe and piping according to the appropriate legislative requirements. Union Gas supplies gas to over 400 communities within the 230 municipalities where Union Gas holds a franchise agreement.  These are considered traditional place names and may not in all cases reflect the current names of these communities.

Communities

Aberfoyle

Acton

Adelaide Twp

Ailsa Craig

Alberton

Aldborough Twp

Alma

Alvinston

Amabel Twp

Amherstburg

Amherstview

Ancaster

Appin

Arkona

Arran Twp

Artemesia Twp

Arthur

Arthur Twp

Astra

Atherley

Atikokan

Atwood

Awrey Twp

Ayr

Azilda

Baden

Baltimore

Barwick

Batawa

Bath

Bayfield

Bayham Twp

Beachville

Beardmore

Belleville

Bentinck Twp

Berwick

Bewdley

Blandford-Blen Twp

Banshard Twp

Blenheim

Blezard Valley

Blind River

Bloomfield

Bloomingdale

Blue Mountains

Blyth

Bosanquet Twp

Bothwell

Bracebridge

Branchton

Brant Twp

Brantford

Brantford Twp

Breslau

Brigden

Brighton

Brights Grove

Brockville

Brooke Twp

Brookville

Bruce Mines

Brussels

Burford

Burford Twp

Burgessville

Burks Falls

Burlington

Cache Bay

Caledonia

Callander

Calstock

Cambridge

Camden Twp

Camlachie

Campbellville

Canboro

Canborough Twp

Canfield

Cannifton

Capreol

Caradoc Twp

Cardinal

Carlisle

Carrick Twp

Castleton

Cathcart

Cayuga

Cayuga N Twp

Cayuga S Twp

Cedar Springs

Centralia

Centreton

Chaput Hughes

Charing Cross

Charlotteville Twp

Chatham

Chatham Twp

Chatsworth

Chelmsford

Chesterville

Clifford

Clinton

Cobalt

Cobourg

Cochrane

Colborne

Colborne Twp

Colchester N Twp

Colchester S Twp

Collingwood Twp

Conestogo

Coniston

Copetown

Copper Cliff

Corbyville

Cornwall

Corunna

Courtland

Courtright

Crediton

Crysler

Culross Twp

Cumberland Beach

Dashwood

Dawn Twp

Delaware Twp

Delhi

Derby Twp

Dereham Twp

Desbarats

Deseronto

Devlin

Dorchester

Dorchster N Twp

Dorion

Dover Centre

Dover Twp

Dowling

Downie Twp

Drayton

Dresden

Dryden

Duart

Dumfries N Twp

Dumfries S Twp

Dundas

DunnTwp

Dunnville

Dunwich Twp

Durham

Dutton

Ear Falls

Earlton

East Wawanosh Twp

Easthope N Twp

Easthope S Twp

Echo Bay

Eden

Egmondville

Egremont Twp

Ekfrid Twp

Elginburg

Ellice Twp

Elliot Lake

Elma Twp

Elmira

Elora

Emo

Englehart

Enniskillen Twp

Eramosa Twp

Erie Beach

Erieau

Espanola

Essex

Euphemia Twp

Exeter

Falconbridge

Fauquier

Fergus

Finch

Fisherville

Flamborough

Flamborough W Twp

Flesherton

Floradale

Florence

Forest

Fort Frances

Foxboro

Frankford

Freelton

Fullarton Twp

Gananoque

Garafraxa W Twp

Garden River

Garson

Georgetown

Geraldton

Glanbrook Twp

Glen Williams

Glencoe

Glenelg Twp

Goderich

Goderich Twp

Gosfield S Twp

Gowanstown

Grafton

Grand Bend

Gravenhurst

Greensville

Grey Twp

Guelph

Guelph Twp

Hagersville

Haileybury

Hallebourg

Halton Hills

Hamilton

Hanmer

Hanover

Harrisburg

Harriston

Harrow

Harty

Harwich Twp

Hawkesville

Hay Twp

Hearst

Heidelberg

Hensall

Hepworth

Hibbert Twp

Highgate

Hillier

Holland Twp

Holtyre

Hornell Heights

Howard Twp

Howick Twp

Hullett Twp

Huntsville

Hurkett

Huron Park

Ignace

Ingersoll

Ingleside

Inkerman

Innerkip

Inwood

Iron Bridge

Iroquois

Iroquois Falls

Jarvis

Jerseyville

Joyceville

Kakabeka Falls

Kapuskasing

Keewatin

Kenora

Kent Bridge

Keppel Twp

Kilbride

Kilsyth

Kilworth

Kilworth Heights

Kingston

Kingsville

Kirkland Lake

Kitchener

Komoka

La Salette

Lakeport

Lakeshore

Langton

Lasalle

Leamington

Levack

Linwood

Listowel

Lively

Lobo Twp

Logan Twp

Londesborough

London

London Twp

Long Sault

Longford Mills

Longlac

Lowbanks

Lowville

Lucan

Lynden

Lynedoch

Madoc

Maitland

Mannheim

Markdale

Markstay

Marmora

Maryborough Twp

Maryhill

Matheson

Mattawa

Mattice

Maynard

McGillivray Twp

McKillop Twp

Meaford

Merlin

Metcalfe Twp

Middleport

Middleton Twp

Mildmay

Millgrove

Milton

Minto Twp

Mitchell

Mitchell’s Bay

Monteith

Moonbeam

Moore Twp

Mooretown

Morewood

Morpeth

Morris Twp

Morrisburg

Morriston

Mosa Twp

Moulton Twp

Mount Brydges

Mount Elgin

Mount Forest

Mount Hope

Mount Pleasant

Murillo

Nairn Centre

Nanticoke

Napanee

Naughton

Neebing

New Dundee

New Hamburg

New Liskeard

Newburgh

Newbury

Nichol Twp

Nipigon

Nissouri W Twp

Norfolk Twp

Normanby Twp

North Bay

North Buxton

North Cobalt

Norval

Norwich

Norwich N Twp

Norwich S Twp

Norwich Twp

Novar

Oakland

Oakland Twp

Oakville

Odessa

Oil City

Oil Springs

Oliver Paipoonge

Onaping

Oneida Twp

Onondaga Twp

Opasatika

Orford Twp

Orillia

Orkney

Orland

Orrville

Otterville

Owen Sound

Oxford Southwest Twp

Paincourt

Palmerston

Paris

Parkhill

Parry Sound

Peacock Point

Peel Twp

Petersburg

Petrolia

Picton

Pilkington Twp

Pinewood

Plainfield

Plattsville

Plympton Twp

Point Edward

Porcupine

Porquis Junction

Port Dover

Port Elgin

Port Hope

Port Lambton

Port Rowan

Port Ryerse

Port Stanley

Port Sydney

Powassan

Prescott

Princeton

Puslinch Twp

Quinte West

Rainham Twp

Rainy River

Raleigh Twp

Rama

Ramore

Red Rock

Ridgetown

Rockwood

Rodney

Romney Twp

Rondeau Park

Roseville

Rothsay

Rutherglen

Salem

Sarawak Twp

Sarnia

Sauble Beach

Saugeen Twp

Sault Ste. Marie

Schumacher

Scotland

Seaforth

Sebringville

Selby

Selkirk

Seneca Twp

Shallow Lake

Shanty Bay

Sherbrooke Twp

Shrewsbury

Shuniah Twp

South Mountain

South Porcupine

South River

Southampton

Southwold Twp

Springford

St Agatha

St Andrews West

St Clements

St George

St Jacobs

St Marys

St Thomas

St Vincent Twp

St Williams

Stanley Twp

Stephen Twp

Stirling

Stockdale

Stoney Creek

Stratford

Strathroy

Stratton

Sturgeon Falls

Sudbury

Sullivan Twp

Sundridge

Swastika

Sydenham Twp

Tara

Tavistock

Tecumseh

Teeswater

Teeterville

Temagami

Thamesford

Thamesville

Thedford

Thessalon

Thornbury

Thorne

Thunder Bay

Tilbury

Tilbury E Twp

Tillsonburg

Timmins

Townsend

Townsend Twp

Trenton

Trout Creek

Tuckersmith Twp

Tupperville

Turnberry Twp

Tweed

Usborne Twp

Val Caron

Val Gagne

Val Rita

Val Therese

Vanastra

Vermilion Bay

Verner

Vickers Heights

Vittoria

Wahnapitae

Walkerton

Wallace Twp

Wallaceburg

Wallenstein

Walpole Twp

Walsingham

Walsingham N Twp

Walsingham S Twp

Wardsville

Warren

Warwick Twp

Waterdown

Waterford

Waterloo

Watford

Wellesley

Wellesley Twp

Wellington

West Lorne

West Montrose

Westbrook

Westlake

Westminster Town

Wheatley

Whitefish

Wiarton

Wilkesport

Williams E Twp

Williams W Twp

Williamsburg

Wilmot Twp

Winchester

Windham Twp

Windsor

Wingham

Winterborne

Woodhouse Twp

Woodlawn

Woodslee

Woodstock

Wooler

Woolwich Twp

Wyoming

Yarmouth Twp

York

Zone Twp

Zorra Twp

Zorra-Tavistock East

Zurich

## 1.2 Quality of Gas

The gas to be delivered shall be natural gas or its equivalent from our present or future sources of supply, and shall:

- Have a heating value of a minimum 36 megajoules per cubic metre

- Be commercially free from objectionable matter

NOTE: The gas delivered to customers attached to field gathering lines may vary from pipeline quality gas due to local well conditions.

## 1.3 Gas Distribution Services

Gas distribution services will be made available to all residential, commercial and industrial customers in all communities served by us:

- when we have determined transportation, distribution and/or storage capacity is available, and

- when we determine that the installation of gas piping (and related gas equipment) to serve you is economically feasible

Applying for more than one type of rate schedule

Customers may have gas distribution services under more than one rate schedule, as follows:

- Provided the customer meets all of the requirements for applicability, which are found in each rate schedule.

- This service may be taken through one meter, provided:

- there is agreement upon a definite volume of gas that you will purchase under each rate

- the volume of gas that falls under distribution charges, and

- the delivery sequence

Gas Distribution Interruptions

- Curtailment, or requests to stop gas use, may be required if the supply of gas is jeopardized, in the following situations:

- If there is an actual or threatened shortage of natural gas beyond our control

- When required because of curtailment or restrictions ordered by an authorized government authority

We assume no liability for any loss of production or for any damage whatsoever due to curtailment or discontinuance or because of the length of advance notice given that directs that curtailment or discontinuance.

## 1.4  Limitations of Liability

We shall use care and diligence to furnish sufficient gas distribution capacity but we assume no liability for damages or loss resulting from any failure of supply.

It is the customer’s responsibility to provide and maintain:

- All pipes and valves to take the gas from the meter

- All equipment used in the burning of gas

- All vents necessary to efficiently take all products of combustion (including unburned gas if any) to the outside air

# 2. Initiation of Service

## 2.1  Main Extensions

We will extend our gas main within our franchise area to serve new customers (or potential customers) when:

- those requirements will not disturb or impair the service to prior users

- we determine the extension of the gas main is economically feasible

When we determine the extension of our facilities is not economically feasible, the applicant will be required to pay a contribution in aid of construction.  We will determine the contribution amount before the extension of such facilities.

## 2.2  Service Lateral Installations

Service laterals will be installed provided that:

- There is an application for gas.

- The site of the service lateral installation is within our franchise area.

- Adequate distribution facilities are available.

- Any necessary main extension can be justified in accordance with our line extension practice.

- The requested hourly volume is available in accordance with the required supply pressure.

- In our sole discretion, we have an adequate gas supply to provide gas service.

We will designate the location of the service lines, meters and regulators, and will determine the amount of space that must be left unobstructed for the installation.

We do not assume ownership, responsibility or maintenance of piping beyond the outlet side of the meter or regulator set up.

- If a customer wants us to install main on property that is not owned by the customer, such as road allowance, municipal or neighbouring property, land rights (in the form of easement) will be required for the installation / maintenance of gas lines (and equipment) from that property owner.

- We shall try to restore property to the approximate condition in which it was found before starting our operations. This includes property that is excavated or may be disrupted during laying, constructing, repairing or removing our facilities.

## 2.3  Customer Costs

- Gas service laterals extending from the property line to the meter location will be installed according to our policies and procedures.  Customers are charged for these services as follows:

- Residential Customers

- Billed for any excess charges beyond 30 metres

- Billed for aid as calculated using the Company's test of economic feasibility for service lateral extensions

- Billed for charges related to the installation of the meter set beyond our approved location.

Commercial and Industrial Customers

- Union Gas uses a Distribution Related Economic Analysis Model to cost Commercial and Industrial services.  If the service does not meet an economic feasibility benchmark, a customer will be expected to pay aid to construction costs in order to meet our internal economic feasibility benchmark.

- If aid to construction is required, Union Gas will provide the costs to the customer, for approval prior to initiating the installation of the service

When the installation is effected by us, our cost is:

- Material used at inventory value (including appropriate stores expense).

- Cost of direct labour on installation (including appropriate payroll burden).

- Cost of transportation and mobile work equipment.

- Cost of contract work.

## 2.4  Relocation of Service Laterals

For service lateral relocations requests, the cost will be based on size and nature of any added gas that is required.  Requested relocations for convenience or aesthetics will normally be on a charge basis.

We reserve the right to make changes, extensions, or replacements of service lines.

## 2.5  Customer Piping

As an applicant for service, a customer shall at their expense, equip premises with all piping and attachments from the meter to the appliances or equipment served.  It is the customer’s responsibility to maintain the piping and equipment beyond the outlet side of the meter.  Such piping and attachments shall be installed and maintained in accordance with the Ontario Regulation 212/01 – Gaseous Fuels, as amended.

If we know that the piping and/or appliances or heating equipment are defective, or not in accordance with applicable rules and regulations, ordinances or codes, we will not connect a meter.

We may discontinue gas service at any time that we find defective or unsafe conditions on:

- the piping

- the venting

- the appliances or other gas-fired equipment

Notification and Maintenance

If there is leakage or escape of gas on a customer’s premises, the customer is required to immediately notify Union Gas. The emergency number for Union Gas Limited is 1-877-969-0999.

Customers should ensure that their chimney or gas equipment venting system is clean and clear of obstructions.

If injury or damage occurs because of the escape of gas or products of combustion of gas from building piping, venting systems, or appliances on the customer’s side of the Point of Delivery, we are not liable, unless the injury or damage can be traced to our negligence.

## 2.6  Meters and Meter Location

A meter or meters of standard manufacture, that we install (unless otherwise specified) shall measure the gas supplied. We will furnish each customer with a meter of a size and type that will adequately serve the customer’s requirements.  These meters are our property. We can inspect, remove or replace these as we deem necessary or in accordance with applicable rules, regulations, ordinances or codes.

Non-contiguous customer premises shall be metered and billed separately.  Premises are considered non-contiguous when they:

- are not on the same tract of land

- are complete and not integrated with or part of other premises

- are integrated with or part of other premises

Tracts of land separated by public streets, roads, lanes or alleys shall be considered non-contiguous lands.

Residential, Commercial, Industrial meters will be located near a building, taking into consideration the following:

- safety

- distribution facilities

- customer equipment

- noise

- structural design

- landscaping

- accessibility for meter reading and servicing

Inside locations require the approval of the District Manager or designate.

Anyone who is not an authorized agent of the Company shall not be permitted to connect or disconnect our meters, regulators or gauges, or in any way alter or interfere with our meters, regulators or gauges.

Customers are responsible for protecting all metering and regulating equipment necessary for the supply of gas and for keeping it accessible at all times.  Customers will be held liable for any such loss or damage beyond ordinary wear and tear, and if required, shall pay us the cost of necessary repairs or replacements.

We are not responsible for damages caused by the freezing of water pipes, water heaters and hot water systems in your premises unless the damage can be traced to our negligence.

## 2.7  Delivery and Use of Gas

Our gas delivery and the customer’s use of gas constitute a contract subject to these provisions, even if a contract has not been signed.

The place of delivery of all gas purchased under sales service, or redelivery in the case of direct purchase, shall be at the outlet of our meter located at or near the point or points of connection with the customer’s facilities. At that point all gas delivered shall become the customer’s property.

All gas passing through the meter, whether it is used or lost through leaks in pipes, apparatus, or otherwise is the customer’s responsibility and the customer shall pay for that gas.

Gas sold to non-contract customers at excess pressure shall be sold by the cubic metre corrected to a base temperature and pressure.

## 2.8  Inspection of New Installations

All inspections shall conform to the Technical Standards and Safety Act and regulations made under the Act.

An inspection will be made of new installations of supply piping and gas appliances and installations in accordance with Company practice as follows:

- where premises are connected to a supply of gas for the first time.

- in accordance with the requirements of the Technical Standards and Safety Act and the regulations made under the Act.

If the inspection reveals that repairs or major adjustments are required, the customer will be advised.

# 3. Maintenance of Service

## 3.1  Customer Service Policy Statement

Union Gas provides customers with specific and specialized service.  The following services are provided free of charge:

- Emergency response

- Inspections mandated by applicable legislation

- Minor adjustment service to natural gas equipment (i.e. work that can be completed within 30 minutes and does not require any appliance parts, special tools or special equipment).  Customers requiring additional appliance service will be advised to contact a third party service provider.

## 3.2  Access to Premises

Our authorized representatives shall have access to a customer’s premises at all reasonable times and upon reasonable notice to inspect, read, test, repair, or replace the meter or meters, appliances and equipment used in connection with gas service.

## 3.3  Testing Meters

We will test meters when necessary, or:

- upon a customer’s request

- when required to ensure accordance with legislative requirements.

If there is an unresolved dispute between two parties over meter accuracy, the test process must be initiated through Measurement Canada.  This maintains the independence of the dispute process and requires the disputing party, normally the customer, to contact Measurement Canada directly.

Measurement Canada sets out Federal Regulations Union Gas must follow with regard to Gas Measurement. Union Gas is a fully accredited Gas Utility with authorization from the Federal Government to test and seal meters.

If a customer requests a meter accuracy check, and it meets the regulated accuracy requirements during the inspection, we may charge any additional cost for the meter removal and test. This is in addition to the Government inspection fee.

## 3.4  Resale Prohibited

Gas shall not be resold or redistributed (pursuant to the definitions of those terms in the OEB Act) directly or indirectly by the customer, except:

- gas purchased under the Company's Rate Schedule M1, M2, Rate 01 and Rate 10 for resale as motor vehicle fuel gas (as that term is defined in Ontario Regulation 805/82), or

- gas purchased under the Company's Rate Schedules M9 and M10 and Rate 77 by a customer, that is itself a distributor of natural gas.

# 4.  Customer Care

Section 4 applies to any customer that has not entered into a Gas Sales Contract with Union Gas.  For customers that have entered into a Gas Sales Contract with Union Gas, the terms and conditions set out in that contract will supersede the information contained within this section.

In accordance with Union’s Submission to the Ontario Energy Board regarding customer service standards for natural gas distributors, modifications to Union Gas’ Conditions of Service will be implemented by March 1, 2012.

## 4.1 Establishing an Account

Whether a new customer or moving from an existing Union Gas account, customers should notify Union Gas before taking possession of a new home.  Account requests can be submitted online or by phone at 1-888-774-3111.  Accounts are subject to a one-time activation fee.  Customers with Union Gas may be required to provide a security deposit.  See section 4.11 for details.

Once delivery of gas to a premise has been established, a contract between the customer and Union Gas is in effect until delivery of gas is discontinued.  The customer agrees to pay for services provided, and is liable for all gas supplied to the premises and for the safe custody of Union Gas property.

## 4.2 Meter Reading

Union Gas makes every effort to read all meters on a monthly schedule.  Sometimes we estimate bills if inaccessibility or weather prevents us from reading the meter within a few days of the normal date.

Customers may elect to supply their own meter reading either online or by telephone at 1-888-774-3111.  When submitted on a timely basis, these readings will be used in the monthly bill calculation.

If usage is estimated, any necessary adjustments will be included in the next actual meter reading.

On rare occasions, we may have to estimate a bill if the metering equipment malfunctions or has been damaged.

Commercial / industrial non-contract excess pressure customers’ meters may be read daily or weekly.

## 4.3 Billings for Accounts

Consolidated Billing

Customers may combine several meters on to one gas bill if the meters are located on contiguous tracts of land not divided by a public right-of-way.  In such cases, an additional service charge as specified in the current rate order shall be rendered each month for each of these meters.

Master Summary Billing

Master Summary Billing summarizes the invoices associated with multiple accounts on one Master Account.  Customers choosing this option receive no more than four Master bills per month, depending on the number and location of meters included in their various individual accounts.

## 4.4 Bill issuance and Payment

Bills are issued on a monthly basis.  Invoices are due when rendered and customers are provided a period of 20 days for payment before a Late Payment Charge is applied to their account.  Both the invoice issue date and the Late Payment applicable date are printed on all invoices.  Whether the customer is issued a paper or electronic invoice, the dates and timelines are the same.

Gas Charges are calculated using rates approved by the Ontario Energy Board.

Each monthly gas invoice will include a set ‘monthly charge’ that is a set amount charged to every customer regardless of the amount of gas used.  It partially covers the cost of maintaining a safe gas distribution system 24 hours a day, every day.  The monthly charge will be prorated on initial, final and seasonal invoices when the period covered by the bill is less than 25 days.  The amount of the monthly charge is part of the approved Ontario Energy Board rate structure.

Invoices are due when rendered. Union Gas’ billing and payment options include:

- Automatic payment plan: 
Automatically withdraw payment from your bank account.

- Paperless billing:
Use Union Gas’ free paperless billing option to receive your bill online.

- Equal Billing Plan:
Enjoy the benefits of predictable monthly billings all year.

- Combine Billing and Payment Options:
Bundle Paperless Billing, Equal Billing Plan and the Automatic Payment Plan to make monthly payments even more convenient.

- Join our billing and payment options online or by telephoning 1-888-774-3111.

- More payment options:

- Online banking through your financial institution

- Telephone banking

- Automatic Teller machine

- In person at most banks and financial institutions

- Mail your payment directly to Union Gas.

When payment of the monthly invoice has not been made in full 20 days after the bill has been issued, an Ontario Energy Board approved late payment charge equal to 1.5% (annual effective rate of 19.56%) of any unpaid balance, including previous arrears will be charged.

The Late Payment fee is not applied to unpaid security deposit amounts.

Payments are posted to customer accounts based on the day the payment is received. The date of receipt of mailed payment will be the postmark date on the envelope.

## 4.5 Allocation of Payments between gas and non-gas charges

Payments are applied to charges based on date (oldest paid first), then based on the priority for additional charges incurred at the same time.

For any charges in arrears, payment will be applied to the oldest charge first and Late Payment fees will be applied to the outstanding balance.

Union Gas does not provide joint billing services for rentals or third party services.

## 4.6 Correction of Billing Errors

If a billing error occurs, customers should contact our Customer Contact Centre at 1-888-774-3111 to request a billing investigation.

With the exception of tampering or theft of gas:

- If the error resulted in over-billing, it will be corrected for a period of up to two years.  The customer may request a refund or opt to leave the credit amount on their account to cover future bills.

- If the error resulted in under-billing, it will be corrected for a period of up to one year.  If required, Union Gas will work with the customer to determine a mutually agreeable repayment schedule.

- If the time period cannot be reasonably determined, the error will be corrected for a period of up to three months.

## 4.7 Equal Billing Plan

The Equal Billing Plan offers residential customers the convenience of equal payments throughout the year.  Using the prior year’s usage history and the current gas rate, we estimate the total annual gas charges and divide the amount into eleven equal monthly payments.  Each invoice will show how much gas has actually been used to date and how much has been billed.  Periodically, we review each account to ensure that usage is in line with the monthly payment amounts, and may adjust the monthly payment amount accordingly.  At the end of the plan year in August, each account will be credited or debited for any difference between the amount paid and the amount actually used.

Payment of the monthly instalment is required to continue on the plan.  Customers in arrears are generally required to resolve the arrears before joining the Equal Billing Plan; however, Union Gas will work with customers to combine arrears with the Equal Billing Plan at the request of the customer.

## 4.8 Discontinuance of Gas Delivery – Customer Initiated

Customers who require a temporary disconnection of their gas service should contact Union Gas at 1-888-774-3111.  During the temporary disconnection, customers must either continue to pay the monthly fixed charge or pay a disconnection and reconnection fee.

## 4.9 Disconnection for Non-payment

If any charges remain unpaid after the date shown on the invoice, Union Gas has the right to discontinue delivery of gas service.

- Residential Accounts - If the customer does not initiate action to manage their arrears, delivery may be discontinued after giving prior notification through a message on the bill or through other written notification to the customer.  In addition to a bill message or written notification, Union Gas attempts to reach the customer by telephone prior to issuing a disconnect order.

Non Residential Accounts - If the customer does not initiate action to manage their arrears, delivery may be discontinued after giving prior notification through a message on the bill or through other written notification to the customer.  In addition to a bill message or written notification, Union Gas attempts to reach the customer by telephone prior to issuing a disconnect order.

At any time prior to service disconnection, a customer can make a payment at a financial institution   and notify Union Gas with a payment verification number to cancel the disconnection order.

If during the disconnection notice period, a third party, who has been designated by the customer, or a registered charity, government agency or social service agency, advises Union Gas that they are attempting to arrange assistance to help the customer pay their outstanding arrears, Union Gas will cancel the disconnection order and will delay further action for two weeks.  If mutually agreeable payment arrangements are created during this process, but are subsequently missed, the account may be disconnected without further notice.

Once the account is paid in full, including any reconnection charges or security deposit required, Union Gas reconnects gas service for the account within two business days.

## 4.10 Discontinuance of Gas Delivery for other than Non-payment

If we need to temporarily discontinue delivery of gas for meter maintenance, a meter change or line maintenance, Union Gas will make arrangements with the customer in advance as we will need access to the premises to relight and inspect the gas appliances.  For safety reasons, gas service cannot be reinstated until this inspection is completed by one of our qualified technicians.

Note:  The above inspections are free, however, if the inspection is carried out at the request of a third party (i.e., lawyer, real estate broker, etc.) then the customer will be charged for the inspection.

We may discontinue service at any time for emergency or safety reasons including:

- a gas leak or potential safety issue in your neighbourhood

- fraudulent use of gas

- any condition affecting appliances or piping which we believe is dangerous to life or property

- the use of gas for any purpose other than that described in the service application, gas sales contact, rate schedule or these rules and regulations

- if we are refused access for any lawful purpose to the premises to which gas is supplied

- when a customer tampers with, damages or destroys our property on their premises

## 4.11 Security deposits

If you are a new customer to Union Gas or if future payment cannot be assured, you are required to provide a security deposit.

Residential Customers - The deposit will be a maximum of two highest months’ of gas usage based on the last 12 months usage history or $250.00 if there is insufficient historical usage information for the premises.  

In the majority of cases, Union Gas will waive the security deposit if the customer enters into both the Equal Billing Plan and the Automatic Payment Plan or provides a letter of reference with a good rating from a Canadian natural gas or hydro utility dated within the past 60 days. 

Deposits are automatically refunded with interest to the customers’ account once the customer has exhibited twelve months of good payment history.  When the deposit is applied, the customer has the option of leaving the credit amount on their account for future bills or requesting a refund.

Non-Residential Customers - The deposit amount will be a maximum of the three highest consecutive months’ usage history or $500.00 if there is insufficient historical usage information for the premises.  The deposit is refunded with interest after five years of exhibiting financial stability through a good payment history.

The security deposit may be waived if the customer meets certain criteria.  

Acceptable types of security deposits are as follows:

- Money orders or certified cheques

- Letter of Guarantee such as a guarantee of customer payment by a financial institution.

If you do not provide the requested security deposit, delivery of gas will be discontinued.  Once the account is paid in full, including the outstanding security deposit, the reconnection charge and any arrears, Union Gas will reconnect the gas service within two business days.

- All monetary deposits earn simple interest based on the current bank savings rate.  The interest is calculated monthly.

- When the customer moves or discontinues gas service, the security deposit is applied to the customer’s account.

## 4.12 Arrears Management Programs

Union Gas has arrears management programs available to customers who are unable to pay their gas charges.  Union Gas works with customers to find mutually agreeable payment plans that could extend up to several months depending on the individual circumstances.  Customers requiring payment assistance can contact a Union Gas representative at our contact centre by telephoning 1-888-774-3111.

Union Gas may contact the customer if their account is in arrears and if negotiated payment arrangements are missed or cancelled.

## 4.13 Management of Customer Accounts

Union Gas will verify the identity of a customer prior to discussing account specific information.  In accordance with applicable privacy laws, any personal information related to the account will only be shared with the party named as the customer on the account, unless written or verbal consent is provided by the party named as the primary customer on the account.

Union Gas will accept notification to transfer service to a third party name from vendors, purchasers, builders, vendor or purchaser solicitors, power of attorney or property owner/manager or housing administrator.  Landlord instructions are maintained with direction from the owner on the management of gas service during a property vacancy and this direction is followed in the absence of a tenant contract.  We do not accept new tenant information from vacating tenants.

## 4.14 Customer Complaint Policy

- Union Gas will respond to all written customer complaints by e-mail or in writing (unless otherwise agreed to by the customer) within 10 calendar days.

- Written complaints can be mailed to:

- Union Gas Limited

- P.O. Box 2001

- 50 Keil Drive North

- Chatham, Ontario

- N7M 5M1

For more information, please read our Customer Complaint Policy.