## 2011 and 2012 Load Forecast
Chapleau Public Utilities Corporation
Load Forecast Bridge Year
Load Forecast
Customer Classes | 2011 Bridge Year |  | Loss | 2011
| kWh | kW | Factor | kWh
Residential Customers | 14430938 |  | 1.0654 | 15374721.3452
Gen Service <50 kW Customers | 5099927 |  | 1.0654 | 5433462.2258
Gen Service >50 kW Customers | 7367030 | 19462 | 1.0654 | 7848833.762
Unmetered Scattered Load | 7243 |  | 1.0654 | 7716.6922
Sentinel Lighting | 26021 | 66 | 1.0654 | 27722.7734
Street Lighting | 293647 | 780 | 1.0654 | 312851.5138
TOTAL Customers/Connections | 27224806 | 20308 | 1.0654 | 29005308.3124
Load Forecast Test Year
Load Forecast
Customer Classes | 2012 Test Year |  | Loss | 2012
| kWh | kW | Factor | kWh
Residential Customers | 14574912 |  | 1.0671 | 15552451.3478
Gen Service <50 kW Customers | 5255040 |  | 1.0671 | 5607495.5328
Gen Service >50 kW Customers | 7658952 | 19530 | 1.0671 | 8172637.9106
Unmetered Scattered Load | 7272 |  | 1.0671 | 7759.733
Sentinel Lighting | 25944 | 66 | 1.0671 | 27684.0641
Street Lighting | 294624 | 780 | 1.0671 | 314384.4317
TOTAL Customers/Connections | 27816744 | 20376 | 1.0671 | 29682413.0201

## 2011 Cost of Power
Chapleau Public Utilities Corporation
Cost of Power - Bridge Year 2011
2011 Load Forecast | kWh | kW | % RPP
Residential Customers | 14430938 |  | 97.11%
Gen Service <50 kW Customers | 5099927 |  | 98.65%
Gen Service >50 kW Customers | 7367030 | 19462 | 0%
Unmetered Scattered Load | 7243 |  | 0
Sentinel Lighting | 26021 | 66 | 0
Street Lighting | 293647 | 780 | 0
TOTAL | 27224806 | 20308 | 73.22%
2011 Load Forecast | 2011 Forecast | 2011 Loss | kWh | 2011 Cost | 2011
RPP Customers | kWh | Factor | Purchases | per kWh | Cost of Power
Residential Customers | 14014550 | 1.0654 | 14931101.57 | 0.07298 | 1089671.7926
Gen Service <50 kW Customers | 5031215 | 1.0654 | 5360256.461 | 0.07298 | 391191.5165
Gen Service >50 kW Customers | 0 | 1.0654 | 0 | 0.07298 | 0
Unmetered Scattered Load | 7243 | 1.0654 | 7716.6922 | 0.07298 | 563.1642
Sentinel Lighting | 26021 | 1.0654 | 27722.7734 | 0.07298 | 2023.208
Street Lighting | 293647 | 1.0654 | 312851.5138 | 0.07298 | 22831.9035
TOTAL | 19372676 |  | 20639649.0104 |  | 1506281.5848
2011 Load Forecast | 2011 Forecast | 2011 Loss | kWh | 2011 Cost | 2011
Non RPP Customers | kWh | Factor | Purchases | per kWh | Cost of Power
Residential Customers | 416388 | 1.0654 | 443619.7752 | 0.07298 | 32375.3712
Gen Service <50 kW Customers | 68712 | 1.0654 | 73205.7648 | 0.07298 | 5342.5567
Gen Service >50 kW Customers | 7367030 | 1.0654 | 7848833.762 | 0.07298 | 572807.888
Unmetered Scattered Load | 0 | 1.0654 | 0 | 0.07298 | 0
Sentinel Lighting | 0 | 1.0654 | 0 | 0.07298 | 0
Street Lighting | 0 | 1.0654 | 0 | 0.07298 | 0
TOTAL | 7852130 |  | 8365659.302 |  | 610525.8159
2011 Transmission Network |  | Unit |  | 2011 Cost | 2011
Customer Class |  | kW/kWh |  | per kW/kWh | NW Cost
Residential Customers |  | kWh | 15374721.3452 | 0.0057 | 87635.9117
Gen Service <50 kW Customers |  | kWh | 5433462.2258 | 0.0051 | 27710.6574
Gen Service >50 kW Customers |  | kW | 19462 | 2.086 | 40597.732
Unmetered Scattered Load |  | kWh | 7716.6922 | 0.0051 | 39.3551
Sentinel Lighting |  | kW | 66 | 1.5813 | 104.3658
Street Lighting |  | kW | 780 | 1.5733 | 1227.174
TOTAL |  |  |  |  | 157315.1959
2011 Transmission Connection |  | Unit |  | 2011 Cost | 2011
Customer Class |  | kW/kWh |  | per kW/kWh | CN Cost
Residential Customers |  | kWh | 15374721.3452 | 0.0015 | 23062.082
Gen Service <50 kW Customers |  | kWh | 5433462.2258 | 0.0014 | 7606.8471
Gen Service >50 kW Customers |  | kW | 19462 | 0.5269 | 10254.5278
Unmetered Scattered Load |  | kWh | 7716.6922 | 0.0014 | 10.8034
Sentinel Lighting |  | kW | 66 | 0.4159 | 27.4494
Street Lighting |  | kW | 780 | 0.4074 | 317.772
TOTAL |  |  |  |  | 41279.4817
2011 Wholesale Market Service |  | Unit |  | 2011 Cost | 2011
Customer Class |  | kW/kWh |  | per kW/kWh | NW Cost
Residential Customers |  | kWh | 15374721.3452 | 0.0052 | 79948.551
Gen Service <50 kW Customers |  | kWh | 5433462.2258 | 0.0052 | 28254.0036
Gen Service >50 kW Customers |  | kWh | 7848833.762 | 0.0052 | 40813.9356
Unmetered Scattered Load |  | kWh | 7716.6922 | 0.0052 | 40.1268
Sentinel Lighting |  | kWh | 27722.7734 | 0.0052 | 144.1584
Street Lighting |  | kWh | 312851.5138 | 0.0052 | 1626.8279
TOTAL |  |  | 29005308.3124 |  | 150827.6032
2011 Low Voltage |  | Unit |  | 2011 Cost | 2011
Customer Class |  | kW/kWh |  | per kW/kWh | CN Cost
Residential Customers |  | kWh | 15374721.3452 | 0.0012 | 18449.6656
Gen Service <50 kW Customers |  | kWh | 5433462.2258 | 0.0011 | 5976.8084
Gen Service >50 kW Customers |  | kW | 19462 | 0.4424 | 8609.9888
Unmetered Scattered Load |  | kWh | 7716.6922 | 0.0011 | 8.4884
Sentinel Lighting |  | kW | 66 | 0.3492 | 23.0472
Street Lighting |  | kW | 780 | 0.342 | 266.76
TOTAL |  |  |  |  | 33334.7584
2011 Cost of Power Summary | Account
| Number | 2011
Cost of Power | 4705 | 2116807
Cost of Transmission Network | 4714 | 157315
Cost of Transmission Connection | 4716 | 41279
Cost of Wholesale Market Service | 4708 | 150828
Cost of Low Voltage | 4750 | 14000
TOTAL |  | 2480229

## 2012 Cost of Power
Chapleau Public Utilities Corporation
Cost of Power - Test Year 2012
2012 Load Forecast | kWh | kW | % RPP
Residential Customers | 14574912 |  | 97.14%
Gen Service <50 kW Customers | 5255040 |  | 98.69%
Gen Service >50 kW Customers | 7658952 | 19530 | 2.114%
Unmetered Scattered Load | 7272 |  | 0%
Sentinel Lighting | 25944 | 66 | 0%
Street Lighting | 294624 | 780 | 0%
TOTAL | 27816744 | 20376 | 73.2%
2012 Load Forecast | 2012 Forecast | 2012 Loss | kWh | 2012 Cost | 2012
RPP Customers | kWh | Factor | Purchases | per kWh | Cost of Power
Residential Customers | 14158524.2541 | 1.0671 | 15108136.4758 | 0.07298 | 1102591.8
Gen Service <50 kW Customers | 5186328.25 | 1.0671 | 5534175.2857 | 0.07298 | 403884.1124
Gen Service >50 kW Customers | 161901.8204 | 1.0671 | 172760.5755 | 0.07298 | 12608.0668
Unmetered Scattered Load | 7272 | 1.0671 | 7759.733 | 0.07298 | 566.3053
Sentinel Lighting | 25944 | 1.0671 | 27684.0641 | 0.07298 | 2020.383
Street Lighting | 294624 | 1.0671 | 314384.4317 | 0.07298 | 22943.7758
TOTAL | 19834594.3245 |  | 21164900.5658 |  | 1544614.4433
2012 Load Forecast | 2012 Forecast | 2012 Loss | kWh | 2012 Cost | 2012
Non RPP Customers | kWh | Factor | Purchases | per kWh | Cost of Power
Residential Customers | 416387.7459 | 1.0671 | 444314.8721 | 0.07298 | 32426.0994
Gen Service <50 kW Customers | 68711.75 | 1.0671 | 73320.2471 | 0.07298 | 5351.2116
Gen Service >50 kW Customers | 7497050.1796 | 1.0671 | 7999877.3351 | 0.07298 | 583831.0479
Unmetered Scattered Load | 0 | 1.0671 | 0 | 0.07298 | 0
Sentinel Lighting | 0 | 1.0671 | 0 | 0.07298 | 0
Street Lighting | 0 | 1.0671 | 0 | 0.07298 | 0
TOTAL | 7982149.6755 |  | 8517512.4543 |  | 621608.3589
2012 Transmission Network |  | Unit |  | 2012 Cost | 2012
Customer Class |  | kW/kWh |  | per kW/kWh | NW Cost
Residential Customers |  | kWh | 15552451.3478 | 0.0061 | 94869.9532
Gen Service <50 kW Customers |  | kWh | 5607495.5328 | 0.0054 | 30280.4759
Gen Service >50 kW Customers |  | kW | 19462 | 2.2191 | 43188.1242
Unmetered Scattered Load |  | kWh | 7759.733 | 0.0054 | 41.9026
Sentinel Lighting |  | kW | 66 | 1.6822 | 111.0252
Street Lighting |  | kW | 780 | 1.6737 | 1305.486
TOTAL |  |  |  |  | 169796.9671
2012 Transmission Connection |  | Unit |  | 2012 Cost | 2012
Customer Class |  | kW/kWh |  | per kW/kWh | CN Cost
Residential Customers |  | kWh | 15552451.3478 | 0.0015 | 23328.677
Gen Service <50 kW Customers |  | kWh | 5607495.5328 | 0.0014 | 7850.4937
Gen Service >50 kW Customers |  | kW | 19462 | 0.5366 | 10443.3092
Unmetered Scattered Load |  | kWh | 7759.733 | 0.0014 | 10.8636
Sentinel Lighting |  | kW | 66 | 0.4236 | 27.9576
Street Lighting |  | kW | 780 | 0.4149 | 323.622
TOTAL |  |  |  |  | 41984.9232
2012 Wholesale Market Service |  | Unit |  | 2012 Cost | 2012
Customer Class |  | kW/kWh |  | per kW/kWh | NW Cost
Residential Customers |  | kWh | 15552451.3478 | 0.0052 | 80872.747
Gen Service <50 kW Customers |  | kWh | 5607495.5328 | 0.0052 | 29158.9768
Gen Service >50 kW Customers |  | kWh | 8172637.9106 | 0.0052 | 42497.7171
Unmetered Scattered Load |  | kWh | 7759.733 | 0.0052 | 40.3506
Sentinel Lighting |  | kWh | 27684.0641 | 0.0052 | 143.9571
Street Lighting |  | kWh | 314384.4317 | 0.0052 | 1634.799
TOTAL |  |  | 29682413.0201 |  | 154348.5477
2012 Low Voltage |  | Unit |  | 2012 Cost | 2012
Customer Class |  | kW/kWh |  | per kW/kWh | CN Cost
Residential Customers |  | kWh | 15552451.3478 | 0.0012 | 18662.9416
Gen Service <50 kW Customers |  | kWh | 5607495.5328 | 0.0011 | 6168.2451
Gen Service >50 kW Customers |  | kW | 19462 | 0.4424 | 8609.9888
Unmetered Scattered Load |  | kWh | 7759.733 | 0.0011 | 8.5357
Sentinel Lighting |  | kW | 66 | 0.3492 | 23.0472
Street Lighting |  | kW | 780 | 0.342 | 266.76
TOTAL |  |  |  |  | 33739.5184
2012 Cost of Power Summary | Account
| Number | 2012
Cost of Power | 4705 | 2166223
Cost of Transmission Network | 4714 | 169797
Cost of Transmission Connection | 4716 | 41985
Cost of Wholesale Market Service | 4708 | 154349
Cost of Low Voltage | 4750 | 16000
TOTAL |  | 2548354