2008 Electricity Distribution Rates

Board Staff Interrogatories

Erie Thames Powerlines Corporation (Erie Thames)

EB-2007-0928

SUPPLEMENTAL INTERROGATORIES

SHARED SERVICES

1.	Ref: Exh 4 /Tab 2/ Sch 4

In its response to Board staff interrogatory #12 in Schedule 12 entitled “Affiliate Transactions”, Erie Thames provided details of the transactions, summarized in the table below:

|  | 2006 Actual | 2007 Bridge | 2008 Test |
| --- | --- | --- | --- |
| Erie Thames Service Corp. | $2,979,797 | $3,030,390 | $2,974,753 |
| Erie Thames Power Corp. | $723,165 | $848,003 | $986,643 |
| RDI Consulting Inc. | $35,406 | $70,812 | $72,228 |
| Utilismart Corporation | $57,600 | $115,200 | $117,504 |
| Total | $3,795,968 | $4,064,405 | $4,151,128 |

(i)	Please confirm that Erie Thames agrees with the summary of Schedule #12 contained in the above table or, if not, please make any necessary corrections and provide explanations.

- Confirmed.

(ii)	In response to Board staff interrogatory #13, Erie Thames provides Schedule #13, which includes a line item “Total Expenses Paid to Affiliates.” These amounts are $3,576,432, $3,828,360, and $3,951,866 for 2006, 2007 and 2008 respectively.  Please provide a reconciliation between these numbers and those contained in Schedule 12 and summarized above.

- In response to Board Staff Interrogatory #13 ETPL did not include charges for Rent and Bank interest Expense.  With the inclusion of these amounts the two schedules referenced would reconcile.

2.	Ref: Exh 4 / Tab 2 / Sch 4

Erie Thames describes the cost allocator for OM&A services received from Servco as “Fixed Price Per Customer.” These costs were also stated to “represent a 2% reduction in per customer costs.”

(i)	Board staff interrogatory # 14, part (a) asked Erie Thames to provide a detailed description of how the fixed price was determined. Erie Thames’s response was that:

“The fixed price was determined during the onset of deregulation of the Ontario market and utilized the cost base from 1999 and determined a fixed price per customer based on 1999 customer counts. The fixed price is included in the MSA between Erie Thames and ETS.”

(a)	Please provide a detailed explanation of how the fixed price was determined including the components of the cost base for 1999 that were used and an illustrative calculation of how the fixed price would be determined using the 1999 customer counts and the charges outlined in Schedule B of the Master Services Agreement.  Please also provide updated Schedule B calculations for years subsequent to 2003.

- There have been no updates to Schedule B for years subsequent to 2003.  ETPL has continued to pay the 2003 rate in order to keep ETPL immune from inflationary factors.

- Please see attached Schedule #2 A in this response for an illustrative calculation.

(b)	Please discuss what provisions exist for updating the calculation for changes that may have occurred since 1999, or if no such provisions exist, please explain why Erie Thames does not consider them necessary.

- There are provisions for costs to be charged for services rendered that did not occur in 1999, many of which are driven by regulations that did not exist in 1999 costs.  There are also provisions for ETPL to reduce costs where services that were provided in 1999 are no longer necessary.  ETPL management negotiates with its affiliate any changes to charges due to changes in the operation of ETPL since its 1999 base.

(ii)	Part b of the same interrogatory asked the Applicant to explain what was meant by the above-referenced 2% reduction in customer costs. Erie Thames’s response was that:

“The 2% reduction referenced in this schedule relates to the actual fixed charge per customer billed to Erie Thames was reduced by 2% and has since reached its lowest point as per the MSA. There was an increase in this amount since the 2% reduction in the fixed charge as detailed in the MSA has completed and since this is a per customer charge the total amount has escalated with the addition of customers.”

(a)	Please provide a detailed explanation as to how the 2% reduction was determined and why it was considered to be reasonable

- The 2% reduction was determined on the basis of the Productivity Factor in the Performance Based Regulation that was originally proposed in the deregulated market at the time of market opening from the original Distribution Rate Handbook from 1998.

(b)	Please state where in the Master Services Agreement the reduction is outlined

- The reduction is outlined in schedule B of the Master Services Agreement.   The fixed prices outlined in the schedule reduce by 2% per year as outlined in the schedule.  Once the final level of the fixed price was reached the fixed charge per customer has remained unchanged.

(c)	Please clarify the interrogatory responses that this charge “has since reached its lowest point as per the MSA” and “There was an increase in this amount since the 2% reduction in the fixed charge as detailed in the MSA has completed.”

- Once the fixed price charge reached its lowest level as detailed in Schedule B of the MSA no further reduction or increase has been factored in to the fixed price contract.  The statement regarding the increase relates to the fact that the fixed charge has not changed and since the number of customers has increased so has the total charge to ETPL.

3.	 Ref: Exh 4 / Tab 2 / Sch 4

Board staff interrogatory # 15a asked Erie Thames to provide a detailed explanation for the 74% increase in Executive Services costs in the 2006 to 2008 period. In its response, Erie Thames referred staff to its response to Board staff interrogatory # 1 which does not explain why these costs increased. Please provide the requested detailed explanation.

|  | 2006 | 2007 | 2008 |
| --- | --- | --- | --- |
| Executive services | actual | bridge | Test |
| Charged to ETPL | $503,629 | $703,914 | $878,453 |
| Amount included in building rent in 2006 |  | ($91,956) | ($91,072) |
|  | $503,629 | $611,958 | $787,381 |

- The increase from 2006 to 2007 can be attributed to the addition of 4 independent directors to the ETPL Board as part of complying with the Affiliate Relationship Code requirements and the addition of 3 executives in the third quarter of 2007.  The full impact of these changes are reflected in 2008.  The employee count in ETPC has gone from 4 in 2006 to 7 in 2008, while the number of directors have gone from 7 in 2006 to 11 in 2007and 2008.

SERVICE RELIABILITY

4.	Ref:  Response to Board staff Interrogatory #26 – Service Reliability

In its response to the request for its reliability performance as measured by Service Reliability Indicators reported to the Board, Erie Thames provided a spreadsheet in Schedule #26.  The following annual performance results are summarized from Schedule 26 in the table below:

|  | SAIDI | SAIFI | CAIDI |
| --- | --- | --- | --- |
| 2002 | 3.75232 | 0.63372 | 5.92112 |
| 2003 | 1.99239 | 0.51835 | 3.84374 |
| 2004 | 0.68405 | 0.05469 | 12.50842 |
| 2005 | 1.63168 | 0.84176 | 1.93842 |
| 2006 | 1.14667 | 0.61794 | 1.85562 |
| 2007 | 3.14182 | 2.07892 | 1.51128 |

Board staff observes from the data in the table that:

In 2005 the SAIFI figure exceeded the range of performance in the prior three years (2002-4).

In 2007 both the SAIDI and the SAIFI exceeded the range of performance in the prior five year period (2003-6).

a.	Erie Thames responded to Board staff Interrogatory #26 c) stating that “Erie Thames does not have reliability improvement targets”.  Please advise whether Erie Thames seeks, at minimum, to remain “within the range of its historical performance” as called for by the Board in the 2006 Electricity Distribution Handbook at sec 15.2.1?

- ETPL has historically maintained a consistent level of Service Reliability Indicators that meet or exceed Board prescribed levels.  ETPL does strive to maintain a high level of reliability for its customers and should these  indicators reach a level that is not within ETPL’s historical performance measures would be taken to rectify any sections of its distribution system that specifically relate to an increase in these measures.

b.	If Erie Thames does not have internal, operational targets for service reliability, how does Erie Thames try to meet the Board requirement that they maintain reliability within the range of historical performance?

- ETPL prepares its capital expenditure and maintenance plans with service reliability a key measure in determination of work plans.  While no internal targets for service reliability exist ETPL does work to ensure that ETPL’s Service Reliability Indicators meet and exceed levels required by the Ontario Energy Board in the Electricity Distribution Handbook.

c.	Please advise whether Erie Thames has identified the causes of its unsatisfactory 2007 reliability performance relative to recent history and, if so, please provide an explanation of the causes. If the causes have not been identified, please explain why they have not been identified and when it expects to do so.

- Yes Erie Thames has identified the causes of the unsatisfactory results for 2007’s reliability:

- In 2007 for a large part the causes of the outages were outside of the utilities control.  Erie Thames has experienced an increase in storm events and extreme weather conditions in 2007 that blew through our service territory with high intensity.  Some of these storm events impacted our feeders which tie large customer counts to a single event hence and increase in performance issues.  A review of the events have revealed trees to be a contributing issue however it has been determined to be outside of the control of the utility and normal tree trimming practices due to the intensity of the storms.

- In 2007 the increased storm events have caused an increase to ETPL’s auto reclose events.  Almost all of the communities Erie Thames provide service to are embedded within Hydro One.  The feeders that have contributed to a large percentage of the auto reclose events are usually the longest feeders to which we are embedded within and the furthest away from the Transmission Station.

- Also in 2007 Erie Thames had done some feeder enhancement type projects to which we have attributed an increase in the scheduled outages.  The quantity of scheduled outage events has been consistent however the customer counts tied to these projects requiring outages were significant in numbers, some of which impacting an entire community.

- Erie Thames is starting to see increased in outages on aging underground infrastructure that are > 30 years old.

- Although Erie Thames has seen an increase our reliability indices it is important to note that the number of events in 2007 was actually down from 2006, however each event was linked to higher concentrations of customers.

d.	Please advise which projects in the 2008 capital expenditure program are directed towards dealing with restoring reliability performance within the range of historical levels prior to 2007?

- In 2008 Erie Thames has a number of programs directed specifically towards improving system reliability back to or better than historical levels, they are:

- Project #1052, end of life pole replacements

- Project #1095, insulator replacement in Ingersoll, Tavistock and Embro

- Project #1104, transformer animal guarding

- Project #1098 Hazzelwood Underground Subdivision Upgrade and Conversion

ASSET CONDITION ASSESSMENT

5.	Ref:  Response to Board staff interrogatory #25 – Asset Condition Assessment

a.	In Schedule 25A, in a diagram explaining Erie Thames’s Asset Investment Strategy, there is no mention of reliability as a trigger for a needs assessment.  Is the identification of low reliability a factor for determining and committing capital expenditures?  Please explain.

- Yes the identification of low reliability is a factor for determining and committing capital expenditures.  Erie Thames has established strategic objectives for the corporation that includes service quality as one of the objectives.  Reliability is monitored on an ongoing bases and when areas or issues of need are identified a project is then established which goes into a portfolio of all projects having needs.  Each project is then scored individually on its own merit analyzing the probability of risk and its consequence. The portfolio of projects is then optimized to achieve the best strategic objectives results for the corporation.  If reliability is determined to be an ongoing issue for Erie Thames the weighting of service quality can then be adjusted accordingly so that reliability centered projects will score higher in the assessment.

b.	Please provide copies of any Asset Condition Assessment studies done in support of capital expenditures undertaken or forecasted in the historical, bridge and test years (i.e. for 2006 to 2008).

- An asset condition assessment (Pole Study) study that was completed has been provided as Schedule # 25 C in the first interrogatory responses.

- Ongoing assessments in each of ETPL’s municipalities served are part of ETPL’s plan for monitoring asset condition.  These assessments help facilitate the needs assessment process of ETPL’s Asset Management Plan.

- Ongoing system inspections are performed on one-third of the distribution system annually.  The results of these inspections are currently only available in hard copy and as such are not in a format that can be provided in this process.

- A copy of the distribution inspection process is attached as Schedule # 5 B.

RATE BASE

6.	Ref: Response to Board staff interrogatory # 19 - Rate Base Summary and Continuity Statements

The following table lists the average Net Fixed Assets listed in Schedules 19A – Rate Base Summary, 19B – Gross Assets, 19C – Continuity Statements and 19D – Materiality Analysis Calculation, provided in response to Board staff interrogatory #19 c).

Please confirm and reconcile the following numbers:

a)	Accumulated Depreciation of ($4,897,426) for the 2007 Bridge Year in Schedule 19A versus ($4,898,481) shown in Schedules 19C and 19D;

- Schedule 19 A should equal Schedules 19C and D.

b)	Net Fixed Assets of $16,464,954 for the 2007 Bridge Year in Schedule 19A versus $16,463,899 shown in Schedules 19C and 19D;

- Schedule 19 A should equal Schedules 19C and D.

c)	Net Fixed Assets of $16,555,751 for the 2008 Test Year in Schedule 19A versus $17,326,292 in Schedule 19C and $16,652,345 in Schedule 19D.

- Schedule 19 A is the only Schedule that utilizes an average of costs to match Rate Base calculated in the rate model utilized.  In order to illustrate rate base applied for Schedule 19 A utilizes the average costs.

- Schedule 19 C had a calculation error in the net fixed assets column and if the Gross Assets listed in the Schedule of $22,485,380 and the Accumulated Amortization of $5,833,036 are netted against one another the result is $16,652,345 which matches Schedule 19D.

d)	The Total Closing Balance for 2008 Net Fixed Assets is shown as $17,326,292 in Schedule 19C.  However, Board staff believes that, based on arithmetic calculation the total (closing balance) for 2008 should be $16,652,344 ($22,485,380 - $5,833,036).  Please confirm and reconcile.

- Confirmed please see response to question C above.

e)	The Total average Balance for 2008 Net Fixed Assets is shown as $17,232,597 in Schedule 19C.  However, Board staff believes that, based on arithmetic calculation the total average balance for 2008 should be $16,558,122 ($21,923,880 - $5,365,758). Please confirm and reconcile.

- Confirmed as mentioned above there was a calculation error in Schedule 19 C.

f)	Based on the numbers provided in the Schedules, it appears that the Rate Base determination shown in Schedule 19A is based on 2008 total (i.e. year-end) numbers.  Please confirm and explain why Erie Thames is not using average in-service assets to determine its rate base and revenue requirement.

- ETPL is using average in-service assets to determine its rate base and revenue requirement.

- The model utilized did take an average of both gross assets and accumulated amortization.  The schedule provided netted this average of accumulated amortization with the average of gross assets as opposed to averaging the two figures separately.  The average gross asset value is $21,923,880 and the average accumulated amortization is $5,365,758 for a Net Fixed asset amount of $16,558,122.

- The Net Fixed Asset amount reported in Schedule 19 A is the amount utilized in the rate model and immaterial lower than that calculated in Schedules 19 C and D.

LOAD FORECASTING

7. Ref: 	Exhibit 3/ Tab 2/ Schedule 1/ page 1

On page 1, Erie Thames states that the weather normalization that was generated was performed by Hydro One.

Please provide the Hydro One report and any spreadsheets received from Hydro One containing data supporting the calculation of the normalized historical load. In particular, please provide any summary reports that the Applicant received from Hydro One that show the weather correction factors by class (as distinct from raw unprocessed data).

- The Hydro One report and spreadsheets received from Hydro One have already been provided in both the original filing and the first round of interrogatories and are included again as Schedule #7 A in this response.  Also all data provided to Hydro One is included as Schedule #7 B.

8. Ref: 	Exhibit 3/ Tab 2/ Schedule 1/ page 3

Erie Thames outlines on page 3 the method used for determining the class loss factors.

Please provide:

a)	a detailed description of this process, and

- The Loss factor is calculated by dividing the Weather Actual Wholesale kWh by the Weather Actual Retail kWh.

b)	the supporting values and calculations.

- The information displayed in Exhibit 3, Tab 2, Schedule 1, page 3 was inaccurate, a new version of this data is included as Schedule # 8.

9. Ref: 	Exhibit 3/ Tab 2/ Schedule 1/ page 4

Erie Thames notes on page 4: “Billed kW is estimated based on a load factor calculated using a ratio of historical billed kW to historical retail kWh, by class.”  In response to Board Staff interrogatory #36, Erie Thames stated that “This process was not properly represented in Exhibit 3, Tab 2, Schedule 1, page 4” and briefly explains that that the process was actually based on a “NAC kW’ approach that had not been previously mentioned in the evidence.

Please provide:

a)	a detailed description of this process, and

- ETPL utilized the demand data from 2004 actual demands and divided it by the number of customers in the class.  This average demand by customer was multiplied by the projected number of customers in each of 2007 and 2008 to obtain the projected demand for these customer classes.

b)	show the calculation of the of the NAC kW values that the Applicant provided in response to first round Board Staff interrogatory #36 b).

- Please see schedule #9 included in this response.

10. Ref: 	Exhibit 3/ Tab 2/ Schedule 1/ pages 1 to 5

First round Board Staff interrogatory #37 stated: “In pages 1 to 5, the Applicant explains how it determined the 2004 retail normalized average use per customer (“retail NAC”) for each class and apparently used this value for other years also.  This does not appear to adequately weather-normalize the energy usage in historical years and does not allow for the possible change in energy usage per customer over the 2002 – 2008 period due to Conservation and Demand Management, for example.  The minimal amount of weather normalization and the constant retail energy assumption could potentially lead to forecasting errors.”

Erie Thames did not provide responsive information in the first round Board Staff interrogatory #37.  The interrogatory seeks to substantiate the Applicant’s forecast, so it is very important that it be addressed fully.  Please provide the information requested below.

a)	Please file a data table for the historical years 2002 to 2006 (and for the year 2007 if the actual values are available) that shows:

- At the time of filing ETPL did not have annual conversion factors to use in response to this question.  ETPL will work to have these conversion factors as soon as possible and file the response for question 10 in detail at that time.

i.	the actual retail energy (kWh) for each customer class in each year;

ii.	the weather normalized retail energy (kWh) for each customer class in each year (where, for the customer classes that the Applicant has identified as weather sensitive, the weather normalization process should, at a minimum, involve the direct conversion of the actual load to the weather normalized load using a multiplier factor for that year and not rely on results for any other year);

iii.	the values of the weather conversion factors used;

iv.	the customer count for each class in each year;

v.	the retail normalized average use per customer for each class in each year based on the weather corrected kWh data in item ii. above; and

vi.	as a footnote to the table, the source(s) of the weather correction factors.

b)	Please file a data table for the 2002 to 2008 period:

i.	utilizing the retail normalized average use per customer values for each class in

each year obtained in a) v. above for the historical years 2002 to 2006;

ii.	including 2007 and 2008 actuals/projections for the retail normalized average use per customer values (where, for each of the weather-sensitive classes, this is based on trends in the data) for each class; and

iii.	as a footnote to the table, for each of the weather-sensitive classes describe in detail the trend analysis performed in ii. above.

c)	Please file an updated version of the historical/forecast table in Exhibit 3/ Tab 2/ Schedule 1/ page 5, utilizing the weather corrected data determined in b) above.

LV COSTS

11. Ref:  Response to Board staff Interrogatory # 42(b)

a.	Please provide a detailed accounting of Erie Thames’s LV costs at each embedded supply point for a representative recent month.  Please use the format in Schedule # 42, but if there is more than one supply point at which the Shared Line charge is levied by the host distributor, please show the Billing Determinant at each such point.  Similarly, if there is more than one LVDS used by Erie Thames, please show the individual details.

- Please see Schedule #11 A attached to this response.

b.	If the cost of LV service for the month is not approximately 1/12 of the projected cost at $512,713, please provide an explanation of the annual projection.

- The cost of LV service for the month of January and February provided is approximately 1/12 of the projected cost of $512,713.

c.	Please provide a description of the location of the specific line or lines, if they comprise a part of the projected 2008 cost.

- The location of the Specific lines is in the town of Ingersoll related to the service of Cami Automotive.

d.	Please provide an alternative calculation of the cost of LV service based on the assumption that rates would be those applied for by Hydro One (Reference: EB-2007-0681 / Exhibit G1 / Tab 4 / Schedule 4 / Table 1), either for the year or for the month shown in part a).  For convenience, the monthly cost of Shared Line would be $0.58 per kW, Shared LVDS would be $1.24 per kW, and Specific Line would be $729 per km.

- Please see attached Schedule # 11 D in this response.

Customer Classification

12. Ref: Exhibit 8 / Tab 1 / Schedule 1, and response to Board interrogatory 41(a)

Schedule #41 A was provided by Erie Thames in response to the referenced interrogatory which requested information on the energy and revenue delivered to Hydro One as an embedded distributor.   Please provide additional documentation and a detailed breakdown in sufficient detail so as to permit a considerable understanding of the issue.

a.	Do the amounts of revenue, totaling more than $1 million dollars per year, include commodity billing, and/or Retail Transmission Service, and/or amounts billed per approved distribution rates?

- The revenue referenced includes Cost of Power, Transmission rates and all other rates that any other consumer would pay.

b.	Do the two amounts in Schedule 41 A, one measured in kWh and the other in kW, correspond to the two separate deregistered meter points mentioned in response to Energy Probe interrogatory # 2, or are the two points aggregated together?  If the former, why is one of them reported in terms of energy rather than both in kW?

- The two points are aggregated together and the kWh and kW figures are referenced since some charges are billed using kWh as the billing determinant and some charges are billed using kW as the billing determinant.

c.	Is the proposal to treat the two delivery points mentioned in response to the Energy Probe interrogatory as two separate customers, or as a single customer?

- The proposal is to treat the two delivery points as two separate customers.

13. Ref:  Board staff interrogatory # 41

a.	Please confirm that the Erie Thames approved rates did not reflect any revenue offset for revenue due to wheeling electricity to an embedded distributor.

- Confirmed

b.	Did Erie Thames’s application for 2006 electricity distribution rates include the Hydro One delivery points as a GS customer and a Large Use customer, or as some other class of customer, or not at all?

- ETPL’s application for 2006 electricity distribution rates did not include Hydro One delivery points at all.

c.	If the latter, is it correct to conclude that, with Hydro One deregistering two meter points in December 2005, Erie Thames gained revenue from two significant “customers” that were not reflected in the 2002 – 2004 customer data that formed the basis for the 2006 application?

- ETPL did receive revenue from two customers that were not reflected in the 2002-2004 customer data that formed the basis for the 2006 application.  However, the revenue received as stated in Schedule #41 A is significantly related to Cost of Power and other revenues that have been included in ETPL’s variance accounting.

14. Ref: Exhibit 9 / Tab 1 / Schedule 8, and response to Energy Probe interrogatory # 2

If the proposed embedded customer(s) are currently treated as a GS 3000 – 4999 kW customer and a Large User, please provide an  estimate of the total bill impact reflecting the rates currently in effect as the base, compared to the same load with the proposed Embedded Customer rates.

- The proposed Embedded Customers are currently treated as a GS1,000 to 2,999 kW and Large User.  An estimate of the bill impacts is included as Schedule #14 in this response.

Cost Allocation

15. Ref:  Board staff interrogatory # 42

Please file the rolled-up version of Run 3 of the cost allocation model.

- Please See Schedule # 15 included in this response.

Rate Design

16. Ref:  Exhibit 9 / Tab 1 / Schedule 6, page 3, and Schedule 8, page 9

The first reference estimates the total bill impact on Streetlighting at 64% for delivery.  The second reference shows an increase of 586% for distribution, and a minimal decrease for other delivery costs.  The same calculation includes very low commodity usage, and a total bill impact of 192.6%.  Please confirm which reference is more correct, and please provide an updated detailed calculation of the total bill impact in place of the one in Schedule 8.

- The change of $11.02 when compared to the 2007 bill of $5.72 is a total bill impact of 192.6% and this is the most correct impact to reference.

- The % of Total bill column compares the change column against the total 2008 charge which is an incorrect calculation and only the Change % column should be reference.

- Since Exhibit 9 Tab 1, Schedule 8 is most correct an updated Schedule 8 is not required.

Deferral and Variance Accounts

17. Ref: Board Staff IR 49

In its response to Board Staff Interrogatory #49, Erie Thames stated that it accrued costs in accounts 1580, 1582, 1584, and 1586 for Phases I and II of Hydro One’s regulatory asset recovery as approved by the OEB.  However, total Hydro One charges for Phase I and II of Hydro One’s regulatory assets must be accrued in accounts 1586 as per the APH and December 2005 Frequently Asked Questions #8 and #9. Erie Thames is applying for disposition of account 1586.

a.  Please indicate whether Erie Thames followed Board Guidance issued in December 2005 FAQ #8 and #9 pertaining to Hydro One charges for Phase I and II of Hydro One’s regulatory assets.

- Yes ETPL followed the Board Guidance pertaining to Hydro One charges for regulatory assets.

b.  If it did not, please restate the balances of 1580, 1582, 1584, and 1586 to conform with Board guidance.

- Not applicable.

c.  Please show the impact, if any, of the transfer of regulatory assets approved in the 2006 EDR to account 1590 from 1580, 1582, 1584, and 1586.

- Not applicable.

18. Ref: Board Staff IR 49

From the regulatory asset continuity schedule in the response to Board Staff Interrogatory #49, it is unclear whether the transfer to account 1590 for the regulatory assets approved for disposition in 2006 EDR, actually occurred.  $4,286,637 of regulatory assets was approved for disposition in 2006 EDR, and this transfer is not shown in the continuity schedule.

a.  Please update the continuity schedule in interrogatory #49 to show the account balance, including those accounts that are not being requested for disposition.

- Please see Schedule # 18 included in this response.

b.  If the total transfers to 1590 do not equal $4,286,637 (which is the 2006 EDR Board approved amount of regulatory assets), please provide a reconciliation schedule that reconciles the amounts shown in the continuity schedule with the approved Board amount.  Please include and explanation of the causes for the differences.

- The total transfer does equal $4,286,637.

19. Ref: Board Staff IR 46

The response to Board Staff IR 46 was insufficient.  It did not include any description of the accounts being used by Erie Thames.  Provide a description of each account being used by Erie Thames, with the exception of account 1588, for which a description is not required.

- 1550 – LV Variance: tracks the difference between Low Voltage Charges paid and Low Voltage revenue received from customers.

- 1580 – RSVA – WMS: tracks the difference between WMS charges paid and WMS revenue collected from customers.

- 1582 – RSVA – One Time: tracks the one time costs associated with the IESO invoice, there are no customer revenues to offset these amounts.

- 1584 – RSVA – Network: tracks the network costs paid to IESO and Hydro One against the network revenues received from customers.

- 1586 – RSVA – Connection: tracks the connection costs paid to IESO and Hydro One against the connection revenues received from customers.

- 1525 - $75 cheque costs: Records the costs associated in producing and mailing the rebate cheques provided to customers by the Government of Ontario.

- 1555 Smart Meter Capital and Recovery Offset Variance: tracks the revenue received from the smart meter rate adder.

- 1562 – Deferred PILS: tracks the difference between pils allowed in rates and pils revenue collected from customers.

- 1565 – CDM Expenditures and Recoveries: tracks the allowed CDM spend against the actual dollars spent in CDM programs.

- 1570 – Transition: tracks the costs associated with preparation for market opening.

- 1571 – Pre Market Opening: tracks the change in COP variances due to market opening timing.

- 1590 regulatory Asset recoveries: tracks the recovery of regulatory asset recovery revenue against the allowed recovery in rates.

PARTNERSHIP WITH WEST PERTH POWER

19.	With respect to the CNW news release dated March 12, 2008 regarding the partnership agreement between Erie Thames and West Perth Power, please advise the Board how this development may affect Erie Thames’ current application and the rates it is seeking for 2008.

- This development will not affect ETPL’s current application and the rates it is seeking for 2008.  The news release referenced was announcing ETPL and WPPI’s intentions to merge.  However, the news release also referenced that this merger would not be final until approval is received from the Ontario Energy Board.  ETPL and WPPI have yet to file a MAAD application with the board and in this application will address how the merged entity will deal with rate harmonization and synergies.