## 2012
|  |  |  | 2012 Capital Assets by Project |  |  | Uniform System of Accounts #
Project Name | Poles & Fixtures | OH Conductor | UG Conduit | UG Conductor | Transformers | Services | Meters | Building/Fixture | Hardware | Software | Tansportation | Tools | SCADA | Contributed Cap | TOTAL
| 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1860 | 1908 | 1920 | 1925 | 1930 | 1940 | 1980 | 1995
Pole Replacement Program | 150000 | [13 empty] | 150000
New Service Connections & Upgrades | [5 empty] | 285000 | [8 empty] | 285000
Aylmer, Park Street Ph2 | 60000 | 20000 | 40000 | 20000 | 15000 |  | 25000 | [7 empty] | 180000
Belmont Hazelwood Crescent - Underground | 15000 |  | 30000 | 25000 | 45000 | [9 empty] | 115000
0
Clinton MS#2 Conversion | 111000 | 164000 | 5000 | 5000 | 65000 | 5000 | [8 empty] | 355000
Tavistock, William St | 45000 | 35000 | [12 empty] | 80000
Tavistock, Maria, Adam and Area | 83000 | 102000 |  |  | 65000 | [9 empty] | 250000
Municipal Road Reconstruction | 50000 | [13 empty] | 50000
Ingersoll, Ingersoll Street re-insulate | 55000 | [13 empty] | 55000
0
0
0
0
Ingersoll, Melita, Wohnam Street |  | 10000 | 75000 | 35000 | 60000 | [9 empty] | 180000
Otterville, Dover St 27kv Ext | 84000 | 128000 |  |  | 63000 | [9 empty] | 275000
Port Stanley Main St S: Jameson - Cornel |  |  | 112000 | 74000 | 135000 | 84000 | [8 empty] | 405000
Mitchell Conversion, Pond St and Thames | 57000 | 36000 |  |  | 12000 | [9 empty] | 105000
Mitchell Conversion, St George St | 10000 | 8000 |  |  | 22000 | [9 empty] | 40000
Clinton Town Hall UG Upgrade | 13000 | 2000 | 19000 | 21000 | [10 empty] | 55000
Substaions Upgrades | [7 empty] | 20000 | [6 empty] | 20000
Fleet | [10 empty] | 340000 |  |  |  | 340000
Tools & Equipment | [11 empty] | 35000 |  |  | 35000
Meter Purchases | [6 empty] | 45000 | [7 empty] | 45000
Computers, Monitors, Phones and Equipment | [8 empty] | 25000 | [5 empty] | 25000
Pole Trailer/Fork Lift | [10 empty] | 40000 |  |  |  | 40000
Building Leasehold Improvements | [7 empty] | 40000 | [6 empty] | 40000
SCADA and Automation | [12 empty] | 200000 |  | 200000
Total by Account GL | 733000 | 505000 | 281000 | 180000 | 482000 | 374000 | 70000 | 60000 | 25000 | 0 | 380000 | 35000 | 200000 | 0 | 3325000

## 2011
Project Name |  | Land Rights/Rights of Ways | Building | Poles & Fixtures | OH Conductor | UG Conduit | UG Conductor | Transformers | Services | U/G Services | Meters | Leasehold | Transportation | Tools | Computer | Sftwre Conversion
|  | 1806 | 1808 | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1856 | 1860 | 1908 | 1930 | 1940 | 1920 | 1927 | Total
POLES MAINTENANCE-PLANNED-2011 | 9016 |  |  | 290.96 | [12 empty] | 290.96
AYL-FACRL-SYDENHAM ST | 9031 |  |  | 37690.44 | 4422.21 |  | 1851.11 | 9713.13 | 627.73 | 3.89 | [6 empty] | 54308.51
NEW OVERHEAD SERVICES 2011 | 9035 | [7 empty] | 8978.05 | [7 empty] | 8978.05
NEW UNDERGROUND SERVICES 2011 | 9036 | [8 empty] | 21204.45 | [6 empty] | 21204.45
INGERSOLL ST BRIDGE | 9045 |  |  |  | 1897.83 | [11 empty] | 1897.83
2011 METER MANAGEMENT-INTERNAL | 9056 | [9 empty] | 449.84 | [5 empty] | 449.84
POLE REPLACEMENTS | 9104 |  |  | 55372.3 | 51581.23 |  | 525.66 | 1604.31 | 652.16 | 55.15 | [6 empty] | 109790.81
ING-WOODLAND ESTATES | 9115 |  |  |  | 62.22 | 6505.23 | 6975.12 | 4024.02 |  | 4266.34 | [6 empty] | 21832.93
ING-UG CONV-TOWERVIEW | 9118 |  |  | 5041.26 | 1795.11 | 69746.53 | 100846.05 | 154534.48 |  | 5363.29 | [6 empty] | 337326.72
THA-16OHCVN-DELATRE ST | 9126 |  |  | 61925.73 | 32947.66 |  |  | 1372.22 | 776.9 | [7 empty] | 97022.51
BEL-LN EXT-7TH AVE | 9127 |  |  | 8361.01 | 16272.83 |  | 56 | 12806.98 |  |  | 60145 | [5 empty] | 97641.82
AYL-FACRL-RUTHERFORD | 9157 |  |  | 24984.49 | 47496.49 |  | 219.7 | 4895.34 | 6155.91 | 953.56 | 1710.53 | [5 empty] | 86416.02
2009 REACTIVE CAPITAL WORK | 9165 | [8 empty] | 102.58 | [6 empty] | 102.58
ING-SIFTON SUBDIVISION | 9171 |  |  | 373.32 |  |  | 1700.52 | 5597.65 | [8 empty] | 7671.49
AYL-SRVCI-TRILLIUM PARK APT | 9228 |  |  | 739.05 |  |  |  | 279.99 |  | 1425.02 | [6 empty] | 2444.06
BEL-ROBIN RIDGE ESTATES PH 1 | 9248 |  |  | 874.46 |  |  | 2419.38 |  |  | 100.01 | [6 empty] | 3393.85
MAPS AND RECORDS POWERLINES | 9309 |  |  |  | 197.68 | [11 empty] | 197.68
AYL-SRV3P-BROWN ST APARTMENTS | 9335 | [5 empty] | 230.01 | -522.49 | [8 empty] | -292.48
NOR-SBDVN-9-ALBERT ST-NRTH END | 9339 |  |  | 279.99 | 28.58 | 267.16 | 2835.02 | 2584.34 | [8 empty] | 5995.09
ING-SRVRES-140 BENSON ST | 9352 |  |  | 306.08 |  |  |  |  | 3504.93 | 3361.87 | [6 empty] | 7172.88
EMB-SRVCI-EMBRO PUMPING STATION | 9357 |  |  | 2695.14 | 36.2 |  | 354.24 | 6747.78 | [8 empty] | 9833.36
EMB-EXP-HURON ST | 9358 |  |  | 34289.75 | 45029.19 |  | 983.94 | 4197.59 | [8 empty] | 84500.47
EMB-27OHCONV-HURON ST. | 9359 |  |  | 3490.86 | 19150.12 |  | 8090.17 | 12196.74 | [8 empty] | 42927.89
AYL-CONVERSION-PARK ST | 9367 |  |  | 1152.15 | 1572.35 | [11 empty] | 2724.5
TAV-SRVCI-WELLINGTON ST WELLINGTON UPGDE | 9376 |  |  | 124.44 | 792.42 |  |  | 41713.2857 | 18.5 | [7 empty] | 42648.6457
AYL-EXPSN-BROWN ST 3 PH JUNCTION | 9428 | [5 empty] | 720.44 | 252 | [8 empty] | 972.44
ING-SRVCI-PRINCESS ANNE PS SCHOOL | 9429 |  |  | 342.22 | 15446.45 |  | 8968.59 | 31721.87 |  |  | 476.2 | [5 empty] | 56955.33
ING-SRVCI-NORTH INGERSOLL PUBLIC SCHOOL | 9430 |  |  | 248.77 |  | 124.44 | 4630.89 | 29405.91 |  |  | 1385.6 | [5 empty] | 35795.61
TAV-SRVCI-SEWAGE LAGOON-WILLIA | 9441 |  |  | 288 | 901.37 |  | 71.45 | 18531.88 | 112.05 | 279.99 | 3004.88 | [5 empty] | 23189.62
ING-SRVCI-59 MCKEAND ST-WASTEWATER | 9465 | [5 empty] | 1487.43 | [9 empty] | 1487.43
TAV-SBDVN-6-WETTLAUFER HEIGHTS | 9476 |  |  |  |  | 7315.06 | 2884.51 | 2356.38 | 96 | [7 empty] | 12651.95 | 0
ACCTG SYSTEM SOFTWARE CONVERSI | 9519 | [14 empty] | 1640 | 1640
ING-KING ST CONDOS | 9545 |  |  | 3171.72 | 13485.67 | 14775.7502 | 25627.549 | 9861.18 | 8466.3422 | 12410.2348 | [6 empty] | 87798.4462
MIT-MFIT-155 HURON RD W | 9622 |  |  | 32 |  |  |  |  | 364 | 644 | 823.38 | [5 empty] | 1863.38
TAV-SRVRES-154 HOPE ST E | 9623 |  |  | 70 |  |  |  |  | 2246.41 | [7 empty] | 2316.41
102 MIDDLETON ST THAMESFORD SRV UPG | 9625 | [8 empty] | 765.24 | [6 empty] | 765.24
ING-OHUPGD- 3PHASE LINE WONHAM ST | 9640 |  |  | 34723.2 | 65727.75 | 8970 | 10338.06 | 20562.62 |  |  | 5212.7381 | [5 empty] | 145534.3681
PTS-SRVRES-445 WEST EDITH CAVE | 9644 | 7030 |  |  | 59.1 |  | 5373.4 |  |  | 865.28 | [6 empty] | 13327.78
CLINTON-MFIT-10KW 330 VICTORIA ST | 9652 |  |  | 28 | [5 empty] | 28 | [6 empty] | 56
GDE-2010 MAP UPDATES | 9672 |  |  | 248.88 | [12 empty] | 248.88
CAPITAL ASSET PURCHASES 2011 | 9673 | [15 empty] | 0
BROKEN POLES 140 ST ANDREW ST AYLMER | 9690 |  |  | 4599.39 | 1828.66 |  | 1390.48 |  | 197.68 | [7 empty] | 8016.21
UG SERVICE UPGRADE CULLODEN RD INGERSOLL | 9693 | [8 empty] | 1428.92 | [6 empty] | 1428.92
NEW UG SERVICE 113 METCALFE ST | 9694 |  |  | 611.98 |  |  |  |  | 1479.22 | 568.67 | [6 empty] | 2659.87
NOR-UGCONV-ALBERT ST | 9695 |  |  | 1299.57 | 649.48 | 650.25 | 1175.38 | 6162.98 | [8 empty] | 9937.66
CLI-MFIT-10XMFITS @ SOLAR CRSCNT | 9698 | [8 empty] | 336 | [6 empty] | 336
NOR-SRV3P-31 MAIN ST W | 9699 |  |  | 3965.72 | 2341.64 |  | 1710.73 | 14525.36 |  |  | 1521.17 | [5 empty] | 24064.62
CLI-SBDVN-BEECH GROVE RETIREMENT PL | 9703 | [5 empty] | 78.1 | 248.88 | [8 empty] | 326.98
EMBRO-MFIT-78 JAMES ST | 9708 | [8 empty] | 356.01 | [6 empty] | 356.01
EMB-MFIT-375825 37TH LINE | 9710 | [8 empty] | 832.01 | [6 empty] | 832.01
REPAIR SERVICE POLE-40 CANTERBURY ST-ING | 9711 |  |  | 1565.82 |  |  |  |  | 1153.44 | [7 empty] | 2719.26
REPLACE TRANSFORMER @ 208 ANDREA-BELMONT | 9713 | [6 empty] | 1711.09 | [8 empty] | 1711.09
NOR-SRVCI-1 FRONT ST | 9714 |  |  | 100.01 | 733.88 |  | 1243.34 | [9 empty] | 2077.23
AYL-MFIT-58 MYRTLE ST | 9715 | [5 empty] | 623.76 |  |  |  | 231.69 | [5 empty] | 855.45
MIT-MFIT-153 WEST ST | 9716 |  |  |  | 56 |  | 476 | [9 empty] | 532
ING-MFIT-125 BELL ST | 9717 |  |  |  | 253.56 |  | 115.1 |  | 273.11 | [7 empty] | 641.77
MFIT-ING-201 BELL ST | 9718 |  |  |  | 224 |  | 200.66 | [9 empty] | 424.66
REPLACE BROKEN POLE NORTH COURT NORWICH | 9719 |  |  | 2583.83 | 16.9 | [11 empty] | 2600.73
MICROFIT 280 ELM ST AYLMER | 9723 | [7 empty] | 28 | 196 | 222 | [5 empty] | 446
ING-SRVRES-90 CANTERBURY ST | 9725 | [7 empty] | 28 | 112 | [6 empty] | 140
AYL - CANADA PEW COMPANY 3PH SERVICE | 9726 | [5 empty] | 32 | 871.08 | [8 empty] | 903.08
AYL-SBDVN-5-BROWN ST | 9728 | [5 empty] | 1687.77 | 645.09 | [8 empty] | 2332.86
EMB-MFIT-824027 ROAD 82 | 9732 | [7 empty] | 16 | 2042.06 | [6 empty] | 2058.06
ING-SBDVN-27 LOTS-OCH-CLOVER RIDGE P1 | 9737 | [5 empty] | 4664.84 | 124.44 | [8 empty] | 4789.28
MITCH-MFIT-52 FRANK ST | 9738 | [7 empty] | 28 | 532 | [6 empty] | 560
MFIT-PTS-278 FRANCES ST | 9739 | [7 empty] | 317 | 28 | [6 empty] | 345
CLI-JUMR-EAST LINK-WILLIAMS ST | 9742 |  |  | 186.66 | 258.76 | [11 empty] | 445.42
CLI-SBDVN-40-BEECH GROVE-PH 1 | 9743 |  |  |  | 37 |  | 5898.44 | 4418.09 |  | 354.62 | [6 empty] | 10708.15
CLI-OHRECON-MAPLE ST | 9744 |  |  | 24677.83 | 15996.33 |  | 1991.69 | 8016.08 | [8 empty] | 50681.93
SERVICE SPLICE @ 290 DUFFERIN ST-BELMONT | 9749 | [8 empty] | 271.2 | [6 empty] | 271.2
MFIT-ING-327 KING ST INGERSOLL PAPER BOX | 9750 | [8 empty] | 201.12 | [6 empty] | 201.12
PTS REPAIR SEC BUS @ 417 EDITH CAVELL | 9751 |  |  | 1650.14 | 498.2 | [11 empty] | 2148.34
BEL-BELMONT FARM SUPPLY SERVICE UPGRADE | 9756 |  |  | 435.54 | 1973.74 |  |  |  | 262.01 | 164.45 | [6 empty] | 2835.74
ING-SRVCI-11 ST ANDREWS ST-INGROX LTD | 9757 | [9 empty] | 124.44 | [5 empty] | 124.44
NOR-MFIT-5 PALMER ST EAST | 9758 | [5 empty] | 564.66 |  |  | 88.66 | [6 empty] | 653.32
AYL-MFIT-280 ELM ST | 9759 | [15 empty] | 0
ING-TMPSRVCI-GARNET ELLIOTT PARK | 9760 |  |  | 126.65 | 3214.54 |  | 86.44 | [9 empty] | 3427.63
BEL-MFIT-715 7TH AVE | 9761 | [8 empty] | 427.76 | [6 empty] | 427.76
SPLICE NEW U/G SERVIC-L8 DUFFERIN ST-BEL | 9763 | [8 empty] | 676.71 | [6 empty] | 676.71
SPLICE NEW U/G SERV-L5 DUFFERIN ST-BEL | 9764 | [8 empty] | 412.63 | [6 empty] | 412.63
SERVICE SPLICE @ 36 POLLARD ST-NORWICH | 9766 | [8 empty] | 177.12 | [6 empty] | 177.12
SPLICE NEW SERVICE @126 POLDON DR-NORWIC | 9767 | [8 empty] | 319.36 | [6 empty] | 319.36
TAV-MFIT-90 WOODSTOCK ST S | 9770 | [8 empty] | 469.7 | [6 empty] | 469.7
CLI-SRVRES-187 WILLIAMS ST | 9775 |  |  | 130.68 | 156.5 |  |  | 1266.56 | [8 empty] | 1553.74
ING-SRVCI-125 BELL ST | 9778 | [5 empty] | 1746.5 | [9 empty] | 1746.5
REPAIRS DUE TO STORM - APR 28 2011 | 9779 |  |  | 18160.55 | 28247.05 |  | 58.68 | 7744.41 | 4146.6 | [7 empty] | 58357.29
CLI-DUB-MIT-POLE DATA COL 2011 | 9780 |  |  | 40881.74 | [12 empty] | 40881.74
ETPL-POLE DATA COLLECTION 2011 | 9781 |  |  | 56719.26 | [12 empty] | 56719.26
CLI-CAP- POLES-WILLIAMS/PRINCE | 9782 |  |  | 485 | [12 empty] | 485
NOR-MFIT-31 MAIN ST | 9784 | [8 empty] | 690.13 | [6 empty] | 690.13
BUR-MFIT-34 MCNAB LANE | 9791 | [7 empty] | 217.31 | 325.05 | [6 empty] | 542.36
BEL-MFIT-224 BRENTWOOD | 9792 | [8 empty] | 384.15 | [6 empty] | 384.15
ING-MFIT-433 KING ST WEST | 9793 | [8 empty] | 345.07 | [6 empty] | 345.07
ING-MFIT-8 BOLES ST | 9795 | [8 empty] | 709.22 | [6 empty] | 709.22
ING-MFIT-57 KING ST E | 9796 | [7 empty] | 29.56 | [7 empty] | 29.56
ING-MFIT-61 KING ST E | 9797 | [7 empty] | 29.56 | [7 empty] | 29.56
ING-MFIT-63 KING ST E | 9798 |  |  | 177.78 |  |  |  |  | 59.12 | [7 empty] | 236.9
UPGRADE U/G - 210 KITCHENER ST-PT STANLE | 9799 | [8 empty] | 483.46 | [6 empty] | 483.46
NEW U/G SERVICE-162 ERIE ST CLINTON | 9803 | [8 empty] | 588.43 | [6 empty] | 588.43
U/G SERV UPGRADE 384 EDITH CAVELL PTS | 9804 | [8 empty] | 1218.75 | [6 empty] | 1218.75
NELSON ST STREETLIGHT CONNECTION | 9810 | [7 empty] | 567.85 | [7 empty] | 567.85
BUR-MFIT-655 MAIN ST S | 9811 | [8 empty] | 88.66 | [6 empty] | 88.66
BUR-MFIT-45 BURGESS ST | 9812 | [8 empty] | 118.22 | [6 empty] | 118.22
ING-INSTALL 2 ROAD XINGS KING CONDOS | 9814 |  |  |  |  | 2784.54 | 140.54 | [9 empty] | 2925.08
BEA-UGCONV-UG RAIL CROSSING | 9818 | [8 empty] | 4581 | [6 empty] | 4581
U/G SERVICE SPLICE -LOT 2 WOODHATCH-ING | 9819 | [8 empty] | 306.88 | [6 empty] | 306.88
ING-SRVRES-27 A/B CATHERINE ST | 9821 | [8 empty] | 1639.51 | [6 empty] | 1639.51
BEACHVILLE SUBSTATION MAINTENANCE | 9825 | [8 empty] | 1571.19 | [6 empty] | 1571.19
TAV-MFIT-36 QUEEN ST | 9830 | [8 empty] | 413.77 | [6 empty] | 413.77
ING-FIT-160 INGERSOLL ST | 9834 | [7 empty] | 5500 | 472.82 | [6 empty] | 5972.82
ING-FIT-450 THOMAS ST | 9835 | [7 empty] | 5500 | 842.84 | [6 empty] | 6342.84
ING-SRVCI-50 CHISHOLM DR | 9836 |  |  |  | 663.01 |  | 6723.47 | 24016.59 |  |  | 1356.3 | [5 empty] | 32759.37
ING-SRVCI-19 KING ST PHARMASAV | 9837 |  |  | 33035.619 | 28022.5611 | 6125.94 | 9189.36 | 18947.13 |  | 576.23 | 569.27 | [5 empty] | 96466.11
EMB-SRVCI-EMBRO SEWAGE PUMP | 9838 |  |  | 124.44 | 125.66 |  | 1243.83 | 1725.3 | [8 empty] | 3219.23
MIT-SBDVN-55-THAMESVIEW ESTATE | 9839 |  |  |  | 170.2 | 7302 | 12565.5 | 30617.62 |  | 12066.52 | [6 empty] | 62721.84
AYL-MFIT-3 ANNE ST | 9841 | [8 empty] | 709.24 | [6 empty] | 709.24
ING-IDCI 3PHASE SERVICE UPGRADE | 9843 | [5 empty] | 633.98 |  |  | 596.98 | [6 empty] | 1230.96
AYL-MFIT-415 JOHN ST S | 9844 | [8 empty] | 413.7 | [6 empty] | 413.7
MVA EMBRO JULY 31 2011 BROKEN POLE | 9847 | [8 empty] | 1970.62 | [6 empty] | 1970.62
MIT-SERVRES-191 ST. ANDREW ST | 9849 | [8 empty] | 200.17 | [6 empty] | 200.17
42 KING ST E SERVICE UPGRADE | 9850 | [8 empty] | 1126.25 | [6 empty] | 1126.25
CLI-SERVRES-48 GEORGE ST | 9851 |  |  | 52.78 | [5 empty] | 190.56 | [6 empty] | 243.34
EMB-MFIT-132 HURON ST | 9852 | [7 empty] | 394.63 | 29.56 | [6 empty] | 424.19
ING-REPL PCB PDMT TX-97 MUTUAL | 9853 | [6 empty] | 4953.28 |  | 5104.86 | [6 empty] | 10058.14
136 ST ANDREW ST EMBRO SERVICE UPGRADE | 9855 | [8 empty] | 512.67 | [6 empty] | 512.67
NEW SERVICE 387 HAINES ST INGERSOLL | 9856 | [8 empty] | 920.83 | [6 empty] | 920.83
165 DELATRE ST THAMESFORD SERVICE UPGRAD | 9857 | [8 empty] | 892.48 | [6 empty] | 892.48
115 METCALFE ST INGERSOLL NEW SERVICE | 9859 | [8 empty] | 591.16 | [6 empty] | 591.16
CLI-SBDVN-40-BEECH GROVE PH 2 | 9860 | [5 empty] | 514.65 | [9 empty] | 514.65
GDE-TORNADO-ERTH | 9861 |  |  |  | 0 | [11 empty] | 0
NEW SERVICE SPLICE AT LOT 1, WOODHATCH | 9863 | [8 empty] | 464.54 | [6 empty] | 464.54
LOT 16 MUNICIPAL #120 BURGESSVILLE | 9864 | [8 empty] | 924.71 | [6 empty] | 924.71
MIT-SBDVN-22-VANPELT SBDVN | 9868 |  |  |  |  | 3001.8 | 880.27 | 1885.8 | [8 empty] | 5767.87
SERVICE SPLICE -286 DUFFERIN ST-BE | 9870 | [8 empty] | 150.31 | [6 empty] | 150.31
160 HOPE ST TAVISTOCK SERVICE UPGRADE | 9872 | [8 empty] | 642.02 | [6 empty] | 642.02
TAV-INST CONDUIT-5 PT INTRSCTN | 9873 | [5 empty] | 1820.28 | [9 empty] | 1820.28
MIT-INSTALL UG SEC-CLAYTON ST | 9874 | [5 empty] | 729.04 |  |  | 2460.43 | [6 empty] | 3189.47
NEW SERVICE HOLMES ST - MITCHELL | 9875 | [5 empty] | 256.51 | [9 empty] | 256.51
150 WILLIAM ST TAVISTOCK SERVICE UPGRADE | 9877 | [8 empty] | 646.2 | [6 empty] | 646.2
NEW SERVICE SPLICE-21 WOODHATCH L24-ING | 9879 | [8 empty] | 466.64 | [6 empty] | 466.64
ING-SRVCI-97 BELL ST | 9880 |  |  | 404.07 |  |  | 908.26 |  |  | 447.57 | [6 empty] | 1759.9
MIT-27OHCVN-ONTARIO/ARTHUR ST | 9883 |  |  | 1206.12 | -330.45 | 0.93 |  | 3708.56 |  |  | 23.91 | [5 empty] | 4609.07
OVERHEAD POLELINE HOLMES AND CLARKE | 9884 |  |  |  | 1732.54 | [11 empty] | 1732.54
LOT 7 285 DUFFERIN ST BELMONT SERVICE | 9885 | [8 empty] | 681.78 | [6 empty] | 681.78
CLI-SRVCI-240 ISAAC ST. | 9886 |  |  |  | 93.33 |  |  |  | 44.33 | 604.31 | [6 empty] | 741.97
ING-MFIT-431 BELL ST | 9888 | [7 empty] | 29.55 | 88.65 | [6 empty] | 118.2
ING-MFIT-309 BELL ST | 9889 | [8 empty] | 243.79 | [6 empty] | 243.79
ING-MFIT-271 THAMES ST | 9890 | [8 empty] | 184.69 | [6 empty] | 184.69
ING-MFIT-285 THAMES ST N | 9891 | [8 empty] | 224.7 | [6 empty] | 224.7
AYL-MFIT-60 SPRUCE ST | 9892 | [8 empty] | 361.99 | [6 empty] | 361.99
EMB-MFIT-804071 COMMISSIONER | 9894 | [8 empty] | 396.78 | [6 empty] | 396.78
EMB-MFIT-28 COMMISSIONER ST | 9895 | [8 empty] | 145.6 | [6 empty] | 145.6
EMB-MFIT-63 COMMISSIONER ST | 9896 | [8 empty] | 433.72 | [6 empty] | 433.72
EMB-MFIT-784133 ROAD 78 | 9897 | [8 empty] | 335.74 | [6 empty] | 335.74
BEL-SRVCSPL-303 DUFFERIN ST. | GP9902 | [8 empty] | 479.69 | [6 empty] | 479.69
AYL-SRVRES-24 ST. GEORGE ST. | GP9907 |  |  | 299.07 | [5 empty] | 24 | [6 empty] | 323.07
AYL-SRVRES-65 FOREST ST. | GP9908 | [7 empty] | 7.78 | 1175.94 | [6 empty] | 1183.72
MIT-SRVRES-26 RIVERVIEW ST | GP9912 | [8 empty] | 85.58 | [6 empty] | 85.58
AYL-REPL POLES-BALMORAL PARK | GP9917 |  |  | 186.67 | 1671.79 | [11 empty] | 1858.46
MIT-SRVCI-70 ONTARIO RD | GP9918 |  |  |  | 20.16 | [11 empty] | 20.16
CLI-SRVRES-ARENA & COMM CENTRE | GP9921 |  |  | 1193.29 | [12 empty] | 1193.29
ING-SRVSPL-5 KEITH MABEE CRT | GP9928 | [8 empty] | 259.61 | [6 empty] | 259.61
EMB-SRVCI-152 COMMISSIONER-PUM | GP9930 | [8 empty] | 594.5 | [6 empty] | 594.5
ING-27OH-REINSULATE-INGRSLL ST | GP9934 |  |  |  | 1457.12 | [11 empty] | 1457.12
BEL-SRVCSPL-283 DUFFERIN ST | GP9936 | [5 empty] | 119.08 |  |  | 292.09 | [6 empty] | 411.17
MIT-OH27-DOWN GUYING-HOLMES ST | GP9939 |  |  | 459.29 | 567.18 | [11 empty] | 1026.47
OTT-SRVCSPL-25 RIVEROAKS DR | GP9952 | [8 empty] | 484.5 | [6 empty] | 484.5
ING-SRVRES-121-125 CHURCH ST-4 | GP9953 |  |  | 46.67 | [12 empty] | 46.67
NOR-SRVRES-41 ALBERT ST | GP9955 | [8 empty] | 748.5 | [6 empty] | 748.5
PTS-SRVRES-338 ERIE ST. | GP9956 | [8 empty] | 752.85 | [6 empty] | 752.85
PTS-27KVCVN-MAIN ST | GP9957 |  |  |  | 717.17 |  | 1306.62 | [9 empty] | 2023.79
MIT-DOWN GUY/ANCH-HOLMES ST | GP9959 |  |  |  | 253.36 | [11 empty] | 253.36
ING-TXFMR-HERCULES TIRE | GP9966 |  |  |  | 1394.8 |  | 17129.77 | 404.52 | [8 empty] | 18929.09
BEL-SRVSRES-292 DUFFERIN ST | GP9967 | [8 empty] | 383.49 | [6 empty] | 383.49
2012 METER MANAGEMENT-INTERNAL | T12010030 | [9 empty] | 180 | [5 empty] | 180
Fleet | [12 empty] | 596684.96 |  |  |  | 596684.96
Tools & Equipment | [13 empty] | 37816.9 |  |  | 37816.9
Computers, Monitors, Phones and Equipment | [14 empty] | 30414.34 |  | 30414.34
Building |  |  | 20326.58 | [13 empty] | 20326.58
Building Leasehold Improvements | [11 empty] | 154460.94 |  |  |  |  | 154460.94
Total by GL |  | 7030 | 20326.58 | 472510.389 | 411947.1311 | 127569.6302 | 265094.969 | 506430.0657 | 52307.7322 | 117689.8048 | 77436.9481 | 154460.94 | 596684.96 | 37816.9 | 30414.34 | 1640 | 2879360.39