## Sched 10
Board Staff Supplemental Interrogatories
Schedule # 10
Part (a)
|  | 2002 | 2003 | 2004 | 2005 | 2006
Actual Retail Energy (kWh)
| Residential | 117587765 | 115456020 | 114078402 | 136114023 | 116128274
| GS <50kW | 44796800 | 43727380 | 39810690 | 23559273 | 36565918
| GS>50 to 999 kW | 100834488 | 105547416 | 79299040 | 74101381.5091 | 75156430
| GS>1000 to 2999 kW | 18382832 | 20878437 | 54454341 | 50885129.218 | 65158720
| GS>3000 kW to 4999 kW | 17328014 | 17810656 | 17971671 | 16793717.1639 | 16315706
| Large Use | 57469668 | 68067621 | 84239779 | 90854232 | 91950056
| Street Lighting (connections) | 2332567 | 3326782 | 3126055 | 3234698 | 3164059
| Sentinel Lighting | 135166 | 212384 | 201850 | 168820 | 212859
| Unmetered Scattered Load | 306675 | 492282 | 501867 | 468972.109 | 602137
Weather Normalized Retail Energy (kWh) using IESO derived weather correction factors
| Residential | 114836211.299 | 114670919.064 | 114226703.9226 | 134153981.0688 | 117022461.7098
| GS <50kW | 43748554.88 | 43430033.816 | 39862443.897 | 23220019.4688 | 36847475.5686
| GS>50 to 999 kW | 98474960.9808 | 104829693.5712 | 79402128.752 | 73034321.6153 | 75735134.511
| GS>1000 to 2999 kW | #N/A | #N/A | #N/A | #N/A | #N/A
| GS>3000 kW to 4999 kW | #N/A | #N/A | #N/A | #N/A | #N/A
| Large Use | #N/A | #N/A | #N/A | #N/A | #N/A
| Street Lighting (connections) | #N/A | #N/A | #N/A | #N/A | #N/A
| Sentinel Lighting | #N/A | #N/A | #N/A | #N/A | #N/A
| Unmetered Scattered Load | #N/A | #N/A | #N/A | #N/A | #N/A
Weather Conversion Factors1
| Res, GS<50, GS>50 | 97.66% | 99.32% | 100.1% | 98.56% | 100.8%
1 Derived from actual and weather-corrected weekly energy demand reported by the IESO in the Dec 2007 Ontario Demand Forecast.
Actual Customer Count |  | 2002 | 2003 | 2004 | 2005 | 2006
| Residential | 11857 | 11895 | 12075 | 12182 | 12206
| GS <50kW | 1385 | 1378 | 1352 | 1370 | 1374.61
| GS>50 to 999 kW | 98 | 107 | 113 | 136 | 138
| GS>1000 to 2999 kW | 2 | 5 | 8 | 8 | 8
| GS>3000 kW to 4999 kW | 1 | 1 | 1 | 1 | 1
| Large Use | 1 | 1 | 1 | 1 | 1
| Street Lighting (connections) | 2660 | 2660 | 2870 | 2870 | 2870
| Sentinel Lighting | 239 | 237 | 235 | 247 | 256
| Unmetered Scattered Load | 58 | 56 | 60 | 88 | 95
Retail Normalized Annual Use Per Customer (NAC) Claculated from Derived Weather Factors
| Residential | 9685.0984 | 9640.2622 | 9459.7684 | 11012.4759 | 9587.29
| GS <50kW | 31587.4042 | 31516.7154 | 29484.0561 | 16948.9193 | 26805.7671
| GS>50 to 999 kW | 1004846.5406 | 979716.7623 | 702673.7058 | 537017.0707 | 548805.3225
| GS>1000 to 2999 kW | #N/A | #N/A | #N/A | #N/A | #N/A
| GS>3000 kW to 4999 kW | #N/A | #N/A | #N/A | #N/A | #N/A
| Large Use | #N/A | #N/A | #N/A | #N/A | #N/A
| Street Lighting (connections) | #N/A | #N/A | #N/A | #N/A | #N/A
| Sentinel Lighting | #N/A | #N/A | #N/A | #N/A | #N/A
| Unmetered Scattered Load | #N/A | #N/A | #N/A | #N/A | #N/A
Part (b) |  | 2002 | 2003 | 2004 | 2005 | 2006
Trend in Retail Normalized Annual Use Per Customer 2003 -2006 as calculated above
avg
| Residential |  |  | -1.872% | 16.41% | -12.94% | 0.5333%
| GS <50kW |  |  | -6.449% | -42.51% | 58.16% | 3.064%
| GS>50 to 999 kW |  |  | -28.28% | -23.58% | 2.195% | -16.55%
Utilized the average of the trend in retail normalized annual use per customer from 2003 to 2006 to project 2007 and 2008 retail NAC.
Projected Retail Normalized Annual Use Per Customer in 2007 and 2008
|  | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008
| Residential | 9685.0984 | 9640.2622 | 9459.7684 | 11012.4759 | 9587.29 | 9638.4206 | 9689.824
| GS <50kW | 31587.4042 | 31516.7154 | 29484.0561 | 16948.9193 | 26805.7671 | 27627.0754 | 28473.5479
| GS>50 to 999 kW | 1004846.5406 | 979716.7623 | 702673.7058 | 537017.0707 | 548805.3225 | 457963.5471 | 382158.4847
Part (c) | Revised Schedule 1, Page 8 Using Above Weather Correction Methodology
|  | Historical Actual | Board Approved | Historical Normalized | Bridge Year Actual | Bridge Year Normalized | Test Year Normalized
Erie Thames Powerlines |  |  | Board Approved | Historical Normalized | Bridge Year Actual | Bridge Year Normalized | Test Year Normalized
Year |  | 2006 | 2004 | 2006 | 2007 | 2007 | 2008
Customer Class
Residential | # | 12206 | 12075 | 12206 | 12335 | 12328.06 | 12451.3406
| kWh | 116128274 | 117010418.2618 | 120749432 | 118889918.7054 | 118823028.0661 | 120651298.8406
GS<50 kW | # | 1374.61 | 1352 | 1374.61 | 1388.3561 | 1374.61 | 1388.3561
| kWh | 36565918 | 42147488.3767 | 39663673 | 38356218.6287 | 37976454.0878 | 39531423.8834
GS>50 to 999 kW | # | 135 | 113 | 135 | 141 | 138 | 141
| kWh | 75156430 | 102344447 | 82606371 | 64572860.1398 | 63198969.4985 | 53884346.3441
| kW | 206825 | 298327 | 206825 | 212983 | 352005 | 359657
GS>1000 to 2999 | # | 8 | 8 | 8 | 8 | 8 | 8
| kWh | 65158720 | 53797056 | 69529869 | 62551258.7 | 69529869 | 69529869
| kW | 135587 | 113648 | 135587 | 137295 | 135587 | 135587
GS>3000 to 4999 | # | bar: 2002 to 2007
| kWh | 16315706 | 17703447 | 17528668 | 17490144.38 | 17528668 | 17528668
| kW | 35687 | 43930 | 35687 | 40302 | 35687 | 35687
Large Use >5000 kW | # | bar: 2002 to 2007
| kWh | 91950056 | 69925689 | 84605665 | 83382172.64 | 84605665 | 84605665
| kW | 165609 | 132542 | 165609 | 163632 | 165609 | 165609
Unmetered Scattered Load | # | 95 | 60 | 95 | 95 | 95 | 95
| kWh | 602137 | 448854 | 606271 | 421964 | 606271 | 606271
Sentinel Lighting | # | 256 | 235 | 256 | 256 | 256 | 256
| kWh | 212859 | 181782 | 238372 | 142909.58 | 238372 | 238372
| kW | 535 | 1018 | 605 | 611 | 931 | 931
Street Lighting | # | 2870 | 2870 | 2870 | 2870 | 2870 | 2956.1
| kWh | 3164059 | 3077398 | 3024750 | 3088356.68 | 3024750 | 3115492
| kW | 8538 | 8843 | 9157 | 8476 | 9157 | 9432
Embedded Distributor | # | 2 | 0 | 2 | 2 | 2 | 2
| kWh | 20741502 | 0 | 20948917 | 16826035.1 | 20741502 | 20741502
| kW | 99771 | 0 | 99771 | 85007 | 99771 | 99771