## Summary
Wasaga Distribution Weather Normal Load Forecast for 2012 Rate Application
| 2000 Actual | 2001 Actual | 2002 Actual | 2003 Actual | 2004 Actual | 2005 Actual | 2006 Actual | 2007 Actual | 2008 Actual | 2009 Actual | 2010 Actual | 2011 Actual | 2012 Weather Normal
Actual kWh Purchases | 0 | 0 | 0 | 106191026 | 108200330 | 116383501 | 114820362 | 124112646 | 128195743 | 127978298 | 129504071 | 131684904.51
Predicted kWh Purchases | 0 | 0 | 0 | 105144661.4225 | 107863352.8664 | 117818335.8748 | 116864841.2918 | 123977033.4497 | 125907354.5813 | 125173294.7282 | 130886688.7982 | 133435318.4972 | 135985271.6918
% Difference |  |  |  | -0.9854% | -0.3114% | 1.233% | 1.781% | -0.1093% | -1.785% | -2.192% | 1.068%
Billed kWh | 0 | 0 | 0 | 97719570.62 | 96153971.55 | 104361983.96 | 106422351.35 | 109546147.416 | 117173371.772 | 121083046.324 | 125814571.27 | 124253328 | 125792084.4436
By Class | [13 empty] | Minister's CDM Adjustments
Residential | [13 empty] | 2011 calc'd | 133435318.4972
Customers | 0 | 0 | 0 | 8689 | 9037 | 9440 | 9858 | 10274 | 10659 | 10919 | 11120 | 11371 | 11614.2942 | 2012 calc'd | 136787271.6918
kWh | 0 | 0 | 0 | 70014315.45 | 70396999.85 | 74670218.3 | 73494501.18 | 74223886.61 | 78678925.103 | 82719010.36 | 84575463.6 | 84023443 | 85361770.4233
10% of CDM Directive
GS < 50kW | [13 empty] | kWh | 401000 | CDM kWh Target | 4010000
Customers | 0 | 0 | 0 | 749 | 749 | 743 | 747 | 754 | 757 | 767 | 777 | 781 | 791.2498
kWh | 0 | 0 | 0 | 14233406.3173 | 13909441.1422 | 14537477.5828 | 14223774.1175 | 14339658.1965 | 15092313.37 | 15369939.543 | 17287125.2 | 16948879 | 17554242.5861 | Thus, 2011 is | 133034318.4972
GS > 50kW | [13 empty] | 20% of CDM Directive
Customers | 0 | 0 | 0 | 44 | 42 | 43 | 42 | 37 | 32 | 31 | 32 | 34 | 34 | kWh | 802000
kWh | 0 | 0 | 0 | 11492581.12 | 10082486 | 13382992.24 | 16866827.48 | 19112117.826 | 21485441.404 | 21015697.84 | 21893070 | 21275033 | 20887234.5098
kW | 0 | 0 | 0 | 40426.33 | 42249.35 | 45843.28 | 45915.12 | 51225.9648 | 51629.5034 | 50835.95 | 51416.5 | 52544.1 | 51468.3206 | Thus, 2012 is | 135985271.6918
Street Lighting
Customers | 0 | 0 | 0 | 2113 | 2126 | 2182 | 2260 | 2340 | 2422 | 2463 | 2483 | 2494 | 2525.2114
kWh | 0 | 0 | 0 | 1617396.05 | 1481841.28 | 1506679.02 | 1581464.98 | 1649562.91 | 1743399.895 | 1723126.175 | 1736181.47 | 1695783 | 1691769.4802
kW | 0 | 0 | 0 | 1711.07 | 4119.96 | 4205.18 | 4533.661 | 4427.5669 | 4729.5914 | 4964.88 | 4976.31 | 5014.5 | 4771.3113
USL
Connections | 0 | 0 | 0 | 53 | 54 | 53 | 47 | 42 | 40 | 33 | 37 | 47 | 45.2032
kWh | 0 | 0 | 0 | 361871.6827 | 283203.2778 | 264616.8172 | 255783.5925 | 220921.8735 | 173292 | 255272.406 | 322731 | 310190 | 297067.4441
0
Connections | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
0
Connections | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total of Above
Customer/Connections | 0 | 0 | 0 | 11648 | 12008 | 12461 | 12954 | 13447 | 13910 | 14213 | 14449 | 14727 | 15009.9585
kWh | 0 | 0 | 0 | 97719570.62 | 96153971.55 | 104361983.96 | 106422351.35 | 109546147.416 | 117173371.772 | 121083046.324 | 125814571.27 | 124253328 | 125792084.4436
kW from applicable classes | 0 | 0 | 0 | 42137.4 | 46369.31 | 50048.46 | 50448.781 | 55653.5318 | 56359.0948 | 55800.83 | 56392.81 | 57558.6 | 56239.6319
Total from Model
Customer/Connections |  |  |  | 11648 | 12008 | 12461 | 12954 | 13447 | 13910 | 14213 | 14449 | 14727 | 15009.9585
kWh |  |  |  | 97719570.62 | 96153971.55 | 104361983.96 | 106422351.35 | 109546147.416 | 117173371.772 | 121083046.324 | 125814571.27 | 124253328 | 125792084.4436
kW from applicable classes |  |  |  | 42137.4 | 46369.31 | 50048.46 | 50448.781 | 55653.5318 | 56359.0948 | 55800.83 | 56392.81 | 57558.6 | 56239.6319
Check should all be zero
Customer/Connections | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kW from applicable classes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Purchased Power Model
|  | Confirmed Nov 3 2011 | Confirmed Nov 3 2011 | Confirmed Nov 3 2011
| Purchases with Losses | Heating Degree Days | Cooling Degree Days | Number of Customers incl "1" Street Light Customer (Source 1598) | Number of Days in Month | Spring Fall Flag | Ontario Real GDP Monthly % | Number of Peak Hours | Predicted Purchases | Variances (kWh) | % Variance | SUMMARY OUTPUT | [8 empty] | Ontario Real GDP Monthly % | SUMMARY OUTPUT
1996-01-01
1996-02-01 | [11 empty] | Regression Statistics | [9 empty] | Regression Statistics
1996-03-01 | [11 empty] | Multiple R | 0.97873 | [8 empty] | Multiple R | 0.97873
1996-04-01 | [11 empty] | R Square | 0.95792 | [8 empty] | R Square | 0.95792
1996-05-01 | [11 empty] | Adjusted R Square | 0.95498 | [8 empty] | Adjusted R Square | 0.95498
1996-06-01 | [11 empty] | Standard Error | 333225.7771 | [8 empty] | Standard Error | 333225.7771
1996-07-01 | [11 empty] | Observations | 108 | [8 empty] | Observations | 108
1996-08-01
1996-09-01 | [11 empty] | ANOVA | [9 empty] | ANOVA
1996-10-01 | [12 empty] | df | SS | MS | F | Significance F | [5 empty] | df | SS | MS | F | Significance F
1996-11-01 | [11 empty] | Regression | 7 | 252781194756140 | 3.6112e+13 | 325.2142 | 8.3269e-66 |  |  |  |  | Regression | 7 | 252781194756140 | 3.6112e+13 | 325.2142 | 8.3269e-66
1996-12-01 | [11 empty] | Residual | 100 | 1.1104e+13 | 111039418490.629 | [6 empty] | Residual | 100 | 1.1104e+13 | 111039418490.629
1997-01-01 | [11 empty] | Total | 107 | 263885136605203 | [7 empty] | Total | 107 | 263885136605203
1997-02-01
1997-03-01 | [12 empty] | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
1997-04-01 | [11 empty] | Intercept | -15735927.9808 | 1813848.437 | -8.6754 | 7.8412e-14 | -19334551.6187 | -12137304.3429 | -19334551.6187 | -12137304.3429 |  | Intercept | -15735927.9808 | 1813848.437 | -8.6754 | 7.8412e-14 | -19334551.6187 | -12137304.3429 | -19334551.6187 | -12137304.3429
1997-05-01 | [11 empty] | X Variable 1 | 5525.8869 | 200.4927 | 27.5615 | 1.6269e-48 | 5128.1151 | 5923.6586 | 5128.1151 | 5923.6586 |  | X Variable 1 | 5525.8869 | 200.4927 | 27.5615 | 1.6269e-48 | 5128.1151 | 5923.6586 | 5128.1151 | 5923.6586
1997-06-01 | [11 empty] | X Variable 2 | 26479.2735 | 1581.5764 | 16.7423 | 9.0983e-31 | 23341.471 | 29617.0759 | 23341.471 | 29617.0759 |  | X Variable 2 | 26479.2735 | 1581.5764 | 16.7423 | 9.0983e-31 | 23341.471 | 29617.0759 | 23341.471 | 29617.0759
1997-07-01 | [11 empty] | X Variable 3 | 758.9151 | 82.0138 | 9.2535 | 4.2849e-15 | 596.2019 | 921.6282 | 596.2019 | 921.6282 |  | X Variable 3 | 758.9151 | 82.0138 | 9.2535 | 4.2849e-15 | 596.2019 | 921.6282 | 596.2019 | 921.6282
1997-08-01 | [11 empty] | X Variable 4 | 433841.1047 | 43505.5572 | 9.9721 | 1.14e-16 | 347527.3184 | 520154.891 | 347527.3184 | 520154.891 |  | X Variable 4 | 433841.1047 | 43505.5572 | 9.9721 | 1.14e-16 | 347527.3184 | 520154.891 | 347527.3184 | 520154.891
1997-09-01 | [11 empty] | X Variable 5 | -878873.3662 | 84709.1572 | -10.3752 | 1.4915e-17 | -1046933.9215 | -710812.8109 | -1046933.9215 | -710812.8109 |  | X Variable 5 | -878873.3662 | 84709.1572 | -10.3752 | 1.4915e-17 | -1046933.9215 | -710812.8109 | -1046933.9215 | -710812.8109
1997-10-01 | [11 empty] | X Variable 6 | 24682.3258 | 15316.522 | 1.6115 | 0.11023 | -5705.2175 | 55069.8692 | -5705.2175 | 55069.8692 |  | X Variable 6 | 24682.3258 | 15316.522 | 1.6115 | 0.11023 | -5705.2175 | 55069.8692 | -5705.2175 | 55069.8692
1997-11-01 | [11 empty] | X Variable 7 | -3096.4922 | 2074.8402 | -1.4924 | 0.13874 | -7212.916 | 1019.9317 | -7212.916 | 1019.9317 |  | X Variable 7 | -3096.4922 | 2074.8402 | -1.4924 | 0.13874 | -7212.916 | 1019.9317 | -7212.916 | 1019.9317
1997-12-01
1998-01-01
1998-02-01
1998-03-01 | [11 empty] | Statistical Results
1998-04-01 | [12 empty] | Value
1998-05-01 | [11 empty] | R Square | 95.79%
1998-06-01 | [11 empty] | Adjusted R Square | 95.5%
1998-07-01
1998-08-01 | [11 empty] | T-Stats by Coefficient
1998-09-01 | [11 empty] | Intercept | -8.6754
1998-10-01 | [11 empty] | Heating Degree Days | 27.5615
1998-11-01 | [11 empty] | Cooling Degree Days | 16.7423
1998-12-01 | [11 empty] | Number of Customers | 9.2535
1999-01-01 | [11 empty] | Number of Days in Month | 9.9721
1999-02-01 | [11 empty] | Spring Fall Flag | -10.3752
1999-03-01 | [11 empty] | Ontario Real GDP Monthly % | 1.6115
1999-04-01 | [11 empty] | Number of Peak Hours | -1.4924
1999-05-01
1999-06-01
1999-07-01
1999-08-01
1999-09-01
1999-10-01
1999-11-01
1999-12-01
2000-01-01
2000-02-01
2000-03-01
2000-04-01
2000-05-01
2000-06-01
2000-07-01
2000-08-01
2000-09-01
2000-10-01
2000-11-01
2000-12-01
2001-01-01
2001-02-03
2001-03-08
2001-04-10
2001-05-13
2001-06-15
2001-07-18
2001-08-20
2001-09-22
2001-10-25
2001-11-27
2001-12-30
2002-01-19
2002-02-21
2002-03-26
2002-04-28
2002-05-31
2002-06-01
2002-07-03
2002-08-05
2002-09-07
2002-10-10
2002-11-12
2002-12-15
2003-01-01 | 11305884 | 805.3 | 0 | 9395 | 31 | 0 | 125.6602 | 351.912 | 11305044.5322 | [11 empty] | 125.6602
2003-02-01 | 10242002 | 743.3 | 0 | 9417 | 28 | 0 | 125.8059 | 319.872 | 9780419.4783 | [11 empty] | 125.8059
2003-03-01 | 9592918 | 611 | 0 | 9420 | 31 | 1 | 125.9518 | 336.288 | 9427038.9971 | [11 empty] | 125.9518
2003-04-01 | 7993932 | 426.4 | 5.2 | 9434 | 30 | 1 | 126.0978 | 336.24 | 8125188.6881 | [11 empty] | 126.0978
2003-05-01 | 7500497 | 231.3 | 0 | 9448 | 31 | 1 | 126.2439 | 336.288 | 7357321.2468 | [11 empty] | 126.2439
2003-06-01 | 7495992 | 70.9 | 32.2 | 9477 | 30 | 0 | 126.3903 | 336.24 | 7794403.2361 | [11 empty] | 126.3903
2003-07-01 | 9162546 | 4.3 | 81 | 9553 | 31 | 0 | 126.5368 | 351.912 | 9165174.5351 | [11 empty] | 126.5368
2003-08-01 | 9196443 | 3.9 | 91.4 | 9550 | 31 | 0 | 126.6835 | 319.92 | 9538755.4427 | [11 empty] | 126.6835
2003-09-01 | 6973715 | 56.5 | 19.7 | 9574 | 30 | 1 | 126.8304 | 336.24 | 6589442.7064 | [11 empty] | 126.8304
2003-10-01 | 7804289 | 270.3 | 0 | 9600 | 31 | 1 | 126.9774 | 351.912 | 7657909.2875 | [11 empty] | 126.9774
2003-11-01 | 8401639 | 386.9 | 0 | 9665 | 30 | 1 | 127.1246 | 319.68 | 8021155.3987 | [11 empty] | 127.1246
2003-12-01 | 10521169 | 581.8 | 0 | 9691 | 31 | 0 | 127.272 | 336.288 | 10382807.8735 | [11 empty] | 127.272
2004-01-01 | 11896358 | 865.2 | 0 | 9707 | 31 | 0 | 127.5341 | 336.288 | 11967457.5554 | [11 empty] | 127.5341
2004-02-01 | 9570224 | 652.2 | 0 | 9732 | 29 | 0 | 127.7968 | 320.16 | 9998158.5784 | [11 empty] | 127.7968
2004-03-01 | 9488329 | 525 | 0 | 9736 | 31 | 1 | 128.0601 | 368.28 | 9144604.4577 | [11 empty] | 128.0601
2004-04-01 | 7893734 | 371.4 | 0 | 9771 | 30 | 1 | 128.3238 | 336.24 | 7994271.5387 | [11 empty] | 128.3238
2004-05-01 | 7792020 | 205.5 | 7.2 | 9783 | 31 | 1 | 128.5882 | 319.92 | 7768184.6972 | [11 empty] | 128.5882
2004-06-01 | 7435078 | 64.2 | 25.3 | 9824 | 30 | 0 | 128.853 | 352.08 | 7849753.946 | [11 empty] | 128.853
2004-07-01 | 9404237 | 14 | 63.9 | 9859 | 31 | 0 | 129.1184 | 336.288 | 9110308.4055 | [11 empty] | 129.1184
2004-08-01 | 9187747 | 22.9 | 54.2 | 9890 | 31 | 0 | 129.3844 | 336.288 | 8932730.7952 | [11 empty] | 129.3844
2004-09-01 | 7747848 | 49.7 | 49.4 | 9954 | 30 | 1 | 129.6509 | 336.24 | 7696306.88 | [11 empty] | 129.6509
2004-10-01 | 7779737 | 223.9 | 1.3 | 9981 | 31 | 1 | 129.918 | 319.92 | 7896721.5356 | [11 empty] | 129.918
2004-11-01 | 8482027 | 394.8 | 0 | 10005 | 30 | 1 | 130.1856 | 352.08 | 8298067.4459 | [11 empty] | 130.1856
2004-12-01 | 11522991 | 664.1 | 0 | 10074 | 31 | 0 | 130.4538 | 336.288 | 11206787.0308 | [11 empty] | 130.4538
2005-01-01 | 12104125 | 780.6 | 0 | 10118 | 31 | 0 | 130.7437 | 319.92 | 11941785.1396 | [11 empty] | 130.7437
2005-02-01 | 10041249 | 627.9 | 0 | 10134 | 28 | 0 | 131.0343 | 319.872 | 9815922.7228 | [11 empty] | 131.0343
2005-03-01 | 10294288 | 646.4 | 0 | 10152 | 31 | 1 | 131.3255 | 351.912 | 10262438.9306 | [11 empty] | 131.3255
2005-04-01 | 7950802 | 358.2 | 1.1 | 10212 | 30 | 1 | 131.6174 | 336.24 | 8366432.0298 | [11 empty] | 131.6174
2005-05-01 | 8058228 | 234.3 | 1.4 | 10233 | 31 | 1 | 131.91 | 336.288 | 8146568.5997 | [11 empty] | 131.91
2005-06-01 | 9423396 | 18.5 | 102.4 | 10259 | 30 | 0 | 132.2031 | 352.08 | 10051589.6128 | [11 empty] | 132.2031
2005-07-01 | 11465909 | 1.6 | 132.5 | 10319 | 31 | 0 | 132.497 | 319.92 | 11341440.0664 | [11 empty] | 132.497
2005-08-01 | 10420620 | 3.7 | 106.4 | 10335 | 31 | 0 | 132.7915 | 351.912 | 10582283.7883 | [11 empty] | 132.7915
2005-09-01 | 8236530 | 30.2 | 57.5 | 10380 | 30 | 1 | 133.0866 | 336.24 | 8211133.1392 | [11 empty] | 133.0866
2005-10-01 | 8141870 | 214.8 | 20 | 10411 | 31 | 1 | 133.3824 | 319.92 | 8753442.4038 | [11 empty] | 133.3824
2005-11-01 | 8754703 | 392.5 | 0 | 10464 | 30 | 1 | 133.6789 | 352.08 | 8719922.5445 | [11 empty] | 133.6789
2005-12-01 | 11491781 | 658.5 | 0 | 10485 | 31 | 0 | 133.976 | 319.92 | 11625376.8974 | [11 empty] | 133.976
2006-01-01 | 10835452 | 573.5 | 0 | 10522 | 31 | 0 | 134.252 | 336.288 | 11139884.5356 | [11 empty] | 134.252
2006-02-01 | 10170032 | 630.6 | 0 | 10582 | 28 | 0 | 134.5285 | 319.872 | 10257081.8596 | [11 empty] | 134.5285
2006-03-01 | 10248021 | 555.3 | 0 | 10596 | 31 | 1 | 134.8056 | 368.28 | 10131201.9828 | [11 empty] | 134.8056
2006-04-01 | 7986665 | 323.8 | 0 | 10634 | 30 | 1 | 135.0833 | 303.84 | 8653348.5233 | [11 empty] | 135.0833
2006-05-01 | 8225607 | 160.9 | 15.6 | 10671 | 31 | 1 | 135.3615 | 351.912 | 8486192.4542 | [11 empty] | 135.3615
2006-06-01 | 8533586 | 46.1 | 44.9 | 10710 | 30 | 0 | 135.6404 | 352.08 | 9108655.0841 | [11 empty] | 135.6404
2006-07-01 | 11494679 | 2.5 | 141.4 | 10733 | 31 | 0 | 135.9198 | 319.92 | 11980751.812 | [11 empty] | 135.9198
2006-08-01 | 10408518 | 12.1 | 73.6 | 10740 | 31 | 0 | 136.1997 | 351.912 | 10151665.3845 | [11 empty] | 136.1997
2006-09-01 | 8062480 | 98.2 | 9.2 | 10815 | 30 | 1 | 136.4803 | 319.68 | 7773113.9329 | [11 empty] | 136.4803
2006-10-01 | 8803941 | 287.7 | 0.6 | 10831 | 31 | 1 | 136.7614 | 336.288 | 8994043.8151 | [11 empty] | 136.7614
2006-11-01 | 9102265 | 367.5 | 0 | 10868 | 30 | 1 | 137.0431 | 352.08 | 8971414.1337 | [11 empty] | 137.0431
2006-12-01 | 10949116 | 503.7 | 0 | 10902 | 31 | 0 | 137.3254 | 304.296 | 11217487.774 | [11 empty] | 137.3254
2007-01-01 | 11595904 | 668.8 | 0 | 10954 | 31 | 0 | 137.5859 | 351.912 | 12028261.7749 | [11 empty] | 137.5859
2007-02-01 | 11366145 | 729.3 | 0 | 11000 | 28 | 0 | 137.8468 | 319.872 | 11201617.5795 | [11 empty] | 137.8468
2007-03-01 | 10718300 | 559.9 | 0 | 11049 | 31 | 1 | 138.1083 | 351.912 | 10632611.0007 | [11 empty] | 138.1083
2007-04-01 | 9069276 | 402.3 | 0 | 11062 | 30 | 1 | 138.3703 | 319.68 | 9444027.8767 | [11 empty] | 138.3703
2007-05-01 | 8773721 | 185.5 | 18 | 11100 | 31 | 1 | 138.6327 | 351.912 | 9091994.252 | [11 empty] | 138.6327
2007-06-01 | 9407320 | 45.6 | 59.8 | 11150 | 30 | 0 | 138.8957 | 336.24 | 9963752.8211 | [11 empty] | 138.8957
2007-07-01 | 10922926 | 13.4 | 64.4 | 11184 | 31 | 0 | 139.1591 | 336.288 | 10373622.0882 | [11 empty] | 139.1591
2007-08-01 | 11518806 | 17.5 | 88.7 | 11186 | 31 | 0 | 139.4231 | 351.912 | 10999377.7206 | [11 empty] | 139.4231
2007-09-01 | 8972619 | 50.4 | 40.9 | 11236 | 30 | 1 | 139.6875 | 303.84 | 8796083.2525 | [11 empty] | 139.6875
2007-10-01 | 8837911 | 141.9 | 22.2 | 11253 | 31 | 1 | 139.9525 | 351.912 | 9110967.2286 | [11 empty] | 139.9525
2007-11-01 | 10240247 | 466.3 | 0 | 11265 | 30 | 1 | 140.2179 | 352.08 | 9897022.7784 | [11 empty] | 140.2179
2007-12-01 | 12689471 | 654.1 | 0 | 11312 | 31 | 0 | 140.4839 | 304.296 | 12437695.0764 | [11 empty] | 140.4839
2008-01-01 | 12264015 | 622.1 | 0 | 11324 | 31 | 0 | 140.4252 | 352 | 12120810.5151 | [11 empty] | 140.4252
2008-02-01 | 11804844 | 688.6 | 0 | 11335 | 29 | 0 | 140.3666 | 320 | 11726588.1016 | [11 empty] | 140.3666
2008-03-01 | 11812299 | 630.2 | 0 | 11344 | 31 | 1 | 140.308 | 304 | 11447612.3711 | [11 empty] | 140.308
2008-04-01 | 8938098 | 280.4 | 0.9 | 11358 | 30 | 1 | 140.2494 | 352 | 8965194.2877 | [11 empty] | 140.2494
2008-05-01 | 9217345 | 238.1 | 0 | 11377 | 31 | 1 | 140.1908 | 336 | 9203976.6101 | [11 empty] | 140.1908
2008-06-01 | 9719413 | 35.2 | 49.6 | 11435 | 30 | 0 | 140.1322 | 336 | 9883750.3859 | [11 empty] | 140.1322
2008-07-01 | 11318218 | 9.5 | 87.9 | 11477 | 31 | 0 | 140.0737 | 352 | 11170618.4548 | [11 empty] | 140.0737
2008-08-01 | 11136208 | 19.4 | 50.5 | 11527 | 31 | 0 | 140.0152 | 320 | 10370589.5377 | [11 empty] | 140.0152
2008-09-01 | 8954031 | 72.7 | 21.6 | 11549 | 30 | 1 | 139.9567 | 336 | 8552862.8212 | [11 empty] | 139.9567
2008-10-01 | 9569483 | 273 | 3.7 | 11596 | 31 | 1 | 139.8983 | 352 | 9604242.537 | [11 empty] | 139.8983
2008-11-01 | 10428769 | 444.3 | 0 | 11631 | 30 | 1 | 139.8399 | 304 | 10192764.1277 | [11 empty] | 139.8399
2008-12-01 | 13033020 | 668.4 | 0 | 11664 | 31 | 0 | 139.7815 | 336 | 12668344.8312 | [11 empty] | 139.7815
2009-01-01 | 13812327 | 816.5 | 0 | 11647 | 31 | 0 | 139.3791 | 336 | 13463896.0202 | [11 empty] | 139.3791
2009-02-01 | 11477623 | 620.1 | 0 | 11662 | 28 | 0 | 138.9779 | 304 | 11177657.4882 | [11 empty] | 138.9779
2009-03-01 | 11420342 | 556.5 | 0 | 11677 | 31 | 1 | 138.5779 | 352 | 11101739.1247 | [11 empty] | 138.5779
2009-04-01 | 9511235 | 352 | 0.5 | 11686 | 30 | 1 | 138.179 | 320 | 9647166.1909 | [11 empty] | 138.179
2009-05-01 | 9272872 | 232.5 | 2.8 | 11699 | 31 | 1 | 137.7812 | 320 | 9481614.7934 | [11 empty] | 137.7812
2009-06-01 | 9226969 | 98.2 | 16.9 | 11722 | 30 | 0 | 137.3846 | 352 | 9466456.5143 | [11 empty] | 137.3846
2009-07-01 | 10435322 | 21.5 | 26.6 | 11752 | 31 | 0 | 136.9892 | 352 | 9746317.6904 | [11 empty] | 136.9892
2009-08-01 | 11413704 | 20 | 69.1 | 11762 | 31 | 0 | 136.5949 | 320 | 10960342.1678 | [11 empty] | 136.5949
2009-09-01 | 9257157 | 75.8 | 10.7 | 11789 | 30 | 1 | 136.2017 | 336 | 8370824.7466 | [11 empty] | 136.2017
2009-10-01 | 9872214 | 296.5 | 0 | 11794 | 31 | 1 | 135.8096 | 336 | 9735018.667 | [11 empty] | 135.8096
2009-11-01 | 9731721 | 351.5 | 0 | 11818 | 30 | 1 | 135.4187 | 320 | 9663210.2659 | [11 empty] | 135.4187
2009-12-01 | 12546812 | 619 | 0 | 11836 | 31 | 0 | 135.0289 | 352 | 12359051.0588 | [11 empty] | 135.0289
2010-01-01 | 12974016 | 725.8 | 0 | 11836 | 31 | 0 | 135.329 | 320 | 13055711.158 | [11 empty] | 135.329
2010-02-01 | 11255506 | 625.3 | 0 | 11865 | 28 | 0 | 135.6298 | 304 | 11277812.7231 | [11 empty] | 135.6298
2010-03-01 | 10543146 | 485 | 0 | 11882 | 31 | 1 | 135.9313 | 368 | 10747347.3999 | [11 empty] | 135.9313
2010-04-01 | 8706001 | 265 | 3 | 11914 | 30 | 1 | 136.2334 | 320 | 9357623.0476 | [11 empty] | 136.2334
2010-05-01 | 9621863 | 139 | 20.7 | 11926 | 31 | 1 | 136.5362 | 320 | 9580466.2389 | [11 empty] | 136.5362
2010-06-01 | 9378111 | 51.7 | 21.9 | 11954 | 30 | 0 | 136.8396 | 352 | 9504515.8998 | [11 empty] | 136.8396
2010-07-01 | 12682926 | 7.7 | 136 | 11987 | 31 | 0 | 137.1438 | 336 | 12798598.1268 | [11 empty] | 137.1438
2010-08-01 | 12322091 | 6 | 129.8 | 12012 | 31 | 0 | 137.4486 | 336 | 12651529.1555 | [11 empty] | 137.4486
2010-09-01 | 9496039 | 93.2 | 26.8 | 12031 | 30 | 1 | 137.7541 | 336 | 9115266.6158 | [11 empty] | 137.7541
2010-10-01 | 9470083 | 238.8 | 0 | 12052 | 31 | 1 | 138.0603 | 320 | 9717070.547 | [11 empty] | 138.0603
2010-11-01 | 10196091 | 410 | 0 | 12081 | 30 | 1 | 138.3671 | 336 | 10209299.8694 | [11 empty] | 138.3671
2010-12-01 | 12858198 | 668.7 | 0 | 12096 | 31 | 0 | 138.6747 | 368 | 12871448.0165 | [11 empty] | 138.6747
2011-01-01 | 13147420.28 | 777.5 | 0 | 12106 | 31 | 0 | 139.0392 | 336 | 13588337.7148 | [11 empty] | 139.0392
2011-02-01 | 11441073.68 | 645.3 | 0 | 12114 | 28 | 0 | 139.4046 | 304 | 11670471.1799 | [11 empty] | 139.4046
2011-03-01 | 11489559.33 | 610.8 | 0 | 12124 | 31 | 1 | 139.771 | 368 | 11720935.3435 | [11 empty] | 139.771
2011-04-01 | 9665080.18 | 334.7 | 0 | 12140 | 30 | 1 | 140.1384 | 320 | 9931238.5706 | [11 empty] | 140.1384
2011-05-01 | 9490857.05 | 175.6 | 14.1 | 12177 | 31 | 1 | 140.5067 | 336 | 9846896.0765 | [11 empty] | 140.5067
2011-06-01 | 9581971.16 | 58.4 | 20.7 | 12200 | 30 | 0 | 140.876 | 352 | 9796083.9316 | [11 empty] | 140.876
2011-07-01 | 13572193.43 | 0.7 | 139.9 | 12230 | 31 | 0 | 141.2463 | 320 | 13198405.0778 | [11 empty] | 141.2463
2011-08-01 | 11921213.56 | 2.7 | 88.2 | 12272 | 31 | 0 | 141.6175 | 352 | 11782428.2328 | [11 empty] | 141.6175
2011-09-01 | 9672770.86 | 72.3 | 21.2 | 12299 | 30 | 1 | 141.9897 | 336 | 9159425.9664 | [11 empty] | 141.9897
2011-10-01 | 9746408.24 | 223 | 2.8 | 12324 | 31 | 1 | 142.3629 | 320 | 10016527.7078 | [11 empty] | 142.3629
2011-11-01 | 9838067.76 | 336.2 | 0 | 12349 | 30 | 1 | 142.7371 | 352 | 10063195.7351 | [11 empty] | 142.7371
2011-12-01 | 12118288.98 | 555.3 | 0 | 12370 | 31 | 0 | 143.1123 | 336 | 12661372.9605 | [11 empty] | 143.1123
2012-01-01 |  | 737.2556 | 0 | 12380 | 31 | 0 | 141.4249 | 336 | 13632780.6504 | [11 empty] | 141.4249
2012-02-01 |  | 662.5111 | 0 | 12390 | 29 | 0 | 141.7162 | 320 | 12416392.3856 | [11 empty] | 141.7162
2012-03-01 |  | 575.5667 | 0 | 12400 | 31 | 1 | 142.0082 | 352 | 11840462.5405 | [11 empty] | 142.0082
2012-04-01 |  | 346.0222 | 1.1889 | 12410 | 30 | 1 | 142.3007 | 320 | 10283562.5345 | [11 empty] | 142.3007
2012-05-01 |  | 200.3 | 8.8667 | 12430 | 31 | 1 | 142.5938 | 352 | 10038786.442 | [11 empty] | 142.5938
2012-06-01 |  | 54.3111 | 41.5222 | 12450 | 30 | 0 | 142.8875 | 336 | 10613767.8712 | [11 empty] | 142.8875
2012-07-01 |  | 8.3556 | 97.0667 | 12470 | 31 | 0 | 143.1818 | 336 | 12286883.233 | [11 empty] | 143.1818
2012-08-01 |  | 12.0222 | 83.5444 | 12490 | 31 | 0 | 143.4768 | 352 | 11922000.2114 | [11 empty] | 143.4768
2012-09-01 |  | 66.5556 | 28.5556 | 12510 | 30 | 1 | 143.7723 | 304 | 9625669.4508 | [11 empty] | 143.7723
2012-10-01 |  | 241.1 | 5.6222 | 12520 | 31 | 1 | 144.0685 | 352 | 10283032.5372 | [11 empty] | 144.0685
2012-11-01 |  | 394.4444 | 0 | 12530 | 30 | 1 | 144.3652 | 352 | 10562596.9383 | [11 empty] | 144.3652
2012-12-01 |  | 619.2889 | 0 | 12540 | 31 | 0 | 144.6626 | 304 | 13281336.8968 | [11 empty] | 144.6626
|  |  | Weather Normal | [5 empty] | 1223858153.2018
1996 | 0 | [7 empty] | 0 | 0
1997 | 0 | [7 empty] | 0 | 0
1998 | 0 | [7 empty] | 0 | 0
1999 | 0 | [7 empty] | 0 | 0
2000 | 0 | [7 empty] | 0 | 0
2001 | 0 | [7 empty] | 0 | 0
2002 | 0 | [7 empty] | 0 | 0
2003 | 106191026 | [7 empty] | 105144661.4225 | -1046364.5775 | -0.9854%
2004 | 108200330 | [7 empty] | 107863352.8664 | -336977.1336 | -0.3114%
2005 | 116383501 | [7 empty] | 117818335.8748 | 1434834.8748 | 1.233%
2006 | 114820362 | [7 empty] | 116864841.2918 | 2044479.2918 | 1.781%
2007 | 124112646 | [7 empty] | 123977033.4497 | -135612.5503 | -0.1093%
2008 | 128195743 | [7 empty] | 125907354.5813 | -2288388.4187 | -1.785%
2009 | 127978298 | [7 empty] | 125173294.7282 | -2805003.2718 | -2.192%
2010 | 129504071 | [7 empty] | 130886688.7982 | 1382617.7982 | 1.068%
2011 | 131684904.51 | [7 empty] | 133435318.4972 | 1750413.9872 | 1.329%
2012 | [8 empty] | 136787271.6918 |  |  | 136620167 | 167104.6918 | 0.1223%
Total to 2011 | 1087070881.51 | [7 empty] | 1087070881.51 | 0
[9 empty] | 1223858153.2018 | 0
Check totals above sould be zero

## DRC vs Mon Summary
Difference
|  | Total | Residential | GS<50kW | GS>50kW | Street L | Sent L | USL | DRC | Total vs DRC
2003 | Jan | 9187645.37 | 6676666.9 | 1462406 | 901559.16 | 146547.31 | 466 |  | 9040632 | 147013.37 | ST L & SL
| Feb | 9935620.85 | 6563087 | 833891 | 2224695.24 | 313503.61 | 444 |  | 9621673 | 313947.85 | ST L & SL
| Mar | 9563416.32 | 8396739.55 | 1722025 | -684764 | 129177.77 | 238 |  | 9434001 | 129415.32 | ST L & SL
| Apr | 10231169.48 | 6925008 | 887220 | 2290088.72 | 127932.76 | 920 |  | 10102317 | 128852.48 | ST L & SL
| May | 9351815.82 | 7026687 | 1551564 | 664580 | 108518.82 | 466 |  | 9242831 | 108984.82 | ST L & SL
| Jun | 8025366 | 5971402 | 1221263 | 831933 |  | 768 |  | 8024598 | 768 | Sent L
| Jul | 5703132.66 | 3666890 | 839733 | 1008886 | 187157.66 | 466 |  | 5515509 | 187623.66 | ST L & SL
| Aug | 8862125.9 | 6002464 | 1671034 | 1093187 | 94672.9 | 768 |  | 8766685 | 95440.9 | ST L & SL
| Sep | 6384987 | 4273353 | 1126230 | 984747 |  | 657 |  | 6384330 | 657 | Sent L
| Oct | 8948588.98 | 6125008 | 1753346 | 844588 | 225069.98 | 577 |  | 8722942 | 225646.98 | ST L & SL
| Nov | 6764405 | 5055909 | 1005579 | 701950 |  | 967 |  | 6763438 | 967 | Sent L
| Dec | 4761297.24 | 3331101 | 513983 | 631131 | 284815.24 | 267 |  | 4476215 | 285082.24 | ST L & SL
| 2003 | 97719570.62 | 70014315.45 | 14588274 | 11492581.12 | 1617396.05 | 7004 | 0 | 96095171 | 1624399.62
2004 | Jan | 11051718.97 | 8600528 | 1553765 | 741948 | 154319.97 | 1158 |  | 11051719 | -0.03 |  | 1.0764
| Feb | 6009686.32 | 4456133 | 620900 | 775761 | 156816.32 | 76 |  | 6009686 | 0.32 |  | 1.5925
| Mar | 11288306.04 | 8712052 | 1740140 | 700688 | 134769.04 | 657 |  | 11288306 | 0.04 |  | 0.84054
| Apr | 10465676.19 | 8173690.31 | 1475811.79 | 687558 | 128039.09 | 577 |  | 10465676 | 0.19 |  | 0.75425
| May | 6434812.18 | 5327402.84 | 888515.61 | 109536 | 108891.73 | 466 |  | 6434812 | 0.18 |  | 1.2109
| Jun | 9070898.32 | 6412568.7 | 1147984.44 | 1411187 | 98390.18 | 768 |  | 9070898 | 0.32 |  | 0.81966
| Jul | 5302935 | 3584732 | 803227 | 914510 |  | 466 |  | 5302935 | 0 |  | 1.7734
| Aug | 6647701.65 | 4393155 | 1054077 | 1111365 | 88336.65 | 768 |  | 6647702 | -0.35 |  | 1.3821
| Sep | 8773317 | 5915519 | 1674950 | 1182382 |  | 466 |  | 8773317 | 0 |  | 0.88312
| Oct | 7355079.56 | 4913175.79 | 1098535 | 1020137 | 322463.77 | 768 |  | 7355079.56 | 0 |  | 1.0577
| Nov | 7477821.09 | 5285851.21 | 1440573.88 | 750739 |  | 657 |  | 7477821 | 0.09 |  | 1.1343
| Dec | 6276019.23 | 4622192 | 686760.7 | 676675 | 289814.53 | 577 |  | 6276019 | 0.23 |  | 1.836
| 2004 | 96153971.55 | 70396999.85 | 14185240.42 | 10082486 | 1481841.28 | 7404 | 0 | 96153970.56 | 0.99
2005 | Jan | 5122380.65 | 3735599 | 1224234.32 |  | 162157.33 | 390 |  | 5122381 | -0.35
| Feb | 10285038.44 | 7763623.4 | 910960.04 | 1609687 |  | 768 |  | 10285038 | 0.44
| Mar | 13051095.17 | 10342376.1 | 1756099.58 | 793978 | 158099.49 | 542 |  | 13051095.17 | 0 | DRC
| Apr | 7456614.75 | 5542665.92 | 836504.5 | 815982.12 | 260694.21 | 768 |  | 7456614.75 | 0 | DRC
| May | 9062314.61 | 6603075.93 | 1510315.55 | 837401.84 | 111207.29 | 314 |  | 9062315 | -0.39
| Jun | 7996427.25 | 6049481.9 | 786272.31 | 1159829.04 |  | 844 |  | 7996427 | 0.25
| Jul | 9293311.39 | 6398295.35 | 1309106 | 1585672.04 |  | 238 |  | 9293311.39 | 0
| Aug | 11786140.35 | 7798819.7 | 1793497.1 | 1906284.56 | 287473.99 | 65 |  | 11786140 | 0.35
| Sep | 10202800.28 | 7062157 | 1499167 | 1641249.28 |  | 227 |  | 10202800 | 0.28
| Oct | 6314852.6 | 3623527 | 961184 | 1498487.56 | 231654.04 |  |  | 6314853 | -0.4
| Nov | 6554791.56 | 6938976 | 1665615 | -2050026.44 |  | 227 |  | 6554791.56 | 0 | DRC
| Dec | 7236216.91 | 2811621 | 544756 | 3584447.24 | 295392.67 |  |  | 7236217 | -0.09
| 2005 | 104361983.96 | 74670218.3 | 14797711.4 | 13382992.24 | 1506679.02 | 4383 | 0 | 104361983.87 | 0.09
2006 | Jan | 9468373.37 | 6442597.83 | 1349855.2 | 1504368 | 171390.34 | 162 |  | 9468373 | 0.37
| Feb | 8863558.49 | 6737611.97 | 830225.01 | 1128754.32 | 166938.19 | 29 |  | 8863558 | 0.49
| Mar | 13556687.62 | 10659170.34 | 1862650.14 | 894991.48 | 139684.66 | 191 |  | 13556688 | -0.38
| Apr | 8152367.08 | 5768463 | 1182634.16 | 1201269.92 |  |  |  | 8152367 | 0.08
| May | 9855475.75 | 6955107.18 | 1166826 | 1479434.4 | 253917.17 | 191 |  | 9855475.75 | 0 | DRC
| Jun | 7485456.05 | 4794699.36 | 1064973.2 | 1520850.84 | 104932.65 |  |  | 7485456.05 | 0 | DRC
| Jul | 6565783 | 4069929.88 | 915428 | 1580263.12 |  | 162 |  | 6565783 | 0
| Aug | 10557173.9 | 6786362.62 | 1804318 | 1966464.28 |  | 29 |  | 10557174 | -0.1
| Sep | 7855209.82 | 5054753 | 866086 | 1739060.76 | 195148.06 | 162 |  | 7855210 | -0.18
| Oct | 8754619.64 | 5914501 | 1294266 | 1304356.52 | 241467.12 | 29 |  | 8754620 | -0.36
| Nov | 10077250.64 | 7097885 | 1654984 | 1324190.64 |  | 191 |  | 10077251 | -0.36
| Dec | 5230395.99 | 3213420 | 486166 | 1222823.2 | 307986.79 |  |  | 5230396 | -0.01
| 2006 | 106422351.35 | 73494501.18 | 14478411.71 | 16866827.48 | 1581464.98 | 1146 | 0 | 106422351.8 | -0.45
2007 | Jan | 11737574.79 | 8609846.96 | 1614804 | 1336306.88 | 176454.95 | 162 |  | 11737575 | -0.21
| Feb | 6046378.09 | 4196835.09 | 562065.32 | 1287477.68 |  |  |  | 6046378 | 0.09
| Mar | 14627386.42 | 11516453.66 | 1929929.36 | 1180841.4 |  | 162 |  | 14627386 | 0.42
| Apr | 4781911.81 | 2493394 | 518351 | 1310714.68 | 459452.13 |  |  | 4781912 | -0.19
| May | 11144698 | 9458836 | 1680960 | 4740 |  | 162 |  | 11144698 | 0
| Jun | 9217603.43 | 5614148.8 | 787413.39 | 2816041.24 |  |  |  | 9217603.43 | 0
| Jul | 7041550.07 | 3654054.04 | 1195680 | 1865094.28 | 326559.75 | 162 | 0 | 7041550 | 0.07
| Aug | 8795255.1 | 5700636.46 | 1069785 | 2024833.64 |  |  |  | 8795255 | 0.1
| Sep | 12302034.08 | 8324259.6 | 1800083 | 2177529.48 |  | 162 |  | 12302034 | 0.08
| Oct | 11497017.64 | 7501276 | 1965939 | 1806924 | 222878.64 |  |  | 11497018 | -0.36
| Nov | 6521795.84 | 4025655 | 777672 | 1718306.84 |  | 162 |  | 6521796 | -0.16
| Dec | 5832942.146 | 3128491 | 656926 | 1583307.706 | 464217.44 |  |  | 4249634 | 1583308.146
| 2007 | 109546147.416 | 74223886.61 | 14559608.07 | 19112117.826 | 1649562.91 | 972 | 0 | 107962839.43 | 1583307.986
2008 | Jan | 15449420.554 | 11429789.99 | 2234036.47 | 1785432.094 |  | 162 |  | 17032728 | -1583307.446
| Feb | 10769640.013 | 7949245.053 | 1101955 | 1718439.96 |  |  |  | 10769640 | 0.013
| Mar | 11197922.73 | 7991460.8 | 1134232.8 | 1708161.08 | 363906.05 | 162 |  | 11197923 | -0.27
| Apr | 7545847.9 | 6336104.3 | 1209743.6 |  |  |  |  | 7545848 | -0.1
| May | 11260070.45 | 8186260.25 | 1364631 | 1709017.2 |  | 162 |  | 11260070 | 0.45
| Jun | 5576024.39 | 3449747.12 | 509420.51 | 1616856.76 |  |  |  | 5576024 | 0.39
| Jul | 11553967.44 | 5897430.09 | 1428778 | 3690798.29 | 536799.06 | 162 |  | 11553967 | 0.44
| Aug | 8525896.28 | 5353568.5 | 1070606.49 | 2101721.29 |  |  |  | 8525896 | 0.28
| Sep | 11336084.99 | 7019330 | 1904225 | 2076279.32 | 336088.67 | 162 |  | 11336085 | -0.01 | DRC
| Oct | 10677334.16 | 7183197 | 1700645 | 1793492.16 |  |  |  | 10677334 | 0.16
| Nov | 5371367 | 4481671 | 889534 |  |  | 162 |  | 5371367 | 0
| Dec | 7909795.865 | 3401121 | 716825.5 | 3285243.25 | 506606.115 |  |  | 7403190 | 506605.865
| 2008 | 117173371.772 | 78678925.103 | 15264633.37 | 21485441.404 | 1743399.895 | 972 | 0 | 118250072 | 1076700.228
2009 | Jan | 15390492.448 | 11486197 | 1761409.613 | 1973855.13 | 168868.705 | 162 |  | 15897099 | -506606.552
| Feb | 7032381.72 | 4642716 | 577554 | 1812111.72 |  |  |  | 7032382 | -0.28
| Mar | 12547419.11 | 9203100 | 1793617 | 1550540.11 |  | 162 |  | 12547419 | 0.11
| Apr | 12757141.37 | 9343681 | 1603944 | 1809516.37 |  |  |  | 12757141 | 0.37
| May | 11800006.4 | 8264192 | 1321252 | 1600463.2 | 613937.2 | 162 |  | 11800006 | 0.4
| Jun | 5895806.92 | 3544440.64 | 528890.43 | 1822475.85 |  |  |  | 5895807 | -0.08
| Jul | 11108932.01 | 7288171.32 | 1701091.98 | 1866678.09 | 252828.62 | 162 |  | 11108932 | 0.01
| Aug | 10830434.61 | 6147100 | 2525576 | 2029456.07 | 128302.54 |  |  | 10830435 | -0.39
| Sep | 7659771.84 | 5440937 | 111572 | 2107100.84 |  | 162 |  | 7659772 | -0.16
| Oct | 9037312.35 | 5624044 | 1541456.16 | 1871812.19 |  |  |  | 9037312 | 0.35
| Nov | 8838160.41 | 6656675 | 1293291.56 | 445673.27 | 442520.58 |  |  | 8838160 | 0.41
| Dec | 8185186.73 | 5077756.4 | 851617.8 | 2126015 | 116668.53 |  | 13129 | 4016348 | 4168838.73
| 2009 | 121083045.918 | 82719010.36 | 15611272.543 | 21015697.84 | 1723126.175 | 810 | 13129 | 117420813 | 3662232.918
2010 | Jan | 8503266.8 | 7048705.6 | 1424723.2 | 0 |  |  | 29838 | 12556737 | -4053470.2 | Rounding
| Feb | 4548863.47 | 2142148 | 394719 | 1768240 | 236872.47 |  | 6884 | 4665666 | -116802.53 | Rounding
| Mar | 19079501 | 14412625 | 2381792 | 2061412 | 179563 |  | 44109 | 19080048 | -547 | Rounding
| Apr | 9807065 | 6466793 | 1386657 | 1763889 | 162807 |  | 26919 | 9807443 | -378 | Rounding
| May | 10318353 | 7247433 | 1194098 | 1711404 | 144395 |  | 21023 | 10318699 | -346 | Rounding
| Jun | 5363027 | 3255415 | 429052 | 1544619 | 120812 |  | 13129 | 5363470 | -443 | Rounding
| Jul | 11375340 | 7452907 | 1897280 | 1881867 | 107896 |  | 35390 | 11376624 | -1284 | Rounding
| Aug | 6073442 | 3468926 | 615671 | 1880450 | 95264 |  | 13131 | 6073665 | -223 | Rounding
| Sep | 13949446 | 9458882 | 2242092 | 2108922 | 104159 |  | 35391 | 13950026 | -580 | Rounding
| Oct | 14508393 | 8153555 | 2150591 | 3921453 | 254131 |  | 28663 | 14508918 | -525 | Rounding
| Nov | 10773594 | 7282262 | 1609055 | 1688208 | 159191 |  | 34878 | 10774387 | -793 | Rounding
| Dec | 11514280 | 8185812 | 1561395 | 1562606 | 171091 |  | 33376 | 11515345 | -1065 | Rounding
| 2010 | 125814571.27 | 84575463.6 | 17287125.2 | 21893070 | 1736181.47 | 0 | 322731 | 129991028 | -4176456.73
2011 | Jan | 11578323 | 8215597 | 1416392 | 1736294 | 185705 |  | 24335 | 11579283 | -960 | Rounding
| Feb | 11997759 | 8528836 | 1507044 | 1756084 | 181356 |  | 24439 | 11998552 | -793 | Rounding
| Mar | 12991884 | 9434065 | 1772621 | 1592445 | 164432 |  | 28321 | 12992962 | -1078 | Rounding
| Apr | 8601754 | 5713857 | 990358 | 1729009 | 145837 |  | 22693 | 8602347 | -593 | Rounding
| May | 11982495 | 7733483 | 2537623 | 1560250 | 122018 |  | 29121 | 11983493 | -998 | Rounding
| Jun | 8455987 | 5612751 | 1050442 | 1661037 | 109064 |  | 22693 | 8456584 | -597 | Rounding
| Jul | 6728234 | 4564596 | 135672 | 1905845 | 96214 |  | 25907 | 6729126 | -892 | Rounding
| Aug | 13992306 | 9322324 | 2291449 | 2244213 | 105199 |  | 29121 | 13993435 | -1129 | Rounding
| Sep | 8997365 | 5732831 | 1101012 | 2020587 | 120242 |  | 22693 | 8997365 | 0 | Rounding
| Oct | 9420944 | 5926431 | 1478055 | 1855370 | 135181 |  | 25907 | 9420949 | -5 | Rounding
| Nov | 10483688 | 7086830 | 1539786 | 1668672 | 159313 |  | 29087 | 10483688 | 0 | Rounding
| Dec | 9022589 | 6151842 | 1128425 | 1545227 | 171222 |  | 25873 | 9022589 | 0 | Rounding
| 2011 | 124253328 | 84023443 | 16948879 | 21275033 | 1695783 | 0 | 310190 | 124260373 | -7045

## Rate Class Energy Model
| Purchases | Modeled Purchases | Difference | % Difference | Loss Factor | Total Billed | Residential | GS < 50kW | GS > 50kW | Street Lighting | USL
Weatther Normal Projection
Excludes Loss Factor
1996
1997
1998
1999
2000
2001
2002 | [13 empty] | From DRC vs Mon Summary Sheet
2003 | 106191026 | 105144661.4225 | -1046364.5775 | -0.9854% | 1.0867 | 97719570.62 | 70014315.45 | 14233406.3173 | 11492581.12 | 1617396.05 | 361871.6827 |  |  | 97719570.62 | 0
2004 | 108200330 | 107863352.8664 | -336977.1336 | -0.3114% | 1.1253 | 96153971.55 | 70396999.85 | 13909441.1422 | 10082486 | 1481841.28 | 283203.2778 |  |  | 96153971.55 | 0
2005 | 116383501 | 117818335.8748 | 1434834.8748 | 1.233% | 1.1152 | 104361983.96 | 74670218.3 | 14537477.5828 | 13382992.24 | 1506679.02 | 264616.8172 |  |  | 104361983.96 | 0
2006 | 114820362 | 116864841.2918 | 2044479.2918 | 1.781% | 1.0789 | 106422351.35 | 73494501.18 | 14223774.1175 | 16866827.48 | 1581464.98 | 255783.5925 |  |  | 106422351.35 | 0
2007 | 124112646 | 123977033.4497 | -135612.5503 | -0.1093% | 1.133 | 109546147.416 | 74223886.61 | 14339658.1965 | 19112117.826 | 1649562.91 | 220921.8735 |  |  | 109546147.416 | 0
2008 | 128195743 | 125907354.5813 | -2288388.4187 | -1.785% | 1.0941 | 117173371.772 | 78678925.103 | 15092313.37 | 21485441.404 | 1743399.895 | 173292 |  |  | 117173371.772 | 0
2009 | 127978298 | 125173294.7282 | -2805003.2718 | -2.192% | 1.0569 | 121083046.324 | 82719010.36 | 15369939.543 | 21015697.84 | 1723126.175 | 255272.406 |  |  | 121083045.918 | -0.40596
2010 | 129504071 | 130886688.7982 | 1382617.7982 | 1.068% | 1.0293 | 125814571.27 | 84575463.6 | 17287125.2 | 21893070 | 1736181.47 | 322731 |  |  | 125814571.27 | 0
2011 | 131684904.51 | 133435318.4972 | 1750413.9872 | 1.329% | 1.0598 | 124253328 | 84023443 | 16948879 | 21275033 | 1695783 | 310190
2012 |  | 135985271.6918 |  |  |  | 125792084.4436
Average |  |  |  |  | 1.081 | 7 yr avg
Usage Per Customer
1999
2000
2001
2002
2003 | [6 empty] | 8057.8105 | 19003.2127 | 261195.0255 | 765.4501 | 6827.7676
2004 | [6 empty] | 7789.8639 | 18570.6824 | 240059.1905 | 697.0091 | 5244.5051
2005 | [6 empty] | 7909.9808 | 19565.9187 | 311232.3777 | 690.5037 | 4992.7701
2006 | [6 empty] | 7455.3156 | 19041.1969 | 401591.1305 | 699.7633 | 5442.2041
2007 | [6 empty] | 7224.439 | 19018.1143 | 516543.725 | 704.9414 | 5260.0446
2008 | [6 empty] | 7381.4546 | 19937.0058 | 671420.0439 | 719.8183 | 4332.3
2009 | [6 empty] | 7575.6947 | 20039.0346 | 677925.7368 | 699.6046 | 7735.5275
2010 | [6 empty] | 7605.7072 | 22248.5524 | 684158.4375 | 699.2273 | 8722.4595
2011 | [6 empty] | 7389.2747 | 21701.5096 | 625736.2647 | 679.9451 | 6599.7872
2012 | [6 empty] | 7309.706 | 22064.689 | 611209.8339 | 669.9516 | 6571.8302
[7 empty] | 7349.7166 | 22185.4628 | 614330.4268 | 669.9516 | 6571.8302
1999
2000
2001
2002
2003
2004 | [6 empty] | 0.96675 | 0.97724 | 0.91908 | 0.91059 | 0.76811
2005 | [6 empty] | 1.0154 | 1.0536 | 1.2965 | 0.99067 | 0.952
2006 | [6 empty] | 0.94252 | 0.97318 | 1.2903 | 1.0134 | 1.09
2007 | [6 empty] | 0.96903 | 0.99879 | 1.2862 | 1.0074 | 0.96653
2008 | [6 empty] | 1.0217 | 1.0483 | 1.2998 | 1.0211 | 0.82362
2009 | [6 empty] | 1.0263 | 1.0051 | 1.0097 | 0.97192 | 1.7855
2010 | [6 empty] | 1.004 | 1.1103 | 1.0092 | 0.99946 | 1.1276
2011 | [6 empty] | 0.97154 | 0.97541 | 0.91461 | 0.97242 | 0.75664
Used | [6 empty] | 0.98923 | 1.0167 | 0.97679 | 0.9853 | 0.99576
Geomean | [6 empty] | 0.98923 | 1.0167 | 0.97679 | 0.9853 | 0.99576
Non Weather Corrected Forecast
2011 | [5 empty] | 124253328 | 84023443 | 16948879 | 21275033 | 1695783 | 310190
2012 | [5 empty] | 125125727.4027 | 84897075.7837 | 17458680.341 | 20781134.3537 | 1691769.4802 | 297067.4441
Weather Corrected Forecast | [13 empty] | Total
2011 | [5 empty] | 124253328 | 84023443 | 16948879 | 21275033 | 1695783 | 310190 | 0 | 0 | 124253328
2012 | [5 empty] | 125792084.4436 | 85361770.4233 | 17554242.5861 | 20887234.5098 | 1691769.4802 | 297067.4441 | 0 | 0 | 125792084.4436
% Weather Sensitive | [6 empty] | 93.7% | 93.7% | 87.4% |  |  |  |  | Total
2011 | [5 empty] | 0 | 78729966.091 | 15881099.623 | 18594378.842 | 0 | 0 | 0 | 0 | 113205444.556
2012 | [5 empty] | 666357.0408 | 79548560.0094 | 16358783.4795 | 18162711.4251 | 0 | 0 | 0 | 0 | 114070054.914
Allocation of Weather Sensitive Amount
2011 | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2012 | [6 empty] | 464694.6395 | 95562.2451 | 106100.1562 | 0 | 0 | 0 | 0 | 666357.0408

## Rate Class Customer Model
| Residential | GS < 50kW | GS > 50kW | Street Lighting | USL | 0 | 0 | Total
1999 | [7 empty] | 0
2000 | [7 empty] | 0 |  | Year End numbers
2001 | [7 empty] | 0 |  | Res | GS<50 | GS>50 | Street L | USL
2002 | [7 empty] | 0 | 2002 | 8534 | 746 | 46 | 2107 | 52 | 9379
2003 | 8689 | 749 | 44 | 2113 | 53 |  |  | 11648 | 2003 | 8843 | 752 | 42 | 2118 | 53 | 9691
2004 | 9037 | 749 | 42 | 2126 | 54 |  |  | 12008 | 2004 | 9231 | 745 | 42 | 2134 | 55 | 10074 | 10074 | 0
2005 | 9440 | 743 | 43 | 2182 | 53 |  |  | 12461 | 2005 | 9649 | 741 | 44 | 2229 | 50 | 10485 | 10485 | 0
2006 | 9858 | 747 | 42 | 2260 | 47 |  |  | 12954 | 2006 | 10066 | 753 | 39 | 2290 | 43 | 10902 | 10902 | 0
2007 | 10274 | 754 | 37 | 2340 | 42 |  |  | 13447 | 2007 | 10481 | 755 | 35 | 2390 | 40 | 11312 | 11312 | 0
2008 | 10659 | 757 | 32 | 2422 | 40 |  |  | 13910 | 2008 | 10836 | 758 | 29 | 2453 | 40 | 11664 | 11664 | 0
2009 | 10919 | 767 | 31 | 2463 | 33 |  |  | 14213 | 2009 | 11001 | 776 | 33 | 2473 | 25 | 11836 | 11836 | 0
2010 | 11120 | 777 | 32 | 2483 | 37 |  |  | 14449 | 2010 | 11238 | 777 | 31 | 2493 | 48 | 12095 | 12095 | 0
2011 | 11371 | 781 | 34 | 2494 | 47 |  |  | 14727 | 2011 | 11503 | 785 | 36 | 2494 | 45 | 12370 | 12370 | 0
2012 | 11614.2942 | 791.2498 | 34 | 2525.2114 | 45.2032 |  |  | 15009.9585
Growth Rate in Customer Numbers
1999
2000
2001
2002
2003
2004 | 1.0401 | 1 | 0.95455 | 1.0062 | 1.0189
2005 | 1.0446 | 0.99199 | 1.0238 | 1.0263 | 0.98148
2006 | 1.0443 | 1.0054 | 0.97674 | 1.0357 | 0.88679
2007 | 1.0422 | 1.0094 | 0.88095 | 1.0354 | 0.89362
2008 | 1.0375 | 1.004 | 0.86486 | 1.035 | 0.95238
2009 | 1.0244 | 1.0132 | 0.96875 | 1.0169 | 0.825
2010 | 1.0184 | 1.013 | 1.0323 | 1.0081 | 1.1212
Used | 1.0214 | 1.0131 | 1 | 1.0125 | 0.96177
Geomean | 1.0214 | 1.0131 | 1 | 1.0125 | 0.96177

## Rate Class Load Model
| GS > 50kW | Street Lighting | USL | 0 | Total
1999
2000
2001
2002 |  |  |  |  | 0
2003 | 40426.33 | 1711.07 |  |  | 42137.4
2004 | 42249.35 | 4119.96 |  |  | 46369.31
2005 | 45843.28 | 4205.18 |  |  | 50048.46
2006 | 45915.12 | 4533.661 |  |  | 50448.781
2007 | 51225.9648 | 4427.5669 |  |  | 55653.5318
2008 | 51629.5034 | 4729.5914 |  |  | 56359.0948
2009 | 50835.95 | 4964.88 |  |  | 55800.83
2010 | 51416.5 | 4976.31 |  |  | 56392.81
2011 | 52544.1 | 5014.5 |  |  | 57558.6
2012 | 51468.3206 | 4771.3113 | 0 | 0 | 56239.6319
kW/kWh | GS > 50kW | Street Lighting |  |  |  |  | GS > 50kW | Street Lighting
1999
2000
2001
2002
2003 | 0.3518% | 0.1058% | 0% |  |  | 2003 | 0.3518% | 0.1058%
2004 | 0.419% | 0.278% | 0% |  |  | 2004 | 0.419% | 0.278%
2005 | 0.3425% | 0.2791% | 0% |  |  | 2005 | 0.3425% | 0.2791%
2006 | 0.2722% | 0.2867% | 0% |  |  | 2006 | 0.2722% | 0.2867%
2007 | 0.268% | 0.2684% | 0% |  |  | 2007 | 0.268% | 0.2684%
2008 | 0.2403% | 0.2713% | 0% |  |  | 2008 | 0.2403% | 0.2713%
2009 | 0.2419% | 0.2881% | 0% |  |  | 2009 | 0.2419% | 0.2881%
2010 | 0.2349% | 0.2866% | 0% |  |  | 2010 | 0.2349% | 0.2866%
2011 | 0.247% | 0.2957% |  |  |  | 2011 | 0.247% | 0.2957%
Average | 0.2464% | 0.282% | 0% |  | TRENDED | 2012 | 0.1904% | 0.3279%
| 5 yr average | 5 yr average

## Tables Used For Exhibits
Table 3.2 | [6 empty] | Table 3.6
Summary of Load and Customer/Connection Forecast | [6 empty] | Actual vs. Predicted Purchases (kWh)
Year | Billed (kWh) | Growth (kwh) | Percentage Change % | Customer/ Connection Count | Growth | Percentage Change % | Year | Actual | Predicted | % Difference
2003 | 97719570.62 |  |  | 11648 |  |  | 2003 | 106191026 | 105144661.4225
2004 | 96153971.55 | -1565599.07 | -1.602% | 12008 | 360 | 3.091% | 2004 | 108200330 | 107863352.8664 | -0.3114%
2005 | 104361983.96 | 8208012.41 | 8.536% | 12461 | 453 | 3.772% | 2005 | 116383501 | 117818335.8748 | 1.233%
2006 | 106422351.35 | 2060367.39 | 1.974% | 12954 | 493 | 3.956% | 2006 | 114820362 | 116864841.2918 | 1.781%
2007 | 109546147.416 | 3123796.066 | 2.935% | 13447 | 493 | 3.806% | 2007 | 124112646 | 123977033.4497 | -0.1093%
2008 | 117173371.772 | 7627224.356 | 6.963% | 13910 | 463 | 3.443% | 2008 | 128195743 | 125907354.5813 | -1.785%
2009 | 121083046.324 | 3909674.552 | 3.337% | 14213 | 303 | 2.178% | 2009 | 127978298 | 125173294.7282 | -2.192%
2010 | 125814571.27 | 4731524.946 | 3.908% | 14449 | 236 | 1.66% | 2010 | 129504071 | 130886688.7982 | 1.068%
2011 | 124253328 | -1561243.27 | -1.241% | 14727 | 278 | 1.924% | 2011 | 131684904.51 | 133435318.4972 | 1.329%
2012 | 125792084.4436 | 1538756.4436 | 1.238% | 15009.9585 | 282.9585 | 1.921% | 2012 |  | 135985271.6918

## Exhibit 3 Energy by Rate Class
Table 3-3 | [6 empty] | Table 3-13
Billed Energy and Number of Customers by Rate Class | [6 empty] | CDM Adjustment
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load | Total |  | 2012
Energy (kWh)
2003 | 70014315.45 | 14233406.3173 | 11492581.12 | 1617396.05 | 361871.6827 | 97719570.62 | Predicted kWh Purchases prior to CDM Adjustment | 136787271.6918
2004 | 70396999.85 | 13909441.1422 | 10082486 | 1481841.28 | 283203.2778 | 96153971.55
2005 | 74670218.3 | 14537477.5828 | 13382992.24 | 1506679.02 | 264616.8172 | 104361983.96 | CDM kWh Target Savings for 2012 | 802000
2006 | 73494501.18 | 14223774.1175 | 16866827.48 | 1581464.98 | 255783.5925 | 106422351.35
2007 | 74223886.61 | 14339658.1965 | 19112117.826 | 1649562.91 | 220921.8735 | 109546147.416 | Predicted kWh Purchases after CDM Adjustment | 135985271.6918
2008 | 78678925.103 | 15092313.37 | 21485441.404 | 1743399.895 | 173292 | 117173371.772
2009 | 82719010.36 | 15369939.543 | 21015697.84 | 1723126.175 | 255272.406 | 121083046.324 | Purchases kWh Divided by Total Loss Factor | 1.081
2010 | 84575463.6 | 17287125.2 | 21893070 | 1736181.47 | 322731 | 125814571.27
2011 | 84023443 | 16948879 | 21275033 | 1695783 | 310190 | 124253328 | kWh to allocate to Rate Classes | 125792084.4436
2012 | 85361770.4233 | 17554242.5861 | 20887234.5098 | 1691769.4802 | 297067.4441 | 125792084.4436
Number of Customers/Connections
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load | Total
2003 | 8689 | 749 | 44 | 2113 | 53 | 11648
2004 | 9037 | 749 | 42 | 2126 | 54 | 12008
2005 | 9440 | 743 | 43 | 2182 | 53 | 12461
2006 | 9858 | 747 | 42 | 2260 | 47 | 12954
2007 | 10274 | 754 | 37 | 2340 | 42 | 13447
2008 | 10659 | 757 | 32 | 2422 | 40 | 13910
2009 | 10919 | 767 | 31 | 2463 | 33 | 14213
2010 | 11120 | 777 | 32 | 2483 | 37 | 14449
2011 | 11371 | 781 | 34 | 2494 | 47 | 14727
2012 | 11614.2942 | 791.2498 | 34 | 2525.2114 | 45.2032 | 15009.9585
Table 3-12
Annual kWh Usage per Customer/Connection
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load
2003 | 8057.8105 | 19003.2127 | 261195.0255 | 765.4501 | 6827.7676
2004 | 7789.8639 | 18570.6824 | 240059.1905 | 697.0091 | 5244.5051
2005 | 7909.9808 | 19565.9187 | 311232.3777 | 690.5037 | 4992.7701
2006 | 7455.3156 | 19041.1969 | 401591.1305 | 699.7633 | 5442.2041
2007 | 7224.439 | 19018.1143 | 516543.725 | 704.9414 | 5260.0446
2008 | 7381.4546 | 19937.0058 | 671420.0439 | 719.8183 | 4332.3
2009 | 7575.6947 | 20039.0346 | 677925.7368 | 699.6046 | 7735.5275
2010 | 7605.7072 | 22248.5524 | 684158.4375 | 699.2273 | 8722.4595
2011 | 7389.2747 | 21701.5096 | 625736.2647 | 679.9451 | 6599.7872
2012 | 7349.7166 | 22185.4628 | 614330.4268 | 669.9516 | 6571.8302
Table 3-11
Annual Growth Rate in kWh Usage per Customer/Connection
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load
2003
2004 | 0.96675 | 0.97724 | 0.91908 | 0.91059 | 0.76811
2005 | 1.0154 | 1.0536 | 1.2965 | 0.99067 | 0.952
2006 | 0.94252 | 0.97318 | 1.2903 | 1.0134 | 1.09
2007 | 0.96903 | 0.99879 | 1.2862 | 1.0074 | 0.96653
2008 | 1.0217 | 1.0483 | 1.2998 | 1.0211 | 0.82362
2009 | 1.0263 | 1.0051 | 1.0097 | 0.97192 | 1.7855
2010 | 1.004 | 1.1103 | 1.0092 | 0.99946 | 1.1276
2011 | 0.97154 | 0.97541 | 0.91461 | 0.97242 | 0.75664
2012 Normalized | 0.98923 | 1.0167 | 0.97679 | 0.9853 | 0.99576
Table 3.7
Number of Customers/Connections
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load | Total
2003 | 8689 | 749 | 44 | 2113 | 53 | 11648
2004 | 9037 | 749 | 42 | 2126 | 54 | 12008
2005 | 9440 | 743 | 43 | 2182 | 53 | 12461
2006 | 9858 | 747 | 42 | 2260 | 47 | 12954
2007 | 10274 | 754 | 37 | 2340 | 42 | 13447
2008 | 10659 | 757 | 32 | 2422 | 40 | 13910
2009 | 10919 | 767 | 31 | 2463 | 33 | 14213
2010 | 11120 | 777 | 32 | 2483 | 37 | 14449
2011 | 11371 | 781 | 34 | 2494 | 47 | 14727
Table 3.8
Growth Rate in Customers/Connections
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load
2003
2004 | 1.0401 | 1 | 0.95455 | 1.0062 | 1.0189
2005 | 1.0446 | 0.99199 | 1.0238 | 1.0263 | 0.98148
2006 | 1.0443 | 1.0054 | 0.97674 | 1.0357 | 0.88679
2007 | 1.0422 | 1.0094 | 0.88095 | 1.0354 | 0.89362
2008 | 1.0375 | 1.004 | 0.86486 | 1.035 | 0.95238
2009 | 1.0244 | 1.0132 | 0.96875 | 1.0169 | 0.825
2010 | 1.0184 | 1.013 | 1.0323 | 1.0081 | 1.1212
2011 | 1.0226 | 1.0051 | 1.0625 | 1.0044 | 1.2703
2012 Normalized | 1.0214 | 1.0131 | 1 | 1.0125 | 0.96177
Table 3.9
Annual kWh Usage per Customer/Connection
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load
2003 | 8057.8105 | 19003.2127 | 261195.0255 | 765.4501 | 6827.7676
2004 | 7789.8639 | 18570.6824 | 240059.1905 | 697.0091 | 5244.5051
2005 | 7909.9808 | 19565.9187 | 311232.3777 | 690.5037 | 4992.7701
2006 | 7455.3156 | 19041.1969 | 401591.1305 | 699.7633 | 5442.2041
2007 | 7224.439 | 19018.1143 | 516543.725 | 704.9414 | 5260.0446
2008 | 7381.4546 | 19937.0058 | 671420.0439 | 719.8183 | 4332.3
2009 | 7575.6947 | 20039.0346 | 677925.7368 | 699.6046 | 7735.5275
2010 | 7605.7072 | 22248.5524 | 684158.4375 | 699.2273 | 8722.4595
2011 | 7389.2747 | 21701.5096 | 625736.2647 | 679.9451 | 6599.7872
Table 3.11
Growth Rate in Usage per Customer / Connection
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load
2003
2004 | 0.96675 | 0.97724 | 0.91908 | 0.91059 | 0.76811
2005 | 1.0154 | 1.0536 | 1.2965 | 0.99067 | 0.952
2006 | 0.94252 | 0.97318 | 1.2903 | 1.0134 | 1.09
2007 | 0.96903 | 0.99879 | 1.2862 | 1.0074 | 0.96653
2008 | 1.0217 | 1.0483 | 1.2998 | 1.0211 | 0.82362
2009 | 1.0263 | 1.0051 | 1.0097 | 0.97192 | 1.7855
2010 | 1.004 | 1.1103 | 1.0092 | 0.99946 | 1.1276
2011 | 0.97154 | 0.97541 | 0.91461 | 0.97242 | 0.75664
Geometric Mean | 0.98923 | 1.0167 | 0.97679 | 0.9853 | 0.99576
Table 3.13
Weather Sensitivity
| Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load
| 93.7% | 93.7% | 87.4% | 0% | 0%
Table 3.15
Allignment of Non-Normal to Weather Normal Forecast
Number of Customers/Connections
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load | Total
2011 | 1.0217 | 1.0483 | 1.2998 | 1.0211 | 0.82362 | 5.2146
2012 | 11614.2942 | 791.2498 | 34 | 2525.2114 | 45.2032 | 15009.9585
Average kWh Usage Per Customer/Connection
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load
2011 | 0 | 0 | 0 | 0 | 0 | 0
2012 | 7349.7166 | 22185.4628 | 614330.4268 | 669.9516 | 6571.8302
Non-Normal Weather Billed Energy Forecast (kWh)
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load | Total
2011 | 84023443 | 16948879 | 21275033 | 1695783 | 310190 | 124253328
2012 | 84897075.7837 | 17458680.341 | 20781134.3537 | 1691769.4802 | 297067.4441 | 125125727.4027
Adjustment for Weather (kWh)
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load | Total
2011 | 0 | 0 | 0 | 0 | 0 | 0
2012 | 464694.6395 | 95562.2451 | 106100.1562 | 0 | 0 | 666357.0408
Weather Normalized Billed Energy Forecast (kWh)
Year | Residential | General Service < 50kW | General Service 50 - 4999 kW | Streetlights | Unmetered Scattered Load | Total
2011 | 84023443 | 16948879 | 21275033 | 1695783 | 310190 | 124253328
2012 | 85361770.4233 | 17554242.5861 | 20887234.5098 | 1691769.4802 | 297067.4441 | 125792084.4436
Table 3.16
Historical Annual kW
|  | Year | General Service 50 - 4999 kW | Streetlights | Total
|  | 2003 | 40426.33 | 1711.07 | 42137.4
|  | 2004 | 42249.35 | 4119.96 | 46369.31
|  | 2005 | 45843.28 | 4205.18 | 50048.46
|  | 2006 | 45915.12 | 4533.661 | 50448.781
|  | 2007 | 51225.9648 | 4427.5669 | 55653.5318
|  | 2008 | 51629.5034 | 4729.5914 | 56359.0948
|  | 2009 | 50835.95 | 4964.88 | 55800.83
|  | 2010 | 51416.5 | 4976.31 | 56392.81
|  | 2011 | 52544.1 | 5014.5 | 57558.6
Table 3.17
kW / kWh Ratio
Year | General Service 50 - 4999 kW | Streetlights
2003 | 0.3518% | 0.1058%
2004 | 0.419% | 0.278%
2005 | 0.3425% | 0.2791%
2006 | 0.2722% | 0.2867%
2007 | 0.268% | 0.2684%
2008 | 0.2403% | 0.2713%
2009 | 0.2419% | 0.2881%
2010 | 0.2349% | 0.2866%
2011 | 0.247% | 0.2957%
2012 Trended | 0.1904% | 0.3279%
Table 3.18
kW Forecast
Year | General Service 50 - 4999 kW | Streetlights
2011 Actual | 52544.1 | 5014.5
5-year average kW/kWh ratio | 0.2464% | 0.282%
Weather Normalized kWh | 20887234.5098 | 1691769.4802
2012 kW Forecast | 51468.3206 | 4771.3113

## 2011 COP
2011 Load Foreacst | kWh | kW | 2011 %RPP
Residential | 84023443 |  | 94.61%
General Service < 50 kW | 16948879 |  | 93.04%
General Service > 50 kW | 21275033 | 52544.1 | 2.941%
Street Lighting | 1695783 | 5014.5 | 0%
Unmetered Scattered Load | 310190 |  | 100%
TOTAL | 124253328 | 57558.6
Electricity - Commodity RPP | 2011 Forecasted Metered kWhs | 2011 Loss Factor
Class per Load Forecast RPP |  |  | 2011
Residential | 79491627.8646 | 1.0739 | 85366059.1638 | 0.06838 | 5837331.1256
General Service < 50 kW | 15770013.3758 | 1.0739 | 16935417.3642 | 0.06838 | 1158043.8394
General Service > 50 kW | 625736.2647 | 1.0739 | 671978.1747 | 0.06838 | 45949.8676
Street Lighting | 0 | 1.0739 | 0 | 0.06838 | 0
Unmetered Scattered Load | 310190 | 1.0739 | 333113.041 | 0.06838 | 22778.2697
TOTAL | 96197567.5051 |  | 103306567.7437 |  | 7064103.1023
Electricity - Commodity Non-RPP | 2011 Forecasted Metered kWhs | 2011 Loss Factor
Class per Load Forecast |  |  | 2011
Residential | 4531815.1354 | 1.0739 | 4866716.2739 | 0.06561 | 319305.2547
General Service < 50 kW | 1178865.6242 | 1.0739 | 1265983.7939 | 0.06561 | 83061.1967
General Service > 50 kW | 20649296.7353 | 1.0739 | 22175279.764 | 0.06561 | 1454920.1053
Street Lighting | 1695783 | 1.0739 | 1821101.3637 | 0.06561 | 119482.4605
Unmetered Scattered Load | 0 | 1.0739 | 0 | 0.06561 | 0
TOTAL | 28055760.4949 |  | 30129081.1955 |  | 1976769.0172
Transmission - Network |  | Volume
Class per Load Forecast |  | Metric | 2011
Residential |  | kWh | 90232775.4377 | 0.0073 | 658699.2607
General Service < 50 kW |  | kWh | 18201401.1581 | 0.0067 | 121949.3878
General Service > 50 kW |  | kW | 52544.1 | 2.7313 | 143513.7003
Street Lighting |  | kW | 5014.5 | 2.0599 | 10329.3685
Unmetered Scattered Load |  | kWh | 333113.041 | 0.0067 | 2231.8574
TOTAL |  |  |  |  | 936723.5747
Transmission - Connection |  | Volume
Class per Load Forecast |  | Metric | 2011
Residential |  | kWh | 90232775.4377 | 0.0044 | 397024.2119
General Service < 50 kW |  | kWh | 18201401.1581 | 0.0038 | 69165.3244
General Service > 50 kW |  | kW | 52544.1 | 1.5176 | 79740.9262
Street Lighting |  | kW | 5014.5 | 1.1732 | 5883.0114
Unmetered Scattered Load |  | kWh | 333113.041 | 0.0038 | 1265.8296
TOTAL |  |  |  |  | 553079.3034
Wholesale Market Service
Class per Load Forecast |  |  | 2011
Residential |  |  | 90232775.4377 | 0.0052 | 469210.4323
General Service < 50 kW |  |  | 18201401.1581 | 0.0052 | 94647.286
General Service > 50 kW |  |  | 22847257.9387 | 0.0052 | 118805.7413
Street Lighting |  |  | 1821101.3637 | 0.0052 | 9469.7271
Unmetered Scattered Load |  |  | 333113.041 | 0.0052 | 1732.1878
TOTAL |  |  | 133435648.9392 |  | 693865.3745
Rural Rate Assistance
Class per Load Forecast |  |  | 2011
Residential |  |  | 90232775.4377 | 0.0013 | 117302.6081
General Service < 50 kW |  |  | 18201401.1581 | 0.0013 | 23661.8215
General Service > 50 kW |  |  | 22847257.9387 | 0.0013 | 29701.4353
Street Lighting |  |  | 1821101.3637 | 0.0013 | 2367.4318
Unmetered Scattered Load |  |  | 333113.041 | 0.0013 | 433.047
TOTAL |  |  | 133435648.9392 |  | 173466.3436
Low Voltage |  | Volume
Class per Load Forecast |  | Metric | 2011
Residential |  | kWh | 84023443 | 0.0014 | 117632.8202
General Service < 50 kW |  | kWh | 16948879 | 0.0013 | 22033.5427
General Service > 50 kW |  | kW | 52544.1 | 0.5507 | 28936.0359
Street Lighting |  | kW | 5014.5 | 0.4131 | 2071.49
Unmetered Scattered Load |  | kWh | 310190 | 0.0013 | 403.247
TOTAL |  |  |  |  | 171077.1357
2011
4705-Power Purchased | 9040872.1196 | 9292270.59
4708-Charges-WMS | 693865.3745 | 547390.08
4714-Charges-NW | 936723.5747 | 698654.1
4716-Charges-CN | 553079.3034 | 396712.48
4730-Rural Rate Assistance | 173466.3436
4750-Low Voltage | 171077.1357 | 197394.52
TOTAL | 11569083.8515

## 2012 COP
2012 Load Foreacst | kWh | kW | 2011 %RPP
Residential | 85361770.4233 |  | 94.61%
General Service < 50 kW | 17554242.5861 |  | 93.04%
General Service > 50 kW | 20887234.5098 | 51468.3206 | 2.941%
Street Lighting | 1691769.4802 | 4771.3113 | 0%
Unmetered Scattered Load | 297067.4441 |  | 100%
TOTAL | 125792084.4436 | 56239.6319
Electricity - Commodity RPP | 2012 Forecasted Metered kWhs | 2012 Loss Factor
Class per Load Forecast RPP |  |  | 2012
Residential | 80757772.4273 | 1.0866 | 87751050.3375 | 0.08068 | 7079754.7412
General Service < 50 kW | 16333271.3854 | 1.0866 | 17747662.8742 | 0.08068 | 1431881.4407
General Service > 50 kW | 614330.4268 | 1.0866 | 667528.8159 | 0.08068 | 53856.2249
Street Lighting | 0 | 1.0866 | 0 | 0.08068 | 0
Unmetered Scattered Load | 297067.4441 | 1.0866 | 322792.2151 | 0.08068 | 26042.8759
TOTAL | 98002441.6835 |  | 106489034.2426 |  | 8591535.2827
Electricity - Commodity Non-RPP | 2012 Forecasted Metered kWhs | 2011 Loss Factor
Class per Load Forecast |  |  | 2012
Residential | 4603997.996 | 1.0866 | 5002684.5436 | 0.07877 | 394061.4615
General Service < 50 kW | 1220971.2008 | 1.0866 | 1326702.088 | 0.07877 | 104504.3235
General Service > 50 kW | 20272904.0831 | 1.0866 | 22028450.9244 | 0.07877 | 1735181.0793
Street Lighting | 1691769.4802 | 1.0866 | 1838269.4861 | 0.07877 | 144800.4874
Unmetered Scattered Load | 0 | 1.0866 | 0 | 0.07877 | 0
TOTAL | 27789642.76 |  | 30196107.0421 |  | 2378547.3517
Transmission - Network |  | Volume
Class per Load Forecast |  | Metric | 2012
Residential |  | kWh | 92753734.8811 | 0.0054557 | 506038.1728
General Service < 50 kW |  | kWh | 19074364.9622 | 0.0050073 | 95511.1124
General Service > 50 kW |  | kW | 51468.3206 | 2.0413 | 105060.2464
Street Lighting |  | kW | 4771.3113 | 1.5395 | 7345.3568
Unmetered Scattered Load |  | kWh | 322792.2151 | 0.0050073 | 1616.3182
TOTAL |  |  |  |  | 715571.2067
Transmission - Connection |  | Volume
Class per Load Forecast |  | Metric | 2012
Residential |  | kWh | 92753734.8811 | 0.003182 | 295140.9851
General Service < 50 kW |  | kWh | 19074364.9622 | 0.0027481 | 52417.8404
General Service > 50 kW |  | kW | 51468.3206 | 1.0975 | 56486.2515
Street Lighting |  | kW | 4771.3113 | 0.84843 | 4048.1374
Unmetered Scattered Load |  | kWh | 322792.2151 | 0.0027481 | 887.0581
TOTAL |  |  |  |  | 408980.2726
Wholesale Market Service
Class per Load Forecast |  |  | 2012
Residential |  |  | 92753734.8811 | 0.0052 | 482319.4214
General Service < 50 kW |  |  | 19074364.9622 | 0.0052 | 99186.6978
General Service > 50 kW |  |  | 22695979.7403 | 0.0052 | 118019.0946
Street Lighting |  |  | 1838269.4861 | 0.0052 | 9559.0013
Unmetered Scattered Load |  |  | 322792.2151 | 0.0052 | 1678.5195
TOTAL |  |  | 136685141.2847 |  | 710762.7347
Rural Rate Assistance
Class per Load Forecast |  |  | 2012
Residential |  |  | 92753734.8811 | 0.0011 | 102029.1084
General Service < 50 kW |  |  | 19074364.9622 | 0.0011 | 20981.8015
General Service > 50 kW |  |  | 22695979.7403 | 0.0011 | 24965.5777
Street Lighting |  |  | 1838269.4861 | 0.0011 | 2022.0964
Unmetered Scattered Load |  |  | 322792.2151 | 0.0011 | 355.0714
TOTAL |  |  | 136685141.2847 |  | 150353.6554
Low Voltage |  | Volume
Class per Load Forecast |  | Metric | 2012
Residential |  | kWh | 85361770.4233 | 0.0019282 | 164598.6138
General Service < 50 kW |  | kWh | 17554242.5861 | 0.0017905 | 31431.1428
General Service > 50 kW |  | kW | 51468.3206 | 0.75849 | 39038.2012
Street Lighting |  | kW | 4771.3113 | 0.56897 | 2714.7364
Unmetered Scattered Load |  | kWh | 297067.4441 | 0.0017905 | 531.9039
TOTAL |  |  |  |  | 238314.5981
2012
4705-Power Purchased | 10970082.6344
4708-Charges-WMS | 710762.7347
4714-Charges-NW | 715571.2067
4716-Charges-CN | 408980.2726
4730-Rural Rate Assistance | 150353.6554 |  |  |  |  | Hydro One Low Voltage Charges per kW
4750-Low Voltage | 238314.5981 |  |  |  |  | 2011 LV Rate | 2012 LV Rate | %Increase
TOTAL | 13194065.1019 |  |  |  |  | 0.485 | 0.668 | 137.7%
2011 Low Voltage
[6 empty] | Class per Load Forecast | Volume Metric | Billing Determinents | 2011 Approved LV charges | LV Billed
[6 empty] | Residential | kWh | 84023443 | 0.0014 | 117632.8202
[6 empty] | General Service < 50 kW | kWh | 16948879 | 0.0013 | 22033.5427
[6 empty] | General Service > 50 kW | kW | 52544.1 | 0.5507 | 28936.0359
[6 empty] | Street Lighting | kW | 5014.5 | 0.4131 | 2071.49
[6 empty] | Unmetered Scattered Load | kWh | 310190 | 0.0013 | 403.247
[6 empty] | TOTAL |  |  |  | 171077.1357
2012 Low Voltage
[6 empty] | Class per Load Forecast | Volume Metric | Billing Determinents | 2012 Proposed LV charges | LV Billed
[6 empty] | Residential | kWh | 85361770.4233 | 0.0019282 | 164598.6138
[6 empty] | General Service < 50 kW | kWh | 17554242.5861 | 0.0017905 | 31431.1428
[6 empty] | General Service > 50 kW | kW | 51468.3206 | 0.75849 | 39038.2012
[6 empty] | Street Lighting | kW | 4771.3113 | 0.56897 | 2714.7364
[6 empty] | Unmetered Scattered Load | kWh | 297067.4441 | 0.0017905 | 531.9039
[6 empty] | TOTAL |  |  |  | 238314.5981

## Loss Factor
|  | Purchases with Losses | 106191026 | 108200330 | 116383501 | 114820362 | 124112646 | 128195743 | 127978298 | 129504071 | 131684904.51 |  |  | Purchases without Losses
Wasaga Distribution Inc.
[10 empty] | 1.0336 |  |  | 11305884 | 2003 | Jan | 11014861.9 | 1.0264
|  |  | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 |  | 10242002 |  | Feb | 9978570.2 | 1.0264
A | “Wholesale" kWh (IESO) Qty at the Meter |  | 103374882.3 | 105068136.9 | 112556578.6 | 111044839.1 | 120031574.2 | 123980408.4 | 123800272.8 | 125298777.8 | 127408124.7 |  | 9592918 |  | Mar | 9345175.2 | 1.0265
B | “Wholesale" kWh (GEN) Micro Fit | [11 empty] | 7993932 |  | Apr | 7787575.7 | 1.0265
C | Net "Wholesale" kWh (A)-(B) |  | 103374882.3 | 105068136.9 | 112556578.6 | 111044839.1 | 120031574.2 | 123980408.4 | 123800272.8 | 125298777.8 | 127408124.7 |  | 7500497 |  | May | 7299903.8 | 1.0275
[13 empty] | 7495992 |  | Jun | 7292234.9 | 1.0279
D | Retail kWh (Distributor) Qty at the Meter |  | 97719570.62 | 96153971.55 | 104361983.96 | 106422351.35 | 109546147.416 | 117173371.772 | 121083046.324 | 125814571.27 | 124253328 |  | 9162546 |  | Jul | 8906532.5 | 1.0287
E |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 9196443 |  | Aug | 8937264 | 1.029
F | Net "Retail" kWh (D)-(E) |  | 97719570.62 | 96153971.55 | 104361983.96 | 106422351.35 | 109546147.416 | 117173371.772 | 121083046.324 | 125814571.27 | 124253328 |  | 6973715 |  | Sep | 6785575.2 | 1.0277
[12 empty] | 9 Year Average | 7804289 |  | Oct | 7597289.8 | 1.0272
G | Distribution Loss Factor [(C)/(F)] |  | 1.0579 | 1.0927 | 1.0785 | 1.0434 | 1.0957 | 1.0581 | 1.0224 | 0.9959 | 1.0254 | 1.0522 | 8401639 |  | Nov | 8180216.2 | 1.0271
[13 empty] | 10521169 |  | Dec | 10249682.9 | 1.0265
H | Supply Facility Loss Factor |  | 1.0272 | 1.0298 | 1.034 | 1.034 | 1.034 | 1.034 | 1.0337 | 1.0336 | 1.0336 | 1.0327 | 106191026 |  | 2003 | 103374882.3 | 1.0272
[13 empty] | 11896358 | 2004 | Jan | 11595423.8 | 1.026
| Total Utility Loss Adjustment Factor | LAF | 1.0867 | 1.1253 | 1.1152 | 1.0789 | 1.133 | 1.0941 | 1.0569 | 1.0293 | 1.0598 | 1.0866 | 9570224 |  | Feb | 9328649.3 | 1.0259
[13 empty] | 9488329 |  | Mar | 9243878.9 | 1.0264
| Supply Facility Loss Factor | 1.0327 | [10 empty] | 7893734 |  | Apr | 7688864.6 | 1.0266
[13 empty] | 7792020 |  | May | 7583445.1 | 1.0275
| Total Loss Factor | [11 empty] | 7435078 |  | Jun | 7232215.7 | 1.028
| Secondary Metered Customer | [11 empty] | 9404237 |  | Jul | 9139727.9 | 1.0289
| Total Loss Factor - Secondary Metered Customer < 5,000kW | 1.0866 | [10 empty] | 9187747 |  | Aug | 8891713 | 1.0333
| Total Loss Factor - Secondary Metered Customer > 5,000kW | n/a | [10 empty] | 7747848 |  | Sep | 7493083.1 | 1.034
[13 empty] | 7779737 |  | Oct | 7523923.5 | 1.034
| Primary Metered Customer | [11 empty] | 8482027 |  | Nov | 8203120.6 | 1.034
| Total Loss Factor - Primary Metered Customer < 5,000kW | 1.0757 | [10 empty] | 11522991 |  | Dec | 11144091.4 | 1.034
| Total Loss Factor - Primary Metered Customer > 5,000kW | n/a | [10 empty] | 108200330 |  | 2004 | 105068136.9 | 1.0298
[13 empty] | 12104125 | 2005 | Jan | 11706116.8 | 1.034
[13 empty] | 10041249 |  | Feb | 9711072.5 | 1.034
[13 empty] | 10294288 |  | Mar | 9955791.5 | 1.034
[13 empty] | 7950802 |  | Apr | 7689363.7 | 1.034
[13 empty] | 8058228 |  | May | 7793257.7 | 1.034
[13 empty] | 9423396 |  | Jun | 9113535.9 | 1.034
[13 empty] | 11465909 |  | Jul | 11088887.2 | 1.034
[13 empty] | 10420620 |  | Aug | 10077968.7 | 1.034
[13 empty] | 8236530 |  | Sep | 7965696.4 | 1.034
[13 empty] | 8141870 |  | Oct | 7874149 | 1.034
[13 empty] | 8754703 |  | Nov | 8466830.9 | 1.034
[13 empty] | 11491781 |  | Dec | 11113908.3 | 1.034
[13 empty] | 116383501 |  | 2005 | 112556578.6 | 1.034
[13 empty] | 10835452 | 2006 | Jan | 10479160.9 | 1.034
[13 empty] | 10170032 |  | Feb | 9835621.1 | 1.034
[13 empty] | 10248021 |  | Mar | 9911045.6 | 1.034
[13 empty] | 7986665 |  | Apr | 7724047.1 | 1.034
[13 empty] | 8225607 |  | May | 7955132.3 | 1.034
[13 empty] | 8533586 |  | Jun | 8252984.8 | 1.034
[13 empty] | 11494679 |  | Jul | 11116711 | 1.034
[13 empty] | 10408518 |  | Aug | 10066265.1 | 1.034
[13 empty] | 8062480 |  | Sep | 7797369.3 | 1.034
[13 empty] | 8803941 |  | Oct | 8514450.2 | 1.034
[13 empty] | 9102265 |  | Nov | 8802964.5 | 1.034
[13 empty] | 10949116 |  | Dec | 10589087.2 | 1.034
[13 empty] | 114820362 |  | 2006 | 111044839.1 | 1.034
[13 empty] | 11595904 | 2007 | Jan | 11214607.2 | 1.034
[13 empty] | 11366145 |  | Feb | 10992403.4 | 1.034
[13 empty] | 10718300 |  | Mar | 10365861 | 1.034
[13 empty] | 9069276 |  | Apr | 8771060.2 | 1.034
[13 empty] | 8773721 |  | May | 8485223.8 | 1.034
[13 empty] | 9407320 |  | Jun | 9097988.7 | 1.034
[13 empty] | 10922926 |  | Jul | 10563758.6 | 1.034
[13 empty] | 11518806 |  | Aug | 11140044.7 | 1.034
[13 empty] | 8972619 |  | Sep | 8677580.9 | 1.034
[13 empty] | 8837911 |  | Oct | 8547303 | 1.034
[13 empty] | 10240247 |  | Nov | 9903526.7 | 1.034
[13 empty] | 12689471 |  | Dec | 12272216 | 1.034
[13 empty] | 124112646 |  | 2007 | 120031574.2 | 1.034
[13 empty] | 12264015 | 2008 | Jan | 11860749.3 | 1.034
[13 empty] | 11804844 |  | Feb | 11416676.6 | 1.034
[13 empty] | 11812299 |  | Mar | 11423887 | 1.034
[13 empty] | 8938098 |  | Apr | 8644195.3 | 1.034
[13 empty] | 9217345 |  | May | 8914260.4 | 1.034
[13 empty] | 9719413 |  | Jun | 9399818.8 | 1.034
[13 empty] | 11318218 |  | Jul | 10946051.9 | 1.034
[13 empty] | 11136208 |  | Aug | 10770026.7 | 1.034
[13 empty] | 8954031 |  | Sep | 8659604.9 | 1.034
[13 empty] | 9569483 |  | Oct | 9254819.4 | 1.034
[13 empty] | 10428769 |  | Nov | 10085850.1 | 1.034
[13 empty] | 13033020 |  | Dec | 12604468 | 1.034
[13 empty] | 128195743 |  | 2008 | 123980408.4 | 1.034
[13 empty] | 13812327 | 2009 | Jan | 13358149.6 | 1.034
[13 empty] | 11477623 |  | Feb | 11100215.4 | 1.034
[13 empty] | 11420342 |  | Mar | 11044818.6 | 1.034
[13 empty] | 9511235 |  | Apr | 9198486.7 | 1.034
[13 empty] | 9272872 |  | May | 8971584.6 | 1.0336
[13 empty] | 9226969 |  | Jun | 8926950.5 | 1.0336
[13 empty] | 10435322 |  | Jul | 10094423.8 | 1.0338
[13 empty] | 11413704 |  | Aug | 11041850.3 | 1.0337
[13 empty] | 9257157 |  | Sep | 8955662.6 | 1.0337
[13 empty] | 9872214 |  | Oct | 9551782.6 | 1.0335
[13 empty] | 9731721 |  | Nov | 9416055.6 | 1.0335
[13 empty] | 12546812 |  | Dec | 12140292.5 | 1.0335
[13 empty] | 127978298 |  | 2009 | 123800272.8 | 1.0337
[13 empty] | 12974016 | 2010 | Jan | 12553835.8 | 1.0335
[13 empty] | 11255506 |  | Feb | 10890959.9 | 1.0335
[13 empty] | 10543146 |  | Mar | 10201344.5 | 1.0335
[13 empty] | 8706001 |  | Apr | 8423410.5 | 1.0335
[13 empty] | 9621863 |  | May | 9309149.5 | 1.0336
[13 empty] | 9378111 |  | Jun | 9073082.7 | 1.0336
[13 empty] | 12682926 |  | Jul | 12269850.2 | 1.0337
[13 empty] | 12322091 |  | Aug | 11920783.3 | 1.0337
[13 empty] | 9496039 |  | Sep | 9187074.6 | 1.0336
[13 empty] | 9470083 |  | Oct | 9162395.4 | 1.0336
[13 empty] | 10196091 |  | Nov | 9865335.9 | 1.0335
[13 empty] | 12858198 |  | Dec | 12441555.5 | 1.0335
[13 empty] | 129504071 |  | 2010 | 125298777.8 | 1.0336
[13 empty] | 13147420.28 | 2011 | Jan | 12721699.1 | 1.0335
[13 empty] | 11441073.68 |  | Feb | 11070639.3 | 1.0335
[13 empty] | 11489559.33 |  | Mar | 11117392.1 | 1.0335
[13 empty] | 9665080.18 |  | Apr | 9351527.5 | 1.0335
[13 empty] | 9490857.05 |  | May | 9182248.3 | 1.0336
[13 empty] | 9581971.16 |  | Jun | 9270259.2 | 1.0336
[13 empty] | 13572193.43 |  | Jul | 13129804.3 | 1.0337
[13 empty] | 11921213.56 |  | Aug | 11532802.8 | 1.0337
[13 empty] | 9672770.86 |  | Sep | 9358010.2 | 1.0336
[13 empty] | 9746408.24 |  | Oct | 9429688.1 | 1.0336
[13 empty] | 9838067.76 |  | Nov | 9518672 | 1.0336
[13 empty] | 12118288.98 |  | Dec | 11725381.8 | 1.0335
[13 empty] | 131684904.51 |  | 2011 | 127408124.7 | 1.0336

## Demand 2009 2011
Block Summary Demand
|  | GS>50 | Str Lights
2009 | jan | 4595.4 | 1635.76
| feb | 4121.18
| mar | 4001.68
| apr | 4299.34 |  |  | 5.3158 | 2299.77 | 12225.1174
| may | 4226.13 | 1659.8 |  | 5.3158 | 1999.57 | 10629.3142
| jun | 4905.01 |  |  | 5.3158 | 4299.34 | 22854.4316
| jul | 5052.31 | 829.9 | used 413.74 per month for 2009 | 5.3158 | 2299.77 | 12225.1174
| aug | 4764.41 | 414.95
| sep | 5017.9 |  |  | 1.6988 | 4299.34 | 7303.72
| oct | 4887.11
| nov | 1224.56 | 1241.22 |  | 1.7399 | 2272.69 | 3954.24
| dec | 3740.92 | 413.74
2010 | jan | 3673.51 | 413.74
| feb | 3762.23 | 413.74 |  | 0.5 | 1039 | 519.5
| mar | 3830.35 | 413.74
| apr | 3757.3 | 413.74
| may | 3919.55 | 413.74 |  | 1.7871 | 4710.8444 | 8418.75
| jun | 4871.19 | 413.74
| jul | 4683.06 | 413.74
| aug | 5220.79 | 413.74
| sep | 4780.03 | 413.74
| oct | 4838.75 | 417.55
| nov | 4311.99 | 417.55
| dec | 3767.75 | 417.55 | 4976.31
2011 | jan | 3823.6 | 417.6
| feb | 3907.4 | 417.9
| mar | 3820.2 | 417.9
| apr | 3908.3 | 417.9
| may | 3903.5 | 417.9
| jun | 4591.5 | 417.9
| jul | 4902.8 | 417.9
| aug | 5412.4 | 417.9
| sep | 4923.1 | 417.9
| oct | 5117.3 | 417.9
| nov | 4410 | 417.9
| dec | 3824 | 417.9 | 5014.5