Comments and Clarifications to Board Staff
 Submission on the  
2008 Electricity Distribution Rates

Chapleau Public Utilities Corporation

EB-2007-0755

On page 2 of the Board Staff Submission under the heading of “THE APPLICATION” the revenue requirement of $723,891 requested by Chapleau was taken from our original submission. Changes were made through interrogatory responses and this amount was adjusted to $736,568.
Clarification.

Page 5 – Cost Driver Review - Additional Repairs and Maintenance
The distribution system in Chapleau does not have any plans for expansion or new developments (services) in its’ future. The only work performed on the Company’s distribution system is for repair and maintenance work to keep Chapleau’s aging system in the most reliable state. The volume of work varies, depending upon the findings of the “Assessment of Asset Condition” inspection program (explained below in “Assessment of Asset Condition and Asset Management Plan”), manpower availability, weather conditions and emergency repairs and maintenance caused by extreme weather conditions, automobile accidents, etc. Each year, available net hours are spent in this manner. For 2007, 86.8% of available hours were spent this way, while the balance of available hours (13.2%) was allocated for actual work performed for Hydro One Networks Inc. and the Township of Chapleau. 
The increase in additional cost for 2007 is for repairs and maintenance of Chapleaus’ distribution system, but cannot specifically identify as to what maintenance or repair activity contributed to the increase of $13,700 over 2006 for which 83.6% of available hours was allocated to Chapleau PUC.
Clarification 
Page 6 - Regulatory Expenses and Recovery of One-Time Costs

Chapleau PUC in its original submission, identified the outside services employed as $18,000 for 2008 in Exhibit 4 Operating Costs (Excel worksheet cell G106). The breakdown for this service (to be performed by Regulatory Compliance Services) is $15,000 for Interrogatory responses to the current 2008 rate application and $3,000 for the rate application (IRM) that will be required to be completed in 2008 for the rates effective May 1, 2009.

Clarification 

Page 6 (third paragraph)
Chapleau PUC, is a small distribution utility, which has employed a total of 5 full-time employees since prior to deregulation and has chosen not to employ additional staff to undertake the ongoing rate submissions and financial reporting required by the OEB on a quarterly and annual basis. Instead, Chapleau PUC has chosen to utilize RCS and KPMG as consultants to perform these duties on an as required basis. Upon deregulation, Chapleau PUC would have been justified in increasing staff and would have included the salaries and benefits into its rate base. Chapleau PUC feels justified in recovering these one-time consultant regulatory costs by including them in its rate base at an average rate of $29,605 per year over the next three years.
Clarification 

Page 7 and 8 - Shared Services (Cost Allocators)

Chapleau Energy Services Company allocates costs based on direct hours worked for Chapleau PUC and determines the allocator (as indicated above in cost driver review) to be used for most of Chapleau PUC activities which include the following:
(References made to Item #s is from our response to interrogatory 5)

Item 1 - management support - 1 Employee
Item 2 - billing and collecting - 1 Employee
Item 3 - distribution repairs and maintenance (represents a portion of this


   item) - 3 Employees                    

Item 4 - employee benefits

Item 5 - office supplies

Item 6 - all other expenses 

 
Item 8 – truck expenses 

Total employees listed above are 5.

(All the above are referenced as “All Other Costs” in the chart below)

On-Call Expenses (portion of item 3) are premium payments made to employees required by Chapleau PUC to be on-call (standby) outside of regular working hours in case of emergencies and therefore are charged at 100%

Overhead Distribution Line Supplies (item 7) are purchased specifically for the repairs and maintenance of Chapleau PUCs’ overhead distribution system.
The following is the summary of the table supplied in interrogatories.

	
	2006 $
	Allocation
	2007 $
	Allocation
	2008 $
	Allocation

	All Other Costs are allocated based direct hours 
	357,037
	83.6%
	393,657
	86.6%
	402,478
	86.6%

	On-Call expenses
	7,800
	100%
	7,800
	100%
	7,800
	100%

	Overhead Distribution Line Supplies
	18,580
	100%
	15,120
	100%
	15,574
	100%

	Total
	383,417
	
	416,577
	
	425,851
	


Clarification 

Page 10 – Assessment of Asset Condition and Asset Management Plan

Chapleau PUC prioritizes its work plans and expenditures on a short and long term basis in order to maintain its assets as follows:
· Yearly oil samples taken from its station transformers and these samples are sent for analysis to Seimens Canada Ltd.  They perform dissolved gas analysis and oil screen tests on the samples.

· Yearly infra red survey is performed by Sudbury Control Technologies.  This scan covers the Chapleau D.S. as well as the rest of the Utility infrastructure.

· In 2007 Chapleau PUC commissioned EnerSpectrum Group to complete system modeling, assessments, and total resource cost analysis to reduce system losses and optimize performance on the distribution system.

· Chapleau PUC commissions Hydro One for substation maintenance and inspection. Hydro One makes their prioritized recommendations and Chapleau PUC follows up to correct the deficiencies.
Chapleau PUC performs annual maintenance based on the inspection programs listed above and other maintenance, repairs, upgrades, and rebuilds as required.

All the above tests and field projects are inspected yearly by the ESA.  An internal audit is performed by them in March and a field audit in July or August.

Comments 

Page 10 and 11- Smart Meters
Chapleau PUC has not installed any smart meters and does not intend to install smart meters until authorized by the Board. However, in order to meet installation deadlines, for itself and other members of the Northeast Utilities group, Chapleau PUC has formulated a plan that projects the installation of approximately 1,300 smart meters in 2009. Chapleau PUC has incurred costs of $7,468.46 for consulting fee’s in 2007 that was charged to our CDM Plan and $2,282.89 to date in 2008 for consulting fees that were charged to our smart meter capital variance account. These costs were referenced in the response to Board staff interrogatory # 43 b) (i).

Chapleau PUC is proposing with this submission to address the recovery of smart meters by using a smart meter rate adder as suggested by VECC in its submission. Chapleau PUC does not however, agree with an arbitrary “discount factor”. Along with this proposal, Chapleau PUC would request that existing accounts 1555 and 1556 would be used to record the revenue from the smart meter rate adder and the costs associated with the smart meters.
Chapleau PUC proposes to use the OEB smart meter rate adder model to determine the smart meter rate adder amount when final rates are determined and Board staff would have the opportunity to ensure the calculation is correct before final rates are approved. 
The inputs into the OEB smart meter rate adder model would include $602,834 of capital and $230,378 in OM&A expenses to be incurred in 2008, 2009 and 2010. The capital amount of $29,361 would be removed from rate base. The OM&A expense was not included in our expenses for the calculation of working capital and revenue requirement. 
As per the smart meter adder model the resulting adder would be applied to all metered customers. 
 
Explanation
Page 12 - Cost of Capital

Note that the weighted average cost of capital (“WACC”) should be 7.19% not 7.25% as stated in our interrogatory responses.  By applying the 7.19% the return on rate base is $94,445 not $95,280, representing a reduction of $835. 
Comment 
Page 13 – Revenue Sufficiency/Surplus

This was responded to in Interrogatory # 23 (b). The 10.8% no longer applies.
Comment

Page 13 and 14 – Customer and Load Forecasts

Note that:

(a) Chapleau PUC has corrected the 2008 customer count for Residential Customers from the original submission of 1177 to a count of 1164

(b) The Excel spreadsheet that was submitted to the Board Secretary is an open document and is also in PDF format, as required by the OEB. 

It was noted by Board staff, in page 2 of their submission that “Chapleau has experienced a reduction in overall kWh sales of 17% from 2002 to 2006 while the Township has suffered a reduction in population of 12% over the same time period” and also noted that this trend has been stabilized in 2006 as evidenced by our forecast kWhs for Bridge Year 2007.  Chapleau PUC forecast calculation for Test Year 2008 was determined using the average kWhs for 2006 and 2007 (27,963,997 + 28,437,682 = 56,401,679 ÷ 2 = 28,200,840). 

Chapleau PUC is forecasting zero customer connections growth, a minor negative kWh load change of 0.2% as above and a positive load growth of 1.2%. This load growth (not real) is due to the transfer of one customer from the <50 kW Class to the >50 kW Class and one customer from >50 kW Class to the <50 kW Class. The net impact of this reclassification, of the two customers, resulted as an increase in load. The following table will hopefully provide further explanation:
	Year
	Customers
	kWh
	kW

	2006
	1,740
	27,963,997
	21,740

	2007
	1,715
	28,437,682
	21,752

	2008 
	1,715
	28,200,840
	21,746

	Adjustment
	   0
	       0
	     269

	2008 Forecast
	1,715
	28,200,840
	22,015


2008 kWh and kW before the adjustment is the average of 2006 and 2007.
Comment
Page 15 - Costs of Low Voltage Charges

Chapleau PUC has recalculated low voltage charges using the same consumptions as Board Staff Interrogatory Response #27 but applying Hydro One’s applied for new rates.

	Shared Line
	Shared D/S
	Total

	Month
	Quantity kW
	$ Amount
	Quantity kW
	$ Amount
	$ Amount

	October ‘06
	214.81
	124.59
	934.02
	1,326.31
	1,450.90

	November 
	194.88
	113.03
	1,384.37
	1,965.81
	2,078.84

	December
	168.62
	97.80
	1,672.56
	2,375.04
	2,472.84

	January ‘07
	153.0 
	88.74
	1,855.45
	2,634.74
	2,723.48

	February
	155.61
	90.25
	2,174.16
	3,087.31
	3,177.56

	March
	155.91
	90.43
	2,467.02
	3,503.17
	3,593.60

	April
	163.66
	94.92
	2,693.61
	3,824.93
	3,919.85

	May
	157.64
	91.43
	2,505.99
	3,558.51
	3,649.94

	June
	148.37
	86.05
	2,037.60
	2,893.34
	2,979.39

	July
	195.82
	113.58
	1,331.36
	1,890.53
	2,004.11

	August
	206.17
	119.58
	1,183.58
	1,680.68
	1,800.26

	September
	207.81
	120.53
	1,066.94
	1515.05
	1,635.58

	Total
	2,122.31
	1230.93
	21,306.66
	30,255.42
	31,486.35


Total LV costs as per above schedule is $31,486.35 plus the new fixed monthly service charge of $188 is $2,256.00 for a total of $33,742.35.  The difference is $3,204.21 lower than in our original submission.
Chapleau PUC is prepared to amend the Low Voltage rates based on the new rates from Hydro One Networks Inc.
Comment
Page 15 and 16 – Cost Allocation – Revenue to Cost Ratios
Special consideration should be given to Street Lighting and Sentinel

Lighting classifications because in the cost allocation study, a street light or sentinel light connection is equivalent to a customer and therefore costs allocated are based on 780 and 66 connections respectively which is the biggest driver that caused the results for these classes. This can be argued that a street light is like any other appliance or light in a home. It just happens to be outside on the street. In this case, a street light would be incremental load much like a stove or refrigerator and it would attract very little customer costs if any at all.
As indicated in our response to interrogatory #29, this is an issue that needs to be discussed further with the OEB and other market participants. As a result, changes should not be made fully to Street Lighting or Sentinel Lighting revenue pricing until this issue has been resolved.
Comment

Page 17 – Rate Design – Fixed Charges

Chapleau PUC is prepared to allow fixed charges to remain at the current approved level and increase volumetric charges appropriately, allowing for revenue neutrality.
Comment

Page 18 – Low voltage Adder
The approach taken by Chapleau PUC is similar to the EDR model where the Low Voltage charge was applied as an adder to the rate base. Chapleau PUC agrees with Board staff that it should only be applied as a rate adder that is a component within the volumetric rate not as a fixed/volumetric charge. Therefore Chapleau PUC is willing to apply it as a volumetric charge.
Comment

Page 18 and 19 – Retail Transmission Service Rates 
Chapleau PUC receives retail transmission service charges from the IESO and Hydro One Networks Inc. but not get charged for the transformation connection service charge.
The following rates are the applicable rates for Chapleau PUC:
	
	Existing Rate
	Rate Applied For
	% Change

	Hydro One
	
	
	

	   -Network
	2.52
	2.02
	-19.8%

	   -Line Connection
	0.74
	0.51
	-31.1%

	
	
	
	

	IESO
	
	
	

	   -Network
	2.83
	2.31
	-18.4%

	   - Line Connection
	0.82
	0.59
	-28.0%

	
	
	
	


Using actual consumptions for 2006 and 2007, Chapleau PUC has recalculated the Network and Connection Rates costs based on the above rates as follows:
	Network
	kW
	Current Cost
	Proposed Cost
	% Change

	
	
	
	
	

	Year 2006
	
	
	
	

	   -Hydro One
	22,363
	56,355
	45,173
	

	   -IESO
	33,936
	96,039
	78,392
	

	Total Cost
	56,299
	152,394
	123,565
	-18.9

	
	
	
	
	

	Year 2007
	
	
	
	

	   -Hydro One
	21,265
	53,588
	42,955
	

	   -IESO
	33,231
	94,044
	76,764
	

	Total Cost
	54,496
	147,632
	119,719
	-18.9

	
	
	
	
	

	Average
	
	
	
	

	   -Hydro One
	21,814
	54,971
	44,064
	

	   -IESO
	33,584
	95,041
	77,578
	

	Total Cost
	55,398
	150,012
	121,642
	-18.9

	2006/7 Average Revenue (Actual)
	
	147,021
	147,021
	-17.3


Based on the average cost and average revenue above, the currently approved Network Rates for Chapleau PUC would need to be reduced by 17.3%. 
	Line Connection
	kW
	Current Cost
	Proposed Cost
	% Change

	
	
	
	
	

	Year 2006
	
	
	
	

	   -Hydro One
	22,363
	16,548
	11,405
	

	   -IESO
	38,124
	31,262
	22,493
	

	Total Cost
	60,487
	47,810
	33,898
	-29.1

	Year 2007
	
	
	
	

	Line Connection
	
	
	
	

	   -Hydro One
	21,265
	15,736
	10,845
	

	   -IESO
	36,600
	30,012
	21,594
	

	Total Cost
	57,865
	45,748
	32,439
	-29.1

	
	
	
	
	

	Average
	
	
	
	

	   -Hydro One
	21,814
	16,142
	11,125
	

	   -IESO
	37,362
	30,636
	22,044
	

	Total Cost
	59,176
	46,779
	33,168
	-29.1

	2006/7 Average Revenue (Actual)
	
	140,861
	140,861
	-76.5


Based on the average cost and average revenue above, the currently approved Line Connection Rates for Chapleau PUC would need to be reduced by 76.5%. 

Comment

Page 19 – Wholesale Market Service Rates
Chapleau PUC has determined that the actual data for 2006 and 2007 are as follows:

2006

Cost 

$154,628

Revenue
$186,803



2007

Cost 

$141,690
Revenue
$180,207
Average

Cost 

$148,159
Revenue
$183,505



Based on the above Chapleau PUC is willing to adjust the Wholesale Market Service Rate
to be $ 0.0050 for all customer classes.













Clarification 

Page 20 to 23 – Deferral and Variance Accounts 
















Adjustments made to the 2006 and 2007 financials and those reported, by us, in the Regulatory Asset Worksheet are different and create confusion. In our attempt to forecast transactions into 2008, during our original submission, and failed to eliminate these forward transactions from the worksheet during the interrogatory process.
The 2008 Regulatory Asset Recovery Worksheet submitted with our interrogatory responses has been amended to eliminate forward transactions into 2008 and includes the adjustments made (highlighted in light blue), with this submission.
The following are the adjustments made during the interrogatory process and have identified if the adjustments have been audited:

An adjustment was made by the CPUC’s auditors at year end 2006 in account 1525 Misc. Deferred Debits cell T32 for a credit of $903.98 to clear this account to $0.00 and debited account 5665 Misc. General Expense. No impact to disposition of regulatory assets.
The above adjustment was made in 2006 and has been audited.
A debit adjustment of $3,294.24 was made in 2007 by management in account 1590 Recovery of Regulatory Asset Balances cell AA59. This was to adjust an error made in 2006 in cell X59.

The above adjustment was made in 2007 and has not been audited. 
A debit adjustment of $53,513.82 was made in 2007 by management in account 1590 Recovery of Regulatory Asset Balances cells AD59 for $48,537.68 (Principal) and AF59 for $4,976.14 (Interest) to transfer the recoveries of Conservation and Demand Management Expenditures that were recorded in error. Corresponding credits were made to cells AD38 and AF38.
The above adjustment was made in 2007 and has not been audited. 
An adjustment was made in 2007 by management to credit $1,659.50 in account 1508 Other Regulatory Assets - Sub-Account - OEB Cost Assessments cell T25 and charged to account 5655 Regulatory Expenses. Applicable interest was also adjusted in cell AF25 for $76.78 credit and debit account 4405 Interest Earned.
The above adjustment was made in 2007 and has not been audited. 

Adjustments were made to account 1508 Other Regulatory Assets - Sub-Account - Pension Contributions in 2007 for a credit of $12,936.78 for 2005 and a credit of $13,727.10 for 2006 in cell T26. An interest adjustment was also made for a credit of $241.00 in cell AF26 and debit account 4405 Interest Earned.
The above adjustment was made in 2007 and has not been audited. 
Note that all of the above adjustments made in 2007 have now been audited and are included in our 2007 Financials, which have now been forwarded to the Ontario Energy Board. 
Based on the Board Staff discussion on the Regulatory Asset Balances, 

Account number 1590, Chapleau PUC agrees with Board Staff and is not requesting disposition of the account balance until a future hearing date is determined. 
Chapleau PUC has confirmed the accuracy of the account balances in the 2008 Regulatory Asset Recovery Worksheet.
	A/c #
	Account Description
	$ Amount

	
	
	

	1508
	Other Regulatory Assets
	22,965

	1550
	LV Variance
	14,121

	1580
	RSVA – Wholesale Market Service Charge
	(27,372)

	1584
	RSVA – Retail Transmission Network Charges
	(27,480)

	1586
	RSVA - Retail Transmission Connection Charges
	(207,193)

	1588
	RSVA - Power
	(36,389)

	
	
	

	
	Total
	(261,348)


Chapleau PUC is therefore requesting disposition the above account balances totaling $261,348.

PAGE  
12

