## Sheet1
Appendix 4
Capital Projects Table
Projects |  |  | 2009 | 2010 | 2011 | 2012 Actuals | 2012 Bridge | 2013 Revised | Test Year
Reporting Basis |  |  | CGAAP | CGAAP | CGAAP | CGAAP | CGAAP | MIFRS | MIFRS
Line Upgrade
Poles, towers and fixtures | [5 empty] | 705661
Overhead lines and poles | [5 empty] | 708330 | 1700000
Transformers | [5 empty] | 340641 | 100000
Underground | [5 empty] | 38996
Services | [5 empty] | 103253
Sub-Total | 0 | 0 | 0 | 0 | 0 | 1896881 | 1800000 |  | 0
New Operations Building
Building | [5 empty] | 0 | 910000 | 450000 | 200000
Land | [5 empty] | 0 | 90000
Sub-Total | 0 | 0 | 0 | 0 | 0 |  | 1000000 | 450000 | 200000
Initial tornado capital
Poles, towers and fixtures |  |  |  |  | 770866
Overhead Lines |  |  |  |  | 82079
Transformers |  |  |  |  | 276369
Services |  |  |  |  | 123416
Sub-Total |  |  |  |  | 1252730
Ongoing upgrades due to tornado
Poles, tower and fixtures | [5 empty] | 132977 |  | 522015
Overhead lines | [5 empty] | 58951 | 625000 | 99255 | 650000
Services | [5 empty] | 12367 |  | 28730
Underground | [5 empty] | 53582 | 800000 | 750000
Undergroun conduit | [5 empty] | 82575
Transformers | [5 empty] | 95876 | 275000 | 200000 | 200000
Office equipment replaced |  |  |  |  | 37485
Sub-Total | 0 | 0 | 0 | 0 | 37485 | 436328 | 1700000 | 1600000 | 850000
Tornado Repairs - regular labour and truck time
Overhead lines |  |  |  |  | 59191
Sub-Total |  |  |  |  | 59191
Conversions and Upgrades
Poles, towers and fixtures |  |  | 811 |  | 3797 | 7934 | 30000 | 246837 | 30000
Overhead lines |  |  | 1724 |  | 2286 |  | 20000 | 61229 | 270000
Underground conduit |  |  | 8313 |  | 4902 | 3924 | 5000 | 5000 | 5000
Underground lines |  |  | 14501 |  | 5080 |  |  | 20000 | 20000
Transformers |  |  | 23489 |  | 20151 |  |  | 224000 | 199000
Services |  |  | 725 |  | 139 |  |  | 26934
Sub-Total | 0 | 0 | 49563 | 0 | 36355 | 11858 | 55000 | 584000 | 524000
Releave 31 M3 27.6kv constraints on South Loop
by introducing 31 M4 27.6 circuit
Overhead lines |  |  | 131681 | 37974 | 124889
Transformers |  |  | 76932 | 37555 | 9434
Poles, towers and fixtures |  |  | 81634 | 65669 | 47279
Services |  |  | 6804 | 9451 | 2701
UG lines |  |  | 172424 | 3435 | 1928
UG conduit |  |  | 4338 | 3166 | 795
Sub-Total |  |  | 473813 | 157250 | 187026
Line extension
Poles, towers and fixtures | [7 empty] | 96372
Overhead lines | [5 empty] | 13015 | 120000 | 18324 | 120000
UG | [5 empty] | 50
Services | [7 empty] | 5304
Sub-Total | [5 empty] | 13065 | 120000 | 120000 | 120000
New Meter Service Point
Meter | [5 empty] | 212 | 100000 | 100000
Overhead | [5 empty] | 4584
Sub-Total | [5 empty] | 4796 | 100000 | 100000 | 0
Leasehold Improvements
Leasehold improvements |  |  |  | 128450 | 3181
Sub-Total |  |  |  | 128450 | 3181
New Customer Connections
Transformers |  |  | 4287 | 27507 | 35247 | 95352 | 80000 | 60000 | 60000
Services |  |  | 6787 | 10009 | 12376 | 28430 | 20000 | 20000 | 20000
UG Conduit |  |  | 4918 | 26 | 10976 | 67931
UG lines |  |  | 9209 | 3014 | 14973 | 43174
Overhead lines |  |  |  |  | 6224 | -2141
Poles, towers and fixtures |  |  |  |  | 234 | 958
Meters | [5 empty] | 491
Sub-Total |  |  | 25201 | 40556 | 80030 | 234195 | 100000 | 80000 | 80000
Tools, truck and equipment replacement
Computer hardware |  |  | 9586 | 3276 | 7622 | 13081 | 15000
Transportation equipment |  |  |  | 33526 | 56350 | 37995 | 65000 | 15000
Tools |  |  | 8577 | 3252 | 13872 | 6073 | 10000 | 8500 | 8500
Replace line truck/bucket truck |  |  | 326071 |  |  |  |  | 300000 | 300000
Sub-Total |  |  | 344234 | 40054 | 77844 | 57149 | 90000 | 323500 | 308500
Pole replacements
Poles, towers and fixtures |  |  |  | 30919
Sub-Total |  |  |  | 30919
Smart Meters -
Smart meters initial instal regular labour costs |  |  |  | 98909 | 10478 | 0
Smart meters - spares and replacements | [5 empty] | 53735
Sub-Total |  |  |  | 98909 | 10478 | 53735
Miscellaneous |  |  | 1735 | 11661 |  | 0 | 50000 | 40000 | 40000
Total | #VALUE! | #VALUE! | #VALUE! | #VALUE! | 1744320 | #VALUE! | #VALUE! | #VALUE! | #VALUE!