# ONTARIO

## ENERGY

BOARD

| FILE NO.: | ### EB-2012-0433 ### EB-2012-0451 ### EB-2013-0074 |  |
| --- | --- | --- |
| VOLUME: DATE: BEFORE: | 5 September 24, 2013 Cynthia Chaplin Marika Hare Peter Noonan | Presiding Member and Vice-Chair Member Member |

EB-2012-0433

EB-2012-0451

EB-2013-0074

#### THE ONTARIO ENERGY BOARD

IN THE MATTER OF an application by Enbridge Gas Distribution Inc. for: an order or orders granting leave to construct a natural gas pipeline and ancillary facilities in the Town of Milton, City of Markham, Town of Richmond Hill, City of Brampton, City of Toronto, City of Vaughan and the Region of Halton, the Region of Peel and the Region of York; and an order or orders approving the methodology to establish a rate for transportation services for TransCanada Pipelines Limited;

AND IN THE MATTER OF an application by Union Gas Limited for: an order or orders for pre-approval of recovery of the cost consequences of all facilities associated with the development of the proposed Parkway West site; an order or orders granting leave to construct natural gas pipelines and ancillary facilities in the Town of Milton; an order or orders for pre-approval of recovery of the cost consequences of all facilities associated with the development of the proposed Brantford-Kirkwall/Parkway D Compressor Station project; an order or orders for preapproval of the cost consequences of two long term short haul transportation contracts; and an order or orders granting leave to construct natural gas pipelines and ancillary facilities in the City of Cambridge and City of Hamilton.

Hearing held at 2300 Yonge Street,

25th Floor, Toronto, Ontario,

on Tuesday, September 24th, 2013,

commencing at 9:12 a.m.

--------------------

VOLUME 5

--------------------

BEFORE:

CYNTHIA CHAPLIN 	Presiding Member and Vice-Chair

MARIKA HARE	Member

PETER NOONAN	Member

MICHAEL MILLAR	Board Counsel

JOSH WASYLYK	Board Staff

ZORA CRNOJACKI

FRED CASS	Enbridge Gas Distribution Ltd.

CRAWFORD SMITH	Union Gas

MYRIAM SEERS

ELISABETH DeMARCO	Association of Power Producers of

JOHN WOLNIK	Ontario (APPrO)

TOM BRETT	Building Owners and Managers Association (BOMA)

VINCE DeROSE	Canadian Manufacturers & Exporters

KIM DULLET	(CME)

JULIE GIRVAN	Consumers Council of Canada (CCC)

STEVEN SHRYBMAN	Council of Canadians

ROGER HIGGIN	Energy Probe Research Foundation

KENT ELSON	Environmental Defence

DWAYNE QUINN	Federation of Rental-housing Providers of Ontario (FRPO)

MARK CRANE	Industrial Gas Users' Association (IGUA)

DAVID POCH	Green Energy Coalition (GEC)

JAMES GRUENBAUER	City of Kitchener

RANDY AIKEN	London Property Management Association (LPMA)

DAVID GERMAIN	Markham Gateway

MARK RUBENSTEIN	School Energy Coalition (SEC)

GORDON CAMERON	TransCanada Pipelines Ltd.

MICHAEL JANIGAN	Vulnerable Energy Consumers'

Coalition (VECC)

ALSO PRESENT:

MARION FRASER	BOMA

SHELLEY GRICE	Association of Major Power Consumers of Ontario (AMPCO)

KAREN HOCKIN	Union Gas

MARK KITCHEN

--- On commencing at 9:12 a.m.	1

ENBRIDGE GAS DISTRIBUTION INC. – PANEL 2	1

C. Fernandes, Previously Sworn; E. Naczynski, F. Oliver-Glasford, J. Ramsay, Sworn

Examination-In-Chief by Mr. Stoll	2

Cross-Examination by Mr. Elson	4

--- Recess taken at 11:16 a.m.	71

--- On resuming at 11:48 a.m.	71

Cross-Examination by Ms. Dullet	72

Cross-Examination by Mr. Poch	86

Cross-Examination by Ms. Grice	122

--- Whereupon the hearing adjourned at 1:32 p.m.	127

EXHIBIT No. K5.1: ENVIRONMENTAL DEFENCE CROSS-EXAMINATION MATERIALS, BOOK 2	54

EXHIBIT NO. K5.2:  GEC CROSS-EXAMINATION BOOK.	88

NO UNDERTAKINGS WERE FILED IN THIS PROCEEDING

Tuesday, September 24, 2013

--- On commencing at 9:12 a.m.

MS. CHAPLIN:  Please be seated.  Good morning, everyone.  I understand there's been -- because we were able to add the day, there's been a modification to the schedule and we're going to have Enbridge's panel 2 today; is that correct?

MR. STOLL:  Madam Chair, that is correct.  This is panel 2, the alternatives panel.

MS. CHAPLIN:  Are there any preliminary matters before we have them sworn?

MR. STOLL:  Not that I'm aware of.  So I'll just ask the panel be sworn.

MS. CHAPLIN:  Right.  Mr. Fernandes does not need to be sworn.

MR. POCH:  Madam Chair, I should just advise you, for your planning, in talking with counsel for Enbridge this morning, it's apparent that a lot of the questions thought were for –-

MS. CHAPLIN:  Sorry, I don't think we can do the two things at once.

MR. POCH:  All right.  I'll wait.

ENBRIDGE GAS DISTRIBUTION INC. – PANEL 2

Craig Fernandes, Previously Sworn

Erik Naczynski, Sworn

Fiona Oliver-Glasford, Sworn

Judith Ramsay, Sworn

MR. POCH:  Madam Chair, I was just about to give you fair warning.  A lot of the questions I assumed were for the other Enbridge panel, and I'm advised by counsel today are really for this panel.  So I would just like to advise the hearing Panel that I would expect my cross will be longer, significantly longer with this panel but significantly shorter with the other Enbridge panel.

MS. CHAPLIN:  All right.  So I --

MR. POCH:  I hope to keep to my totals.

MS. CHAPLIN:  You will keep to your totals.  Thank you.

MR. POCH:  Thank you.

MS. CHAPLIN:  Mr. Stoll?

MR. STOLL:  Thank you.  Mr. Cass handed out a list of the witness panels.

And so just to introduce the panel, from the far end I have Mr. Erik Naczynski, manager, system analysis and design.

Mr. Fernandes you've met in the panel 1.  He's the senior manager, regulatory GTA project.

Next to him is Ms. Fiona Oliver-Glasford, senior manager, market policy, research, DSM.

And Ms. Judith Ramsay, senior adviser, DSM.

And I just have a couple questions in examination-in-chief.

MS. CHAPLIN:  Please proceed.

Examination-In-Chief by Mr. Stoll:

MR. STOLL:  Thank you.  Mr. Fernandes, can you just provide a very brief overview of what Enbridge considers in developing alternatives?

MR. FERNANDES:  I would like to reference Exhibit A, tab 3, schedule 3, table No. 1, which I think is important.  It's a summary of the limitations of our existing system.

The project evaluated alternative based on how they address the current system in terms of limitations across the entire supply chain.  The table shows the current system limitations in terms of diversity, flexibility, operational risk limitations, and also outlines some of the potential consequences.  These are all important considerations for any potential alternative.

MR. STOLL:  Thank you.  And, Mr. Naczynski, if we can move to you, can you just summarize for the Board what flow parameters Enbridge uses to design its distribution system?

MR. NACZYNSKI:  Enbridge designs our system using peak hour on a design day, to ensure that our customers receive supply of gas under these conditions.

MR. STOLL:  And does the annual demand have any role in the design of this system?

MR. NACZYNSKI:  No, it doesn't.  The annual demand is not used, because we use peak hour flows at a design day for system design purposes, and peak hour is the anticipated highest consumption in any given hour of a forecast year.

MR. STOLL:  And in developing that peak hour for design, does Enbridge consider the trends in customer usage?

MR. NACZYNSKI:  Yes, we do.  We look at actual customer data to derive that peak hour demand and the overall, and what we found is that overall system peak is increasing but the contribution on a per-customer basis is declining.  And this has been captured in the load forecast.

MR. STOLL:  Thank you.  And, Ms. Oliver-Glasford, just one question for you.  You've heard Mr. Naczynski.  What role does DSM play in its relationship to peak hour design?

MS. OLIVER-GLASFORD:  Our DSM framework provides – my apologies.

Our DSM framework provides a broad-based annual savings.  That's how it's measured and tracked.  Currently there is no verified relationship between DSM efforts and peak load reductions.  In fact, it's quite different than the electric side, where they have the data enabling in the programs that do target peak load reduction in the form of demand response and the like.

MR. STOLL:  Thank you.

Those are my questions, and I'll offer them up for cross-examination.

MS. CHAPLIN:  Thank you.

Mr. Elson, I believe you are first?

MR. ELSON:  Thank you.  Yes.

MS. CHAPLIN:  And we have you for two hours.  We would probably take a break no later than 11:00 o'clock, though, but perhaps earlier.

Cross-Examination by Mr. Elson:

MR. ELSON:  Thank you.  Again, panel, my name is Kent Elson.  I represent Environmental Defence, and I might as well just jump into it.  I'm going to start off asking you some questions further to some load growth questions I was asking panel 1.

And if I could ask you to start by referring to the Environmental Defence cross-examination document book number 1; that's the large document book with tabs.  That's Exhibit K4.5.  Is that the correct exhibit number?

If you could please turn to tab 9?

MR. NACZYNSKI:  Mr. Elson, were you going to redistribute those books with all the tabs?  I do have a paper copy in front of me here, but if we're going to reference all the various tabs that you've got...

MR. ELSON:  I'm afraid that panel 1 has those copies, but perhaps Mr. Stoll can speak to that.

MR. STOLL:  Can you just provide the page reference as opposed to the tab reference, then?

MR. ELSON:  Yes.  So this is page 16 in the document book.  This is the response to Environmental Defence Interrogatory No. 5, and if you turn over a page you'll see table 1, which lists the peak load derived historic and forecast.

So my understanding is that table 1 is showing Enbridge's weather-normalized peak hour demand estimates for apartment, commercial, industrial and residential customers, and historically it's only for six years; is that correct?

MR. NACZYNSKI:  That's correct.

MR. ELSON:  According to this table, the industrial weather-normalized peak hour demand declined by approximately 48 percent, subject to check?  That's between 2006 and 2012.

MR. NACZYNSKI:  That is correct.

MR. ELSON:  And according to this table, the residential weather-normalized peak hour demand declined by three percent over that same period, 2006 to 2012; is that right?

MR. NACZYNSKI:  That's correct as well, subject to check.

MR. ELSON:  Given those weather-normalized trends, why is Enbridge forecasting that residential and industrial peak hour demands will rise continuously in every winter from 2012-13 to 2024-25?

MR. NACZYNSKI:  So the load information and how it's projected -- again, as I've mentioned, we use actual metered consumption from the billing, from our billing system that is weather-normalized, and that is certainly one of the factors that we use.

Also look at our peak day system growth.  If we were to pull up schedule A, tab 3, schedule 5, and if we look at the supply numbers that are referenced in that document as well, looking at the weather-normalized peak day information as well, we do observe from -- so that's Exhibit A, tab 3 schedule 5, page 7 of 26.

So the peak hourly information that we incorporate is certainly one of the factors that we're considering, as well as other longer term trends that we’re observing on our system.

Based on that information, during the supply or during the system planning process, we held the loads in our model relatively constant, and then applied the growth to the system knowing that we do anticipate and observe growth in peak hour on our system and peak day, normalized peak day flows.

MR. ELSON:  Going back to ED 5, I'm not sure if you answered my question.  The question specifically related to the industrial numbers and the residential numbers.  And if you look at ED 5, we've done this so that we can put the historic right next to the forecast, and if we're both -- maybe I'll leave it at this, which is to say you would acknowledge that for both residential and industrial, for the historic numbers that you’ve provided, you are showing a decline, whereas in the forecast you are showing a year-over-year increase; is that right?

MR. NACZYNSKI:  So I would also like to point out that --

MR. ELSON:  Are you saying yes, and then adding more information?  You just said "so", and then I didn't hear what your answer was.

MR. NACZYNSKI:  My answer is yes, based on the derived historic numbers.

However, I also realized there were some economic changes that occurred over that time, specifically in the industrial areas, that would have certainly resulted in an overall growth in those customers -- or sorry, an overall reduction in the number of those customers.  My apologies.

MR. ELSON:  Has Enbridge produced any load growth forecasts that consider and compare a number of different growth scenarios, including the possibility of zero load growth?

[Witness panel confers]

MR. FERNANDES:  The company has done its best to produce the best forecast available, based on the customer adds that we believe will happen over time.

Mr. Naczynski has talked about how that is converted into peak hour load growth.  We have included a reduction factor that attempts to account for potential efficiency gains in new building construction, and all sorts of items.

In terms of producing hypothetical forecasts, we have provided sensitivity, in terms of the project.  But the most important thing to point out is that load growth is not the primary driver of the project, as we stated at the outset.

There's a multi-faceted project that has a number of items that we're trying to achieve, in terms of objectives.  So focussing in solely on load growth is not something that I think we can do nor should do.

MR. ELSON:  That may be information which you wish to convey to the Board, but it doesn’t in any way answer my question, which was whether Enbridge has produced any load growth forecast that consider and compare a number of different growth scenarios, including the possibility of a zero load growth scenario.  Has that been done?

MR. FERNANDES:  We've done economic sensitivity with no load growth on the system.

MR. ELSON:  My question is whether you have -- maybe I’ll ask a different question.

Do you have any studies or analyses that estimate the probability of different growth scenarios, including a no volume growth scenario?

MR. NACZYNSKI:   We have not completed the analysis assuming no load growth.  However, as Craig mentioned, we have considered it for -- as Mr. Fernandes has mentioned, we have considered it for economic purposes.

MR. ELSON:  I hate to continue on this very, very small point, but you still haven't answered my question, which is a very, very simple question, which is:  Has Enbridge done any studies estimating the probability of different growth scenarios, for example the probability of this scenario that you have presented and another scenario that would show no volume growth?

Have you looked at the probability as between different possible growth scenarios?  I believe the answer is no, but I would just like to confirm that that’s the case.

MR. FERNANDES:  We do not have a probabilistic load forecast, no.

MR. ELSON:  Thank you.  If I can ask you to refer to tab 11, which is -- I'll give you a page reference.  The particular page I'm looking for, which is page 23 of the Environmental Defence cross-examination document book, which is Exhibit K4.5.  That's page 23 of the document book.

This tab contains the Enerlife report that Environmental Defence has put forward as evidence in this proceeding, and I would like to bring your attention to figure 13, which contains peak demand trends.

So what Enerlife has charted here is that the derived historic peak demand from 2007 to 2012, and if you look at footnote 11, this data comes from Enbridge Exhibit A4.EGD.ED 3, which is the response from Environmental Defence, Interrogatory No. 3.

Do you have any concerns with the way that they have charted that historical data here?

MR. NACZYNSKI:  With respect to the chart?

MR. ELSON:  Yes.

MR. NACZYNSKI:  And how the information is presented on that chart?  That is consistent and a representation of what was in our response to Environmental Defence No. 3.

MR. ELSON:  Thank you.  And looking in particular at the dotted line that is flat or declining slightly, this shows the historic peak demand from 2007 to 2012, and that shows a peak demand that is flat or declining; is that right?

MR. NACZYNSKI:  Based on that limited data set, that is a -- would appear to be linear trend of those data points.

MR. ELSON:  And those were the data points that you provided to Environmental Defence in response to that interrogatory; isn’t that correct?

MR. NACZYNSKI:  That’s correct.

MR. FERNANDES:  It’s a very short time frame to be extrapolating, from six years' worth of data to over a decade longer into the future.

MR. ELSON:  So are you suggesting that the further distant past is more -- gives a more accurate picture than the more recent five or six years that you’ve provided?

MR. FERNANDES:  As Mr. Naczynski has already brought up, we did provide trend data in our submission in Exhibit A, tab 3, schedule 5.

MR. ELSON:  Now, I guess the issue that I take with some of your earlier data is that in response to Environmental Defence 3, you said, quote:

"The data has only been provided for 2006 onward as EGD implemented a new load gathering system.  Prior to 2004, load gathering was completed on a legacy mainframe system and the archived data is not readily accessible."

So that's my understanding of why you provided only those six years of data; is that correct?

MR. FERNANDES:  For the purposes of this response, we provided six years of data based on peak hour.  The Exhibit A, tab 3, schedule 5 provides a much longer time frame for peak day.

MR. ELSON:  Using the data that you provided for ED 3 and looking at this chart, the line with the squares is what you're forecasting, which is up at the top, and the dotted line that's linear from 2007 to 2012 is the linear trend line from the historic numbers; is that right?

MR. FERNANDES:  The green dashed line appears to be linear historical from the 2007 to 2012 time frame.

MR. ELSON:  And the red line at the top with squares as data markers is your forecast?

MR. FERNANDES:  That's what it appears to be.  You've taken the data that Enbridge provided and put it on a graph.

MR. ELSON:  Okay.  I will move on, and I would like to discuss with you the reduction factor used in your load growth analysis.  But before getting into that, I would like to confirm that I have correctly understood how your growth forecast works.

So first of all, your load forecast is centred on a forecast of customer additions; is that right?

MR. NACZYNSKI:  That's correct.

MR. ELSON:  And, Mr. Naczynski, you were the main person creating this load forecast; is that correct?

MR. NACZYNSKI:  I developed the load forecast based on the customer additions forecast that was provided to me, yes.

MR. ELSON:  Thank you.  So I understand that the basic steps that you took in developing your forecast were as follows.

First, you estimated the number of new customers for each customer type, or your colleague made that estimation; is that correct?

MR. NACZYNSKI:  That's correct.

MR. ELSON:  And then you multiplied the number of new customers by an estimated average demand per customer?

MR. NACZYNSKI:  That's correct, based on a peak hour anticipated consumption at a design day.

MR. ELSON:  Then you added up the forecast demand growth for each customer type to generate what I will call a preliminary forecast of the demand growth from new customers?  From the customer additions?

MR. NACZYNSKI:  That's correct.

MR. ELSON:  And then you reduced that preliminary growth forecast from new customers -- i.e., customer additions -- by a reduction factor?

MR. NACZYNSKI:  That's correct, yes.

MR. ELSON:  That was the 35 percent reduction factor?

MR. NACZYNSKI:  That's correct.

MR. ELSON:  And finally, once you had applied that reduction factor to the growth from new customers, you added that to the base, which would be the load from existing customers?

MR. NACZYNSKI:  That's correct, yes.

MR. ELSON:  So mathematically, the load from existing customers stays constant in the model and the load growth from new customers is just added on top?

MR. FERNANDES:  The --

MR. ELSON:  Mr. Naczynski, is that correct?

MR. NACZYNSKI:  So that is correct.  However, note that that 35 percent reduction factor includes more -- at the end of the day is to make sure that we have a forecast we believe is consistent with the historical observed trends in peak day load.

MR. FERNANDES:  And I think we provided that response in JT2.29, an undertaking for yourself, Mr. Elson, I believe, where we stated that the reduction factor captures the impact of all of the factors across the existing and incremental loads.

MR. ELSON:  So the reduction factor is applied, the 35 percent reduction is applied only to the growth of new customers, but it is intended to capture all of the variables affecting both new customers and existing customers, such as DSM and the like; is that accurate?

MR. FERNANDES:  That is correct.  We took a total forecast and we netted it down.  Mathematically it was taken off of the incremental growth from new customers, but it was intended to cover all the factors that influence our peak load growth across both the existing and new customers.

MR. ELSON:  The people at Enerlife took issue with this process, and I would like to refer that to you.  This is, again, page 23 of the Environmental Defence cross-examination document book.  That's tab 11, Exhibit K4.5.  My apologies, that's page 24 of the document book.

And under point C, I'll read you to what their response was.  They say:

"The application of the discount factor in the Enbridge load growth forecast model appears to be misleading.  The DSM forecast of 12,000 cubic metres per hour reduction each year is 0.4 percent of the peak hourly load in the GTA.  The 35 percent discount factor is applied on the incremental new customer growth rate of 1.2 percent each year to account for the DSM load reduction over the entire existing building stock.  This leads to the misunderstanding that no amount of DSM could offset growth, since even if a 99 percent discount factor is applied, there will still be a positive growth trend."

Is Enerlife correct in saying that even if there is a 99 percent reduction factor, your model would still show some positive growth?  Mr. Naczynski?

MR. NACZYNSKI:  If there was absolutely no growth on the system and we believed that there was no growth on the system, we would not have added the load to the system in the manner that we've done.

The reality is that we do believe there is growth on the system, and thereby we reduce the load that was simply being added to our modelling for network simulation purposes, to the load that was being added.

MR. FERNANDES:  If the argument is with the mechanics of how we applied our judgment to our forecast, we believe the net forecast is correct.

MR. ELSON:  The question is whether if the reduction factor was 99 percent, your model would still show some positive growth; is that correct?

MR. FERNANDES:  You're taking the modelling literally.  We looked at longer-term trends, and we reduced our growth forecast.

MR. ELSON:  I'm going to ask you some questions about what underlies this 35 percent and how you came up with it and what it is supposed to include.

But for now, just mechanically, would you agree that if it was a 99 percent reduction factor, your model would still show some positive growth?  Is that correct?

MR. FERNANDES:  If we believed there was no load growth on the system, Mr. Naczynski has already stated that we would have had that in our forecast.

The exact mechanics of how we applied it, you are correct.  That's a mathematical certainty.

MR. ELSON:  I think the answer was yes, with some other information; is that correct?

MR. FERNANDES:  Yes.

MR. ELSON:  Thank you.

So now getting into the details of what the reduction factor is intended to include, one of the things it's intended to capture is the impact of DSM on demand growth; is that right?

MR. FERNANDES:  I think if we can go back to JT2.29, which was, again, an undertaking, we fully articulated that there are a number of factors that influence peak load growth on the distribution system, one of which is the effects of energy efficiency.  And there are a multitude of others, and our load growth forecast captures them all.

MR. ELSON:  So the reduction factor would include -- I'm trying to separate some of those out.  One of the things it would include is the impact of your, of Enbridge's, DSM programs; is that right?

MR. FERNANDES:  We believe we've captured all of those factors in our load growth forecast.

MR. ELSON:  So another one would be the impact of customer losses through building demolition?  That's another factor that's intended to be accounted for in this reduction factor; is that right?

MR. FERNANDES:  Along with other items, such as a trend towards much larger and taller buildings.

MR. ELSON:  It's also intended to capture improved efficiencies occurring outside of Enbridge's DSM programs?

MR. FERNANDES:  That's correct.

MR. ELSON:  And it's intended to capture the impact of more stringent building codes on new and existing buildings; is that correct?

MR. FERNANDES:  Building codes on new buildings and renovations.

MR. ELSON:  Yes.

MR. FERNANDES:  On existing buildings.  Correct.

MR. ELSON:  So basically it's supposed to account for everything except for your customer additions?

MR. FERNANDES:  Based on the customer additions that we forecast over this particular forecast horizon, we intentionally wanted to ensure we had a conservative load growth forecast.  So we applied an additional factor to bring our load growth down, and it and was intended over the entire forecast horizon specifically for this project.

MR. ELSON:  So in other words, the reduction factor captures all of the factors, except for the incremental customer load from new additions.

It's supposed to capture everything; it's an overall number that is supposed to capture everything?

MR. FERNANDES:  We tried to capture everything in our load growth forecast.  We applied a reduction factor; I think you've heard how we applied it, and you may have some issues with the mechanics.

But it is intended to capture everything, all of the forces that are impacting our load growth.  And it is specific to the GTA.  It is specific to this particular forecast horizon.

So one of the items that Mr. Naczynski could describe better is the fact when we do our system design and planning, we need to geographically distribute that load in order to size the system.

So this was kind of a marriage of a top-down forecast of other known factors, and it was the way that we applied it to geographically distribute it.

MR. ELSON:  Could you turn to page 3 of the Environmental Defence document book, which is tab 3 as well?

To assist in this cross-examination, we've prepared a table summarizing Enbridge's peak load forecast.  This was based on the numbers provided to us by Enbridge in response to ED 3 – that is Environmental Defence Interrogatory No. 3.

We sent the Excel file to you, so you could confirm that we prepared the table correctly, and I believe that your counsel has confirmed that you don't have any issues with the way we have reproduced this data; is that correct?

MR. NACZYNSKI:  That's correct.

MR. ELSON:  I would like to refer you to the column showing the 35 percent reduction factor amount, and that's the second column.

Looking at this column, the reduction factor reduces the demand growth forecast by approximately 12,000 cubic metres per year.  Is that number correct?

MR. NACZYNSKI:  It reduces the overall net system load that we’d be modelling by the amount indicated here, the approximately 12,000.

MR. ELSON:  So overall, your load growth forecast is reduced by 12,000 cubic metres per year as a result of this reduction factor?

MR. FERNANDES:  I think the way I would describe it is we had current existing load.  There are some additions and there are some subtractions, and we have a net load.

So the subtractions were approximately 12,000, as you’ve stated.

MR. ELSON:  So that’s what the -- I'm just trying to get a number what the 35 percent reduction factor amounts to, and I believe that number is 12,000 cubic metres.  Is that right?

MR. NACZYNSKI:  That's correct, and we would be forecasting to add between 22,000 or 23,000 cubes to our system at a peak hour.

MR. ELSON:  Thank you.  Now, in response to Environmental Defence Interrogatory No. 14, Enbridge estimated that the peak demand reduction from its DSM programs would be roughly 12,000 cubic metres per year -- and I'll direct this question to the DSM folks on the panel.  Is that the right number in ED 14?

MS. OLIVER-GLASFORD:  Can we bring it up?  Is that your page 4 in this book?

MR. ELSON:  No, ED 14 is at page -- well, I guess it is also on our page 4.  But if you would like to see where -- your response to ED 14 is at page 25 of our document book.

MS. OLIVER-GLASFORD:  Yes, that is accurate, based on an illustrative example that we prepared to fulfill your request.

MR. ELSON:  In other words, the 35 percent reduction factory applied to your load forecast is roughly equal to the forecast demand reduction that you're expecting from your DSM programs.  They are both 12,000 cubic metres, is that right?

MS. OLIVER-GLASFORD:  They are roughly the same.  This one is twelve, and I think yours is closer to thirteen.  But as I said, it was for illustrative purposes and we don't have any verified link between annual and peak and DSM.

MR. ELSON:  It seems to me that the reduction factor only accounts for your DSM programs, and therefore doesn't factor in other factors that would result in lower growth, such as building demolition, changes to the building code, and customer-driven improvements and the like, because it happens that your reduction factor comes out to the same amount as what you are expecting from your DSM programs.  Would you agree with that?

MR. FERNANDES:  No.

MR. ELSON:  So can you explain how your reduction factor accounts for other factors, even though it happens to be the same as the anticipated reduction from your DSM programs?

MR. FERNANDES:  First of all, it's not the same.

MR. ELSON:  Well, it’s roughly the same.

MR. FERNANDES:  So now you are talking roughly.  So it's roughly in the same order of magnitude.  But your focusing exclusively on certain factors and you’re excluding others.

So there are changes in economic growth that drive usage patterns and peak load requirements, and there's also a trend towards larger buildings being built.  And we do have that on the record in our Exhibit A, tab 3, schedule 4.

Toronto has a very large number of tall buildings being built, so taking the total number in isolation without looking at the finer details about what types of customers are being added is important, in terms of our overall load forecasts, and the company believes that we have an appropriate forecast.

MR. ELSON:  Regardless of what the reduction factor includes or doesn't include -- and I'll have to leave that to argument about whether they are roughly accurate, because I believe the numbers show that they are -- sorry, roughly equivalent, which I believe they are.

Maybe I should get a better grasp about how you derive this reduction factor.  Is it correct to say that Enbridge estimated the 35 percent reduction amount to account for a number of factors that were not accounted for in its existing customer additions model, such as DSM, building demolitions, larger buildings and the like?

MR. FERNANDES:  That's correct.  Given the scale of the project, we took extra diligence in looking at our load forecast.

MR. ELSON:  So in other words, after coming up with your preliminary customer additions demand forecast, you thought the numbers were too high and needed to be reduced to account for other factors; is that about right?

MR. FERNANDES:  The way I would describe it is compared to smaller reinforcements, we had additional data available to us, and we utilized that appropriately to ensure that we had the most accurate load growth forecast available.

MR. ELSON:  Who decided on the figure of 35 percent?  Was that you, Mr. Naczynski?

MR. NACZYNSKI:  The 35 percent was done in conjunction with the project team, including Mr. Fernandes.

MR. ELSON:  Can you provide any additional information on how it was derived?  For example, can you explain that X percent of the reduction factor is attributable to DSM, Y percent is attributable to building demolitions, and Z percent is attributable to there being larger buildings?

Can you provide that sort of detail with respect to the reduction factor?

MR. FERNANDES:  If we can go back to JT 2.29, I think we've provided the response.

MR. ELSON:  I think answer is no; is that correct?  You can't provide that additional detail?

MR. FERNANDES:  Well, it's important to understand how the company does its load forecasting, and the different types of forecasts that it produces for various purposes.

For system design, the data availability is not the same as what you would typically see on the electric system.  And I think it would be helpful for parties to take a look at interrogatory A3.EGD.Staff.15.

We have a fairly lengthy preamble that describes the different types of forecasts.  And it describes how we forecast annual demand, for instance, and what its useful purposes are.  It describes how we forecast peak day demand and how we use it to -- in our supply plan.  And it also describes how we forecast peak hour, which is used for system planning.

So I think, to your response, it's very difficult to disaggregate that, because it was a top-down adjustment.  And there's simply no data to support or understand at the micro level, and it's a consequence of how we meter in our particular system.  Most of our customers have meter readings only occurring six times a year.

So the data that you're looking for is simply not available.

MR. ELSON:  So you're not able to -- I'm sorry, I'm going to have to repeat the question because that was a long answer, and I'm not sure where to find the specific answer to my question.  You are not able to break apart this reduction factor and explain what percent is attributable to DSM or what percent is attributable to building demolitions and the like; is that correct?

MR. FERNANDES:  No, we're not able to.

MR. ELSON:  Thank you.  I guess it would be fair to say Enbridge developed a broad-brush estimate without an underlying model or detailed calculations, like we were just discussing?

MR. FERNANDES:  I think those are almost the exact words that I used in the technical conference when we had this discussion.

MR. ELSON:  So yes is the answer?

MR. FERNANDES:  Correct.

MR. ELSON:  I'm going to move to some questions about greenhouse gas reduction policies and their potential impact on the load growth forecast.  Could you turn to tab 15 of the Environmental Defence document book, please?  That's page 31.  I'm actually going to ask you to refer to the end of that document, which is page 36 in the document book.

This document is the government of Ontario's Action Plan on Climate Change.  It's from 2007.  And according to this tab:

"The government of Ontario's greenhouse gas reductions goals are as follows: a six percent reduction in our greenhouse gas emissions by 2014 relative to 1990 levels, a 15 percent reduction in our GHG emissions by 2020 relative to 1990, levels, and an 80 percent reductions in our GHG emissions by 2050 relative to 1990 levels."

Are you aware of these targets?

MR. FERNANDES:  Yes.  You have provided them to us.

MR. ELSON:  Were you aware of these targets before I have provided them to you?

MR. FERNANDES:  Yes.

MR. ELSON:  Now, your DSM people were aware; were you aware of them, Mr. Fernandes?

MR. FERNANDES:  I was aware that the Ontario government has a greenhouse gas policy.  I have to admit I'm not well versed in the details of it.

MR. ELSON:  And, Mr. Naczynski, were you aware of these targets?

MR. NACZYNSKI:  Similar to Mr. Fernandes, I was aware of a policy by the provincial government, but not of the specific targets.

MR. ELSON:  If you could turn over the tab in our document book to -- which is tab 16 which is page 37, according to this tab, in 2010 natural gas consumption was responsible for 34.5 percent of Ontario's total energy-related GHG emissions.  And that comes from a table that's at page 40 of the document book.

I believe you confirmed this number in the recent DSM proceedings, but I would just like to ask you to confirm it again.  Do you agree that that is an accurate estimate?

Again, that's 34 percent of Ontario's total energy-related GHG emission being related to natural gas.

MS. OLIVER-GLASFORD:  We certainly don't have information on the energy mix, but all other things being equal, yes, they seem reasonable.

MR. ELSON:  Ms. Oliver-Glasford, is it reasonable to assume that, in order to achieve the 2050 GHG emission reduction goals, that Ontario's total natural gas consumption would need to be significantly reduced?

MS. OLIVER-GLASFORD:  I think mathematically that concept sounds reasonable, but since this document was done in 2007 and -- even 1990 energy mix, I'm not an expert in what the energy mix was at that time.

MR. ELSON:  I take it, though, that you don't have any studies or analysis to show that Ontario can achieve its 2050 GHG reduction targets without total natural gas consumption declines; is that right?  You don't have any studies that would show that?

MR. FERNANDES:  Our studies would typically focus on our franchise, not on the entire province of Ontario.  So we do not.

MS. OLIVER-GLASFORD:  I would like to add to that that we do have a climate change policy that has two components, where we're addressing our own GHG emission reductions at the facilities and taking a leadership role in that, and also working with others to help them reduce their GHG emission reductions.

MR. ELSON:  That's reducing GHGs in your operations; is that right?  That's not talking about the GHGs that are produced from using gas that you sell to your customers?

MR. FERNANDES:  You mean our customers' production of greenhouse gases?

MR. ELSON:  Yes.  Is that correct?

MR. FERNANDES:  We have to focus on our own operations.

MR. ELSON:  Of course.  If you could turn to the next tab in our document book, that starts at page 43.  This is an excerpt from the government of Ontario's 2012 climate change progress report.  And if you could turn to page 12 of the document, which is page 55 of the document book, I'm afraid I didn't manage to sidebar these numbers, but on page 55 of the document book you'll see table 6.  Do you all have that table in front of you?

It's also up on the screen.  Does the Board Panel and the witness panel both have the table in front of you?

MS. CHAPLIN:  Yes.

MR. ELSON:  If you could move down to the "Industry Sector," there's an initiative listed, which is the natural gas demand side management programs.

And you'll see that the government of Ontario is projecting reductions of 0.6 megatonnes for 2014 and one megatonne for 2020.

Are you aware of those numbers, Mr. Naczynski?

MR. NACZYNSKI:  I was not aware of these numbers until receiving this document.

MR. ELSON:  And moving down a line to "Buildings," "Buildings" include three initiatives including natural gas demand side management programs, and the government of Ontario is projecting a reduction of 1.6 megatonnes by 2014 and 2.9 megatonnes by 2020.

And again, were you aware of these forecasts by the government of Ontario?

MR. NACZYNSKI:  Similar to above, I was not aware of these until now.

MR. ELSON:  These would be net reductions from 1990 greenhouse gas emission levels; is that right, Ms. Oliver-Glasford?

MS. OLIVER-GLASFORD:  Sorry, can you repeat the question?

MR. ELSON:  These reductions would be net reductions from 1990 levels?

MS. OLIVER-GLASFORD:  It's not clear to me from looking at that, this one table.  My apologies.  Maybe it is listed as an assumption somewhere.

MR. FERNANDES:  I think also net reductions for the entire province that the Enbridge franchise is only a part of.

MR. ELSON:  Yes, of course.  This document, I should maybe discuss the background with you a little bit.  This is the climate change progress report from the government of Ontario.  This is a document produced pursuant to its climate change action plan, and its action plan is -- has created targets based on 1990 GHG emission levels.

So perhaps, subject to check, you could agree that these would be net reductions from 1990 levels.

MR. FERNANDES:  Subject to check, I think we can agree with that.

MR. ELSON:  Thank you.  Mr. Naczynski, when you created your load forecast, did you expressly consider and incorporate these projections?

MR. NACZYNSKI:  As I've already mentioned, my load forecast is based on peak hour consumption, or on a design day condition in the City of Toronto.  It's not based on annual forecast number.

So specifics about GJ -- greenhouse gas emissions to be reduced over -- annual basis was not considered.

MR. ELSON:  I guess what I'm asking is whether you considered the fact the government of Ontario is planning on making net, or achieving net GHG emission reductions with respect to industry and buildings that are fairly significant.

Did you consider that as part of your load forecasting process?

I don't think you could have, because you weren't aware of these numbers prior.  But I’d just like to confirm that that wasn’t part of the forecasting model.

MR. NACZYNSKI:  I think that certainly would be obvious that, no, that was not included in it.

MR. ELSON:  Could you turn back to page 10 of this report?  That's page 53 of the document book, Environmental Defence’s cross-examination document book.

This table, table 5, indicates the current gap between the projected GHG reductions that we were looking at just now, and the targets.  Do you see that there?  Are you with me with this table?

MR. NACZYNSKI:  On the screen, yes.

MR. ELSON:  Thanks.  You can see that the gap for 2020 is 28 megatonnes; that's four rows down, I think, in the last column.

MR. NACZYNSKI:  We see that.

MR. ELSON:  And so even if the projected natural gas GHG reductions we just discussed are attained -- in other words, even if the industrial- and the buildings-based initiatives are achieved -- there would still be a very large gap, is that right?

Perhaps the DSM experts might be the best people to answer that question.

MS. OLIVER-GLASFORD:  I haven't reviewed this document in detail to verify it, and I would also say I'm not sure how the projections have been developed.  You know, certainly GTA area, if we're talking about this particular project, it's a completely different growth profile, I would imagine, than this rest of the province.

So I just don't know how to be able to credibly verify these numbers and the gaps.

MR. ELSON:  Perhaps I'll show tell you numbers.  If you look at the column for 2020, it says that the projected reductions are 42 megatonnes.  And if you move down, it says that the gap is 28 megatonnes.

Do you see those numbers there?  So we have projected 42, and gap of 28?

MS. OLIVER-GLASFORD:  Yes, I do.

MR. ELSON:  And over on page 12, which is what we were just looking at, which is page 55 of the document book, all of these initiatives for 2020, at the bottom right-hand corner of that table, they amount to 41.3 megatonnes in reductions.  So those are the projected.

So in addition to that 41.3, there will still be a significant gap.  That's what the document is predicting, subject to check?

MR. FERNANDES:  Subject to check, that's correct for the province as a whole.

MR. ELSON:  Thank you.  When Enbridge created it's load forecast, did it expressly consider the possibility that the government of Ontario would look to the natural gas sector for even further greenhouse gas reductions than it is currently forecasting, in order to meet its projected gap of 28 megatonnes?

MR. FERNANDES:  I don't believe we speculated on future policy by the Ontario government.

MR. ELSON:  Thank you.  I would like to move on to some other topics.

I have some other load-growth-related questions, but perhaps I'll save those to the end.

I would like to move more into a discussion of DSM, and just to give you a bit of a road map, I'm going to ask you about the DSM potential if Enbridge continues with its same, what I will call a technology-based approach.  I'm going to ask you some questions about a different approach, set out in the Enerlife model, which you could call a performance-based approach, or a benchmarking approach.

I'm going to ask you about some of the benefits of DSM, and some of the analysis that Enbridge has done of DSM as an alternative.

So starting with the first topic, which is the DSM potential based on a technology model, could you turn to tab 4 of the ED cross-examination reference book, which is page 4?

This table is entitled "Summary of Enbridge's DSM Evidence”, and again I believe your counsel has confirmed that we've accurately reproduced this data; is that correct?

MS. OLIVER-GLASFORD:  Yes.

MR. ELSON:  I'm going to go through some of these numbers with you.

The first column of data is the peak demand reduction from forecast DSM, and this is Enbridge's rough estimate of the peak demand reduction in the GTA area that would result if its existing 2014 DSM budget is forward continued forward into the future; is that correct?

MS. OLIVER-GLASFORD:  Okay.  I'm just going to refer to Exhibit I.54.EGD.ED.14, please, yes.  So does everybody have that in front of them?

MR. ELSON:  That's at page 25 of our document book, if that makes it easier to turn up.

MS. OLIVER-GLASFORD:  I'm just going to reference the caveat that we've put forward in developing those numbers, which you had asked us for.  So we wanted to be helpful.

But just as a reminder, they are illustrative and the assumptions, and we used a linear conversion from peak day – sorry, peak hour to peak day, and then peak day to annual figures -- or vice versa, rather.  But in practice, that conversion factor will not be linear.

So there is kind of one caveat that I want to pull out, and we also assumed a static cost effectiveness when we did our assumptions on the costs.

MR. ELSON:  Thank you.  And you provided -- you made your best-efforts estimate.  This is the best estimate you could come up with; is that right?

MS. OLIVER-GLASFORD:  That’s correct.

MR. ELSON:  Just for your reference, in our table here back at page 4, I have noted in the source that someone looking at this chart should note the assumptions and the data caveats listed on page 2 of ED 14.  So there is a reference in there, because we do acknowledge that some assumptions had to be made.

So the amount -- I guess what I'm trying to get is these numbers right here are Enbridge's rough estimate of the peak demand reduction that would result if your 2014 DSM programs were continued on into the future; is that right?

MR. FERNANDES:  I believe the question asked us to use, and we did use best efforts to try and convert what our 2014 DSM program, what impact it would have on peak load.

MR. ELSON:  Yes.

MR. FERNANDES:  So if you want to take that, because it was provided on a best-efforts basis to show the relative magnitude and use it as a future projection, you should note the caveats.

MR. ELSON:  Okay.  Thank you.  The next column over is Enbridge's best-efforts rough estimate of the incremental peak demand reduction that would be necessary to avoid load growth in the GTA area; is that correct?

MR. FERNANDES:  That is correct.

MR. ELSON:  And that amount is 25,000 cubic metres per hour?

MR. FERNANDES:  Correct, as per that table.

MR. ELSON:  Moving to the next table down, the first column is the forecast DSM budget for the GTA area.  Now, this is Enbridge's rough estimate of the portion of Enbridge's DSM budget that is allocated to the GTA area; is that right?

MS. OLIVER-GLASFORD:  Yes, that's correct, based on consistent dollars from today.

MR. ELSON:  And that's approximately $15.5 million in 2014, and then rising incrementally from there?

MS. OLIVER-GLASFORD:  Correct.

MR. ELSON:  What's the reason for the numbers increasing year over year?  Even though the anticipated demand reduction stays constant?

MS. OLIVER-GLASFORD:  The numbers increase based on the inflation factor that we use in our DSM framework.

MR. ELSON:  Thank you.

And the next column over is Enbridge's rough estimate of the incremental DSM budget that would be necessary to avoid load growth; is that right?  That's incremental budget?

MS. OLIVER-GLASFORD:  Yes, that's correct, again with the caveat of linear cost-effectiveness.

MR. ELSON:  And in 2014 that's approximately $33.7 million?

MS. OLIVER-GLASFORD:  Correct.

MR. ELSON:  So the next column to the right is a rough estimate of the incremental net TRC benefits that would result from just the incremental programs, and that would be approximately $140 million per year; is that right?

MS. OLIVER-GLASFORD:  Yes, that would be correct as well, noting that when we project out in DSM there are a lot of caveats in terms of net-to-gross ratios, you know, costs, all those sorts of things that we have to consider adjustment factors on programs that are factored into these numbers, as well.

MR. ELSON:  Of course.  And these are net benefits, meaning that from an overall perspective, the present value of the savings from the incremental DSM measures such as avoided gas, water, and electricity costs would be over $140 million higher than the present value of the cost of the measures; is that right, Ms. Oliver-Glasford?

MS. OLIVER-GLASFORD:  Yes, that is correct, but it should be noted that that TRC calculation does not include the cost of incentives to get that avoided cost benefit.

MR. ELSON:  But that's the TRC societal benefit analysis; is that correct?  It's the TRC analysis that would be done under the DSM guidelines?

MS. OLIVER-GLASFORD:  Correct.

MR. ELSON:  And the intent of that is to determine the net benefits to society as a whole?

MS. OLIVER-GLASFORD:  Correct.

MR. ELSON:  Now, why doesn't this number increase by inflation?  Is that -- why would you have applied inflation to the DSM budget but not the incremental TRC benefits?

MS. RAMSAY:  We didn't apply an inflation factor because the estimation of incremental net TRC benefits going forward had so many assumptions behind it.  And we don't necessarily think that there's a linear relationship as we go forward and get deeper and deeper savings in a very targeted area, that it would be a linear relationship.

MR. ELSON:  So perhaps your -- if you're getting declining returns, it would offset the inflation; is that about right?  So you didn't include inflation there?

MS. RAMSAY:  You could put it that way.

MR. ELSON:  The next column over provides the cumulative TRC benefits.  So over the 12 years, the net benefits -- that is, the savings minus the costs -- would equal about $1.6 billion, and that's in the bottom right-hand corner of the table; is that correct?

MS. RAMSAY:  Yes, but just to remind us that that does not include the cost of the incentive.  The incentive is paid to the customers, to encourage those societal benefits.

MR. ELSON:  It does include total cost of the measures, of the efficiency measure; is that right?

MS. RAMSAY:  No.  It includes the incremental cost of the measure over and above a standard piece of equipment.

MR. ELSON:  I guess maybe I'll ask you:  Has this been calculated in accordance with the DSM guidelines?

MS. RAMSAY:  Yes.

MR. ELSON:  Could you turn to tab 20, please, which is page 61 of the document book?  This tab contains a report by Marbek, excerpts of a report by Marbek entitled, "Natural Gas Energy Efficiency Potential: Update, 2008."  And it provides an estimate of the DSM potential for Enbridge's residential, commercial and industrial sectors.

Does Enbridge believe that the overall conclusions in this report are generally sound and accurate?

MS. OLIVER-GLASFORD:  Overall, we support this study.  They do have, as well, in the study and I -- subject to check.  I can't recall the page, but they also have put caveats, as well, on some of the analysis.

MR. ELSON:  If you can turn to page 74 of the document book, that's -- actually, my apologies, 72 of the document book.  That's page 10 of the report.  I'm going to ask you some questions about the chart in Exhibit 2.1.

This chart shows forecast of natural gas consumption in the Enbridge service area over time for a number of different DSM scenarios; is that right?

MR. FERNANDES:  That is correct.  It should be noted, however, that that is annualized demand, and this is a facilities application that's dependent on peak hour.

MR. ELSON:  Thank you.  And the top line is the reference case.  That is, the forecast growth with no DSM; is that right, Ms. Oliver-Glasford?

MS. OLIVER-GLASFORD:  That's my understanding, yes.

MR. ELSON:  Now, I'm directing my questions to you not as any derision to you, Mr. Fernandes, but just asking your DSM experts, of course.

And the next line down is a scenario with a DSM budget of $20 million; is that correct?

MS. OLIVER-GLASFORD:  Yes, that's correct.

MR. ELSON:  Now, it's a bit hard to read, but the next two lines down are almost touching and next to each other, very close to the third line.  And they are the scenarios with 40- and $60 million DSM budgets?

MS. OLIVER-GLASFORD:  That looks to be right.

MR. ELSON:  And in these last two scenarios with 40- and $60 million budgets, Marbek forecasts overall declining annual growth; is that correct?

MS. RAMSAY:  The potential study considered the period from 2007 to 2017.  It was not intended to forecast beyond 2017.  It was intended to assess what the technical, economic, and achievable potential for DSM programs would be in the franchise area up to 2017.

MR. ELSON:  Yes, of course.  It's not projecting up to 2025, but the trend from 2002 to 2017.  In the reference case, you have significant increasing demand, and then in the $40 million budget and $50 million budget scenarios, you have a decreasing trend in demand.

And I just want to confirm with you that I'm reading this chart correctly.

MS. OLIVER-GLASFORD:  Yes, you are reading it correctly and those numbers are for the whole franchise.  So not just this area.

MR. ELSON:  Thank you.  Could you turn to tab 11, which is the Enerlife report?

MS. OLIVER-GLASFORD:  Could you provide a page reference?

MR. ELSON:  My apologies, it’s page 19.  In specific, I would like to refer you to the next page, which is page 20, and I'm going to read this paragraph to you and just ask you a basic question.

The authors of this report say, and I'm quoting from the bottom of page 20, the sidebarred paragraph:

"The performance-based model presented in this evidence for calculating commercial and apartment DSM potential is derived from Enerlife’s substantial and growing database of actual energy performance data for buildings.  The approach is consistent with the growing number of provincial and national programs.  It takes a different approach from the DSM potential study conducted for Enbridge in 2009 by Marbek Resources Consulting Inc.

"Rather than relying on technologies, assumed penetration levels, and engineering calculations, the performance-based model analyzes actual benchmarked energy use of different building types, and establishes the potential savings due to all buildings reaching intensity levels already achieved by one-half", which is the median, "or one-quarter", which is the top quartile, "of the peer group.”

My question is this:  Do you agree that Enerlife has taken a different approach to assessing DSM potential as compared to Marbek?

MS. OLIVER-GLASFORD:  Yes, I would agree very much that they have taken a different approach to a potential study than is typical for utilities across North America.

MR. ELSON:  Would it be fair to call Marbek’s approach a technology-based approach, whereas Enerlife's is a performing or a benchmarking-based approach?

MS. OLIVER-GLASFORD:  No, I would actually disagree with that characterization.  Enbridge is doing benchmarking and performance-based programming already in its portfolio.  Our approach to DSM is savings-based.  We focus on M-cubed savings for our customers.

And Judith,  don't know if you wanted to add anything here?

MS. RAMSAY:  Yes, rather than characterizing the difference in the two approaches that way, I would say that the Enerlife is approach is very top-down.  It takes results from 638 buildings and extrapolates those results

-- buildings taken from across the country, applies those results to the Enbridge franchise area, in particular the GTA, whereas the Marbek approach is bottom-up, and takes the total usage in the franchise area, the reference case, develops archetypal building types, industry types, housing types, models the current use by those reference types, and then looks to see what is achievable in the technical sense, a TRC-positive economic sense, and achievable in terms of what can actually achieved on the street with customers.

MR. ELSON:  So I understand that Enbridge is doing some performance- or benchmarking-based DSM currently.

But my understanding is that the Marbek report is not a performance- or a benchmarking-based analysis of DSM potential.  Is that -- would you agree with that statement?

MS. OLIVER-GLASFORD:  Sorry, , I'm not sure what you are getting at with that question.  Would you mind rephrasing, or asking that again?

MR. ELSON:  Would it be fair to say that Enerlife's report is performance-based or benchmarking-based, and Marbek’s report is not?

I'm trying to provide a distinction between their two reports.

MS. OLIVER-GLASFORD:  I would disagree with that in that in that -- you know, with the Marbek, the robust and comprehensive Marbek potential study that we did, we did add in pieces where we talked to different sectors and understand what is happening in those sectors, in order to develop those achievable potential numbers.

So there's many aspects folded into that potential study that would have aspects of benchmarking implicit in the outcomes.

MR. ELSON:  I guess what I'm saying is that Enerlife estimates the results based on benchmarking, whereas Marbek does a bottom-up technology-based approach; is that fair?

MS. OLIVER-GLASFORD:  That would be an accurate representation, although as I said there are components.

MR. ELSON:  Has Enbridge conducted a study of the DSM potential from the perspective of a benchmarking-based approach, as is in the Enerlife report?

MS. OLIVER-GLASFORD:  As we've mentioned, we have added performance-based benchmarking-type initiatives into our portfolio, and are learning from other jurisdictions and gradually improving and increasing those programs.

However, that said, I'm not sure benchmarking isn't a fair way to understand what's achievable in a market.  If we look at, you know, folks that want to be healthy, you can't assume that the top quartile that are running marathons and doing triathlons, that everybody can get to that level.

And I think they are some similarities there with energy efficiency in buildings.  Sometimes the design -- Enerlife mentions it in their own report that sometimes the design, the construction, or the use of the building simply will not allow them to get to the same levels as others.

MR. ELSON:  Thank you.  Now further down the page in the Enerlife report -- again I'm at page 21 of the Environmental Defence document book -- I would like to ask you some questions in relation to the sidebarred paragraph, which I'll read to you.  Enerlife says that:

"Measures to improve efficiency in high gas intensity buildings go beyond those included in Marbek's DSM potential study and are typically site-specific equipment repairs, upgraded control of buildings systems, and testing, tuning and rebalancing of heating plant and systems.  Such projects show generally good Total Resource Cost test values, can be implemented quite quickly, and serve to improve building performance as well as energy efficiency.  They require a systematic approach to identify target buildings, engage owners, isolate the efficiencies (sic), implement the necessary improvements and verify the results."

Now, I'm not asking you to agree with Enerlife's overall conclusions, but would you agree that there is some merit in targeting buildings with the highest gas usage per square foot for DSM focus?

MS. OLIVER-GLASFORD:  We actually wholeheartedly agree, and in our filed 2012 to 2014 DSM plan on page 18, it actually outlines that that is our approach to our commercial customers.

MR. ELSON:  And would you agree that significant gas savings can be found these in inefficient buildings through often relatively low-cost measures, such as equipment repairs and upgraded controls?

MS. OLIVER-GLASFORD:  Perhaps there is, and a couple of things to note: one, that these assumptions and these programs are already folded into the Marbek potential study.  It may not have been clear, but that is really what is meant by recommissioning in the industry of DSM.

And also, you know, those are things that we're doing already with our customers.  I think it's roughly 70 or 80 percent, subject to check, of our results are from our custom programs in the commercial sector, and just by the definition of it, custom is anything that our customers need that will provide a positive TRC value.

MR. ELSON:  I would like to ask you some questions in a different area and move on, which is some of the other benefits of DSM, and I guess I could describe those as public interest benefits of DSM.

How many years has Enbridge been running its DSM programs?

MS. OLIVER-GLASFORD:  Subject to check, but we've been doing it since 1995.

MR. ELSON:  Each year, the results of those programs are audited; is that right?

MS. OLIVER-GLASFORD:  That is correct.  They go through an extensive third-party audit.

MR. ELSON:  And you described that as "extensive"; would you also describe it as a rigorous process?

MS. OLIVER-GLASFORD:  Yes.  That's a good characterization.

MR. ELSON:  So the results from Enbridge's DSM programs are being consistently verified through that process; is that correct?

MS. OLIVER-GLASFORD:  My apologies.  Would you repeat the question?

MR. ELSON:  Are the results of Enbridge's DSM programs being consistently verified through that auditing process?

MS. OLIVER-GLASFORD:  Our annual loads are being verified.  Yes.

MR. ELSON:  My understanding is that Enbridge's DSM programs generally meet or exceed their targets in terms of gas savings?

MS. OLIVER-GLASFORD:  Yes.  Most years we come close to or surpass our targets.  However, there have been years we have not made our targets.

MR. ELSON:  But only by very small amounts?

MS. OLIVER-GLASFORD:  No.  And perhaps Judith might be able to add in here, but my understanding is that there has been a few years where we've -- we know we have not achieved the target and have not received an incentive for the company.

MR. ELSON:  Would it be fair to say, though, overall that DSM programs are a low-risk investment because the magnitude of the benefits are fairly certain?

MS. OLIVER-GLASFORD:  You know, I'm passionate about DSM and I hugely support DSM.  I really think it's positive.

That said, I'm not sure I would always characterize it as certain.  I think we just need to be careful with, you know, the rigor on different pieces.

Certainly, we have a high degree of confidence in those results and what DSM can achieve.

MR. ELSON:  I guess if I was to categorize it as high- or low-risk, I believe it would be fair to categorize it as low-risk in terms of receiving the savings that you anticipate; would that be fair to say?

MS. RAMSAY:  We need to make the distinction between the type of broad-based DSM programs that's we've been delivering since 1995, which are aimed at annual results, and your characterization of low-risk could be said to apply to DSM in that sense.

If we're looking at targeted DSM with the intent of outcomes that result in deferral of distribution infrastructure, there's an entirely different risk situation there.

MR. ELSON:  I guess my question was the -- well, I'll move on.  I think that's a sufficient answer.

I'll ask you about some of the other benefits of DSM in addition to those that are accounted for in your TRC test.  Could you please turn to tab 21 of the Environmental Defence document book, which is page 75?  This is an interrogatory.  It's IR No. 6 from Enbridge's most recent DSM case.

And in this interrogatory, we put to Enbridge a report from the Canadian Council of Chief Executives, and in that report there was a conclusion that:

"Fundamentally, however, Canada needs to begin with a renewed commitment to energy conservation.  We must use existing and future energy supplies as efficiently as possible, embracing the maxim that the cheapest form of energy is the unit that is not used.  Better conservation practices will help insulate Canadians from volatile energy prices, reduce costs for public institutions such as hospitals, and improve the international competitiveness of Canadian companies."

In response to that, Enbridge said that Enbridge generally agrees, and I'm reading from page 76:

"Enbridge generally accepts that a sustained focus on energy efficiency assists with the long-term environmental sustainability and economic competitiveness of the province."

And it also concludes that:

"Energy efficiency helps customers lower their overall energy usage, which in turn reduces one input cost for businesses."

Would Enbridge stand by its response to this interrogatory in this proceeding as well?

MR. FERNANDES:  The company does believe in sustainability, so yes.

MR. ELSON:  In particular, would you agree that a sustained focus on energy efficiency assists with the economic competitiveness of the province?

MR. FERNANDES:  We would agree with that, and say that efficiency in general helps with competitiveness of the province.

MR. ELSON:  And that's in part because it reduces one input cost for businesses.

If you could turn over to tab 22, which is page 82 of the Environmental Defence cross-examination document book, this is Interrogatory No. 7 from the DSM case.

And we asked Enbridge about Canadian companies needing to increase productivity and investment, and about a report by Dr. Ernie Stokes quantifying the economic benefits of natural gas DSM in terms of increased GDP, increased employment, decreased deficits and the like.

And I'm going to read the response that Enbridge provided.  Enbridge said:

"Mark Carney's remarks that increased investment results in increased productivity appear reasonable.  It is the understanding of the company that pervasive economic theory does suggest that higher productivity may lead to higher wages, profits and government revenues.  Enbridge believes that when a business participates in DSM programs and invests in energy efficiency upgrades, all other things being equal, it may see increases in productivity.  While Enbridge cannot specifically predict the future impacts of DSM on overall productivity and GDP, it believes that DSM initiatives can be a factor in elevated productivity and thus, GDP."

Does Enbridge still believe in those statements?

MS. OLIVER-GLASFORD:  Yes, I do.

MR. ELSON:  Thank you.  Would Enbridge agree, or would you agree, Ms. Oliver-Glasford, that Enbridge's DSM programs create jobs in Ontario, including energy contractors and the like?

MS. OLIVER-GLASFORD:  That's certainly something that's been discussed.  And I would agree that there's probably jobs created through DSM, yes.

MR. ELSON:  Most of the dollars spent through Enbridge's DSM programs would be spent in Ontario; is that right?

MS. OLIVER-GLASFORD:  We wish there were more DSM evaluation companies in Ontario, but that said, most of the DSM dollars would stay in the province.

MR. ELSON:  Most would be spent in Ontario; is that -- thank you.

And much of the savings from DSM programs come from avoided gas costs, which is money that would have largely gone to natural gas producers and places outside the province, such as the US northeast; is that a fair statement?

MR. FERNANDES:  I believe it's fair to say that the commodity portion would by and large come from outside of the province, not specifically the US northeast.

MR. ELSON:  That was just an example; but yes?

MR. FERNANDES:  Yes.

MR. ELSON:  On the other hand, most of the savings from this proposed pipeline come from gas supply benefits which would require a shift of dollars away from TCPL and gas producers in western Canada, towards gas producers in the US northeast; is that correct?

MR. FERNANDES:  The economic benefits presented in the project, one of the benefit streams has to do with changes in our transportation contracts that shift from long-haul discretionary services to short-haul firm contracting.

MR. ELSON:  I would like to move onto a different area, which is, you know, again, a no-growth scenario.  I have just a couple brief questions on this point.

I believe on Thursday, Mr. Fernandes, you stated that Enbridge allocated approximately 800 tJs per day of segment A to Enbridge's distribution needs in the GTA area; is that correct?

MR. FERNANDES:  That is correct.

MR. ELSON:  Is that the amount that would be needed to address forecast load growth?

MR. FERNANDES:  The 800 terajoules a day the project proposes to bring in on segment A, the distribution system at Albion station, is made up of 600 terajoules a day that would be shifted from long-haul discretionary transport contracts to short-haul firm.

The other 200 terajoules a day is existing gas flows that's come into Parkway from upstream providers that is being shifted from the suction side to the discharge side, in order to move it further into the distribution system at Albion, and that would allow – you know, the distribution system capacity is available for future load growth of additional 200.  But the gas supply plan as presented doesn't have that future growth included in it.

MR. ELSON:  So would you say that 200 tJs is the amount that is needed to address load growth?  I'm trying to figure out an amount of this pipe that is allocated, or that we can think of as being necessary for load growth.  Would 200 tJs be a fair estimate?

MR. FERNANDES:  I believe the number that’s presented in our market forecast section is 190 terajoules per day over the forecast period.

MR. ELSON:  And the current proposal is a 42-inch pipe for segment A?

MR. FERNANDES:  That is correct.

MR. ELSON:  So let's say that there wasn't any load growth from today forward, and the 200 tJs per day was not needed for load growth.  What size would the pipe need to be to address the remaining purposes of the project, but not load growth?

MR. FERNANDES:  We believe the 42-inch pipe size is appropriate.

MR. ELSON:  I know you do.  I'm asking how much you could decrease that if you weren't accounting for load growth.

I understand it's probably not going to be a large amount, but it would be helpful to have that estimate, if we were to take growth out of the scenario.

MR. FERNANDES:  If you were to leave off 190 terajoules per day in requirements over that forecast period, the company would still be proposing 42-inch pipeline.

We believe that it's required for building out the capacity for market access from Parkway through to Maple.  We have the results on the record of our open season of over 932 terajoules a day, plus the company's requirements.

We don't believe an NPS 36, which would be the next standard pipe size lower, is in the interests of either distribution or transmission ratepayers in the long run.

MR. ELSON:  So you think that the 42 could be used completely just for transmission purposes and for shifting your supply input, so you that can achieve the gas supply savings?  You don't need it for demand growth; is that right?

MR. FERNANDES:  No, you said in a no-load-growth scenario.  We have load growth, and that is what we're projecting.

MR. ELSON:  I'll ask the question from the other side.  If the only thing that you were attempting to address was load growth, how large would that pipe need to be?

Now, I am not including gas supply benefits, or shifting from Victoria Square to Parkway.  If you just needed it for load growth, how big would the pipe need to be?

MR. FERNANDES:  I think it's already on the record that if we were looking at a load-growth-only scenario, with none of the other limitations of the system being addressed, that we would be looking at expanding the north-south section of segment B only.

However, that is not what the company is proposing, because of the other important limitations on our system.

MR. ELSON:  In other words, if it was load growth only, you wouldn’t need segment A, and you wouldn't need the east-west portion of segment B; you would just need the north-south portion of segment B; is that right?

MR. FERNANDES:  Under the hypothetical situation where we were looking to only address load growth, that is correct.

MR. ELSON:  Thank you.  And now with respect to the north-south portion, is that size -- could that be decreased, if you were only addressing load growth and weren't addressing other issues such as the SMYS pressure issue?

MR. FERNANDES:  I think Mr. Naczynski will be able to fill in a little bit more.  It's theoretically possible, but under the consideration where it is intended to tie into an existing NPS 36, that would create all sorts of operational issues for us.

NPS 36 has been the most common pipe size for us to expand the backbone of our extra high pressure grid over the last two decades, and the reasons are is that is that’s the most economic size for capacity for a distribution system.

MR. ELSON:  Thank you.  I would like to ask some questions in relation to Environmental Defence document book number 2 -- which isn't actually much of a document book; it's actually just one document.

I believe that copies were provided to Panel members and Mr. West, I think, has copies there.  So if you could turn them up, that would be much appreciated.

MR. MILLAR:  We'll give that an exhibit number.  K5.1.

EXHIBIT No. K5.1: ENVIRONMENTAL DEFENCE CROSS-EXAMINATION MATERIALS, BOOK 2

MR. ELSON:  As you can see, this document was recently released by the Ministry of Energy, and it relates, of course, to electricity.  But I would like to ask you some questions based on it, in relation to natural gas, of course.

And this is the document entitled "Conservation First, a Renewed Vision for Energy Conservation in Ontario".

Two pages in, you have Minister's message, and Minister says:

"Conservation is the cleanest and least costly energy resource and offers consumers a mean to reduce their electricity bills."

My question is simple, which is: Do you believe that that statement would apply also to natural gas?

MS. OLIVER-GLASFORD:  Yes, we would agree with that statement for natural gas.

MR. ELSON:  Thank you.  On the next page over, in the underlined portion, it says:

"Reducing or shifting electricity use avoids the need for new generation as well as transmission, reduces strain on the electricity system, and improves the efficiency of the power grid."

Would you agree that the same is true with respect to natural gas -- of course acknowledging that instead of new generation, it's new supply, and instead of the electricity system, it would be the Enbridge pipeline system as well as the transmission system?

MR. FERNANDES:  We do agree that energy efficiency is important; it's for our customers.  However, I don't think we can agree with that analogy, in particular with respect to the limitations that we described at the beginning of our testimony.

So I don't think there's a role in efficiency in terms of providing diversity of path, or operational flexibility within our system in addressing some of the supply consequences that we currently face within our system.

So I'm not saying that energy efficiency is not a social good.  Enbridge is strongly supportive of that.  But I don't think you can draw the conclusion across the board from an electrical for a natural gas system.

MR. ELSON:  Now your specific application before the Board today has some unique aspects to it, and I'm not asking any questions about those unique aspects.  I'm asking a question on a general level and perhaps I can break it down, which is to say:  Would you agree that conservation can reduce the need for new pipelines by reducing demand?

MR. FERNANDES:  Conservation can certainly help in reducing annual demand.  We're not as certain about what it's direct impact on peak hour, and therefore on facilities.

But we believe it does have an impact, it's just not as certain.

MR. ELSON:  If you could turn to the last page?  This talks about the vision outlined in this paper with respect to electricity, and it says:

"Ontario's vision is to invest in conservation first before new generation, where cost-effective."

And further down, the underlined portion:

"Conservation should be the first resource considered in meeting Ontario's electricity needs. Cost-effective conservation brings environmental, economic, and system benefits."

Would you agree that gas conservation also brings environmental, economic, and system benefits?

MR. FERNANDES:  We do agree with that, and we do agree that it should be used where cost-effective.

MR. ELSON:  Do you agree that gas conservation should be the first option considered before supply-side transmission and distribution investments?

MR. FERNANDES:  It depends on the objective.  As we stated, we have some very important system limitations in this particular case.  We're looking for diversity.

Some of the items, such as providing a second feed into the downtown core, I don't see how energy efficiency could possibly do that.   We also have considerations of reducing the pressure on our oldest, highest-stress lines, which is dealing with aging infrastructure.  And I don't believe that energy efficiency can have a significant impact on those requirements.

MR. ELSON:  Perhaps I'll revise my question.  Would you agree that gas conservation should be the first option considered before supply-side transmission and distribution investments that are intended to address load growth?

MS. OLIVER-GLASFORD:  Yes, they should be considered.  However, I would note in Exhibit M, GEC.EGD.6, attachment A, the RAP report that outlines the US experience with efficiency as a transmission and distribution system resource, first of all, again, I think it's very important to point out that these are electricity-centric documents.

Electricity and gas are fundamentally different with how we can impact those peak demands, and also the impacts, if there is some sort of outage event, with getting people up and running again.

But that said, in that report, in the executive summary, (iii), you know, even National Grid, Rhode Island would agree that when you are doing these kind of focused geo-targeted offsets, you want to make sure that you don't have any other drivers other than load growth.  And, you know, as I've heard Mr. Fernandes say, there is other drivers for this project other than load growth.

MR. ELSON:  Ms. Oliver-Glasford, would you agree that Enbridge should pursue all feasible and cost-effective DSM -- i.e., with a TRC greater of one -- before seeking permission for new supply infrastructure intended to meet growing demand?

MS. OLIVER-GLASFORD:  We have a responsibility to our customers to balance out various stakeholder input into what is an appropriate budget and approach to our DSM planning.  And over a number of years through a very transparent and inclusive process, I believe we're at that appropriate point.

MR. ELSON:  Going forward, would Enbridge agree to strive to eliminate load growth through DSM if it could do so with cost-effective programs with a positive TRC benefit-cost ratio?

MS. OLIVER-GLASFORD:  I believe we would certainly like to if that was what worked for all of the various intervenor groups, providing it's cost-effective.

MR. ELSON:  Would Enbridge agree to do so as a condition of approval for this project?

MR. FERNANDES:  Could you repeat that question?  Because I'm not sure what that condition would have to do with the proposed facilities.

MR. ELSON:  The question is whether Enbridge would agree to strive to eliminate load growth through DSM if it could do so with cost-effective programs with a positive TRC benefit-cost ratio.  So the question is whether Enbridge would agree to do that as a condition of approval for this project.

And that would be so that, going forward, we wouldn't have to be investing in further supply-side improvements in order to meet load growth.

MR. FERNANDES:  I can't draw the connections between that condition and the proposed facilities.  So I don't think we can commit to that.

MR. ELSON:  Okay.

MS. RAMSAY:  Just to add to that, I think what the discussion is bringing out is that there are a number of issues and concerns that would have to be addressed relating to use of DSM and targeted DSM for deferral of any distribution infrastructure.

And those issues and concerns have not been addressed by the Board and by stakeholders.  So it would be premature to enter into any kind of agreement of that nature.

Secondly, as Ms. Oliver-Glasford pointed out, we have been working in an environment relating to broad-based DSM activities, with a goal to reduce annual throughput.  And over the years, we have known all along that there are considerable economic benefits, based on the TRC test, to be achieved, that are out there to be achieved.

But how much the utility is doing has been the result -- as Ms. Oliver-Glasford pointed out -- has been the result of discussions taking into account the needs and concerns of all of the stakeholders, all of the ratepayer groups, and that is how we have arrived at the current level of DSM activity.

MR. ELSON:  Thank you.  Madam Chair, it's 11:58.  I can probably finish in about 10 minutes.  And I'm happy to continue or to take a break, subject to the Board's...

MS. CHAPLIN:  We'll continue for 10 minutes.  That's fine.

MR. ELSON:  Thank you.  So I have some questions that are a bit of an aside, which goes back to some of the load forecasting that we were looking at.

Mr. Naczynski, as part of your load forecasting process, you calculated an average peak hourly demand per customer; is that correct?

MR. NACZYNSKI:  That's correct.

MR. ELSON:  But you didn't have direct data on peak hour demands per customer type, so that had to be derived from annual demand figures per customer type; is that correct?

MR. NACZYNSKI:  That's not correct.  So to –- we started to discuss at the technical conference.  However, at a very high level for the purposes here today, the derived peak hour consumption by a -- not only by particular customer type but also by geographical area was determined by looking at individual customer consumption, monthly consumption from the billing, from the billing process, from the billing meters.  That was then regressed against the number or the amount of heating degree days that you would experience in that given month.

And using -- through that process, a maximum peak hour at a design day was determined.

MR. ELSON:  So did your forecasting involve a conversion between annual and peak demands at all?

MR. NACZYNSKI:  The conversion was between a monthly consumption and the amount of heat that would have, or the amount of heating degree days that would have occurred in that month.

MR. ELSON:  Do you expect that annual demand will increase between now and 2025?

MR. NACZYNSKI:  I would expect that, based on the trending that we have seen, that an individual -- a typical customer's consumption on an annual basis would decrease on an annual basis.

MR. ELSON:  Now, overall in the GTA area, do you anticipate that annual demand will increase between now and 2025?

[Witness panel confers]

MR. NACZYNSKI:  Sorry, could you clarify that question?

MR. ELSON:  Do you anticipate that the annual demand for the GTA area will increase between now and 2025?  What will the trend be between now and 2025 for annual demand?

MR. NACZYNSKI:  For that, I would want to put that over to our -- either our economic or our other group to discuss that.

Again, from a system design perspective, I'm not looking at the overall annual demand on my system.  I'm looking at the ability to meet peak deliverable at a design day condition.

MR. FERNANDES:  I have to add I think we provided that information on the record as part of the interrogatories to Environmental Defence, but I don't have the reference in front of me.

MR. ELSON:  I don't either and I'm not aware of that, but I will take a look.

Perhaps I could ask another question, which is:  Do you, Mr. Naczynski -- are you aware of a factor that Enbridge uses to convert peak demand to annual demand?  It's going to, of course, be a rough factor, but through your forecasting process, do you have something like that?

MR. NACZYNSKI:  There is a -- certainly characterized as a rough factor that is often used to convert from annual, or anticipated annual demand, to a peak hour for system modelling for specific customers when they come to our system.

MR. ELSON:  Could you use that factor -- let me take a step back.

Table 1 in the response to Environmental Defence 5 contains Enbridge's estimated peak demand from 2012 to 2025 -- and I'm not asking that you turn it up.  But I'm wondering if you could undertake to convert the forecast numbers in table 1 from peak hourly to annual demand, using the factor that we just talked about.

MR. NACZYNSKI:  I wouldn't propose that that would be a very good analogy.  The number that you are referring to -- and I speak to it certainly at a very, very high level.  If I'm looking at a specific customer who is wishing to come onto my distribution system, as a rule of thumb we would divide their annual consumption by a factor of about a thousand, as a very rough or loose estimate.

If I was to take all those peak demands and multiply by a thousand, the loads that we would have would be absolutely huge, and I don't think that would give you a fair representation for the purposes here.

So I could undertake to do that, but I'm not sure that it will provide a lot of value, because our load forecast that we’ve done right now is far, far more conservative than that as we look at aggregated load over the whole system.

MR. ELSON:  Could you undertake to convert those forecast numbers in table 1 from peak hourly to annual demand, using a factor that you feel is appropriate, and explaining what factor you are using?

MR. NACZYNSKI:  The challenge I have there is that the system is designed on a peak hour/peak day, and we have provided some calculations as a part of the work that Ms. Oliver-Glasford had done, and I think there is a number out there, but again, listed with all those caveats that were on there that converted the total annual DSM.

I know a number was used, which, I believe, you referenced also as well here.

MR. ELSON:  It would assist us in assessing your peak demand forecast to see what that would be implying, in terms of annual demand.  And that I believe would assist the Board as well.

So I would appreciate an undertaking that would do that conversion, so that we could understand what your forecast implies for annual demand.

MS. CHAPLIN:  Just a minute, please.  What I hear the witness saying is that they don't have – sorry, were you -- it's implying in terms of annual demand, and I thought their answer was it wouldn't be an accurate assessment of what was implied in terms of annual demand, because they don't have that conversion, was that correct -- and that the only conversion factor they have is actually going the other direction, to take an individual customer’s annual demand and derive a rough estimate of peak demand.

Am I understanding the testimony correctly?

MR. FERNANDES:  I think you are correct.  We have some rules of thumb that would allow for quick sizing of facilities at a more localized area.  So you could say this is the approximate of a residential, and you can aggregate a subdivision to quickly come to a sizing for the pipe that is feeding that.

But as Mr. Naczynski has said, for facilities, annual demand is not a factor.

MS. CHAPLIN:  So if you could perhaps help me understand, Mr. Elson, how asking him to do something that they don't do and have no -- it doesn't appear have any reasonable way of doing, is going to help us.

MR. ELSON:  If it's impossible to do, then of course I can't ask for the undertaking.  But I would like to have some sort of understanding about what these peak numbers would entail in terms of annual numbers, so that we can compare them with some of the historic annual numbers.

I could perhaps ask it in a different way, and I'm going to move on to that right now.

MS. CHAPLIN:  Okay.

MR. ELSON:  To summarize what I think we've gone through, Mr. Naczynski, you are not predicting an increase or a decrease in annual demand; is that right?

MR. NACZYNSKI:  Again as I've mentioned, from a system design -- from a system management perspective, I'm looking at the peak hour demands from a design perspective, not annual.

MR. ELSON:  I know that is your target, but would your model imply an increase or a decrease in annual demand?

MR. NACZYNSKI:  The model would not imply an increase or decrease in annual demand.  It is simply not based on that.

MR. ELSON:  So on page 15 of the cross-examination reference book, there's a chart here which is a summary of inputs into economic analysis.

Mr. Naczynski, did you come up with these numbers here that are the total cumulative volumes for forecast to 2025?

MR. FERNANDES:  I think I could answer for Mr. Naczynski that he did not.  I think --

MR. ELSON:  So I should be asking the other panel how these were derived; is that correct?

MR. FERNANDES:  Well, at a high level, I can state -- I think we went through it before, that these are economic feasibility summaries, and if we want to get into detail, we can ask the economics panel.

But as per the guidelines, we're simply assessing these factors at the most recently approved rates, and holding them constant for the forecast period.

So again, I think we've stated that this is not a forecast.  It's utilizing the standard and it's a mathematical certainty, based on the fact that we are required to hold usage by customer constant for the forecast period.  So it is simply multiplying the number of customers by customer type, by their current usage.  That is not a forecast.

MR. ELSON:  So this is -- you have your customer additions, and then you multiply them by average use, and that is how you come up with these numbers.  Is that --?

MR. FERNANDES:  Current average use.

MR. ELSON:  Current average use.

MR. FERNANDES:  Just like we hold dollars constant into the future for the economic feasibility, we hold the other rates and inputs constant as well.  And that ensures that you have consistency in terms of calculations for comparability.

MR. ELSON:  Thank you, and my final few questions are in relation to Enbridge's examination of DSM.

Does Enbridge believe it is required, as part of this application, to provide evidence that is sufficient to establish whether DSM is a feasible or preferable alternative to the project?

MR. FERNANDES:  I believe we already have.

MR. ELSON:  And you believe that's a requirement of this application?

MR. FERNANDES:  We included it because we thought it was relevant.

MR. ELSON:  I would like to ask you a few questions about the studies in the examination that Enbridge did to assess DSM as an alternative.

I believe I had the answers from you, Mr. Fernandes, at the technical conference, but I want to just confirm that my understanding is correct.

I believe, Mr. Fernandes, you said at the technical conference that DSM was screened out in 2011; is that correct?

MR. FERNANDES:  That is correct.

MR. ELSON:  And that was done at a meeting?

MR. FERNANDES:  That was done over a course of several.

MR. ELSON:  And no documentation was created?

MR. FERNANDES:  I believe we have documentation.

MR. ELSON:  I believe that at the technical conference, I asked for documentation and you said that none existed.

So perhaps I'll ask for the documentation that was created when DSM was screened out as an alternative.  Could you provide that?

MR. FERNANDES:  The screening process involved a number of parties internal to the company, across a wide variety of functional areas, and they went through a series of workshops in order to screen through potential alternatives, looking at all of the limitations.

So there is a large body of work.  Some of it is not easily producible, but I think we can provide some presentation material on check points and approvals, if that would be --

MR. ELSON:  I do not want all of your screening analysis of all your alternatives.

What I'm looking for is a document that was created in 2011 at one of these meetings that describes why DSM was screened out.

My understanding from the technical conference -- you said there was nothing to provide.  So if there is something to provide, if you could provide it by way of undertaking it would be appreciated.

MR. FERNANDES:  So specific to DSM, those were working meetings.  There is mention in discussion on looking at DSM, but I -- I could look at the documentation.  I don't think there's a lot of detail.

As we described in the technical conference, when we looked at the limitations that we're looking to address, or the objectives of the project, it was an order of magnitude that we looked at with respect to DSM.

When we look at what we -- you know, our DSM group has provided some desktop assumptions stating that we can get approximately 12 103m3 reduction in peak load hour based on our present DSM programs.  And we look at the order of magnitude of the things that are trying to be achieved, such as the 600-terajoule shift, it's orders of magnitude, factors of 30 or 60 times, in order to achieve something like that at DSM.  And in terms of those working meeting discussions with a broader group, we screened it out as being something that can't possibly be achieved.

MR. ELSON:  So I think what you are referring to there is the 30 percent SMYS criteria.  And what you would need is 20-fold increase in DSM to meet the 30 percent SMYS criteria.  So you decided in a meeting:  We shouldn't even bother looking at DSM.  Is that an accurate description?

MR. FERNANDES:  We looked at it.  We understood the rough order of magnitude.  It's not just the pressure reduction.  The pressure reduction would give you -- I believe it's about a 20X order of magnitude, but the supply shift in order to get the discretionary services over to short-haul firm is 3X that.

So there's multiple objectives that would state that you can't possibly do this with energy efficiency measures.  So it was screened out.

MR. ELSON:  So you screened it out because it couldn't achieve your gas supply benefits and it couldn't achieve your pressure reduction --

MR. FERNANDES:  And it couldn't achieve the second feed into downtown Toronto, or the flexibility or diversity within the extra high-pressure system.

So there's multiple objectives that, while energy efficiency is good and we recognize it can have an impact on load growth, it can't possibly achieve those other objectives.

And what we tried to articulate in the technical conference, that one of the reasons why Enbridge wanted to look at all these together is because several of those objectives dealing with those limitations on our current system are coincident.  So it's much better for us to look at them in aggregate, to ensure that we can bring out any economies that are available to address them all.

MR. ELSON:  So you didn't undertake any studies or reports of DSM or a detailed analysis, because you were able to rule it out as an option to address all of the purposes early on in the process; is that right?

MR. FERNANDES:  That's correct.

MR. ELSON:  And Enbridge didn't produce any studies or reports to analyze whether DSM might satisfy only one or two of the project purposes?  It was just screened out because it couldn't address all of them; is that right?

MR. FERNANDES:  It's a much more detailed discussion than that.  I wouldn't portray it that way.

Effectively -- I think we've already gone through this -- when we looked at the solutions, DSM was screened out fairly early in the process, but in terms of having an impact on the facilities, the load growth portion, as we stated, is dependent -- if we were to do it alone, is dependent on the north-south piece of our segment B.

And our segment B is connecting a 36-inch pipeline to a 36-inch pipeline within our system.  The operational limitations that that would place in things like our integrity management programs for in-line inspection, among other things, the economies of scale of using larger parameter pipe meant that there would be no capability to downsize the facilities, either.

So it's not quite as simplistic  But we basically screened it out because it does not have an impact on the facilities in order to meet the objectives of the project.

MR. ELSON:  Thank you.  I have no further questions.

MS. CHAPLIN:  Thank you.  We will rise now for our break for 30 minutes.

--- Recess taken at 11:16 a.m.

--- On resuming at 11:48 a.m.

MS. CHAPLIN:  Please be seated.  So next on my list is CME and CCC.  Ms. Dullet, I believe you’re -- and the estimate we were given, the commitment we were given was thirty minutes.

Cross-Examination by Ms. Dullet:

MS. DULLET:  I won’t be longer than that.

Good morning, I am Kim Dullet, here on behalf of the CME, and I also have some questions to ask on behalf of the CCC this morning.

The majority of my questions relate to DSM.  More specifically, we are interested in EGD's perspective on the evidence that has been filed in these proceedings by GEC and ED.

To that end, I would first turn to Exhibit L.EDG.GEC.2, which is the evidence of Chris Neme and Jim Grevatt.

So my first question.  At page 4 of the evidence, the report states that EGD has never really considered DSM as a potential peak capacity resource.  Is this something that EGD could do, essentially use DSM to avoid or defer capital investments required for peak demand?

MS. OLIVER-GLASFORD:  We would have to do extensive studying in order to understand the relationship between peak and annual for all of the technologies and for DSM overall.

MS. DULLET:  Is that why it hasn't been done to date?

MS. OLIVER-GLASFORD:  Certainly up to this point, our DSM framework and discussions have emphasized broad-based equal access programs, DSM programs for our customers.

MS. DULLET:  Okay.  If we look at page 7 of the same report, at the very bottom of the page -- and I'll read out what it states here, and then turning on to page 8.

"Despite Enbridge's failure to examine construction alternatives for over a decade, it is still not unreasonable to think that, approached with the real urgency at hand, Enbridge could derive greater near-term results, even those currently being attained by industry leaders elsewhere, and that these results could mitigate at least a significant part of the need for the proposed segment B."

In your view, is it possible to mitigate a significant part of the need for segment B through DSM?

[Witness panel confers]

MS. OLIVER-GLASFORD:  Yes, I'll open the discussion and let my colleagues, Mr. Fernandes or Mr. Naczynski, jump in.  But I would say no, it's not reasonable, based on what we've been able to see from this evidence, that we could offset the project.

You know, as starting point, for example with Vermont Gas Systems, they’ve indicated that they’ve got a ramp-up and they’re achieving .91 percent of their sales.  If it fails to outline that those are actually gross numbers, and if you were to gross-up our net results, we would be right in line -- in fact, above that level.

So there are some flaws when you start to get into the details between comparing, and assuming that these are apples-to-apples comparisons.

Anything more, Mr. Fernandes?

MR. FERNANDES:  In terms of -- I think just before the break I stated the suggestion has been that we could defer some of the facilities, specifically around segment B.  The company has noted, though, that the segment links an existing 36-inch pipeline to an existing 36-inch pipeline.

So to have another pipe size in between, while technically feasible, would create other issues for the company with respect to their integrity programs.  And we don't think in the long term it makes sense for the company to invest in infrastructure in that way.

Even if the load growth is lower than what the company is forecasting, there are important reasons for that infrastructure.

MS. OLIVER-GLASFORD:  And just adding to that, GC recognizes themselves, on page 12 of that same exhibit, that -- and I will quote:

"We use the term 'illustrative' to underscore that we have not developed a detailed plan from the bottom up to achieve these savings, nor have we developed a new detailed efficiency potential study."

MS. DULLET:  Thank you.  I would ask that we next turn to GEC 2; that is the evidence of Paul Chernick.  My apologies, GEC 1.

At pages 8 and 9 of this Mr. Chernick's evidence, he summarizes his major conclusions with respect to his evidence.  So if we turn to page 8 to begin, I would like to better understand EGD's positions regarding these conclusions.  So I'll put them to you and then ask what your position is with respect to them.

The first major conclusion at page 8 states:

"Enbridge's planning process for this set of projects has been severely deficient, particularly in the failure to adequately assess the alternative of maximizing DSM and other load reductions to reduce costs."

How would you address that?

MS. OLIVER-GLASFORD:  We've heard Mr. Fernandes say that they did do an analysis and because of the magnitude of it, it was discounted, and also because it didn't reach all of the objectives.

In addition, these DSM plans that we're speaking about have been very inclusive, including all of our stakeholders around developing the plans, around developing the guidelines.

So this is – you know, all of us have been driving the DSM processes over the past number of years.

MS. DULLET:  Thank you.  The next major conclusion is that Enbridge has not provided any reason for the sudden urgency in reducing pressure on the existing pipelines, and certainly no explanations sufficient to justify spending hundreds of millions of dollars.

How would you respond to that conclusion?

MR. FERNANDES:  I would disagree with it completely in its entirety.  Enbridge has provided evidence on the record regarding the reasons why we would look to lower the pressure in our oldest high-stress lines.

We can have panel 1 -- I believe we have Nick Thalassinos, our chief engineer, speaking to go that.

But on the record is the fact that this is ageing infrastructure.  We're looking to do this based on a fundamental change in the risk tolerance for society, and that's embodied in code changes, FS-196-12, and we're taking an opportunity to look at a number of limitations on our system and address them in a holistic fashion that allows us to plan for aging infrastructure.  Lowering the pressure on it has a significant impact on the capacity.  And one of the features of the proposed facility is it does help to replace that capacity which we're losing due to the aging infrastructure.

MS. DULLET:  Thank you.  Again, this is all very high-level and assists us in our understanding of your view of the evidence that has been filed.

The next major conclusion drawn is that:

"The pipeline facilities that Enbridge has identified as segment B (comprising segment B1, the Buttonville station, and segment B2) appear to be avoidable through load reductions.  Reinforcements that Enbridge has identified in the GTA for 2017 to 2020 would also be avoidable, as would additional reinforcements that would otherwise be required after 2020."

MR. NACZYNSKI:  So I definitely disagree with that statement as well.  As we look at the number of statements that are made within this piece of evidence, the east-west portion of segment B1, I believe we've already demonstrated through other evidence that that segment is absolutely required to be able to take the gas away from Albion, in order to achieve those supply benefits that we've indicated and are contemplating in this project.

With respect to the north-south segment, we have submitted evidence with respect to an absence -- and spoken to it even earlier this morning –- an absence of all the other factors.  We have provided what the option would be of a shorter segment of pipeline on that corridor, but recognizing all the benefits, including the pressure, the ability to operate the system at lower pressures, as well as multiple supplies into the downtown core, we do believe that it is important and imperative to have that north-south section of that segment.

With respect to the future reinforcements, those reinforcements have been included from an economics perspective.  Those are high-level, anticipated needs on our system based on localized customer growth.  As we look around various condos and things like that that are being constructed, those are internal reinforcements to make connections within the distribution network.  Those have been noted in here, as all of them, at least under today's guidelines, would require a leave-to-construct to complete.  And when those facilities are needed and it would be justified, we would have another facilities application to include those.

The economics have been simply just included here for a complete picture of how we intend to manage our assets within the GTA over the next 10 years.

MS. DULLET:  Thank you.  An additional conclusion that I'll draw your attention to is that:

"The deferral of segment B would require that the company's forecast of design peak load in the project area be reduced by the equivalent of about 26,000 cubic metres per hour annually."

MR. NACZYNSKI:  So that specific number was backed out of -- at least I believe backed out of the specific amount of load growth that we would be anticipating.

What I would like to emphasize is that the distribution network within the City of Toronto is an integrated network, and we've included growth throughout the entire system.  In particular -- and we don't necessarily need to pull up the reference, but in ED 13, in one of our responses to interrogatories, we show all the growth as it's occurring throughout the entire system.

Simply reducing or eliminating all that growth on the entire system would still not allow us to achieve specific objectives that we would have with the rest of the project.  Yeah.

MS. DULLET:  Thank you.  We've addressed some of the next major conclusions, so I'll move onto the third point that is made, stating that:

"Arrangements to reduce the load of the Portlands Energy Centre, a large combined-cycle power plant served from station B, on winter design days..."

So the question is that:

"The load in the relevant area may be decreased by a combination of the accelerated DSM, expansion of interruptible or curtailable rates for industrial, commercial and apartment loads, and arrangements to reduce the load of the PEC."

How would you respond to that conclusion?

MR. FERNANDES:  First, the Portlands Energy Centre is a firm customer.  They paid a significant contribution in aid of construction in order to receive a 20-year firm contract.  And we have on the record today from the IESO that they are systemically important, so I would say that that is not an option.

In terms of other interruptible rates, we do have our account management team, who do review, at renewal -- which is most of our customers, on an annual basis -- options for taking interruptible rates.  We have on the evidentiary record that we've seen an overall decline in the interruptible load, particularly within the GTA.  So the trend over time for us is to have less interruptible load, not more, even though we do visit that with our customers on a frequent basis.

MS. DULLET:  Thank you.  So the last major conclusion on this page that I'll address is that:

"The Energy Futures Group has estimated an achievable annual DSM potential in the GTA area of 23 103m3 at design peak hour for an enhanced DSM effort that attains results comparable to those achieved in other jurisdictions.  The analysis by Enerlife on behalf of ED suggests that bringing the company's DSM program to the top quartile of performance would reduce design peak load by about 30 103m3 an hour each year.  These load reductions would eliminate most or all of the load growth that Enbridge expects to create a supply problem at station B.  A curtailable arrangement with PEC and/or enhancement of the interruptible load program would be available to smooth the transition and top off any shortfall in DSM deployment."

Is there anything that you would wish to add in relation to that conclusion that we haven't addressed, specifically with respect to the numbers stated in this conclusion?

MS. OLIVER-GLASFORD:  I do not have confidence that those targets are achievable, in fact achievable.  The study by Enerlife on behalf of Environmental Defence, it has a self-selected database on 638 participants from across Canada, as was noted by Ms. Ramsay earlier.  That is not indicative of what is happening in our marketplace here in the GTA.

In addition, their forecasted numbers are more akin to what would be called, in potential terms, a technical.  Anything that could possibly be achievable, they are not practically achievable.

We know that businesses have a limited amount of money to spend on various business needs, and roofs and IT systems often come before energy efficiency, as much as we'd wish otherwise.

In addition, the realities of our marketplace, when we look at our customers and we compare that with what Enerlife is saying is a realistic ramp-up in terms of who we would target –- you know, they say we would target 80 customers in that first year based on the Staff -- the Staff IR 1, and that they responded to.  And when we look at our customers, we have a few that are large enough to achieve kind of the savings that they outline.  And 93 percent of those largest 42 customers have actually done something within the past seven years with Enbridge in our portfolio.

So when we're talking about these sorts of assessments, broad-based academic analysis, they are not necessarily indicative of what's happening in the market.  They don't factor in market realities or our market saturation to date.

Ms. Ramsay, would you like to add anything about the residential market?

MS. RAMSAY:  Yes.  So in the evidence, Energy Futures Group concentrated on the commercial potential and GEC concentrated on the residential potential.

And as GEC mentioned and Ms. Oliver-Glasford had referenced earlier, in their own evidence, they said it was not a DSM plan.  It was not a detailed potential study.

When we looked into it a little bit, there are some concerns that we had.  One of them was that GEC is suggesting that there's lots of room for Enbridge to ramp up, and they compared us to other utilities and what other utilities are achieving.

When we looked at some of the results from those other utilities, for example Vermont Gas, we found their results are reported in gross M-cubes, not net of free ridership, for example.

Our results in the same table are reported net of free ridership, and our free ridership on average is about 35 percent discount.  So our average results over that five-year period, without counting free ridership, we are at a level of one.  We're already comparable to the performance of Vermont Gas, for example.

So some of the room that GEC is thinking there is for us to move into the market, we've already occupied that space.

Some of the other assumptions that GEC makes in terms of its projected market penetration, they talked about the number residential customers who would be recruited to do a whole house retrofit, which is a significant financial investment.  And when you add up the number of customers over the ten- or twelve-year period that they are talking about, it comes out to be about 16 percent of the residential customers in the GTA area.

So we're talking about an area where housing prices are very high, family budgets are stretched, and we're  asking -- we are saying that -- or the proposal is saying that in ten years' time Enbridge can achieve a 16 percent market penetration in that market, and also in that market which has already had significant market penetration of whole house retrofits through the Federal government Energuide for houses and ecoEnergy program.

So these are some red flags that are raised for us when we look at the numbers that have been put forward and we can't attest that they are achievable.

MS. DULLET:  Thank you very much.  That actually addresses a lot of my follow-up questions on the DSM.

I am going to switch gears completely and ask a brief question on the Don Valley pipeline.

Does the fact that the Don Valley pipeline is in a floodplain that does overflow periodically present any special concerns to Enbridge?

MR. FERNANDES:  One of the things we have on the evidentiary record is the fact that we would like to go towards higher wall thickness, and that's in general because of its capability to withstand mechanical damage.  Mechanical damage is the primarily determinant of what we would consider a risk to our system.

In terms of the Don Valley pipeline being located in a floodplain, we have had an event to that effect, as Mr. Thalassinos noted already on the record.  I don't believe it has any special significance, other than the fact that there are events that can impact our pipelines.

I would probably defer you to the first panel, if you have any additional questions beyond that, though.

MS. DULLET:  I'm sorry?

MR. FERNANDES:  I would defer you to the first panel coming up, because between Mr. Thalassinos and Mr. Moore, I'm sure they could handle any more detailed questions if you wanted.

MS. DULLET:  In terms of whether all the risks were canvassed with respect to the floodplain?

MR. FERNANDES:  Correct.

MS. DULLET:  Thank you very much.  Mr. Elson dealt with most of the questions that we had with respect to forecast methodology.  There is just one chart that I wish to look at with you in the Enerlife report, page 8 of the report.  Again that's ED 1.

This is a graph that depicts the GTA demand historic and forecast model.  The question that we have is just a point of clarification, really.

It appears from the graph that between 2006 and 2013, there is a modest change in the peak demand.  But in the forecast period, there is a significant increase in peak demand.  Can you just explain that for us?

MR. NACZYNSKI:  As we look at -- so certainly we've seen some ups and downs in the overall load growth.  Again  we would observe that we did have an appreciable decrease in industrial load demands at that time, and certainly the and economics as we'd just come through some economic turmoil.  A based on what our future outlooks are, we do believe that the customer additions, and therefore growth on the system, will occur.

MS. DULLET:  Just as a follow-up to that, since there may be load growth contributing to peak demands, there is also the replacement of older building stock with more energy efficient stock.

So how would you respond to that, with reference to this graph?

MR. FERNANDES:  I think what we have as our common experience when we look around is that there is a lot of infill housing, but I think -- I mean we could walk across the street and see that there’s smaller, older bungalows being replaced by high rises.

So what we see in our system we believe is -- and our forecast is for load growth, particularly at the peak hour.

MS. DULLET:  Those are all of our questions.  Thank you very much.

MS. CHAPLIN:  Thank you.  Mr. Brett?

MR. POCH:  I think Mr. Brett is happier if I precede him.

MS. CHAPLIN:  Okay, Mr. Poch.  How long do you expect to be with this panel?

MR. POCH:  I think I had an hour and forty-five between the two panels, and at this point I think I probably certainly -- probably more like an hour and I have fifteen minutes for the other panel, and the rest here.

MS. CHAPLIN:  Okay.  We'll rise today at 1:30, so wherever a logical break point is.

MR. POCH:  I'm still a little vague as to which panel, so we’ll just let this panel bump it, as is appropriate.

I have just a few questions that have arisen from this morning’s proceedings.

Cross-Examination by Mr. Poch:

Mr. Fernandes, you said PEC's not an option.  Earlier on the record, you said you didn’t actually approach PEC to see if they would be interested.

Of course, PEC has a contract with OPA.  Did you approach OPA?

MR. FERNANDES:  OPA is not our customer.

MR. POCH:  So you didn’t approach OPA either?

MR. FERNANDES:  That’s correct.

MR. POCH:  You can confirm that my interpretation of the earlier evidence is correct?  You didn’t approach PEC to see if they wanted to talk about that option either?

MR. FERNANDES:  We've not specifically approached Portlands with respect to an interruptible.

MR. POCH:  Now, you also said you're experiencing less interruptible load response, or interest from your customers; correct?

MR. FERNANDES:  That’s correct.

MR. POCH:  Did you evaluate the potential to change the opportunity available to those customers if they take interruptible service, to reflect the added avoided costs that could be achieved if you could avoid some or all of these projects?

MR. FERNANDES:  We evaluated the project based on our current policies.

MR. POCH:  I understand that.  I’m asking the other question, which is:  You say interruptible load is waning, if I've got the waxing and the waning right there.  Did you look at what would happen if you raised the incentive to customers to take interruptible service based on the avoided costs of infrastructure, this infrastructure, that you might be able to thereby avoid?

[Witness panel confers]

MR. FERNANDES:  The short answer is no, but I do need to add that that would require significant policy change in terms of being able to offer additional incentives, because we would need to understand where that would come from.

MR. POCH:  Presumably they would need to be – you would need to demonstrate they were cost driven; correct?

MR. FERNANDES:  Presumably.

MR. POCH:  Now, I apologize for jumping around a bit here.

This morning when Mr. Elson was taking you through the charts that he developed from your evidence about DSM, and if you look at his cross book -- I think it's helpful to have his cross book open at page 4 -- he was contrasting the -- your current budget and the budget that would be needed to, in effect, triple DSM for the GTA area, with the net TRC benefits.

You responded -- I think it was Ms. Oliver-Glasford -- you responded that you have to remember that incentives are on top of the budget; correct?  Do you recall that?

MS. OLIVER-GLASFORD:  Correct.

MR. POCH:  Not on top of the budget, I'm sorry, on top –- that aren't counted for in the TRC.  I correct myself, as I think Ms. Ramsay was about to do.

Correct?  You have to speak up for the record.

MS. OLIVER-GLASFORD:  Correct.

MR. POCH:  All right.  And in fact, the budget does include the incentives that you give to customers to inspire their -- encourage their participation; correct?

MS. OLIVER-GLASFORD:  Correct, based on today's realities, what is necessary.  And we know that the cost of metres cubed increasing.

MR. POCH:  Right.  Give me a rough idea of how much of your DSM budget is incentives to customers.  Would it be about half?

MS. OLIVER-GLASFORD:  Subject to check, I think it's roughly more than half.  So...

MR. POCH:  That's close enough.  Now, in his evidence, Mr. Chernick -- actually, it's in -- more specifically it's in -- I don't know if you need to turn it up if you have had an opportunity earlier to look at these answers, but in Exhibit M –- sorry, I'm referring to the wrong exhibit here.

It's actually reproduced in our cross-examination book, which we filed, and I don't think I have -- I don't think I've distributed that, so we should do that because I may need to look at it.  Apologies.

MR. MILLAR:  Madam Chair, this will be Exhibit K5.2.

EXHIBIT NO. K5.2:  GEC CROSS-EXAMINATION BOOK.

MR. POCH:  This was sent out electronically some days ago and it doesn't have anything in it, I believe, that's not already in the record.  I may be mistaken about that, but in any event it was distributed some time ago.

Witnesses, I would just like to direct your attention to page 11 of the book, K5.2.

In his evidence, Mr. Chernick had developed avoided costs assuming that various components of the GTA project could be avoided.  In other words, what would it be worth to -- spending to avoid those?  And then in this interrogatory, he basically crystallized that with some further numbers.

I would just like to give you -- did you have a chance to see this earlier?  Do you have any concerns about his numerical analysis?  Of course I understand, Mr. Fernandes, you'll have concerns about the ability to defer these projects, but leaving that aside, if you could, do you have any concerns about his calculation of these avoided costs, at least as rough indicators?

MS. RAMSAY:  Our concern is not so much with the math but with the use of TRC benefit avoided costs in assessing the cost-effectiveness of one option versus another.

So if the -- if the Board is to consider a DSM option compared to -- a DSM deferral option compared to pipeline infrastructure, then surely there must the same cost-effectiveness test applied to both.

And what we have in the evidence is the TRC test benefits being applied on the DSM side and not applied on the pipeline side.  So we have concerns about that.

MR. POCH:  I understand your point there, but just in terms of the -- what Mr. Chernick has done here is simply tried to turn the capital cost of the new facilities into

-- what it would do to avoided costs, if you were looking at DSM, that could defer those.  You understand that?  And in that context the numbers, the math is okay?

You have to speak up.  I can't...

MS. RAMSAY:  Yes.  We're not taking issue with the math.

MR. POCH:  All right.  And just looking at -- even if you could only defer the north-south part of segment B -- that's the segment B2, as he has called it here -- he has said that the avoided costs would -- if you could target conservation, the avoided costs would be 149 percent of the standard avoided costs you used for things such as space heating measures, which are, I guess, the applicable ones for addressing peak.

And you accept that calculation?  With the caveats you've given earlier?

MS. RAMSAY:  Well, and the other caveat that we have concern about is the 30 percent that Mr. Chernick has assumed that targeted –- double-targeting DSM, not only targeting it to the GTA area but then sub-targeting it to a smaller section, that then there would be a linear relationship in terms of the costs of the DSM.  And he has developed that linear relationship and said:  Oh, instead of it being $50 million a year, which is understating the costs of the DSM in GEC's -- in response to an answer to an interrogatory, GEC responded that the cost would be between 40 and 70 million dollars a year for 10 years.

So that's -- perhaps Mr. Chernick is arriving at $50 million as an average, but then he said 15 million instead of –-

MR. POCH:  I think we're confusing things here.

Maybe I'm misunderstanding, but I had assumed that the calculation of avoided costs has nothing to do what DSM costs, would cost to deliver.  This is just the value of delivering it?

MS. RAMSAY:  Yes.  And I'm talking about the value --the cost of the --

MR. POCH:  My question is just about this --

MS. RAMSAY:  -- the activity, the DSM activity.

MR. POCH:  I understand.  My question was just about this 149 percent.  You understand that, and I take it that you don't have difficulty with that math?

MS. RAMSAY:  Correct.

MR. POCH:  All right.  So going back to Exhibit K4.5, the cross-examination book of Mr. Elson and ED, at page 4, if we were able, with targeted DSM, to defer just even that part of the project, would you agree that the TRC benefits would increase significantly because the avoided costs would go up 50 percent, 49 percent?  That's how the math would run?

MS. RAMSAY:  Could you repeat the question?

MR. POCH:  If you were able to go out and do -- target DSM, and defer -- or rather eliminate segment B2 in that example -- I just picked one on the sheet there -- that would increase the TRC net benefits of that DSM, because the avoided costs that you are avoiding would be 149 percent of those that you would assume ordinarily?

MR. FERNANDES:  Rather than go through the logic that has been applied in this particular reference, I would -- if we're making the assumption that you can avoid a portion of the project, I would look at the project costs directly.

MR. POCH:  That's what he has done, and he's just trying to reduce it into avoided costs so we -- all right.  I won't get into an argument with you.

MR. FERNANDES:  So I think to rely on Mr. --

MR. POCH:  Let me try this another way; let me try it a simpler way.

Your concern about the incentives for DSM is that they are borne by all customers, whether they are participants or not.  And that's a concern of some ratepayers, and has been a concern of the Board; correct?

MS. RAMSAY:  Correct.

MR. POCH:  And would you agree that when we build pipelines, the capital cost of those pipelines are borne by all customers, whether they are part of the growth or not; that's the way we make rates?

MR. FERNANDES:  That is correct.

MR. POCH:  And so if we look at the added incentives that would be needed here, assuming that can we could accomplish what this scenario sets out to accomplish, given what you've said about the proportion of incentives as a proportion of budget, they pale in comparison to the TRC benefits, and they even pale in comparison to the avoidable costs that would otherwise be borne by all customers.  Isn't that clear?

MS. RAMSAY:  I think the fundamental problem that we're dealing with here is that we are mixing different cost effectiveness tests, and looking at the avoided costs of the facility in different ways, and applying it in different ways.

So if we were to follow the TRC test protocols, if you will, then the potential deferral of a facility would be brought into the TRC test in a somewhat different way than you are describing.

So what it seems that we're discussing is the cost-effectiveness in looking at it through one lens, through the ratepayer lens, and looking at it through societal lens, and then blending those two cost-effectiveness analyses, and that doesn't work.

MR. POCH:  Let me try this another way.  I'm just trying to make the simple point here that you've identified that incentives may be a concern, and I think you’ve already agreed that, on the other hand, pipelines are paid for everybody, too.

In this scenario that's laid out here, is it not clear that the incentive burden that would be shared by all customers would be in fact less than the avoided capital costs of the pipeline?

MS. RAMSAY:  I think you yourself have said that you're looking at just the incentive costs.  And we reported just a few minutes ago the incentive costs were about half of the cost.

Also in the GEC response to one of the interrogatories, the total cost of DSM was estimated at between -- in order to achieve the peak reductions in that model, was estimated at between 40 and 70 million dollars a year for ten years.

That comes up to somewhere upwards of $500 million of DSM cost to produce the peak reduction in that model.

MR. POCH:  Well, I think we have the numbers on the record.  We'll let them speak for themselves.

Panel, I would ask you if there’s any questions that I raise – bring up now that are best for panel 1, please speak up.

In our cross-examination book K5.2, at page 3 -- first of all, this interrogatory and this response are dealing with -- well, in the question -- let me try it this way.

In the question on page 2, Enbridge asked Mr. Chernick about the upstream transportation requirements that Enbridge could utilize to deliver the 943 103m3 to Victoria Square.  So that prompts me to ask:  Are you concerned that if you -- that there would be – you’d not be able to continue taking 934 103m3 at Victoria Square at some point?

MR. FERNANDES:  Yes, and I can point you to a few items that have been on the record.  First and foremost, I think it's incumbent on us to recognize that we are looking into the future, and there is changed circumstance within our environment that the business has to operate in.

So I would like to pull up -- make sure I get the right reference here -- interrogatory TCPL.EGD.6.  And it's good we have the reference on the panel board, and this is relevant not just for the GTA, but for the entire Eastern Ontario Triangle.

When we look at current contracting practices coming in on long-haul through the northern Ontario line into the Eastern Ontario Triangle, they come in at North Bay.

And one of the things that we asked of TransCanada was:  If the Mainline were to be fully contracted, would you proceed with the Energy east project?  And their statement was a very simple yes.

So our supply lines that are important for us to be able to provide safe and reliable delivery to our customers are potentially changing, and they’re potentially changing very significantly.

MR. POCH:  First of all, the Energy East project is just a TCPL -- on their wish least right now.  It's not even applied for, for let alone approved; correct?

MR. FERNANDES:  My understanding of it is they have an open season, and they have obtained enough shipper support to make it economically feasible, and they are proceeding.

MR. POCH:  And part of their proposal is they are going to have to build other gas infrastructure to deal with the fact that they would be taking some gas infrastructure out of service?

MR. FERNANDES:  I think we can point to --

MR. POCH:  I don't need specifics.  I’m just talking very general, high level.

MR. FERNANDES:  It is on the record.  They’ve said in order to meet the firm demand, they would to have remediate their line two.

MR. POCH:  So they would be taking some rate base out, and they’d be adding some rate base in, and I'm imagining you are going to have an interesting discussion about who should pay for what.  But --

MR. FERNANDES:  The point being is that there is a significant reduction in diversity on that path, and there is a significant reduction in capacity on that path.  And given the other backdrop that we've heard in this hearing, that there is the most prolific supply basing in the continent right next door, it is incumbent on the company to actually take a look at our supply lines and understand where we would source in the future.

MR. POCH:  I understand.  And your position is that if you didn't have your GTA project, and TCPL went ahead and sought approval for Energy East, would you not be before the National Energy Board saying – if what you’ve just told me is correct – that service would be interrupted to your customers without that line?

MR. FERNANDES:  I strongly suspect we will be before the National Energy Board with regard to Energy East regardless of what happens with respect to this proceeding.

MR. POCH:  I think, if I've heard you correctly, you are telling me that if you don't build this project, these projects, and TCPL builds Energy East, you are going to have -- you are not going to be able to get sufficient gas to Victoria Square.  Never mind price; you are not going to be able to get it physically?

MR. FERNANES:  We could go through what the scenario would be; it is already on the record.  I can quickly walk through that with you.

MR. POCH:  I just want to make sure I'm understanding you correctly.  That is your evidence, that you would not be able to physically get the gas?

MR. FERNANDES:  We would have concerns about the availability of supply.

MR. POCH:  Would that not be a concern that the NEB would share with you?

MR. FERNANDES:  That's correct, but I think when we had our panel up prior to the proceeding for the technical conference, it was clearly stated -- and we do have another panel coming up, but what was mentioned was that the NEB in their Mainline tolling decision clearly articulated to TransCanada that it does not have an obligation to serve like the LDCs do.

MR. POCH:  We did discuss with you on June 12th -- and I think this is in the transcript there at page 39 to 40.  I don't think you have to turn it up, Mr. Fernandes.  I think you'll recall.

If you could build segment A but not segment B, and assuming someone builds the link from Albion to Maple, that you could then provide gas via that route and then across the top of the city from Maple to Vic Square?

MR. FERNANDES:  That would be one potential alternative that is technically feasible.

MR. POCH:  All right.  And you indicated if it -- I asked you if it had been costed and you said no.  My question is just:  Why haven't you costed that?  Isn't that an alternative that you would want to cost, avoiding all of segment B?

MR. FERNANDES:  You would not be avoiding all of segment B.

In terms of being able to meet the project objectives, if we were to source our short-haul volumes through Albion to Maple, we would require not only the north-south portion of segment B, but we would require additional piping up to Victoria Square.

So that, in conjunction with the upsizing on the Albion-to-Maple path and the fact we would to have pay tolls, would be less preferable for our customers.

MR. POCH:  And you're assuming, then, in that scenario that the load is as you projected it off of station B and so on; correct?

MR. FERNANDES:  I'm assuming you want us to compare apples to apples on a like-for-like basis, yes.

MR. POCH:  I guess I'm asking:  If you looked at the alternative of not building segment B, bringing the gas through segment A to Vic Square, doing the aggressive DSM to offset growth on the Don Valley line -- have you looked at that?  Have you costed that?

MR. FERNANDES:  In order to meet all the objectives of the project, including the lower --

MR. POCH:  No.  I just asked if you've costed that objective.  I've heard your evidence about what objectives it would or wouldn't meet.  Have you costed it?

[Witness panel confers]

MR. FERNANDES:  In that scenario, what we're really talking about is we still need the north-south piece as contemplated in segment B, but we also need --

MR. POCH:  Why do you need that?

MR. FERNANDES:  -- additional piping to Victoria Square.

In order to achieve the pressure reduction.  The existing line would not be able to meet the load requirements on the system, even if there was no growth.

MR. POCH:  Just want to make sure we're not confusing two objectives here.

In the scenario we've posited, where aggressive DSM takes care of increased load on that line -- the line right now is meeting the load right now?

MR. FERNANDES:  That is correct.  What I'm trying to state is in this scenario where there is no incremental load growth, it's been reduced to zero, a consequence of lowering the pressure in our oldest high-stress lines requires replacement capacity that would require incremental infrastructure even in the scenario of no load growth.

MR. POCH:  You are saying you wouldn't need it for load growth; you would need it because you wanted to lower the pressure, the operating pressure?  This is the 37 percent to 30 percent SMYS issue; correct?

MR. FERNANDES:  Correct.  We'd like to deal with our aging infrastructure.

MR. POCH:  We'll come back to that in a minute.

We heard discussion of this Ontario government target of an 80 percent reduction in GHGs.  There was a discussion last week from your earlier panel about the Board's objective, mentioned last week by your earlier panel the Board's objective of rational development of the gas system.

Would you agree that the rational development of the gas system should take into account the government policy of 80 percent reduction in GHGs?

MR. FERNANDES:  I think we want to point out that the Ontario government policies are for the entire province.

One of the ways which these particular set of facilities support those policies is through intensification, like the Places to Grow legislation.

So it's required to have the basic infrastructure in place for that growth, and just because there's an increase in natural gas consumption in one area of the province does not mean that there's an overall increase for the entire province.  And there's also capability for things like fuel switching as urbanization takes place.

So we do believe that this project is supportive of Ontario policy.

MR. POCH:  My question is simpler than that.  Do you agree that to consider the rational development of the gas infrastructure, it's appropriate to consider that 80 percent target?  One of the factors that you should consider?

[Witness panel confers]

MR. FERNANDES:  We agree that that would be one factor of many factors that should be considered.

And one of the major policy pieces for greenhouse gas reductions has been the conversion of coal plants, which is supported by additional natural gas infrastructure.

MR. POCH:  I take it that the only problem driving this project that you've identified -- the only problem driving this project that you've identified in regard to low pressures is the station B low pressure problem; correct?  And that's only in certain conditions?

[Witness panel confers]

MR. POCH:  You've given the other drivers for your project.  I'm not --

MR. NACZYNSKI:  There are a number of limitations and, as you mentioned, drivers for the project.  But as we've mentioned before, the control point on our system that we're trying to manage is the inlet pressures to our station B facility.

MR. POCH:  All right.  And that is driven by your modelling, which is premised on a 41 heating degree day and a couple more years' growth, and PEC operating at 100 percent of its contract demand; correct?

MR. NACZYNSKI:  That's correct.

MR. POCH:  Can you tell me exactly what load areas -- it might be helpful -- in our cross materials, I reproduced the system maps at pages 5, 6 and 7 of our book.  I don't know if you need it, but it's just there as an aid.

Can you just tell me exactly what load areas affect the pressure at station B?

Well, not exactly.  That will be difficult, but let's say more generally.  Let me put it this way.  Does load along the NPS 26 line affect pressure at station B?  I'm talking currently.

MR. NACZYNSKI:  Along the 26-inch line, it would have a marginal impact on the pressures of station B.  At this time, our system gas does travel from the 26-inch line and then feeds into the Don Valley line at the present time.  So some more load coming off of it would change things marginally.

MR. POCH:  How about load along the NPS 20 Lakeshore line?  Similar?

MR. NACZYNSKI:  For the purposes of this discussion, the system relatively balances itself between West Mall and station B, somewhere kind of halfway, for all intents and purposes here, somewhere near the Humber River, but let's say in the middle, straight down from Downsview station.

So about half of that area is fed from station B and the other half from the West Mall station.

MR. POCH:  So load reductions on that line would also free up more gas to flow further east to the core itself?

MR. NACZYNSKI:  So the -- in our technical conference, we referred to the, quote-unquote peach area.  And that would be the area directly in and around the influence of the Don Valley line, of the 30-inch line.

So load reductions in the downtown core and in around that Bayview station and station B would serve to reduce load at the station.

MR. POCH:  I understood that already.  What I'm asking is since this NPS 20 Lakeshore line runs all the way into that region, I'm wondering if load reductions upstream on that line would enable more gas to flow into, as you say, the peach area.

MR. NACZYNSKI:  I mean, we'll note that as the upstream load reductions may happen, however recognizing that that line is of a certain defined diameter, in this case 20-inch, if I now have to push those volumes further into the city, it's got to travel longer distances, there’s more head losses, and will have reduced pressures.  So there is a balance in there.

MR. POCH:  There is a balance, so I take it that diminish the effect.  But is my presumption correct that it would --

MR. NACZYNSKI:  It would be a diminished effect, so I would not presume that a one load reduction at the West Mall, for example, would equal and opposite to a one cube or whatever unit reduction in the downtown core.

MR. POCH:  Understood, and implied in your answer is that the answer to my first question was yes, but it would be a somewhat diminished effect.

MR. NACZYNSKI:  That’s correct, it would have diminished effect.

MR. POCH:  Is it similarly the case with load along the lines east from Martingrove and south of Downsview?

MR. NACZYNSKI:  Are you referring to the – sorry.

MR. POCH:  You've got a number of lines snaking towards the core, and I'm just asking the same question with respect to each line.

I just want to know if the answer is going to be the same, that yes, freeing up capacity on those lines by upstream conservation would help, but obviously it's not one for one.

MR. NACZYNSKI:  So Enbridge owns and operates and maintains a grid of infrastructure to the downtown core that runs at lower pressures than what we’ve indicated on here.  And to the premise of your question, yes, but to a diminished effect upstream; load reductions would have some impact.

However, recognizing that these are relatively smaller diameter lines, and again you have to push the gas through greater distances; so a diminished effect.

MR. POCH:  I take it that the constraint on the Don Valley line is driven by hourly rather than daily load?

MR. NACZYNSKI:  That is correct.  Our system is designed at a peak hour on a design day.

MR. POCH:  Your contract with your customers -- let’s less look at PEC as the example, a firm customer.  If you have an emergency, I take it you can interrupt them.  But your contract basically says you don't want to plan on interrupting them.  Is that fair?

MR. NACZYNSKI:  We have a firm contract with Portlands that does have emergency provisions within that contract, as we do with all of our contracts in an emergency.

MR. POCH:  In the situation where you had a washout and a pipeline break or something, as you did on -- I think it was last year or this year -- that would be the kind of emergency you are talking about?

MR. NACZYNSKI:  There was a washout.  It was certainly not a breach of the pipeline in any way.  I just want to make sure we're clear.

MR. POCH:  In that situation, if there was a washout unforeseen and you had to do some repair work, if you had to interrupt them, obviously you try to do it in a way didn't disrupt their business, or the security of electricity supply to the city; that said, you could do so under your contract?

MR. NACZYNSKI:  There are certainly a number of provisions.  Certainly if we had a loss of the pipeline in some -- or its capability in some fashion, there may be a force majeure declaration, or something to that effect.  But certainly we’d be looking at what we can do on the system.

MR. POCH:  You're aware that Toronto is a summer peaking electric city?

MR. FERNANDES:  Yes, we are.

MR. POCH:  And your concern is about the winter peak?

MR. NACZYNSKI:  That's correct.

MR. POCH:  Can you identify – are there other areas of the system that are operating above 30 percent SMYS, other than the ones you've identified specifically for this -- trying to address in this project?

[Witness panel confers]

MR. NACZYNSKI:  Enbridge has a number of what we characterize as higher stress lines and I believe, subject to check, about 280 kilometres of pipeline above 30 percent SMYS.

MR. POCH:  Do you have projects that you are applying this Board to change that for those other pipelines?

MR. NACZYNSKI:  What you’re referring to there is some of the design philosophy and guidelines that Mr. Thalassinos can speak to.  But certainly what I can say is that certainly directionally, Enbridge is seeking to be able to operate those lines at lower pressures.

MR. POCH:  But you’re not proposing to build to get around the problem, if you can't otherwise deal with it?

MR. NACZYNSKI:  When the system or ability to manage the system reaches a point where -- for example, in this case, we have challenges meeting peak, peak hourly pressure constraints on the system, one of the requirements that my team and system analysis would look at is what infrastructure we require to not only to meet our load growth or other challenges on the system, but also incorporate what would be required to be able to reduce pressures on those lines to below 30 percent.

MR. POCH:  Could you turn up in the cross book page --I'm sorry, I've got wrong cite here; one moment please.

Actually, this is the one that didn't make it in the cross book, my apologies.  It's Exhibit M, GEC.EGD.1.  Can you pull that up out of your binders, or maybe we can get it on the screen?

I'm looking at page 3 of that response.  Do you have that?

MR. FERNANDES:  Can you provide that reference again, please?

MR. POCH:  It’s Exhibit M, GEC.EGD.1.  Page 3.

MR. NACZYNSKI:  We'll need that pulled up for us.  Yes, we have that reference in front of us now.

MR. POCH:  What Mr. Chernick -- you've earlier looked at this response, I take it?

MR. NACZYNSKI:  I had a brief review of it; that's correct.

MR. POCH:  Is there anything wrong with the math, first of all?

MR. NACZYNSKI:  Nothing wrong with the math, but certainly, as I'm sure we'll get into here, some questioning of the overall conclusions, but nonetheless.

MR. POCH:  Sure, okay.  What Mr. Chernick has done -- for brevity, I'll just explain.  He has taken your numbers, which indicate that if you reduce the pressure to achieve 30 percent on the Don Valley line, you would have to -- it would reduce the capacity about 19 percent, if the load reduction is taken at station B.  Is that about right?

MR. NACZYNSKI:  I would like to note that -- again subject to check on that.  But my brief calculation performed right now would be it closer to 25 percent reduction.

MR. POCH:  All right.  He drew the graphic on page 3 with a hundred percent being the level of load that would be the station B load, less that 19 percent.  So the 81 percent level is depicted as 100 percent here.  And he's just taken your data that was available that you provided us, which was the last few years of hourly load.  He's trying to derive that and express it relative to that, and suggests there was one hour, basically, in the last few years when --

MR. NACZYNSKI:  Are you suggesting we wouldn't serve customers during that one hour, then?

MR. POCH:  No, I'm not getting to that.  Let's just -- one step at a time, if you would.

Leaving aside the implications of this, I just want to make sure that we're not disagreeing about this -- what this depiction is and what it means.

You understand that?  And...

MR. NACZYNSKI:  So I understand what the depiction is getting at.  I would want to point out that my system is designed at a peak hour on a peak day.

MR. POCH:  Right.  So the point being that it's quite infrequent, looking at those graphics, it's very infrequent that this -- you have a problem where your reducing the pressure conflicts with meeting load; correct?

MR. NACZYNSKI:  What's certainly noted here is that the situation certainly can and does exist.

MR. POCH:  Yes.  And do you lower your load -- do you lower your operating pressure on the Don Valley line routinely for the other 99 percent of the hours of the year when you're not facing this kind of an issue?

MR. NACZYNSKI:  So the pressures on the Don Valley line, as well as the pressures on our Parkway line, are controlled by our gas control folks.  And they will manage those pressures up and down throughout the course of a day, throughout the course of a week, to manage upstream supply, to manage all the pressures on the system.

So the pressures will fluctuate on those lines intra-day, even.

MR. POCH:  Right.  We had that answer earlier, and what I took from it was they don't make a concerted effort to get it below 30 percent on the 90-odd -- 95, 97, perhaps 99 percent of the time -- that they could.  That's not -- they don't attempt to do that through their operating procedures right now?

MR. NACZYNSKI:  In particular, the Don Valley line is run high enough to make sure we're able to maintain adequate inlet pressures to station B.  It --

MR. POCH:  Could you answer my question?  Is it an objective that you run that line at 30 percent whenever possible?

MR. NACZYNSKI:  As an objective, as I'm not the operator of the system.  The question is likely best directed to Chris Moore and Nick Thalassinos, who have that.

However, from my experience, I can say that the line most -- often does run below 30 percent, and has all this summer, for example.

MR. POCH:  All right.  So there's only a very brief period of time during the year, then, it that actually does run over 30 percent, is what you are telling me?

MR. NACZYNSKI:  The line -- again, subject to gas control managing the system, the line would run at or above 30 percent throughout most of the winter.

MR. POCH:  Throughout most of the winter?  All right.  Well, we'll have to talk to him about that.

Obviously if you could lower -- let me leave that for a moment.

Madam Chair, it's one o'clock.  Did you want to break at 1:00 or 1:30?

MS. CHAPLIN:  1:30.

MR. POCH:  1:30?  All right.

And the pipeline's been running at 37 percent SMYS since it was built; correct?

MR. NACZYNSKI:  The MOP of the pipeline is 450 pounds.  Normal operating pressure or max normal operating pressure is 450, and the MOP, maximum operating pressure, is 480.

MR. POCH:  And that puts it at 37 percent, basically?

MR. NACZYNSKI:  Correct.

MR. POCH:  All right.  When you say 450 or 480, that is up at Victoria Square; correct?

MR. NACZYNSKI:  That's correct.

MR. POCH:  It's progressively lower geographically as you go south?

MR. NACZYNSKI:  Certainly as flows and head losses down the line will serve to drag the pressures down.  Correct, throughout this line.

MR. POCH:  So not only is the line below 30 percent some portion of the year, and above it, as you've indicated, in the winter, but physically a bunch of the line would be below that 30 percent simply because of the physics, that as you go south the pressures drop; correct?

MR. NACZYNSKI:  That's correct.  However, your control point, of course, is Victoria Square.

MR. POCH:  I understand.

Can I get a sense, if you could -- if we offset load growth in the GTA with DSM, how many days of the year would Enbridge need to have pressures -- first of all, I take it you would have to take it down the 375 PSI at Victoria Square to get it down to 30, 30 percent; correct?

MR. NACZYNSKI:  That's correct.

MR. POCH:  All right.  And you would be concerned at 375 PSI you're not going to have the 225 PSI you indicate you need at station B to serve PEC and your other loads?

MR. NACZYNSKI:  That's correct.

MR. POCH:  All right.  And the question is:  If we could offset all growth with DSM -- so we're not worried about the growth of load on that line -- how many days of the year do you need the pressure above 375 PSI at Victoria Square to maintain that pressure?

MR. NACZYNSKI:  That would certainly depend upon the weather.  And I can't really predict how many days per year I'll have weather of a certain situation where we'd have to do that.

Suffice to say that I'll need to at some point over the course of a winter, but over that three-month period from the beginning of December to the end of March when we're trying to manage our system through that winter period.

MR. POCH:  We can see from the graphic we just looked at, it's very -- it's kind of a needle peak; correct?  It's going to be a few days in January that's really the concern here?

MR. NACZYNSKI:  I think statistically it's January the 14th, but again, statistically based.

MR. POCH:  I would like to turn to some of the DSM matters.

Does the company believe that an alternative must be able to address all system reliability needs by itself to be viable?  Or is it reasonable to suggest that it would be appropriate to assess combinations of alternatives?

MR. FERNANDES:  Absolutely it's appropriate to look at combinations, which we did.

MR. POCH:  For the DSM folks on the panel, if the company had done no DSM over the past decade, could you tell us how much higher the load would be today?

MS. RAMSAY:  I believe we answered this question in an IR, and we don't have any means of assessing that.

MR. POCH:  Would you agree that it would have accelerated the date on which this pipeline would be needed if you hadn't done DSM?

MS. RAMSAY:  We can say that there are indirect effects on load of the broad-based DSM programs that we pursue now that are evaluated on the basis of annual throughput.  But we don't know what the relationship is between those reductions in annual throughput and any impact on peak load.  We have no...

MR. POCH:  You don't have a model for it?

MS. RAMSAY:  No.

MR. POCH:  Right.  Now, you made a point in your -- there's about a page and a half of evidence in your prefiled about DSM as an alternative, and a good part of that is dedicated to saying that there's some measures that -- DSM measures that are addressed towards annual load but can actually increase peak, and you gave a couple of examples.

Then we queried you in interrogatories and it became clear that, of the 53 measures, those were the only one that do that, that the vast majority of measures address peak and non-peak savings; correct?

MS. RAMSAY:  Yes.  That's a correct account of the responses that we made, yes.

MR. POCH:  Indeed, when you look at things like residential building shell and heating improvements, that's what's driving your peak load, is those temperature-sensitive loads; correct?

MS. RAMSAY:  That's correct, but it's also driven by the time of day.

MR. POCH:  Sure.  I understand that.

MS. RAMSAY:  And customer behaviour at that time of day.

MR. POCH:  Right.  So the couple of measures you gave an example of are ones where it tends to shift load, and that can be counterproductive.  But in the main, conservation which reduces your heat-sensitive load is going to reduce peak load?

MS. RAMSAY:  This is where we don't really know, because the impact on the system of people turning up their furnace at seven o'clock in the morning when it's peak, we haven't assessed that.  We don't think it's a linear relationship between annual --

MR. POCH:  If you insulate -- sorry to interrupt.

If the insulate the house, it's going reduce the load at all hours, isn't it?

MS. RAMSAY:  Yes, but at that seven o'clock in the morning time when your thermostat goes back up, your furnace is going to be cycling more frequently than it would be during day in a steady state.

So it's not a linear relationship.

MR. POCH:  I understand.  Can you confirm that your avoided costs for DSM, that you evaluate DSM programs with, have nothing in them for avoiding capital costs to the system?  You've got commodity, and you've got transportation and storage?

MS. RAMSAY:  Yes, we can confirm that that is the case.  And when we looked into it, it's our recollection that we removed the distribution component of the avoided costs about the same time that the company was moving towards a performance incentive that was based on TRC results.  And it was deemed at that time that it wouldn't be fair for the company to be receiving a return on investment for the capital infrastructure and receiving a performance incentive based on deferring that same capital infrastructure.  So it was removed.

Now that it's come to our attention, we can certainly bring this to the next DSM guideline discussion and put forward a revised methodology for calculating avoided costs, bringing back in that potential distribution deferral component to the avoided costs.

MR. POCH:  You're aware that the Board's DSM Guidelines in section 6.2 specifically call for avoided costs based on, quote

"... long-term estimates, and include avoided supply-side costs such as capital, operating and commodity costs."

MS. RAMSAY:  Yes.  And the company's method for developing avoided costs was presented in our recent DSM plan proceedings, was reviewed by all of the stakeholders, and was approved by the Board.

MR. POCH:  The DSM collaborative has been set up to  minimize hearings and enhance the quality of the DSM planning process, I'm sure you'll agree.

Have you ever raised this issue of the problem of including capital costs in your avoided costs in the DSM collaborative?

MS. RAMSAY:  In recent recollection of collaborative meetings, I don't recall that that matter has come up, but it certainly was discussed to our recollection at the time when the decision was made to remove the distribution costs from the avoided costs calculation.

MR. POCH:  Mr. Neme in his evidence points out that your residential component, the savings that you're achieving in your DSM program, very little comes from the residential sector.  You would agree with that, I take it?  That's just reporting your results?

MS. RAMSAY:  That is currently the case, but if you look at -- over the years, the history of the company in terms of activity in the residential sector has been very strong, and what we're seeing now is that the company is in a transition phase as we have captured all the low-hanging fruit in the residential sector.  We pioneered programs, and now we're reassessing and developing new approaches to that market.

MR. POCH:  You would agree with me that the residential sector is a particularly peak-intensive sector, since it's dominated by heat-sensitive load?

[Witness panel confers]

MS. OLIVER-GLASFORD:  I'm going pass it over to my colleagues, and I may add if there's anything more to be added.

MR. FERNANDES:  The GTA system is predominantly adding residential and commercial type load that is heat-sensitive.  So we presented that in our evidence, that it's becoming peakier, so to speak, over time as a result of having a lower proportion of base load industrial type activity.

MR. POCH:  Right.  So you would thing that conservation in the residential sector would be increasingly important as a consequence; correct?

MR. FERNANDES:  If we were to run our DSM programs specifically to the GTA only, that would be true.

MR. POCH:  Okay.  And I imagine that older homes are more of a problem and that they tend to be more concentrated downtown in Toronto; is that correct?

I'm not saying that's the biggest opportunity; I'm just saying that they're more of a problem in terms of how much peak they impose.

MS. OLIVER-GLASFORD:  Yes, they would be, but perhaps the opportunity is less in terms of the GTA.

MR. POCH:  An you've got a lot of new construction in the GTA.  You would agree with me, new construction is a particularly good opportunity, to the extent you can get in there and affect the form of construction?  It's the cheapest time to intervene and it has the longest impact?

MS. OLIVER-GLASFORD:  Certainly that's one of the three objectives of DSM, is pursuit of lost opportunities.  However, I would say that that is captured in the forecast already.

MR. POCH:  I just read -- I won't talk about load growth much, because Mr. Elson did such a good job on that.  I just happened to read today in the paper that there's –- they're now seeing a dramatic slowdown in condominium sales in Toronto, and I'm wondering if your forecasts have yet to capture that fall-off in condominium growth.

MR. FERNANDES:  The customer count forecast is based on the best available information at the time of our filing.  It's certainly possible that things will turn out to be different from how we forecast, but it's consistent with how the forecast the load growth for our entire franchise.

We believe it's correct for this particular geographical area.

MR. POCH:  Earlier you were talking about redundancy to the core.  You are not proposing a loop from the Jonesville station south to station B?

MR. FERNANDES:  That's not part of this application, no.

MR. POCH:  Right.  And indeed, that's where you it had floodplain problem recently; correct?  With the erosion?

MR. FERNANDES:  The objective for us to lower the pressure in the Don Valley line impacts the entire pipeline, and it allows us to accomplish repairs, things such as welding and other various maintenance activities, regardless of where it is located.

But you are correct.  In terms of diversity and having a second feed, we're proposing to have a second feed down as far south as Eglinton at this point in time.

MR. POCH:  We've already addressed the fact that you are not up at above 30 percent much of the year, so you could do maintenance at those times.  And then if you really had an emergency, we've already addressed the fact that, if necessary, you could interpret PEC and that would get around that -- lower your pressures down to 30 percent, wouldn't it?

MR. NACZYNSKI:  So at a peak day -- again, recognizing that would happen infrequently -- even with the line at Victoria Square at 375 pounds, even with PEC off, we'd still be looking at a substantial customer outage at that point.  So if there was an issue or a reliability challenge or the loss of the pipeline, even, for whatever reason, we would certainly be in a force majeure situation at that point.

MR. POCH:  Of course.  If you lose a pipeline from Jonesville south, you've lost the pipeline in any of these scenarios.  You're not talking about looping it.

What I'm asking you is -- and you've indicated you want to be able to get it down to 30 percent so you can do maintenance, I think you've already agreed for some significant portion of the area you are already below 30 percent on the whole Don Valley pipeline; correct?

MR. NACZYNSKI:  So again, from a -- I know that Mr. Thalassinos can speak to this much more --

MR. POCH:  I –-

MR. NACZYNSKI:  Let me finish, though.

MR. POCH:  Yeah.

MR. NACZYNSKI:  -- much more eloquently.  However, if there is an issue with the pipeline, given the size and the location of that pipeline -- you just mentioned it's in a floodplain -- a certain amount of planning work would be required, access permits, all those things would be required.

So yes, you said that maybe it's only one hour, but if that one hour happens in a three-week cycle where it took to get the permits, access and everything else that would have to be done on that line, we're really talking about an extended period of time where those pressures would be reduce.

And I don't know if the luck of the weather is sufficient for us to be planning our system around.

MR. POCH:  If you had a -- well, I'm just going to repeat myself, so let's leave it at that there.

MR. FERNANDES:  I think the other important point, though, is that in order for us to serve firm load, even if Portlands was interrupted based on the variability of weather, we require today with today's facilities set for the Don Valley line to be above 30 percent SMYS.

For many months of the year, it's not a single hour, because we don't know when that weather event is going to happen.  So planned maintenance can only occur during the approximately seven months where we're certain, based on weather, that those cold events will not occur.

If an event happened just prior to that period, what Mr. Naczynski was stating was that if we did not have time to have the pipeline remediated, we would be facing a significant outage of customers.

MR. POCH:  I just looked at those graphics I put before you before.  It didn't seem like you're operating at those high pressures for three months a year.  You're really only running into those peaks in January of the year.

MR. FERNANDES:  I think Mr. Chernick's graphic was based on some assumptions that I don't think we would necessarily endorse.  Granted it is directionally correct, it's certainly not accurate in its depiction.

MR. POCH:  All right.  I think we'll --

MR. FERNANDES:  We typically operate the line well above 30 percent SMYS for several months of the year and would be required to do so.

MR. POCH:  Okay.  I'm going to leave it there, Madam Chair.  I think further on that would be better off with the other panel, if it's even necessary.  Thank you.

MS. CHAPLIN:  All right.  So next on our list was Mr. Brett.  Is there any area you could usefully cover in 10 minutes?  I have you down for 30 minutes, but...

MR. BRETT:  I know.  Thanks.  I probably could.  There may be others here who have very small amounts they could do in their entirety.

MS. CHAPLIN:  That would be a good suggestion.  Is there anyone who -- Ms. Grice?

MS. GRICE:  Yes, I think I could.  I'm down to about three questions now.

MS. CHAPLIN:  Thank you.  Please proceed.

Cross-Examination by Ms. Grice:

MS. GRICE:  Good afternoon.  One -- I just want to start off with -- I think it was Environmental Defence's compendium.  It was page 4, where it shows all of the -- just bear with me here -- all of the peak load reductions from current DSM programs, and then what would be needed to defer or avoid the GTA project.  And if we just look at that now, the peak demand forecast currently is 12,000 cubic metres per hour and the reduction needed 25,000.

I just wanted to get a sense.  If the Board were to approve the DSM additional incremental load reduction, from Enbridge's perspective what would be needed?  What process would you have to go through to get that in place in order to defer the GTA project?

If you could just talk about your bottom-up approach, what you would need to do?

[Witness panel confers]

MS. OLIVER-GLASFORD:  We did gave some thought, and, you know, it's our belief that there would be considerable amount of analysis that would have to be done to understand if it makes sense at this point and this time to start off with, you know, what those peak loads -- translations look like, how our DSM technologies would impact peak load, to try and get some more clarity on that.

I think ideally we would be enabled with all of the smart meters that the electric side had to create any certainty, but certainly there's a lot of analysis that needs to be done.  We need to have a proper, geographically-based, comprehensive potential study to understand what the potential is in reality in the GTA area.

And so those would be the two major pieces, I think, of the analysis.

And also the capability to ramp up a realistic look at the timeline to get through the regulatory processes, as well as the timelines to get up on the actual implementation of programs.  Because as Mr. Elson pointed out, it does create jobs, but it takes a while to hire those people and train those people, and that all has to be factored in when you are looking at a magnitude increase of two or three times what we're currently doing.

MS. GRICE:  Would you see that -- your current DSM program that's in place for 2014, how would this impact that?  Would it be enhancement of the existing programs, or would you need to bring new programs online?  And then would that require a whole additional layer of analysis with respect to screening and targets and incentives?  Would that also be a feature?

MS. OLIVER-GLASFORD:  I think there would be a complete, you know, update of our portfolio.  We note that you would want to go into residential, houses, and do as much initiatives as you can.  That would cause an entire review of how we're approaching those customers, and indeed the costs.

We know that the costs to do those sorts of programs are huge.  In fact, our current community energy retrofit program is trending at a negative TRC value; it is not cost-effective.

So we'd really have to put a lot of thought into how we ramp those programs up and get those programs to be cost-effective in such a tight time frame.  And then -- Ms. Ramsay, do you have anything else to add?

MS. RAMSAY:  Yeah, I would just like to add that, as we mentioned earlier, that targeted DSM for the purposes of deferral of infrastructure is quite a different undertaking than the type of broad-based DSM with a view to achieving annual reductions, and there is considerably more risk involved.

So we would need to understand what that level of risk is; we would need to understand what contingency measures would need to be put in place.

We don't require contingency measures for the broad-based, open-ended, minimal-risk DSM activities that we're on now, but where that DSM activity would be targeted for, to meet specific peak load requirements we would need to factor in what additional targets we would need in order to allow for contingency.

MR. FERNANDES:  Can I also add?  We should reiterate that load growth is only one component, and just to put it in perspective, if you look at our evidence in Exhibit A, tab 3, schedule 4, I believe if you were to normalize that over the 10-year period, we're talking about a half percent peak load growth, approximately.

We've stated on the evidentiary record that if we were only addressing load growth, it would be a very small subset of the facilities that we would be looking at.  So the vast majority of the project is associated with what we described previously, which is the safe and reliable delivery of gas to both our current and future customers.  We're looking for those upstream entry point and downstream supply chain reliability enhancements to our current system that has significant operational limitations.

MS. GRICE:  With the proposed in-service dates for segments A and B, and given what you said you would need to do in terms of your analysis, is a DSM program that reaches this level something that could be implemented in time to meet those in-service dates?

MS. OLIVER-GLASFORD:  No.  I would not be able to confirm that with any confidence.

MS. GRICE:  Just one last thing, just conscious of the time.

There was an interrogatory response that talked about under-spending in -- I believe it was in response to Environmental Defence No. 20 that you noted that it's uncertain whether and when the conservation targets can be achieved, noting that the company has not fully utilized its budget opportunity historically.

Could you just expand on that a bit, whether it's the base budget or whether it's referring to the DSM variance account opportunity?

MS. OLIVER-GLASFORD:  Yes.  We have -- it's my understanding, and perhaps Ms. Ramsay can confirm if my understanding is different from her memory of actual events, that we've not spent our full DSM base allowable budget.  We've come close; we've had one time where we accessed our allowable overspend, if you will, our variance account, but it should be noted that we’re incented to do as much conservation as we can.

So those additional funds, if we had customers waiting at the door or we had programs that we are just turning people away, we would have accessed those dollars.

MS. GRICE:  And just on that note, there -- as part of the screening process, there are candidate programs that come through, and then you go through a prioritization process with stakeholders.  Are there any candidate programs now sitting in the wings, so to speak, waiting to be deployed?

MS. OLIVER-GLASFORD:  Yes.  That's certainly an accurate depiction of the process we go through.

And we're constantly reaching out to various groups.  We're a member of a number different energy efficiency organizations to understand what programs and initiatives are happening in the marketplace.

And our feet on the street, if you will, are always in touch with our customers to find out what their needs are, but we do have a number of programs that we're analyzing; higher-efficiency furnace programs, to name one.  We've been looking at how do we get windows into our portfolio.

So we have other initiatives that we are contemplating.

MS. GRICE:  Thank you.  Those are my questions.

MS. CHAPLIN:  Thank you.  All right.  Well, we will rise for today.  We resume at nine o'clock on Thursday, at which point I assume we will complete panel 2; is that...?

MR. STOLL:  That's exactly where I was going to go, whether we were going to try and finish panel 1 or conclude panel 2.  I'm not sure --

MR. MILLAR:  I thought panel 2 was not available.

MR. STOLL:  On Thursday, that's correct.

MR. MILLAR:  So we would to have go back to panel 1.

MR. STOLL:  Panel 1.

MS. CHAPLIN:  And so this panel will then resume on the 27th?

MR. STOLL:  The Friday.  That's correct.

MS. CHAPLIN:  All right.  Are there any other matters before we rise?  Okay.  Thanks very much.

--- Whereupon the hearing adjourned at 1:32 p.m.