# ONTARIO

## ENERGY

BOARD

| FILE NO.: | ### EB-2012-0433 ### EB-2012-0451 ### EB-2013-0074 |  |
| --- | --- | --- |
| VOLUME: DATE: BEFORE: | 6 September 26, 2013 Cynthia Chaplin Marika Hare Peter Noonan | Presiding Member and Vice-Chair Member Member |

EB-2012-0433

EB-2012-0451

EB-2013-0074

#### THE ONTARIO ENERGY BOARD

IN THE MATTER OF an application by Enbridge Gas Distribution Inc. for: an order or orders granting leave to construct a natural gas pipeline and ancillary facilities in the Town of Milton, City of Markham, Town of Richmond Hill, City of Brampton, City of Toronto, City of Vaughan and the Region of Halton, the Region of Peel and the Region of York; and an order or orders approving the methodology to establish a rate for transportation services for TransCanada Pipelines Limited;

AND IN THE MATTER OF an application by Union Gas Limited for: an order or orders for pre-approval of recovery of the cost consequences of all facilities associated with the development of the proposed Parkway West site; an order or orders granting leave to construct natural gas pipelines and ancillary facilities in the Town of Milton; an order or orders for pre-approval of recovery of the cost consequences of all facilities associated with the development of the proposed Brantford-Kirkwall/Parkway D Compressor Station project; an order or orders for preapproval of the cost consequences of two long term short haul transportation contracts; and an order or orders granting leave to construct natural gas pipelines and ancillary facilities in the City of Cambridge and City of Hamilton.

Hearing held at 2300 Yonge Street,

25th Floor, Toronto, Ontario,

on Thursday, September 26th, 2013,

commencing at 9:02 a.m.

--------------------

VOLUME 6

--------------------

BEFORE:

CYNTHIA CHAPLIN 	Presiding Member and Vice-Chair

MARIKA HARE	Member

PETER NOONAN	Member

MICHAEL MILLAR	Board Counsel

JOSH WASYLYK	Board Staff

ZORA CRNOJACKI

FRED CASS	Enbridge Gas Distribution Ltd.

CRAWFORD SMITH	Union Gas

MYRIAM SEERS

ELISABETH DeMARCO	Association of Power Producers of

JOHN WOLNIK	Ontario (APPrO)

TOM BRETT	Building Owners and Managers Association (BOMA)

VINCE DeROSE	Canadian Manufacturers & Exporters

KIM DULLET	(CME)

JULIE GIRVAN	Consumers Council of Canada (CCC)

STEVEN SHRYBMAN	Council of Canadians

ROGER HIGGIN	Energy Probe Research Foundation

KENT ELSON	Environmental Defence

DWAYNE QUINN	Federation of Rental-housing Providers of Ontario (FRPO)

MARK CRANE	Industrial Gas Users' Association (IGUA)

DAVID POCH	Green Energy Coalition (GEC)

JAMES GRUENBAUER	City of Kitchener

RANDY AIKEN	London Property Management Association (LPMA)

DAVID GERMAIN	Markham Gateway

MARK RUBENSTEIN	School Energy Coalition (SEC)

GORDON CAMERON	TransCanada Pipelines Ltd.

MICHAEL JANIGAN	Vulnerable Energy Consumers'

Coalition (VECC)

ALSO PRESENT:

MARION FRASER	BOMA

SHELLEY GRICE	Energy Probe

KAREN HOCKIN	Union Gas

MARK KITCHEN

--- On commencing at 9:02 a.m.	1

ENBRIDGE GAS DISTRIBUTION - PANEL 1, resumed	1

M. Giridhar, C. Fernandes, J. Denomy,

N. Thalassinos, C. Moore, Previously Sworn

Cross-Examination by Mr. Elson	1

Cross-Examination by Mr. Brett	25

Cross-Examination by MR. Rubenstein	58

--- Recess taken at 11:06 a.m.	74

--- On resuming at 11:34 a.m.	74

Cross-Examination by Mr. Poch	76

Cross-Examination by Mr. Wolnik	103

Cross-Examination by Dr. Higgin	118

Cross-Examination by Mr. Quinn	129

Cross-Examination by Mr. Crane	138

Cross-Examination by Mr. Millar	145

Questions from the Board	147

Re-Examination by Mr. Cass	155

--- Whereupon the hearing adjourned at 2:10 p.m.	163

EXHIBIT NO. K6.1:  APPRO COMPENDIUM	103

EXHIBIT K6.2:  ENERGY PROBE SUMMARY TABLE OF SEGMENT A.	120

UNDERTAKING NO. J6.1:  EGD to UPDATE EXHIBIT I.EGD.ED GTA PROJECT ASSUMED EARNINGS IMPACTS TABLE.	13

UNDERTAKING NO. J6.2: EGD to PROVIDE EGD ANALYSIS.	25

UNDERTAKING NO. J6.3:  EGD TO PROVIDE BOMA with EVIDENCE REFERENCES REGARDING PIPE SIZE AND CAPACITY.	43

UNDERTAKING NO. J6.4:  EGD TO PROVIDE OPEN SEASON BID VOLUMES FOR BOTH 2015 AND 2016 SEPERATELY.	45

undertaking No. J6.5:  EGD TO PROVIDE MODEL SIMULATION RELATED TO THE PRESSURES AT STATION B IN RESPONSE TO GEC SCENARIOS.	83

UNDERTAKING NO. J6.6:  EGD TO CONFIRM GEC'S CALCULATION OF TJ TO 103 M3/HR	87

UNDERTAKING NO. J6.7:  EGD TO PROVIDE MODEL SIMULATION TO SHOW IF IT CAN REDUCE SMYS TO 30 percent OR BELOW TODAY IF IT INTERRUPTED PEC AND/OR ITS 4 INDUSTRIAL CUSTOMERS; to INCLUDE SCENARIOS SEGMENT A, EAST-WEST, PORTION OF SEGMENT B.	94

UNDERTAKING NO. J6.8:  EGD TO UPDATE MAP OF 2015 OPERATING SYSTEM WITH NEW FACILITIES, with reference to EXhibit I.AI.EGD.BOMA.25, ATTACHMENT 2.	119

UNDERTAKING NO. J6.9:  EGD TO MAKE CORRECTIONS AND COMMENTS ON ENERGY PROBE TABLE K6.2.	120

UNDERTAKING NO. J6.10:  EGD TO PROVIDE SUMMARY SCHEDULE OF BREAKDOWN ON SEGMENT A OF PEAK REQUIREMENTS FOR distribution AND TRANSMISSION FROM 2015-16 TO 2019-20 BY YEAR.	123

UNDERTAKING NO. J6.11:  EGD TO PROVIDE IMPACTS AND AMOUNTS OF LCU ON M12 RATES ON AN ANNUAL BASIS.	128

UNDERTAKING NO. J6.12:  EGD TO PROVIDE RATE IMPACTS ON RATE 332 TRANSMISSION CUSTOMERS OF DIFFERENT SCENARIOS OUTLINED BY FRPD RELATED TO BRAMPTON WEST START POINT OF SEGMENT A.	134

UNDERTAKING NO. J6.13:  EGD TO PROVIDE SYSTEM REGULATION ALTERNATIVES AND ASSOCIATED COSTS.	138

UNDERTAKING NO. J6.14:  EGD TO PROVIDE COST AMOUNTS ASSOCIATED WITH INCREASING SEGMENT A PIPE SIZE FROM 36-INCH TO 42-INCH.	142

Thursday, September 26, 2013

--- On commencing at 9:02 a.m.

MS. CHAPLIN:  Please be seated.  Good morning, everyone.  I believe we're welcoming back Enbridge's panel 1.  And I have Mr. Elson as first on the list, with 30 minutes.

Are there any preliminary matters before we begin?  No?  Okay.

Now I believe we are ready.  Mr. Elson?

ENBRIDGE GAS DISTRIBUTION - PANEL 1, resumed

Malini Giridhar, Previously Sworn

Craig Fernandes, Previously Sworn

Joel Denomy, Previously Sworn

Nick Thalassinos, Previously Sworn

Chris Moore, Previously Sworn

Cross-Examination by Mr. Elson:

MR. ELSON:  Thank you.  And for the record, my name's Kent Elson of course, and I represent Environmental Defence.  And I believe we are picking up from where we left off last Thursday, September 19th.  When we left off we were discussing some of the project economics at a high level, but before getting back to that I do have a bit of a broader question.

Am I correct in saying EBO 188 require that the net present value and the benefit-cost ratio for projects such as this be estimated using a societal cost test that evaluates the costs and/or the benefits accruing to society as a whole to an activity?

MR. CASS:  Mr. Elson, I'm not sure that we have an EBO 188 expert on the panel.  And it strikes me that that is more a question perhaps for argument than for the witnesses.

If anyone on the panel thinks that they can address it, please correct me and go ahead.

MR. ELSON:  I guess maybe I'll ask a broader question, which is that:  Is it your belief that this project should be analyzed on the perspective of the cost and the benefits accruing to society as a whole?  Is that the approach with which you address this?

MR. FERNANDES:  So Enbridge did consider a number of factors, and we've presented economic feasibility under the EBO 188 guidelines.  As Mr. Cass stated, if you have more detailed questions for our -- I believe it's our third panel, that would be better.

But we did evaluate the project using a number of items, including considerations of energy efficiency.  Looking at the overall project, we considered the economies of scale and the environmental benefits of building one pipeline and sharing its usage for both distribution and transmission.  So we do believe that we have a broad-based approach to looking at the overall project.

MS. GIRIDHAR:  If I may just add, we've also considered the fuel savings to customers from using gas versus electricity as a secondary benefit, and it wasn't actually included in the feasibility numbers, but that was recognized in evidence as well.  And they were very substantial.

MR. ELSON:  I guess my question is:  Do you think that the test for this project -- and do you evaluate from this perspective that the test should be looking at the costs and/or the benefits from -- or accruing to go society as a whole?  Is that how you approached this project?

MR. CASS:  Madam Chair, pardon me.  To the extent that the question is about the approach, then, the witnesses can certainly address that.

At a higher level, though, my concern about the question is, again, it goes to something that is really more a matter of argument than it is evidence.  And it seems to me to be mixing two different things.

In argument, Enbridge will of course be saying that the Board should consider the public interest, which is one thing.  In argument, Enbridge will also be addressing the feasibility calculations as done under EBO 188, but the suggestion of the question seems to be that these broader public interest considerations all get quantified or should get quantified in the benefit-cost calculation or the PI calculation, which I don't think is the case.

So my concern is it seems to be mixing the broad public interest considerations with the feasibility calculation, which I don't think is appropriate.  Now, again, the witnesses can talk about how they have approached it, but that's my concern about the question.

MS. CHAPLIN:  Well, Mr. Cass, I take your point that whether or not some of these other concerns should be a part of the evaluation might be a matter for argument, but Mr. Elson asked if it was a part of Enbridge's analysis.  So that's a fact question as to what they took into account, so I don't see how that is a matter for argument.

MR. CASS:  Again, Madam Chair, my concern is just that the fact question seemed to be confusing two things, the public interest and the feasibility calculation.  So I'm happy for the witnesses to answer the fact question; it's just it's confusing two different things.

MR. ELSON:  This question wasn't supposed to be as controversial as it has turned out to be.

My understanding is that this project should be analyzed from the perspective of the benefits and costs accruing to society as a whole.  And as Mr. Cass says, I can make that point in argument.

I wanted to lay that foundation for some of my further questions that are coming up, but perhaps we can move on for now.

MR. FERNANDES:  Happy to clarify what is actually described in the evidence.  In Exhibit A, tab 3, schedule 9 we did have several paragraphs that describe what has been included in the economic feasibility.

There's three primary benefit streams and -- that accrue to the project.  One is the revenue from the distribution ratepayers from the incremental customer adds.  Another one would be the transportation service revenue for the transportation service being provided on segment A.  And finally there are the transportation savings as -- the gas supply benefits, so to speak.

Now, in Exhibit E, tab 1, schedule 1 -- I might not have the perfect reference from memory, but in paragraph 16 I believe we said although we provided an economic feasibility under the guidelines, that was not the primary purpose of the project.  It was really the reliability for our current and future customers, was our primary purpose for the project.

So I think, Mr. Elson, we would say that those broader items are an important part of the decision and they are an important reason why we brought the project forward.

MR. ELSON:  Okay.  Well, I will move on to what I was asking about at the end of the day last Thursday.  So I'll pick up where we left off there.

Last Thursday we were discussing a scenario where Enbridge's number of customers would increase as predicted, but Enbridge's annual and peak demand would not grow.  And I was going through the inputs in the PI calculation to determine what the PV of those inputs would be in the scenario we were putting forward.  And that was with respect to Exhibit A-3-9, attachment 3, which actually, if you could pull up, that would be appreciated.

Do you recall that discussion?

MR. FERNANDES:  Yes, I do.

MR. ELSON:  So we'd managed to go fairly far down this chart, and we'd discussed, for example, how in this scenario that we were putting forward none of the distribution revenues would be included in the PI calculation for the project.  Do you recall that?

MR. FERNANDES:  Yes, that was -- we stated that was the scenario in column 6.

MR. ELSON:  So just as a bit of a housecleaning matter, I believe your counsel is going to provide an updated response to Exhibit -- sorry, to the undertaking response to J4.10.  And that relates to the transportation savings and providing a PV of that based on a different price differential, is 92 cents and $1.50, so unless we're not on the same page as that I think we can move on from the total transportation savings.

Is that correct, Mr. Cass?

MR. CASS:  I wasn't proposing that I would personally give the answer, but, yes, you are correct, the undertaking will be responded to.

MR. ELSON:  Okay.  Thank you.

So the next two items in the charts would be the total customer additions and the total volumes, which in a sense aren't relevant, but in our scenario there would be total customer additions, but those wouldn't have a bearing on this project, because the project wouldn't be needed to address those customer additions, so you can effectively ignore them.  Is that a fair way to describe it?

MR. FERNANDES:  That would be fair.  They would not be included in the economic evaluation of the project, and that's what is shown in column 6, where the capital associated with attaching those customers and all of the revenues associated with those customers have been removed.

And in the case that we just described, we were taking out the revenue stream or the benefit of the incremental customer adds, but we're also taking out the capital costs to attach them to the system.

MR. ELSON:  Yes.  So under this scenario, roughly speaking, the net present value could be calculated by taking the present value of the capital costs which you provided us and subtracting from that the present value of the transportation savings and the present value of the service charges; is that right?

MR. FERNANDES:  There are a few other items, but those are the major ones.  The way the feasibility calculation goes is all of the net operational cash flows compared to the capital costs of the project.

MR. ELSON:  So those are the major items that we've gone over, and some of the minor items would be, for example, taxes.  So taxes would increase the cost a bit; is that right?

MR. FERNANDES:  Operating maintenance and other types of costs that are shown in the table.

MR. ELSON:  So OM and taxes would be the other two items, and both of those would, I guess, bring your profitability down; is that correct?

MR. FERNANDES:  It would reduce the net operational cash flows from that distribution revenue.  There are a few other items in there, but they're relatively small in their order of magnitude relative to the other cash flows.

MR. ELSON:  Okay.  Thank you.

So I guess if you want to do a sort of back-of-the-envelope calculation, you could do that with just the present value of the capital costs, the present value of the transportation savings, and the present value of the service charges.  Would that be fair?

MR. FERNANDES:  That would be fair.  However, I should point out that the sensitivity analysis, the summary that we're actually looking at here, was intentionally put together in order for people to interpolate between what we hope are the bookends of the various major cost drivers and benefit drivers.

So for instance, I would like to point you to looking down near the bottom of the table.  We did provide our base case that is shown in grey, and for all of the other scenarios where we're changing one single variable we did list an item that says "variance to current base case NPV", and if you want to look at those numbers, the major cost drivers are generally linear.

So you have the dollars to be able to do an addition, and the example I could give is, if you go to column 7, for instance, this sensitivity was a 10 per cent increase in capital costs, and I should note that that is all capital increased, including the cost of capital to attach the incremental customers and those other reinforcements that we're not asking for as part of this project.

But when we look down there, there is a $600 million NPV.  So for example, if you look at column 4, which has half the transportation savings, it has a differential or variance of negative 427 million, and if you look at column 5, which has zero transportation services charge, or assuming there's nothing flowing downstream of Albion, it has an incremental of 158 million.

You can take the 427, the 158, add them together, and subtract them from the 600 million in the other case and see that the net present value would still be greater than zero under a scenario where we had a 10 per cent increase in all of our capital costs, no transportation services revenue, and half of the transportation savings.

So the structure of the table wasn't specifically intended to be helpful for people to be able to interpolate.

The one item that I would want to note is that, specifically with the capital cost increase, it is the only variable that is not really linear, because it feeds back into the transportation services revenue.  But it's a fairly small component.  But for the other ones, the transportation savings and the transportation services charge, they are directly linear, so they are additive.

MR. ELSON:  That's very helpful, and actually, maybe we could do an example of that.  If you were to take column 6, and you have the net present value of $449 million, if we were to take that example and then assume from column 4 50 per cent transportation savings and from column 5 zero per cent transportation service charges, we would end up with a negative -- or, sorry, a profitability index of less than one; is that right?

MR. FERNANDES:  That would have a net present value that is negative, according to the numbers on here, but I should note that you've basically taken out all of the benefits.

MR. ELSON:  Not surprising that the --

MR. FERNANDES:  So that would --

MR. ELSON:  -- NPV is negative.  Yes.  And it doesn't take out all the benefits, actually.  It just reduces your transportation savings by 50 per cent; is that right?

MR. FERNANDES:  And to remind everyone that we stated in Exhibit E, tab 1, schedule 1 that the primary purpose of the project is not based on the economics, it's based on the reliability of our supply chain.

MR. ELSON:  Thank you.  I'll be moving to another area now.

There seem to be a number of factors that we've gone over that could impact the overall profitability index of this project.  One example that we talked about more or less Thursday was the price differential between Empress and Dawn; is that right?

MR. DENOMY:  That's correct.

MR. ELSON:  And another would be the magnitude of the TCPL tolls -- the, sorry, the TCPL toll increases that are required to compensate for dollars that aren't being spent on the TCPL Mainline?

MS. GIRIDHAR:  So Mr. Elson, I just wanted to say that, in terms of basis differentials, you should not that, while it is true that the benefits are a function of basis differentials, they're also a function of utilization of pipe, and we have -- do you have the reference, Mr. Denomy?

MR. DENOMY:  Yeah, I do.  TCPL No. 2.

MS. GIRIDHAR:  TCPL No. 2 provides a range of basis differentials and a range of utilization ratios, and you really need to consider both of them in conjunction because, for simplification purposes, our benefits calculation assumed full utilization associated with approximately a 50-cent basis differential.

The reality is we're talking about displacing discretionary volumes that are used for seasonal purposes.  At best that transport would be used throughout the winter.  More likely it will only be used partially through the winter, so it's appropriate when we talk about the gas supply benefits that we recognize not just basis differentials, but also utilization of pipe.

MR. ELSON:  So I guess that would be another factor that could impact the PI; is that correct?

MS. GIRIDHAR:  Correct.  And any utilization under 100 percent will increase the PI.

MR. ELSON:  Okay.  And another was the magnitude of the TCPL toll increases that could result as a consequence of reducing the revenue that goes towards the TCPL Mainline as result of this project; is that another factor?

MS. GIRIDHAR:  That is a more complex factor.  For instance, that's -- the term sheet is about the terms and conditions of providing market access to the rest of Ontario and Quebec.

MR. ELSON:  I can leave that to the joint panel, if you prefer.

MS. GIRIDHAR:  Well, I just wanted to make one point.  And we can take it up again with the joint panel.

But we should also note that the benefits of market access are that we are able to displace discretionary volumes in Ottawa as well, so there's 170,000 gigaJoules of long-haul that we would otherwise require in order to meet peak day in Ottawa.  If we didn't do that, we'll be short 25 percent of peak day.

So while the term sheet does result in an increase in short-haul tolls, it also allows us to displace a significant amount of long-haul that we would otherwise use on very few days of the year to meet Ottawa demand.

So I would suggest that if you are talking about the term sheet, we do need to take a wider approach in terms of what does market access mean for the rest of Enbridge's franchise.  And none of that is in these calculations at this point.

MR. ELSON:  If it ultimately turns out that the project has a PI of less than one, would Enbridge still seek to have all of the $680 million cost of this project included in rate base?

MS. GIRIDHAR:  The answer is yes.  As Mr. Fernandes has mentioned several times, the primary purpose of this project is to provide reliability, flexibility and diversity for both our existing customers and our new customers over the next 10 years.

MR. ELSON:  In response to Environmental Defence Interrogatory No. 2 -- sorry, 29.  Actually, perhaps you could turn that up.  I'm not going to ask any specific questions of it, but that's Exhibit I.A4.EGD.ED.29.

Enbridge calculated its net income from 2015 to 2025 resulting from this project.  And according to the response to that interrogatory, the net income is roughly $17 million in 2016, declining to about $12.8 million in 2025; is that right?

MS. GIRIDHAR:  That is what the numbers show.

MR. ELSON:  I believe these numbers were based on the previous version of this project, which had a smaller segment A.  And now the capital costs have been increased to 686 million.  Could you provide an update to this chart based on the higher figures?

MS. GIRIDHAR:  Yes.

MR. ELSON:  Thank you.

MR. MILLAR:  J6.1.

UNDERTAKING NO. J6.1:  EGD to UPDATE EXHIBIT I.EGD.ED GTA PROJECT ASSUMED EARNINGS IMPACTS TABLE.

MR. ELSON:  Again, I think I know the answer to this, but if it turns out that a significant portion of this pipe isn't ultimately used because demand does not grow as predicted and the profitability index turns out to be less than one, would you commit to a reduction in Enbridge's net income from the project?

MS. GIRIDHAR:  The answer is no.  I'll let Mr. Fernandes continue, but first of all, this project is in the public interest.  Our view -- and we obviously provide that in argument -- is that this project is required to meet the reliability, diversity and flexibility needs.  The project has been demonstrated to be positive under a number of different scenarios that Mr. Fernandes has just walked us through.  He's also going to be able to talk about the strategic manner in which this project has been routed in order to ensure it connects to the largest gate station on our system and the centre of our GTA distribution area.

And I'll just let him talk to that.

MR. ELSON:  I think you've actually answered my question, but if you have more to add, subject to the Board's discretion we could hear it.

MS. CHAPLIN:  That's fine, but we don't need to re-hear testimony we have already heard.

MR. FERNANDES:  So the other important point I think you said about it being under-utilized, part of this is very strategic in the long one.

We've said we're dealing with ageing infrastructure.  So we are providing the capability to lower the pressure in those lines, which is a part of our long-term planning.

In addition, our segment A, the path chosen to both distribution and transmission for short-haul is very strategic.  We intentionally wanted to bring load -- bring in supply into the centre of the extra high-pressure grid.  That has a long-term benefit to the entire system.  It provides pressure and flow support, and we believe it's going to pay dividends for many, many, many years to our ratepayers.

The odds of that infrastructure being under-utilized when it's connected into the single largest integrated network in the entire country, the largest single demand centre, are extremely low.

MR. ELSON:  That brings me to my next and final few questions, which relate to this SMYS pressure issue.  I'm going to ask just a few questions on this on a high level.  I believe Mr. Poch and perhaps some other intervenors are going to can ask some more detailed questions.

Could you turn to tab 18 of our document reference book, which is Exhibit A, 3-1, page 1?  This is the summary of the purposes in your application.

My question relates to the pressure issue and whether, taken by itself, it's a sufficient justification for this project.  So I'm going to briefly go through our position on these other purposes, just as background, and to understand it in the context of all the purposes of the project.

So under item A in the list, the first purpose is load growth.  Our position that we addressed to a certain extent on Tuesday is that recent trends suggest that there isn't going to be the peak hours demand growth that has been predicted, and we will be putting forth some evidence on DSM.

So you get to the next purpose of the project, which is B, and B talks about operational risks and safety; that's on the following page.  That's page 58 of our document reference book.  That's the focus of my last set of questions.

But quickly with respect to C, which is entry point diversity, it seems to us that the Parkway West gate station provides sufficient entry point diversity and backup to Parkway without the need for segment A and B.

And with respect to D, which is the gas supply benefits, there seem to be some highly speculative assumptions or risks, including those set out in the TCPL evidence.

I don't want to get into those issues.  I'm not asking you to agree with what I've just said.  The point of that background is that if we are right, it's potential that the only benefit of this $686 million project would be the purported reliability benefits in part B of this summary table.  So my questions relate to whether this project is worthwhile if those are the only benefits.

My first question is this:  My understanding is that Enbridge, the Enbridge system in the GTA area, currently meets all minimum standards relating to operational risk, safety and reliability; is that correct?

MR. THALASSINOS:  It meets the minimum standards in the CSA Z662 code that -- I just emphasize those are minimum standards.

MR. ELSON:  Even if this project doesn't proceed, there are no minimum standards relating to operational risk, safety and reliability that will not be met?  I believe that answer was provided in response to ED 14 – ED 34; is that correct?

MR. THALASSINOS:  That's correct.

MR. ELSON:  However, of course part of the purpose of this project is to reduce the pressure on some of Enbridge's lines in the east of the city; is that right?  That's the SMYS pressure issue?

MR. THALASSINOS:  That's correct.

MR. ELSON:  Again, currently those lines are above 30 percent SMYS.  Enbridge wants to bring them down below that level.  I believe on Tuesday Mr. Naczynski said that Enbridge has 208 kilometres of pipe that is operating at above 30 percent SMYS.  Is that the right number?

MR. MOORE:  Sorry, approximately we have somewhere around that number that's -- that has the ability to operate up to or above 30 percent SMYS.  We don't always operate them at that level, and directionally we'd like to be lower.

MR. ELSON:  So those would be the pipes that are sometimes operated at above 30 percent SMYS.  They're not necessarily always operated at that level?

MR. MOORE:  Correct.

MR. ELSON:  And how many kilometres of pipe are being addressed in this project with regard to the SMYS issue?  Just approximately.

MR. MOORE:  Well, it's the 26-inch line that goes across the city and what we call the Don Valley line, the 30-inch line that comes from Victoria Square down, which --

MR. FERNANDES:  It's about 45 kilometres, give or take a few.

MR. MOORE:  These are in the, you know, very congested parts of our franchise, and they are very critical, ageing lines.

MR. ELSON:  And that -- the kilometres that we're talking about in this project, is that included or excluded from the 208 kilometres we were talking about before?

MR. MOORE:  Included.

MR. ELSON:  Included.  Have you calculated the likelihood, the mathematical likelihood, of an accident occurring on these lines as a result of this pressure issue?

[Witness panel confers]

MR. MOORE:  Sorry, I think you are asking about the likelihood?

MR. ELSON:  "Probability" would be another word that I could use.

MR. MOORE:  Well, we -- the consequences are very high.  The probability -- the likelihood of an event we hope to be low, but the consequences are very high.

MR. ELSON:  And I take it by that answer that you haven't actually calculated a number, such as the probability or the likelihood.  Mr. Moore, I believe you would know the answer to this question.

MR. MOORE:  I haven't.  You know, I'm not sure it's necessary for us to do that, to be honest.

MR. ELSON:  And have you --

MR. MOORE:  The consequences are so great.

MR. ELSON:  Has Enbridge calculated the probability or the likelihood of, not an accident, but simply service losses arising from this pressure issue?

MR. FERNANDES:  One of the important points that we have on the record is that there has been a general societal decrease in the tolerance for risk that has been embodied by the actual code, as per FS-196-12, which places a responsibility on operators to take a look at these types of infrastructure that are operating in a higher-stress condition in highly populated areas, and it is incumbent on the operator to look at those risks and understand whether they need to take steps to avert those risks.  And that's one of the things that the company is prudently planning its network.

We know the lines that we're speaking of are in highly populated areas, some of the most populated areas in the entire country, and they are also well over four decades old, so they have served our ratepayers well.  We're not talking about taking them out of service.  We're taking them to a lower level of service, and that's prudent planning on our part.

MR. ELSON:  Perhaps I'll ask my question again.  Has Enbridge calculated the likelihood or the probability of service losses arising from this pressure issue?  I believe Mr. Moore and Mr. Thalassinos would have been the people who would have been in charge of this, and I imagine you know the answer off the top of your head.

MR. MOORE:  If I understand your question correctly, we would lose significant customers in the winter if we had to currently drop the Don Valley, for example, and the 26-inch line below 30 percent SMYS.

And we -- this isn't a theoretical thing, it's something that has happened this summer.  You know, we did have to reduce pressure on both of those lines.  We directionally want to be operating lower, but we were -- we had to because of the unexpected flood at the -- in the Bayview area on the Don Valley line and other integrity matters we've been working through.

MR. ELSON:  Now, when you dropped the pressure this summer that wasn't a problem.  There was no service losses, because you weren't at a peak demand period; is that right?

MR. MOORE:  That's right.  But in the winter, fall-winter, we would lose --

MR. ELSON:  So it depends whether it happens at a peak time or not.  That's the issue.

MR. MOORE:  If it's cold.

MR. ELSON:  So I'm going to go back, actually, to my question, which is whether you have calculated the likelihood or the probability of service losses arising from the pressure issue.  I believe you just discussed some of the consequences, and I'm asking whether you've calculated the likelihood or the probability of service losses arising from this pressure issue.

[Witness panel confers]

MR. THALASSINOS:  So I'm not 100 percent clear about what you mean by "service losses", but we have done some analysis to look at what it would be, the overall corridor risk, if we were to lower our operating stresses to below 30 percent of SMYS, if that is what your question is.

MR. ELSON:  No, that's not my question.  I'm asking whether you have calculated the probability, the chance of something occurring, and that something occurring is some event that would result in service losses on this line because of this pressure issue.

And have you -- I think the answer is no, and I don't know why it's a difficult question to answer.  But the probability of service losses arising from the pressure issue.

MR. THALASSINOS:  So we've not probabilistically determined, based on any event, how many customers you would lose.  We have in evidence specific examples of events that would lead to customer losses, but that's not done on a probabilistic load profile.

MR. ELSON:  With respect to electricity, there are certain service-interruption criteria that can serve as the basis for deciding on capital upgrades.  For example, a load loss of 250 megawatts must be restored within half an hour.

My understanding is that there isn't such similar risk criteria for natural gas; is that right?  What I'm talking about again is service-interruption criteria.

MR. THALASSINOS:  So we have emergency response criteria which is within -- to respond with emergency within one hour of notification.

MR. ELSON:  But you don't have service-interruption criteria that would say what is an allowable service interruption and what isn't that is equivalent to the electricity sector.

MR. FERNANDES:  So the natural gas industry doesn't have quite the same standards as the electrical system would.  However, we should note that operationally the restoration is fundamentally different, and that is on the record.

For an electric system we stated in the evidence automatic restoration, but it's actually remote restoration, whereas for the natural gas system, once we have customer outages, it requires two site visits, one to shut off the meter at the customer's premise and ensure that it's safe, and then a second visit.  Once we restored normal operating pressures within our system, it requires us to visit each and every premise in order to safely relate their equipment.

So the consequences of an outage are substantially different from the electrical system, and we have noted that there were a number of events that have occurred in the natural gas industry that took prolonged outages.

If you get to the point of somewhere on the order of 25,000 customer outages, it becomes a very significant issue for the community and for the company.  And those types of event have happened in the industry and they have taken on the order of weeks to restore service.

MR. ELSON:  I think the gist of that answer is that you don't have service interruption criteria.  So in the interest of time, I'm going to move on.  And I understand that there are differences between electricity and gas in that respect.

Have you done a comprehensive risk analysis comparing the risks associated with this 30 percent SMYS issue and other risks in the Enbridge system, including a comparison of the likelihood of service losses, the likelihood of accidents, the consequences of those events and the costs of addressing the various risks?

I'm talking about a risk analysis that has numbers and probabilities set out, such as those I just mentioned.

MR. THALASSINOS:  Yes.  So we do have an integrity management program that assesses the risks of all of our pipelines, including the lines operating over 30 percent of SMYS, which includes many risk factors.

Some of those risks factors are qualitative, that they are not done quantitatively, and I don't know that we would have all of those risk factors or things that you mentioned mathematically.  Some of those are more qualitative.

MR. ELSON:  So there's some qualitative analysis but no quantitative analysis; is that right?  In your integrity management program?

MR. THALASSINOS:  We have a combination of quantitative and qualitative analysis.

MR. ELSON:  But you wouldn't have comparisons such as I discussed of the likelihood of service losses, the likelihood of accidents, the severity of the consequences and the costs of addressing those various risks?  It wouldn't reach that level of detail; is that right?

MR. THALASSINOS:  Not all that level of detail.  Correct.

MR. ELSON:  What does this document look like?  Could you provide it by way of an undertaking?

MR. THALASSINOS:  Yes, I think we could.

MR. ELSON:  Thank you.

MS. GIRIDHAR:  Mr. Elson, You did make a statement in passing, and forgive me for bringing it up here, but we weren't given the opportunity to address it.  And the statement that you made in passing was that it was your view that the gas supplies -- our purported gas supply savings may or may not occur based on evidence that TransCanada has provided.

We believe very firmly that those gas supply savings are real, and we would like to have the opportunity to explain why we would not agree with that piece of evidence from TransCanada.

MR. ELSON:  And that is something that I think all the parties are going to address at the joint panel.  I don't intend to address it today, subject to the Board's discretion, of course.

MS. CHAPLIN:  That's fine.  Let's leave it for the joint panel.

MR. MILLAR:  There was an undertaking given.

MS. CHAPLIN:  Yeah.

MR. MILLAR:  J6.2.

UNDERTAKING NO. J6.2: EGD to PROVIDE EGD ANALYSIS.

MR. FERNANDES:  There was one other item that you -- in your long preamble to your question, you mentioned that Parkway West gate station would be the only thing that is required in terms of meeting our diversity of supply into our system.

I think that that we can't agree with either.  I think if we --

MS. CHAPLIN:  Mr. Fernandes, I believe there were probably a number of things that he made, but he put them all with a caveat.  He understood that you did not agree with them, but it was to then focus on the reliability issue.  So we do not need -- we understand you do not agree with that, and we do not need to hear additional testimony on that.

MR. ELSON:  And I actually have no further questions.

MS. CHAPLIN:  Thank you.  Mr. Brett?

MR. ELSON:  Was an undertaking number provided there?  Okay.  Thank you.  Sorry.

MS. CHAPLIN:  Mr. Brett, I have you next on the list.

MR. BRETT:  That's right, Madam Chair.

MS. CHAPLIN:  Your original allocation was 50 minutes.

MR. BRETT:  That's right.  I'm okay with that.

MS. CHAPLIN:  Thank you.  Please proceed.

Cross-Examination by Mr. Brett:

MR. BRETT:  I would like to start by just -- your evidence, I believe, is that on a design day basis, the distribution part of your pipeline, the 800,000 gJs a day will be fully utilized; correct?

MR. FERNANDES:  That is correct.

MR. BRETT:  And that 800,000, just to be clear, that represents -- 600,000 of that 800,000, as I understand it, represents essentially a replacement of -- allows you to replace gas that you currently -- that you currently or until very recently have been bringing to your system, to your franchise area, via discretionary services on TransCanada, with 600,000 gJs a day -- and I'll use thousands of gJs a day to just keep the discussion on a similar set of units.  It gets confusing otherwise.

In any event, the 600,000 is a replacement for gas that you're getting with discretionary service on TransCanada, and you want to replace that with other, better supply, in your view; correct?

MS. GIRIDHAR:  Correct.  So of that 600,000 gigaJoules, we had identified up to 200,000 for our direct purchase market, which also uses those discretionary services.  And for --

MR. BRETT:  All right.  So you have allocated 200,000 of that 600,00 to your direct-purchase customers; is that correct?

MS. GIRIDHAR:  Correct.  And 400 of it addressed the use of discretionary supplies within our own portfolio.

MR. BRETT:  That's helpful.  And when do you -- the direct-purchase customers -- all right.  That's fine.  I understand that.

Now, the -- just as an aside, have you converted any of that -- are you still using that 400,000 of discretionary service to -- in your system portfolio?  Or replaced some of that on a -- if I can put it this way -- on an interim basis with TransCanada's FT non-renewable?

MS. GIRIDHAR:  So we have provided two letters to the Board already.

MR. BRETT:  Right?

MS. GIRIDHAR:  And we have indicated that some of the STFT that we were contracting for under the system reliability proceeding of approximately 40,000 gigaJoules, or five months' STFT, has already been replaced with FT for the coming winter.

MR. BRETT:  That is FT that can you have up until November 1st of 2015, with an option to renew it for a further year; is that right, roughly?

MS. GIRIDHAR:  Yes.  My understanding is that is correct.  And we --

MR. BRETT:  The option for the further year is given to you in the settlement term sheet; correct?

MS. GIRIDHAR:  Currently, that option is part of the one-year renewable capability that comes with the FT contracts.  So the context in the term sheet is really for what's called FTNR or firm transportation non-renewable service, some of which we have also contracted --

MR. BRETT:  Sorry, that's what I thought I said, but

-- that's the service that TransCanada has made available?

MS. GIRIDHAR:  If I might just add, in a subsequent letter we've identified additional amounts of FT that will be required for the upcoming winter in order to displace discretionary supply, which currently is being priced at anywhere between 280 percent to 1,200 percent of FT.

MR. BRETT:  No, I understand that, but -- and that is -- so that's replacing existing discretionary supply, and that in turn will be displaced by these gigaJoules that will flow through your segment A, right?

MS. GIRIDHAR:  That is correct.

MR. BRETT:  Now, the -- what you're going to do is -- the 800,000, 400,000 of the 800,000, if I'm correct, has been shifted.  It's gas that you now receive at Parkway Enbridge, without compression.  It has been shifted from there to segment A; correct?

MS. GIRIDHAR:  Going forward, that is the plan --

MR. BRETT:  That's -- assuming the project goes ahead, you are going to remove 400,000 of gas from the -- that you are now taking at the Parkway West -– sorry, the Parkway Enbridge gate station, the existing gate station, and you're going to move that to segment A?

MS. GIRIDHAR:  I think I should clarify.  There's two components in that number.  So because of our plan to take 200,000 gigaJoules off of TransCanada's domestic line, which operates at lower pressures, that will continue -- that will come in and feed our existing 36-inch line, but as a result we have to displace an equivalent amount that is currently coming up Union's M12 on to the discharge side, and then there is another 200 that is --

MR. BRETT:  Yeah, that's -- all right.  I was going to come to the material in the Hamilton line, but let me -- I think the best way to sort of summarize this discussion is -- I don't know whether you need to turn it up, but we asked you an IR about this very topic, and I would like to just read part of this answer and have you confirm that this is still the case, because this summarizes, I think, very nicely what's happening and will lead me to my next question.  And the IR is 1.A1 -- A3.EGD.BOMA.18.

Now, we had asked you a question that basically asked you what I just said, what the new -- what the 800,000 gJs a day consists of, and the way you put it was this:

"800,000 gJs a day is the capacity available to Enbridge under the shared arrangement with TransCanada."

Now, this answer was dated June something or other, so it's a little bit dated, but not, I think, in any relevant way for our purposes.

"Enbridge expects that 600 tJs per day of capacity will be required to flow natural gas under firm short-haul contracts from Dawn and Marcellus, displacing STFT and peaking arrangements."

That's what we just discussed.

"Enbridge will contract for annual incremental amounts of short-haul capacity and supply over the period 2016 to 2025 to accommodate organic growth, amounting to the residual capacity of 200 tJs a day -- or 200,000 tJs a day."

Now, we discussed this in a somewhat different way, but my question to you is to confirm that this 800,000 that we've been speaking of, or the 600,000 that you are using to replace existing service, does not deal with growth; correct?  These are not growth molecules?

MR. FERNANDES:  That's correct.  If it would be beneficial, I could go up to --

MR. BRETT:  No, I don't think you need to do that.  I'm well-aware of your plan and how the volumes work, but I just wanted to make sure that we all understood in the room that the growth -- the growth molecules you are going to contract for a bit at a time over the next ten years; right?

MR. FERNANDES:  That is correct.

MR. BRETT:  And you are going to take those growth molecules at Parkway suction; correct?

MR. FERNANDES:  So the way the project is actually contemplated, our 800 that is flowing on our segment A releases some capacity in other parts of our system that --

MR. BRETT:  It releases -- if I can just interrupt just to focus here, it will release 200,000 immediately on your NPS 36 line and your Parkway suction gateway; correct?  That's where the vacancy appears.

MR. FERNANDES:  So the plan as presented in the evidence is a 2015 gas supply contracting plan, but the distribution side has the capacity to accommodate the growth, but none of it is in the supply plan.  That's a held constant at a 2015 volume.

So you are correct --

MR. BRETT:  Yes, I think --

MR. FERNANDES:  -- we have the capacity and the distribution system, but we're not showing any of the incremental contracting that occurs over that time frame in any of the supply numbers.

MR. BRETT:  So I think you are telling me what we just said, that we're not -- we don't -- you don't include in this plan -- in this segment A plan that you put forward you do not include growth volumes.  They come somewhere else.

MS. GIRIDHAR:  That is correct.  They will occur as we update our gas supply plan each year.

MR. BRETT:  Yeah, and they will occur as you need them over a ten-year period.

MS. GIRIDHAR:  That is correct.

MR. BRETT:  So effectively what you've got is you've opened up 200 -- by this arrangement, by this shift, and leaving aside the 200,000 gJs a day that you are going to bring in from Marcellus effective November 1, 2015, assuming that the project, the overall project, goes ahead, and you'll bring that 200,000 per gJs (sic) in through the Hamilton line, the TransCanada's Hamilton line.  We have no problem or no ambiguity about that.

There is a remaining 200,000 capacity at Enbridge suction.  And there's -- and as I understand it, and I would like you to confirm this -- there's 200,000 of empty pipe in NPS 36 as a result of this shift.  You are leaving empty pipe by making this shift -- that's what I'm trying to say -- right now?  Can you answer that question specifically?

MR. FERNANDES:  I can.  It's a consequence of how we are utilizing our existing infrastructure, so I wouldn't describe it as being empty pipe.  What I see --

MR. BRETT:  What would you describe it as?

MR. FERNANDES:  -- happening is, if we look at the board, and where segment A is coming in at Albion, one of the things that we're doing on our existing Parkway north line is, under peak conditions and normal operating, the valve at Albion will have to be shut so that when we put volume into the pipe at Albion we ensure it flows east.

So effectively from the existing line we've cut off Albion to Keele, and we're forcing the volumes coming in at Albion to ride on the existing pipe to get across to the eastern portion of the system.

So what we're really talking about is, we've taken away some of the capability from the suction side at Parkway existing gate station in order to ensure that Albion can use it.

MR. BRETT:  Well, it's --

MR. FERNANDES:  There is capability with the system as we grow to be able to accommodate those volumes, so we don't expect that we're going to require over the next ten years an additional extra high-pressure reinforcement, so we do have the capability within the system to accommodate those volumes --

MR. BRETT:  That is not in the evidence.  That piece of information has not been put in the evidence until just now, right?  I don't recall seeing those remarks in the evidence.  Not that I'm objecting to it; I just don't recall seeing them.

I do recall your evidence -- perhaps you can confirm this.  You were going to make modifications at Albion to allow you to maintain a constant pressure of, I believe, 485 PSI all the way from Parkway across to the Don Valley line; is that correct?

MR. FERNANDES:  That is correct.

MR. BRETT:  And the impact of that I took to be that you would -- that's a change that would improve the performance of your overall system; correct?

MR. FERNANDES:  Correct.  We're taking the existing infrastructure and providing an additional source, and that allows us to utilize it more effectively.

MR. BRETT:  And how does that differ from what you just told me a moment ago?

MR. FERNANDES:  They are entirely consistent.  The issue is the gas flows by pressure, so in order to meet our peak operating conditions we would have a certain set of conditions on that system, and all I was really describing was that in those conditions the piece of pipe between Albion and Keele will be fed from Albion, not from Parkway, and --

MR. BRETT:  Well, I guess, yes, but I'm talking about the piece -- let me put it another way.  My conclusion from sort of a careful analysis of this -- and it was -- it's not uncomplicated -- is that you're leading a piece of pipe empty, and ratepayers will -- and I'm speaking at a -- and ratepayers will pay for that pipe, and you will gradually fill up the system over ten years, but effectively what you've built is advance capacity for ten years of growth here.  That's the essence of -- that's one of the consequences of this proposal; is that not correct?

MS. GIRIDHAR:  I think I would quibble with the use of the word "advance capacity for ten years" --

MR. BRETT:  You'd quibble?

MS. GIRIDHAR:  Well, because I think one of the fundamental tenets of distribution reinforcement is you do look ahead ten years.  You always look to meet growth on a forward-looking basis.  Very distinctly different from several transmission systems that already exist in place and possibly only look to the next set of contracts, in terms of how they add capacity, so --

MR. BRETT:  So you are saying I really -- I've termed it wrong.  You are saying really you're doing -- this is -- but you are not really saying that you're not building capacity which you'll use over the next ten years.

MS. GIRIDHAR:  We are building capacity that we will use over the next ten years, and it is appropriate to take that into account with the system reinforcement that we are contemplating at this point.

MR. BRETT:  All right.  Let's move on then.  The -- okay.  I'll move to a slightly different subject.  The -- I don't think you need to turn this up.  I'll just read it.  It's a very short IR.  To save us time, I'll just read quickly the question.

This is BOMA 18(c), which is I, A1.A3.EGD.BOMA, question 18, subsection (c).  And the question in part was:  Is the addition of segment A, when the Enbridge plan was to build -- this was when you -- the Enbridge plan was to build the line from Bram West to Albion.  And you've changed that now; you are building it from Parkway to Albion, but I don't think it changes anything about this point.

"...conditional on either one or two new compressors being established by Union Gas at Parkway West."

And the answer you gave is:

"Yes.  The addition of the capacity is conditional on at least one additional unit being installed at Union's Parkway West facilities.  This is because Enbridge's incremental contract volumes of 800,000 tJs a day will flow on TCPL's Parkway-to-Maple system from Parkway to Bram West."

I take it this is still the case?  You wouldn't -- that's still your answer?

MR. FERNANDES:  Yes.  Our understanding is it requires incremental compression.

MR. BRETT:  Right.  So you're saying, just to be precise here, you're saying it would require some incremental compression over and above what there is there now?

MR. FERNANDES:  Yeah.  Our understanding is that Union has stated Parkway compression is maxed out.  It could not meet that volume.

MR. BRETT:  Right.  Okay.  That's fine.  I agree --

MR. FERNANDES:  And that's separate and distinct from their loss of critical unit.

MR. BRETT:  No, I understand that.  You don't need to speak about LCU.  I think the question was very precise about compression used for growth.

So we're talking about -- in Union's parlance -- Parkway D?

MR. FERNANDES:  Correct.

MR. BRETT:  Correct?  Now, then the question I have next is a little -- is really this:  Do you have the option, assuming you go ahead with your segment A, as you've described it, and the distribution portion of that is 800,000 and the transmission portion is 1,200,000 gJs –- that's, I think, all well understood, or at least I think I understand it.  And you're looking at a 42-inch pipe for that purpose.

Do you have the ability, the flexibility to connect that 42-inch pipe to the -- let me add one other factor.  Part of the Parkway West project, as I think everyone knows, is to create a new gate station on the suction side of Parkway West, nothing to do with Parkway West compression, to give Union an additional gateway to back up its -- sorry, to give Enbridge a second gateway at Parkway to back up its existing Parkway Enbridge capacity.

Leaving that aside for a moment, do you have the option or could you connect the 42-inch line to the suction side of Parkway?

And I would like to hear -- well, go ahead.

MR. FERNANDES:  So the capability or design of the pipeline, it can certainly do that.  Our currently proposed facilities set on our side of the meter at Parkway West does not have that contemplated.

MR. BRETT:  But you could, I gather -- and I would like to either -– I'd like to hear you, but I'd also like to hear from the technical people if they have a -- Mr. Thalassinos and Mr. Moore if they have comments.

But you could modify that, I gather, at a cost which is not a huge cost; is that correct?

MR. FERNANDES:  I think I can answer that one and state absolutely it's -- in terms of those two pipelines they're in close proximity, but the other side of that is on the other side of the meter my understanding is the layout does have a crossover valving.  So Union already would have the capability to flow it through to us under those conditions.

MR. BRETT:  I'm understanding you to say that -- and I don't know whether really I've understood what you said.  But you could -- are you telling me that you could make that connection to the suction side by the expenditure of a certain amount of money on the valving metering system, which is not a huge sum of money in the overall -- relative terms?

MR. FERNANDES:  Relative to the cost of the overall project, relatively --

MR. BRETT:  Relative to the cost of the project?

MR. FERNANDES:  -- minimal.

MR. BRETT:  And this is one of the things you mean when you say flexibility, that this, the segment -- that your scheme gives you or your plan gives you a certain flexibility.  If you could do that, you wouldn't -- in that instance, you wouldn't need additional compression at Parkway West; correct?

MR. FERNANDES:  That is incorrect.

MR. BRETT:  Is correct?

MR. FERNANDES:  Is not correct.

MR. BRETT:  Why is that?  I just asked you about --

MR. FERNANDES:  It would physically be capable of being connected, but it certainly would not have the capability under those conditions to flow anywhere near the volumes that's we're talking about.

MR. BRETT:  Maybe I could ask the technical people.  What volumes could it flow in that case, Mr. Thalassinos?  Or Mr. Moore?

I would like to get some answers, really, from you folks, if possible, before you converse...

MR. THALASSINOS:  I think that question is more appropriate for panel 2 and Erik Naczynski.

MR. BRETT:  Panel 2?

MS. CHAPLIN:  You're first up to be able to ask questions for panel 2 when they return.  We didn't complete them.

MR. BRETT:  No, I understand.  Okay.  I just was surprised with the answer, that's all, because I thought that the senior technical people were on this panel, but I guess they've split.  All right.  I'll pursue that with panel 2.

Now, if you were to -- I want to explore a second option briefly with you.  If, instead of building the -- pursuing the 42-inch line, you were to build simply the distribution portion of your line, the 800,000 gJs a day, and you were to build that line -- let's assume as a first assumption -- from Parkway to Albion, presumably in that case, your answer would be the same as to the fact that you could connect it to the discharge side, but would the –- would you be able to, given the pressures, the system pressures at Union -- not the discharge side, I'm sorry, the suction side.  So you'll be dealing, then, with the Union system pressure; correct?

MR. FERNANDES:  I think I can answer that.

MR. BRETT:  If you could just answer, would you --

MR. FERNANDES:  We would be able to connect to the suction side.  That is correct.

MR. BRETT:  The pressure you would have there is the Union system pressure; correct?

MR. FERNANDES:  We would typically -- the design would be to their minimum contract pressure, which is 500 --

MR. BRETT:  Right.

MR. FERNANDES:  -- pounds.

MR. BRETT:  Right.  Which is 500 PSI, five?

MR. FERNANDES:  I think I can answer that at 500 pounds with a 42-inch --

MR. BRETT:  No, I'm sorry, we're not talking necessarily a 42-inch now; we're talking about a line that would be sufficient to move just the 800,000, just the distribution line, not a transmission line.

MR. FERNANDES:  That's what I was going to answer.  With a 42-inch line and 500 pounds on the inlet, we could not even get 800 with that.

MR. BRETT:  All right.  Now, supposing you didn't have a 42-inch line but you had a line that was sized simply to deal with the 800,000 gJs.  In that circumstance you would still have your 500 pounds per square inch inlet pressure.  And would you -- would it be -- and I'm really looking for a technical answer here.  Would it be doable to move that amount of gas across to Albion -- Albion, you have, as I understand it, an outlet pressure of 485 per square inch; correct?

MR. FERNANDES:  That's correct.  It won't --

MR. BRETT:  And you posited an inlet pressure of, I believe, 550, but that's on the basis, as I understand it, that you would be buying gas from TransCanada at their system pressure; correct?

MR. FERNANDES:  Based on the minimum contract pressure.  The --

MR. BRETT:  Correct.  So I'm giving you another -- another alternative.  If you had a line sized to accommodate 800,000 gJs per day, a distribution line, is that problematic?  Or can you move the gas across?  And if you did, what would be your -- what would be the inlet pressure at Albion?

MR. FERNANDES:  So we did look at that.  It would require a larger pipe size than a 42-inch in order to get the full 800 teraJoules per day, or 800,000 gJs.

MR. BRETT:  A larger pipe size?

MR. FERNANDES:  That lower pressure, you can't move that much gas even on a 42-inch line.

MR. BRETT:  What would be the -- all right.

MR. FERNANDES:  We did look at it at 500 pounds.  Very roughly, we would be able to get about 50 to 75 percent.

MR. BRETT:  Of the 800,000?

MR. FERNANDES:  Of our shift across that we would be contemplating.  So it would be the substantial reduction just for distribution only, and then in that case there would be nothing for transmission.

MR. BRETT:  I understand that.  This whole question has to do with a scenario we are not -- where there is nothing for transmission, where you don't build the transmission, but you are telling me that you could only get roughly 60 to 75 percent of the 800,000 across; so in that instance, you would have to -- what would your option be if you wished to try and get 800,000?  Would you have to build some of your own compression, or you would have to take -- you would have to have some compression at the Parkway West?

MR. FERNANDES:  We don't have compression in our distribution system today.

MR. BRETT:  I understand that.

MR. FERNANDES:  And given the work we've done with Union and collaborating, it would make sense for us to ask them for that compression service, which is what we've done.

MR. BRETT:  All right.  Now, that analysis that you did, you were just describing to me, is that in the evidence or not?  Or if it isn't, could you provide it by way of undertaking?

MR. FERNANDES:  We do have -- I don't have the reference with me, so I think I can provide the undertaking to give a reference where we were asked a question about capacity and pipe sizing.  Hopefully it would answer your question.  But if not, we could undertake for further responses if you would like.

MR. BRETT:  All right.  I would like --

MR. FERNANDES:  It's in the TransCanada interrogatories to us.  So I just don't have the specific number reference --

MR. BRETT:  Well, that's -- is that appropriate for undertaking?

MR. FERNANDES:  I'm pretty sure I could get it over the break --

MR. BRETT:  Well, maybe I could leave it.

MS. CHAPLIN:  We will give it an undertaking number, and the witnesses will respond with references in the evidence which may augment what they have already provided in testimony in answer to your questions, Mr. Brett.

MR. BRETT:  Thank you.

MR. MILLAR:  J6.3.

UNDERTAKING NO. J6.3:  EGD TO PROVIDE BOMA with EVIDENCE REFERENCES REGARDING PIPE SIZE AND CAPACITY.

MR. BRETT:  Okay.  Let me move on.  You were asked a number of questions about open season by Mr. DeRose, so I won't spend but a minute on this.  But as I understand it, in brief summary, you asked for bids for effectively 1,030 -- 1,030,000 gJs a day.  That's because you kept for yourself 170,000 gJs a day of the 12 -- of the 1,200,000 gJs a day that you have for transmission.  So just let me answer -- let me finish the question.

So you got 760,000 gJs in bids, so you didn't get a response -- you ended up at the end of the open season with 270,000 gJs a day open; in other words, not responded to in the open season; correct?

MS. GIRIDHAR:  Yes, that's a fair conclusion, but --

MR. BRETT:  That's all I want, really, at this stage.

MR. CASS:  Excuse me, Madam Chair.  I'm certainly respectful of Mr. Brett's efforts to stay within his time limit, and that is much appreciated, but I think the record would be much more clear, the transcript would be much more clear, if the witnesses were not cut off repeatedly in the course of their answers.

We took a long time in the previous examination to get to the point that the scenario Mr. Brett was describing would actually require a larger pipe size.  I think if the witnesses had not been repeatedly cut off we would have got to that much sooner.  So I don't think we're saving time by having the witnesses cut off repeatedly.  Thank you.

MS. CHAPLIN:  Well, the question was fairly clear.  Mr. Brett asked for confirmation as to the physical numbers of the open season.  I think Ms. Giridhar gave the answer, and I think Mr. Brett can move on with his next question.

MR. BRETT:  Thank you.

Now, the question here -- you mentioned, I think, earlier that two of the bidders -- or it's generally understood that two of the bidders were Gaz Mét and Union, and that took care of about 350,000 gJs, so you have another 410,000 there to get to the 760 that was bid in.

Who were the people that bid in the additional amount?  Can you tell us that?

MS. GIRIDHAR:  My understanding is that our STAR rules prevent us from disclosing the names of shippers who have bid in.

MR. BRETT:  Your rules?  Sorry, your what rules?

MS. GIRIDHAR:  Well, under STAR we do not disclose the parties that have participated in an open season until we have concluded arrangements with them.  So we did receive additional bids beyond Union and Gaz Métro, and I'm able to confirm that the volume that you are talking about was a request for service in 2015, and we also had interest in service for 2016 as well.

MR. BRETT:  So you asked for service bids in both years, and -- is that correct?  And the 760 that I talked about earlier, that is for 2015 and 2016, or is it split between the two, or is it all for both years?

MS. GIRIDHAR:  It's split between the two.

MR. BRETT:  Oh, I see.  So you don't really have any given year 760, you have a lesser number than that.  How much do you have for the first year, for 2015?

MS. GIRIDHAR:  My understanding was it was -- I will have to go back, Mr. Brett, because I suspect one of the other shippers also bid in for 2015, and if I were to tell you then I would have disclosed the --

MR. BRETT:  Perhaps -- yeah.  Perhaps we could have an undertaking.  I would like to know who they -- what the volume of bids was for each of the two years separately.

MS. GIRIDHAR:  All right.

MR. MILLAR:  J6.4.

UNDERTAKING NO. J6.4:  EGD TO PROVIDE OPEN SEASON BID VOLUMES FOR BOTH 2015 AND 2016 SEPERATELY.

MR. BRETT:  Now, I would argue, I actually am of the view that there is no confidentiality here, either in your documents -- either in your bid documents or elsewhere, but I don't really have time to engage Mr. Cass in a debate over confidentiality, so I'm just going to ask:  Can you tell us something about the categories of shippers?  For example, are any of the northeast LDCs -- did any of the northeast LDCs bid in either of those years?  I'm not asking for any names.

Let me put it -- I'm asking just for broad categories.

Let me just state for the record the three categories I have in mind.  There are marketers, gas marketers.  There are LDCs, and we know there's a lot of them that take short-haul service into New England through Iroquois.  And then TransCanada itself.

Did Tran -- I'm assuming from what I've heard to date and from the way you've structured this that TransCanada would not be bidding into the open season, could not bid into the open season.

MR. CASS:  Well, Madam Chair, first, there is a confidentiality issue that surrounds all of this information that Mr. Brett is now pursuing.  Second, I don't understand the relevance or why the Board needs to know the identity of parties that bid into the open season.  In particular with respect to the previous question about northeast LDCs, there are LDCs participating in this case, and if Mr. Brett wanted to ask them questions about their requirements -- in fact, those questions have been asked.  The Board has lots of information about the requirements of LDCs and about the requirements of TransCanada.  I don't see that there's a need to have this information with respect to Enbridge's open season.

MR. BRETT:  Well, again, I don't want to engage in a huge debate here.  There are no northeast LDCs present in this case.  I'm not sure what my friend is referring to.  There are a lot of shippers on the line.

MS. CHAPLIN:  Well, why don't we start, Mr. Brett, with you explaining how greater information as to the type of customer that is bid into the open season will help us to make a decision.

MR. BRETT:  Well, I think one factor would be if we -- if, for example -- I think, for example, it would be relevant -- we've talked a lot about capacity here, additional capacity that is required on this -- transmission capacity that's required both from Union and from Enbridge as part of a justification for their proposals.

If it turned out, for example, that there were no northeast utilities at all that had put bids in for this piece of the transmission chain, I think one might draw an inference from that that since long-haul contracts would be required that they are not inclined to renew their contracts when they expire in the next couple of years.  That would be one example.

But I don't want to overstress this.  I think you can make the case without it.  I think it would be stronger -- it would give us a richer tapestry to work with if we had it, but -- had the categories, but I don't think it's essential.

MS. CHAPLIN:  All right.

MR. BRETT:  Now, if I may move on, can you tell me, Madam Chair, I'm a little -- how much time I've got, roughly?

MS. CHAPLIN:  You have about ten minutes.

MR. BRETT:  That's what I was worried about.  Yeah, okay.

All right.  Let me just get on then with a piece of this that I think is quite important.  And I think the best way to do this is probably to ask you to -- I don't know that you need to turn this up, but you could put it on the screen.  It's 1.A1.EGD.BOMA.26.  And I'll read the question briefly here.  I have a couple of questions for you on your answers.

First of all, I want to just refer you to the settlement agreement.  Again, I don't need you to turn this up, but it's the high-level principles, the second bullet of the settlement agreement.  And this is where -- it reads as follows:

"Capital expansion in the EOT will be promptly pursued to meet market needs and will be added to the EOT rate base.  TransCanada agrees to accommodate the requests of EOT shippers that request additional short-haul capacity during the term of the settlement and reasonably thereafter according to industry practice."

So am I correct to read that, as sort of part of the overall deal, TransCanada is saying:  Look, we will not -- we'll stop our practice of refusing to build?  Since we've got satisfactory overall arrangements, we will build to meet the market, and the –- and our eastern Ontario line will incorporate our new builds and rate base?  That's essentially what this is saying?

MS. GIRIDHAR:  That is correct.

MR. BRETT:  All right.  Now, in 26, the question is:

"Does segment A need to be built by Enbridge, or could Enbridge take capacity on a line constructed by TCPL?"

And "Please compare the relative costs", and so on, relative costs and benefits or dis-benefits to ratepayers, "of having TCPL build the Bram West-Albion line" -- that should now read "Parkway-to-Albion" -- "and Enbridge contract its required capacity."  And your answer starts off, "With respect to the" -- without looking at the original, the first lead-in paragraph:

"With respect to Bram West-Albion component of segment A, the decision to build from Bram West to Albion was based on a review of build and contract options available in the marketplace."

Do you have -- have you filed in evidence that -- this review of build and contract options that are available?  And if not, could you undertake to file it?

[Witness panel confers]

MS. GIRIDHAR:  Mr. Brett, I'm thinking we would have spoken qualitatively about this in the "Alternatives" section of our evidence.  However, in terms of a review of build and contract options, essentially the Parkway-to-Maple line was constrained.

MR. BRETT:  So there -- yes, so there -- I mean, this question dates from an earlier period obviously, but do you have any quantitative analysis?

MR. FERNANDES:  I think what I would like to do is demonstrate -- what Enbridge did was work with its upstream providers and looked at a coordinated build-out, so I can demonstrate the other alternative that would be in our discussions with TransCanada, but what the alternative was if they were to build.

MR. BRETT:  What I really am after is an analysis, a written analysis that says -- you talked about a review of build and contract options, and I'm wondering whether that review -- and it's particularly the quantitative part of it, because, you know, there is a quantitative dimension, obviously, to this.  Ownership options have financial implications and contractual options have financial implications.  And I would have thought that you've got a fairly sophisticated comparison of those somewhere.

MR. FERNANDES:  I think if we can bring up A1.EGD.CME.6, attachment 6, I'll be able to demonstrate what the alternative looked like and be able to put some numbers to it, if we could take a brief look at it.

So in our discussions, one of the alternatives that we did look at was -- what you're essentially talking about is a "buy versus build" scenario, where we could buy the transport service to move it from west to east, rather than building the infrastructure within our franchise.  And in the discussion when we bring that up, the alternative that we looked at with TransCanada, because they have been increasing capacity on their existing Parkway-to-Maple path, they are at a point now where they have completed what I would call the easy tranches of capacity.  And in our discussions with them, their next tranche of capacity would have required 40 kilometres of 42-inch pipeline.

MR. BRETT:  Just on that point, did you ask them -- you state in your evidence that TransCanada would not build on the route that I've suggested.  Did you ask TransCanada whether they would be prepared to build from Parkway to Albion?  Was that part of your discussions with them?

Or from Bram -- I guess in their case from Bram West to Albion.  Was that question put to them?  And did they give you -- come back with some kind of an analysis of what that would cost?

Particularly if they were to use your -- you have, as I understand it, your Parkway North line, and your own line that you propose to build would use an existing utility corridor, which, as I understand the evidence, either you own or you own in conjunction with public authorities.  And so assuming that TransCanada were to be able to make use of the same corridor that you intend to make use of with your segment A, did you get any assessment from them of whether -- any indication that they would be prepared to build?

I'm -- we're speaking now, of course, in the context that you're no longer at war, that you've settled.  You have a settlement term sheet.  You're expecting a settlement agreement.  And as I think you've stated in different ways, TransCanada is -- has been the historic builder from -- of the EOT.  TransCanada's historic role was interrupted by the NEB's decision, which made it impossible or difficult for them financially to build new service.

But my question to you now that we've got an agreement where everybody is no longer at loggerheads:  Have they said they won't?

Sorry for the length of the question, but I -- it's quite important to me to get an assessment of this.

MR. FERNANDES:  There's three relevant points.

We did engage with TransCanada because -- to your point, Mr. Brett -- that they are the traditional builder along this path.  What we have up now shows the alternatives.  Their next tranche of capacity or -- if we had simply asked them for service, their tranche of capacity would have required 40 kilometres of 42-inch pipe as opposed to our 27, and that would not have accounted for the infrastructure required to get it into our distribution system.

So again, the path has value going along into Albion.

The other points are that when we look at it from our ratepayer point of view, TransCanada has a higher return on equity.  So it's actually advantageous to our customers for us to have that pipeline being built -- assuming that you are correct, technically ownership does not matter for physical flows.  Presumably we can both build it at the same cost.  There's still an advantage for Enbridge customers for Enbridge to build this.

And finally, in our discussions, TransCanada concluded that a TBO arrangement in our original MOU was better for their rates and their customers, so they wanted to take the service from us.

MR. BRETT:  TransCanada's return on equity has been in the -- under the settlement agreement, you've guaranteed an 8.7 percent return, which is less than your return on equity over the next five-year period.  But let me ask this.

MS. GIRIDHAR:  Mr. Brett, TransCanada's return on equity is 10.1 percent according to the term sheet, not 8.7.

MR. BRETT:  You have -- if there are deficiencies in revenues, you're going to have a deferral account and you are going to clear those deferral accounts, and your bottom line is you've guaranteed them 8.7.

MS. GIRIDHAR:  Yes, but 8.7 is not the basis of ratemaking for TransCanada.

MR. BRETT:  No, I understand --

MS. GIRIDHAR:  And if I might just conclude on that too.  We do have an agreement with TransCanada that obviously does need to go to the NEB.  We have gone as far as we could.  We are looking at 15 years of -- suddenly have this certainty in terms of toll methodology, six years of certainty in --

MR. BRETT:  Excuse me, I don't want --

MS. GIRIDHAR:  -- and fundamentally the distribution

-- holding the asset for the benefit of our ratepayers assures them --

MR. BRETT:  I know you're -- I know you're -- sorry, I know you're --

MS. CHAPLIN:  Mr. Brett --

MR. BRETT:  I'd like you to stop.

MS. CHAPLIN:  Mr. Brett.  You asked the question about a scenario of the TCPL alternative.  The witness is entitled to provide their analysis of that comparison.  You asked for that.

MR. BRETT:  I know, but I don't think she's --

MS. CHAPLIN:  I understand that you feel under pressure of time.  We will let Ms. Giridhar finish her answer, and then you can move on to your next question.

MR. BRETT:  Thank you.

MS. GIRIDHAR:  I was just going to conclude, saying that whenever you have an arrangement with an upstream transportation provider, it's a contractual arrangement for a certain period of time.  When we build distribution infrastructure, that's available for our ratepayers as long as the assets are used and useful, and in the overall analysis it did make sense to build the capacity along a path that feeds directly into our distribution system that was substantially shorter but also had rate benefits.

MR. BRETT:  Do you agree with me that -- thank you.  Do you agree with me that you -- you mention here is a second reason that you give, is that you were influenced by Enbridge's desire to have a degree of control over your gas supply cost.

Do you agree with me that, whether or not TCPL built the line or you, you would be able to buy your gas where you wished?  If you wished to buy it at Marcellus or the U.S. because you thought it was -- you'd get a better price there, you could buy it where you wished, move it to Parkway, and TransCanada or you would then move it to your franchise; correct?  In other words, your -- Trans -- your building your own transmission line is not a sine qua non for you to be able to buy gas at the most cost-effect -- in the most cost-effective way.  That's a separate issue.

[Witness panel confers]

MS. GIRIDHAR:  The issue, Mr. Brett, was with respect to having to pay TransCanada tolls for this piece of pipe versus us building and having certainty that we were going to be reflecting a cost to service over time with an asset that would be useful but depreciating and resulting in lower-cost consequences for our ratepayers.

MR. BRETT:  But do you agree that -- that speaks, I think, to transportation cost, which is the other part of your gas supply.  You would agree that under the terms sheet that the rates -- the tolls are going to be fixed for the first five years.  TransCanada's tolls on the relevant paths will be fixed; correct?

MS. GIRIDHAR:  TransCanada's tolls will be fixed for the first six years, 2015 to --

MR. BRETT:  Right.

MS. GIRIDHAR:  -- 2020.

MR. BRETT:  And any builds they make in that period will be on the basis of rolled-in tolls, correct?  That's also in the terms sheet.

MS. GIRIDHAR:  That is correct.

MR. BRETT:  Okay.  And Is there any reason in principle why -- now, I agree you would have to -- is there any reason why you couldn't or wouldn't, if it came to that, allow TransCanada to build in your corridor rather than you build in your corridor?  If it were determined that that was the most cost-effective corridor to use, is there any reason why you would not be able to lease?

MS. GIRIDHAR:  I think we have answered this question already, Mr. Brett.  What we're talking about is, under the terms sheet, if it is approved by the NEB, you are talking about six years of fixed tolls on the TransCanada system.  The highest tolls we'll actually pay if we -- as a result of us building this infrastructure ourselves is for the year when the rate base is first fully effective, which would be 2016.  Beyond that we will have declining rate base because of depreciation, and that will continue over the next 40 years, subject, obviously, of course to maintenance and so on.

So fundamentally building this asset, which is required for distribution purposes as part of our rate base, does give us a better degree of control over the cost for our customers vis-a-vis taking a service from a transportation service provider whose tolls will be affected not just by this pipeline but a myriad of other factors.

MR. BRETT:  Well, that is your point, and I guess we'll take that to argument.  But you would agree that if you own the pipeline, if you own, not just your pipeline, your distribution part, but the entire pipeline, that you do -- you're going to be incurring depreciation charges, you're going -- there are costs of ownership that you are going to incur, and I think that you have made clear to some others -- and I won't get into that, because Mr. DeRose covered it well yesterday -- there are incremental risks that you will take on by owning the pipeline, particularly if it becomes clear that you -- that the pipeline is not going to be full, either ever or for the period of initial years; and finally, because you seem based on your evidence today to my questions to you at the technical conference and -- your evidence, as I understand it, is that you'll start to build this line before you have signed precedent agreements or signed contracts, and I think you told Mr. DeRose also before the NEB has approved TransCanada's Kings North line.  That is correct, is it not?

Let me break that into two pieces.  It is correct that you are going to start to build in advance of those, what are normally customary approvals that a transmitter gets before he begins to build?

MS. GIRIDHAR:  That is correct, Mr. Brett, and at the risk of repeating myself, we also laid out why it is appropriate to do so, in my response to Mr. DeRose.

MR. BRETT:  Okay.  Thank you.  I'm over, so thank you.  Those are my questions, and we'll move on.

MS. CHAPLIN:  Thank you.

Mr. Rubenstein, I believe you are next on the list, with 15 minutes.

MR. RUBENSTEIN:  I thought I had 30 minutes, but I will be less.  I will be about 15, 20 minutes.

MS. CHAPLIN:  Ah, you see my method.

[Laughter]

Let's say you have til the break, if we break at 11:00.

MR. RUBENSTEIN:  That's fine.  Thank you very much.

Cross-Examination by MR. Rubenstein:

MR. RUBENSTEIN:  Panel, I just want to start off with this question.  It was Union's evidence through their panels that for them their two projects are the largest undertaking -- single undertakings that they have ever done.  Is this Enbridge's largest single capital undertaking that they have -- that you've ever done?

MR. FERNANDES:  Yes.

MR. RUBENSTEIN:  Thank you very much.

The first thing I -- the first area I want to talk about is -- just want to go a little further with a discussion that was had with Mr. DeRose last week with respect to the risk if downstream facilities aren't built.  And my understanding from the evidence and the discussion that you had with Mr. DeRose last week was that Enbridge will award the capacity from its recent open season as soon as the settlement agreement is approved.  Am I correct?

MS. GIRIDHAR:  That is correct.

MR. RUBENSTEIN:  And that's very likely before the NEB provides approval for construction of the TCPL's King North project; correct?

MS. GIRIDHAR:  Yes, I think I was not able to tell you specifically whether it would occur before or after, but likely, yes.

MR. RUBENSTEIN:  Well, you signed the -- but you will award the capacity.  When will you award the capacity for segment A?  Will this be --

MS. GIRIDHAR:  As soon as the NEB issues its decision.

MR. RUBENSTEIN:  On the settlement agreement?

MS. GIRIDHAR:  That's correct.

MR. RUBENSTEIN:  Will you have signed the precedent agreements before constructing the segment A?

MS. GIRIDHAR:  We would expect to start construction of segment A immediately after the decision by the Ontario Energy Board, assuming approval, so that I understand would be -- well, not physical construction, but all the procurement decisions required for construction would occur as early as January 2014.  Does that answer your question?

MR. RUBENSTEIN:  Well, my question is with respect to the -- when you award the capacity and are signing the precedent agreements and the financial backstop agreements, will that happen before approval for the King North project?  I understand that you'll start constructing segment A, but with respect to awarding capacity and then signing those agreements.

MS. GIRIDHAR:  We expect to sign those agreements.  As I said, it's likely that it will occur before approval of the Kings North project.  It's a standard practice when these agreements are signed that the precedent agreement would include some conditions precedent that the shipper would have.  So TransCanada would likely have certain conditions precedent about its regulatory approval process, as well.

MR. RUBENSTEIN:  Well, okay.  I think that is getting into the sort of the area I want to discuss.  So the current precedent agreements and the financial backstopping agreements that you've included in your open-season package, which are essentially -- I would assume see more of a template, what is -- sort of what are the general expectations.  Would I be correct?

MS. GIRIDHAR:  It is correct that there are elements that are negotiated with the shippers, so yes, these are the template.

MR. RUBENSTEIN:  So the current financial backstopping of precedent agreements, they don't include any of these conditions with respect to downstream facilities?

MS. GIRIDHAR:  I'll have to read them through, but generally we would expect the shipper to add certain conditions precedent that would be unique to them.

MR. RUBENSTEIN:  And you would expect that there would be a condition that would require the approval and the construction of those downstream facilities, for the reasons that were discussed with Mr. DeRose, that a shipper doesn't want to pay for -- there's no value of just getting the gas to Albion?

MS. GIRIDHAR:  I think it's also fair to say that even if there was a condition precedent around regulatory approval of the downstream facilities, that the cost consequences could begin to accrue before that conditions precedent date.  So that is also fairly typical in these arrangements.

What those conditions precedent would do would limit exposure, but they would not absolve them of cost consequences.

MR. RUBENSTEIN:  I would like to understand.  If ultimately those downstream facilities are not built, but some form of a precedent agreement and financial backstopping agreements have been signed after the capacity was awarded, would you expect that there will be some risk on those shippers if there are -- if the downstream facilities are not built because of the lack of approvals?

MS. GIRIDHAR:  So again, we have not entered into those negotiations yet with these shippers, but there are standard considerations in signing these sorts of arrangements.

In any precedent agreement regarding transportation service, there's usually contemplation of the level of exposure, the limitation of exposure and the timing of exposure, so I'm not able to be any more specific than that.

MR. RUBENSTEIN:  And you understand from our perspective the reason we're asking this is from -- the current evidence is that if there's no capacity that flows on segment A, distribution ratepayers are responsible for the cost of segment A.  So I'm trying to better understand what are the possible risks that the shippers are -- sort of a portion of the costs of segment A that could flow to shippers even if there's no downstream facilities that ended up being constructed.

MS. GIRIDHAR:  Yes.  And my response is that it's difficult for me to contemplate exactly what they might be at this point in time, because we have not negotiated those agreements.

But again, at the risk of repeating myself, we have shown that the NPS 42 is feasible and economic even if there was no downstream shippers, transmission shippers.

MR. RUBENSTEIN:  All right.  I would like to move onto another area with a quick question with respect to transportation savings.

Much of the discussion with Union in this hearing has revolved around the term sheet and how it affects the projected gas savings costs.  In a broad sense, it's Union's position that the gas saving numbers will not change with respect -- since the aim of the term sheet is to maintain the differentiate between long- and short-haul tolls.

Does Enbridge take the same view as Union with respect to its gas savings costs, that the proposed transportation changes will be unchanged because of the term sheet, since the differential between long-haul and short-haul tolls are -- it's their -- expected to be the same?

MS. GIRIDHAR:  I think we're able to say that we don't expect them to be materially changed, but we are in the process of receiving some indicative tolls from TransCanada.  So to the extent that the differential -- to the extent that we're considering that differential between long-haul and short-haul, indications right now is that they may actually increase slightly, as opposed to being exactly the same, which would obviously make the benefits higher.

MR. RUBENSTEIN:  And Union had stated that before the joint panel, it will provide its -- I'm not sure there was any specifics about what exactly the information that they will provide, but they will be trying to provide the expected tolls and potentially the impacts on their transportation savings.

Would Enbridge be doing the same thing?

MS. GIRIDHAR:  We do expect to provide a table, yes.

MR. RUBENSTEIN:  I want to talk about the SMYS and pipeline pressure issue that was discussed earlier on today but also in the panel 2 discussion.  If we can bring up Exhibit A, tab 3, schedule 3, page 17?

So at paragraph 30 you discuss why the threshold of 30 percent SMYS is important.  The second, four lines from the bottom, the second reason is, the second:

"It is required by Ontario Regulation 223/01 that integrity management program is in place for all pipelines operating at or above 30 percent SMYS."

Am I correct that the regulation essentially references a TSSA document that provides for that?

MR. THALASSINOS:  Yes.  That's referencing a TSSA document, oil and gas pipeline systems coded option document, FS-196-12.

MR. RUBENSTEIN:  And the discussion that you had with Mr. Elson today was -- you'll provide an undertaking to provide that integrity management program, but my understanding is you have that in place for all your over 30 percent SMYS pipelines?

MR. THALASSINOS:  Just to clarify, we do have a broad integrity management program.  This particular regulation and -- that was recently adopted -- requires, in addition to the integrity program that we've always had, is to look at the risks and remediate the risks for pipelines operating greater than 30 percent of SMYS, with the direction of looking to reduce those risks.

So our -- and that 30 percent SMYS number is important because that's the generally understood leak rupture boundary, where if there was a defect below 30 percent SMYS, that would most likely result in a leak; versus if there was a defect above 30 percent SMYS, that would -- could result in a rupture which would have catastrophic consequences.

So our response to that is, directionally, we are looking to lower the operating stress on our high-stress pipelines to less than the 30 percent of SMYS, including the lines that we are speaking about in this application.

MR. RUBENSTEIN:  I understand that.  And I know we'll be getting by way of undertaking the actual document, but I was wondering if at a high level you can talk about what exactly the integrity management program includes with respect to dealing with high-stress or above 30 percent SMYS pipelines.

MR. THALASSINOS:  Okay.  Let me just step back and then I'll try to answer your question.

We said we are directionally looking to lower our pipelines operating less than 30 percent SMYS.  What that means is that moving forward, we need to look at all of our pipelines, and prudently look at what are the risks associated with those pipelines and identify how would we go about reducing that risk, whether it's by lowering our operating pressures during summer, during the summer season, or whether -- or in what order we would be reducing those stresses below 30 percent of SMYS.

In order to do that, we need to have the opportunity to lower our stress below 30 percent of SMYS.  So with these facilities -- without these facilities we cannot lower the stress on these old -- greater than 40-year-old pipelines with a single feed to downtown Toronto that would result in the loss of tens of thousands of customers.

MR. RUBENSTEIN:  No, I understand why you believe these pipelines are important.  I just want to -- much basic level.

You're required by the regulation to have an integrity management program in place for all pipelines operating at or about 30 percent SMYS, and my question is just more specific to that.

What exactly would be in the integrity management program to deal with this?  What exactly is included in that document at a high level?

MR. THALASSINOS:  So when referencing before the integrity management program, I was referring to our general integrity management program that we use to assess all of our pipelines and identify our highest-risk assets and both quantitatively and qualitatively.

We have not done an analysis looking at these particular -- all of our lines over 30 percent of SMYS to determine which -- in what order those lines should be reduced in operating stress.  We would have to do an analysis of the risk associated with the pipelines, what effect they would be, in terms of the operation of the system, and where are the opportunities to reduce those operating stresses.

MR. RUBENSTEIN:  All right.  If we could just move one page.  This might flow into your answer to the last question.  We can move one page just to page 18, and in paragraph 33, which is just at the bottom.  I'll just read the paragraph:

"The company believes that in order to ensure continuing reliable and safe delivery of service it should diversify the supply pass, increase the flexibility of the systems, and reduce the operational risk associated with the two key pipelines by reducing the operating pressure below 30 percent SMYS.  The company plans to reduce the operating pressure of these two pipelines below 30 percent SMYS after the proposed facilities have been installed.  It is expected that these lines would continue to be considered under the company's integrity management program."

So regardless of reducing the pressure for those lines, it's still going to be under the integrity management program which you are required to do for pressures above 30 percent?

MR. FERNANDES:  If you're referring to the integrity management program, one of the major components would be in-line inspections or internal inspections.  So our plan is to actually continue to do that on these pipelines, given their location and their large diameter.  So that is what has been determined to be the best technology available for monitoring integrity of pipelines above 30 percent.

So we're going to continue on those to ensure that we have appropriate information to manage those pipelines over their remaining life.

MR. RUBENSTEIN:  So with respect to what you are required to do by the Ontario regulation, would I be right saying that, regardless of the pressure, you'll be doing the same thing?

MR. THALASSINOS:  No.  The integrity management program considers pipelines operating -- our integrity management program considers looking at the risk associated with pipelines operating above and below 30 percent of SMYS and all of our assets.

The specific directive with the TSSA code adoption document is to take a special look at the particular risks associated with pipelines operating over 30 percent of SMYS with the intent of remediating and reducing that risk.

So in our response to that is that directionally we are looking to reduce the operating stresses on our pipelines operating greater than 30 percent to reduce that risk, and that is particular to pipelines operating over 30 percent of SMYS.

MR. RUBENSTEIN:  Okay.  Thank you very much.

And the last thing is, Mr. Fernandes, you talked earlier in response to questions by Mr. Elson about the benefits of the project as it relates to lowering the pressure, and you were discussing how, you know -- as it relates to ageing infrastructure.  Do you remember that?

MR. FERNANDES:  I remember the conversation.  Is there something more specific?

MR. RUBENSTEIN:  Yeah.  I took that to -- and correct me if I'm wrong -- that implicitly by lowering the pressure you are helping to maintain those ageing pipelines.  Would that be correct?

MR. FERNANDES:  What I think we're trying to articulate is that, given changes in code, changes in societal risk tolerance, by lowering the pressure or reducing risk, it allows us to be more comfortable with extending the life of those assets and continuing to have them used and useful for the benefit of our ratepayers.

As you can see from a map, though, you know, they are -- there's no definitive plan, absolutely, but nothing lasts forever.  So we're putting in place infrastructure so that when the determination is made that those pipelines either need to be taken out of service or lowered further, and how we manage that over its life cycle, we have the other infrastructure in place to ensure we can still meet firm demand.

That is what we're really trying to say, is that this is not simply added capacity.  Its location was well in our network, and it's pre-planning for things that we know will eventually over the life -- the remaining life of those assets that, although we're reducing their capacity today, they are still going to be very useful.

So it's important to understand that we want to have those diversity of paths within our system operationally today, but as in the future when those assets and other assets may be taken out of service or lowered, in terms of their capacity, we've inherently strengthened the rest of our infrastructure.

And we have done this historically.  I mean, we have in on evidence that we have lowered pressure on other ageing infrastructure.  If we go through the history section, we quite explicitly mention how that has happened.

So the point being is that we're reinforcing along key supply lines in order to add diversity, but we're also putting them in strategically placed to ensure that when we do have to lower capacity in the future we'll have capacity already available.

MR. RUBENSTEIN:  So would I be correct in saying that if you don't -- with respect to the benefits on the pressure issue, that the pipelines will stay in service longer than would otherwise be by lowering the pressure through this project?

MR. THALASSINOS:  Yes, that's correct.

MR. RUBENSTEIN:  And did Enbridge calculate how much longer or the economic benefits would be in sort of deferring replacement of certain assets by undertaking this program which lowers the pressure for some of the pipelines?

MR. THALASSINOS:  No, no, that's not how we would go about assessing the -- in making those decisions.  So we, as noted earlier, we have integrity management programs, so we assess the condition and operating conditions and geography, including intensification of all of our assets, and we have intensive internal inspection programs that assess our pipelines periodically.  We also have maintenance programs that ensure that we can extend the life of our pipelines.

As we assess those -- and for example, if we were to have inspections, and by looking at that, we were to determine that we would need to lower the operating pressure based on its condition and operating history, then we would do so at this time.  We can't predict when or how long that would be.  That is something that we would be constantly monitoring and maintaining through the life of the pipeline.

MR. FERNANDES:  A little bit more colour specifically with respect to this project.  We did mention that Exhibit A, tab 3, schedule 9 talked about the costs that are included here, and we've stated that there are other benefits, so specific to your point around economic feasibility, the economic feasibility that we presented does not include a number of items.  It does not include the replaced capacity by lowering the pressure.  That has not been monetized, even though it has value for ratepayers.  But it has been included in the economic feasibility with zero monetary value.

The other benefits that we talked about with respect to the reliability of our supply chain, such as the second feed into Toronto, the elimination of the east/west bottleneck, additional entry points into our system, and the upstream contracting, all of those things have been included at zero economic value, even though they're valuable for our customers in terms of the economic feasibility presented for this project.  So they are the important items, but we have not monetized them, if that was the crux of your question.

MR. RUBENSTEIN:  Well, I just, as an example, there's the chart just above paragraph 33.  So I would -- would you agree then that, say, for the NPS 30 Don Valley pipe installed in 1971 with an SMYS of 36 percent, that you want to lower below 30, you cannot say that, We expected that it would need to be replaced in some year, and now we think that we can now get certain more years of use out of it because of lowering the pressure?

MR. FERNANDES:  I think the simple answer is no.

MR. THALASSINOS:  I'll just add to that.  I think we can say that we'll be able to extend the life; we cannot determine how much we would be able to extend the life.

MR. RUBENSTEIN:  Thank you very much.  Those are my questions.

MS. CHAPLIN:  Thank you, Mr. Rubenstein.  Just before we take our break, I just want to raise some questions regarding tomorrow.

We have the joint GEC and Environmental Defence panels appearing, and I believe they're committed for tomorrow and they need to be completed tomorrow.  That's correct?

MR. POCH:  The gentlemen are in Toronto.

MS. CHAPLIN:  Now, what amount of time were you proposing for them in terms of direct examination, if any?

MR. POCH:  I think I indicated early on I had expected about half an hour, because there has been any number of things that have come up since they filed their reports that they will be responding to.

MS. CHAPLIN:  So that would mean -- that would give the estimates for that panel at close to three hours, I believe.  And I believe we still have almost two hours remaining for Enbridge panel 2.

So I guess maybe I would ask Mr. Millar to discuss with the parties how we might order those.  Maybe we need to do the GEC/Environmental Defence panel first, to ensure they are completed.

MR. ELSON:  Could I make some comments on that issue, actually?

MS. CHAPLIN:  Mm-hmm.  Yes.

MR. ELSON:  This is Kent Elson from Environmental Defence.

We would have concerns with our panel presenting evidence after the applicants' panel has presented its evidence on DSM.

MS. CHAPLIN:  You mean before?

MR. ELSON:  Sorry, the other way around.  So our preference of course would be to have our panel go second on Thursday.  I'm hoping from the looks of the time estimates that that is doable.  I don't know if the Board could possibly sit for an extra hour or half an hour if that's necessary, but in the normal course, our expectation is that we would be providing our evidence in response to the applicants' evidence.

MS. CHAPLIN:  I understand that.  I guess we're also trying to work up against a variety of scheduling constraints.

All right.  Well, the Board will consider whether or not we can sit an extended day tomorrow.

Perhaps I would just ask for parties -- so we still, for Enbridge panel 2, we are still Mr. Brett, Mr. Poch, Mr. Quinn, Mr. Wolnik, and perhaps, I think, a bit from Mr. Rubenstein.  So maybe -- on my information that I had, that added up to two hours.  Maybe parties could either confirm those times to Board Staff or revise them, to see whether or not that full amount of time is still needed.

MR. CRANE:  Madam Chair, it will be small comfort to you, but IGUA was allocated, I think, five minutes for the GEC panel, and I don't anticipate having any questions for them.

MS. CHAPLIN:  Great.  It's five after eleven.  We'll break now until 11:30.

--- Recess taken at 11:06 a.m.

--- On resuming at 11:34 a.m.

MS. CHAPLIN:  Please be seated.

So we understand from Board Staff that we should be -- that there should be no difficulty completing the Enbridge Panel 2 tomorrow first and then proceeding with the GEC/Environmental Defence panel.  And to the extent that it goes a bit over time, the Board does have some availability to sit for part of the afternoon to ensure that completes.  But it's our expectation that wouldn't require too much additional time.  So with that.

MR. POCH:  I think I'm next up, Madam Chair.

MS. CHAPLIN:  Are you?  Okay.  Thank you.  I've lost my list.

MR. POCH:  I saw you searching, so...

MR. THALASSINOS:  Sorry, excuse me, Madam Chair.  Sorry.

MS. CHAPLIN:  Yes.

MR. THALASSINOS:  Just by point of clarification, I just want to clarify, I believe it's undertaking J6.2, which is the filing of the integrity report.  I just want to clarify that we can provide that report in confidence.

MS. CHAPLIN:  All right.  Would you be able to -- well, I guess we will expect Enbridge to file that in accordance with the Board's confidentiality practice direction.

MR. CASS:  Yes, Madam Chair.  I haven't seen the report.  I would have to see it and then of course make sure that the filing complies with the Board's practice direction.

MS. CHAPLIN:  Okay.  And it was Mr. Brett, I believe, that requested that.  Was it?  Sorry, I'm...  Was that?

MR. MILLAR:  I think it was Mr. Elson, perhaps?

MS. CHAPLIN:  Mr. Elson.  Thank you.

So a number of counsel have already signed declarations and undertakings with the Board, have they not?

MR. MILLAR:  Yes, they have.

MS. CHAPLIN:  Okay.  And Enbridge would propose to provide it to those that had signed that in the first instance?

MR. CASS:  Yes.

MS. CHAPLIN:  Okay.  So let's proceed on that basis, then.

MR. THALASSINOS:  Sorry, sorry, Madam Chair.  Just a second item.

MS. CHAPLIN:  Yes.  Yes, Mr. --

MR. THALASSINOS:  Just to clarify something on the record.  There was a reference, in terms of what -- how many kilometres there are at EGD that are greater than 30 percent of SMYS, and for the record, it's 262 kilometres.

MS. CHAPLIN:  Thank you, Mr. Thalassinos.  Okay.

MR. FERNANDES:  Madam Chair, there was one other item from an undertaking.

MS. CHAPLIN:  Sure, Mr. Fernandes.  Go ahead.

MR. FERNANDES:  Mr. Brett was asking for references with respect to a lower pressure on segment A, and I can give the references.  One is IA3.EGDupdate.Staff.4.  The other one is I.A3.EGDupdate.TCPL.24C.  Thank you.

MS. CHAPLIN:  Thank you.

Any other preliminary matters?  Okay.  Please proceed.

MR. POCH:  Thank you, Madam Chair.

Cross-Examination by Mr. Poch:

MR. POCH:  Gentlemen, earlier this morning you were talking about -- gentlemen and Ms. Giridhar -- you were talking about the sort of other benefits of your project that aren't caught in your economic analysis.  One of them was this sort of pre-planning for, eventually, that -- the hope that you would defer replacement of pipe out in the future.

We're talking ten or 20 years from now, that kind of time frame?

MR. FERNANDES:  In terms of the path into -- if we can look at the panel board, into Albion?

MR. POCH:  I was thinking of more the -- on the Don Valley Parkway line.

MR. FERNANDES:  On the Don Valley Parkway line?  Well, that line is, as we speak today, over four decades old.

MR. POCH:  I understand, but it's not in your ten-year plan to...

MR. FERNANDES:  Part of the ten-year plan includes the GTA project, which is lowering the pressure.  In our ten-year plan there is nothing additional beyond that at this point in time.

MR. POCH:  I understand.  And I'm just saying you suggested this -- you would hope this would extend its lifetime.  That period of extended lifetime, that would start ten or 20 years from now, when you might otherwise have to take it out of service?

MR. FERNANDES:  So the pressure reduction contemplated in this application is part of our ten-year plan, which is a rolling plan.  So that does get revisited every year.  And at this point in time there is nothing over and above the currently proposed pressure reduction within that plan.

MR. POCH:  I'm just saying if you didn't do the pressure reduction.  You are saying the pressure reduction is going to extend the life of this pipeline.  If you didn't do the pressure reduction you would have to take it out at a certain date.  With the pressure reduction you are expecting it to be extended by some uncertain period of time.

That uncertain period of time, when does it occur?  Are we talking ten years from now?  Twenty years from now?

[Witness panel confers]

MR. MOORE:  So I think I can answer your question.  We don't have a specific time determined when we have to replace sections of that line if it's not otherwise -- if this project isn't built out and we have the additional line.

The integrity management program is -- which I think referred to as revisited frequently, and just this past summer we had to replace almost 750 metres of that line.  So I don't know if that helps to answer the question.  There is sections of it we just recently replaced, so --

MR. POCH:  That was because of the washout, correct?

MR. MOORE:  Because of -- not because -- no, we didn't replace that because the washout.  It was replaced because of anomalies determined from an internal inspection, toll runs on the line.  So --

MR. POCH:  So -- sorry, finish your thought.  I...

MR. MOORE:  We were fortunate that that -- that we could do that in the summer.  Obviously we couldn't in the winter.  This single, large, single-feed line, 40-plus years old, as you've heard, needs to have that extra reinforcement, this other loop to --

MR. POCH:  I don't want us to hear your whole case again if you'd permit me to interrupt you.  We've heard these points many times.  I was just asking what you think the physical life of the pipeline is that you were anticipating extending with this.  And I gather you don't have a fixed date.

MR. THALASSINOS:  That's correct, it is not deterministic.  Having said that, we've seen from other applications to the Board, including the NPS 20 pipeline, the Lakeshore pipeline, that that was reduced down to 175 pounds.  We've extended that life, and because we've been able to -- were able to reduce it to 175 pounds, and presumably we would not have been able to extend that life at that time if we weren't able to reduce it down to 175 pounds, and --

MR. POCH:  You would agree with me, just in terms of the economics of the project, if that happens, if that extended period of time is, in effect, a decade from now or 15 years from now, whenever it is, once we bring it back to present value it's much less, in terms of its value?  That's just the nature of discounting.

MR. FERNANDES:  Actually, I think we can very explicitly show the discount values used in the economic feasibility.  It's already in our tables.  And if you look at it, for example, to your point, a discount value for ten years would be .54.

MR. POCH:  Right.  Okay.

MR. FERNANDES:  So a 46 percent reduction, but still substantial.

MR. POCH:  Fair enough.  The other point you made about these other benefits that aren't captured in your analysis was, Ms. Giridhar, you were speaking of -- that the cost-benefit analysis didn't take into account the customer societal savings of using gas rather than electricity.

Would you agree that in a scenario that Mr. Elson and I have been advancing, where conservation programs allow you to hold load at its current level and still do customer additions, there is no such concern?  You'll be able to obtain all those benefits with your customer additions in that scenario, and that value would be zero.

MR. FERNANDES:  I think what you just stated, Mr. Poch, would be double-counting the TRC benefit, if I'm not mistaken.

MR. POCH:  I'm just asking -- you're taking -- you're saying there was...

MR. FERNANDES:  The TRC includes all of the resources.

MR. POCH:  Yes, I understand.

MR. FERNANDES:  So I think we would want to make sure we keep everything on a consistent and comparable basis.

MR. POCH:  I see what you are saying, but I just want to be clear here.  If customer additions are maintained, there's no added societal cost of switching to electricity.

I'm not talking about the savings on the TRC from the conservation.  I'm talking about if customer -- in a scenario where customer additions are as you forecast, there is no such benefit?

MR. FERNANDES:  If you want to make an assumption that there's no incremental load, then there's no incremental load and therefore you can't have any potential offset from another fuel.

MR. POCH:  Right.

MR. FERNANDES:  But that's solely due to your assumption.

MR. POCH:  Yes, of very successful DSM offsetting the additional load from customer additions; correct?  That's what we're talking about, that assumption?

MR. FERNANDES:  If that was the case, correct, but I think what we went through yesterday, that would be already included in your TRC benefits.

MR. POCH:  All right.  Yet another person heard from on the phone.

All right.  I was discussing with you, Mr. Fernandes, the last day about the ability to -- how often you can reduce pressures on the Don Valley line and so on.  And we got to a point -- I think it was at transcript page 110 -- where you passed the puck to -- passed the buck to Mr. Thalassinos.  I've got you both here today, so I'll follow up on that if I can.

First of all, do you need 225 PSI at station B all the time or only at peak times?

MR. THALASSINOS:  That is minimum system pressure at all times.

MR. POCH:  At all times?  Okay.

Now, this maybe has to be answered in an interrogatory.  I've got a few scenarios.

I'm wondering if you have segment A and you have the east-west portion of segment B -- and call it B1 -- if you reduce the pressure at the top of the Don Valley line to the 30 percent level, so that's 375 PSI, with today's load and with your interruptibles off and with PEC and your other industrial loads interrupted, do you obtain 225 at station B?

MR. FERNANDES:  I'm sorry, I think that really is a question directed at Mr. Naczynski, as it would require simulation and network modelling.

MR. POCH:  Perhaps, then, I could ask for an undertaking.  I don't want to -- I thought we'd bounced these questions here.  I'm getting bounced back and forth and I've lost my chance to go back to that panel.

Would that be acceptable, Madam Chair?  I had indicated I had finished at the -- at 1:30.  I can –- that's the alternative, I suppose, but it sounds like we're going to need system simulation anyway.  If we're going to need an undertaking, I wonder if I can just get it now.

MR. FERNANDES:  I think we're going to need to run a model in order to answer that type of question.

MR. POCH:  Let's lay it out with the three scenarios so we can get it all in one undertaking.

With that situation, with Victoria Square held at 375 PSI, with your four industrial customers and whatever other interruptible load you have off, what are the pressures at station B -- at peak time, obviously -- without any of your new lines, with just segment A -- I assume that that's the same -- with segment A and the east-west section of segment B.

I think that covers the alternatives there.

MR. MILLAR:  J6.5.

undertaking No. J6.5:  EGD TO PROVIDE MODEL SIMULATION RELATED TO THE PRESSURES AT STATION B IN RESPONSE TO GEC SCENARIOS.

MR. POCH:  This may also be an undertaking.

We spoke last day about -- you've got 450 PSI at the top of that line and 225 at the bottom, and it reduces as you go down the line.  Can you just tell us at -- how much of the line is above 30 percent?  Is it linear?

MR. MOORE:  What we said was if it's a set pressure at Victoria Square, the pressure will drop because of hydraulic friction losses down at the end.  However, in actual operation that doesn't happen, because there's situations where there isn't very much flow; for example, three o'clock in the morning.  And at those times the pressure is going to creep back up along the whole -- virtually the whole line.  It's dependent upon the flow rate.

MR. POCH:  And that's what I was really asking you about, at peak times, because I think we had established last day that you do control this system hour by hour.  And of course you have weather forecasts, so you can adjust your pressures at Vic Square down on those times when you would otherwise needlessly be increasing the pressure; correct?

MR. MOORE:  Today we -- today we control the pressure, try to keep it as low as practical during the summer.

MR. POCH:  So at three in the morning you could lower it?

MR. MOORE:  Three in the morning in the winter?  Not necessarily.

MR. POCH:  Which is it?  You either need the pressure or you don't.  I'm trying to understand.

MR. MOORE:  We design for peak day.

MR. POCH:  I get that.  I'm just asking in terms of your operating procedures, do you try to lower the pressure whenever possible, or not?

MR. FERNANDES:  I think we do try and lower the pressure whenever possible, but I think what you're alluding to is we don't have wild swings in pressure on any given day.  So once we get to a winter condition, we're typically operating at a set point above 30 percent.  And as the loads vary, the entire line or only a portion of it would be above 30 percent, depending on the loading.

But you don't vastly change the pressure in a step function manner.  It's not electricity like a light switch.  If we move our pressure set points around, it's on a much more measured basis.

MR. POCH:  You can change it hour by hour; correct?  You can change it on an ongoing basis?  It takes – there may be a lag, is what you are telling me?

MR. THALASSINOS:  So for operational reasons through the winter, you -- we need to control the pressures and the flows in our line, which includes also repacking the line in between peaks so that you're best prepared to deal with any loads on the following day.

So we -- when we talk about lowering the operating pressures, we're primarily talking about lowering the operating pressures during the summer operations.  We would not -- we're not entailing lowering the operating pressures in the middle of cold weather because that would introduce other risks and it's not prudent.

MS. GIRIDHAR:  If I might just add, with my very sporadic understanding of what gas control does, but the group does report to me –-

[Laughter]

MR. POCH:  You shouldn't have admitted that, then.

MS. GIRIDHAR:  I only say this because from an upstream perspective, you know, gas controllers have to be conscious of a number of things, including downstream pressures, but also how we need to be in compliance with our upstream contracts, and that's the aspect that I could speak to.

Out upstream service providers expect us to stay within one-twentieth on an hourly basis.  What that means, though, is, because our diurnal swings are so high, in the morning and evening it does mean that they need to pack the system such that their draws at six o'clock in the morning or whatever are not so excessive that we are in flagrant violation of our upstream contracts.

So that would also restrict our ability to control pressure hour by hour, because that would mean that when you actually do need to have more flow, you are unable to do so.

MR. POCH:  Fair enough.  I guess -- the other day I took the panel to an interrogatory response from Mr. Chernick that may recall if you were on the panel or if you've read the transcript.

It was M.GEC.EGD.1, and there was a graphic of the -- on page 3, a graphic of the flows which he took from your data.  And at the time I asked if witnesses were comfortable with the math.  They said yes.

Subsequently your colleague said he just did a quick calculation.  He thought it was 25 percent, not 19 percent.

I just wanted to just touch on that and make sure we didn't leave that kind of standing.  943 is the peak-hour volume at Victoria Square.  We have that from 1.A1.EGD.BOMA.25, attachment 1.

MR. FERNANDES:  I am assuming you've got the reference right and you've got the number, so...

MR. POCH:  And in 1.A1.EGD.BOMA.19.1 -- we might want to look at that -- it says that reducing the pressures at Vic Square to 375, the level needed to get down to 30 percent, reduces the flows at the bottom to 165 teraJoules per day?

MR. FERNANDES:  That's correct.

MR. POCH:  All right.  Now, Mr. Chernick just converted that to 103 m3 -- 165 turns out to be 181, using whatever conversion rule of thumb you do -- you use with that?

MR. FERNANDES:  I think that should be confirmed, because that does not sound correct to me.

MR. POCH:  Okay.  Can we get an undertaking on that?  Is 165 teraJoules per day approximately 181 103 m3 per hour?

MR. MILLAR:  J6.6.

MR. POCH:  Or what is it.  Thank you.

UNDERTAKING NO. J6.6:  EGD TO CONFIRM GEC'S CALCULATION OF TJ TO 103 M3/HR

MR. POCH:  And, now, that was the basis for the 19 percent.  181 is 19 percent of 943.  So that would be helpful just to get that clarified and tied up.  Thank you.

So I understand your point about, that you can only change -- within a day because of your upstream commitments and because of needing to pack the line again, you can only change so fast.  I think we heard, was it 20 percent per hour?  Was that the rate that you are constrained to?

MS. GIRIDHAR:  One-twentieth of the day, I think,

is --

MR. POCH:  One-twentieth of the day.  So 5 percent -- is that per hour?

MS. GIRIDHAR:  5 percent.  Yes.  So --

MR. POCH:  So you can only change it 5 percent per hour to remain in compliance with your upstream obligations.

MS. GIRIDHAR:  Yes.

MR. POCH:  Okay.  And I understand -- so I guess what I'm asking is if we can get an actual number of how many hours a year or days a year, if we had your industrial loads and PEC and your interruptibles off -- I'm talking about an emergency situation here, where you could interrupt those and it wouldn't be highly -- that we wouldn't be in this scenario you're talking about, having to go and shut off millions of users and re-light them and so on.  We understand --

MR. FERNANDES:  I think we've said that Portlands is a firm contract.

MR. POCH:  Yeah, I understand that, but we also discussed how in an emergency you could interrupt.

MR. FERNANDES:  We said that would be a force majeure type --

MR. POCH:  Yes.

MR. FERNANDES:  -- situation, not something that's planned for --

MR. POCH:  I understand.  I'm not suggesting you planned for it.  I'm just asking --

MR. FERNANDES:  What we've heard from the IESO is that Portlands is systemically important to the electric system, and they also stated that they have run every single peak winter day since being in operation.

MR. POCH:  Yes, and we've dealt with that.  Mr. Chernick deals with it in his evidence, and I don't want to get into a long discussion of that with you.  I'm just asking, in a situation of emergency -- I want to know how often, how many hours a year, given your ability to ramp, and given the needle peaks we see on that, the exhibit I just referred to before, which are from your own evidence, how many hours or days a year you could maintain 225 or whatever you would need to maintain with those industrial customers and PEC often -- it may be less than that -- how many hours a year you would need to stay up above that 30 percent, that 16, you could handle that 165 teraJoules drop, whatever the equivalent is, in cubic metres per hour.

And I'm not asking how you in fact do it, because I understand you -- as a matter of practice you basically just keep the pressure high all winter.  I'm asking, given the constraint you've talked about for ramping, how much -- how many hours you would have a problem if you brought that pressure down.  Do you understand my question?

MS. GIRIDHAR:  If you could just give us a second.

[Witness panel confers]

MR. THALASSINOS:  Sorry for the delay there.  The question was just not the way we design.  We have an --

MR. POCH:  I understand that.

MR. THALASSINOS:  -- obligation to serve our customers, and so we don't not build facilities for the purpose of calling it an emergency a few years later.  So we design based on peak-day conditions so that we, even for the peak hour of the year, we do not have an outage.  So it doesn't matter how many hours a year or how many times per year would you lose tens of thousands of customers, so --

MR. POCH:  I understand all that.  And I should clarify, for the purpose of the previous undertaking and for the purpose of this question, I'm assuming this scenario where we've got today's load, not no load growth, first of all.  But I'm not suggesting you plan on interrupting customers.  You can meet -- today you can meet loads.  Your only concern is the 37 percent, right?

MR. FERNANDES:  Mr. Poch, this request would take a certain amount of time and effort, and I don't believe it's relevant, because we design to meet our firm commitments.

MR. POCH:  I understand that.  What I'm asking is, today, today you can meet your firm commitments at 37 percent; correct?

MR. FERNANDES:  That is correct.

MR. POCH:  And if you have to reduce the 30 percent at peak times today --

MR. FERNANDES:  We cannot.

MR. POCH:  You cannot.  And I'm wondering, if you interrupt today PEC and/or all your industrials -- there's four industrials, I understand -- and you have your interruptibles off, can you get down to 30 percent today?  That's the emergencies we're talking about.

[Witness panel confers]

MR. THALASSINOS:  So we can't answer here the specifics of that question.  That we would have to take an -- we would have to direct that question to Mr. Naczynski in panel 2, and likely require some additional analysis.

So the -- I guess the other factor to consider here is that when we are operating below 30 percent isn't always our choice.  So if the incidents of the summer, two separate situations -- one, we had Don Valley flooding, which required us to lower the operating pressures.  Secondly, we replaced a 750-metre section of line, which required us to lower the operating pressures, and if that was extended to the winter, like has happened and is currently the situation on the Collingwood line and the Cornwall line -- so this is not a hypothetical; these situations can happen -- if those situations were to occur, we would not be able to supply downtown Toronto, with or without interruptibles.

MR. POCH:  Yes, I understand that.  I'm taking it a step further.  If that situation arises and you had to then interrupt your PEC, your major load down there, would you be able to meet your other load commitments?

MR. THALASSINOS:  Yeah, I think we'll have to model that.

MR. POCH:  So let's get that, and let's get how many hours a year.

MR. CASS:  Excuse me, Madam Chair, but before an undertaking is given -- I apologize for interrupting Mr. Poch.

It's not at all clear to me how this is helpful to anything, to model something that is clearly not how the company designs the system.  It's something that is being premised on the basis, as I understand it, of an emergency.  If the Board thinks this is helpful, I don't want to stand in the way of that, but it obviously requires some work and it is a mystery me how this is going to help anything.

MR. POCH:  Madam Chair, the situation is this.  They are currently running the system this way at 37 percent and they have said they want to get it down to 30, precisely for the situation where you have some emergency and you need to do some welding.

So it seems to me quite logical that we say:  Well, how often does that situation arise?  Mr. Chernick's evidence suggests it's once in three years that -- for one day it's happened, that they couldn't be at 30 percent anyway.  They'll correct us if that's wrong.

MR. FERNANDES:  Actually, Mr. Poch, I think we've stated that some of these events take a significant amount of time to remediate.

MR. POCH:  Perhaps I can finish talking to the Board before you interrupt.

MR. FERNANDES:  Okay.

MR. POCH:  And if we're talking about the concern of the coincidence that one day a year when you couldn't get to 30 percent, and some event happening that requires them to do some remedial work, and if there's a -- in that extreme situation, you can simply interrupt one customer and the problem's solved, then I think there's a serious question before the Board whether it's appropriate to spend half a billion dollars building a pipe.

So that's the theory of our case; it's central to the theory of our case.  I would ask the Board to allow that undertaking.

MS. CHAPLIN:  How much work is involved in responding to this request?

MR. FERNANDES:  It does require probably several network analysis simulations to be run.  Mr. Naczynski would be the best person to answer exactly how much time that would take.  But it's not insignificant.

MS. CHAPLIN:  One moment, please.

[Board Panel confers]

MS. CHAPLIN:  So my understanding, from some of the other undertakings, also will involve rerunning the simulation model.  So I guess I'm not understanding how this request differs from some of the others which you sort of more readily agreed to do.

MR. FERNANDES:  Madam Chair, certainly we can undertake to provide this.  The thing that I would like to point out that Portlands paid a significant -- tens of millions dollars of --

MS. CHAPLIN:  Mr. Fernandes, we've heard that testimony.

MR. FERNANDES:  Okay.

MS. CHAPLIN:  You don't need to repeat it.  We are always listening.

MR. FERNANDES:  So we can provide that undertaking if the Board thinks it's valuable.  But the sanctity of contract on a firm customer, that's not something we would plan.

MS. CHAPLIN:  On the basis that this simulation is, from what I'm hearing is the simulation that's being requested here is not substantially different in the magnitude of effort as other ones that you've been asked to do and have agreed to do.  So I think on that basis we will take the undertaking.

You, of course, are free to add the additional information that you feel is relevant in terms of the limitations that you see in this scenario being realistic or appropriate.

So we'll give that a number.

MR. MILLAR:  J6.7.

UNDERTAKING NO. J6.7:  EGD TO PROVIDE MODEL SIMULATION TO SHOW IF IT CAN REDUCE SMYS TO 30 percent OR BELOW TODAY IF IT INTERRUPTED PEC AND/OR ITS 4 INDUSTRIAL CUSTOMERS; to INCLUDE SCENARIOS SEGMENT A, EAST-WEST, PORTION OF SEGMENT B.

MR. POCH:  Thank you, Madam Chair.

Just to make sure we don't lose the details, the earlier interrogatory we were talking about, the two scenarios with segment A and the east-west part of segment B, and without.  Because I take it -- correct me if I'm wrong, gentlemen -- that having segment A and the east-west portion of segment B would alter that dynamic and would improve your pressure situation on the Don Valley line.  That, in and of itself, with the Buttonville regulation.

MR. FERNANDES:  Yeah.  I would have to assume that having a source at Buttonville would have an impact, but we'd have to run the system analysis model to --

MR. POCH:  Thank you very much.  Thank you, Madam Chair.

I just have a couple of short questions other than that.

I know you don't want to give individual loads.  Can you tell us the sum of the four industrial loads, in the peak?

MR. FERNANDES:  I believe that's on the record.  We could get you a reference, but that really is a question for Mr. Naczynski on panel 2.

MR. POCH:  Let's leave it.  If it's on the record, hopefully we can find that.  Maybe off the record you can point me to it.

I wanted to ask you -- there has been these concerns expressed about supply reliability, upstream supply reliability and transportation reliability and so on.  A lot of that -– from my understanding of the evidence -- a lot of that turns on whether Energy East proceeds, whether gas out west gets diverted to LNG on the west coast and so on.  If we were -- so I wanted to ask you to comment on the concerns with respect to delaying any decision here, perhaps for a couple of years.

It seems to me that the impacts -- you would still want to address the station B situation, and I don't need to hear your objections to our proposed solution to that.  Let's take that -- assume that we can deal with the station B situation.  What would be the cost and benefits of delays?  Correct me if I'm wrong.  There would be this debate about whether you are giving up gas supply savings in the interim, and that's going to -- we'll deal with that in the next panel, the TCPL panel; correct?

MR. FERNANDES:  There would be the transportation savings as outlined in the economic feasibility.

MR. POCH:  We can have that debate another day.

MR. FERNANDES:  There's a significant concern with respect to availability of supply and the capacity available to feed our franchise.

MR. POCH:  That's exactly what I'm talking about.  If we delayed this until some of that uncertainty resolves -- because of course those are all big capital projects too, which would have lead time and you would have sufficient notice after a decision -- after decisions are made on those so that you could still build whatever you need to build here.

MR. FERNANDES:  What has been contemplated by TransCanada as part of their Energy East is that those supply impacts would take place for the winter of 2015.

And I can point you to where the capacity impacts are and we could quickly describe how it impacts not just the Enbridge GTA, but our entire franchise and as a matter of fact, the entire Eastern Ontario Triangle, if that would be helpful to understand the capacity reductions.

MR. POCH:  What I'm going to suggest is we defer that.  Feel free to comment at the end.  I'm going to suggest we defer than to the panel with TCPL present, because just looking at the document that was filed -- I think it was last night -- by Union, which is TCPL's tariff application, it turns our there's some twists and turns in there in terms of your ability to get long-term contracts and be guaranteed in the event of Energy East and so on.  I can imagine this is something we're going to want to hear TCPL on, and it would probably be helpful to hear you both at once, so if that's okay.

Ms. Giridhar, are you going to be on that panel and be able to speak to this?

MS. GIRIDHAR:  I think what Mr. Fernandes would like to take us through is actually TransCanada's responses to EGD Interrogatories No. 2 and 3.  They are really not the subject of the term sheet, so I do believe this is the appropriate panel to talk about those consequences.  So we would be happy to do that if we may, Mr. Poch.

MR. POCH:  By all means.

MR. FERNANDES:  So if we could turn up TCPL.EGD.2.

Now, overall I'm going start on page 4, but in very quick summary what we asked TransCanada was an understanding of what would happen today, in terms of capacities in the future, if they were to take today's current system and remediate all of their known integrity issues and de-rations, and then the same two situations with respect to what would happen if Energy East were to proceed.

So I'm specifically going to look on the tables to the northern Ontario line.  And if we reference -- if we remember the Eastern Ontario Triangle, in terms of a long-haul path, supplying into that Eastern Ontario Triangle comes in through North Bay on the northern Ontario line.

So if we look at -- I would take you to page 4.  First and foremost, I'll read a quote from here.  They stated:

"The scenario where Energy East proceeds while currently de-rated sections of line 2 remain out of service is unreasonable, as currently de-rated sections of line 2 are required with the Energy East project and service.  That data is provided below."

So our future state where Energy East proceeds requires remediation of what they call line 2.  If we look at the table on page 4, the northern Ontario line lists a total capacity with loss of critical unit of 2,356.

If we compare that situation to today, which is the response to A on page 3, the northern Ontario line currently has a capacity of 3,154, and by my math that's a reduction in the future of 794.  Let's call it 800 for the purposes of this conversation.

So in the situation where they remediate line 2, we're going to lose 800 tJs of capacity coming into eastern Ontario.  If we compare now table A and B, which is today's situation, and then the future situation of today with that line remediated, you can take the 3,870 minus the 3,154, and my math is 720 tJs.

So remediation of line 2 is about 700 tJs of capacity.  So essentially the situation that we're facing, in terms of one of our major supply lines, is that we're looking at, by 2015, losing somewhere between 1,500 and 800 teraJoules a day of capacity coming into the Eastern Ontario Triangle, and that's a very significant amount of gas, a very significant capacity, in terms of what the company needs to consider for being able to supply gas to our customers.

And to get it down to the 800, I would like to take you to TCPL No. 3, the next interrogatory.  We can talk about what that remediation is required.  And we asked a couple of basic questions first off -- and I apologize for the folks looking for that.  I'm specifically looking for attachment 1 to EGD -- or, sorry, TCPL.EGD.3.

In the response to A in the actual interrogatory it lists the three lines that make up the path coming in at North Bay, and it lists their vintage and their size.  They have stated that line 3, which is the NPS 42, the most recently built line is the one that they would take out of service for oil conversion.

But if we look quickly at the attachment to understand the scale of the remediation, what we asked, if you look at the legend, for all intents and purposes they have legend items for currently de-rated, scheduled for repair, scheduled for de-rate.

But if we can quickly scroll through and look at the segments, on line 2, essentially, if it's not a straight line there's something that needs to be remediated.

And if you quickly flip through, there's a number of pages looking at this on line 2.  Now, these are segments, so it's a schematic, but if we take a look at the map over here, we're talking about basically the distance from Emerson to North Bay, and when I look through visually, approximately two-thirds of the segments require some form of remediation.

So we're going in a situation where in the past we've had three lines.  In the future we're going to have two.  In the future those two lines are made up of one built in 1958 and another one that has approximately two-thirds of it going back thousands of kilometres that have known integrity issues.

So it is critical for us to take a look and evaluate our supply lines in order to serve our customers.

MR. POCH:  I had reviewed the material that Union filed last day, the TCPL application for tariffs, and my understanding is there's a specific provision that says if they proceed with Energy East, Enbridge and the Eastern Ontario Triangle shippers, including yourself, would have the option of getting long-term contracts and locking up capacities.  Have I misread that?

MS. GIRIDHAR:  Could you repeat that?

MR. POCH:  That in the scenario where Energy East proceeds, I thought that TCPL was explicit in their proposal to the NEB that they would -- you would have the opportunity to renew capacity contracts in a long-term basis.

MS. GIRIDHAR:  So there's two things there.

MR. POCH:  For the long haul.

MS. GIRIDHAR:  There's certainly the piece between Emerson and North Bay, and then there is the impact east of North Bay, so I'm not sure which in particular you are referring to, because I don't have what Union filed yesterday.

But the reality is I think what TransCanada has stated is that significant remediation of line 2 is required as a result of the Energy East project, assuming the demand is the same, and we wouldn't have the option.  We would actually be required to sign up for ten years of service for them to invest the kind of money they need for remediating this line.

So in the context of being able to build 27 kilometres of pipe and take supply from Marcellus and Dawn, where all the new supply is, we would be looking at remediating a line from the 1970s and, as a result of the remediation, face the costs of remediation, but also a long-term contract for ten years, tying us back to the Alberta basin, where supply is declining at this point in time, and certainly new exports are destined to Asia.

So it's -- while that may be true, I think you asked us the question, what are the costs and benefits of deferring those projects, and those are the costs.

MR. POCH:  Right.  And if you had to -- if you as -- in tolls would face some of the cost of remediation, the other consequence is you would no longer be facing the depreciation charges and maintenance of the line that's switched over to oil; correct?

MS. GIRIDHAR:  I think the -- in terms of the transfer of assets to the Energy East project and the transfer price and the resulting cost consequences, we've not been able to come to agreement with TransCanada, so that is going to the NEB.

MR. POCH:  That's fine.  And finally, I understand that Enbridge and Union with DTE are sponsors of the NEXUS project, which would move Marcellus gas up through Ohio, Michigan, and into Dawn; is that right?

MS. GIRIDHAR:  That would not be Enbridge Gas distribution.  That would be Enbridge Inc. --

MR. POCH:  Right.  And --

MS. GIRIDHAR:  -- Spectra, and --

MR. POCH:  Your shareholder.

MS. GIRIDHAR:  Correct.

MR. POCH:  Correct.  Okay.  Can you tell us, do your shareholders have other interests in gas transportation or development in these shale regions we're talking about, and in the case of transportation from these shale regions?

MS. GIRIDHAR:  I'm not aware that we have any interests in the Marcellus basin.

MR. POCH:  Thank you.  Those are my questions.

MS. CHAPLIN:  Thank you, Mr. Poch.

Mr. Wolnik, does APPrO have questions?

MR. WOLNIK:  We do.  I think we were down for 25 minutes, and pleased to report that I'll be a little less than that.  But I -- because some of the questions that I had planned for this panel I think were more appropriate for panel 2, so if I could have some indulgence there as to shift a few minutes.

And I also have filed a compendium and left copies with Staff.  So I wonder if we should have that marked as an exhibit.

MR. MILLAR:  K6.1.

EXHIBIT NO. K6.1:  APPRO COMPENDIUM

Cross-Examination by Mr. Wolnik:

MR. WOLNIK:  Good day, panel.  John Wolnik for APPrO.  I'd like to just spend a few minutes and just sort of clarify some information related to segment A and B.  I think I've got a pretty good understanding of the project, but there is still a few holes.

Earlier today Mr. Brett talked a little bit about segment A and the 800,000 and the uses for the 800,000 gJs a day.  And that was helpful.  I think it was clear that part of that capacity, 200,000 gJs, was for growth.  Part of that was for some potential future use for direct-purchase customers, and I understand that.

So the remaining 400,000 that is being used for system supply.  I had thought part of that was being shifted from Victoria Square.  We are currently receiving it today at Victoria Square; is that right?

MS. GIRIDHAR:  Correct.

MR. WOLNIK:  Can you say how much that is?  How much is being received of that 400 at Victoria Square?

MS. GIRIDHAR:  We believe it would be all of it.

MR. WOLNIK:  Because I thought I heard, and perhaps incorrectly so -- that part that have was coming in today, I think, on the suction side of Parkway into the Parkway North line.  Maybe I misunderstood.

MR. FERNANDES:  So to be clear, we are contemplating a shift from long-haul discretionary of 600, and that comes in now on the -- effectively on the discharge side.

In addition to get to the 800, there's a shift from suction to discharge of an incremental 200 of existing volumes.  So the 600 shift comes over.  The 600 plus an incremental 200 is how we get to our 800 capacity on segment A.

MR. WOLNIK:  You talk about 600, but 200 is for future growth, right?

MR. FERNANDES:  So the there's 600 of existing volumes that are being shifted, and then there's 200 of capability within the distribution system for future growth.

MR. WOLNIK:  So the 600 that's coming in today is all coming in at Victoria Square today?

MR. FERNANDES:  Likely.

MR. WOLNIK:  Thank you.  Now, in that shift from Victoria Square to Parkway, then, and to segment A, that's going to leave -- to use Mr. Brett's term -- empty pipe between Victoria Square and Buttonville, I think; is that right?

I know you didn't like the term "empty pipe," but it's capacity that wouldn't be utilized after the shift.

MR. FERNANDES:  It's difficult in a network environment, but you could think of it that way.  That particular piece of pipe would have more capability, but it's certainly not unutilized.

MR. WOLNIK:  So it would be optionality that you would have in the future, that if it made more sense in the future to bring growth in at that location, you could do that?

MS. GIRIDHAR:  That is correct.  So if you also look at the term sheet that we have at TransCanada, we talk about sourcing future growth through the TransCanada Mainline.

So what that would mean is we max out at 800 at Albion, and future growth that needs to feed downtown Toronto would likely go up the TransCanada system and come back down on Victoria Square -- at Victoria Square.

MR. WOLNIK:  So in the long run you would still plan to use that?

MS. GIRIDHAR:  Correct.

MR. WOLNIK:  That's helpful, then.  Now, Ms. Giridhar, you also talked about the diurnal need of the distribution system because of the peaks, the two peaks during the daytime.  My understanding is that drives a lot of intraday balancing; is that a fair statement?

MS. GIRIDHAR:  That is correct, based on my understanding.

MR. WOLNIK:  Now that you are a gas control expert.

How do you meet those intraday needs?  Does that require additional capacity?  Or is that embedded within this 800,000 of additional capacity that you are adding?

[Witness panel confers]

MS. GIRIDHAR:  Thank you.  So the east-west portion of segment B will be providing additional capability with respect to managing line pack and meeting those swings.

MR. WOLNIK:  Can you say how much that is?  I'm trying to really get down to the numbers here.  How big is that intraday balancing requirement?

MS. GIRIDHAR:  I don't know the --

MR. WOLNIK:  Is that a panel 2 question?

MS. GIRIDHAR:  I don't know if it's panel 2 either.  I may need to ask gas control.

MR. WOLNIK:  At some point, presumably, you have to model the fact, and presumably on a transient basis, the fact that you've got the swings throughout the day.  And those swings are going to take capacity out of the system to be able to accommodate that.

So I'm assuming that that's -- you can model that.

MR. FERNANDES:  I apologize, Mr. Wolnik, but the fact that we design our system to meet peak hour means that all of the other hours that I think you're referring to, there is some level of capacity that's typically utilized in order to meet that operational balancing.

What Ms. Giridhar was trying to describe was with the east-west bottleneck.  There are a few instances where we have some services that have more nomination windows from some of our suppliers and some of the contracts.

So having that flexibility to move gas across the system allows us to more effectively utilize those extra nomination windows and stay within our contractual limits.

Beyond that, I'm not sure that this panel knows the level of detail that you are asking.  But if there is a more specific question, we would be happy to try and respond through an undertaking.

MR. WOLNIK:  Should I ask panel 2?  I'm happy to do that.

MR. FERNANDES:  We could, or we could take it down and try and make sure that we have the response available.

MR. WOLNIK:  The question -- what I'm trying to get at is, I guess:  Currently and through to 2025, are you having to reserve some of the capacity in the system to accommodate the transient intraday balancing requirements?

Or I guess the alternative is -- I appreciate that there are times of the day when you're using less capacity.  Or are those sufficient to handle all of the balancing requirements?

MR. FERNANDES:  I think what I can state, in our system design criteria we do not explicitly take into account intraday balancing.  So it's not within the system design criteria.  It is a requirement of the system, but it's not explicitly in our system design criteria.

MR. WOLNIK:  That really what I was trying to differentiate.  When you do your system design criteria for the peak hour, you do that on a steady-state basis, right?

MR. FERNANDES:  That's correct.

MR. WOLNIK:  When do you the system operational requirements to accommodate all the balancing requirements, that's a transient modelling; right?

MR. FERNANDES:  If we were to model that, I believe we would be doing it with a transient model.  That's correct.

MR. WOLNIK:  Well, maybe you can give panel 2 a heads-up that I'll have that question for them.

MR. FENRNADES:  Okay.

MR. WOLNIK:  Thanks.  That's helpful.  I think I have a better understanding of segment A now, so perhaps now what we can do is talk a little bit about segment B.

And I think Mr. Naczynski was very clear when he was up last time just in terms of how segment B is going to be used.

And the east-west portion that I think Mr. Poch has referred to as section B1, that was absolutely critical to the supply strategy to shift that 600,000 gJs a day that you've talked about from Victoria Square to the Parkway; right?

MR. FERNANDES:  That's correct.  That's required to get past the east-west bottleneck.

MR. WOLNIK:  Great.  Thanks.

Part of your overall proposal, we've had a lot of discussion on lowering the operating pressure on the 26 and the Don Valley line, and my understanding is the loss of that capacity is 165 tJs a day; is that right?

MR. FERNANDES:  We did have an interrogatory response to that effect, but I just want to make sure that -- that was measured at station B, and given the dynamics of a network, it's not necessarily as directly comparable to, for instance, the 600 tJs that we're shifting.  It's measured at a specific point in the network.

MR. WOLNIK:  But you have to replace that pressure loss, and I think -- it was BOMA 19(i), by the way.

MR. FERNANDES:  You are correct.  There is -- by lowering the pressure in those pipelines, there's a substantial reduction in the overall capacity or capability of them to move gas throughout the system.

MR. WOLNIK:  That's compendium page 5, by the way.

So I think -- I just wanted to clarify that that 165 is your estimate of loss of capacity from lowering the pressure on a standalone basis in the system.

MR. FERNANDES:  Yes.  That's how we've tried to peel it out of that network.  Correct.

MR. WOLNIK:  Okay.  Thanks.  And maybe I could turn to page nine of the compendium, then, which is APPrO 1(i).  This talks about reserve capacity in the system, and that reserve capacity in 2015 is 160 tJs a day, and then that reduces to 130 tJs a day, I think, by 2025; right?

MR. FERNANDES:  That is correct in the response, yes.

MR. WOLNIK:  So can you tell me exactly what reserve capacity is?

MR. FERNANDES:  So reserve capacity in this sense is capacity that is over and above your requirements.  And I think we stated specifically in this response it's a function, or this capacity is a function of network synergies being created.

I think where you're getting to is that, as part of the proposed facilities, we knew we were contemplating lowering pressure in older lines, but we also have an existing 36-inch line that is very new, and our objective was to ensure that we tie into that 36-inch pipeline that was built, I believe, about five years ago, because if we don't the consequence is that we lose more capacity, because we were forced to lower the pressure not only in the NPS 30 Don Valley line but also that section.

So there's a huge incremental capacity loss if you take away even one metre on the north-south section, and it's a consequence of, then you would be forced to lower the pressure in more facilities which don't actually require it.

MR. WOLNIK:  I think I understand that.  I still don't understand how you are going to use reserve capacity.  Are you saying that it's just extra capacity that just happens because you're just completing the system out?  Is it for future growth?  Is it for flexibility to backfeed into the downtown core?

[Witness panel confers]

MR. FERNANDES:  I think what we're trying to describe is that there's capacity over and above the requirement.  It's created simply as a result of completing the path.

MR. WOLNIK:  Okay.  So you have no plans on using that capacity between, I guess, 2015 and 2025.

MR. FERNANDES:  So we're utilizing the portion that we have demand for.

MR. WOLNIK:  And I'm asking about the rest of it.  You have no demand for it.  This won't be utilized.

MR. FERNANDES:  That will be utilized for the future, and I'm sure we'll probably utilize some of that in operational instances, but it would not be required as part of a peak-day design scenario.

MR. WOLNIK:  So that would be reserved for future growth past 2025; is that fair?

MS. GIRIDHAR:  To my simple mind, Mr. Wolnik, I understand this as being an outcome of the lumpiness of infrastructure additions.

MR. WOLNIK:  And I understand that.  Yeah, no, I appreciate that.   I thought what you are going to tell me was, you know, because of the key tenets of flexibility, diversity, and reliability, I think, were the key touchstones you were using, that you would have the flexibility, for instance, of serving downtown Toronto operationally more from the east or west with that flexibility.  Is that the case, or...?

MR. FERNANDES:  That is true.  There will be more capacity available on the system.  The way we're modelling it is more of a pressure balance.  So again, in response to the question that you're referring to, we were asked what the capability of the system was under a design-day condition.  That's what it is.

Now, could we use that by pulling more gas down the east end and less on the west end?  Absolutely.  That's something that is technically feasible.  But we were trying to respond to the question that if we do a normal operating simulation, what would it look like at a peak design-day condition?

And as Ms. Giridhar stated, the fact that we complete down and do not lower existing infrastructure that doesn't require it, it creates a lumpiness in capacity, so that as a consequence we do have capacity available, even with the load growth that we've forecast.

MR. WOLNIK:  Okay.  Thank you.  And what causes it to drop from 160 to 130 by 2025?

MR. FERNANDES:  That would be the forecast load growth.

MR. WOLNIK:  Okay.  So can we turn to BOMA 25 now?  And that's not in the evidence.  It's I.A1.EGD -- or, sorry, not in the compendium. I.A1.EGD.BOMA.25.  And (d), sort of the response to (d) talks about the growth.

I may have the wrong reference.  But just maybe while we're on this table, I do have a question on this.  The capacity that you're adding here, I mean, I think this is a table that shows the system capacity increases under various temperature conditions; is that fair?

MR. FERNANDES:  That's very fair.

MR. WOLNIK:  And he first column shows -- and I'm just going to focus on the top row, the 41 heating degree day.  I think that is your design temperature conditions.  You show a deficit of the 15,000 m3 per hour.  And I think that's the deficit you are trying to meet with this part of this system growth requirement for 2015, right?

MR. FERNANDES:  Correct.

MR. WOLNIK:  And then the one -- the 210 is the extra that sort of is there from 216 on.  So the net increase is the 225 per hour; right?

MR. FERNANDES:  Yeah, that is correct.

MR. WOLNIK:  Okay.  And then that translates to 170 tJs a day, but I think we talked earlier about sort of the reserve capacity being 160.  Are those two intended to be roughly the same?  Am I missing something?  Maybe with some rounding here?

MR. FERNANDES:  I think there was just probably rounding differences in different models being run.

MR. WOLNIK:  Okay.

MR. FERNANDES:  So there, you know, there could be some minor difference in the input assumptions that --

MR. WOLNIK:  Okay.  Fair enough.

MR. FERNANDES:  They are intended to be more or less the same.

MR. WOLNIK:  Okay.  I wonder if we could turn to JT1.11.

MR. FERNANDES:  Excuse me, Mr. Wolnik, is that in your compendium?

MR. WOLNIK:  Yes, I think it's up on the screen here as well.

MR. FERNANDES:  Okay.  Sorry.

MR. WOLNIK:  This -- the last line talks about by 2025 approximately 15 tJs a day of growth will be added to station B.  And again I'm just wondering, the numbers we talked about earlier, in terms of the reserve capacity shrinking from 160 to 130, for a difference of 30, again, is that intended to relate to the market growth, and are these numbers intended to be roughly the same?  Or am I missing something?  And again, it may be rounding.

MR. FERNANDES:  I'm trying to do my best to answer your questions, but these ones really are for Mr. Naczynski --

MR. WOLNIK:  Fair enough.  Fair enough.  Okay.

On day four, panel, you had a discussion with Mr. DeRose about Portlands Energy Centre, and why didn't you build bigger facilities at the time that might have offset the requirements to build which you have now.

Can you confirm that the facilities you did build for Portlands restored the extra high pressure system to its previous level of flexibility?

MR. FERNANDES:  Yes, we can.

MR. WOLNIK:  Okay.  Thank you.  And there has been a fair bit of discussion today about Portlands and whether it should be converted to an interruptible or some form of curtailable load.  Would you agree with me that the firm capacity contracted by PEC is as firm as any other customer's firm capacity?

MR. FERNANDES:  Absolutely.  We've stated that they have a 20-year contract, and we believe in the sanctity of that contract.

MR. WOLNIK:  Good.  And I think you've also indicated before that if there was a force majeure condition you'd have the right to curtail that load; is that right?

MR. FERNANDES:  I believe that is under any contract you can do force majeure, but that's not something that you would plan or design your system for by any means whatsoever.

MR. WOLNIK:  So if it was a foreseeable event, that wouldn't, I guess, qualify as an event of force majeure, then?

MR. FERNANDES:  Anything that we believe would be foreseeable, we believe we would have an obligation to try and avoid.  You know, a firm contract means firm.  I don't know.

MR. WOLNIK:  So if you --

MR. FERNANDES:  We have design criteria, but that aren't specifically intended to ensure that we can deliver firm.

MR. WOLNIK:  So what --

MS. GIRIDHAR:  Sorry, I just did want to clarify that.  You may be able to foresee things, but they need to be part of the design criteria for you to incorporate them.

MR. WOLNIK:  Right.  Fair enough.  I agree with that.

It sounds to me like this is an older line and you know you've had operating problems with it.  So it is foreseeable you that may have to lower the pressure from time to time, including on design day?

MR. FERNANDES:  That's one of the reasons why we're proposing these facilities.

MR. WOLNIK:  Thank you.  Shifting gears slightly, if the Board didn't approve the required capacity to accommodate new customer growth, then I presume you would just refuse to take on new customers, again to prevent that situation of being in a situation where the pressures went below design conditions?

MS. GIRIDHAR:  We do have an obligation to serve, so we would have to come back with another set of facilities in order to serve our customers.  But the notion that we would reduce reliability to current customers in order to serve new customers, I believe we would not plan on that basis.

MR. WOLNIK:  Thank you.  Now, if an event of force majeure did occur, I think Enbridge has indicated in the past -- and I don't remember exactly when -- that you would curtail Portlands first.  And I think the logic is with one twist of the wrist, you've shed 100,000 gJs a day of load off the system; right?

MS. GIRIDHAR:  Certainly from the –- this, I do know from gas control, that from the perspective of maintaining the system, that would be the first step that they would consider.

MR. WOLNIK:  And PEC doesn't get a discount for being first off?

MS. GIRIDHAR:  I don't believe they do.

MR. WOLNIK:  Okay.  Thank you.  So the firm capacity isn't perhaps quite as equal as everybody else's,

because --

MS. GIRIDHAR:  I think when it comes to an operating condition or an emergency condition, gas control is authorized to take the actions that it needs to, to preserve the system.  But I will let more technical people talk to it.

MR. FERNANDES:  And there are criteria in terms of when we can't meet firm load.  I think we can speak to that.

But typically we would do residential customers last, so there is an order.  It's not a choice per se.  We would go through a prescribed program of who we would attempt to shed first.

[Witness panel confers]

MR. THALASSINOS:  So yes.  In emergency conditions, we do have a criteria by which we would shed our loads, and industrial customers are -- interruptible customers are first, and then progressing from there to industrial customers and eventually down to residential customers.

MR. WOLNIK:  Thank you.  Just coming back to this 20-year contract with PEC, would you agree with me that if there were to be any changes to that contract, they would have to be negotiated between the parties?

MR. FERNANDES:  Absolutely.  It's a 20-year contract, which Portlands paid tens of millions of dollars' contribution in aid of construction in order to receive firm service for 20 years.

So any type of change to that would -- I mean, it was a two-party agreement -- I would assume would have to have both parties agreeing.

MR. WOLNIK:  Good.  Thank you.  Those are my questions, Madam Chair.

MS. CHAPLIN:  Thank you.

Dr. Higgin, Energy Probe has some questions, I believe?  Fifteen minutes, as I understand it?

DR. HIGGIN:  That's correct.

MS. CHAPLIN:  Thank you.

Cross-Examination by Dr. Higgin:

DR. HIGGIN:  Good afternoon, panel.  Roger Higgin for Energy Probe.  I just would like to start by picking up a loose end here that was related to the BOMA 25.  That's I.A1.EGD.BOMA 25 which was just put up.  I want to look at the attachment 2, please.

Just while this is coming up, I just wanted to see --because I couldn't find it -- if there was an update to this schedule in the evidence, because basically I was looking for the new with the -- new Parkway West, the pressures and degree day volumes on the system map.  And I couldn't find it.

So that's a question:  Is there one, and if -- could you point me to it?  Of if not, could you do an update?

MR. FERNANDES:  I can tell you I don't believe there is an update showing Parkway West, but for all intents and purposes I can tell you that the -- drawing the line back to Parkway West, the only portion that will change is having that line come back, because of the fixed volumes of the 800 teraJoules per day on that line.

DR. HIGGIN:  That's the question, because I'm interested in the pressures, set points, and peak volumes.  And right now there is nothing shown for what was Bram West or the new point.  That's the issue that I'm having, is I can't find those data, which are there for all of the other pieces of the system on this map, obviously.  So I'm looking for those data, and trying to understand -- as we've just discussed -- the shift from Victoria Park (sic), et cetera, all of those things.  And I'm looking for that, so...

MR. FERNANDES:  We can provide an update, but I can respond to some of the answer right now.

We're designing the system to the currently prevailing outlet pressure at Parkway, which is 935 PSI.

DR. HIGGIN:  I'm just going to go there in a minute, as you will know.  So thank you.  If you could have an undertaking to update attachment 2 to 1A.1.EGD.BOMA 25, that would be helpful.

MR. MILLAR:  J6.8.

UNDERTAKING NO. J6.8:  EGD TO UPDATE MAP OF 2015 OPERATING SYSTEM WITH NEW FACILITIES, with reference to EXhibit I.AI.EGD.BOMA.25, ATTACHMENT 2.

DR. HIGGIN:  So having got past that, we now want to talk about the transmission line or the Albion pipeline.  Perhaps we could just go as a segue in here, look at and pull up Exhibit E, tab 1, schedule 1, page 1 and paragraph 2.  This is a way into my questions.

So as that is coming up, I don't think I need to read it in detail, but it basically says the assets to be used for transportation purposes will be the Albion pipeline, for the purpose -- and this is very key -- the economics and rate methodology in Exhibit E, in order to distinguish them from the assets that will be used for providing distribution services.

So that's where I'm going.  And basically last night I made an attempt to put a comparison table together. and I sent it to your counsel and so on last night.  And I would like to start by pulling that up, if we could, please.

MR. MILLAR:  Madam Chair, we can give this a new exhibit number.  It's K6.2, which is an Energy Probe summary table of segment A.

EXHIBIT K6.2:  ENERGY PROBE SUMMARY TABLE OF SEGMENT A.

DR. HIGGIN:  Thank you.  So apart from our obvious mistakes, like leaving out thousands in capacity and other things like that when I was doing it, I wonder if I could ask you not to do it now, but to confirm these data for me by an undertaking and add any comments and so on that you may wish to add.  That would be very helpful.

MR. FERNANDES:  We certainly will undertake to do that.  But directionally, everything looks pretty good, with the exception of the three orders of magnitude of the numbers.

DR. HIGGIN:  Yes.  I noticed that myself.  I got my Gs and my Ts mixed up.  Sorry.

MR. MILLAR:  If it's an undertaking, it's J6.9.

UNDERTAKING NO. J6.9:  EGD TO MAKE CORRECTIONS AND COMMENTS ON ENERGY PROBE TABLE K6.2.

DR. HIGGIN:  Thank you.  So just following up, then, on that, I have a couple of questions.  Where I'm going, just so in case you would like to understand my framework here, I'm looking at the concerns about rate impacts in the -- particularly in the transition period from in-service to full utilization of segment A, okay?  That's the context.

Now, we know for a reinforcement part -- that's the distribution -- then the guidelines are quite clear.  You use ten years' forecast and so on.  And so therefore I'm sure you could add one-tenth per year to the growth, or -- but for the transmission one, I believe the evidence at the moment is less clear as to what volumes are going to flow when and in what years.  That's my problem.

I know there has been a lot of discussion about that, and it's due to upstream facilities, downstream facilities, et cetera.

MS. GIRIDHAR:  Yes, I think what the record does show is that the exact year in which market access might be provided to downstream markets is subject to NEB approval, and therefore is not as definite as the distribution need.  We think it would be 2015.  It could be 2016.

But it is also true that under the methodology we are proposing, as long as there was theoretically one tJ of transmission capacity that was flowing, that it would automatically attract 60 percent of the revenue requirement of that line.

DR. HIGGIN:  We'll let the shipper argue with you about that, okay?

MS. GIRIDHAR:  That is the methodology.

DR. HIGGIN:  I somehow don't think that is going to happen, but that's -- anyway.

So what I would like to do, just to keep my information correct, is, can you provide a summary schedule that shows a breakdown of the eastbound segment A distribution and transmission peak requirements from Parkway West to Albion for the period 2015-16 to 2019-20, and include any notes about the pathways and flows and so on?  So that would be very helpful if you could put that schedule by year for those years.

So that's distribution.  You can make whatever assumptions you wish in coming up with those peak-day requirements or volumes.

MS. GIRIDHAR:  So Dr. Higgin, I'm less concerned about the distribution.  What assumptions would you like us to make on the transmission?

DR. HIGGIN:  What you think is your best assumptions with respect to when those volumes are going to flow, consistent with your evidence.  That's -- I'm not putting a straw man or whatever to that.

MS. GIRIDHAR:  So just to clarify, we do have the open-season results for 2016 and -- 2015 and 2016, pardon me, so we could use those assumptions.  And in that scenario we would essentially hold the peak-day constant post-2016.

I would like to note, however, that under the terms sheet TransCanada will be conducting its own open season, and at that point we would have more information, in terms of what the transmission build-out is likely to be over the next six years.

DR. HIGGIN:  Right.  So for the transmission piece, above the 760 for shippers, then you could make assumptions or not regarding that open season and what would that do to the volumes in those years, if you wish.  That's certainly an assumption.  If you think that's a reasonable scenario, I'm happy with that.

MS. GIRIDHAR:  We could certainly do it on that basis.

DR. HIGGIN:  Right.  Thank you.  So --

MR. MILLAR:  J6 --

DR. HIGGIN:  -- I don't want to try and describe it, but I hope the record will be clear.

MS. CHAPLIN:  Dr. Higgin.

MR. MILLAR:  It's J6.10.

DR. HIGGIN:  Thank you.

UNDERTAKING NO. J6.10:  EGD TO PROVIDE SUMMARY SCHEDULE OF BREAKDOWN ON SEGMENT A OF PEAK REQUIREMENTS FOR distribution AND TRANSMISSION FROM 2015-16 TO 2019-20 BY YEAR.

DR. HIGGIN:  So I just have one thing that's related to that, and that is that I really can't quite understand why you need the 170 gJs a day -- thousand, sorry -- for its -- your eastern delivery area in 2015-16 when you already have capacity on that line below your distribution requirements.  That's what I'm trying to understand.

So your distribution requirements in 2015-16, my understanding, is 400 or 600, depending on whether you are getting gas coming through the TransCanada route to Parkway.

So that's the 200 spare, which is growth.  Why do you need the capacity, any capacity, in those years for the 170, or you are just going to use that capacity for that 170?

MS. GIRIDHAR:  So we are defining distribution capacity as being distribution capacity that's directly feeding into the GTA project influence area.  And the 170 that I'm talking about is capacity that's destined for our Ottawa market.  And as I had indicated earlier, those volumes are treated identical to the transmission volumes that any other shipper might require, because they need the exact same facilities as other downstream shippers.  So from the perspective of equity and fairness, our transmission volumes are like anybody else's transmission volumes.

And if I may also back up to what was stated earlier, we do expect on peak day that we would be flowing the full 800 tJs to Albion for further flows into our distribution system here in the GTA, which is why we need an extra 170 over and above the 800.

DR. HIGGIN:  Peak-day design day, you said for distribution purposes 2015-16 is 600.

MS. GIRIDHAR:  So we will not be having upstream arrangements for growth in 2015/2016.

DR. HIGGIN:  Correct.

MS. GIRIDHAR:  However, the physical flow on segment A from Parkway to Albion will likely be 800 tJs.  And that is because of the change in the arrangement from the suction side to the compression -- to the discharge side of the compressor.

DR. HIGGIN:  Yes, I understand that.  Okay.  Thank you.

I just have a couple questions on the LCU.  That's the 433 application.  And the first question is straightforward.  Did EGD actually request LCU from Union?  And if so, can you provide some details regarding the timing and so on of that request?

[Witness panel confers]

MR. FERNANDES:  So part of our consultation with Union, we had an overall reliability task force to look at that supply line, as the basis of this project is primarily reliability-related, and I believe that has been provided on the record in CME 5, in terms of the attachment to the presentations that were reviewed with Union.

I don't believe we specifically requested LCU, but as part of that reliability task force when we were looking at different supply lines one of our primary concerns was reliability, and that was where we became aware of the LCU issue.  I believe Union was already planning that at that point in time, but our awareness became higher.

DR. HIGGIN:  So you are saying it was partly because you were looking at these projects and the incremental requirements that were now on the horizon for your segment A and segment B?  Is that what you are saying?

MS. GIRIDHAR:  If I might just add to that.   My recollection of those discussions were, as Mr. Fernandes said, primarily reliability-related, and, you know, the starting point was the concern around the concentration of volumes coming in from our Parkway station.

And in discussing how we might mitigate that situation -- and it became clear to us that there wasn't an effective way of mitigating it -- we also became aware that there was a risk to our short-haul supplies that were then moving on from the Union system on to TransCanada's system because of a lack of LCU at Parkway.

So what that meant to us is there were two independent risks that pretty much covered all of the supply into the GTA, and that's how the awareness about the need for LCU actually first came about -- that's my recollection -- and then it progressed from there.

DR. HIGGIN:  Thank you.  As the major customer for Dawn-Parkway and 12C1 service, are you concerned about the 220 million cost of the LCU?

[Witness panel confers]

MS. GIRIDHAR:  So, Mr. Higgin, our concern is primarily the reliability of supply, but I would just note that the cost of the LCU is reflected in Union's projected M12 rates, and were used in order to derive the economic benefits of the GTA project.

Certainly that does not reflect the entire $220 million.  However, all downstream customers would seek that same level of reliability.

But certainly the impact on Enbridge was incorporated into our feasibility analysis.

DR. HIGGIN:  Could you just point me to that, or provide it?  And that is, looking at the M12 C1 rates -- and perhaps we can reference the JT2.16, table A1, which talks about all of the tolls including the Parkway –- Dawn-to-Parkway.

So what I would like to understand is exactly what is that cost in terms of, for the LCU only, the increase in M12 C1 rates.  And using the charge determinants that will occur in 2015-16, based on your new pathways and volumes, what the -- so I would like to understand what those costs would be for that year, that rate year in millions of dollars.  So could you provide that for me, please?

MR. DENOMY:  We could provide it for you.  We don't have it handy at this point in time, so we would have to undertake to do it.

DR. HIGGIN:  Do you understand what I'm asking?  And that is to take the toll portion change related to LCU, multiply by the charge determinants for EGD volumes in 2015, and then come up with the annual cost of the LCU, please.

MS. GIRIDHAR:  If I may, I think there may -- if this answer would be satisfactory to you, I think we did calculate what proportion of Union's total M12 revenues is EGD's share.  And I believe we came up with 48 percent, or thereabouts, so just around 50 percent.

So I think as a proxy, if you were to look at the annual revenue requirement arising from the LCU, we would be approximately 50 percent of that number.

DR. HIGGIN:  The main thing is I want to make sure that that is the number that has been put into your economic analysis.  That's the linkage here.  I'm going to the economic analysis.  You just said in your earlier answer that that was taken into account.  That's where I'm going with it.

MS. GIRIDHAR:  I think the LCU benefits are not only for the GTA project and the incremental volumes that we're looking at; it is a system-wide benefit.  So I'm not sure that I would agree that all of those costs should be reflected just on the --

DR. HIGGIN:  No, I didn't say that.  That's an assumption.

You said they were taken into account in doing the economic analysis, so that's what I would like to -- where I'm going.  So anything -- caveats you would like to add in terms of how you link that answer to the economic analysis, that would be helpful.

[Witness panel confers]

MR. DENOMY:  So we'll provide that undertaking for you.

DR. HIGGIN:  Thank you.

MR. MILLAR:  J6.11.

UNDERTAKING NO. J6.11:  EGD TO PROVIDE IMPACTS AND AMOUNTS OF LCU ON M12 RATES ON AN ANNUAL BASIS.

DR. HIGGIN:  Those are my questions.  Thank you, Madam Chair.

MS. CHAPLIN:  Thank you.  Mr. Quinn, do you have questions?

MR. QUINN:  Yes, I do.

MS. CHAPLIN:  And you expect to be 10 minutes?

MR. QUINN:  Approximately, yes.

MS. CHAPLIN:  Just one moment, please.

Mr. Millar, does Staff have some questions?

MR. MILLAR:  Perhaps two or three minutes' worth.

MS. CHAPLIN:  All right.  Are there any other parties?  Mr. Crane?

MR. CRANE:  IGUA does have a few questions.

MS. CHAPLIN:  How long?

MR. CRANE:  I was down for five minutes.  It may be 10, Madam Chair.

MS. CHAPLIN:  Go ahead, Mr. Quinn.

Cross-Examination by Mr. Quinn:

MR. QUINN:  Thank you.  I want to extend some of the discussion that Dr. Higgin was having with the panel, but I want to take a step back first.

Just to confirm my understanding, under the original design of this project that was filed in the original application, the 40-60 split between distribution and transmission on segment A, that was basically because Enbridge was getting 800 tJs and TCPL was getting 1,200 tJs; is that correct?

MR. FERNANDES:  That's correct.

MR. QUINN:  Thank you.  Now, one of the parts that I have not been able to find -- and possibly you could do this by undertaking -- is just to provide a reference, because I went through your updated evidence and maybe I've missed it.  But could you provide the incremental cost of going from Bram back to Parkway as the starting point for segment A?

MR. FERNANDES:  I can provide you the reference.  There's a confidential version filed, but even if you look at the redacted version I think it shows the total of what you are looking for.

Exhibit I.A3.EGDupdate.CCC.30 has a comparison of several of them, with the explanation broken out, and in --one of them shows the Parkway West and one of them shows the Bram West interconnection.

So we've got 686 -- I've got an eye chart, so excuse me if I can't read it correctly.  1,686.5, and then the previous was 623.7.

MR. QUINN:  So that's the only difference, would be the incremental costs going back to Parkway West as the starting point?

MR. FERNANDES:  I believe that's what you are looking for.

MR. QUINN:  Okay.  So it conforms with my challenge.  I couldn't see an explicit statement of it.  You are getting it from the math in your economics, and I think we can do the math in parallel with you.

So now we come to today, and you've got a -- obviously a settlement with TransCanada, and we're encouraged by that.  But could you provide me the reason why you would not go back to Bram as the starting point for the segment A?

MR. FERNANDES:  There are several reasons.  First and foremost there's a toll offset, which I believe if you look at I.A3.EGDupdate.Staff.1 we had as $26.3 million per year.  So there's an offset of that capital cost with the toll that our customers would be paying with respect to -- to TransCanada.

MR. QUINN:  I had that in the reference that I had from TransCanada when they gave me that answer back also.

But fundamentally under your new term sheet, would those foregone revenues that Enbridge was going pay to TransCanada, would they not going into the calculation of the underrecovery, which would ultimately form part of the surcharge for the Eastern Ontario Triangle?

MR. FERNANDES:  There were other reasons.  So I was going to get to those.

MR. QUINN:  I would like to stop with that, because that was one of the main ones that I would like to focus on for the purposes of my few minutes of examination.

Is my presumption correct that the 26 million would then form part of the underrecovery of the Eastern Ontario Triangle?

MS. GIRIDHAR:  It is correct that the 26 -- to the extent that we are seeking to recover all the costs of the Eastern Triangle through tolls, that any payments not made by Enbridge Gas Distribution for between Parkway and Bram West are borne by all shippers, including Enbridge, in the form of a different level of tolls.

MR. QUINN:  So said differently, all of eastern Ontario will pay for that foregone 26 million?

MS. GIRIDHAR:  I think we need to look at it in a different -- if you want to go talk about that particular issue, we are talking about a total revenue requirement that needs to be recovered from TransCanada, from its shippers based on billing determinants.  So it would be true of any unit of volume to the extent that one shipper took an extra gigaJoule of volume that would allow other shippers to pay less in their tolls.

MR. QUINN:  Maybe just to create focus so that we don't get into a long debate here, specifically the question I'm asking is the difference between starting segment A at Parkway West or Bram.

So the under-recovery that would result -- the TransCanada's forgone revenues of 26 million -- would form part of that under-recovery.  I think I heard the answer was yes?

MR. FERNANDES:  That is correct, but there are other impacts directly associated with being connected at Bram West.

MR. QUINN:  Well, given the time we have, would you accept an undertaking to quantify those additional benefits, to outline them and to quantify the benefits to ratepayers of what you are doing?

MR. FERNANDES:  Well, I can describe them right now.

MR. QUINN:  Can you quantify?

MR. FERNANDES:  The other impact of taking gas at Bram West is that incremental volume flowing on TransCanada system reduces the pressure at that particular point in their existing Parkway-to-Maple path, and therefore it has an impact of actually lowering the capacity that their existing customers are using on that transportation path.

So there's, you know -- the path from Parkway to Maple is under demand.  It requires capacity to be built out.  If we connect at Bram West, it's going to lower the capacity on the existing system, and in order to make up for that there's, you know, potentially more facilities needed downstream of Albion.

So on a path that's being built out there's really no -- it's not redundant capacity in any way, shape, or form.  If you look at the 26 million being in under-recovery, you also have to look at the loss on their existing path and what those tolls will be.

MR. QUINN:  So in other words there is incremental transmission capacity that's created by you tying in at Parkway West, as opposed to Bram; is that correct?

MR. FERNANDES:  And the way -- it's correct, but it's actually -- it avoids a reduction on TransCanada's existing system, so we don't see it on our side.  But if we were to pull the volume it would have an impact that would reduce their existing Parkway-to-Maple path.

MR. QUINN:  Or transmission capacity.

MR. FERNANDES:  Or transmission capacity.

MR. QUINN:  Okay.  Well, then what I would like, now that we have the incremental cost quantified, could you -- and possibly this is an extension of Dr. Higgin's undertaking or a new undertaking -- but to look at what the rate impacts would be if you did Bram to Albion at the 40-60 split and 100 percent of the cost of Parkway to Bram as transmission capacity to quantify your rate 332, so we have a sensitivity on what a different methodology for your rate 332 would provide to us as recovery from those who would benefit from transmission capacity.

MS. GIRIDHAR:  Mr. Quinn, we wouldn't necessarily agree that that's the suitable way to do the rate methodology, but if you are requesting that mathematical information, we can provide it.

MR. QUINN:  And I think we can leave that as a difference of perspective, but I appreciate your willingness to quantify the impact.  Thank you.

MR. MILLAR:  J6.12.

UNDERTAKING NO. J6.12:  EGD TO PROVIDE RATE IMPACTS ON RATE 332 TRANSMISSION CUSTOMERS OF DIFFERENT SCENARIOS OUTLINED BY FRPD RELATED TO BRAMPTON WEST START POINT OF SEGMENT A.

MR. QUINN:  The other area I wanted to speak to -- and I didn't provide a compendium, because there's just one, and possibly two references to bring up, and I had provided the references to Enbridge staff -- is JT1.8.  And this is more to the technical side of the equation.

So there are a few pages wherein Enbridge staff provide us undertakings, and I just want to be able to, as opposed to going through the three pages, summarize my understanding, and then ask the question from there.

But in my reading of Enbridge has provided some sound engineering reasons why 480 is the hard cap on the pressure out of Vic Square.  It's actually 42.  But I can accept that you have a hard cap of the pressure coming out of Vic Square, based upon your analysis.  Is that correct?

MR. THALASSINOS:  That's correct.

MR. QUINN:  Okay.  Thank you.  So given the reasons that's already -- that are imbedded in that undertaking response, you've also said that environmental and socioeconomic conditions basically preclude you putting in full relief-valve design, so the prudent choice is an operator-monitor set of regulators, as depicted on page 3; is that correct also?

MR. THALASSINOS:  That's correct.

MR. QUINN:  And then flowing from that, because it's operator-monitor, you require a 30-pound differential across the regulator sets to account for volatility in those regulators.

MR. THALASSINOS:  And other factors, but, yes.

MR. QUINN:  Okay.  Thank you.  I'm just trying to make sure we cover the three pages and three sentences there.

So my question for you then is -- and I understand you don't want to look at raising pressure alternatives, but I'll be talking to your panel tomorrow about what some of those things might look like.

But from my technical, engineering point of view, have you assessed what the possibilities would be to put in control valves using globe or butterfly valves and what the resulting pressure drop would be if you put in more precise regulation?

MR. THALASSINOS:  No.

MR. QUINN:  Okay.  Would you undertake to review what could be done with improved regulators, what the cost would be, and what the resulting differential would be relative to the 30 pounds that has been specified?

MR. THALASSINOS:  We could, but I would like to point out that the settings here and 30-pound differential is not based on the maximum capabilities of our equipment.  We have a, as you noted, a hard cap, in terms of our upper limit, our maximum operating pressure.  We have a set point pressure, which is 30 pounds below that, which we feel gives us the capability to not only operate the equipment as it's currently configured, but also gives us the ability to respond to upset conditions.

So if -- so, for example, if your regulators are of a greater capability in terms of their -- the pressure differential, versus the cap, it gives you less ability to handle upset conditions, which would increase risk, and that's not something we're prepared to do.

MR. QUINN:  Okay.  And we went into this just briefly at the technical conference, and I suggested you and I could go and have a coffee and talk regulators.  But for the purposes of this panel I don't think they would be that interested.

Would you agree with me that control valves can provide a lower differential to pass through the same quantity of gas; in other words, having a higher set pressure than traditional regulators?

MR. THALASSINOS:  There are regulators that can provide a lower tolerance of operation, but they would not necessarily count for either upset conditions, such as if there was debris in the line or freezing the line.  It would not give you the ability to respond before you exceeded your hard-cap maximum operating pressure.

MR. QUINN:  And that's why a remote-controlled control valve could provide you that level of assurance?

MR. THALASSINOS:  Not necessarily.

MR. QUINN:  Well, okay.  Let me ask the question this way.  Would you undertake to review your current regulators that you have in place and look at an alternative to provide a lower differential regulator setup -- it could either be a regulator control valve, whatever would fall into your comfort level -- and tell me what the maximum outlet pressure that could be achieved with an improved pressure control system and what the cost of that would be?

MR. THALASSINOS:  So if the question -- I think you started your question by saying would we be comfortable doing that, and the answer is no.  Are there regulators that are -- have potentially greater capability?  Yes, there are.  And we...

MR. QUINN:  Okay.  So I guess if I use the word "comfortable" I'm going to ask you, could you calculate an improved pressure control system starts at 480 in -- sorry, using the hard cap of 480, what pressure control system you could put in place that would allow you to have a comfort to increase your outlet pressure beyond 450?  What would that pressure be, and what would the cost of that station upgrade cost be?

[Witness panel confers]

MR. THALASSINOS:  Okay.  So again, it is possible to do that calculation or analysis.  Having said that, you know, our regulators here do have a high degree of accuracy, and that is not what is having our set-point differential of 30 pounds.  It's more than that.

So for example, if -- regardless of the accuracy of the equipment, if there were to be any malfunction of the equipment, regardless of what type of controls you might have or think you might have, they may not necessarily be available in an upset condition.

MR. QUINN:  I'm asking you to undertake to review what could be done, what the costs would be, and what the resulting outlet pressure could be established at.

Are you able to do that?

MR. THALASSINOS:  Yes.

MR. QUINN:  Thank you.  And I understand.  Place the caveats that you feel are appropriate.

MR. MILLAR:  J6.13.

UNDERTAKING NO. J6.13:  EGD TO PROVIDE SYSTEM REGULATION ALTERNATIVES AND ASSOCIATED COSTS.

MR. QUINN:  Thank you.  Those are my questions.

MS. CHAPLIN:  Thank you.  Mr. Crane?

Cross-Examination by Mr. Crane:

MR. CRANE:  Yes.  Thank you, Madam Chair.

Good afternoon, panel.  Mark Crane, counsel for IGUA.  I never like to be the only thing in between lunch and this hearing, so I'll be as brief as I can.  I've got three areas that I want to canvass with you briefly, and the first one relates to the existing bottleneck between Parkway and Maple.

And we've heard evidence that segment A contemplates transmission capacity up to 1,200 tJs per day; correct?

MR. FERNANDES:  Correct.

MR. CRANE:  And we've also heard evidence of Enbridge's open season having attracted something just south of 940 tJs per day?

MR. FERNANDES:  Correct.

MR. CRANE:  And my question is:  If segment A is built and if the Kings North project is built by TCPL, which would extend transmission from Albion to Vaughan, do you anticipate a bottleneck as between Vaughan and Maple for all or a portion of the 930 tJs that were attracted in Enbridge's open season?

MS. GIRIDHAR:  It's my understanding that TransCanada's Kings North project will not be capable of providing all of the 930,000 gigaJoules, that it only addresses a 2015 requirement that's roughly equivalent to Union and Gaz Métro's 2012 new capacity open season volumes.

MR. CRANE:  Can you remind me what those volumes were?

MS. GIRIDHAR:  I understood they were in the 350 range.

MR. CRANE:  Just so I'm clear, those address Union and Gaz Métro's volume?

MS. GIRIDHAR:  For 2015.

MR. CRANE:  For 2015?  Okay.  And so if things proceed as Enbridge wishes come November 1st, 2015, have you had discussions with TCPL about the need for additional assets for the purpose of transmission?

MS. GIRIDHAR:  Yes.  It is my understanding that they would then build a second loop from Vaughan to Maple.

MR. CRANE:  And tell me if this isn't the question for you.  I take it the cost associated with that would be borne by shippers?  Is that the expectation?

MS. GIRIDHAR:  Yes.  That is the expectation.

MR. CRANE:  If I can take you to my second area, a few questions relating to the cost increase associated with building a 42-inch pipe compared to a 36-inch pipe along segment A.  And I want to follow up on what -- some of the evidence we just heard with respect to Dr. Higgin's cross-examination, and if we can pull up that evidence, the exhibit, I think, it was K6.2, which was the Energy Probe summary table of segment A.  If it's not easily found, I can let you know.

I mean, what I'm trying to reconcile is I had understood from the evidence that -- here it is.  The delta, as I see, is the capital cost, which is the seventh column over.  The delta between the capital cost, based on my math, is 72 million; is that correct?

MR. FERNANDES:  It's correct on this table, but I should note we haven't confirmed that.  I think it's a little lower than that, but for the purposes of a high-level discussion I think that would suffice.

MR. CRANE:  The reason I ask, or one of the reasons I ask is there's some evidence on this in Enbridge's evidence at Exhibit E, tab 1, schedule 2, page 2 of 2 at paragraph 7.  And you can pull it up if you wish.

But I took the evidence in that paragraph to be that the difference in cost between the 36-inch pipe and the 42-inch pipe to be 55 million; is that correct?

MR. FERNANDES:  That was a high-level estimate.  I believe it's actually a little bit lower.  But for the purposes of a high-level discussion that number would certainly suffice.

MR. CRANE:  It's the expectation that that -- so would it fall somewhere in between, then?  Between 55 and 72 million, or are you saying it may be less than that?

MR. FERNANDES:  I believe it's slightly lower than 55 million.

MR. CRANE:  Are you able to tell us what is it by way of undertaking?

MR. FERNANDES:  We do have the confidentiality concerns, so we certainly could, but, you know, one of the items was to not break apart too much detail in our costing prior to having gone through the procurement process.  So I don't mind doing it, but it would be under the confidentiality.

MR. CRANE:  I'm content with that.

MR. FERNANDES:  Okay.

MR. MILLAR:  J6.14.

UNDERTAKING NO. J6.14:  EGD TO PROVIDE COST AMOUNTS ASSOCIATED WITH INCREASING SEGMENT A PIPE SIZE FROM 36-INCH TO 42-INCH.

MR. CRANE:  Very briefly, the intention is for the 55 million or whatever it is to be borne by the shippers; correct?  The cost associated with going from the 36- to 42-inch pipe would be assumed by the shippers?

MS. GIRIDHAR:  Correct.

MR. CRANE:  And I take it, then, that if Kings North is not built –-

MS. GIRIDHAR:  If I could please clarify, I took the word "shipper" to mean all customers, but if you are using "shippers" in the context of transmission shippers versus distribution ratepayers, then we should clarify that the methodology we have is 60-40 split of the total cost; it's not based on incremental costs from going from 36 to 42.

MR. CRANE:  Thank you for that clarity.  For my understanding, then, it's the expectation that 60 percent of the 55 million, if that is indeed what it is, would be assumed by the transmission customers; is that fair?

MR. FERNANDES:  The differential between a 36 and a 42 has no bearing on the rate.  We're proposing a 42-inch pipeline; of that, 60 percent of the costs associated would go to transmission and 40 percent would go to distribution.

MR. CRANE:  I'm just trying to reconcile my understanding with, then, the last sentence of paragraph 7 of the evidence that I've just referenced.  Where it says:

"The shippers are expected to bear some of the risk on the upfront costs associated with segment A pipeline, in particular, approximately 55 million in costs associated with the NPS 42 as compared to the NPS 36, and also any consequences of delay in the Albion-to-Maple path."

I guess my question is:  Is the word -- what's the context of the word "shippers" in that sentence?

MS. GIRIDHAR:  I should clarify that this was in the context where capacity was going to be awarded pursuant to the open season that we conducted.  As you now know, we have a term sheet that will result in capacity being awarded after the NEB decides on market access and the terms and conditions.

So what was being envisaged in paragraph 7 there was that once capacity was awarded to the shippers, that these shippers would sign precedent agreements with us.  And then in that context, some of the upfront costs associated with the NPS 42 vis-à-vis the NPS 36 would be borne by way of a backstopping agreement that they would sign.

That obviously is not the case now.   We're intending to provide with the 42-inch pipeline, and award capacity subsequent to an NEB decision, as opposed to immediately after the open season having been conducted, in realization of the fact the term sheet has removed uncertainty in terms of who is going to be building the downstream path.

And therefore that action was not necessary at this point.

MR. CRANE:  Thank you.  So, so I'm clear, it is the expect –- the total costs of the build, assuming you have transmission capacity, will be the 60-40 split?

MS. GIRIDHAR:  Correct.

MR. CRANE:  Including any incremental change from 36 to 42?

MS. GIRIDHAR:  Yes.  As Mr. Fernandes said, that difference is not really relevant.  It's the cost of the 42-inch pipeline that will be borne 60-40.

MR. CRANE:  When do you anticipate shippers or transmitters to begin paying costs associated with the build?

MS. GIRIDHAR:  To the extent that -- so I think I might have responded to this in response to Mr. DeRose's questions already.  To the extent that the transmission facilities are operational as of November 1, 2015, the expectation is they would start paying their share immediately.

To the extent that the transmission facilities may be delayed beyond 2015, but if they were already underway and the precedent agreements required them to start picking up that cost as of November 1, 2015, that might still be the case.

But in the event the NEB does not approve the terms sheet in a way that allows the facilities to be in place for 2015, the expectation is that they would start paying those costs once those facilities came in place.

So sorry to be so long-winded, but there is a couple of different outcomes.

MR. CRANE:  There are, and you did cover some of this with Mr. DeRose.  Thank you.

My last area I would like to quickly seek confirmation on, there is a -- evidence at Exhibit A, tab 3, schedule 9, page 16 of 16.  And I'll wait for it to come up on the screen.  But it is the chart that anticipates the proposed rate impacts with respect to the GTA project.

MR. DENOMY:  Can you repeat the page number, please?

MR. CRANE:  Yes, 16 of 16.  Thank you.  And am I correct to assume that these estimated rate impacts reflect the 60-40 split that we just discussed?

MR. FERNANDES:  That is correct.  I believe what we're showing here is the total bill impact, but there was both a distribution rate impact and a total bill impact, but they do include the 60-40 arrangement.

MR. CRANE:  Okay.  and to the extent it hasn't been provided or undertaken today, can you give us an undertaking to show us the proposed or the estimated rate impacts if Kings North -- or, well, put another way, if the distributors end up paying for the entire project?

[Witness panel confers]

MR. FERNANDES:  The correct response would be interrogatory A3.EGDupdate.APPrO,15, part 4.

MR. CRANE:  Thank you very much.  Those are my questions, Madam Chair.

MS. CHAPLIN:  Thank you.  Mr. Millar?

Cross-Examination by Mr. Millar:

MR. MILLAR:  Yes, thank you, Madam Chair, and just very briefly some quick questions to follow up on some questions by Mr. Elson and I think Mr. Wolnik as well.

You may recall that they asked you some questions about the possibility that this project will result in some under-utilized pipe in the ground, whether it be the GTA project pipes themselves from less load than you forecast or the possibility that shifting loads caused by the project will not strand other pipes but lead to less utilization than you currently have on existing pipes.  Do you recall those questions?

MR. FERNANDES:  I do.  There was quite a few of them.

MR. MILLAR:  Yes, there were, and I -- we're not going to go over them in any great detail.  But one question from Mr. Elson.  He asked -- essentially he asked if you agreed that, to the extent that the volumes aren't what you forecast or existing pipe becomes underutilized, he asked if you agreed that perhaps ratepayers shouldn't pay for all that pipe anymore, if it's not utilized to the extent that you had originally anticipated.  And I believe, Ms. Giridhar, your answer to that was no.  Do you recall that?

MS. GIRIDHAR:  Correct.

MR. MILLAR:  And just to be clear, in this case Enbridge is not -- this is not a rates case; is that correct?  You are not seeking any particular rate treatment or any rate orders at this time with relation to either the GTA project or any other existing pipes?

MS. GIRIDHAR:  That is correct.

MR. MILLAR:  Are any of you familiar with Enbridge's link pipeline?

MS. GIRIDHAR:  At the high level, yes.

MR. MILLAR:  And I'll run this by, and if you are not familiar enough then we'll just have to leave it, but my understanding is that that's a pipe that, for whatever reason, was not utilized to the extent that had initially been anticipated.  Does that sound right to you, or are you able to speak to that?

MS. GIRIDHAR:  My recollection is that, yes, utilization on the link pipeline was less than what had been forecast.

MR. MILLAR:  And my understanding is that the Board disallowed some recovery for that pipeline because of that?  Does that match your recollection?

MS. GIRIDHAR:  I have a very sketchy recollection at this point, so I'll take your word for it.  But I should point out that the link pipeline was transmission-only pipeline, and what we are talking about here are primarily distribution facilities.

MR. MILLAR:  Understood.  And I think you and I could probably agree that this wouldn't be the proceeding to deal with that issue in any event.  Would we agree on that?

MS. GIRIDHAR:  That is correct.

MR. MILLAR:  Thank you.  Those are my questions.

MS. CHAPLIN:  Ms. Hare has some questions.

Questions from the Board:

MS. HARE:  I have just a couple areas where I was a bit confused by what was said, and one was said just recently.  Mr. Fernandes, you said the differential between the 36 and 42 has no bearing on the rate.  Can you explain that to me?  I don't quite understand how it has no bearing on the rate when there is a difference in the capital costs.

MR. FERNANDES:  What I was trying to refer to is that the difference between a 42- and a 36-inch pipeline is not what goes into the rate, it's the total cost of the 42.

MS. HARE:  But there is a difference in the cost between 42 and 36.

MR. FERNANDES:  There is a difference, but there is also a difference in the capacity.  So in order to look at what's going to transmission, you have to look at the total costs and the percentage allocated on a total basis.

MS. HARE:  Thank you.  There's another area that I was a bit confused, and I don't know if you need to turn it up.  It's volume 5 from the transcript.  And it's the conversation you were having with Mr. Elson.

If I understood what he was asking, he was again pursuing the 42-inch pipe for segment A, and he was asking you -- and I know you don't agree with this scenario, but he was asking you whether or not the pipe size would be different if you had no load growth.  And you said no.

I don't understand how, if you reduced the load by 190 teraJoules per day, that it wouldn't make a difference in the pipe size.  Could you explain that to me, please?

MR. FERNANDES:  So for what has been put on the evidence, the proposed facilities are proposed to go in for 2015.  The shift in all of the gas supply is what we would expect to do in 2015, and it has been held constant.

So the pipe facilities are capable in the distribution system of accounting for that growth, but there's no gas supply savings.  And the piece about us not reducing the pipe size is that the growth would occur in a variety of areas, so we would not be looking to reduce our 800 we're carrying on segment A regardless of load growth, because we're starting with 800 when we haven't had any growth.

MS. HARE:  And one last piece again where I'm just a little confused.  You talked about NPS 36 from the most common pipe size for us to expand the backbone of our extra high pressure grid.  So I don't understand why 36 -- why there's a technical problem, then, if it's 36 to 36.

MR. FERNANDES:  I'm sorry, could you repeat the question?

MS. HARE:  Maybe I didn't understand -- well, I know I didn't understand your answer.  If maybe you do want to turn up the transcript, volume 5.  And it's page 54.  And you're talking about the fact that NPS 36 -- sorry, I guess it's NPS 36 -- has been the most common pipe size.

So I don't understand why there seems to be a technical issue if it ends up being a 36-inch pipeline tying into a 36-inch line.

[Witness panel confers]

MR. FERNANDES:  The reference that you have was in a different context.

MS. HARE:  That's what I was wondering.

MR. FERNANDES:  So the context that I had taken that from Mr. Elson was that he was asking on our segment B whether, if there was no load growth, could you downsize any of those facilities.  And what I was stating, then, it wouldn't make a lot of sense for us to tie into an existing 36-inch in one end to another existing 36-inch at the other end with a different pipe size, because it would create some operational concerns.

And that the fact is for -- solely for distribution purposes, upgrading our backbone of our extra high pressure network, in the last two decades all we have put in is NPS 36 pipeline when we're doing those types of upgrades.  So it's the most economical capacity addition which you would do for a distribution system only.

MS. HARE:  Thank you.

MS. CHAPLIN:  I have some questions in the area of the reliability issue.

You have described the reliability benefits and reliability need associated with this project.  And one of the things I would like to understand is what is it about that need that sort of comes together now.

For example, how long has this been a concern?  And why is it bringing forth a proposal now as opposed to three years ago?  Five years ago?

[Witness panel confers]

MR. FERNANDES:  The GTA project has been in planning stages for a number of years, but ultimately those items are drawn from a confluence of factors.

So we've had the North American shift in supply with emerging basins in close proximity that we've been aware of, and we see potential benefit from our customers.

We've seen TransCanada with escalating tolls, and also the prospect of Energy East where they will be taking out significant amount of supply that is used to serve our franchise.

And in addition, we had a requirement where we're forecasting load growth triggering some form of reinforcement on our system in order to meet that load, in addition to the issues around ageing infrastructure.

So in looking in all of these emerging items, we decided that we needed to look at a holistic solution and examine our complete supply chain to make sure that it was in alignment, so that we had our supply lines upstream where we're bringing our gas into our system and how our actual extra high pressure backbone works aligned with one another.  And that's how we came to the proposed facilities for this application.

MS. CHAPLIN:  So would it be fair to say that looking at the ageing infrastructure aspect, it has been a concern for a while, but these other factors all coming together lead you to the timing that you are now proposing in terms of when you're actually going to do something about it?

MR. FERNANDES:  Yes.  In terms of the actual trigger with respect to timing, that is absolutely the case.

MS. CHAPLIN:  So why is it important to do that now as opposed to, for example, a year from now, when there may be more information available from the various consequential open seasons which are still required or planned?

MR. THALASSINOS:  So there are some additional factors in terms of why reliability is such a large concern.

First of all, as a company, we design for a high margin of reliability, as our customers would expect, and because the consequences of imprudently not designing for a high margin of reliability is loss of tens of thousands of customers.  So...

MS. CHAPLIN:  But that situation existed, presumably, three years ago and you were looking at broader concerns?

MR. THALASSINOS:  Yes.  So there's a number of factors, and --

MS. CHAPLIN:  So it's sort of why does another year?

MR. THALASSINOS:  I think there's a -– well, first of all, it's that those factors have happened.  We've seen them, this summer, as of now.  We have been operating under a pressure restriction that, if it extended through the winter, we would not have been able to maintain supply to downtown Toronto.  Two separate situations this year that would have resulted in that situation:  the flooding of the Don Valley, and the follow-up work following our integrity assessment on our lines that required 750 metres of our main to be replaced immediately.  And we rushed to get that work done and it's finishing up now.

But if those events had happened at this time period, we would likely have not been able to maintain -– sorry, not likely -- we would not have been able to retain supply to downtown Toronto.

We have a single-feed, 40-year-old pipeline supplying downtown Toronto, and it's imprudent to continue to rely on it, based on these -- the current situation.

To further add to that, when we have some of these issues, they don't necessarily only extend a few days or a few weeks.  If we look at two other lines that, as of today -- our Cornwall line and our Barrie-to-Collingwood line, those have been under pressure restriction for over a year, through the last winter period.  And we're still assessing it now and I don't know if it's going to go through another winter period, because we are still assessing the ILI information, in one case, to see whether we can re-raise the pressure, or whether we'll have to have either a temporary or a further permanent restriction.

So if -- now, the Barrie-to-Collingwood line and the Cornwall lines have a sufficient margin of reliability and safety such that we were able to operate the entire winter with those pressure restrictions on those two lines, we would not be able to operate the GTA system in a similar circumstance.

And I'll even put another directional industry item that's out there.  Some people have heard about the incident is St. Bruno about three years ago, where eight people were killed and about, I think, 27 people were injured -- don't quote me on the latter one -- as a result of a line failing in an urban environment, causing a catastrophic event, a rupture.

And largely as a result of that, what you've been hearing here is that our regulations are -- one is our regulations are changing, both here and in the US, where they're putting additional requirements, additional risk mitigations-expectations on high-stress pipelines.  In Ontario, for the TSSA, that is that focus on the 30 percent of SMYS.

I'll even point to something as recently as just within the past few days, where PHMSA, which is the federal regulator in the US, is proposing new pressure restrictions that for class 5, 6 and 7 -- what do they call -- class locations, above class 4, which is our highest, that would be reducing those stresses in urban areas to sometimes 30, 20 and 10 percent of the SMYS.  So directionally, this is where the industry is going.

As a prudent operator and safe operator, this is where we are going regardless, as well.

And we have a lot of concerns with continuing to operate knowing these events and these risk factors.  So we're looking to manage those risks and prudently manage those risks.

And so considering that the DVP line is an over 40-year-old line, a class 4 location -- so highest density class location -- and it's a single feed, it just doesn't make sense to not work now to improve the reliability and safety of that line.

And we are, quite frankly, in a deficit situation today because -- so we want to do it as soon as possible, but the reality is, today, if those other situations had occurred, we would not be able to maintain supply to downtown Toronto.

MS. CHAPLIN:  Okay.  Thank you.  Sorry, Mr. Cass, I neglected to ask if you had questions in re-examination.  Do you?

Re-Examination by Mr. Cass:

MR. CASS:  I do, yes, Madam Chair.  I'll try to be quick, given lunch is being delayed for everyone.

That last area actually touched on one of my re-examination questions, so although this will mean I'm taking things out of any particular order at all, perhaps I would come back to that.

There has been discussion about lowering of pressure on pipelines, of course, during the cross-examinations that have occurred today, and earlier Mr. Fernandes had mentioned that these pipelines where you proposed to lower the pressure are in highly populated areas.

I had wanted to ask the panel to elaborate on class locations, what locations these pipelines are in, and the implications of that.

Now, you've touched on that to some extent, Mr. Thalassinos, but can you just elaborate a little more about what class locations are all about and what class locations these pipelines are in?

MR. FERNANDES:  Very quickly, class location in the Canadian code refers to ultimately population density, with class 4 being the highest and class 3 being the next highest.  Class 3 and 4 are suburban and urban environments.

The most recent code adoption document as being referred to in the evidence, the FS-196-12, explicitly calls anything that is a class 3 or 4 location as a high-consequence area, in terms of pipelines over 30 percent SMYS.

So the 26-inch line and the Don Valley line are primarily in class 3 and 4 locations, so the -- almost the entire length of the pipelines would be considered to be a high-consequence area from the TSSA, and that's notwithstanding our concerns about the reliability of supply.

MR. CASS:  And a related area that came up in cross-examination, primarily with Mr. Elson, he had a number of questions about attempts to calculate the probability of risks coming to being with respect to these pipelines where you want to reduce pressure, particularly the Don Valley pipeline.

Mr. Moore, I didn't get your words precisely, but you said something to the effect that you didn't see that it would be helpful to try to calculate the probability of such a risk.  Can the panel just elaborate on that, perhaps?

MR. MOORE:  Maybe quickly.  One failure would be too many, so it's not acceptable to us.

MR. CASS:  Can you talk about it, perhaps, in terms of the examples of what the main risks are to pipelines like this?

MR. MOORE:  One of -- well, I think what we consider the main risk would be third-party damages to this line.  And as Mr. Thalassinos mentioned, you know, we don't -- well, we don't have control over the folks that operate the excavators.  We do our very best to prevent our lines from being damaged.  However, if one was -- this kind of event could happen, and it could happen at any time of the year

-- we would lose capacity to serve our customers in Toronto, and the safety impact to that could possibly be a rupture situation.

So I'm personally very uncomfortable about that current state and would like to see us have this opportunity to reduce the pressure in those older lines to improve reliability and safety.

MR. THALASSINOS:  So just to add to what we're saying is that, yes, third-party damage is the predominant pipeline threat, and by building these facilities we will be able to drop the operating stresses to below 30 percent on the new and the proposed facilities, so what -- which will reduce the overall corridor risk on this pipeline.

So I referred earlier to the fact that the generally excessive threshold between leak and rupture is 30 percent of SMYS.  That is why that number is so important.

So by dropping both -- by building these facilities and dropping the operating stresses of both facilities to less than 30 percent SMYS we're able to significantly reduce the risks and the catastrophic consequence potential with a rupture on these lines.

MR. CASS:  That's helpful.  Thank you.  So can you comment on the usefulness of trying to do a probability assessment of the chances that a third-party is going to damage your line?  Can you comment on the usefulness of even trying to do that?

MR. FERNANDES:  I think I can state that we know from our -- as Mr. Moore mentioned, we have damage-prevention programs.  We're always seeking to make sure that our assets in the ground are not being damaged.  But having said that, we do have approximately four damages per day, 365 days a year.  To Mr. Moore's point, one incident is too many, given the location of these lines.

MR. CASS:  Okay.  I'll move to a completely different subject.  Ms. Giridhar, you've mentioned a number of times during the cross-examinations how the proposed pipeline will allow Enbridge to replace discretionary supplies of gas obtained under discretionary services.

Can you elaborate briefly on why this matters so much to Enbridge?

MS. GIRIDHAR:  Certainly.  I would like to turn to Exhibit A, tab 3, schedule 5.  I believe it's the update from May, page 28.  Do we have that up on the screen?

[Witness panel confers]

So it's up on the screen now, but if you look at table 1 and the status-quo scenario, it's showing our peak-day supply-demand balance for 2016.  There's a number of line items there, but I would like to highlight three of them.

If you look at our peaking supplies number, it's 158 tJs per year -- per day; my apologies.  That currently is an arrangement that we know is not coming on firm transportation.  It's coming on through the use of non-firm transportation and TransCanada.

If you look at the STFT, which is the line below that, that's 584 tJs per day.  Then if you look at the second-but-last number, the delivered supply that direct-purchase customers are using, that's 285 tJs.

If you were to add all three of those numbers, we will arrive at 1,000 tJs of discretionary volume that's serving the Enbridge franchise on peak day.  That is upwards of 25 percent of our peak-day requirement right now.  And of course it includes direct purchase.

We are probably unique among all Canadian utilities at any rate in terms of this level of reliance on discretionary volume.  Quite simply put, discretionary volumes do not come with any renewable rights.  They come with no certainty that you'll have that capacity available to you.

There's only one way we can mitigate that reliance on discretionary volumes, and that is by taking firm transportation.  That is why it is so relevant to us.  We have a very large exposure in terms of our ability to meet peak-day demand, if we were to continue with the use of discretionary services in the changing environment that we have today.

The first change is TransCanada's pricing flexibility that the NEB has awarded them, which means that they can price pretty much any way they want for discretionary services.

There's also capacity reductions that they are contemplating, which means the availability of these discretionary services is not guaranteed into the future.

MR. CASS:  Thank you.  Just quickly a couple of other areas, if I may.  And I'll try make this as quick as I can.  Mr. Brett had some questions about a suggestion that TransCanada build the proposed pipeline, and there was quite a bit of exchange that focused on rate and toll implications of that.

I just wondered if you could comment more broadly on the implications of a transmitter like TransCanada Pipelines building a piece of pipeline that would form part of your integrated distribution system.

[Witness panel confers]

MS. GIRIDHAR:  There's at least two things I would like to point out in terms of having the transmitter build a piece of pipe that is going to be completely integrated into your pipeline, versus us doing it ourselves.

First one, of course, is the degree of control that we have as the owner/operator of the pipeline, which is essentially integrated into our distribution facilities, versus taking a service from a transportation company pursuant to certain terms and condition that are applicable to all shippers on the line.  So that would be restrictions in terms of how much gas you can take through, when you can take through, imbalances and how they are dealt with, and so on.

The other issue, of course, is you never know if the transmitter eventually will change their terms and conditions of service.  So recently we've had a tariff proceeding at the NEB where TransCanada has sought to change the renewal terms for capacity.  They have made capacity non-renewable because, pursuant to the NEB decision that told them they didn't have an obligation to serve, but indeed they should be seeking all abilities to re-deploy their facilities, they have taken a certain course of action.

So essentially if you have a line that's critical to meeting your distribution needs and it's essentially integrated with the rest of your distribution system, the prudent thing to do is for the franchise operator to own that piece of pipe, and not take a service.

MR. CASS:  Given the time of day, just one final area.  I'll leave aside some other questions I had, but one final area.

Mr. Quinn had questions relating to the reasons for not connecting at Bram West and connecting instead at Parkway.  A certain aspect of that was discussed in some detail.  I just wanted to be sure.  Did you give the full set of reasons as to why you would propose to connect at Parkway rather than Bram West?

MR. FERNANDES:  There are two main reasons for our customers.  One is the offsetting toll impact compared to the incremental capital.

The other one, though, is the fact that with the capacity being built out from Parkway to Maple, this is an incremental capacity add on that total transmission system capacity.  So we believe that in building it out now, it has the capability of helping with the coordinated build-out of infrastructure.  So it has the capability to offset downstream facilities.

As has been mentioned, the Kings North project will only go to Vaughan, and there is an incremental build beyond that.

In our discussions with both Union and TransCanada in terms of coordinating that build-out, there is an automatic offset where you have the capacity.  You can build it downstream of Albion; you can build it upstream.  It provides a higher level of capability down the road and can offset other facilities as they go to build out that path towards short-haul.

For example, one of the things they would be looking to do is, first the Kings North and then another build from Vaughan to Maple, incremental compression could be added.  All of those things would add additional incremental capacity along that path.

The build from Parkway to Bram West could offset some of those, so we don't think it's an actual incremental build at all.

MR. CASS:  Thank you, Madam Chair.

MS. CHAPLIN:  Thank you.

MR. CASS:  That's my re-examination.

MS. CHAPLIN:  Thank you.  So Mr. Moore, Mr. Thalassinos and Mr. Denomy, you are done now and excused with the Board's thanks.

Ms. Giridhar, I believe you're returning for the joint panel, and, Mr. Fernandes, you will be on tomorrow.

So we will be finishing Enbridge panel 2 tomorrow, as well as the GEC/Environmental Defence panel.

And I guess I will just put it on the record for all parties, this being witnesses and cross-examiners, the Panel's ability to sit an extended time tomorrow is limited.  So I will be quite rigorous in keeping people to their time estimates.  We were more flexible today, and I think we'll have to be pretty rigorous tomorrow to make sure we complete what we have committed to completing.

So with that, thank you and we will see you tomorrow morning.

--- Whereupon the hearing adjourned at 2:10 p.m.