{"text_format":"1","workbook":"xlsx","n_sheets":11,"sheets":["Admin","Monthly Data","OLS Model","Predicted Monthly Data","Predicted Monthly Data Summ","PredictedAnnualDataSumm","PredictedAnnualDataSumm2","Normalized Monthly Data","Normalized Monthly Data Summ","NormalizedAnnualDataSumm","NormalizedAnnualDataSumm2"],"not_rendered":{"charts":5,"images":0,"macros":1,"external_links":0,"defined_names":9,"comments":0,"pivot_tables":3},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Admin","index":0,"n_rows":37,"n_cols":28,"rows_kept":37,"cut":false,"hidden":false,"merged":[]}
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Year","Month"]
["Model","ReskWh",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1995,1]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1996,2]
["Actual","Year","Month",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1997,3]
["From Date",2005,4,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1998,4]
["To Date",2013,12,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1999,5]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2000,6]
["Forecast Term",2,"Years",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2001,7]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2002,8]
["Forecast","Year","Month",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2003,9]
["From Date",2014,1,null,"Months",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2004,10]
["To Date",2015,12,null,{"$f":"MyMonthsCount(B11,C11,B12,C12)","v":24},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2005,11]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2006,12]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2007]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2008]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2009]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2010]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2011]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2012]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2013]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2014]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2015]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2016]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2017]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2018]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2019]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2020]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2021]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2022]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2023]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2024]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2025]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2026]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2027]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2028]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2029]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2030]

{"sheet":"Monthly Data","index":1,"n_rows":106,"n_cols":7,"rows_kept":106,"cut":false,"hidden":false,"merged":[]}
["Date","ReskWh","HDD_Lond","CDD_Lond","MonthDays","Shoulder1","FTE_Ont"]
["2005-04-01",7994353,310.3,0,30,1,5043]
["2005-05-01",8370528,198.5,0,31,1,5122.1000000000004]
["2005-06-01",10389917,11.4,121.1,30,0,5236.3]
["2005-07-01",12583059,1.5,137.5,31,0,5342]
["2005-08-01",11214871,4.5,106.3,31,0,5416.4]
["2005-09-01",8794917,30.5,34.700000000000003,30,1,5396]
["2005-10-01",8286547,228.3,8.6999999999999993,31,1,5335.3]
["2005-11-01",9138335,392.7,0,30,1,5247.1]
["2005-12-01",10840969,702.3,0,31,0,5224.1000000000004]
["2006-01-01",10447261,554.70000000000005,0,31,0,5175.3]
["2006-02-01",9290165,609.29999999999995,0,28,0,5136.2]
["2006-03-01",9550777,545.70000000000005,0,31,1,5107.1000000000004]
["2006-04-01",7928570,286.10000000000002,0,30,1,5137.7]
["2006-05-01",8239356,151.9,22.9,31,1,5243.8]
["2006-06-01",9433262,26.7,44.4,30,0,5352.8]
["2006-07-01",11873826,3.3,133.69999999999999,31,0,5464.8]
["2006-08-01",10694615,5.3,68.2,31,0,5505.8]
["2006-09-01",8299435,98.5,5,30,1,5456.2]
["2006-10-01",8756421,307.89999999999998,0.7,31,1,5374.9]
["2006-11-01",9303930,383.4,0,30,1,5278.7]
["2006-12-01",10447715,511.9,0,31,0,5263.7]
["2007-01-01",11056491,655.6,0,31,0,5216.5]
["2007-02-01",10272579,758.7,0,28,0,5184.8999999999996]
["2007-03-01",9990728,527,0,31,1,5167.7]
["2007-04-01",8524722,371.1,0,30,1,5197.5]
["2007-05-01",8580554,131.9,22.7,31,1,5280.6]
["2007-06-01",9896039,23.2,70.2,30,0,5391.3]
["2007-07-01",11095426,11.3,71.599999999999994,31,0,5513.8]
["2007-08-01",11118846,11.5,89.1,31,0,5582.2]
["2007-09-01",9280411,61,35,30,1,5544.2]
["2007-10-01",8912500,149.9,21.5,31,1,5479.1]
["2007-11-01",9642232,468.7,0,30,1,5395.6]
["2007-12-01",11291760,657,0,31,0,5374.1]
["2008-01-01",11206263,639,0,31,0,5323.9]
["2008-02-01",10447561,692.5,0,29,0,5303.7]
["2008-03-01",10134324,627.29999999999995,0,31,1,5278.9]
["2008-04-01",8281971,265,0,30,1,5310.6]
["2008-05-01",8439719,208.8,2.1,31,1,5370.3]
["2008-06-01",9665506,24.1,66.400000000000006,30,0,5458.4]
["2008-07-01",11397420,4,97,31,0,5533.6]
["2008-08-01",10834750,12.4,53.2,31,0,5592.4]
["2008-09-01",8912187,56.7,21.4,30,1,5556.1]
["2008-10-01",8681291,286.8,0,31,1,5512.3]
["2008-11-01",9725130,468.3,0,30,1,5407.2]
["2008-12-01",11498791,671,0,31,0,5368]
["2009-01-01",11709609,849.6,0,31,0,5275.1]
["2009-02-01",9815166,612.70000000000005,0,28,0,5201]
["2009-03-01",9808765,533.29999999999995,0,31,1,5125]
["2009-04-01",8409247,307,3.2,30,1,5119.3999999999996]
["2009-05-01",8083578,156.9,3.1,31,1,5157.3]
["2009-06-01",8696876,49.7,35.5,30,0,5215.6000000000004]
["2009-07-01",10187430,20.2,29.4,31,0,5294]
["2009-08-01",10699164,17.899999999999999,71.900000000000006,31,0,5345.8]
["2009-09-01",8848220,71.2,15.9,30,1,5347.8]
["2009-10-01",8897476,301.2,0,31,1,5314.9]
["2009-11-01",9169954,356.7,0,30,1,5267.8]
["2009-12-01",11362006,637.29999999999995,0,31,0,5254.5]
["2010-01-01",11364520,733.1,0,31,0,5212.8]
["2010-02-01",9704226,633.4,0,28,0,5186]
["2010-03-01",9302812,450.2,0,31,1,5159.6000000000004]
["2010-04-01",8105351,236.4,0,30,1,5180.2]
["2010-05-01",8972250,121.1,34.9,31,1,5249.5]
["2010-06-01",10612346,23.6,57.5,30,0,5359.8]
["2010-07-01",12697627,5.6,129.69999999999999,31,0,5456]
["2010-08-01",11860873,6,121.7,31,0,5503.9]
["2010-09-01",8944230,87.9,24.1,30,1,5453.3]
["2010-10-01",8467380,239.5,0,31,1,5408.6]
["2010-11-01",9247991,413.6,0,30,1,5349.4]
["2010-12-01",11100789,713.5,0,31,0,5352.4]
["2011-01-01",11478543,798.8,0,31,0,5316.6]
["2011-02-01",9828747,677.8,0,28,0,5289.1]
["2011-03-01",9870149,599.6,0,31,1,5280.1]
["2011-04-01",8634932,330.4,0,30,1,5317.8]
["2011-05-01",8604284,126.4,17.399999999999999,31,1,5405.5]
["2011-06-01",9863266,27,39.6,30,0,5496]
["2011-07-01",13084587,0,160.9,31,0,5593.1]
["2011-08-01",11708342,1.5,82.9,31,0,5646.1]
["2011-09-01",8861720,71.900000000000006,29,30,1,5620.8]
["2011-10-01",8436122,234.6,0,31,1,5541.4]
["2011-11-01",8858646,347.9,0,30,1,5456.6]
["2011-12-01",10356171,548.4,0,31,0,5422]
["2012-01-01",10568683,644.79999999999995,0,31,0,5377.2]
["2012-02-01",9506375,553,0,29,0,5332.1]
["2012-03-01",8893020,331.1,2.2000000000000002,31,1,5313.9]
["2012-04-01",7973891,334.6,0,30,1,5361.4]
["2012-05-01",8521416,87.2,28.5,31,1,5441]
["2012-06-01",10787976,28.2,81.7,30,0,5536.5]
["2012-07-01",13043099,0,161,31,0,5616.3]
["2012-08-01",11413857,7.8,79.599999999999994,31,0,5667.7]
["2012-09-01",8938541,103.4,27.7,30,1,5629.7]
["2012-10-01",8595671,250.5,0.7,31,1,5584.2]
["2012-11-01",9181838,420.4,0,30,1,5527]
["2012-12-01",10491347,535.9,0,31,0,5517.3]
["2013-01-01",10899532.399999978,657.4,0,31,0,5451.7]
["2013-02-01",9715342.559999954,657,0,28,0,5400.4]
["2013-03-01",9989140.5700000133,581.9,0,31,1,5358.4]
["2013-04-01",8576997.3799999543,362.2,0,30,1,5397]
["2013-05-01",8413381.6200000029,122.2,27,31,1,5505.6]
["2013-06-01",9697931.8499999736,41.1,52.7,30,0,5618.4]
["2013-07-01",11621703.179999972,7.1,108.8,31,0,5716.1]
["2013-08-01",10683811.079999987,18.399999999999999,57.5,31,0,5745]
["2013-09-01",9078533.9800000694,94.9,26,30,1,5709.9]
["2013-10-01",8617112.7900000345,184,2.6,31,1,5655.8]
["2013-11-01",9442071.1599999424,492.1,0,30,1,5587.4]
["2013-12-01",11199465.35999999,675.7,0,31,0,5558.7]

{"sheet":"OLS Model","index":2,"n_rows":19,"n_cols":5,"rows_kept":19,"cut":false,"hidden":false,"merged":[]}
["Model 1: OLS, using observations 2005:04-2013:12 (T = 105)"]
["Dependent variable: ReskWh"]
[]
[null,"coefficient","std. error","t-ratio","p-value"]
["const",-8181855.1409281204,1829998.5335603401,-4.4709626761339401,2.0770404252804801E-5]
["HDD_Lond",3616.8276408080501,241.639763952858,14.967849585855699,3.6024558720720801E-27]
["CDD_Lond",25790.592394061299,1653.2600482831999,15.599840098261099,2.00797181340985E-28]
["MonthDays",350571.81524510001,45227.735214260101,7.7512573553443396,8.1534853806963102E-12]
["Shoulder1",-844850.57545626699,98323.357975809005,-8.5925724349663604,1.2695050800053601E-13]
["FTE_Ont",1114.9985024499299,255.51675899057901,4.3637000831363899,3.1425454025896203E-5]
[]
["Mean dependent var",9831144.4088571407,"S.D. dependent var",1250687.39849571]
["Sum squared resid",12171506512751,"S.E. of regression",350634.43959458498]
["R-squared",0.92518073312853399,"Adjusted R-squared",0.92140198227643999]
["F(5, 99)",244.83771736783899,"P-value(F)",4.4519782644871097E-54]
["Log-likelihood",-1486.4868648299,"Akaike criterion",2984.97372965981]
["Schwarz criterion",3000.8974917607502,"Hannan-Quinn",2991.4263522036999]
["rho",7.5235607141955999E-2,"Durbin-Watson",1.8435958258207199]
["Theil's U",0.27788000000000002]

{"sheet":"Predicted Monthly Data","index":3,"n_rows":106,"n_cols":15,"rows_kept":106,"cut":false,"hidden":false,"merged":[]}
["Date","ReskWh","HDD_Lond","CDD_Lond","MonthDays","Shoulder1","FTE_Ont",null,"Const","HDD_Lond","CDD_Lond","MonthDays","Shoulder1","FTE_Ont","Predicted Value"]
["2005-04-01",7994353,310.3,0,30,1,5043,null,{"$f":"const","v":-8181855.1409281204},{"$f":"HDD_Lond*C2","v":1122301.616942738},{"$f":"CDD_Lond*D2","v":0},{"$f":"MonthDays*E2","v":10517154.457353},{"$f":"Shoulder1*F2","v":-844850.57545626699},{"$f":"FTE_Ont*G2","v":5622937.4478549967},{"$f":"SUM(I2:N2)","v":8235687.8057663469}]
["2005-05-01",8370528,198.5,0,31,1,5122.1000000000004,null,-8181855.1409281204,717940.28670039796,0,10867726.272598101,-844850.57545626699,5711133.8293987866,8270094.6723128976]
["2005-06-01",10389917,11.4,121.1,30,0,5236.3,null,-8181855.1409281204,41231.835105211772,3123240.7389208232,10517154.457353,0,5838466.6583785685,11338238.548829481]
["2005-07-01",12583059,1.5,137.5,31,0,5342,null,-8181855.1409281204,5425.2414612120756,3546206.4541834285,10867726.272598101,0,5956322.0000875257,12193824.827402147]
["2005-08-01",11214871,4.5,106.3,31,0,5416.4,null,-8181855.1409281204,16275.724383636225,2741539.9714887161,10867726.272598101,0,6039277.8886698,11482964.716212133]
["2005-09-01",8794917,30.5,34.700000000000003,30,1,5396,null,-8181855.1409281204,110313.24304464553,894933.5560739272,10517154.457353,-844850.57545626699,6016531.9192198217,8512227.4593070075]
["2005-10-01",8286547,228.3,8.6999999999999993,31,1,5335.3,null,-8181855.1409281204,825721.75039647787,224378.15382833328,10867726.272598101,-844850.57545626699,5948851.5101211108,8839971.9705596343]
["2005-11-01",9138335,392.7,0,30,1,5247.1,null,-8181855.1409281204,1420328.2145453212,0,10517154.457353,-844850.57545626699,5850508.6422050279,8761285.5977189615]
["2005-12-01",10840969,702.3,0,31,0,5224.1000000000004,null,-8181855.1409281204,2540098.0521394936,0,10867726.272598101,0,5824863.6766486792,11050832.860458154]
["2006-01-01",10447261,554.70000000000005,0,31,0,5175.3,null,-8181855.1409281204,2006254.2923562257,0,10867726.272598101,0,5770451.749729122,10462577.173755329]
["2006-02-01",9290165,609.29999999999995,0,28,0,5136.2,null,-8181855.1409281204,2203733.0815443448,0,9816010.8268628009,0,5726855.3082833299,9564744.0757623538]
["2006-03-01",9550777,545.70000000000005,0,31,1,5107.1000000000004,null,-8181855.1409281204,1973702.8435889531,0,10867726.272598101,-844850.57545626699,5694408.8518620376,9509132.2516647037]
["2006-04-01",7928570,286.10000000000002,0,30,1,5137.7,null,-8181855.1409281204,1034774.3880351832,0,10517154.457353,-844850.57545626699,5728527.806037005,8253750.9350407999]
["2006-05-01",8239356,151.9,22.9,31,1,5243.8,null,-8181855.1409281204,549396.11863874283,590604.56582400377,10867726.272598101,-844850.57545626699,5846829.147146943,8827850.3878234029]
["2006-06-01",9433262,26.7,44.4,30,0,5352.8,null,-8181855.1409281204,96569.298009574937,1145102.3022963216,10517154.457353,0,5968363.9839139851,9545334.9006447606]
["2006-07-01",11873826,3.3,133.69999999999999,31,0,5464.8,null,-8181855.1409281204,11935.531214666564,3448202.2030859953,10867726.272598101,0,6093243.8161883773,12239252.68215902]
["2006-08-01",10694615,5.3,68.2,31,0,5505.8,null,-8181855.1409281204,19169.186496282666,1758918.4012749807,10867726.272598101,0,6138958.7547888244,10602917.47423007]
["2006-09-01",8299435,98.5,5,30,1,5456.2,null,-8181855.1409281204,356257.52261959296,128952.9619703065,10517154.457353,-844850.57545626699,6083654.8290673075,8059314.0546258194]
["2006-10-01",8756421,307.89999999999998,0.7,31,1,5374.9,null,-8181855.1409281204,1113621.2306047985,18053.414675842909,10867726.272598101,-844850.57545626699,5993005.450818128,8965700.6523124836]
["2006-11-01",9303930,383.4,0,30,1,5278.7,null,-8181855.1409281204,1386691.7174858064,0,10517154.457353,-844850.57545626699,5885742.5948824445,8762883.0533368625]
["2006-12-01",10447715,511.9,0,31,0,5263.7,null,-8181855.1409281204,1851454.0693296408,0,10867726.272598101,0,5869017.6173456954,10406342.818345316]
["2007-01-01",11056491,655.6,0,31,0,5216.5,null,-8181855.1409281204,2371192.2013137578,0,10867726.272598101,0,5816389.6880300594,10873453.021013796]
["2007-02-01",10272579,758.7,0,28,0,5184.8999999999996,null,-8181855.1409281204,2744087.131081068,0,9816010.8268628009,0,5781155.735352641,10159398.552368389]
["2007-03-01",9990728,527,0,31,1,5167.7,null,-8181855.1409281204,1906068.1667058424,0,10867726.272598101,-844850.57545626699,5761977.7611105023,9509066.4840300567]
["2007-04-01",8524722,371.1,0,30,1,5197.5,null,-8181855.1409281204,1342204.7375038674,0,10517154.457353,-844850.57545626699,5795204.716483511,8627858.1949559897]
["2007-05-01",8580554,131.9,22.7,31,1,5280.6,null,-8181855.1409281204,477059.56582258182,585446.4473451915,10867726.272598101,-844850.57545626699,5887861.0920371003,8791387.661418587]
["2007-06-01",9896039,23.2,70.2,30,0,5391.3,null,-8181855.1409281204,83910.401266746761,1810499.5860631033,10517154.457353,0,6011291.426258307,10241000.730013037]
["2007-07-01",11095426,11.3,71.599999999999994,31,0,5513.8,null,-8181855.1409281204,40870.152341130968,1846606.415414789,10867726.272598101,0,6147878.7428084239,10721226.442234324]
["2007-08-01",11118846,11.5,89.1,31,0,5582.2,null,-8181855.1409281204,41593.517869292577,2297941.7823108616,10867726.272598101,0,6224144.6403759988,11249551.072226133]
["2007-09-01",9280411,61,35,30,1,5544.2,null,-8181855.1409281204,220626.48608929105,902670.7337921455,10517154.457353,-844850.57545626699,6181774.697282901,8795520.6581329498]
["2007-10-01",8912500,149.9,21.5,31,1,5479.1,null,-8181855.1409281204,542162.46335712669,554497.73647231795,10867726.272598101,-844850.57545626699,6109188.294773411,9046869.0508165695]
["2007-11-01",9642232,468.7,0,30,1,5395.6,null,-8181855.1409281204,1695207.115246733,0,10517154.457353,-844850.57545626699,6016085.9198188419,9201741.7760341875]
["2007-12-01",11291760,657,0,31,0,5374.1,null,{"$f":"const","v":-8181855.1409281204},{"$f":"HDD_Lond*C34","v":2376255.7600108888},{"$f":"CDD_Lond*D34","v":0},{"$f":"MonthDays*E34","v":10867726.272598101},{"$f":"Shoulder1*F34","v":0},{"$f":"FTE_Ont*G34","v":5992113.4520161683},{"$f":"SUM(I34:N34)","v":11054240.343697038}]
["2008-01-01",11206263,639,0,31,0,5323.9,null,-8181855.1409281204,2311152.8624763442,0,10867726.272598101,0,5936140.5271931812,10933164.521339506]
["2008-02-01",10447561,692.5,0,29,0,5303.7,null,-8181855.1409281204,2504653.1412595748,0,10166582.6421079,0,5913617.5574436933,10402998.199883047]
["2008-03-01",10134324,627.29999999999995,0,31,1,5278.9,null,-8181855.1409281204,2268835.9790788898,0,10867726.272598101,-844850.57545626699,5885965.5945829349,9995822.129875537]
["2008-04-01",8281971,265,0,30,1,5310.6,null,-8181855.1409281204,958459.32481413323,0,10517154.457353,-844850.57545626699,5921311.0471105985,8370219.1128933439]
["2008-05-01",8439719,208.8,2.1,31,1,5370.3,null,-8181855.1409281204,755193.6114007209,54160.24402752873,10867726.272598101,-844850.57545626699,5987876.4577068584,8638250.8693488203]
["2008-06-01",9665506,24.1,66.400000000000006,30,0,5458.4,null,-8181855.1409281204,87165.546143474014,1712495.3349656705,10517154.457353,0,6086107.8257726971,10221068.02330672]
["2008-07-01",11397420,4,97,31,0,5533.6,null,-8181855.1409281204,14467.3105632322,2501687.4622239461,10867726.272598101,0,6169955.713156933,11371981.61761409]
["2008-08-01",10834750,12.4,53.2,31,0,5592.4,null,-8181855.1409281204,44848.662746019821,1372059.5153640611,10867726.272598101,0,6235517.625100988,10338296.93488105]
["2008-09-01",8912187,56.7,21.4,30,1,5556.1,null,-8181855.1409281204,205074.12723381646,551918.67723291181,10517154.457353,-844850.57545626699,6195043.1794620557,8442484.7248973958]
["2008-10-01",8681291,286.8,0,31,1,5512.3,null,-8181855.1409281204,1037306.1673837488,0,10867726.272598101,-844850.57545626699,6146206.2450547488,9024532.9686522111]
["2008-11-01",9725130,468.3,0,30,1,5407.2,null,-8181855.1409281204,1693760.3841904099,0,10517154.457353,-844850.57545626699,6029019.9024472609,9213229.0276062824]
["2008-12-01",11498791,671,0,31,0,5368,null,-8181855.1409281204,2426891.3469822016,0,10867726.272598101,0,5985311.9611512236,11098074.439803407]
["2009-01-01",11709609,849.6,0,31,0,5275.1,null,-8181855.1409281204,3072856.7636305196,0,10867726.272598101,0,5881728.6002736259,11640456.495574126]
["2009-02-01",9815166,612.70000000000005,0,28,0,5201,null,-8181855.1409281204,2216030.2955230926,0,9816010.8268628009,0,5799107.2112420853,9649293.1926998589]
["2009-03-01",9808765,533.29999999999995,0,31,1,5125,null,-8181855.1409281204,1928854.180842933,0,10867726.272598101,-844850.57545626699,5714367.3250558907,9484242.0621125363]
["2009-04-01",8409247,307,3.2,30,1,5119.3999999999996,null,-8181855.1409281204,1110366.0857280714,82529.895660996161,10517154.457353,-844850.57545626699,5708123.3334421711,8391468.0557998512]
["2009-05-01",8083578,156.9,3.1,31,1,5157.3,null,-8181855.1409281204,567480.25684278307,79950.836421590036,10867726.272598101,-844850.57545626699,5750381.7766850237,8238833.42616311]
["2009-06-01",8696876,49.7,35.5,30,0,5215.6000000000004,null,-8181855.1409281204,179756.3337481601,915566.02998917608,10517154.457353,0,5815386.1893778546,9246007.8695400693]
["2009-07-01",10187430,20.2,29.4,31,0,5294,null,-8181855.1409281204,73059.918344322607,758243.4163854022,10867726.272598101,0,5902802.0719699292,9419976.5383696333]
["2009-08-01",10699164,17.899999999999999,71.900000000000006,31,0,5345.8,null,-8181855.1409281204,64741.214770464088,1854343.5931330076,10867726.272598101,0,5960558.9943968356,10565514.933970287]
["2009-09-01",8848220,71.2,15.9,30,1,5347.8,null,-8181855.1409281204,257518.12802553317,410070.41906557465,10517154.457353,-844850.57545626699,5962788.9914017357,8120826.2794614546]
["2009-10-01",8897476,301.2,0,31,1,5314.9,null,-8181855.1409281204,1089388.4854113846,0,10867726.272598101,-844850.57545626699,5926105.5406711316,8856514.5822962299]
["2009-11-01",9169954,356.7,0,30,1,5267.8,null,-8181855.1409281204,1290122.4194762313,0,10517154.457353,-844850.57545626699,5873589.1112057408,8654160.2716505844]
["2009-12-01",11362006,637.29999999999995,0,31,0,5254.5,null,-8181855.1409281204,2305004.2554869703,0,10867726.272598101,0,5858759.6311231563,10849635.018280108]
["2010-01-01",11364520,733.1,0,31,0,5212.8,null,-8181855.1409281204,2651496.3434763816,0,10867726.272598101,0,5812264.1935709948,11149631.668717358]
["2010-02-01",9704226,633.4,0,28,0,5186,null,-8181855.1409281204,2290898.6276878188,0,9816010.8268628009,0,5782382.2337053362,9707436.5473278351]
["2010-03-01",9302812,450.2,0,31,1,5159.6000000000004,null,-8181855.1409281204,1628295.803891784,0,10867726.272598101,-844850.57545626699,5752946.2732406585,9222262.6333461553]
["2010-04-01",8105351,236.4,0,30,1,5180.2,null,-8181855.1409281204,855018.05428702303,0,10517154.457353,-844850.57545626699,5775915.2423911262,8121382.0376467612]
["2010-05-01",8972250,121.1,34.9,31,1,5249.5,null,-8181855.1409281204,437997.82730185485,900091.67455273937,10867726.272598101,-844850.57545626699,5853184.6386109069,9032294.6966792159]
["2010-06-01",10612346,23.6,57.5,30,0,5359.8,null,-8181855.1409281204,85357.132323069993,1482959.0626585246,10517154.457353,0,5976168.9734311346,9879784.4848376084]
["2010-07-01",12697627,5.6,129.69999999999999,31,0,5456,null,-8181855.1409281204,20254.234788525078,3345039.8335097502,10867726.272598101,0,6083431.8293668171,12134597.029335074]
["2010-08-01",11860873,6,121.7,31,0,5503.9,null,{"$f":"const","v":-8181855.1409281204},{"$f":"HDD_Lond*C66","v":21700.965844848302},{"$f":"CDD_Lond*D66","v":3138715.09435726},{"$f":"MonthDays*E66","v":10867726.272598101},{"$f":"Shoulder1*F66","v":0},{"$f":"FTE_Ont*G66","v":6136840.2576341685},{"$f":"SUM(I66:N66)","v":11983127.449506257}]
["2010-09-01",8944230,87.9,24.1,30,1,5453.3,null,-8181855.1409281204,317919.14962702763,621553.27669687732,10517154.457353,-844850.57545626699,6080421.3334102025,8510342.5007027201]
["2010-10-01",8467380,239.5,0,31,1,5408.6,null,-8181855.1409281204,866230.21997352794,0,10867726.272598101,-844850.57545626699,6030580.9003506908,8737831.676537931]
["2010-11-01",9247991,413.6,0,30,1,5349.4,null,-8181855.1409281204,1495919.9122382095,0,10517154.457353,-844850.57545626699,5964572.9890056551,8950941.6422124766]
["2010-12-01",11100789,713.5,0,31,0,5352.4,null,-8181855.1409281204,2580606.5217165439,0,10867726.272598101,0,5967917.9845130043,11234395.637899529]
["2011-01-01",11478543,798.8,0,31,0,5316.6,null,-8181855.1409281204,2889121.9194774702,0,10867726.272598101,0,5928001.038125298,11502994.089272749]
["2011-02-01",9828747,677.8,0,28,0,5289.1,null,-8181855.1409281204,2451485.7749396963,0,9816010.8268628009,0,5897338.579307925,9982980.0401823018]
["2011-03-01",9870149,599.6,0,31,1,5280.1,null,-8181855.1409281204,2168649.8534285068,0,10867726.272598101,-844850.57545626699,5887303.5927858753,9896974.0024280958]
["2011-04-01",8634932,330.4,0,30,1,5317.8,null,-8181855.1409281204,1194999.8525229797,0,10517154.457353,-844850.57545626699,5929339.0363282375,8614787.629819829]
["2011-05-01",8604284,126.4,17.399999999999999,31,1,5405.5,null,-8181855.1409281204,457167.01379813754,448756.30765666655,10867726.272598101,-844850.57545626699,6027124.4049930964,8774068.2826616131]
["2011-06-01",9863266,27,39.6,30,0,5496,null,-8181855.1409281204,97654.34630181735,1021307.4588048275,10517154.457353,0,6128031.769464815,9582292.8909963388]
["2011-07-01",13084587,0,160.9,31,0,5593.1,null,-8181855.1409281204,0,4149706.3162044631,10867726.272598101,0,6236298.1240527034,13071875.571927147]
["2011-08-01",11708342,1.5,82.9,31,0,5646.1,null,-8181855.1409281204,5425.2414612120756,2138040.109467682,10867726.272598101,0,6295393.0446825493,11124729.527281424]
["2011-09-01",8861720,71.900000000000006,29,30,1,5620.8,null,-8181855.1409281204,260049.90737409881,747927.17942777765,10517154.457353,-844850.57545626699,6267183.5825705659,8765609.4103410542]
["2011-10-01",8436122,234.6,0,31,1,5541.4,null,-8181855.1409281204,848507.76453356852,0,10867726.272598101,-844850.57545626699,6178652.7014760412,8868181.0222233236]
["2011-11-01",8858646,347.9,0,30,1,5456.6,null,-8181855.1409281204,1258294.3362371204,0,10517154.457353,-844850.57545626699,6084100.8284682883,8832843.9056740217]
["2011-12-01",10356171,548.4,0,31,0,5422,null,-8181855.1409281204,1983468.2782191345,0,10867726.272598101,0,6045521.8802835196,10714861.290172635]
["2012-01-01",10568683,644.79999999999995,0,31,0,5377.2,null,-8181855.1409281204,2332130.4627930303,0,10867726.272598101,0,5995569.9473737627,11013571.541836774]
["2012-02-01",9506375,553,0,29,0,5332.1,null,-8181855.1409281204,2000105.6853668517,0,10166582.6421079,0,5945283.5149132712,9930116.7014599033]
["2012-03-01",8893020,331.1,2.2000000000000002,31,1,5313.9,null,-8181855.1409281204,1197531.6318715455,56739.303266934861,10867726.272598101,-844850.57545626699,5924990.5421686824,9020282.0335208774]
["2012-04-01",7973891,334.6,0,30,1,5361.4,null,-8181855.1409281204,1210190.5286143736,0,10517154.457353,-844850.57545626699,5977952.971035054,8678592.2406180389]
["2012-05-01",8521416,87.2,28.5,31,1,5441,null,-8181855.1409281204,315387.37027846195,735031.88323074707,10867726.272598101,-844850.57545626699,6066706.851830069,8958146.6615529917]
["2012-06-01",10787976,28.2,81.7,30,0,5536.5,null,-8181855.1409281204,101994.53947078701,2107091.3985948083,10517154.457353,0,6173189.208814037,10717574.463304512]
["2012-07-01",13043099,0,161,31,0,5616.3,null,-8181855.1409281204,0,4152285.3754438693,10867726.272598101,0,6262166.0893095415,13100322.596423391]
["2012-08-01",11413857,7.8,79.599999999999994,31,0,5667.7,null,-8181855.1409281204,28211.255598302789,2052931.1545672794,10867726.272598101,0,6319477.0123354672,11086490.554171029]
["2012-09-01",8938541,103.4,27.7,30,1,5629.7,null,-8181855.1409281204,373979.97805955238,714399.40931549796,10517154.457353,-844850.57545626699,6277107.0692423703,8855935.1975860335]
["2012-10-01",8595671,250.5,0.7,31,1,5584.2,null,-8181855.1409281204,906015.32402241649,18053.414675842909,10867726.272598101,-844850.57545626699,6226374.637380898,8991463.9322928712]
["2012-11-01",9181838,420.4,0,30,1,5527,null,-8181855.1409281204,1520514.3401957043,0,10517154.457353,-844850.57545626699,6162596.7230407624,9173559.8042050786]
["2012-12-01",10491347,535.9,0,31,0,5517.3,null,-8181855.1409281204,1938257.9327090341,0,10867726.272598101,0,6151781.2375669982,10775910.301946012]
["2013-01-01",10899532.399999978,657.4,0,31,0,5451.7,null,-8181855.1409281204,2377702.4910672121,0,10867726.272598101,0,6078637.3358062822,11142210.958543476]
["2013-02-01",9715342.559999954,657,0,28,0,5400.4,null,-8181855.1409281204,2376255.7600108888,0,9816010.8268628009,0,6021437.9126306009,10031849.358576171]
["2013-03-01",9989140.5700000133,581.9,0,31,1,5358.4,null,-8181855.1409281204,2104632.0041862042,0,10867726.272598101,-844850.57545626699,5974607.9755277038,9920260.5359276216]
["2013-04-01",8576997.3799999543,362.2,0,30,1,5397,null,{"$f":"const","v":-8181855.1409281204},{"$f":"HDD_Lond*C98","v":1310014.9715006757},{"$f":"CDD_Lond*D98","v":0},{"$f":"MonthDays*E98","v":10517154.457353},{"$f":"Shoulder1*F98","v":-844850.57545626699},{"$f":"FTE_Ont*G98","v":6017646.9177222718},{"$f":"SUM(I98:N98)","v":8818110.630191559}]
["2013-05-01",8413381.6200000029,122.2,27,31,1,5505.6,null,-8181855.1409281204,441976.33770674374,696345.99463965511,10867726.272598101,-844850.57545626699,6138735.7550883349,9118078.6436484475]
["2013-06-01",9697931.8499999736,41.1,52.7,30,0,5618.4,null,-8181855.1409281204,148651.61603721086,1359164.2191670306,10517154.457353,0,6264507.5861646859,10107622.737793807]
["2013-07-01",11621703.179999972,7.1,108.8,31,0,5716.1,null,-8181855.1409281204,25679.476249737156,2806016.4524738691,10867726.272598101,0,6373442.9398540445,11891010.000247631]
["2013-08-01",10683811.079999987,18.399999999999999,57.5,31,0,5745,null,-8181855.1409281204,66549.628590868117,1482959.0626585246,10867726.272598101,0,6405666.3965748474,10641046.21949422]
["2013-09-01",9078533.9800000694,94.9,26,30,1,5709.9,null,-8181855.1409281204,343236.94311268395,670555.40224559372,10517154.457353,-844850.57545626699,6366529.9491388546,8870771.0354657434]
["2013-10-01",8617112.7900000345,184,2.6,31,1,5655.8,null,-8181855.1409281204,665496.28590868122,67055.540224559387,10867726.272598101,-844850.57545626699,6306208.5301563134,8879780.9125032686]
["2013-11-01",9442071.1599999424,492.1,0,30,1,5587.4,null,-8181855.1409281204,1779840.8820416415,0,10517154.457353,-844850.57545626699,6229942.6325887376,9500232.2555989921]
["2013-12-01",11199465.35999999,675.7,0,31,0,5558.7,null,-8181855.1409281204,2443890.4368939996,0,10867726.272598101,0,6197942.1755684251,11327703.744132405]

{"sheet":"Predicted Monthly Data Summ","index":4,"n_rows":107,"n_cols":5,"rows_kept":107,"cut":false,"hidden":false,"merged":[]}
["Date","Year","ReskWh","Predicted Value","Absolute % Error"]
["2005-04-01",{"$f":"YEAR(A2)","v":2005},7994353,8235687.8057663469,{"$f":"ABS(D2-C2)/C2","v":3.0188159788083771E-2}]
["2005-05-01",2005,8370528,8270094.6723128976,1.199844593878694E-2]
["2005-06-01",2005,10389917,11338238.548829481,9.1273255486976554E-2]
["2005-07-01",2005,12583059,12193824.827402147,3.0933191412187883E-2]
["2005-08-01",2005,11214871,11482964.716212133,2.3905198393466401E-2]
["2005-09-01",2005,8794917,8512227.4593070075,3.2142377317829436E-2]
["2005-10-01",2005,8286547,8839971.9705596343,6.6785956871979885E-2]
["2005-11-01",2005,9138335,8761285.5977189615,4.1260186049322821E-2]
["2005-12-01",2005,10840969,11050832.860458154,1.9358404258711027E-2]
["2006-01-01",2006,10447261,10462577.173755329,1.4660468189058454E-3]
["2006-02-01",2006,9290165,9564744.0757623538,2.9555887948422212E-2]
["2006-03-01",2006,9550777,9509132.2516647037,4.36035186826122E-3]
["2006-04-01",2006,7928570,8253750.9350407999,4.1013819016644852E-2]
["2006-05-01",2006,8239356,8827850.3878234029,7.1424804053059843E-2]
["2006-06-01",2006,9433262,9545334.9006447606,1.1880609342214875E-2]
["2006-07-01",2006,11873826,12239252.68215902,3.077581582878338E-2]
["2006-08-01",2006,10694615,10602917.47423007,8.5741773565416179E-3]
["2006-09-01",2006,8299435,8059314.0546258194,2.8932203863778747E-2]
["2006-10-01",2006,8756421,8965700.6523124836,2.3900135947378918E-2]
["2006-11-01",2006,9303930,8762883.0533368625,5.8152516910933073E-2]
["2006-12-01",2006,10447715,10406342.818345316,3.9599263240511677E-3]
["2007-01-01",2007,11056491,10873453.021013796,1.6554798352045298E-2]
["2007-02-01",2007,10272579,10159398.552368389,1.1017724724395944E-2]
["2007-03-01",2007,9990728,9509066.4840300567,4.8210852699617411E-2]
["2007-04-01",2007,8524722,8627858.1949559897,1.2098481916007316E-2]
["2007-05-01",2007,8580554,8791387.661418587,2.4571101285370031E-2]
["2007-06-01",2007,9896039,10241000.730013037,3.4858566140759661E-2]
["2007-07-01",2007,11095426,10721226.442234324,3.3725569235978477E-2]
["2007-08-01",2007,11118846,11249551.072226133,1.1755273184477345E-2]
["2007-09-01",2007,9280411,8795520.6581329498,5.224880038901835E-2]
["2007-10-01",2007,8912500,9046869.0508165695,1.5076471339867543E-2]
["2007-11-01",2007,9642232,9201741.7760341875,4.5683429310331099E-2]
["2007-12-01",{"$f":"YEAR(A34)","v":2007},11291760,11054240.343697038,{"$f":"ABS(D34-C34)/C34","v":2.1034777244908008E-2}]
["2008-01-01",2008,11206263,10933164.521339506,2.4370165028296597E-2]
["2008-02-01",2008,10447561,10402998.199883047,4.2653783133644787E-3]
["2008-03-01",2008,10134324,9995822.129875537,1.3666611618541404E-2]
["2008-04-01",2008,8281971,8370219.1128933439,1.0655448189005238E-2]
["2008-05-01",2008,8439719,8638250.8693488203,2.3523516523336889E-2]
["2008-06-01",2008,9665506,10221068.02330672,5.7478834869764704E-2]
["2008-07-01",2008,11397420,11371981.61761409,2.2319421751510042E-3]
["2008-08-01",2008,10834750,10338296.93488105,4.5820444875880835E-2]
["2008-09-01",2008,8912187,8442484.7248973958,5.2703368443974996E-2]
["2008-10-01",2008,8681291,9024532.9686522111,3.9538124992263377E-2]
["2008-11-01",2008,9725130,9213229.0276062824,5.2636928492854861E-2]
["2008-12-01",2008,11498791,11098074.439803407,3.4848581924533925E-2]
["2009-01-01",2009,11709609,11640456.495574126,5.9056202838091328E-3]
["2009-02-01",2009,9815166,9649293.1926998589,1.6899643602577997E-2]
["2009-03-01",2009,9808765,9484242.0621125363,3.3084994684597267E-2]
["2009-04-01",2009,8409247,8391468.0557998512,2.114213579426173E-3]
["2009-05-01",2009,8083578,8238833.42616311,1.9206275508581713E-2]
["2009-06-01",2009,8696876,9246007.8695400693,6.3141278493572775E-2]
["2009-07-01",2009,10187430,9419976.5383696333,7.5333372757443909E-2]
["2009-08-01",2009,10699164,10565514.933970287,1.2491542893417893E-2]
["2009-09-01",2009,8848220,8120826.2794614546,8.2207915325177877E-2]
["2009-10-01",2009,8897476,8856514.5822962299,4.60371207562348E-3]
["2009-11-01",2009,9169954,8654160.2716505844,5.6248235089228972E-2]
["2009-12-01",2009,11362006,10849635.018280108,4.509511627787316E-2]
["2010-01-01",2010,11364520,11149631.668717358,1.8908702812141801E-2]
["2010-02-01",2010,9704226,9707436.5473278351,3.3084012345086693E-4]
["2010-03-01",2010,9302812,9222262.6333461553,8.658604156876944E-3]
["2010-04-01",2010,8105351,8121382.0376467612,1.9778338589853993E-3]
["2010-05-01",2010,8972250,9032294.6966792159,6.6922674556789963E-3]
["2010-06-01",2010,10612346,9879784.4848376084,6.902917744694638E-2]
["2010-07-01",2010,12697627,12134597.029335074,4.4341353755699857E-2]
["2010-08-01",{"$f":"YEAR(A66)","v":2010},11860873,11983127.449506257,{"$f":"ABS(D66-C66)/C66","v":1.0307373623025617E-2}]
["2010-09-01",2010,8944230,8510342.5007027201,4.8510324454679704E-2]
["2010-10-01",2010,8467380,8737831.676537931,3.1940420358827756E-2]
["2010-11-01",2010,9247991,8950941.6422124766,3.2120420293177555E-2]
["2010-12-01",2010,11100789,11234395.637899529,1.2035778528853146E-2]
["2011-01-01",2011,11478543,11502994.089272749,2.1301561768552577E-3]
["2011-02-01",2011,9828747,9982980.0401823018,1.5692034822170291E-2]
["2011-03-01",2011,9870149,9896974.0024280958,2.7177910311278774E-3]
["2011-04-01",2011,8634932,8614787.629819829,2.3328927408080321E-3]
["2011-05-01",2011,8604284,8774068.2826616131,1.9732528896258313E-2]
["2011-06-01",2011,9863266,9582292.8909963388,2.8486822620789221E-2]
["2011-07-01",2011,13084587,13071875.571927147,9.7148103129682381E-4]
["2011-08-01",2011,11708342,11124729.527281424,4.9845868246637823E-2]
["2011-09-01",2011,8861720,8765609.4103410542,1.0845590885171931E-2]
["2011-10-01",2011,8436122,8868181.0222233236,5.1215359643130287E-2]
["2011-11-01",2011,8858646,8832843.9056740217,2.9126453778577795E-3]
["2011-12-01",2011,10356171,10714861.290172635,3.4635415944042895E-2]
["2012-01-01",2012,10568683,11013571.541836774,4.209498400479738E-2]
["2012-02-01",2012,9506375,9930116.7014599033,4.4574477806724778E-2]
["2012-03-01",2012,8893020,9020282.0335208774,1.431032804613926E-2]
["2012-04-01",2012,7973891,8678592.2406180389,8.8376081466129769E-2]
["2012-05-01",2012,8521416,8958146.6615529917,5.1250949554979094E-2]
["2012-06-01",2012,10787976,10717574.463304512,6.5259263364590165E-3]
["2012-07-01",2012,13043099,13100322.596423391,4.387269959646189E-3]
["2012-08-01",2012,11413857,11086490.554171029,2.8681491789232204E-2]
["2012-09-01",2012,8938541,8855935.1975860335,9.241530850948327E-3]
["2012-10-01",2012,8595671,8991463.9322928712,4.6045612063662179E-2]
["2012-11-01",2012,9181838,9173559.8042050786,9.0158373464238519E-4]
["2012-12-01",2012,10491347,10775910.301946012,2.7123619297504151E-2]
["2013-01-01",2013,10899532.399999978,11142210.958543476,2.226504308969238E-2]
["2013-02-01",2013,9715342.559999954,10031849.358576171,3.2578037945809567E-2]
["2013-03-01",2013,9989140.5700000133,9920260.5359276216,6.8954915179846744E-3]
["2013-04-01",{"$f":"YEAR(A98)","v":2013},8576997.3799999543,8818110.630191559,{"$f":"ABS(D98-C98)/C98","v":2.8111615231903687E-2}]
["2013-05-01",2013,8413381.6200000029,9118078.6436484475,8.3759070428145427E-2]
["2013-06-01",2013,9697931.8499999736,10107622.737793807,4.2245181151054849E-2]
["2013-07-01",2013,11621703.179999972,11891010.000247631,2.3172749817867929E-2]
["2013-08-01",2013,10683811.079999987,10641046.21949422,4.0027720619117517E-3]
["2013-09-01",2013,9078533.9800000694,8870771.0354657434,2.2885076488343373E-2]
["2013-10-01",2013,8617112.7900000345,8879780.9125032686,3.0482149752995517E-2]
["2013-11-01",2013,9442071.1599999424,9500232.2555989921,6.1597815366443457E-3]
["2013-12-01",2013,11199465.35999999,11327703.744132405,1.1450402319242065E-2]
[null,null,null,null,{"$f":"AVERAGE(E2:E106)","v":2.8101347554041377E-2}]

{"sheet":"PredictedAnnualDataSumm","index":5,"n_rows":14,"n_cols":4,"rows_kept":14,"cut":false,"hidden":false,"merged":[]}
[]
["Annual Predicted vs. Actual ReskWh"]
[null,"ReskWh ","Predicted Value ","Absolute % Error  "]
[2005,87613496,88685128.45856674,1.2231362832122806E-2]
[2006,114265333,115199800.45970091,8.1780487149231192E-3]
[2007,119662288,118271313.98694107,1.1624163604985813E-2]
[2008,119224913,118050122.57010143,9.8535650002829107E-3]
[2009,115687491,113116928.72591786,2.2219880921111334E-2]
[2010,120380395,118664028.00474894,1.4257861466986045E-2]
[2011,119585509,119732197.66298053,1.2266424603379553E-3]
[2012,117915714,120301966.02891751,2.0236929820206206E-2]
[2013,117935023.92999986,120248677.03212334,1.9618032243727268E-2]
[null,null,"Mean Absolute Percentage Error (Annual)",{"$f":"AVERAGE(D4:D12)","v":1.327183189607594E-2}]
[null,null,"Mean Absolute Percentage Error (Monthly)",2.8101347554041377E-2]

{"sheet":"PredictedAnnualDataSumm2","index":6,"n_rows":12,"n_cols":3,"rows_kept":12,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,"ReskWh ","Predicted Value "]
[2005,87613496,88685128.45856674]
[2006,114265333,115199800.45970091]
[2007,119662288,118271313.98694107]
[2008,119224913,118050122.57010143]
[2009,115687491,113116928.72591786]
[2010,120380395,118664028.00474894]
[2011,119585509,119732197.66298053]
[2012,117915714,120301966.02891751]
[2013,117935023.92999986,120248677.03212334]

{"sheet":"Normalized Monthly Data","index":7,"n_rows":130,"n_cols":15,"rows_kept":130,"cut":false,"hidden":false,"merged":[]}
["Date","ReskWh","HDD_Lond","CDD_Lond","MonthDays","Shoulder1","FTE_Ont",null,"Const","HDD_Lond","CDD_Lond","MonthDays","Shoulder1","FTE_Ont","Normalized Value"]
["2005-04-01",7994353,312.88,0.32,30,1,5043,null,{"$f":"const","v":-8181855.1409281204},{"$f":"HDD_Lond*C2","v":1131633.0322560228},{"$f":"CDD_Lond*D2","v":8252.9895660996153},{"$f":"MonthDays*E2","v":10517154.457353},{"$f":"Shoulder1*F2","v":-844850.57545626699},{"$f":"FTE_Ont*G2","v":5622937.4478549967},{"$f":"SUM(I2:N2)","v":8253272.2106457315}]
["2005-05-01",8370528,145.96,16.98,31,1,5122.1000000000004,null,-8181855.1409281204,527912.16245234304,437924.25885116088,10867726.272598101,-844850.57545626699,5711133.8293987866,8517990.806916004]
["2005-06-01",10389917,30.95,59.64,30,0,5236.3,null,-8181855.1409281204,111940.81548300915,1538150.9303818159,10517154.457353,0,5838466.6583785685,9823857.720668273]
["2005-07-01",12583059,6,109.95,31,0,5342,null,-8181855.1409281204,21700.965844848302,2835675.6337270401,10867726.272598101,0,5956322.0000875257,11499569.731329395]
["2005-08-01",11214871,11.72,76.849999999999994,31,0,5416.4,null,-8181855.1409281204,42389.219950270352,1982007.0254836108,10867726.272598101,0,6039277.8886698,10749545.265773661]
["2005-09-01",8794917,72.849999999999994,24.35,30,1,5396,null,-8181855.1409281204,263485.89363286644,628000.92479539267,10517154.457353,-844850.57545626699,6016531.9192198217,8398467.4786166921]
["2005-10-01",8286547,241.64,3.42,31,1,5335.3,null,-8181855.1409281204,873970.23112485721,88203.825987689648,10867726.272598101,-844850.57545626699,5948851.5101211108,8752046.1234473698]
["2005-11-01",9138335,414.34,0,30,1,5247.1,null,-8181855.1409281204,1498596.3646924074,0,10517154.457353,-844850.57545626699,5850508.6422050279,8839553.7478660475]
["2005-12-01",10840969,630.9,0,31,0,5224.1000000000004,null,-8181855.1409281204,2281856.5585857988,0,10867726.272598101,0,5824863.6766486792,10792591.36690446]
["2006-01-01",10447261,716.23,0,31,0,5175.3,null,-8181855.1409281204,2590480.4611759498,0,10867726.272598101,0,5770451.749729122,11046803.342575051]
["2006-02-01",9290165,650.25,0,28,0,5136.2,null,-8181855.1409281204,2351842.1734354347,0,9816010.8268628009,0,5726855.3082833299,9712853.1676534452]
["2006-03-01",9550777,533.91,0.22,31,1,5107.1000000000004,null,-8181855.1409281204,1931060.4457038259,5673.9303266934858,10867726.272598101,-844850.57545626699,5694408.8518620376,9472163.7841062695]
["2006-04-01",7928570,312.88,0.32,30,1,5137.7,null,-8181855.1409281204,1131633.0322560228,8252.9895660996153,10517154.457353,-844850.57545626699,5728527.806037005,8358862.5688277399]
["2006-05-01",8239356,145.96,16.98,31,1,5243.8,null,-8181855.1409281204,527912.16245234304,437924.25885116088,10867726.272598101,-844850.57545626699,5846829.147146943,8653686.1246641614]
["2006-06-01",9433262,30.95,59.64,30,0,5352.8,null,-8181855.1409281204,111940.81548300915,1538150.9303818159,10517154.457353,0,5968363.9839139851,9953755.0462036896]
["2006-07-01",11873826,6,109.95,31,0,5464.8,null,-8181855.1409281204,21700.965844848302,2835675.6337270401,10867726.272598101,0,6093243.8161883773,11636491.547430247]
["2006-08-01",10694615,11.72,76.849999999999994,31,0,5505.8,null,-8181855.1409281204,42389.219950270352,1982007.0254836108,10867726.272598101,0,6138958.7547888244,10849226.131892685]
["2006-09-01",8299435,72.849999999999994,24.35,30,1,5456.2,null,-8181855.1409281204,263485.89363286644,628000.92479539267,10517154.457353,-844850.57545626699,6083654.8290673075,8465590.3884641789]
["2006-10-01",8756421,241.64,3.42,31,1,5374.9,null,-8181855.1409281204,873970.23112485721,88203.825987689648,10867726.272598101,-844850.57545626699,5993005.450818128,8796200.0641443878]
["2006-11-01",9303930,414.34,0,30,1,5278.7,null,-8181855.1409281204,1498596.3646924074,0,10517154.457353,-844850.57545626699,5885742.5948824445,8874787.7005434632]
["2006-12-01",10447715,630.9,0,31,0,5263.7,null,-8181855.1409281204,2281856.5585857988,0,10867726.272598101,0,5869017.6173456954,10836745.307601474]
["2007-01-01",11056491,716.23,0,31,0,5216.5,null,-8181855.1409281204,2590480.4611759498,0,10867726.272598101,0,5816389.6880300594,11092741.280875988]
["2007-02-01",10272579,650.25,0,28,0,5184.8999999999996,null,-8181855.1409281204,2351842.1734354347,0,9816010.8268628009,0,5781155.735352641,9767153.5947227553]
["2007-03-01",9990728,533.91,0.22,31,1,5167.7,null,-8181855.1409281204,1931060.4457038259,5673.9303266934858,10867726.272598101,-844850.57545626699,5761977.7611105023,9539732.6933547352]
["2007-04-01",8524722,312.88,0.32,30,1,5197.5,null,-8181855.1409281204,1131633.0322560228,8252.9895660996153,10517154.457353,-844850.57545626699,5795204.716483511,8425539.4792742468]
["2007-05-01",8580554,145.96,16.98,31,1,5280.6,null,-8181855.1409281204,527912.16245234304,437924.25885116088,10867726.272598101,-844850.57545626699,5887861.0920371003,8694718.0695543177]
["2007-06-01",9896039,30.95,59.64,30,0,5391.3,null,-8181855.1409281204,111940.81548300915,1538150.9303818159,10517154.457353,0,6011291.426258307,9996682.4885480106]
["2007-07-01",11095426,6,109.95,31,0,5513.8,null,-8181855.1409281204,21700.965844848302,2835675.6337270401,10867726.272598101,0,6147878.7428084239,11691126.474050293]
["2007-08-01",11118846,11.72,76.849999999999994,31,0,5582.2,null,-8181855.1409281204,42389.219950270352,1982007.0254836108,10867726.272598101,0,6224144.6403759988,10934412.017479859]
["2007-09-01",9280411,72.849999999999994,24.35,30,1,5544.2,null,-8181855.1409281204,263485.89363286644,628000.92479539267,10517154.457353,-844850.57545626699,6181774.697282901,8563710.2566797733]
["2007-10-01",8912500,241.64,3.42,31,1,5479.1,null,-8181855.1409281204,873970.23112485721,88203.825987689648,10867726.272598101,-844850.57545626699,6109188.294773411,8912382.90809967]
["2007-11-01",9642232,414.34,0,30,1,5395.6,null,-8181855.1409281204,1498596.3646924074,0,10517154.457353,-844850.57545626699,6016085.9198188419,9005131.0254798606]
["2007-12-01",11291760,630.9,0,31,0,5374.1,null,{"$f":"const","v":-8181855.1409281204},{"$f":"HDD_Lond*C34","v":2281856.5585857988},{"$f":"CDD_Lond*D34","v":0},{"$f":"MonthDays*E34","v":10867726.272598101},{"$f":"Shoulder1*F34","v":0},{"$f":"FTE_Ont*G34","v":5992113.4520161683},{"$f":"SUM(I34:N34)","v":10959841.142271947}]
["2008-01-01",11206263,716.23,0,31,0,5323.9,null,-8181855.1409281204,2590480.4611759498,0,10867726.272598101,0,5936140.5271931812,11212492.120039111]
["2008-02-01",10447561,650.25,0,29,0,5303.7,null,-8181855.1409281204,2351842.1734354347,0,10166582.6421079,0,5913617.5574436933,10250187.232058909]
["2008-03-01",10134324,533.91,0.22,31,1,5278.9,null,-8181855.1409281204,1931060.4457038259,5673.9303266934858,10867726.272598101,-844850.57545626699,5885965.5945829349,9663720.5268271677]
["2008-04-01",8281971,312.88,0.32,30,1,5310.6,null,-8181855.1409281204,1131633.0322560228,8252.9895660996153,10517154.457353,-844850.57545626699,5921311.0471105985,8551645.8099013343]
["2008-05-01",8439719,145.96,16.98,31,1,5370.3,null,-8181855.1409281204,527912.16245234304,437924.25885116088,10867726.272598101,-844850.57545626699,5987876.4577068584,8794733.4352240749]
["2008-06-01",9665506,30.95,59.64,30,0,5458.4,null,-8181855.1409281204,111940.81548300915,1538150.9303818159,10517154.457353,0,6086107.8257726971,10071498.888062403]
["2008-07-01",11397420,6,109.95,31,0,5533.6,null,-8181855.1409281204,21700.965844848302,2835675.6337270401,10867726.272598101,0,6169955.713156933,11713203.444398802]
["2008-08-01",10834750,11.72,76.849999999999994,31,0,5592.4,null,-8181855.1409281204,42389.219950270352,1982007.0254836108,10867726.272598101,0,6235517.625100988,10945785.00220485]
["2008-09-01",8912187,72.849999999999994,24.35,30,1,5556.1,null,-8181855.1409281204,263485.89363286644,628000.92479539267,10517154.457353,-844850.57545626699,6195043.1794620557,8576978.738858927]
["2008-10-01",8681291,241.64,3.42,31,1,5512.3,null,-8181855.1409281204,873970.23112485721,88203.825987689648,10867726.272598101,-844850.57545626699,6146206.2450547488,8949400.8583810087]
["2008-11-01",9725130,414.34,0,30,1,5407.2,null,-8181855.1409281204,1498596.3646924074,0,10517154.457353,-844850.57545626699,6029019.9024472609,9018065.0081082806]
["2008-12-01",11498791,630.9,0,31,0,5368,null,-8181855.1409281204,2281856.5585857988,0,10867726.272598101,0,5985311.9611512236,10953039.651407003]
["2009-01-01",11709609,716.23,0,31,0,5275.1,null,-8181855.1409281204,2590480.4611759498,0,10867726.272598101,0,5881728.6002736259,11158080.193119556]
["2009-02-01",9815166,650.25,0,28,0,5201,null,-8181855.1409281204,2351842.1734354347,0,9816010.8268628009,0,5799107.2112420853,9785105.0706121996]
["2009-03-01",9808765,533.91,0.22,31,1,5125,null,-8181855.1409281204,1931060.4457038259,5673.9303266934858,10867726.272598101,-844850.57545626699,5714367.3250558907,9492122.2573001236]
["2009-04-01",8409247,312.88,0.32,30,1,5119.3999999999996,null,-8181855.1409281204,1131633.0322560228,8252.9895660996153,10517154.457353,-844850.57545626699,5708123.3334421711,8338458.096232906]
["2009-05-01",8083578,145.96,16.98,31,1,5157.3,null,-8181855.1409281204,527912.16245234304,437924.25885116088,10867726.272598101,-844850.57545626699,5750381.7766850237,8557238.7542022411]
["2009-06-01",8696876,30.95,59.64,30,0,5215.6000000000004,null,-8181855.1409281204,111940.81548300915,1538150.9303818159,10517154.457353,0,5815386.1893778546,9800777.2516675591]
["2009-07-01",10187430,6,109.95,31,0,5294,null,-8181855.1409281204,21700.965844848302,2835675.6337270401,10867726.272598101,0,5902802.0719699292,11446049.803211797]
["2009-08-01",10699164,11.72,76.849999999999994,31,0,5345.8,null,-8181855.1409281204,42389.219950270352,1982007.0254836108,10867726.272598101,0,5960558.9943968356,10670826.371500697]
["2009-09-01",8848220,72.849999999999994,24.35,30,1,5347.8,null,-8181855.1409281204,263485.89363286644,628000.92479539267,10517154.457353,-844850.57545626699,5962788.9914017357,8344724.5507986071]
["2009-10-01",8897476,241.64,3.42,31,1,5314.9,null,-8181855.1409281204,873970.23112485721,88203.825987689648,10867726.272598101,-844850.57545626699,5926105.5406711316,8729300.1539973915]
["2009-11-01",9169954,414.34,0,30,1,5267.8,null,-8181855.1409281204,1498596.3646924074,0,10517154.457353,-844850.57545626699,5873589.1112057408,8862634.2168667614]
["2009-12-01",11362006,630.9,0,31,0,5254.5,null,-8181855.1409281204,2281856.5585857988,0,10867726.272598101,0,5858759.6311231563,10826487.321378935]
["2010-01-01",11364520,716.23,0,31,0,5212.8,null,-8181855.1409281204,2590480.4611759498,0,10867726.272598101,0,5812264.1935709948,11088615.786416925]
["2010-02-01",9704226,650.25,0,28,0,5186,null,-8181855.1409281204,2351842.1734354347,0,9816010.8268628009,0,5782382.2337053362,9768380.0930754505]
["2010-03-01",9302812,533.91,0.22,31,1,5159.6000000000004,null,-8181855.1409281204,1931060.4457038259,5673.9303266934858,10867726.272598101,-844850.57545626699,5752946.2732406585,9530701.2054848913]
["2010-04-01",8105351,312.88,0.32,30,1,5180.2,null,-8181855.1409281204,1131633.0322560228,8252.9895660996153,10517154.457353,-844850.57545626699,5775915.2423911262,8406250.0051818602]
["2010-05-01",8972250,145.96,16.98,31,1,5249.5,null,-8181855.1409281204,527912.16245234304,437924.25885116088,10867726.272598101,-844850.57545626699,5853184.6386109069,8660041.6161281243]
["2010-06-01",10612346,30.95,59.64,30,0,5359.8,null,-8181855.1409281204,111940.81548300915,1538150.9303818159,10517154.457353,0,5976168.9734311346,9961560.0357208401]
["2010-07-01",12697627,6,109.95,31,0,5456,null,-8181855.1409281204,21700.965844848302,2835675.6337270401,10867726.272598101,0,6083431.8293668171,11626679.560608685]
["2010-08-01",11860873,11.72,76.849999999999994,31,0,5503.9,null,{"$f":"const","v":-8181855.1409281204},{"$f":"HDD_Lond*C66","v":42389.219950270352},{"$f":"CDD_Lond*D66","v":1982007.0254836108},{"$f":"MonthDays*E66","v":10867726.272598101},{"$f":"Shoulder1*F66","v":0},{"$f":"FTE_Ont*G66","v":6136840.2576341685},{"$f":"SUM(I66:N66)","v":10847107.63473803}]
["2010-09-01",8944230,72.849999999999994,24.35,30,1,5453.3,null,-8181855.1409281204,263485.89363286644,628000.92479539267,10517154.457353,-844850.57545626699,6080421.3334102025,8462356.8928070739]
["2010-10-01",8467380,241.64,3.42,31,1,5408.6,null,-8181855.1409281204,873970.23112485721,88203.825987689648,10867726.272598101,-844850.57545626699,6030580.9003506908,8833775.5136769507]
["2010-11-01",9247991,414.34,0,30,1,5349.4,null,-8181855.1409281204,1498596.3646924074,0,10517154.457353,-844850.57545626699,5964572.9890056551,8953618.0946666747]
["2010-12-01",11100789,630.9,0,31,0,5352.4,null,-8181855.1409281204,2281856.5585857988,0,10867726.272598101,0,5967917.9845130043,10935645.674768783]
["2011-01-01",11478543,716.23,0,31,0,5316.6,null,-8181855.1409281204,2590480.4611759498,0,10867726.272598101,0,5928001.038125298,11204352.630971227]
["2011-02-01",9828747,650.25,0,28,0,5289.1,null,-8181855.1409281204,2351842.1734354347,0,9816010.8268628009,0,5897338.579307925,9883336.4386780411]
["2011-03-01",9870149,533.91,0.22,31,1,5280.1,null,-8181855.1409281204,1931060.4457038259,5673.9303266934858,10867726.272598101,-844850.57545626699,5887303.5927858753,9665058.5250301082]
["2011-04-01",8634932,312.88,0.32,30,1,5317.8,null,-8181855.1409281204,1131633.0322560228,8252.9895660996153,10517154.457353,-844850.57545626699,5929339.0363282375,8559673.7991189733]
["2011-05-01",8604284,145.96,16.98,31,1,5405.5,null,-8181855.1409281204,527912.16245234304,437924.25885116088,10867726.272598101,-844850.57545626699,6027124.4049930964,8833981.3825103138]
["2011-06-01",9863266,30.95,59.64,30,0,5496,null,-8181855.1409281204,111940.81548300915,1538150.9303818159,10517154.457353,0,6128031.769464815,10113422.831754521]
["2011-07-01",13084587,6,109.95,31,0,5593.1,null,-8181855.1409281204,21700.965844848302,2835675.6337270401,10867726.272598101,0,6236298.1240527034,11779545.855294572]
["2011-08-01",11708342,11.72,76.849999999999994,31,0,5646.1,null,-8181855.1409281204,42389.219950270352,1982007.0254836108,10867726.272598101,0,6295393.0446825493,11005660.421786411]
["2011-09-01",8861720,72.849999999999994,24.35,30,1,5620.8,null,-8181855.1409281204,263485.89363286644,628000.92479539267,10517154.457353,-844850.57545626699,6267183.5825705659,8649119.1419674382]
["2011-10-01",8436122,241.64,3.42,31,1,5541.4,null,-8181855.1409281204,873970.23112485721,88203.825987689648,10867726.272598101,-844850.57545626699,6178652.7014760412,8981847.3148023002]
["2011-11-01",8858646,414.34,0,30,1,5456.6,null,-8181855.1409281204,1498596.3646924074,0,10517154.457353,-844850.57545626699,6084100.8284682883,9073145.9341293089]
["2011-12-01",10356171,630.9,0,31,0,5422,null,-8181855.1409281204,2281856.5585857988,0,10867726.272598101,0,6045521.8802835196,11013249.570539299]
["2012-01-01",10568683,716.23,0,31,0,5377.2,null,-8181855.1409281204,2590480.4611759498,0,10867726.272598101,0,5995569.9473737627,11271921.540219693]
["2012-02-01",9506375,650.25,0,29,0,5332.1,null,-8181855.1409281204,2351842.1734354347,0,10166582.6421079,0,5945283.5149132712,10281853.189528486]
["2012-03-01",8893020,533.91,0.22,31,1,5313.9,null,-8181855.1409281204,1931060.4457038259,5673.9303266934858,10867726.272598101,-844850.57545626699,5924990.5421686824,9702745.4744129144]
["2012-04-01",7973891,312.88,0.32,30,1,5361.4,null,-8181855.1409281204,1131633.0322560228,8252.9895660996153,10517154.457353,-844850.57545626699,5977952.971035054,8608287.7338257879]
["2012-05-01",8521416,145.96,16.98,31,1,5441,null,-8181855.1409281204,527912.16245234304,437924.25885116088,10867726.272598101,-844850.57545626699,6066706.851830069,8873563.8293472864]
["2012-06-01",10787976,30.95,59.64,30,0,5536.5,null,-8181855.1409281204,111940.81548300915,1538150.9303818159,10517154.457353,0,6173189.208814037,10158580.271103742]
["2012-07-01",13043099,6,109.95,31,0,5616.3,null,-8181855.1409281204,21700.965844848302,2835675.6337270401,10867726.272598101,0,6262166.0893095415,11805413.82055141]
["2012-08-01",11413857,11.72,76.849999999999994,31,0,5667.7,null,-8181855.1409281204,42389.219950270352,1982007.0254836108,10867726.272598101,0,6319477.0123354672,11029744.38943933]
["2012-09-01",8938541,72.849999999999994,24.35,30,1,5629.7,null,-8181855.1409281204,263485.89363286644,628000.92479539267,10517154.457353,-844850.57545626699,6277107.0692423703,8659042.6286392417]
["2012-10-01",8595671,241.64,3.42,31,1,5584.2,null,-8181855.1409281204,873970.23112485721,88203.825987689648,10867726.272598101,-844850.57545626699,6226374.637380898,9029569.250707157]
["2012-11-01",9181838,414.34,0,30,1,5527,null,-8181855.1409281204,1498596.3646924074,0,10517154.457353,-844850.57545626699,6162596.7230407624,9151641.828701783]
["2012-12-01",10491347,630.9,0,31,0,5517.3,null,-8181855.1409281204,2281856.5585857988,0,10867726.272598101,0,6151781.2375669982,11119508.927822778]
["2013-01-01",10899532.399999978,716.23,0,31,0,5451.7,null,-8181855.1409281204,2590480.4611759498,0,10867726.272598101,0,6078637.3358062822,11354988.928652212]
["2013-02-01",9715342.559999954,650.25,0,28,0,5400.4,null,-8181855.1409281204,2351842.1734354347,0,9816010.8268628009,0,6021437.9126306009,10007435.772000715]
["2013-03-01",9989140.5700000133,533.91,0.22,31,1,5358.4,null,-8181855.1409281204,1931060.4457038259,5673.9303266934858,10867726.272598101,-844850.57545626699,5974607.9755277038,9752362.9077719375]
["2013-04-01",8576997.3799999543,312.88,0.32,30,1,5397,null,{"$f":"const","v":-8181855.1409281204},{"$f":"HDD_Lond*C98","v":1131633.0322560228},{"$f":"CDD_Lond*D98","v":8252.9895660996153},{"$f":"MonthDays*E98","v":10517154.457353},{"$f":"Shoulder1*F98","v":-844850.57545626699},{"$f":"FTE_Ont*G98","v":6017646.9177222718},{"$f":"SUM(I98:N98)","v":8647981.6805130057}]
["2013-05-01",8413381.6200000029,145.96,16.98,31,1,5505.6,null,-8181855.1409281204,527912.16245234304,437924.25885116088,10867726.272598101,-844850.57545626699,6138735.7550883349,8945592.7326055523]
["2013-06-01",9697931.8499999736,30.95,59.64,30,0,5618.4,null,-8181855.1409281204,111940.81548300915,1538150.9303818159,10517154.457353,0,6264507.5861646859,10249898.64845439]
["2013-07-01",11621703.179999972,6,109.95,31,0,5716.1,null,-8181855.1409281204,21700.965844848302,2835675.6337270401,10867726.272598101,0,6373442.9398540445,11916690.671095913]
["2013-08-01",10683811.079999987,11.72,76.849999999999994,31,0,5745,null,-8181855.1409281204,42389.219950270352,1982007.0254836108,10867726.272598101,0,6405666.3965748474,11115933.773678709]
["2013-09-01",9078533.9800000694,72.849999999999994,24.35,30,1,5709.9,null,-8181855.1409281204,263485.89363286644,628000.92479539267,10517154.457353,-844850.57545626699,6366529.9491388546,8748465.508535726]
["2013-10-01",8617112.7900000345,241.64,3.42,31,1,5655.8,null,-8181855.1409281204,873970.23112485721,88203.825987689648,10867726.272598101,-844850.57545626699,6306208.5301563134,9109403.1434825733]
["2013-11-01",9442071.1599999424,414.34,0,30,1,5587.4,null,-8181855.1409281204,1498596.3646924074,0,10517154.457353,-844850.57545626699,6229942.6325887376,9218987.7382497564]
["2013-12-01",11199465.35999999,630.9,0,31,0,5558.7,null,-8181855.1409281204,2281856.5585857988,0,10867726.272598101,0,6197942.1755684251,11165669.865824204]
["2014-01-01",null,716.23,0,31,0,5512.455579179812,null,-8181855.1409281204,2590480.4611759498,0,10867726.272598101,0,6146379.715607251,11422731.30845318]
["2014-02-01",null,650.25,0,28,0,5463.4001295478456,null,-8181855.1409281204,2351842.1734354347,0,9816010.8268628009,0,6091682.9627306005,10077680.822100716]
["2014-03-01",null,533.91,0.22,31,1,5432.8271268138806,null,-8181855.1409281204,1931060.4457038259,5673.9303266934858,10867726.272598101,-844850.57545626699,6057594.1104668323,9835349.0427110642]
["2014-04-01",null,312.88,0.32,30,1,5476.6855196635124,null,-8181855.1409281204,1131633.0322560228,8252.9895660996153,10517154.457353,-844850.57545626699,6106496.1528140325,8736830.9156047665]
["2014-05-01",null,145.96,16.98,31,1,5572.4037030494228,null,-8181855.1409281204,527912.16245234304,437924.25885116088,10867726.272598101,-844850.57545626699,6213221.7839465505,9020078.7614637688]
["2014-06-01",null,30.95,59.64,30,0,5678.3901602523665,null,-8181855.1409281204,111940.81548300915,1538150.9303818159,10517154.457353,0,6331396.5250078058,10316787.58729751]
["2014-07-01",null,6,109.95,31,0,5768.6953722397484,null,-8181855.1409281204,21700.965844848302,2835675.6337270401,10867726.272598101,0,6432086.70113716,11975334.43237903]
["2014-08-01",null,11.72,76.849999999999994,31,0,5809.6429228180878,null,-8181855.1409281204,42389.219950270352,1982007.0254836108,10867726.272598101,0,6477743.1587110013,11188010.535814863]
["2014-09-01",null,72.849999999999994,24.35,30,1,5772.4208885383814,null,-8181855.1409281204,263485.89363286644,628000.92479539267,10517154.457353,-844850.57545626699,6436240.6462309891,8818176.2056278605]
["2014-10-01",null,241.64,3.42,31,1,5721.7437817034715,null,-8181855.1409281204,873970.23112485721,88203.825987689648,10867726.272598101,-844850.57545626699,6379735.748001569,9182930.3613278288]
["2014-11-01",null,414.34,0,30,1,5657.8388016824401,null,-8181855.1409281204,1498596.3646924074,0,10517154.457353,-844850.57545626699,6308481.7909790268,9297526.8966400474]
["2014-12-01",null,630.9,0,31,0,5638.3488145110414,null,-8181855.1409281204,2281856.5585857988,0,10867726.272598101,0,6286750.4844701486,11254478.174725927]
["2015-01-01",null,716.23,0,31,0,5584.1175017091491,null,-8181855.1409281204,2590480.4611759498,0,10867726.272598101,0,6226282.6519101448,11502634.244756075]
["2015-02-01",null,650.25,0,28,0,5534.4243312319668,null,-8181855.1409281204,2351842.1734354347,0,9816010.8268628009,0,6170874.8412460973,10156872.700616213]
["2015-03-01",null,533.91,0.22,31,1,5503.4538794624605,null,-8181855.1409281204,1931060.4457038259,5673.9303266934858,10867726.272598101,-844850.57545626699,6136342.8339029001,9914097.766147133]
["2015-04-01",null,312.88,0.32,30,1,5547.8824314191379,null,-8181855.1409281204,1131633.0322560228,8252.9895660996153,10517154.457353,-844850.57545626699,6185880.6028006151,8816215.3655913509]
["2015-05-01",null,145.96,16.98,31,1,5644.8449511890649,null,-8181855.1409281204,527912.16245234304,437924.25885116088,10867726.272598101,-844850.57545626699,6293993.6671378547,9100850.6446550712]
["2015-06-01",null,30.95,59.64,30,0,5752.2092323356474,null,-8181855.1409281204,111940.81548300915,1538150.9303818159,10517154.457353,0,6413704.6798329074,10399095.742122613]
["2015-07-01",null,6,109.95,31,0,5843.6884120788645,null,-8181855.1409281204,21700.965844848302,2835675.6337270401,10867726.272598101,0,6515703.828251943,12058951.559493812]
["2015-08-01",null,11.72,76.849999999999994,31,0,5885.1682808147216,null,-8181855.1409281204,42389.219950270352,1982007.0254836108,10867726.272598101,0,6561953.819774243,11272221.196878105]
["2015-09-01",null,72.849999999999994,24.35,30,1,5847.4623600893801,null,-8181855.1409281204,263485.89363286644,628000.92479539267,10517154.457353,-844850.57545626699,6519911.774631992,8901847.3340288624]
["2015-10-01",null,241.64,3.42,31,1,5796.1264508656159,null,-8181855.1409281204,873970.23112485721,88203.825987689648,10867726.272598101,-844850.57545626699,6462672.3127255887,9265866.9260518476]
["2015-11-01",null,414.34,0,30,1,5731.390706104311,null,-8181855.1409281204,1498596.3646924074,0,10517154.457353,-844850.57545626699,6390492.0542617533,9379537.159922773]
["2015-12-01",null,630.9,0,31,0,5711.6473490996841,null,-8181855.1409281204,2281856.5585857988,0,10867726.272598101,0,6368478.2407682594,{"$f":"SUM(I130:N130)","v":11336205.931024039}]

{"sheet":"Normalized Monthly Data Summ","index":8,"n_rows":130,"n_cols":4,"rows_kept":130,"cut":false,"hidden":false,"merged":[]}
["Date","Year","ReskWh","Normalized Value"]
["2005-04-01",{"$f":"YEAR(A2)","v":2005},7994353,8253272.2106457315]
["2005-05-01",2005,8370528,8517990.806916004]
["2005-06-01",2005,10389917,9823857.720668273]
["2005-07-01",2005,12583059,11499569.731329395]
["2005-08-01",2005,11214871,10749545.265773661]
["2005-09-01",2005,8794917,8398467.4786166921]
["2005-10-01",2005,8286547,8752046.1234473698]
["2005-11-01",2005,9138335,8839553.7478660475]
["2005-12-01",2005,10840969,10792591.36690446]
["2006-01-01",2006,10447261,11046803.342575051]
["2006-02-01",2006,9290165,9712853.1676534452]
["2006-03-01",2006,9550777,9472163.7841062695]
["2006-04-01",2006,7928570,8358862.5688277399]
["2006-05-01",2006,8239356,8653686.1246641614]
["2006-06-01",2006,9433262,9953755.0462036896]
["2006-07-01",2006,11873826,11636491.547430247]
["2006-08-01",2006,10694615,10849226.131892685]
["2006-09-01",2006,8299435,8465590.3884641789]
["2006-10-01",2006,8756421,8796200.0641443878]
["2006-11-01",2006,9303930,8874787.7005434632]
["2006-12-01",2006,10447715,10836745.307601474]
["2007-01-01",2007,11056491,11092741.280875988]
["2007-02-01",2007,10272579,9767153.5947227553]
["2007-03-01",2007,9990728,9539732.6933547352]
["2007-04-01",2007,8524722,8425539.4792742468]
["2007-05-01",2007,8580554,8694718.0695543177]
["2007-06-01",2007,9896039,9996682.4885480106]
["2007-07-01",2007,11095426,11691126.474050293]
["2007-08-01",2007,11118846,10934412.017479859]
["2007-09-01",2007,9280411,8563710.2566797733]
["2007-10-01",2007,8912500,8912382.90809967]
["2007-11-01",2007,9642232,9005131.0254798606]
["2007-12-01",{"$f":"YEAR(A34)","v":2007},11291760,10959841.142271947]
["2008-01-01",2008,11206263,11212492.120039111]
["2008-02-01",2008,10447561,10250187.232058909]
["2008-03-01",2008,10134324,9663720.5268271677]
["2008-04-01",2008,8281971,8551645.8099013343]
["2008-05-01",2008,8439719,8794733.4352240749]
["2008-06-01",2008,9665506,10071498.888062403]
["2008-07-01",2008,11397420,11713203.444398802]
["2008-08-01",2008,10834750,10945785.00220485]
["2008-09-01",2008,8912187,8576978.738858927]
["2008-10-01",2008,8681291,8949400.8583810087]
["2008-11-01",2008,9725130,9018065.0081082806]
["2008-12-01",2008,11498791,10953039.651407003]
["2009-01-01",2009,11709609,11158080.193119556]
["2009-02-01",2009,9815166,9785105.0706121996]
["2009-03-01",2009,9808765,9492122.2573001236]
["2009-04-01",2009,8409247,8338458.096232906]
["2009-05-01",2009,8083578,8557238.7542022411]
["2009-06-01",2009,8696876,9800777.2516675591]
["2009-07-01",2009,10187430,11446049.803211797]
["2009-08-01",2009,10699164,10670826.371500697]
["2009-09-01",2009,8848220,8344724.5507986071]
["2009-10-01",2009,8897476,8729300.1539973915]
["2009-11-01",2009,9169954,8862634.2168667614]
["2009-12-01",2009,11362006,10826487.321378935]
["2010-01-01",2010,11364520,11088615.786416925]
["2010-02-01",2010,9704226,9768380.0930754505]
["2010-03-01",2010,9302812,9530701.2054848913]
["2010-04-01",2010,8105351,8406250.0051818602]
["2010-05-01",2010,8972250,8660041.6161281243]
["2010-06-01",2010,10612346,9961560.0357208401]
["2010-07-01",2010,12697627,11626679.560608685]
["2010-08-01",{"$f":"YEAR(A66)","v":2010},11860873,10847107.63473803]
["2010-09-01",2010,8944230,8462356.8928070739]
["2010-10-01",2010,8467380,8833775.5136769507]
["2010-11-01",2010,9247991,8953618.0946666747]
["2010-12-01",2010,11100789,10935645.674768783]
["2011-01-01",2011,11478543,11204352.630971227]
["2011-02-01",2011,9828747,9883336.4386780411]
["2011-03-01",2011,9870149,9665058.5250301082]
["2011-04-01",2011,8634932,8559673.7991189733]
["2011-05-01",2011,8604284,8833981.3825103138]
["2011-06-01",2011,9863266,10113422.831754521]
["2011-07-01",2011,13084587,11779545.855294572]
["2011-08-01",2011,11708342,11005660.421786411]
["2011-09-01",2011,8861720,8649119.1419674382]
["2011-10-01",2011,8436122,8981847.3148023002]
["2011-11-01",2011,8858646,9073145.9341293089]
["2011-12-01",2011,10356171,11013249.570539299]
["2012-01-01",2012,10568683,11271921.540219693]
["2012-02-01",2012,9506375,10281853.189528486]
["2012-03-01",2012,8893020,9702745.4744129144]
["2012-04-01",2012,7973891,8608287.7338257879]
["2012-05-01",2012,8521416,8873563.8293472864]
["2012-06-01",2012,10787976,10158580.271103742]
["2012-07-01",2012,13043099,11805413.82055141]
["2012-08-01",2012,11413857,11029744.38943933]
["2012-09-01",2012,8938541,8659042.6286392417]
["2012-10-01",2012,8595671,9029569.250707157]
["2012-11-01",2012,9181838,9151641.828701783]
["2012-12-01",2012,10491347,11119508.927822778]
["2013-01-01",2013,10899532.399999978,11354988.928652212]
["2013-02-01",2013,9715342.559999954,10007435.772000715]
["2013-03-01",2013,9989140.5700000133,9752362.9077719375]
["2013-04-01",{"$f":"YEAR(A98)","v":2013},8576997.3799999543,8647981.6805130057]
["2013-05-01",2013,8413381.6200000029,8945592.7326055523]
["2013-06-01",2013,9697931.8499999736,10249898.64845439]
["2013-07-01",2013,11621703.179999972,11916690.671095913]
["2013-08-01",2013,10683811.079999987,11115933.773678709]
["2013-09-01",2013,9078533.9800000694,8748465.508535726]
["2013-10-01",2013,8617112.7900000345,9109403.1434825733]
["2013-11-01",2013,9442071.1599999424,9218987.7382497564]
["2013-12-01",2013,11199465.35999999,11165669.865824204]
["2014-01-01",2014,null,11422731.30845318]
["2014-02-01",2014,null,10077680.822100716]
["2014-03-01",2014,null,9835349.0427110642]
["2014-04-01",2014,null,8736830.9156047665]
["2014-05-01",2014,null,9020078.7614637688]
["2014-06-01",2014,null,10316787.58729751]
["2014-07-01",2014,null,11975334.43237903]
["2014-08-01",2014,null,11188010.535814863]
["2014-09-01",2014,null,8818176.2056278605]
["2014-10-01",2014,null,9182930.3613278288]
["2014-11-01",2014,null,9297526.8966400474]
["2014-12-01",2014,null,11254478.174725927]
["2015-01-01",2015,null,11502634.244756075]
["2015-02-01",2015,null,10156872.700616213]
["2015-03-01",2015,null,9914097.766147133]
["2015-04-01",2015,null,8816215.3655913509]
["2015-05-01",2015,null,9100850.6446550712]
["2015-06-01",2015,null,10399095.742122613]
["2015-07-01",2015,null,12058951.559493812]
["2015-08-01",2015,null,11272221.196878105]
["2015-09-01",2015,null,8901847.3340288624]
["2015-10-01",2015,null,9265866.9260518476]
["2015-11-01",2015,null,9379537.159922773]
["2015-12-01",{"$f":"YEAR(A130)","v":2015},null,11336205.931024039]

{"sheet":"NormalizedAnnualDataSumm","index":9,"n_rows":14,"n_cols":3,"rows_kept":14,"cut":false,"hidden":false,"merged":[]}
[]
["Annual Actual vs. Normalized ReskWh"]
[null,"ReskWh ","Normalized Value "]
[2005,87613496,85626894.45216763]
[2006,114265333,116657165.17410678]
[2007,119662288,117583171.43039148]
[2008,119224913,118700750.71547186]
[2009,115687491,116011804.04088877]
[2010,120380395,117074732.11327428]
[2011,119585509,118762393.84658253]
[2012,117915714,119691872.88429961]
[2013,117935023.92999986,120233411.37086467]
[2014,null,121125915.04414654]
[2015,null,122104396.5712879]

{"sheet":"NormalizedAnnualDataSumm2","index":10,"n_rows":14,"n_cols":5,"rows_kept":14,"cut":false,"hidden":false,"merged":[]}
[]
["Annual Actual vs. Normalized ReskWh"]
[null,"ReskWh ","% Change","Normalized Value ","% Change"]
[2005,87613496,null,85626894.45216763]
[2006,114265333,{"$f":"B5/B4-1","v":0.30419784869673494},116657165.17410678,{"$f":"D5/D4-1","v":0.36238930444071027}]
[2007,119662288,{"$f":"B6/B5-1","v":4.7231779388416939E-2},117583171.43039148,{"$f":"D6/D5-1","v":7.9378429512038107E-3}]
[2008,119224913,-3.6550780309332342E-3,118700750.71547186,9.5045853202044839E-3]
[2009,115687491,-2.9670157947609521E-2,116011804.04088877,-2.2653156432249966E-2]
[2010,120380395,4.0565353777099356E-2,117074732.11327428,9.1622406976006321E-3]
[2011,119585509,-6.6031183898341839E-3,118762393.84658253,1.44152517186662E-2]
[2012,117915714,-1.3963188466254772E-2,119691872.88429961,7.8263750637914686E-3]
[2013,117935023.92999986,1.6376044671928547E-4,120233411.37086467,4.5244382389149074E-3]
[2014,null,null,121125915.04414654,7.4230919933635509E-3]
[2015,null,null,122104396.5712879,8.0782178345957245E-3]