{"text_format":"1","workbook":"xlsx","n_sheets":11,"sheets":["Admin","Monthly Data","OLS Model","Predicted Monthly Data","Predicted Monthly Data Summ","PredictedAnnualDataSumm","PredictedAnnualDataSumm2","Normalized Monthly Data","Normalized Monthly Data Summ","NormalizedAnnualDataSumm","NormalizedAnnualDataSumm2"],"not_rendered":{"charts":5,"images":0,"macros":1,"external_links":0,"defined_names":5,"comments":0,"pivot_tables":3},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Admin","index":0,"n_rows":37,"n_cols":28,"rows_kept":37,"cut":false,"hidden":false,"merged":[]}
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Year","Month"]
["Model","WSL2",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1995,1]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1996,2]
["Actual","Year","Month",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1997,3]
["From Date",2006,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1998,4]
["To Date",2013,12,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1999,5]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2000,6]
["Forecast Term",1,"Years",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2001,7]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2002,8]
["Forecast","Year","Month",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2003,9]
["From Date",2014,1,null,"Months",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2004,10]
["To Date",2015,12,null,{"$f":"MyMonthsCount(B11,C11,B12,C12)","v":24},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2005,11]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2006,12]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2007]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2008]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2009]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2010]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2011]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2012]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2013]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2014]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2015]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2016]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2017]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2018]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2019]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2020]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2021]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2022]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2023]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2024]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2025]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2026]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2027]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2028]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2029]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2030]

{"sheet":"Monthly Data","index":1,"n_rows":99,"n_cols":6,"rows_kept":99,"cut":false,"hidden":false,"merged":[]}
["Date","WSL2","MonthlyHDD","MonthlyCDD","PeakDays","Time"]
["2005-11-01",13482384.699999999,613.70000000000005,0,22,1]
["2005-12-01",15855748.649999999,865.5,0,20,2]
["2006-01-01",16432360.530000001,781.7,0,21,3]
["2006-02-01",15254915.93,862,0,20,4]
["2006-03-01",14730427.050000001,684.8,0,23,5]
["2006-04-01",11361311.199999999,415.4,0,18,6]
["2006-05-01",10639715.810000001,243.4,3.9,22,7]
["2006-06-01",9655562.2699999996,123.8,4.3,22,8]
["2006-07-01",10846451.32,52.8,27.7,20,9]
["2006-08-01",10694433.439999999,91,7.5,22,10]
["2006-09-01",10191889.76,214.4,1.4,20,11]
["2006-10-01",12347060.369999999,433.1,0,21,12]
["2006-11-01",12995676.43,518.5,0,22,13]
["2006-12-01",15518992.219999999,711.4,0,19,14]
["2007-01-01",17027640.539999999,904.3,0,22,15]
["2007-02-01",16669380.510000002,948.2,0,20,16]
["2007-03-01",14934754.379999999,725.1,0,22,17]
["2007-04-01",12687457.810000002,505.4,0,19,18]
["2007-05-01",10985339.710000001,267.8,3.8,22,19]
["2007-06-01",9760012.7799999993,116.4,9.6,21,20]
["2007-07-01",10363539.75,100.5,15.8,21,21]
["2007-08-01",10623681.955423476,70.8,10.7,22,22]
["2007-09-01",9937765.4600000009,159.69999999999999,5.6,19,23]
["2007-10-01",11018147.890000001,303.89999999999998,0,22,24]
["2007-11-01",13301022.960000001,602.70000000000005,0,22,25]
["2007-12-01",16610853.84,870.2,0,19,26]
["2008-01-01",16747623.760000002,873.3,0,22,27]
["2008-02-01",16220989.899999999,893.4,0,20,28]
["2008-03-01",16185519.129999999,838,0,19,29]
["2008-04-01",12384878.220000001,461,0,22,30]
["2008-05-01",11570573.57,376.9,0,21,31]
["2008-06-01",10031531.33,151,2.1,21,32]
["2008-07-01",10603201.34,106.3,1,22,33]
["2008-08-01",10275407.85,80.099999999999994,2.8,20,34]
["2008-09-01",9957791.7799999993,192.3,5.5,21,35]
["2008-10-01",11903930.970000001,384.1,0,22,36]
["2008-11-01",13578501.350000001,564,0,20,37]
["2008-12-01",18362207.48,946.7,0,21,38]
["2009-01-01",18881349,1063.5,0,21,39]
["2009-02-01",15951302.32,831.7,0,19,40]
["2009-03-01",15986795.57,744.1,0,22,41]
["2009-04-01",12817613.51,480.2,0,20,42]
["2009-05-01",11557935.369999999,358.7,0,20,43]
["2009-06-01",10386431.49,188.5,6.4,22,44]
["2009-07-01",10790837.5,154,0,22,45]
["2009-08-01",11118670.27,122.6,11,20,46]
["2009-09-01",10133781.59,160.9,0,21,47]
["2009-10-01",13000847.74,450,0,21,48]
["2009-11-01",12805137.380000001,466.5,0,21,49]
["2009-12-01",17322151.559999999,865,0,21,50]
["2010-01-01",17283128.699999999,906,0,20,51]
["2010-02-01",14874695.649999999,779.8,0,19,52]
["2010-03-01",13997010.93,544.79999999999995,0,23,53]
["2010-04-01",10847949.960000001,388.1,0,20,54]
["2010-05-01",10080566.119999999,221.9,10.8,20,55]
["2010-06-01",9283863.4100000001,121.1,2.8,22,56]
["2010-07-01",10277037.66,36.6,11.6,21,57]
["2010-08-01",10298675.939999999,52.2,45.9,21,58]
["2010-09-01",9789881.8000000007,224.1,0.4,21,59]
["2010-10-01",10854951.359999999,373.7,0,20,60]
["2010-11-01",12307817.600000001,539.9,0,22,61]
["2010-12-01",16509634.079999998,833.5,0,21,62]
["2011-01-01",18210954.41,1033.5999999999999,0,20,63]
["2011-02-01",15275983.57,832,0,19,64]
["2011-03-01",14923502.969999999,790.1,0,23,65]
["2011-04-01",12118407.5,521.4,0,19,66]
["2011-05-01",10132000.65,262.5,1.2,21,67]
["2011-06-01",9032152.8599999994,124.3,1.4,22,68]
["2011-07-01",10244088.84,62.5,14.1,20,69]
["2011-08-01",10453709.460000001,60,11.9,22,70]
["2011-09-01",9912883.3800000008,172.6,3.4,21,71]
["2011-10-01",10981342.77,320.39999999999998,1.5,20,72]
["2011-11-01",12396977.68,519.9,0,22,73]
["2011-12-01",15364156.579999998,787,0,20,74]
["2012-01-01",16257178,870.6,0,21,75]
["2012-02-01",14151568,733.6,0,20,76]
["2012-03-01",13453783,541.70000000000005,0,22,77]
["2012-04-01",11682191,476.7,0,19,78]
["2012-05-01",10307176,230.7,6.5,22,79]
["2012-06-01",9779424,93.5,15.1,21,80]
["2012-07-01",10817789,27.3,22.5,21,81]
["2012-08-01",10717021,62.8,17.8,22,82]
["2012-09-01",10163216,219.8,5.4,19,83]
["2012-10-01",11586791,379.9,0,22,84]
["2012-11-01",13032681,567.9,0,22,85]
["2012-12-01",15521871,777.7,0,19,86]
["2013-01-01",16693786,782.4,0,22,87]
["2013-02-01",15174191,692.5,0,19,88]
["2013-03-01",14601438,716.9,0,20,89]
["2013-04-01",13150077,513.5,0,21,90]
["2013-05-01",10553126,306.5,0,22,91]
["2013-06-01",9632056,134.6,4,20,92]
["2013-07-01",10454381,72.599999999999994,13.5,22,93]
["2013-08-01",10345419,82.1,17.8,21,94]
["2013-09-01",10224461,170.5,0,20,95]
["2013-10-01",12045684,325.89999999999998,0,22,96]
["2013-11-01",14228773,587.79999999999995,0,21,97]
["2013-12-01",18557256,854.5,0,20,98]

{"sheet":"OLS Model","index":2,"n_rows":18,"n_cols":5,"rows_kept":18,"cut":false,"hidden":false,"merged":[]}
["Model 1: OLS, using observations 2005:11-2013:12 (T = 98)"]
["Dependent variable: WSL2"]
[]
[null,"coefficient","std. error","t-ratio","p-value"]
["const",5809523.5635284698,1304324.33179915,4.4540482929694001,2.34357753313535E-5]
["MonthlyHDD",9432.8986203756904,276.85151602285299,34.072049725012299,2.5006802530782801E-54]
["MonthlyCDD",67375.697204049298,11571.8528942341,5.8223776105571101,8.2201708233272804E-8]
["PeakDays",115509.471104018,60138.967423818802,1.9207092514573101,5.7831797855242797E-2]
["Time",510.69200206068098,2371.3398272980899,0.21536010831588201,0.82995816381535803]
[]
["Mean dependent var",12766165.797198201,"S.D. dependent var",2660210.2115640198]
["Sum squared resid",40508343703956.297,"S.E. of regression",659979.99076834403]
["R-squared",0.94098793127758895,"Adjusted R-squared",0.93844977778415195]
["F(4, 93)",370.73720470835502,"P-value(F)",3.1593643118654301E-56]
["Log-likelihood",-1449.6864950232,"Akaike criterion",2909.37299004639]
["Schwarz criterion",2922.2978274397501,"Hannan-Quinn",2914.6008201733898]
["rho",0.30862826897664403,"Durbin-Watson",1.3208941170998101]
["Theil's U",0.39311000000000001]

{"sheet":"Predicted Monthly Data","index":3,"n_rows":97,"n_cols":13,"rows_kept":97,"cut":false,"hidden":false,"merged":[]}
["Date","WSL2","MonthlyHDD","MonthlyCDD","PeakDays","Time",null,"Const","MonthlyHDD","MonthlyCDD","PeakDays","Time","Predicted Value"]
["2006-01-01",16432360.530000001,781.7,0,21,3,null,{"$f":"const","v":5809523.5635284698},{"$f":"MonthlyHDD*C2","v":7373696.851547678},{"$f":"MonthlyCDD*D2","v":0},{"$f":"PeakDays*E2","v":2425698.8931843778},{"$f":"Time*F2","v":1532.0760061820429},{"$f":"SUM(H2:L2)","v":15610451.384266708}]
["2006-02-01",15254915.93,862,0,20,4,null,5809523.5635284698,8131158.610763845,0,2310189.4220803599,2042.7680082427239,16252914.364380918]
["2006-03-01",14730427.050000001,684.8,0,23,5,null,5809523.5635284698,6459648.9752332726,0,2656717.8353924141,2553.4600103034049,14928443.834164459]
["2006-04-01",11361311.199999999,415.4,0,18,6,null,5809523.5635284698,3918426.0869040615,0,2079170.479872324,3064.1520123640857,11810184.282317219]
["2006-05-01",10639715.810000001,243.4,3.9,22,7,null,5809523.5635284698,2295967.5241994429,262765.21909579227,2541208.3642883957,3574.844014424767,10913039.515126526]
["2006-06-01",9655562.2699999996,123.8,4.3,22,8,null,5809523.5635284698,1167792.8492025104,289715.49797741196,2541208.3642883957,4085.5360164854478,9812325.8110132739]
["2006-07-01",10846451.32,52.8,27.7,20,9,null,5809523.5635284698,498057.04715583642,1866306.8125521655,2310189.4220803599,4596.2280185461286,10488673.073335377]
["2006-08-01",10694433.439999999,91,7.5,22,10,null,5809523.5635284698,858393.77445418783,505317.72903036972,2541208.3642883957,5106.9200206068099,9719550.3513220288]
["2006-09-01",10191889.76,214.4,1.4,20,11,null,5809523.5635284698,2022413.464208548,94325.976085669012,2310189.4220803599,5617.6120226674911,10242070.037925715]
["2006-10-01",12347060.369999999,433.1,0,21,12,null,5809523.5635284698,4085388.3924847115,0,2425698.8931843778,6128.3040247281715,12326739.153222287]
["2006-11-01",12995676.43,518.5,0,22,13,null,5809523.5635284698,4890957.9346647952,0,2541208.3642883957,6638.9960267888528,13248328.858508449]
["2006-12-01",15518992.219999999,711.4,0,19,14,null,5809523.5635284698,6710564.0785352662,0,2194679.950976342,7149.688028849534,14721917.281068929]
["2007-01-01",17027640.539999999,904.3,0,22,15,null,5809523.5635284698,8530170.2224057373,0,2541208.3642883957,7660.3800309102144,16888562.530253515]
["2007-02-01",16669380.510000002,948.2,0,20,16,null,5809523.5635284698,8944274.4718402307,0,2310189.4220803599,8171.0720329708956,17072158.529482029]
["2007-03-01",14934754.379999999,725.1,0,22,17,null,5809523.5635284698,6839794.7896344131,0,2541208.3642883957,8681.764035031576,15199208.481486309]
["2007-04-01",12687457.810000002,505.4,0,19,18,null,5809523.5635284698,4767386.9627378741,0,2194679.950976342,9192.4560370922572,12780782.933279779]
["2007-05-01",10985339.710000001,267.8,3.8,22,19,null,5809523.5635284698,2526130.2505366099,256027.64937538732,2541208.3642883957,9703.1480391529385,11142592.975768015]
["2007-06-01",9760012.7799999993,116.4,9.6,21,20,null,5809523.5635284698,1097989.3994117305,646806.69315887324,2425698.8931843778,10213.84004121362,9990232.3893246651]
["2007-07-01",10363539.75,100.5,15.8,21,21,null,5809523.5635284698,948006.31134775688,1064536.0158239789,2425698.8931843778,10724.532043274301,10258489.315927858]
["2007-08-01",10623681.955423476,70.8,10.7,22,22,null,5809523.5635284698,667849.2223225988,720919.96008332749,2541208.3642883957,11235.224045334982,9750736.3342681266]
["2007-09-01",9937765.4600000009,159.69999999999999,5.6,19,23,null,5809523.5635284698,1506433.9096739977,377303.90434267605,2194679.950976342,11745.916047395662,9899687.2445688806]
["2007-10-01",11018147.890000001,303.89999999999998,0,22,24,null,5809523.5635284698,2866657.8907321719,0,2541208.3642883957,12256.608049456343,11229646.426598493]
["2007-11-01",13301022.960000001,602.70000000000005,0,22,25,null,5809523.5635284698,5685207.9985004291,0,2541208.3642883957,12767.300051517024,14048707.226368813]
["2007-12-01",16610853.84,870.2,0,19,26,null,5809523.5635284698,8208508.3794509266,0,2194679.950976342,13277.992053577706,16225989.886009315]
["2008-01-01",16747623.760000002,873.3,0,22,27,null,5809523.5635284698,8237750.3651740896,0,2541208.3642883957,13788.684055638387,16602270.977046592]
["2008-02-01",16220989.899999999,893.4,0,20,28,null,5809523.5635284698,8427351.6274436414,0,2310189.4220803599,14299.376057699068,16561363.989110172]
["2008-03-01",16185519.129999999,838,0,19,29,null,5809523.5635284698,7904769.0438748281,0,2194679.950976342,14810.068059759747,15923782.626439398]
["2008-04-01",12384878.220000001,461,0,22,30,null,5809523.5635284698,4348566.2639931934,0,2541208.3642883957,15320.760061820429,12714618.951871879]
["2008-05-01",11570573.57,376.9,0,21,31,null,5809523.5635284698,3555259.4900195976,0,2425698.8931843778,15831.45206388111,11806313.398796327]
["2008-06-01",10031531.33,151,2.1,21,32,null,5809523.5635284698,1424367.6916767294,141488.96412850355,2425698.8931843778,16342.144065941791,9817421.2565840222]
["2008-07-01",10603201.34,106.3,1,22,33,null,5809523.5635284698,1002717.1233459358,67375.697204049298,2541208.3642883957,16852.836068002471,9437677.5844348539]
["2008-08-01",10275407.85,80.099999999999994,2.8,20,34,null,5809523.5635284698,755575.17949209269,188651.95217133802,2310189.4220803599,17363.528070063152,9081303.6453423221]
["2008-09-01",9957791.7799999993,192.3,5.5,21,35,null,{"$f":"const","v":5809523.5635284698},{"$f":"MonthlyHDD*C34","v":1813946.4046982455},{"$f":"MonthlyCDD*D34","v":370566.33462227113},{"$f":"PeakDays*E34","v":2425698.8931843778},{"$f":"Time*F34","v":17874.220072123833},{"$f":"SUM(H34:L34)","v":10437609.416105488}]
["2008-10-01",11903930.970000001,384.1,0,22,36,null,5809523.5635284698,3623176.3600863027,0,2541208.3642883957,18384.912074184514,11992293.199977351]
["2008-11-01",13578501.350000001,564,0,20,37,null,5809523.5635284698,5320154.821891889,0,2310189.4220803599,18895.604076245196,13458763.411576966]
["2008-12-01",18362207.48,946.7,0,21,38,null,5809523.5635284698,8930125.1239096671,0,2425698.8931843778,19406.296078305877,17184753.876700822]
["2009-01-01",18881349,1063.5,0,21,39,null,5809523.5635284698,10031887.682769546,0,2425698.8931843778,19916.988080366558,18287027.127562761]
["2009-02-01",15951302.32,831.7,0,19,40,null,5809523.5635284698,7845341.7825664617,0,2194679.950976342,20427.68008242724,15869972.977153702]
["2009-03-01",15986795.57,744.1,0,22,41,null,5809523.5635284698,7019019.8634215519,0,2541208.3642883957,20938.372084487921,15390690.163322905]
["2009-04-01",12817613.51,480.2,0,20,42,null,5809523.5635284698,4529677.9175044065,0,2310189.4220803599,21449.064086548602,12670839.967199786]
["2009-05-01",11557935.369999999,358.7,0,20,43,null,5809523.5635284698,3383580.7351287599,0,2310189.4220803599,21959.756088609283,11525253.476826198]
["2009-06-01",10386431.49,188.5,6.4,22,44,null,5809523.5635284698,1778101.3899408176,431204.46210591553,2541208.3642883957,22470.448090669965,10582508.22795427]
["2009-07-01",10790837.5,154,0,22,45,null,5809523.5635284698,1452666.3875378564,0,2541208.3642883957,22981.140092730642,9826379.4554474521]
["2009-08-01",11118670.27,122.6,11,20,46,null,5809523.5635284698,1156473.3708580595,741132.66924454225,2310189.4220803599,23491.832094791323,10040810.857806223]
["2009-09-01",10133781.59,160.9,0,21,47,null,5809523.5635284698,1517753.3880184486,0,2425698.8931843778,24002.524096852005,9776978.3688281495]
["2009-10-01",13000847.74,450,0,21,48,null,5809523.5635284698,4244804.3791690608,0,2425698.8931843778,24513.216098912686,12504540.05198082]
["2009-11-01",12805137.380000001,466.5,0,21,49,null,5809523.5635284698,4400447.2064052597,0,2425698.8931843778,25023.908100973367,12660693.571219083]
["2009-12-01",17322151.559999999,865,0,21,50,null,5809523.5635284698,8159457.3066249723,0,2425698.8931843778,25534.600103034049,16420214.363440854]
["2010-01-01",17283128.699999999,906,0,20,51,null,5809523.5635284698,8546206.1500603762,0,2310189.4220803599,26045.29210509473,16691964.427774301]
["2010-02-01",14874695.649999999,779.8,0,19,52,null,5809523.5635284698,7355774.3441689629,0,2194679.950976342,26555.984107155411,15386533.842780929]
["2010-03-01",13997010.93,544.79999999999995,0,23,53,null,5809523.5635284698,5139043.1683806758,0,2656717.8353924141,27066.676109216092,13632351.243410774]
["2010-04-01",10847949.960000001,388.1,0,20,54,null,5809523.5635284698,3660907.9545678059,0,2310189.4220803599,27577.368111276774,11808198.308287913]
["2010-05-01",10080566.119999999,221.9,10.8,20,55,null,5809523.5635284698,2093160.2038613658,727657.52980373253,2310189.4220803599,28088.060113337455,10968618.779387265]
["2010-06-01",9283863.4100000001,121.1,2.8,22,56,null,5809523.5635284698,1142324.0229274961,188651.95217133802,2541208.3642883957,28598.752115398136,9710306.6550310981]
["2010-07-01",10277037.66,36.6,11.6,21,57,null,5809523.5635284698,345244.08950575028,781558.08756697178,2425698.8931843778,29109.444117458817,9391134.0779030286]
["2010-08-01",10298675.939999999,52.2,45.9,21,58,null,5809523.5635284698,492397.30798361107,3092544.5016658627,2425698.8931843778,29620.136119519495,11849784.402481841]
["2010-09-01",9789881.8000000007,224.1,0.4,21,59,null,5809523.5635284698,2113912.5808261922,26950.278881619721,2425698.8931843778,30130.828121580176,10406216.14454224]
["2010-10-01",10854951.359999999,373.7,0,20,60,null,5809523.5635284698,3525074.2144343955,0,2310189.4220803599,30641.520123640857,11675428.720166866]
["2010-11-01",12307817.600000001,539.9,0,22,61,null,5809523.5635284698,5092821.9651408354,0,2541208.3642883957,31152.212125701539,13474706.105083402]
["2010-12-01",16509634.079999998,833.5,0,21,62,null,5809523.5635284698,7862321.0000831382,0,2425698.8931843778,31662.90412776222,16129206.360923748]
["2011-01-01",18210954.41,1033.5999999999999,0,20,63,null,5809523.5635284698,9749844.0140203126,0,2310189.4220803599,32173.596129822901,17901730.595758967]
["2011-02-01",15275983.57,832,0,19,64,null,5809523.5635284698,7848171.6521525746,0,2194679.950976342,32684.288131883583,15885059.45478927]
["2011-03-01",14923502.969999999,790.1,0,23,65,null,5809523.5635284698,7452933.1999588329,0,2656717.8353924141,33194.980133944264,15952369.579013661]
["2011-04-01",12118407.5,521.4,0,19,66,null,5809523.5635284698,4918313.3406638848,0,2194679.950976342,33705.672136004941,12956222.527304702]
["2011-05-01",10132000.65,262.5,1.2,21,67,null,{"$f":"const","v":5809523.5635284698},{"$f":"MonthlyHDD*C66","v":2476135.8878486189},{"$f":"MonthlyCDD*D66","v":80850.836644859155},{"$f":"PeakDays*E66","v":2425698.8931843778},{"$f":"Time*F66","v":34216.364138065626},{"$f":"SUM(H66:L66)","v":10826425.54534439}]
["2011-06-01",9032152.8599999994,124.3,1.4,22,68,null,5809523.5635284698,1172509.2985126984,94325.976085669012,2541208.3642883957,34727.056140126304,9652294.2585553601]
["2011-07-01",10244088.84,62.5,14.1,20,69,null,5809523.5635284698,589556.16377348069,949997.33057709504,2310189.4220803599,35237.748142186989,9694504.2281015925]
["2011-08-01",10453709.460000001,60,11.9,22,70,null,5809523.5635284698,565973.91722254141,801770.79672818666,2541208.3642883957,35748.440144247666,9754225.0819118414]
["2011-09-01",9912883.3800000008,172.6,3.4,21,71,null,5809523.5635284698,1628118.3018768441,229077.37049376761,2425698.8931843778,36259.132146308351,10128677.261229767]
["2011-10-01",10981342.77,320.39999999999998,1.5,20,72,null,5809523.5635284698,3022300.7179683708,101063.54580607395,2310189.4220803599,36769.824148369029,11279847.073531646]
["2011-11-01",12396977.68,519.9,0,22,73,null,5809523.5635284698,4904163.9927333212,0,2541208.3642883957,37280.516150429714,13292176.436700616]
["2011-12-01",15364156.579999998,787,0,20,74,null,5809523.5635284698,7423691.2142356681,0,2310189.4220803599,37791.208152490392,15581195.407996988]
["2012-01-01",16257178,870.6,0,21,75,null,5809523.5635284698,8212281.5388990762,0,2425698.8931843778,38301.900154551076,16485805.895766476]
["2012-02-01",14151568,733.6,0,20,76,null,5809523.5635284698,6919974.4279076066,0,2310189.4220803599,38812.592156611754,15078500.005673047]
["2012-03-01",13453783,541.70000000000005,0,22,77,null,5809523.5635284698,5109801.1826575119,0,2541208.3642883957,39323.284158672432,13499856.394633049]
["2012-04-01",11682191,476.7,0,19,78,null,5809523.5635284698,4496662.7723330911,0,2194679.950976342,39833.976160733117,12540700.262998635]
["2012-05-01",10307176,230.7,6.5,22,79,null,5809523.5635284698,2176169.7117206715,437942.03182632045,2541208.3642883957,40344.668162793794,11005188.33952665]
["2012-06-01",9779424,93.5,15.1,21,80,null,5809523.5635284698,881976.021005127,1017373.0277811444,2425698.8931843778,40855.360164854479,10175426.865663974]
["2012-07-01",10817789,27.3,22.5,21,81,null,5809523.5635284698,257518.13233625636,1515953.1870911091,2425698.8931843778,41366.052166915157,10050059.828307128]
["2012-08-01",10717021,62.8,17.8,22,82,null,5809523.5635284698,592386.03335959336,1199287.4102320776,2541208.3642883957,41876.744168975842,10184282.115577513]
["2012-09-01",10163216,219.8,5.4,19,83,null,5809523.5635284698,2073351.1167585768,363828.76490186626,2194679.950976342,42387.436171036519,10483770.832336292]
["2012-10-01",11586791,379.9,0,22,84,null,5809523.5635284698,3583558.1858807243,0,2541208.3642883957,42898.128173097204,11977188.241870688]
["2012-11-01",13032681,567.9,0,22,85,null,5809523.5635284698,5356943.126511354,0,2541208.3642883957,43408.820175157882,13751083.874503378]
["2012-12-01",15521871,777.7,0,19,86,null,5809523.5635284698,7335965.2570661744,0,2194679.950976342,43919.512177218567,15384088.283748204]
["2013-01-01",16693786,782.4,0,22,87,null,5809523.5635284698,7380299.8805819396,0,2541208.3642883957,44430.204179279244,15775462.012578083]
["2013-02-01",15174191,692.5,0,19,88,null,5809523.5635284698,6532282.294610166,0,2194679.950976342,44940.896181339929,14581426.705296317]
["2013-03-01",14601438,716.9,0,20,89,null,5809523.5635284698,6762445.0209473325,0,2310189.4220803599,45451.588183400607,14927609.594739564]
["2013-04-01",13150077,513.5,0,21,90,null,5809523.5635284698,4843793.4415629171,0,2425698.8931843778,45962.280185461284,13124978.178461228]
["2013-05-01",10553126,306.5,0,22,91,null,5809523.5635284698,2891183.4271451491,0,2541208.3642883957,46472.972187521969,11288388.327149536]
["2013-06-01",9632056,134.6,4,20,92,null,5809523.5635284698,1269668.1543025679,269502.78881619719,2310189.4220803599,46983.664189582647,9705867.5929171778]
["2013-07-01",10454381,72.599999999999994,13.5,22,93,null,5809523.5635284698,684828.43983927509,909571.91225466551,2541208.3642883957,47494.356191643332,9992626.6361024473]
["2013-08-01",10345419,82.1,17.8,21,94,null,5809523.5635284698,774440.97673284414,1199287.4102320776,2425698.8931843778,48005.048193704009,10256955.891871475]
["2013-09-01",10224461,170.5,0,20,95,null,5809523.5635284698,1608309.2147740552,0,2310189.4220803599,48515.740195764694,9776537.9405786488]
["2013-10-01",12045684,325.89999999999998,0,22,96,null,5809523.5635284698,3074181.6603804375,0,2541208.3642883957,49026.432197825372,11473940.020395128]
["2013-11-01",14228773,587.79999999999995,0,21,97,null,5809523.5635284698,5544657.8090568306,0,2425698.8931843778,49537.124199886057,13829417.389969565]
["2013-12-01",18557256,854.5,0,20,98,null,5809523.5635284698,8060411.871111027,0,2310189.4220803599,50047.816201946735,16230172.672921805]

{"sheet":"Predicted Monthly Data Summ","index":4,"n_rows":98,"n_cols":5,"rows_kept":98,"cut":false,"hidden":false,"merged":[]}
["Date","Year","WSL2","Predicted Value","Absolute % Error"]
["2006-01-01",{"$f":"YEAR(A2)","v":2006},16432360.530000001,15610451.384266708,{"$f":"ABS(D2-C2)/C2","v":5.0017716215072179E-2}]
["2006-02-01",2006,15254915.93,16252914.364380918,6.5421431292077836E-2]
["2006-03-01",2006,14730427.050000001,14928443.834164459,1.3442704919030742E-2]
["2006-04-01",2006,11361311.199999999,11810184.282317219,3.9508915336921684E-2]
["2006-05-01",2006,10639715.810000001,10913039.515126526,2.5689004293670679E-2]
["2006-06-01",2006,9655562.2699999996,9812325.8110132739,1.6235568331462311E-2]
["2006-07-01",2006,10846451.32,10488673.073335377,3.298574216664836E-2]
["2006-08-01",2006,10694433.439999999,9719550.3513220288,9.1157993001447932E-2]
["2006-09-01",2006,10191889.76,10242070.037925715,4.9235499114851939E-3]
["2006-10-01",2006,12347060.369999999,12326739.153222287,1.6458344066322976E-3]
["2006-11-01",2006,12995676.43,13248328.858508449,1.9441268014738448E-2]
["2006-12-01",2006,15518992.219999999,14721917.281068929,5.1361256428999635E-2]
["2007-01-01",2007,17027640.539999999,16888562.530253515,8.1677792891958981E-3]
["2007-02-01",2007,16669380.510000002,17072158.529482029,2.4162746734373255E-2]
["2007-03-01",2007,14934754.379999999,15199208.481486309,1.7707294995119322E-2]
["2007-04-01",2007,12687457.810000002,12780782.933279779,7.3556992013182826E-3]
["2007-05-01",2007,10985339.710000001,11142592.975768015,1.4314829574625315E-2]
["2007-06-01",2007,9760012.7799999993,9990232.3893246651,2.3588043839084579E-2]
["2007-07-01",2007,10363539.75,10258489.315927858,1.0136539889485392E-2]
["2007-08-01",2007,10623681.955423476,9750736.3342681266,8.2169781137857167E-2]
["2007-09-01",2007,9937765.4600000009,9899687.2445688806,3.8316677511043055E-3]
["2007-10-01",2007,11018147.890000001,11229646.426598493,1.9195470845916589E-2]
["2007-11-01",2007,13301022.960000001,14048707.226368813,5.6212538585739866E-2]
["2007-12-01",2007,16610853.84,16225989.886009315,2.3169426309917182E-2]
["2008-01-01",2008,16747623.760000002,16602270.977046592,8.6790093350777222E-3]
["2008-02-01",2008,16220989.899999999,16561363.989110172,2.0983558414654664E-2]
["2008-03-01",2008,16185519.129999999,15923782.626439398,1.6171029267480829E-2]
["2008-04-01",2008,12384878.220000001,12714618.951871879,2.6624462995476973E-2]
["2008-05-01",2008,11570573.57,11806313.398796327,2.0374083218099887E-2]
["2008-06-01",2008,10031531.33,9817421.2565840222,2.1343707792215796E-2]
["2008-07-01",2008,10603201.34,9437677.5844348539,0.10992187342215894]
["2008-08-01",2008,10275407.85,9081303.6453423221,0.11620990836462784]
["2008-09-01",{"$f":"YEAR(A34)","v":2008},9957791.7799999993,10437609.416105488,{"$f":"ABS(D34-C34)/C34","v":4.8185144528648603E-2}]
["2008-10-01",2008,11903930.970000001,11992293.199977351,7.422945428702421E-3]
["2008-11-01",2008,13578501.350000001,13458763.411576966,8.8181998393390935E-3]
["2008-12-01",2008,18362207.48,17184753.876700822,6.4123750076435698E-2]
["2009-01-01",2009,18881349,18287027.127562761,3.1476663687390063E-2]
["2009-02-01",2009,15951302.32,15869972.977153702,5.0986020586122642E-3]
["2009-03-01",2009,15986795.57,15390690.163322905,3.728736031351499E-2]
["2009-04-01",2009,12817613.51,12670839.967199786,1.1450925922029471E-2]
["2009-05-01",2009,11557935.369999999,11525253.476826198,2.8276584119539669E-3]
["2009-06-01",2009,10386431.49,10582508.22795427,1.8878162162148927E-2]
["2009-07-01",2009,10790837.5,9826379.4554474521,8.9377496839568554E-2]
["2009-08-01",2009,11118670.27,10040810.857806223,9.6941395510398307E-2]
["2009-09-01",2009,10133781.59,9776978.3688281495,3.5209286681680926E-2]
["2009-10-01",2009,13000847.74,12504540.05198082,3.8175025040265619E-2]
["2009-11-01",2009,12805137.380000001,12660693.571219083,1.1280145186612429E-2]
["2009-12-01",2009,17322151.559999999,16420214.363440854,5.2068427725911449E-2]
["2010-01-01",2010,17283128.699999999,16691964.427774301,3.4204702313285353E-2]
["2010-02-01",2010,14874695.649999999,15386533.842780929,3.4409994316820229E-2]
["2010-03-01",2010,13997010.93,13632351.243410774,2.6052682848710623E-2]
["2010-04-01",2010,10847949.960000001,11808198.308287913,8.8518877007053604E-2]
["2010-05-01",2010,10080566.119999999,10968618.779387265,8.8095514558984539E-2]
["2010-06-01",2010,9283863.4100000001,9710306.6550310981,4.5933812917988405E-2]
["2010-07-01",2010,10277037.66,9391134.0779030286,8.6202231752546835E-2]
["2010-08-01",2010,10298675.939999999,11849784.402481841,0.150612415762821]
["2010-09-01",2010,9789881.8000000007,10406216.14454224,6.2956260058445124E-2]
["2010-10-01",2010,10854951.359999999,11675428.720166866,7.5585539995166443E-2]
["2010-11-01",2010,12307817.600000001,13474706.105083402,9.4808725885196787E-2]
["2010-12-01",2010,16509634.079999998,16129206.360923748,2.3042771101577909E-2]
["2011-01-01",2011,18210954.41,17901730.595758967,1.6980099300629298E-2]
["2011-02-01",2011,15275983.57,15885059.45478927,3.9871467653671312E-2]
["2011-03-01",2011,14923502.969999999,15952369.579013661,6.8942701394032149E-2]
["2011-04-01",2011,12118407.5,12956222.527304702,6.9135736465760989E-2]
["2011-05-01",{"$f":"YEAR(A66)","v":2011},10132000.65,10826425.54534439,{"$f":"ABS(D66-C66)/C66","v":6.8537786300318648E-2}]
["2011-06-01",2011,9032152.8599999994,9652294.2585553601,6.8659311702056469E-2]
["2011-07-01",2011,10244088.84,9694504.2281015925,5.3648950187980542E-2]
["2011-08-01",2011,10453709.460000001,9754225.0819118414,6.6912552024203611E-2]
["2011-09-01",2011,9912883.3800000008,10128677.261229767,2.1769032576853104E-2]
["2011-10-01",2011,10981342.77,11279847.073531646,2.7182860036673525E-2]
["2011-11-01",2011,12396977.68,13292176.436700616,7.2211048515868292E-2]
["2011-12-01",2011,15364156.579999998,15581195.407996988,1.4126309300929406E-2]
["2012-01-01",2012,16257178,16485805.895766476,1.4063196931624675E-2]
["2012-02-01",2012,14151568,15078500.005673047,6.5500303971478435E-2]
["2012-03-01",2012,13453783,13499856.394633049,3.424567991995199E-3]
["2012-04-01",2012,11682191,12540700.262998635,7.3488719966882499E-2]
["2012-05-01",2012,10307176,11005188.33952665,6.7721007143629788E-2]
["2012-06-01",2012,9779424,10175426.865663974,4.0493475450494185E-2]
["2012-07-01",2012,10817789,10050059.828307128,7.0969139044297538E-2]
["2012-08-01",2012,10717021,10184282.115577513,4.9709605348583964E-2]
["2012-09-01",2012,10163216,10483770.832336292,3.1540688728478435E-2]
["2012-10-01",2012,11586791,11977188.241870688,3.369330143874074E-2]
["2012-11-01",2012,13032681,13751083.874503378,5.5123184132518689E-2]
["2012-12-01",2012,15521871,15384088.283748204,8.8766822151656911E-3]
["2013-01-01",2013,16693786,15775462.012578083,5.500992928877349E-2]
["2013-02-01",2013,15174191,14581426.705296317,3.9063980063496165E-2]
["2013-03-01",2013,14601438,14927609.594739564,2.2338320016121956E-2]
["2013-04-01",2013,13150077,13124978.178461228,1.9086444542318979E-3]
["2013-05-01",2013,10553126,11288388.327149536,6.9672467394925108E-2]
["2013-06-01",2013,9632056,9705867.5929171778,7.6631191634660163E-3]
["2013-07-01",2013,10454381,9992626.6361024473,4.4168503510399394E-2]
["2013-08-01",2013,10345419,10256955.891871475,8.5509449282359009E-3]
["2013-09-01",2013,10224461,9776537.9405786488,4.3808965521150815E-2]
["2013-10-01",2013,12045684,11473940.020395128,4.7464633772965649E-2]
["2013-11-01",2013,14228773,13829417.389969565,2.8066763735034288E-2]
["2013-12-01",2013,18557256,16230172.672921805,0.12540018454658358]
[null,null,null,null,{"$f":"AVERAGE(E2:E97)","v":4.173847226491436E-2}]

{"sheet":"PredictedAnnualDataSumm","index":5,"n_rows":13,"n_cols":4,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
[]
["Annual Predicted vs. Actual WSL2"]
[null,"WSL2 ","Predicted Value ","Absolute % Error  "]
[2006,150668796.33000001,150074637.94665188,3.9434733522845091E-3]
[2007,153919597.58542347,154486794.27333578,3.6850193010511739E-3]
[2008,157822156.67999998,155018172.33398619,1.7766734437035605E-2]
[2009,160752853.29999998,155555908.60874218,3.2328786609834972E-2]
[2010,146405213.20999998,151124449.0677734,3.223406977321408E-2]
[2011,149046160.67000002,152904727.45023879,2.5888401035582185E-2]
[2012,147470689,150615950.94060504,2.1328048047602494E-2]
[2013,155660648,150963382.96298099,3.0176316862171964E-2]
[null,null,"Mean Absolute Percentage Error (Annual)",{"$f":"AVERAGE(D4:D11)","v":2.0918856177347119E-2}]
[null,null,"Mean Absolute Percentage Error (Monthly)",4.173847226491436E-2]

{"sheet":"PredictedAnnualDataSumm2","index":6,"n_rows":11,"n_cols":3,"rows_kept":11,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,"WSL2 ","Predicted Value "]
[2006,150668796.33000001,150074637.94665188]
[2007,153919597.58542347,154486794.27333578]
[2008,157822156.67999998,155018172.33398619]
[2009,160752853.29999998,155555908.60874218]
[2010,146405213.20999998,151124449.0677734]
[2011,149046160.67000002,152904727.45023879]
[2012,147470689,150615950.94060504]
[2013,155660648,150963382.96298099]

{"sheet":"Normalized Monthly Data","index":7,"n_rows":121,"n_cols":13,"rows_kept":121,"cut":false,"hidden":false,"merged":[]}
["Date","WSL2","MonthlyHDD","MonthlyCDD","PeakDays","Time",null,"Const","MonthlyHDD","MonthlyCDD","PeakDays","Time","Normalized Value"]
["2006-01-01",16432360.530000001,942.79,0,21,3,null,{"$f":"const","v":5809523.5635284698},{"$f":"MonthlyHDD*C2","v":8893242.490303997},{"$f":"MonthlyCDD*D2","v":0},{"$f":"PeakDays*E2","v":2425698.8931843778},{"$f":"Time*F2","v":1532.0760061820429},{"$f":"SUM(H2:L2)","v":17129997.023023028}]
["2006-02-01",15254915.93,813.98,0,20,4,null,5809523.5635284698,7678190.8190134047,0,2310189.4220803599,2042.7680082427239,15799946.572630478]
["2006-03-01",14730427.050000001,710.35,0,23,5,null,5809523.5635284698,6700659.5349838715,0,2656717.8353924141,2553.4600103034049,15169454.393915057]
["2006-04-01",11361311.199999999,471.4,0,18,6,null,5809523.5635284698,4446668.4096451001,0,2079170.479872324,3064.1520123640857,12338426.605058258]
["2006-05-01",10639715.810000001,292.27,2.62,22,7,null,5809523.5635284698,2756953.2797772028,176524.32667460918,2541208.3642883957,3574.844014424767,11287784.378283102]
["2006-06-01",9655562.2699999996,136.59,5.51,22,8,null,5809523.5635284698,1288439.6225571155,371240.09159431164,2541208.3642883957,4085.5360164854478,10014497.177984778]
["2006-07-01",10846451.32,77.010000000000005,13.97,20,9,null,5809523.5635284698,726427.52275513194,941238.48994056869,2310189.4220803599,4596.2280185461286,9791975.2263230775]
["2006-08-01",10694433.439999999,80.760000000000005,14.92,22,10,null,5809523.5635284698,761800.89258154086,1005245.4022844156,2541208.3642883957,5106.9200206068099,10122885.142703429]
["2006-09-01",10191889.76,176.82,4.2699999999999996,20,11,null,5809523.5635284698,1667925.1340548296,287694.22706129047,2310189.4220803599,5617.6120226674911,10080949.958747618]
["2006-10-01",12347060.369999999,369.2,0.36,21,12,null,5809523.5635284698,3482626.1706427047,24255.250993457747,2425698.8931843778,6128.3040247281715,11748232.182373738]
["2006-11-01",12995676.43,551.09,0,22,13,null,5809523.5635284698,5198376.1007028399,0,2541208.3642883957,6638.9960267888528,13555747.024546495]
["2006-12-01",15518992.219999999,843.15,0,19,14,null,5809523.5635284698,7953348.4717697632,0,2194679.950976342,7149.688028849534,15964701.674303424]
["2007-01-01",17027640.539999999,942.79,0,22,15,null,5809523.5635284698,8893242.490303997,0,2541208.3642883957,7660.3800309102144,17251634.798151776]
["2007-02-01",16669380.510000002,813.98,0,20,16,null,5809523.5635284698,7678190.8190134047,0,2310189.4220803599,8171.0720329708956,15806074.876655206]
["2007-03-01",14934754.379999999,710.35,0,22,17,null,5809523.5635284698,6700659.5349838715,0,2541208.3642883957,8681.764035031576,15060073.226835767]
["2007-04-01",12687457.810000002,471.4,0,19,18,null,5809523.5635284698,4446668.4096451001,0,2194679.950976342,9192.4560370922572,12460064.380187005]
["2007-05-01",10985339.710000001,292.27,2.62,22,19,null,5809523.5635284698,2756953.2797772028,176524.32667460918,2541208.3642883957,9703.1480391529385,11293912.68230783]
["2007-06-01",9760012.7799999993,136.59,5.51,21,20,null,5809523.5635284698,1288439.6225571155,371240.09159431164,2425698.8931843778,10213.84004121362,9905116.0109054875]
["2007-07-01",10363539.75,77.010000000000005,13.97,21,21,null,5809523.5635284698,726427.52275513194,941238.48994056869,2425698.8931843778,10724.532043274301,9913613.0014518239]
["2007-08-01",10623681.955423476,80.760000000000005,14.92,22,22,null,5809523.5635284698,761800.89258154086,1005245.4022844156,2541208.3642883957,11235.224045334982,10129013.446728157]
["2007-09-01",9937765.4600000009,176.82,4.2699999999999996,19,23,null,5809523.5635284698,1667925.1340548296,287694.22706129047,2194679.950976342,11745.916047395662,9971568.7916683275]
["2007-10-01",11018147.890000001,369.2,0.36,22,24,null,5809523.5635284698,3482626.1706427047,24255.250993457747,2541208.3642883957,12256.608049456343,11869869.957502484]
["2007-11-01",13301022.960000001,551.09,0,22,25,null,5809523.5635284698,5198376.1007028399,0,2541208.3642883957,12767.300051517024,13561875.328571223]
["2007-12-01",16610853.84,843.15,0,19,26,null,5809523.5635284698,7953348.4717697632,0,2194679.950976342,13277.992053577706,15970829.978328152]
["2008-01-01",16747623.760000002,942.79,0,22,27,null,5809523.5635284698,8893242.490303997,0,2541208.3642883957,13788.684055638387,17257763.102176502]
["2008-02-01",16220989.899999999,813.98,0,20,28,null,5809523.5635284698,7678190.8190134047,0,2310189.4220803599,14299.376057699068,15812203.180679934]
["2008-03-01",16185519.129999999,710.35,0,19,29,null,5809523.5635284698,6700659.5349838715,0,2194679.950976342,14810.068059759747,14719673.117548442]
["2008-04-01",12384878.220000001,471.4,0,22,30,null,5809523.5635284698,4446668.4096451001,0,2541208.3642883957,15320.760061820429,12812721.097523786]
["2008-05-01",11570573.57,292.27,2.62,21,31,null,5809523.5635284698,2756953.2797772028,176524.32667460918,2425698.8931843778,15831.45206388111,11184531.51522854]
["2008-06-01",10031531.33,136.59,5.51,21,32,null,5809523.5635284698,1288439.6225571155,371240.09159431164,2425698.8931843778,16342.144065941791,9911244.3149302173]
["2008-07-01",10603201.34,77.010000000000005,13.97,22,33,null,5809523.5635284698,726427.52275513194,941238.48994056869,2541208.3642883957,16852.836068002471,10035250.776580568]
["2008-08-01",10275407.85,80.760000000000005,14.92,20,34,null,5809523.5635284698,761800.89258154086,1005245.4022844156,2310189.4220803599,17363.528070063152,9904122.8085448481]
["2008-09-01",9957791.7799999993,176.82,4.2699999999999996,21,35,null,{"$f":"const","v":5809523.5635284698},{"$f":"MonthlyHDD*C34","v":1667925.1340548296},{"$f":"MonthlyCDD*D34","v":287694.22706129047},{"$f":"PeakDays*E34","v":2425698.8931843778},{"$f":"Time*F34","v":17874.220072123833},{"$f":"SUM(H34:L34)","v":10208716.037901092}]
["2008-10-01",11903930.970000001,369.2,0.36,22,36,null,5809523.5635284698,3482626.1706427047,24255.250993457747,2541208.3642883957,18384.912074184514,11875998.261527212]
["2008-11-01",13578501.350000001,551.09,0,20,37,null,5809523.5635284698,5198376.1007028399,0,2310189.4220803599,18895.604076245196,13336984.690387916]
["2008-12-01",18362207.48,843.15,0,21,38,null,5809523.5635284698,7953348.4717697632,0,2425698.8931843778,19406.296078305877,16207977.224560916]
["2009-01-01",18881349,942.79,0,21,39,null,5809523.5635284698,8893242.490303997,0,2425698.8931843778,19916.988080366558,17148381.935097214]
["2009-02-01",15951302.32,813.98,0,19,40,null,5809523.5635284698,7678190.8190134047,0,2194679.950976342,20427.68008242724,15702822.013600644]
["2009-03-01",15986795.57,710.35,0,22,41,null,5809523.5635284698,6700659.5349838715,0,2541208.3642883957,20938.372084487921,15072329.834885223]
["2009-04-01",12817613.51,471.4,0,20,42,null,5809523.5635284698,4446668.4096451001,0,2310189.4220803599,21449.064086548602,12587830.459340479]
["2009-05-01",11557935.369999999,292.27,2.62,20,43,null,5809523.5635284698,2756953.2797772028,176524.32667460918,2310189.4220803599,21959.756088609283,11075150.348149251]
["2009-06-01",10386431.49,136.59,5.51,22,44,null,5809523.5635284698,1288439.6225571155,371240.09159431164,2541208.3642883957,22470.448090669965,10032882.090058964]
["2009-07-01",10790837.5,77.010000000000005,13.97,22,45,null,5809523.5635284698,726427.52275513194,941238.48994056869,2541208.3642883957,22981.140092730642,10041379.080605296]
["2009-08-01",11118670.27,80.760000000000005,14.92,20,46,null,5809523.5635284698,761800.89258154086,1005245.4022844156,2310189.4220803599,23491.832094791323,9910251.1125695761]
["2009-09-01",10133781.59,176.82,4.2699999999999996,21,47,null,5809523.5635284698,1667925.1340548296,287694.22706129047,2425698.8931843778,24002.524096852005,10214844.34192582]
["2009-10-01",13000847.74,369.2,0.36,21,48,null,5809523.5635284698,3482626.1706427047,24255.250993457747,2425698.8931843778,24513.216098912686,11766617.094447922]
["2009-11-01",12805137.380000001,551.09,0,21,49,null,5809523.5635284698,5198376.1007028399,0,2425698.8931843778,25023.908100973367,13458622.46551666]
["2009-12-01",17322151.559999999,843.15,0,21,50,null,5809523.5635284698,7953348.4717697632,0,2425698.8931843778,25534.600103034049,16214105.528585644]
["2010-01-01",17283128.699999999,942.79,0,20,51,null,5809523.5635284698,8893242.490303997,0,2310189.4220803599,26045.29210509473,17039000.768017922]
["2010-02-01",14874695.649999999,813.98,0,19,52,null,5809523.5635284698,7678190.8190134047,0,2194679.950976342,26555.984107155411,15708950.317625372]
["2010-03-01",13997010.93,710.35,0,23,53,null,5809523.5635284698,6700659.5349838715,0,2656717.8353924141,27066.676109216092,15193967.610013969]
["2010-04-01",10847949.960000001,471.4,0,20,54,null,5809523.5635284698,4446668.4096451001,0,2310189.4220803599,27577.368111276774,12593958.763365207]
["2010-05-01",10080566.119999999,292.27,2.62,20,55,null,5809523.5635284698,2756953.2797772028,176524.32667460918,2310189.4220803599,28088.060113337455,11081278.652173979]
["2010-06-01",9283863.4100000001,136.59,5.51,22,56,null,5809523.5635284698,1288439.6225571155,371240.09159431164,2541208.3642883957,28598.752115398136,10039010.394083692]
["2010-07-01",10277037.66,77.010000000000005,13.97,21,57,null,5809523.5635284698,726427.52275513194,941238.48994056869,2425698.8931843778,29109.444117458817,9931997.9135260079]
["2010-08-01",10298675.939999999,80.760000000000005,14.92,21,58,null,5809523.5635284698,761800.89258154086,1005245.4022844156,2425698.8931843778,29620.136119519495,10031888.887698324]
["2010-09-01",9789881.8000000007,176.82,4.2699999999999996,21,59,null,5809523.5635284698,1667925.1340548296,287694.22706129047,2425698.8931843778,30130.828121580176,10220972.645950548]
["2010-10-01",10854951.359999999,369.2,0.36,20,60,null,5809523.5635284698,3482626.1706427047,24255.250993457747,2310189.4220803599,30641.520123640857,11657235.927368633]
["2010-11-01",12307817.600000001,551.09,0,22,61,null,5809523.5635284698,5198376.1007028399,0,2541208.3642883957,31152.212125701539,13580260.240645407]
["2010-12-01",16509634.079999998,843.15,0,21,62,null,5809523.5635284698,7953348.4717697632,0,2425698.8931843778,31662.90412776222,16220233.832610372]
["2011-01-01",18210954.41,942.79,0,20,63,null,5809523.5635284698,8893242.490303997,0,2310189.4220803599,32173.596129822901,17045129.072042651]
["2011-02-01",15275983.57,813.98,0,19,64,null,5809523.5635284698,7678190.8190134047,0,2194679.950976342,32684.288131883583,15715078.6216501]
["2011-03-01",14923502.969999999,710.35,0,23,65,null,5809523.5635284698,6700659.5349838715,0,2656717.8353924141,33194.980133944264,15200095.914038699]
["2011-04-01",12118407.5,471.4,0,19,66,null,5809523.5635284698,4446668.4096451001,0,2194679.950976342,33705.672136004941,12484577.596285917]
["2011-05-01",10132000.65,292.27,2.62,21,67,null,{"$f":"const","v":5809523.5635284698},{"$f":"MonthlyHDD*C66","v":2756953.2797772028},{"$f":"MonthlyCDD*D66","v":176524.32667460918},{"$f":"PeakDays*E66","v":2425698.8931843778},{"$f":"Time*F66","v":34216.364138065626},{"$f":"SUM(H66:L66)","v":11202916.427302724}]
["2011-06-01",9032152.8599999994,136.59,5.51,22,68,null,5809523.5635284698,1288439.6225571155,371240.09159431164,2541208.3642883957,34727.056140126304,10045138.69810842]
["2011-07-01",10244088.84,77.010000000000005,13.97,20,69,null,5809523.5635284698,726427.52275513194,941238.48994056869,2310189.4220803599,35237.748142186989,9822616.7464467175]
["2011-08-01",10453709.460000001,80.760000000000005,14.92,22,70,null,5809523.5635284698,761800.89258154086,1005245.4022844156,2541208.3642883957,35748.440144247666,10153526.662827071]
["2011-09-01",9912883.3800000008,176.82,4.2699999999999996,21,71,null,5809523.5635284698,1667925.1340548296,287694.22706129047,2425698.8931843778,36259.132146308351,10227100.949975276]
["2011-10-01",10981342.77,369.2,0.36,20,72,null,5809523.5635284698,3482626.1706427047,24255.250993457747,2310189.4220803599,36769.824148369029,11663364.231393363]
["2011-11-01",12396977.68,551.09,0,22,73,null,5809523.5635284698,5198376.1007028399,0,2541208.3642883957,37280.516150429714,13586388.544670135]
["2011-12-01",15364156.579999998,843.15,0,20,74,null,5809523.5635284698,7953348.4717697632,0,2310189.4220803599,37791.208152490392,16110852.665531082]
["2012-01-01",16257178,942.79,0,21,75,null,5809523.5635284698,8893242.490303997,0,2425698.8931843778,38301.900154551076,17166766.847171396]
["2012-02-01",14151568,813.98,0,20,76,null,5809523.5635284698,7678190.8190134047,0,2310189.4220803599,38812.592156611754,15836716.396778846]
["2012-03-01",13453783,710.35,0,22,77,null,5809523.5635284698,6700659.5349838715,0,2541208.3642883957,39323.284158672432,15090714.746959409]
["2012-04-01",11682191,471.4,0,19,78,null,5809523.5635284698,4446668.4096451001,0,2194679.950976342,39833.976160733117,12490705.900310645]
["2012-05-01",10307176,292.27,2.62,22,79,null,5809523.5635284698,2756953.2797772028,176524.32667460918,2541208.3642883957,40344.668162793794,11324554.20243147]
["2012-06-01",9779424,136.59,5.51,21,80,null,5809523.5635284698,1288439.6225571155,371240.09159431164,2425698.8931843778,40855.360164854479,9935757.5310291294]
["2012-07-01",10817789,77.010000000000005,13.97,21,81,null,5809523.5635284698,726427.52275513194,941238.48994056869,2425698.8931843778,41366.052166915157,9944254.5215754639]
["2012-08-01",10717021,80.760000000000005,14.92,22,82,null,5809523.5635284698,761800.89258154086,1005245.4022844156,2541208.3642883957,41876.744168975842,10159654.966851799]
["2012-09-01",10163216,176.82,4.2699999999999996,19,83,null,5809523.5635284698,1667925.1340548296,287694.22706129047,2194679.950976342,42387.436171036519,10002210.311791968]
["2012-10-01",11586791,369.2,0.36,22,84,null,5809523.5635284698,3482626.1706427047,24255.250993457747,2541208.3642883957,42898.128173097204,11900511.477626126]
["2012-11-01",13032681,551.09,0,22,85,null,5809523.5635284698,5198376.1007028399,0,2541208.3642883957,43408.820175157882,13592516.848694863]
["2012-12-01",15521871,843.15,0,19,86,null,5809523.5635284698,7953348.4717697632,0,2194679.950976342,43919.512177218567,16001471.498451792]
["2013-01-01",16693786,942.79,0,22,87,null,5809523.5635284698,8893242.490303997,0,2541208.3642883957,44430.204179279244,17288404.622300144]
["2013-02-01",15174191,813.98,0,19,88,null,5809523.5635284698,7678190.8190134047,0,2194679.950976342,44940.896181339929,15727335.229699556]
["2013-03-01",14601438,710.35,0,20,89,null,5809523.5635284698,6700659.5349838715,0,2310189.4220803599,45451.588183400607,14865824.108776102]
["2013-04-01",13150077,471.4,0,21,90,null,5809523.5635284698,4446668.4096451001,0,2425698.8931843778,45962.280185461284,12727853.14654341]
["2013-05-01",10553126,292.27,2.62,22,91,null,5809523.5635284698,2756953.2797772028,176524.32667460918,2541208.3642883957,46472.972187521969,11330682.5064562]
["2013-06-01",9632056,136.59,5.51,20,92,null,5809523.5635284698,1288439.6225571155,371240.09159431164,2310189.4220803599,46983.664189582647,9826376.363949839]
["2013-07-01",10454381,77.010000000000005,13.97,22,93,null,5809523.5635284698,726427.52275513194,941238.48994056869,2541208.3642883957,47494.356191643332,10065892.296704208]
["2013-08-01",10345419,80.760000000000005,14.92,21,94,null,5809523.5635284698,761800.89258154086,1005245.4022844156,2425698.8931843778,48005.048193704009,10050273.799772508]
["2013-09-01",10224461,176.82,4.2699999999999996,20,95,null,5809523.5635284698,1667925.1340548296,287694.22706129047,2310189.4220803599,48515.740195764694,10123848.086920714]
["2013-10-01",12045684,369.2,0.36,22,96,null,5809523.5635284698,3482626.1706427047,24255.250993457747,2541208.3642883957,49026.432197825372,11906639.781650854]
["2013-11-01",14228773,551.09,0,21,97,null,5809523.5635284698,5198376.1007028399,0,2425698.8931843778,49537.124199886057,13483135.681615572]
["2013-12-01",18557256,843.15,0,20,98,null,5809523.5635284698,7953348.4717697632,0,2310189.4220803599,50047.816201946735,16123109.27358054]
["2014-01-01",null,942.79,0,22,99,null,{"$f":"const","v":5809523.5635284698},{"$f":"MonthlyHDD*C98","v":8893242.490303997},{"$f":"MonthlyCDD*D98","v":0},{"$f":"PeakDays*E98","v":2541208.3642883957},{"$f":"Time*F98","v":50558.508204007419},{"$f":"SUM(H98:L98)","v":17294532.92632487}]
["2014-02-01",null,813.98,0,19,100,null,5809523.5635284698,7678190.8190134047,0,2194679.950976342,51069.200206068097,15733463.533724284]
["2014-03-01",null,710.35,0,21,101,null,5809523.5635284698,6700659.5349838715,0,2425698.8931843778,51579.892208128782,14987461.883904848]
["2014-04-01",null,471.4,0,20,102,null,5809523.5635284698,4446668.4096451001,0,2310189.4220803599,52090.58421018946,12618471.979464119]
["2014-05-01",null,292.27,2.62,21,103,null,5809523.5635284698,2756953.2797772028,176524.32667460918,2425698.8931843778,52601.276212250137,11221301.33937691]
["2014-06-01",null,136.59,5.51,21,104,null,5809523.5635284698,1288439.6225571155,371240.09159431164,2425698.8931843778,53111.968214310822,9948014.1390785854]
["2014-07-01",null,77.010000000000005,13.97,22,105,null,5809523.5635284698,726427.52275513194,941238.48994056869,2541208.3642883957,53622.6602163715,10072020.600728936]
["2014-08-01",null,80.760000000000005,14.92,20,106,null,5809523.5635284698,761800.89258154086,1005245.4022844156,2310189.4220803599,54133.352218432185,9940892.6326932181]
["2014-09-01",null,176.82,4.2699999999999996,21,107,null,5809523.5635284698,1667925.1340548296,287694.22706129047,2425698.8931843778,54644.044220492862,10245485.86204946]
["2014-10-01",null,369.2,0.36,22,108,null,5809523.5635284698,3482626.1706427047,24255.250993457747,2541208.3642883957,55154.736222553547,11912768.085675582]
["2014-11-01",null,551.09,0,20,109,null,5809523.5635284698,5198376.1007028399,0,2310189.4220803599,55665.428224614225,13373754.514536284]
["2014-12-01",null,843.15,0,21,110,null,5809523.5635284698,7953348.4717697632,0,2425698.8931843778,56176.12022667491,16244747.048709286]
["2015-01-01",null,942.79,0,21,111,null,5809523.5635284698,8893242.490303997,0,2425698.8931843778,56686.812228735587,17185151.759245582]
["2015-02-01",null,813.98,0,19,112,null,5809523.5635284698,7678190.8190134047,0,2194679.950976342,57197.504230796272,15739591.837749012]
["2015-03-01",null,710.35,0,22,113,null,5809523.5635284698,6700659.5349838715,0,2541208.3642883957,57708.19623285695,15109099.659033593]
["2015-04-01",null,471.4,0,20,114,null,5809523.5635284698,4446668.4096451001,0,2310189.4220803599,58218.888234917635,12624600.283488847]
["2015-05-01",null,292.27,2.62,20,115,null,5809523.5635284698,2756953.2797772028,176524.32667460918,2310189.4220803599,58729.580236978312,11111920.172297621]
["2015-06-01",null,136.59,5.51,22,116,null,5809523.5635284698,1288439.6225571155,371240.09159431164,2541208.3642883957,59240.27223903899,10069651.914207332]
["2015-07-01",null,77.010000000000005,13.97,22,117,null,5809523.5635284698,726427.52275513194,941238.48994056869,2541208.3642883957,59750.964241099675,10078148.904753666]
["2015-08-01",null,80.760000000000005,14.92,20,118,null,5809523.5635284698,761800.89258154086,1005245.4022844156,2310189.4220803599,60261.656243160352,9947020.9367179461]
["2015-09-01",null,176.82,4.2699999999999996,21,119,null,5809523.5635284698,1667925.1340548296,287694.22706129047,2425698.8931843778,60772.348245221037,10251614.166074188]
["2015-10-01",null,369.2,0.36,21,120,null,5809523.5635284698,3482626.1706427047,24255.250993457747,2425698.8931843778,61283.040247281715,11803386.918596292]
["2015-11-01",null,551.09,0,21,121,null,5809523.5635284698,5198376.1007028399,0,2425698.8931843778,61793.7322493424,13495392.289665028]
["2015-12-01",null,843.15,0,21,122,null,5809523.5635284698,7953348.4717697632,0,2425698.8931843778,62304.424251403078,16250875.352734014]

{"sheet":"Normalized Monthly Data Summ","index":8,"n_rows":121,"n_cols":4,"rows_kept":121,"cut":false,"hidden":false,"merged":[]}
["Date","Year","WSL2","Normalized Value"]
["2006-01-01",{"$f":"YEAR(A2)","v":2006},16432360.530000001,17129997.023023028]
["2006-02-01",2006,15254915.93,15799946.572630478]
["2006-03-01",2006,14730427.050000001,15169454.393915057]
["2006-04-01",2006,11361311.199999999,12338426.605058258]
["2006-05-01",2006,10639715.810000001,11287784.378283102]
["2006-06-01",2006,9655562.2699999996,10014497.177984778]
["2006-07-01",2006,10846451.32,9791975.2263230775]
["2006-08-01",2006,10694433.439999999,10122885.142703429]
["2006-09-01",2006,10191889.76,10080949.958747618]
["2006-10-01",2006,12347060.369999999,11748232.182373738]
["2006-11-01",2006,12995676.43,13555747.024546495]
["2006-12-01",2006,15518992.219999999,15964701.674303424]
["2007-01-01",2007,17027640.539999999,17251634.798151776]
["2007-02-01",2007,16669380.510000002,15806074.876655206]
["2007-03-01",2007,14934754.379999999,15060073.226835767]
["2007-04-01",2007,12687457.810000002,12460064.380187005]
["2007-05-01",2007,10985339.710000001,11293912.68230783]
["2007-06-01",2007,9760012.7799999993,9905116.0109054875]
["2007-07-01",2007,10363539.75,9913613.0014518239]
["2007-08-01",2007,10623681.955423476,10129013.446728157]
["2007-09-01",2007,9937765.4600000009,9971568.7916683275]
["2007-10-01",2007,11018147.890000001,11869869.957502484]
["2007-11-01",2007,13301022.960000001,13561875.328571223]
["2007-12-01",2007,16610853.84,15970829.978328152]
["2008-01-01",2008,16747623.760000002,17257763.102176502]
["2008-02-01",2008,16220989.899999999,15812203.180679934]
["2008-03-01",2008,16185519.129999999,14719673.117548442]
["2008-04-01",2008,12384878.220000001,12812721.097523786]
["2008-05-01",2008,11570573.57,11184531.51522854]
["2008-06-01",2008,10031531.33,9911244.3149302173]
["2008-07-01",2008,10603201.34,10035250.776580568]
["2008-08-01",2008,10275407.85,9904122.8085448481]
["2008-09-01",{"$f":"YEAR(A34)","v":2008},9957791.7799999993,10208716.037901092]
["2008-10-01",2008,11903930.970000001,11875998.261527212]
["2008-11-01",2008,13578501.350000001,13336984.690387916]
["2008-12-01",2008,18362207.48,16207977.224560916]
["2009-01-01",2009,18881349,17148381.935097214]
["2009-02-01",2009,15951302.32,15702822.013600644]
["2009-03-01",2009,15986795.57,15072329.834885223]
["2009-04-01",2009,12817613.51,12587830.459340479]
["2009-05-01",2009,11557935.369999999,11075150.348149251]
["2009-06-01",2009,10386431.49,10032882.090058964]
["2009-07-01",2009,10790837.5,10041379.080605296]
["2009-08-01",2009,11118670.27,9910251.1125695761]
["2009-09-01",2009,10133781.59,10214844.34192582]
["2009-10-01",2009,13000847.74,11766617.094447922]
["2009-11-01",2009,12805137.380000001,13458622.46551666]
["2009-12-01",2009,17322151.559999999,16214105.528585644]
["2010-01-01",2010,17283128.699999999,17039000.768017922]
["2010-02-01",2010,14874695.649999999,15708950.317625372]
["2010-03-01",2010,13997010.93,15193967.610013969]
["2010-04-01",2010,10847949.960000001,12593958.763365207]
["2010-05-01",2010,10080566.119999999,11081278.652173979]
["2010-06-01",2010,9283863.4100000001,10039010.394083692]
["2010-07-01",2010,10277037.66,9931997.9135260079]
["2010-08-01",2010,10298675.939999999,10031888.887698324]
["2010-09-01",2010,9789881.8000000007,10220972.645950548]
["2010-10-01",2010,10854951.359999999,11657235.927368633]
["2010-11-01",2010,12307817.600000001,13580260.240645407]
["2010-12-01",2010,16509634.079999998,16220233.832610372]
["2011-01-01",2011,18210954.41,17045129.072042651]
["2011-02-01",2011,15275983.57,15715078.6216501]
["2011-03-01",2011,14923502.969999999,15200095.914038699]
["2011-04-01",2011,12118407.5,12484577.596285917]
["2011-05-01",{"$f":"YEAR(A66)","v":2011},10132000.65,11202916.427302724]
["2011-06-01",2011,9032152.8599999994,10045138.69810842]
["2011-07-01",2011,10244088.84,9822616.7464467175]
["2011-08-01",2011,10453709.460000001,10153526.662827071]
["2011-09-01",2011,9912883.3800000008,10227100.949975276]
["2011-10-01",2011,10981342.77,11663364.231393363]
["2011-11-01",2011,12396977.68,13586388.544670135]
["2011-12-01",2011,15364156.579999998,16110852.665531082]
["2012-01-01",2012,16257178,17166766.847171396]
["2012-02-01",2012,14151568,15836716.396778846]
["2012-03-01",2012,13453783,15090714.746959409]
["2012-04-01",2012,11682191,12490705.900310645]
["2012-05-01",2012,10307176,11324554.20243147]
["2012-06-01",2012,9779424,9935757.5310291294]
["2012-07-01",2012,10817789,9944254.5215754639]
["2012-08-01",2012,10717021,10159654.966851799]
["2012-09-01",2012,10163216,10002210.311791968]
["2012-10-01",2012,11586791,11900511.477626126]
["2012-11-01",2012,13032681,13592516.848694863]
["2012-12-01",2012,15521871,16001471.498451792]
["2013-01-01",2013,16693786,17288404.622300144]
["2013-02-01",2013,15174191,15727335.229699556]
["2013-03-01",2013,14601438,14865824.108776102]
["2013-04-01",2013,13150077,12727853.14654341]
["2013-05-01",2013,10553126,11330682.5064562]
["2013-06-01",2013,9632056,9826376.363949839]
["2013-07-01",2013,10454381,10065892.296704208]
["2013-08-01",2013,10345419,10050273.799772508]
["2013-09-01",2013,10224461,10123848.086920714]
["2013-10-01",2013,12045684,11906639.781650854]
["2013-11-01",2013,14228773,13483135.681615572]
["2013-12-01",2013,18557256,16123109.27358054]
["2014-01-01",{"$f":"YEAR(A98)","v":2014},null,17294532.92632487]
["2014-02-01",2014,null,15733463.533724284]
["2014-03-01",2014,null,14987461.883904848]
["2014-04-01",2014,null,12618471.979464119]
["2014-05-01",2014,null,11221301.33937691]
["2014-06-01",2014,null,9948014.1390785854]
["2014-07-01",2014,null,10072020.600728936]
["2014-08-01",2014,null,9940892.6326932181]
["2014-09-01",2014,null,10245485.86204946]
["2014-10-01",2014,null,11912768.085675582]
["2014-11-01",2014,null,13373754.514536284]
["2014-12-01",2014,null,16244747.048709286]
["2015-01-01",2015,null,17185151.759245582]
["2015-02-01",2015,null,15739591.837749012]
["2015-03-01",2015,null,15109099.659033593]
["2015-04-01",2015,null,12624600.283488847]
["2015-05-01",2015,null,11111920.172297621]
["2015-06-01",2015,null,10069651.914207332]
["2015-07-01",2015,null,10078148.904753666]
["2015-08-01",2015,null,9947020.9367179461]
["2015-09-01",2015,null,10251614.166074188]
["2015-10-01",2015,null,11803386.918596292]
["2015-11-01",2015,null,13495392.289665028]
["2015-12-01",2015,null,16250875.352734014]

{"sheet":"NormalizedAnnualDataSumm","index":9,"n_rows":13,"n_cols":3,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
[]
["Annual Actual vs. Normalized WSL2"]
[null,"WSL2 ","Normalized Value "]
[2006,150668796.33000001,153004597.35989249]
[2007,153919597.58542347,153193646.47929323]
[2008,157822156.67999998,153267186.12758997]
[2009,160752853.29999998,153225216.30478269]
[2010,146405213.20999998,153298755.95307943]
[2011,149046160.67000002,153256786.13027215]
[2012,147470689,153445835.24967295]
[2013,155660648,153519374.89796963]
[2014,null,153592914.54626638]
[2015,null,153666454.19456315]

{"sheet":"NormalizedAnnualDataSumm2","index":10,"n_rows":13,"n_cols":5,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
[]
["Annual Actual vs. Normalized WSL2"]
[null,"WSL2 ","% Change","Normalized Value ","% Change"]
[2006,150668796.33000001,null,153004597.35989249]
[2007,153919597.58542347,{"$f":"B5/B4-1","v":2.1575809554510883E-2},153193646.47929323,{"$f":"D5/D4-1","v":1.2355780327049093E-3}]
[2008,157822156.67999998,{"$f":"B6/B5-1","v":2.5354530259934061E-2},153267186.12758997,{"$f":"D6/D5-1","v":4.8004372235288528E-4}]
[2009,160752853.29999998,1.8569614569025727E-2,153225216.30478269,-2.7383436642691716E-4]
[2010,146405213.20999998,-8.9252786469825041E-2,153298755.95307943,4.7994481633151231E-4]
[2011,149046160.67000002,1.8038616263014617E-2,153256786.13027215,-2.7377797390693015E-4]
[2012,147470689,-1.0570360638059162E-2,153445835.24967295,1.2335448509281921E-3]
[2013,155660648,5.5536181837463339E-2,153519374.89796963,4.7925476880505968E-4]
[2014,null,null,153592914.54626638,4.7902519369702468E-4]
[2015,null,null,153666454.19456315,4.7879583842802553E-4]