## Business Case
SCADA Network |  |  | SCADA Network (NPV Values)
Item | Costs | Savings | Item | Costs | Savings
Communication Capital & Maintenance | 738874.1124 |  | Communication Capital & Maintenance | 658276.2293
Scada Devices Capital & Maintenance | 1872734.126 |  | Scada Devices Capital & Maintenance | 1712679.8493
Scada System Capital & Maintenance | 2071007.0612 |  | Scada System Capital & Maintenance | 1797666.4727
Other Capital & Maintenance |  |  | Other Capital & Maintenance
Cost Of Funds (COF) | 336282.4292 |  | Cost Of Funds (COF) | 288434.7605
Operational Savings |  | 7937256.8108 | Operational Savings |  | 6736468.6731
Totals | 5018897.7288 | 7937256.8108 | Totals | 4457057.3117 | 6736468.6731
Benefits to Cost Ratio | 1.5815 |  | Benefits to Cost Ratio | 1.5114
Payback Period | 8.0814 | Years | Payback Period | 8.312 | Years
Internal Rate of Return (IRR) | 21.03% |  | Internal Rate of Return (IRR) | 18.66%
Total Capital (No COF) | 1941793.6871 |  | Total Capital - NPV (No COF) | 1796875.5796
Total Operating | 3077104.0417 |  | Total Operating | 2660181.7321

## Summary
Interest Rate 1 for Short Term Cost of Funds | 3.5
Amortization Period AMI | 15
Amortization Period TGB, Software | 5
Net Present Value (NPV) Discount on O&M | 2%
Net Present Value (NPV) Discount on Capital | 2%
Inflation Rate | 1.021
Contingency Percentage | 0.05
Depreciation Term on Operations Section | 20
Provincial and Federal Sales Tax (HST) | 0%
Total Scada Device Volume | 86
Scada System Asset Strategy Summary | TOTAL | Total NPV | Year By Year Break Down
|  |  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Communication Capital Investments
Comms Modules | 89961.9433 | 84082.3276 | 14644.9675 | 16737.1057 | 16737.1057 | 12552.8293 | 14644.9675 | 14644.9675 | 0 | 0 | 0 | 0 | 0 | 0
Installation Costs - Regular Labour | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AMI Network Infrastructure (TGB's) | 161024.472 | 152969.1651 | 6940.71 | 51361.254 | 102722.508 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
AMI Head End System Infrastructure (RNI) | 9254.28 | 8807.7199 | 0 | 4627.14 | 4627.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cost of Funds on Capital | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Scada Devices Capital Investments
Hardware | 874226.307 | 805253.3424 | 67140.4209 | 89984.8029 | 108023.1979 | 183026.6677 | 210395.663 | 215655.5546 | 0 | 0 | 0 | 0 | 0 | 0
Software | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Integration (Configuration & Training) | 807326.6849 | 745763.0247 | 77700 | 95786.25 | 104799.8437 | 160564.3922 | 181963.555 | 186512.6439 | 0 | 0 | 0 | 0 | 0 | 0
Scada System Capital Investments
Hardware | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Software | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Integration (Configuration & Training) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Capital Costs | 1941793.6871 | 1796875.5796 | 166426.0984 | 258496.5527 | 336909.7954 | 356143.8892 | 407004.1855 | 416813.166 | 0 | 0 | 0 | 0 | 0 | 0
Average Capital Cost Per Device | 22578.9964 | 20893.9021
Average Cost Per Device Per Month (Based on 12 Year) | 156.7986 | 145.0965 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Communication O&M
Maintenance | 471438.4242 | 406295.6688 | 0 | 8328.852 | 41226.1986 | 42375.4281 | 43557.3765 | 44688.0585 | 45892.6396 | 47130.6061 | 48082.8096 | 49054.297 | 50045.46 | 51056.6981
Labour to Run System | 7194.993 | 6121.3479 | 0 | 117.6 | 258.3 | 405.9615 | 524.6611 | 667.586 | 817.3293 | 837.7625 | 858.7066 | 880.1743 | 902.1786 | 924.7331
Scada Devices O&M
Maintenance | 191181.1341 | 161663.4822 | 0 | 0 | 4265.2488 | 9024.3727 | 14476.4357 | 17278.3 | 20513.3987 | 23899.4534 | 24496.9397 | 25109.3632 | 25737.0973 | 26380.5247
Labour to Run System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Scada System O&M
Hardware Maintenance | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Software Maintenance | 2071007.0612 | 1797666.4727 | 0 | 165900 | 170047.5 | 174298.6875 | 178656.1547 | 183122.5586 | 187700.6225 | 192393.1381 | 197202.9665 | 202133.0407 | 207186.3667 | 212366.0259
Labour to Run System | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Finance / Corporate Services & Other O&M
Cost of Funds on Capital (Total = sum over 12Yrs on a 15Yr Loan) | 336282.4292 | 288434.7605 | 3181.9402 | 8124.1974 | 14565.6561 | 21374.856 | 29156.466 | 37125.6162 | 37125.6162 | 37125.6162 | 37125.6162 | 37125.6162 | 37125.6162 | 37125.6162
Total O&M Costs | 3077104.0417 | 2660181.7321 | 3181.9402 | 182470.6494 | 230362.9035 | 247479.3058 | 266371.0941 | 282882.1193 | 292049.6063 | 301386.5763 | 307767.0387 | 314302.4914 | 320996.7188 | 327853.598
Average O&M Cost Per Device Per Month | 248.4742 | 214.808
Total Costs Per Device Per Month (Based on 12 Yrs) | 405.2727 | 359.9045
Totals | 5018897.7288 | 4457057.3117 | 169608.0386 | 440967.2021 | 567272.6989 | 603623.1949 | 673375.2796 | 699695.2852 | 292049.6063 | 301386.5763 | 307767.0387 | 314302.4914 | 320996.7188 | 327853.598
Annual rate to recover costs | 4863.273 | 4318.854

## SCADA
SCADA Devices | 86
|  |  | Phase 1 POC |  | Phase 2 Small |  | Phase 3 Large
Communications | Cost Allocation |  | 2014 |  | 2015 |  | 2016 |  | 2017 |  | 2018 |  | 2019 |  | 2020 |  | 2021 |  | 2022 |  | 2023 |  | 2024 |  | 2025
| Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating
AMI Network Infrastructure
RTM-II (Remote Telemetry Module) | 1.1.1 | 2.1.1 | 13947.5881 |  | 15940.1007 |  | 15940.1007 |  | 11955.0755 |  | 13947.5881 |  | 13947.5881 |  | 0
Collectors (TGB's) | 1.1.3 | 2.1.1 | 6610.2 |  | 48915.48 |  | 97830.96 | 23135.7 |  | 23598.414 |  | 24070.3823 |  | 24551.7899 |  | 25042.8257 |  | 25543.6822 |  | 26054.5559 |  | 26575.647 |  | 27107.1599 |  | 27649.3031
Head-end System (RNI Fees) | 1.1.4 | 2.1.1 |  |  | 4406.8 | 7932.24 | 4406.8 | 15864.48 |  | 16181.7696 |  | 16505.405 |  | 16835.5131 |  | 17172.2234 |  | 17515.6678 |  | 17865.9812 |  | 18223.3008 |  | 18587.7668 |  | 18959.5222
Cost of Funds | 1.1.5 | 2.1.3 |  | 393.0492 |  | 1717.2932 |  | 3976.7639 |  | 4205.3358 |  | 4472.0031 |  | 4738.6703 |  | 4738.6703 |  | 4738.6703 |  | 4738.6703 |  | 4738.6703 |  | 4738.6703 |  | 4738.6703
Comms Warranty Costs (1% Annual Failure Rate) | 1.1.1 | 2.1.1 | [5 empty] | 262.8663 |  | 577.367 |  | 907.4285 |  | 1172.7527 |  | 1492.2267 |  | 1826.9414 |  | 1872.615 |  | 1919.4303 |  | 1967.4161 |  | 2016.6015
Comms Trouble Shooting Modules 1% Per Yr | 1.1.2 | 2.1.2 |  |  |  | 112 |  | 246 |  | 386.63 |  | 499.6772 |  | 635.7962 |  | 778.4089 |  | 797.8691 |  | 817.8158 |  | 838.2612 |  | 859.2177 |  | 880.6982
2% |  |  | 1027.8894 | 19.6525 | 3463.119 | 488.0767 | 5908.893 | 2174.2905 | 597.7538 | 2247.4758 | 697.3794 | 2322.7448 | 697.3794 | 2396.7261 | 0 | 2461.2177 | 0 | 2521.1415 | 0 | 2567.4819 | 0 | 2614.7655 | 0 | 2663.0115 | 0 | 2712.2398
Section Sub Total |  |  | 21585.6775 | 412.7017 | 72725.4997 | 10249.6099 | 124086.7537 | 45660.1007 | 12552.8293 | 47196.9923 | 14644.9675 | 48777.6409 | 14644.9675 | 50331.2484 | 0 | 51685.5727 | 0 | 52943.9725 | 0 | 53917.1201 | 0 | 54910.0752 | 0 | 55923.2425 | 0 | 56957.0351
SCADA Devices
SCADA Devices
3-Phase Reclosers | 1.2.1 | 2.2.1 | 58589.308 |  | 60054.0407 |  | 61555.3917 |  | 126188.553 |  | 129343.2668 |  | 132576.8485 |  | 0
Installation | 1.2.3 | 2.2.1 | 50000 |  | 51250 |  | 52531.25 |  | 107689.0625 |  | 110381.2891 |  | 113140.8213 |  | 0
Warranty Costs | 1.2.1 | 2.2.1 | [5 empty] | 755.6484 |  | 1549.0792 |  | 2381.7093 |  | 4068.7534 |  | 5838.6612 |  | 7694.5213 |  | 7886.8843 |  | 8084.0565 |  | 8286.1579 |  | 8493.3118
1-Phase Reclosers | 1.2.1 | 2.2.1 | 0 |  | 20157.9729 |  | 41323.8444 |  | 42356.9405 |  | 65123.796 |  | 66751.8909 |  | 0
Installation | 1.2.3 | 2.2.1 | 0 |  | 15375 |  | 31518.75 |  | 32306.7187 |  | 49671.5801 |  | 50913.3696 |  | 0
Warranty Costs | 1.2.1 | 2.2.1 | [5 empty] | 0 |  | 267.2501 |  | 821.794 |  | 1403.8981 |  | 2302.3929 |  | 3244.935 |  | 3326.0584 |  | 3409.2098 |  | 3494.4401 |  | 3581.8011
Integrate Existing Dev | 1.2.1 | 2.2.1 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
Installation | 1.2.3 | 2.2.1 | 12000 |  | 12300 |  | 15759.375 |  | 0 |  | 0 |  | 0 |  | 0
Warranty Costs | 1.2.1 | 2.2.1 | [5 empty] | 3181.4069 |  | 6521.884 |  | 10320.7404 |  | 10578.7589 |  | 10843.2279 |  | 11114.3086 |  | 11392.1663 |  | 11676.9704 |  | 11968.8947 |  | 12268.1171
Fault Indicators | 1.2.1 | 2.2.1 | 5353.95 |  | 5487.7987 |  | 0 |  | 5765.6186 |  | 5909.759 |  | 6057.503 |  | 0
Installation | 1.2.3 | 2.2.1 | 12000 |  | 12300 |  | 0 |  | 12922.6875 |  | 13245.7547 |  | 13576.8986 |  | 0
Warranty Costs | 1.2.1 | 2.2.1 | [5 empty] | 125.0865 |  | 256.4273 |  | 262.8379 |  | 404.1133 |  | 552.2882 |  | 707.6193 |  | 725.3098 |  | 743.4425 |  | 762.0286 |  | 781.0793
Cost of Funds | 1.1.5 | 2.1.3 |  | 2637.37 |  | 6020.0377 |  | 9895.2895 |  | 16151.6699 |  | 23296.0597 |  | 30619.0594 |  | 30619.0594 |  | 30619.0594 |  | 30619.0594 |  | 30619.0594 |  | 30619.0594 |  | 30619.0594
2% |  |  | 6897.1629 | 131.8685 | 8846.2406 | 301.0019 | 10134.4306 | 697.8716 | 16361.479 | 1237.3155 | 18683.7723 | 1854.1571 | 19150.8666 | 2353.7292 | 0 | 2507.7815 | 0 | 2669.0222 | 0 | 2697.4739 | 0 | 2726.6369 | 0 | 2756.529 | 0 | 2787.1684
Section Sub Total |  |  | 144840.4209 | 2769.2385 | 185771.0529 | 6321.0396 | 212823.0417 | 14655.3028 | 343591.0599 | 25983.626 | 392359.218 | 38937.2985 | 402168.1985 | 49428.3123 | 0 | 52663.411 | 0 | 56049.4657 | 0 | 56646.9521 | 0 | 57259.3756 | 0 | 57887.1096 | 0 | 58530.5371
SCADA System
SCADA System
SCADA License | 1.3.3 | 2.3.2 |  |  |  | 158000 |  | 161950 |  | 165998.75 |  | 170148.7187 |  | 174402.4367 |  | 178762.4976 |  | 183231.5601 |  | 187812.3491 |  | 192507.6578 |  | 197320.3493 |  | 202253.358
SCADA Implementation | 1.3.3 | 2.3.2
SCADA Integration | 1.3.3 | 2.3.2
SCADA Staffing | 1.3.3 | 2.3.2
Other | 1.3.3 | 2.3.2
2% |  |  | 0 | 0 | 0 | 7900 | 0 | 8097.5 | 0 | 8299.9375 | 0 | 8507.4359 | 0 | 8720.1218 | 0 | 8938.1249 | 0 | 9161.578 | 0 | 9390.6175 | 0 | 9625.3829 | 0 | 9866.0175 | 0 | 10112.6679
Section Sub Total |  |  | 0 | 0 | 0 | 165900 | 0 | 170047.5 | 0 | 174298.6875 | 0 | 178656.1547 | 0 | 183122.5586 | 0 | 187700.6225 | 0 | 192393.1381 | 0 | 197202.9665 | 0 | 202133.0407 | 0 | 207186.3667 | 0 | 212366.0259
|  |  | 2014 |  | 2015 |  | 2016 |  | 2017 |  | 2018 |  | 2019 |  | 2020 |  | 2021 |  | 2022 |  | 2023 |  | 2024 |  | 2025
|  |  | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating | Capital | Operating
Totals |  |  | 166426.0984 | 3181.9402 | 258496.5527 | 182470.6494 | 336909.7954 | 230362.9035 | 356143.8892 | 247479.3058 | 407004.1855 | 266371.0941 | 416813.166 | 282882.1193 | 0 | 292049.6063 | 0 | 301386.5763 | 0 | 307767.0387 | 0 | 314302.4914 | 0 | 320996.7188 | 0 | 327853.598
Cost Allocation | Cat | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | TOTAL | Total NPV
1.1 Communication Investments
1.1.1 Comms Modules | 1.1.1 | 14644.9675 | 16737.1057 | 16737.1057 | 12552.8293 | 14644.9675 | 14644.9675 | 0 | 0 | 0 | 0 | 0 | 0 | 89961.9433 | 84082.3276
1.1.2 Installation Costs - Regular Labour | 1.1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.1.3 Network Infrastructure - TGB's | 1.1.3 | 6940.71 | 51361.254 | 102722.508 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 161024.472 | 152969.1651
1.1.4 Head End System Infrastructure | 1.1.4 | 0 | 4627.14 | 4627.14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9254.28 | 8807.7199
1.1.8 Cost of Funds | 1.1.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.2 SCADA Devices Investments
1.2.1 Hardware | 1.2.1 | 67140.4209 | 89984.8029 | 108023.1979 | 183026.6677 | 210395.663 | 215655.5546 | 0 | 0 | 0 | 0 | 0 | 0 | 874226.307 | 805253.3424
1.2.2 Software | 1.2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.2.3 Integration (Configuration & Training) | 1.2.3 | 77700 | 95786.25 | 104799.8437 | 160564.3922 | 181963.555 | 186512.6439 | 0 | 0 | 0 | 0 | 0 | 0 | 807326.6849 | 745763.0247
1.3 SCADA System Investments
1.3.1 Hardware | 1.3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.3.2 Software | 1.3.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1.3.3 Integration (Configuration & Training) | 1.3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.1 Communication O&M
2.1.1 Maintenance | 2.1.1 | 0 | 8328.852 | 41226.1986 | 42375.4281 | 43557.3765 | 44688.0585 | 45892.6396 | 47130.6061 | 48082.8096 | 49054.297 | 50045.46 | 51056.6981 | 471438.4242 | 406295.6688
2.1.2 Labour to Run System | 2.1.2 | 0 | 117.6 | 258.3 | 405.9615 | 524.6611 | 667.586 | 817.3293 | 837.7625 | 858.7066 | 880.1743 | 902.1786 | 924.7331 | 7194.993 | 6121.3479
2.1.3 Cost of Funds | 2.1.3 | 3181.9402 | 8124.1974 | 14565.6561 | 21374.856 | 29156.466 | 37125.6162 | 37125.6162 | 37125.6162 | 37125.6162 | 37125.6162 | 37125.6162 | 37125.6162 | 336282.4292 | 288434.7605
2.2 SCADA Devices O&M
2.2.1 Maintenance | 2.2.1 | 0 | 0 | 4265.2488 | 9024.3727 | 14476.4357 | 17278.3 | 20513.3987 | 23899.4534 | 24496.9397 | 25109.3632 | 25737.0973 | 26380.5247 | 191181.1341 | 161663.4822
2.2.2 Labour to Run System | 2.2.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.3 SCADA System O&M
2.3.1 Hardware Maintenance | 2.3.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2.3.2 Software Maintenance | 2.3.2 | 0 | 165900 | 170047.5 | 174298.6875 | 178656.1547 | 183122.5586 | 187700.6225 | 192393.1381 | 197202.9665 | 202133.0407 | 207186.3667 | 212366.0259 | 2071007.0612 | 1797666.4727
2.3.3 Labour to Run System | 2.3.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Grand Total | 169608.0386 | 440967.2021 | 567272.6989 | 603623.1949 | 673375.2796 | 699695.2852 | 292049.6063 | 301386.5763 | 307767.0387 | 314302.4914 | 320996.7188 | 327853.598 | 5018897.7288 | 4457057.3117
| Totals From Above | 169608.0386 | 440967.2021 | 567272.6989 | 603623.1949 | 673375.2796 | 699695.2852 | 292049.6063 | 301386.5763 | 307767.0387 | 314302.4914 | 320996.7188 | 327853.598 | 5018897.7288
| Check Sum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on Q18: Honor Wood: Temporary MDMR costs = Meter Population X Cost per meter X 12 months in calendar year
Note on I30: Honor Wood: Temporary MDMR costs = Meter Population X Cost per meter X 12 months in calendar year
Note on Q30: Honor Wood: Temporary MDMR costs = Meter Population X Cost per meter X 12 months in calendar year

## Pricing
Deployment Schedule
Category | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Checksum | SCADA Devices | Cooper | G&W | Thomas & Betts | Pro-Tech | Schneider | S&C | KA Factor | Average Price
3-Phase Reclosers | 2 | 2 | 2 | 4 | 4 | 4 | 0 | 18 | 3-Phase Reclosers | 24666.27 | 35250 | 24600 |  | 23500 | 38457 |  | 29294.654
1-Phase Reclosers | 0 | 2 | 4 | 4 | 6 | 6 | 0 | 22 | 1-Phase Reclosers | 5532.63 | 13035 | 8900 |  | 11865 |  |  | 9833.1575
Integrate Existing Dev | 8 | 8 | 10 | 0 | 0 | 0 | 0 | 26 | Integrate Existing Dev |  | 35250 |  |  | 18015 | 34182 | 36939.26 | 31096.565
Fault Indicators | 4 | 4 | 0 | 4 | 4 | 4 | 0 | 20 | Fault Indicators | 900 |  | 1100 | 831 | 2522.95 |  |  | 1338.4875
Total: | 14 | 16 | 16 | 12 | 14 | 14 | 0 | 86 | Average Total Price |  | 18621.8493
SCADA Device Costs By Year | [8 empty] | SCADA Device Costs
Billing UOM | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Checksum | Category | Cost/Mtr | Quantity | Cost
3-Phase Reclosers | 58589.308 | 60054.0407 | 61555.3917 | 126188.553 | 129343.2668 | 132576.8485 | 0 | 568307.4088 | 3-Phase Reclosers | 29294.654 | 18 | 527303.772
1-Phase Reclosers | 0 | 20157.9729 | 41323.8444 | 42356.9405 | 65123.796 | 66751.8909 | 0 | 235714.4447 | 1-Phase Reclosers | 9833.1575 | 22 | 216329.465
Integrate Existing Dev | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Integrate Existing Dev | 0 | 26 | 0
Fault Indicators | 5353.95 | 5487.7987 | 0 | 5765.6186 | 5909.759 | 6057.503 | 0 | 28574.6293 | Fault Indicators | 1338.4875 | 20 | 26769.75
Total: | 63943.258 | 85699.8123 | 102879.2361 | 174311.1121 | 200376.8219 | 205386.2424 | 0 | 832596.4829 | Total: |  | 86 | 770402.987
Installation Costs By Year | [8 empty] | Installation Costs
Billing UOM | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Checksum | Category | Cost/Mtr | Quantity | Cost
3-Phase Reclosers | 50000 | 51250 | 52531.25 | 107689.0625 | 110381.2891 | 113140.8213 | 0 | 484992.4229 | 3-Phase Reclosers | 25000 | 18 | 450000
1-Phase Reclosers | 0 | 15375 | 31518.75 | 32306.7187 | 49671.5801 | 50913.3696 | 0 | 179785.4184 | 1-Phase Reclosers | 7500 | 22 | 165000
Integrate Existing Dev | 12000 | 12300 | 15759.375 | 0 | 0 | 0 | 0 | 40059.375 | Integrate Existing Dev | 1500 | 26 | 39000
Fault Indicators | 12000 | 12300 | 0 | 12922.6875 | 13245.7547 | 13576.8986 | 0 | 64045.3407 | Fault Indicators | 3000 | 20 | 60000
Total: | 74000 | 91225 | 99809.375 | 152918.4687 | 173298.6238 | 177631.0894 | 0 | 768882.557 | Total: |  | 86 | 714000
Note on M13: Beharriell, Greg: RTMII Cost is incorporated in the SCADA tab based on total number of devices.
Note on M21: Beharriell, Greg: Cost to Install and program RTMII into an existing device

## Benefits
Interruption Costs | Year | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Rate | 666018 | 679338.36 | 692925.1272 | 706783.6297 | 720919.3023 | 735337.6884 | 750044.4422 | 765045.331 | 780346.2376 | 795953.1624 | 811872.2256 | 828109.6701
| Volume | 0 | 0.16279 | 0.34884 | 0.53488 | 0.67442 | 0.83721 | 1 | 1 | 1 | 1 | 1 | 1
| Total | 0 | 110589.9656 | 241718.0676 | 378047.0578 | 486201.3899 | 615631.5531 | 750044.4422 | 765045.331 | 780346.2376 | 795953.1624 | 811872.2256 | 828109.6701
| NPV | 5588112.7223 | No NPV | 6563559.1029
Avoided O&M Costs | Year | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Rate | 178606 | 182178.12 | 185821.6824 | 189538.116 | 193328.8784 | 197195.4559 | 201139.3651 | 205162.1524 | 209265.3954 | 213450.7033 | 217719.7174 | 222074.1117
| Volume | 0 | 0 | 0 | 0.16279 | 0.34884 | 0.53488 | 0.67442 | 0.83721 | 1 | 1 | 1 | 1
| Total | 0 | 0 | 0 | 30855.0421 | 67440.3064 | 105476.6392 | 135652.1299 | 171763.6624 | 209265.3954 | 213450.7033 | 217719.7174 | 222074.1117
| NPV | 1148355.9508 | No NPV | 1373697.708
Avoided Capital Costs | Year | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
| Benefit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Volume
| Total | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NPV | 0 | No NPV | 0
Item | Source
Interruption Costs | Numbers based on Interruption Costs Estimate Calculator using API Analysis of historical outage data.
Avoided O&M Costs | Benefits Related to reductions in response costs, costs related to hold-offs and switching, after-hours call centre costs, engineering travel costs and recloser maintenance costs
Avoided Capital Costs

## ROI
SCADA Network | [6 empty] | SCADA Network
| Savings | Costs | Net Revenue |  |  |  |  | Savings | Costs | Net Revenue
1 | 0 | 169608.0386 | -169608.0386 | -169608.0386 | 1 | 1 | 1 | 0 | 166282.3908 | -166282.3908 | -166282.3908 | 1 | 1
2 | 110589.9656 | 440967.2021 | -330377.2365 | -499985.2751 | 1 | 1 | 2 | 106295.6224 | 423843.9082 | -317548.2858 | -483830.6766 | 1 | 1
3 | 241718.0676 | 567272.6989 | -325554.6313 | -825539.9064 | 1 | 1 | 3 | 227776.3338 | 534553.7339 | -306777.4001 | -790608.0767 | 1 | 1
4 | 408902.0999 | 603623.1949 | -194721.095 | -1020261.0014 | 1 | 1 | 4 | 377762.3347 | 557654.5277 | -179892.193 | -970500.2697 | 1 | 1
5 | 553641.6964 | 673375.2796 | -119733.5832 | -1139994.5847 | 1 | 1 | 5 | 501450.342 | 609896.7373 | -108446.3953 | -1078946.665 | 1 | 1
6 | 721108.1923 | 699695.2852 | 21412.9071 | -1118581.6776 | 1 | 1 | 6 | 640323.4382 | 621309.3895 | 19014.0487 | -1059932.6163 | 1 | 1
7 | 885696.5721 | 292049.6063 | 593646.9658 | -524934.7118 | 1 | 1 | 7 | 771052.166 | 254246.7574 | 516805.4086 | -543127.2077 | 1 | 1
8 | 936808.9934 | 301386.5763 | 635422.4172 | 110487.7054 | 0.88206 | 0.88206 | 8 | 799557.4555 | 257230.5408 | 542326.9147 | -800.293 | 1 | 1
9 | 989611.633 | 307767.0387 | 681844.5943 | 792332.2997 | 0.19935 | 0.19935 | 9 | 828062.7451 | 257525.6903 | 570537.0548 | 569736.7618 | 0.31196 | 0.31196
10 | 1009403.8657 | 314302.4914 | 695101.3743 | 1487433.674 | -0.47358 | 0 | 10 | 828062.7451 | 257837.5145 | 570225.2306 | 1139961.9924 | -0.37666 | 0
11 | 1029591.943 | 320996.7188 | 708595.2242 | 2196028.8982 | -1.1329 | 0 | 11 | 828062.7451 | 258165.7966 | 569896.9485 | 1709858.9409 | -1.0649 | 0
12 | 1050183.7819 | 327853.598 | 722330.1838 | 2918359.082 | -1.7789 | 0 | 12 | 828062.7451 | 258510.3246 | 569552.4205 | 2279411.3613 | -1.7527 | 0
| 7937256.8108 | 5018897.7288 | [5 empty] | 6736468.6731 | 4457057.3117
IRR |  |  | 21.03% |  |  |  | IRR |  |  | 18.66%
Payback in Years |  |  | 8.0814 |  |  |  | Payback in Years |  |  | 8.312

## Changes
Tab | Change
Benefits | Health and Safety -> Avoided Mtc Costs
Benefits | Added Avoided Mtc Costs
Benefits | Added Formulas in Row 9 to equal values in Row 4, but delayed by 2 years - to account for additional testing/verification, process re-design and training required before safety-related changes related to hold-offs can be implemented.
Benefits | Changed value in D3 to match revised Reliability Benefit Analysis
Pricing | Changed "3-PH switches" to "Integrate Existing Device" to recognize that some of this activity can happen in early years to integrate existing SCADA-capable devices in key areas at a much lower capital cost than installing new devices
Pricing | Modified costs as appropriate for "Integrate Existing Device" - see comments
Pricing | Reduced recloser installation costs as reclosers prioritized in the next few years would be at priority locations where existing reclosers are in place and the new units could be relatively easily retrofitted in the existing space.
Pricing | Changed devices counts in each year (Note that annual totals are less than previous in recognition that a portion of API's annual capital reliability projects may involve non-SCADA related components such as contingency improvements.
SCADA | Increased total TGB count to 8 and split some of the upgrades between 2015 and 2016 to smooth the costs (i.e. move from small to complete rollout toward the end of 2015)
Business Case | Modified D9 formula to include all benefits
Business Case | Added comment for consideration of including NPV values instead of totals - does the early outlay of investment and potential delay in realizing benefits skews the analysis if NPV is not considered?

## Sensus
Algoma Power Flexnet DA- Proposed Project Pricing
| Qty | Sensus Standard 2014 DA Pricing | extended price | Proposed Algoma price | Proposed extended Price
Phase 1 -POC ( 4-6 months)
RTM II | 4 | 904.29 | 3617.16 | 904.29 | 3617.16
basestation upgrade including install | 2 | 22200 | 44400 | 3000 | 6000
IC spectrum fee ($4.2K pr yr) | 2 | NA | 8400
SaaS fee <50 | 1 | 14400 | 14400 | 0 | 0
one time implementation | 1 | 8000 | 8000 | 0 | 0
Phase 2- small scale rollout (6-8 months)
RTM II | 10 | 904.29 | 9042.9 | 904.29 | 9042.9
basestation upgrade including install | 0 | 22200 | 0 | 0 | 0
IC spectrum fee ($4.2K pr yr) | 2 | NA | 8400
SaaS fee <50 | 1 | 14400 | 14400 | 7200 | 7200
one time implementation | 1 | 8000 | 8000 | 4000 | 4000
Phase 3 - System wide deployment
RTM II | 40 | 904.29 | 36171.6 | 904.29 | 36171.6
basestation upgrade including install | 5 | 22200 | 111000 | 22200 | 111000
IC spectrum fee ($4.2K pr yr) | 5 | NA | 21000 |  | 21000
SaaS fee <50 | 1 | 14400 | 14400 | 14400 | 14400
one time implementation | 1 | 8000 | 0 | 4000 | 4000
Notes:
1. If API decides to terminate project after phase 1, it will be subject to a termination fee of $10000
2. If API decides to terminate project after phase 2, it will be subject to a termination fee of $5000
3. Quantities for endpoints/collectors are an estimate ( except for POC where 2 TGB upgrade kits are required). API will advise qtys to best meet requirements.
4. IC spectrum applicable only if need to utilize separate DA spectrum. AMI RIS and contract SLA will determine if this is necessary. API will not hold Sensus financially responsible for SLA performance drops during POC or phase 2/3 if same AMI spectrum is utilized for DA project
5. All pricing in $US

## S&C
Algoma Power Inc.
Pricing Spreadsheet
RFI for SCADA-Capable Equipment # 2014-05I
Recloser/Interrupter Packages
Please copy this section and repeat for each proposed recloser.
Model #: | 248124-C0P165
Model name: | IntelliRupter
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| 3-phase recloser | Base product: 38 kV | 37345 | 0 | 0%
| Installation tools |  | 62 | 0 | 0% | Catalgue number 4450, Module Handling Fitting—For field installation and removal of protection and control module, and communication module, in IntelliRupter base. Attaches to hookstick with universal fitting. Includes prong for operating IntelliRupter levers
| 3 integral voltage sensors |  | Not Required | 0 | 0% | Standard unit comes standard with 6 integral voltage sensors for sensing on source and load side
| 3 integral voltage sensors and 3 external PTs for voltage sensing on source and load side |  | Not Required | 0 | 0% | Standard unit comes standard with 6 integral voltage sensors for sensing on source and load side
| 6 integral voltage sensors for sensing on source and load side |  | 0 | 0 | 0% | Standard unit comes standard with 6 integral voltage sensors for sensing on source and load side
| External PT for power supply to control/relay | Mounted to frame | Not Required | 0 | 0% | Standard unit comes standard with 6 integral voltage sensors for sensing on source and load side
| Wildlife protection |  | 1050 | 0 | 0% | Suffix A2
| Lightning arresters | Factory installed and wired | 1050 | 0 | 0% | Suffix N6 - 21KV POLYMER- HOUSED METAL-OXIDE SURGE ARRESTORS FACTORY MOUNTED AND WIRED ON BOTH SIDES OF INTELLIRUPTER
| Site-ready assembly | Mounting frame is complete with all recloser modules, PTs for power supply, lightning arresters and wildlife protection pre-mounted and pre-wired | Not Required | 0 | 0% | Standard unit in a single unit, designed for simple installation.
| Integrated visible disconnects |  | 0 | 0 | 0% | Standard unit comes complete with integrated visible disconnects
| Extended warranty (add a row for each warranty period) |  | 2810 | 0 | 0% | Suffix T1 - TEN-YEAR WARRANTY FOR INTELLIRUPTER
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
| Suffix C1 | Standard Control Group with Battery Backup—Identical to the Standard Control Group but additionally includes batteries that support operation for a minimum of four hours after loss of ac line voltage on both sides of IntelliRupter, permitting extended dead-line switching. | 321 | 0 | 0%
| Suffix P265 | Integrated Power Modules located on both sides of IntelliRupter | 1930 | 0 | 0% | Standard unit includes an integrated power module located on one side
| Suffix R80 | Factory-Installed and Wired S&C SpeedNet Radio, providing high-speed network communication via DNP 3.0 protocol, and 900-MHz, 5-dBi gain antenna with male N-Type connector. | 1911 | 0 | 0%
| SDA-4625 | SEL AUTORANGER MODEL AR8-COH FAULTED CIRCUIT INDICATORS SET OF THREE | 673 | 0 | 0%
| SDA-4540 | SPARE PROTECTION AND CONTROL MODULE | 7975 | 0 | 0%
| SDA-4650R2 | IR DOCKING STATION - Powers protection & control module and communication module removed from IntelliRupter base - for configuration settings, radio programming, & radio battery charging - application in user's service center or lab | 3213 | 0 | 0%
Switches
Please copy this section and repeat for each proposed switch.
Model #: | 148114R2-F1G45 c/w 6801-GPS-F01H9JB1K1P0R88W2
Model name: | Scada-Mate and 6801 Automatic Switch Control
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| Switch | Base product | 33510 | 0 | 0%
| 1 phase Voltage sensing/ 3 phase current sensing |  | 0 | 0 | 0% | Standard unit comes complete with single phase voltage sensing and 3 phase current sensing
| 3 phase Voltage sensing/ 3 phase current sensing | Scada-Mate Suffix E3 | 2450 | 0 | 0%
| 6 phase Voltage sensing/ 3 phase current sensing | Scada-Mate Suffix E33, 6801 Suffix K9 | 9430 | 0 | 0%
| Wildlife protection | Suffix A1 | 672 | 0 | 0%
| Control upgrade options (add a row for each option) | Upgrades that provide more than basic status/control functionality. | 0 | 0 | 0%
| Suffix A1 | WiFi Module with Antenna, for 6801 Automatic Switch Control | 966 | 0 | 0%
| Suffix R80 | Factory-Installed and Wired S&C SpeedNet Radio, providing high-speed network communication via DNP 3.0 protocol, and 900-MHz, 5-dBi gain antenna with male N-Type connector. | 2400 | 0 | 0%
| Suffix S3 | Antenna Surge Surpressor | 198
| Substation mounting (add a row for each option) | Provide pricing for each mounting option | Not Required | 0 | 0% | Standard unit can be mounted in the substation providing its on a pole
| Options that reduce the costs of installation (add a row for each option) | For example, integral power modules that eliminate the need for an external power supply. | 0 | 0 | 0%
| Installation tools |  | Not Required | 0 | 0%
| Switch with SEL-2411 RTU | Per 5.3.3 d) | 35810 | 0 | 0%
| Switch with GE iBOX RTU | Per 5.3.3 d) | 37890 | 0 | 0%
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0%
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
| Components that may require periodic replacement (add a row for each item) | For each component listed in section 5.3.5 as requiring periodic replacement, please provide pricing. | 0 | 0 | 0%
| 591-000190-01 | Spare 24-Vdc, 8-Ampere-Hour Gates Battery | 214 | 0 | 0%
Services
Please provide rates for services. Add a row for each additional service.
| Item | Rate |  |  |  | Vendor Comments
| Installation services | 0 |  |  |  | Please see S&C Proposal Section 4.12 for Field Service Pricing.
| Engineering services | 0
| Training | 0 |  | Cost estimate for training | 0
Early Payment Discounts
Please indicate any discounts offered for early payment of invoices.
| Item | Discount |  |  |  | Vendor Comments
| Discount offered if invoice paid within 30 days | 0%
| Other discounts (add a row for each discount offered) | 0%
Additional Incidental Costs
Please indicate any costs not covered above
| Item | Price |  |  |  | Vendor Comments
| Travel time | 0
| Mileage | 0
Vendor Pricing Notes

## Pro-Tech
Algoma Power Inc.
Pricing Spreadsheet
RFI for SCADA-Capable Equipment # 2014-05I
Fault Circuit Indicators
Please copy this section and repeat for each proposed FCI.
Model #: | WSO-11.2
Model name: | SEL Wireless Overhead Faulted Circuit Indicator for OnRamp Wireless Networks
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| Fault circuit indicator | Base product | 776.2081 | qty 1-24 | 0%
| Fault circuit indicator | Base product | 760.684 | qty 25-99 | 0%
| Fault circuit indicator | Base product | 745.1598 | qty 100-249 | 0%
` | Fault circuit indicator | Base product | 729.6356 | qty 250-499 | 0%
| User-replaceable battery |  | 0 | 0 | 0%
| Manual reset tool Part Number CRSRTT | External tool for manual reset | 55.4434 | qty 1 | 0%
| Manual reset tool Part Number CRSRTT | External tool for manual reset | 133.0642 | qty 4 | 0%
| Manual reset tool Part Number CRSRTT | External tool for manual reset | 399.1927 | qty 12
| Installation tools |  | 0 | N/A | 0%
| Integrated communication option (add a row for each option) | Provide cost for each integrated communication option that can be supplied at time of FCI purchase (per 5.1.8 e). | 0 | N/A | 0%
| Extended warranty (add a row for each warranty period) |  | 0 | N/A | 0%
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | N/A | 0%
| On-Ramp Total Reach Access Point | Field Installed Access Point | 11088.6873 | Budgetary cost
| On-Ramp Total Reach Base Station Gateway |  | N/A |  |  | Cost for the Base Station Gateway is dependant upon the number of devices deployed and is part of the proposal process. Budgetary costing can be provided when a known number of devices is identified and a network plan has been formulated.
Services
Please provide rates for services. Add a row for each additional service.
| Item | Rate |  |  |  | Vendor Comments
| Installation services | 0 |  |  |  | SEL does not install overhead FCIs, this is typically done by utility staff or HV contractors.
| Installation services | 0 |  |  |  | OnRamp Wireless provides user guidance when planning a network deplyment and installation of Access Points and Base Stations.
| Engineering services | 0
| Training | 0 |  | Cost estimate for training | 0 | SEL offers many types of training courses though SEL University, as well as offered on-site. Please refer to the SEL website for details on courses offered and costing.
| Training | 0 |  | Cost estimate for training | 0 | OnRamp Wireless offers training for their system components as part of the proposal process.
Early Payment Discounts
Please indicate any discounts offered for early payment of invoices.
| Item | Discount |  |  |  | Vendor Comments
| Discount offered if invoice paid within 30 days | 0% |  |  |  | SEL Product purchase terms are NET 30 Days
| Discount offered if invoice paid within 30 days | 0% |  |  |  | OnRamp Wirelsss Product purchase terms are NET 30 Days
Vendor Pricing Notes
Pricing above is in $ CDN , based on an exchange rate of $1 CDN = $0.90182 USD. Exchange rates from USD to CDN are posted daily for quoting using the exchange website http://www.oanda.com/currency/converter/. Quoted pricing converted in CDN currency is valid for 60 days.

## G&W
Algoma Power Inc.
Pricing Spreadsheet
RFI for SCADA-Capable Equipment # 2014-05I
Fault Circuit Indicators
Please copy this section and repeat for each proposed FCI.
Model #:
Model name:
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| Fault circuit indicator | Base product | 0 | 0 | 0%
| User-replaceable battery |  | 0 | 0 | 0%
| Manual reset | External tool for manual reset | 0 | 0 | 0%
| Installation tools |  | 0 | 0 | 0%
| Integrated communication option (add a row for each option) | Provide cost for each integrated communication option that can be supplied at time of FCI purchase (per 5.1.8 e). | 0 | 0 | 0%
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0%
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
Recloser/Interrupter Packages
Please copy this section and repeat for each proposed recloser.
Model #: | VIP398ER-12-1-ST
Model name: | G&W Viper
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| 3-phase recloser | Base product: 38 kV | 31225 | 25+ | 10%
| Single phase recloser | Base product: 25 kV | 9010 | 25+ | 0%
| Installation tools |  | 0 | 0 | 0% | N/A
| 3 integral voltage sensors |  | 0 | 0 | 0% | Included in Base Bid
| 3 integral voltage sensors and 3 external PTs for voltage sensing on source and load side |  | 5670 | 0 | 0% | 35kV System (19,920/120V)
| 6 integral voltage sensors for sensing on source and load side |  | 2200 | 0 | 0% | 3 included in Base Bid
| External PT for power supply to control/relay | Mounted to frame | 2200 | 0 | 0% | 19,920/120V
| Wildlife protection |  | 150 | 0 | 0%
| Lightning arresters | Factory installed and wired | 850 | 0 | 0%
| Site-ready assembly | Mounting frame is complete with all recloser modules, PTs for power supply, lightning arresters and wildlife protection pre-mounted and pre-wired | 4025 | 0 | 0%
| Integrated visible disconnects |  | 0 | 0 | 0% | N/A
| Stand-alone control to retrofit to Cooper NOVA-TS Series |  | 0 | 0 | 0% | Additional information req'd
| Stand-alone control to retrofit to Cooper WVE/VWVE series |  | 0 | 0 | 0% | Additional information req'd
| Stand-alone control to retrofit to Cooper G&W Viper-ST series |  | 7000 | 0 | 0% | Estimate - depends on options selected
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0% | 1st year included. 1% of total order value per year to a maximum of 4 years.
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0% | N/A
Switches
Please copy this section and repeat for each proposed switch.
Model #: | VIP398ER-12-1-ST
Model name: | G&W Viper
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| 3-phase recloser | Base product: 38 kV | 31225 | 25+ | 10%
| Single phase recloser | Base product: 25 kV | 9010 | 25+ | 0%
| Installation tools |  | 0 | 0 | 0% | N/A
| 3 integral voltage sensors |  | 0 | 0 | 0% | Included in Base Bid
| 3 integral voltage sensors and 3 external PTs for voltage sensing on source and load side |  | 5670 | 0 | 0% | 35kV System (19,920/120V)
| 6 integral voltage sensors for sensing on source and load side |  | 2200 | 0 | 0% | 3 included in Base Bid
| External PT for power supply to control/relay | Mounted to frame | 2200 | 0 | 0% | 19,920/120V
| Wildlife protection |  | 150 | 0 | 0%
| Lightning arresters | Factory installed and wired | 850 | 0 | 0%
| Site-ready assembly | Mounting frame is complete with all recloser modules, PTs for power supply, lightning arresters and wildlife protection pre-mounted and pre-wired | 4025 | 0 | 0%
| Integrated visible disconnects |  | 0 | 0 | 0% | N/A
| Stand-alone control to retrofit to Cooper NOVA-TS Series |  | 0 | 0 | 0% | Additional information req'd
| Stand-alone control to retrofit to Cooper WVE/VWVE series |  | 0 | 0 | 0% | Additional information req'd
| Stand-alone control to retrofit to Cooper G&W Viper-ST series |  | 7000 | 0 | 0% | Estimate - depends on options selected
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0% | 1st year included. 1% of total order value per year to a maximum of 4 years.
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0% | N/A
Services
Please provide rates for services. Add a row for each additional service.
| Item | Rate |  |  |  | Vendor Comments
| Installation services (daily) | 1500 |  | $187.50/hr |  | Travel expenses + 10% extra
| Engineering services (daily) | 2000 |  | $250.00/hr |  | Travel expenses + 10% extra
| Training (daily) | 0 |  | Cost estimate for training | 0 | See Section 2 Information Regarding Proponent's Company 4.4.c, Product Support & Training.
Early Payment Discounts
Please indicate any discounts offered for early payment of invoices.
| Item | Discount |  |  |  | Vendor Comments
| Discount offered if invoice paid within 30 days | 0% |  |  |  | N/A
| Other discounts (add a row for each discount offered) | 0% |  |  |  | N/A
Additional Incidental Costs
Please indicate any costs not covered above
| Item | Price |  |  |  | Vendor Comments
| Travel time | 0 |  |  |  | N/A
| Mileage | 0 |  |  |  | N/A
Vendor Pricing Notes

## KA Factor
Algoma Power Inc.
Pricing Spreadsheet
RFI for SCADA-Capable Equipment # 2014-05I
Fault Circuit Indicators
Please copy this section and repeat for each proposed FCI.
Model #: | Navigator Fault indicators
Model name:
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| Fault circuit indicator | Base product | 0 | 0 | 0%
| User-replaceable battery |  | 0 | 0 | 0%
| Manual reset | External tool for manual reset | 0 | 0 | 0%
| Installation tools |  | 0 | 0 | 0%
| Integrated communication option (add a row for each option) | Provide cost for each integrated communication option that can be supplied at time of FCI purchase (per 5.1.8 e). | 0 | 0 | 0%
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0%
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
Recloser/Interrupter Packages
Please copy this section and repeat for each proposed recloser.
Model #:
Model name:
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| 3-phase recloser | Base product: 38 kV | 0 | 0 | 0%
| Single phase recloser | Base product: 25 kV | 0 | 0 | 0%
| Installation tools |  | 0 | 0 | 0%
| 3 integral voltage sensors |  | 0 | 0 | 0%
| 3 integral voltage sensors and 3 external PTs for voltage sensing on source and load side |  | 0 | 0 | 0%
| 6 integral voltage sensors for sensing on source and load side |  | 0 | 0 | 0%
| External PT for power supply to control/relay | Mounted to frame | 0 | 0 | 0%
| Wildlife protection |  | 0 | 0 | 0%
| Lightning arresters | Factory installed and wired | 0 | 0 | 0%
| Site-ready assembly | Mounting frame is complete with all recloser modules, PTs for power supply, lightning arresters and wildlife protection pre-mounted and pre-wired | 0 | 0 | 0%
| Integrated visible disconnects |  | 0 | 0 | 0%
| Stand-alone control to retrofit to Cooper NOVA-TS Series |  | 0 | 0 | 0%
| Stand-alone control to retrofit to Cooper WVE/VWVE series |  | 0 | 0 | 0%
| Stand-alone control to retrofit to Cooper G&W Viper-ST series |  | 0 | 0 | 0%
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0%
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
Switches
Please copy this section and repeat for each proposed switch.
Model #: | 38 KV AUTO GROUP OPERATED VECTOR
Model name: | APV984XFA-xxx
|  |  | U. S. Dollars | Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| Switch with auto controls and cabinet | Base product | 20925.14 | 0 | 0% | RTU NOT INCLUDED
| Voltage/current sensing |  | 3725.88 | 0 | 0% | Price per phase( include 2 volt. Sensors and 2 cables per phase)
| Current Sensing |  | 2866.06 | 0 | 0% | Price adder per switch
| Wildlife protection |  | N/A | 0 | 0% | N/A
| Control upgrade options (add a row for each option) | Upgrades that provide more than basic status/control functionality. | N/A | 0 | 0% | N/A
| Substation mounting (add a row for each option) | Provide pricing for each mounting option | N/A | 0 | 0% | N/A
| Options that reduce the costs of installation (add a row for each option) | For example, integral power modules that eliminate the need for an external power supply. | N/A | 0 | 0% | N/A
| Control/motor for SCADA integration |  |  | 0 | 0% | INCLUDED W/BASIC AUTO SWITCH
| Installation tools |  | 0 | 0 | 0%
| Switch with SEL-2411 RTU | Per 5.3.3 d) | 0 | 0 | 0%
| Switch with GE iBOX RTU | Per 5.3.3 d) | 1970.42 | 0 | 0%
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0%
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
| Components that may require periodic replacement (add a row for each item) | For each component listed in section 5.3.5 as requiring periodic replacement, please provide pricing. | 0 | 0 | 0%
Services
Please provide rates for services. Add a row for each additional service.
| Item | Rate |  |  |  | Vendor Comments
| Installation services | 0
| Engineering services | 0
| Training | 0 |  | Cost estimate for training | 0
Early Payment Discounts
Please indicate any discounts offered for early payment of invoices.
| Item | Discount |  |  |  | Vendor Comments
| Discount offered if invoice paid within 30 days | 0%
| Other discounts (add a row for each discount offered) | 0%
Additional Incidental Costs
Please indicate any costs not covered above
| Item | Price |  |  |  | Vendor Comments
| Travel time | 0
| Mileage | 0
Vendor Pricing Notes

## Schneider
Algoma Power Inc.
Pricing Spreadsheet
RFI for SCADA-Capable Equipment # 2014-05I
Fault Circuit Indicators
Please copy this section and repeat for each proposed FCI.
Model #:
Model name: | Easergy Flite 116-SA and G200 RTU
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| Fault circuit indicator | Base product | 375.0642 | 0 | 0%
| User-replaceable battery |  | 57.12 | 0 | 0% | (for a replacement battery)
| Manual reset | External tool for manual reset | 57.12 | 0 | 0%
| Installation tools | 20kV Hotstick (optional) | 2940 | 0 | 0%
Integrated communication option (add a row for each option)
| G200 RTU (RS232 Port) | RS232 Port for 3rd party comms | 2522.9524
| Solar G200 RTU (Integrated Cell Modem) | RTU with Integrated GSM or GPRS modem for use with solar panel (also a RS232 version) | 1638.28
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0% | For Sales to Decide
| Other options or accessories to address API's needs (add a row for each item) | Solar Panel for Solar G200 RTU | 1635 | 0 | 0%
Recloser/Interrupter Packages
Please copy this section and repeat for each proposed recloser.
Model #:
Model name: | N-Series and W-Series Reclosers
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| 3-phase recloser | Base product: 38 kV | 23500 | 5 | 10% | Model N-Green (No SF6)
| Single phase recloser | Base product: 25 kV | 11865 | 5 | 10% | Solid Dielectric Type
| Installation tools | TTS (Test&Training Set) | 4009 | 0 | 0%
| 3 integral voltage sensors |  | 0 | 0 | 0% | Included in Base Product
| 3 integral voltage sensors and 3 external PTs for voltage sensing on source and load side |  | 0 | 0 | 0% | Included in Base Product
| 6 integral voltage sensors for sensing on source and load side |  | 0 | 0 | 0% | Included in Base Product
| External PT for power supply to control/relay | Mounted to frame | 0 | 0 | 0% | Included in Base Product
| Wildlife protection |  | 0 | 0 | 0% | Included in Base Product
| Lightning arresters | Factory installed and wired | 0 | 0 | 0% | Bracket Included in Base Product
| Site-ready assembly | Mounting frame is complete with all recloser modules, PTs for power supply, lightning arresters and wildlife protection pre-mounted and pre-wired | 0 | 0 | 0%
| Integrated visible disconnects |  | 0 | 0 | 0% | N/A
| Stand-alone control to retrofit to Cooper NOVA-TS Series |  | 0 | 0 | 0% | N/A
| Stand-alone control to retrofit to Cooper WVE/VWVE series |  | 7280 | 5 | 10% | ADVC Controller
| Stand-alone control to retrofit to Cooper G&W Viper-ST series |  | 0 | 0 | 0% | N/A
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0% | N/A
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
Switches
Please copy this section and repeat for each proposed switch.
Model #:
Model name: | RL-Series Load Break Switch
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| Switch | Base product | 16900 | 5 | 10%
| Voltage/current sensing |  | 0 | 0 | 0% | Included in Base Product
| Wildlife protection |  | 0 | 0 | 0% | Included in Base Product
| Control upgrade options (add a row for each option) | Upgrades that provide more than basic status/control functionality. | 1115 | 5 | 10% | FTIM (Fast Trip Input Module)
|  | Upgrades that provide more than basic status/control functionality. | 1111.14 | 5 | 10% | IOEX (Input/output Expander Module)
| Substation mounting (add a row for each option) | Provide pricing for each mounting option | 0 | 0 | 0% | Pole Mounting
| Options that reduce the costs of installation (add a row for each option) | For example, integral power modules that eliminate the need for an external power supply. | 0 | 0 | 0%
| Control/motor for SCADA integration |  | 0 | 0 | 0% | included with the LBS
| Installation tools |  | 0 | 0 | 0%
| Switch with SEL-2411 RTU | Per 5.3.3 d) | 0 | 0 | 0% | N/A
| Switch with GE iBOX RTU | Per 5.3.3 d) | 0 | 0 | 0% | N/A
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0%
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
| Components that may require periodic replacement (add a row for each item) | For each component listed in section 5.3.5 as requiring periodic replacement, please provide pricing. | 0 | 0 | 0%
Services
Please provide rates for services. Add a row for each additional service.
| Item | Rate |  |  |  | Vendor Comments
| Installation services | 1. days is needed for installation | $1800/day
| Engineering services | 0
| Training | 1. days is needed for Training | $1800/day | 0 | 0
Early Payment Discounts
Please indicate any discounts offered for early payment of invoices.
| Item | Discount |  |  |  | Vendor Comments
| Discount offered if invoice paid within 30 days | 0%
| Other discounts (add a row for each discount offered) | 0%
Additional Incidental Costs
Please indicate any costs not covered above
| Item | Price |  |  |  | Vendor Comments
| Travel time | 0
| Mileage | 0
Vendor Pricing Notes

## Eaton Cooper
Algoma Power Inc.
Pricing Spreadsheet
RFI for SCADA-Capable Equipment # 2014-05I
Fault Circuit Indicators
Please copy this section and repeat for each proposed FCI.
Model #: | GCVT3G
Model name: | Grid Advisor Series II
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| Fault circuit indicator | Base product | 850 | 250 | 5%
|  |  |  | 500 | 10%
| User-replaceable battery |  | 0 | 0 | 0%
| Manual reset | External tool for manual reset | 50 | 0 | 0%
| Installation tools |  | 0 | 0 | 0% | N/A
| Integrated communication option (add a row for each option) | Provide cost for each integrated communication option that can be supplied at time of FCI purchase (per 5.1.8 e). | 0 | 0 | 0% | N/A
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0% | 5% per additional year
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
Recloser/Interrupter Packages
Please copy this section and repeat for each proposed recloser.
Model #: | KNSTS38
Model name: | Nova STS Recloser
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| 3-phase recloser | Base product: 38 kV | 24666.27 | 15 | 5%
| Single phase recloser | Base product: 25 kV | 5532.63 | 15 | 5%
| Installation tools |  | 0 | 0 | 0% | N/A
| 3 integral voltage sensors |  | 0 | 0 | 0% | Included
| 3 integral voltage sensors and 3 external PTs for voltage sensing on source and load side |  | 0 | 0 | 0% | Included
| 6 integral voltage sensors for sensing on source and load side |  | 0 | 0 | 0% | N/A
| External PT for power supply to control/relay | Mounted to frame | 0 | 0 | 0% | Included
| Wildlife protection |  | 0 | 0 | 0% | Included
| Lightning arresters | Factory installed and wired | 0 | 0 | 0% | Included
| Site-ready assembly | Mounting frame is complete with all recloser modules, PTs for power supply, lightning arresters and wildlife protection pre-mounted and pre-wired | 0 | 0 | 0% | Included
| Integrated visible disconnects |  | 0 | 0 | 0% | N/A
| Stand-alone control to retrofit to Cooper NOVA-TS Series |  | 6244.28 | 0 | 0%
| Stand-alone control to retrofit to Cooper WVE/VWVE series |  | 5882.28 | 0 | 0%
| Stand-alone control to retrofit to Cooper G&W Viper-ST series |  | 6244.28 | 0 | 0%
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0% | 3% per additional year of warranty
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
Switches
Please copy this section and repeat for each proposed switch.
Model #:
Model name:
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| Switch | Base product | 0 | 0 | 0%
| Voltage/current sensing |  | 0 | 0 | 0%
| Wildlife protection |  | 0 | 0 | 0%
| Control upgrade options (add a row for each option) | Upgrades that provide more than basic status/control functionality. | 0 | 0 | 0%
| Substation mounting (add a row for each option) | Provide pricing for each mounting option | 0 | 0 | 0%
| Options that reduce the costs of installation (add a row for each option) | For example, integral power modules that eliminate the need for an external power supply. | 0 | 0 | 0%
| Control/motor for SCADA integration |  | 0 | 0 | 0%
| Installation tools |  | 0 | 0 | 0%
| Switch with SEL-2411 RTU | Per 5.3.3 d) | 0 | 0 | 0%
| Switch with GE iBOX RTU | Per 5.3.3 d) | 0 | 0 | 0%
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0%
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
| Components that may require periodic replacement (add a row for each item) | For each component listed in section 5.3.5 as requiring periodic replacement, please provide pricing. | 0 | 0 | 0%
Services
Please provide rates for services. Add a row for each additional service.
| Item | Rate |  |  |  | Vendor Comments
| Installation services | 0
| Engineering services | 0 |  |  |  | Available upon request for custom quote based on services required.
| Training | 0 |  | Cost estimate for training | 0 | Included at no charge
Early Payment Discounts
Please indicate any discounts offered for early payment of invoices.
| Item | Discount |  |  |  | Vendor Comments
| Discount offered if invoice paid within 30 days | 0%
| Other discounts (add a row for each discount offered) | 0%
Additional Incidental Costs
Please indicate any costs not covered above
| Item | Price |  |  |  | Vendor Comments
| Travel time | 0
| Mileage | 0
Vendor Pricing Notes
Prices are quoted firm in CDN $ for 30 days acceptance. Prices were calculated using an exchange rate of .89. Any future price adjustments would be based on current exchange rate.

## Thomas & Betts (T&B)
Algoma Power Inc.
Pricing Spreadsheet
RFI for SCADA-Capable Equipment # 2014-05I
Fault Circuit Indicators
Please copy this section and repeat for each proposed FCI.
Model #: | 1548FH
Model name: | Fisher Pierce 1548 Series FCI
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| Fault circuit indicator | Base product | 235 | 120 | 5% | The price indicated is for a single phase unit and includes radio transmitter option for SCADA capability. In the case of a three phase installation a PHASE A, PHASE B & PHASE C are required and each is the at the unit price noted to the left. The model of the 1548 Series FCI will be determined at the time of application and purchase as the unit can be equipped with various features and functions that is not defined at this time. The price for these features and functions will not affect the price od the unit.
| User-replaceable battery |  | 30 | 120 | 5% | Lithium batteries have a 10 year operational and shelf life.
| Manual reset | External tool for manual reset | 85 | 0 | 0%
| Installation tools |  | N/A | 0 | 0% | No installation tools are required for the proposed 1548 Series FCI.
| Integrated communication option (add a row for each option) | Provide cost for each integrated communication option that can be supplied at time of FCI purchase (per 5.1.8 e). | 1100 | 10 | 5% | The price indicated is for the SmartLink 5000 Cellular RTU only and does not incude the communications and data fees that is associated with transmission of the data of the RTU. Please see the "SL5000 Data Plans & Pricing" tabs for additional details. One Smartlink 5000 RTU is capable of handling up to four of the 1548 Series FCI's that are located within 100 to 150 feet "line-of-sight" of the RTU.
| Extended warranty (add a row for each warranty period) |  | N/A | 0 | 0% | The proposed FCI and RTU comes with a standard two (2) year warranty and we are not offering an extended warranty on the proposed products at this time.
| Other options or accessories to address API's needs (add a row for each item) |  | N/A | 0 | 0% | No other options or accessories are offer at this time.
Recloser/Interrupter Packages
Please copy this section and repeat for each proposed recloser.
Model #: | MVR3-38-12-N2-00862 (3-Phase)
Model name: | Elastimold Model MVR (Molded Vacuum Recloser)
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| 3-phase recloser | Base product: 38 kV | 23700 | 5 | 3% | Please refere to the "3-phase MVR BOM" tab for details of options & features included in this price.
| Single phase recloser | Base product: 25 kV | 8000 | 5 | 2% | Please refere to the "1-phase MVR BOM" tab for details of options & features included in this price.
| Installation tools |  | 0 | 0 | 0% | No installation tools are required for the MVR recloser.
| 3 integral voltage sensors |  | N/A | 0 | 0% | Loadside voltage sensors are always included as astandard option with the MVR recloser.
| 3 integral voltage sensors and 3 external PTs for voltage sensing on source and load side |  | N/A | 0 | 0% | Three loadside voltage sensors are always included with the MVR recloser as noted above, but we do not offer PT's for source side voltage monitoring rather external sensors that can be added at a later date, see next line for details.
| 6 integral voltage sensors for sensing on source and load side |  | 1000 | 0 | 0% | The price is indicated only for the source side voltage sensors that can be added at a later date when required.
| External PT for power supply to control/relay | Mounted to frame | 1000 | 0 | 0% | In the case of the 3-phase recloser above, this PT is inlcuded in the price of the base unit.
| Wildlife protection |  | 130 | 0 | 0% | In the case of the 3-phase recloser above, widlife protection is included in the price of the base unit.
| Lightning arresters | Factory installed and wired | N/A | 0 | 0% | The supply of the actual surge arresters is outside of the scope of T&B's supply and will be installed by the end-user.
| Site-ready assembly | Mounting frame is complete with all recloser modules, PTs for power supply, lightning arresters and wildlife protection pre-mounted and pre-wired | 900 | 0 | 0% | In the case of the 3-phase recloser above, the noted mounting frame is included in the price of the base unit.
| Integrated visible disconnects |  | N/A | 0 | 0% | There is no option available from Thomas & Betts for integrated visible isolating disconnect switches into the package and as such will have to be supplied by the end user.
| Stand-alone control to retrofit to Cooper NOVA-TS Series |  | N/A | 0 | 0% | Unfortunately we are unable to price SEL controls as separate items for either our own MVR recloser or the competition's recloser since controls are provided to T&B on a OEM basis as part of our recloser offering and per the OEM agreement we cannot sell the controls on an individual basis.
| Stand-alone control to retrofit to Cooper WVE/VWVE series |  | N/A | 0 | 0% | Unfortunately we are unable to price SEL controls as separate items for either our own MVR recloser or the competition's recloser since controls are provided to T&B on a OEM basis as part of our recloser offering and per the OEM agreement we cannot sell the controls on an individual basis.
| Stand-alone control to retrofit to Cooper G&W Viper-ST series |  | N/A | 0 | 0% | Unfortunately we are unable to price SEL controls as separate items for either our own MVR recloser or the competition's recloser since controls are provided to T&B on a OEM basis as part of our recloser offering and per the OEM agreement we cannot sell the controls on an individual basis.
| Extended warranty (add a row for each warranty period) |  | N/A | 0 | 0% | The proposed MVR comes with a standard three (3) year warranty and we are not offering an extended warranty on the proposed MVR recloser at this time.
| Other options or accessories to address API's needs (add a row for each item) |  | N/A | 0 | 0% | Please refer to the BOM tabs for the proposed 3-Phase and single phase MVR reclosers to see what options and accessories are included in the price of each recloser. Any additional accessories that may or may not be required can be added or removed at the time the application is defined.
Switches
Please copy this section and repeat for each proposed switch.
Model #: | NO PRODUCT IS OFFER FOR THIS SECTION
Model name:
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| Switch | Base product | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
| Voltage/current sensing |  | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
| Wildlife protection |  | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
| Control upgrade options (add a row for each option) | Upgrades that provide more than basic status/control functionality. | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
| Substation mounting (add a row for each option) | Provide pricing for each mounting option | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
| Options that reduce the costs of installation (add a row for each option) | For example, integral power modules that eliminate the need for an external power supply. | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
| Control/motor for SCADA integration |  | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
| Installation tools |  | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
| Switch with SEL-2411 RTU | Per 5.3.3 d) | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
| Switch with GE iBOX RTU | Per 5.3.3 d) | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
| Components that may require periodic replacement (add a row for each item) | For each component listed in section 5.3.5 as requiring periodic replacement, please provide pricing. | 0 | 0 | 0% | NO PRODUCT IS OFFER FOR THIS SECTION
Services
Please provide rates for services. Add a row for each additional service.
| Item | Rate |  |  |  | Vendor Comments
| Installation services | N/A |  |  |  | The supply any installation services is outside of the scope of T&B's supply.
| Engineering services | N/A |  |  |  | The supply any engineering services is outside of the scope of T&B's supply.
| Training | N/A |  | Cost estimate for training | 3500 | The cost provided for the training will cover two days of training on the proposed products over a standard eigth (8) hour period per day.
Early Payment Discounts
Please indicate any discounts offered for early payment of invoices.
| Item | Discount |  |  |  | Vendor Comments
| Discount offered if invoice paid within 30 days | 0%
| Other discounts (add a row for each discount offered) | 0%
Additional Incidental Costs
Please indicate any costs not covered above
| Item | Price |  |  |  | Vendor Comments
| Travel time | 0
| Mileage | 0
Vendor Pricing Notes
The prices that have been proposed are net, exclusive of all taxes in Canadian funds. The FOB point related to the prices quoted will be to Sault Ste. Marie, Ontario, Canada.
The prices quoted will also remain firm for a period of ninety (90) days from closing date of the RFI.

## Imcom
Algoma Power Inc.
Pricing Spreadsheet
RFI for SCADA-Capable Equipment # 2014-05I
Fault Circuit Indicators
Please copy this section and repeat for each proposed FCI.
Model #: | GS200/GS250
Model name: | GS200/GS250
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| GS200 Cellular | GS200 Cellualr | 1409.09 | 1 - 300 | 0% | FOB Dayton Ohio, Quote valid for 30 day starting Febuary 28, 2014
| GS200 Wifi | GS200 Wifi | 1516.85 | 1 - 300 |  | FOB Dayton Ohio, Quote valid for 30 day starting Febuary 28, 2015
| GS250 Cellular | GS250 Cellular | 1474.3 | 1 - 300 |  | FOB Dayton Ohio, Quote valid for 30 day starting Febuary 28, 2016
| GS250 Wifi | GS250 Wifi | 1587 | 1 - 300 |  | FOB Dayton Ohio, Quote valid for 30 day starting Febuary 28, 2017
| User-replaceable battery |  | 0 | 0 | 0%
| Manual reset | External tool for manual reset | 0 | 0 | 0%
| Installation tools |  | 0 | 0 | 0%
| Integrated communication option (add a row for each option) | Provide cost for each integrated communication option that can be supplied at time of FCI purchase (per 5.1.8 e). | 0 | 0 | 0%
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0%
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
Recloser/Interrupter Packages
Please copy this section and repeat for each proposed recloser.
Model #:
Model name:
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| 3-phase recloser | Base product: 38 kV | 0 | 0 | 0%
| Single phase recloser | Base product: 25 kV | 0 | 0 | 0%
| Installation tools |  | 0 | 0 | 0%
| 3 integral voltage sensors |  | 0 | 0 | 0%
| 3 integral voltage sensors and 3 external PTs for voltage sensing on source and load side |  | 0 | 0 | 0%
| 6 integral voltage sensors for sensing on source and load side |  | 0 | 0 | 0%
| External PT for power supply to control/relay | Mounted to frame | 0 | 0 | 0%
| Wildlife protection |  | 0 | 0 | 0%
| Lightning arresters | Factory installed and wired | 0 | 0 | 0%
| Site-ready assembly | Mounting frame is complete with all recloser modules, PTs for power supply, lightning arresters and wildlife protection pre-mounted and pre-wired | 0 | 0 | 0%
| Integrated visible disconnects |  | 0 | 0 | 0%
| Stand-alone control to retrofit to Cooper NOVA-TS Series |  | 0 | 0 | 0%
| Stand-alone control to retrofit to Cooper WVE/VWVE series |  | 0 | 0 | 0%
| Stand-alone control to retrofit to Cooper G&W Viper-ST series |  | 0 | 0 | 0%
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0%
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
Switches
Please copy this section and repeat for each proposed switch.
Model #:
Model name:
Volume-Based Discount
| Item | Description | Unit Price | Volume | Discount | Vendor Comments
| Switch | Base product | 0 | 0 | 0%
| Voltage/current sensing |  | 0 | 0 | 0%
| Wildlife protection |  | 0 | 0 | 0%
| Control upgrade options (add a row for each option) | Upgrades that provide more than basic status/control functionality. | 0 | 0 | 0%
| Substation mounting (add a row for each option) | Provide pricing for each mounting option | 0 | 0 | 0%
| Options that reduce the costs of installation (add a row for each option) | For example, integral power modules that eliminate the need for an external power supply. | 0 | 0 | 0%
| Control/motor for SCADA integration |  | 0 | 0 | 0%
| Installation tools |  | 0 | 0 | 0%
| Switch with SEL-2411 RTU | Per 5.3.3 d) | 0 | 0 | 0%
| Switch with GE iBOX RTU | Per 5.3.3 d) | 0 | 0 | 0%
| Extended warranty (add a row for each warranty period) |  | 0 | 0 | 0%
| Other options or accessories to address API's needs (add a row for each item) |  | 0 | 0 | 0%
| Components that may require periodic replacement (add a row for each item) | For each component listed in section 5.3.5 as requiring periodic replacement, please provide pricing. | 0 | 0 | 0%
Services
Please provide rates for services. Add a row for each additional service.
| Item | Rate |  |  |  | Vendor Comments
| Installation services | 0
| Engineering services | 0
| Training | 0 |  | Cost estimate for training | 0
Early Payment Discounts
Please indicate any discounts offered for early payment of invoices.
| Item | Discount |  |  |  | Vendor Comments
| Discount offered if invoice paid within 30 days | 0%
| Other discounts (add a row for each discount offered) | 0%
Additional Incidental Costs
Please indicate any costs not covered above
| Item | Price |  |  |  | Vendor Comments
| Travel time | 0
| Mileage | 0
Vendor Pricing Notes
FOB Dayton Ohio, Quote valid for 30 day starting Febuary 28, 2014