Bluewater Power Distribution Corporation (“Bluewater Power”)

EB-2014-0057

Application Analysis

- Sheet 14 – RTSR RRR Data

A portion of Sheet 14 is reproduced below.

Board staff is unable to reconcile the non-loss  adjusted metered kWh and kW for the “General Service 50 to 999 kW”, “General Service 1,000 to 4,999 kW” and “Large Use” rate classes with Bluewater Power’s 2.1.5 RRR Report for 2013.  Please provide evidence supporting these amounts.  If necessary, Board staff will make the corrections.

Bluewater:

There are 2 main differences between RRR table 2.1.5, and Sheet 14 of the IRM model:  1)  The RRR schedule 2.1.5 groups together all the General Service > 50 kW rate classes, whereas Sheet 14 of the IRM model separates them into General Service 50-999 kW and General Service 1000-4999 kW, and 2) The RRR schedule 2.1.5 separates the Wholesale Market Participants as a separate row, whereas Sheet 14 does not warrant separation of the WMP’s data.

See attached spreadsheet for reconciliation.

- Sheet 25 – Other Charges & LF

A portion of Sheet 25 is reproduced below.

Board staff notes that the description for “Disconnect/Reconnect at pole – after regular hours” does not match Bluewater Power’s current Tariff of Rates and Charges.  Staff believes the correct description is “Disconnect/Reconnect at meter – after regular hours”.   If Bluewater Power is in agreement, Board staff will make the relevant correction.

Bluewater:  You are correct; the Disconnect/Reconnect after hours should be ‘at meter’.  Please update.  Thanks.