Union Gas Limited 2008 Storage Enhancement Project

Application for Order Varying Conditions of Approval

EB-2008-0038

Draft Condition Proposed by Board Staff

June 6, 2008

Union Gas Limited shall not operate the storage pool above a pressure representing a pressure gradient of 0.73 psi per foot of depth without leave of the Board. Union Gas Limited shall file engineering and geological study in support of any leave application.