## Low Income 2016
| Units | Total Annual Gas Savings (m3) | Total Cumulative Gas Savings (m3) | Input Assumptions | [5 empty] | Input Assumptions Source
Measure/Offering | 2016 | 2016 | 2016 | Equipment Life | Free Rider Rate | Adjustment Factor | Natural Gas Savings (m3) per unit | Average Capacity per unit | Natural Gas Savings (m3) per capacity | Equipment Life | Free Rider Rate | Adjustment Factor | Natural Gas Savings (m3) per unit | Average Capacity per unit | Natural Gas Savings (m3) per capacity
Single Family
Home Weatherization - Municipal | 280 | 163833.6 | 4095840 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Independent | 80 | 46809.6 | 1170240 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Private | 900 | 1079298 | 26982450 | 25 | 0% | 100% | 1199.22 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Aboriginal | 0 | 0 | 0 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Furnace Replacement in Weatherized Homes | 36.6 | 4721.4 | 84985.2 | 18 | 0% | 100% | 129 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Exhibit A, Tab 3, Appendix D
Furnace Replacement in Non-Weatherized Homes | 680 | 87720 | 1578960 | 18 | 0% | 100% | 129 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Exhibit A, Tab 3, Appendix D
Attic Weatherization | 90 | 17550 | 438750 | 25 | 0% | 100% | 195 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Multi-Family
Condensing Gas Water Heater (1,000gal/day)- 95% thermal efficiency - New/Existing | 1 | 1473.45 | 19154.85 | 13 | 5% | 100% | 1551 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Exhibit A, Tab 3, Appendix D
HRV - Multi Family, Health Care, Nursing - Ventilation with HRV - Retrofit | 25 | 173683.75 | 2431572.5 | 14 | 5% | 100% | 7313 | 1555.9574 | 4.7 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs >1000 -4999 cfm--New/Existing | 55 | 161557 | 2423355 | 15 | 5% | 100% | 3092 | 1058.9041 | 2.92 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs ≥ 5000 cfm ¹⁵--New/Existing | 14 | 237484.8 | 3562272 | 15 | 5% | 100% | 17856 | 6115.0685 | 2.92 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - DHW (300 to 599 Mbtu/h)-90% or greater AFUE-New/Existing | 3 | 8835 | 220875 | 25 | 5% | 100% | 3100 | 421768.7075 | 0.00735 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Estimate, based on third party research
Condensing Boiler - DHW (> 1000 Mbtu/h)-90% or greater AFUE-New/Existing | 1 | 9241.6 | 231040 | 25 | 5% | 100% | 9728 | 1510559.0062 | 0.00644 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Estimate, based on third party research
Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-Existing | 12 | 26402.4 | 660060 | 25 | 5% | 100% | 2316 | 227281.6487 | 0.01019 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 300 to 599 MBTUH-88% seasonal efficiency-New/Existing | 20 | 77216 | 1930400 | 25 | 5% | 100% | 4064 | 390769.2308 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 600 to 999 MBTUH-88% seasonal efficiency-New/Existing | 3 | 29070 | 726750 | 25 | 5% | 100% | 10200 | 980769.2308 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 1,000 and above MBTUH-88% seasonal efficiency-New/Existing | 2 | 23408 | 585200 | 25 | 5% | 100% | 12320 | 1184615.3846 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Custom | 42 | 258845.4 | 4350993 | 16.8092 | 5% | 100% | 6487.3534 |  |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Total |  | 2407150 | 51492897.55

## Low Income 2017
| Units | Total Annual Gas Savings (m3) | Total Cumulative Gas Savings (m3) | Input Assumptions | [5 empty] | Input Assumptions Source
Measure/Offering | 2017 | 2017 | 2017 | Equipment Life | Free Rider Rate | Adjustment Factor | Natural Gas Savings (m3) per unit | Average Capacity per unit | Natural Gas Savings (m3) per capacity | Equipment Life | Free Rider Rate | Adjustment Factor | Natural Gas Savings (m3) per unit | Average Capacity per unit | Natural Gas Savings (m3) per capacity
Single Family
Home Weatherization - Municipal | 0 | 0 | 0 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Independent | 80 | 46809.6 | 1170240 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Private | 990 | 1187227.8 | 29680695 | 25 | 0% | 100% | 1199.22 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Aboriginal | 94 | 55001.28 | 1375032 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Furnace Replacement in Weatherized Homes | 321.6 | 41486.4 | 746755.2 | 18 | 0% | 100% | 129 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Exhibit A, Tab 3, Appendix D
Furnace Replacement in Non-Weatherized Homes | 404 | 52116 | 938088 | 18 | 0% | 100% | 129 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Exhibit A, Tab 3, Appendix D
Attic Weatherization - Private | 99 | 19305 | 482625 | 25 | 0% | 100% | 195 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Attic Weatherization - Aboriginal | 5 | 350 | 8750 | 25 | 0% | 100% | 70 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Multi-Family
Condensing Gas Water Heater (1,000gal/day)- 95% thermal efficiency - New/Existing | 1 | 1473.45 | 19154.85 | 13 | 5% | 100% | 1551 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Exhibit A, Tab 3, Appendix D
HRV - Multi Family, Health Care, Nursing - Ventilation with HRV - Retrofit | 11 | 75294.2857 | 1054120 | 14 | 5% | 100% | 7205.1948 | 1533.0202 | 4.7 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs >1000 -4999 cfm--New/Existing | 59 | 174170.6693 | 2612560.04 | 15 | 5% | 100% | 3107.416 | 1064.1836 | 2.92 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs ≥ 5000 cfm ¹⁵--New/Existing | 13 | 225821.3333 | 3387320 | 15 | 5% | 100% | 18285.1282 | 6262.0302 | 2.92 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - DHW (200 to 299 Mbtu/h)-90% or greater AFUE-Existing | 10 | 20492.64 | 512316 | 25 | 5% | 100% | 2157.12 | 216578.3133 | 0.00996 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - DHW (300 to 599 Mbtu/h)-90% or greater AFUE-New/Existing | 5 | 15937.094 | 398427.35 | 25 | 5% | 100% | 3355.1777 | 456486.7598 | 0.00735 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Estimate, based on third party research
Condensing Boiler - DHW (> 1000 Mbtu/h)-90% or greater AFUE-New/Existing | 4 | 32720.2688 | 818006.72 | 25 | 5% | 100% | 8610.5971 | 1337049.2318 | 0.00644 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Estimate, based on third party research
Condensing Boiler - Space Heating (100 to 199 Mbtu/h)-90% AFUE-Existing | 11 | 16467.2544 | 411681.36 | 25 | 5% | 100% | 1575.8138 | 154643.1617 | 0.01019 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-Existing | 24 | 50790.3906 | 1269759.766 | 25 | 5% | 100% | 2227.6487 | 218611.2573 | 0.01019 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 300 to 599 MBTUH-88% seasonal efficiency-New/Existing | 9 | 34230.4 | 855760 | 25 | 5% | 100% | 4003.5556 | 384957.265 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 600 to 999 MBTUH-88% seasonal efficiency-New/Existing | 5 | 41080.3342 | 1027008.355 | 25 | 5% | 100% | 8648.4914 | 831585.7126 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 1,000 and above MBTUH-88% seasonal efficiency-New/Existing | 3 | 37939.2 | 948480 | 25 | 5% | 100% | 13312 | 1280000 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Custom | 55 | 337956.7503 | 5680794.23 | 16.8092 | 5% | 100% | 6468.0718 |  |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Total |  | 2466670.1507 | 53397573.871

## Low Income 2018
| Units | Total Annual Gas Savings (m3) | Total Cumulative Gas Savings (m3) | Input Assumptions | [5 empty] | Input Assumptions Source
Measure/Offering | 2018 | 2018 | 2018 | Equipment Life | Free Rider Rate | Adjustment Factor | Natural Gas Savings (m3) per unit | Average Capacity per unit | Natural Gas Savings (m3) per capacity | Equipment Life | Free Rider Rate | Adjustment Factor | Natural Gas Savings (m3) per unit | Average Capacity per unit | Natural Gas Savings (m3) per capacity
Single Family
Home Weatherization - Municipal | 0 | 0 | 0 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Independent | 80 | 46809.6 | 1170240 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Private | 1090 | 1307149.8 | 32678745 | 25 | 0% | 100% | 1199.22 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Aboriginal | 101 | 59097.12 | 1477428 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Furnace Replacement in Weatherized Homes | 21.6 | 2786.4 | 50155.2 | 18 | 0% | 100% | 129 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Exhibit A, Tab 3, Appendix D
Furnace Replacement in Non-Weatherized Homes | 709 | 91461 | 1646298 | 18 | 0% | 100% | 129 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Exhibit A, Tab 3, Appendix D
Attic Weatherization - Private | 109 | 21255 | 531375 | 25 | 0% | 100% | 195 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Attic Weatherization - Aboriginal | 5 | 350 | 8750 | 25 | 0% | 100% | 70 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Multi-Family
HRV - Multi Family, Health Care, Nursing - Ventilation with HRV - Retrofit | 27 | 183865.7143 | 2574120 | 14 | 5% | 100% | 7168.254 | 1525.1604 | 4.7 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs >1000 -4999 cfm--New/Existing | 50 | 152000 | 2280000 | 15 | 5% | 100% | 3200 | 1095.8904 | 2.92 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs ≥ 5000 cfm ¹⁵--New/Existing | 7 | 119421.3333 | 1791320 | 15 | 5% | 100% | 17958.0952 | 6150.0326 | 2.92 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - DHW (200 to 299 Mbtu/h)-90% or greater AFUE-Existing | 3 | 7752 | 193800 | 25 | 5% | 100% | 2720 | 273092.3695 | 0.00996 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - DHW (300 to 599 Mbtu/h)-90% or greater AFUE-New/Existing | 7 | 20132.28 | 503307 | 25 | 5% | 100% | 3027.4105 | 411892.5886 | 0.00735 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Estimate, based on third party research
Condensing Boiler - DHW (> 1000 Mbtu/h)-90% or greater AFUE-New/Existing | 5 | 43360.28 | 1084007 | 25 | 5% | 100% | 9128.48 | 1417465.8385 | 0.00644 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Estimate, based on third party research
Condensing Boiler - Space Heating (< 100 Mbtu/h)-90% AFUE-Existing | 5 | 4238.4615 | 110200 | 26 | 5% | 100% | 892.3077 | 87566.9963 | 0.01019 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - Space Heating (100 to 199 Mbtu/h)-90% AFUE-Existing | 4 | 6080 | 152000 | 25 | 5% | 100% | 1600 | 157016.683 | 0.01019 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-Existing | 10 | 20208 | 505200 | 25 | 5% | 100% | 2127.1579 | 208749.5481 | 0.01019 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 300 to 599 MBTUH-88% seasonal efficiency-New/Existing | 9 | 33441.04 | 836026 | 25 | 5% | 100% | 3911.2327 | 376080.072 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 600 to 999 MBTUH-88% seasonal efficiency-New/Existing | 7 | 55489.92 | 1387248 | 25 | 5% | 100% | 8344.3489 | 802341.2377 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 1,000 and above MBTUH-88% seasonal efficiency-New/Existing | 3 | 37939.2 | 948480 | 25 | 5% | 100% | 13312 | 1280000 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Custom | 57 | 355688.7161 | 5978855 | 16.8092 | 5% | 100% | 6568.582 |  |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Total |  | 2568525.8653 | 55907554.2

## Low Income 2019
| Units | Total Annual Gas Savings (m3) | Total Cumulative Gas Savings (m3) | Input Assumptions | [5 empty] | Input Assumptions Source
Measure/Offering | 2019 | 2019 | 2019 | Equipment Life | Free Rider Rate | Adjustment Factor | Natural Gas Savings (m3) per unit | Average Capacity per unit | Natural Gas Savings (m3) per capacity | Equipment Life | Free Rider Rate | Adjustment Factor | Natural Gas Savings (m3) per unit | Average Capacity per unit | Natural Gas Savings (m3) per capacity
Single Family
Home Weatherization - Municipal | 0 | 0 | 0 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Independent | 80 | 46809.6 | 1170240 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Private | 1177 | 1411481.94 | 35287048.5 | 25 | 0% | 100% | 1199.22 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Aboriginal | 100 | 58512 | 1462800 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Furnace Replacement in Weatherized Homes | 24.8 | 3199.2 | 57585.6 | 18 | 0% | 100% | 129 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Exhibit A, Tab 3, Appendix D
Furnace Replacement in Non-Weatherized Homes | 634 | 81786 | 1472148 | 18 | 0% | 100% | 129 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Exhibit A, Tab 3, Appendix D
Attic Weatherization - Private | 118 | 23010 | 575250 | 25 | 0% | 100% | 195 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Attic Weatherization - Aboriginal | 5 | 350 | 8750 | 25 | 0% | 100% | 70 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Multi-Family
HRV - Multi Family, Health Care, Nursing - Ventilation with HRV - Retrofit | 11 | 73651.5714 | 1031122 | 14 | 5% | 100% | 7047.9973 | 1499.5739 | 4.7 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs >1000 -4999 cfm--New/Existing | 70 | 394612.2667 | 5919184 | 15 | 5% | 100% | 5934.019 | 2032.1983 | 2.92 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs ≥ 5000 cfm ¹⁵--New/Existing | 15 | 254350.8 | 3815262 | 15 | 5% | 100% | 17849.1789 | 6112.7325 | 2.92 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - DHW (200 to 299 Mbtu/h)-90% or greater AFUE-Existing | 3 | 7296 | 182400 | 25 | 5% | 100% | 2560 | 257028.1124 | 0.00996 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - DHW (300 to 599 Mbtu/h)-90% or greater AFUE-New/Existing | 6 | 17092.28 | 427307 | 25 | 5% | 100% | 2998.6456 | 407978.9951 | 0.00735 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Estimate, based on third party research
Condensing Boiler - DHW (> 1000 Mbtu/h)-90% or greater AFUE-New/Existing | 1 | 9920.28 | 248007 | 25 | 5% | 100% | 10442.4 | 1621490.6832 | 0.00644 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Estimate, based on third party research
Condensing Boiler - Space Heating (100 to 199 Mbtu/h)-90% AFUE-Existing | 5 | 6992 | 174800 | 25 | 5% | 100% | 1472 | 144455.3484 | 0.01019 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-Existing | 6 | 13064 | 326600 | 25 | 5% | 100% | 2291.9298 | 224919.5117 | 0.01019 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 300 to 599 MBTUH-88% seasonal efficiency-New/Existing | 6 | 24320 | 608000 | 25 | 5% | 100% | 4266.6667 | 410256.4103 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 600 to 999 MBTUH-88% seasonal efficiency-New/Existing | 4 | 28129.92 | 703248 | 25 | 5% | 100% | 7402.6105 | 711789.4737 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 1,000 and above MBTUH-88% seasonal efficiency-New/Existing | 3 | 37939.2 | 948480 | 25 | 5% | 100% | 13312 | 1280000 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Custom | 52 | 335965.9419 | 5644227.672 | 16.8 | 5% | 100% | 6800.93 |  |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Total |  | 2828483 | 60062459.772

## Low Income 2020
| Units | Total Annual Gas Savings (m3) | Total Cumulative Gas Savings (m3) | Input Assumptions | [5 empty] | Input Assumptions Source
Measure/Offering | 2020 | 2020 | 2020 | Equipment Life | Free Rider Rate | Adjustment Factor | Natural Gas Savings (m3) per unit | Average Capacity per unit | Natural Gas Savings (m3) per capacity | Equipment Life | Free Rider Rate | Adjustment Factor | Natural Gas Savings (m3) per unit | Average Capacity per unit | Natural Gas Savings (m3) per capacity
Single Family
Home Weatherization - Municipal | 0 | 0 | 0 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Independent | 80 | 46809.6 | 1170240 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Private | 1224 | 1467845.28 | 36696132 | 25 | 0% | 100% | 1199.22 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Home Weatherization - Aboriginal | 101 | 59097.12 | 1477428 | 25 | 0% | 100% | 585.12 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Furnace Replacement in Weatherized Homes | 27.2 | 3508.8 | 63158.4 | 18 | 0% | 100% | 129 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Exhibit A, Tab 3, Appendix D
Furnace Replacement in Non-Weatherized Homes | 529 | 68241 | 1228338 | 18 | 0% | 100% | 129 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Exhibit A, Tab 3, Appendix D
Attic Weatherization - Private | 122 | 23790 | 594750 | 25 | 0% | 100% | 195 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Attic Weatherization - Aboriginal | 5 | 350 | 8750 | 25 | 0% | 100% | 70 |  |  | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Multi-Family
HRV - Multi Family, Health Care, Nursing - Ventilation with HRV - Retrofit | 10 | 64437.1429 | 902120 | 14 | 5% | 100% | 6782.8571 | 1443.1611 | 4.7 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs >1000 -4999 cfm--New/Existing | 66 | 369278.9333 | 5539184 | 15 | 5% | 100% | 5889.6162 | 2016.9918 | 2.92 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs ≥ 5000 cfm ¹⁵--New/Existing | 15 | 259109.3333 | 3886640 | 15 | 5% | 100% | 18183.1111 | 6227.0928 | 2.92 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - DHW (300 to 599 Mbtu/h)-90% or greater AFUE-New/Existing | 7 | 20132.28 | 503307 | 25 | 5% | 100% | 3027.4105 | 411892.5886 | 0.00735 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Estimate, based on third party research
Condensing Boiler - DHW (> 1000 Mbtu/h)-90% or greater AFUE-New/Existing | 1 | 9920.28 | 248007 | 25 | 5% | 100% | 10442.4 | 1621490.6832 | 0.00644 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Estimate, based on third party research
Condensing Boiler - Space Heating (100 to 199 Mbtu/h)-90% AFUE-Existing | 3 | 4560 | 114000 | 25 | 5% | 100% | 1600 | 157016.683 | 0.01019 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-Existing | 3 | 7440 | 186000 | 25 | 5% | 100% | 2610.5263 | 256185.1144 | 0.01019 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 300 to 599 MBTUH-88% seasonal efficiency-New/Existing | 6 | 24320 | 608000 | 25 | 5% | 100% | 4266.6667 | 410256.4103 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 600 to 999 MBTUH-88% seasonal efficiency-New/Existing | 4 | 28129.92 | 703248 | 25 | 5% | 100% | 7402.6105 | 711789.4737 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Condensing Boilers - Space Heating, 1,000 and above MBTUH-88% seasonal efficiency-New/Existing | 3 | 37939.2 | 948480 | 25 | 5% | 100% | 13312 | 1280000 | 0.0104 | Exhibit A, Tab 3, Appendix D | Exhibit A, Tab 3, Appendix D | Not Applicable |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D
Custom | 58 | 366366.1105 | 6385227 | 17.4285 | 5% | 100% | 6649.1127 |  |  | Estimate, based on results and forecasts | Exhibit A, Tab 3, Appendix D | Not Applicable | Estimate, based on results and forecasts
Total |  | 2861275 | 61263009.4