## 2010 Avoided Costs (hidden)
2010 AVOIDED COSTS
|  | Inflation Factor |  | 1.9%
|  | Discount Rate |  | 10%
| Gas Avoided Costs | [6 empty] | Water and Electricity Avoided Costs
|  | Residential/Commercial |  |  |  | Industrial |  |  | Residential/Commercial/Industrial
|  | Baseload (m3) |  | Weather-Sensitive (m3) |  | Baseload (m3) |  |  | Water (m3) |  | Electricity (kWh)
|  | Rate | NPV | Rate | NPV | Rate | NPV |  | Rate | NPV | Rate | NPV
| 1 | 0.28805 | 0.28805 | 0.29045 | 0.29045 | 0.27964 | 0.27964 | 1 | 1.9125 | 1.9125 | 0.083252 | 0.083252
| 2 | 0.32765 | 0.58591 | 0.33207 | 0.59233 | 0.31775 | 0.5685 | 2 | 1.9488 | 3.6842 | 0.084834 | 0.16037
| 3 | 0.3345 | 0.86236 | 0.34036 | 0.87362 | 0.326 | 0.83793 | 3 | 1.9859 | 5.3254 | 0.086446 | 0.23182
| 4 | 0.34086 | 1.1184 | 0.34683 | 1.1342 | 0.33219 | 1.0875 | 4 | 2.0236 | 6.8457 | 0.088088 | 0.298
| 5 | 0.34733 | 1.3557 | 0.35342 | 1.3756 | 0.33851 | 1.3187 | 5 | 2.062 | 8.2541 | 0.089762 | 0.35931
| 6 | 0.35393 | 1.5754 | 0.36013 | 1.5992 | 0.34494 | 1.5329 | 6 | 2.1012 | 9.5588 | 0.091468 | 0.4161
| 7 | 0.36066 | 1.779 | 0.36697 | 1.8063 | 0.35149 | 1.7313 | 7 | 2.1411 | 10.7675 | 0.093205 | 0.46871
| 8 | 0.36751 | 1.9676 | 0.37395 | 1.9982 | 0.35817 | 1.9151 | 8 | 2.1818 | 11.8871 | 0.094976 | 0.51745
| 9 | 0.37449 | 2.1423 | 0.38105 | 2.176 | 0.36497 | 2.0854 | 9 | 2.2233 | 12.9242 | 0.096781 | 0.5626
| 10 | 0.38161 | 2.3042 | 0.38829 | 2.3407 | 0.37191 | 2.2431 | 10 | 2.2655 | 13.8851 | 0.09862 | 0.60443
| 11 | 0.38886 | 2.4541 | 0.39567 | 2.4932 | 0.37898 | 2.3892 | 11 | 2.3086 | 14.7751 | 0.10049 | 0.64317
| 12 | 0.39624 | 2.593 | 0.40319 | 2.6345 | 0.38618 | 2.5245 | 12 | 2.3524 | 15.5996 | 0.1024 | 0.67906
| 13 | 0.40377 | 2.7216 | 0.41085 | 2.7654 | 0.39351 | 2.6499 | 13 | 2.3971 | 16.3634 | 0.10435 | 0.71231
| 14 | 0.41145 | 2.8408 | 0.41865 | 2.8867 | 0.40099 | 2.7661 | 14 | 2.4427 | 17.071 | 0.10633 | 0.74311
| 15 | 0.41926 | 2.9512 | 0.42661 | 2.9991 | 0.40861 | 2.8737 | 15 | 2.4891 | 17.7264 | 0.10835 | 0.77164
| 16 | 0.42723 | 3.0535 | 0.43471 | 3.1031 | 0.41637 | 2.9734 | 16 | 2.5364 | 18.3336 | 0.11041 | 0.79807
| 17 | 0.43535 | 3.1482 | 0.44297 | 3.1995 | 0.42428 | 3.0657 | 17 | 2.5846 | 18.8961 | 0.11251 | 0.82256
| 18 | 0.44362 | 3.236 | 0.45139 | 3.2888 | 0.43234 | 3.1512 | 18 | 2.6337 | 19.4172 | 0.11465 | 0.84524
| 19 | 0.45205 | 3.3173 | 0.45997 | 3.3716 | 0.44056 | 3.2305 | 19 | 2.6837 | 19.8998 | 0.11682 | 0.86625
| 20 | 0.46064 | 3.3926 | 0.46871 | 3.4482 | 0.44893 | 3.3039 | 20 | 2.7347 | 20.347 | 0.11904 | 0.88572
| 21 | 0.46939 | 3.4624 | 0.47761 | 3.5192 | 0.45746 | 3.3719 | 21 | 2.7867 | 20.7612 | 0.12131 | 0.90375
| 22 | 0.47831 | 3.527 | 0.48669 | 3.585 | 0.46615 | 3.4349 | 22 | 2.8396 | 21.1449 | 0.12361 | 0.92045
| 23 | 0.48739 | 3.5869 | 0.49593 | 3.6459 | 0.47501 | 3.4932 | 23 | 2.8936 | 21.5004 | 0.12596 | 0.93593
| 24 | 0.49665 | 3.6424 | 0.50535 | 3.7023 | 0.48403 | 3.5473 | 24 | 2.9485 | 21.8297 | 0.12835 | 0.95026
| 25 | 0.50609 | 3.6937 | 0.51496 | 3.7546 | 0.49323 | 3.5974 | 25 | 3.0046 | 22.1347 | 0.13079 | 0.96354
| 26 | 0.51571 | 3.7413 | 0.52474 | 3.803 | 0.5026 | 3.6437 | 26 | 3.0617 | 22.4173 | 0.13328 | 0.97584
| 27 | 0.5255 | 3.7854 | 0.53471 | 3.8479 | 0.51215 | 3.6867 | 27 | 3.1198 | 22.6791 | 0.13581 | 0.98723
| 28 | 0.53549 | 3.8263 | 0.54487 | 3.8895 | 0.52188 | 3.7265 | 28 | 3.1791 | 22.9216 | 0.13839 | 0.99779
| 29 | 0.54566 | 3.8641 | 0.55522 | 3.928 | 0.5318 | 3.7634 | 29 | 3.2395 | 23.1462 | 0.14102 | 1.0076
| 30 | 0.55603 | 3.8992 | 0.56577 | 3.9636 | 0.5419 | 3.7976 | 30 | 3.3011 | 23.3543 | 0.1437 | 1.0166

## GEC 32 b
GEC #32b |  |  |  | Input Assumptions
Program | Measure/Offering | Units | Total Net Cumulative (m3) | Equipment Life | Free Rider Rate | Adjustment Factor | Natural Gas Savings per unit (m3) | Average Capacity per unit | Natural Gas Savings per Capacity
Residential | ESK - Push - Door to Door | 9195 | 6514965.0338 | 10 | 11.24% | 73.64% | 108.4
Residential | ESK - Pull - Online | 5805 | 4321369.4434 | 10 | 11.24% | 77.37% | 108.4
Residential | Thermostat - Programmable | 3000 | 1154250 | 15 | 43% | 100% | 45
Residential | Home Reno Rebate | 3000 | 77950500.0713 | 25 | 5% | 100% | 1094.0421
Commercial/Industrial | Energy Star Fryer -Energy Star- New/Existing | 100 | 1351680 | 12 | 20% | 100% | 1408
Commercial/Industrial | Energy Star Convection Ovens - Full Size-Energy Star- New/Existing | 15 | 123264 | 12 | 20% | 100% | 856
Commercial/Industrial | Energy Star Steam Cookers-Energy Star- New/Existing | 5 | 426672 | 12 | 20% | 100% | 8889
Commercial/Industrial | Air Curtains-Double door-Existing | 8 | 174306 | 15 | 5% | 100% | 1529
Commercial/Industrial | Air Curtains-Shipping and Receiving Doors (10 x 10)-New/Existing | 13 | 3817076.25 | 15 | 5% | 100% | 20605
Commercial/Industrial | Air Curtains-Shipping and Receiving Doors (8 x 10)-New/Existing | 1 | 134762.25 | 15 | 5% | 100% | 9457
Commercial/Industrial | Air Curtains-Shipping and Receiving Doors (8 x 8)-New/Existing | 3 | 323403.75 | 15 | 5% | 100% | 7565
Commercial/Industrial | Air Curtains-Single door-Existing | 30 | 285142.5 | 15 | 5% | 100% | 667
Commercial/Industrial | Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-New | 32 | 2049501.2492 | 25 | 5% | 100% | 2696.7122 | 264643 | 0.01019
Commercial/Industrial | Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-Existing | 100 | 6258370.6462 | 25 | 5% | 100% | 2635.1034 | 258597 | 0.01019
Commercial/Industrial | Condensing Boilers - Space Heating, 300 to 999 MBTUH-88% seasonal efficiency-New/Existing | 245 | 30509847.55 | 25 | 5% | 100% | 5243.368 | 504170 | 0.0104
Commercial/Industrial | Condensing Boilers - Space Heating, 1,000 and above MBTUH-88% seasonal efficiency-New/Existing | 135 | 59742202.455 | 25 | 5% | 100% | 18633.0456 | 1791639 | 0.0104
Commercial/Industrial | Condensing Rooftop Units (MUA) All other Commercial Efficiency + 2 speed 1000 -4999 cfm ¹⁶⁷--New/Existing | 3 | 256500 | 15 | 5% | 100% | 6000 | 4800 | 1.25
Commercial/Industrial | Condensing Rooftop Units (MUA) All other Commercial Efficiency + 2 speed ≥ 5000 cfm ¹⁵--New/Existing | 1 | 106839.375 | 15 | 5% | 100% | 7497.5 | 5998 | 1.25
Commercial/Industrial | Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs >1000 -4999 cfm--New/Existing | 13 | 970939.71 | 15 | 5% | 100% | 5241.24 | 2532 | 2.07
Commercial/Industrial | Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs ≥ 5000 cfm ¹⁵--New/Existing | 7 | 2230217.4825 | 15 | 5% | 100% | 22358.07 | 10801 | 2.07
Commercial/Industrial | Condensing Rooftop Units (MUA) All other Commercial Efficiency Improved efficiency 1000 -4999 cfm ¹⁶⁷--New/Existing | 8 | 139799.34 | 15 | 5% | 100% | 1226.31 | 2991 | 0.41
Commercial/Industrial | Condensing Rooftop Units (MUA) All other Commercial Efficiency Improved efficiency≥ 5000 cfm ¹⁵--New/Existing | 3 | 219672.1575 | 15 | 5% | 100% | 5138.53 | 12533 | 0.41
Commercial/Industrial | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + 2 speed 1000 -4999 cfm--New/Existing | 5 | 497610 | 15 | 5% | 100% | 6984 | 3600 | 1.94
Commercial/Industrial | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + 2 speed ≥ 5000 cfm ¹⁵--New/Existing | 1 | 221160 | 15 | 5% | 100% | 15520 | 8000 | 1.94
Commercial/Industrial | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + VFDs 1000 -4999 cfm--New/Existing | 12 | 1797552 | 15 | 5% | 100% | 10512 | 3600 | 2.92
Commercial/Industrial | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + VFDs ≥ 5000 cfm ¹⁵--New/Existing | 4 | 1664400 | 15 | 5% | 100% | 29200 | 10000 | 2.92
Commercial/Industrial | Condensing Rooftop Units (MUA) Multifamily & Healthcare Improved efficiency 1000 -4999 cfm--New/Existing | 10 | 417274.2 | 15 | 5% | 100% | 2928.24 | 3486 | 0.84
Commercial/Industrial | Condensing Rooftop Units (MUA) Multifamily & Healthcare Improved efficiency ≥ 5000 cfm ¹⁵--New/Existing | 3 | 251980.47 | 15 | 5% | 100% | 5894.28 | 7017 | 0.84
Commercial/Industrial | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 4 | 3584 | 10 | 20% | 100% | 112 | 1000 | 0.112
Commercial/Industrial | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 30 | 164169.6 | 10 | 20% | 100% | 684.04 | 1745 | 0.392
Commercial/Industrial | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 40 | 1128207.36 | 10 | 20% | 100% | 3525.648 | 8994 | 0.392
Commercial/Industrial | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 26 | 56379.232 | 10 | 5% | 100% | 228.256 | 2038 | 0.112
Commercial/Industrial | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 20 | 82757.92 | 10 | 5% | 100% | 435.568 | 3889 | 0.112
Commercial/Industrial | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 7 | 93844.8 | 10 | 5% | 100% | 1411.2 | 3600 | 0.392
Commercial/Industrial | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 53 | 1800427.384 | 10 | 5% | 100% | 3575.824 | 9122 | 0.392
Commercial/Industrial | Demand Control Kitchen Ventilation -0 - 4,999 CFM-New/Existing | 12 | 820971 | 15 | 5% | 100% | 4801
Commercial/Industrial | Demand Control Kitchen Ventilation -10,000 - 15,000 CFM-New/Existing | 7 | 1887669 | 15 | 5% | 100% | 18924
Commercial/Industrial | Demand Control Kitchen Ventilation -5,000 - 9,999 CFM-New/Existing | 21 | 3437185.5 | 15 | 5% | 100% | 11486
Commercial/Industrial | Destratification Fans - -New/Existing | 120 | 19588680 | 15 | 10% | 100% | 12091.7778 | 24183.5556 | 0.5
Commercial/Industrial | ERV 1- up to 1999 cfm MURB,Healthcare,Nursing- Ventilation with ERV -New Construction | 155 | 2010230.495 | 14 | 5% | 100% | 975.13 | 169 | 5.77
Commercial/Industrial | ERV 1- up to 1999 cfm MURB,Healthcare,Nursing- Ventilation with ERV -Retrofit | 12 | 1140846.336 | 14 | 5% | 100% | 7148.16 | 1168 | 6.12
Commercial/Industrial | ERV 2- => 2000 cfm MURB,Healthcare,Nursing- Ventilation with ERV -New Construction | 33 | 8901572.295 | 14 | 5% | 100% | 20281.55 | 3515 | 5.77
Commercial/Industrial | ERV 2- => 2000 cfm MURB,Healthcare,Nursing- Ventilation with ERV -Retrofit | 12 | 4601478.672 | 14 | 5% | 100% | 28831.32 | 4711 | 6.12
Commercial/Industrial | ERV 3- up to 1999 cfm Hotel,Restaurant,Retail- Ventilation with ERV -New Construction | 40 | 1238097 | 14 | 5% | 100% | 2327.25 | 725 | 3.21
Commercial/Industrial | ERV 3- up to 1999 cfm Hotel,Restaurant,Retail- Ventilation with ERV -Retrofit | 20 | 642124 | 14 | 5% | 100% | 2414 | 710 | 3.4
Commercial/Industrial | ERV 4- => 2000 cfm Hotel,Restaurant,Retail- Ventilation with ERV -New Construction | 16 | 2837547.552 | 14 | 5% | 100% | 13334.34 | 4154 | 3.21
Commercial/Industrial | ERV 4- => 2000 cfm Hotel,Restaurant,Retail- Ventilation with ERV -Retrofit | 11 | 3858486.94 | 14 | 5% | 100% | 26373.8 | 7757 | 3.4
Commercial/Industrial | ERV 5- up to 1999 cfm All Other Commercial-New Construction | 70 | 1557376.8 | 14 | 5% | 100% | 1672.8 | 816 | 2.05
Commercial/Industrial | ERV 5- up to 1999 cfm All Other Commercial -Retrofit | 195 | 3675015.435 | 14 | 5% | 100% | 1417.01 | 653 | 2.17
Commercial/Industrial | ERV 6- => 2000 cfm All Other Commercial -New Construction | 41 | 4549710.55 | 14 | 5% | 100% | 8343.5 | 4070 | 2.05
Commercial/Industrial | ERV 6- => 2000 cfm All Other Commercial -Retrofit | 45 | 5922277.2 | 14 | 5% | 100% | 9895.2 | 4560 | 2.17
Commercial/Industrial | HRV >2,000cfm-Hotel, Restaurant, Retail, Rec ⁴¹- Ventilation with HRV -New Construction | 1 | 101292.8 | 14 | 5% | 100% | 7616 | 3200 | 2.38
Commercial/Industrial | HRV >2,000cfm-Hotel, Restaurant, Retail, Rec ⁴²- Ventilation with HRV -Retrofit | 1 | 138852 | 14 | 5% | 100% | 10440 | 4000 | 2.61
Commercial/Industrial | HRV 500 to 2,000cfm-Hotel, Restaurant, Retail, Rec ⁴⁴- Ventilation with HRV -New Construction | 2 | 33489.932 | 14 | 5% | 100% | 1259.02 | 529 | 2.38
Commercial/Industrial | HRV 500 to 2,000cfm-Hotel, Restaurant, Retail, Rec ⁴⁵- Ventilation with HRV -Retrofit | 6 | 201613.104 | 14 | 5% | 100% | 2526.48 | 968 | 2.61
Commercial/Industrial | HRV ≥2,000cfm- All Other Commercial -New Construction | 17 | 2055158.56 | 14 | 5% | 100% | 9089.6 | 5980 | 1.52
Commercial/Industrial | HRV ≥2,000cfm-All Other Commercial -Retrofit | 21 | 4528112.148 | 14 | 5% | 100% | 16212.36 | 9708 | 1.67
Commercial/Industrial | HRV 500 to 2,000cfm - All Other Commercial -New Construction | 25 | 232989.4 | 14 | 5% | 100% | 700.72 | 461 | 1.52
Commercial/Industrial | HRV 500 to 2,000cfm - All Other Commercial -Retrofit | 33 | 708042.258 | 14 | 5% | 100% | 1613.22 | 966 | 1.67
Commercial/Industrial | HRV ≥2,000cfm Multi Family, Health Care, Nursing ⁴⁶- Ventilation with HRV -New Construction | 17 | 3628905 | 14 | 5% | 100% | 16050 | 3750 | 4.28
Commercial/Industrial | HRV ≥2,000cfm Multi Family, Health Care, Nursing ⁴⁶- Ventilation with HRV - Retrofit | 5 | 625100 | 14 | 5% | 100% | 9400 | 2000 | 4.7
Commercial/Industrial | HRV 500 to 2,000cfm Multi Family, Health Care, Nursing ⁴⁶- Ventilation with HRV -New Construction | 1 | 23623.46 | 14 | 5% | 100% | 1776.2 | 415 | 4.28
Commercial/Industrial | HRV 500 to 2,000cfm Multi Family, Health Care, Nursing ⁴⁷- Ventilation with HRV -Retrofit | 1 | 25691.61 | 14 | 5% | 100% | 1931.7 | 411 | 4.7
Commercial/Industrial | Single Stage & High Intensity Infrared Heaters-20,000 - 99,999 BTU/hr-New/Existing | 400 | 4235163.264 | 20 | 33% | 100% | 790.1424 | 54871 | 0.0144
Commercial/Industrial | 2-Stage Infrared Heaters-20,000 - 99,999 BTU/hr-New/Existing | 200 | 4284127.936 | 20 | 33% | 100% | 1598.5552 | 66056 | 0.0242
Commercial/Industrial | Single Stage & High Intensity Infrared Heaters-100,000 - 300,000 BTU/hr-New/Existing | 800 | 21109978.368 | 20 | 33% | 100% | 1969.2144 | 136751 | 0.0144
Commercial/Industrial | 2-Stage Infrared Heaters-100,000 - 300,000 BTU/hr-New/Existing | 400 | 17278546.384 | 20 | 33% | 100% | 3223.6094 | 133207 | 0.0242
Commercial/Industrial | Ozone WE =< 60 lbs cap & 100,000 to 199,999lbs/yr. Used 2014 avg of 111,600 lbs/yr. - New/Retrofit | 35 | 1978232.76 | 15 | 8% | 100% | 4095.72 | 111600 | 0.0367
Commercial/Industrial | Ozone WE =< 60 lbs cap & => 200,000 lbs/yr. Used 2014 avg of 251,300 lbs/yr. - New/Retrofit | 40 | 5090915.6616 | 15 | 8% | 100% | 9222.6733 | 251299 | 0.0367
Commercial/Industrial | Ozone WE >60 lbs & =< 120lbs & => 200,000 lbs/yr. Used 2014 avg of 328,500 lbs/yr. - New/Retrofit | 8 | 1330976.88 | 15 | 8% | 100% | 12055.95 | 328500 | 0.0367
Commercial/Industrial | Ozone WE > 120lbs & <500lbs & => 260,000 lbs/yr. Used 2014 avg of 463,283 lbs/yr. - New/Retrofit | 8 | 1877074.4654 | 15 | 8% | 100% | 17002.4861 | 463283 | 0.0367
Commercial/Industrial | Condensing Boiler - DHW (200 to 299 Mbtu/h)-90% or greater AFUE- Existing | 12 | 757338.48 | 25 | 5% | 100% | 2657.328 | 266800 | 0.00996
Commercial/Industrial | Condensing Boiler - DHW (100 to 199 Mbtu/h)-90% or greater AFUE-New | 4 | 189810 | 25 | 5% | 100% | 1998 | 150000 | 0.01332
Commercial/Industrial | Condensing Boiler - DHW (300 to 599 Mbtu/h)-90% or greater AFUE-New/Existing | 25 | 1905223.1297 | 25 | 5% | 100% | 3208.7968 | 436571 | 0.00735
Commercial/Industrial | Condensing Boiler - DHW (1000 to 1499 Mbtu/h)-90% or greater AFUE-New/Existing | 7 | 1338312.5 | 25 | 5% | 100% | 8050 | 1250000 | 0.00644
Commercial/Industrial | Condensing Gas Water Heater (1,000gal/day)- 95% thermal efficiency - New/Existing | 105 | 2011259.25 | 13 | 5% | 100% | 1551
Commercial/Industrial | Condensing Gas Water Heater (100gal/day)- 95% thermal efficiency - New/Existing | 25 | 102505 | 13 | 5% | 100% | 332
Commercial/Industrial | Condensing Gas Water Heater (500gal/day)- 95% thermal efficiency - New/Existing | 50 | 539077.5 | 13 | 5% | 100% | 873
Commercial/Industrial | Energy Star Dishwasher - Rack Conveyor - Multi Tank - High Temperature - Purchase | 2 | 62020.8 | 20 | 27% | 100% | 2124
Commercial/Industrial | Energy Star Dishwasher - Rack Conveyor - Single Tank - High Temperature - Purchase | 15 | 122640 | 20 | 27% | 100% | 560
Commercial/Industrial | Energy Star Dishwasher - Stationary Rack - Door Type - High Temperature - Purchase | 35 | 387240 | 15 | 20% | 100% | 922
Commercial/Industrial | Energy Star Dishwasher - Stationary Rack - Door Type - Low Temperature - Purchase | 140 | 3561600 | 15 | 20% | 100% | 2120
Commercial/Industrial | Energy Star Dishwasher - Stationary Rack - Single Rack - High Temperature - Purchase | 4 | 44256 | 15 | 20% | 100% | 922
Commercial/Industrial | Energy Star Dishwasher - Stationary Rack - Single Rack - Low Temperature - Purchase | 4 | 101760 | 15 | 20% | 100% | 2120
Commercial/Industrial | Energy Star Dishwasher - Undercounter - High Temperature - Purchase | 21 | 17892 | 10 | 40% | 100% | 142
Commercial/Industrial | Energy Star Dishwasher - Undercounter - Low Temperature - Purchase | 4 | 7992 | 10 | 40% | 100% | 333
Commercial/Industrial | High Efficiency Under-Fired Broiler - Three Foot - New/Replace | 8 | 192844.8 | 12 | 20% | 100% | 2511
Commercial/Industrial | High Efficiency Under-Fired Broiler - Four Foot - New/Replace | 8 | 257049.6 | 12 | 20% | 100% | 3347
Commercial/Industrial | High Efficiency Under-Fired Broiler - Five Foot - New/Replace | 7 | 281164.8 | 12 | 20% | 100% | 4184
Commercial/Industrial | High Efficiency Under-Fired Broiler - Six Foot - New/Replace | 7 | 337411.2 | 12 | 20% | 100% | 5021
Commercial/Industrial | Condensing Unit Heaters - New/Replace | 60 | 1022220 | 18 | 0% | 100% | 946.5 | 150000 | 0.00631
Commercial/Industrial | High Efficiency Condensing Furnace - Replacement | 60 | 114048 | 18 | 17.5% | 100% | 128 | 75294.1176 | 0.0017
Commercial/Industrial | Commercial Condensing Tankless Gas Water Heater - Low <200 kBtu/hr - Elementary schools, office, retail, churches - New/Replacement | 15 | 79379.853 | 20 | 2% | 100% | 269.9995 | 150285 | 0.0007
Commercial/Industrial | Commercial Condensing Tankless Gas Water Heater - Low >200 kBtu/hr - Elementary schools, office, retail, churches - New/Replacement | 15 | 119951.9412 | 20 | 2% | 100% | 407.9998 | 249714 | 0.0007
Commercial/Industrial | Commercial Condensing Tankless Gas Water Heater - Medium <200 kBtu/hr - Secondary schools, fast food restaurant, dormitories, other - New/Replacement | 20 | 135239.6864 | 20 | 2% | 100% | 344.9992 | 150166 | 0.0012
Commercial/Industrial | Commercial Condensing Tankless Gas Water Heater - Medium >200 kBtu/hr - Secondary schools, fast food restaurant, dormitories, other - New/Replacement | 20 | 208935.8432 | 20 | 2% | 100% | 532.9996 | 249833 | 0.0012
Commercial/Industrial | Commercial Condensing Tankless Gas Water Heater - High <200 kBtu/hr - Fitness center, full service restaurant, hotels, in patient health care - New/Replacement | 25 | 205800 | 20 | 2% | 100% | 420 | 150117.6471 | 0.0017
Commercial/Industrial | Commercial Condensing Tankless Gas Water Heater - High >200 kBtu/hr - Fitness center, full service restaurant, hotels, in patient health care - New/Replacement | 25 | 285670 | 20 | 2% | 100% | 583 | 205764.7059 | 0.0017
Commercial/Industrial | CEE Tier 2 Front-Loading Clothes Washer. Multi-Family - New/Replacement | 600 | 694980 | 11 | 10% | 100% | 117
Commercial/Industrial | Energy Star Front-Loading Clothes Washer. Multi-Family - New/Replacement | 15 | 6520.8 | 11 | 48% | 100% | 76
Commercial/Industrial | Boiler Load Controls - Basic - CI (Purchase) | 10 | 478170 | 15 | 10% | 100% | 3542
Commercial/Industrial | Boiler Load Controls - Basic - MURBs (Purchase) | 10 | 321300 | 15 | 10% | 100% | 2380
Commercial/Industrial | Boiler Load Controls - Temp Sensor - MURBs (Existing Buildings) | 8 | 922644 | 15 | 10% | 100% | 8543
Commercial/Industrial | Boiler Load Controls - Temp Sensor - MURBs (New Buildings) | 2 | 168480 | 15 | 10% | 100% | 6240
Commercial/Industrial | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 5 | 4480 | 10 | 20% | 100% | 112 | 1000 | 0.112
Commercial/Industrial | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 5 | 11200 | 10 | 20% | 100% | 280 | 2500 | 0.112
Commercial/Industrial | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 20 | 109446.4 | 10 | 20% | 100% | 684.04 | 1745 | 0.392
Commercial/Industrial | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 20 | 564103.68 | 10 | 20% | 100% | 3525.648 | 8994 | 0.392
Commercial/Industrial | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 20 | 43368.64 | 10 | 5% | 100% | 228.256 | 2038 | 0.112
Commercial/Industrial | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 15 | 62068.44 | 10 | 5% | 100% | 435.568 | 3889 | 0.112
Commercial/Industrial | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 5 | 67032 | 10 | 5% | 100% | 1411.2 | 3600 | 0.392
Commercial/Industrial | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 30 | 1019109.84 | 10 | 5% | 100% | 3575.824 | 9122 | 0.392
Commercial/Industrial | Combination Boiler - Multi Family Residential | 10 | 2277948 | 24 | 5% | 100% | 9991
Commercial/Industrial | General Services Custom | 178 | 76328865.6531 | 16.9796 | 54% | 100% | 54901.3493
Commercial/Industrial | Contract Custom | 318 | 668765513.348 | 16.3373 | 54% | 100% | 279838.7461
| Resource Acquisition Total |  | 1109631656.1806