## 2010 Avoided Costs (hidden)
2010 AVOIDED COSTS
|  | Inflation Factor |  | 1.9%
|  | Discount Rate |  | 10%
| Gas Avoided Costs | [6 empty] | Water and Electricity Avoided Costs
|  | Residential/Commercial |  |  |  | Industrial |  |  | Residential/Commercial/Industrial
|  | Baseload (m3) |  | Weather-Sensitive (m3) |  | Baseload (m3) |  |  | Water (m3) |  | Electricity (kWh)
|  | Rate | NPV | Rate | NPV | Rate | NPV |  | Rate | NPV | Rate | NPV
| 1 | 0.28805 | 0.28805 | 0.29045 | 0.29045 | 0.27964 | 0.27964 | 1 | 1.9125 | 1.9125 | 0.083252 | 0.083252
| 2 | 0.32765 | 0.58591 | 0.33207 | 0.59233 | 0.31775 | 0.5685 | 2 | 1.9488 | 3.6842 | 0.084834 | 0.16037
| 3 | 0.3345 | 0.86236 | 0.34036 | 0.87362 | 0.326 | 0.83793 | 3 | 1.9859 | 5.3254 | 0.086446 | 0.23182
| 4 | 0.34086 | 1.1184 | 0.34683 | 1.1342 | 0.33219 | 1.0875 | 4 | 2.0236 | 6.8457 | 0.088088 | 0.298
| 5 | 0.34733 | 1.3557 | 0.35342 | 1.3756 | 0.33851 | 1.3187 | 5 | 2.062 | 8.2541 | 0.089762 | 0.35931
| 6 | 0.35393 | 1.5754 | 0.36013 | 1.5992 | 0.34494 | 1.5329 | 6 | 2.1012 | 9.5588 | 0.091468 | 0.4161
| 7 | 0.36066 | 1.779 | 0.36697 | 1.8063 | 0.35149 | 1.7313 | 7 | 2.1411 | 10.7675 | 0.093205 | 0.46871
| 8 | 0.36751 | 1.9676 | 0.37395 | 1.9982 | 0.35817 | 1.9151 | 8 | 2.1818 | 11.8871 | 0.094976 | 0.51745
| 9 | 0.37449 | 2.1423 | 0.38105 | 2.176 | 0.36497 | 2.0854 | 9 | 2.2233 | 12.9242 | 0.096781 | 0.5626
| 10 | 0.38161 | 2.3042 | 0.38829 | 2.3407 | 0.37191 | 2.2431 | 10 | 2.2655 | 13.8851 | 0.09862 | 0.60443
| 11 | 0.38886 | 2.4541 | 0.39567 | 2.4932 | 0.37898 | 2.3892 | 11 | 2.3086 | 14.7751 | 0.10049 | 0.64317
| 12 | 0.39624 | 2.593 | 0.40319 | 2.6345 | 0.38618 | 2.5245 | 12 | 2.3524 | 15.5996 | 0.1024 | 0.67906
| 13 | 0.40377 | 2.7216 | 0.41085 | 2.7654 | 0.39351 | 2.6499 | 13 | 2.3971 | 16.3634 | 0.10435 | 0.71231
| 14 | 0.41145 | 2.8408 | 0.41865 | 2.8867 | 0.40099 | 2.7661 | 14 | 2.4427 | 17.071 | 0.10633 | 0.74311
| 15 | 0.41926 | 2.9512 | 0.42661 | 2.9991 | 0.40861 | 2.8737 | 15 | 2.4891 | 17.7264 | 0.10835 | 0.77164
| 16 | 0.42723 | 3.0535 | 0.43471 | 3.1031 | 0.41637 | 2.9734 | 16 | 2.5364 | 18.3336 | 0.11041 | 0.79807
| 17 | 0.43535 | 3.1482 | 0.44297 | 3.1995 | 0.42428 | 3.0657 | 17 | 2.5846 | 18.8961 | 0.11251 | 0.82256
| 18 | 0.44362 | 3.236 | 0.45139 | 3.2888 | 0.43234 | 3.1512 | 18 | 2.6337 | 19.4172 | 0.11465 | 0.84524
| 19 | 0.45205 | 3.3173 | 0.45997 | 3.3716 | 0.44056 | 3.2305 | 19 | 2.6837 | 19.8998 | 0.11682 | 0.86625
| 20 | 0.46064 | 3.3926 | 0.46871 | 3.4482 | 0.44893 | 3.3039 | 20 | 2.7347 | 20.347 | 0.11904 | 0.88572
| 21 | 0.46939 | 3.4624 | 0.47761 | 3.5192 | 0.45746 | 3.3719 | 21 | 2.7867 | 20.7612 | 0.12131 | 0.90375
| 22 | 0.47831 | 3.527 | 0.48669 | 3.585 | 0.46615 | 3.4349 | 22 | 2.8396 | 21.1449 | 0.12361 | 0.92045
| 23 | 0.48739 | 3.5869 | 0.49593 | 3.6459 | 0.47501 | 3.4932 | 23 | 2.8936 | 21.5004 | 0.12596 | 0.93593
| 24 | 0.49665 | 3.6424 | 0.50535 | 3.7023 | 0.48403 | 3.5473 | 24 | 2.9485 | 21.8297 | 0.12835 | 0.95026
| 25 | 0.50609 | 3.6937 | 0.51496 | 3.7546 | 0.49323 | 3.5974 | 25 | 3.0046 | 22.1347 | 0.13079 | 0.96354
| 26 | 0.51571 | 3.7413 | 0.52474 | 3.803 | 0.5026 | 3.6437 | 26 | 3.0617 | 22.4173 | 0.13328 | 0.97584
| 27 | 0.5255 | 3.7854 | 0.53471 | 3.8479 | 0.51215 | 3.6867 | 27 | 3.1198 | 22.6791 | 0.13581 | 0.98723
| 28 | 0.53549 | 3.8263 | 0.54487 | 3.8895 | 0.52188 | 3.7265 | 28 | 3.1791 | 22.9216 | 0.13839 | 0.99779
| 29 | 0.54566 | 3.8641 | 0.55522 | 3.928 | 0.5318 | 3.7634 | 29 | 3.2395 | 23.1462 | 0.14102 | 1.0076
| 30 | 0.55603 | 3.8992 | 0.56577 | 3.9636 | 0.5419 | 3.7976 | 30 | 3.3011 | 23.3543 | 0.1437 | 1.0166

## A-3-A-48 Table 17
| Measure/Offering | Units | Net Cumulative m3 per Unit | Total Net Cumulative m3 | TRC-Plus Benefits per Unit | TRC-Plus Costs per Unit | Net TRC-Plus per Unit | Total TRC-Plus Benefits | Total TRC-Plus Costs | Total Net TRC-Plus Before Program Costs | TRC-Plus Ratio | Equipment Life | Energy Load | Free Rider Rate | Adjustment Factor | Natural Gas Savings (m3) | Water Savings (L) | Electricity Savings (kWh) | Incremental Cost
Retrofit | Air Curtains - Pedestrian Single Door - ≥ 46ft² & < 96ft² | 30 | 9504.75 | 285142.5 | 2415.7957 | 1567.5 | 848.2957 | 72473.8702 | 47025 | 25448.8702 | 1.5412 | 15 | Weather Sensitive | 5% | 100% | 667 | 0 | 172 | 1650
Retrofit | Air Curtains - Pedestrian Double Door - ≥ 96ft² | 8 | 21788.25 | 174306 | 6535.0238 | 2375 | 4160.0238 | 52280.1908 | 19000 | 33280.1908 | 2.7516 | 15 | Weather Sensitive | 5% | 100% | 1529 | 0 | 1023 | 2500
New Const/Retrofit | Air Curtains - Shipping and Recieving - ≥ 100ft² | 13 | 293621.25 | 3817076.25 | 64717.0587 | 9661.5 | 55055.5587 | 841321.7626 | 125599.5 | 715722.2626 | 6.6984 | 15 | Weather Sensitive | 5% | 100% | 20605 | 0 | -936 | 10170
New Const/Retrofit | Air Curtains - Shipping and Recieving - ≥ 80ft² & < 100ft² | 1 | 134762.25 | 134762.25 | 22105.184 | 7829.9 | 14275.284 | 22105.184 | 7829.9 | 14275.284 | 2.8232 | 15 | Weather Sensitive | 5% | 100% | 9457 | 0 | -5220 | 8242
New Const/Retrofit | Air Curtains - Shipping and Recieving - ≥ 64ft² & < 80ft² | 3 | 107801.25 | 323403.75 | 15772.6311 | 7829.9 | 7942.7311 | 47317.8932 | 23489.7 | 23828.1932 | 2.0144 | 15 | Weather Sensitive | 5% | 100% | 7565 | 0 | -5380 | 8242
New Const/Replace | Condensing Boiler - Space Heating- 1000 Mbtu/hr and up | 135 | 442534.833 | 59742202.455 | 95770.6891 | 20425 | 75345.6891 | 12929043.0279 | 2757375 | 10171668.0279 | 4.6889 | 25 | Weather Sensitive | 5% | 100% | 18633.0456 | 0 | 0 | 21500
New Const/Replace | Condensing Boiler - Space Heating 300 to 999 Mbtu/hr | 245 | 124529.99 | 30509847.55 | 26950.0208 | 5747.5 | 21202.5208 | 6602755.0967 | 1408137.5 | 5194617.5967 | 4.689 | 25 | Weather Sensitive | 5% | 100% | 5243.368 | 0 | 0 | 6050
New Construction | Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-New | 32 | 64046.914 | 2049501.2492 | 13860.6424 | 3065.65 | 10794.9924 | 443540.5584 | 98100.8 | 345439.7584 | 4.5213 | 25 | Weather Sensitive | 5% | 100% | 2696.7122 | 0 | 0 | 3227
Replacement | Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-Existing | 100 | 62583.7065 | 6258370.6463 | 13543.984 | 3607.15 | 9936.834 | 1354398.3992 | 360715 | 993683.3992 | 3.7548 | 25 | Weather Sensitive | 5% | 100% | 2635.1034 | 0 | 0 | 3797
New Const/Replace | Condensing Boiler - DHW (1000 to 1499 Mbtu/h)-90% or greater AFUE-New/Existing | 7 | 191187.5 | 1338312.5 | 40296.7959 | 14250 | 26046.7959 | 282077.571 | 99750 | 182327.571 | 2.8278 | 25 | Baseload | 5% | 100% | 8050 | 0 | 0 | 15000
New Const/Replace | Condensing Boiler - DHW (300 to 599 Mbtu/h)-90% or greater AFUE-New/Existing | 25 | 76208.9252 | 1905223.1297 | 16062.6375 | 4977.05 | 11085.5875 | 401565.9367 | 124426.25 | 277139.6867 | 3.2273 | 25 | Baseload | 5% | 100% | 3208.7968 | 0 | 0 | 5239
New Construction | Condensing Boiler - DHW (100 to 199 Mbtu/h)-90% or greater AFUE-New | 4 | 47452.5 | 189810 | 10001.6147 | 2293.3 | 7708.3147 | 40006.4587 | 9173.2 | 30833.2587 | 4.3612 | 25 | Baseload | 5% | 100% | 1998 | 0 | 0 | 2414
Replacement | Condensing Boiler - DHW (200 to 299 Mbtu/h)-90% or greater AFUE- Existing | 12 | 63111.54 | 757338.48 | 13302.0874 | 3607.15 | 9694.9374 | 159625.0494 | 43285.8 | 116339.2494 | 3.6877 | 25 | Baseload | 5% | 100% | 2657.328 | 0 | 0 | 3797
New Const/Replace | Condensing Gas Water Heater (100gal/day) | 25 | 4100.2 | 102505 | 903.1007 | 2118.5 | -1215.3993 | 22577.5187 | 52962.5 | -30384.9813 | 0.42629 | 13 | Baseload | 5% | 100% | 332 | 0 | 0 | 2230
New Const/Replace | Condensing Gas Water Heater (500gal/day) | 50 | 10781.55 | 539077.5 | 2374.7197 | 2118.5 | 256.2197 | 118735.9869 | 105925 | 12810.9869 | 1.1209 | 13 | Baseload | 5% | 100% | 873 | 0 | 0 | 2230
New Const/Replace | Condensing Gas Water Heater (1,000gal/day) - Purchase | 105 | 19154.85 | 2011259.25 | 4219.0038 | 2118.5 | 2100.5038 | 442995.3984 | 222442.5 | 220552.8984 | 1.9915 | 13 | Baseload | 5% | 100% | 1551 | 0 | 0 | 2230
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Imp efficiency 1000 -4999 cfm | 10 | 41727.42 | 417274.2 | 9408.1117 | 3012.45 | 6395.6617 | 94081.117 | 30124.5 | 63956.617 | 3.1231 | 15 | Weather Sensitive | 5% | 100% | 2928.24 | 0 | 0 | 3171
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Imp efficiency ≥ 5000 cfm | 3 | 83993.49 | 251980.47 | 18937.6706 | 5225.95 | 13711.7206 | 56813.0119 | 15677.85 | 41135.1619 | 3.6238 | 15 | Weather Sensitive | 5% | 100% | 5894.28 | 0 | 0 | 5501
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + 2 speed 1000 -4999 cfm | 5 | 99522 | 497610 | 25522.0763 | 4280.7 | 21241.3763 | 127610.3815 | 21403.5 | 106206.8815 | 5.9621 | 15 | Weather Sensitive | 5% | 100% | 6984 | 0 | 1944 | 4506
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + 2 speed ≥ 5000 cfm | 1 | 221160 | 221160 | 56715.7251 | 8502.5 | 48213.2251 | 56715.7251 | 8502.5 | 48213.2251 | 6.6705 | 15 | Weather Sensitive | 5% | 100% | 15520 | 0 | 4320 | 8950
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + VFDs 1000 -4999 cfm | 12 | 149796 | 1797552 | 42224.2994 | 4314.9 | 37909.3994 | 506691.593 | 51778.8 | 454912.793 | 9.7857 | 15 | Weather Sensitive | 5% | 100% | 10512 |  | 5328 | 4542
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + VFDs ≥ 5000 cfm | 4 | 416100 | 1664400 | 117289.7206 | 10516.5 | 106773.2206 | 469158.8824 | 42066 | 427092.8824 | 11.1529 | 15 | Weather Sensitive | 5% | 100% | 29200 |  | 14800 | 11070
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency Imp efficiency 1000 -4999 cfm | 8 | 17474.9175 | 139799.34 | 3939.9986 | 2701.8 | 1238.1986 | 31519.9887 | 21614.4 | 9905.5887 | 1.4583 | 15 | Weather Sensitive | 5% | 100% | 1226.31 | 0 | 0 | 2844
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency Imp efficiency ≥ 5000 cfm | 3 | 73224.0525 | 219672.1575 | 16509.5293 | 8684.9 | 7824.6293 | 49528.588 | 26054.7 | 23473.888 | 1.9009 | 15 | Weather Sensitive | 5% | 100% | 5138.53 | 0 | 0 | 9142
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + 2 speed 1000 -4999 cfm | 3 | 85500 | 256500 | 21561.2304 | 5432.1 | 16129.1304 | 64683.6912 | 16296.3 | 48387.3912 | 3.9692 | 15 | Weather Sensitive | 5% | 100% | 6000 | 0 | 1440 | 5718
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + 2 speed ≥ 5000 cfm | 1 | 106839.375 | 106839.375 | 26941.9197 | 6581.6 | 20360.3197 | 26941.9197 | 6581.6 | 20360.3197 | 4.0935 | 15 | Weather Sensitive | 5% | 100% | 7497.5 | 0 | 1799 | 6928
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs >1000 -4999 cfm | 13 | 74687.67 | 970939.71 | 18446.1806 | 3280.35 | 15165.8306 | 239800.3475 | 42644.55 | 197155.7975 | 5.6232 | 15 | Weather Sensitive | 5% | 100% | 5241.24 | 0 | 1013 | 3453
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs ≥ 5000 cfm | 7 | 318602.4975 | 2230217.4825 | 78685.6888 | 11292.65 | 67393.0388 | 550799.8213 | 79048.55 | 471751.2713 | 6.9679 | 15 | Weather Sensitive | 5% | 100% | 22358.07 | 0 | 4320 | 11887
New Const/Replace | DCKV Fast Casual (< 5000 cfm) | 12 | 68414.25 | 820971 | 36869.8873 | 9500 | 27369.8873 | 442438.6478 | 114000 | 328438.6478 | 3.881 | 15 | Weather Sensitive | 5% | 100% | 4801 | 0 | 13521 | 10000
New Const/Replace | DCKV Dinner House (10000 - 15000 cfm) | 7 | 269667 | 1887669 | 138678.3045 | 19000 | 119678.3045 | 970748.1314 | 133000 | 837748.1314 | 7.2989 | 15 | Weather Sensitive | 5% | 100% | 18924 | 0 | 49102 | 20000
New Const/Replace | DCKV Full Menu (5000 - 9999 cfm) | 21 | 163675.5 | 3437185.5 | 85913.3748 | 14250 | 71663.3748 | 1804180.8718 | 299250 | 1504930.8718 | 6.029 | 15 | Weather Sensitive | 5% | 100% | 11486 | 0 | 30901 | 15000
New Const/Replace | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor - (DCV) controls with CO2 sensors -New w/o maintenance plan | 4 | 896 | 3584 | 205.7915 | 840 | -634.2085 | 823.166 | 3360 | -2536.834 | 0.24499 | 10 | Weather Sensitive | 20% | 100% | 112 | 0 | 0 | 1050
New Const/Replace | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -New w/o maintenance plan | 30 | 5472.32 | 164169.6 | 1256.8715 | 840 | 416.8715 | 37706.1454 | 25200 | 12506.1454 | 1.4963 | 10 | Weather Sensitive | 20% | 100% | 684.04 | 0 | 0 | 1050
New Const/Replace | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -New w/o maintenance plan | 40 | 28205.184 | 1128207.36 | 6478.1103 | 840 | 5638.1103 | 259124.41 | 33600 | 225524.41 | 7.712 | 10 | Weather Sensitive | 20% | 100% | 3525.648 | 0 | 0 | 1050
Retrofit | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor - (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 26 | 2168.432 | 56379.232 | 498.0411 | 1282.5 | -784.4589 | 12949.0692 | 33345 | -20395.9308 | 0.38834 | 10 | Weather Sensitive | 5% | 100% | 228.256 | 0 | 0 | 1350
Retrofit | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor - (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 20 | 4137.896 | 82757.92 | 950.3837 | 1282.5 | -332.1163 | 19007.6735 | 25650 | -6642.3265 | 0.74104 | 10 | Weather Sensitive | 5% | 100% | 435.568 | 0 | 0 | 1350
Retrofit | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 7 | 13406.4 | 93844.8 | 3079.1551 | 1282.5 | 1796.6551 | 21554.086 | 8977.5 | 12576.586 | 2.4009 | 10 | Weather Sensitive | 5% | 100% | 1411.2 | 0 | 0 | 1350
Retrofit | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 53 | 33970.328 | 1800427.384 | 7802.237 | 1282.5 | 6519.737 | 413518.5607 | 67972.5 | 345546.0607 | 6.0836 | 10 | Weather Sensitive | 5% | 100% | 3575.824 | 0 | 0 | 1350
New Const/Retrofit | Destratification Fan | 120 | 163239 | 19588680 | 36681.6235 | 6318.9 | 30362.7235 | 4401794.8163 | 758268 | 3643526.8163 | 5.8051 | 15 | Weather Sensitive | 10% | 100% | 12091.7778 | 0 | -82 | 7021
New Const/Replace | Energy Star Dishwasher - Rack Conveyor - Multi Tank - High Temperature - Purchase | 2 | 31010.4 | 62020.8 | 31033.8418 | 708.1 | 30325.7418 | 62067.6837 | 1416.2 | 60651.4837 | 43.8269 | 20 | Baseload | 27% | 100% | 2124 | 304677 | 9668 | 970
New Const/Replace | Energy Star Dishwasher - Rack Conveyor - Single Tank - High Temperature - Purchase | 15 | 8176 | 122640 | 10798.9577 | 1496.5 | 9302.4577 | 161984.365 | 22447.5 | 139536.865 | 7.2161 | 20 | Baseload | 27% | 100% | 560 | 80303 | 4247 | 2050
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Door Type - High Temperature - Purchase | 35 | 11064 | 387240 | 11549.6374 | 616 | 10933.6374 | 404237.3086 | 21560 | 382677.3086 | 18.7494 | 15 | Baseload | 20% | 100% | 922 | 132263 | 4167 | 770
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Door Type - Low Temperature - Purchase | 140 | 25440 | 3561600 | 13761.971 | 616 | 13145.971 | 1926675.9377 | 86240 | 1840435.9377 | 22.3409 | 15 | Baseload | 20% | 100% | 2120 | 304205 | 0 | 770
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Single Rack - High Temperature - Purchase | 4 | 11064 | 44256 | 11549.6374 | 616 | 10933.6374 | 46198.5495 | 2464 | 43734.5495 | 18.7494 | 15 | Baseload | 20% | 100% | 922 | 132263 | 4167 | 770
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Single Rack - Low Temperature - Purchase | 4 | 25440 | 101760 | 13761.971 | 616 | 13145.971 | 55047.8839 | 2464 | 52583.8839 | 22.3409 | 15 | Baseload | 20% | 100% | 2120 | 304205 | 0 | 770
New Const/Replace | Energy Star Dishwasher - Undercounter - High Temperature - Purchase | 21 | 852 | 17892 | 1740.5854 | 72 | 1668.5854 | 36552.2937 | 1512 | 35040.2937 | 24.1748 | 10 | Baseload | 40% | 100% | 142 | 20371 | 1790 | 120
New Const/Replace | Energy Star Dishwasher - Undercounter - Low Temperature - Purchase | 4 | 1998 | 7992 | 1124.5526 | 30 | 1094.5526 | 4498.2105 | 120 | 4378.2105 | 37.4851 | 10 | Baseload | 40% | 100% | 333 | 47827 | 0 | 50
New Const/Replace | Energy Star Convection Oven | 15 | 8217.6 | 123264 | 1778.4092 | 700 | 1078.4092 | 26676.1375 | 10500 | 16176.1375 | 2.5406 | 12 | Baseload | 20% | 100% | 856 | 0 | 0 | 875
New Const/Replace | Energy Star Steam Cooker (boiler-based) | 5 | 85334.4 | 426672 | 26399.098 | 828 | 25571.098 | 131995.4899 | 4140 | 127855.4899 | 31.883 | 12 | Baseload | 20% | 100% | 8889 | 340142 | 0 | 1035
New Const/Replace | Energy Star Fryer | 100 | 13516.8 | 1351680 | 2983.7322 | 2724 | 259.7322 | 298373.2224 | 272400 | 25973.2224 | 1.0953 | 12 | Baseload | 20% | 100% | 1408 | 0 | 0 | 3405
New Construction | ERV 1- up to 1999 cfm MURB,Healthcare,Nursing- Ventilation with ERV -New Construction | 155 | 12969.229 | 2010230.495 | 2928.4098 | 510.15 | 2418.2598 | 453903.5125 | 79073.25 | 374830.2625 | 5.7403 | 14 | Weather Sensitive | 5% | 100% | 975.13 | 0 | 0 | 537
Retrofit | ERV 1- up to 1999 cfm MURB,Healthcare,Nursing- Ventilation with ERV -Retrofit | 12 | 95070.528 | 1140846.336 | 21466.6162 | 3528.3 | 17938.3162 | 257599.3949 | 42339.6 | 215259.7949 | 6.0841 | 14 | Weather Sensitive | 5% | 100% | 7148.16 | 0 | 0 | 3714
New Construction | ERV 2- => 2000 cfm MURB,Healthcare,Nursing- Ventilation with ERV -New Construction | 33 | 269744.615 | 8901572.295 | 60907.4574 | 10619.1 | 50288.3574 | 2009946.0941 | 350430.3 | 1659515.7941 | 5.7357 | 14 | Weather Sensitive | 5% | 100% | 20281.55 | 0 | 0 | 11178
Retrofit | ERV 2- => 2000 cfm MURB,Healthcare,Nursing- Ventilation with ERV -Retrofit | 12 | 383456.556 | 4601478.672 | 86583.2441 | 14231.95 | 72351.2941 | 1038998.9293 | 170783.4 | 868215.5293 | 6.0837 | 14 | Weather Sensitive | 5% | 100% | 28831.32 | 0 | 0 | 14981
New Construction | ERV 3- up to 1999 cfm Hotel,Restaurant,Retail- Ventilation with ERV -New Construction | 40 | 30952.425 | 1238097 | 6988.957 | 2190.7 | 4798.257 | 279558.2788 | 87628 | 191930.2788 | 3.1903 | 14 | Weather Sensitive | 5% | 100% | 2327.25 | 0 | 0 | 2306
Retrofit | ERV 3- up to 1999 cfm Hotel,Restaurant,Retail- Ventilation with ERV -Retrofit | 20 | 32106.2 | 642124 | 7249.4756 | 2145.1 | 5104.3756 | 144989.5123 | 42902 | 102087.5123 | 3.3796 | 14 | Weather Sensitive | 5% | 100% | 2414 | 0 | 0 | 2258
New Construction | ERV 4- => 2000 cfm Hotel,Restaurant,Retail- Ventilation with ERV -New Construction | 16 | 177346.722 | 2837547.552 | 40044.3135 | 12549.5 | 27494.8135 | 640709.0152 | 200792 | 439917.0152 | 3.1909 | 14 | Weather Sensitive | 5% | 100% | 13334.34 | 0 | 0 | 13210
Retrofit | ERV 4- => 2000 cfm Hotel,Restaurant,Retail- Ventilation with ERV -Retrofit | 11 | 350771.54 | 3858486.94 | 79203.0737 | 23433.65 | 55769.4237 | 871233.811 | 257770.15 | 613463.661 | 3.3799 | 14 | Weather Sensitive | 5% | 100% | 26373.8 | 0 | 0 | 24667
New Construction | ERV 5- up to 1999 cfm All Other Commercial-New Construction | 70 | 22248.24 | 1557376.8 | 5023.5803 | 2465.25 | 2558.3303 | 351650.62 | 172567.5 | 179083.12 | 2.0378 | 14 | Weather Sensitive | 5% | 100% | 1672.8 | 0 | 0 | 2595
Retrofit | ERV 5- up to 1999 cfm All Other Commercial -Retrofit | 195 | 18846.233 | 3675015.435 | 4255.4182 | 1973.15 | 2282.2682 | 829806.5414 | 384764.25 | 445042.2914 | 2.1567 | 14 | Weather Sensitive | 5% | 100% | 1417.01 | 0 | 0 | 2077
New Construction | ERV 6- => 2000 cfm All Other Commercial -New Construction | 41 | 110968.55 | 4549710.55 | 25056.3379 | 12295.85 | 12760.4879 | 1027309.8556 | 504129.85 | 523180.0056 | 2.0378 | 14 | Weather Sensitive | 5% | 100% | 8343.5 | 0 | 0 | 12943
Retrofit | ERV 6- => 2000 cfm All Other Commercial -Retrofit | 45 | 131606.16 | 5922277.2 | 29716.2432 | 13775.95 | 15940.2932 | 1337230.9444 | 619917.75 | 717313.1944 | 2.1571 | 14 | Weather Sensitive | 5% | 100% | 9895.2 | 0 | 0 | 14501
New Construction | HRV 500 to 2,000cfm-Hotel, Restaurant, Retail, Rec | 2 | 16744.966 | 33489.932 | 3780.9589 | 1814.5 | 1966.4589 | 7561.9178 | 3629 | 3932.9178 | 2.0837 | 14 | Weather Sensitive | 5% | 100% | 1259.02 | 0 | 0 | 1910
Retrofit | HRV 500 to 2,000cfm-Hotel, Restaurant, Retail, Rec | 6 | 33602.184 | 201613.104 | 7587.2639 | 3319.3 | 4267.9639 | 45523.5836 | 19915.8 | 25607.7836 | 2.2858 | 14 | Weather Sensitive | 5% | 100% | 2526.48 | 0 | 0 | 3494
New Construction | HRV >2,000cfm-Hotel, Restaurant, Retail, Rec | 1 | 101292.8 | 101292.8 | 22871.585 | 10974.4 | 11897.185 | 22871.585 | 10974.4 | 11897.185 | 2.0841 | 14 | Weather Sensitive | 5% | 100% | 7616 | 0 | 0 | 11552
Retrofit | HRV >2,000cfm-Hotel, Restaurant, Retail, Rec | 1 | 138852 | 138852 | 31352.3303 | 13718 | 17634.3303 | 31352.3303 | 13718 | 17634.3303 | 2.2855 | 14 | Weather Sensitive | 5% | 100% | 10440 | 0 | 0 | 14440
New Construction | HRV 500 to 2,000cfm - All other commercial | 25 | 9319.576 | 232989.4 | 2104.33 | 1580.8 | 523.53 | 52608.2493 | 39520 | 13088.2493 | 1.3312 | 14 | Weather Sensitive | 5% | 100% | 700.72 | 0 | 0 | 1664
Retrofit | HRV 500 to 2,000cfm - All other commercial | 33 | 21455.826 | 708042.258 | 4844.6558 | 3312.65 | 1532.0058 | 159873.6407 | 109317.45 | 50556.1907 | 1.4625 | 14 | Weather Sensitive | 5% | 100% | 1613.22 | 0 | 0 | 3487
New Construction | HRV ≥2,000cfm-All other commercial | 17 | 120891.68 | 2055158.56 | 27296.9484 | 20508.6 | 6788.3484 | 464048.1236 | 348646.2 | 115401.9236 | 1.331 | 14 | Weather Sensitive | 5% | 100% | 9089.6 | 0 | 0 | 21588
Retrofit | HRV ≥2,000cfm-All other commercial | 21 | 215624.388 | 4528112.148 | 48687.286 | 33293.7 | 15393.586 | 1022433.0067 | 699167.7 | 323265.3067 | 1.4624 | 14 | Weather Sensitive | 5% | 100% | 16212.36 | 0 | 0 | 35046
New Construction | HRV ≥2,000cfm- Multi Family, Health Care, Nursing | 17 | 213465 | 3628905 | 48199.7032 | 12861.1 | 35338.6032 | 819394.9551 | 218638.7 | 600756.2551 | 3.7477 | 14 | Weather Sensitive | 5% | 100% | 16050 | 0 | 0 | 13538
Retrofit | HRV ≥2,000cfm- Multi Family, Health Care, Nursing | 5 | 125020 | 625100 | 28229.1097 | 6859 | 21370.1097 | 141145.5484 | 34295 | 106850.5484 | 4.1156 | 14 | Weather Sensitive | 5% | 100% | 9400 | 0 | 0 | 7220
New Construction | HRV 500 to 2000cfm- Multi Family, Health Care, Nursing | 1 | 23623.46 | 23623.46 | 5334.1005 | 1423.1 | 3911.0005 | 5334.1005 | 1423.1 | 3911.0005 | 3.7482 | 14 | Weather Sensitive | 5% | 100% | 1776.2 | 0 | 0 | 1498
Retrofit | HRV 500 to 2000cfm- Multi Family, Health Care, Nursing | 1 | 25691.61 | 25691.61 | 5801.082 | 1409.8 | 4391.282 | 5801.082 | 1409.8 | 4391.282 | 4.1148 | 14 | Weather Sensitive | 5% | 100% | 1931.7 | 0 | 0 | 1484
New Const/Replace | Infrared Heating 1- 20 to 99 MBtu/hr 1-Stage | 400 | 10587.9082 | 4235163.264 | 2917.7701 | 448.23 | 2469.5401 | 1167108.0376 | 179292 | 987816.0376 | 6.5095 | 20 | Weather Sensitive | 33% | 100% | 790.1424 | 0 | 409 | 669
New Const/Replace | Infrared Heating 2- 100-300 MBtu/hr 1-Stage | 800 | 26387.473 | 21109978.368 | 6408.2218 | 1117.56 | 5290.6618 | 5126577.4394 | 894048 | 4232529.4394 | 5.7341 | 20 | Weather Sensitive | 33% | 100% | 1969.2144 | 0 | 409 | 1668
New Const/Replace | Infrared Heating 3- 20 to 99 MBtu/hr 2-Stage | 200 | 21420.6397 | 4284127.936 | 5310.9453 | 540.02 | 4770.9253 | 1062189.0532 | 108004 | 954185.0532 | 9.8347 | 20 | Weather Sensitive | 33% | 100% | 1598.5552 | 0 | 409 | 806
New Const/Replace | Infrared Heating 4- 100-300 MBtu/hr 2-Stage | 400 | 43196.366 | 17278546.384 | 10121.655 | 1088.75 | 9032.905 | 4048662.019 | 435500 | 3613162.019 | 9.2966 | 20 | Weather Sensitive | 33% | 100% | 3223.6094 | 0 | 409 | 1625
New Const/Retrofit | Ozone WE =< 60 lbs cap & 100,000 to 199,999lbs | 35 | 56520.936 | 1978232.76 | 19936.3122 | 10120 | 9816.3122 | 697770.9265 | 354200 | 343570.9265 | 1.97 | 15 | Baseload | 8% | 100% | 4095.72 | 232128 | 238 | 11000
New Const/Retrofit | Ozone WE =< 60 lbs cap & => 200,000 lbs | 40 | 127272.8915 | 5090915.6616 | 44890.8965 | 10120 | 34770.8965 | 1795635.8596 | 404800 | 1390835.8596 | 4.4359 | 15 | Baseload | 8% | 100% | 9222.6733 | 522704 | 535 | 11000
New Const/Retrofit | Ozone WE >60 lbs & =< 120lbs & => 200,000 lbs | 8 | 166372.11 | 1330976.88 | 58682.6325 | 23000 | 35682.6325 | 469461.0601 | 184000 | 285461.0601 | 2.5514 | 15 | Baseload | 8% | 100% | 12055.95 | 683280 | 700 | 25000
New Const/Retrofit | Ozone WE > 120lbs & <500lbs & => 260,000 lbs | 8 | 234634.3082 | 1877074.4654 | 82759.7088 | 23000 | 59759.7088 | 662077.6702 | 184000 | 478077.6702 | 3.5982 | 15 | Baseload | 8% | 100% | 17002.4861 | 963629 | 987 | 25000
New Const/Replace | High Efficiency Under-Fired Broiler - Three Foot - New/Replace | 8 | 24105.6 | 192844.8 | 5321.1304 | 1520 | 3801.1304 | 42569.0433 | 12160 | 30409.0433 | 3.5007 | 12 | Baseload | 20% | 100% | 2511 | 0 | 0 | 1900
New Const/Replace | High Efficiency Under-Fired Broiler - Four Foot - New/Replace | 8 | 32131.2 | 257049.6 | 7092.7214 | 1520 | 5572.7214 | 56741.7713 | 12160 | 44581.7713 | 4.6663 | 12 | Baseload | 20% | 100% | 3347 | 0 | 0 | 1900
New Const/Replace | High Efficiency Under-Fired Broiler - Five Foot - New/Replace | 7 | 40166.4 | 281164.8 | 8866.4316 | 1520 | 7346.4316 | 62065.0209 | 10640 | 51425.0209 | 5.8332 | 12 | Baseload | 20% | 100% | 4184 | 0 | 0 | 1900
New Const/Replace | High Efficiency Under-Fired Broiler - Six Foot - New/Replace | 7 | 48201.6 | 337411.2 | 10640.1417 | 1520 | 9120.1417 | 74480.9918 | 10640 | 63840.9918 | 7.0001 | 12 | Baseload | 20% | 100% | 5021 | 0 | 0 | 1900
New/Replace | Condensing Unit Heaters - New/Replace | 60 | 17037 | 1022220 | 3254.5273 | 1935 | 1319.5273 | 195271.6387 | 116100 | 79171.6387 | 1.6819 | 18 | Weather Sensitive | 0% | 100% | 946.5 | 0 | -279 | 1935
Replacement | High Efficiency Condensing Furnace - Replacement | 60 | 1900.8 | 114048 | 423.5171 | 519.75 | -96.2329 | 25411.0285 | 31185 | -5773.9715 | 0.81485 | 18 | Weather Sensitive | 17.5% | 100% | 128 | 0 | 0 | 630
New/Replace | Commercial Condensing Tankless Gas Water Heater - Low <200 kBtu/hr - Elementary schools, office, retail, churches - New/Replacement | 15 | 5291.9902 | 79379.853 | 1137.5739 | 2139.34 | -1001.7661 | 17063.6083 | 32090.1 | -15026.4917 | 0.53174 | 20 | Baseload | 2% | 100% | 269.9995 | 0 | 0 | 2183
New/Replace | Commercial Condensing Tankless Gas Water Heater - Low >200 kBtu/hr - Elementary schools, office, retail, churches - New/Replacement | 15 | 7996.7961 | 119951.9412 | 1719.0029 | 2139.34 | -420.3371 | 25785.0432 | 32090.1 | -6305.0568 | 0.80352 | 20 | Baseload | 2% | 100% | 407.9998 | 0 | 0 | 2183
New/Replace | Commercial Condensing Tankless Gas Water Heater - Medium <200 kBtu/hr - Secondary schools, fast food restaurant, dormitories, other - New/Replacement | 20 | 6761.9843 | 135239.6864 | 1453.566 | 2139.34 | -685.774 | 29071.3191 | 42786.8 | -13715.4809 | 0.67945 | 20 | Baseload | 2% | 100% | 344.9992 | 0 | 0 | 2183
New/Replace | Commercial Condensing Tankless Gas Water Heater - Medium >200 kBtu/hr - Secondary schools, fast food restaurant, dormitories, other - New/Replacement | 20 | 10446.7922 | 208935.8432 | 2245.6576 | 2139.34 | 106.3176 | 44913.1518 | 42786.8 | 2126.3518 | 1.0497 | 20 | Baseload | 2% | 100% | 532.9996 | 0 | 0 | 2183
New/Replace | Commercial Condensing Tankless Gas Water Heater - High <200 kBtu/hr - Fitness center, full service restaurant, hotels, in patient health care - New/Replacement | 25 | 8232 | 205800 | 1769.5627 | 2139.34 | -369.7773 | 44239.0664 | 53483.5 | -9244.4336 | 0.82715 | 20 | Baseload | 2% | 100% | 420 | 0 | 0 | 2183
New/Replace | Commercial Condensing Tankless Gas Water Heater - High >200 kBtu/hr - Fitness center, full service restaurant, hotels, in patient health care - New/Replacement | 25 | 11426.8 | 285670 | 2456.3215 | 2139.34 | 316.9815 | 61408.0374 | 53483.5 | 7924.5374 | 1.1482 | 20 | Baseload | 2% | 100% | 583 | 0 | 0 | 2183
New/Replace | CEE Tier 2 Front-Loading Clothes Washer Multi-Family | 600 | 1158.3 | 694980 | 2059.6967 | 540 | 1519.6967 | 1235818.0179 | 324000 | 911818.0179 | 3.8143 | 11 | Baseload | 10% | 100% | 117 | 58121 | 396 | 600
New/Replace | Energy Star Front-Loading Clothes Washer Multi-Family New/Replacement | 15 | 434.72 | 6520.8 | 495.4296 | 78 | 417.4296 | 7431.444 | 1170 | 6261.444 | 6.3517 | 11 | Baseload | 48% | 100% | 76 | 19814 | 201 | 150
New | Boiler Load Controls - Basic - CI (Purchase) | 10 | 47817 | 478170 | 10781.1045 | 7559.1 | 3222.0045 | 107811.0453 | 75591 | 32220.0453 | 1.4262 | 15 | Weather Sensitive | 10% | 100% | 3542 | 0 | 0 | 8399
New | Boiler Load Controls - Basic - MURBs (Purchase) | 10 | 32130 | 321300 | 7244.2204 | 7559.1 | -314.8796 | 72442.2044 | 75591 | -3148.7956 | 0.95834 | 15 | Weather Sensitive | 10% | 100% | 2380 | 0 | 0 | 8399
Existing | Boiler Load Controls - Temp Sensor - MURBs (Existing Buildings) | 8 | 115330.5 | 922644 | 26003.0988 | 14400 | 11603.0988 | 208024.7906 | 115200 | 92824.7906 | 1.8058 | 15 | Weather Sensitive | 10% | 100% | 8543 | 0 | 0 | 16000
New | Boiler Load Controls - Temp Sensor - MURBs (New Buildings) | 2 | 84240 | 168480 | 18993.2502 | 14400 | 4593.2502 | 37986.5004 | 28800 | 9186.5004 | 1.319 | 15 | Weather Sensitive | 10% | 100% | 6240 | 0 | 0 | 16000
New | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 5 | 896 | 4480 | 205.7915 | 840 | -634.2085 | 1028.9574 | 4200 | -3171.0426 | 0.24499 | 10 | Weather Sensitive | 20% | 100% | 112 | 0 | 0 | 1050
New | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 5 | 2240 | 11200 | 514.4787 | 840 | -325.5213 | 2572.3936 | 4200 | -1627.6064 | 0.61247 | 10 | Weather Sensitive | 20% | 100% | 280 | 0 | 0 | 1050
New | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 20 | 5472.32 | 109446.4 | 1256.8715 | 840 | 416.8715 | 25137.4303 | 16800 | 8337.4303 | 1.4963 | 10 | Weather Sensitive | 20% | 100% | 684.04 | 0 | 0 | 1050
New | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 20 | 28205.184 | 564103.68 | 6478.1103 | 840 | 5638.1103 | 129562.205 | 16800 | 112762.205 | 7.712 | 10 | Weather Sensitive | 20% | 100% | 3525.648 | 0 | 0 | 1050
Retrofit | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 20 | 2168.432 | 43368.64 | 498.0411 | 1282.5 | -784.4589 | 9960.8225 | 25650 | -15689.1775 | 0.38834 | 10 | Weather Sensitive | 5% | 100% | 228.256 | 0 | 0 | 1350
Retrofit | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 15 | 4137.896 | 62068.44 | 950.3837 | 1282.5 | -332.1163 | 14255.7552 | 19237.5 | -4981.7448 | 0.74104 | 10 | Weather Sensitive | 5% | 100% | 435.568 | 0 | 0 | 1350
Retrofit | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 5 | 13406.4 | 67032 | 3079.1551 | 1282.5 | 1796.6551 | 15395.7757 | 6412.5 | 8983.2757 | 2.4009 | 10 | Weather Sensitive | 5% | 100% | 1411.2 | 0 | 0 | 1350
Retrofit | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 30 | 33970.328 | 1019109.84 | 7802.237 | 1282.5 | 6519.737 | 234067.1098 | 38475 | 195592.1098 | 6.0836 | 10 | Weather Sensitive | 5% | 100% | 3575.824 | 0 | 0 | 1350
New/Replace | Combination Boiler - Multi Family Residential | 10 | 227794.8 | 2277948 | 47770.6463 | 21688.5 | 26082.1463 | 477706.4627 | 216885 | 260821.4627 | 2.2026 | 24 | Weather Sensitive | 5% | 100% | 9991 | 0 | -753 | 22830
Custom | General Service Custom | 178 | 428813.852 | 76328865.6531 | 143094.7118 | 130399.094 | 12695.6178 | 25470858.6972 | 23211038.7285 | 2259819.9687 | 1.0974 | 16.9796 | Weather Sensitive | 54% | 100% | 54901.3493 | 473751 | 54949.1467 | 283476.2913
Custom | Contract Custom | 318 | 2103036.2055 | 668765513.348 | 474965.4529 | 205774.56 | 269190.8929 | 151039014.0232 | 65436310.08 | 85602703.9432 | 2.3082 | 16.3373 | Baseload | 54% | 100% | 279838.7461 | 648013 | 14780.0471 | 447336
| Total |  |  | 1019690571.6321 |  |  |  | 244463777.6846 | 105018481.4085 | 139445296.2761
[8 empty] | Promotion Costs | 2431085
[8 empty] | Administration Costs | 3928876
[8 empty] | EM&V Costs | 188959
[8 empty] | Program Total Net TRC |  | 132896376.2761
[8 empty] | Program Enhanced TRC Ratio |  |  | 2.1912

## A-3-A-50 Table 18
| Measure/Offering | Units | Avoided Gas Benefit per Unit | Total PAC Benefit | Incentive per Unit | Total PAC Cost | Total Net PAC Before Program Costs | PAC Ratio
Retrofit | Air Curtains - Pedestrian Single Door - ≥ 46ft² & < 96ft² | 30 | 1863.4759 | 55904.2782 | 600 | 18000 | 37904.2782 | 3.1058
Retrofit | Air Curtains - Pedestrian Double Door - ≥ 96ft² | 8 | 4271.7462 | 34173.9695 | 1000 | 8000 | 26173.9695 | 4.2717
New Const/Retrofit | Air Curtains - Shipping and Recieving - ≥ 100ft² | 13 | 57566.5993 | 748365.7907 | 3500 | 45500 | 702865.7907 | 16.4476
New Const/Retrofit | Air Curtains - Shipping and Recieving - ≥ 80ft² & < 100ft² | 1 | 26421.1274 | 26421.1274 | 3000 | 3000 | 23421.1274 | 8.807
New Const/Retrofit | Air Curtains - Shipping and Recieving - ≥ 64ft² & < 80ft² | 3 | 21135.2256 | 63405.6768 | 3000 | 9000 | 54405.6768 | 7.0451
New Const/Replace | Condensing Boiler - Space Heating- 1000 Mbtu/hr and up | 135 | 83278.8601 | 11242646.1112 | 4500 | 607500 | 10635146.1112 | 18.5064
New Const/Replace | Condensing Boiler - Space Heating 300 to 999 Mbtu/hr | 245 | 23434.8007 | 5741526.171 | 1500 | 367500 | 5374026.171 | 15.6232
New Construction | Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-New | 32 | 12052.7326 | 385687.4421 | 600 | 19200 | 366487.4421 | 20.0879
Replacement | Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-Existing | 100 | 11777.3774 | 1177737.7384 | 600 | 60000 | 1117737.7384 | 19.629
New Const/Replace | Condensing Boiler - DHW (1000 to 1499 Mbtu/h)-90% or greater AFUE-New/Existing | 7 | 35040.692 | 245284.8443 | 4500 | 31500 | 213784.8443 | 7.7868
New Const/Replace | Condensing Boiler - DHW (300 to 599 Mbtu/h)-90% or greater AFUE-New/Existing | 25 | 13967.5108 | 349187.771 | 1500 | 37500 | 311687.771 | 9.3117
New Construction | Condensing Boiler - DHW (100 to 199 Mbtu/h)-90% or greater AFUE-New | 4 | 8697.0562 | 34788.225 | 600 | 2400 | 32388.225 | 14.4951
Replacement | Condensing Boiler - DHW (200 to 299 Mbtu/h)-90% or greater AFUE- Existing | 12 | 11567.0326 | 138804.3907 | 600 | 7200 | 131604.3907 | 19.2784
New Const/Replace | Condensing Gas Water Heater (100gal/day) | 25 | 785.305 | 19632.6249 | 500 | 12500 | 7132.6249 | 1.5706
New Const/Replace | Condensing Gas Water Heater (500gal/day) | 50 | 2064.9737 | 103248.6842 | 500 | 25000 | 78248.6842 | 4.1299
New Const/Replace | Condensing Gas Water Heater (1,000gal/day) - Purchase | 105 | 3668.699 | 385213.3899 | 500 | 52500 | 332713.3899 | 7.3374
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Imp efficiency 1000 -4999 cfm | 10 | 8180.9667 | 81809.6669 | 1200 | 12000 | 69809.6669 | 6.8175
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Imp efficiency ≥ 5000 cfm | 3 | 16467.5397 | 49402.619 | 2500 | 7500 | 41902.619 | 6.587
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + 2 speed 1000 -4999 cfm | 5 | 19512.0179 | 97560.0896 | 2000 | 10000 | 87560.0896 | 9.756
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + 2 speed ≥ 5000 cfm | 1 | 43360.0398 | 43360.0398 | 3500 | 3500 | 39860.0398 | 12.3886
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + VFDs 1000 -4999 cfm | 12 | 29368.6043 | 352423.2516 | 3000 | 36000 | 316423.2516 | 9.7895
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + VFDs ≥ 5000 cfm | 4 | 81579.4564 | 326317.8256 | 5000 | 20000 | 306317.8256 | 16.3159
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency Imp efficiency 1000 -4999 cfm | 8 | 3426.0857 | 27408.6858 | 1200 | 9600 | 17808.6858 | 2.8551
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency Imp efficiency ≥ 5000 cfm | 3 | 14356.1125 | 43068.3374 | 2500 | 7500 | 35568.3374 | 5.7424
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + 2 speed 1000 -4999 cfm | 3 | 16762.902 | 50288.706 | 2000 | 6000 | 44288.706 | 8.3815
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + 2 speed ≥ 5000 cfm | 1 | 20946.643 | 20946.643 | 3500 | 3500 | 17446.643 | 5.9848
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs >1000 -4999 cfm | 13 | 14643.0654 | 190359.8504 | 3000 | 39000 | 151359.8504 | 4.881
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs ≥ 5000 cfm | 7 | 62464.3561 | 437250.4924 | 5000 | 35000 | 402250.4924 | 12.4929
New Const/Replace | DCKV Fast Casual (< 5000 cfm) | 12 | 13413.1154 | 160957.385 | 3000 | 36000 | 124957.385 | 4.471
New Const/Replace | DCKV Dinner House (10000 - 15000 cfm) | 7 | 52870.1929 | 370091.3504 | 7500 | 52500 | 317591.3504 | 7.0494
New Const/Replace | DCKV Full Menu (5000 - 9999 cfm) | 21 | 32089.7821 | 673885.4233 | 5000 | 105000 | 568885.4233 | 6.418
New Const/Replace | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor - (DCV) controls with CO2 sensors -New w/o maintenance plan | 4 | 178.9491 | 715.7965 | 400 | 1600 | -884.2035 | 0.44737
New Const/Replace | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -New w/o maintenance plan | 30 | 1092.9318 | 32787.9525 | 400 | 12000 | 20787.9525 | 2.7323
New Const/Replace | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -New w/o maintenance plan | 40 | 5633.1393 | 225325.5739 | 400 | 16000 | 209325.5739 | 14.0828
Retrofit | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor - (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 26 | 433.0792 | 11260.0602 | 500 | 13000 | -1739.9398 | 0.86616
Retrofit | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor - (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 20 | 826.4206 | 16528.4118 | 500 | 10000 | 6528.4118 | 1.6528
Retrofit | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 7 | 2677.5262 | 18742.6835 | 500 | 3500 | 15242.6835 | 5.3551
Retrofit | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 53 | 6784.5539 | 359581.3571 | 500 | 26500 | 333081.3571 | 13.5691
New Const/Retrofit | Destratification Fan | 120 | 32004.203 | 3840504.3643 | 1800 | 216000 | 3624504.3643 | 17.7801
New Const/Replace | Energy Star Dishwasher - Rack Conveyor - Multi Tank - High Temperature - Purchase | 2 | 5796.557 | 11593.114 | 450 | 900 | 10693.114 | 12.8812
New Const/Replace | Energy Star Dishwasher - Rack Conveyor - Single Tank - High Temperature - Purchase | 15 | 1528.2824 | 22924.2367 | 450 | 6750 | 16174.2367 | 3.3962
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Door Type - High Temperature - Purchase | 35 | 2108.437 | 73795.2942 | 200 | 7000 | 66795.2942 | 10.5422
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Door Type - Low Temperature - Purchase | 140 | 4848.033 | 678724.6144 | 200 | 28000 | 650724.6144 | 24.2402
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Single Rack - High Temperature - Purchase | 4 | 2108.437 | 8433.7479 | 200 | 800 | 7633.7479 | 10.5422
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Single Rack - Low Temperature - Purchase | 4 | 4848.033 | 19392.1318 | 200 | 800 | 18592.1318 | 24.2402
New Const/Replace | Energy Star Dishwasher - Undercounter - High Temperature - Purchase | 21 | 165.1772 | 3468.722 | 200 | 4200 | -731.278 | 0.82589
New Const/Replace | Energy Star Dishwasher - Undercounter - Low Temperature - Purchase | 4 | 387.3523 | 1549.409 | 200 | 800 | 749.409 | 1.9368
New Const/Replace | Energy Star Convection Oven | 15 | 1577.3683 | 23660.5248 | 250 | 3750 | 19910.5248 | 6.3095
New Const/Replace | Energy Star Steam Cooker (boiler-based) | 5 | 16379.9381 | 81899.6904 | 250 | 1250 | 80649.6904 | 65.5198
New Const/Replace | Energy Star Fryer | 100 | 2594.5498 | 259454.976 | 250 | 25000 | 234454.976 | 10.3782
New Construction | ERV 1- up to 1999 cfm MURB,Healthcare,Nursing- Ventilation with ERV -New Construction | 155 | 2546.4433 | 394698.7065 | 1000 | 155000 | 239698.7065 | 2.5464
Retrofit | ERV 1- up to 1999 cfm MURB,Healthcare,Nursing- Ventilation with ERV -Retrofit | 12 | 18666.6228 | 223999.4738 | 1000 | 12000 | 211999.4738 | 18.6666
New Construction | ERV 2- => 2000 cfm MURB,Healthcare,Nursing- Ventilation with ERV -New Construction | 33 | 52963.0064 | 1747779.2123 | 2500 | 82500 | 1665279.2123 | 21.1852
Retrofit | ERV 2- => 2000 cfm MURB,Healthcare,Nursing- Ventilation with ERV -Retrofit | 12 | 75289.7775 | 903477.3299 | 2500 | 30000 | 873477.3299 | 30.1159
New Construction | ERV 3- up to 1999 cfm Hotel,Restaurant,Retail- Ventilation with ERV -New Construction | 40 | 6077.3539 | 243094.1555 | 1000 | 40000 | 203094.1555 | 6.0774
Retrofit | ERV 3- up to 1999 cfm Hotel,Restaurant,Retail- Ventilation with ERV -Retrofit | 20 | 6303.8918 | 126077.8368 | 1000 | 20000 | 106077.8368 | 6.3039
New Construction | ERV 4- => 2000 cfm Hotel,Restaurant,Retail- Ventilation with ERV -New Construction | 16 | 34821.1421 | 557138.2741 | 2500 | 40000 | 517138.2741 | 13.9285
Retrofit | ERV 4- => 2000 cfm Hotel,Restaurant,Retail- Ventilation with ERV -Retrofit | 11 | 68872.238 | 757594.6182 | 2500 | 27500 | 730094.6182 | 27.5489
New Construction | ERV 5- up to 1999 cfm All Other Commercial-New Construction | 70 | 4368.3307 | 305783.1478 | 1000 | 70000 | 235783.1478 | 4.3683
Retrofit | ERV 5- up to 1999 cfm All Other Commercial -Retrofit | 195 | 3700.3636 | 721570.9056 | 1000 | 195000 | 526570.9056 | 3.7004
New Construction | ERV 6- => 2000 cfm All Other Commercial -New Construction | 41 | 21788.1199 | 893312.9179 | 2500 | 102500 | 790812.9179 | 8.7152
Retrofit | ERV 6- => 2000 cfm All Other Commercial -Retrofit | 45 | 25840.2115 | 1162809.5168 | 2500 | 112500 | 1050309.5168 | 10.3361
New Construction | HRV 500 to 2,000cfm-Hotel, Restaurant, Retail, Rec | 2 | 3287.7903 | 6575.5807 | 500 | 1000 | 5575.5807 | 6.5756
Retrofit | HRV 500 to 2,000cfm-Hotel, Restaurant, Retail, Rec | 6 | 6597.6208 | 39585.7249 | 500 | 3000 | 36585.7249 | 13.1952
New Construction | HRV >2,000cfm-Hotel, Restaurant, Retail, Rec | 1 | 19888.3348 | 19888.3348 | 750 | 750 | 19138.3348 | 26.5178
Retrofit | HRV >2,000cfm-Hotel, Restaurant, Retail, Rec | 1 | 27262.8959 | 27262.8959 | 750 | 750 | 26512.8959 | 36.3505
New Construction | HRV 500 to 2,000cfm - All other commercial | 25 | 1829.8521 | 45746.3037 | 500 | 12500 | 33246.3037 | 3.6597
Retrofit | HRV 500 to 2,000cfm - All other commercial | 33 | 4212.7442 | 139020.5571 | 500 | 16500 | 122520.5571 | 8.4255
New Construction | HRV ≥2,000cfm-All other commercial | 17 | 23736.4769 | 403520.1075 | 750 | 12750 | 390770.1075 | 31.6486
Retrofit | HRV ≥2,000cfm-All other commercial | 21 | 42336.7705 | 889072.1797 | 750 | 15750 | 873322.1797 | 56.449
New Construction | HRV ≥2,000cfm- Multi Family, Health Care, Nursing | 17 | 41912.7854 | 712517.3522 | 750 | 12750 | 699767.3522 | 55.8837
Retrofit | HRV ≥2,000cfm- Multi Family, Health Care, Nursing | 5 | 24547.0519 | 122735.2595 | 750 | 3750 | 118985.2595 | 32.7294
New Construction | HRV 500 to 2000cfm- Multi Family, Health Care, Nursing | 1 | 4638.3483 | 4638.3483 | 500 | 500 | 4138.3483 | 9.2767
Retrofit | HRV 500 to 2000cfm- Multi Family, Health Care, Nursing | 1 | 5044.4192 | 5044.4192 | 500 | 500 | 4544.4192 | 10.0888
New Const/Replace | Infrared Heating 1- 20 to 99 MBtu/hr 1-Stage | 400 | 2033.9901 | 813596.0388 | 300 | 120000 | 693596.0388 | 6.78
New Const/Replace | Infrared Heating 2- 100-300 MBtu/hr 1-Stage | 800 | 5069.1655 | 4055332.3944 | 300 | 240000 | 3815332.3944 | 16.8972
New Const/Replace | Infrared Heating 3- 20 to 99 MBtu/hr 2-Stage | 200 | 4115.012 | 823002.3971 | 400 | 80000 | 743002.3971 | 10.2875
New Const/Replace | Infrared Heating 4- 100-300 MBtu/hr 2-Stage | 400 | 8298.2379 | 3319295.1531 | 400 | 160000 | 3159295.1531 | 20.7456
New Const/Retrofit | Ozone WE =< 60 lbs cap & 100,000 to 199,999lbs | 40 | 10771.0441 | 376986.5418 | 4000 | 140000 | 236986.5418 | 2.6928
New Const/Retrofit | Ozone WE =< 60 lbs cap & => 200,000 lbs | 35 | 24254.0555 | 970162.2219 | 4500 | 180000 | 790162.2219 | 5.3898
New Const/Retrofit | Ozone WE >60 lbs & =< 120lbs & => 200,000 lbs | 8 | 31705.0893 | 253640.7147 | 4500 | 36000 | 217640.7147 | 7.0456
New Const/Retrofit | Ozone WE > 120lbs & <500lbs & => 260,000 lbs | 8 | 44713.6344 | 357709.0753 | 8000 | 64000 | 293709.0753 | 5.5892
New Const/Replace | High Efficiency Under-Fired Broiler - Three Foot - New/Replace | 8 | 4627.0699 | 37016.5594 | 250 | 2000 | 35016.5594 | 18.5083
New Const/Replace | High Efficiency Under-Fired Broiler - Four Foot - New/Replace | 8 | 6167.5838 | 49340.6707 | 250 | 2000 | 47340.6707 | 24.6703
New Const/Replace | High Efficiency Under-Fired Broiler - Five Foot - New/Replace | 7 | 7709.9405 | 53969.5834 | 250 | 1750 | 52219.5834 | 30.8398
New Const/Replace | High Efficiency Under-Fired Broiler - Six Foot - New/Replace | 7 | 9252.2971 | 64766.0798 | 250 | 1750 | 63016.0798 | 37.0092
New/Replace | Condensing Unit Heaters - New/Replace | 60 | 3300.8809 | 198052.8534 | 500 | 30000 | 168052.8534 | 6.6018
Replacement | High Efficiency Condensing Furnace - Replacement | 60 | 368.2758 | 22096.5466 | 400 | 24000 | -1903.4534 | 0.92069
New/Replace | Commercial Condensing Tankless Gas Water Heater - Low <200 kBtu/hr - Elementary schools, office, retail, churches - New/Replacement | 15 | 989.1947 | 14837.9203 | 750 | 11250 | 3587.9203 | 1.3189
New/Replace | Commercial Condensing Tankless Gas Water Heater - Low >200 kBtu/hr - Elementary schools, office, retail, churches - New/Replacement | 15 | 1494.7851 | 22421.7767 | 750 | 11250 | 11171.7767 | 1.993
New/Replace | Commercial Condensing Tankless Gas Water Heater - Medium <200 kBtu/hr - Secondary schools, fast food restaurant, dormitories, other - New/Replacement | 20 | 1263.9704 | 25279.4079 | 750 | 15000 | 10279.4079 | 1.6853
New/Replace | Commercial Condensing Tankless Gas Water Heater - Medium >200 kBtu/hr - Secondary schools, fast food restaurant, dormitories, other - New/Replacement | 20 | 1952.7457 | 39054.9146 | 750 | 15000 | 24054.9146 | 2.6037
New/Replace | Commercial Condensing Tankless Gas Water Heater - High <200 kBtu/hr - Fitness center, full service restaurant, hotels, in patient health care - New/Replacement | 25 | 1538.7501 | 38468.7534 | 750 | 18750 | 19718.7534 | 2.0517
New/Replace | Commercial Condensing Tankless Gas Water Heater - High >200 kBtu/hr - Fitness center, full service restaurant, hotels, in patient health care - New/Replacement | 25 | 2135.9317 | 53398.2934 | 750 | 18750 | 34648.2934 | 2.8479
New/Replace | CEE Tier 2 Front-Loading Clothes Washer Multi-Family | 600 | 223.6614 | 134196.8472 | 200 | 120000 | 14196.8472 | 1.1183
New/Replace | Energy Star Front-Loading Clothes Washer Multi-Family New/Replacement | 15 | 83.9421 | 1259.1309 | 50 | 750 | 509.1309 | 1.6788
New | Boiler Load Controls - Basic - CI (Purchase) | 10 | 9374.8735 | 93748.7351 | 3000 | 30000 | 63748.7351 | 3.125
New | Boiler Load Controls - Basic - MURBs (Purchase) | 10 | 6299.3221 | 62993.2212 | 3000 | 30000 | 32993.2212 | 2.0998
Existing | Boiler Load Controls - Temp Sensor - MURBs (Existing Buildings) | 8 | 22611.3903 | 180891.1223 | 6000 | 48000 | 132891.1223 | 3.7686
New | Boiler Load Controls - Temp Sensor - MURBs (New Buildings) | 2 | 16515.8698 | 33031.7395 | 6000 | 12000 | 21031.7395 | 2.7526
New | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 5 | 178.9491 | 894.7456 | 400 | 2000 | -1105.2544 | 0.44737
New | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 5 | 447.3728 | 2236.864 | 400 | 2000 | 236.864 | 1.1184
New | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 20 | 1092.9318 | 21858.635 | 400 | 8000 | 13858.635 | 2.7323
New | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -New w/o maintenance plan | 20 | 5633.1393 | 112662.787 | 400 | 8000 | 104662.787 | 14.0828
Retrofit | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 20 | 433.0792 | 8661.5848 | 500 | 10000 | -1338.4152 | 0.86616
Retrofit | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor -Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 15 | 826.4206 | 12396.3088 | 500 | 7500 | 4896.3088 | 1.6528
Retrofit | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 5 | 2677.5262 | 13387.631 | 500 | 2500 | 10887.631 | 5.3551
Retrofit | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor-Demand Controlled Ventilation (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 30 | 6784.5539 | 203536.6172 | 500 | 15000 | 188536.6172 | 13.5691
New/Replace | Combination Boiler - Multi Family Residential | 10 | 43052.0782 | 430520.7823 | 2500 | 25000 | 405520.7823 | 17.2208
Custom | General Service Custom | 178 | 78974.2295 | 14057412.8435 | 7710.4551 | 1372461 | 12684951.8435 | 10.2425
Custom | Contract Custom | 318 | 393393.8392 | 125099240.8802 | 17740.9371 | 5641618 | 119457622.8802 | 22.1744
Custom | Studies and Metering | 120 |  |  |  | 590024
| Total |  |  | 191877802.794 |  | 12131103 | 180336723.794
[5 empty] | Promotion Costs | 2431085
[5 empty] | Administration Costs | 3928876
[5 empty] | EM&V Costs | 188959
[5 empty] | Program Total Net PAC |  | 173197779.794
[5 empty] | Program PAC Ratio |  |  | 10.2718

## 2015 Avoided Costs
2015 Avoided Costs
|  | Inflation Factor |  | 1.68%
|  | Discount Rate |  | 4%
| Gas Avoided Costs | [12 empty] | Water Avoided Costs | [12 empty] | Electricity Avoided Costs
|  | Residential |  |  |  | Commercial |  |  |  | Industrial |  |  |  |  | Residential |  |  |  | Commercial |  |  |  | Industrial |  |  |  |  | Residential |  |  |  | Commercial |  |  |  | Industrial
|  | Baseload (m3) |  | Weather Sensitive (m3) |  | Baseload (m3) |  | Weather Sensitive (m3) |  | Baseload (m3) |  | Weather Sensitive (m3) |  |  | Baseload (m3) |  | Weather Sensitive (m3) |  | Baseload (m3) |  | Weather Sensitive (m3) |  | Baseload (m3) |  | Weather Sensitive (m3) |  |  | Baseload (kWh) |  | Weather Sensitive (kWh) |  | Baseload (kWh) |  | Weather Sensitive (kWh) |  | Baseload (kWh) |  | Weather Sensitive (kWh)
|  | Rate | NPV | Rate | NPV | Rate | NPV | Rate | NPV | Rate | NPV | Rate | NPV |  | Rate | NPV | Rate | NPV | Rate | NPV | Rate | NPV | Rate | NPV | Rate | NPV |  | Rate | NPV | Rate | NPV | Rate | NPV | Rate | NPV | Rate | NPV | Rate | NPV
| 1 | 0.21378 | 0.21378 | 0.22071 | 0.22071 | 0.21378 | 0.21378 | 0.22071 | 0.22071 | 0.20537 | 0.20537 | 0.20537 | 0.20537 | 1 | 2.2729 | 2.2729 | 2.2729 | 2.2729 | 2.2729 | 2.2729 | 2.2729 | 2.2729 | 2.2729 | 2.2729 | 2.2729 | 2.2729 | 1 | 0.1128 | 0.1128 | 0.1128 | 0.1128 | 0.1128 | 0.1128 | 0.1128 | 0.1128 | 0.1128 | 0.1128 | 0.1128 | 0.1128
| 2 | 0.19684 | 0.40304 | 0.20449 | 0.41734 | 0.19684 | 0.40304 | 0.20449 | 0.41734 | 0.20114 | 0.39878 | 0.20114 | 0.39878 | 2 | 2.3111 | 4.4952 | 2.3111 | 4.4952 | 2.3111 | 4.4952 | 2.3111 | 4.4952 | 2.3111 | 4.4952 | 2.3111 | 4.4952 | 2 | 0.1147 | 0.22309 | 0.1147 | 0.22309 | 0.1147 | 0.22309 | 0.1147 | 0.22309 | 0.1147 | 0.22309 | 0.1147 | 0.22309
| 3 | 0.1962 | 0.58444 | 0.20266 | 0.60471 | 0.1962 | 0.58444 | 0.20266 | 0.60471 | 0.19798 | 0.58182 | 0.19798 | 0.58182 | 3 | 2.35 | 6.6678 | 2.35 | 6.6678 | 2.35 | 6.6678 | 2.35 | 6.6678 | 2.35 | 6.6678 | 2.35 | 6.6678 | 3 | 0.11663 | 0.33092 | 0.11663 | 0.33092 | 0.11663 | 0.33092 | 0.11663 | 0.33092 | 0.11663 | 0.33092 | 0.11663 | 0.33092
| 4 | 0.2073 | 0.76873 | 0.21387 | 0.79484 | 0.2073 | 0.76873 | 0.21387 | 0.79484 | 0.20911 | 0.76772 | 0.20911 | 0.76772 | 4 | 2.3894 | 8.792 | 2.3894 | 8.792 | 2.3894 | 8.792 | 2.3894 | 8.792 | 2.3894 | 8.792 | 2.3894 | 8.792 | 4 | 0.11859 | 0.43634 | 0.11859 | 0.43634 | 0.11859 | 0.43634 | 0.11859 | 0.43634 | 0.11859 | 0.43634 | 0.11859 | 0.43634
| 5 | 0.23174 | 0.96682 | 0.23841 | 0.99864 | 0.23174 | 0.96682 | 0.23841 | 0.99864 | 0.23358 | 0.96739 | 0.23358 | 0.96739 | 5 | 2.4296 | 10.8689 | 2.4296 | 10.8689 | 2.4296 | 10.8689 | 2.4296 | 10.8689 | 2.4296 | 10.8689 | 2.4296 | 10.8689 | 5 | 0.12058 | 0.53941 | 0.12058 | 0.53941 | 0.12058 | 0.53941 | 0.12058 | 0.53941 | 0.12058 | 0.53941 | 0.12058 | 0.53941
| 6 | 0.25035 | 1.1726 | 0.25714 | 1.21 | 0.25035 | 1.1726 | 0.25714 | 1.21 | 0.25222 | 1.1747 | 0.25222 | 1.1747 | 6 | 2.4704 | 12.8994 | 2.4704 | 12.8994 | 2.4704 | 12.8994 | 2.4704 | 12.8994 | 2.4704 | 12.8994 | 2.4704 | 12.8994 | 6 | 0.1226 | 0.64018 | 0.1226 | 0.64018 | 0.1226 | 0.64018 | 0.1226 | 0.64018 | 0.1226 | 0.64018 | 0.1226 | 0.64018
| 7 | 0.24863 | 1.3691 | 0.25553 | 1.4119 | 0.24863 | 1.3691 | 0.25553 | 1.4119 | 0.25053 | 1.3727 | 0.25053 | 1.3727 | 7 | 2.5119 | 14.8845 | 2.5119 | 14.8845 | 2.5119 | 14.8845 | 2.5119 | 14.8845 | 2.5119 | 14.8845 | 2.5119 | 14.8845 | 7 | 0.12466 | 0.7387 | 0.12466 | 0.7387 | 0.12466 | 0.7387 | 0.12466 | 0.7387 | 0.12466 | 0.7387 | 0.12466 | 0.7387
| 8 | 0.25157 | 1.5602 | 0.25859 | 1.6084 | 0.25157 | 1.5602 | 0.25859 | 1.6084 | 0.2535 | 1.5653 | 0.2535 | 1.5653 | 8 | 2.5541 | 16.8254 | 2.5541 | 16.8254 | 2.5541 | 16.8254 | 2.5541 | 16.8254 | 2.5541 | 16.8254 | 2.5541 | 16.8254 | 8 | 0.12676 | 0.83503 | 0.12676 | 0.83503 | 0.12676 | 0.83503 | 0.12676 | 0.83503 | 0.12676 | 0.83503 | 0.12676 | 0.83503
| 9 | 0.26925 | 1.757 | 0.27639 | 1.8104 | 0.26925 | 1.757 | 0.27639 | 1.8104 | 0.27122 | 1.7635 | 0.27122 | 1.7635 | 9 | 2.597 | 18.7231 | 2.597 | 18.7231 | 2.597 | 18.7231 | 2.597 | 18.7231 | 2.597 | 18.7231 | 2.597 | 18.7231 | 9 | 0.12889 | 0.92921 | 0.12889 | 0.92921 | 0.12889 | 0.92921 | 0.12889 | 0.92921 | 0.12889 | 0.92921 | 0.12889 | 0.92921
| 10 | 0.25862 | 1.9387 | 0.26588 | 1.9972 | 0.25862 | 1.9387 | 0.26588 | 1.9972 | 0.26063 | 1.9466 | 0.26063 | 1.9466 | 10 | 2.6406 | 20.5783 | 2.6406 | 20.5783 | 2.6406 | 20.5783 | 2.6406 | 20.5783 | 2.6406 | 20.5783 | 2.6406 | 20.5783 | 10 | 0.13105 | 1.0213 | 0.13105 | 1.0213 | 0.13105 | 1.0213 | 0.13105 | 1.0213 | 0.13105 | 1.0213 | 0.13105 | 1.0213
| 11 | 0.27435 | 2.124 | 0.28173 | 2.1875 | 0.27435 | 2.124 | 0.28173 | 2.1875 | 0.27639 | 2.1333 | 0.27639 | 2.1333 | 11 | 2.685 | 22.3922 | 2.685 | 22.3922 | 2.685 | 22.3922 | 2.685 | 22.3922 | 2.685 | 22.3922 | 2.685 | 22.3922 | 11 | 0.13325 | 1.1113 | 0.13325 | 1.1113 | 0.13325 | 1.1113 | 0.13325 | 1.1113 | 0.13325 | 1.1113 | 0.13325 | 1.1113
| 12 | 0.27612 | 2.3034 | 0.28363 | 2.3718 | 0.27612 | 2.3034 | 0.28363 | 2.3718 | 0.27819 | 2.314 | 0.27819 | 2.314 | 12 | 2.7301 | 24.1656 | 2.7301 | 24.1656 | 2.7301 | 24.1656 | 2.7301 | 24.1656 | 2.7301 | 24.1656 | 2.7301 | 24.1656 | 12 | 0.13549 | 1.1993 | 0.13549 | 1.1993 | 0.13549 | 1.1993 | 0.13549 | 1.1993 | 0.13549 | 1.1993 | 0.13549 | 1.1993
| 13 | 0.29855 | 2.4899 | 0.30618 | 2.563 | 0.29855 | 2.4899 | 0.30618 | 2.563 | 0.30065 | 2.5018 | 0.30065 | 2.5018 | 13 | 2.776 | 25.8995 | 2.776 | 25.8995 | 2.776 | 25.8995 | 2.776 | 25.8995 | 2.776 | 25.8995 | 2.776 | 25.8995 | 13 | 0.13777 | 1.2854 | 0.13777 | 1.2854 | 0.13777 | 1.2854 | 0.13777 | 1.2854 | 0.13777 | 1.2854 | 0.13777 | 1.2854
| 14 | 0.30166 | 2.671 | 0.30941 | 2.7488 | 0.30166 | 2.671 | 0.30941 | 2.7488 | 0.3038 | 2.6843 | 0.3038 | 2.6843 | 14 | 2.8226 | 27.5947 | 2.8226 | 27.5947 | 2.8226 | 27.5947 | 2.8226 | 27.5947 | 2.8226 | 27.5947 | 2.8226 | 27.5947 | 14 | 0.14008 | 1.3695 | 0.14008 | 1.3695 | 0.14008 | 1.3695 | 0.14008 | 1.3695 | 0.14008 | 1.3695 | 0.14008 | 1.3695
| 15 | 0.32465 | 2.8585 | 0.33253 | 2.9409 | 0.32465 | 2.8585 | 0.33253 | 2.9409 | 0.32682 | 2.873 | 0.32682 | 2.873 | 15 | 2.87 | 29.2521 | 2.87 | 29.2521 | 2.87 | 29.2521 | 2.87 | 29.2521 | 2.87 | 29.2521 | 2.87 | 29.2521 | 15 | 0.14244 | 1.4518 | 0.14244 | 1.4518 | 0.14244 | 1.4518 | 0.14244 | 1.4518 | 0.14244 | 1.4518 | 0.14244 | 1.4518
| 16 | 0.32743 | 3.0403 | 0.33545 | 3.1271 | 0.32743 | 3.0403 | 0.33545 | 3.1271 | 0.32964 | 3.0561 | 0.32964 | 3.0561 | 16 | 2.9183 | 30.8725 | 2.9183 | 30.8725 | 2.9183 | 30.8725 | 2.9183 | 30.8725 | 2.9183 | 30.8725 | 2.9183 | 30.8725 | 16 | 0.14483 | 1.5322 | 0.14483 | 1.5322 | 0.14483 | 1.5322 | 0.14483 | 1.5322 | 0.14483 | 1.5322 | 0.14483 | 1.5322
| 17 | 0.33257 | 3.2179 | 0.34072 | 3.309 | 0.33257 | 3.2179 | 0.34072 | 3.309 | 0.33482 | 3.2348 | 0.33482 | 3.2348 | 17 | 2.9673 | 32.4567 | 2.9673 | 32.4567 | 2.9673 | 32.4567 | 2.9673 | 32.4567 | 2.9673 | 32.4567 | 2.9673 | 32.4567 | 17 | 0.14726 | 1.6108 | 0.14726 | 1.6108 | 0.14726 | 1.6108 | 0.14726 | 1.6108 | 0.14726 | 1.6108 | 0.14726 | 1.6108
| 18 | 0.33925 | 3.392 | 0.34755 | 3.4875 | 0.33925 | 3.392 | 0.34755 | 3.4875 | 0.34154 | 3.4102 | 0.34154 | 3.4102 | 18 | 3.0171 | 34.0056 | 3.0171 | 34.0056 | 3.0171 | 34.0056 | 3.0171 | 34.0056 | 3.0171 | 34.0056 | 3.0171 | 34.0056 | 18 | 0.14974 | 1.6877 | 0.14974 | 1.6877 | 0.14974 | 1.6877 | 0.14974 | 1.6877 | 0.14974 | 1.6877 | 0.14974 | 1.6877
| 19 | 0.35307 | 3.5663 | 0.3615 | 3.6659 | 0.35307 | 3.5663 | 0.3615 | 3.6659 | 0.3554 | 3.5856 | 0.3554 | 3.5856 | 19 | 3.0678 | 35.52 | 3.0678 | 35.52 | 3.0678 | 35.52 | 3.0678 | 35.52 | 3.0678 | 35.52 | 3.0678 | 35.52 | 19 | 0.15225 | 1.7628 | 0.15225 | 1.7628 | 0.15225 | 1.7628 | 0.15225 | 1.7628 | 0.15225 | 1.7628 | 0.15225 | 1.7628
| 20 | 0.36264 | 3.7385 | 0.37122 | 3.8421 | 0.36264 | 3.7385 | 0.37122 | 3.8421 | 0.36501 | 3.7588 | 0.36501 | 3.7588 | 20 | 3.1193 | 37.0005 | 3.1193 | 37.0005 | 3.1193 | 37.0005 | 3.1193 | 37.0005 | 3.1193 | 37.0005 | 3.1193 | 37.0005 | 20 | 0.15481 | 1.8363 | 0.15481 | 1.8363 | 0.15481 | 1.8363 | 0.15481 | 1.8363 | 0.15481 | 1.8363 | 0.15481 | 1.8363
| 21 | 0.37758 | 3.9108 | 0.3863 | 4.0184 | 0.37758 | 3.9108 | 0.3863 | 4.0184 | 0.37998 | 3.9323 | 0.37998 | 3.9323 | 21 | 3.1717 | 38.4481 | 3.1717 | 38.4481 | 3.1717 | 38.4481 | 3.1717 | 38.4481 | 3.1717 | 38.4481 | 3.1717 | 38.4481 | 21 | 0.15741 | 1.9081 | 0.15741 | 1.9081 | 0.15741 | 1.9081 | 0.15741 | 1.9081 | 0.15741 | 1.9081 | 0.15741 | 1.9081
| 22 | 0.38851 | 4.0813 | 0.39738 | 4.1928 | 0.38851 | 4.0813 | 0.39738 | 4.1928 | 0.39096 | 4.1038 | 0.39096 | 4.1038 | 22 | 3.225 | 39.8633 | 3.225 | 39.8633 | 3.225 | 39.8633 | 3.225 | 39.8633 | 3.225 | 39.8633 | 3.225 | 39.8633 | 22 | 0.16006 | 1.9784 | 0.16006 | 1.9784 | 0.16006 | 1.9784 | 0.16006 | 1.9784 | 0.16006 | 1.9784 | 0.16006 | 1.9784
| 23 | 0.39977 | 4.25 | 0.40878 | 4.3653 | 0.39977 | 4.25 | 0.40878 | 4.3653 | 0.40225 | 4.2736 | 0.40225 | 4.2736 | 23 | 3.2792 | 41.247 | 3.2792 | 41.247 | 3.2792 | 41.247 | 3.2792 | 41.247 | 3.2792 | 41.247 | 3.2792 | 41.247 | 23 | 0.16274 | 2.0471 | 0.16274 | 2.0471 | 0.16274 | 2.0471 | 0.16274 | 2.0471 | 0.16274 | 2.0471 | 0.16274 | 2.0471
| 24 | 0.41135 | 4.4169 | 0.42052 | 4.5359 | 0.41135 | 4.4169 | 0.42052 | 4.5359 | 0.41388 | 4.4415 | 0.41388 | 4.4415 | 24 | 3.3343 | 42.5999 | 3.3343 | 42.5999 | 3.3343 | 42.5999 | 3.3343 | 42.5999 | 3.3343 | 42.5999 | 3.3343 | 42.5999 | 24 | 0.16548 | 2.1142 | 0.16548 | 2.1142 | 0.16548 | 2.1142 | 0.16548 | 2.1142 | 0.16548 | 2.1142 | 0.16548 | 2.1142
| 25 | 0.42328 | 4.582 | 0.4326 | 4.7046 | 0.42328 | 4.582 | 0.4326 | 4.7046 | 0.42585 | 4.6076 | 0.42585 | 4.6076 | 25 | 3.3903 | 43.9225 | 3.3903 | 43.9225 | 3.3903 | 43.9225 | 3.3903 | 43.9225 | 3.3903 | 43.9225 | 3.3903 | 43.9225 | 25 | 0.16826 | 2.1798 | 0.16826 | 2.1798 | 0.16826 | 2.1798 | 0.16826 | 2.1798 | 0.16826 | 2.1798 | 0.16826 | 2.1798
| 26 | 0.43556 | 4.7454 | 0.44503 | 4.8716 | 0.43556 | 4.7454 | 0.44503 | 4.8716 | 0.43817 | 4.772 | 0.43817 | 4.772 | 26 | 3.4473 | 45.2156 | 3.4473 | 45.2156 | 3.4473 | 45.2156 | 3.4473 | 45.2156 | 3.4473 | 45.2156 | 3.4473 | 45.2156 | 26 | 0.17109 | 2.244 | 0.17109 | 2.244 | 0.17109 | 2.244 | 0.17109 | 2.244 | 0.17109 | 2.244 | 0.17109 | 2.244
| 27 | 0.4482 | 4.907 | 0.45783 | 5.0367 | 0.4482 | 4.907 | 0.45783 | 5.0367 | 0.45086 | 4.9346 | 0.45086 | 4.9346 | 27 | 3.5052 | 46.4799 | 3.5052 | 46.4799 | 3.5052 | 46.4799 | 3.5052 | 46.4799 | 3.5052 | 46.4799 | 3.5052 | 46.4799 | 27 | 0.17396 | 2.3068 | 0.17396 | 2.3068 | 0.17396 | 2.3068 | 0.17396 | 2.3068 | 0.17396 | 2.3068 | 0.17396 | 2.3068
| 28 | 0.46121 | 5.067 | 0.47101 | 5.2001 | 0.46121 | 5.067 | 0.47101 | 5.2001 | 0.46392 | 5.0955 | 0.46392 | 5.0955 | 28 | 3.5641 | 47.716 | 3.5641 | 47.716 | 3.5641 | 47.716 | 3.5641 | 47.716 | 3.5641 | 47.716 | 3.5641 | 47.716 | 28 | 0.17688 | 2.3681 | 0.17688 | 2.3681 | 0.17688 | 2.3681 | 0.17688 | 2.3681 | 0.17688 | 2.3681 | 0.17688 | 2.3681
| 29 | 0.47461 | 5.2253 | 0.48457 | 5.3617 | 0.47461 | 5.2253 | 0.48457 | 5.3617 | 0.47736 | 5.2547 | 0.47736 | 5.2547 | 29 | 3.624 | 48.9245 | 3.624 | 48.9245 | 3.624 | 48.9245 | 3.624 | 48.9245 | 3.624 | 48.9245 | 3.624 | 48.9245 | 29 | 0.17985 | 2.4281 | 0.17985 | 2.4281 | 0.17985 | 2.4281 | 0.17985 | 2.4281 | 0.17985 | 2.4281 | 0.17985 | 2.4281
| 30 | 0.4884 | 5.3819 | 0.49853 | 5.5215 | 0.4884 | 5.3819 | 0.49853 | 5.5215 | 0.4912 | 5.4122 | 0.4912 | 5.4122 | 30 | 3.6848 | 50.1061 | 3.6848 | 50.1061 | 3.6848 | 50.1061 | 3.6848 | 50.1061 | 3.6848 | 50.1061 | 3.6848 | 50.1061 | 30 | 0.18287 | 2.4867 | 0.18287 | 2.4867 | 0.18287 | 2.4867 | 0.18287 | 2.4867 | 0.18287 | 2.4867 | 0.18287 | 2.4867