## Sheet1
Waterloo North
Asset Condition Assessment Summary - units
2-SEC-25
Asset | Population | # Assets At Or Beyond WNH TUL | # Assets At Or Beyond Kinetrics TUL | Condition |  |  |  |  | Number of Units Planned for Replacement
|  |  |  | Very Good | Good | Fair | Poor | Very Poor | 2015 Bridge | 2016 Test Year | 2017 Forecast | 2018 Forecast | 2019 Forecast | 2020 Forecast
Large Power Transformers
TS Switchgear
TS Main& Tie Breaker
TS Feeder Breaker
TS Feeder Cables
TS HV Circuit Switches
TS Protection Systems
MS/DS Transformer
Wood Poles
Underground Primary Cable
WNH Distribution Transformers (Overhead) 3 Phase
WNH Distribution Transformers (Overhead) 1 Phase
WNH Distribution Transformers (Underground) Padmount
WNH Distribution Transformers (Underground) Submersible