## 45A i
Units
CI Prescriptive Measures | 2012 - Post Audit | 2013 - Post Audit | 2014 - Pre Audit
Air Curtains | 22 | 45 | 31
CEE Tier 2 Front-Loading Clothes Washers | 251 | NA | NA
Condensing Boilers | 429 | 552 | 555
Condensing Gas Water Heaters | 109 | 279 | 146
Energy Star Convection Ovens | 2 | 2 | NA
Energy Star Steam Cookers | NA | 1 | NA
Demand Control Ventilation with CO2 Sensors | NA | NA | 163
Destratification Fans | 17 | 40 | 87
Energy Star Dishwashers | 198 | 201 | 150
Energy Star Clothes Washers | 2 | NA | NA
Energy Recovery Ventilator | 232 | 524 | 528
Energy Star Fryer | 100 | 83 | 95
Heat Recovery Ventilator | 60 | 173 | 117
Infrared Heating Unit | 1017 | 2054 | 1309
Demand Control Kitchen Ventilation Unit | 17 | 19 | 26
Condensing Make-Up Air Unit | 33 | 50 | 36
Laundry Washing Equipment with Ozone | 101 | 43 | 49

## 45A ii
| 2012 - Post Audit |  | 2013 - Post Audit |  | 2014 - Pre Audit
CI Prescriptive Measures | First Year m3 | Lifetime m3 | First Year m3 | Lifetime m3 | First Year m3 | Lifetime m3
Air Curtains | 97694.2 | 1465413 | 423115.75 | 6346736.25 | 87932.95 | 1318994.25
CEE Tier 2 Front-Loading Clothes Washers | 26430.3 | 290733.3 | NA | NA | NA | NA
Condensing Boilers | 3559977.142 | 88999428.55 | 3734869.8715 | 93371746.7875 | 3843574.0205 | 96089350.5125
Condensing Gas Water Heaters | 131374.55 | 1707869.15 | 336657.2 | 4376543.6 | 172379.4 | 2240932.2
Energy Star Convection Ovens | 1355.2 | 16262.4 | 1355.2 | 16262.4 | NA | NA
Energy Star Steam Cookers | NA | NA | 2579.2 | 25792 | NA | NA
Demand Control Ventilation with CO2 Sensors | NA | NA | NA | NA | 305663.6086 | 3056636.086
Destratification Fans | 351609.3 | 5274139.5 | 754567.65 | 11318514.75 | 946784.25 | 14201763.75
Energy Star Dishwashers | 129654.5 | 1991948 | 136659.88 | 2102157.6 | 147058.12 | 2200502.4
Energy Star Clothes Washers | 79.04 | 869.44 | NA | NA | NA | NA
Energy Recovery Ventilator | 1836334.496 | 25708682.944 | 3295686.9235 | 46139616.929 | 2028377.927 | 28397290.978
Energy Star Fryer | 86640 | 1039680 | 71911.2 | 862934.4 | 107008 | 1284096
Heat Recovery Ventilator | 210750.47 | 2950506.58 | 732490.033 | 10254860.462 | 576048.6595 | 8064681.233
Infrared Heating Unit | 1457921.4204 | 29158428.408 | 1925752.86 | 38515057.2 | 1558752.1067 | 31175042.1334
Demand Control Kitchen Ventilation Unit | 175658.8 | 2634882 | 145245.5 | 2178682.5 | 232898.2 | 3493473
Condensing Make-Up Air Unit | 261839.19 | 3927587.85 | 591493.5125 | 8872402.6875 | 276608.0895 | 4149121.3425
Laundry Washing Equipment with Ozone | 837546.9504 | 12563204.256 | 308466.0125 | 4626990.1872 | 442938.7739 | 6644081.6082

## 45A iii
Incentive Levels
CI Prescriptive Measures | 2012 | 2013 | 2014
Air Curtains | $150-$1,200 | $250-$1,500 | $250-$1,500
CEE Tier 2 Front-Loading Clothes Washers | 50 | NA | NA
Condensing Boilers | $600-$4,500 | $600-$4,500 | $600-$4,500
Condensing Gas Water Heaters | 150 | 350 | 350
Energy Star Convection Ovens | 200 | NA | NA
Energy Star Steam Cookers | 200 | NA | NA
Demand Control Ventilation with CO2 Sensors | NA | NA | $100-$350
Destratification Fans | 1300 | 1300 | 1300
Energy Star Dishwashers | $100-$400 | $100-$400 | $100-$400
Energy Star Clothes Washers | 50 | NA | NA
Energy Recovery Ventilator | $600-$1,500 | $600-$1,500 | $600-$1,500
Energy Star Fryer | 200 | 200 | 200
Heat Recovery Ventilator | $400-$700 | $400-$700 | $400-$700
Infrared Heating Unit | 300 | 300 | 300
Demand Control Kitchen Ventilation Unit | $1,000-$3,500 | $1,200-$4,000 | $1,200-$4,000
Condensing Make-Up Air Unit | $300-$2,400 | $500-$2,600 | $500-$2,600
Laundry Washing Equipment with Ozone | $1,000-$6,000 | $1,000-$6,000 | $1,000-$6,000

## 45A iv
CI Prescriptive Measures | 2016-2020 Incentive Levels
Air Curtains | $600-$3,500
CEE Tier 2 Front-Loading Clothes Washers | 200
Condensing Boilers | $600-$4,500
Condensing Gas Water Heaters | 500
Energy Star Convection Ovens | 250
Energy Star Steam Cookers | 250
Demand Control Ventilation with CO2 Sensors | $400-$500
Destratification Fans | 1800
Energy Star Dishwashers | $200-$450
Energy Star Clothes Washers | 50
Energy Recovery Ventilator | $1,000-$2,500
Energy Star Fryer | 250
Heat Recovery Ventilator | $500-$750
Infrared Heating Unit | $300-$400
Demand Control Kitchen Ventilation Unit | $3,000-$7,500
Condensing Make-Up Air Unit | $1,200-$5,000
Laundry Washing Equipment with Ozone | $4,000-$8,000
Condensing Unit Heaters | 500
Condensing Furnace | 400
Boiler Load Controls | $3,000-$6,000
Combination Boilers | 2500
Tankless Water Heaters | 750
High-Efficiency Under-Fired Broiler | 250
Demand Control Ventilation with CO2 Sensors (other comm) | $400-$500

## 45A v
CI Prescriptive Measures | 2016-2020 Average % of Incremental Cost Covered by Incentive | 2016-2020 Range
Air Curtains | 37% | 34%-40%
CEE Tier 2 Front-Loading Clothes Washers | 33% | 33%
Condensing Boilers | 25% | 16%-41%
Condensing Gas Water Heaters | 22% | 22%
Energy Star Convection Ovens | 29% | 29%
Energy Star Steam Cookers | 24% | 24%
Demand Control Ventilation with CO2 Sensors | 34% | 30%-38%
Destratification Fans | 26% | 26%
Energy Star Dishwashers | 93% | 22%-%400
Energy Star Clothes Washers | 33% | 33%
Energy Recovery Ventilator | 41% | 9%-158%
Energy Star Fryer | 7% | 7%
Heat Recovery Ventilator | 29% | 2%-106%
Infrared Heating Unit | 34% | 21%-52%
Demand Control Kitchen Ventilation Unit | 34% | 30%-38%
Condensing Make-Up Air Unit | 49% | 27%-116%
Laundry Washing Equipment with Ozone | 32% | 18%-40%
Condensing Unit Heaters | 26% | 26%
Condensing Furnace | 64% | 64%
Boiler Load Controls | 37% | 36%-38%
Combination Boilers | 11% | 11%
Tankless Water Heaters | 34% | 34%
High-Efficiency Under-Fired Broiler | 13% | 13%
Demand Control Ventilation with CO2 Sensors (other comm) | 34% | 30%-38%

## 45A vi
Units
CI Prescriptive Measures | 2016 | 2017 | 2018 | 2019 | 2020
Air Curtains | 55 | 80 | 100 | 100 | 100
CEE Tier 2 Front-Loading Clothes Washers | 600 | 600 | 600 | 600 | 600
Condensing Boilers | 560 | 560 | 560 | 560 | 560
Condensing Gas Water Heaters | 180 | 100 | 0 | 0 | 0
Energy Star Convection Ovens | 15 | 20 | 40 | 40 | 40
Energy Star Steam Cookers | 5 | 10 | 20 | 20 | 20
Demand Control Ventilation with CO2 Sensors | 180 | 200 | 225 | 225 | 225
Destratification Fans | 120 | 125 | 125 | 125 | 125
Energy Star Dishwashers | 225 | 230 | 230 | 230 | 230
Energy Star Clothes Washers | 15 | 15 | 15 | 15 | 15
Energy Recovery Ventilator | 650 | 675 | 675 | 675 | 675
Energy Star Fryer | 100 | 110 | 120 | 120 | 120
Heat Recovery Ventilator | 130 | 130 | 130 | 130 | 130
Infrared Heating Unit | 1800 | 1900 | 2000 | 2000 | 2000
Demand Control Kitchen Ventilation Unit | 40 | 50 | 60 | 60 | 60
Condensing Make-Up Air Unit | 70 | 86 | 105 | 105 | 105
Laundry Washing Equipment with Ozone | 91 | 98 | 105 | 105 | 105
Condensing Unit Heaters | 60 | 80 | 100 | 100 | 100
Condensing Furnace | 60 | 80 | 100 | 100 | 100
Boiler Load Controls | 30 | 35 | 40 | 40 | 40
Combination Boilers | 10 | 10 | 10 | 10 | 10
Tankless Water Heaters | 120 | 180 | 240 | 240 | 240
High-Efficiency Under-Fired Broiler | 30 | 30 | 30 | 30 | 30
Demand Control Ventilation with CO2 Sensors (other comm) | 120 | 189 | 200 | 200 | 200

## 45A vii
| 2016 |  | 2017 |  | 2018 |  | 2019 |  | 2020
CI Prescriptive Measures | First Year m3 | Lifetime m3 | First Year m3 | Lifetime m3 | First Year m3 | Lifetime m3 | First Year m3 | Lifetime m3 | First Year m3 | Lifetime m3
Air Curtains | 315646.0667 | 4734691 | 364511.2 | 5467668 | 385534.7333 | 5783021 | 385534.7333 | 5783021 | 385534.7333 | 5783021
CEE Tier 2 Front-Loading Clothes Washers | 63180 | 694980 | 63180 | 694980 | 63180 | 694980 | 63180 | 694980 | 63180 | 694980
Condensing Boilers | 4110024.24 | 102750606 | 4110024.24 | 102750606 | 4110024.24 | 102750606 | 4110024.24 | 102750606 | 4110024.24 | 102750606
Condensing Gas Water Heaters | 204064.7692 | 2652842 | 122231.7692 | 1589013 | 0 | 0 | 0 | 0 | 0 | 0
Energy Star Convection Ovens | 10272 | 123264 | 13696 | 164352 | 27392 | 328704 | 27392 | 328704 | 27392 | 328704
Energy Star Steam Cookers | 35556 | 426672 | 71112 | 853344 | 142224 | 1706688 | 142224 | 1706688 | 142224 | 1706688
Demand Control Ventilation with CO2 Sensors | 332937.0296 | 3329370 | 362518.7 | 3625187 | 409106 | 4091060 | 409106 | 4091060 | 409106 | 4091060
Destratification Fans | 1305912 | 19588680 | 1360325 | 20404875 | 1360325 | 20404875 | 1360325 | 20404875 | 1360325 | 20404875
Energy Star Dishwashers | 284811.84 | 4305401 | 293291.84 | 4432601 | 293291.84 | 4432601 | 293291.84 | 4432601 | 293291.84 | 4432601
Energy Star Clothes Washers | 592.8182 | 6521 | 592.8182 | 6521 | 592.8182 | 6521 | 592.8182 | 6521 | 592.8182 | 6521
Energy Recovery Ventilator | 2923911.6429 | 40934763 | 2690344.4286 | 37664822 | 2690344.4286 | 37664822 | 2690344.4286 | 37664822 | 2690344.4286 | 37664822
Energy Star Fryer | 112640 | 1351680 | 123904 | 1486848 | 135168 | 1622016 | 135168 | 1622016 | 135168 | 1622016
Heat Recovery Ventilator | 878776.4286 | 12302870 | 878776.4286 | 12302870 | 878776.4286 | 12302870 | 878776.4286 | 12302870 | 878776.4286 | 12302870
Infrared Heating Unit | 2345390.8 | 46907816 | 2506933.3 | 50138666 | 2668475.85 | 53369517 | 2668475.85 | 53369517 | 2668475.85 | 53369517
Demand Control Kitchen Ventilation Unit | 409721.7333 | 6145826 | 525904.8 | 7888572 | 649869.3333 | 9748040 | 649869.3333 | 9748040 | 649869.3333 | 9748040
Condensing Make-Up Air Unit | 584929.6667 | 8773945 | 742715.2667 | 11140729 | 917714.3333 | 13765715 | 917714.3333 | 13765715 | 917714.3333 | 13765715
Laundry Washing Equipment with Ozone | 685146.6667 | 10277200 | 730720.7333 | 10960811 | 757097.1333 | 11356457 | 757097.1333 | 11356457 | 757097.1333 | 11356457
Condensing Unit Heaters | 56790 | 1022220 | 75720 | 1362960 | 94650 | 1703700 | 94650 | 1703700 | 94650 | 1703700
Condensing Furnace | 6336 | 114048 | 8448 | 152064 | 10560 | 190080 | 10560 | 190080 | 10560 | 190080
Boiler Load Controls | 126039.6 | 1890594 | 147861.9333 | 2217929 | 169684.2 | 2545263 | 169684.2 | 2545263 | 169684.2 | 2545263
Combination Boilers | 94914.5 | 2277948 | 94914.5 | 2277948 | 94914.5 | 2277948 | 94914.5 | 2277948 | 94914.5 | 2277948
Tankless Water Heaters | 51748.9 | 1034978 | 76827.1 | 1536542 | 101905.3 | 2038106 | 101905.3 | 2038106 | 101905.3 | 2038106
High-Efficiency Under-Fired Broiler | 89039.1667 | 1068470 | 89039.1667 | 1068470 | 89039.1667 | 1068470 | 89039.1667 | 1068470 | 89039.1667 | 1068470
Demand Control Ventilation with CO2 Sensors (other comm) | 188080.9 | 1880809 | 316141.3 | 3161413 | 325918.3 | 3259183 | 325918.3 | 3259183 | 325918.3 | 3259183

## Incentives wo Ranges
New Construction/Retrofit | Measure Name | 2016-2020 End-User Incentive Per Unit
Retrofit | Air Curtains - Pedestrian Single Door - ≥ 46ft² & < 96ft² | 600
Retrofit | Air Curtains - Pedestrian Double Door - ≥ 96ft² | 1000
New Const/Retrofit | Air Curtains - Shipping and Recieving - ≥ 100ft² | 3500
New Const/Retrofit | Air Curtains - Shipping and Recieving - ≥ 80ft² & < 100ft² | 3000
New Const/Retrofit | Air Curtains - Shipping and Recieving - ≥ 64ft² & < 80ft² | 3000
New Const/Replace | Condensing Boiler - Space Heating- 1000 Mbtu/hr and up | 4500
New Const/Replace | Condensing Boiler - Space Heating 300 to 999 Mbtu/hr | 1500
New Construction | Condensing Boiler - Space Heating up to 299 Mbtu/hr | 600
Replacement | Condensing Boiler - Space Heating up to 299 Mbtu/hr | 600
New Const/Replace | Condensing Boiler - Water Heating - 1000 Mbtu/hr and up | 4500
New Const/Replace | Condensing Boiler - Water Heating 300 to 999 Mbtu/hr | 1500
New Construction | Condensing Boiler - Water Heating up to 299 Mbtu/hr | 600
Replacement | Condensing Boiler - Water Heating up to 299 Mbtu/hr | 600
All | Condensing Gas Water Heaters | 500
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Imp efficiency 1000 -4999 cfm | 1200
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Imp efficiency ≥ 5000 cfm | 2500
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + 2 speed 1000 -4999 cfm | 2000
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + 2 speed ≥ 5000 cfm ¹⁵ | 3500
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + VFDs 1000 -4999 cfm | 3000
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + VFDs ≥ 5000 cfm ¹⁵ | 5000
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency Imp efficiency 1000 -4999 cfm | 1200
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency Imp efficiency ≥ 5000 cfm | 2500
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + 2 speed 1000 -4999 cfm | 2000
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + 2 speed ≥ 5000 cfm | 3500
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs >1000 -4999 cfm | 3000
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs ≥ 5000 cfm | 5000
New Const/Replace | DCKV Fast Casual (< 5000 cfm) | 3000
New Const/Replace | DCKV Dinner House (10000 - 15000 cfm) | 7500
New Const/Replace | DCKV Full Menu (5000 - 9999 cfm) | 5000
New Const/Replace | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor - (DCV) controls with CO2 sensors -New w/o maintenance plan | 400
New Const/Replace | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor - (DCV) controls with CO2 sensors -New w/o maintenance plan | 400
New Const/Replace | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -New w/o maintenance plan | 400
New Const/Replace | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -New w/o maintenance plan | 400
New Const/Replace | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor - (DCV) controls with CO2 sensors -New w/ maintenance plan | 400
New Const/Replace | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor - (DCV) controls with CO2 sensors -New w/ maintenance plan | 400
New Const/Replace | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -New w/ maintenance plan | 400
New Const/Replace | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -New w/ maintenance plan | 400
Retrofit | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor - (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 500
Retrofit | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor - (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 500
Retrofit | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 500
Retrofit | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | 500
Retrofit | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor - (DCV) controls with CO2 sensors -Retrofit w/ maintenance plan | 500
Retrofit | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor - (DCV) controls with CO2 sensors -Retrofit w/ maintenance plan | 500
Retrofit | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -Retrofit w/ maintenance plan | 500
Retrofit | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -Retrofit w/ maintenance plan | 500
All | Destratification Fan | 1800
New Const/Replace | Energy Star Dishwasher - Rack Conveyor - Multi Tank - High Temperature - Purchase | 450
New Const/Replace | Energy Star Dishwasher - Rack Conveyor - Single Tank - High Temperature - Purchase | 450
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Door Type - High Temperature - Purchase | 200
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Door Type - Low Temperature - Purchase | 200
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Single Rack - High Temperature - Purchase | 200
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Single Rack - Low Temperature - Purchase | 200
New Const/Replace | Energy Star Dishwasher - Undercounter - High Temperature - Purchase | 200
New Const/Replace | Energy Star Dishwasher - Undercounter - Low Temperature - Purchase | 200
New Const/Replace | Energy Star Convection Oven | 250
New Const/Replace | Energy Star Steam Cooker (boiler-based) | 250
New Const/Replace | Energy Star Fryer | 250
New Construction | ERV 1 - up to 2000CFM - Multi Family, Health Care, Nursing ²⁹ | 1000
Retrofit | ERV 1 - up to 2000CFM - Multi Family, Health Care, Nursing ³⁰ | 1000
New Construction | ERV 2 - over 2000CFM - Multi Family, Health Care, Nursing ³¹ | 2500
Retrofit | ERV 2 - over 2000CFM - Multi Family, Health Care, Nursing ³² | 2500
New Construction | ERV 3 - up to 2000CFM - Hotel, Restaurant, Retail ³³ | 1000
Retrofit | ERV 3 - up to 2000CFM - Hotel, Restaurant, Retail ³⁴ | 1000
New Construction | ERV 4 - over 2000CFM - Hotel, Restaurant, Retail ³⁵ | 2500
Retrofit | ERV 4 - over 2000CFM - Hotel, Restaurant, Retail ³⁶ | 2500
New Construction | ERV 5 - up to 2000CFM - All Other Commercial³⁷ | 1000
Retrofit | ERV 5 - up to 2000CFM - All Other Commercial³⁸ | 1000
New Construction | ERV 6 - over 2000CFM - All Other Commercial³⁹ | 2500
Retrofit | ERV 6 - over 2000CFM - All Other Commercial ⁴⁰ | 2500
New Construction | HRV 500 to 2,000cfm-Hotel, Restaurant, Retail, Rec ⁴⁴ | 500
Retrofit | HRV 500 to 2,000cfm-Hotel, Restaurant, Retail, Rec ⁴⁵ | 500
New Construction | HRV >2,000cfm-Hotel, Restaurant, Retail, Rec ⁴¹ | 750
Retrofit | HRV >2,000cfm-Hotel, Restaurant, Retail, Rec ⁴² | 750
New Construction | HRV 500 to 2,000cfm - All other commercial ⁴³ | 500
Retrofit | HRV 500 to 2,000cfm - All other commercial ⁴³ | 500
New Construction | HRV ≥2,000cfm-All other commercial ⁴³ | 750
Retrofit | HRV ≥2,000cfm-All other commercial ⁴³ | 750
New Construction | HRV ≥2,000cfm- Multi Family, Health Care, Nursing ⁴⁶ | 750
Retrofit | HRV ≥2,000cfm- Multi Family, Health Care, Nursing ⁴⁶ | 750
New Construction | HRV 500 to 2000cfm- Multi Family, Health Care, Nursing ⁴⁶ | 500
Retrofit | HRV 500 to 2000cfm- Multi Family, Health Care, Nursing ⁴⁷ | 500
New Const/Replace | Infrared Heating 1- 20 to 99 MBtu/hr 1-Stage | 300
New Const/Replace | Infrared Heating 2- 100-300 MBtu/hr 1-Stage | 300
New Const/Replace | Infrared Heating 3- 20 to 99 MBtu/hr 2-Stage | 400
New Const/Replace | Infrared Heating 4- 100-300 MBtu/hr 2-Stage | 400
New Const/Retrofit | Ozone WE =< 60 lbs cap & 100,000 to 199,999lbs/yr. | 4000
New Const/Retrofit | Ozone WE =< 60 lbs cap & => 200,000 lbs/yr. | 4500
New Const/Retrofit | Ozone WE >60 lbs & =< 120lbs & => 200,000 lbs/yr. | 4500
New Const/Retrofit | Ozone WE > 120lbs & <500lbs & => 260,000 lbs/yr. | 8000
New Const/Replace | High Efficiency Under-Fired Broiler | 250
New Const/Replace | Commercial Condensing Tankless Gas Water Heater | 750
New Const/Replace | Boiler Load Controls Basic - CI (purchase) | 3000
New Const/Replace | Boiler Load Controls Basic - MURBs (purchase) | 3000
New Const/Replace | Boiler Load Controls Temp Sensor- MURBs (existing buildings) | 6000
New Const/Replace | Boiler Load Controls Temp Sensor - MURBs (new buildings) | 6000
All | Combination Boilers | 2500
New Const/Replace | CEE Tier 2 Front-Loading Clothes Washer. Multi-Family. | 200
New Const/Replace | Energy Star Front-Loading Clothes Washer. Multi-Family. | 50
New Const/Replace | Condensing Unit Heaters | 500
Replacement | High Efficiency Condensing Furnace. | 400

## Avg. Incentives
New Construction/Retrofit | Measure Name | 2012 Average Incentive Paid | 2013 Average Incentive Paid | 2014 Average Incentive Paid | 2016 Average Incentive Budgeted | 2017 Average Incentive Budgeted | 2018 Average Incentive Budgeted | 2019 Average Incentive Budgeted | 2020 Average Incentive Budgeted
Retrofit | Air Curtains - Pedestrian Single Door - ≥ 46ft² & < 96ft² | 150 | 250 | 250 | 600 | 600 | 600 | 600 | 600
Retrofit | Air Curtains - Pedestrian Double Door - ≥ 96ft² | - | 500 | 500 | 1000 | 1000 | 1000 | 1000 | 1000
New Const/Retrofit | Air Curtains - Shipping and Recieving - ≥ 100ft² | 1200 | 1500 | 1500 | 3500 | 3500 | 3500 | 3500 | 3500
New Const/Retrofit | Air Curtains - Shipping and Recieving - ≥ 80ft² & < 100ft² | - | 1000 | 1000 | 3000 | 3000 | 3000 | 3000 | 3000
New Const/Retrofit | Air Curtains - Shipping and Recieving - ≥ 64ft² & < 80ft² | 600 | 1000 | - | 3000 | 3000 | 3000 | 3000 | 3000
New Const/Replace | Condensing Boiler - Space Heating- 1000 Mbtu/hr and up | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500
New Const/Replace | Condensing Boiler - Space Heating 300 to 999 Mbtu/hr | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
New Construction | Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-New | 600 | 600 | 600 | 600 | 600 | 600 | 600 | 600
Replacement | Condensing Boiler - Space Heating (200 to 299 Mbtu/h)-90% AFUE-Existing | - | 600 | 600 | 600 | 600 | 600 | 600 | 600
New Const/Replace | Condensing Boiler - DHW (1000 to 1499 Mbtu/h)-90% or greater AFUE-New/Existing | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500 | 4500
New Const/Replace | Condensing Boiler - DHW (300 to 599 Mbtu/h)-90% or greater AFUE-New/Existing | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
New Construction | Condensing Boiler - DHW (100 to 199 Mbtu/h)-90% or greater AFUE-New | - | 600 | 600 | 600 | 600 | 600 | 600 | 600
Replacement | Condensing Boiler - DHW (200 to 299 Mbtu/h)-90% or greater AFUE- Existing | - | 600 | 600 | 600 | 600 | 600 | 600 | 600
New Const/Replace | Condensing Gas Water Heater | 150 | 350 | 350 | 500 | 500 | - | - | -
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Imp efficiency 1000 -4999 cfm | 300 | 500 | 500 | 1200 | 1200 | 1200 | 1200 | 1200
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Imp efficiency ≥ 5000 cfm | 1000 | 1200 | 1200 | 2500 | 2500 | 2500 | 2500 | 2500
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + 2 speed 1000 -4999 cfm | - | 1000 | - | 2000 | 2000 | 2000 | 2000 | 2000
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + 2 speed ≥ 5000 cfm ¹⁵ | - | - | 1800 | 3500 | 3500 | 3500 | 3500 | 3500
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + VFDs 1000 -4999 cfm | 1200 | 1400 | - | 3000 | 3000 | 3000 | 3000 | 3000
New Const/Replace | Condensing Rooftop Units (MUA) Multifamily & Healthcare Efficiency + VFDs ≥ 5000 cfm ¹⁵ | - | 2600 | 2600 | 5000 | 5000 | 5000 | 5000 | 5000
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency Imp efficiency 1000 -4999 cfm | 300 | - | 500 | 1200 | 1200 | 1200 | 1200 | 1200
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency Imp efficiency ≥ 5000 cfm | 1000 | 1200 | - | 2500 | 2500 | 2500 | 2500 | 2500
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + 2 speed 1000 -4999 cfm | - | 1000 | 1000 | 2000 | 2000 | 2000 | 2000 | 2000
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + 2 speed ≥ 5000 cfm | 1600 | 1800 | - | 3500 | 3500 | 3500 | 3500 | 3500
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs >1000 -4999 cfm | - | 1400 | 1400 | 3000 | 3000 | 3000 | 3000 | 3000
New Const/Replace | Condensing Rooftop Units (MUA) All other Commercial Efficiency + VFDs ≥ 5000 cfm | 2400 | 2600 | 2600 | 5000 | 5000 | 5000 | 5000 | 5000
New Const/Replace | DCKV Fast Casual (< 5000 cfm) | 1000 | 1200 | 1200 | 3000 | 3000 | 3000 | 3000 | 3000
New Const/Replace | DCKV Dinner House (10000 - 15000 cfm) | 3500 | 4000 | - | 7500 | 7500 | 7500 | 7500 | 7500
New Const/Replace | DCKV Full Menu (5000 - 9999 cfm) | 2500 | 3000 | 3000 | 5000 | 5000 | 5000 | 5000 | 5000
New Const/Replace | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor - (DCV) controls with CO2 sensors -New w/o maintenance plan | - | - | 100 | 400 | 400 | 400 | 400 | 400
New Const/Replace | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -New w/o maintenance plan | - | - | 150 | 400 | 400 | 400 | 400 | 400
New Const/Replace | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -New w/o maintenance plan | - | - | 350 | 400 | 400 | 400 | 400 | 400
Retrofit | DCV Office – RTU/MUA < 2,500 sq ft ventilated with CO2 Sensor - (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | - | - | 100 | 500 | 500 | 500 | 500 | 500
Retrofit | DCV Office – RTU/MUA ≥ 2,500 sq ft with CO2 Sensor - (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | - | - | 200 | 500 | 500 | 500 | 500 | 500
Retrofit | DCV Retail - RTU/MUA < 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | - | - | 150 | 500 | 500 | 500 | 500 | 500
Retrofit | DCV Retail – RTU/MUA ≥ 5,000 sq ft ventilated with CO2 Sensor- (DCV) controls with CO2 sensors -Retrofit w/o maintenance plan | - | - | 350 | 500 | 500 | 500 | 500 | 500
New Const/Retrofit | Destratification Fan | 1300 | 1300 | 1300 | 1800 | 1800 | 1800 | 1800 | 1800
New Const/Replace | Energy Star Dishwasher - Rack Conveyor - Multi Tank - High Temperature - Purchase | - | - | 400 | 450 | 450 | 450 | 450 | 450
New Const/Replace | Energy Star Dishwasher - Rack Conveyor - Single Tank - High Temperature - Purchase | 400 | 400 | 400 | 450 | 450 | 450 | 450 | 450
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Door Type - High Temperature - Purchase | 100 | 100 | 100 | 200 | 200 | 200 | 200 | 200
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Door Type - Low Temperature - Purchase | 100 | 100 | 100 | 200 | 200 | 200 | 200 | 200
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Single Rack - High Temperature - Purchase | - | 100 | 100 | 200 | 200 | 200 | 200 | 200
New Const/Replace | Energy Star Dishwasher - Stationary Rack - Single Rack - Low Temperature - Purchase | 100 | 100 | 100 | 200 | 200 | 200 | 200 | 200
New Const/Replace | Energy Star Dishwasher - Undercounter - High Temperature - Purchase | 100 | 100 | 100 | 200 | 200 | 200 | 200 | 200
New Const/Replace | Energy Star Dishwasher - Undercounter - Low Temperature - Purchase | 100 | 100 | 100 | 200 | 200 | 200 | 200 | 200
New Const/Replace | Energy Star Convection Oven | 200 | 200 | - | 250 | 250 | 250 | 250 | 250
New Const/Replace | Energy Star Steam Cooker (boiler-based) | - | 200 | - | 250 | 250 | 250 | 250 | 250
New Const/Replace | Energy Star Fryer - from Final TRM sub doc | 200 | 200 | 200 | 250 | 250 | 250 | 250 | 250
New Construction | ERV 1 - up to 2000CFM - Multi Family, Health Care, Nursing ²⁹ | 600 | 600 | 600 | 1000 | 1000 | 1000 | 1000 | 1000
Retrofit | ERV 1 - up to 2000CFM - Multi Family, Health Care, Nursing ³⁰ | - | 600 | 600 | 1000 | 1000 | 1000 | 1000 | 1000
New Construction | ERV 2 - over 2000CFM - Multi Family, Health Care, Nursing ³¹ | 1500 | 1500 | 1500 | 2500 | 2500 | 2500 | 2500 | 2500
Retrofit | ERV 2 - over 2000CFM - Multi Family, Health Care, Nursing ³² | 1500 | 1500 | 1500 | 2500 | 2500 | 2500 | 2500 | 2500
New Construction | ERV 3 - up to 2000CFM - Hotel, Restaurant, Retail ³³ | 600 | 600 | 600 | 1000 | 1000 | 1000 | 1000 | 1000
Retrofit | ERV 3 - up to 2000CFM - Hotel, Restaurant, Retail ³⁴ | - | 600 | 600 | 1000 | 1000 | 1000 | 1000 | 1000
New Construction | ERV 4 - over 2000CFM - Hotel, Restaurant, Retail ³⁵ | 1500 | 1500 | 1500 | 2500 | 2500 | 2500 | 2500 | 2500
Retrofit | ERV 4 - over 2000CFM - Hotel, Restaurant, Retail ³⁶ | 1500 | 1500 | 1500 | 2500 | 2500 | 2500 | 2500 | 2500
New Construction | ERV 5 - up to 2000CFM - All Other Commercial³⁷ | 600 | 600 | 600 | 1000 | 1000 | 1000 | 1000 | 1000
Retrofit | ERV 5 - up to 2000CFM - All Other Commercial³⁸ | - | 600 | 600 | 1000 | 1000 | 1000 | 1000 | 1000
New Construction | ERV 6 - over 2000CFM - All Other Commercial³⁹ | 1500 | 1500 | 1500 | 2500 | 2500 | 2500 | 2500 | 2500
Retrofit | ERV 6 - over 2000CFM - All Other Commercial ⁴⁰ | - | 1500 | 1500 | 2500 | 2500 | 2500 | 2500 | 2500
New Construction | HRV 500 to 2,000cfm-Hotel, Restaurant, Retail, Rec ⁴⁴ | 400 | 400 | 400 | 500 | 500 | 500 | 500 | 500
Retrofit | HRV 500 to 2,000cfm-Hotel, Restaurant, Retail, Rec ⁴⁵ | 400 | 400 | 400 | 500 | 500 | 500 | 500 | 500
New Construction | HRV >2,000cfm-Hotel, Restaurant, Retail, Rec ⁴¹ | 700 | - | 700 | 750 | 750 | 750 | 750 | 750
Retrofit | HRV >2,000cfm-Hotel, Restaurant, Retail, Rec ⁴² | - | 700 | 700 | 750 | 750 | 750 | 750 | 750
New Construction | HRV 500 to 2,000cfm - All other commercial ⁴³ | 400 | 400 | 400 | 500 | 500 | 500 | 500 | 500
Retrofit | HRV 500 to 2,000cfm - All other commercial ⁴³ | 400 | 400 | 400 | 500 | 500 | 500 | 500 | 500
New Construction | HRV ≥2,000cfm-All other commercial ⁴³ | 700 | 700 | 700 | 750 | 750 | 750 | 750 | 750
Retrofit | HRV ≥2,000cfm-All other commercial ⁴³ | 700 | 700 | 700 | 750 | 750 | 750 | 750 | 750
New Construction | HRV ≥2,000cfm- Multi Family, Health Care, Nursing ⁴⁶ | - | - | - | 750 | 750 | 750 | 750 | 750
Retrofit | HRV ≥2,000cfm- Multi Family, Health Care, Nursing ⁴⁶ | - | - | - | 750 | 750 | 750 | 750 | 750
New Construction | HRV 500 to 2000cfm- Multi Family, Health Care, Nursing ⁴⁶ | 400 | 400 | 400 | 500 | 500 | 500 | 500 | 500
Retrofit | HRV 500 to 2000cfm- Multi Family, Health Care, Nursing ⁴⁷ | 400 | 400 | 400 | 500 | 500 | 500 | 500 | 500
New Const/Replace | Infrared Heating 1- 20 to 99 MBtu/hr 1-Stage | - | 300 | 300 | 300 | 300 | 300 | 300 | 300
New Const/Replace | Infrared Heating 2- 100-300 MBtu/hr 1-Stage | - | 300 | 300 | 300 | 300 | 300 | 300 | 300
New Const/Replace | Infrared Heating 3- 20 to 99 MBtu/hr 2-Stage | - | 300 | 300 | 400 | 400 | 400 | 400 | 400
New Const/Replace | Infrared Heating 4- 100-300 MBtu/hr 2-Stage | - | 300 | 300 | 400 | 400 | 400 | 400 | 400
New Const/Retrofit | Ozone WE =< 60 lbs cap & 100,000 to 199,999lbs/yr. | 1000 | 1000 | 1000 | 4000 | 4000 | 4000 | 4000 | 4000
New Const/Retrofit | Ozone WE =< 60 lbs cap & => 200,000 lbs/yr | 1500 | 1500 | 1500 | 4500 | 4500 | 4500 | 4500 | 4500
New Const/Retrofit | Ozone WE >60 lbs & =< 120lbs & => 200,000 lbs/yr. | - | - | 1500 | 4500 | 4500 | 4500 | 4500 | 4500
New Const/Retrofit | Ozone WE > 120lbs & <500lbs & => 260,000 lbs/yr. | 6000 | 6000 | 6000 | 8000 | 8000 | 8000 | 8000 | 8000
New Const/Replace | High Efficiency Under-Fired Broiler | - | - | - | 250 | 250 | 250 | 250 | 250
New Const/Replace | Commercial Condensing Tankless Gas Water Heater | - | - | - | 750 | 750 | 750 | 750 | 750
New Const/Replace | Boiler Load Controls Basic - CI (purchase) | - | - | - | 3000 | 3000 | 3000 | 3000 | 3000
New Const/Replace | Boiler Load Controls Basic - MURBs (purchase) | - | - | - | 3000 | 3000 | 3000 | 3000 | 3000
New Const/Replace | Boiler Load Controls Temp Sensor- MURBs (existing buildings) | - | - | - | 6000 | 6000 | 6000 | 6000 | 6000
New Const/Replace | Boiler Load Controls Temp Sensor - MURBs (new buildings) | - | - | - | 6000 | 6000 | 6000 | 6000 | 6000
New Const/Replace | Combination Boiler - Multi Family Residential | - | - | - | 2500 | 2500 | 2500 | 2500 | 2500
New Const/Replace | CEE Tier 2 Front-Loading Clothes Washer. Multi-Family. | 50 | - | - | 200 | 200 | 200 | 200 | 200
New Const/Replace | Energy Star Front-Loading Clothes Washer. Multi-Family. | 50 | - | - | 50 | 50 | 50 | 50 | 50
New Const/Replace | Condensing Unit Heaters | - | - | - | 500 | 500 | 500 | 500 | 500
Replacement | High Efficiency Condensing Furnace | - | - | - | 400 | 400 | 400 | 400 | 400