## Sheet1
Waterloo North
Interrogatory 2-SEC-35
Exhibit 2 Appendix G
Capital Investments Summary | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | Source
SYSTEM ACCESS
Expansions
Subdivisions - # of lots | 500 | 767 | 489 | 280 | 101 | 200 | App G Page 10
Subdivisions - cost | 1009825 | 1458126 | 833390 | 737710 | 386520 | 593795 | App G Page 10
Retail Meters
Residential Meters (Retail) - # meters | 1271 | 2183 | 3109 | 1436 | 850 | 850
Residential Meters (Retail) - cost | 501327 | 332093 | 423913 | 96507 | 220898 | 210467 | Table 2-AA; App G Page 13
C&I Meters <50kW (Retail) - # meters | 2163 | 393 | 414 | 264 | 100 | 100
C&I Meters <50kW (Retail) - cost | 468979 | 81567 | 65691 | 40702 | 73901 | 70750 | App G Page 13
C&I Meters >50kW (Retail) - # meters | 181 | 222 | 170 | 204 | 120 | 120
C&I Meters >50kW (Retail) - cost | 252027 | 195457 | 322316 | 214612 | 313457 | 306402 | Table 2-AA; App G Page 13
SYSTEM RENEWAL
Overhead Line Renewal - 1
# sections | 7 | 4 | 8 | 3 | 0 | 2
total length (m) | 6920 | 900 | 6720 | 2800 | 0 | 2500
% urban | 42% | 100% | 36% | 21% | 0% | 50%
# poles | 94 | 15 | 121 | 74 | 0 | 40
cost | 1744362 | 465712 | 1205957 | 945198 | 0 | 431911 | App G Page 16
Underground Line Renewal
4 kV cable - metres | 9425 | 6690 | 2500 | 356 | 1755
4 kV cable - cost | 2129653 | 1456577 | 1277244 | 244585 | 565525 |  | App G Page 19
15 kV cable - metres |  |  |  | 699 | 1860 | 1656
15 kV cable - cost |  |  |  | 322779 | 455655 | 809117 | App G Page 19
OH to UG Primary Renewal - meters |  |  |  | 2320
OH to UG Primary Renewal - cost |  |  |  | 951613
OH to UG Secondary Renewal - meters |  |  |  | 88
OH to UG Secondary Renewal - cost |  |  |  | 9410
OverheadLine Renewal - Failing Conductor
Small conductor lines - rural metres | 2000 | 4400 | 1500 |  | 3130 | 6040
Small conductor lines - cost | 264226 | 660333 | 316749 |  | 370065 | 1139381 | App G Page 23
Small conductor lines - back lot metres |  |  |  | 2360 | 870 | 0
Small conductor lines - back lot cost |  |  |  | 2729338 | 869675 | 0 | App G Page 23
Overhead Line Renewal - 8 kV
# sections | 10 | 15 | 9 | 10 | 7 | 5
total length | 8100 | 11400 | 4900 | 11000 | 9450 | 12000
% urban | 26% | 25% | 47% | 57% | 42.86% | 20%
# poles | 94 | 136 | 125 | 281 | 135 | 177
cost | 2006420 | 2665999 | 1213787 | 1829531 | 1622886 | 1841523 | App G Page 27
Overhead Line Renewal - 4 kV
# sections | 13 | 14 | 11 | 7 | 5 | 10
total length | 4100 | 6210 | 4450 | 3100 | 3400 | 6350
% urban | 100% | 100% | 100% | 100% | 100% | 100%
# poles | 36 | 22 | 23 | 114 | 79 | 160
cost | 1903795 | 2225135 | 1346130 | 1095305 | 885015 | 1904888 | App G Page 31
Overhead Line Refurbishment - 4 kV
# sections | 0 | 0 | 0 | 1 | 2 | 6
total length | 0 | 0 | 0 | 600 | 900 | 3350
% urban | 0% | 0% | 0% | 100% | 100% | 100%
# poles | 0 | 0 | 0 | 0 | 0 | 0
cost | 0 | 0 | 0 | 99682 | 107017 | 484953 | App G Page 35
Please fill out the shadded cells
Note on E33: Author: NOTE: Green indicates category added for 2014. Amounts shown to illustrate the capital program based on cable voltage class.