ONTARIO ENERGY BOARD

| FILE NO.: | EB-2015-0004 | Hydro Ottawa Limited |
| --- | --- | --- |
| VOLUME: DATE: | Technical Conference August 13, 2015 |  |

EB-2015-0004

Hydro Ottawa Limited

Application for electricity distribution rates for the period from January 1, 2016 to December 31, 2020.

Hearing held at 2300 Yonge Street,

25th Floor, Toronto, Ontario,

on Thursday, August 13, 2015,

commencing at 9:43 a.m.

--------------------

TECHNICAL CONFERENCE

--------------------

MAUREEN HELT	Board Counsel

CHRISTIE CLARK	Board Staff

KARL HEIMLICH

FRED CASS	Hydro Ottawa Limited

GEOFF SIMPSON

GREG VAN DEUSEN

LESLIE MILTON	Rogers Communications Partnership,

DAVID McEWEN	TELUS Communications Company and

JENNIFER McALEER	Quebecor Media ("the Carriers")

RUTH GREEY	Consumers' Council of Canada (CCC)

RANDY AIKEN	Energy Probe Research Foundation

JAY SHEPHERD	School Energy Coalition (SEC)

MARK GARNER	Vulnerable Energy Consumers'

BILL HARPER	Coalition (VECC)

--- On commencing at 9:43 a.m.	1

Preliminary Matters	1

Appearances	2

HYDRO OTTAWA LIMITED - PANEL 1	4

B. Bennett, A. Collier, C. Malone, P. Jones

Questions by Ms. Milton:	5

Questions by Mr. Harper:	25

Continued Questions by Ms. Milton:	27

Questions by Mr. Harper:	46

Continued Questions by Ms. Milton:	47

Questions by Mr. Clark:	47

--- Recess taken at 11:13 a.m.	48

--- On resuming at 11:30 a.m.	48

Questions by Mr. Harper:	48

Continued Questions by Ms. Milton:	50

Questions by Mr. Harper:	56

Continued Questions by Ms. Milton:	59

Questions by Mr. Harper:	82

Continued Questions by Ms. Milton:	83

--- Luncheon recess taken at 12:40 p.m.	86

--- On resuming at 1:43 p.m.	86

HYDRO OTTAWA LIMITED - PANEL 2	87

B. Bennett, A. Collier, P. Jones, M. Grue, A. Barrie

Questions by Mr. Harper:	87

Questions by Mr. Aiken:	97

Questions by Mr. Clark:	98

Questions by Mr. Harper:	100

Questions by Mr. Aiken:	105

Questions by Mr. Harper:	107

Questions by Ms. Greey:	112

Questions by Mr. Shepherd:	115

Questions by Mr. Garner:	119

Questions by Ms. Greey:	126

Questions by Mr. Shepherd:	129

Continued Questions by Ms. Greey:	130

Questions by Mr. Shepherd:	133

Continued Questions by Ms. Greey:	135

Questions by Mr. Shepherd:	151

Continued Questions by Ms. Greey:	159

--- Recess taken at 3:33 p.m.	163

--- On resuming at 3:50 p.m.	163

Questions by Mr. Aiken:	163

Questions by Mr. Shepherd:	164

Continued Questions by Mr. Aiken:	168

Questions by Mr. Shepherd:	169

Continued Questions by Mr. Aiken:	171

Questions by Mr. Garner:	186

Continued Questions by Mr. Aiken:	186

Questions by Mr. Shepherd:	197

Procedural Matters	206

--- Whereupon the hearing adjourned at 5:03 p.m.	207

No Exhibits were filed in this Proceeding.

UNDERTAKING NO. JTC1.1: to advise the number of Hydro Ottawa poles that have wireline attachments in the communication space	8

UNDERTAKING NO. JTC1.2:  to provide the number of poles of the 35,663 that have Only Hydro One attachments, no telecom or street lighting	9

UNDERTAKING NO. jTC1.3:  to provide the number of all in-service distribution poles that have third party attachers of any sort	11

UNDERTAKING NO. JTC1.4:  To provide the rate paid for the over-lash attachments	20

UNDERTAKING NO. JTC1.5:  TO PROVIDE CURRENT DATA IN RESPONSE TO CARRIERS IR 1(F), (G), AND (H), using relevant definitions.	25

UNDERTAKING NO. JTC1.6:  to provide a RESPONSE TO CARRIERS' INTERROGATORY 1(L), TO PROVIDE THE RATES THAT HYDRO ONE PAYS FOR USAGE OF HYDRO OTTAWA POLES FOR THE COMMUNICATION SPACE THE RATE THEY PAY FOR THEIR POWER ATTACHMENTS.	29

UNDERTAKING NO. JTC1.7:  TO RUN THE CURRENT GIS DATA FOR THE QUESTION THAT WAS SET OUT IN CARRIERS 4(A).	35

UNDERTAKING NO. JTC1.8:  with reference to Exhibit B, tab 1, Schedule 2, page 89 of 2014, to provide the year that the numbers reflected in table 2.2.5 stem from; B, to provide what year the number is as reflected in the table on page 89 of 2014 and as reflected in the first paragraph on page 93 of 214; C, to clarify any discrepancy between the numbers reported in table 1 in response to CarrierS 6(a) and the numbers reported in this document we've just been looking at	41

UNDERTAKING NO. JTC1.9:  to further elaborate on the response to Carriers 11, and to make best efforts to provide the current number of poles per year that required testing, that required repairs, and that required straightening	52

UNDERTAKING NO. JTC1.10: TO PROVIDE THE ACCOUNT NUMBER WORK FOR OTHERS IS TRACKED IN	53

UNDERTAKING NO. JTC1.11:  (A) to provide the numbers of hours with respect to the response to Carriers 12 for the years 2010, 2011, 2012, 2014, and 2015 Year-to-date; (B) to provide the amount tracked for annual routine permit processing for 2011, 2012, 2014, and year-to-date 2015; (c), to provide the number of permits processed each year for 2011 through to 2015 year-to-date	63

UNDERTAKING NO. JTC1.12:  to confirm whether or not the banners are included in the costs that are tracked	65

UNDERTAKING NO. JTC1.13:  FOR THE NUMBERS FOR WIRES DOWN AND FOR TREES ON WIRES TO UNDER TO INDICATE WHETHER THE NUMBER OF CALLS PROVIDED RELATES TO HYDRO OTTAWA-OWNED POLES ONLY OR IF IT ALSO RELATES TO HYDRO OTTAWA PLUS THIRD-PARTY-OWNED POLES THAT ARE OPERATED ON.	67

UNDERTAKING NO. JTC1.14:  To explain why the number of poles affected is the same as the number of poles used in the calculation in 2013	69

UNDERTAKING NO. JTC1.15:  to provide information with respect to how the numbers were arrived at with respect to the field verification and returning crew numbers for the years 2014 and 2015	71

UNDERTAKING NO. JTC1.16:  to provide the number of poles replaced as part of planned pole replacement for 2011 to 2015	74

UNDERTAKING NO. JTC1.17:  (a) to provide an explanation for the differences between the number of wireline attachers as reflected in response to Carriers Interrogatory 1(c) and contrast that to table 1 that was provided in response to Carriers 16; (b) TO PROVIDE A DESCRIPTION OF WHAT'S INCLUDED IN WIRELINE ATTACHMENTS IN THE SECOND ROW; (c), to confirm the difference between the values for Specific charge for access to the power poles as reflected in Exhibit C, tab 2, Schedule 2, page 2 of 3, with the number in Table 1 in response to Carriers 16; (D), to reconcile the numbers in Carriers 4(a) with those numbers that are found in response to Carriers 16(d)	77

UNDERTAKING NO. JTC1.18:  to provide a copy of the model agreement referred to in response to Carrier 17 (a), (b) and (c)	84

UNDERTAKING NO. JTC1.19:  TO PROVIDE THE HISTORICAL DATA BACK TO 2011 FOR EACH CUSTOMER CLASS, AND TO DO SO IN AN EXCEL SPREADSHEET.	93

UNDERTAKING NO. JTC1.20:  to advise the end date of the forecast figure from the conference board of canada, and how many years of extrapolation HOL did in the material currently filed	94

UNDERTAKING NO. JTC1.21:  to provide versions of table 1, table 2, table 3, and table 4 in Exhibit C, tab 1, schedule 1, that reflect the updated forecast from the Conference Board of Canada as shown on table 4 to the interrogatory response, with no other changes from the methodology used for the forecast; (B), to provide a table that shows, for each of 2016 through 2020, the change in the kilowatt-hours, kilowatts and customer forecast for each rate class based on the response to my first question, the difference between that and at original forecast; (c), to identify the impact on the revenue deficiency in each of the years, based on the updated forecast shown in the response to 3-VECC-21.	98

UNDERTAKING NO. JTC1.22:  with reference to OEB No. 1, TO PROVIDE AN EXPLANATION TO THE CHANGE TO THE FORMULA AND THE IMPACT OF THE CHANGE ON THE CALCULATIONS DONE ON THE COST ALLOCATION MODEL.	102

UNDERTAKING NO. JTC1.23:  with respect to VECC 47, TO PROVIDE A LISTING OF THE 22 EXPENSE-RELATED ITEMS THAT ARE REFERRED TO IN THAT UNDERTAKING RESPONSE AND THE CUSTOMER CLASSES ASSOCIATED WITH EACH OF THOSE ITEMS; THE ANSWER WILL BE GIVEN WITH RESPECT TO GETTING AROUND THE ISSUE CONCERNING THE VENDOR-RELATED MATTER.	105

UNDERTAKING NO. JTC1.24:  TO PROVIDE AN UPDATED REVENUE RECONCILIATION TABLE.	106

UNDERTAKING NO. JTC1.25:  with reference to IR 7-Energy Probe-45, TO PROVIDE AN UPDATED APPENDIX 2-P.	106

UNDERTAKING NO. JTC1.26:  to provide a response to VECC-48, part (d) which deals with the breakdown of residential customers and usage categories	109

UNDERTAKING NO. JTC1.27:  To provide the calculation of If HYDRO OTTAWA over-earnS by 150 basis points on ROE in each of the five years of your plan, and the sole reason for that over-earning is that HYDRO OTTAWA'S expenses have been forecast too high and, when they come in lower, the result is that HYDRO OTTAWA over-earnS	135

UNDERTAKING NO. JTC1.28:  with reference to CCC question 33, TO PROVIDE THE SALARY SCALE ADJUSTMENT.	144

UNDERTAKING NO. JTC1.29:  with reference to CCC quEstion 35, TO PROVIDE AN ANALYSIS WITH RESPECT TO THE DIFFERENCE IN SAVINGS ATTRIBUTED TO SMART METERS	146

UNDERTAKING NO. JTC1.30:  TO PROVIDE A COMPARISON OR ANALYSIS OF VARIOUS PROJECTS THAT HYDRO OTTAWA HAS PERFORMED WITH RESPECT TO THE COST FOR EITHER CONTRACTED WORK OR IN-HOUSE WORK; (b), TO PROVIDE A LIST OF THOSE TYPES OF WORKS OR TRADES THAT HYDRO OTTAWA NO LONGER DOES IN-HOUSE BUT CONTRACTS OUT THE WORK FOR.	155

UNDERTAKING NO. JTC1.31:  (A) with reference to IR EP No. 1, to provide a table of the amounts and explanations for each of the reallocations; (B), to advise whether the amount in the forecast figures for the facilities implementation is identical to the amount in the proposed numbers in table 1 of Energy Probe 1, and show that it's identical to these numbers in Energy Probe 5 or not	164

UNDERTAKING NO. JTC1.32:  to provide a list of the assets, their value and in-service month to which the in-service month methodology applies for the 2016 and 2017 expenditures	168

UNDERTAKING NO. JTC1.33:  WITH RESPECT TO ENERGY PROBE NUMBER 11, TO PROVIDE AN EXPLANATION OF WHAT'S HARD ABOUT DOING THE CALCULATION.	183

UNDERTAKING NO. JTC1.34:  TO CLARIFY THE DIFFERENCE BETWEEN DISTRIBUTION AND NON-DISTRIBUTION RELATING TO OEB STAFF 4(IV).	186

UNDERTAKING NO. JTC1.35:  with reference to SIA No. 15, "defective equipment", to show the calculation of the 12 percent	192

UNDERTAKING NO. JTC1.36:  TO RECONCILE THE NUMBERS IN TABLE 1 OF ENERGY PROBE 1 WITH THE NUMBERS IN THE TABLE ON PAGE 14 OF THE INNOVATIVE WORKBOOK AND EXPLAIN THE DIFFERENCES IN THOSE NUMBERS, AND THERE IS A REQUEST TO SPECIFICALLY LOOK AT BOTH SYSTEM RENEWAL AND AGING ASSETS.	194

UNDERTAKING NO. JTC1.37:  to go through the list that Mr. Fenrick has provided applying those criteria and determine which of those utilities are comparable to Hydro Ottawa	204

UNDERTAKING NO. JTC1.38: IN RELATION TO SEC 1(B)(III), TO PROVIDE THE STRATEGY FOR IMPROVING THE EFFICIENCY LEVEL FOR THE YEARS 2016 TO 2020 FOR HYDRO OTTAWA, BASED ON THE BOARD'S MEASUREMENT.	206

Thursday, August 13, 2015

### --- On commencing at 9:43 a.m.

MS. HELT:  Good morning, everyone.  Sorry for the slight delay.  We had some technical difficulties, and we just wanted to ensure that we would be up and running to allow for presentation of the documents on your individual monitors and on the screens at the front of the room.

My name is Maureen Helt.  I am legal counsel with the Board, and we are here today for the purpose of the technical conference for Hydro Ottawa Limited's application for electricity distribution rates for the period from January 1, 2016 until December 31st, 2020.  The OEB has assigned this file number EB-2015-0004.

Today's technical conference was established through the OEB's Procedural Order No. 4, issued on August 5th, 2015.

# Preliminary Matters:

Before we get into introductions of both the OEB Staff team as well as the other participants, I would just like to go over a couple of preliminary matters.

The first one is a technical matter.  For those who are on the witness panel and those who are not used to appearing in our hearing room, if you are answering a question or have a question to ask, you will note that there is a green button on the console in front of you.  Please make sure that that button is pressed in and lit so that your voice actually is heard through the microphone.  This is very important for the court reporter, who will be transcribing today's proceeding, as well as for those who are listening through our web, as this proceeding is broadcast as well.

You will also note that one -- the buttons relate to two people, so the microphones, if you are sitting next to each other, if you just watch out for that particular aspect of it.

Other than that, I had spoken with counsel for Hydro Ottawa as well as the intervenors, and it is my understanding that today we are going to be proceeding with -- the first panel will be Hydro Ottawa's panel concerning the pole attachment matter.

After that we are going to go through the questions exhibit by exhibit, but there has been a request and general agreement that we proceed with Exhibits 7, 8, and 3 first, and then we will go through the other exhibits.

This is to allow counsel for the intervenors and consultants to be able to arrange their time appropriately and not have to duplicate and have two people in the room at the same time.

Other than that, I don't believe there are any other preliminary matters, so I will start with the introductions.

My name again is Maureen Helt.  I am counsel with OEB Staff, and with me I have Christie Clark, who is the case manager on this particular matter, and Karl Heimlich, who is with Elenchus, and he is a consultant with OEB Staff.

# Appearances:

MR. CASS:  Fred Cass for Hydro Ottawa Limited.  I have Geoff Simpson on my left with me, and Greg Van Deusen on my right.  I will introduce the witnesses a bit later.

MS. HELT:  Thank you, Mr. Cass.

MS. MILTON:  Leslie Milton, counsel for Rogers Communications Partnership, TELUS Communications Company, and Quebecor Media, referred to collectively as the Carriers.  On my left I have David McEwen, who is assisting the Carriers on this file, and on my right, Jennifer McAleer, also counsel for the Carriers.

MS. HELT:  Thank you.

MR. HARPER:  My name is Bill Harper.  I'm a consultant for VECC.

MR. AIKEN:  Randy Aiken.  Consultant for Energy Probe Research Foundation.

MS. GREEY:  Ruth Greey, consultant for Consumers' Council of Canada.

MR. GARNER:  Mark Garner.  I am also a consultant with VECC, joining Mr. Harper.

MS. HELT:  Welcome, everyone.  Mr. Cass, I will turn it over to you now.

MR. CASS:  Thank you.  I have just two matters.  I will introduce the witnesses.  Also, I wanted to point out that there were a few items went out by e-mail yesterday afternoon, including the CVs of the witnesses.  Hard copies of those items are at the front of the room on the boxes that people can see if anyone should want a hard copy.

MS. HELT:  Thank you, Mr. Cass.

# HYDRO OTTAWA LIMITED - PANEL 1

Bill Bennett

Angela Collier

Casey Malone

Pamela Jones

MR. CASS:  And I'll introduce the witnesses, starting with the person furthest away from me, and then I'll come across the witness panel.

So sitting furthest from me is Bill Bennett.  He is director, distribution, asset management.  Next to Bill is Angela Collier, who is director of finance.  Then we have Casey Malone, manager, distribution policies and standards.  Finally, Pamela Jones, manager, regulatory policy and research.

Those are the only matters that I have before we start with the questions.  Thank you.

MS. HELT:  Thank you, Mr. Cass.  Welcome to the witness panel.

Ms. Milton, I believe you are going first with your questions.

One other matter.  Normally when we proceed with questions we have intervenors follow one another with respect to their particular questions.  I understand in this particular instance there has been some discussion prior to the start of the technical conference, and it's generally agreed that, while Ms. Milton is going through her questions, if there are certain follow-up questions that some of the intervenors have that are on the same subject matter, they will be allowed to interject and ask their questions so that we have the same area of the transcript covering particular areas.

So unless that becomes difficult for Ms. Milton in that it's interrupting the flow of her actual questioning, we are going to proceed in that manner.

So I asked the intervenors if they do have follow-up questions directly related to the line of questioning that is being asked by Ms. Milton, that they do indicate that at the time.  Thank you.

# Questions by Ms. Milton:

MS. MILTON:  Thank you, and good morning.  I'm going to step through -- or organize my questions by stepping through the interrogatory responses to the Carriers' interrogatories, so I'll be going in chronological order, so if you could have those responses in front of you, I think that might be easiest.

There will be a few other documents that I will refer to on the record, but this is the main document that I will be walking through.

If we could start with the response to Carriers 1.  I believe the responses start at page 5 of 7, so if we could go to page 5 of 7, and the response to 1(a), and in that response you say that Hydro Ottawa have 35,663 in-service power distribution poles with third-party attachers, including wireline attachments.

Now, I wonder if you could tell me what you mean by "in-service distribution poles".  What does "in-service" mean?

MR. MALONE:  In-service in our GIS system, we have equipment out of service, might have been returned from the field, versus actually out around our service territory being actively used.

MS. MILTON:  So in a case of poles, an in-service distribution pole would be a distribution pole that you are currently using; is that a fair statement?

MR. MALONE:  Yes.

MS. MILTON:  All right.  And you use the term "distribution pole" here.  In other places in the application I saw the words "service pole" and -- or, no, I saw the terms "primary pole" and "secondary pole".  Can you tell me how those terms "primary and secondary pole" line up with the term "distribution pole"?

MR. MALONE:  A distribution pole is the broader definition, and within there there is subsets describing the associated voltages on those particular -- or any particular pole, so primary being 750 volts up to 50,000 volts, secondary would be less than 750 volts, and you could have a non-electrical pole, even though it is a distribution pole, which would be just a supporting pole for anchoring, so there would be no electrics on it.

MS. MILTON:  So distribution pole includes all of those?

MR. MALONE:  Yes.

MS. MILTON:  And would third-party wireline attachments -- would I be correct in thinking that those are on secondary poles?  They wouldn't -- or maybe I should -- they wouldn't be on primary poles; am I correct in understanding that, or...

MR. MALONE:  The third-party attachments would be on all types of those subset poles of distribution poles.

MS. MILTON:  So they are on all three types.

MR. MALONE:  Yes.

MS. MILTON:  Okay.  Now, in question 1(a) the Carriers asked if the 35,663 poles which you had identified in the application all have wireline attachments, and that was defined in the questions as attachments installed in the communication space on the pole.  And the response was the 35,663 is all poles with third party attachers, including wireline attachments.

So am I correct in understanding this response that the 35,663 includes all Hydro Ottawa poles with any type of third party attachments?  So it could be not just wireline attachments in the communication space; it might also be street light attachments?

MR. MALONE:  Yes, in one of the follow-up questions that we'll arrive to, Hydro Ottawa does track and invoice for street lights in the safety separation space and in the telecom space.

MS. MILTON:  So the 35,663, that includes poles with street light attachments?

MR. MALONE:  Yes.

MS. MILTON:  Is it possible that some of those poles only have only street light attachments, and not wireline attachments in the communication space?

MR. MALONE:  Yes.

MS. MILTON:  And the 35,663, does that include poles with Hydro One attachments?

MR. MALONE:  Yes.

MS. MILTON:  Would you be able to re provide me with a response to the question that was asked, which is -- or the follow-up question:  What is the number of poles, Hydro Ottawa poles, that have wireline attachments in the communication space; could you provide that to me?

MR. MALONE:  We have a table -- and I'll just have to find it -- where we list out the number of attachments.  I don't think we break it down by wireline versus street lighting.

MS. MILTON:  Here I'm looking for the number of poles that have wireline attachments in the communication space.  I didn't see that anywhere else.

But could I get you to undertake and get back to me with that number?  If it is a reference to something I missed, that would be great.  And if not, if you could provide me with a number -- is that possible?

MR. MALONE:  Yes.

MS. HELT:  That will be Undertaking KTC1.

UNDERTAKING NO. JTC1.1: to advise the number of Hydro Ottawa poles that have wireline attachments in the communication space

MS. MILTON:  A minute ago, you said to me that the 35,663 included poles that have Hydro One attachments.  So is it possible that some of those poles only have Hydro One attachments and not wireline attachments?

MR. MALONE:  We'd have to query our GIS system to determine that.  I don't have those numbers at this point.

MS. MILTON:  Could you undertake to do that, please?

MS. HELT:  That will be undertaking KTC2, and that is to provide the number of poles of the 35,663 that have wireline attachments, not simply Hydro Ottawa attachments.

Is that correct, Ms. Milton?

MS. MILTON:  It was the number of poles that have only Hydro One attachments.

MS. HELT:  Oh, the number of poles that -- okay.

MR. MALONE:  No telecom or street lighting.

MS. MILTON:  Correct.

MS. HELT:  Undertaking KTC2.

UNDERTAKING NO. JTC1.2:  to provide the number of poles of the 35,663 that have Only Hydro One attachments, no telecom or street lighting

MS. MILTON:  Now, in response to 1(b), you say that the 35,663 was determined as of end of year of 2013.

And I believe later in this response down at (f) -- you can look at that if you want on the next page -- it says that the GIS system only has current data.

So I'm wondering where you got the number for end of year 2013.

MR. MALONE:  When we were preparing for our rate file, we went to our GIS system for the -- at the end of 2013 and ran a specific query for the number of attachments.

We haven't since -- well, on an annual invoicing for third party attachers, we ran an annual query on the GIS system for billing, or for pole attachment billing purposes.

In that case, what we looked at -- at the end of 2013, we looked at attachments and attachers, because at that point we are invoicing attachers, not attachments.

MS. MILTON:  Sorry, I'm confused, because I thought in (f) you said you only have current data.  And now you are saying you were able to go and do a query for end of year 2013.

Are you saying you can query the GIS database for every end of year?

MR. MALONE:  No, what we did is in preparation for our rate filing we ran -- at the end of 2013, we, at that point in time we ran a query, a more extensive query to take a look at other variables, like number of attachers and number of attachments, which is different than an annual rate invoicing, which is only looking at the number of attachers on a pole.

MS. MILTON:  So when you started you were -- at the end of 2013, you started getting ready for your filing, and did you a query there and you printed the results, and that's what we're seeing here?  Is that how it worked?

MR. MALONE:  Yes.

MS. MILTON:  Had you printed and retained results for any earlier period than that, that you still have?

MR. MALONE:  No.

MS. MILTON:  No.  And so in the undertakings, I assume to respond to those undertakings, you will be going into the system and doing a query now on the system?

MR. MALONE:  Yes.

MS. MILTON:  So the numbers you will provide me are the current numbers; they won't be end of year 2013?

MR. MALONE:  It will be as of the date the query is run.  So it will be middle of this year.

MS. MILTON:  So could you provide me, then, with this number, which is the number of in-service power distribution poles with third party attachments as of the current date?

When you do the query for those other two undertakings, could you re-query the database and get this -- the number that is responsive currently to 1(a)?  Could you provide me then with the number of all in-service distribution poles that have third party attachers of any sort?

MR. MALONE:  Yes.

MS. HELT:  That will be undertaking KTC3.

UNDERTAKING NO. jTC1.3:  to provide the number of all in-service distribution poles that have third party attachers of any sort

MS. MILTON:  Does that total number of attachers, does that include -- the total number of poles with third party attachers, would that include poles that have non-rate-paying attachers, such as the decorative panels that are referred to, I believe, in response 1(e)?

Does it include those as well, or is it just -- this GIS system, does it include non-rate-paying attachers as well as rate paying attachers?  That's my question.

So would you be able to query -- or are you querying on all third party attachers, or just some subset of those attachers?

MR. MALONE:  It would be a subset.  The decorative banners, we have a managed system, but we don't put them in GIS as a -- for annual rate invoicing purposes.

MS. MILTON:  So the decorative banner, the non-rate-paying attachments, they're -- you have information on that, but that's in a separate system?

MR. MALONE:  Yes, in a manual system, since there is so few of them.

MS. MILTON:  Dropping now to 1(c), which is back on page 5 of 7, and in that question the Carriers had asked for a list of entities that currently have wireline attachment on Hydro Ottawa poles.

As number 9 on that list, you included the village of Casselman, and then 10 you listed the city of Ottawa, but in both cases you put a dash and referred to street light attachment.

So does the village of Casselman have any wireline attachments in the communication space, or is it just street light attachments?

MR. MALONE:  Just street light.

MS. MILTON:  And those street light attachments would be in the separation space; correct?

MR. MALONE:  It's an interesting dance in the telecom and safety separation space between street lighting attachments and telecom attachments.  Sometimes they're just under, sometimes they're in, and sometimes they're just above.

And there is a -- to acquire appropriate mounting space there is always adjustments, so at that point is there enough separation between telecoms to attach a street light, or do you have to go slightly above sometimes or slightly below?  And again, it goes back to what the road authority is looking for, photometrics with their street lighting.  Some have clear street lighting policies and they want better photometrics, and they might be a little bit more sensitive on their height, so they might want to be a little bit higher or lower, but they are tending in that space.

MS. MILTON:  Are you saying that the street lights are sometimes in a separation space, sometimes in a communication space?

MR. MALONE:  Yes.

MS. MILTON:  They move around a bit; is that what you're saying?

MR. MALONE:  Yes.  And just to elaborate, if the telecoms are mounted on the house side of the pole, that leaves the street side of the pole free to attach a street light.

MS. MILTON:  As I understand the separation space, it's there to ensure there is a separation between the voltage carrying wires and the telecom wires to provide safety for telecom workers working on the telecom line, so the separation space doesn't apply to the street light; am I correct on that?  Or does it apply to the street light as well?

MR. MALONE:  The municipal street light workers and their contractors who work on that equipment are deemed as competent, being high-voltage-qualified.

MS. MILTON:  So they don't --

MR. MALONE:  So they can work along the full length of the pole.

MS. MILTON:  I see.  We were talking about the village of Casselman and its street lights, which you reference here, and just can you confirm for me that the village of Casselman would pay the current rate of 22.35 for each of its street light attachments on Hydro Ottawa poles?

MR. MALONE:  Yes.  That's correct.

MS. MILTON:  And then you've referred to the city of Ottawa.  And the city of Ottawa, does it also pay 22.35 for each of its street light attachments on Hydro Ottawa poles?

MR. MALONE:  Yes, it does.

MS. MILTON:  And I understand from a bit later, I think, in one of these responses that the city of Ottawa has also some -- a bit of fibre on Hydro Ottawa poles.  Does the city of Ottawa pay 22.35 for its fibre attachments to Hydro Ottawa poles?

MR. MALONE:  Yes, it does, where it doesn't have other attachments.  If there's traffic signals, street lights, and fibre on the pole it's only -- they pay once as an attacher.

MS. MILTON:  Okay.  Just to close off -- sorry, to go back on the street lighting question and where it's placed on the pole.  As I understand it, the placing of the street light is really determined by the kind of lighting requirement the attacher has, and then where other equipment is on the pole, in terms of that need; do I have that right?  So it's...

MR. MALONE:  Yes, so they're looking for a lighting pattern, and they are going to look at a couple of elements:  road width, pole span, and mounting height.  So they have three variables or dimensions to play with to get their appropriate lighting pattern.  So height, mounting height is only one element that they look at to achieve their lighting requirements.

MS. MILTON:  I wonder if we could go to the affidavit of April Barrie that was dated June 5th, 2015, and it was filed in this proceeding as an affidavit of service of this application on Hydro Ottawa's pole attachment customers.

Is there a way to bring that document up?

MS. HELT:  Are you able to find it?

MS. MILTON:  While you're looking, I'll ask the question, and if you want to -- just don't say anything if you want to look at the document, but just to move things along.

So in paragraph 6 of that affidavit you've refer to the Royal Canadian Mounted Police as a pole attachment customer, so you had served them with the application, but when I look at the list in response to 1(c) there is no reference to the RCMP.

So I wanted to understand whether the RCMP has attachments on Hydro Ottawa poles or not.

MR. MALONE:  Yes, they do.

MS. MILTON:  Okay.  And would they pay 22.35 for their attachments on Hydro Ottawa poles?

MR. MALONE:  Yes, they do.

MS. MILTON:  Okay.  So, sorry, maybe we don't -- I just didn't want to go forward without the document if you wanted to see it, but -- so it was just an accidental omission from that list, I take it.

And the RCMP attachments, are they in communications attachments in the communication space?

MR. MALONE:  In that zone, yes.

MS. MILTON:  Below the list in the response to (c) of this list of what you called wireline attachers, below that you show separately Hydro One as an attacher, but you say that it's a wireline attacher and it currently has wireline attachments, so does Hydro One have wireline attachments in the communications space on Hydro Ottawa poles?

MR. MALONE:  Yes, they do.

MS. MILTON:  So they have some wireline attachments in the communications space, and do they also have power attachments on Hydro Ottawa poles?

MR. MALONE:  Yes, they do.

MS. MILTON:  Okay.  And as I understand it, you listed Hydro One separately because they pay a different rate; is that -- have I -- is that why you did that?

MR. MALONE:  Yes, they do.

MS. MILTON:  Okay.  When I look at this response to 1(c) and think about what we've just talked about, it's my understanding that there are currently nine third-party wireline attachers to Hydro Ottawa poles, so that's the first eight in this first list.  Plus there are some city of Ottawa fibre attachers, so that's nine wireline attachers; plus there is some Hydro One wireline attachments; there are some RCMP wireline attachments; there are two street light attachers, Ottawa and Casselman; and then there is some Hydro One power attachments.

MR. MALONE:  Yes.

MS. MILTON:  That sounds correct?  And I get then a total of 12 unique ratepaying attachers.  Does that sound about right?

MR. MALONE:  Yes.

MS. MILTON:  And then there are some other attachers that don't pay rates, so the banner attachers; is that right?

MR. MALONE:  Yes.

MS. MILTON:  Would you have any idea of the number of attachers, like the banner attachers that don't pay rates?

MR. MALONE:  There's Canada Post at one time; up until the late '80s, install mail boxes on our poles as they've done around Canada under the Canada Post Act.

Since then, they've been removing them and going to community-based mailboxes for dropping off your letter to be mailed.  So they've been removing those attachments over the last ten years, even before they started their retrofit program that they're currently undertaking.

So there's a -- we don't track the ground level attachments like mail boxes, but we do understand that they're decreasing over time.

MS. MILTON:  And the banner attachments, do you have any sense of the number of attachers that involves?  I mean who -- what is that --

MR. MALONE:  There are a couple of organizations, National Capital Commission, business improvement associations, jazz festival, but they're always a very specific localized event over a number of weeks, and over a limited number of poles.

As mentioned in one of our responses, at any given time you might have three dozen banners on our poles collectively.

MS. MILTON:  Going back very quickly to one of my earlier questions on the RCMP, you said the RCMP had wireline attachments on your poles in the communication space.

Does it have any other kind of attachments on your poles, or are its attachments all wireline attachments in the communication space?

MR. MALONE:  Yes, only in the communication space.

MS. MILTON:  Has any space on Hydro Ottawa poles been reserved on a priority basis for use by the city of Ottawa?

MR. MALONE:  No.

MS. MILTON:  Has any space on any Hydro Ottawa pole been reserved for use on a priority basis by Bell Canada?

MR. MALONE:  No.

MS. MILTON:  Does Bell Canada have any management rights with respect to the communication space on your poles?

MR. MALONE:  No.

MS. MILTON:  Does Hydro Ottawa have any attachments in the communication space on Hydro Ottawa poles?

MR. MALONE:  Would you repeat the question?

MS. MILTON:  Does Hydro Ottawa have any attachments of its own in the communication space on Hydro Ottawa poles?

MR. MALONE:  As indicated in one of our responses, we do have some limited fibre optic cables outside our substations and administrative buildings on our overhead system that amounts to about 400 metres, which might be a dozen poles.

MS. MILTON:  But those attachments are in the communication space?  I saw that response, but I just wasn't certain where they are on the pole.

MR. MALONE:  Yes.

MS. MILTON:  Now the list of attachers that you provided in 1(c), in that response to 1(c), does it include entities that over-lash their attachments to a third party strand that is supported by a Hydro Ottawa pole?

For example, does it include entities that would over-lash on Rogers strand on a Hydro Ottawa pole?

MR. MALONE:  Would one other telecom over-lash to another telecom's support strand?  Is that the question?

MS. MILTON:  That's the question.  Well, does the list include the people, people who do that?

MR. MALONE:  Yes.  To have a cable on our pole, you require a pole attachment agreement.  So there is over-lash agreements between the telecoms, and each one of them do have a pole attachment agreement with Hydro Ottawa.

MS. MILTON:  What rate do you charge for the over-lashed attachments?

MR. MALONE:  That was negotiated after the OEB decision in 2005 with the CCTA and MEARIE, and I'd have to look that up.

MS. MILTON:  Could you undertake to provide that to me?

MS. HELT:  KCT4 would be to provide the rate paid for the over-lash attachments.

UNDERTAKING NO. JTC1.4:  To provide the rate paid for the over-lash attachments

MS. MILTON:  If we could drop down to the response to 1E, which starts at page 5 of 7?

In that case, the question asked for a list of other attachers, which was defined as attachers with attachments outside of the communication space on a Hydro Ottawa pole.

The beginning of your response here refers to third party telecom antennas.  Am I correct in understanding that these are antennas that are attached outside of the communication space?

MR. MALONE:  Yes.  As per Hydro Ottawa's pole attachment agreement, we do allow wireless antennas on our power poles, and the mounting space is just below the telecom space, so at the top of the common space.

MS. MILTON:  If a third party with one of these telecom attachments attaches to your pole, does it pay the 22.35 rate, if that's its only attachment on the pole?  Does it pay the 22.35 for that attachment?

MR. MALONE:  Yes, they would.  But in this case with Rogers, they already have a cable -- a cable on those specific poles, so they only pay once as an attacher.

MS. MILTON:  Are you telling me that Rogers is the only company that has those attachments on your poles?

MR. MALONE:  Yes.

MS. MILTON:  And if -- so you are telling me it is just Rogers that has those kind of attachments.

You are not aware of any other attachments by any other -- antenna attachments by any other of your attachment, pole attachment customers?

MR. MALONE:  The city of Ottawa has antennas, but on their poles, typically on their aluminium poles at intersections with traffic signals.

They maintain their own equipment on their own poles, so there is very limited antennas on Hydro Ottawa poles.

MS. MILTON:  So you would be surprised if I told you that TELUS has some of these attachments on your poles?

MR. MALONE:  That may not be as of next Monday.  I'm shocked to hear that.

MS. MILTON:  Okay.

MR. MALONE:  They would have installed without a permit.

MS. MILTON:  Well, under your pole attachment agreement, if someone has one of these attachments on your poles, but they also have another attachment, does the attachment agreement still require them to pay an additional fee for that attachment, so additional fee for the antenna attachment?

MR. MALONE:  The agreement is structured in that they would pay the loss of productivity factor only for the additional item of an antenna, which at that time with the OEB decision was $1.92 per pole.

MS. MILTON:  I see.  So you would be proposing to charge whatever loss of productivity cost is approved as a result of this proceeding to those attachments in 2016 and going forward?

MR. MALONE:  It is our understanding that the Board is reviewing wireless attachments, and that may change in the future.

MS. MILTON:  Right, so I wanted to go there.  So I guess you're aware that on July 30th of this year, the Board issued a letter in its wireless attachment consultation indicating that it intended to launch a proceeding to consider modifying large distributor licences -- and Hydro Ottawa would be a large distributor -- to permit them to charge an unregulated rate for wireless attachments.

So, as -- am I correct in understanding that you would consider Rogers wireless attachments or any of these other antenna outside of the communication space to be wireless attachments covered by whatever happens in the proceeding that's to be launched?

MR. MALONE:  Yes.

MS. MILTON:  And am I correct in understanding that Hydro Ottawa would support an OEB decision to allow you to charge an unregulated rate for those attachments?

MR. MALONE:  Yes.

MS. MILTON:  And so if the OEB does permit this, has the proceeding it's said it's going to launch, and does permit this, would you understand the result of that to be that you would be charging a separate fee for any of these wireless attachments?

MR. MALONE:  That is correct; it will be a separate fee.

MS. MILTON:  And that would be a market-based fee?

MR. MALONE:  That's the current discussion going forward with the Board on wireless attachments.  I don't know of any other methodology.

MS. MILTON:  So if Rogers has a wireline attachment on the pole it's going to pay whatever rate the Board decides in this proceeding, and then if it has a wireless attachment, and the wireless attachment rate becomes deregulated, then you would charge a negotiated fee as well for that wireless attachment; do have I that right?

MR. MALONE:  This is correct.

MS. MILTON:  Thank you.  Now, in response to (e) at the end you refer to decorative banners, and we have had a bit of discussion on this already.  So am I correct in understanding you -- or let me -- do you issue a permit for decorative banners when they are installed on your poles?

MR. MALONE:  Yes, we do.

MS. MILTON:  Okay.  In questions 1(f), (g), and (h), the Carriers asked for information on the number of poles with no attachers, with one attacher, with two attacher, with four attachers, and five or more attachers, and it was -- they were broken down by different types of attachers, so there were -- we asked for that information for wireless -- wireline attachments -- or attachers, excuse me, we asked for that information for wireless attachers, and we asked for that information for attachers in total.

And we were asking for information from, I believe, 2010 to 2015.

And the response that was provided was the GIS database only has current information.

So could I get you to respond to (f), (g), and (h), but only with the current data that is in the GIS database?  So not -- I understand you don't have it for 2010, 2011, but for the current data.  So it will be -- instead of columns for each year, as we had requested -- so we had columns for 2011, 2012, et cetera -- if you could just do one column with the current data for each those tables.  Could you do that for us?  Thank you.

MS. HELT:  Undertaking KTC5 will be to provide the current data in response to Carriers IR 1(f), (g), and (h).

UNDERTAKING NO. JTC1.5:  TO PROVIDE CURRENT DATA IN RESPONSE TO CARRIERS IR 1(F), (G), AND (H), using relevant definitions.

# Questions by Mr. Harper:

MR. HARPER:  Excuse me.  Maybe if I could just ask -- in a similar vein -- Bill Harper.  You've got gone through a fairly extensive discussions in terms of different types of attachers and who they are.  I was wondering if in responding to that you could also be very clear in terms of who is included as an attacher.  We understand -- I understand what a wireless one is, but who is included as a wireline attacher, whether that includes Hydro One, whether it includes -- what types -- the city of Ottawa, so we are very clear as to what's included in those numbers.  Whatever's in there, if you could just be very clear in terms of what the definition and provide it when you are responding, that would be great.

MS. MILTON:  We did have definitions in our initial interrogatories, so if you could you use those, that would be great, to the extent your system allows you to respond.  If not, if you can explain why and what definition you have used, please do so.

MR. MALONE:  Yes, I think the only definition clarification was at the beginning of question 1, where we clarified the definition of an attacher and referred back to ESA's 2204 third-party attachment guideline.

MS. MILTON:  Yeah, that was your definition.  In the initial questions, if I could get you to go look back at our initial questions, we actually had definitions for wireline attacher, wireless attacher, other attacher, and attacher.

So we had defined those terms for the purposes of these questions, so if you could use those definitions we would ask that you would do so.

MR. MALONE:  Would those definitions suit his request?

MS. MILTON:  I believe Mr. Harper might want a little bit more information, because I think he wanted to know who is within each of those categories.  We had done it in terms of who's using what space on the pole or what type of attachment.

MR. HARPER:  I was just wanting to be clear so I understood when I got the answer, we went through a list of the different parties -- Hydro One and new ones added to the list, RCMP.  Hydro One had both communications and powerline.  I just wanted to be clear so I knew when I looked at the answer exactly what was in there and what wasn't in there so I know how to interpret the numbers.  That's all.  I'm interested in making sure the definition is really clear.

MR. MALONE:  Just to clarify on Hydro One, their cable and telecommunications space is a communications-type cable that they use for electrical protection between their substations, so it is very low-voltage relay protection installed in the early '70s by Bell Canada as a contractor.

MR. HARPER:  So that would fall into the 602 poles that you've defined in part (k) as being distribution power attachments by Hydro One?

MR. MALONE:  We will query our GIS to determine those numbers.

MS. MILTON:  Because it is my understanding those are the power attachments.

MR. HARPER:  Well, that's what I was trying to clarify.

MS. MILTON:  Not the communications --

MR. MALONE:  It looks like a telecom cable.  It's not considered a carrier.  It is for internal purposes within Hydro One electrical systems.

MS. HELT:  So is it clear, then, to Hydro Ottawa and the parties then which definitions will be used in providing the response to KTC5?

It is my understanding from the discussion it was to provide the definitions that have been provided by the Carriers in their question and to make the information as clear as possible with respect to each attacher.

MR. HARPER:  Yes.

MS. HELT:  Is that correct?

MR. MALONE:  And the only company names we would use is really Hydro One.  Other than that it would be carriers and street lighting.  I don't know, do you use RCMP?

MS. HELT:  I think that satisfies the intervenors' request, so that will all be part of KTC5.

# Continued Questions by Ms. Milton:

MS. MILTON:  Going to response to 1(l), which is on page 7 of 7 of this interrogatory response, the Carriers asked Hydro Ottawa to pay the -- to provide the rate paid by Hydro One for its use of Hydro Ottawa poles, and their response was that we should go look for the rate on the OEB website.

So in that response are you referring to the rate order of the Board dated April 23rd, 2015 approving a Hydro One tariff with an effective date of January 1st, 2015?  Is that what you are referring us to?

MR. MALONE:  Yes.

MS. MILTON:  Within that tariff are you referring us to the specific charge for LDCs' access to power poles; is that what you are referring to?

MR. MALONE:  Yes.

MS. MILTON:  As I read it, I have a copy of that tariff with me, but I don't have copies to give to anyone, but that is a rate for usage of the power space.  It does not talk about use of communication space.  So I was wondering if I could get you to just provide us with the rates that Hydro One pays you for its usage of your poles, and so we could have that on the record and we understand what the rates are for their communications attachments and what the rates are for their power attachments.

MS. HELT:  Is that an undertaking Hydro Ottawa can provide?

MR. MALONE:  Yes.

MS. HELT:  KTC6 will be to -- in response to Carriers' Interrogatory 1(l), provide the rates that Hydro One pays for usage of Hydro Ottawa poles for the communication space -- and Ms. Milton, the other rate was...

MS. MILTON:  The rate they pay for their power attachments.

MS. HELT:  Power attachments.  Thank you.

UNDERTAKING NO. JTC1.6:  to provide a RESPONSE TO CARRIERS' INTERROGATORY 1(L), TO PROVIDE THE RATES THAT HYDRO ONE PAYS FOR USAGE OF HYDRO OTTAWA POLES FOR THE COMMUNICATION SPACE THE RATE THEY PAY FOR THEIR POWER ATTACHMENTS.

MS. MILTON:  I'm going to move on now to the Carrier's Interrogatory 2, unless any other intervenors have questions.

In Carriers 2(a), the Carriers asked for a copy of the reciprocal agreement between Bell Canada and Hydro Ottawa. The response was that the provision of that agreement requires Bell Canada's consent.

Did you seek Bell Canada's consent to file a copy of that agreement?

MR. MALONE:  We're in the process of.  We've communicated it to Bell, and we are awaiting their response.

MS. MILTON:  Can I take that to mean if you do get consent, you will find file that on the public record?  Or if you only get consent to file it in confidence, you will file it on the confidential record?

MR. MALONE:  We've been wondering the relevance of the agreement; so if you could clarify.

MS. MILTON:  Sure.  In reciprocal agreements and the ones we've seen elsewhere between telecom companies and power companies, there are a bunch of rights and obligations which are often very different from the rights that we see in the agreements with other carriers that don't have reciprocal agreements, such as a Rogers, or a TELUS, or a Quebecor.

We think that, as in all matters, the rights and obligations are important as to understanding whether a rate is reasonable or not.  It is also important to understanding what services are being provided to each of the parties under these reciprocal agreements, because the services that are being provided either way can affect what costs are already being recovered, or what costs being claimed might be in respect of the other parties' poles.

So typically, we have found the reciprocal agreements to be quite relevant.

MR. CASS:  Given that we have not heard back from Bell Canada, perhaps what we will do is we will let you know when we have heard back from Bell Canada.

MS. MILTON:  In the absence of having that agreement on the record, could I get you to undertake to provide a detailed list -- a detailed description, excuse me, of the rights and obligations of each of the parties, so each of the city, and -- Hydro Ottawa, excuse me, and Bell Canada under that agreement?

MR. CASS:  No.  No.  As I've said, we'll respond when we've heard back from Bell Canada.

MS. MILTON:  I don't understand what the basis is for not providing us with the information.  We've established it's relevant.  We have evidence due on Monday.  I'm not sure I'm following.

MS. HELT:  It is my understanding that Hydro Ottawa is refusing to provide the documentation now, and they will provide a response to you when they hear back from Bell Canada.

So we will just note it is as such on the transcript.

MS. MILTON:  In Carriers 2(c), we asked whether Hydro Ottawa provides any services to Bell Canada for work such as maintenance on Bell Canada poles.

The response is that the relevance of this question is not clear.

In our view, the issue is relevant because if Hydro Ottawa is incurring pole-related costs for poles that are owned by others, such as pole maintenance and replacement costs, these costs should not be included in the rate base for Hydro Ottawa poles.

So on that basis, could I ask you to respond to the question, which was to provide the amounts received by Hydro Ottawa for work in respect of Bell Canada poles, and indicate whether the amounts fully compensate Hydro Ottawa for its associated costs of providing services to Bell Canada.

MR. CASS:  I'm not any more convinced of the relevance of this than I was when the question was asked, so we won't answer that today.

MS. HELT:  So for the purpose of the transcript, then, the response to Carrier's Interrogatory No. 2(c) is being refused on the basis of relevance.

MS. MILTON:  So in order to pursue this, we would have to bring a motion?  Is that what you're telling me?

MS. HELT:  That's correct.

MS. MILTON:  So the same would be true of the response to 2(d)?  We would need to bring a motion to the challenge the statement that relevance is questioned?

MS. HELT:  If Hydro Ottawa is taking this position.  Is that correct, Mr. Cass?

MR. CASS:  That's correct.

MS. HELT:  Yes.

MS. MILTON:  In Carriers 2(e), we asked for the same information in respect of any other reciprocal arrangements, and you responded that you have a reciprocal arrangement with Hydro One.  But the response didn't provide any further information on the Hydro One agreement, other than to tell us -- a cross reference back to the question that said, "Find the Hydro One rates on the OEB website."

So could I ask you to provide a copy of the reciprocal agreement with Hydro One as the Carriers requested?

MR. MALONE:  Similar to Bell Canada, we've put a request out to Hydro One, and to Mr. Cass's earlier comment, we're going to hold that.

MS. MILTON:  Can you tell me when you made the request to Hydro One?

MR. MALONE:  Last week.

MS. MILTON:  So not when we asked the question?

MR. MALONE:  No.

MS. MILTON:  And Bell Canada?  When was the request made to Bell Canada?

MR. MALONE:  Last week.

MS. MILTON:  So I was going to pursue the same questions, the information in 2(c) and 2(d), with respect to Hydro One.   Can I take it that Hydro Ottawa takes the position, that the information is not relevant and if we want it, we need to bring a motion?

MR. CASS:  Yes.

MS. HELT:  So for the purpose of the transcript, then, the questions set out in 2 (c), (d), and(e) relate also to the request for the Hydro One reciprocal agreement, and Hydro Ottawa is refusing at this time to answer those questions on the basis of relevance.

MS. MILTON:  I'm going to move on now to Carriers question 4, unless any other intervenors have...

So going to Carriers 4, the response begins on page 2 of 4, and at the top of the page in response to 4(a), there's an Italicized formula.

I just wanted to understand, or make sure we understand what's being provided in that formula.  The Italicized equation refers to total OEB rate attachments on Hydro Ottawa poles.

So total OEB rate attachments, is that the total number of rate-paying attachments?

MR. MALONE:  Yes.

MS. MILTON:  So it would include Hydro One attachments?

MR. MALONE:  Yes.

MS. MILTON:  And it would include street light attachments?

MR. MALONE:  That would be the 13,265 attachments,   specifically street lighting.

MS. MILTON:  Right.  And as I understand this response, this is 2013 data.  As we discussed before, the GIS system -- which is where I understand you have this kind of information stored -- the GIS system only has current data.  So could you tell me where this 2013 data came from?

MR. MALONE:  That was the query that we ran at the end of 2013, to specifically take a look at our different types of attachments in preparation for this rate filing.

MS. MILTON:  Could I get you to rerun those numbers based on the current information in your GIS database?

MR. MALONE:  That would be undertaking number?

MS. HELT:  Number 7.  And my apologies, I've been referring to these undertakings as KTC; normally we refer to undertakings with the letter J.  There is not much logic between K and J, but for the purpose of your records, I am going to -- and ask the court reporter if we could refer to the undertakings starting with letter J.

So this will be JTC7, to run the current GIS data for the question that was set out in Carriers 4(a).

MR. MALONE:  Previous undertakings will still remain K?

MS. HELT:  Previous undertakings we'll mark as J, please.  I apologize for that inconvenience.

UNDERTAKING NO. JTC1.7:  TO RUN THE CURRENT GIS DATA FOR THE QUESTION THAT WAS SET OUT IN CARRIERS 4(A).

MS. MILTON:  And are all of these attachments -- these are attachments on Hydro Ottawa-owned poles?

MR. MALONE:  Yes.

MS. MILTON:  And the 35,663, they are all Hydro Ottawa-owned poles?

MR. MALONE:  Yes.

MS. MILTON:  Then if we drop down to the response to 4(d) -- it starts on page 3 of 4 -- in that question the Carriers asked whether Hydro Ottawa power facilities such as transformers ever encroach on the separation space.  And the response talks about legacy wireline attachments in the separation space, but I wonder if you could tell us, do Hydro Ottawa power facilities ever encroach on the separation space on its poles?

MR. MALONE:  With the current installations since 2001, no; previously, yes, those legacy installations.

MS. MILTON:  Okay.  I'm done with question 4.

MR. HARPER:  You managed to cover off my questions as well.  Thank you.

MS. MILTON:  Turning to Carriers 5, and the Carriers asked whether the rate that Hydro Ottawa was seeking would apply to any poles operated by Hydro Ottawa but owned by third parties.

And in the response to (a)(iii) the response was currently Hydro Ottawa does not manage third-party-owned poles, and I wondered, what do you mean by "manage"?

MR. MALONE:  Across Canada there are several different types of pole models where maybe an ILEC would control that telecom space, although the pole may be owned by an electrical distributor.  That's not the case with Hydro Ottawa.

The other one is, I just wanted to clarify the notion of control.  I think you're talking about financial and authorization control.  We also on our side of the house have electrical control, so you would have an electrical control authority, and any work in that zone would be going through that control authority.

So I just wanted to make a distinction.  In fact, we don't manage third-party poles in terms of the attachments, if they're accepted, denied, or whatever the outcome.

So it may be a city-owned pole; it may be a Bell Canada pole.  We do not have control, financial and authorization control of those poles.

MS. MILTON:  Just to make sure I understand your response, you're saying, so Hydro Ottawa may use a Bell Canada pole, but on that pole you would have no authority to do -- manage or get revenues from the communication space.  Am I -- is that what --

MR. MALONE:  That's correct.  That's federal jurisdiction with a Bell Canada pole, and Hydro Ottawa has no basis for invoicing on those poles.  It would be a Bell Canada function.

MS. MILTON:  So similarly, on your own poles on the communication space, that space is solely managed by Hydro Ottawa?  Not by Bell Canada, for example?

MR. MALONE:  Yes, it is solely managed by Hydro Ottawa.

MS. MILTON:  Now the response says "currently".  Did you do so in the past, any of this management of third-party poles?  I just -- the "currently" struck me.

MR. MALONE:  No.  We are just looking into the future.  We don't know what's coming down, so we can't speak about the future.  So we're just saying the current situation is we don't manage -- if Bell Canada had asked us to manage their poles, would we entertain it.  We haven't gone there.  The city of Ottawa, the six Rogers poles in the city of Ottawa, would they ask us to manage them.  They haven't.

MS. MILTON:  And you are not aware of any discussions along those lines right now?

MR. MALONE:  No.  Not at all.

MS. MILTON:  I was going to move to Carrier 6.  On page 2 of 3 of that response near the top there's a table 1.  And the middle line talks about in-service poles, and it gives a number of poles.  For example, the 2013, the number is 47,978.

Can you tell me where these in-service pole numbers come from, what database?  Is that a GIS number as well?

MR. MALONE:  Yes, yes, it is.  So what we do at the end of the year, we run a general query on a lot of our key assets and record that for dealing with the Board, dealing with other LDCs, and dealing with general questions:  How many transformers we own, how many underground chambers, how many electrical customers, how many poles we own, so that's where that number comes from.

MS. MILTON:  So on some matters, like number of poles, you run a query at the end of each year, and you save that data, and then the GIS system, though, gets just updated with the current information, so if I asked you now, you could only go in and get the number now, but it's because you went in at the end of each year and printed the information?  Is that...

MR. MALONE:  Yes.

MS. MILTON:  Okay.  These numbers of in-service poles in this table, do they include both wood and non-wood poles?

MR. MALONE:  Yes.  There are several types of material, although the majority are wood.

MS. MILTON:  So the net book value that's reported there, that would be the net book value for all of your poles regardless of whether there they're wood or not wood.  Or...

MR. MALONE:  That's correct.

MS. MILTON:  And if we drop down on the page to the response to (c), and there you have some numbers as well that you've used to generate a pole cost, the 147.1 million, is that -- is that cost for all of your poles, wood and non-wood?

MR. MALONE:  Yes.

MS. MILTON:  Is this number, this 147.1 million, is it anywhere else other than -- I mean, other than used in the context of the pole rate, is it anywhere else -- is there anywhere else we could find this number on the record of this proceeding?

MS. COLLIER:  So this information is presented in accordance with Canadian GAAP, so our entire proceeding with the exception of this table, for example, is under IFRS, so, no.

MS. MILTON:  And as I understand it, you're saying this is from your 2013 financial records for external reporting purposes?

MS. COLLIER:  Which was Canadian GAAP.

MS. MILTON:  And I was a bit confused, because if we could just go to your response to Allstream 3 just for a minute.

So in that response -- actually, no, it is Allstream 2.  My apologies, Allstream number 2.  There was just one page of that response.  But in response to their 2(c) they asked you to confirm if the net embedded cost was based on a bare pole and, if not, file bare cost information.  And their response was:

"The net embedded cost is not based on a bare pole basis, but rather includes the cost associated with account 1830."

So could you explain to me the relationship between account 1830 and these GAAP -- and the GAAP number?

MS. COLLIER:  It is the same account, it is just historically it was under C GAAP, and now it's under IFRS.

MS. MILTON:  I see, so there are two sets of accounts.  One is --

MS. COLLIER:  Currently, yes.

MS. MILTON:  Okay, MIFRS.  Can you tell me why you've decided, for the pole attachment rate and for that rate alone, to use your external records rather than MIFRS?

MS. COLLIER:  In response to Carrier 7, table 1, you can see the side-by-side comparison.  The original column is the C GAAP numbers, and the revised column is the IFRS numbers.

At the time this was prepared, the 2013 financial results as audited was what was used.  But we would likely go with the revised IFRS numbers in concluding these calculations.

MS. MILTON:  So you are now proposing to base the rate on the IFRS numbers?

MS. COLLIER:  As you can see in table 1 to Carrier 7, there are differences in net book value and differences in depreciation.  But the rate is almost identical in totality.

MS. MILTON:  I wonder if we could go to Exhibit B, tab 1, schedule 2, page 89?  On the top of this page in table 2.2.5, the first row of the table talks about poles, and it gives a number of 59,450 poles.

Can you tell me what year this pole count is for?

MR. MALONE:  Bill, on the asset management plan?

MR. BENNETT:  I'd have to get back to you whether it's 2014 or 2015 -- 2014 or 2013, I should say.

MS. MILTON:  Could you undertake to get back to me on that?

MR. BENNETT:  Yes.

MS. HELT:  So undertaking JTC8 will be to provide the year that the numbers reflected in table 2.2.5 stem from.

I believe that was Exhibit B, tab 1, Schedule 2, page 89 of 2014.

UNDERTAKING NO. JTC1.8:  with reference to Exhibit B, tab 1, Schedule 2, page 89 of 2014, to provide the year that the numbers reflected in table 2.2.5 stem from; B, to provide what year the number is as reflected in the table on page 89 of 2014 and as reflected in the first paragraph on page 93 of 214; C, to clarify any discrepancy between the numbers reported in table 1 in response to CarrierS 6(a) and the numbers reported in this document we've just been looking at

MS. MILTON:  Then if we could go over to page 93 of this document, at the top of that page it says that Hydro Ottawa owns 47,815 wood and 537 non-wood, and it talks about operating on an additional 11,635 wood and 126 non-wood which are owned by third parties.

Could you tell me what year those numbers are for?

MR. BENNETT:  I can confirm that when I confirm the others.

MS. HELT:  Why don't we mark that all as part of JTC.8, to provide what year the number is as reflected in the table on page 89 of 2014 and as reflected in the first paragraph on page 93 of 214.

MS. MILTON:  And I suspect you don't have a calculator on you, but I added up these numbers for the number of owned poles, Hydro Ottawa-owned poles.  It is 48,352.  And for the total number of poles owned and operated on, it is 60,113.

When I go back to look at that table 1 we were looking at in response to Carriers 1(a), I don't see either of those numbers for any year.

So I was wondering if you could explain why I can't line up those numbers.

MR. BENNETT:  Again, in the undertaking we'll provide some information on that.

MS. MILTON:  So, the undertaking will also clarify any discrepancy between the numbers reported in table 1 in response to Carriers 6(a) and the numbers reported in this document we've just been looking at?

MR. BENNETT:  Correct.

MS. HELT:  So that will again be part (c) of undertaking JTC8.

MS. MILTON:  If I could also get you now to go to the Hydro Ottawa distribution system plan 2016, which was attachment 1(a) to exhibit B, tab 1, schedule 2, and page 43 of that document.

I think it is attachment 1(a), and it's the Hydro Ottawa distribution plan 2016.  I think it is an attachment to this document, perhaps.  Attachment 1(a).

It didn't have the page numbers linking it to a schedule; it was an attachment to this part of the filing.

On page 43 of that document, if you could scroll down to the bottom of this section 3.1, the last paragraph of 3.1, I think we've gone -- okay, there it is.  Down a touch.  In the last paragraph, it says that:

"Hydro Ottawa recommends replacement of an average of 1,250 poles, which represents approximately 10 per cent of its entire pole population."

And then if we drop down to the bottom of the page, we see again in 3.2.2 the same numbers for owned wood and non-wood and operated wood and non-wood and operated wood and non-wood, as we saw before.

Then if we go over to page 46 of this document, and down to figure 19, then you see figure 19 -- just go back a bit so we can see the whole figure, thank you.  Figure 19 talks about 48,466 as being 80 per cent of Hydro Ottawa's pole population, so by that I understand that you must be referring to the population both of Hydro Ottawa-owned poles and third-party poles that you operate on; is that correct?

MR. BENNETT:  That's correct.

MS. MILTON:  So what I'm confused about is why Hydro Ottawa is talking about replacement of third-party poles and how this relates to the embedded pole costs we've seen in the replacement pole costs, so can you tell me why you're talking about replacement of poles you don't own?

MR. BENNETT:  Casey indicated, so we don't manage the communication space, but on the poles that we don't own, the primary function from a safety point of view is the power space and the ability of the pole to hold up the equipment in the power space.

So in our case we basically spend a lot of time making sure that those poles are safe and capable of holding up our equipment and holding up a person climbing the pole.

MS. MILTON:  So are the costs of looking after those third-party poles, are those costs included in your maintenance costs for poles?

MR. BENNETT:  No, the cost of the work that we do with those poles is in the agreement with Bell Canada.

MS. MILTON:  So none of those costs are included in the net embedded pole costs that you've provided to us, and we looked at them in an earlier response?

MR. BENNETT:  Correct.

MS. MILTON:  How do you ensure that none of those costs -- the costs that you incur to look after or manage or test third-party poles -- how do you ensure those costs aren't included in the cost that we're seeing for that account 1830 and your maintenance cost?

MR. BENNETT:  How do we ensure?  The costs that are associated with the Bell Canada poles are dealt with in the Bell Canada agreement, so we have an agreement about replacing the poles with Bell Canada, who pays who what.

MS. MILTON:  Strikes me that that agreement is becoming more relevant than it was before, but we'll -- I assume we still have to pursue that.

MR. CASS:  I don't see how this is becoming relevant at all, but you can carry on with your questions and you can do as you see fit.

MS. MILTON:  So the same people would do the examination of the Bell Canada poles as would do the examination of your own poles; is that correct?  When you are looking at these poles, the third-party poles?

MR. BENNETT:  It depends.  Potentially they would be.  Bell Canada does some as well, but it gets logged in our GIS system, as Casey identified.  We gave a pole rating in the GIS system, and then we take a snapshot of that.  We do a query on that, and we come up with the information that you see on this graph.  And based on the information in the graph we come up with a pole replacement plan, and in some cases there is Bell Canada poles as part of that plan, in which case there is a cost-sharing arrangement for the replacement of those poles.

MS. MILTON:  So for your share of the cost of replacing a Bell Canada pole, what happens to your share of the cost?  Does that get recorded in account 1830?

MR. BENNETT:  Our share of the cost for Bell Canada pole?  That's a good question.  It is not capitalized in the sense of our own pole.

MS. COLLIER:  Yeah, it's not.  The 1830 is a capital cost, and we do not capitalize poles that we do not own.

MS. MILTON:  Would that cost have been captured in your external system of accounts, the number you're using?

MS. COLLIER:  No, no.

MS. MILTON:  So just to close this off, back on Carriers 6(a), that table 1, the net book value that you are reporting there, none of those numbers include any costs associated with third-party-owned poles?

MS. COLLIER:  That's correct.

# Questions by Mr. Harper:

MR. HARPER:  Can I just ask a follow-up to that?  Elsewhere in your US of A accounts you record OM&A costs.  And would it also be fair in saying that none of the costs that you pay -- none of the costs involved in your cost-sharing arrangements with Bell for replacement of these poles would show up in your OM&A accounts, either, that are included in this application?  I mean, if it isn't treated as capital, is it treated as OM&A, and I guess the only other third place it could possibly be treated is, would be as a miscellaneous accounts payable.  I'm just trying to figure out where it does go in your books.

MR. BENNETT:  So the power equipment on the pole is recorded.  That's ours.  We own it.  The pole is Bell Canada's.  The arrangement is basically an owner-contractor type of arrangement.  So if Bell Canada needs the pole replaced, Hydro Ottawa is paid to replace the pole.  There is a fee in the agreement for us to replace the pole, and our costs associated with our hardware are our costs.

MR. HARPER:  Okay, I --

# Continued Questions by Ms. Milton:

MS. MILTON:  So just following up on that:  If there are power fixtures on a Bell Canada pole, would those fixtures be included in account 1830?

MR. MALONE:  No.

MS. MILTON:  No cross-arms for those poles included in 1830?

MR. MALONE:  We have got away from cross-arms.  We end up using brackets, but...  Modify that response.  Yes, there will be some fixtures with the transfer of the conductors and devices from the old pole to the new pole.

MS. MILTON:  Okay.  I'm going to -- my next question is on Carriers 11.

MS. HELT:  Perhaps, Ms. Milton, Board Staff just has a follow-up question with respect to Carriers 6.

# Questions by Mr. Clark:

MR. CLARK:  In Carriers 6(c) -- we touched on this a moment ago -- you are claiming that the costs are based on your non-regulated costs?  In other words, you're using your records based on C GAAP, not IFRS; am I correct?

MS. COLLIER:  That's correct.

MR. CLARK:  And we're trying to establish a rate for attachments to the poles going forward, are we not?

MS. COLLIER:  That's correct.

MR. CLARK:  Why would you not use your estimated 2016 pole count and your estimated 2016 cost based on IFRS, considering that it is IFRS that underpins any regulated rate?

MS. COLLIER:  Maybe I'll answer.  We likely should have.  At the time this information was pulled together, it was pulled together using the 2013 C GAAP results, but as presented in table 1 to Carriers Question No. 7, we do provide the comparison, and the rate is basically the same.

MR. CLARK:  But that's based on 2013.

MS. COLLIER:  It's based on 2013, but you notice at the bottom of the table 1 it includes a 2.1 inflation factor from '13 to '16.

MR. CLARK:  That assumes uniform increase in the number of poles and attachments in the existing ratio.  Okay.  That's fine.  Thanks.

MS. HELT:  Perhaps this is a good time to take the morning break.  We'll break until 11:30.

Ms. Milton, do you know how long you will be with the remainder of your questions?  I'm just wondering if we'll he get through this panel by the lunch hour if we take a later lunch.  I'm not sure, depending on your time estimate.

MS. MILTON:  I'm hoping about half an hour.

MS. HELT:  All right, so then we we'll break until 11:30.  Thank you.

### --- Recess taken at 11:13 a.m.

### --- On resuming at 11:30 a.m.

MS. HELT:  Welcome back, everyone.  I believe Mr. Harper is going to go next with a question that he has.

# Questions by Mr. Harper:

MR. HARPER:  Yes, if you'd turn to your response to Carriers 10, could you perhaps confirm for me -- you are going through here the calculation of the 6.7 per cent weighted average cost of capital.

Could you please confirm for me that the calculation of the ROE component of this does not include any mark-up for income taxes?

MS. COLLIER:  The ROE component is after tax.

MR. HARPER:  So there is no provision in here for monies Hydro Ottawa may have to pay for income tax associated with the ROE?

MS. COLLIER:  The 6.7 per cent is a bit of a hybrid with regards to tax.  The debt is before tax, but the equity is obviously after tax.

MR. HARPER:  I guess that nowhere else in the rate calculation have you made a provision for income taxes as a cost associated with carrying these poles?

MS. COLLIER:  That question may be more directed to panel 2.

MR. HARPER:  But, I mean, you've got a -- I just looked at the table that showed the different components of the rates, and there was -- I saw OM&A, I saw depreciation, but there is no line there explicitly for income tax, then, is there?

MS. COLLIER:  That's right.  Other than in the 6.7, there is an element of tax in there because the ROE component is after tax.

MR. HARPER:  You're going to have to explain to me how, if it's after tax, it's actually got an ROE -- supposedly the ROE would be higher if it was before tax number, because it would make a provision for the income tax you have to pay. And if the 6.7 is after tax, it is therefore a lower number.  Is that not the case?

MS. COLLIER:  Again, I'll defer to panel 2 when our tax person is on the panel.

MR. HARPER:  That will be fine.

# Continued Questions by Ms. Milton:

MS. MILTON:  Could I get you to go to the response to Carriers 11?  The responses begin on page 2 of 3.

In Carriers 11(a), the question asked for a detailed description of all activities undertaken as part of pole maintenance, including the tasks performed, the employee categories involved, the hourly wages and vehicle time to complete each task.

In response you said that:

"Pole maintenance expenses captures pole testing, repairs, and straightening."

So, first off, I wonder if you could tell me what pole straightening is.

MR. MALONE:  If the pole wasn't designed to be on an off angle -- in some cases, if you are on a hill, it may be.  But if the pole isn't reasonably perpendicular, so you are looking at a pole that is maybe five degrees off-vertical, is it a concern?  Is it a reliability or safety concern?

At some point, a ten per cent leaning of the pole may cause concern, and you may be going back and straightening the pole.

MS. MILTON:  Pole testing, repairs, and straightening, that's the end entire universe of activities that you include within pole maintenance; is that right?

MR. MALONE:  Yes.

MS. MILTON:  Would you have available the number of poles per year that require testing, or that you do testing on, and similarly the number of poles per year that you do repairs on, and the number of poles per year that you do straightening on?

MR. MALONE:  I'm going to put that to Bill as part of the asset management plan.

MR. BENNETT:  The poles per year for testing, we can generate the number for that.  What were the other categories you want?

MS. MILTON:  Pole repairs and pole straightening, so each of the tasks that you've said are covered by the pole maintenance expense.

MR. BENNETT:  We can undertake to see what we can find.  I don't believe we would have actual numbers of poles straightened, et cetera, as a category.  But we'll see what we can find.

MS. MILTON:  Okay, great.

MS. HELT:  So undertaking JTC.9 will be to further elaborate on the response to Carriers 11, and to make best efforts to provide the number of poles per year that required testing, that required repairs, and that required straightening.

Just one question, Ms. Milton:  Which years are we looking at?

MS. MILTON:  Ideally, we'd like to see it through 2011 through 2015.  But if you don't have historical, then just current.

MS. HELT:  All right.  So that will be included with the undertaking.

UNDERTAKING NO. JTC1.9:  to further elaborate on the response to Carriers 11, and to make best efforts to provide the current number of poles per year that required testing, that required repairs, and that required straightening

MS. MILTON:  Now in 11(b), we asked for a detailed description of the methodology, including the source of the data used to determine the claimed pole maintenance expense of $12.61 per pole.

The response says that as of year-end of 2013, total pole maintenance was 605,081.  Can you tell me where that 605,081 number comes from?

MR. MALONE:  We ran it against our pole maintenance account for the end of 2013.

MS. MILTON:  So you have a separate pole maintenance account?

MR. MALONE:  Yes, as per defined through C GAAP and our IFRS processes.

MS. MILTON:  Does that account track your pole maintenance expense on all Hydro Ottawa-owned poles?

MR. MALONE:  I would take that as an undertaking.

MS. COLLIER:  Yes, I can confirm that.

MS. MILTON:  Does it include maintenance cost on any third party poles?

MS. COLLIER:  No, those are tracked in our work-for-others account.  Any work on third party poles is not tracked within this account.

MS. MILTON:  It is tracked separately?

MS. COLLIER:  Yes.

MS. MILTON:  Can you tell me what account it would be tracked in?

MS. COLLIER:  It would be included in our work-for-others category.  I don't have the account number.

MS. MILTON:  Can we get you to undertake to provide the account number?

MS. HELT:  That will be undertaking JTC10, to provide the account number.

UNDERTAKING NO. JTC1.10: TO PROVIDE THE ACCOUNT NUMBER WORK FOR OTHERS IS TRACKED IN

MS. MILTON:  In the first part of this response to (b), you say "the cost per pole of each program."  So do I take it from that that you actually track the costs of each of the pole testing, pole repairs, and pole straightening?  Is that what you are referring to when you say "the cost per pole of each program"?

MR. MALONE:  We have a specific testing program.  The repairs and straightening are applied directly to the maintenance account, not as a program, because there is so small an amount of repairs and testing -- or straightening, as a lot of the costs are associated with the testing program.  Which -- the testing program is specifically the Hydro Ottawa poles.

MS. MILTON:  So my understanding is you track everything, everything goes into this account that's being used to come up with this 605,081.  You aren't doing any separate addition of these specific program costs to come up with this 605,081?  Is that --

MR. MALONE:  No.

MS. MILTON:  When you talk about maintenance on poles, would that include maintenance on all of the pole and fixture assets that are included in account 1830?

MR. MALONE:  Yes, it would.

MS. MILTON:  If we could go over to response 11(f), which is on page 3 of 3, there is a table 1 there which shows pole maintenance expense from 2010 to 2015.

And if we just look at the top line there, in 2010 pole maintenance expenses, you know, 362,000, it's up to 449 in 2011, and then it jumps to 656 in 2012.  And I'm wondering if you can tell me what is behind this very significant increase in pole maintenance expenses between 2010 and 2012.

MR. BENNETT:  I don't have any specific information here, but I can tell you, based on our reliability information, 2011, we had severe wind storm.  We had a number of poles fall down.  We had a lot of damage to our overhead system, and I'm expecting that that's reflecting in the maintenance that was done through 2012.

MS. MILTON:  But the numbers appear to be staying up in the 600,000, or they're dropping down in 2014 some, but still well above 2010, so were there wind storms every year, or can you --

MR. BENNETT:  2011, 2012, both were, I'll call them severe weather years for us.  As is described in our asset management plan, the system's aging.  The poles are aging.  That's kind of how it goes.

MS. MILTON:  So do I take it then you're saying that because the poles are getting older you are paying more for pole repair?  Because I would have thought your pole testing remains more or less the same.

MR. BENNETT:  The -- as the system ages you end up spending typically more money on maintenance, yes.

MS. MILTON:  Because of more pole repairs or what?

MR. BENNETT:  Yes, pole repairs, yes.

MS. MILTON:  Because the number of poles is also declining each year; correct?

MR. BENNETT:  Well, it's relatively constant.

MS. MILTON:  Okay, and if we drop down below there there's note (i), and it says:

"2010 to 2014 total pole maintenance expense data is taken from JDE Enterprise."

Can you tell me what JDE Enterprise is and how that links up to the earlier response that this is a separate account and you're going to provide me the account number?

MS. COLLIER:  Yes, JDE is our accounting -- JDE Enterprise is our accounting system, so both the C GAAP numbers and the IFRS numbers come out of that same system.  So all it means is it's coming from our accounting system.

MS. MILTON:  Okay.  And I heard you a minute ago say the number of poles is relatively constant.  In little note (iv) there is a reference to an average decline in poles, and I'm just wondering, can you tell me what is behind that average decline that you're seeing?  And I take it they may not be huge numbers, but can you give me -- help me understand why there is some decline in the number of poles?

MR. MALONE:  As we rebuild our system, we take a look at probably better ways to install poles:  Do we need the same number of poles?  Instead of replacing ten poles, can we replace it with nine poles?

So there is a decline.  I mean, what we try to do is be a bit more efficient with our system on its rebuild, as well as -- on relocations as well.  At that point in time you have the opportunity to look at it, versus poles that were installed maybe 40 or 50 years ago, slightly different approach in terms of the engineering and road geometry, so there is opportunities to reduce it.

So in fact, as Bill mentioned, we are having a very slight decline, although the number of our customers or city roads expand, so -- mind you, at the same time, there is probably more underground installations with those new -- new subdivisions.

# Questions by Mr. Harper:

MR. HARPER:  Yes, I just have a couple of questions with respect to Carriers 11.

First one has to do with your response to part (d), where you indicated that tree-trimming costs were not included in the calculation of the maintenance.  I was wondering if you could just explain why that was the case?

MR. BENNETT:  Tree-trimming costs, we don't trim for communications space, we trim for the power space, and we don't trim on customers' property, typically, unless it is a power-space issue, so...

MR. HARPER:  So I guess maybe the other part of that question I think had asked you about whether wireline attachers perform their own tree-trimming and pay for it separately, and I guess that's what sort of twigged me in terms of your response, if you just tree-trimmed -- if you just trim for the space  that is going to affect the powerline, do wireline attachers go back and trim the trees again for any impact it may have on their lines?

MR. MALONE:  We -- in one of our questions on loss of productivity, we note wires low, wires down, trees and wires, so they're non-Hydro Ottawa wires, so as per our agreement, negotiated agreement through CCTA and MEARIE, CCTA was very adamant that tree-trimming cost would not be in there unless there is a massive storm, some one-off event.  Other than that, they would bear their own costs.

So what we do is we're basically response.  We don't know what wire's down or what trees are in wires, so as the more hazardous utility, we first respond, and then refer to the asset owner, the telecom, that they have to go and take care of their plant.

MR. HARPER:  I guess my question was dealing more specifically with regular tree-trimming maintenance than your response to wires down or sort of, you know, those more sort of one-off events, and so just more specifically to the question which I guess was asked and which I was trying to follow up on, do the wire providers, do the tree -- any tree-trimming that's required around their own wires?  I guess you don't do any of it, so I'm assuming the corollary of that would be they would do it?

MR. MALONE:  They would do it.  We don't know the specific details of any carrier's vegetation management program.  That would probably be in another venue.

MR. HARPER:  Okay.  No, that's fine.  The second question I had in this -- with respect to Carriers 11 was with respect to the section you were just -- the table you were just talking about with Ms. Milton that had to with your -- has to do with your determination of the 2015 HOL maintenance cost, which you understand -- you calculate by taking basically an average of the last five years to come up with that number?

MR. MALONE:  2015 number --

MR. HARPER:  If I read footnote number 3 there, it says your estimate for 2015 was based by basically taking an average of the 2010 through 2014 values.

MR. MALONE:  Uh-hmm, yes.

MR. HARPER:  And so I guess in doing that average I guess one thing just doing that average -- would you agree with me in doing that average there is no recognition of the fact that there is likely to be between 2010, even up to 2015, some inflationary pressures on your costs through that period?

MS. COLLIER:  There would be inflationary pressures on costs in every year, but we took an average, and in some years it might be higher because of the storm, so we felt that the average was the most appropriate number to use.

MR. HARPER:  Yes, but you acknowledge there would be some -- you know, these -- if I was to use 2010 to estimate 2015, I would be missing an issue around inflation, though.

MS. COLLIER:  You would, but then in '11 -- or in '12, for example, as Bill mentioned, it might be a bit higher because of storms, so...

MR. HARPER:  As a separate factor?

MS. COLLIER:  Exactly.

MR. HARPER:  Thank you.

# Continued Questions by Ms. Milton:

MS. MILTON:  So if I could get you to go to Carriers 12 now, and the response that starts on page 2 of 5.  And I just want to understand a bit better some of the numbers that are used in (a)(i), (ii) and (iii).

So in (a)(i) there is a reference to 16 hours per year of invoicing, and as I read the response, that's based on tracking you do by an internal finance scheduling calendar.

Can you tell me what this internal finance scheduling calendar is?

MR. MALONE:  Yes, our accounts receivable department has scheduled, at the end of every year, the invoicing for third-party attachments, and it's -- they've set aside two days for one person over the last few years to accomplish that task.

They want to make sure it's done in a timely fashion, so it is usually started at the end of November to ensure the third parties do have invoicing by end of year.

MS. MILTON:  So that's a calendar that establishes allocations of time each year; it's not a tracking system where people record their time?

MR. MALONE:  That is an annual call-up event.

MS. MILTON:  Does every rate-paying attacher receive one invoice per year?

MR. MALONE:  They may receive two, depending on the agreement, so I'm thinking of the competitive carriers. It's a double invoice, so you pay for the attachments in advance for the year in advance, and there is a true-up at the end of the year.

So at the end of the year, you are paying for any additional attachments that came on during the year, as well as you are paying for the next year as well.  So you would see two invoices.

MS. MILTON:  Then dropping down to part (ii), it refers to 167 per year, and this is for annual routine updating of GIS permit tracking and reporting system with third party attachments.

So, am I correct in understanding that this is intended to represent the amount of time each year to enter new permit into the GIS system?

MR. MALONE:  Yes.

MS. MILTON:  And am I correct in understanding that for each permit, if it's new attacher, you would include in the GIS system the name of that attacher and -- is that correct?  You would put that into the system for that pole?

MR. MALONE:  Yes.

MS. MILTON:  Would you also -- does the GIS system include information on each attachment, or just each attacher on the pole?

MR. MALONE:  Attachments.  So for -- I'm just trying to go to my time in GIS a number of years ago in operating the system.

It does attachers, where the attacher has multiple attachments.  So if there is a carrier and they own a support strand, and they are having over-lashing multiple cables on their support strand, they may have multiple attachments, no, we would log that as one.

But if they have multiple support strands, we would track that.  So a carrier may have two or three support strands, and all the cables over-lashed, and we would track that as separate attachments.  But in fact that carrier would be only invoiced for the one pole.

MS. MILTON:  Okay, and I'm just trying to understand what's involved in this updating of the GIS system.

So if the attacher is already on the pole and already has strand, and there is no new strand, there would be no change to the system if --

MR. MALONE:  That would be correct.  The approved permit would come down, and it would be reviewed with that specific pole calling it up.  Is there any changes?  Is there -- is it new, a new attacher?  Is it an existing attacher with a separate support strand, an existing support strand?  Is it a removal request?

MS. MILTON:  So for the part that is the admin cost, which is this portion of the updating with each permit, you are going to say you go into the system and see if you need to change anything?

MR. MALONE:  Yes, on a pole-by-pole basis.  I wish there was a different system available to help everyone with that, but we don't know of that yet.

MS. MILTON:  And would you do that for all attachments except for the non-paying banner-type attachments?

MR. MALONE:  Not RCMP either.

MS. MILTON:  The RCMP?

MR. MALONE:  Yes.  They are tracked separately.  They are not tracked in the GIS system.

MS. MILTON:  So the 167 doesn't include the RCMP time for whatever you do for them?

MR. MALONE:  Yes, it does not include the RCMP time.

MS. MILTON:  You said that the hours -- in the response, it says the hours were tracked internally.  So can you tell me what's the process that's used to track the hours?

MR. MALONE:  They have an internal database system for allocation of resources to a CAD technician, and they log their time against any particular activity.  Are they updating with respect to poles, are they doing construction proposals for maybe our own internal work, or maintenance programs, or as-builts for our own equipment.  So they categorize how they're tracking their time in GIS.

MS. MILTON:  So the person who is doing the work actually has to every day say how much time went on this; is that --

MR. MALONE:  Yes.

MS. MILTON:  Okay.  And this is a number for 2013, but would you have numbers for 2010, 2011, 2012 and 2014?  Would you have the hours for those other years?  And for 2015, as well?

MR. MALONE:  We'll take that as an undertaking.

MS. HELT:  Undertaking JTC.11 will be to provide the numbers of hours with respect to the response to Carriers 12 for the years 2010, 2011, 2012, 2013 and 2014.

UNDERTAKING NO. JTC1.11:  (A) to provide the numbers of hours with respect to the response to Carriers 12 for the years 2010, 2011, 2012, 2014, and 2015 Year-to-date; (B) to provide the amount tracked for annual routine permit processing for 2011, 2012, 2014, and year-to-date 2015; (c), to provide the number of permits processed each year for 2011 through to 2015 year-to-date

MS. MILTON:  I think we have 2013.  I misspoke, but we need 2015.

MS. HELT:  All right, so 2010, 2011, 2012, 2014 and 2015.

MR. MALONE:  You want 2015 year-to-date or forecasted?

MS. MILTON:  Year-to-date, please.

Then finally, the third component is annual routine permit processing, and you provided an amount of 123,906 per year.  Is that an amount for 2013, that number?

MR. MALONE:  Yes, it is.

MS. MILTON:  Could you undertake to provide the amounts for the same years, 2011, 2012, 2014 and 2015 to date?

MR. MALONE:  Same undertaking, or a different one?

MS. HELT:  We can include this in JTC.11.  Ms. Milton, can you just articulate again the undertaking?

MS. MILTON:  The undertaking would be to provide the amount tracked for annual routine permit processing for 2011, 2012, 2014, and year-to-date 2015.

MS. HELT:  Thank you.

MS. MILTON:  You say you've tracked by dedicated internal tracking work order.  Would that also track the number of permits that are being processed each year?

MR. MALONE:  We have a separate database for that.  But we do have how many permits we review, approve, that are cancelled or removed.

MS. MILTON:  Would you be able to provide to us the number of permits that were processed each year for 2011 through to 2015 year-to-date?

MS. HELT:  If so, we can mark that as part (c) to undertaking JTC.11, as these all relate to Carriers interrogatory 12.

MS. MILTON:  I think, if I understood an earlier response, there are permits for the decorative banners that don't pay rate; do I have that right?

MR. MALONE:  Yes.

MS. MILTON:  So they would be included in this cost that's tracked?

MR. MALONE:  I'll confirm.

MS. HELT:  So Undertaking JTC12, to confirm whether or not the banners are included in the costs that are tracked.

UNDERTAKING NO. JTC1.12:  to confirm whether or not the banners are included in the costs that are tracked

MS. MILTON:  Then if I could get you to turn over to page 4 of 5 of this interrogatory response, to response (h) and specifically table 1, which is at the very bottom of that page.

And looking at the line for "permits", and you will see that the amount in 2010 was 41,907.  Increased quite a lot in 2011 to 71,245, and then increased by, I'll call it a staggering amount in 2012, to 171,254, and I just wonder if you can explain to me what happened between 2010 and 2012 to cause that change.

MR. MALONE:  What happened was with respect to the 22/04 annual audits.  We were auditing -- the way the ESA audit process works is that you sample 10 percent, both in an office and in the field, for the safety requirements.  If they fail, then you take another 10 percent, you re-audit that.  So you go back to the attacher, you notify them to do the corrections, and then you sample another 10 percent.

And through the recent years, what we're seeing is that we're doing field audits where the attachers are having multiple audits completed because of failing the audit requirements in terms of safety, so we're going back, notifying them, re-sampling, going back out in the field.  So it's independent of the carrier, so if it's Bell or Rogers, we're back re-sampling and providing the information that they have requirements under their construction verification program to complete, be it record of inspection or significant changes or having hazards left in the field after completion of work.

MS. MILTON:  Just to confirm that I have that guideline, I understand it correctly, that 10 percent, the requirement is to audit 10 percent of the permits issued in the year, the attachments associated with permits issued in the year?  It's --

MR. MALONE:  Yes.

MS. MILTON:  Okay.  So it's new attachments, it's not the existing base of attachments?

MR. MALONE:  22/04 is -- Ontario Regulation 22/04 is based both on a new installation as well as looking at existing installations in terms of safety, so if one of our field auditors were out there and they noted, not specifically looking for it, that they're taking out current permits and reviewing them, if they do notice a deficiency, that they'll report it at that point as well.

MS. MILTON:  But the 10 percent is applied to the new --

MR. MALONE:  On new permits.

MS. MILTON:  Could I get you to turn now to Carriers 13.  On page 2 of 5 at the bottom you talk about wires down, and then heading over on to page 3 of 5 near the top there is a discussion of trees on wire.

When you talk about wires down and reports that you've received, are those reports of wires down only for poles you own, or do you receive reports of wires down on poles owned by a third party that you operate on?

MR. MALONE:  I would have to take a look at our outage management system to see how it's set up for classification.

MS. MILTON:  Could you undertake to do both, for the numbers for wires down and for trees on wires to undertake to indicate whether those -- the number of calls you provided relates to Hydro Ottawa-owned poles only or if it also relates to Hydro Ottawa plus third-party-owned poles that you operate on?

MS. HELT:  That will be Undertaking JTC.13.

UNDERTAKING NO. JTC1.13:  FOR THE NUMBERS FOR WIRES DOWN AND FOR TREES ON WIRES TO UNDER TO INDICATE WHETHER THE NUMBER OF CALLS PROVIDED RELATES TO HYDRO OTTAWA-OWNED POLES ONLY OR IF IT ALSO RELATES TO HYDRO OTTAWA PLUS THIRD-PARTY-OWNED POLES THAT ARE OPERATED ON.

MS. MILTON:  Dropping down, the response to part (b) there, pole replacement, and that response in the equations are in the body too right up front, refers to 1,087 roles replaced in 2013.

Now, is that 1,087 Hydro Ottawa-owned poles, or does it include third-party-owned poles that you had some involvement in replacing?

MR. MALONE:  Hydro Ottawa only.

MS. MILTON:  So those are tracked separately, the Hydro Ottawa only?

MR. MALONE:  That would be a query on the GIS system, owner equals Hydro Ottawa, installed date.

MS. MILTON:  And the 74.3 percent, was that also based on a query of the GIS system?

MR. MALONE:  Yes, it was.

MS. MILTON:  And so when was that query done?

MR. MALONE:  The end of 2013.  Now, having looked at that number over the last 15 years, it has been in the low 70s.  It hasn't substantially changed.  It's, you know, plus half a percent, minus half a percent.

MS. MILTON:  And the number of poles that had attachments, so that 74.3 percent in 2013, that would include poles that had Hydro One attachments?

MR. MALONE:  Yes.

MS. MILTON:  If we could go now go to page 5 of 5 of this response and the table 1.  And I just -- first of all, on the top part of the table, you've got number of poles affected and number of poles used in calculation.

And as I understand it, for each year you've taken the number of poles used in calculation and then multiplied by that 74.6 percent to get the number of poles affected, except in 2013 you've got 1,087 both years, but am I right in thinking the 1,087 in 2013 number of poles affected is a typo?  Or have I misunderstood how these lines were -- how the numbers were developed?

MR. MALONE:  I'd have to confirm that.

MS. HELT:  Do you want that as an undertaking, Ms. Milton?

MS. MILTON:  I think you can just -- sure.  Can you undertake to explain why the number of poles affected is the same as the number of poles used in the calculation in 2013?

MR. MALONE:  Okay.  2013.

UNDERTAKING NO. JTC1.14:  To explain why the number of poles affected is the same as the number of poles used in the calculation in 2013

MS. MILTON:  And you said a minute ago that you'd sort of confirmed that this 74.3 percent, which is the number that you got when you did a dip on your GIS system at the end of 2013, was relatively constant.

Can I get you to provide those numbers for us for 2010 through to 2015 year-to-date that the percentage of poles replaced that have attachments on them?  Is that...

MR. MALONE:  Yeah, that would go back to our GIS system, in that we're running current, so at that point, before you -- we did a query in 2006 or 2010, and we're looking at it, and we're saying, okay, we're -- so low to mid-70s, but we -- at this point we wouldn't be able to go back historically to take a look at that.

MS. MILTON:  Okay.  So you can't do it, so how do you -- what's the basis for your statement, then, that the 74-point-whatever-it-is is representative of what you've seen over the last five years?

MR. MALONE:  Looking at the rate hearing in 2004 on pole attachments, we ran specific calculations against our GIS systems to come up with the numbers, and they were into the low to mid-70s, so at that point I'm assuming that we're not doing major swings over the last ten years from that, that it's relatively constant.

MS. MILTON:  Sorry, I just missed, when did you do those earlier checks on the GIS system?

MR. MALONE:  2004.

MS. MILTON:  2004.

MR. MALONE:  That was in preparation.

MS. MILTON:  Then when I look at the costs, so the first two lines of the table, field verification and returning crew, your estimate for 2015 is substantially higher than for 2014.  And yet your response earlier says that you are using the same labour rate, and I see that the number of poles affected is down.

So, can you tell me how you came up with the 2015 estimate for the two numbers, the field verification and returning crew?

MR. MALONE:  I'd have to verify that.

MS. MILTON:  Would you undertake to verify those numbers and get back to us on how you calculated them?

MR. MALONE:  Yes.

MS. HELT:  So undertaking JTC.15 will be to provide information with respect to how the numbers were arrived at with respect to the field verification and returning crew numbers for the years 2014 and 2015.

UNDERTAKING NO. JTC1.15:  to provide information with respect to how the numbers were arrived at with respect to the field verification and returning crew numbers for the years 2014 and 2015

MS. MILTON:  Then dropping down to the second-last row of this table, it says "number of poles affected", and I see there that you've got a historical number of poles.

I understand that those numbers are intended to be the number poles with attachments, with third party attachments on them; do have I that correct?

MR. MALONE:  Yes.

MS. MILTON:  Can you tell me where you got these historical numbers?  I understand the 35,633 was for 2013, when you did the dip at the end of that year.

But I'm wondering where the other numbers came from.

MR. MALONE:  As mentioned earlier this morning, we do run a query at year end of major distribution assets -- like transformers, circuit kilometres of underground cable, number of poles -- and that would be those year-end values for the poles, multiplied by the 74.3.

MS. MILTON:  Sorry, we are talking about this second-last row, so why would you be multiplying by the 74.3?

MR. MALONE:  That would be the number of poles with attachers.  If a wire was down and there was no attacher, then the wire is ours.

MS. MILTON:  So this line, this row is the number of poles with attachers, and you're telling me that once every year you do a run on the number of poles with attachers and you keep those numbers, and that's where those numbers came from?  Is that --

MR. MALONE:  No, those numbers were our total in- service number of poles times 74.3.

MS. MILTON:  Okay.  Now, the pole replacement costs; you are talking about the cost of sending a crew to do field verification and a returning crew to remove the pole.

Would those crew costs -- the field verification crew cost and the returning crew costs, would those costs be capitalized by Hydro Ottawa and included as install costs in account 1830?

MR. MALONE:  No, they would not.

MS. MILTON:  You don't capitalize your pole installation costs?

MR. MALONE:  In terms of trouble response --

MS. MILTON:  I'm not talking about -- that was the bottom of the table, the wires down and the tree on wires, and I understand that's a separate calculation.

But right now I'm going back to the replacement cost, and I want to understand.  You've told us you send out a crew to field verification, and you send out a crew to remove the pole.  And I wanted to understand where those costs are recorded in your accounts.

MR. MALONE:  That would be 1830.

MS. MILTON:  All right, thank you.  Could I get you now to go Carriers 14?  The response starts on page 2 of 3.

I just want wanted to ask a clarification on (b)(i).  In (b)(i), it's talking about planned replacement at end of asset life, and that's planned replacement of poles.  And in brackets it says 60 percent of poles replaced, and I just want to understand.

The 60 percent, is that the percentage of total number of poles replaced in a year, is planned replacement?  Is that what the 60 percent means?

MR. MALONE:  Yes.

MS. MILTON:  You go on in the response to state that although Hydro Ottawa groups poles into neighbourhoods for its pole replacement program, the poles for replacement are normally not immediately adjacent to one another, but are distributed throughout an area.

So I was wondering if I could get you to undertake to provide to us, for 2010 to 2015, the number of poles with third party attachers on that were replaced as part of a neighbourhood pole replacement program, so the number of poles that were replaced as part of a neighbourhood program as opposed to poles that were replaced on a one-off basis.

Is that something you could provide to us?

MR. BENNETT:  Just for clarification, the number of poles replaced as part of planned pole replacement; is that what you are asking?

MS. MILTON:  I think so, because I think when you do a planned pole replacement, it is typically a neighbourhood, correct?  Yes.

MR. BENNETT:  So the number of poles replaced as part of planned pole replacement for the 2011 to 2015?  Is that what You --

MS. MILTON:  And ideally the ones that had third party attachers on them.  I don't know if that's possible.  If not, just go with the top line number, the number that were replaced as part of a neighbourhood program -- or a planned pole replacement program.

MS. HELT:  Is that something that Hydro Ottawa can provide?  Yes?

MR. MALONE:  (Witness nods).

MS. HELT:  That so that will be Undertaking JTC16.

UNDERTAKING NO. JTC1.16:  to provide the number of poles replaced as part of planned pole replacement for 2011 to 2015

MS. MILTON:  Then I wonder if we could go to page 626 of the revised application that was filed on June 29, 2015.  That page has a table that's called "Balanced productivity metrics."

MR. VAN DEUSEN:  Which exhibit?

MS. MILTON:  Well, it was on the website just has the June 29 -- I think it says "application".   I don't think it's a -- it's updates, excuse me, yes.  Sorry.  Page 626.

MR. BENNETT:  Do you want to wait until it's displayed, or do you want to talk about it now?

MS. MILTON:  Well, it's a quick question, but it's about the numbers.  So I am kind of loathe to -- well, I can pose the question and you can tell me if you want to wait.

MS. HELT:  I believe he has a hard copy in front of him.

MS. MILTON:  Oh, you do?  Okay.  So in the blue part of the table, asset efficiency, in the second row it says “cost per pole replaced”, and it is for planned pole replacement.  In 2011, there is a number of 15,000 per pole.  It is 20,000 per pole in 2012, and 23,000 per pole in 2013.  And then for 2014, Q4, we're looking at 32,000 per pole.

I'm  wondering if you can explain to me what's behind the increases that we've seen in the cost per pole replaced.

MR. BENNETT:  The cost per pole replaced depends dramatically on what pole and where you replace it, so a pole replacement program, for example, in a neighbourhood where there's poles in the grass with a single circuit on it, the cost per pole replacement will low.  Pole replacement in an urban area in the sidewalk or in the concrete with multiple circuits per pole, the cost per pole will be high.

So this is just an average of the poles replaced in a given year.  We look at each of the categories as part of the process when we're putting together our capital program, when we put together estimates depending on the project as part of that process, and then we compare at the end of it to come up with cost per pole for given installation circumstances and that sort of thing.

MS. MILTON:  Just two more -- one more quick question on this area.  So if you're replacing a pole and it has Hydro One attachments on it, does Hydro One move its attachments or do you move Hydro One's attachments?

MR. BENNETT:  Hydro One moves their attachments.

MS. MILTON:  And similarly, if there are street lights on that pole, does the city move the street lights, or do you move the street lights?

MR. BENNETT:  I'll say the city, but there are occasions where we have moved them for them.

MS. MILTON:  Okay.  If we could just go now to Carriers 16.  On page 2 of 2 there is -- and table 1, in particular.  So in this table you've provided historical information on the number of wireline attachers, so as we've discussed before, is that because you traditionally do a dip on your GIS system at the end of each year and retain certain information, or did this information come from somewhere else?

MR. MALONE:  That came from our JDE Enterprise system with our accounts receivable for annual invoicing.

MS. MILTON:  So the JDE Enterprise system maintains in it the number of wireline attachers in each year?

MR. MALONE:  For the invoices that were sent out.

MS. MILTON:  Now, this says the number of wireline attachers, so would that include Hydro One?

MR. MALONE:  Yes, it would.

MS. MILTON:  And it includes street lights as wireline attachers?

MR. MALONE:  Yes.

MS. MILTON:  And it includes the RCMP?

MR. MALONE:  Yes.

MS. MILTON:  So these numbers seem a little bit different from the ones we were talking about in response to 1(c), and so I had thought that was because these were just wireline attachers, and if it does include these other attachers, I guess I'm going to need you to explain why in 1(c) we were getting to sort of 12 attachers and now you're telling me seven or eight.  So...

MR. MALONE:  I'll confirm that with our accounts receivable group on that.

MS. MILTON:  Okay.  So --

MS. HELT:  We'll note that as an undertaking, then.  JTC.17 will be to provide an explanation for the differences between the number of wireline attachers as reflected in response to Carriers Interrogatory 1(c), with -- and contrast that to table 1 that was provided in response to Carriers 16.

UNDERTAKING NO. JTC1.17:  (a) to provide an explanation for the differences between the number of wireline attachers as reflected in response to Carriers Interrogatory 1(c) and contrast that to table 1 that was provided in response to Carriers 16; (b) TO PROVIDE A DESCRIPTION OF WHAT'S INCLUDED IN WIRELINE ATTACHMENTS IN THE SECOND ROW; (c), to confirm the difference between the values for Specific charge for access to the power poles as reflected in Exhibit C, tab 2, Schedule 2, page 2 of 3, with the number in Table 1 in response to Carriers 16; (D), to reconcile the numbers in Carriers 4(a) with those numbers that are found in response to Carriers 16(d)

MS. MILTON:  Then in the next row of the table you've given historical information on the number of wireline attachments.  Is this information also then from the JDE database?

MR. MALONE:  Yes, those numbers would be.

MS. MILTON:  Can you tell me what is included when you say "wireline attachments"?  I guess what I'm looking for is, is it all ratepaying attachments, or is it just some subset of ratepaying attachments, or is it all attachments, regardless of whether or not they pay a rate?

MR. MALONE:  Bring that forward with this undertaking.

MS. MILTON:  So adding to the previous one, to provide a description of what's included in wireline attachments in the second row.

MS. HELT:  Then that's the second row of table 1 in response to Carriers 16.  So that will all be part of Undertaking JTC.17.

MS. MILTON:  Could I get you now to go to Exhibit C, tab 2, schedule 2, page 2 of 2.  It was updated on June 29th, 2015.

MR. MALONE:  Exhibit C, tab 2, schedule --

MS. MILTON:  Schedule 2, page 2 of 2 -- or page 2 of 3, excuse me.  Yeah, I think that's it, 96 of 96.

You will see near the middle there's the special charge for access to power poles per pole attachment; do you see that?

MR. MALONE:  Yes.

MS. MILTON:  So there are numbers there for 2012 and other years, some actual, some forecast.  Those numbers are quite different from the numbers we're seeing in the bottom line of table 1, and I'm wondering if you can tell me what the difference is.

MS. COLLIER:  We can probably add that to the previous undertaking, but I believe it gets back to your question in terms of the eight versus the 12.

MS. MILTON:  All right.

MS. HELT:  Does that need then to be added to the undertaking, or are you satisfied, Ms. Milton?

MS. COLLIER:  We'll confirm it with the...

MS. HELT:  All right.  So that will be to confirm then the difference between the values for -- was it special access that you referred to?

MS. MILTON:  Specific charge for access to the power poles.

MS. HELT:  Specific charge for access to the power poles as reflected in Exhibit C, tab 2, schedule 2, page 2 of 3, with the number in table 1 in response to Carriers 16.

MS. MILTON:  Just on this last line of table 1, in the response, those numbers, were they taken from the JDE Enterprise database as well or were they from somewhere else?

MS. COLLIER:  They would be from JDE.

MS. MILTON:  So that would reflect invoiced amounts?

MS. COLLIER:  Yes.

MS. MILTON:  Does Hydro Ottawa receive revenues when it's requested to do a -- rushed permit reviews?

MR. MALONE:  We've identified occasions where we would charge directly, that the current pole attachments agreements that we'll review and respond to the permits within 30 days on best effort.  Telecoms have come in with lots of permits, wanting to meet whatever timelines they have in short order, so you're now looking at a normal workload of X pole spans a month in terms of permits, and if a carrier comes in and says, Okay, Jeez, I've got a big build out and I want to put 40 kilometres in and I need a response ASAP, we would provide them the option.  If you want us to work through the weekend and it's that important, we will do that directly, which is not captured in the permit process in terms of the permit's cost, because it is a charge direct to that carrier.  Other than that, we would go through the normal review process.

MS. MILTON:  Right.  I just wanted to know, would the revenues from that kind of activity be included in this revenue number from the JDE Enterprise -- that you've taken from JDE Enterprise, or would that be recorded separately?

MR. MALONE:  Normally those work orders are set up as a work for others, and it wouldn't be -- would that be considered revenue for wireline?

MS. COLLIER:  Yes, I would agree with Casey.  Those would be charged separately and not included in that line.

MS. MILTON:  Okay, and the same question for cancelled permit requests; if you charge for those, would they be separate or would they be in this amount?

MR. MALONE:  We have it in the agreement if that if a carrier has us do all this permit work and then they cancel more than 15 percent of their permits for the year, we have to be able to recover some of our costs that weren't based on the rate, so we could charge direct.

To date, we haven't had to do that.

MS. MILTON:  So you are saying today you've never applied those charges?  You have the option, but you haven't?

MR. MALONE:  Exactly.  We just didn't want to do a lot of work for nothing for the Carriers.

MS. MILTON:  In the note below the table, it talks about 2015 revenues are billed in January based on end of year 2014, plus end of year 2015 true-up.

I think you've already answered my question on this earlier, but just to make sure I understand, you bill, as I understand it, January 2015 based on attachments as of end of December 2014.  But then, at the end of the year, you would send -- if there's a need for a true-up because there have been more attachments through the year, you would send a separate invoice for that?

MR. MALONE:  It would go on the delta for that year.

MS. MILTON:  So I have that process right?

MR. MALONE:  Yes.

MS. MILTON:  All right.  Just turning now finally to Carriers 17.

# Questions by Mr. Harper:

MR. HARPER:  Could I perhaps do a quick follow up on Carriers 16?  I'd hate to go back to table 1 again, but there was one other item there that I was looking for a reconciliation on.

That was, if we look at this table, you have the number of wireline attachments for 2013 is 55,182.  And if we go back to your response to Carriers 4(a), you have you have the number of wireline attachments there as 56,347.

I was wondering if as part of your reconciliations you were doing in JTC17, you could reconcile those numbers two numbers as well.

MR. MALONE:  What was the second one again?

MR. HARPER:  The second one -- if you go to your response to Carriers 4, part (a), it has -- this is where you have a numerator and a denominator there.

MR. MALONE:  Uh-hmm.

MR. HARPER:  And the numerator happens to be 56,347 as the number of rate attachments -- as the number of attachments in 2013.  I was comparing that with the number of attachments you recorded in Carriers 16, and asking for an explanation for the difference again.

It sounded like the same sort of reconciliations that you're going to be giving in JTC.17, so I thought if maybe it was possible to include that in there, that would be useful.

MS. HELT:  So part (d), then, to JTC.17 will be to reconcile the numbers in Carriers 4(a) with those numbers that are found in response to Carriers 16.

MR. HARPER:  Yes.

MR. MALONE:  Part (c) of that undertaking.

MS. HELT:  Part (d), actually.  I think part (c) was to provide the --

MR. MALONE:  Oh, yes.

MR. HARPER:  My other, final point was fairly clear.  You had a conversation just recently on the treatment of revenues that were received from sort of the rush permit processing you were doing.

You said that that was being charged -- that was treated as work for others in your account system.

Would it also be safe to say that the cost of that would also be posted against similar work for others cost on the side, and captured there in separate accounts?

MS. COLLIER:  Yes.

MR. HARPER:  Thank you.  That's all.

MS. HELT:  Thank you, Ms. Milton.

# Continued Questions by Ms. Milton:

MS. MILTON:  So Carriers 17, if we could go there very quickly, I think.  The responses to 17(a), (b) and (c), all refer to Hydro's model pole attachment agreement.  And in 17(h), the Carriers asked for a copy of Hydro Ottawa's template for the pole attachment agreement, and the response was that Hydro Ottawa does not have a current template.

I wonder if you could undertake to provide with us a copy of the model agreement that you are referencing in parts (a), (b) and (c)?

MS. HELT:  Is that something that Hydro Ottawa is prepared to undertake?

MR. MALONE:  Yes.

MS. HELT:  So undertaking JTC.18 will be to provide a copy of the model agreement referred to in response to Carrier 17 (a), (b) and (c).

UNDERTAKING NO. JTC1.18:  to provide a copy of the model agreement referred to in response to Carrier 17 (a), (b) and (c)

MS. MILTON:  Just one final question.  17(e) asked about the determination of whether or not there is spare capacity on a pole is made solely by Hydro Ottawa.

And you cross-referenced an earlier interrogatory, where you described your review process when you get an attachment request.  But it wasn't clear to me whether or not Hydro Ottawa confers with any third party regarding whether there is spare capacity.

So my follow-up question was:  Do you confer with any other third party about whether or not there is spare capacity on a pole for a new attachment, or is that decision made solely by Hydro Ottawa?

MR. MALONE:  The final decision is made by Hydro Ottawa, but we do confer.

MS. MILTON:  You do confer?  And who would you confer with?

MR. MALONE:  The main users of that area of the pole.  So if it's Hydro One up in the power space, we would have a conversation with them.  If there's carriers in that telecom space and it's fully loaded -- and what I mean by fully loaded is that in our pole attachment agreement, we have three parallel strands and a vertical on the same side of the pole.

So, if someone's asking for a fourth or a fifth separate strand, or in fact that there is no over-lash capacity.  So if there is a carrier with a support strand and maybe only one cable lashed to it, we would refer to that other carrier about this application, and would there be over-lash capability on that.

MS. MILTON:  So it would be fairly rare --

MR. MALONE:  Ultimately, at some point the poles are going to get so filled up, you are going to ultimately say you don't have more capacity if you have only so much vertical space on the pole.  Then maybe an alternate route might be collected by the carrier putting the attachment through.

MS. MILTON:  Thank you, those are my questions.  At some point, I would like to have an understanding of when the undertakings might be received, because we have a very tight timeline to file evidence.

MS. HELT:  Yes, thank you.  Are there any other questions from any of the other parties with respect to this witness panel?

All right then, well I'd like to thank the witness panel very much for their assistance today.  Maybe, Mr. Cass, you might be able to give us an indication of when the -- there are eighteen undertakings, some with several parts, that were given with respect to this witness panel.  I understand the Carriers, it they are going to file evidence, have to do so by Monday of next week.

So can you give an estimate of when you think the undertaking responses might be available?

MR. CASS:  No, I can't.  But we'll consider it over lunch, and see if we can get back to you after lunch.

MS. HELT:  That's great.  Thank you very much.

What I propose we do now then is take our lunch break.  It is twenty to one, and we will take an hour and come back at twenty to two.

We will then start with Mr. Harper asking questions and I believe we're going to start with questions concerning exhibits 3, 7 and 8, but we will just go through it exhibit by exhibit.

So that's terrific.  Thank you very much, everyone.  We'll see you at twenty to two.

### --- Luncheon recess taken at 12:40 p.m.

### --- On resuming at 1:43 p.m.

MS. HELT:  Welcome back, everyone.  We are going to resume our technical conference.  There is a new witness panel.  I see three of the -- I believe three of the same panel members, one new person, and perhaps, Mr. Cass, you can introduce your panel.

# HYDRO OTTAWA LIMITED - PANEL 2

Bill Bennett

Angela Collier

Pamela Jones

Mike Grue

April Barrie

MR. CASS:  I can do that, yes.  We actually have five panel members wrapped around the corner, so there are, as you said, three from the previous panel, and two new people.  Beside me is Mike Grue, who is the treasurer of Hydro Ottawa Limited, and the other new panellist is April Barrie, who is manager of rates and revenue.

MS. HELT:  Thank you.

MR. CASS:  Just on the undertaking responses, the work is underway as we speak on the responses.  The aim is to answer them by end of day tomorrow.  We're not totally sure yet whether that's achievable, and people are looking at, you know, how many -- or whether all can be answered by end of day tomorrow or if there may be some that cannot, and we'll report back on that as soon as we have some better information, but the aim is to answer them by end of day tomorrow if possible.

MS. HELT:  Thank you very much, Mr. Cass.

Mr. Harper, I believe you're up first with your questions.

# Questions by Mr. Harper:

MR. HARPER:  Yes, and I think we were dealing first with the exhibit dealing with the load forecast operating revenue.

So if you could turn to your response to VECC number 14.

I was just waiting for it to come up on the screen, but if people have got a hard copy I can start now.

If we go to page 4 of that response you have two tables, a table 4 and a table 5.

MS. BARRIE:  Yes.

MR. HARPER:  On table 4 you show additions to the customer and connection count that were made in translating from the ITRON forecast to Hydro Ottawa's forecast, and there are additions for standby, Sentinel lights, and unmetered load?

MS. BARRIE:  That's correct.

MR. HARPER:  And what I was curious about, when I flip down to table 5, which is showing additions to the sales forecast, though I understand perhaps why you mightn't have any additional sales associated with the standby customer class and you do have additional sales added in here for Sentinel lights, but there is no additional kilo -- megawatt-hours shown for the added unmetered load customers, and I was wondering why that was the case.

MS. BARRIE:  That would -- because the ITRON forecasts only dealt with kilowatt-hours, and they just assumed as a result the unmetered load stayed the same.  So unmetered load generally has the same kilowatt hours throughout, so we said there should be some kind of incremental in the actual count.  For them that was immaterial, so we adjusted the count for that.

MR. HARPER:  Wouldn't you, when you were adjusting the count for unmetered load, also have to adjust the -- if the count goes up, wouldn't the associated megawatt-hours go up as well?

MS. BARRIE:  No, because they only upped the kilowatt-hours and left count stable throughout the period, so it wouldn't make sense to raise kilowatt-hours without raising the count.

MR. HARPER:  But in your forecast here you have raised the count.

MS. BARRIE:  Right, butut they did not, but they did increase the kilowatt-hours.

MR. HARPER:  Right.  What I'm asking is for is why you didn't, in your adjustments, increase the kilowatt-hours correspondingly when you increased the count.

MS. BARRIE:  Because I'm adjusting the counts to correspond to the adjustment in the kilowatt-hours, so I would expect if customer numbers stayed the same, kilowatt-hour numbers would stay the same.  They increase kilowatt-hours without increasing customer -- or counts.

MR. HARPER:  I see.  So they had increasing forecast and unmetered load, megawatt-hours, built into their forecast, but no corresponding increase in the customer count built into their forecast.

MS. BARRIE:  Correct.

MR. HARPER:  Okay.  Fine.  So thank you.  Okay.  Now I understand, thank you very much.

If we could turn next to VECC 15, which is the next question here.

MS. BARRIE:  Okay.

MR. HARPER:  In the question here we had asked you to provide annual customer and connection counts starting in 2005 and going through to 2012.  And in the response you provided some historical information that started only at 2012, and I was wondering, you do have customer counts going back to 2005, do you not?

MS. BARRIE:  We do.

MR. HARPER:  Is there any reason why you could not provide those in -- as requested in the original interrogatory?

MS. BARRIE:  We were trying to stay consistent with what was being requested through Board schedules and keeping to going back as far as 2012.

MR. HARPER:  I guess maybe that comes -- leads to the second part of it.  The reason we've asked for the filing of the historical data was to sort of calculate a historical growth rate which we've referred to in the response as a geo mean or a geometric historical average, and you comment on the fact you really didn't know what that was.  And I'm kind of surprised, because basically outside of two or three utilities in the province virtually every other utility forecasts their customer count by calculating -- taking the average geo mean for their -- each customer class, applying that as a forecast.

And so I was interested.  The purpose of the interrogatory was to see, okay, if you had done an approach similar to what 90 percent of the utilities in the province had done, what sort of result would you get, and therefore I was looking for a longer historical period.

On that basis I was wondering if you would undertake to give me, one, the historical data back to 2005 for each customer class, and perhaps give -- you can either give that to me in Excel form, because there is a function there that does this calculation, or you can do the calculation yourself, one --

MS. BARRIE:  The issue is with the negative numbers, so a geo mean doesn't work with negative numbers, and as a result we have negative numbers through our customer counts, so a geo mean cannot be calculated.

MR. HARPER:  You've got years with --

MS. BARRIE:  So --

MR. HARPER:  -- you've got years the customer counts are going down, I assume?

MS. BARRIE:  In some classes, yes.  So that was the issue with creating a geo mean.

MR. HARPER:  I guess one can argue as to whether or not there is an issue or not and one can come to that later on -- point in time, I guess.  What I was interested in doing is seeing whether I can do a calculation, looking at -- other utilities have passed through the same issue of having negatives and positives and gone through a calculation similarly to come up with a historical average geo mean growth rate, and I was interested in doing the same for yourself.

MS. BARRIE:  So I could do that by adjusting numbers by adding, like, .01 or minusing .01, but it does affect the calculation slightly.

MR. HARPER:  Well, actually, if you want to give -- if you could file an Excel spreadsheet with the data, do the calculation however you want, and then if I don't agree with the way the process is done, other people can do the calculations other ways, because they will have the data in a manageable form.

Is that acceptable for you?

MS. BARRIE:  Our approach had been to stick with going only back as far as 2012, so I can provide the Excel spreadsheet with the current data that's provided.

MR. HARPER:  Did you say current data?  That would be from 2012?

MS. BARRIE:  We could go back to 2011 backwards; is that sufficient?

MR. HARPER:  Yes.

MS. BARRIE:  Or, sorry, '11 forward, I should have said.

MR. HARPER:  That would be sufficient, because your 2000 -- your original -- the last cost-of-service filing provided actuals up to 2010, and I can fill in the balance myself then, so that would be fine.

MS. BARRIE:  Okay.

MS. HELT:  So then the Undertaking JTC19 will be to provide the historical data back to 2011 for each of the customer classes and to do so in the form of an Excel spreadsheet, and I also believe part of the undertaking was that you were going to provide your geo mean calculations on that spreadsheet as well.  Was that part of it, Mr. Harper?

MR. HARPER:  If they wanted to do that they can, or -- because if I have it in a manipulatible form I can do a calculation myself.

MS. HELT:  All right, then.  So the actual undertaking, then, will just be to provide the historical data back to 2011 for each customer class and to do so in an Excel spreadsheet.

MR. HARPER:  Yes, thank you.

UNDERTAKING NO. JTC1.19:  TO PROVIDE THE HISTORICAL DATA BACK TO 2011 FOR EACH CUSTOMER CLASS, AND TO DO SO IN AN EXCEL SPREADSHEET.

MR. HARPER:  If we can now turn to your response to VECC No. 21.  And here we were asking about more recent forecasts from the Conference Board of Canada with respect to the various economic parameters you were using, and you note in part (a) that in the updated forecast you just got from the Conference Board of Canada the forecast only went forward to 2019 and you had to extrapolate the value for 2020; you say that's correct?

MS. BARRIE:  Yes.

MR. HARPER:  If I look, then, back at your current application, where you must have used a an earlier forecast from the Conference Board of Canada, would I be fair -- when did that Conference Board of Canada forecast end?  Did it end in 2019, or perhaps 2018?  And how many years of extrapolation did you have do in the material that is currently filed?

MS. BARRIE:  I'd have to double-check that.

MR. HARPER:  If you could?  I would like to know what years we have sort of a forecast for, as opposed to an extrapolation.

MS. HELT:  That will be Undertaking JTC20.

UNDERTAKING NO. JTC1.20:  to advise the end date of the forecast figure from the conference board of canada, and how many years of extrapolation HOL did in the material currently filed

MR. HARPER:  Could we turn to VECC-25, please?  Here we ask asked if Hydro Ottawa purchases the power from generators in its service area, or if other local distributors, such as Hydro One, were included in the purchase power that you used in your forecast equation.

You gave us a table here, table 1 on page 2 of the response, that shows that yes you do have purchases from Hydro One and purchases from other generators.  But I never got an explicit indication in the response as to whether or not the purchase values you used in the regression analysis were just the purchases from the ISO, or were they increased in each of the years to include purchases from Hydro One and generators as well.

MS. BARRIE:  For the forecast total purchases used?  All three.

MR. HARPER:  So all three.  Because I'm looking at the underlying spreadsheets, and I only saw one number and I never saw the other two added in.  But they were added into the numbers that you actually put in the spreadsheets, then?

MS. BARRIE:  Which proceeds spreadsheets are you referring to?

MR. HARPER:  The load forecast.

MS. BARRIE:  Yes, that includes all three.

MR. HARPER:  Thank you very much.  I just wanted to confirm that.

Could we go to VECC No. 30, please, then?  Actually, it's sort of a double response.  Here we had asked you from year-to-date other revenues for 2015, and you referred us to Energy Probe 13(c) and (d), which basically asked somewhat of a similar question.

I think you indicated in that response that --

MS. BARRIE:  Sorry, just a second, I'm trying to find that.  Which exhibit is that relating to?

MR. HARPER:  The other revenues, which is part -- like -- Exhibit C has a section on load forecast.  It also has a section on other revenues.

MS. BARRIE:  Right, but --

MR. HARPER:  This is part of Exhibit C dealing with other revenues.

MS. BARRIE:  Okay, I just have my interrogatories by Exhibit, so --

MR. HARPER:  So this is Exhibit C.  The original interrogatory was Exhibit C, tab 2, schedule 1.

MS. BARRIE:  Right.

MR. HARPER:  As I said, it was asking about the year- to-date other revenues for 2015, and you referred me to an Energy Probe response.

And the Energy Probe question had asked for year-to-date, but then also asked for a forecast for the balance of the year.  And in the response to the Energy Probe interrogatory, you made a comment that you couldn't provide their answer, because it had to go through some internal review processes in terms of your internal audit committee and some other things.

I was wondering whether that response applied strictly to the fact -- that response was applicable also to your ability to provide just the year-to-date actuals as of, say, as of end of June 2015, or the response, having to go through the internal process, was focused on the fact that you were also doing forecast?

MS. COLLIER:  Yes.  So the response applies to both, year-to-date June actuals, which haven't gone through our executive or audit committee and board yet, as well as the Q2 forecast for the remainder of the year.

MR. HARPER:  And in your view, they have to go through that process before you can actually --

MS. COLLIER:  That's the process we follow before we release the information publicly.

MR. HARPER:  Okay, fine.  Thank you very much.  Those are all my questions on this section.

MS. HELT:  Are there other parties who have questions with respect to Exhibit 3?  Mr. Aiken, I see that you --

# Questions by Mr. Aiken:

MR. AIKEN:  Yes, I have one question with multiple parts, and they probably will all be part of an undertaking, and it's in reference to 3-VECC-21.

So my first request is to have Ottawa provide versions of table 1, table 2, table 3, and table 4 in Exhibit C, tab 1, schedule 1, that reflect the updated forecast from the Conference Board of Canada as shown on table 4 to the interrogatory response, with no other changes from the methodology used for the forecast.

The second part of the question is to please provide a table that shows, for each of 2016 through 2020, the change in the kilowatt-hours, kilowatts and customer forecast for each rate class based on the response to my first question, the difference between that and at original forecast.

The third part is to identify the impact on the revenue deficiency in each of the years, based on the updated forecast shown in the response to 3-VECC-21.

MS. HELT:  Is that something Hydro Ottawa is able to provide?

MS. BARRIE:  I'm going to have to see how long that would take, and if we can provide that in a reasonable timeframe.

MS. HELT:  All right, then, we will mark that as Exhibit JTC.21, and the three parts to the undertaking will be (a), (b) and (c) respectively.

UNDERTAKING NO. JTC1.21:  to provide versions of table 1, table 2, table 3, and table 4 in Exhibit C, tab 1, schedule 1, that reflect the updated forecast from the Conference Board of Canada as shown on table 4 to the interrogatory response, with no other changes from the methodology used for the forecast; (B), to provide a table that shows, for each of 2016 through 2020, the change in the kilowatt-hours, kilowatts and customer forecast for each rate class based on the response to my first question, the difference between that and at original forecast; (c), to identify the impact on the revenue deficiency in each of the years, based on the updated forecast shown in the response to 3-VECC-21.

MR. AIKEN:  That's my only question.

MS. HELT:  Thank you, Mr. Aiken.

Mr. Garner, any questions with respect to this exhibit?  I take it not?

MR. GARNER:  No.

MS. HELT:  Mr. Clark, I believe you said you had one question of clarification.

# Questions by Mr. Clark:

MR. CLARK:  Yes, if I can find it here -- one second.  Yes.

I don't have this -- it may be kind of a simple question, but the question was:  In order to help understand the calculation of the CDM adjustments -- and this is VECC-27 --

MS. BARRIE:  Which exhibit, sorry?

MR. CLARK:  The VECC interrogatory responses and it refers to CDM adjustments, specifically the 2014 CDM targets in VECC-27.

MS. BARRIE:  Yes, I'm just...

MR. CLARK:  Part (b), sub parts (i) and (ii).

MS. BARRIE:  Found it.

MR. CLARK:  Now in the explanation here, you are explaining how you made the adjustments for -- how you included actual CDM savings for the first eight months and then you estimated, using a 50 percent rule, the remaining months.

But then you go on to say that carries forward in the future years.  But you're not carrying forward the 50 percent on the remaining four months.  You're carrying forward the full savings?

MS. BARRIE:  No, the full savings, the savings prior to the four months would already be in the trend of the load forecast, right, so we are only including 50 percent of the savings of the four months.

MR. CLARK:  Right, so now that's 2014.

MS. BARRIE:  Right.

MR. CLARK:  Maybe I'm misinterpreting the answer.  When you went to 2015, you've included all the savings, not just 50 percent?

MS. BARRIE:  No, 50 percent of the four months, because the rest would already be included in the load forecast naturally, right?

MR. CLARK:  That's right, for year 2014.

MS. BARRIE:  And 2015.

MR. CLARK:  And 2015.

MS. BARRIE:  So 2015 would be built off the same data as eight worth of actuals and four months' worth of forecast.  So the four months that's not already in the actuals would have to be extended into the '15.

MR. CLARK:  Okay, thank you.

MS. HELT:  Are there any other questions with respect to Exhibit 3?  No?

All right then.  We will move on to Exhibit 7.  Mr. Harper?

# Questions by Mr. Harper:

MR. HARPER:  Yes, and actually the first question I have arose out of the response you recently filed to OEB Staff question number 1.  So it would be under the administration of it, but it does deal specifically with cost allocation.

So if you could maybe turn up your revised response, I guess it's the one updated August 12th to OEB Staff number 1?  The very bottom of the first page is where my question arises.

If you are there, on lines 30 and 31 of the updated response to OEB number 1, there is a statement -- and you're talking here about the cost allocation models that you filed in conjunction with this response.  It says:

"The models have been updated to reflect a formula error with the allocation in miscellaneous revenues."

MS. BARRIE:  Yes.

MR. HARPER:  And I was wondering -- maybe let's just take this in parts.  Does that mean that you've altered one of the formulas that was in the model as filed on the Board's website?

MS. BARRIE:  Elenchus did, yes.

MR. HARPER:  Elenchus did.  Okay.  And can you tell us, or can you get Elenchus to provide an explanation as to precisely what was the change that you made in that formula, and there are multiple items under miscellaneous revenues, like, there are three or four different accounts, what exactly they -- what exactly the accounts were impacted and why the change was made?

MS. BARRIE:  The SSS charge, I know, was the one that was changed.

MR. HARPER:  And what was the change?

MS. BARRIE:  I know it was related to the allocation of it, and I'll have to exactly see what the formula change was.

MR. HARPER:  Because I guess my, you know -- I guess just between us, a number of people, you know, a number of people can -- a formula error in one person's mind may be a policy change in somebody else's mind, I guess, depending upon -- and so I just wanted to be explicit to understand where the change was.  And would it be possible for you to -- or you, I guess, working with Elenchus to advise us what the impact of making that change was on -- it's probably fairly small, but I just want to know what the materiality of the impact of that change was on the calculations done in the cost allocation model.

MS. BARRIE:  Yes, I did speak with the OEB regarding it, but unfortunately the person was not able to contact me back regarding the model.

MR. HARPER:  Because if this is a generic problem, it probably should be changed for more than just your application is the other part, is what I was concerned about.

MS. HELT:  Okay.  So that will be Undertaking JTC22, and it relates to the response to OEB 1.  The undertaking is to provide an explanation to the change in the formula and the impact of the change on the calculations done on the cost allocation model.

MR. HARPER:  Right.

UNDERTAKING NO. JTC1.22:  with reference to OEB No. 1, TO PROVIDE AN EXPLANATION TO THE CHANGE TO THE FORMULA AND THE IMPACT OF THE CHANGE ON THE CALCULATIONS DONE ON THE COST ALLOCATION MODEL.

MR. HARPER:  Right.  And actually, the only other question I had in this area deals with your response to VECC number 47.  And here we asked you to describe -- here you're describing how the weightings were developed for billing and collecting within the cost allocation model.  In the response you indicated there were 22 expense-related items that were identified and each was allocated on the basis of customer count.

MS. BARRIE:  Correct.

MR. HARPER:  And I guess one -- I guess -- and I guess if one -- can you provide us with a listing of what those 22 expense items were and the customer classes that are deemed to be associated with each?

MS. BARRIE:  So you are just wanting to know the type of expense?

MR. HARPER:  Well, you said there were 22 expense-related items and each were analyzed separately, so I was just wanting for a listing of what were those 22 expense items, and since in each case you say they were allocated on the basis of customer count, what were the class -- customer classes that were deemed to be associated with each of those 22 items.

MS. BARRIE:  Right.  My concern is it has vendor-level detailed information.  That's how we did it, by vendor.  So I'll undertake to see what I can provide to making sure...

MR. HARPER:  Well, I guess --

MS. BARRIE:  Yeah.

MR. HARPER:  -- I guess if it's a matter of trying to -- if there are a number of different types of expenses that are all assigned to just the same customer classes and grouping them gets you around this vendor issue, I'm perfectly willing to take it that way if that helps, if that --

MS. BARRIE:  Okay.  That would help.  Then I'd be able to --

MR. HARPER:  That helps.  The second thing that concerned me about this is that in each case you say the costs were allocated on the basis of customer count, but one of the whole purposes of this issue is -- of this allocation is to try and recognize the fact that -- and the fact we're -- the reason we are developing weightings is to identify the fact that different customer classes may impose a different cost for actually doing the same type of activity, meter reading being an example otherwise, and so I guess I'm just wondering whether -- I guess whether Elenchus must have made an assessment in each case that on a per-customer basis was an appropriate way to do this, as opposed to a weighted customer basis, and whether or not you can -- whether or not they can confirm that such an assessment was -- was made.

MS. BARRIE:  Well, I actually performed the work, but the assessment -- because it was done more on a vendor-level basis similar customers generally would use the same vendors, therefore it was a lot easier to be able to establish which customers and that a general number of customers was appropriate.

MR. HARPER:  So if I get the first material that's probably going to satisfy my second question as well, then.

MS. BARRIE:  Probably, yes.

MR. HARPER:  Okay.  Fine.

MS. HELT:  All right.  Mr. Harper then, that would be Undertaking JTC.23, and it is with respect to VECC 47, and it is to provide a listing of the 22 expense-related items that are referred to in that undertaking response and the customer classes associated with each of those items, and the answer will be given with respect to getting around the issue concerning the vendor-related matter.

UNDERTAKING NO. JTC1.23:  with respect to VECC 47, TO PROVIDE A LISTING OF THE 22 EXPENSE-RELATED ITEMS THAT ARE REFERRED TO IN THAT UNDERTAKING RESPONSE AND THE CUSTOMER CLASSES ASSOCIATED WITH EACH OF THOSE ITEMS; THE ANSWER WILL BE GIVEN WITH RESPECT TO GETTING AROUND THE ISSUE CONCERNING THE VENDOR-RELATED MATTER.

MR. HARPER:  Those are all the questions that I have on Exhibit -- on this...

MS. HELT:  Exhibit 7?

MR. HARPER:  Yes.  Thank you.

MS. HELT:  Thank you, Mr. Harper.  Mr. Aiken, do you have any questions?

# Questions by Mr. Aiken:

MR. AIKEN:  Yeah, just a couple.  The first one is on response to 7-Energy Probe-45.  I don't know if -- I don't think we need to pull it up.  Right at the bottom of that response it says:

"Please see response to OEB Staff interrogatory question number 1 for the revised rates."

And I see in what you filed yesterday we do have the revised rates.  My question is:  Do we have the updated revenue reconciliation table?

MS. BARRIE:  Of Appendix 2-P?  No, I don't believe you do.

MR. AIKEN:  Could you provide that?

MS. BARRIE:  Yes.

MR. AIKEN:  With these revised rates?

MS. HELT:  Okay.  JTC24 will be to provide an updated revenue reconciliation table.

UNDERTAKING NO. JTC1.24:  TO PROVIDE AN UPDATED REVENUE RECONCILIATION TABLE.

MR. AIKEN:  Then my next question is on 7-Energy Probe-46, and in here I had asked for the -- in part (b) I'd asked for the revised Appendix 2-P that shows the revenue-to-cost ratios that result from the changes along with the proposed ratios.

And while you've filed the cost allocation models that have been revised, I don't think you've filed an updated Appendix 2-P.  So could you -- would you undertake to provide that based on the revised models?

MS. BARRIE:  2-P again?

MR. AIKEN:  No, the first one is a revenue reconciliation.

MS. BARRIE:  Okay, sorry.

MR. AIKEN:  2-P is the status quo revenue-to-cost ratios and the proposed revenue-to-cost ratios for the five years that we don't have, based on the revised cost allocation.

MS. BARRIE:  Yes, I can do that.

MS. HELT:  So JTC.25, to provide an updated Appendix 2-P.

UNDERTAKING NO. JTC1.25:  with reference to IR 7-Energy Probe-45, TO PROVIDE AN UPDATED APPENDIX 2-P.

MR. AIKEN:  Those are my questions.

MS. HELT:  Thank you, Mr. Aiken.

Mr. Shepherd, no?  Mr. Clark?

MR. CLARK:  No.

MS. HELT:  All right then.  We will then -- oh, Ms. Greey?  I'm sorry.  We will then move to Exhibit 8.  Mr. Harper.

# Questions by Mr. Harper:

MR. HARPER:  Could we turn to Staff 21, please?  This has to do with the calculation of the very specific charges and the labour rate that's used in it.  And on page 7 you talk about the fact that you used $95 as the hourly rate for both inside and outside staff.  On page 6 at Table 2 you show the labour rate calculation which has $72 as the direct labour rate?

MS. BARRIE:  Yes.

MR. HARPER:  Then if I go back to page 2, you show direct labour rates for inside staff of $23 for field staff, of $27, and make reference to a payroll burden rate of 30 percent.

And I was trying to -- I couldn't take the 23 and 27 and even adding the 30 percent payroll burden rate get to $72, and I was wondering if you could reconcile the differences and explain to me the basis for the $72 and how it relates to the rates shown on page 2?

MS. BARRIE:  So on page 2, that's actually the OEB rates, the 23 and the 27.  If you move to page 5, you will see both the OEB and Hydro Ottawa's rates.

MR. HARPER:  Okay.  And I'm sorry, okay.  So that -- and that's where then you get 20 percent -- okay, 72.  Fine.  Thank you very much.

MS. BARRIE:  You're welcome.

MR. HARPER:  I just didn't read the right spot.  Thank you again.

Could you turn to -- I guess it's SIA 31.  Here you note that Hydro Ottawa proposes to install some -- install remote disconnect meters on approximately 36,000 customers.

I just want to confirm:  What was the timeframe for the installation of the 36,000?  Is that over the next one year, two years, five years?

MS. BARRIE:  I'd have to undertake to find that out.

MR. HARPER:  I was just curious, and maybe before we -- because I had a couple of follow-ups, whether there is incremental capital spending associated with these meters as opposed to putting a normal meter on a customer's house.  Or are they roughly the same cost?

MR. BENNETT:  The cost of the meters is roughly the same.

MR. HARPER:  Well, then, I'm not too sure if the cost of meters is roughly the same, then it is -- from a materiality perspective, I don't think I need answers to any of the questions I have here.

MS. HELT:  Thank you.

MR. HARPER:  If we turn to VECC-48, here in part (d) we'd asked you for a breakdown of the residential customers, in terms of how many fell into different usage categories.

And you referred us to Energy Probe 48(b), which, I think, in turn referred us to your response to OEB Staff 1. And I recognize that in that response you provided us, what the -- sort of what the consumption level is for the tenth percentile customer as per the sort of new rate design policy.

But in doing that, I'm wondering if it is possible for to you provide the response to this question as well, which I did not see in the overall package we got today?

MS. BARRIE:  I was just able to get the data recently, so I will be able to provide that.

MS. HELT:  So undertaking JTC.26 will be to provide a response to VECC-48, part (d) which deals with the breakdown of residential customers and usage categories.

UNDERTAKING NO. JTC1.26:  to provide a response to VECC-48, part (d) which deals with the breakdown of residential customers and usage categories

MR. HARPER:  Can we go to VECC-50?  Here we were asking about the basis for the escalation factor that would be used to determine specific charges for the years 2017 through 2020.

However, in your response to part (b), you addressed really the inflation factor that was used to determine the 2016 rates, but not what would be used to determine the 2017 to 2020 rates.

Based on your response to part (a), am I why correct that with the exception of the disconnect, reconnect and the service call charges, the other specific rates are going to be escalated at 2.1 percent per year each year after 2016?

MS. BARRIE:  Sorry, could you say that again?

MR. HARPER:  We had asked you in the question about what were the escalation rates being applied to the other specific charges, I think besides disconnect and reconnect and service calls, and I didn't see a specific answer to that.

But in reading through, since OM&A was forecast for up to 2.1 percent, I got the implied assumption that that meant you were going to be escalating these other -- all these specific charges at that same rate, the 2.1 per5cent a year for each year after 2016, that that was your proposal.

MS. BARRIE:  Yes, it was increased from 2.1 from 2017 to 2020.

MR. HARPER:  Okay, fine.  Thank you.  That's -- I think that's all my questions on this specific Exhibit 2.  Thank you.

MS. HELT:  Thank you, Mr. Harper.   Mr. Aiken?

MR. HARPER:  Oh, there was one question that was punted to you from the panel this morning.

MS. BARRIE:  That is actually punted to Mike.

MR. HARPER:  Punted to you as a panel.  I'm sorry, and if you were listening you can probably get to it quicker than did, but it had to do with your response to one of the Carriers' questions.

MS. COLLIER:  Carriers 10.

MR. HARPER:  That's right.  And Carriers No. 10, I was just looking at the 6.7 percent average weighted cost of capital that was used in the determination of the costs for the pole attachment rate, and I was just asking to clarify that the 6.7 percent did not include any provision for income tax; is that correct?

MR. GRUE:  So that 6.7 percent was taken from the approved 2012 cost of capital, schedule E(ii), page 1, which was the weighted cost of capital of 6.7 percent.  It does not have tax attached to the approved rate of ROE of 9.42 percent.

MR. HARPER:  Would you be able to tell us what the 6.7 percent changed to if you were to gross-up the ROE to include a provision for income tax?

MR. GRUE:  I did that calculation on the break, and it would be 8.04.

MR. HARPER:  8.04 percent.  Thank you very much.

MR. GRUE:  Based on -- just to qualify that, based on the tax rate that was in effect in 2012, when that rate was used.

MR. HARPER:  It was 2012 that underpinned the calculation of all this carrying cost.

MR. GRUE:  That's correct.

MR. HARPER:  And thank you very much -- and thank you for reminding me, Mr. Aiken.

MS. HELT:  Mr. Aiken?

MR. AIKEN:  I don't have any questions.  Bill covered them all.

MS. HELT:  No questions; all right.  Ms. Greey?  Any questions?  No?  Mr. Shepherd?  No?  Mr. Clark?

MR. CLARK:  No.

MS. HELT:  All right, then we will move to, I believe Ms. Greey wanted to go next with her questions.  Are your questions with respect to Exhibit 2 or otherwise, Ms. Greey?

MS. GREEY:  Questions for Exhibits 1, 2, and 4.

MS. HELT:  All right.  Let's start with Exhibit 1, then.

MS. GREEY:  So were you going to do it by each exhibit?

MS. HELT:  Yes, I think that's easiest.

# Questions by Ms. Greey:

MS. GREEY:  The first one is going to the Council's question number 4.  I can't quite see, so if you can let me know when you're ready -- if you can let me know when you're ready for the question?  Ready?  Okay.

So it was talking about how you took rate impacts into consideration when developing the final forecast for your capital program, and Energy Probe question 1 that was answered.

They were also asked the question about how does Hydro Ottawa determine what level of rate increase might be acceptable or not acceptable to customers.

I was wondering if you could answer that.

MS. JONES:  Sorry, could you repeat the question?

MS. GREEY:  The second part of question 4.  The last sentence of the question was:

“How does Hydro Ottawa determine what level of rate increase might be acceptable to its customers?”

MS. BARRIE:  Sorry, which IR number?

MS. GREEY:  IR CCC, question number 4.  All my questions are related to the Consumers' Council question and IRs.

MS. JONES:  Just to be clear, this was referring to capital forecasts?

MS. GREEY:  Yes.  There is also a general question: How did you determine -- how do you look at what rate increase might be acceptable to its customers.

So you look at -- you actually have less capital programs because you've considered the capital, but also what -- so you took the rate impacts into consideration when developing the final forecast, but what level of rates?

MS. JONES:  So it refers to --

MS. GREEY:  You look at what percentage decrease or whatever?  How do you determine what decrease you're looking for?

MS. JONES:  So I'll just start off -- this speaks to some of the top level guidance, if you will, that we provided in the developing of the budgets for both -- for capital.

And you will see in the materials that we filed, including in the executive summary, that bill impacts was in fact one of the first primary considerations given.

So, in putting the capital budget together in particular, there was a bottom-up budgeting process that was done, and then the top level guidance provided.

So I'll just turn it over to Angela and Bill to describe that a little bit further.

MS. GREEY:  That's okay.  I'm just saying what level of rate increase might be --

MS. COLLIER:  We didn't have a specific number or target in mind.  The direction from the board and the executive, when the first -- as noted in Energy Probe question 1, when the first round of capital forecasts was put through, it resulted in too high, so it was back to the drawing board, but there wasn't specific rates provided.

MS. GREEY:  So you didn't look in what you thought customers might find acceptable?

MS. COLLIER:  We did.  I mean, that was the guiding principle throughout the whole process, but it wasn't a specific, the rate has to be this amount; it can't be any higher.  There wasn't that level of detail provided.

MS. GREEY:  But where did you get your guidance to find out what level you did use?  So you didn't look at what the customer thought --

MS. COLLIER:  I mean, we did the customer surveys for sure, and Pamela can speak to that, if that is what you are referring to, versus the capital programs that --

MS. GREEY:  So you were saying your management said, Okay.  That capital program is too large.  I'm just saying, did you ever look at -- so they said that, but what would your customer think?  Are you not setting a rate, having a rate increase or decrease, looking at what your customer wants?

MS. JONES:  So I'm -- just for clarification, are you asking whether or not we provided some sort of percentage guidance as to whether or not -- what would be acceptable, affordable?  Is that what you are asking?

MS. GREEY:  Yes, and the level doesn't have to be an exact percentage, but did you take that into consideration when you were looking at redefining your capital forecast?

MS. JONES:  I think, all things considered, the bottom-up was -- I think as you heard Ms. Collier say, the bottom-up forecast produced a fairly -- well, a significant capital budget, against which we -- when we ran numbers we knew that top-level -- the top-level guidance of ensuring low impacts to customers was a primary concern for us, so, no, the answer is, no, we didn't put a percentage on it, if that's what the question is.

MS. GREEY:  Okay.  No, that's -- I think you've answered it, thank you.

MR. SHEPHERD:  Could I just ask a follow-up on that, please?

MR. GARNER:  I was also going to ask a follow-up on it, but you go ahead, Mr. Shepherd.

# Questions by Mr. Shepherd:

MR. SHEPHERD:  I don't understand how management knew it was too much if they didn't have a number as to what wasn't too much.  If your capital program is producing rate impacts that are too high, then what rate impacts were not too high?  Did anybody ever look at that?

MS. JONES:  Mr. Shepherd, I can assure you that the going-in guidance was to ensure low impact to customers.  And I think, as you can see, comparatively speaking, our bill impacts are low relative to some others that have been filed.

MR. SHEPHERD:  Yeah, no, actually, that's not true, the Schools' are going up 46 percent, so it's not low.  So that's why I'm asking the question.  What -- low is not a number that you can set a budget on, so did you not ever have a number that you were targeting?

MS. JONES:  Just to be clear, again, you're asking the question whether we had a specific percentage in mind of what would be an acceptable bill increase?

MR. SHEPHERD:  Did you have anything more specific than low?

MS. JONES:  As low as possible would be the guidance that we were -- we gave, and it's in Exhibit A-2-1.

MR. SHEPHERD:  And it's --

MS. JONES:  Minimal bill impact, excuse me, is the...

MR. SHEPHERD:  So when the first numbers came in and they were what they were, how did anybody know that that was not as low as possible?  How did anybody conclude that that was not minimal bill impacts if you didn't have a number?

MS. JONES:  We did run preliminary numbers.  I'm sorry, your question is:  How did we evaluate?

MR. SHEPHERD:  How did you know that the numbers were too high if you didn't know what a reasonable number was?

MS. GREEY:  Or what level you were looking for that was acceptable?

MS. COLLIER:  I mean, there is only so much that could be cut from the programs, was the bottom line.  I mean, all of these capital expenditures that are in the application are necessary, in the view of Hydro Ottawa.  So the cuts that we made were things that we either thought could be deferred to a later period or we could, you know, do it more efficiently or productively or a different way, and so we could live with these capital numbers.

MR. SHEPHERD:  So it was all about the bottom-up, then.  It wasn't anything to do with what the customers were willing to --

MS. COLLIER:  No, no.  That's not true.  When these numbers were run, there was preliminary bill impacts also run, so when the executives were reviewing this information they were looking at it from a customer point of view.

MR. SHEPHERD:  But they didn't have a number.

MS. COLLIER:  They did not have a specific number.

MR. SHEPHERD:  Here's what I'm trying to understand.  I'm actually not trying to give you a hassle here, I'm just trying to understand this in the context of what a competitive company does.  A competitive company does a survey and says, Here's what our product can cost for us to sell it.  If we charge more than that, nobody is going to buy it, so here's our number.  And then the budget is driven by that.  That's how much you can spend, is to -- up to that maximum.  You didn't do anything like that, right?

MS. COLLIER:  We did do a survey.

MR. SHEPHERD:  Did you have a number at the end?  This is how much we can raise rates and our customers won't squawk?

MS. JONES:  In fact, the numbers that were included in the survey that we did were much higher than the numbers that our -- our final budgets produced, so, for example, I think for residential we surveyed at $3.66 for the first year, $3.66, and came in at 2 -- so...

MR. SHEPHERD:  This was after you'd set your budget, right?  This is the Innovative study?

MS. JONES:  Correct.

MR. SHEPHERD:  So the Innovative study was after you'd already finalized your business plan.

MS. JONES:  The business -- the Innovative study validated what we had heard our customers or surveyed our customers on in the past, which was on our services and what we provide.

MR. SHEPHERD:  So it was after your business plan was already finalized.  We know that, because you've given us the --

MS. COLLIER:  It was after, it was after.

MR. SHEPHERD:  So you didn't set your budget based on what the customers told you, in the Innovative study anyway, because your budget was already done before you even talked to them; true?

MS. COLLIER:  Had the results from the Innovative study come out differently, we may have gone back to the drawing board and changed, but the results were not such that we had to.

MR. SHEPHERD:  Thanks.

MS. HELT:  Mr. Garner, did you have a follow-up?

# Questions by Mr. Garner:

MR. GARNER:  Well, I think you answered it.  I was looking at the Innovative study, and am I correct in that study the capital spending that you presented to customers is the same as the capital spending that you are projecting in this application?  I did a rough adding of the numbers up, and if you want a reference it's on page 14 of the Innovative study.  You will find -- you will find a page there which has your capital spending, and I'm just wondering, my question was whether, in fact, that's the same as what's in your application.

MS. BARRIE:  They are materially the same.

MR. GARNER:  And the categories that were used there, are those -- they use different language, but the categories there seem to me, when I did my adding up, to -- they look like the same as the Board's category system access, general plant.  You use one called "building and equipment", and when I added that up, it looked like it is the same as general plant.  Is that the way those numbers were -- are those numbers -- do they map that way in those categories?

MR. BENNETT:  I'm sorry, which page of that are you referring to?

MR. GARNER:  It is on page 12 -- or, sorry, page 14 of the Innovative studies -- I think you called it the workbook?

MR. BENNETT:  Sorry, okay.

MR. GARNER:  It's in the workbook.  And in fact, I don't want to jump ahead of Ms. Greey, but I had a question on this very area, and that's why I had that page up.  It is on page 10 of the workbook.

MS. HELT:  Which exhibit is this, Mr. Garner?

MR. GARNER:  The workbook is -- it's in Exhibit A.  I believe it's an appendices -- it's called Appendix.  I'm just trying to find -- it doesn't have a reference on top of it.  It's -- there are two appendices at the end of Exhibit A.  This one just says "Appendix Hydro One 2016 rate application review", and then it's followed by the workbook.

But the Innovative -- it's an -- I think why that is it's an appendage to the Innovative reports results which are -- I'll just find that one for you.

MR. BENNETT:  Yes, you are talking about replacing the ageing infrastructure, integrated technology in the power system, buildings and equipment, and serving a growing city?

MR. GARNER:  That's correct.

MR. BENNETT:  So they don't align directly, exactly with the OEB.  But you're right; in general, that's the intent.

MR. GARNER:  Why I ask that is that it was -- I was trying to understand what was in the consumer's mind when they provided the response that -- I think you've reported on this, as to the need for replacing -- you have on that same page:

"If these ageing assets aren't addressed they will negatively impact reliability."

And there is one category called replacing ageing Infrastructure, which, if I was the reader of this report, I would think that's the category that affects reliability since they use very similar, if not the same language.

Was that the intent, to explain to customers that that 33.7 amount was the replacing ageing infrastructure that the customer should be worried that if wasn't done, the reliability would be affected?

MR. BENNETT:  In a sense, yes, that directly relates to replacing ageing assets.  But having said that, I guess to characterize the whole thing in a sense, my side of the house is the engineering side, and we come up with the plan.  We look at the information, and we come up with a proposed capital program.

And the proposed capital program that we put forward in the asset management plan is a needs-based program to maintain existing levels of reliability, and that feeds the budget, so to speak.

The budget that was put together in the initial stage based on some of that information wasn't a full budget to meet all the need.  But, as was described here, once they ran the information, once they looked at a lot of the information that we have from our customers -- because we are always touching base with our customers, doing annual surveys, monthly surveys, et cetera -- what we determined was that reliability is important to the customer, but cost is very important to the customer.

So we set ourselves a challenge that we are going to have a gap between the need to maintain reliability and the spend we're going to spend, but we're going to try to figure out ways to fill that gap with productivity, technology, innovative ways to get things done.

So the direct one is ageing assets, replacing ageing assets.  But actually much of the capital program, from our point of view, is to help assist in improving the reliability performance.

MR. HARPER:  The thing is I'm not really looking at it from your point of view.  What I'm trying to ascertain right now is, looking that the study, what was in the person responding to this study's point of view.

So I was just -- when I looked at that page, and we had an interrogatory on that, I was just trying to figure out what is it that you expected the person reading the study and reading that -- because then they answer questions based on being educated by this workbook.

Were they to take from that, in your mind, that it was the $181 million that was affecting reliability, or was it the total of all of those capital projects list on that page?

I'm just trying to understand what you thought the customer is looking at.  Because I'm saying what I looked at, which was that I thought it was the 181.

But it's not clear to me as to what that's supposed to be imparting to the consumer when they read it.

MR. BENNETT:  I can't -- I can't give an answer on what was supposed to be imparted.  We tried -- I think that in setting this up, they tried to divide the accounts up, similarly to the way the OEB does, and for sure replacing ageing infrastructure directly relates to replacing ageing assets and reliability.

But as I say, a huge part of our plan is to integrate technology, to automate the system, and obviously we have the pressures of the growing system as well.  Even though the kilowatt hours may not be growing, the customer base is growing and the customer expectation is growing.  And Ottawa, in a sense, much like Toronto, not nearly to the level, is a huge infill taking place.  So areas of old distribution infrastructure are now being totally overloaded with new condos, et cetera.

So there are multiple challenges in that activity, so to speak.

MR. GARNER:  One final question, and I'll hand it back to back to Ms. Greey.

Just on the order of events here, because I am a little bit confused now, there is also a survey done by UtilityPULSE, I believe, if I'm right.

In the order of event as this happens, what happens first?  The UtilityPULSE poll; then you look at those numbers; then you do your budgeting and then you go out and do the Innovative study?  Can you help me with the sequence of the two consumer outreaches and the budgeting process that you do, in the order of sequence, what happens?

MR. BENNETT:  So, the customer interaction is an ongoing interaction.  We've been doing the simul-survey for a number of years.

It is done through -- many utilities are doing it.  So you compare yourself to yourself, and you compare yourself to the industry and other utilities.  So that informs us on what customers are thinking, to some extent.

As well, we have telephone surveys which are ongoing. Basically, after a customer has an interaction in whatever department of our organization, they may be subject to a telephone survey, which again provides us some information on what customers are thinking.

We participate in the Canadian Electricity Association.  In fact, our director of customer service is chairman of the CEAD council -- or communications council, customer communications council.  So you are interacting with other utilities.

So I don't want to say that there's a formula, like you said, as part of the budgeting process, but that all goes into the budgeting process.

The Innovative thing was something new this time around, so it has not been part of the budgeting process at Hydro Ottawa in the past.

MR. GARNER:  I'm sorry, I'm still confused.  My question is fairly specific, I think, which is that you have a budgeting process that you talked about here and you were talking about how you came up with rate impacts and then you went back, et cetera, et cetera, and I understand that.

I was just trying to understand from the major consumer inputs that you get, how that order of events occurs.  Is it something like you do the UtilityPULSE, then do you the budgeting -- you came up with something and then you finished it and put that into the Innovative report, and went out to your customer group and looked at that.

So I'm just really trying to understand the chronology of the customer input into the budgeting, and how the two major surveys -- and if there is another one I've missed, then by all means -- but the two major surveys sync with the budgeting process that we just talked about and finding the appropriate rate impact?

MR. BENNETT:  As you've described, in a sense, although I would say that in the past we have not done a specific customer survey about our capital program or about our rate increase per se.

The surveys with customers are about rates, about reliability, about their billing accuracy, all that type of thing.  And so in this scenario where which was described where we put forward a budget initially and it was sent back to re-do, it wasn't because we did a survey and customers balked at it or whatever.  It was because when they looked at it, they said based on the feedback that we've been getting and what we have been hearing from our customers, we want to take a better shot at this.

MR. GARNER:  Was that budget done before or after either one of these surveys, and which one?

MS. COLLIER:  As Bill has mentioned, the utility one is done annually, I think in the spring.

MR. GARNER:  Right.  And your budget was done?

MS. COLLIER:  Well, the rate application budget was pretty much a year-long process.  I mean, we started in January and finished in November, in terms of the budget numbers.

The innovative came after, as we mentioned earlier and then the monthly customer telephone surveys happened monthly for a number of years.

MR. GARNER:  Okay, thank you.

# Questions by Ms. Greey:

MS. GREEY:  Okay, changing topics, if you could go to the question number 6 -- as I said, they are all Consumers' Council IRs that I'm referring to.

Council asked Hydro Ottawa to explain how a negative X factor will provide an incentive for Hydro Ottawa to pursue productivity initiatives.

The response was that whether it was positive, negative, or zero, there were no impact on the incentives for Hydro Ottawa to find and realize productivity gains, and that the financial impact on a marginal basis of a realized productivity gain would be identical.

Can you please explain that rationale again?

MS. JONES:  Sorry.  We had indicated that our incentive to pursue productivity is not tied to the productivity factor because it's embedded right now or it's contained within the budget but it really arises from a confluence of forces that we need to manage over the next number of years, including aging infrastructure and an aging work force.  So we plan to deal with those synergistically with a number of strategies, including our work force strategy, and implementing new technologies.

MS. GREEY:  I think what you heard you saying is that, you know, you have big work to be done.

MS. JONES:  We --

MS. GREEY:  -- big work to be done, and you are going to try to find ways to do it as efficiently as possible.

MS. JONES:  Within the rates that have been put forward, we have no choice but to do that, yes.

MS. GREEY:  Well, hopefully you want to do that, but I don't -- so I still don't understand then if you are going to be using a productivity factor --

MS. JONES:  We do --

MS. GREEY:  -- within this application, to have it negative just seems counterintuitive, and it seems like you're separating two things.  You are separating, well, it's actually a negative productivity factor, but we're going to do all these productivity initiatives.  I am just having trouble seeing how that...

MS. JONES:  Well, we have do have an incentive in the form of the ESM to go above and beyond what we've already committed to doing that is already within the budgets, so there is an incentive to obviously share in the efficiency gains that we could go that would be more than what's already included.

MS. GREEY:  Okay, I was going to ask about that next.  I just have trouble with the negative X factor providing an incentive, because you are giving yourself a negative one, so does that not give you more room?

MS. JONES:  Well, the negative X factor was selected because it's -- as we've argued I think in OEB 7 -- it is empirically-based and externally derived, and we chose the average of the four experts which -- who the four unanimously agreed that the industry was experiencing negative productivity.

And as you see also in our evidence, PSE has confirmed that we are going into this custom IR period as a superior cost performer.

MS. GREEY:  Okay, but you don't expect to have negative productivity at the end of the day.

MS. JONES:  We don't expect to have negative -- the negative productivity factor is part of the I-minus-X calculation --

MS. GREEY:  Okay.  So you separate --

MS. JONES:  -- as applied to the escalator on the OM&A, yes.

MS. GREEY:  Okay.  I'll leave it at that.  Next, then, question 9 --

MR. SHEPHERD:  Sorry.  Hang on a second.

MS. GREEY:  I know --

# Questions by Mr. Shepherd:

MR. SHEPHERD:  Let me just follow up on that.

You used the average of the four experts, but isn't the Board sort of an expert too?  And the Board said zero.  I don't understand why the Board's opinion didn't matter.  Perhaps you could explain why that was excluded.

MS. JONES:  So in the custom IR framework -- or in the RRFE the Board's language of adopting the zero percent productivity factor is -- you can -- it is discernible within the context of the annual -- the annual and the price -- or the fourth-generation price cap model.

But if you look at Table 1 on page 13 of the RRFE, there is no specific mention that the OEB deemed values are what is to be put together or what is to be used for a custom IR.

MR. SHEPHERD:  No, no, no, yeah, I understand that.  What the Board said is, We don't think it's a good idea to have a negative productivity factor.  You agree with that?

MS. JONES:  I do.

MR. SHEPHERD:  And if you are filing a custom IR and you have different evidence, if you have new evidence on productivity that is specific to you, then we'll listen to it, but if you don't, then we've already decided what we're going to do --

MS. JONES:  And we have filed evidence to the effect that the benchmarking evidence from PSE which illustrates that we are superior cost performer and that we would have a zero percent productivity -- or a zero percent stretch, sorry.

MR. SHEPHERD:  Mr. Fenrick did not file evidence on the appropriate productivity factor for Hydro Ottawa, did he?

MS. JONES:  No, he -- his evidence speaks to our performance in general, our historical and forward-looking reliability and cost performance.  I'm sorry, the question again was?

MR. SHEPHERD:  No, my original question was about the Board's determination that in custom IR you could file a utility-specific productivity factor with evidence backing it up.  You haven't provided anything of that sort.

MS. JONES:  We have -- we are pointing to the evidence that the Board has of the four experts that unanimously agreed that it is a negative productivity factor.

MR. SHEPHERD:  The evidence that the Board has already rejected.

MS. JONES:  That is part of the RRFE.  It is part of the RRFE.

MR. SHEPHERD:  I'm sorry, I'm sliding into cross.  I'll leave it at that.

# Continued Questions by Ms. Greey:

MS. GREEY:  Okay.  Then moving to question number 9.  And this is about the sharing earnings.  So in there you talk about the substantial risk.  Can you explain further what the substantial risk is?

MS. JONES:  So some of the risks that we're referring to here, of course, are the risks -- some of them are set out in OEB -- response to interrogatory OEB 2, and specifically arise from the fact that we're not coming in for annual adjustments; we're not coming in to be rebased.  We are specifically, as would be intended in incentive regulation plan, going out and making minor mid-term adjustments, so there are considerable risks, because the forecast is only as good as the forecast is the day that it is made.

However, there could be a number of factors that may arise in the next five years for which we could have not foreseeably forecasted, so there are a number of risks, and we are in our earning sharing mechanism assuming the risk associated with under-earnings, so -- and protecting customers from that with an asymmetrical ESM.

MS. GREEY:  If you felt that the risks were so high during the five-year, you could have used another mechanism come in, not using the five-year.

MS. JONES:  It's a total package.  The way we've designed the plan is taking regards to balancing of risks and rewards and incentives.  And as I mentioned, the ESM is the one mechanism, if you will, whereby we could be incentivized.

I think the Board recognized in the Enbridge decision that an ESM represents a performance incentive mechanism.

MS. GREEY:  Yeah, no, actually, I was just talking about the substantial risk, so if you felt there was such a large risk you could have come in for the cap and IRM rather than doing the five-year, doing a custom, so you made the decision to come in for a custom, but if the company felt like it was such a substantial risk to go for five years, you didn't have to do it.

MS. JONES:  In the event that the risks are substantial, there is the OEB's off-ramp.

MS. GREEY:  Yeah, so I just said, though, like, why did -- you didn't have to come in.  It is not more what else you can do, because you did, it is just that if you felt the risks were that substantial you did not have to come in; would you not agree with that?

MS. JONES:  But I think what we are saying by way of this holistic plan is that we are expecting that the risks are manageable, and that's essentially what is expected in an incentive regulation plan.

MS. GREEY:  Unless you are also saying that the shareholder bears all the risks associated for under-earnings, but even without an ESM, isn't that what's always happened?  So if you don't make -- if you have under-earning, the shareholder is going to bear that at any time.

MS. JONES:  And Hydro Ottawa has had, for a few years now, an under-earning on their ROE.

MS. GREEY:  Same, but that's not really an event of an ESM.  That doesn't really -- you're going to -- the shareholder is going to have that one way or the other, because they just don't really see why that's such an advantage, and I'm going right back to why you are not prepared to be sharing the deemed ROE 50-50 when you do do better, and you're saying, well, you know, you have the substantial risk.  Well, you could have chosen another mechanism to come into the OEB, and then secondly, you're saying you're bearing all the risk of under-earning, but you will always have that risk.

MS. JONES:  I guess I just wanted to reiterate that it is the only mechanism through which we are incentivized to potentially gain a reward for over-performing.

MS. GREEY:  You just don't think that the customer should also, even up to the 150 basis points, get some of that reward?

MS. JONES:  We are prepared -- we have proposed to share above 150.

MS. GREEY:  But not below, even though --

MS. JONES:  No.

# Questions by Mr. Shepherd:

MR. SHEPHERD:  Can I just follow up on that?  The 150 basis points also rewards Hydro Ottawa for forecast error, right?  If your forecast is too high in expenditures, and you end up spending a lower amount -- not because of productivity, but because you over-forecast -- then you get 150 basis points of additional ROE as a sort of a freebie because of that under-forecast, right?

It's a hypothetical.  I'm not asking you to agree to a hypothetical, only to the result.

MS. JONES:  Another hypothetical is that our load forecast is incorrect, and we absorb the cost of that.

MR. SHEPHERD:  I was actually going to go to the load forecast, because if your load forecast is too low, then a similar problem arises.  You can get 150 basis points of additional ROE just because of forecast error, right?

MS. JONES:  Conceptually, one would -- but keep in mind that the OEB has stipulated that a custom IR is a five-year review of costs.  And so it's the forecast that we're putting forward, yes.

MR. SHEPHERD:  Here's why I'm asking this.   I'm going to ask you to undertake to provide a calculation of the impact on the rate equivalence of that 150 basis points for each of the five years of the plan, if you over-earn by 150 basis points exactly and the only reason was forecast error.

So your expenses were lower, let's say.

MS. JONES:  Could you just repeat --

MR. SHEPHERD:  So I'm asking you to do the calculation.  If you over-earn by 150 basis points on ROE in each of the five years of your plan, and the sole reason for that over-earning is that your expenses have been forecast too high and, when they come in lower, the result is that you over-earn.

The calculation is not going to be a 1.5 percent increase in rates, or impact on rates.  It's going to actually be some different amount, because you have bills and equity is only 40 percent, et cetera, right?  It is just a mathematical calculation.  It's just I don't want to do it; I'd rather have you do it.

MS. JONES:  We'll agree to undertake that.

MS. HELT:  So that will be undertaking JTC.27.

UNDERTAKING NO. JTC1.27:  To provide the calculation of If HYDRO OTTAWA over-earnS by 150 basis points on ROE in each of the five years of your plan, and the sole reason for that over-earning is that HYDRO OTTAWA'S expenses have been forecast too high and, when they come in lower, the result is that HYDRO OTTAWA over-earnS

MS. HELT:  Ms. Greey?

# Continued Questions by Ms. Greey:

MS. GREEY:  This is my last one up for this exhibit.

In number 11, you talk about an annual written reporting process with the scorecard results and the capital expenditure update.

What are the specific elements -- and this may be an undertaking, unless I missed it somewhere in the other evidence -- the specific elements that will be reported on in the capital expenditure update?

MS. JONES:  I believe we've put some information together on that, and that can be found in Exhibit A-2-1.

It is the aggregate spend versus actual that we've proposed to provide the Board on an annual basis.

MS. GREEY:  You were just going to give them one number, though.  Was it going to be divided into different categories to how them, or --

MS. JONES:  I believe we were going to provide it by the OEB categories that are set out in the DSP, so systematic success renewals.

MS. GREEY:  By the four different categories.

MS. JONES:  Correct.

MS. GREEY:  So there would be four different numbers.

MS. JONES:  And a total.

MS. GREEY:  And would you be willing to do within projects, within in each of the four categories?

MS. JONES:  No, we wouldn't.  We've answered an interrogatory to that effect.

MS. GREEY:  So it is just by the four categories.  And what are the consequences if Hydro Ottawa doesn't meet the proposed -- do you have any -- what are the consequences?  So you are going to do this; you haven't met it --

MS. JONES:  I guess I'll start off and then I'll defer to my colleague Mr. Bennett.  I think -- as I'm sure you can appreciate, some -- the timing of some projects, not all of which is always within our control and so there could be some pushing of the projects.  But it doesn't mean that it falls off the agenda.

So keeping in mind that if it's in the budget, it's in the forecast, and the intent is to complete the project, but the timing could still shift.

I'm just -- did you want to --

MR. BENNETT:  Just to clarify the question, it's if you don't spend the capital money -- is that what you're asking?

MS. GREEY:  Either way.  This is part of a reporting mechanism, so part of this custom application is saying, hey, we're going to be able to stay, we're going to be able to do this.

So what is the consequence if you come back with your annual reporting and you haven't met what you said you'll do within this application?

MR. BENNETT:  I don't know what a consequence is.  I mean, from a process point of view, our process is to set the budget and to complete the budget.  Stuff happens for sure, but I mean we track it monthly.  We track it corporately, we track it with the board.  It is an ongoing activity; it's what we do.

So our intention is to set a budget and complete the budget.

MS. GREEY:  I guess what it is -- should you not be able to -- should the OEB just sway, sorry, you have to meet it.  You don't get those -- you have to change the rates to actually what you did?

What other consequences, or what other things could happen, and some suggestions of what you would if you didn't meet it, if I can ask it that way.

MR. BENNETT:  Are you asking on the capital side?

MS. GREEY:  Yes.

MR. BENNETT:  I mean, capital is -- you have projects that are completed within a given year, and you have projects that are multi-year.  So you could have station projects, a $20 million project.  I've budgeted over three years, but my actual split doesn't come down the way I thought, so I under-spend on that project in the first year and over-spend on the second year.

I mean, as I say, the whole concept of our capital program is to set the budget and complete the work.  It is not to not do the work.

I mean, we are challenged right now.  We are under budgeted to get where we want to be from a reliability point of view, and we are going to be working hard to get to that desired level of reliability, so --

MS. GREEY:  I think I'm actually talking more process, too.  I fully, fully understand Ottawa has lots to do and lots of capital projects.

But you have stated that you will annually report.  You said you are going to do aggregate over every year.  And in the custom IR, you've also said, you know, we know one of the mandates is to be able to stay within what we are we say we're doing for five years.

So I'm asking, when you don't meet it, what will happen.  What do you think should happen?  I understand you might not, but you have said you're going to, so there should be some consequence.

And I've got it, you're doing the work.  I think it's part more of a process.

MS. JONES:  If I may?  I think what the Board said in the RRFE that the monitoring of the capital spend versus actual is something that they would undertake, where we've just offered to do it.  And that they will -- they will look at that information.

What they do with it is not something that we can state at this time.

MS. GREEY:  And you wouldn't give any recommendations of what you think?

MS. JONES:  Well, I guess I would point to one of the OEB pronouncements in the Enbridge decision, which speaks to when you've put together a five-year plan, you are under/over spend is -- it's an envelope, and these are the words of the Board.

I apologise I don't have the page reference in front of me, but the expectation certainly would not be for the Board to come back and remove part of our capital budget because a project might be delayed.  I'm not sure if that was where you were going.

MS. GREEY:  Okay, that helps enough for -- as I said, I don't want to get into cross.  So thank you, those are my questions on Exhibit A.

MS. HELT:  Thank you, Ms. Greer.  Just one question for you, Ms. Greer.  I believe you indicated, prior to the technical conference commencing, that you had just a few questions on a couple of the other exhibits.

MS. GREEY:  Well, I have two on Exhibit 2 or Exhibit B, and six on D.  Do you want me to do my B ones now?  Because I do have a problem with coming tomorrow, being here tomorrow.

MS. HELT:  As long as everyone is all right with Ms. Greey reading her questions, just so that you she can --

MR. SHEPHERD:  Can we just do it after the break?

MS. HELT:  Her questions after the break, or we can take her questions to the break?  How long do you think you'll be?

MS. GREEY:  It's hard to tell.  No more than -- I thought these would be a little faster.  So maybe 20 minutes.

MS. HELT:  Why don't we go with your questions and then we'll take a break.

MS. GREEY:  I have eight questions, I do know that.

MS. HELT:  So go ahead.

MS. GREEY:  So the next is looking at question 17, and this is looking at the cost sharing formula, when you are doing work with third party -- oh, and so there is a cost sharing formula that you use with the city, and just, it's the second point.  So when the road authority has requested Hydro Ottawa to relocate its plant after five years from the road's authority approval for new plant, and there was no provision, then it's 50 percent.  I just could -- you know, verbaleze, but can you just maybe put it in a bit more lay terms or exactly why -- can you just explain again what the five years, et cetera, is, so -- because I'm getting at, why is it only 50 percent only in that circumstance?

MR. BENNETT:  Yes.  So the deal with the city of Ottawa is -- well, the theory of the deal with the city of Ottawa is once they do a new road, nobody touches it, nobody enters on it for five years, so nobody is allowed to cut the road for five years; that's the theory.

If they do something that causes us to have to move within that five years, they pay 100 percent, so if they give us the approval to put pole line in, for example, and the road -- the next year decides they are going to widen the road, then they pay us 100 percent to relocate that plant.

After the five years we go to the 50-50 on labour and labour-saving devices, so the 50 percent of labour and labour-saving devices is kind of the standard road authority agreement between utilities and the road authorities.

MS. GREEY:  Okay.  And that's across the province?

MR. BENNETT:  In general, I don't know if everybody is doing it, but if you deal with the Ontario ministry, that's what they do, and that's what most of the municipalities, as far as I know, follow, if they follow anything.

MS. GREEY:  So even though you don't want to move that plant, they've requested it, they are expanding the road, you only get -- you have to contribute 50 percent?

MR. BENNETT:  If it's the road authority.  If it's another utility then they pay us to move --

MS. GREEY:  Thank you.

MR. BENNETT:  -- but if it's the road authority it's 50 percent, and the bulk of the work is the road authority, typically.

MS. GREEY:  Yeah, I think I'm asking about that too.  Yeah, that's my next -- on question 19.  If what you just said is that the majority of the plant relocation work is the city of Ottawa --

MR. BENNETT:  Yes.

MS. GREEY:  -- but that these projects are not yet specifically planned.

What is a plan time frame for city's work?  I would think they have to -- you know, if they have planning processes that I thought were, you know, longer that you would know in a five-year span what was going to happen.

MR. BENNETT:  They do, and we participate -- all the utilities, there is an electronic format that the city uses, so we all put our information in about the projects that we are going to do, and we work together on those projects, and some of them might not be relocations.  It might mean they need a new service or something like that.

Having said that, their plans change or they get delayed or whatever happens, so there's proposals for the right rapid transit, for road-widens, for city works for a period of time, but it depends -- every year they rejuggle that to determine what they're actually going to do.

MS. GREEY:  Okay.  So it is hard for you to fit into that planning process yourself?

MR. BENNETT:  So for example, last year, you know, we had a couple projects with the city, as an example, and one with Hydro One, which were, I'll call them growth projects, that didn't go, so we got all geared up, but they got delayed, so...

MS. GREEY:  Okay.  And so you were -- what other relocation work?  You are saying they made new plant...

MR. BENNETT:  Relocation work.  I mean, there is a variety of things that could cause relocation.  For example, the light rapid transit activity could cause relocations, which in many cases we would do that as a work for others, so they would pay us 100 percent for that.  We have NCC could cause that, again, depending on whether -- they do have some spots where they are kind of the road authority, but if it's not a road authority they pay us for that.

Other utilities, as I described.  So for example, if the city sewer wants to redo a sewer and they need to relocate us, they pay us for that.  But most of the work has to do with the road authority and is the 50 percent.

MS. GREEY:  Okay.  And that's -- my other six questions are for Exhibit 4; do you want me to continue?

MS. HELT:  Sure, go ahead.

MS. GREEY:  Right.  The next is going to the Consumers' Council question 33.  We were talking about compensation studies, and you did talk about what you'd looked at and how you fit that in, and you said that the final comparisons from the Hay Group, 2012, resulted in adjustments to the salary scales as of January 2013.

What adjustments were made as a result of these comparisons?

MS. COLLIER:  So you want the specific salary scale movement?

MS. GREEY:  Yes.

MS. COLLIER:  I mean, they were all adjusted upward.  We can provide with you that.

MS. GREEY:  You can provide that?  That would be good.  Great.  Thanks.

MS. HELT:  JTC.28, related to CCC question 33, to provide the salary scale adjustment.

UNDERTAKING NO. JTC1.28:  with reference to CCC question 33, TO PROVIDE THE SALARY SCALE ADJUSTMENT.

MS. GREEY:  The next is question 34, where you mention a vacancy allowance which was mentioned in the 2014 budget letter.  In your response it says that there is an estimate of savings from vacant positions and there is a credit for vacancy allowance offsets, so I sort of understand that, like, but I want to know is that -- how was this used in the budget process?  For example --

MS. COLLIER:  It lowers the compensation number.

MS. GREEY:  Yes.  But is it -- so in actual -- in your budget that you are giving to your board and upper management, et cetera, you actually show the lower.

MS. COLLIER:  Yes.

MS. GREEY:  But was this allowance --

MS. COLLIER:  To do the comp budget first --

MS. GREEY:  Yeah.

MS. COLLIER:  -- based on the number of percentage, and then we lower the budget, because there is vacancies, you know, people move around and --

MS. GREEY:  Yeah.

MS. COLLIER:  -- it takes time to fill amounts, so we take 3 percent of that and put it as a credit to the comp, so it lowers the compensation budget.

MS. GREEY:  Okay.  So -- right, and reduces the amount.  Right, I sort of thought maybe the allowance you were, you know --

MS. COLLIER:  Sorry --

MS. GREEY:  -- using that somewhere else.

MS. COLLIER:  Maybe not a good term.

MS. GREEY:  No, that's okay.  Thank you.  Got it.

Question 35.  This is about the extent to which the smart meter program reduced the operating costs.  So -- and you were saying, yes, right, right from when they were put in you could see that there was -- it really helped, but however, Hydro Ottawa incurred increased IT costs, including software licences, et cetera, et cetera, and we know that the date of storage, everything was a lot larger than you would have had before.

But have you done an analysis or could one be done to find a difference in savings attributed to the installation of the smart meters and the other increased costs?

MS. COLLIER:  And we didn't mention this back in the case -- in the last case, the EB-2011-0054.  We haven't done an analysis recently.  They were implemented quite some time ago, but, yeah, so we've certainly seen a reduction in actual trucks rolling and people going to read the meters, but on the other hand, all the infrastructure, especially the IT infrastructure to support the smart meter program, has gone up significantly, so overall it is pretty much a wash.

MS. GREEY:  But have you done that -- can you provide that analysis?  Because I would think even when you were in -- you were actually in in 2011, correct, the proceeding happened?

MS. COLLIER:  Yes.

MS. GREEY:  I would think you have even increased costs, more and more of the smart meters, and the data storage, et cetera, or could you do that to show, okay, here -- even if you've had the savings from earlier on, what the savings were for smart meter?

MS. COLLIER:  We can undertake to do that.

MS. GREEY:  Thank you.

MS. HELT:  So JTC.29 would be to provide an analysis with respect to the difference in savings attributed to smart meters.  This is related to CCC question 35.

UNDERTAKING NO. JTC1.29:  with reference to CCC quEstion 35, TO PROVIDE AN ANALYSIS WITH RESPECT TO THE DIFFERENCE IN SAVINGS ATTRIBUTED TO SMART METERS

MS. GREEY:  Versus the increased costs of IT, et cetera.

MS. HELT:  Yes.

MS. GREEY:  Thank you.  And then question 42.  This is a sort of question that I think we're -- we've been talking about productivity and how you're looking at productivity and productivity metrics throughout the application.  So you've suggested that, you know, you've saved this money.  And then it's in other process improvements, but it was used to complete more work, and that you had demonstrated that in Exhibit D1-4, and also the number of design resources is the same.

Can you specifically show where you've used the 400,000, because you're, you know, you're saying that you've saved this, but then on the other hand you're saying, But then we spent it over here.

MR. BENNETT:  Yeah.  So the 400,000 that was identified as part of the process is in process savings for the design work.  So there was a -- I don't know whether we went through the whole thing, but the design side of the house puts together the design packages and then project manages all the capital work.

MS. GREEY:  Mm-hmm.

MR. BENNETT:  So we reorganized that group and used Project Coach to organize all of our work.  We have over three hundred trained in Project Coach now, and they follow the same process.

So, for example, from 2012 we had twenty-four designers who did a total of about $53 million of capital work that they were responsible for, organizing and managing.  And then in 2014, twenty-one designers did $69 million worth of work.

So I can't point to the $400,000 specifically in savings, but we did more capital work with less designers and --

MS. GREEY:  I understand the -- thank you, I've got that clarified.  But then it says that was used to complete other -- more work.

MR. BENNETT:  Well, it just means -- we didn't reduce the capital program by $400,000 or whatever the savings were, we just did more capital work with that money.

MS. GREEY:  But you couldn't identify what capital work.  I'm just wondering if it was a capital work that was a priority project.

MR. BENNETT:  No, I can't identify anything specific.

MS. GREEY:  But it was spent.

MR. BENNETT:  The $400,000 that allowed us to do this project or --

MS. GREEY:  Allowed you to do -- okay.  The next one is question 43.  I had trouble a little bit with this contract that you have.  You are going to go out to tender again for three-year standing offer arrangements with two Toronto-based contractors.

And I'm saying it gives you a priority -- it gives you an alternative for rather than doing full-time when your work fluctuates.  But I have not seen anywhere, and you have stated today there is no fluctuation in this work.  We take it from what this is saying.

You have a long term, large multi-year capital program that is going to stay that way for the five years.  So if that's the case and you know you are only going to have more work, did you look -- would it not be more cost effective to start to hire your own people rather than having this expensive contract.

I know we probably -- maybe it was in your presentation, you did emphasise the fact that yes, that is expensive because you have to do room and board, et cetera. I guess I don't see any fluctuation in your capital program, and wonder then why are you going this route.

MR. BENNETT:  So the use of the Toronto contractors and it was identified that we do pay a premium because they come from Toronto, and we have explored some options from setting up a local contractor.  But they are in demand, they are in high demand, so you have to guarantee a certain level of work to entice them to come and set up a full-time operation.

And despite the fact that fact that we do have a lot of work -- for example, last year we did send one of the groups home early, not a lot early but three weeks early so to speak.  A project got cancelled, one of those city projects got cancelled, so we were able to send them home a little early.

The reality is with the contractors, if you give them big jobs and you let them go at it, they are more expensive per hour, but they're very effective.  They like to get out of town by Thursday night, so they are motivated to get a lot of work done Monday through Thursday.

So, as I say, if you give them a big project where they can set up and work, the actual cost at the end of the day comes out to out to be about a wash between whether they do it or we do.

If you start moving them in and out of jobs, it is not as effective.  They're not as effective.  They don't know our system as well, and it is not as effective from a financial point of view.  So you have to be smart how you use them.

We have been lucky.  We have had some very good people on both of those contracts, and they've done a very good job for us.

One of the things that we would like to do is reduce the cost, though, of the contractors' hourly rate.

MR. SHEPHERD:  Can I just ask a follow-up?

MS. GREEY:  I'll just -- because the last thing is -- from what you've just said, though, it sounds like it still might be more worthwhile to bring on more full-time, your own, rather than contracting out when you know you have this expansive program that is going to continue.

MR. BENNETT:  So when you bring on a contractor and you put them on a pole replacement job, all of the costs associated with that pole replacement job are capital.  All the costs associated with the contractor are capital.

MS. GREEY:  Uh-hmm.

MR. BENNETT:  When I use my own guys, not all of my costs are capitalized.  So if I ramp up to do more capital with in-house staff, I am adding to my OM&A cost typically as well at the same time.

So there are benefits to having in-house staff for sure, from the point of view if they build it, they know it, they're there when the storm hits on the weekend and all that sort of thing.  But there are pros and cons to both.

MS. GREEY:  Have you looked at that financially within the utility of saying what the difference would be?

I understand OM&A has the impact on rates.  But have you actually done any analysis?

MR. BENNETT:  We've done a significant amount of analysis.  Whether we've come to a conclusion on it yet or not, I mean Toronto is -- Toronto is an extreme example that we get to look at and learn from, how they do it in Toronto.

So, the short answer is I don't have an actual financial comparison between the two yet.

MS. GREEY:  Would that be worthwhile doing, for instance, from a business --

MR. BENNETT:  We are doing -- well, not as we speak, but at this point, we are doing that right now.  We are looking at that.

We are looking at models of what could we do turnkey, and also we could just give it to somebody to organize and do, that type of thing.

But we're constantly trying to look for better ways to get it done.

MS. GREEY:  So if some of that happens within the five years, that could lower your costs.

MR. BENNETT:  We're looking to be productive at our capital program for sure, if we can figure out how to do it more productivity.

# Questions by Mr. Shepherd:

MR. SHEPHERD:  If you use your own internal people, then the OM&A costs go up but the capital costs go down, right?  It is just an allocation question?

MR. BENNETT:  It depends, it depends.  That's why I say it depends how effectively you use the contractors and what type of jobs you give them.

What we found is when we're using contractors to do, you know -- can I describe a quick infill type of work?  It is more expensive for sure than our own people.  They don't know our own system as well, they don't get around as well, that type of thing.

But when you look at a big job overall, a big pole replacement job, at the end of the day the costs come out about the same.

MR. SHEPHERD:  I wanted to segregate the two questions, because you said very specifically that one of the impacts of hiring your oven people is that some of the cost has to be included in OM&A instead of capital, whereas a contractor, at the same cost, it would all be capital, right?

MR. BENNETT:  Yes.

MR. SHEPHERD:  And so, if I understand correctly, that impact is simply an allocation impact.  Ratepayers are going to pay for it in the end.  They are just going to pay for it through capital or OM&A, right?

MR. BENNETT:  Yes, in a sense, yes.

MR. SHEPHERD:  Now, with respect to the second part of it, which is that the costs are essentially a wash on big projects, you've reached that conclusion how?

MR. BENNETT:  Reviewing the cost estimates and the actuals on projects that we -- so we have pole replacement jobs we do.  We have pole replacements jobs that the contractors do.

MR. SHEPHERD:  And you've done a comparison?

MR. BENNETT:  We look at it on an ongoing basis, in the sense of putting together our estimates for next year's capital program, and that sort of thing.

In the design group, one of the things they're constantly doing is looking at the estimate they put together for the project in the first place, what was the actual, you know, but can you --

MR. SHEPHERD:  But you just said you've never done a rigorous comparison of the two choices, the build or buy sort of approach?

MR. BENNETT:  From an overall business point of view. From an actual work point of view, we're doing that on an ongoing basis.  But what's better for the business?  Is the business better off to just hire contractors, or just hire internal staff?  No, we haven't done that.

MR. SHEPHERD:  But your answer to that question -- it sounds like is that neither is correct, because it depends on what the work is.

MR. BENNETT:  Exactly.

MR. SHEPHERD:  So there is a more nuanced answer, which is that for these types of activities, it is better to have our own people, and for these types of activities it is better to have contractors.  Is that right?

MR. BENNETT:  Yes, and we've done a lot of that in a sense.

If you look at all of our residential subdivisions, it's done by contractors.  All of our civil work, pole holes and civil work, is done by contractor.  All of our forestry is done by contractor.  Now some of our big pole replacement jobs are being done by contractor.

MR. SHEPHERD:  And that's because these are portable skills that basically you don't have to know the system as well to do these sorts of things; these about cost control.

MR. BENNETT:  Exactly.

MR. SHEPHERD:  So it sounds like you've looked at this a lot.  What do you have?  You don't have a formal overall comparison of the two choices, but you do have some analysis, right?

MR. BENNETT:  We have analysis, as I say, that we've done projects comparing projects between the groups.

MR. SHEPHERD:  So could you provide us with the stuff you do have that compares these two options?

MR. BENNETT:  We can provide some of the analysis that we've done, as far as projects with our own forces and projects with contractors.

MR. SHEPHERD:  Whatever that you can do provide would be helpful, that would be really useful.

MS. HELT:  All right.  So that will be Undertaking JTC.30, to provide a comparison or analysis of various projects that Hydro Ottawa has performed with respect to the cost for either contracted work or in-house work.

UNDERTAKING NO. JTC1.30:  TO PROVIDE A COMPARISON OR ANALYSIS OF VARIOUS PROJECTS THAT HYDRO OTTAWA HAS PERFORMED WITH RESPECT TO THE COST FOR EITHER CONTRACTED WORK OR IN-HOUSE WORK; (b), TO PROVIDE A LIST OF THOSE TYPES OF WORKS OR TRADES THAT HYDRO OTTAWA NO LONGER DOES IN-HOUSE BUT CONTRACTS OUT THE WORK FOR.

MR. BENNETT:  Can I just -- is that -- are you speaking specifically about line contractors or are you talking about any contracting work?

MR. SHEPHERD:  Well, I'm basically asking you to give us whatever is the most helpful to analyze that management decision.  I mean, the stuff that you find most helpful would be, to start with.

MR. BENNETT:  As an example, like, if I look at forestry, we don't train or carry foresters any more.  If I look at civil work, we don't have what we call groundsmen who do civil work.  It's all done by contractor.

MR. SHEPHERD:  Well, but those things are done.  The barn door is closed on those things, but you have some things where you do have to make the decision on a regular basis, like subdivisions, like replacing a line, et cetera, right?

MR. BENNETT:  Yeah, if we want to do a comparison of actual line work kind of thing we can do that.

MR. SHEPHERD:  Okay.  And then my follow-up to that is, you said that you are in the process of doing a more -- a bigger analysis, if you like, a more formal analysis of the build or buy decisions, right?

MR. BENNETT:  Well, we're doing -- right now we have a project right now that we are -- a pole replacement project that we are attempting to do as close to turnkey as possible, to assess the benefits of looking at bringing in a turnkey type contractor.

MR. SHEPHERD:  So is that what you were referring to when you said, "as we speak" we are studying this?  And so are you treating that like -- sort of like a pilot project?

MR. BENNETT:  Exactly.

MR. SHEPHERD:  And what's the time frame for that?

MR. BENNETT:  They're on the job in the sense they've got the job, they should be replacing poles next month, so we expect to do an analysis and review with them probably in October.

MR. SHEPHERD:  Okay, that's fine.  Thank you.

MS. GREEY:  I'm just -- I'm just -- when you are preparing the undertaking, just, it would be helpful, particularly, what analysis you have, like, so the jobs that you can compare, as you say, lines jobs, but -- you know, so -- but if there was anything else that you had looked at, if you could go back and see what types of analysis you would do, that would be great.

So -- and also, if you could list what trades you don't have -- you are saying forestry, a couple of trades that you now do not have at all; correct?

MR. BENNETT:  Yes, so trades that we don't have.  I mean --

MS. GREEY:  Like, you are saying you don't do the forestry at all any more.

MR. BENNETT:  Don't do forestry.  Don't do meter reading any more.

MS. GREEY:  Can you list -- could you -- part of this undertaking being just so that I'll know -- I won't go, Oh, well, what about metering?  Like, could you list the ones that you don't have and that you know would not ever be cost-effective to bring back in?

MR. BENNETT:  I'll try to remember through my 33 years all the trades that we have eliminated.

MS. HELT:  So then part of JTC.30 will be to provide a list of those types of works or trades that Hydro Ottawa no longer does in-house but contracts out the work for.

MR. SHEPHERD:  Can I just ask one follow-up question on that?  Your union is IBW?

MR. BENNETT:  Yes, it is.

MR. SHEPHERD:  Have you had discussions with the union about your contracting out versus internal-use policies and -- I mean, presumably they're very interested in this as part of contract discussions; right?

MR. BENNETT:  We have had some conversations with them at a working level.  I mean, the -- for example, Black & McDonald and K-Line are both IBW contractors -- different IBW group, but both IBW -- so the conversation at the IBW business level is different necessarily than it is at the local level.

I would say, in general, the local group -- we are not cutting staff, so to speak, like, they're not losing jobs.  Maybe there could be jobs that could be gained if we hired internally versus contract out, but...

MR. SHEPHERD:  But instead they are being gained at Black & Mac, so --

MR. BENNETT:  Yes.

MR. SHEPHERD:  -- they're okay with that.

MR. BENNETT:  Well, I don't know if they're okay with it.  IBW seems to be okay with that model, but it hasn't been an issue to date.

MR. SHEPHERD:  Some utilities across North America have actually entered into sort of joint plans with their unions about contracting out.  Are you anywhere along that path, or is that --

MR. BENNETT:  In setting up a contracting company, are you speaking of?

MR. SHEPHERD:  Not so much the setting up a contracting company, but just in setting out a set of parameters for how you contract out, who you contract out with, et cetera?

MR. BENNETT:  No, we have a pretty good relationship, and we have a pretty free hand in contracting out.  I mean, we -- I mean, we could burn ourselves with that, maybe, if we do something stupid, but so far it's been good.  I mean, the demographic of the organization is, you know, some people call it a camel.  We have got a bunch of old guys like me that are going to be walking out the door in the next three to five years, and who will probably be happy to go work for a contractor for a short period of time after that fact, but we continue to hire young people into the organization, and we participate very actively with Algonquin in training tradespeople and so on, so we seem to have at this point a pretty good balance.

MR. SHEPHERD:  Thanks.

MS. HELT:  Ms. Greey?

# Continued Questions by Ms. Greey:

MS. GREEY:  One last question, if that's -- on a different topic, okay?  Question 46, my last question.  And hopefully an easy one.  Just, we asked what type of e-billing service Hydro Ottawa provides, and you'd said through a third-party vendor.  Cam one of you just tell me the process the customer goes through to participate in the e-billing?

MS. COLLIER:  Do you mean like they sign up and get an e-mail, like --

MS. GREEY:  Yes, so how does it work, because I know in some utilities it's not true e-billing, that they actually have to go through a third party.  Like, who is -- can you say who your third party is or exactly -- if I want -- if I am a Hydro Ottawa customer and I want to sign up for e-billing, exactly how am I paying my bills?  What's the process?

MS. COLLIER:  So if you are on e-billing, it is not so much of a payment, it's about how you receive the bill, so we do have a third-party provider that provides the invoice.  They sign up through my Hydro link and then they can either opt to get an e-mail -- a summarized e-mail with the amount they owe, or they can -- with a link to their bill.

MS. GREEY:  Okay.  And there is no option for them to actually pay it electronically.

MS. COLLIER:  There is, but that's kind of, you know, auto pay options.

MS. GREEY:  Can you tell me about those, because often people think to -- right, like, it's -- you're getting it, which is great, so you're saving the postage.

MS. COLLIER:  Yeah, so we --

MS. GREEY:  That's really all you're doing, though --

MS. COLLIER:  -- we have some customers that sign up for both e-billing and auto pay, but not necessarily the two are --

MS. GREEY:  You don't have to do both.

MS. COLLIER:  No.

MS. GREEY:  Okay.  Can you just tell me about auto pay?

MS. COLLIER:  I don't know if I'm the best...

MS. GREEY:  Is there any of you...  But there is a mechanism where they didn't have to go through a third party.  You can just -- maybe you can just answer --

MS. BARRIE:  Like, are you just looking --

MS. GREEY:  -- of the whole process --

MS. BARRIE:  -- at, like, the difficulty of the customers, like, they would just sign up.  You can do that online or you can call in, and you are on automatic payment, and it will just come out of your bank account on a regular basis.

MS. GREEY:  Through Interac.

MS. BARRIE:  Yes.

MS. GREEY:  So, no, but you will just have Interac.  Right.  Okay.  Which is free --

MR. GARNER:  Sorry, when you say "third party", just so I understand it, you don't actually mean the -- do you mean the customer actually sees the third party, or just that's how it's delivered?  To the customer, it is seamlessly through you?  Is that what it appears to the customer to be happening?

MS. BARRIE:  That's right.  It is --

MR. GARNER:  Okay.  Thanks.

MS. BARRIE:  -- an external company, yes.

MS. GREEY:  So they can -- so you have Interac?  You can pay -- oh, maybe that's my question.  How can you pay your bill.  You can pay through Interac?  Like, I know some people have PayPal, but there's actually a cost for that, of if they want to use -- could you allow them to use their Visa, but then you charge them 2 percent?  I guess that's what I'm looking at.  How can they --

MS. BARRIE:  Right.  But that's not auto pay.

MS. GREEY:  Okay.

MS. BARRIE:  The Visa payment's not auto pay.

MS. GREEY:  But that's -- okay.

MS. BARRIE:  Yeah, auto pay --

MS. GREEY:  How can you pay your electricity bill at Hydro Ottawa?

MS. BARRIE:  So you can -- we do a have the credit-card option.  You can do auto pay, you can do by Interac, you can send us a cheque.

MS. GREEY:  And when you use Visa there is a charge?

MS. BARRIE:  There is.

MS. GREEY:  Yeah, okay, so you put that back.

Does -- are you -- do you let the customer know that they will be charged that?

MS. COLLIER:  Yes, yes.

MS. GREEY:  So in an agreement or somewhere it says if you use this -- where would they --

MS. COLLIER:  It is quite clear to the customer when they pay what the charge is, because they are paying for it at the time.

MS. GREEY:  So they would pay, and so it would say, No, you actually owe more --

MS. COLLIER:  Yes.

MS. GREEY:  -- than what you are paying.

MS. COLLIER:  Yes.

MS. GREEY:  Okay.  I think that answers it.  Thank -- that's all my questions.  Thank you so much for allowing me --

MS. HELT:  Great.  Thank you, Ms. Greey.

We will take the afternoon break now.  Are people available to sit until 5:00 p.m. today, as opposed to 4:30?  Yes, yes.  The court reporter, are you free until 5:00?  Yes.  All right then.  So why don't we take a break until quarter to, and then we'll come back, and Mr. Shepherd, do you want to start off with questions?

MR. SHEPHERD:  Not particularly.

MS. HELT:  No?  Mr. Aiken?  All right.

MR. AIKEN:  Sure, why not.

MS. HELT:  So we'll come back at quarter to, and Mr. Aiken will start with his questions on panel 1 -- or Exhibit 1.

### --- Recess taken at 3:33 p.m.

### --- On resuming at 3:50 p.m.

MS. HELT:  Is everybody ready?  All right, everyone, we may as well get started.

It is now ten to four, so we will aim to go until five o'clock, and whatever we don't finish today we will resume tomorrow morning.

So I understand we are going to continue with Exhibit 1, or Exhibit A as it's referred to in the application.  Mr. Aiken, you're on.

MR. AIKEN:  Remember, I volunteered reluctantly.

# Questions by Mr. Aiken:

My first question is based on the response to Energy Probe number 1, and specifically on the second page, table 1 of that response, and I will just read my question as that's being pulled up.

The majority of the decreases made in the capital expenditure forecast are in the general plant category, and those reductions are about 14 million in 2016, 12 million in 2017, and 5 million per year in 2018 through 2020.

Can you please explain what expenditures were removed in this general plant category?

MS. COLLIER:  Too short to reach the mic -- so, yes, some of that has been a reclassification from general plant to system service, upon further review of the OEB definitions of those categories -- data, as an example, in our telecom plan.

The rest of it were either IT projects that were scaled back, deferred; a general 10 percent kind of cut across the board on all regular general maintenance programs, life cycle type costs would be the bulk of it.

So overall, the grand total has gone down by 34 million.

So again, it's mainly a 10 percent cut across the board of all general plant programs, and certain kind of IT projects that were pushed.

# Questions by Mr. Shepherd:

MR. SHEPHERD:  Can I just ask a follow-up -- or several?

Can you provide us with a table of the amounts and explanations for each of the reallocations?

MS. COLLIER:  We could.

MS. HELT:  That will be undertaking JTC31.

UNDERTAKING NO. JTC1.31:  (A) with reference to IR EP No. 1, to provide a table of the amounts and explanations for each of the reallocations; (B), to advise whether the amount in the forecast figures for the facilities implementation is identical to the amount in the proposed numbers in table 1 of Energy Probe 1, and show that it's identical to these numbers in Energy Probe 5 or not

MR. SHEPHERD:  And then the next part -- so that's the only reason why system service is going up each year is because of reallocations?

MS. COLLIER:  Yes, I mean -- I believe so.

MR. SHEPHERD:  Management didn't say you're not spending enough on this, spend more?  You wish, but they didn't?

MR. BENNETT:  No.

MR. SHEPHERD:  Okay.  Did the original forecast amounts in the -- the forecast amounts are the amounts that the departments ask for, right?  That's the ask, in effect?

MS. COLLIER:  After it had gone through, you know, several layers, but yes.

MR. SHEPHERD:  And the proposed is what's in the application.

MS. COLLIER:  That's correct.

MR. SHEPHERD:  Did the original forecast amounts include anything for the facilities?  You have a $73 million facilities plan, right?

MS. COLLIER:  It's actually 92 million.

MR. SHEPHERD:  Well it's 73 for buildings and 92 for land.

MS. COLLIER:  That's right.

MR. SHEPHERD:  So 92 in total, including land, right?

MS. COLLIER:  That's right.

MR. SHEPHERD:  So 73 for buildings.

MS. COLLIER:  Yes.

MR. SHEPHERD:  Is any of that included in the forecast amounts?

MS. COLLIER:  Yes.

MR. SHEPHERD:  And now it's been taken out?

MS. COLLIER:  It is to be treated as a Y factor.  So yes, it is included in the general plant categories in the DSP.  But from a revenue requirement, it's been excluded because we're asking for a Y factor treatment.

MR. SHEPHERD:  What I'm asking is that you have a forecast in general plant of $187.1 million over the five years, and you'd reduced that to 145 in the application. Does that 187 have any facilities dollars in it?

MS. COLLIER:  Where are you getting the 187?

MR. SHEPHERD:  60 plus 60.5, et cetera.

MS. COLLIER:  In the 16 and 17?

MR. SHEPHERD:  No, 60 plus 60.5, plus 23, plus 23.9, plus 19.7 is 187.1.  And then if you look at the proposed amounts for each year, they are 145 and the reduction is 42.1.

So my question is:  The forecast amounts for the five years, did they include any facilities dollars in them?

MS. COLLIER:  I will refer you to EPC, Energy Probe question 5 -- sorry, table 1.1.  It provides you with the capital expenditures with the facilities implementation plan included in them, and then the capital expenditures with them -- without.

MR. SHEPHERD:  How does that help me?  So the top line is the proposed numbers here, right?  And in table 1, from Energy Probe number 1, the proposed numbers include the facilities so they are not what's in your application.

MS. COLLIER:  So if you look at -- the facilities essentially are in both the forecast and the proposed.

MR. SHEPHERD:  But they're not in the application.

MS. COLLIER:  But they're not in the revenue requirement.

MR. SHEPHERD:  Well, so, the amount you're asking for, right, doesn't include those facilities amounts.  So that 145.4 in 2016 which you said was the application amount, it's not.

MS. COLLIER:  You're right, it is actually the 120.

MR. SHEPHERD:  Okay.  So go to Energy Probe number 5 then, and you have this line for facilities implementation plan which only totals 65 million -- 66 million.  So it's not quite the same as the subsequent breakdown of the facilities implementation plan in Energy Probe 15.

MS. COLLIER:  Right, because that includes costs already incurred, so this is just 16 and 20 --

MR. SHEPHERD:  All right.  Okay.  So -- I see, okay, Okay.

So is the amount in the forecast figures for the facilities implementation identical to the amount in the proposed numbers in table 1 of Energy Probe 1?

MS. COLLIER:  I believe it is, but when we provide the detail, I'll confirm that.

MR. SHEPHERD:  When you provide the?

MS. COLLIER:  The undertaking 31.

MR. SHEPHERD:  Okay, you'll add that to that?

MS. COLLIER:  Just the confirmation.

MR. SHEPHERD:  Facilities to facilities, year by year and show that it's identical to these numbers in Energy Probe 5 or not?

Okay, thank you.  Sorry about that.

MS. HELT:  Just to be clear then, that will be part (b) to JTC.31.

# Continued Questions by Mr. Aiken:

MR. AIKEN:  My next question is on the response to Energy Probe 4.  In that response, you indicate that the half year rule for depreciation was used in the 2000 test year filing, except in the case of discrete material assets such as stations, and that you are continuing that approach historically and in the forecast.

So my question is:  Can you please provide a list of the assets, their value and in-service month to which the in-service month methodology applies for the 2016 and 2017 expenditures?

MS. COLLIER:  For every discrete asset that not using the half year rule?

MR. AIKEN:  Yes.

MS. COLLIER:  We can do that, yes.

MS. HELT:  And that will be JTC.32.

UNDERTAKING NO. JTC1.32:  to provide a list of the assets, their value and in-service month to which the in-service month methodology applies for the 2016 and 2017 expenditures

MR. AIKEN:  My next question is on Energy Probe number 6, and I want to go through the table that is on the second page, labelled table 13.

So a lot of the cell values or cell information says "annual forecast."  Am I correct that for each of these that say “annual forecast”, these numbers will be determined as part of this proceeding, with no further changes over the five-year period?

MS. COLLIER:  That's correct.

MR. AIKEN:  And then for PILS, are there any updates for changed tax rates, or CCA rates, or tax credits?

MS. JONES:  Can you repeat the question?

MR. AIKEN:  Yes, for the PILs it says an annual forecast, which means no adjustment, so I'm assuming that there would be no adjustment if tax rates change, and that includes CCA rates or tax credits.  So if Mr. Mulcair gets elected and, you know, the tax rates go up by 2 percentage points or whatever, that's not going to be reflected as an annual update at any point during the five years.

MS. JONES:  I think we had indicated in response to interrogatory OEB 2 that we would not come in for an adjustment for tax changes.

MR. AIKEN:  Okay.

# Questions by Mr. Shepherd:

MR. SHEPHERD:  Can I just follow up on that?  You have indicated, somewhere, I thought, that you might see that as a Z factor and you would reserve your right to file as a Z factor; isn't that right?  Or am I --

MS. JONES:  If it exceeds our materiality threshold, but I would have to confirm that that applies to the tax -- a tax change --

MR. SHEPHERD:  Well, that's what I'm asking.

MS. JONES:  If you'd let me look at OEB 2, because we did not put the right to come back on a Z for everything.

MR. SHEPHERD:  Well, my understanding of your application -- correct me if I'm wrong -- is that you haven't included taxes as a Y factor, but you have included the normal Z factor which applies to anything.  You haven't put any restrictions on your Z factor as far as I know; is that right?

MS. JONES:  Restrictions in terms of what it would be applied to?

MR. SHEPHERD:  Yes.  The Board has a standard Z factor --

MS. JONES:  Yep.

MR. SHEPHERD:  -- that applies in IRM situations.

MS. JONES:  Mm-hmm.

MR. SHEPHERD:  You are proposing that standard Z factor, right, without --

MS. JONES:  I think a Z factor is a mechanism that is standard to not (sic) incentive regulation plan, which is what we filed, so, yes, it is something that we may avail ourselves to if we -- if the circumstances so require it.

MR. SHEPHERD:  And you are not proposing any limitations on your Z factor application specific to Hydro Ottawa?

MS. JONES:  I'm not sure I understand -- what interrogatory would this be --

MR. SHEPHERD:  You're asking for --

MS. JONES:  -- are you looking for clarification from?

MR. SHEPHERD:  -- the same Z factor that everybody else has, right?

MS. JONES:  We are applying the OEB policy, correct.

MR. SHEPHERD:  Okay.  Thanks.  That's all I wanted to know.

# Continued Questions by Mr. Aiken:

MR. AIKEN:  Okay.  Back on Table 13, the inflation factor, my understanding is that the -- well, that the forecast for 2016, '17, and '18 will be fixed based on an updated forecast of inflation later this year that you get from Conference Board, I guess it is, and then the last two years will be fixed in 2017 for the last two years, for '19 and '20.

MS. JONES:  That is correct.

MR. AIKEN:  And I think later on I ask you why are you fixing it in 2017 and not in 2018.

MS. JONES:  And I believe in response to that interrogatory we've pointed out that our budgeting processes require a lead time in order to be able to incorporate the revised inflation factor into the numbers.

MR. AIKEN:  Yes, and I think I'll follow up on that later on.

The next question I had was on short-term debt and the return on equity in that line -- in that Table 13.  Again, these are fixed for the first three years at rates that will be set by the Board this fall, and the last two years will be fixed at rates set by the Board in the fall of 2018; is that correct?

MR. GRUE:  That's correct.

MR. AIKEN:  And then for long-term debt, I have a question.  What do you mean by "deemed", because you split up a long-term debt between embedded and deemed.  What you mean by deemed is forecasted debt that you will be issuing?  Because usually deemed debt is the difference between -- well, I don't know what you call it, but it's the difference between your actual debt and the Board's deemed 56 percent.  But I'm assuming that your definition of deemed debt is debt that you have not yet issued yet but are forecasting to issue.

MR. GRUE:  So the two lines are -- the actual obviously is their embedded actual debt that we've gone externally in our organization to obtain.  The deemed aspect -- and maybe it's not been clearly stated here, but really choosing the deemed interest rate based on our methodology using the consensus forecast that's available.

MR. AIKEN:  But -- okay.  So what would that deemed interest rate be applied to?  It is obviously not applied to the embedded debt.

MR. GRUE:  It is applied to the forecast new borrowings in that given year.

MR. AIKEN:  Okay.  So it is to the new borrowings, not to the difference between your deemed debt and your actual debt.

MR. GRUE:  I'm not clear on that.  I think when you're saying "deemed" in the capital structure about --

MR. AIKEN:  Yes.

MR. GRUE:  -- 56 percent versus our actual.

MR. AIKEN:  If your 56 percent works out to be 100 million and your actual debt works out to be 70 million, you are not proposing that to apply the Board's deemed rate to that $30 million differential?

MR. GRUE:  The way we've presented it in Exhibit E, which we might get to, was the deemed interest rate is applied to any new borrowings where we don't have external borrowings available to ourself to use that embedded rate, so it is not using the difference between a 60 percent or 56 percent rate in our actual debt, whether it be 62 or 52 or whatever that rate might be, no.

MR. AIKEN:  Okay.  And I think you just -- you said that it would be based on the methodology that you described in Exhibit 5 for the 2016 through 2018 period.  Is that correct?  But based on information from the Board's letter this fall.

MR. GRUE:  Yes, so --

MR. AIKEN:  Yeah.

MR. GRUE:  -- we proposed that we would update all the costs of capital aspects this fall for ROE short-term debt and long-term debt.  Long-term debt is based on the methodology that we put forth, and those same items would be updated again in 2018 for the following two years.

MR. AIKEN:  And when you do that update for the following two years -- well, let me back up for a minute.  For the actual embedded long-term debt rate, for the first three years I take it you are not going to update that.  In other words, you are not going to update, for example, 2018 embedded debt to reflect what you actually borrowed in 2016 and '17.

MR. GRUE:  At this time we don't anticipate having any embedded external financing in place, so it would all be based on the deemed calculation.

MR. AIKEN:  Sorry, can you run that by me again?

MR. GRUE:  So the actual embedded debt is where the holding company flows through any of external financing at its rates that it's achieved.  As a proxy in between, where we don't have any external financing, we calculate it based on the Board's 2009 report methodology, and that's what's been proposed here as part of that deemed annual forecast line and applied to the amounts that we need to borrow in '16, '17, and '18.  That number will be updated, I believe, as we provided in the evidence, on the October consensus long-term forecast.

MR. AIKEN:  Yeah, but my question was, as an example, in -- say you borrow money in 2016 or '17 and the rates and the amounts might be different than what you'd forecast.  Are you proposing to update the long-term debt embedded part for 2018, because that will have changed from what you are forecasting now because of what you did in 2016 and '17.

MR. GRUE:  Yes, I guess it's definition.  I don't see that as being embedded debt, because it is not actual debt that we have gone externally to the markets to achieve.

MR. AIKEN:  It is not embedded now, but it would be embedded then.  I guess that's the problem I'm having is to which way you are going.  I just want to understand which -- that you are not proposing to update the actual embedded debt rate or cost through 2018.

MR. GRUE:  Correct, so we view embedded debt as external financing that we have achieved in the markets versus internal borrowings that the holding company provides to the distribution company.

MR. AIKEN:  When you do the update in 2018 for 2019 and '20, would the embedded long-term debt then reflect what you actually borrowed in 2016, '17, and '18 for going forward for 2019 and '20 rates?

MR. GRUE:  If we'd have done an external financing, it would reflect that, yes.

MR. AIKEN:  Yeah, okay.  What about the capital structure?  Would it be fixed for the first three years, assuming no change this fall.  But it could be changed for the last two years if the Board were to change the deemed capital structure before the fall of 2018?

MR. GRUE:  I think we've moved from (b) to (e) here, but did I respond to that, I think, in EP39 where, if that came up before our decision in 2015 and we were so directed by the Board to use that, we would.  Otherwise we are saying that we are trying to lock in for efficiency purposes and rate-making efficiency, that those rates would not change until 2018.

If it happened in the period of 2016 to 2018, it would be reflected in the 2018 update.

MR. AIKEN:  Okay.  And then finally on the Y factor back in table 13, this is the Y factor for the new facilities, would there be interest included on the balances in this account, or would it simply be the capitalized interest on CWIP that would be included in the account?

MS. BARRIE:  So what we would put in there would be the capitalized -- it would be the regular interest that you would see in a deferral account.  So the OEB rate that comes out quarterly would be adjusted for any balance that was moved into the Y factor account.

MR. AIKEN:  Wouldn't it be the proper accounting to capitalize the interest, and then not have carrying costs on that account?

MS. BARRIE:  So typically -- for instance, with how the smart meters went as -- actually, I'm not sure they were in there long enough to get -- but you would capitalize, yes, your interest.  But once it moves to the Y factor account, if we haven't -- I envision that the amounts would move there prior to clearing them, so it would gain interest on them at that point in time.

MR. AIKEN:  So you are getting a return on capital, even if it's a short term debt rate, on something that hasn't been put in rate base yet?

MS. BARRIE:  Not a return like that you would get on capital.  It would be -- so you wouldn't be getting off the capital piece; you'd be getting off the depreciation piece that you haven't collected yet.

MR. AIKEN:  You don't have depreciation if it's something since CWIP.

MS. BARRIE:  No, but it's not going to move into a Y factor until it's actually in-use or useful.  So while it's used or useful, it would be in CWIP and it would be gaining interest on it.

Once it's moved into a deferral account, it would actually be capitalized.  So you would no longer be gaining interest through work in process.

MR. AIKEN:  So what's your proposal for the Y factor? When the asset is placed in service, are you going to have a rate rider starting in 2017 or 2018 or whenever it goes into service?

MS. BARRIE:  Right.

MR. AIKEN:  You are then going to have a rate rider to recover the revenue requirement of what's in that account?

MS. BARRIE:  Correct.

MR. AIKEN:  Why do you need interest on top of that?  You're collecting the revenue requirement impact, just like it was if it would be in rate base.  But you are also asking for interest on top of that?

MS. BARRIE:  Until you actually start clearing it, however, you are not collecting it.

MR. AIKEN:  But it's not in rate base until you start to clear it.  If it's not in rate base, why are you collecting interest on it?

MS. BARRIE:  Through the deferral account because it is money that you intend to collect FROM the customer, but you are not collecting yet, similar to the other --

MR. AIKEN:  So as ratepayers, we'd be better off if you just put it in rate base, because then we'd only be paying for it once.  Is that what I'm hearing?

MS. BARRIE:  Depending on -- I'm trying to think of the -- the whole point of the Y factor is for the timing, so that's a reason why it's going for the Y factor.  So I guess, thinking about how the timing would work --

MR. AIKEN:  Let's compare the two options then.  Under the Y factor, as I understand it, there is nothing in there until the buildings are placed in service.

And at the same time, you start collecting the revenue requirement impact of that through a rate rider, and also you're collecting interest on the amount in that Y factor account.  That's one option.

The second option is that you treat it as standard CWIP and put it into rate base.  When it goes into rate base, in which case you get the revenue requirement, but you don't get any interest because it is already in rate base and you are getting the revenue requirement.

MS. BARRIE:  I'm not sure if we are talking about the timing of the rate rider, in that the rate rider wouldn't be immediate after the buildings are in use or useful.

There would have to be time to get a mechanism to get those in place, and so interest would be during that intervening time.

MR. AIKEN:  If the building went into service, or one of the buildings went into service in 2017, would you not be collecting a rate rider on that until you came in for your mid-term correction sometime in 2018?

MS. BARRIE:  At this point in time, the buildings aren't forecasted to be in, so the timing would work, yes, to be doing it during the mid-term piece.

MR. AIKEN:  When are your buildings forecasted to be in service?  I thought one was in 2017, and one was in 2018.

MS. COLLIER:  Yes, that's correct, that was in the application.  There have been some recent delays, which is behind the rational for requesting a Y factor.  On a generational type asset of this type, there is lots to consider.

So, we're certainly several months behind the original schedule that was in the application.

MS. BARRIE:  But my point of not coming in until later would be that even if they were in service, depending on the timing, you might not be able -- it may logically make sense to put them in through '19.

MR. AIKEN:  So while you are waiting -- let's put it this way.  While you are waiting to get recovery through the rate rider, you are proposing to include the short term interest rate or the Board's deferral and variance account interest rate on the balance in the Y account.  But there would no longer be any capitalized interest in the amount in the Y factor?

MS. BARRIE:  Right, but those capitalized amounts are also not included in our interest calculations either.

MR. AIKEN:  No, I just wanted to make sure that you not capitalizing interest in this stub period from when it's done to --

MS. BARRIE:  No, I'm not.

MR. AIKEN:  Okay, okay.  My next question is on the response to Energy Probe number 7, part (c), and you touched on this before, a few minutes ago.

The question was:  Why are you using the 2017 fall forecast for inflation, rather than 2018 when we're updating for the cost of capital parameters?

And you indicate that it's a year earlier because the OM&A budgeting is not an exercise that can be done in a condensed manner.

Can you explain to me what you mean by a condensed manner?

MS. JONES:  I think as I suggested earlier, the budget -- I'll defer to Ms. Collier on this.  But the budgeting process is something that -- in a condensed manner, I guess, would be defined as two or three months.  We typically take longer to run it through the process.

MR. AIKEN:  But why should that -- why should your cost affect your revenues and vice versa under a custom IR where there is a de-linking of your costs and revenues?  In other words, your OM&A costs, whether they are adjusted by 2.1 percent or 1.5 percent --

MS. COLLIER:  Yeah, I agree, I don't think that sentence necessarily should be -- should be there in this response.  I think the original rationale behind why we were suggesting two different inflation rates is -- and this is subject to check -- but I believe the Conference Board of Canada only forecast for three years, so when we first put the application in, we could only have a rate from the Conference Board of Canada for three years, so that was the rationale why we would go back and then update it with the information.

But you're absolutely correct.  I mean, we can update that data with the most recent information that's available.

MR. AIKEN:  Okay, okay, that's fine.

My next question is on the response to Energy Probe 11.  And I have to admit I am totally confounded by this answer, because you state in the answer to part (a) that the efficiency adjustment mechanism is an onerous and administratively burdensome monitoring and reporting activities, the costs of which are borne by customers.

We obviously have different ideas of what this efficiency adjustment is, but can you explain what the onerous and -- what is onerous and burdensome?

MS. JONES:  So perhaps, not having had the benefit of being part of the Horizon proceeding, we reviewed what was on pages 31 and 32 of the agreement, and based on a -- our analysis, it appeared that this would be something that would be time-consuming to undertake, and it's unclear at this time what the benefit would be and if there would be a benefit at all, but it would certainly take up resources to produce.

MR. AIKEN:  Would you take it, subject to your understanding that deficiency adjustment in Horizon is basically the difference between the PEG efficiency cohort between your starting point and what you are in each year?

So, for example, if you've started in the middle cohort within a stretch factor of .3, and if you fall in 2016, you fall to .45 or whatever the next worst cohort is, it's that differential times the revenue requirement.  That's the extent of the calculation.

MS. JONES:  So in the evidence that we have put forward we have not proposed to use the PEG cohort as a stretch.

MR. AIKEN:  No, but my question is:  What's onersome (sic) and burdensome of taking the difference between two numbers and multiplying it by a third?  You don't have to do the PEG calculations; they do that themselves.

MS. JONES:  This is an annual exercise, if I'm not mistaken?

MR. AIKEN:  Yes.

MS. JONES:  We'll undertake to have a review of this.

MR. AIKEN:  I think maybe the confusion you are having is you were looking at the asymmetric variance account, which I agree is more complicated in its calculation, and there is a great deal of examples, for example, in the Horizon settlement agreement.

MS. JONES:  Is this what you are referring to in B, response to B?

MR. AIKEN:  Yes.

MS. JONES:  Correct?

MR. AIKEN:  Yeah, okay.  A and B are different items.

MS. JONES:  No, I understand that.

MR. AIKEN:  Yeah.  Okay.  That's fine.

MS. HELT:  So then Mr. Aiken, just to be clear for the record, there was an undertaking given, and it will be given number JTC.33, and it is with respect to Energy Probe number 11.

And can you just specify exactly what the numbers are that you are looking for?

MR. AIKEN:  Well, I'm not looking for numbers, I'm looking for an explanation of what's hard about doing the calculation.

MS. HELT:  All right.  Thank you.

UNDERTAKING NO. JTC1.33:  WITH RESPECT TO ENERGY PROBE NUMBER 11, TO PROVIDE AN EXPLANATION OF WHAT'S HARD ABOUT DOING THE CALCULATION.

MR. AIKEN:  My next and final question or set of questions is on the response to Staff number 2.  And I just want to follow up on some of the responses that are shown beginning on page 3 of 7 in that interrogatory.

In II you say that:

"Hydro Ottawa does not propose to adjust annually for changes in working capital."

So can -- first of all, can you refresh my memory, how have you forecast the cost of power for the five years?

MS. BARRIE:  So we used the long-term energy plan.  It took a current forecast and --

MR. AIKEN:  Yeah.

MS. BARRIE:  Okay.

MR. AIKEN:  So you are going to live with that, with that forecast?

MS. BARRIE:  Yes, we are.

MR. AIKEN:  Okay.  And with the volume forecast as well.

MS. BARRIE:  Yes.

MR. AIKEN:  Yeah.  And on the other side of the working capital is the OM&A.  Would there not be a working capital change as a result of changes in the OM&A which in turn would be based on the updated inflation factor for 2019 and '20, or is that too small to worry about?

So you would be living with the OM&A forecast for '19 and '20 in this proceeding for working capital purposes?

MS. BARRIE:  Correct.

MR. AIKEN:  Okay.  Then (iv):

"Hydro Ottawa does not propose to adjust annually for changes in third-party pass-through charges."

Can you explain to me what that means?  In particular, what adjustments do you make for third-party pass-through costs, or what adjustment that you would not be making?

MS. JONES:  So to the extent possible we were trying to respond to costs that are distribution-specific costs and not those that are necessarily out of our control, so to the extent that these are third-party costs out of our control, then we -- I think we've indicated elsewhere in response to 2 that we would adjust.

MR. AIKEN:  So something like changes in retail transmission rates would be adjusted annually, or would they not?

MS. BARRIE:  We've requested to do those annually.

MR. AIKEN:  Okay.  So this third-party -- I'm trying to think of what is a third-party pass-through cost on the distribution side that is, you know, not RTSRs or low-voltage or commodity costs.

MS. JONES:  And precisely because we couldn't think of any offhand, that were not -- that were distribution-specific.  However, to the extent that -- those that are non-distribution, this is what we've said.

MS. BARRIE:  Note that low-voltage you mentioned we have not requested to adjust.

MR. AIKEN:  Okay, I'm -- I was just confused trying to find out what is a third-party pass-through for a distribution-related cost, not commodity or transmission or low-voltage or whatever.

MS. JONES:  We probably could have responded to this question with perhaps more detail in setting out the difference between what we were interpreting to be distribution versus non-distribution.  We can certainly take that back and put together a more fulsome answer if that's helpful.

# Questions by Mr. Garner:

MR. GARNER:  Can I just -- it's Mark Garner at VECC.  The only one I can think of that comes up sometimes that my client worries about is the returned cheque and the bank charge, and usually in the charge for that there's a flow-through from the bank, and I take it -- I took it from that -- I mean, that was the only one I could think of, and that was going to be fixed, because the other ones, it seems to me, are distribution, or what do you call it, transmission-related type charges, pass-through.

MS. JONES:  So I think for the record we would like to clarify the difference between transmission -- or distribution and non-distribution for the purpose of responding to this question.

MS. HELT:  All right then, so that will be Undertaking JTC.34, and it relates to OEB Staff 4(iv).

UNDERTAKING NO. JTC1.34:  TO CLARIFY THE DIFFERENCE BETWEEN DISTRIBUTION AND NON-DISTRIBUTION RELATING TO OEB STAFF 4(IV).

# Continued Questions by Mr. Aiken:

MR. AIKEN:  And then my final question on this has to do with the Z factor, which I can't find in the response right now, but basically you've listed a number of areas where you've reserved its right, and Mr. Shepherd touched on one of them, being the tax changes.  But there is changes to municipal plans, changes in OEB or government policy, changes in directives from the Ministry or OEB, changes in market rules or OEB codes that have a material impact.

And my question is: What is a materiality threshold that you are proposing for your Z factor, and does it change as your revenues grow?

MS. JONES:  I think we've indicated in the evidence it is 880,000.  At this time, we do not believe that it will change through the course of the plan, the five-year plan.

MR. AIKEN:  Through the course of?

MS. JONES:  However, if it does, then we would be using higher materiality.

MR. AIKEN:  Okay, those are my questions on Exhibit 1A.

MS. HELT:  Thank you, Mr. Aiken.  We have half an hour left.  Mr. Garner, or Mr. Shepherd?

Questions by Mr. Garner:

MR. GARNER:  I have two very probably quick -- probably quick, and can be done within the half hour, at least on Exhibit A.

MS. HELT:  Okay.

MR. GARNER:  Okay.  The first question -- I'm not -- it doesn't have an exhibit, but it is something that was brought up earlier this afternoon and this was about the negative productivity adjustments for OM&A.

I just wanted to make sure I understood clearly the proposal, and how it's working and why.

As I understand it, what you are proposing to do is to adjust your OM&A by inflation, and then this negative productivity factor that you've derived from an average of other studies, correct?

MS. JONES:  That's correct.

MR. GARNER:  So what that says in layman's terms, is it not, that what you are expecting is a decrease in utility productivity over the period of this plan.  Is that a correct characterization?

MS. JONES:  We are expecting to apply a negative factor in the calculation of OM&A costs.  That does not mean that we will not be seeking productivity and efficiency measures.

MR. GARNER:  Okay, that he would be somewhat disconcerting, because as I understand you, what you'd be saying therefore is that we're expecting productivity not to be negative, but we want to increase our OM&A as if were.

So, I mean, it seems to me that if you're asking for a negative productivity, you're suggesting to the Board that you need to compensate for a drop in productivity.

MS. JONES:  What we're suggesting is that distributors' costs may not be sustainably controlled with efficiency measures.  However, we will be doing everything in our power.

MR. GARNER:  Fair enough, I guess -- I'm not trying to be difficult.  What I'm trying to understand is that in the application, is there a place where I can -- or we can see what areas in the operating and maintenance of the utility that you are expecting to see productivity fall?

Is there some place you've identified in your utility you see that productivity is going to be decreasing over the term of this plan, and for some reason?

MS. COLLIER:  No, like those are two completely independent things, in our mind.

The negative productivity factor in the I-minus-X formulaic adjustment is really Hydro Ottawa saying that inflation -- inflation does not cover OM&A cost.  There is lots of productivity built in the plan over the course of the five years, but it's impossible to constrain that to inflation.

MR. GARNER:  But what you are asking ratepayers to pay for is a drop in productivity?

MS. COLLIER:  We are asking them for an increase in total OM&A greater than inflation, and we're using the evidence that Pamela has mentioned to support that formulaic adjustment.

MR. GARNER:  Okay, thanks.  I don't want to get into an argument.

The next question I have is related to VECC Interrogatory No. 3, and we discussed this a little bit earlier also.  We were talking about the workbook and that, but actually this is a question on that response on page 404 of that response.

It talks about the frequent frequencies of outages due to defective equipment having increased 12 percent since 2010.

And as I recall, that 12 percent figure is also used this that workbook in informing customers about the ageing infrastructure.

MS. JONES:  Sorry, could you restate the question?

MR. GARNER:  I would if I'd done the question, yes.  I was just waiting for you to get there.

Here's my question -- my question directly is how that 12 percent was calculated.  But before you answer that, one of the reasons I'm asking this -- and you don't have to bring them up -- but if you did, if you looked at SIA No. 7 and SIA No. 15, there are different calculations to the defective equipment metric.

So I just want to understand how that 12 percent got calculated.  Maybe the way to start this is if you could start with me -- would I be correct to say that there are at least a couple of ways to do that?  You can calculate the defective equipment as a percentage of SAFI or a percentage of SAIDI, and you could calculate it just as the number of outages identified by that cause code, et cetera?

MR. BENNETT:  The defective equipment specifically refers to the CEA categorization of outages, so to speak.  And so it is through the analysis of our annual outage reliability statistics that they come up with the 12 percent in comparing year over year.

Again, the defective equipment is a target for us for our asset management plan.  So as the defective equipment failures go up, then we're trying to address that in being more effective with our asset management plan.

MR. GARNER:  I guess what my question really is -- and maybe we'll need to turn it up.  If you look at SIA interrogatory -- a very long interrogatory, I think it's number -- no, that's figure 17 -- it's No. 7.  You will see a table.  It is actually identified as table SIA No. 17-7, "Defective equipment".  And although it is missing 2010, it shows figures for defective equipment seemingly going in the opposite direction, seemingly improving, not increasing.

There is another table that shows -- I think it is in the other one, and it seems to show -- in SIA No. 15, it seems to show a similar event.  And this is where my confusion arises; it's that there seems to be a difference in that table and the claim that it's been decreasing or -- sorry, getting worse by 12 percent.

MR. BENNETT:  So the defective equipment getting worse by 12 percent, you could have defective equipment increasing, if you like, by 12 percent.  But SAIDI and SAFTI being more heavily influenced by weather, for example, right?

So I can't compare specifically the contribution to SAIFI of defective equipment relates to the 12 percent increase in defective equipment.

MR. GARNER:  Maybe the easiest thing is to do it by way of undertaking, to derive that 12 percent for us and show us how it was derived, so I can -- and again, if you look at SIA 7 and 15, you will see figures in there that seem to apparently go in a different than 12 percent worse, and perhaps that will help understand where my question comes from in deriving that 12 percent.

Could you undertake to do that?

MR. BENNETT:  Sure, we can do that.

MS. HELT:  That will be undertaking JTC.35.

UNDERTAKING NO. JTC1.35:  with reference to SIA No. 15, "defective equipment", to show the calculation of the 12 percent

MR. GARNER:  Earlier I asked you -- and we were talking about page 14 of the Innovative study, and I'd asked but the categories that were listed in that study, about replacing ageing infrastructure, integrating technology.  That was on page 14 of the workbook, and there were four categories there.

I'm wondering if you could -- and I think you'll have to do this by way of undertaking, if you could take those figures, which are 181 million for aging infrastructure, 149.5 million for IT technology, 144.9 for buildings, and 61.9 for serving city growth, and reconcile them with table 1, which -- in response to Energy Probe No. 1, because what I'm having difficulty doing even on a gross basis of the total capital, is putting together what you've told customers is your capital and what you're actually proposing for your capital when you went out and sought their input.  And I may be doing my math wrong, but I get a bit of an order of magnitude difference.

And so you understand the concern where we're going with this is:  One of the things that we want to understand clearly is how you are explaining to customers a capital program is required for reliability and -- of the system and what you are telling them, so one of the things is we want to just make sure we understand what you told them for a capital budget and what you actually are saying right now for a capital budget and how those are congruent or not.

MR. BENNETT:  So just to be clear, you would like to reconcile these categories with the categories that are in the table and hopefully the numbers?

MR. GARNER:  Well, yeah, and hopefully I think as you pointed out earlier they may not be totally matching, and I'm not expecting you to try and totally match them, but if there is a significant dollar difference, if you could explain what, why, and what that's about.

And I was specifically looking at system renewal in there and in the aging-asset one and trying to match those two together, thinking they were the same category, but they may not be, and you may be able to explain that that's not how it was done.  You may be able to explain how actually you mapped those two types of tables together or those two pieces of information together.

MS. COLLIER:  Part of the difference, I think, between the two -- the two pieces of information is the amount of our capital program and the amount that gets capitalized, so it excludes things that are construction in progress, but we'll take the undertaking, and that --

MR. GARNER:  Yes, that could be -- that might be the order of magnitude difference that I'm seeing.

MS. HELT:  And Mr. Garner, which -- it was Table 1 in response to Energy Probe...

MR. GARNER:  1.

MS. HELT:  1?  All right.  So then the undertaking is to reconcile the numbers in Table 1 of Energy Probe 1 with the numbers in the table on page 14 of the Innovative workbook and explain the differences in those numbers, and there is a request to specifically look at both system renewal and aging assets.

MR. GARNER:  Yeah, those two --

MS. HELT:  Does that sum it up?

MR. GARNER:  That's right.  And the only reason just I'm using table 1 from Energy Probe 1 is, if course, you have forecast and proposed, so I thought there might have been a difference in timing when those two things were done and that might be where the difference lies, so I'm not quite certain.

MR. BENNETT:  What was the number again?

MS. HELT:  It was JTC36.

UNDERTAKING NO. JTC1.36:  TO RECONCILE THE NUMBERS IN TABLE 1 OF ENERGY PROBE 1 WITH THE NUMBERS IN THE TABLE ON PAGE 14 OF THE INNOVATIVE WORKBOOK AND EXPLAIN THE DIFFERENCES IN THOSE NUMBERS, AND THERE IS A REQUEST TO SPECIFICALLY LOOK AT BOTH SYSTEM RENEWAL AND AGING ASSETS.

MR. BENNETT:  Have we set a record yet?

MS. HELT:  We're getting close.  It is a good thing we end in 17 minutes for today.

MR. GARNER:  Now, if I can just stay on Table 1 of Energy Probe 1, where you have your forecast and proposed, and I am looking at the system renewal line, and we were talking about defective equipment as a metric.

When you did your adjustments, how do you come to an understanding of whether cutting this budget or -- and I'm using system renewal because I think it's the most a propos for reliability, but you may tell me differently -- how do you make the calculation that you will not be affecting reliability by making the adjustment to the budget?

So this looks like on that line you went in, you had a proposal, and you reduced it, but you clearly had some comfort that you weren't going to reduce it enough to affect reliability.  How did you come to that?  Or maybe -- did you come to that?

MR. BENNETT:  As far as adjusting the budgets, the challenge is always between cost and reliability and looking at the opportunities for it, so most of the system renewal, budget-saving, if you like, was looking at, like, for example, pole replacements, things like that, so things that we thought perhaps we could spread out and look for alternatives, you know, so some of the things, for example, cable replacement, do more cable injection as opposed to actual replacement.  Look for more opportunities for new, less expensive options, potentially.  But there is a challenge for sure.

MR. GARNER:  Okay, thank you.

Now, I want to -- just one final question, and it's on the defective equipment metric that you monitor and track.

Would setting a target for -- and I think you actually in the response to SIA at one point, you said you have done this.

[Cell phone sounds]

In setting a target -- excuse me -- in setting a target for defective -- well, let me -- sorry, let me start over.

Is monitoring your defective equipment metric a good way of understanding the effectiveness of your distribution system plan?

MR. BENNETT:  It's one way.  I mean, we monitor reliability on an ongoing basis.  We have multiple reports that we produce on an ongoing basis.  In fact, our CEO and our chairman meet monthly and review our report on reliability and that sort of thing.

It's a lagging indicator, so to speak, so once the things have failed, then you're looking for ways to improve going forward, for sure, and typically it's not the same assets that are failing.

So you start to address one set of assets in an aging utility like ours, and then another set of assets starts to give you issues.  So I'll say, yes, in a sense it is, but we use it more for ongoing analysis.

MR. GARNER:  Okay, but as I understand it, in your workbook when you try -- you explain to customers, you explain to customers that this was a reason to invest in the plant, was your defective equipment was going up.

So why wouldn't it be a good part of your plan to build in a metric as to whether you are maintaining or improving defective equipment outages, if you've explained to customers that this is a reason to take these large investments in for the utility?

MR. BENNETT:  I'm not going to say it's not a good thing to do.  As I say, from our point of view we do it internally, we use it on an ongoing basis internally, and defective equipment, again, for utility of our age, is an ongoing challenge and will be an ongoing challenge for some time, but...

MR. GARNER:  Okay.  I'll end it -- I think that -- on that -- I'll end where we both agree, so...

MS. HELT:  Thank you, Mr. Garner.

Mr. Shepherd, would you like to start with your questions?

# Questions by Mr. Shepherd:

MR. SHEPHERD:  I can start.  I have a lot of questions on -- sorry, I can start.  I have a lot of questions on Exhibit A, so we're not going to finish in ten minutes, I'm guessing.

Let's start with SEC 1.  We attached two tables to this question, and when you replicated the question you didn't include the tables.  Why not?

MS. JONES:  Pardon me?  Sorry, can you repeat the question?

MR. SHEPHERD:  Is your mic on?

MS. JONES:  Apparently not.

MR. SHEPHERD:  We attached two tables to question 1.  When you replicated the question in providing the answer you didn't include the tables; why not?

MS. JONES:  I think, as you'll see, the response to this question was supplied by our external consultant, and in the answer they indicate that they don't see the comparators that were provided in the table as being appropriate comparators for Hydro Ottawa.

MR. SHEPHERD:  So when you respond to interrogatories you think it's appropriate to exclude parts of interrogatories you don't agree with?

MS. JONES:  We have provided a response based on what we thought we were being asked.

MR. SHEPHERD:  That's not responsive to my question.  My question was:  Why did you not include the whole question in the answer?

MS. JONES:  So I'll read you what we've said in the answer --

MR. SHEPHERD:  Yeah, no, I can read it.  I asked a question --

MS. JONES:  It says the answer --

MR. SHEPHERD:  -- and I want an answer.

MS. JONES:  -- depends on the objective and use of the comparison.

MR. SHEPHERD:  Sorry?

MS. JONES:  So the answer that we had provided --

MR. SHEPHERD:  Yes.

MS. JONES:  -- says the answer to your question depends on the use and objective of the comparison.

MR. SHEPHERD:  How is that relevant to my question?  My question was:  You didn't include the whole question.  Why not?

MS. JONES:  Because we haven't provided a comparison with Ontario utilities; we're not putting that in evidence.

MR. SHEPHERD:  We did; it was in our question.

MS. JONES:  Mm-hmm.

MR. SHEPHERD:  How was it appropriate for you to only provide part of your question when you provide your answer?  I don't understand.

MS. JONES:  So, you would like -- in every answer to interrogatory, Mr. Shepherd, the answer is provided based on the information that we are providing in response.

MR. SHEPHERD:  You are deliberately avoiding the question.

MS. JONES:  I'm not.

MR. SHEPHERD:  The question is very simple.

MS. JONES:  Mm-hmm.

MR. SHEPHERD:  When you respond to an interrogatory, you first copy the question and then you provide your response.  You don't copy part of the question; you copy all of the question.

I'm wondering why didn't you copy all of the question in this case.  What part of the comparison is so embarrassing you couldn't put it in your answer?

MS. JONES:  Sorry, maybe just take me back to what you mean by "copy the question"?

MR. SHEPHERD:  Every one of your --

MS. JONES:  Oh, you want to see.

MR. SHEPHERD:  Every one of your answers has the full question and then your answer.  This one does not.  Why not?

MS. JONES:  So you are looking for us to attach your tables to our answer; is that what you are saying?

MR. SHEPHERD:  Look, I'm asking questions.  You keep asking questions back.  Please just give me an answer to my straightforward, simple question.

MS. JONES:  I'm trying to gain clarification on what you're looking for.  We could attach the tables, but our answer clearly states that we would not be populating it.  Is that what you're --

MR. SHEPHERD:  We didn't ask you to populate it; we populated it.  We asked you whether the data was correct.

MS. JONES:  And the answer that we gave you said it depends on the use and objective of the comparison.

MR. SHEPHERD:  I'm still on this interrogatory response.  Why was your response supplied by PSE?

MS. JONES:  Because PSE is the expert that we have engaged for the purposes of providing our benchmarking expertise.

MR. SHEPHERD:  Yes, but we asked a question about what distributors you feel are not appropriate comparators.  Do you not have an opinion on what distributors are appropriate comparators for Hydro Ottawa?

MS. JONES:  By answering that question, we would be putting forward answer -- we would be putting forward names of utilities which we think are perfect comparators, and we don't agree that there are perfect comparators.

MR. SHEPHERD:  So there are no comparators to Hydro Ottawa in Ontario?

MS. JONES:  We feel that Hydro Ottawa is unique in its circumstances, yes, we do.

MR. SHEPHERD:  All right.  So you would not be -- it would not be appropriate for anyone to compare Hydro Ottawa to Toronto Hydro?  It's just a yes or no.

MS. JONES:  Mr. Shepherd, the comparative benchmarking data that we've put forward is the benchmarking information filed by PSE.

MR. SHEPHERD:  I'm entitled to an answer to the question.  Would it be appropriate for the Board or parties to compare Hydro Ontario to Toronto Hydro?

MS. JONES:  I don't believe it would.  We have a much large much larger rural territory.  Toronto Hydro doesn't.

MR. SHEPHERD:  Would it be appropriate to compare Hydro Ottawa to Powerstream?

MS. JONES:  Is your objective to go down the list of the 70-odd Ontario utilities and ask us which ones we agree we compare to?

MR. SHEPHERD:  You are not allowed to ask the questions; I'm allowed to ask the questions.  You just answer them.  I asked a straightforward question.  I don't --

MS. JONES:  You are asking me whether or not we believe ourselves to be comparable to Powerstream?  Again, I think that if we were to put together a comprehensive study of all the differences between all the different utilities, there would be significant differences.

I think we've put forward in our application that we do see ourselves as being unique.

MR. SHEPHERD:  Okay, but you do feel that you're comparable to the utilities listed in Mr. Fenrick's report?

MS. JONES:  That is the evidence that's being put forward as benchmarking, yes, for benchmarking purposes.

MR. SHEPHERD:  So, yes, you are comparable to those utilities?

MS. JONES:  There might be some differences, but that the data set that he's put forward for benchmarking purposes.

MR. SHEPHERD:  I'm not asking about Mr. Fenrick's opinion; I'm asking about Hydro Ottawa's opinion.

MS. JONES:  And what I am telling you is that Hydro Ottawa has engaged the services of PSE for the purposes of putting together benchmarking information.

MR. SHEPHERD:  So you don't have a separate opinion?

MS. JONES:  About?

MR. SHEPHERD:  About who you are comparable to.

MS. JONES:  Again, like I've said, we see ourselves being a unique large utility with a large rural area.  We serve sensitive customers and are serving a G7 -- the nation's capital.  We are unique in many ways.  I think we've made that clear in our presentation on presentation day.

MR. SHEPHERD:  So then that would hold true for all of the utilities in Mr. Fenrick's list, too, right?  The same principle applies.  None of those utilities are similar in those ways to Hydro Ottawa, are they?

MS. JONES:  I don't presume to know all the details of each and every one of the utilities that Mr. Fenrick has benchmarked against, no, I do not.

MR. SHEPHERD:  Would you undertake to provide us with a list of all utilities that you believe are appropriately comparable to Hydro Ottawa, using the same basis that you've used for Ontario utilities, i.e. nobody is comparable?  So, go through the list --

MS. JONES:  Just for clarification, of the US comparators?

MR. SHEPHERD:  Let me finish.  Go through Mr. Fenrick's list and identify which of those utilities are comparable to Hydro Ottawa, more comparable than any of the Ontario utilities on a utility-by-utility basis.

MS. JONES:  I think I would reiterate that the utility set that was used for benchmarking purposes was a set selected by PSE, based on their expert knowledge of the utility sector and econometric benchmarking.

MR. SHEPHERD:  I asked for an undertaking.

MS. JONES:  Could you repeat exactly what you asked me to do?

MR. SHEPHERD:  The undertaking is -- you've said that none of the utilities on the list that we have provided are comparable to Hydro Ottawa.

Using the same criteria, please go through the list that Mr. Fenrick has provided applying those criteria, and determine which of those utilities you believe are comparable to Hydro Ottawa, if any.  Sauce for the goose.

MS. JONES:  Pardon me?

MR. SHEPHERD:  Sauce for the goose.  You want to apply it one way.   I'm asking you to apply the same criteria to his list.

MS. JONES:  Keeping in mind that the evidence that we are pointing to is the PSE evidence.  But we will undertake to do that for you.

MR. SHEPHERD:  Thank you.

MS. HELT:  All right, we'll note that as undertaking JTC37.

UNDERTAKING NO. JTC1.37:  to go through the list that Mr. Fenrick has provided applying those criteria and determine which of those utilities are comparable to Hydro Ottawa

MS. HELT:  Mr. Shepherd, I'm going to stop you  there --

MR. SHEPHERD:  Let me ask one more question.

MS. HELT:  Is it a short one?

MR. SHEPHERD:  It's short.

MS. HELT:  All right.  Go ahead then.

MR. SHEPHERD:  You were asked in (iii) of this question to -- the question is:  Please explain in detail the applicant's strategy for improving on this performance, that is the PEG measured performance.

MS. JONES:  Sorry, I don't see the reference.

Are you talking about on page 5?

MR. SHEPHERD:  (E)(iii), which is on the first page in the question, "Please explain in detail the applicant's strategy for improving on this performance", and that performance is the efficiency performance measured by PEG.

And your answer on page 5 -- my simple question is: Why is PSE answering that when we're asking for Hydro Ottawa's strategy?

MS. JONES:  Because it presumes that the efficiency assessment being used is the one supplied by the OEB, and the answer is that the appropriate efficiency finding is one supplied by PSE.

MR. SHEPHERD:  So is the appropriate conclusion to draw from this then that Hydro Ottawa has no strategy to improve its PEG-measured performance, the Board efficiency level, over 2016 to 2020?  I'm going to invite you to undertake to give me a Hydro Ottawa answer to that sub-question:  What's your strategy for improving your Board efficiency level in 2016 to 2020?

MS. JONES:  And I guess I would preface that by saying that I think it's been established in other proceedings that the cost to do so might very well outweigh any benefits that customers would otherwise expect to see, but I will undertake to have a look at that.

MR. SHEPHERD:  Great.

MS. HELT:  All right.  So Undertaking JTC.38 is to provide the strategy for improving the efficiency level for the years 2016 to 2020 for Hydro Ottawa.

MR. SHEPHERD:  Based on the Board's measurement.

MS. HELT:  Based on the Board's measurement, correct, and this is in relation to SEC 1(b)(iii).

MR. SHEPHERD:  Thank you.

UNDERTAKING NO. JTC1.38: IN RELATION TO SEC 1(B)(III), TO PROVIDE THE STRATEGY FOR IMPROVING THE EFFICIENCY LEVEL FOR THE YEARS 2016 TO 2020 FOR HYDRO OTTAWA, BASED ON THE BOARD'S MEASUREMENT.

MS. HELT:  All right --

MR. SHEPHERD:  Is that 38?

MS. HELT:  That is JTC38, yes.

# Procedural Matters:

If I can ask, just for the purpose of preparing for tomorrow, we'll continue with Mr. Shepherd.  Do you know how long you will be with --

MR. SHEPHERD:  On A, I'll be at least two hours.

MS. HELT:  Two hours.  I want to make sure we're finished tomorrow.  So then we have no questions from Staff.  We then have panels 2, 4, 5, and 6, and 9.

So overall, Mr. Shepherd, do you have any idea of how long you'll be with all of those panels?

MR. SHEPHERD:  The thing is that A includes a whole bunch of stuff on the other areas.

MS. HELT:  Right.

MR. SHEPHERD:  I would say my total is probably three to three-and-a-half hours.

MS. HELT:  Thank you.  Mr. Aiken?

MR. AIKEN:  Probably an hour, hour and a half.

MS. HELT:  Okay.  So maximum we're at five.  Mr. Garner?

MR. GARNER:  I don't think I'd be an hour.  So less than an hour.

MS. HELT:  Okay.  Let's say five and a half.

MS. GREEY:  I'm finished.

MS. HELT:  You're finished?  And Mr. Clark?  Okay.  So probably about six hours for tomorrow, so then if we start promptly at 9:30 we should have no problems finishing during the day.

All right, so then does anyone else have any other follow-up questions from today?  No.  All right.  So we'll start tomorrow morning 9:30 promptly.  Thank you.

We are in the north hearing room tomorrow.  I don't know why, but we are.

### --- Whereupon the hearing adjourned at 5:03 p.m.