## OUTPUT
Category | Project | Year | Nature of Work | Substation Transformers | Medium-Voltage Reactors | Medium Voltage Circuit Breakers | Pole Mount Transformers | Pad Mount Transformers | Submersible Transformers | Vault Transformers | LIS Switches | SCADAmate Switches | Pad-Mounted Switchgear | Switching Cubicles / Kabar | Underground Primary Cable (km) | Underground Secondary Cable (km) | Overhead Single Phase Primary Conductor (km) | Overhead Three Phase Primary Conductor (km) | Overhead Secondary Conductor (km) | Wood Poles | Concrete Poles | Composite Poles | Underground Distribution Vaults | Manholes / Cable Chambers | Poletrans Units
System Access | Apartment, Commercial, Industrial Customer Connections (CACI) | 2016 | Expansions of Distribution System to Supply New Commercial, Apartment and Industrial Customers | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
System Access | Meter Installations (CMEG) | 2016 | Installation of New Meters and Replacement of Existing Meters | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
System Access | Distribution System Modifications / Expansions for Customers (CMOD) | 2016 | Additions or Modifications to the Distribution System to Accommodate Specific Commercial or Industrial Customers | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
System Access | System Relocation Property Development (CREL) | 2016 | Relocation of Distribution Equipment Due to Third Party Requests | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
System Access | Expansions for New Residential Subdivisions (CRES) | 2016 | Expansion of Distribution System to Service Residential Subdivisions | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
System Access | New Residential Service Connections (CSER) | 2016 | Installation of New Overhead and Underground Services | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
System Access | Expansions for New Residential Townhouse Subdivisions (CTH) | 2016 | Expansion of Distribution System to Service Townhouse Subdivisions | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
System Renewal | Distribution System Replacement (CREP) | 2016 | Various Renewal Based Projects | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 2 | 0 | 0 | 0 | 0.53 | 1.37 | 0.7 | 1.98 | 3.63 | 44 | 8 | 0 | 0 | 0 | 0
System Renewal | 295 Water Street Single Phase UG W/ Secondary UG Cable | 2016 | Underground Cable and Transformer Renewal (Direct-buried Townhouse Site) | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 1 | 1.2 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
System Renewal | Alma St N / Plymouth Crt | 2016 | Overhead Lines and Underground Lines Renewal (Residential Area with Transite Duct) | 0 | 0 | 0 | 6 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.08 | 0.26 | 0.44 | 0 | 1.56 | 19 | 0 | 0 | 0 | 0 | 0
System Renewal | Alma St N / Julia Dr / Drew St | 2016 | Overhead Lines and Underground Lines Renewal (Residential Area with Transite Duct) | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.67 | 0 | 1.77 | 23 | 0 | 0 | 0 | 0 | 0
System Renewal | Arrow Rd | 2016 | Overhead Lines and Underground Lines Renewal (Industrial Area) | 0 | 0 | 0 | 0 | 6 | 0 | 1 | 1 | 0 | 0 | 0 | 1.77 | 0.29 | 0 | 0.92 | 0 | 7 | 0 | 0 | 0 | 0 | 0
System Renewal | Fife (Wellington to Gateway) | 2016 | Overhead Lines Renewal (Concrete Pole Line) | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.7 | 0.14 | 0 | 0.5 | 0.74 | 3 | 11 | 0 | 0 | 0 | 0
System Renewal | Imperial Rd S / Samantha Crt | 2016 | Overhead Lines Renewal | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0.87 | 0 | 1.15 | 0 | 9 | 0 | 0 | 0 | 0 | 0
System Renewal | Elmira Rd South | 2016 | Overhead Lines Renewal | 0 | 0 | 0 | 1 | 4 | 0 | 3 | 0 | 0 | 0 | 0 | 0.76 | 1.85 | 0 | 1.38 | 0 | 12 | 0 | 0 | 0 | 0 | 0
System Renewal | Westgate Dr / Lonsdale Dr / Edinburgh Rd N (Oh) | 2016 | Overhead Lines Renewal (Douglas Fir Poles) | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.44 | 3 | 2.26 | 27 | 0 | 0 | 0 | 0 | 0
System Renewal | Keats UG Rehab | 2016 | Underground Cable and Transformer Renewal (Pole-Trans Removal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8 | 2.8 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 17
System Renewal | Distribution System Transformer Replacement Upgrades (CTRU) | 2016 | Overhead and Underground Transformer Upgrades | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
System Service | Distribution System Feeder Infrastructure (CFDR) | 2016 | Various Feeder Capacity Related Projects | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0.03 | 0 | 1.79 | 1.17 | 26 | 0 | 0 | 0 | 0 | 0
System Service | Edinburgh Rd N / Sultan St | 2016 | Overhead Lines Upgrade (Addition of Second Circuit and Conductor Upgrade - Feeder Extension) | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 1.83 | 1.05 | 18 | 0 | 0 | 0 | 0 | 0
System Service | New 5M53 - Cedar St (Edinburgh to Maple) | 2016 | Underground and Overhead Lines Upgrade (Addition of Second/Third Circuit - New Feeder) | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.84 | 0.02 | 0.33 | 2.69 | 1.8 | 10 | 11 | 0 | 0 | 0 | 0
System Service | Edinburgh Rd S (Municipal to Bristol - West Side) | 2016 | Overhead Lines Upgrade (Addition of Third Circuit - New Feeder) | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0.5 | 0.03 | 0 | 3.8 | 1 | 23 | 0 | 0 | 0 | 0 | 0
System Service | SCADA Infrastructure (CSC) | 2016 | Various SCADA and Radio Support System Upgrade Projects | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
System Service | SCADA / Remotely Operated Switches (CSW) | 2016 | Various SCADAmate Installation Projects | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
System Service | Transformer Stations & Distribution Stations (CTS/CDS) | 2016 | Various Transformer Station Upgrade Projects | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
System Service | Arlen MTS - Series Reactor | 2016 | Transformer Station Upgrade Project | 0 | 3 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0