## 2-SEC-55 OUTPUT
Category | Project | Year | Nature of Work | Substation Transformers | Medium-Voltage Reactors | Medium Voltage Circuit Breakers | Pole Mount Transformers | Pad Mount Transformers | Submersible Transformers | Vault Transformers | LIS Switches | SCADAmate Switches | Pad-Mounted Switchgear | Switching Cubicles / Kabar | Underground Primary Cable (km) | Underground Secondary Cable (km) | Overhead Single Phase Primary Conductor (km) | Overhead Three Phase Primary Conductor (km) | Overhead Secondary Conductor (km) | Wood Poles | Concrete Poles | Composite Poles | Underground Distribution Vaults | Manholes / Cable Chambers | Poletrans Units
System Renewal | Distribution System Replacement (CREP) | 2016 | Various Renewal Based Projects | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 0.529 | 1.373 | 0.702 | 1.978 | 3.631 | 44 | 8 | 0 | 0 | 0
System Renewal | Distribution System Replacement (CREP) | 2015 | Various Renewal Based Projects | 0 | 0 | 0 | 11 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 0 | 2.861 | 0.907 | 1.752 | 3.575 | 51 | 0 | 0 | 0 | 0

## 2-SEC-56 OUTPUT
Category | Project | Year | Nature of Work | Substation Transformers | Medium-Voltage Reactors | Medium Voltage Circuit Breakers | Pole Mount Transformers | Pad Mount Transformers | Submersible Transformers | Vault Transformers | LIS Switches | SCADAmate Switches | Pad-Mounted Switchgear | Switching Cubicles / Kabar | Underground Primary Cable (km) | Underground Secondary Cable (km) | Overhead Single Phase Primary Conductor (km) | Overhead Three Phase Primary Conductor (km) | Overhead Secondary Conductor (km) | Wood Poles | Concrete Poles | Composite Poles | Underground Distribution Vaults | Manholes / Cable Chambers | Poletrans Units
System Renewal | Distribution System Replacement (CREP) | 2016 | Various Renewal Based Projects | 0 | 0 | 0 | 11 | 6 | 0 | 1 | 2 | 0 | 0 | 0 | 0.53 | 1.37 | 0.7 | 1.98 | 3.63 | 44 | 8 | 0 | 0 | 0 | 0
System Renewal | Distribution System Replacement (CREP) | 2015 | Various Renewal Based Projects | 0 | 0 | 0 | 11 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 0 | 2.86 | 0.91 | 1.75 | 3.58 | 51 | 0 | 0 | 0 | 0 | 0
System Renewal | 295 Water Street Single Phase UG W/ Secondary UG Cable | 2016 | Underground Cable and Transformer Renewal (Direct-buried Townhouse Site) | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 1 | 1.2 | 3.5 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0
System Renewal | Alma St N / Plymouth Crt | 2016 | Overhead Lines and Underground Lines Renewal (Residential Area with Transite Duct) | 0 | 0 | 0 | 6 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.08 | 0.26 | 0.44 | 0 | 1.56 | 19 | 0 | 0 | 0 | 0 | 0
System Renewal | Alma St N / Julia Dr / Drew St | 2016 | Overhead Lines and Underground Lines Renewal (Residential Area with Transite Duct) | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.67 | 0 | 1.77 | 23 | 0 | 0 | 0 | 0 | 0
System Renewal | Arrow Rd | 2016 | Overhead Lines and Underground Lines Renewal (Industrial Area) | 0 | 0 | 0 | 0 | 6 | 0 | 1 | 1 | 0 | 0 | 0 | 1.77 | 0.29 | 0 | 0.92 | 0 | 7 | 0 | 0 | 0 | 0 | 0
System Renewal | Fife (Wellington to Gateway) | 2016 | Overhead Lines Renewal (Concrete Pole Line) | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0.7 | 0.14 | 0 | 0.5 | 0.74 | 3 | 11 | 0 | 0 | 0 | 0
System Renewal | Imperial Rd S / Samantha Crt | 2016 | Overhead Lines Renewal | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0.87 | 0 | 1.15 | 0 | 9 | 0 | 0 | 0 | 0 | 0
System Renewal | Elmira Rd South | 2016 | Overhead Lines Renewal | 0 | 0 | 0 | 1 | 4 | 0 | 3 | 0 | 0 | 0 | 0 | 0.76 | 1.85 | 0 | 1.38 | 0 | 12 | 0 | 0 | 0 | 0 | 0
System Renewal | Westgate Dr / Lonsdale Dr / Edinburgh Rd N (Oh) | 2016 | Overhead Lines Renewal (Douglas Fir Poles) | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.15 | 0.44 | 3 | 2.26 | 27 | 0 | 0 | 0 | 0 | 0
System Renewal | Keats UG Rehab | 2016 | Underground Cable and Transformer Renewal (Pole-Trans Removal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8 | 2.8 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 0 | 17
System Renewal | Deerfield Pl Pole Trans | 2015 | Underground Cable and Transformer Renewal (Pole-Trans Removal) | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0.33 | 0.37 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
System Renewal | Imperial Rd N North of Paisley | 2015 | Overhead Lines and Underground Lines Renewal (Douglas Fir Poles) | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 1 | 1 | 0 | 0 | 1.69 | 0.16 | 0 | 0.92 | 0.23 | 11 | 0 | 0 | 0 | 0 | 0
System Renewal | Paisley St West of Norfolk | 2015 | Overhead Lines Renewal | 0 | 0 | 0 | 6 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0.19 | 0.06 | 0 | 0.41 | 0.95 | 12 | 0 | 0 | 0 | 0 | 0
System Renewal | Willow Rd At Applewood | 2015 | Underground Cable and Transformer Renewal (Direct-buried Townhouse Site) | 0 | 0 | 0 | 1 | 4 | 0 | 2 | 0 | 0 | 0 | 0 | 0.35 | 0.74 | 0 | 1.13 | 0.14 | 8 | 0 | 0 | 0 | 0 | 0
System Renewal | Rickson Ave UG Rehab | 2015 | Underground Cable and Transformer Renewal (Pole-Trans Removal) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 5.25 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 26