## Sys Access
Projects |  | Projects | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
System Access | 2010 | System Access
| 2010 | New Services | [5 empty] | 60456 | [10 empty] | 60456
| 2010 | Logan Subdivision - Ketch Construction |  |  |  | 3290 |  | 3950 | [10 empty] | 7240
| 2010 | New Service on Minto St. - Beachburg | 1310 | 441 |  |  |  | 621 | [10 empty] | 2372
| 2010 | Line Extension 3 Fern Gully Lane Beachburg | 1364 | 1512 |  |  |  | 995 | [10 empty] | 3871
| 2010 | Shepard St. Pump Station Upgrade | [16 empty] | 0
| 2010 | 351 Matheson Dr - Townhouses |  |  |  | 3655 |  | 225 | [10 empty] | 3880
| 2010 | Blakely St Townhouses - Ryan Habraken Carpentry |  |  |  | 3320 |  | 808 | [10 empty] | 4128
| 2010 | Integrated Health Centre | [5 empty] | 639 | [10 empty] | 639
| 2010 | Microfit Connection | [5 empty] | 786 | [10 empty] | 786
| 2010 | Hydro One Networks - Walmart Tap | 43897 | [15 empty] | 43897
| 2010 | Enerdu - APT Service |  |  |  | 5937 |  | 1487 | [10 empty] | 7424
| 2010 | Transformers |  |  |  |  | 100224.54 | [11 empty] | 60897
| 2010 | Meters | [7 empty] | 10436 | [8 empty] | 10436
Total System Access |  | Total System Access | 46571 | 1953 | 0 | 16202 | 100224.54 | 69967 | 0 | 10436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 206026
Projects |  | Projects | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 |  |  | Total
System Access | 2011 | System Access
| 2011 | New Services | [5 empty] | 33106 |  | 5018 | [8 empty] | 38124
| 2011 | MicroFit Connections | [7 empty] | 1223.66 | [8 empty] | 1223.66
| 2011 | Enerdu Apartment |  |  |  |  | 13959 | [11 empty] | 13959
| 2011 | Ottawa Street |  | 312 |  | 42103 | 2545.59 | 31791 |  | 1445.54 | [8 empty] | 78197.13
| 2011 | Patterson St - Line Extension | 27821 | [15 empty] | 27821
| 2011 | Equators Grind |  |  |  |  | 13562 | [11 empty] | 13562
| 2011 | Almonte Mews - Anne St - Townhouse project | 1609 | 1643 |  | 28927 | 1413 | 121 |  | 293.35 | [8 empty] | 34006.35
| 2011 | Noik @ Bell St - 12 Townhouses - Ken Siegel |  |  |  | 2096 |  | 2883 | [10 empty] | 4979
| 2011 | 375 Country St, - 18 Unit Apt. | [7 empty] | 1329.43 | [8 empty] | 1329.43
| 2011 | New Algonquin College |  |  | 54240 |  | 746.31 |  |  | 1383.45 | [8 empty] | 56369.76
| 2011 | Hyde Park Condominium - Jamieson St. | 126 | 3825 |  | 1202 | 2872.75 | [11 empty] | 8025.75
| 2011 | Rondeau Electric Mackay St | 1310 | 1472 |  | 5587 | [12 empty] | 8369
| 2011 | Crozier Electric. | 2616 | 3084 |  |  | 2064.04 | [11 empty] | 7764.04
| 2011 | Transformers |  |  |  |  | 75699 | [11 empty] | 75699
Total System Access | 2011 | Total System Access | 33482 | 10336 | 54240 | 79915 | 112861.69 | 67901 | 0 | 10693.43 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 369429.12
Projects |  | USoA | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 |  |  | 1925 | 1930 | 1940 | 1955 | 1980 | Total
System Access
New Services | 2012 | [6 empty] | 43699.86 |  | 4333 | [8 empty] | 48032.86
Beachburg Line Extension | 2012 | [5 empty] | 1870 | [11 empty] | 1870
Almonte Mews - Anne St - Townhouse project | 2012 | [6 empty] | 966.67 |  | 128.92 | [8 empty] | 1095.59
Noik @ Bell St - 12 Townhouses - Ken Siegel | 2012 |  |  |  | 550 | 2528 | [12 empty] | 3078
New Algonquin College | 2012 |  |  |  | 569.41 |  | 18188.4 |  |  | 477.47 | [8 empty] | 19235.28
Frank Neighbour Street Extension | 2012 |  |  |  | 729.66 | 2735 | [12 empty] | 3464.66
Hyde Park Condominium - Jamieson St. | 2012 |  |  |  |  | 11235.38 | 21394.39 |  |  | 514.13 | [8 empty] | 33143.9
Rondeau Electric Mackay St | 2012 |  |  |  |  | 6875.77 | 11682 | [11 empty] | 18557.77
Crozier Electric. | 2012 |  |  | 538 |  |  | 4286.67 | [11 empty] | 4824.67
Holiday Inn Suites - Good Night Hotel Inc | 2012 |  |  |  | 586 | 5840 | 391 |  |  | 500.9 | [8 empty] | 7317.9
LCBO - 1050 Pembroke St E - MARNAC Developement | 2012 |  | 3664 | 4515 |  |  | 3293.88 |  |  | 793.63 | [8 empty] | 12266.51
Lakeridge Trail Phase Ph 2 Poleline Extension | 2012 |  | 6304 | 11052 |  |  | 1404.58 | [11 empty] | 18760.58
CW Homes - 559 Nelson St - Townhomes | 2012 |  |  |  | 1210 | [13 empty] | 1210
Poleline Extension - Fern Gulley Lane | 2012 |  | 3244 | 1761 |  |  | 1347.25 | [11 empty] | 6352.25
Seigel Developement - Bell & Patricia St | 2012 |  | 4820 |  |  |  | 38 | 111 | [10 empty] | 4969
Reginal Homes - Mill Run Phase 1A | 2012 |  |  |  |  | 9654 | 1160.66 | 916 | [10 empty] | 11730.66
???? | 2012 |  |  | 18227 | [14 empty] | 18227
Transformers | 2012 | [5 empty] | 17048 | [11 empty] | 17048
0
Total System Access |  |  | 18032 | 36093 | 3645.07 | 38868.15 | 82104.83 | 45693.53 | 0 | 6748.05 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 231184.63
Projects |  | USoA | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
System Access
New Services | 2013 | [6 empty] | 35845.84 |  | 7266 | [8 empty] | 43111.84
Almonte Mews - Anne St - Townhouse project | 2013 | [6 empty] | 4288 |  | 619.57 | [8 empty] | 4907.57
Seigel Developement - Bell & Patricia St | 2013 |  | 6295 |  |  |  | 47005 | 39605 | [10 empty] | 92905
Reginal Homes - Mill Run Phase 1A , | 2013 |  | 4141 | 5045 | 736 | 24754 | 772 | 26842 |  | 256.5 | [8 empty] | 62546.5
Creek Side Towns - Novatech Engineering | 2013 |  | 2401 |  | 118 |  |  | 4359 |  | 914.53 | [8 empty] | 7792.53
Everett St - 3 Unit Townhouse. | 2013 | [6 empty] | 340 | [10 empty] | 340
Watchorn Drive Line Extension | 2013 |  | 14730 | 14282 |  |  | 2124 | 2986 | [10 empty] | 34122
Vera Cres; Install 2 Polls - Jeff Johnson | 2013 |  | 2435 | 2774 | [14 empty] | 5209
Lowe Court - Beachburg | 2013 |  | 3062 | 3088 | [14 empty] | 6150
Transformers | 2013 | [5 empty] | 45858 | [11 empty] | 45858
Total System Access |  |  | 33064 | 25189 | 854 | 24754 | 49901 | 114265.84 | 0 | 9056.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 302942.44
Projects |  | Projects | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
System Access |  | System Access
| 2014 | New Services - Capital |  |  |  |  | 30623 | 39886.69 |  | 16558.91 | [8 empty] | 87068.6
| 2014 | Micro Fit Connections | [7 empty] | 1984 | [8 empty] | 1984
| 2014 | Anne St Townhouses | [5 empty] | 1935.14 |  | 315.08 | [8 empty] | 2250.22
| 2014 | Noik Drive - 12 unit Apt |  |  |  |  | 889.5 | 443.53 | [10 empty] | 1333.03
| 2014 | Seigel Dev - Bell & Patricia St |  |  |  | 5672.83 | 41.4 | [11 empty] | 5714.23
| 2014 | OPP Detachment - Install UG Primary XLPE Cable |  |  | 9139.48 | 15552.04 | 21089.45 |  |  | 97.87 | [8 empty] | 45878.84
| 2014 | Fibre - Install duct from SW16 to OPP Building |  |  | 1370.33 | [13 empty] | 1370.33
| 2014 | Watchorn U/G Line Extension - Load Transfer |  |  | 28289.97 | 7500.55 | 6128.07 | 4113.83 | [10 empty] | 46032.42
| 2014 | Mill Run - Phase 1 B Developement |  |  | 676.69 | 69022.02 | 11715.28 | 21184.68 |  | 340.88 | [8 empty] | 102939.55
| 2014 | U/G Services - Townhouses - 329-339 Matheson Dr | [5 empty] | 3110.63 | [10 empty] | 3110.63
| 2014 | New Gas Station - Almonte |  |  |  |  | 14469.85 | 537.51 |  | 111.22 | [8 empty] | 15118.58
| 2014 | Almonte - New Transformer Bank - Spring St Pumping Station |  |  |  |  | 15598.67 | 465.31 |  | 110.36 | [8 empty] | 16174.34
| 2014 | Install Transformer Bank - Stinson Paul Martin Drive |  |  |  |  | 7541.31 | 343.61 |  | 175 | [8 empty] | 8059.92
| 2014 | Rd Crossing - McKenzie St Development | 1124.57 | 537.96 | [14 empty] | 1662.53
| 2014 | Construct Line - Loadtransfer Cust. @ 68 Watchorn Rd | 1006.5 | 726.34 | [14 empty] | 1732.84
Total System Access |  | Total System Access | 2131.07 | 1264.3 | 39476.47 | 97747.44 | 108096.53 | 72020.93 | 0 | 19693.32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 340430.06
Projects |  | Projects | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
System Access | 2015 | System Access | [16 empty] | 0
0012 | 2015 | New Services | 20000 | 60000 | 53000 | 100000 | 80000 | 35000 |  | 10000 | [8 empty] | 358000
| 2015 | Commercial | 10000 | 30000 | 20000 | 50000 | 42500 | 15500 |  | 5000 | [8 empty] | 173000
| 2015 | Scattered Residential Pembroke |  | 20000 |  | 15000 | 8000 | 25500 |  | 4500 | [8 empty] | 73000
| 2015 | Scattered Residential Beachburg |  | 5000 |  | 13650 | 2000 | 5000 |  | 1500 | [8 empty] | 27150
| 2015 | Scattered Residential Killaloe |  | 5000 |  |  | 2000 | 5000 |  | 1500 | [8 empty] | 13500
| 2015 | Scattered Residential Almonte |  | 15000 |  |  | 6000 | 15000 |  | 3000 | [8 empty] | 39000
0
Total System Access |  | Total System Access | 30000 | 135000 | 73000 | 178650 | 140500 | 101000 | 0 | 25500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 683650
Projects |  | Projects | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
System Access |  | System Access
| 2016 | Scattered Residential Development Conductors |  | 20500 | [14 empty] | 20500
| 2016 | Scattered Residential Development Poles | 17500 | [15 empty] | 0
| 2016 | Scattered Residential Development Service wire | [5 empty] | 50500 | [10 empty] | 50500
| 2016 | Scattered Residential Development Smart Meters Residential | [7 empty] | 10500 | [8 empty] | 10500
| 2016 | Scattered Residential Development Transformers |  |  |  |  | 18000 | [11 empty] | 18000
| 2016 | Various Almonte Subdivisions |  |  |  | 70650 | [12 empty] | 70650
| 2016 | Various Almonte Subdivisions Services | [5 empty] | 31500 | [10 empty] | 31500
| 2016 | Various Almonte Subdivisions Smart Meters Residential | [7 empty] | 10700 | [8 empty] | 10700
| 2016 | Various Commercial Development Metering | [7 empty] | 7500 | [8 empty] | 7500
| 2016 | Various Commercial Development OH Conductor |  | 11000 | [14 empty] | 11000
| 2016 | Various Commercial Development Poles | 7000 | [15 empty] | 0
| 2016 | Various Commercial Development Transformers |  |  |  |  | 57000 | [11 empty] | 57000
| 2016 | Various Commercial Development UG Cable |  |  |  | 18000 | [12 empty] | 18000
| 2016 | Various Pembroke Subdivisions |  |  |  | 75000 | [12 empty] | 75000
| 2016 | Various Pembroke Subdivisions Services | [5 empty] | 19000 | [10 empty] | 19000
| 2016 | Various Pembroke Subdivisions Smart Meters Residential | [7 empty] | 14000 | [8 empty] | 14000
| 2016 | Various Subdivision Transformers |  |  |  |  | 62500 | [11 empty] | 62500
0
Total System Access |  | Total System Access | 24500 | 31500 | 0 | 163650 | 137500 | 101000 | 0 | 42700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 476350

## Sys Ren
System Renewal |  | System Renewal | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
|  | Minor Capital Betterments | 10406 | 26036 |  |  |  | 4045 | [10 empty] | 40487
Renewal | 2010 | Farm St @ Almonte Lane Relocation | 2008 | 8234 | [14 empty] | 10242
| 2010 | Ottawa Street |  | 31240 |  |  |  | 10616 | [10 empty] | 41856
| 2010 | Sub-Station 1 in Almonte Rebuild | [6 empty] | 135131 | [9 empty] | 135131
| 2010 | River Road - Bus Betterment |  | 549 |  |  |  | 50 | [10 empty] | 599
| 2010 | Replace Poles/Secondary Transformer - Craig St |  | 8388 | [14 empty] | 8388
| 2010 | Remove Lines - Bell St. and Angus Campbell Drive | 6386 | 15341 | 39667 | 59547 | [12 empty] | 120941
| 2010 | Morris St - Extension |  | 7100 | [14 empty] | 7100
| 2010 | Quarry Road - City Yard | 5791 | 1771 |  |  |  | 299 | [10 empty] | 7861
| 2010 | Replace Pole & Transfer Backlot - 498 Cecelia St | [5 empty] | 724 | [10 empty] | 724
| 2010 | Install Transformer - 40 Watchorn Rd Beachburg | 1581 | 815 |  |  |  | 1032 | [10 empty] | 3428
| 2010 | Florence St. 44KV Airbrake Switch | 11140 | 15922 |  |  |  | 8630 | [10 empty] | 35692
| 2010 | Replace NRTC 35' with ORPC 40' Pole - 59 Robertson Rd | 843 | 498 |  |  |  | 567 | [10 empty] | 1908
| 2010 | Moffat St. Betterment 623 to 698 | 12217 | 16260 |  |  |  | 6386 | [10 empty] | 34863
| 2010 | Alexander St. Rebuild | 6186 | 1693 | 926 |  |  | 437 | [10 empty] | 9242
| 2010 | Beachburg Road Line Upgrade | 14089 | 9787 |  |  |  | 266 | [10 empty] | 24142
| 2010 | Substation 4 -Pole Storage Building | [6 empty] | 31317 | [9 empty] | 31317
Sub-Total System Renewal |  | Sub-Total System Renewal | 70647 | 143634 | 40593 | 59547 | 0 | 33052 | 166448 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 513921
System Renewal |  | System Renewal | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 |  |  | Total
| 2011 | Minor Capital Betterments | 15928 | 16372 |  |  | 5167.22 | 900 | [10 empty] | 38367.22
| 2011 | Ottawa Street |  | 3213 |  |  | 3798.01 | 16765 | [10 empty] | 23776.01
| 2011 | Alexander St Rebuild | 1750 | 31718 | 4642 | 19589 | 3753.75 | 438 |  | 595.15 | [8 empty] | 62485.9
| 2011 | Beachburg Road Line Upgrade | 8105 | 44971 |  |  | 2354.83 | 4367 | [10 empty] | 59797.83
| 2011 | Line Upgrade - Laurier Ave | 5325 | 6389 |  |  |  | 4045 | [10 empty] | 15759
| 2011 | Ellis Avenue Line Upgrade | 5605 | 8029 |  |  |  | 100 | [10 empty] | 13734
| 2011 | Replace Feeder Cables in Substation #3 |  |  |  |  | 1560.09 |  | 18919 | [9 empty] | 20479.09
| 2011 | Cassidy's Transfer Service Upgrade Warehouse 1001 Mackay St | 218 |  |  |  |  | 1114 | [10 empty] | 1332
| 2011 | Substation 4 Storage Building | [6 empty] | 27438 | [9 empty] | 27438
| 2011 | Substation 7 - New Batteries | [6 empty] | 10250 | [9 empty] | 10250
| 2011 | Substation 1 in Almonte - Completion | [6 empty] | 34006 | [9 empty] | 34006
0
Sub-Total System Renewal |  | Sub-Total System Renewal | 36931 | 110692 | 4642 | 19589 | 16633.9 | 27729 | 90613 | 595.15 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | 307425.05
System Renewal |  | System Renewal | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 |  |  | 1925 | 1930 | 1940 | 1955 | 1980 | Total
| 2012 | Minor Capital Betterments | 25215 | 67202 |  |  | 20176.77 | 3474 |  | 17847.5 | [8 empty] | 133915.27
| 2012 | Energy Retrofit at Substation 1 | [6 empty] | 4460 | [9 empty] | 4460
| 2012 | Fraser St. Reconductoring |  | 307 | [14 empty] | 307
| 2012 | Maple St. Reconductoring | 6258 | 55694 |  |  | 2489.5 | 911 | [10 empty] | 65352.5
| 2012 | Martin St. Betterment | 64 | [15 empty] | 64
| 2012 | Pole Replacement on Coolidge - Fire - Behind 247 Mackenzie | 1380 | 2119 | [14 empty] | 3499
| 2012 | Replace Poles & Reconductor - Pemb W & Renfrew St | 5882 | 2093 |  |  | 3592.34 | [11 empty] | 11567.34
| 2012 | Replace 44 KV Pole - Angus Campbell Dr | 3947 | 1470 |  | 5091 | [12 empty] | 10508
| 2012 | Repole 44Kv Line From Superior Elec To Quarry | 27525 | 49690 |  |  | 9865.47 | [11 empty] | 87080.47
| 2012 | Install Transformer at Mikes Garage in Killaloe |  |  |  |  | 1495 | [11 empty] | 1495
| 2012 | Killaloe Reclosure |  | 24875 | [14 empty] | 24875
| 2012 | Battery Packs Sub 3 & 7 | [6 empty] | 1717.33 | [9 empty] | 1717.33
0
Sub-Total System Renewal |  | Sub-Total System Renewal | 70271 | 203450 | 0 | 5091 | 37619.08 | 4385 | 6177.33 | 17847.5 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 344840.91
System Renewal |  | System Renewal | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
| 2013 | Minor Capital Betterments | 13709 | 37961 |  |  | 18652 | 2511 |  | 223.62 | [8 empty] | 73056.62
| 2013 | Fraser St. Reconductoring |  | 89235 | [14 empty] | 89235
| 2013 | Maple St. Reconductoring | 135 | [15 empty] | 135
| 2013 | Martin St. Betterment | 75333 | 16465 |  |  |  | 523 | [10 empty] | 92321
| 2013 | Replace 3 Poles & Reconductor - Pemb W & Renfrew St |  | 6976 |  |  | 2611 | 1388 | [10 empty] | 10975
| 2013 | Repole 44Kv Line From Superior Elec To Quarry |  | 6638 | [14 empty] | 6638
| 2013 | Mackay St - 44 KV Ecress Sub #4 | 30107 | 30440 | 1210 | 9106 | 1008 | [11 empty] | 71871
| 2013 | Beachburg Fire - 1888 Beachburg Rd (15 KVA Transformer) | 2815 | 3590 |  |  | 1735 | 304 | [10 empty] | 8444
| 2013 | Replace 3 44 KV Poles McKenzie St | 6297 | 8138 | [14 empty] | 14435
| 2013 | Substation 2 | [6 empty] | 40093 | [9 empty] | 40093
0
Sub-Total System Renewal |  | Sub-Total System Renewal | 128396 | 199443 | 1210 | 9106 | 24006 | 4726 | 40093 | 223.62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 407203.62
System Renewal |  | System Renewal | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
0
| 2014 | Minor Capital Betterments | 20668.26 | 57015.59 |  |  | 22561.07 | 146.2 | 1185.94 | [9 empty] | 101577.06
| 2014 | Fraser St - Reconductoring |  | 52559.22 | [14 empty] | 52559.22
| 2014 | Martin St Betterment | 1477.36 | 82137.54 |  |  | 2975.91 | 33.86 | [10 empty] | 86624.67
| 2014 | Replace Defective UG Riser Pole - 240 Reynolds Ave | 1456.11 | 799.55 |  | 1259.85 | [12 empty] | 3515.51
| 2014 | Almonte 44 KV Betterment Hwy 15 to Sub #2 | 28283.83 | 33451.51 | [14 empty] | 61735.34
| 2014 | Robertson Rd Rebuild - Beachburg | 14504.61 | 38207.05 |  |  | 5814.96 | 2854.45 | 3589.61 | [9 empty] | 64970.68
| 2014 | Install 35" Guy Stub Pole Anchor & Transfer - 968 Reynolds A | 768.28 | [15 empty] | 768.28
| 2014 | Replace Transformer 75 Kva to 50 Kva - 386 Morris St |  |  |  |  | 6018.96 | [11 empty] | 6018.96
| 2014 | Reroute Primary - International Drive |  |  | 1569.32 | 8122.63 | 4342.3 |  | 172 | [9 empty] | 14206.25
| 2014 | Reconductor McGee St With 4/0 / 1/0 Bus |  | 15628.09 |  |  | 1004.46 | 353.12 | [10 empty] | 16985.67
| 2014 | Install OH 120V Secondary - Bell St |  | 1854.46 | [14 empty] | 1854.46
| 2014 | Replace 2 Poles & Transfer @ Cameron St | 2354.97 | 2479.51 | [14 empty] | 4834.48
| 2014 | Reinsulate 15 KV Line - Bennet & Julien St |  | 8966.84 | [14 empty] | 8966.84
| 2014 | Fraser St - 5 KV -Convert to Armless Construction |  | 3690 | [14 empty] | 3690
| 2014 | Install 44 KV Switches - 260 Fraser St |  | 3575 | [14 empty] | 3575
| 2014 | Install 2 45' Poles - John St @ Ryan St Killaloe | 2818.8 | 1154.54 | [14 empty] | 3973.34
| 2014 | Upgrade Secondary Conductor - Everett St |  | 2989 | [14 empty] | 2989
| 2014 | Sub 3 Ground Grid | [6 empty] | 10468 | [9 empty] | 10468
| 2014 | Sub 6 Ground Grid | [6 empty] | 10468 | [9 empty] | 10468
0
Sub-Total System Renewal |  | Sub-Total System Renewal | 72332.22 | 304507.9 | 1569.32 | 9382.48 | 42717.66 | 3387.63 | 25883.55 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 459780.76
System Renewal |  | System Renewal | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
| 2015 | Scattered Pole replacement Pembroke | 43000 |  |  |  | 5500 | [11 empty] | 48500
| 2015 | Scattered Pole replacement Almonte | 15000 |  |  |  | 2000 | [11 empty] | 17000
| 2015 | Scattered Pole replacement Beachburg | 4000 |  |  |  | 1000 | [11 empty] | 5000
| 2015 | Scattered Pole replacement Killaloe | 4000 |  |  |  | 1000 | [11 empty] | 5000
| 2015 | Minor Capital Betterments Pembroke | 31820 | 43000 |  | 30000 | 19000 | [11 empty] | 123820
| 2015 | Minor Capital Betterments Almonte | 24000 | 25000 |  | 25000 | 12000 | [11 empty] | 86000
| 2015 | Minor Capital Betterments Beachburg | 1500 | 3500 |  | 5000 | 3000 | [11 empty] | 13000
| 2015 | Minor Capital Betterments Killaloe | 1500 | 3500 |  | 5000 | 3000 | [11 empty] | 13000
| 2015 | Fisher St. to Trafalgar | 0 | [15 empty] | 0
| 2015 | Sub 4 Behind Remi Auto | 0 | [5 empty] | 10000 | [9 empty] | 10000
| 2015 | Sub 2 44 kV cement Pole | 0 | [15 empty] | 0
| 2015 | Pembroke Substation Condition Assessment | [6 empty] | 20000 | [9 empty] | 20000
| 2015 | [17 empty] | 0
| 2015 | Substation Testing and assesment | [6 empty] | 14500 | [9 empty] | 14500
| 2015 | Sub 3 Replace Pole structure at station entrance | 0 | [15 empty] | 0
| 2015 | Pembroke roads |  |  | 0 | 0 | 0 | [11 empty] | 0
| 2015 | Replace cedar poles at Mackay | 0 | [15 empty] | 0
| 2015 | Replace Bell poles |  | 0 | [14 empty] | 0
| 2015 | Meters | [7 empty] | 49500 | [8 empty] | 49500
0
Sub-Total System Renewal |  | Sub-Total System Renewal | 124820 | 75000 | 0 | 65000 | 46500 | 0 | 44500 | 49500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 405320
System Renewal |  | System Renewal | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
| 2016 | Pembroke Substation testing | [6 empty] | 29000 | [9 empty] | 29000
| 2016 | Pole Replacement | 46000 | [15 empty] | 0
| 2016 | Pole Replacement - Line betterments | 14200 | [15 empty] | 0
| 2016 | Pole Replacement - Line betterments | 14200 | [15 empty] | 0
| 2016 | Pole Replacement - Line betterments | 11700 | [15 empty] | 0
| 2016 | Pole Replacement - Line betterments conductors |  | 44500 | [14 empty] | 44500
| 2016 | Pole replacement Bell Killaloe | [16 empty] | 0
| 2016 | Transformer replacement Program |  |  |  |  | 24500 | [11 empty] | 24500
| 2016 | Pole Replacement | [16 empty] | 0
| 2016 | Pole Replacement - Line betterments transformers |  |  |  |  | 10000 | [11 empty] | 10000
0
Sub-Total System Renewal |  | Sub-Total System Renewal | 86100 | 44500 | 0 | 0 | 34500 | 0 | 29000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108000

## Sys Serv
System Service |  | System Service | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
1647 | 2014 | Replace Collectors in Almonte With Pole Mount Colle | [7 empty] | 12215.84 | [8 empty] | 12215.84
1652 | 2014 | Install New Viper Mount Reclosure - Mill St Killaloe |  | 35561.57 |  |  |  | 4875.84 | [10 empty] | 40437.41
1709 | 2014 | SUB 2 - Rebuild | 267.13 | 3265.67 | 2834.9 | 68900.61 | 7275.92 |  | 52752 | [9 empty] | 135296.23
1725 | 2014 | Subs 2 & 3 - Inspection and Testing - Almonte | [6 empty] | 28828 | [9 empty] | 28828
0
0
Sub-Total System Service |  | Sub-Total System Service | 267.13 | 38827.24 | 2834.9 | 68900.61 | 7275.92 | 4875.84 | 81580 | 12215.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 216777.48
System Service |  | System Service | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
| 2015 | Substation 3 | [6 empty] | 40000 | [8 empty] | 0 | 40000
| 2015 | Almonte Sub 2 & 3 | [6 empty] | 30000 | [8 empty] | 0 | 30000
| 2015 | Substation 6 | [6 empty] | 25000 | [8 empty] | 7000 | 32000
0
Sub-Total System Service |  | Sub-Total System Service | 0 | 0 | 0 | 0 | 0 | 0 | 95000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7000 | 102000
System Service |  | System Service | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
| 2016 | Almonte MS-2 44 kV conductor upgrades |  | 58100 | [14 empty] | 58100
| 2016 | Engineering Studies | [6 empty] | 86000 | [9 empty] | 86000
| 2016 | Almonte MS-2 44 kV pole upgrades | 27100 | [15 empty] | 0
| 2016 | Almonte Feeder MS-2 (2F2) conductor upgrades | [16 empty] | 0
| 2016 | Almonte Feeder Reclosing relay MS 2 |  | 24300 | [14 empty] | 24300
| 2016 | Almonte Feeder Reclosing relay MS 3 |  | 18500 | [14 empty] | 18500
| 2016 | Almonte MS 3 feeder cables |  | 14300 | [14 empty] | 14300
| 2016 | Electronic Protective relays | [6 empty] | 16500 | [9 empty] | 16500
| 2016 | Scada upgrade | [15 empty] | 45000 | 45000
| 2016 | Outage Management System | [15 empty] | 78000 | 78000
| 2016 | Pembroke MS 6 Ground Grid | [6 empty] | 12000 | [9 empty] | 12000
| 2016 | Pembroke MS 6 Ground Grid | [6 empty] | 50000 | [9 empty] | 50000
| 2016 | Pembroke Substation MS 2 | [8 empty] | 38000 | [7 empty] | 38000
| 2016 | SCADA connections Almonte MS-1 | [15 empty] | 7000 | 7000
Sub-Total System Service |  | Sub-Total System Service | 27100 | 115200 | 0 | 0 | 0 | 0 | 164500 | 0 | 38000 | 0 | 0 | 0 | 0 | 0 | 0 | 130000 | 447700

## Gen Plant
General Plant |  | General Plant | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
| 2010 | Building Accesibility | [8 empty] | 14386.46 | [7 empty] | 14386.46
| 2010 | Upgrade office furniture for service department | [9 empty] | 5883 | [6 empty] | 5883
| 2010 | Upgrade two PC's from 2003 | [10 empty] | 2297 | [5 empty] | 2297
| 2010 | Hansen Software | [11 empty] | 1050 |  |  |  |  | 1050
| 2010 | TCG Computers | [11 empty] | 2450 |  |  |  |  | 2450
| 2010 | BTS- Accpac Upgrade | [11 empty] | 1585 |  |  |  |  | 1585
| 2010 | Third Octet | [11 empty] | 7109 |  |  |  |  | 7109
| 2010 | 2010 Radial Boom Line Truck | [12 empty] | 277694.84 |  |  |  | 277694.84
| 2010 | Miscellaneous Small Tools | [13 empty] | 2335 |  |  | 2335
| 2010 | Upgrade of radio system | [14 empty] | 5658 |  | 5658
| 2010 | Scada Computer and System Upgrade | [15 empty] | 64230 | 64230
Sub-Total General Plant |  | Sub-Total General Plant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14386.46 | 5883 | 2297 | 12194 | 277694.84 | 2335 | 5658 | 64230 | 384678.3
Total Capital Expenditures |  |  | 117218 | 145587 | 40593 | 75749 | 100224.54 | 103019 | 166448 | 10436 | 14386.46 | 5883 | 2297 | 12194 | 277694.84 | 2335 | 5658 | 64230 | 1104625.3
General Plant |  | General Plant | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 |  |  | Total
| 2011 | Building Accessibility | [8 empty] | 5349 | [7 empty] | 5349
| 2011 | New Roof | [8 empty] | 8830 | [7 empty] | 8830
| 2011 | Renovate downstairs washroom | [8 empty] | 4428 | [7 empty] | 4428
| 2011 | Office Chairs | [9 empty] | 2572 | [6 empty] | 2572
| 2011 | 2011 Chevrolet Pickup Truck - Almonte | [12 empty] | 28088 |  |  |  | 28088
| 2011 | Harris | [11 empty] | 4500 |  |  |  |  | 4500
| 2011 | Other Software | [11 empty] | 4148.02 |  |  |  |  | 4148.02
| 2011 | Miscellaneous Small Tools | [13 empty] | 5113.61 |  |  | 5113.61
| 2011 | Computer Hardware | [10 empty] | 8336.17 | [5 empty] | 8336.17
0
Sub-Total General Plant |  | Sub-Total General Plant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18607 | 2572 | 8336.17 | 8648.02 | 28088 | 5113.61 |  |  | 71364.8
General Plant |  | General Plant | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 |  |  | 1925 | 1930 | 1940 | 1955 | 1980 | Total
| 2012 | Front Office Washroom | [8 empty] | 12844.2 | [7 empty] | 12844.2
| 2012 | Heat Exchanger | [8 empty] | 7423.92 | [7 empty] | 7423.92
| 2012 | Pave between buildings | [8 empty] | 4100 | [7 empty] | 4100
| 2012 | New Front Entrance - Accessibility Entrance | [8 empty] | 29978.81 | [7 empty] | 29978.81
| 2012 | Roof Repair | [8 empty] | 5813 | [7 empty] | 5813
| 2012 | Annual PC replacement | [11 empty] | 5308 |  |  |  |  | 5308
| 2012 | Chipper | [12 empty] | 41500 |  |  |  | 41500
| 2012 | Backhoe | [12 empty] | 57000 |  |  |  | 57000
| 2012 | 2012 Dodge Grand Caravan | [12 empty] | 27191 |  |  |  | 27191
| 2012 | Rebuild Engine 2005 International 4400 - Almonte | [12 empty] | 7585 |  |  |  | 7585
| 2012 | Reel Trailer | [12 empty] | 12127 |  |  |  | 12127
| 2012 | Miscellaneous Small Tools | [13 empty] | 12398.51 |  |  | 12398.51
| 2012 | Communication Equipment | [14 empty] | 1574.33 |  | 1574.33
| 2012 | Scada Equipment | [15 empty] | 4116 | 4116
0
0
0
Sub-Total General Plant |  | Sub-Total General Plant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60159.93 |  |  | 5308 | 145403 | 12398.51 | 1574.33 | 4116 | 228959.77
General Plant |  | General Plant | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1945 | 1980 | Total
| 2013 | Doors for Garage | [8 empty] | 11963 | [7 empty] | 11963
| 2013 | Overhead Walkway between Buildings | [8 empty] | 41323 | [7 empty] | 41323
| 2013 | Install accessible washroom, new shower area and men's washroom and lunch room area | [8 empty] | 40459 | [7 empty] | 40459
| 2013 | Office Chairs | [9 empty] | 1388 | [6 empty] | 1388
| 2013 | Computer Hardware | [10 empty] | 28127.21 | [5 empty] | 28127.21
| 2013 | Harris - Upgrade to new version | [11 empty] | 46620 |  |  |  |  | 46620
| 2013 | 2014 Dodge Ram | [12 empty] | 25170 |  |  |  | 25170
| 2013 | 2013 Ford F150 1/2 Ton | [12 empty] | 30746 |  |  |  | 30746
| 2013 | 2014 Double Bucket Material Handler Truck | [12 empty] | 401326 |  |  |  | 401326
| 2013 | Miscellaneous Small Tools | [13 empty] | 6273 |  |  | 6273
| 2013 | Measurement and Testing Equipment | [13 empty] | 12104 | 18090 | 503 | 30697
Sub-Total General Plant |  | Sub-Total General Plant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93745 | 1388 | 28127.21 | 46620 | 457242 | 18377 | 18090 | 503 | 664092.21
Total Capital Expenditures |  |  | 161460 | 224632 | 2064 | 33860 | 73907 | 118991.84 | 40093 | 9280.22 | 93745 | 1388 | 28127.21 | 46620 | 457242 | 18377 | 18090 | 503 | 1374238.27
General Plant |  | General Plant | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
| 2014 | Men's Wshrm Accessability | [8 empty] | 11740.48 | [7 empty] | 11740.48
| 2014 | Garage Work | [8 empty] | 12989.12 | [7 empty] | 12989.12
| 2014 | Office Desk & Chairs | [9 empty] | 3337 | [6 empty] | 3337
| 2014 | Computer Hardware: Printers, Desktops | [10 empty] | 10556.86 | [5 empty] | 10556.86
| 2014 | Computer Software - CIS | [11 empty] | 28560 |  |  |  |  | 28560
| 2014 | Computer Software - Finance, Mapping | [11 empty] | 12406.71 |  |  |  |  | 12406.71
| 2014 | Forklift Purchase | [12 empty] | 16400 |  |  |  | 16400
| 2014 | Ford C-Max - Service Vehicle Purchase | [12 empty] | 28236 |  |  |  | 28236
| 2014 | Utility Trailer | [12 empty] | 8970 |  |  |  | 8970
| 2014 | Final Material for Double Bucket Truck | [12 empty] | 5273.43 |  |  |  | 5273.43
| 2014 | Small Tools | [13 empty] | 39977.4 |  |  | 39977.4
| 2014 | Communication Equip | [14 empty] | 2147.6 |  | 2147.6
| 2014 | System Supervisory Equp | [15 empty] | 611.33 | 611.33
0
Sub-Total General Plant |  | Sub-Total General Plant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24729.6 | 3337 | 10556.86 | 40966.71 | 58879.43 | 39977.4 | 2147.6 | 611.33 | 181205.93
General Plant |  | General Plant | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
| 2015 | Doors for Stores | [8 empty] | 10000 | [7 empty] | 10000
| 2015 | Fire Alarm | [8 empty] | 38000 | [7 empty] | 38000
| 2015 | Garage Roof | [8 empty] | 20000 | [7 empty] | 20000
| 2015 | Garage floor | [8 empty] | 13000 | [7 empty] | 13000
| 2015 | Office Furniture front office | [9 empty] | 5000 | [6 empty] | 5000
| 2015 | PC Upgrade | [10 empty] | 10000 | [5 empty] | 10000
| 2015 | Misc Software Upgrades | [11 empty] | 34000 |  |  |  |  | 34000
| 2015 | Office façade | [8 empty] | 25000 | [7 empty] | 25000
| 2015 | 2016 RBD downpayment | [12 empty] | 36000 |  |  |  | 36000
| 2015 | #28 van | [12 empty] | 25000 |  |  |  | 25000
| 2015 | Miscellaneous Small Tools | [13 empty] | 10000 |  |  | 10000
| 2015 | Radios | [14 empty] | 1200 |  | 1200
| 2015 | Scada Equipment | [15 empty] | 15500 | 15500
Sub-Total General Plant | 2015 | Sub-Total General Plant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106000 | 5000 | 10000 | 34000 | 61000 | 10000 | 1200 | 15500 | 242700
Total Capital Expenditures |  |  | 154820 | 210000 | 73000 | 243650 | 187000 | 101000 | 139500 | 75000 | 106000 | 5000 | 10000 | 34000 | 61000 | 10000 | 1200 | 22500 | 1433670
General Plant |  | General Plant | 1830 | 1835 | 1840 | 1845 | 1850 | 1855 | 1820 | 1860 | 1808 | 1915 | 1920 | 1925 | 1930 | 1940 | 1955 | 1980 | Total
| 2016 | Misc Small Tools | [13 empty] | 10000 |  |  | 10000
| 2016 | Misc Software Upgrades | [11 empty] | 9000 |  |  |  |  | 9000
| 2016 | Misc Software Upgrades | [11 empty] | 10000 |  |  |  |  | 10000
| 2016 | Mobile radio | [14 empty] | 1200 |  | 1200
| 2016 | PC Upgrade | [10 empty] | 10000 | [5 empty] | 10000
| 2016 | Replacement Furniture | [9 empty] | 8000 | [6 empty] | 8000
| 2016 | Transportation Equipment | [12 empty] | 300000 |  |  |  | 300000
| 2016 | Transportation Equipment | [12 empty] | 28000 |  |  |  | 28000
0
Sub-Total General Plant |  | Sub-Total General Plant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8000 | 10000 | 19000 | 328000 | 10000 | 1200 | 0 | 376200