## Sheet1
Waterloo North
Asset Condition Assessment Summary - units
2-SEC-25
Asset | Population | # Assets At Or Beyond WNH TUL | # Assets At Or Beyond Kinetrics TUL | Condition |  |  |  |  | Number of Units Planned for Replacement
|  |  |  | Very Good | Good | Fair | Poor | Very Poor | 2015 Bridge | 2016 Test Year | 2017 Forecast | 2018 Forecast | 2019 Forecast | 2020 Forecast
Large Power Transformers | 8 | 0 | 2 | 4 | 2 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS Switchgear (note 1) | 10 | 0 | 0 | 0 | 6 | 0 | 4 | 0 | 2 | 2 | 0 | 0 | 0 | 0
TS Main& Tie Breaker (note 2) | 15 | 0 | 0 | 0 | 9 | 0 | 6 | 0 | 6 | 9 | 0 | 0 | 0 | 0
TS Feeder Breaker (note 2) | 44 | 0 | 0 | 12 | 20 | 8 | 4 | 0 | 4 | 0 | 0 | 0 | 0 | 0
TS Feeder Cables | 42 | 0 | 0 | 11 | 19 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TS HV Circuit Switches | 8 | 0 | 0 | 4 | 0 | 4 | 0 | 0 | 1 | 0 | 0 | 2 | 1 | 0
TS Protection Systems | 4 | 0 | 0 | 2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MS/DS Transformer | 15 | 11 | 9 | 0 | 3 | 5 | 7 | 0 | 0 | 0 | 0 | 1 | 0 | 0
Wood Poles | 20634 | 3348 | 3348 | 15717 | 3660 | 532 | 706 | 19 | 650 | 650 | 650 | 650 | 650 | 650
Underground Primary Cable (km) | 516 | 38 | 27 | 225 | 121 | 133 | 37 | 0 | 3.6 | 1.7 | 3.7 | 3.7 | 3.7 | 3.7
WNH Distribution Transformers (Overhead) 3 Phase | 492 | 15 | 28 | 237 | 164 | 86 | 5 | 0 | 5 | 5 | 6 | 6 | 6 | 7
WNH Distribution Transformers (Overhead) 1 Phase | 4464 | 223 | 515 | 2031 | 1250 | 1084 | 88 | 11 | 234 | 217 | 200 | 183 | 166 | 149
WNH Distribution Transformers (Underground) Padmount | 3199 | 20 | 20 | 1043 | 964 | 1061 | 115 | 16 | 118 | 120 | 120 | 120 | 120 | 120
WNH Distribution Transformers (Underground) Submersible | 140 | 17 | 17 | 20 | 4 | 49 | 50 | 17 | 0 | 0 | 0 | 0 | 0 | 0
Notes:
1) Switchgear - life extension refurbishment not replacement
2) Circuit Breakers - life extension refurbishment not replacement