## Table All Projects 2011-2014
Capital Project Listing 2011 - 2014 Actual Capital Expenditure by project
All amounts are Net Rate Base
Project Name | 2011 | 2012 | 2013 | 2014
11 Self Recharging Transformer Air Breathers on TS transformers Phase 1 | 0 | 0 | 0 | 45015.6652
13.8 kV Line on Middletown Rd | 0 | 0 | 219901.8391 | 0
14th Ave Pole Line | 0 | 0 | -3716.7194 | 0
161 Cityview Blvd parking lot repair | 0 | 0 | 0 | 89542.1027
2011 Website Enhancements | 56869.9074 | -55315.2782 | 0 | 0
20M23 and 20M24 feeder installations at Centre Street | 25903.2197 | 0 | 0 | 0
20M23 and 20M24 feeder installations at Dufferin Street | 19820.1273 | -4251.206 | 0 | 0
230 kV Switch Replacement (ACA) Richmond Hill TS1 - South | 0 | 58465.5938 | 0 | 0
2x44kV circuits (23M22 & 23M23)from Midhurst TS2 to Essa Rd | 0 | 0 | 7660.077 | 0
44 kV Midhurst TS2 - Feeder route Design | 0 | 4484.0099 | 0 | 0
44 kV Midhurst TS2 - Feeder route investigation | 884.6115 | 74.007 | 0 | 0
44 kV PME Installation - 138M8, Alliston | 0 | 33912.2509 | -1830.3169 | 0
44 kV tie of 98M3 & 98M7 | 0 | 473.6641 | 652020.5763 | 0
4kV cct conductor upgrade | 163273.05 | 0 | 0 | 0
5 online Transformer Tap Changer Oil Filtration Systems | 0 | 0 | 0 | 87452.823
55 Patterson Cooling Tower Sand Filter Replacement | 0 | 0 | 0 | 17464.3134
55 Patterson Electric garage openers | 0 | 0 | 2660.7754 | 0
55 Patterson exterior walk ways | 0 | 0 | 17414.8583 | 0
55 Patterson Road Renovation | 0 | 0 | 0 | 1556753.1925
Adding three LIS on 80M11 | 1256.8518 | 121155.3463 | 0 | 0
Addiscott Ceiling Fan in lines garage | 0 | 0 | 7642.931 | 0
Addiscott Fire Alarm system | 0 | 0 | 114115.0393 | -38977.1506
Addiscott storage yard | 0 | 0 | 25802.0364 | 0
Addiscott traffic flow and parking lot modifications | 0 | 0 | 0 | 29051.3863
Additional ccts on pole line - Major Mackenzie Dr | 8438.6152 | 0 | 0 | 0
AED Program Powerstream South | 0 | 67874.6252 | 0 | 0
Amber MS Feeder F3 Conversion Phase 2 | 0 | 0 | 9663.7804 | 200942.6977
AMI/MDMR/TOU/Strategies Breakdown | 0 | 127757.9432 | 276732.9379 | 41195.9734
Arc Flash Analysis Stations | 21089.5886 | 0 | 0 | 0
Arc Flash Implementation Program | 0 | 0 | 0 | 9176.6035
ArcGIS Server Phase II (BAT Replacement Project) | 27896.6211 | 25335.0435 | 0 | 0
ArcGIS/ArcFM GIS Editor Licenses (includes 3 ArcEditor Licenses) | 0 | 0 | 77624.3301 | 0
AS400 Upgrade | 83434.0585 | 12083.1463 | 0 | 0
Asset Condition Assessment Projects | 119989.0973 | 0 | 0 | 0
Atrium Staircase glass panels | 15119.7281 | 0 | 0 | 0
Atrium Staircase glass panels - Cityview | 1168.4874 | 0 | 0 | 0
Audio Visual upgrade | 0 | 5927.6413 | 0 | 0
Aurora 44kV line work - feeder work outside Armitage TS | 568303.7245 | 0 | 0 | 0
Aurora Renomenclature | 71333.0408 | 0 | 0 | 0
Aurora System Remote Fault Indicator Deployment | 69854.2181 | 1821.9888 | 10506.293 | 4929.0786
Automatic Feeder Restoration Program | 0 | 0 | 0 | 391935.9337
Avaya Phone System Upgrade/Expansion | 0 | 30546.1939 | 200595.8265 | 216355.4779
B2B Infrastructure | 83709.6419 | 526.552 | 0 | 0
Backup Control Room | 0 | 0 | 88482.6957 | -35125.6193
Backup Expansion & Upgrade | 0 | 239067.3884 | -11891.0611 | 0
Back-up Generator Connection - Markham TS #2 | 15408.2824 | 0 | 0 | 0
Backup Stn Svc Lazenby TS | 36003.2957 | 4418.5531 | 0 | 0
Bar Code Reading System | 171691.3395 | 0 | 0 | 0
Battery Bank Replacement - Barrie MS's | 16061.2339 | 0 | 0 | 0
Battery Bank Replacement - Greenwood TS | 160999.2988 | -30122.8147 | 0 | 0
Baythorn MS Arc Flash Mitigation | 0 | 0 | 0 | 39935.5415
Birchmount Road Feeder Extension | 0 | 0 | 0 | 34586.6044
Biztalk Project | 74183.7932 | 54968.5187 | 0 | 0
Bridge Surveys/ Certification for transportation of Emergency Spare Transformers to PowerStream Stns | 39402.5192 | 0 | 0 | 0
Build double ccts pole line on Hwy 50 | 392.1167 | 261216.2148 | 1174.2369 | 0
Building improvements | 18775.0102 | 1594.8281 | 0 | 0
Buildings & Facilities - Cityview | -38611.7418 | 0 | 0 | 0
Burden Process Improvement | 0 | 0 | 0 | 38566.3103
Business Driven Productivity Improvements | 62521.8434 | 24385.8627 | 0 | 0
Business Intelligence (Master Data Management - 2014) | 0 | 0 | 0 | 12791.3576
Buttonville Metering Upgrade | 14504.3903 | 2873.7154 | 1200769.7042 | 832200.3936
Cable Injection Program (ACA) - North | 116413.3988 | 416958.5871 | 738609.4916 | 1130412.7315
Cable Injection Program (ACA) - South | 233280.37 | 354705.2672 | 3403286.2062 | 4783350.7413
Cable Rehabilitation, Balding Blvd, Vaughan | 238934.4646 | 0 | 0 | 0
Cable Rehabilitation, Belcourt, Barrie - Final Phase | 673044.0096 | 939.2434 | 0 | 0
Cable Rehabilitation, Flowervale Subdivision Phase 2 | 1213453.3205 | 1275.9803 | 0 | 0
Cable Rehabilitation, Flowervale Subdivision Phase 3 | 36885.3092 | 662909.0487 | 272.7763 | 0
Cable Rehabilitation, Romfield Subdivision Phase 1 | 1600375.3663 | 24193.9669 | 0 | 0
Cable Rehabilitation, Romfield Subdivision Phase 2 | 11345.1387 | 927094.8556 | 0 | 0
Cable Rehabilitation, Romfield Subdivision Phase 3 | 0 | 19386.4826 | 1462205.2739 | 1268903.5587
Cable Rehabilitation, Romfield Subdivision Phase 4 | 0 | 0 | 48842.5095 | 1750418.554
Cable Rehabilitation, Romfield Subdivision Phase 5 | 0 | 0 | 0 | 463.5121
Cable Rehabilitation, Varden Subdivision | 18815.31 | 461239.206 | -1983.8368 | 0
Cable Rehabilitation, Village in the Valley | 110409.4505 | 0 | 0 | 0
Cable Replacement Program (ACA) - North | 0 | 24793.652 | 3384739.7822 | 2045781.5825
Cable Replacement Program (ACA) - South | 0 | 16264.0693 | 10523116.5292 | 9970753.787
Cable Replacement Program (ACA) - Various Locations, North | 0 | 81389.4326 | 0 | 0
Cable Replacement Program (ACA) - Various Locations, South | 0 | 146740.2751 | 81198.9697 | 7918.9677
Call Recording & Quality Assurance(Customer Service) | 0 | 0 | 41453.8107 | 0
Capacitor Banks Harmonics Markham TS#3 | 0 | 18721.5212 | 0 | 0
Capital Corrective Equipment Replacement - Stations | 101595.8407 | 355474.874 | 485925.4062 | 461829.9098
Cascade CMMS Upgrade and Integration with Corporate Systems | 0 | 0 | 0 | 13465.9607
Centennial MS - Penetang - Communication equipment to monitor MS424 | 0 | 0 | 0 | 9048.8719
Centralized Authentication Server on the Operations Communications Network | 0 | 0 | 0 | 30549.6586
Centralized Log Management Solution | 0 | 0 | 139295.5425 | 36952.4161
Changing ccts on Bayview Ave to 44 kV Spacing | 177.2759 | 136202.907 | 0 | 0
CIS Modifications | 654419.0637 | 423081.6963 | 220852.6497 | 107202.9853
CIS Replacement - Computer Hardware Purchases | 0 | 6651575.81 | 9802211.36 | 16013679.4
Cityview 2nd floor change room | 0 | 0 | 0 | 2075.2699
Cityview Cafeteria Floor | 0 | 0 | 81375.6531 | 0
Cityview paving stone repair | 0 | 0 | 0 | 18955.5364
Cityview window replacment or re-caulking | 0 | 0 | 0 | 9501.9972
Client Computing - North | 102871.0354 | 799.3521 | 0 | 0
Client Computing - South | 195036.5025 | 375161.5079 | 189394.9767 | 442945.1801
Cluster Exchange & Upgrade to Exchange 2010 | 48264.4673 | 200.8545 | 0 | 0
Communications Tower - Aurora MS #4 | 0 | 78931.9142 | 19713.5285 | 0
Concord Conversion | 0 | 0 | 0 | 89132.6998
Concord MS Conversion to 27.6 kV - Phase 2 | 0 | 0 | 46305.4588 | 0
Conductor & pole upgrades - #6cu to 556 al. - 34 poles | 446720.5898 | 30363.4374 | 0 | 0
CONNECTION IMPACT ASSESSMENT AND SYSTEM CONNECTIONS | 31766.6268 | 5503.255 | 1567.337 | -2025.8864
Construct Park Place MS | 165102.3027 | 16789.7189 | -781.4957 | 0
Control Room desk realignement | 0 | 0 | 0 | 34753.4215
Control Room Monitors and Interactive Screen | 0 | 112250.8927 | 0 | 0
Controllable Development (Additional Capacity) Projects | -302.6778 | 0 | -7004.5921 | 0
Controllable Operation Projects | 29012.6875 | 0 | 0 | 0
Controllable Sustainment (Reliability) Projects | 7213.0382 | 7126.1659 | -3362.2945 | 0
Convert John-F4 on Bayview Ave | 159989.4905 | 3223.6861 | 0 | 0
Convert North MS to WiMax | 0 | 0 | 0 | 7407.7359
Convert Rainbow MS Feeders to 27.6kV | 874120.5309 | 1409144.1395 | 371246.9128 | 0
Convert T2 in Aurora MS6 into 44kV Supply | 2138.836 | 25208.4715 | 22250.6926 | 0
Corporate Connectivity from all TSs in PowerStream South | 9860.5338 | 0 | 0 | 0
Corrective Capital Funds for Emergency P&C Purchases | 0 | 0 | 143125.1701 | 59582.4079
Costs associated with New Operation Centre | 54356.1647 | -5507.7772 | 0 | 0
Current website enhancements and concurrent development of new website. | 0 | 83553.2314 | -5195.7383 | 0
Customer Care Database | 217.8491 | 0 | 0 | 0
Customer Initiated Projects | 38171.9414 | 5299.4934 | -17960.0519 | -77.4325
Customer Service equipment schedule requests | 0 | 7086.0368 | 0 | 0
Customization of JDE Procurement - Inventory/Kit Explosion | 0 | 111056.8998 | 3687.3777 | 8439.257
Customization of JDE Procurement Screens & Inventory Commitment | 20026.1873 | 2343.9808 | 0 | 0
Cyber Security - Network Management System | 0 | 0 | 35879.4825 | 1539.0018
Cyber Security Enhancements - PS North | 0 | 0 | 53472.5547 | 33132.8128
Data Centre Expansion | 0 | 424852.6972 | -17008.1359 | 0
Design Only budget for Controllable Capital Projects | 0 | 22127.3938 | 104731.5643 | 512016.0973
Designer Enhancements Project | 1244.8088 | 0 | 0 | 0
Designer Mobile GPS Project | 30317.438 | 0 | 0 | 0
Designer software for Yearly Capital Budget Estimate | 18264.7878 | 2090.0577 | 0 | 0
Develop planning area | 10426.1367 | 0 | 0 | 0
Digital Ammeter Recorders | 221.9221 | 0 | 0 | 0
Digital Fault Record Server - PowerStream Operations Centre | 850.3089 | 0 | 0 | 0
Disaster Recovery | 2191.7745 | -41.8012 | 0 | 0
Display projector for P&C Resource Room Addiscott | 0 | 0 | 0 | 3602.7528
Distribution 44kV Automation Switches - North | 0 | 0 | 684.4582 | 551242.6563
Distribution Automation Switches / Reclosers - North | 157506.5342 | 736672.4876 | 813060.4064 | 63355.1677
Distribution Automation Switches / Reclosers - South | 0 | 590193.5552 | 372274.3747 | 57199.2884
Distribution Automation Switches / Reclosers in Various Locations - South | 530165.9491 | 82799.0436 | 0 | 0
Double Circuit 23M5 from Sunnidale to Harvie Rd | 4225.0752 | 160910.3156 | 0 | 0
Easement Project Stage 10 - Purchase of Teranet Registered Plans | 24493.8911 | 0 | 0 | 0
Elder Mill MS Conversion- Part 1 (3F3) | 0 | 1618.8542 | 101877.9703 | 0
Electronic Payment of Vendor Invoices | 0 | 0 | 42272.4417 | 17400.8414
Electronic Visual Display Wall Server Hardware and Re-enabling Remote Control | 0 | 0 | 0 | 65585.47
Email Archiving Upgrade | 0 | 0 | 5415.9337 | 0
EMC Storage Expansion | 0 | 126717.7499 | 956987.6001 | 206294.5686
Emergency Capital work as required for facilities | 0 | 0 | 0 | 128710.5849
Emergency generator modifications Patterson, Cityview and Addiscott | 0 | 0 | 0 | 132.1128
Emergency Lighting | 0 | 1828.8005 | 7274.0336 | 0
Emerging Cable Replacement Projects | 0 | 1968435.488 | 1463874.419 | 1070775.1314
Emerging Development Capital | 0 | -870.072 | 8198.7522 | 0
Emerging Issues - Operations Capital | 639189.4343 | 9275645.115 | 1020290.246 | 176889.0307
Emerging Operations Capital | 100405.3281 | 5980.7952 | 0 | 33.8576
Enhancements to Capital Budget Management System database | 18372.2277 | 47073.3255 | 51957.3829 | 21806.1356
Environmental Aspects and Impacts module (Intelex System) | 0 | 5682.107 | 0 | 0
Environmental Objectives and Targets module (Intelex System) | 0 | 4119.5038 | 0 | 0
Equipment labelling, Brand Imaging and Standardization of Station Nomenclature | 20187.1616 | 7778.8434 | 0 | 0
ESA Clearance Issue - #5 & 6 Rogers Rd., Tottenham | 14820.4102 | 2782.2659 | 0 | 0
ESA Clearance Issue - 121 Queen St., Tottenham | 21868.5086 | 11646.8278 | 0 | 0
ESA Clearance Issue - 159 Nelson Rd., Alliston | 23954.3375 | 74257.3766 | 0 | 0
ESA Clearance Issue - 40 Mill St., Tottenham | 17482.6349 | 43459.7012 | 0 | 0
ESA Clearance Issue - 45 Victoria Rd., Alliston | 14050.6324 | 71159.93 | 0 | 0
ESA Due Dilligence Inspection | 2268.3597 | 555.9364 | 236.9162 | 80.0218
ESA Station Soil testing Phase 3 | 166957.3214 | 0 | 0 | 0
Expansion of Electronic Emergency Plan program | 0 | 0 | 0 | 45544.2245
Expense module implementation | 0 | 9533.2474 | 0 | 0
Extend Feeder 51M1 to John St | 0 | 0 | 481829.2846 | 2698.1167
Extend Feeders 20M11/M12 into Markham | 1610712.0153 | -21299.845 | 0 | 0
Extend two 27.6 kV Ccts (24M2 & 24M7) on 14th Ave | 0 | 0 | 50527.8369 | 500157.3263
Failed Meter Replacement - NORTH | 5933.6826 | 0 | 0 | 0
Failed Meter Replacement - SOUTH | 38219.7131 | 204675.6022 | 166806.9768 | 119960.3672
Fairlane DS - 8.32kV feeder | 63246.5453 | 27533.4612 | -2112.1715 | 0
Fault Indicator Installation and Replacement | 0 | 0 | 0 | 477011.9874
Fault Indicator Installation deemed necessary for operating purposes | 45098.9061 | 354462.64 | 498229.094 | 2605.1977
FDIR - Scada and Smartgrid | 25785.5828 | 16720.4619 | 0 | 0
Feeder Protection Upgrade at MTS#2 - J Bus | 0 | 0 | 81807.5418 | 74113.8655
Feeder Protection Upgrade at MTS#2 - Q Bus | 0 | 0 | 217.7865 | 100959.6314
Fieldworker Collections Phase 2 | 0 | 11092.9815 | 280.5699 | 0
File Nexus Upgrade | 0 | 65725.9699 | 0 | 0
Firmware Upgrades in Smart Meters | 0 | 0 | 9373.1969 | 103403.2201
Fleet Management Software | 0 | 0 | 67088.412 | 63588.9223
Fleet Tools | 9175.6629 | 9111.6732 | 182.616 | 0
FormScape Application Upgrade to Transform | 87.1338 | 30154.3081 | 0 | 0
Furniture at 161 Cityview | 42.1946 | 0 | 0 | 0
GIS Aerial Photography (Ortho Images) | 37603.9748 | 0 | 0 | 36865.0104
GIS Aerial Photography (Ortho Images)- Update | 0 | 0 | 31694.0036 | 0
GIS Data input and enhancement | 0 | 0 | 86984.9439 | 43264.1153
GIS Landbase Data (Parcels, Streets & Points of Interest | 0 | 0 | 52844.3616 | 53570.9971
GIS Landbase Data (Parcels, Streets & Points of Interest) | 0 | 53143.4422 | 0 | 0
GIS StreetScape Images | 0 | 0 | 0 | 110610.8327
GIS Upgrade | 0 | 0 | 33854.4482 | 37974.0624
GL Company Executive Console Roll-Out | 115917.8371 | 0 | 0 | 0
GPS for As-Built Data Collection | 0 | 0 | 0 | 36290.6315
Grid Energy Management | 290681.2846 | 43452.804 | 0 | 0
Handicap door opener | 0 | 0 | 0 | 7828.4903
Health & Safety department equipment schedule requests. | 0 | 1562.5937 | 5903.6057 | 0
Health and Safety File cabinets | 0 | 0 | 3393.0627 | 0
Heavy Duty Vehicle Classification Emergency Break Down Repairs | 0 | 94411.2429 | 92501.8827 | 126034.039
Heavy Duty Vehicle Emergency Break Down Repairs | 8481.347 | 0 | 0 | 0
HONI Asset Purchase,Sunnidale Rd ( SW AB-B37 X Ferndale Dr.)-Phase 2 | 0 | 0 | 124697.719 | 0
Implementation of Reliability Centered Maintenance Methodology | 111291.9523 | 0 | 0 | 0
Implementation of Stations CMMS system (CASCADE) Phase 2 | 148907.9898 | 88478.633 | 0 | 0
Implementation of Stations CMMS system (CASCADE) Phase 3 | 0 | 106710.2162 | 11795.3367 | 0
Insight License Package for Super Users | 0 | 107637.9738 | 0 | 0
Inspector's PPE P2 (Shot Gun) Hot Line Tools | 0 | 0 | 1749.9247 | 0
Install 2-27.6 kv overhead ccts. - Hwy 7 | 1609.2548 | 0 | 0 | 0
Install 2nd 27.6kV cct on Nashville Rd and Hwy 27 | 0 | 0 | 929280.1826 | 6269.3354
Install Airconditioning - MTS #1 & MTS #3 | 26400.2466 | 0 | 0 | 0
Install capacitor banks Torstar TS | 728007.3369 | -23956.2039 | 0 | 0
Install Capacitor Banks Torstar TS | 620767.4521 | 0 | 0 | 0
Install One Additional 27.6 kV Cct on Bathhurst St | 0 | 294.3371 | 273236.6878 | 0
Install One Additional 27.6 kV Cct on Kennedy Rd | 0 | 0 | 281631.8012 | 0
Install One Additional 27.6 kV Cct on Leslie St | 0 | 147.1686 | 212849.1723 | 0
Install one manual LIS on Hwy 48 | 40918.3111 | 0 | 0 | 0
Install Perimiter Lighting at Richmond Hill TS #1 & #2 | 68042.6832 | -19663.8998 | 0 | 0
Install Two Additional 27.6kV Ccts on 16th Ave | 0 | 0 | 128027.4788 | 1669.0569
Install Two Additional 27.6kV Ccts on 16th Ave Install 2nd cct on Leslie St | 0 | 0 | 12902.2841 | 30959.849
Installation of new driveway barrier gates at Huronia MS and Graham MS | 26615.3706 | 0 | 0 | 0
Installation of Programable IR Cameras integrated with SWI Video system | 0 | 0 | 41558.8968 | 0
Installation of Second Egress (entrance/exit) at Stations - North | 0 | 21836.4673 | 26150.661 | 0
Installation of Second Egress at Stations - North | 18439.5632 | 0 | 0 | 0
Installation of Station Video and Security System (4 TS Stations) | 0 | 0 | 90306.3054 | 0
Installation of Transformer Bushing Monitoring - Pilot | 0 | 0 | 23147.5148 | 0
Installation of Transformer Bushing Monitoring on 3 TS transformers | 0 | 0 | 0 | 65524.5479
Installing Intellirupters on Feeder MS835 F3 and MS835 F4 | 0 | 0 | 267772.2259 | 92645.7235
IntelliTEAM Pilot Project | 0 | 0 | 0 | 85325.6098
Interest Capitalization | 49803.2903 | 0 | 0 | 0
Interest Capitalization on Operation Type Projects | 536625.29 | 1293686.7 | 1104548.18 | 1450628.77
Investment Decision Tool | 0 | 0 | 0 | 544822.6303
IPS Expansion | 0 | 18369.565 | 0 | 0
IS Capital - Corporate | 0 | 0 | 19848.1926 | -20121.1098
IS Driven Miscellaneous Projects | 24707.5696 | 0 | 0 | 0
IS Security Improvements | -24349.277 | 146.0665 | 0 | 0
IT Management Solution | 0 | 0 | 55203.888 | 0
IT Management System (Phase II) | 0 | 0 | 0 | 51024.8411
IVR - Phone System Enhancement | 112986.1726 | -3890.633 | 0 | 0
IVR Customer Call Back and Recording Control Room | 0 | 53310.5329 | 0 | 0
IVR Deployment with Outage Management System (OMS) | 184064.4928 | 0 | 0 | 0
IVR Review and Redesign | 0 | 0 | 71779.1245 | 1501.147
IVR/OMS changes, Outage Call Center implementation and Customer Call Back Solution | 0 | 0 | 36682.1296 | 97614.2912
JD Edwards Application Upgrade | 0 | 0 | 0 | 832640.5823
JD Edwards Archiving | 0 | 0 | 110607.7175 | -30207.3606
JD Edwards Development | 114957.5585 | 0 | 0 | 0
JD Edwards High Availability Design Planning | 0 | 0 | 18694.2664 | 884.8867
JD Edwards Send PO's by Email | 0 | 0 | 20878.9893 | 516.1839
JD Edwards Single Sign-On | 0 | 0 | 65002.427 | 1685.4984
JD Edwards System Hardware Upgrade | 0 | 0 | 0 | 422463.9624
JD Edwards version Upgrade Design Planning | 0 | 0 | 80028.3321 | 28988.6232
JDE & OLOT Improvements & Enhancements | 0 | 0 | 15849.4957 | 2802.1411
JDE MRP Implementation | 0 | 0 | 3919.2493 | 167407.6198
JDEdwards Enhancements | 0 | 0 | 44652.0615 | 40034.8402
John St. MS (MS321) Riser Rehab Phase 2 | 0 | 417253.5703 | 531561.8901 | -12083.8618
John St. MS321 Feeder Riser Pole Re-build | 210838.1322 | 22656.3209 | 0 | 0
Joint Use Pole Removal | 604100.5696 | 620670.1027 | 393943.8153 | 302750.6113
KDU-11 Replacement | 20244.8373 | 43007.8972 | 0 | 0
KDU-11 Replacement VTS#1 | 0 | 0 | 0 | 35423.7911
KDU-11 Replacement VTS#2 | 0 | 0 | 0 | 71082.3016
Keyboard under desk tray supports & ergonomics assessments | 0 | 0 | 0 | 2905.24
Legacy Barrie Hydro - 13.8kV Capital | -1459.337 | 0 | 0 | 0
Legacy Barrie Hydro - Belcourt Rehab | -789.2635 | 0 | 0 | 0
Legacy Barrie Hydro - Cable Rehab | -527.1198 | 0 | 0 | 0
Legacy Barrie Hydro - ICI New Service | -18470.6818 | -47735.3513 | 0 | 0
Legacy Barrie Hydro - MS840 | 356265.6837 | 0 | 0 | 0
Legacy Barrie Hydro - PCB Transformer Disposal | 365.5985 | 0 | 0 | 0
Legacy Barrie Hydro - Pole Replacement | 0 | 271.0995 | 0 | 0
Legacy Barrie Hydro - Road Authority | 308394.2121 | -205501.308 | -6609.2342 | 2892.2838
Legacy Barrie Hydro - Service Design | 125.9587 | 0 | 0 | 0
Legacy Barrie Hydro - Service Design & Sec Serv Lat | 118916.5734 | 19430.6398 | -54106.7371 | 0
Legacy Barrie Hydro - Subdivisions and New Services | 429085.3414 | -688086.0553 | 281008.2842 | -51596.1286
Legacy Barrie Hydro - Vault Betterment | 64616.2579 | 0 | 0 | 0
Legal department request as per equipment schedule | 0 | 7597.8634 | 0 | 0
Licensed Spectrum for Aurora SCADA Assets | 415.7925 | 0 | 0 | 0
Light /Medium duty & Misc. Vehicle Replacements | 0 | 706351.2409 | 1172329.0263 | 51554.3652
Light /Medium Duty Vehicle Replacements - PS-S | 119262.0806 | 0 | 0 | 0
Light /Medium Duty Vehicle Replacements PS-N | 54546.6459 | 0 | 0 | 0
Light Duty Vehicle - Replacement Vans | 0 | 0 | 0 | 77737.0372
Lines facility request as per equipment schedule | 0 | 2476.7184 | 0 | 0
Lines Mobile Equipment | 0 | 0 | 0 | 76739.364
Lines Mobility | 0 | 22509.5039 | 0 | 0
Lines Mobility Project | 41174.3306 | 0 | 0 | 0
LIS - Unscheduled Replacement of Failed (end of useful Life) Distribution Equipment | 0 | 334122.9486 | 51209.565 | 125383.9899
Little Lake MS2 | 0 | 0 | 0 | 465.6189
Load Limiters 2013 | 0 | 0 | 8739.5436 | 0
Locate Ticket Management System Purchase | 0 | 0 | 0 | 19090.1695
Lock Box retro-fits | 0 | 0 | 0 | 34151.8699
Low Voltage Bushing Replacement - Transformer Station | 0 | 0 | 109642.5761 | 218511.4883
Major repair, refurbishment, or conversions of distribution transformers | 67614.3984 | 4349.0017 | 13402.9265 | 104036.8573
Major repairs, refurbishment, or modifications to pad mounted switchgear | 145459.1388 | 67442.4678 | 37060.6155 | 54068.6819
Map Panel Upgrades in Control Room | 0 | 31267.0738 | 0 | 0
Maple Voltage Conversion | 881.0074 | 0 | 0 | 0
Markham TS # 4 | -14479.1712 | 1077.6908 | 0 | 0
Markham TS#3 Redundent Fibre connection to SONET Ring. | 0 | 0 | 0 | 15590.4172
Markham TS#4 - Install 4 ccts in underground duct bank for MTS4 | 635.1067 | 0 | 0 | 0
Markham TS#4 - Install 4 ccts on new pole line | 5698.6138 | 0 | 0 | 0
Markham TS#4 Feeder Egress Part 2, 4 feeders | -8998.6703 | 0 | 0 | 0
Markham TS#4 feeeder egress | 5610098.847 | 408920.7191 | 217579.2685 | 0
Master Data Management - 2013 | 0 | 0 | 91010.7153 | 45982.5033
McNaughton 27.6kV Pole Line | 334.8805 | 0 | 0 | 0
Metering Tools and Equipment | 0 | 0 | 119838.0411 | 78306.4837
Metering Tools and Equipment - PowerStream North | 78.2553 | 0 | 0 | 0
Microsoft Business Productivity Infrastructure Upgrade | 64463.9569 | 149439.1287 | 0 | 0
Microsoft Business Productivity Infrastructure Upgrade and Windows 7 | 0 | 251826.0889 | -7793.6074 | 0
Microsoft Lync | 0 | 135853.7533 | 0 | 0
Midhurst Ph1 | 0 | 0 | 0 | 583.3183
Minirupter (Vault) Switch Replacement | 0 | 0 | 0 | 475150.8014
Mobile GIS for Service Layouts (North Staff) | 375.356 | 0 | 0 | 0
Mobile Office Conversion Package | 0 | 18969.1931 | 24235.0017 | 2162.1833
Mobile Radio and GPS enhancement | 881.6227 | 0 | 0 | 0
Mobile Tablets for Design Techs | 0 | 0 | 0 | 3497.8227
Modify Lightning Arrestor Installations on 20MVA Power Transformers | 0 | 0 | 17185.3579 | 45298.951
MOSC Corrective Capital Funds for Emergency Engineering | 0 | 0 | 0 | 2342.0847
MS324 (Reagens Ct.) Upgrade - Add 2 x 13.8kV Feeders | 8189.0909 | 0 | 0 | 0
MS407 Communication House, Security and Performance upgrades | 0 | 0 | 0 | 25569.4538
MS835 Mill St. Station - Transformer monitoring equipment - SCADA enabled | 0 | 0 | 0 | 946.9607
MSBPI 2013 | 0 | 0 | 4759.2963 | 0
Multiple vehicle replacements | 214876.6526 | 0 | 0 | 0
Network Access Control (NAC) Replacement | 0 | 0 | 0 | 98984.4577
New 13.8 kV Load Interrupter Switch (LIS) | 0 | 0 | 0 | 34610.607
New 44 kV Feeder from Midhurst TS to Barrie South Area Loads, Ph1 | 0 | 1203448.1521 | 1129006.951 | 229703.2666
New Commercial Subdivision Development | -6858.6036 | 316256.8405 | 1365649.1849 | 1249667.0402
New Office Furniture | 51896.2885 | 0.39901 | 0 | 0
NEW OH AND UG SECONDARY RESIDENTIAL SERVICE CONNECTION | 835813.6157 | 249964.408 | 413519.3923 | 362820.7013
New Services - new and upgrades - ICI | -312766.2162 | 321808.1858 | -696190.275 | -617616.2248
New Services - ICI | 499449.6257 | 84378.1962 | 9261.4602 | 0
New Subdivision Development | 473518.8428 | 10593927.5757 | 3799354.5495 | 3956902.239
New Subdivision Development - Secondary Service Lateral | 1383741.4262 | 1716273.0518 | 2428920.4108 | 2348216.9406
New Vehicle Acquistion | 0 | 0 | 137943.1863 | 5283.6929
New Vehicle Acquistion PS-S | 156402.7257 | 0 | 0 | 0
New Website Planning/Development and Enhancement | 0 | 0 | 131486.0172 | -41023.6331
New Website Planning/Development and Enhancement to existing Site | 0 | 0 | 0 | 119757.1917
Non Recoverable replacement of Distribution Equipment due to accident/vandalism | 103433.7862 | 126030.843 | 138679.5547 | 208789.4311
North Road Authority Expenditure | 459508.5492 | 757793.2241 | 171111.5421 | 2939958.8254
O/H and U/G Residential Service Upgrades | 900743.9204 | 730651.8388 | 762179.212 | 925892.209
Off premise - Dips for subdivisions | 25719.8198 | -11370.2276 | 0 | 0
Offer To Connect Subdivisions | 832461.1187 | 427747.6267 | 69539.7897 | 38408.6099
Office Furniture | 32826.9124 | 0 | 0 | 0
OHSA Compliant Signs & Labels Printer | 0 | 5247.888 | 0 | 0
Omicron 3 Phase Relay Test Set | 10914.9297 | 0 | 0 | 0
OMS Responder Mobile | 59521.7202 | 181645.2085 | 774.165 | 0
Online Dissolved Gas Monitoring on 1 transformer station power transformers. | 0 | 0 | 55198.0877 | 0
Online Dissolved Gas Monitoring on 2 TS power transformers | 0 | 0 | 0 | 108109.9941
On-Line, On-Time (OLOT) for Inside Union Staff | 0 | 0 | 0 | 4048.1891
Open work order for ICI meter installations. | 349989.2579 | 444913.784 | 598836.319 | 360192.2689
Other Emerging Capital | 0 | 132.1582 | 0 | 0
Outage management system | -1286.9545 | 0 | 0 | 0
Outage Management Test and Disaster Recovery System | 0 | 0 | 0 | 29116.9751
Outdoor containment shed | 26747.1701 | 574.7659 | 0 | 0
Overhead Design analysis software configuration of Construction standards | 0 | 0 | 0 | 93211.8619
P&C facility request as per equipment schedule | 0 | 8113.1956 | 0 | 0
P&C Specific Tools and Testing Equipment | 6750.7535 | 16923.9861 | 9802.8845 | 8509.8373
Painswick South MS: New 44-13.8kV, 20 MVA, 4-Feeder Substation | 0 | 26933.5101 | 773306.0084 | 897336.6762
Paint MS Transformers - PS North Stations | 41516.7612 | 0 | 0 | 0
Paint MS Transformers - PS South Stations | 35172.58 | 0 | 0 | 0
Patterson Warehouse Dock levellers | 0 | 0 | 22445.5894 | 0
Pave Station Driveways - Barrie | 23486.3683 | 0 | 0 | 0
Penetanguishene MS Capacitor Bank | 0 | 0 | 396208.3637 | 323646.3415
Penetanguishene, 98M3 Feeder - Restring 1/0 acsr with 556 Al | 0 | 4063.9083 | 883677.0648 | 7577.6346
Phase 2 - 2x44kV circuits (23M22 & 23M23)from Midhurst TS2 to Essa Rd | 0 | 0 | 59413.8909 | 117827.2567
Phase 4 - 44 kV express feeder (23M26)from Ferndale & Essa Rd | 0 | 0 | 3344.8179 | 1897704.8474
PI Implementation Phase 2 | 0 | 4536.2233 | 28087.4244 | 0
PI System Enhancement | 0 | 0 | 0 | 45349.4766
Planned circuit breaker and recloser replacement program (ACA) - South | 80114.1745 | 0 | 2771.7091 | 0
Planned Circuit Breaker Replacement Markham TS#1 - Bus #2 | 0 | 0 | 0 | 369584.2263
Planned distribution switchgear replacement program (ACA) - North | 109193.8166 | 155869.8278 | 313832.956 | 653716.1351
Planned distribution switchgear replacement program (ACA) - South | 457101.4845 | 506467.1911 | 676566.9161 | 1485272.1406
Planned pole replacement program (ACA) - North | 193296.7472 | 345676.8258 | 437014.5303 | 821331.2523
Planned pole replacement program (ACA) - South | 1445524.9522 | 3765830.3595 | 4608977.7672 | 4050945.5971
Planned station circuit breaker and recloser replacement program (ACA), Vaughan TS2 | 1256551.7342 | 32858.8143 | 0 | 0
Planned Station Circuit Breaker Replacement Program (ACA) - RHTS1 - Phase 1 | 0 | 0 | 793968.9589 | 0
Planned Station Circuit Breaker Replacement Program (ACA)at Vaughan TS2 Phase 2 | 0 | 1215494.8934 | 0 | 0
Poletrans Replacement | 477.1603 | 0 | 0 | 0
PowerStream Capital Budget Application System Review and Future Enhancement | 70126.0411 | 0 | 0 | 0
Powerstream Initiated Projects | 56.6892 | 0 | 0 | 0
PowerStream TV | 0 | 0 | 148936.5561 | -12094.6423
Printer and Copier Fleet Replacement - PS South | 115304.6383 | 33161.1222 | 1361.5102 | 21107.7072
Process Improvement Initiatives | 8154.2901 | 16386.5562 | 0 | 0
Project Destiny | 10850.6807 | 785.0067 | 0 | 0
Purcase of a New SEL 16 Input MultiChannel Recorder | 0 | 0 | 19489.2143 | 0
Purchase 5 Tablets | 0 | 0 | 0 | 4473.9744
Purchase and Installation of a secured caged storage facility at Jackson TS | 8143.3117 | 0 | 0 | 0
Purchase and Installation of Animal Guards at Various Stations | 0 | 7455.236 | 13767.2517 | 12220.651
Purchase and Installation of online Tap Changer Filtration System | 0 | 31554.9983 | 9099.6082 | 0
Purchase Cable Locate Equipment | 11336.8756 | 10575.6922 | 5464.7547 | 6813.4698
Purchase of 2 ARC 45 Suppression Blankets | 2003.364 | 0 | 0 | 0
Purchase of 3 Bar Coding equipment printers and Associated ribbons and label material | 5126.6817 | 506.497 | 0 | 0
Purchase of 3 FLIR Infrared cameras and IR Viewing Windows | 0 | 0 | 0 | 38229.2107
Purchase of 6 ARC Flash Suits | 0 | 10749.376 | 0 | 0
Purchase of a 50/83 MVA Spare Power Transformer | -236538.6909 | 0 | 0 | 0
Purchase of a Current Transformer Tester | 38108.9425 | 0 | 0 | 0
Purchase of a mobile Oil DGA (Dissolved Gas Analysis) Tester | 0 | 46033.0563 | 0 | 58297.4812
Purchase of a promotional tent, banners and accessories | 0 | 0 | 0 | 8483.0386
Purchase of a VLF Sinus 54 kV (VLF sine wave test cable system for medium voltage cables) | 0 | 40406.0413 | 0 | 0
Purchase of an ID Camera Printer | 0 | 0 | 3460.3145 | 2433.4383
Purchase of an Omicron CMC356 or Pulsar Protective Relay Test Set | 0 | 0 | 0 | 74994.1446
Purchase of Critical / Spare Parts - Gas Accumulator Relay | 5264.5565 | 0 | 0 | 0
Purchase of Critical / Spare Parts - Beta Relay | 2394.6602 | 0 | 0 | 0
Purchase of Critical / Spare Parts - Cooling Fans | 1026.0513 | 0 | 0 | 0
Purchase of Critical Spare Parts for TS and MS Stations | 0 | 47016.9985 | 14632.9561 | 0
Purchase of Major Specialty Tools | 0 | 27419.4675 | -5211.949 | 0
Purchase of Major Tool - Circuit Breaker Lift | 773.5186 | 240.3471 | 0 | 0
Purchase of Major Tool - Potential Test Indicator | 913.2394 | 0 | 0 | 0
Purchase of Major Tools | 334806.2282 | 335392.8297 | 364582.5849 | 375461.004
Purchase of Major Tools - 2- 24ft Fibreglass Extension Ladders | 876.0847 | 0 | 0 | 0
Purchase of Major Tools - Hastings Extendable Shotguns - Qty 2 | 726.079 | 861.2938 | 0 | 0
Purchase of Major Tools - HDW - Digiphone Pin pointer / Headset fault locating device | 5762.6871 | 0 | 0 | 0
Purchase of Major Tools - Infrared Scanning System | 6135.7869 | 12717.8209 | 0 | 0
Purchase of Major Tools - Megger (10 kV) | 6661.2755 | 0 | 0 | 0
Purchase of Major Tools - Ratiometer | 13335.0532 | 209.0058 | 0 | 0
Purchase of Major Tools - Vacuum Bottle Tester | 7198.4752 | 0 | 0 | 0
Purchase of Major Tools - Vacuum Pump | 4267.6214 | -291.2305 | 0 | 0
Purchase of Portable Display Unit | 0 | 16558.4825 | 0 | 0
Purchase of Spare Relays - Critical Spares | 46967.599 | 73.152 | 0 | 0
Purchase of Spare Relays to Enable Test Environment in New Operations Centre | 139.2714 | 0 | 0 | 0
Purchase of Upgraded Cable Fault Equipment for Stations - North | 78721.9874 | 3337.2617 | 0 | 0
Purchase office chairs | 0 | 3966.4831 | 0 | 0
Purchase replacement Hollow Columns and Interruptors for MS301 - Anne North MS | 38815.36 | 0 | 0 | 0
Purchase replacement Hollow Columns for MS303-Ferndale South MS | 0 | 10636.9594 | 0 | 0
Purchase replacement Hollow Columns for MS304-Big Bay Point MS | 10660.7269 | 0 | 0 | 0
Radial Supply Remediation - Convert Rainbow MS Feeders to 27.6kV | 8522.8676 | 0 | 0 | 0
Radial supply remediation - Double 27.6kV ccts on 9th Line | 0 | 38699.9557 | 91561.199 | 0
Reagens Ind. Pky. MS (MS324) F2 Feeder: Restring the existing 1/0 ACSR with 556 Al | 0 | 0 | 7308.2499 | 29952.5176
Rebuild Aging Municipal Station Reclosers at AMS #1, Amber MS, John MS, & Morgan MS | 66936.9115 | 0 | 0 | 0
Recoverable Replacement of distribution equipment Due to Accidents | 137438.7091 | 714253.4832 | 807980.9393 | 816841.7816
Re-Development of outdoor storage area | 0 | 283145.5947 | 89150.0647 | 0
Refurbish Trailers and Dump truck. | 0 | 0 | 0 | 4624.3992
Remediate Corrosive Sulphur - Richmond Hill TS #1 | 302573.9665 | 0 | 0 | 0
Remote cooling control T3 & T4 at RHTS #2 | 0 | 0 | 6539.035 | 3401.2708
Remote Trip for MDE at Birchmont Energy Centre | 0 | 0 | 50519.2593 | -52722.8922
Remote Trip for MDE at Markham Stouffville Hospital Expansion | 0 | 0 | 14953.9488 | -15584.6085
Repair of 161 Cityview paving stone repair | 0 | 0 | 34863.4039 | 0
Repair roof leak at Greenwood TS | 5658.6461 | 0 | 0 | 0
Replace Battery Banks - PowerStream South MS | -696.5135 | 0 | 0 | 0
Replace Concord MS Transformer Radiators | 55288.587 | 0 | 0 | 0
Replace existing overhead secondary bus - Arnold Avenue | 470863.3673 | 0 | 0 | 0
Replace Forklift - Unit# 383 | 0 | 0 | 0 | 46063.1946
Replace Forklift - Unit# 385 | 0 | 0 | 0 | 91648.9757
Replace Human Machine Interface (HMI) Computer - Markham TS #3 | 38952.9711 | 0 | 0 | 0
Replace Murray Jensen Meter Bases | 3891.7184 | 0 | 0 | 0
Replace OMS Intergration Tool for AMI | 0 | 0 | 180712.0005 | -103026.0899
Replace secondary Bushings on T1 and T2 - Walker TS | 0 | 142453.0347 | 0 | 0
Replacement Aerial Device - 50 | 309512.5836 | 0 | 0 | 0
Replacement Aerial Device 103 | 0 | 0 | 344962.7591 | 0
Replacement Aerial Device 12 | 309569.5854 | 0 | 0 | 0
Replacement Aerial Device 14 | 0 | 494107.8531 | 298.1031 | 0
Replacement Digger Derrick - 317 | 0 | 389571.5155 | 152.2351 | 0
Replacement of 3 Rolling ladder, 16 step with handrails and footlock design | 0 | 6996.0313 | 0 | 0
Replacement of Elbow/Bushing for Single Pad Mounted Transformers | 0 | 127351.1039 | 0 | 0
Replacement of End of Life Automated Switches/Reclosers | 0 | 0 | 370768.253 | 374734.6546
Replacement of Heavy Outdoor Concrete Pit covers at Cockburn TS | 17999.0693 | 1208.4809 | 0 | 30967.4692
Replacement of HVAC Systems at 1 Transformer Stations | 0 | 35247.9498 | 0 | 0
Replacement of Interlocking Stone with Concrete Slab at MS330 - 8Th Avenue MS | 2965.342 | 0 | 0 | 0
Replacement of Legacy Dynamic Fault Recording Equipment | 0 | 49028.7361 | 60233.6556 | 0
Replacement of Legacy RTU and Recloser Controllers at John MS | 20131.5175 | 1035.8516 | 117054.1456 | 0
Replacement of Pad Mount Transformer in South | 0 | 0 | 298603.3685 | 378740.4995
Replacement of RHTS#1 Basement Switch Operators | 0 | 0 | 133093.3142 | 2058.8776
Replacement of Scada Host C | 4646.2006 | 0 | 0 | 0
Replacement of SCADA Workstation PC's | 10367.9531 | 19696.0107 | 1026.8857 | 0
Replacement of Secondary Bushings at MS409 - Duckworth MS | 5050.2627 | 198.052 | 0 | 0
Replacement of Single Bucket, Unit# 160 | 0 | 0 | 0 | 428305.7404
Replacement of TG9000 RTU at Baythorn MS | 27466.6562 | 0 | 283.6779 | 0
Request for Applicant Tracking System (ATS) | 0 | 3730.7531 | 0 | 0
Residential Meter "ICON F" Meter Replacement Program | 0 | 0 | 155936.0186 | 235907.663
Retro fitting vaults and submersible units | 367443.9584 | 24907.5316 | 0 | 0
Retrofit Bulk To Suite Meters - NORTH | 9083.9092 | 0 | 0 | 0
Retrofit Bulk To Suite Meters -SOUTH | 547727.1811 | 33931.9925 | 69502.4654 | 90279.1636
Retrofit Vaults and Submersible units - Various location | 153666.2014 | 75997.7486 | 0 | 0
Revenue Meter Re-Verficiatons - NORTH | 41274.6991 | 1882.4485 | 0 | 0
Revenue Meter Re-Verficiatons -SOUTH | 361951.9419 | 886211.5211 | 1124109.1552 | 255058.164
Road Authority Projects | 7152998.2763 | 2680343.8695 | 2259274.0291 | 11006786.6909
Rodick Road 13.8kV Pole Line Extension | 0 | 0 | 0 | 3217.52
RTU Replacement Program (Proactive) | 0 | 97653.6065 | 123644.2217 | 167498.1562
RTU Replacement Program (Reactive) | 137631.5344 | 158210.3125 | 192815.1612 | 153660.4605
Satellite Phone Installation | 18594.5307 | 0 | 0 | 0
Scada Monitoring of SONet Infrastructure | 1377.3017 | 0 | 0 | 0
Scada Training Simulator Programming | 30351.7797 | 0 | 0 | 0
Security and Safety Vegetation for a Transformer Station | 41382.3246 | 0 | 0 | 0
Security Enhancements | 0 | 36556.155 | -10994.5979 | 0
Security glass | 3921.5574 | -3814.3554 | 0 | 0
Security Lighting Addiscott | 0 | 0 | 14236.3229 | 0
Security System Enhancements | 0 | 45139.4806 | 0 | 0
Self Service Enhancements to PowerStream Corporate Website | 0 | 3397.3889 | 55223.8397 | 3286.7219
Server Refresh | 0 | 130278.9233 | 500368.5195 | 86717.7409
Server Refresh & Server Operating System Upgrade | 191380.224 | 1146.1022 | 0 | 0
Services - New and Upgrade | -158767.9473 | 117691.9496 | 0 | 0
Shelving/cabinet for pinter & supplies in collections area | 0 | 0 | 0 | 3714.1021
SMALL NEW AND UPGRADE COMMERCIAL SERVICES | 217934.0414 | 73367.6675 | -37529.8946 | 71707.9346
Small, Midsize & Large Feed In Tariff (FIT) Generator - PS North & South | 465.1368 | 11096.7341 | 81373.1025 | 32058.0812
Smart Meter CIS Modifications | 12762.5156 | 0 | 0 | 0
Smart Meter Network Expansion and Enhancements | 0 | 0 | 172876.7894 | 161007.9536
Smart Meter Straggler installations | 0 | 0 | 14242.5011 | 0
Smart Meter Test Facility | 0 | 0 | 1284.3771 | 11587.8015
Snow Tire for Light and Medium Duty Vehicles | 0 | 0 | 0 | 118735.4371
Soil Remediation - Various North and South Stations | 1123.7044 | 1805.7719 | 0 | 0
Sorbwell Project for Stations | 0 | 0 | 95504.1409 | 0
SQL Cluster & Upgrade to Version 2008 | 342575.1215 | 49377.6142 | 0 | 0
SQL Expansion | 0 | 0 | 0 | 48102.5492
Standards Merging North-South | -13064.6953 | 0 | 0 | 0
Station Brand Imaging - Nomenclature, Signage | 0 | 11656.9931 | -93.5233 | 0
Station Fence Upgrade | 18086.7501 | 32802.9718 | 108326.3066 | 28969.8681
Station Perimeter Door Security Monitoring via SCADA expansion | 13903.3323 | 8273.8641 | 2065.5894 | 0
Station Security - Station Card Access at Transformer Stations | 0 | 14639.9995 | 836.5705 | 0
Station Security Improvements - Introduction of Hostile Vegetation | 7252.1951 | 0 | 0 | 0
Station Wildlife Management - Installation of Animal Guards | 14219.987 | 10553.9556 | 0 | 0
Station Window Upgrade / Replacement | 7713.9622 | 5415.5391 | 6253.3733 | 0
Stations CMMS system (CASCADE) - Protection and Control and Lines assets | 0 | 0 | 0 | 111146.8448
Storage Expansion | 325039.8313 | 16325.441 | 0 | 0
Storm damage - Replacement of distribution equipment due to storm. | 428418.0809 | 482911.4518 | 767149.2664 | 1160049.7202
Storm Hardening | 0 | 0 | 0 | 59862.4153
StreetScape Images | 106902.7285 | 109205.5171 | 109110.5042 | 0
Subdivision - Underground Residential - Final Close out and Inspection | 2457.1512 | 54390.5702 | 77002.7781 | 104693.1482
Subdivision Data Base | 21487.9856 | 0 | 0 | 0
Subdivisions and New Services | 2305839.7356 | 158986.769 | 292416.0944 | 9385.3415
Submersible Transformer & Vault Replacement - North | 505807.0318 | 509819.2827 | 1168201.5602 | 856775.6494
Submersible Transformer & Vault Replacement - South | 9970.7086 | 263434.9251 | 128387.0805 | 473.0816
Suite Metering Installatiom - NORTH | 319810.3784 | 0 | 0 | 0
Suite Metering Installation - SOUTH | 1664003.4991 | 1539890.8178 | 1655166.4731 | 420001.8745
Supply to TD Data Centre Phase II (additional 5MVA) | 0 | 0 | 510588.3573 | 8280.8084
Survey and Engineering Design for Overhead Highway Crossing | 0 | 0 | 0 | 14610.5637
Switch Replacement Program (AB Chance Porcelain Switches) - North | 66793.8503 | 60677.8344 | 0 | 0
Switchgears - Unscheduled Replacement of Failed (end of useful Life) Distribution Equipment | 0 | 1381860.7727 | 1663004.1592 | 1495973.8346
System Remote Fault Indicator Deployment | 0 | 0 | 88732.6107 | 1136.274
TD Project Barrie | 0 | 0 | 752687.165 | 641876.9758
Technology Upgrades Improving the System Control Room Environment | 0 | 0 | 34811.4466 | 0
Test and Development Environment for IVR Telephone System | 0 | 32161.286 | 0 | 0
Three New Pole Lines in Markham to Pick Up LTLT Customers | 0 | 0 | 155.5604 | 9444.0582
Tools | 0 | 0 | 8390.7206 | 0
Tools and Equipment | 0 | 84423.1229 | 0 | 0
Tools and Equipment - NORTH | 6950.3866 | 0 | 0 | 0
Tools and Equipment - SOUTH | 41720.5943 | 0 | 0 | 0
Transform AP / AP module "bolt on" software | 120932.2343 | 33117.1835 | 64829.1633 | 0
Transformer On-line Analysis - Vaughan TS #1 - T1/T2 | 96743.1015 | 0 | 0 | 0
Transformer station egress remediation MTS#3 | 561.7448 | 0 | 0 | 0
Transformer Temperature Monitoring - Barrie MS | 31058.8028 | 766.9087 | 0 | 0
Transformer Temperature Monitoring- Markham TS #1, #2 and #3 | 1492.1257 | 0 | 0 | 0
UG Rehab | 14472.8225 | 0 | 0 | 0
ULTC Master/Follower Soltion for VTS#1 T1/T2 | 0 | 401.3861 | 0 | 486.097
ULTC Master/Follower Solution for VTS#3 | 0 | 9613.8666 | 3128.7413 | 0
Unforeseen Projects Initiated by PowerStream | 1076239.6981 | 1499516.3173 | 4232576.1719 | 2429636.6934
Unforeseen Projects Initiated by the customer | 1990470.2694 | -845890.5546 | 273293.6898 | 1075163.354
Unscheduled Replacement of Failed (end of useful Life) Distribution Equipment | 6525087.4071 | 4878956.5427 | 4791472.7467 | 4890357.0294
Upgrade 2.5 Element Metering Installations | 0 | 0 | 0 | 31067.7229
Upgrade 2.5 Element Meters - NORTH | 72976.8912 | 1648.21 | 0 | 0
Upgrade 2.5 Element Meters to 3 Element Meters and replace Fuse Link Test Blocks | 0 | 0 | 99466.8171 | 1087.6584
Upgrade 2.5 Element Services to 3 Element Services. | 0 | 0 | 0 | 69110.9085
Upgrade Feeder Protections - Markham TS #1 | 9770.6554 | 59241.4422 | 0 | 0
Upgrade of ArcFM Designer because of upgrade to ArcGIS 10 | 0 | 0 | 7207.5282 | 24263.675
Upgrade of Communications to WiMAX - AMS5 and AMS6 | 0 | 0 | 0 | 8275.1474
Upgrade of East DNP Radio Base Station to a SD4-ES Platform | 0 | 0 | 0 | 64264.8938
Upgrade of North Scada Licensed Radio System Hardware | 0 | 0 | 42355.4129 | 1761.6412
Upgrade of Operations Communication Infrastructure | 5551.3136 | 0 | 0 | 0
Upgrade of RTUS in 2 PMH Switchgear to Support Smart Grid Iniatives, | 0 | 0 | 61503.1539 | 110561.7839
Upgrade of Station Facilities | 4190.1572 | 0 | 0 | 0
Upgrade Responder to 10.X | 0 | 0 | 79374.6232 | 85239.6711
Upgrade to Station Facilities (Building / Civil work) | 0 | 58203.795 | 38123.9848 | 23040.33
Upgrade/Repair 10 MVA 44kV/27.6 - 13.8kV transfomer (Former Amber T2) | 0 | 0 | 0 | 164967.1028
Various Stations - Station Lighting Upgrade / Retrofit - Energy Efficiency Lighting | 0 | 20173.6269 | 33286.7902 | 0
Vaughan TS #4 - Land Purchase | 0 | 0 | 155872.1488 | 4185945.7098
Vaughan TS #4 Planning - Ph1 | 2078.8845 | 20913.8113 | -702.4638 | 0
Vaughan TS#1 T3/T4 HMI Conversion/Upgrade to PowerStream Standard | 18474.2956 | 1108.8611 | 0 | 0
Vaughan TS#2 - Additional feeders from existing stations | 978302.0893 | 243874.8062 | 7159.4156 | 0
Vaughan TS#3 HMI Conversion/Upgrade to PowerStream Standard | 0 | 0 | 102031.4335 | 8669.556
VDI Project – Phase 2 Virtual Desktops | 0 | 104305.2437 | 0 | 0
VDI Project – Phase 3 XenApp & Virtual Desktops Expansion | 0 | 0 | 75529.1628 | 18881.53
VDI Project – Phase 4 XenApp & Virtual Desktops Expansion | 0 | 0 | 0 | 54105.6408
Video Surveillance PS North Stations | 68316.4988 | 1594.4481 | 0 | 0
Video Surveillance Richmond Hill TS #1 & #2 | 42665.4015 | 27058.9706 | 0 | 0
Video Surveillance Vaughan TS #2 | 66042.9136 | 577.939 | 0 | 0
Virtual Desktop | 105430.2545 | 0 | 0 | 0
Voice Radio Communications Review and Upgrade for PowerStream North Service Area | -28287.0773 | 0 | 0 | 0
Voice Radio Digital Conversion Project | 260351.1785 | 37930.9664 | 0 | 0
Voltmeters - Cat4 | 0 | 2654.0408 | 1787.2301 | 0
VTS #2 - Feeder Protection Replacement | 95504.5437 | 221559.8202 | 86360.3878 | 0
VTS4 Class EA | 0 | 0 | 73896.539 | 179519.5995
Warden Ave - Pole Line Rebuild | 0 | 0 | 0 | 53409.014
Warehouse layout & racking upgrade | 0 | 0 | 0 | 113623.3165
Weather Network Intergration with OMS (DTN) | 0 | 5929.8073 | 0 | 0
Website Outage Information | 48720.7451 | 81065.5212 | 55470.2121 | 37333.9964
Wholesale Metering Upgrades | 67245.479 | 118369.2138 | 3896.7187 | 0
Work Force Management / Mobile Dispatch | 0 | 0 | 0 | 107876.6629
Work Place Allocation Space reconfiguration | 0 | 0 | 277502.2661 | 7949.2023
WSFTP Assessment | 0 | 0 | 8605.8997 | 0
Wye Transformer Supplyimg Delta Service Remediation | 1132.8564 | 336333.8592 | 357666.9533 | 219080.4819
Grand Total | 63296791.9408 | 74832099.1609 | 93657492.3891 | 109509064.7593