## System Renewal
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020
System Renewal | ($ 000) | ($ 000) | ($ 000) | ($ 000) | ($ 000) | ($ 000)
UG Lines - Planned Asset Replacement | 20687.3171 | 21600.6686 | 22862.0886 | 23781.3514 | 24666.3876 | 25186.4068
Cable Injection Program | 4024218.93 | 4138311.98 | 4255465.29 | 4375770.5 | 4499322.59 | 4626219.48
Cable Replacement Program | 11718861.53 | 12538684.13 | 13607273.25 | 14288297.17 | 15085860.88 | 15340181.08
Emerging Cable Replacement Projects | 491686.71 | 520800.77 | 1050755.63 | 1081575.71 | 1113286.91 | 1145914.91
Major repair, refurbishment, or conversions of distribution transformers | 29999.6 | 29999.6 | 29999.47 | 29999.6 | 29999.6 | 29999.6
Pad Mount Transformer Replacement | 494104.52 | 507763.27 | 521765.72 | 536121.75 | 550843.73 | 565941.22
Submersible Transformer Replacement | 1040299.56 | 620000 | 0 | 0 | 0 | 0
Wye Transformer Supplying Delta Service Remediation | 206965.09 | 225438.69 | 227610.05 | 213999.92 | 42799.84 | 42800.06
Major repairs, refurbishment, or modifications to switches/switchgear | 100000.16 | 99999.94 | 100000.16 | 100000.16 | 100000.16 | 100000.16
Mini-Rupter Switch Replacement | 577735.79 | 592266.57 | 607089.65 | 622213.93 | 637649.39 | 653405.76
Switchgear Replacement Program | 2003445.24 | 2327403.67 | 2462129.4 | 2533372.66 | 2606624.48 | 2681944.5
Distribution Lines - Emergency/Reactive Replace | 8416.2826 | 8636.0006 | 8729.6026 | 8888.0912 | 8924.6058 | 8504.1378
LIS - Unscheduled Replacement of Failed (end of useful Life) Distribution Equipment | 350776 | 346168 | 331291 | 321119 | 276190 | 275612
Non Recoverable replacement of Distribution Equipment due to accident/vandalism | 210774.58 | 220581.01 | 220972.56 | 220972.47 | 211280.95 | 191499.23
Recoverable Replacement of distribution equipment due to Accidents/Vandalism | 530442.2 | 530600.67 | 545432.33 | 560875.95 | 570984.37 | 580023.22
Storm damage - Replacement of distribution equipment due to storm. | 999784.75 | 1000232.43 | 1005602.71 | 1005624.45 | 1010352.34 | 1010159.38
Switchgears - Unscheduled Replacement of Failed (end of useful Life) Distribution Equipment | 1420148.09 | 1431383.51 | 1420147.96 | 1421218.32 | 1400444.11 | 1140858.02
Unscheduled Replacement of Failed (end of useful Life | 4004267 | 4136745 | 4195526 | 4298340 | 4349171 | 4266252
Unscheduled Replacement of Failed (end of useful Life) Distribution Equipment - Poles, | 900090 | 970290 | 1010630 | 1059941 | 1106183 | 1039734
Overhead Lines - Planned Asset Replace | 7697.7025 | 7907.2605 | 9082.0421 | 8557.6921 | 9143.7805 | 9022.4455
44kV Insulators Replacement Program | 66000 | 68000 | 69000 | 71000 | 71000 | 71000
Fault Indicator Installation and Replacement | 503724.85 | 508424.69 | 513123.91 | 517823.26 | 522523.35 | 527222.11
Joint Use Pole Removal | 470149.09 | 480036.37 | 495311.59 | 510961.32 | 515697.17 | 519951.77
Pole Replacement Program | 4645382.81 | 4933142.85 | 5570699.74 | 5870246.27 | 6241483.03 | 6244377.32
Replacement of End of Life Automated Switches/Reclosers | 435912.24 | 447129.68 | 458594.71 | 470301.34 | 482308.36 | 494627.79
Concord MS Conversion to 27.6 kV - Phase 3 | 0 | 0 | 481500 | 0 | 0 | 0
Convert the 8.32kV Ccts into a 27.6kV Cct on Hwy 27 from Major Mack to Nashville | 0 | 0 | 400000 | 0 | 0 | 0
Elder Mill MS Conversion - 8.32kV conductors Removal | 0 | 0 | 0 | 0 | 169596.56 | 0
Elder Mill MS Conversion- Part 2 (3F2) | 280061.95 | 0 | 0 | 0 | 0 | 0
Radial Supply Remediation/Conversion - 13.8 kV to 27.6 kV on Miller Ave | 250000 | 400000 | 0 | 0 | 0 | 0
Unforeseen Projects Initiated by PowerStream | 1046471.61 | 1070526.93 | 1093812.16 | 1117359.88 | 1141171.98 | 1165266.48
Storm Hardening | 3499.998 | 7900.0168 | 7999.752 | 7499.8345 | 6900.54 | 7200.0716
Storm Hardening & Rear Lot Supply | 3499998.01 | 7900016.78 | 7999751.98 | 7499834.48 | 6900539.95 | 7200071.65
Stations/P&C - Planned & Emergency | 2086.8933 | 2670.6787 | 2826.6842 | 3324.9634 | 3335.5403 | 2492.7184
Low Voltage Bushing Replacement - Transformer Station MTS#3 - T1/T2 | 0 | 0 | 0 | 257114.38 | 300445.13 | 0
Planned Circuit Breaker Replacement Markham TS#2 J Bus, Markham TS#1 Y Bus & Lazenby TS#1 E & Z Buses | 747766.02 | 0 | 0 | 1087788.16 | 1119280.89 | 0
Planned Circuit Breaker Replacement Markham TS#3 - E & Z Buses | 0 | 370682.33 | 396732.63 | 0 | 0 | 0
Refurbish 13.8 kV Portion of Aurora MS1 - yr 1 of 2 | 0 | 0 | 0 | 0 | 0 | 322361.5
Replacement of Legacy RTU and Recloser Controllers at Morgan MS | 107244.18 | 0 | 0 | 0 | 0 | 0
Building Structural Repair to Ferndale MS | 99321.85 | 0 | 0 | 0 | 0 | 0
Capital Corrective Equipment Replacement - Stations | 262325 | 263654.34 | 264982 | 266310.59 | 267640.12 | 268968.7
Station Switchgear Replacement (ACA) 8th Line MS323 | 0 | 0 | 412338.97 | 1106666.11 | 0 | 0
Station Switchgear Replacement (ACA) Anne St. MS301 | 235714.08 | 683580.89 | 0 | 0 | 0 | 0
Station Switchgear Replacement (ACA) Big Bay Point MS304 | 0 | 242674.51 | 703403.1 | 0 | 0 | 0
Station Switchgear Replacement (ACA) Duckworth MS409 | 0 | 0 | 0 | 0 | 0 | 202204.32
Station Switchgear Replacement (ACA) Ferndale South MS303 | 0 | 242674.51 | 703403.1 | 0 | 0 | 0
Station Switchgear Replacement (ACA) Innisfil MS411 | 0 | 0 | 0 | 0 | 192751.93 | 577983.07
Station Switchgear Replacement (ACA) Patterson MS336 | 0 | 0 | 0 | 421896.31 | 895804.54 | 0
Station Switchgear Replacement (ACA) Saunders MS302 | 235714.08 | 683580.89 | 0 | 0 | 0 | 0
Station Switchgear replacements (ACA) Cundles West MS408 | 0 | 0 | 0 | 0 | 195567.64 | 587128.33
Emergency Corrective Capital Funds for Emergency P&C Purchases | 37801.06 | 38109.32 | 38417.45 | 38725.42 | 39033.68 | 39341.7
KDU-10 Replacement MTS#1 and #2 | 114485.91 | 0 | 0 | 0 | 0 | 0
RTU Replacement Program (Proactive) | 0 | 0 | 0 | 0 | 178184.92 | 178841.44
RTU Replacement Program (Reactive) | 96721.08 | 97090.92 | 97460.76 | 97830.36 | 98200.44 | 98570.04
Purchase of a Critical Spare - 2000A Siemens SPS2-38-31.5 outdoor SF6 breaker. | 149800.04 | 0 | 0 | 0 | 0 | 0
Spare Gas Insulated Switchgear Cells for VTS3, VTS2 & MTS4 | 0 | 0 | 0 | 0 | 0 | 168687.24
Spare HD4 Circuit Breakers and Ground & Test Devices (GTD) for Greenwood TS. | 0 | 0 | 161314.14 | 0 | 0 | 0
Purchase of Critical Spare Parts - MultiYear | 0 | 48630.96 | 48632.04 | 48632.04 | 48630.96 | 48632.04
Total System Renewal | 42388.1936 | 48714.6252 | 51500.1695 | 52051.9325 | 52970.854 | 52405.7801

## System Access
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020
System Access | ($ 000) | ($ 000) | ($ 000) | ($ 000) | ($ 000) | ($ 000)
New Connections and Subdivisions | 13670.6901 | 14718.2871 | 15801.1911 | 16403.5884 | 17037.0065 | 17674.497
Locating for Capital Projects. | 59009.52 | 59009.4 | 59009.4 | 59009.4 | 59009.4 | 59009.4
New Commercial Subdivision Development Place Holder (May not happen every year) | 1600009.59 | 1601908.21 | 1603808.42 | 1605706.87 | 1607606.99 | 1609506.34
NEW OVER HEAD AND UNDERGROUND SECONDARY RESIDENTIAL SERVICE CONNECTION | 371774.43 | 394080.5 | 417725.3 | 442788.82 | 469356.02 | 497517.6
New Residential Subdivision Development | 7895964.32 | 8633109.46 | 9392346.05 | 9759944.44 | 10135065.55 | 10517394.46
New Services - new and upgrades - COMMERCIAL, INDUSTRIAL, INSTITUTIONAL (ICI) SERVICES | 197602.42 | 209720.4 | 222003.93 | 235574.8 | 249747.74 | 264783.57
New Services (new and upgrades) - Commercial, Industrial and Institutional (ICI) Projects | 74322.95 | 78615.95 | 83371.81 | 88331.24 | 93599.87 | 99305.63
New Subdivision Development - Secondary Service Lateral | 1989033.83 | 2173795.88 | 2364815.48 | 2458773.36 | 2554113.16 | 2650953.97
O/H and U/G Residential Service Upgrades | 928921.15 | 984656.54 | 1043736.97 | 1106360.23 | 1172741.22 | 1243108.51
Open work order for ICI meter installations. | 395939.04 | 419695.17 | 444877 | 471569.56 | 513960.48 | 544574.26
SMALL NEW AND UPGRADE COMMERCIAL SERVICES | 60592.95 | 64228.72 | 68082.24 | 72167.77 | 76496.87 | 81086.46
Subdivision - Underground Residential Distribution System Final Close out and Inspection. | 97519.88 | 99466.85 | 101414.49 | 103361.95 | 105309.19 | 107256.83
Road Authority | 6258.8908 | 9701.9733 | 8678.8578 | 8356.6679 | 5718.6165 | 6221.949
Road Authority Expenditures | 6258890.78 | 6258890.78 | 6258890.78 | 6258890.78 | 6258890.78 | 6258890.78
Metering | 3886.5321 | 3025.0918 | 3060.2723 | 3720.0203 | 4714.6473 | 6555.7222
Advanced Metering Infrastructure (AMI) Security Audit | 0 | 0 | 63027 | 0 | 0 | 63258
Buttonville Metering Upgrade | 100000 | 0 | 0 | 0 | 0 | 0
Commercial and Industrial Meter Re-Verification Program (Commercial meters - Non Smart) | 486225.47 | 350000 | 350000 | 506242.69 | 512915.27 | 519587.6
Failed Meter Replacement | 171114.52 | 172355.35 | 173596.97 | 174838.19 | 176079.06 | 81465.43
Feeder 63M2 Metering Unit Relocation | 81022.38 | 0 | 0 | 0 | 0 | 0
Firmware Upgrades in Smart Meters | 30751.8 | 20886.24 | 21271.46 | 16242.48 | 16531.44 | 33640.68
GS>50 MIST Meter Program Implementation | 1592951.72 | 1196859.16 | 1303795.28 | 1308609.96 | 1195724.96 | 574761.12
Metering customer facing Interface Improvements - Planning | 0 | 0 | 0 | 0 | 0 | 61239.52
Obsolete Revenue Metering Removal from TSs | 0 | 0 | 0 | 0 | 20198.36 | 20571.77
Open work order for ICI meter installations. | 148000.62 | 156880.68 | 166293.66 | 176269.95 | 186846.67 | 198057.13
Residential Meter "ICON F" Meter Replacement Program | 411051.17 | 494361.2 | 494746.32 | 872435.17 | 2280383.96 | 4517454.49
Smart Meter Network Expansion and Enhancements | 100000 | 265546 | 100000 | 250000 | 100000 | 266016
Suite Meter Installation | 379625.33 | 0 | 0 | 0 | 0 | 0
Suite Meter Re-Verification Program | 127950.84 | 122399.6 | 200000 | 200000 | 200000 | 200000
Upgrade 2.5 Element Services to 3 Element Services. | 157985.66 | 159857.95 | 161730.49 | 163603.09 | 0 | 0
Smart Meter Test Facility | 0 | 85945.62 | 25811.12 | 51778.74 | 25967.62 | 19670.44
Wholesale Meter Replacement with TCP/IP | 99852.55 | 0 | 0 | 0 | 0 | 0
Other Customer Initiated Work | 329.005 | 786.8023 | 929.4014 | 1080.3904 | 1255.7815 | 1414.541
Unforeseen Projects Initiated by the customer Total | 329005 | 786802.34 | 929401.43 | 1080390.39 | 1255781.47 | 1414541
RGEN FIT/microFIT (Net Rate Base) | 0 | 0 | 0 | 0 | 0 | 0
Total System Access (Rate Base) | 24145.1183 | 28232.1543 | 28469.7226 | 29560.667 | 28726.0518 | 31866.7092

## System Service
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020
System Service | ($ 000) | ($ 000) | ($ 000) | ($ 000) | ($ 000) | ($ 000)
Additional Capacity - Stations | 14114.5263 | 16175.3681 | 9438.5308 | 12260.5625 | 2628.7098 | 4296.2388
Aurora MS4 Expansion | 0 | 0 | 0 | 0 | 489782.84 | 182427.87
Aurora MS6 Expansion | 0 | 456528.89 | 147738.52 | 0 | 0 | 0
Hydro One Asset Purchase - Vaughan | 50000 | 0 | 0 | 0 | 0 | 0
Letitia MS (MS413)- Increase Capacity from 5MVA to 10MVA | 0 | 0 | 0 | 644864.36 | 1389927.01 | 0
Markham TS #5 - Land Purchase | 0 | 0 | 0 | 0 | 0 | 481500
Painswick South MS: New 44-13.8kV, 20 MVA, 4-Feeder Substation | 2690053.62 | 0 | 0 | 0 | 0 | 0
Patterson MS#2 - New 44-13.8kV, 2x5 MVA, 2-feeders MS | 0 | 0 | 0 | 0 | 748999.96 | 1931977.93
New MS, Dufferin South MS#2 - Alliston | 0 | 749000.08 | 2299073.55 | 4899189.08 | 0 | 0
New MS, Harvie Rd. MS - Barrie | 0 | 748999.97 | 0 | 0 | 0 | 1700333
New MS, Little Lake MS#2 - Barrie | 1125310.92 | 1603655.84 | 3095457.46 | 0 | 0 | 0
New MS, Melbourne MS#2 - Bradford | 0 | 749000.08 | 1651392.79 | 3187429.75 | 0 | 0
New MS, Mill Street MS#2 - Tottenham | 0 | 642000 | 1821953.12 | 3529079.27 | 0 | 0
Vaughan TS #4 | 10249161.8 | 11226183.2 | 422915.36 | 0 | 0 | 0
Additional Capacity -Lines | 9202.6093 | 17768.5578 | 17231.7307 | 11698.0147 | 18181.6154 | 12153.0306
2x44kV circuits (23M22 & 23M23) from Midhurst TS2 to Essa Rd. and Mapleview Dr | 5011704.62 | 3606692.03 | 4460059.64 | 0 | 0 | 0
44kV Supply to Dufferin St. South MS#2 - Alliston | 0 | 0 | 0 | 268976.63 | 0 | 0
Add one 27.6 kV Cct on Steeles Ave From Jane St to Keele St | 0 | 0 | 0 | 0 | 1110310.32 | 0
Add one additional 27.6 kV Cct on 19th Ave from Bayview to Bathurst St | 0 | 0 | 0 | 340922.52 | 0 | 0
Add one Additional 27.6 kV Cct on Major Mack and 9th Line | 0 | 0 | 0 | 0 | 0 | 1248939.09
Build double ccts 27.6kV pole line on 19th Ave between Leslie St and Bayview Ave | 0 | 0 | 1221747.41 | 0 | 0 | 0
Dufferin South MS#2 - 13.8 kV Feeder Integration | 0 | 0 | 0 | 304842.01 | 0 | 0
Extend 23M8 Circuit on Bayfield from Livingstone to Cundles | 0 | 0 | 0 | 0 | 495456.98 | 0
Hydro One Asset Purchase - Barrie (23M3) | 278200.04 | 0 | 0 | 0 | 0 | 0
Install 2 Ccts Pole Line on Langstaff Rd from Huntington Rd to Hwy 50 | 0 | 0 | 0 | 0 | 546338.61 | 0
Install 2nd 27.6 kV Cct on Woodbine Ave from Elgin Mills Rd to 19th Ave | 0 | 0 | 0 | 218497.53 | 0 | 0
Install 2x13.8kV ccts Pole Line on Leslie St from Wellington St to St.John's Sdrd | 0 | 1131417.96 | 0 | 0 | 0 | 0
Install a new 4 ccts CNR yard overhead crossing on the south side of Hwy 7 | 510232 | 0 | 0 | 0 | 0 | 0
Install Double Cct Pole Line on Major Mackenzie - Hwy 27 to Huntington Rd | 0 | 0 | 0 | 1819607.52 | 0 | 0
Install Double Ccts 27.6 kV Pole Line on 16th Ave from 9th Line to Reesor Road | 0 | 0 | 0 | 0 | 1302301.42 | 0
Install one 13.8kV Cct on Bryne Dr - Mapleview to Ardagh | 0 | 0 | 0 | 0 | 0 | 285157.23
Install one 13.8kV Cct on Dunlop St W - Miller to Ferndale | 0 | 0 | 0 | 0 | 0 | 351370.31
Install one 44kV cct on Mapleview Drive West - Essa to Veterans | 0 | 0 | 0 | 855914.4 | 0 | 0
Install One Additional 27.6 kV Cct on Elgin Mills Rd - Part 1 Leslie St to Bayview Ave | 0 | 337937.97 | 0 | 0 | 0 | 0
Install One Additional 27.6 kV Cct on Elgin Mills Rd - Part 2 Leslie St to Woodbine Ave | 0 | 361311.65 | 0 | 0 | 0 | 0
Install Two 27.6kV Ccts on 16th Ave from Hwy 404 to Woodbine Ave | 0 | 1108593.03 | 0 | 0 | 0 | 0
Install two additional 27.6 kV ccts on Hwy 7 from Jane St to Weston Rd | 0 | 0 | 0 | 0 | 0 | 2084274.57
Installation of two new circuits on Leslie Street - 19th Ave to Stouffville Sdrd | 0 | 0 | 0 | 0 | 0 | 1392643.85
Little Lake MS#2 - 13.8kV Feeder Integration | 0 | 0 | 294934.71 | 0 | 0 | 0
Little Lake MS#2- 44 kV Supply | 0 | 0 | 289328.04 | 0 | 0 | 0
Markham TS #4 Feeder Egress Part 3 | 0 | 0 | 0 | 0 | 0 | 4910872.04
Melbourne MS#2 - 44 kV Supply | 0 | 0 | 0 | 125300.28 | 0 | 0
Melbourne MS#2-13.8kV Feeder Integration | 0 | 0 | 0 | 346944.84 | 0 | 0
Mill St. MS#2 - 44 kV supply to Mill St. MS#2 | 0 | 0 | 0 | 377076.77 | 0 | 0
Mill St. MS#2 - 8.32 kV Feeder Integration | 0 | 0 | 0 | 393105.02 | 0 | 0
New 27.6kV Pole Line on 19th Ave from Leslie to Woodbine Ave | 0 | 0 | 0 | 0 | 1020587.44 | 0
New 44 kV Feeder (13M7) Barrie TS X Huronia & Big Bay Pt. Rd | 76924.53 | 4726804.66 | 0 | 0 | 0 | 0
Painswick South MS-13.8kV Feeder Integration | 257569.42 | 0 | 0 | 0 | 0 | 0
Painswick South MS-44kV Supply to Painswick South MS | 279034.31 | 0 | 0 | 0 | 0 | 0
Pole Line Installation Double Cct on Major Mack - Huntington Rd to Hwy 50 | 0 | 0 | 0 | 0 | 1307146.83 | 0
Rebuild 27.6 kV pole line for 4 Ccts on Warden Ave from Major Mack to Elgin Mills | 0 | 0 | 0 | 2061718.73 | 0 | 0
Rebuild 27.6 kV pole line into 4 Ccts on Warden Ave from Hwy 7 to 16th Ave | 0 | 2039163.21 | 0 | 0 | 0 | 0
Rebuild 27.6 kV pole line into 4 Ccts on Warden Ave from Hwy 7 to Major Mack Dr | 128400 | 0 | 0 | 0 | 0 | 0
Rebuild 27.6 kV pole line on Warden Ave into 4 ccts from 16th Ave to Major Mack | 0 | 0 | 2050441.19 | 0 | 0 | 0
Rebuild Pole Line on 14th Ave into 4 cct -From Warden Ave to Kennedy Rd | 0 | 0 | 1206790 | 0 | 0 | 0
Two Ccts on Birchmount Rd from ROW to 14th Ave | 0 | 0 | 0 | 0 | 0 | 1502063.46
Two Ccts on Birchmount Rd from ROW to Enterprise | 1201150.09 | 0 | 0 | 0 | 0 | 0
Vaughan TS#4 Feeder Integration - Part 1 | 0 | 0 | 7341954.76 | 0 | 0 | 0
Vaughan TS#4 Feeder Integration - Part 2 | 0 | 0 | 0 | 3176401.9 | 0 | 0
Vaughan TS#4 Feeder Integration - Part 3 | 0 | 0 | 0 | 0 | 9630000 | 0
27.6 kV Pole Line on 14th Ave from Hwy 48 to 9th Line | 0 | 2039163.21 | 0 | 0 | 0 | 0
27.6 kV Pole Line on Reesor Rd from Hwy 7 to 14th Ave | 0 | 1496942.27 | 0 | 0 | 0 | 0
Double Circuit existing 23M8 Circuit from Bayfield & Livingstone to Little Lake MS. | 0 | 0 | 0 | 0 | 2395508.81 | 0
Highway Crossing Remediation - Hwy 400/ Anne St. | 0 | 475013.75 | 0 | 0 | 0 | 0
Highway Crossing Remediation - Hwy 400/ Brock St. | 0 | 0 | 0 | 1038486.41 | 0 | 0
Highway Crossing Remediation - Hwy 400/ Wellington St. | 0 | 82788.15 | 0 | 0 | 0 | 0
Highway Crossing Remediation - Hwy 407/ East of Dufferin | 1100409.32 | 0 | 0 | 0 | 0 | 0
Design Only budget for Controllable Capital Projects | 358984.94 | 362729.9 | 366474.92 | 370220.17 | 373965.01 | 377710.03
Reliability including Dist. Auto. | 3943.3272 | 3159.238 | 4182.546 | 4657.6644 | 4549.7629 | 5161.4075
Automatic Feeder Restoration Program | 490112.35 | 500776.17 | 515472.77 | 528594.56 | 541286.25 | 550253.5
Centennial MS-Penetang-install OH reclosers 4.16kV feeders outside station SCADA enabled | 0 | 0 | 468235.47 | 0 | 0 | 0
Distribution Automation Switches / Reclosers | 1850276 | 1530249 | 2080456.92 | 2283805.38 | 2354895.34 | 2409740.11
IntelliTEAM Pilot Project - Phase 2 | 214000.04 | 0 | 0 | 0 | 0 | 0
Amber MS - RTU Upgrade | 42637.3 | 0 | 0 | 0 | 0 | 0
Communication & Automation Upgrades | 0 | 0 | 0 | 88305 | 90720.16 | 93195.9
Convert Three MS's in Barrie to WiMax Communications | 0 | 0 | 0 | 44805.47 | 22453.83 | 22554.66
Convert Two MS's in Barrie to WiMax Communications | 22049.69 | 22150.58 | 0 | 0 | 0 | 0
DACS Inverters and RTU's removal | 0 | 0 | 0 | 0 | 20198.36 | 20571.77
Expand Communication Network to issolated Stations in Tottenham and Penetanguishene. | 60000 | 60738 | 0 | 0 | 0 | 0
FDIR - Scada and Smartgrid | 0 | 0 | 62851.38 | 0 | 63169.54 | 0
HMI Upgrades | 0 | 0 | 0 | 85488.95 | 87126.91 | 88784.42
Markham TS#3 Substation Communications upgrade | 0 | 0 | 0 | 0 | 0 | 46877.67
Markham TS#3E Substation Communications upgrade | 0 | 0 | 0 | 0 | 0 | 46877.67
Redundent Fibre Path to Aurora MS#4 Sub-Station | 0 | 216609.72 | 0 | 0 | 0 | 0
Richmond Hill TS#1 Substation Communications upgrade | 0 | 0 | 0 | 0 | 45644.12 | 0
Separate Transformer & Breaker SCADA Alarms - Markham TS # 1 & TS # 2 | 0 | 75160.92 | 0 | 0 | 0 | 0
System Remote Fault Indicator Deployment | 90520.27 | 90612.56 | 90705.2 | 90797.72 | 90890.23 | 90982.28
Upgrade of Communications to WiMAX - AMS2 and AMS3 | 20970.58 | 0 | 0 | 0 | 0 | 0
Upgrade of Communications to WiMAX - AMS7 and AMS8 | 0 | 21062.65 | 0 | 0 | 0 | 0
Upgrade of RTUS in 2 PMH Switchgear to Support Smart Grid Initiatives, | 61426.57 | 61777.6 | 62128.63 | 62479.45 | 0 | 0
230kV Line Protection Upgrade Markham TS#3 | 0 | 0 | 0 | 85133.3 | 0 | 0
Aurora MS2 Feeder Protection Upgrades | 0 | 0 | 0 | 72263.65 | 64758.62 | 0
Bus Differential Protection Upgrades | 0 | 0 | 0 | 252221.13 | 257040.92 | 261913.49
Decommission Capacitor Bank - MTS#3 | 0 | 0 | 0 | 0 | 19516.61 | 0
Feeder Protection Upgrade at MTS#3, RHTS#2 | 156858.91 | 158425.28 | 314370.49 | 305050.63 | 0 | 0
MS Feeder Protection Upgrades - AMS5 | 0 | 0 | 0 | 125527.07 | 128567.05 | 0
Purchase and Installation of Animal Guards at Various Stations | 15120.74 | 15243.7 | 15367.3 | 15490.14 | 15613.28 | 15736.68
Installation of Transformer Bushing Monitoring on TS and MS txmrs | 0 | 229000 | 229000 | 229000 | 229000 | 232000
On-Line Dissolved Gas Oil Monitoring of MS and CS transformers | 121548.16 | 122431.84 | 123315.43 | 0 | 0 | 0
Purchase & Installation 8 Self Recharging Transformer Air Breathers on TS transformers | 0 | 0 | 0 | 0 | 0 | 73036.52
Purchase & Installation of 7 online Transformer Tap Changer Oil Filtration Systems | 55000 | 55000 | 55000 | 55000 | 0 | 0
Purchase and Installation of Online Dissolved Gas Monitoring on 4 TS Power Transformers | 240651.53 | 0 | 0 | 0 | 0 | 0
Purchase of new High Resolution FLIR Infrared camera to replace existing unit | 0 | 0 | 0 | 0 | 0 | 67475.04
Purchase of a Mobile Unit Station | 0 | 0 | 0 | 0 | 0 | 885480.8
T1/T2 Differential Protection Upgrade | 0 | 0 | 0 | 246470.97 | 251175.98 | 255926.95
Transformer Temperature Monitoring - Aurora MS# 1,2,3&4 | 0 | 0 | 165642.46 | 87230.96 | 0 | 0
Upgrade Bus, Line & Transformer protections - Richmond Hill TS #2 | 0 | 0 | 0 | 0 | 267705.69 | 0
Upgrade of Richmond Hill TS2's Legacy Integrated Station Control System | 131404.37 | 0 | 0 | 0 | 0 | 0
Walker MTS#2 - drainage remediation | 370750.64 | 0 | 0 | 0 | 0 | 0
Station Safety & Security | 61.5146 | 148.6547 | 149.0745 | 234.0837 | 532.9922 | 341.3839
Arc Flash Mitigation Projects | 11514.56 | 11740.28 | 12006.12 | 26176.54 | 26897.52 | 27636.86
Ground Grid Refurbishments | 0 | 0 | 0 | 0 | 111044.6 | 0
Sorbweb Oil Containment Systems | 50000 | 60000 | 60000 | 60000 | 60000 | 60000
Station Brand Imaging - Nomenclature, Signage | 0 | 16914.43 | 17068.36 | 17222.89 | 0 | 0
Installation/Retrofit of SWI Video security system TS stations | 0 | 60000 | 60000 | 60000 | 60000 | 60000
Installation of SWI Video security system at MS stations | 0 | 0 | 0 | 0 | 119722.02 | 120223.11
Station Security - Station Card Access at Jackson TS, Lazenby 1 and Lazenby 2 | 0 | 0 | 0 | 0 | 41596.9 | 0
Station Security - Station Card Access Cockburn TS, and Walker TS and Fry TS | 0 | 0 | 0 | 0 | 41639.94 | 0
Station Vegetation Enhancements at TS's and MS's | 0 | 0 | 0 | 70684.22 | 72091.2 | 73523.89
Smart Grid/RGEN - System Related | 0 | 1070.0001 | 1070.0001 | 1070.0001 | 1070.0001 | 1069.9998
Operations Technologies Rate Based | 0 | 535000.03 | 535000.04 | 535000.04 | 535000.04 | 534999.92
Storage Technologies Rate Based | 0 | 535000.03 | 535000.04 | 535000.04 | 535000.04 | 534999.92
Total System Service | 27321.9773 | 38321.8186 | 32071.8821 | 29920.3253 | 26963.0804 | 23022.0605
Note: Deferral Account Smart Grid and RGEN amounts have been removed for this table for 2015

## General Plant
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020
General Plant | ($ 000) | ($ 000) | ($ 000) | ($ 000) | ($ 000) | ($ 000)
Customer Information System (CIS) | 11703.4002 | 3991.0998 | 6815.9001 | 2996 | 2996.0001 | 3103
CIS Modifications | 1403400 | 3884099.88 | 6708900 | 2995999.96 | 2996000.08 | 2995999.96
CIS Replacement Project | 10300000.2 | 0 | 0 | 0 | 0 | 0
CS integration services with Outage Contact Centre | 0 | 106999.96 | 107000.08 | 0 | 0 | 107000.08
IT & Info/Communication Systems | 5301.6504 | 7560.0754 | 7016.4242 | 4587.3004 | 7244.3898 | 8318.3634
All Out Security Upgrade | 0 | 10807 | 0 | 0 | 10807 | 0
Application Review | 0 | 96300.01 | 0 | 0 | 0 | 0
Asset Analytic in C55 | 0 | 0 | 243157.56 | 0 | 0 | 0
BizTalk Upgrade | 0 | 0 | 0 | 0 | 252500.12 | 0
Business Intelligence - Dashboards | 0 | 0 | 0 | 0 | 0 | 123703.98
C55 Phase 2 (Performance Management) | 0 | 146348.4 | 0 | 0 | 0 | 0
C55 Phase 2 (Replacement of CBMS) | 398810.4 | 0 | 0 | 0 | 0 | 0
Client Computing | 411950.08 | 400000.28 | 424999.64 | 424999.76 | 441667.08 | 454166.88
Complete Sonet Loop at YorkTech/Addiscott | 0 | 34632.59 | 0 | 0 | 0 | 0
Control Room Map Cabinet Panel upgrade | 80250 | 0 | 0 | 0 | 0 | 0
Customer Experience Plan Outcomes | 26749.96 | 0 | 0 | 0 | 0 | 0
Customer Web Portal, Integrated Self-Serve & Mobile Applications | 0 | 267500 | 374500 | 0 | 0 | 107000.08
Cyber Security Audit & Upgrades | 0 | 0 | 0 | 52243.81 | 63441.4 | 65264.76
Data Loss Prevention - Phase 1 | 90949.96 | 0 | 0 | 0 | 0 | 0
Disaster Recovery | 0 | 50289.93 | 50289.93 | 50290.05 | 50290.06 | 50290.04
Electronic MMR (Material Movement Record) | 0 | 0 | 0 | 0 | 55672.4 | 167016.96
Enterprise Content Management | 0 | 0 | 0 | 0 | 0 | 624309.24
Expansion of Link between Addiscott & Cityview | 96300 | 0 | 0 | 0 | 0 | 0
Fieldworker System Changes & Equipment Replacement | 80250 | 0 | 0 | 64200 | 80250 | 0
File Share POC - Mobility file share | 0 | 54034.87 | 0 | 0 | 0 | 0
Finance Emerging Projects | 135000 | 219000 | 241000 | 266000 | 293000 | 323000
GIS Emerging Projects | 150000 | 158000 | 166000 | 175000 | 184000 | 194000
GIS Landbase Data (Parcels, Streets & Points of Interest. (Year 5 of a 5 year contract). | 54124.84 | 56046.6 | 56046.6 | 56046.6 | 56046.6 | 56046.6
GIS StreetScape Images (Year 4 of 4) | 112350 | 112350 | 112350 | 112350 | 0 | 0
Global Positioning System (GPS)for As Built Data Collection | 0 | 0 | 0 | 0 | 35277.55 | 0
Identity and Access Management | 96300.12 | 0 | 0 | 0 | 0 | 0
Implementation of a new ADMS Platform for Operations - Phase 1 | 0 | 0 | 0 | 0 | 0 | 121365.4
Implementation Of GE PulseNET Network Management System for Scada Licensed Radio - Phase One. | 0 | 25269.08 | 0 | 0 | 0 | 0
Intergrate GPS technology with Responder OMS | 0 | 0 | 0 | 0 | 0 | 74451.85
IT Management System (Phase III) | 0 | 0 | 0 | 0 | 0 | 197714.76
IVR Corporate Directory replacement | 53500.04 | 0 | 0 | 0 | 0 | 0
IVR Replacement | 0 | 0 | 0 | 0 | 0 | 540350.12
IVR/OMS changes Customer Call Back Solution and Regional Granularity | 80250 | 0 | 0 | 0 | 0 | 0
JD Edwards Application Upgrade | 0 | 0 | 0 | 0 | 2396800.03 | 0
JD Edwards High Availability Design Planning | 0 | 214000.04 | 0 | 10700.08 | 0 | 0
JD Edwards System Hardware Upgrade (2019) | 0 | 0 | 0 | 0 | 0 | 605732.55
JD Edwards version Upgrade Design Planning | 0 | 0 | 0 | 0 | 162105 | 0
JDE Workload Automation | 0 | 97263.01 | 0 | 0 | 0 | 0
JDEdwards Enhancements | 53500.04 | 133750.04 | 101650.04 | 133750.14 | 100045.03 | 200089.97
Legacy Easement Transactions for Capital | 13920.81 | 13995.48 | 14070.76 | 14145.46 | 14220.1 | 14295.16
Major Upgrade to Ent. System | 0 | 0 | 0 | 49969.03 | 0 | 100045.03
Migration of Operations WAN to a PowerStream Owned Solution - Phase 1 | 134101.18 | 0 | 0 | 0 | 0 | 0
Misc Software Upgrades (FormScape, AutoCAD, etc.) | 0 | 0 | 0 | 0 | 20606.48 | 51515.19
MSBPI | 0 | 10000.13 | 60000.2 | 899999.48 | 50000.08 | 10000.24
Netmotion | 53500.03 | 0 | 0 | 0 | 0 | 0
OM&A Budget Development (database & optimization process) | 0 | 86455.99 | 510090 | 0 | 0 | 0
Phone System enhancement Upgrade | 0 | 0 | 0 | 0 | 50500 | 908999.37
PowerStream Website Planning/Development and Enhancement to existing Site. | 0 | 0 | 0 | 0 | 0 | 33403.32
PowerStream Website Upgrade Project | 214000.03 | 0 | 0 | 0 | 0 | 0
Printer & Copier Fleet Replacement | 42799.97 | 200000.08 | 250000.15 | 39999.84 | 39999.72 | 39999.84
RFGen Upgrade | 10700.08 | 0 | 0 | 10700.08 | 0 | 0
Security - Additions & Enhancements | 0 | 200090.08 | 200089.96 | 200089.95 | 200090.08 | 200089.96
Server Refresh | 267499.97 | 319999.48 | 339999.96 | 360000.44 | 379999.8 | 400000.27
SIP POC (Voice SIP Trunking) | 0 | 96300 | 0 | 0 | 0 | 0
Softphone Technology | 0 | 0 | 0 | 0 | 0 | 108070
SQL Expansion | 90949.97 | 100000.04 | 0 | 50000.08 | 0 | 100000.14
CASCADE System Interface to New Operations Work Management System | 0 | 0 | 86456.12 | 0 | 0 | 0
CMMS Mobile Application Upgrade (Tablet solution) | 0 | 85171.34 | 0 | 0 | 0 | 0
PI System Hardware and System Upgrade | 0 | 0 | 0 | 82681.68 | 0 | 0
Purchase PI Enterprise Agreement | 0 | 0 | 0 | 0 | 0 | 457505.2
Storage Expansion (Data) | 321000.01 | 300000.24 | 300000.23 | 300000.01 | 999999.53 | 400000.28
Talent Management System | 0 | 25000 | 0 | 0 | 0 | 0
Technology changes in Control Room. | 0 | 0 | 0 | 0 | 0 | 272876.8
Technology Upgrades Improving the System Control Room Environment | 52601.14 | 52986.24 | 53371.46 | 53756.96 | 54141.96 | 54527.3
Third Party Contact Centre Systems Integration- Day to Day | 0 | 0 | 432280 | 0 | 0 | 0
Upgrade of the Electronic Visual Display Wall (EVDW) to LED Light Engines - Phase 1 | 0 | 0 | 0 | 0 | 175545.54 | 175789.44
Upgrade of the Radio over Internet Protocol (RoIP) Environment of the Operations Voice Radio System | 0 | 0 | 197008.37 | 0 | 0 | 0
Upgrade OMS to Advanced Distribution Management System (ADMS) | 0 | 0 | 0 | 0 | 0 | 223924.72
Upgrade Responder to 11.X | 0 | 133672.98 | 0 | 0 | 0 | 0
Upgrade Server O/S | 0 | 300000.24 | 0 | 50000.08 | 0 | 0
Upgrade to IVR and Outage Communications Systems. | 0 | 0 | 151298 | 0 | 0 | 0
Upgrade to PowerStream's Operations Network CyberSecurity Posture - Phase 1 | 257501.75 | 258118.21 | 258734.77 | 0 | 0 | 0
Upgrade/Expand Tape Library (DR and PROD) | 0 | 0 | 600000.36 | 0 | 0 | 200000.1
UPK Upgrade | 0 | 10807 | 0 | 0 | 10807 | 0
VDI Project – Phase 4 XenApp & Virtual Desktops Expansion | 96300 | 49999.97 | 50000.08 | 0 | 300000.24 | 50000.08
Contact Centre Workforce Management | 0 | 214000 | 321000 | 0 | 0 | 0
Lines Mobile Equipment | 119840 | 150870 | 120910.04 | 77817.88 | 77817.88 | 77817.88
Metering WFM - Enhancements | 0 | 0 | 53500.04 | 0 | 53500.04 | 0
Metering WFM - Planning | 58850.08 | 0 | 0 | 0 | 0 | 0
Mobile Workforce | 42799.96 | 202016.08 | 445119.92 | 250058.99 | 100259.08 | 0
Work Force Management / Mobile Dispatch | 1605000 | 2674999.97 | 802500 | 802500 | 535000.04 | 534999.92
Buildings & Emerging Operations | 3696.2767 | 655.1499 | 713.2681 | 779.113 | 898.7042 | 1208.3796
Barrie Building Renovation Project 2015 | 3149489.32 | 0 | 0 | 0 | 0 | 0
Emergency Capital work as required for facilities | 390036.56 | 398168.4 | 402555.33 | 406942.36 | 411543.44 | 417027.12
Lazenby Storage Facility | 0 | 0 | 0 | 0 | 68985.4 | 244116.04
Markham TS#4 Heating Improvements | 0 | 0 | 0 | 7726.63 | 0 | 0
Connect Lazenby 1 to City Water and Sewer | 0 | 0 | 0 | 0 | 0 | 75330
Upgrade to Station Facilities (Building / Civil work) MultiYear | 103250.78 | 49981.64 | 50213 | 50444 | 50675.24 | 50906.35
Emerging Issues - Operations Capital | 53500.02 | 206999.86 | 260499.76 | 314000.04 | 367500.11 | 421000.12
Fleet | 2273.7502 | 2600.1001 | 2161.3998 | 2386.1001 | 2573.3498 | 2423.55
Backhoe/Loader | 0 | 0 | 123049.97 | 0 | 0 | 0
Bucket Truck | 0 | 428000.08 | 0 | 0 | 0 | 0
Bucket Truck | 481500 | 0 | 0 | 0 | 0 | 0
Bucket Truck | 0 | 428000.08 | 0 | 0 | 0 | 0
Bucket Truck | 0 | 428000.08 | 0 | 0 | 0 | 0
Bucket Truck | 0 | 428000.08 | 0 | 0 | 0 | 0
Bucket Truck | 0 | 428000.08 | 0 | 0 | 0 | 0
Bucket Truck | 0 | 0 | 374500.04 | 0 | 0 | 0
Bucket Truck | 0 | 0 | 427999.96 | 0 | 0 | 0
Bucket Truck | 481500 | 0 | 0 | 0 | 0 | 0
Bucket Truck | 379849.96 | 0 | 0 | 0 | 0 | 0
Bucket Trucks | 0 | 0 | 0 | 0 | 0 | 1390999.98
Bucket Trucks | 0 | 0 | 0 | 2193499.97 | 0 | 0
Bucket Trucks | 0 | 0 | 0 | 0 | 1604999.88 | 0
Car/SUV | 0 | 0 | 48150 | 0 | 0 | 0
Cargo Van | 0 | 0 | 48150 | 0 | 0 | 0
Cargo Van | 0 | 0 | 48150 | 0 | 0 | 0
Emergency Fleet Breakdown Repairs | 128400 | 128400 | 128400 | 128400 | 128400 | 133750.04
Flatbed with crane | 321000 | 0 | 0 | 0 | 0 | 0
Install Cargo Area Protectors | 48150 | 0 | 0 | 0 | 0 | 0
Pickup | 53500.04 | 0 | 0 | 0 | 0 | 0
Pickup | 0 | 0 | 58849.97 | 0 | 0 | 0
Pickup | 0 | 58849.96 | 0 | 0 | 0 | 0
Pickup | 0 | 58849.96 | 0 | 0 | 0 | 0
Pickup | 0 | 58849.96 | 0 | 0 | 0 | 0
Pickup | 0 | 0 | 58849.97 | 0 | 0 | 0
Pickup | 0 | 0 | 58849.97 | 0 | 0 | 0
Pickup | 0 | 0 | 58849.97 | 0 | 0 | 0
Pickup | 0 | 58849.96 | 0 | 0 | 0 | 0
Pickup | 0 | 0 | 58849.97 | 0 | 0 | 0
Pickups | 149800.04 | 0 | 0 | 0 | 0 | 0
Pickups | 0 | 0 | 117699.94 | 0 | 0 | 0
Pickups | 0 | 0 | 106999.97 | 0 | 0 | 0
Pickups and misc light duty vehicles | 0 | 0 | 0 | 0 | 0 | 888100.04
Pickups and misc light duty vehicles | 0 | 0 | 0 | 0 | 829250.08 | 0
SUV | 0 | 0 | 48150 | 0 | 0 | 0
SUV | 0 | 0 | 48150 | 0 | 0 | 0
SUV | 0 | 0 | 48150 | 0 | 0 | 0
SUV | 0 | 0 | 48150 | 0 | 0 | 0
SUV | 0 | 0 | 48150 | 0 | 0 | 0
SUV | 0 | 0 | 48150 | 0 | 0 | 0
SUV | 0 | 0 | 48150 | 0 | 0 | 0
SUV | 0 | 0 | 42799.96 | 0 | 0 | 0
Tools | 10700.08 | 10699.97 | 10700.08 | 10700.08 | 10699.85 | 10699.96
Van | 37450.03 | 0 | 0 | 0 | 0 | 0
Van | 37450.03 | 0 | 0 | 0 | 0 | 0
Van | 0 | 37449.92 | 0 | 0 | 0 | 0
Van Pool Van | 48150 | 48150 | 53500.04 | 53500.03 | 0 | 0
Van Pool Vans | 96300 | 0 | 0 | 0 | 0 | 0
Tools | 569.6313 | 467.4934 | 473.4857 | 819.8963 | 708.6099 | 710.7285
Go Pro Video Cameras and accessories | 3210 | 0 | 0 | 0 | 0 | 0
Load Limiters | 0 | 0 | 0 | 26749.97 | 0 | 0
Metering Tools and Equipment | 77040 | 77040 | 77040 | 77040 | 77040 | 77040
Mobile Office Equipment Enhancements | 2140.04 | 0 | 2354.08 | 0 | 2589.44 | 0
Mobile Tablets for Design Techs | 3638.08 | 0 | 0 | 0 | 0 | 0
P&C Specific Tools and Testing Equipment | 10700.08 | 10699.97 | 10700.08 | 10700.08 | 10699.85 | 10699.96
Purchase Cable Locate Equipment | 0 | 7062 | 0 | 7489.96 | 0 | 0
Purchase ground grid resistance meter | 4279.96 | 0 | 0 | 0 | 0 | 4708.04
Purchase of Major Tools | 362691.48 | 362691.48 | 362691.48 | 362691.48 | 362691.48 | 362691.48
Purchase of Remote Disconnection Meters | 0 | 0 | 0 | 300164.36 | 245589.12 | 245589
Purchase of the EnoServe Protective Relay Asset Management System | 95931.68 | 0 | 0 | 0 | 0 | 0
Purchase Plotter for Addiscott Office | 0 | 0 | 10700.08 | 0 | 0 | 0
Purchase Protective Equipment for Inspectors | 0 | 0 | 0 | 2269.44 | 0 | 0
Purchase Scanner for Addiscott Office | 0 | 0 | 0 | 21613.99 | 0 | 0
Purchase of Major Tools | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
Voltmeters - Cat4 | 0 | 0 | 0 | 1177.03 | 0 | 0
Interest Capitalization | 1000 | 1020 | 1040 | 1061 | 1082 | 1104
Interest Capitalization | 1000000 | 1020000 | 1040000 | 1061000 | 1082000 | 1104000
Smart Grid - Other |  | 1337.5 | 1337.5001 | 1337.5 | 1337.5001 | 1337.5
Data Analytics | 0 | 267499.96 | 267499.97 | 267499.96 | 267499.97 | 267500.08
Electrical Vehicle Technologies | 0 | 535000.03 | 535000.04 | 535000.04 | 535000.04 | 534999.92
Home Technologies | 0 | 535000.03 | 535000.04 | 535000.04 | 535000.04 | 534999.92
Total General Plant | 24545 | 17631.4187 | 19557.9779 | 13966.9098 | 16840.5539 | 18205.5215