## Slide 1
Picture taken from scene when the issue was first detected at 6:30pm on Oct 8th.

## Slide 2
Picture taken from scene when the issue was first detected at 6:30pm on Oct 8th.

## Slide 3
Sandbags added around mud at 7:30pm on Oct 8th.

## Slide 4
HVAC arrived on site at 10:15pm on Oct 8th. Brooms used to help collect mud into truck.

## Slide 5
Clean up crew continuing to work past 12:00am

## Slide 6
Another picture showing the clean up. The leak point was located under this bush and sandbags contained this area.

## Slide 7
The leak point is under this bush. Picture was taken at 6:00am on Oct 9th. Mud is still flowing out of leak point.

## Slide 8
Picture taken at 6:45am on Oct 9th. The contained area around the leak point was reduced to just one section with HVAC truck assisting with mud removal.

## Slide 9
Picture taken at 6:50am on Oct 9th. Scene has been cleaned up and HVAC staying on site to suck up the mud around the leak point. Mud is still flowing at this point.

## Slide 10
Picture taken at 6:50am on Oct 9th. Patio has been washed off a few times throughout the night.

## Slide 11
Picture taken at 6:55am on Oct 9th. Close up view of the contained area around leak point. This contained area will get filled up in approx 30-40mins.

## Slide 12
HWY 49
Gussy Lane
Airport Rd.
The X marks the location where the leak point is just on the North side of the bridge and to the West of HWY 49.

## Slide 13
Gussy Lane
Seros Rd
HWY 49
The RED X marks the location of the leak point. The PURPLE X marks the exit point from the drill on the deviation hole drilled.