## Purchase Forecast
Entegrus Powerlines Inc.
EB-2015-0061, Cost of Service Application
2015 & 2016 kWh Purchases Forecast
Date | Historical Purchases | Large Lost kWh | Small Lost kWh | Corrected Historical kWh | Year | CK Heating Degrees | CK Cooling Degrees | Manufacting (x 1,000) | Economic Adjustment Factor | Forecast kWh | Forecast % Error | Absolute Forecast % Error
2006-01 | 92275261.505 | 4080530.0899 | 1554252.7365 | 86640478.6786 | 2006 | 514.4 | 0 | 48705740 | 0.41912 | 89216823.2963 | 2.974% | 2.888%
2006-02 | 85895793.7209 | 3698718.8483 | 1201808.081 | 80995266.7916 | 2006 | 577.9 | 0 | 48533977 | -0.50701 | 84073449.0144 | 3.8% | 3.661%
2006-03 | 91568195.6736 | 4382301.642 | 1811912.1977 | 85373981.8339 | 2006 | 512.2 | 0 | 51567190 | 0.06274 | 88743769.8432 | 3.947% | 3.797%
2006-04 | 79308310.87 | 3964441.9019 | 1283786.3377 | 74060082.6304 | 2006 | 298.3 | 0 | 49484981 | -0.69421 | 77945996.2367 | 5.247% | 4.985%
2006-05 | 86611522.8713 | 4321758.2632 | 1263782.2103 | 81025982.3978 | 2006 | 146 | 29.2 | 50769986 | -0.29386 | 83257082.4768 | 2.754% | 2.68%
2006-06 | 91680969.5739 | 4360325.9944 | 1625891.6052 | 85694751.9744 | 2006 | 35.7 | 40.3 | 51542946 | 0.37477 | 87939717.7113 | 2.62% | 2.553%
2006-07 | 105876112.8031 | 3930918.0852 | 1131201.8794 | 100813992.8386 | 2006 | 6.2 | 125.5 | 45043016 | 1.1309 | 101718966.9148 | 0.8977% | 0.8897%
2006-08 | 104632861.6474 | 4748540.6032 | 1744245.6552 | 98140075.3891 | 2006 | 10.1 | 66.8 | 50664482 | 1.5427 | 99017333.2771 | 0.8939% | 0.886%
2006-09 | 87025571.1201 | 4018353.8822 | 1395584.0723 | 81611633.1656 | 2006 | 89.3 | 8.4 | 48620316 | 0.60896 | 83409332.603 | 2.203% | 2.155%
2006-10 | 89135907.0069 | 3794587.2473 | 1169193.3326 | 84172126.4271 | 2006 | 293.9 | 1.7 | 48023316 | 0.2332 | 83405158.6484 | -0.9112% | 0.9196%
2006-11 | 91093979.4358 | 3731625.8161 | 1118961.8342 | 86243391.7854 | 2006 | 378.3 | 0 | 49712772 | -0.020326 | 84250823.8086 | -2.31% | 2.365%
2006-12 | 90288886.872 | 2986152.8602 | 957899.8197 | 86344834.1921 | 2006 | 491.8 | 0 | 48603292 | 0.052494 | 86214597.4852 | -0.1508% | 0.1511%
2007-01 | 94700935.5 | 3572942.4691 | 1116755.5055 | 90011237.5255 | 2007 | 633.2 | 0 | 47937774 | 0.41912 | 90401380.183 | 0.4334% | 0.4334%
2007-02 | 91441924.9 | 3562267.1909 | 888613.1594 | 86991044.5498 | 2007 | 742.8 | 0 | 47414981 | -0.50701 | 85924274.4817 | -1.226% | 1.226%
2007-03 | 91789982.8 | 3623409.864 | 1189209.6884 | 86977363.2477 | 2007 | 485.3 | 0 | 51609130 | 0.06274 | 87614682.5209 | 0.7327% | 0.7327%
2007-04 | 82921569.2 | 3224311.6663 | 854276.6397 | 78842980.8941 | 2007 | 351.9 | 0 | 49374218 | -0.69421 | 78299796.0851 | -0.6889% | 0.6889%
2007-05 | 85875464.3 | 3090738.7011 | 686927.99 | 82097797.6089 | 2007 | 137.5 | 24.9 | 50724181 | -0.29386 | 81736430.083 | -0.4402% | 0.4402%
2007-06 | 95885759.9 | 3366406.4738 | 935416.0529 | 91583937.3733 | 2007 | 30 | 65.8 | 48667556 | 0.37477 | 89318915.6473 | -2.473% | 2.473%
2007-07 | 95780411 | 3496124.9547 | 640251.1894 | 91644034.856 | 2007 | 16.8 | 67.5 | 45502574 | 1.1309 | 92261160.089 | 0.6734% | 0.6734%
2007-08 | 106146790.6 | 4247265.7207 | 1013036.649 | 100886488.2303 | 2007 | 14 | 86.8 | 48002098 | 1.5427 | 99846382.2448 | -1.031% | 1.031%
2007-09 | 92664788.1 | 3717095.5415 | 860376.361 | 88087316.1975 | 2007 | 63.7 | 40.2 | 46749201 | 0.60896 | 86109317.7503 | -2.245% | 2.245%
2007-10 | 89956145.6 | 3438960.7632 | 866900.7742 | 85650284.0626 | 2007 | 144 | 29.6 | 48531421 | 0.2332 | 84673764.9092 | -1.14% | 1.14%
2007-11 | 88189942 | 2960291.3734 | 675073.6461 | 84554576.9805 | 2007 | 445.9 | 0 | 48279982 | -0.020326 | 83963401.523 | -0.6992% | 0.6992%
2007-12 | 88023622 | 2804858.4484 | 569647.001 | 84649116.5506 | 2007 | 624.2 | 0 | 41182527 | 0.052494 | 83050237.0149 | -1.889% | 1.889%
2008-01 | 93493708.9 | 3315213.56 | 578743.7752 | 89599751.5648 | 2008 | 636.8 | 0 | 42681474 | 0.41912 | 86197065.5885 | -3.798% | 3.798%
2008-02 | 89086653.7 | 3234025.3359 | 798075.4287 | 85054552.9354 | 2008 | 669.8 | 0 | 44980567 | -0.50701 | 82166584.4299 | -3.395% | 3.395%
2008-03 | 91324558.1 | 3367292.3364 | 324813.4187 | 87632452.3449 | 2008 | 606.9 | 0 | 44399361 | 0.06274 | 84383597.7749 | -3.707% | 3.707%
2008-04 | 82206529.3 | 3326520.8598 | 272732.7745 | 78607275.6657 | 2008 | 278.5 | 0 | 45575941 | -0.69421 | 73587627.5634 | -6.386% | 6.386%
2008-05 | 82342887 | 3166229.8803 | 423731.0355 | 78752926.0842 | 2008 | 211.7 | 4.1 | 46853489 | -0.29386 | 76531028.1409 | -2.821% | 2.821%
2008-06 | 94261624.3 | 3589956.8756 | 324924.9919 | 90346742.4325 | 2008 | 21.8 | 72.6 | 48111832 | 0.37477 | 89241343.1788 | -1.224% | 1.224%
2008-07 | 102930302 | 3283392.4124 | 229771.8052 | 99417137.7824 | 2008 | 9.2 | 97.3 | 46431669 | 1.1309 | 96937180.1092 | -2.494% | 2.494%
2008-08 | 95324172.9 | 3144912.8173 | 519977.6806 | 91659282.402 | 2008 | 23.3 | 45.7 | 46291039 | 1.5427 | 91583346.9936 | -0.08285% | 0.08285%
2008-09 | 86959025.3 | 2760353.5142 | 317350.6181 | 83881321.1677 | 2008 | 64.5 | 25.3 | 46613408 | 0.60896 | 82999381.2608 | -1.051% | 1.051%
2008-10 | 81389669.7 | 2369884.8214 | 468384.4232 | 78551400.4554 | 2008 | 291.4 | 0.1 | 45988896 | 0.2332 | 80431149.5959 | 2.393% | 2.393%
2008-11 | 82439298.6 | 2358679.9075 | 367796.4581 | 79712822.2344 | 2008 | 452.3 | 0 | 43334946 | -0.020326 | 80030383.4632 | 0.3984% | 0.3984%
2008-12 | 84813532.8 | 2136379.0503 | 299356.2158 | 82377797.5339 | 2008 | 657 | 0 | 37504764 | 0.052494 | 80517834.9574 | -2.258% | 2.258%
2009-01 | 87308875.8 | 3023377.9321 | 257414.2877 | 84028083.5802 | 2009 | 871.7 | 0 | 33349265 | 0.41912 | 83729170.7426 | -0.3557% | 0.3557%
2009-02 | 77097974.1 | 2605509.47 | 337005.7287 | 74155458.9013 | 2009 | 610.4 | 0 | 35341102 | -0.50701 | 73676688.809 | -0.6456% | 0.6456%
2009-03 | 79993358 | 2599571.3485 | 251363.2303 | 77142423.4212 | 2009 | 524.6 | 0 | 36682400 | 0.06274 | 76776018.9673 | -0.475% | 0.475%
2009-04 | 70555972 | 2127458.4419 | 468803.6439 | 67959709.9142 | 2009 | 307.3 | 1.6 | 36521367 | -0.69421 | 67502693.6998 | -0.6725% | 0.6725%
2009-05 | 67517058 | 2083263.8295 | 440549.5032 | 64993244.6673 | 2009 | 159.5 | 4.1 | 34102278 | -0.29386 | 66023548.2201 | 1.585% | 1.585%
2009-06 | 72770574.7 | 1692829.8409 | 292499.3232 | 70785245.5359 | 2009 | 53 | 31.5 | 35283385 | 0.37477 | 73694582.4603 | 4.11% | 4.11%
2009-07 | 76889947 | 654889.8707 | 281046.1455 | 75954010.9838 | 2009 | 23.6 | 38.2 | 36559330 | 1.1309 | 80206072.5352 | 5.598% | 5.598%
2009-08 | 87060730 | 677717.2211 | 267654.8139 | 86115357.965 | 2009 | 23.5 | 71.8 | 36544471 | 1.5427 | 88406898.0273 | 2.661% | 2.661%
2009-09 | 77242678.3 | 682956.8454 | 256989.4235 | 76302732.0311 | 2009 | 76.7 | 18.9 | 38926914 | 0.60896 | 76245456.6204 | -0.07506% | 0.07506%
2009-10 | 74523816.7 | 666502.8595 | 167840.0939 | 73689473.7467 | 2009 | 291.3 | 0 | 38337783 | 0.2332 | 74475560.4242 | 1.067% | 1.067%
2009-11 | 74187824.3 | 516762.8098 | 218904.9445 | 73452156.5456 | 2009 | 353.3 | 0 | 38015352 | -0.020326 | 73757070.7667 | 0.4151% | 0.4151%
2009-12 | 80483064 | 579144.0115 | 85110.9677 | 79818809.0207 | 2009 | 634.2 | 0 | 37905631 | 0.052494 | 79718783.2485 | -0.1253% | 0.1253%
2010-01 | 84309598.6611 | 620679.1261 | 0 | 83688919.535 | 2010 | 726.8 | 0 | 37285840 | 0.41912 | 82974111.79 | -0.8541% | 0.8541%
2010-02 | 75616770.637 | 531012.8481 | 0 | 75085757.7889 | 2010 | 636.9 | 0 | 38195753 | -0.50701 | 75553735.2664 | 0.6233% | 0.6233%
2010-03 | 76144148.1343 | 500341.8406 | 0 | 75643806.2937 | 2010 | 453.2 | 0 | 41328149 | 0.06274 | 77963866.7323 | 3.067% | 3.067%
2010-04 | 67578857.4333 | 418758.5662 | 0 | 67160098.867 | 2010 | 246.2 | 0 | 40413693 | -0.69421 | 68112756.1182 | 1.418% | 1.418%
2010-05 | 74789718.3152 | 397677.8059 | 0 | 74392040.5093 | 2010 | 117.2 | 20 | 41055161 | -0.29386 | 71952595.296 | -3.279% | 3.279%
2010-06 | 84514689.0101 | 383437.6402 | 0 | 84131251.37 | 2010 | 22.7 | 62.7 | 42286604 | 0.37477 | 82364181.6502 | -2.1% | 2.1%
2010-07 | 97389830.1177 | 461309.9103 | 0 | 96928520.2074 | 2010 | 6.5 | 136.3 | 38393943 | 1.1309 | 96343759.5838 | -0.6033% | 0.6033%
2010-08 | 98212442.3201 | 273584.7276 | 0 | 97938857.5925 | 2010 | 5.4 | 88.4 | 41231739 | 1.5427 | 93354102.3913 | -4.681% | 4.681%
2010-09 | 79192860.3315 | 256466.9088 | 0 | 78936393.4227 | 2010 | 88 | 35.3 | 41624078 | 0.60896 | 80359449.0699 | 1.803% | 1.803%
2010-10 | 75023853.8436 | 271066.1538 | 0 | 74752787.6898 | 2010 | 223.6 | 0 | 41735406 | 0.2332 | 74870180.321 | 0.157% | 0.157%
2010-11 | 76439083.2539 | 298587.116 | 0 | 76140496.138 | 2010 | 414.1 | 0 | 40600131 | -0.020326 | 76123810.487 | -0.02191% | 0.02191%
2010-12 | 81766621.8921 | 377747.0771 | 0 | 81388874.815 | 2010 | 707.9 | 0 | 39964231 | 0.052494 | 81974944.5734 | 0.7201% | 0.7201%
2011-01 | 83706926.41 | 384376.9963 | 0 | 83322549.4137 | 2011 | 791.4 | 0 | 41385749 | 0.41912 | 86467423.7698 | 3.774% | 3.774%
2011-02 | 75367134.58 | 349597.1137 | 0 | 75017537.4663 | 2011 | 674.8 | 0 | 40385682 | -0.50701 | 77194441.8591 | 2.902% | 2.902%
2011-03 | 80344897.8 | 340423.9016 | 0 | 80004473.8984 | 2011 | 347.4 | 0 | 43636079 | 0.06274 | 76850190.3503 | -3.943% | 3.943%
2011-04 | 70865312.99 | 269467.8719 | 0 | 70595845.1181 | 2011 | 341.1 | 0 | 40502825 | -0.69421 | 69420451.6827 | -1.665% | 1.665%
2011-05 | 72286371.62 | 252420.5792 | 0 | 72033951.0408 | 2011 | 144.7 | 20.2 | 41346450 | -0.29386 | 72102559.9524 | 0.09525% | 0.09525%
2011-06 | 79668877.66 | 239945.9168 | 0 | 79428931.7432 | 2011 | 28.4 | 52.5 | 42150675 | 0.37477 | 80109243.8292 | 0.8565% | 0.8565%
2011-07 | 98736539.68 | 254826.7852 | 0 | 98481712.8948 | 2011 | 0.1 | 170 | 40454374 | 1.1309 | 102457957.0892 | 4.038% | 4.038%
2011-08 | 93571080.13 | 256562.342 | 0 | 93314517.788 | 2011 | 5.1 | 75.9 | 44495143 | 1.5427 | 92968910.7047 | -0.3704% | 0.3704%
2011-09 | 81593769.97 | 232498.5903 | 0 | 81361271.3797 | 2011 | 77.6 | 32.7 | 44495209 | 0.60896 | 81100090.1195 | -0.321% | 0.321%
2011-10 | 76273617.74 | 224362.3228 | 0 | 76049255.4172 | 2011 | 228.3 | 0 | 44798937 | 0.2332 | 76461921.2234 | 0.5426% | 0.5426%
2011-11 | 77445742.62 | 224929.0615 | 0 | 77220813.5585 | 2011 | 333.5 | 0 | 44900275 | -0.020326 | 76890207.3847 | -0.4281% | 0.4281%
2011-12 | 78733416.47 | 257071.2094 | 0 | 78476345.2606 | 2011 | 507.7 | 0 | 44435561 | 0.052494 | 80499545.466 | 2.578% | 2.578%
2012-01 | 83350470.7749 | 296559.8546 | 0 | 83053910.9203 | 2012 | 613.2 | 0 | 44700072 | 0.41912 | 84623234.1052 | 1.89% | 1.89%
2012-02 | 77534215.5512 | 270658.7305 | 0 | 77263556.8208 | 2012 | 530.2 | 0 | 42889850 | -0.50701 | 75451148.0188 | -2.346% | 2.346%
2012-03 | 76965960.905 | 273220.9772 | 0 | 76692739.9277 | 2012 | 320.9 | 0 | 46011356 | 0.06274 | 77348440.9102 | 0.855% | 0.855%
2012-04 | 70563282.7824 | 239875.2144 | 0 | 70323407.568 | 2012 | 329.3 | 0 | 45391465 | -0.69421 | 71953232.906 | 2.318% | 2.318%
2012-05 | 76978073.1191 | 242769.8987 | 0 | 76735303.2204 | 2012 | 85.1 | 18.7 | 47528183 | -0.29386 | 74347317.8148 | -3.112% | 3.112%
2012-06 | 87498949.4176 | 228549.9166 | 0 | 87270399.501 | 2012 | 1 | 28.7 | 47227131 | 0.37477 | 78624169.3849 | -9.907% | 9.907%
2012-07 | 99161585.2827 | 203412.8381 | 0 | 98958172.4446 | 2012 | 0 | 115.6 | 42833426 | 1.1309 | 94702061.9146 | -4.301% | 4.301%
2012-08 | 91562639.4073 | 236207.0872 | 0 | 91326432.3201 | 2012 | 9.8 | 64.2 | 46525071 | 1.5427 | 91955403.5191 | 0.6887% | 0.6887%
2012-09 | 79318221.6057 | 221821.1553 | 0 | 79096400.4503 | 2012 | 101.2 | 27.4 | 44793226 | 0.60896 | 80290282.9476 | 1.509% | 1.509%
2012-10 | 76122124.6027 | 224738.6615 | 0 | 75897385.9412 | 2012 | 238.1 | 2.7 | 45235573 | 0.2332 | 76766802.533 | 1.146% | 1.146%
2012-11 | 77701975.9932 | 291203.1581 | 0 | 77410772.8351 | 2012 | 437.5 | 0 | 45914231 | -0.020326 | 79019384.6115 | 2.078% | 2.078%
2012-12 | 76850464.9184 | 282595.17 | 0 | 76567869.7484 | 2012 | 501.4 | 0 | 41774375 | 0.052494 | 77900957.5788 | 1.741% | 1.741%
2013-01 | 83735387.973 | 285594.2622 | 0 | 83449793.7108 | 2013 | 639.3 | 0 | 43255833 | 0.41912 | 83508758.7658 | 0.07066% | 0.07066%
2013-02 | 76915645.5306 | 315742.5362 | 0 | 76599902.9944 | 2013 | 617 | 0 | 43116627 | -0.50701 | 76694501.6437 | 0.1235% | 0.1235%
2013-03 | 78384467.0252 | 283012.3542 | 0 | 78101454.671 | 2013 | 547.9 | 0 | 44960463 | 0.06274 | 80472232.7393 | 3.036% | 3.036%
2013-04 | 72681683.4433 | 197772.5117 | 0 | 72483910.9315 | 2013 | 353.6 | 0 | 44976603 | -0.69421 | 71517664.8786 | -1.333% | 1.333%
2013-05 | 75087148.6484 | 164779.4769 | 0 | 74922369.1715 | 2013 | 123.2 | 34.9 | 46651790 | -0.29386 | 76477791.8148 | 2.076% | 2.076%
2013-06 | 79035304.9771 | 127637.3833 | 0 | 78907667.5938 | 2013 | 42.3 | 59.4 | 45335122 | 0.37477 | 82452599.9616 | 4.493% | 4.493%
2013-07 | 94541769.6244 | 0 | 0 | 94541769.6244 | 2013 | 10.8 | 105.5 | 44400265 | 1.1309 | 93745720.2289 | -0.842% | 0.842%
2013-08 | 89781914.5848 | 0 | 0 | 89781914.5848 | 2013 | 19.2 | 59 | 45231055 | 1.5427 | 89776515.4388 | -0.006014% | 0.006014%
2013-09 | 80998234.4894 | 0 | 0 | 80998234.4894 | 2013 | 89.4 | 30.8 | 45667260 | 0.60896 | 80585358.2743 | -0.5097% | 0.5097%
2013-10 | 79087293.6306 | 0 | 0 | 79087293.6306 | 2013 | 195.7 | 9.2 | 46815382 | 0.2332 | 77447957.6544 | -2.073% | 2.073%
2013-11 | 79031975.339 | 0 | 0 | 79031975.339 | 2013 | 452.5 | 0 | 46503422 | -0.020326 | 79097116.5073 | 0.08242% | 0.08242%
2013-12 | 81479866.2807 | 0 | 0 | 81479866.2807 | 2013 | 648.9 | 0 | 44126783 | 0.052494 | 81817663.8251 | 0.4146% | 0.4146%
2014-01 | 89964154.9062 | 0 | 0 | 89964154.9062 | 2014 | 826.3 | 0 | 43836746 | 0.41912 | 86975598.1386 | -3.322% | 3.322%
2014-02 | 79548214.209 | 0 | 0 | 79548214.209 | 2014 | 758.4 | 0 | 44788193 | -0.50701 | 80018273.4724 | 0.5909% | 0.5909%
2014-03 | 85916309.0777 | 0 | 0 | 85916309.0777 | 2014 | 656.8 | 0 | 47969252 | 0.06274 | 84082629.3728 | -2.134% | 2.134%
2014-04 | 70343409.8618 | 0 | 0 | 70343409.8618 | 2014 | 342 | 0 | 47134140 | -0.69421 | 72158882.8854 | 2.581% | 2.581%
2014-05 | 71981983.5707 | 0 | 0 | 71981983.5707 | 2014 | 140.9 | 14 | 49398644 | -0.29386 | 74733964.8574 | 3.823% | 3.823%
2014-06 | 82005909.8279 | 0 | 0 | 82005909.8279 | 2014 | 18.5 | 73.9 | 48856376 | 0.37477 | 86139183.0043 | 5.04% | 5.04%
2014-07 | 86507061.3673 | 0 | 0 | 86507061.3673 | 2014 | 15.9 | 49.4 | 44707266.6375 | 1.1309 | 84380054.7901 | -2.459% | 2.459%
2014-08 | 87881427.9786 | 0 | 0 | 87881427.9786 | 2014 | 17.1 | 60.3 | 47025014.575 | 1.5427 | 90562664.9121 | 3.051% | 3.051%
2014-09 | 80675294.2545 | 0 | 0 | 80675294.2545 | 2014 | 97.1 | 26.9 | 46360999.075 | 0.60896 | 79962274.057 | -0.8838% | 0.8838%
2014-10 | 77280642.1365 | 0 | 0 | 77280642.1365 | 2014 | 231.5 | 0 | 47176114.4375 | 0.2332 | 76293182.1668 | -1.278% | 1.278%
2014-11 | 79307673.3905 | 0 | 0 | 79307673.3905 | 2014 | 469.4 | 0 | 47364047.1625 | -0.020326 | 79400737.4396 | 0.1173% | 0.1173%
2014-12 | 79700906.8005 | 0 | 0 | 79700906.8005 | 2014 | 526.7 | 0 | 44024343.475 | 0.052494 | 78707385.1966 | -1.247% | 1.247%
2015-01 |  |  |  | 0 | 2015 | 678.35 | 0 | 46204336.3453 | 0.41912 | 85071392.4636
2015-02 |  |  |  | 0 | 2015 | 632.475 | 0 | 45180277.4491 | -0.50701 | 77177694.911
2015-03 |  |  |  | 0 | 2015 | 474.8 | 0 | 47788633.6684 | 0.06274 | 79737787.5981
2015-04 |  |  |  | 0 | 2015 | 313.275 | 0.2 | 47471475.7212 | -0.69421 | 71231064.2288
2015-05 |  |  |  | 0 | 2015 | 140.6125 | 19.5125 | 49473917.0666 | -0.29386 | 75042758.8836
2015-06 |  |  |  | 0 | 2015 | 29.3625 | 51.6875 | 48624108.5291 | 0.37477 | 81980972.4343
2015-07 |  |  |  | 0 | 2015 | 9.15 | 106.9875 | 45824948.3034 | 1.1309 | 93687454.9896
2015-08 |  |  |  | 0 | 2015 | 13.8 | 69.825 | 48200639.9394 | 1.5427 | 92223140.7206
2015-09 |  |  |  | 0 | 2015 | 81.3 | 27.375 | 47520024.0519 | 0.60896 | 79904226.0731
2015-10 |  |  |  | 0 | 2015 | 238.2875 | 5.4125 | 48355517.2984 | 0.2332 | 77491800.1003
2015-11 |  |  |  | 0 | 2015 | 408.425 | 0 | 48548148.3416 | -0.020326 | 78391806.4857
2015-12 |  |  |  | 0 | 2015 | 596.6375 | 0 | 45124952.0619 | 0.052494 | 80224394.1463
2016-01 |  |  |  | 0 | 2016 | 678.35 | 0 | 47359444.7539 | 0.41912 | 85245834.2486
2016-02 |  |  |  | 0 | 2016 | 632.475 | 0 | 46309784.3853 | -0.50701 | 77334368.1001
2016-03 |  |  |  | 0 | 2016 | 474.8 | 0 | 48983349.5101 | 0.06274 | 79939718.7578
2016-04 |  |  |  | 0 | 2016 | 313.275 | 0.2 | 48658262.6143 | -0.69421 | 71427492.3346
2016-05 |  |  |  | 0 | 2016 | 140.6125 | 19.5125 | 50710764.9932 | -0.29386 | 75273931.6423
2016-06 |  |  |  | 0 | 2016 | 29.3625 | 51.6875 | 49839711.2423 | 0.37477 | 82197400.0407
2016-07 |  |  |  | 0 | 2016 | 9.15 | 106.9875 | 46970572.011 | 1.1309 | 93855313.9571
2016-08 |  |  |  | 0 | 2016 | 13.8 | 69.825 | 49405655.9379 | 1.5427 | 92432220.6615
2016-09 |  |  |  | 0 | 2016 | 81.3 | 27.375 | 48708024.6532 | 0.60896 | 80101496.548
2016-10 |  |  |  | 0 | 2016 | 238.2875 | 5.4125 | 49564405.2309 | 0.2332 | 77703567.341
2016-11 |  |  |  | 0 | 2016 | 408.425 | 0 | 49761852.0501 | -0.020326 | 78606916.0957
2016-12 |  |  |  | 0 | 2016 | 596.6375 | 0 | 46253075.8634 | 0.052494 | 80380107.3765

## Regression Analysis
Entegrus Powerlines Inc.
EB-2015-0061, Cost of Service Application
Regression Analysis
Regression Statistics
Multiple R | 96.21%
R Square | 92.56%
Adjusted R Square | 92.19%
Standard Error | 2145168.8055
Observations | 108
ANOVA
| df | SS | MS | F | Significance F
Regression | 5 | 5838315843419600 | 1167663168683920 | 253.7433 | 7.2175e-56
Residual | 102 | 469378418811126 | 4.6017e+12 | 0 | 0
Total | 107 | 6307694262230730 | 0 | 0 | 0
| Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0%
Intercept | 1300695332.4641 | 162375763.659 | 8.0104 | 1.9394e-12 | 978623775.141 | 1622766889.7872 | 978623775.141 | 1622766889.7872
Time | -627256.4194 | 80626.6919 | -7.7798 | 6.1096e-12 | -787179.0805 | -467333.7583 | -787179.0805 | -467333.7583
Heating Degrees | 19737.5162 | 1186.0139 | 16.6419 | 7.8329e-31 | 17385.0632 | 22089.9693 | 17385.0632 | 22089.9693
Cooling Degrees | 161357.2828 | 10064.0508 | 16.033 | 1.2379e-29 | 141395.2858 | 181319.2798 | 141395.2858 | 181319.2798
Manufacturing (x 1,000) | 0.69405 | 0.051647 | 13.4381 | 2.6401e-24 | 0.5916 | 0.79649 | 0.5916 | 0.79649
Economic Adjustment Factor | 6778225.2921 | 481058.183 | 14.0902 | 1.1232e-25 | 5824048.6671 | 7732401.9171 | 5824048.6671 | 7732401.9171
Variable | T-Stat
Intercept | 8.0104
Time | -7.7798
Heating Degrees | 16.6419
Cooling Degrees | 16.033
Manufacturing (x 1,000) | 13.4381
Economic Adjustment Factor | 14.0902

## Forecast Accuracy
Entegrus Powerlines Inc.
EB-2015-0061, Cost of Service Application
2016 Load Forecast Accuracy & Loss Factor
Forecast Accuracy |  |  |  |  | Determination of Loss Factor
Year | Actual Purchases | Modeled Purchases | Difference | Difference % | Year | Actual Purchases | Total Billed | Losses | Loss Factor
2006 | 1095393373.1 | 1049193051.3158 | 46200321.7842 | 0.042177 | 2006 | 1095393373.1 | 1078222399 | 17170974.1 | 1.0157
2007 | 1103377335.9 | 1043199742.5321 | 60177593.3679 | 0.054539 | 2007 | 1103377335.9 | 1055654062 | 47723273.9 | 1.0433
2008 | 1066571962.6 | 1004606523.0564 | 61965439.5436 | 0.058098 | 2008 | 1066571962.6 | 1021199819 | 45372143.6 | 1.0425
2009 | 925631872.9 | 914212544.5214 | 11419328.3786 | 0.012337 | 2009 | 925631872.9 | 886643741 | 38988131.9 | 1.0421
2010 | 970978473.95 | 961947493.2796 | 9030980.6704 | 0.0093009 | 2010 | 970978473.95 | 932206593 | 38771880.95 | 1.0399
2011 | 968593687.67 | 972522943.4311 | -3929255.7611 | -0.0040567 | 2011 | 968593687.67 | 938179332 | 30414355.67 | 1.0314
2012 | 973607964.3602 | 962982436.2445 | 10625528.1157 | 0.010914 | 2012 | 973607964.3602 | 936088111 | 37519853.3602 | 1.0385
2013 | 970760691.5465 | 973593881.7327 | -2833190.1862 | -0.0029185 | 2013 | 970760691.5465 | 928696615 | 42064076.5465 | 1.0433
2014 | 971112987.381 | 973414830.2931 | -2301842.9121 | -0.0023703 | 2014 | 971112987.381 | 933911819 | 37201168.381 | 1.0383
2015 | 0 | 972164493.0349 |  |  | 2015 | 0 | 934838752.2645 |  | 1.0399
2016 | 0 | 974498367.1039 |  |  | 2016 | 0 | 937083018.4748 |  | 1.0399
Notes:
1) Average Loss Factor utilized for 2015 and 2016 Total Billed calculation is the average of 2007 to 2014 actual loss factors.

## Rate Class Customer Model
Entegrus Powerlines Inc.
EB-2015-0061, Cost of Service Application
Forecast Number of Customer/Connections
Year | Residential | General Service < 50 kW | General Service > 50 kW | Large Use (CK) | Large Use (SMP) | Unmetered Scattered Load (Conn) | Sentinel Lighting (Conn) | Street Lighting (Conn) | Embedded Distributor | Total
| 01_Residential | 02_GS<50 | 03_GS>50 | 06_LargeUse_Ded | 05_LargeUse | 07_USL | 08_Sentinel | 08_StreetLights | 10_EmbeddedDist |  |  | 01_Residential | 02_GS<50 | 03_GS>50 | 06_LargeUse_Ded | 05_LargeUse | 07_USL | 08_Sentinel | 08_StreetLights | 10_EmbeddedDist
Restated Average Annual Customers/Connections | [10 empty] | Year End Customer/Connections
2006 | 35142 | 4009 | 507 | 1 | 2 | 0 | 393 | 12468 | 0 | 52522 | 2006 | 35142 | 4009 | 506 | 3 | 1 | 0 | 393 | 12468 | 0 | 52522
2007 | 35190 | 4001 | 513 | 3 | 1 | 0 | 394 | 12468 | 1 | 52571 | 2007 | 35238 | 3993 | 519 | 3 | 1 | 0 | 394 | 12468 | 1 | 52617
2008 | 35334 | 3976 | 523 | 3 | 1 | 0 | 393 | 12553 | 1 | 52784 | 2008 | 35429 | 3959 | 527 | 3 | 1 | 0 | 391 | 12637 | 1 | 52948
2009 | 35438 | 3919 | 517 | 3 | 1 | 122 | 390 | 12784 | 1 | 53175 | 2009 | 35447 | 3879 | 506 | 2 | 1 | 243 | 388 | 12931 | 1 | 53398
2010 | 35472 | 3916 | 496 | 2 | 1 | 244 | 388 | 12931 | 1 | 53451 | 2010 | 35496 | 3952 | 485 | 1.5 | 1 | 245 | 388 | 12931 | 1 | 53502
2011 | 35628 | 3907 | 490 | 1 | 1 | 245 | 388 | 12931 | 1 | 53592 | 2011 | 35760 | 3862 | 495 | 1 | 1 | 245 | 388 | 12931 | 1 | 53685
2012 | 35816 | 3859 | 498 | 1 | 1 | 245 | 388 | 12931 | 1 | 53740 | 2012 | 35872 | 3855 | 501 | 1 | 1 | 245 | 388 | 12931 | 1 | 53796
2013 | 35944 | 3862 | 499 | 1 | 1 | 248 | 441 | 12931 | 1 | 53928 | 2013 | 36016 | 3869 | 496 | 1 | 1 | 251 | 493 | 12930 | 1 | 54403
2014 | 36074 | 3870 | 497 | 1 | 1 | 251 | 487 | 12926 | 1 | 54108 | 2014 | 36131 | 3871 | 498 | 1 | 1 | 250 | 481 | 12922 | 1 | 54501
Average | 35559.7778 | 3924.3333 | 504.4444 | 1.7778 | 1.1111 | 150.5556 | 406.8889 | 12769.2222 | 0.88889 | 53319
Customer Growth Rate | [18 empty] | 1
2006 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2007 | 1.0014 | 0.998 | 1.0118 | 3 | 0.5 | 0 | 1.0025 | 1 | 0
2008 | 1.0041 | 0.9938 | 1.0195 | 1 | 1 | 0 | 0.9975 | 1.0068 | 1
2009 | 1.0029 | 0.9857 | 0.9885 | 1 | 1 | 0 | 0.9924 | 1.0184 | 1
2010 | 1.001 | 0.9992 | 0.9594 | 0.6667 | 1 | 2 | 0.9949 | 1.0115 | 1
2011 | 1.0044 | 0.9977 | 0.9879 | 0.5 | 1 | 1.0041 | 1 | 1 | 1
2012 | 1.0053 | 0.9877 | 1.0163 | 1 | 1 | 1 | 1 | 1 | 1
2013 | 1.0036 | 1.0008 | 1.002 | 1 | 1 | 1.0122 | 1.1366 | 1 | 1
2014 | 1.0036 | 1.0021 | 0.996 | 1 | 1 | 1.0121 | 1.1043 | 0.9996 | 1
Geomean | 1.0036 | 0.99749 | 0.99214 | 0.80275 | 1 | 1.1552 | 1.0454 | 1.0022 | 1
Forecasted Customers/Connections
2015 | 36203 | 3860 | 493 | 1 | 1 | 290 | 509 | 12955 | 1 | 54313
2016 | 36333 | 3850 | 489 | 1 | 1 | 335 | 532 | 12984 | 1 | 54526
Add: WMP
2015 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2
2016 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 2
Total Adjusted Forecasted Customers/Connections
2015 | 36203 | 3860 | 495 | 1 | 1 | 290 | 509 | 12955 | 1 | 54315
2016 | 36333 | 3850 | 491 | 1 | 1 | 335 | 532 | 12984 | 1 | 54528

## Rate Class Energy Model
Entegrus Powerlines Inc.
EB-2015-0061, Cost of Service Application
Forecast Consumption by Rate Class (kWh)
Year | Residential | General Service < 50 kW | General Service > 50 kW | Large Use (CK) | Large Use (SMP) | Unmetered Scattered Load | Sentinel Lighting | Street Lighting | Embedded Distributor | Total
| 01_Residential | 02_GS<50 | 03_GS>50 | 06_LargeUse_Ded | 05_LargeUse | 07_USL | 08_Sentinel | 08_StreetLights | 10_EmbeddedDist
Restated Consumption (kWh)
2006 | 302355083 | 129600878 | 507947705 | 92372408 | 36694467 | 0 | 454662 | 8797196 | 0 | 1078222399
2007 | 299638406 | 126763870 | 498423262 | 89275102 | 27015842 | 0 | 445369 | 8797782 | 5294429 | 1055654062
2008 | 296054771 | 125816796 | 464092558 | 98751177 | 22647906 | 0 | 436740 | 8199730 | 5200141 | 1021199819
2009 | 291091689 | 114518667 | 395794984 | 53009042 | 17181839 | 1158647 | 440153 | 8235437 | 5213283 | 886643741
2010 | 301267823 | 116294933 | 435880111 | 35030946 | 29034336 | 1191306 | 433931 | 8221743 | 4851464 | 932206593
2011 | 299495986 | 116705566 | 444705629 | 28996883 | 34298990 | 1249000 | 353837 | 8221874 | 4151567 | 938179332
2012 | 296656279 | 109007040 | 453565445 | 28118306 | 34317082 | 1213037 | 405259 | 8250167 | 4555496 | 936088111
2013 | 281071800 | 105791729 | 456115509 | 39427413 | 32247068 | 1228666 | 410160 | 7792246 | 4612024 | 928696615
2014 | 289455443 | 108543510 | 457346103 | 33167215 | 31573402 | 1249444 | 408652 | 7533249 | 4634801 | 933911819
Average Consumption per Customer (kWh)
2006 | 8604 | 32327 | 1001869 | 92372408 | 18347234 | 0 | 1157 | 706 | 0
2007 | 8515 | 31683 | 971585 | 29758367 | 27015842 | 0 | 1130 | 706 | 5294429
2008 | 8379 | 31644 | 887366 | 32917059 | 22647906 | 0 | 1111 | 653 | 5200141
2009 | 8214 | 29221 | 765561 | 17669681 | 17181839 | 9497 | 1129 | 644 | 5213283
2010 | 8493 | 29697 | 878791 | 17515473 | 29034336 | 4882 | 1118 | 636 | 4851464
2011 | 8406 | 29871 | 907563 | 28996883 | 34298990 | 5098 | 912 | 636 | 4151567
2012 | 8283 | 28247 | 910774 | 28118306 | 34317082 | 4951 | 1044 | 638 | 4555496
2013 | 7820 | 27393 | 914059 | 39427413 | 32247068 | 4954 | 930 | 603 | 4612024
2014 | 8024 | 28047 | 920213 | 33167215 | 31573402 | 4978 | 839 | 583 | 4634801
Average Growth per Customer
2006 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
2007 | 98.97% | 98.01% | 96.98% | 32.22% | 147.2% | 0% | 97.67% | 100% | 0%
2008 | 98.4% | 99.88% | 91.33% | 110.6% | 83.83% | 0% | 98.32% | 92.49% | 98.22%
2009 | 98.03% | 92.34% | 86.27% | 53.68% | 75.87% | 0% | 101.6% | 98.62% | 100.2%
2010 | 103.4% | 101.6% | 114.8% | 99.13% | 169% | 51.41% | 99.03% | 98.76% | 93.06%
2011 | 98.98% | 100.6% | 103.3% | 165.6% | 118.1% | 104.4% | 81.57% | 100% | 85.57%
2012 | 98.54% | 94.56% | 100.4% | 96.97% | 100% | 97.12% | 114.5% | 100.3% | 109.7%
2013 | 94.41% | 96.98% | 100.4% | 140.2% | 93.97% | 100.1% | 89.08% | 94.51% | 101.2%
2014 | 102.6% | 102.4% | 100.7% | 84.12% | 97.91% | 100.5% | 90.22% | 96.68% | 100.5%
Geomean | 99.54% | 99.18% | 103.7% | 104.6% | 97.28% | 87.88% | 94.24% | 98.03% | 97.67%
Forecasted Average Consumption per Customer (kWh)
2015 | 7987 | 27818 | 954684 | 34686292 | 30713726 | 4375 | 791 | 572 | 4526975
2016 | 7950 | 27591 | 990446 | 36274944 | 29877457 | 3845 | 745 | 561 | 4421657
Calculated Consumption Non-Weather Adjusted (kWh)
2015 | 289153361 | 107377480 | 470659212 | 34686292 | 30713726 | 1268750 | 402619 | 7410260 | 4526975 | 946198675
2016 | 288847350 | 106225350 | 484328094 | 36274944 | 29877457 | 1288075 | 396340 | 7284024 | 4421657 | 958943291
Calculation of Weather Sensitive Load
% of Load | 66.95% | 66.95% | 33.9%
2015 | 193590987.6001 | 71890267.2524 | 159562628.4729 | 0 | 0 | 0 | 0 | 0 | 0 | 425043883.3254
2016 | 193386110.2592 | 71118905.0113 | 164196645.3679 | 0 | 0 | 0 | 0 | 0 | 0 | 428701660.6385
Allocation of Weather Adjustment
Percent | 45.55% | 16.91% | 37.54% | 0% | 0% | 0% | 0% | 0% | 0% | 100%
2015 | -5174003.7858 | -1921373.0946 | -4264545.8552 | 0 | 0 | 0 | 0 | 0 | 0 | -11359922.7355
Percent | 45.11% | 16.59% | 38.3% | 0% | 0% | 0% | 0% | 0% | 0% | 100%
2016 | -9861107.2944 | -3626481.5091 | -8372683.7216 | 0 | 0 | 0 | 0 | 0 | 0 | -21860272.5252
TOTAL NORMALIZED LOAD FORECAST
2015 | 283979357.2142 | 105456106.9054 | 466394666.1448 | 34686292 | 30713726 | 1268750 | 402619 | 7410260 | 4526975 | 934838752.2645
2016 | 278986242.7056 | 102598868.4909 | 475955410.2784 | 36274944 | 29877457 | 1288075 | 396340 | 7284024 | 4421657 | 937083018.4748
CDM ADJUSTMENT
2015 | -932216.2019 | -912091.5638 | -2332226.0471 | -13760033.5248 | 0 | 0 | 0 | -420765.4997 | 0 | -18357332.8373
2016 | -1450490.0816 | -2503906.2311 | -3631550.8669 | -25601118.4984 | 0 | 0 | 0 | -831477.4997 | 0 | -34018543.1778
WMP ADJUSTMENT
2015 |  |  | 6613941.9608 | [6 empty] | 6613941.9608
2016 |  |  | 6861698.726 | [6 empty] | 6861698.726
TOTAL ADJUSTED WEATHER NORMALIZED LOAD FORECAST
2015 | 283047141.0123 | 104544015.3417 | 470676382.0584 | 20926258.4752 | 30713726 | 1268750 | 402619 | 6989494.5003 | 4526975 | 923095361.3879
2016 | 277535752.6239 | 100094962.2598 | 479185558.1374 | 10673825.5016 | 29877457 | 1288075 | 396340 | 6452546.5003 | 4421657 | 909926174.023

## Rate Class Demand Model
Entegrus Powerlines Inc.
EB-2015-0061, Cost of Service Application
Forecast Demand by Rate Class (kW)
Year | Residential | General Service < 50 kW | General Service > 50 kW | Large Use (CK) | Large Use (SMP) | Unmetered Scattered Load | Sentinel Lighting | Street Lighting | Embedded Distributor | Total
| 01_Residential | 02_GS<50 | 03_GS>50 | 06_LargeUse_Ded | 05_LargeUse | 07_USL | 08_Sentinel | 08_StreetLights | 10_EmbeddedDist
Restated Demand (kW)
2006 | 0 | 0 | 1526414 | 228620 | 72885 | 0 | 1897 | 24792 | 0 | 1854608
2007 | 0 | 0 | 1319003 | 206603 | 57865 | 0 | 1234 | 31812 | 10733 | 1627250
2008 | 0 | 0 | 1276603 | 210734 | 51576 | 0 | 1222 | 24235 | 10432 | 1574802
2009 | 0 | 0 | 1131642 | 158060 | 38952 | 0 | 1217 | 24546 | 10438 | 1364855
2010 | 0 | 0 | 1183053 | 102526 | 56098 | 0 | 1224 | 24338 | 10285 | 1377524
2011 | 0 | 0 | 1189083 | 68609 | 63856 | 0 | 980 | 24338 | 11258 | 1358124
2012 | 0 | 0 | 1188171 | 66670 | 67537 | 0 | 1138 | 24338 | 10054 | 1357908
2013 | 0 | 0 | 1223255 | 87871 | 67914 | 0 | 1130 | 23008 | 9926 | 1413104
2014 | 0 | 0 | 1181005 | 81852 | 65619 | 0 | 1144 | 22342 | 16051 | 1368013
Average | 0 | 0 | 1246469.8889 | 134616.1111 | 60255.7778 | 0 | 1242.8889 | 24861 | 9908.5556 | 1477354.2222
Percentage of kW to kWh
2006 |  |  | 0.3% | 0.25% | 0.2% |  | 0.42% | 0.28% | 0%
2007 |  |  | 0.26% | 0.23% | 0.21% |  | 0.28% | 0.36% | 0.2%
2008 |  |  | 0.28% | 0.21% | 0.23% |  | 0.28% | 0.3% | 0.2%
2009 |  |  | 0.29% | 0.3% | 0.23% |  | 0.28% | 0.3% | 0.2%
2010 |  |  | 0.27% | 0.29% | 0.19% |  | 0.28% | 0.3% | 0.21%
2011 |  |  | 0.27% | 0.24% | 0.19% |  | 0.28% | 0.3% | 0.27%
2012 |  |  | 0.26% | 0.24% | 0.2% |  | 0.28% | 0.3% | 0.22%
2013 |  |  | 0.27% | 0.22% | 0.21% |  | 0.28% | 0.3% | 0.22%
2014 |  |  | 0.26% | 0.25% | 0.21% |  | 0.28% | 0.3% | 0.35%
Average |  |  | 0.266% | 0.248% | 0.2% |  | 0.28% | 0.3% | 0.254%
Total Demand Forecast (kW)
2015 | 0 | 0 | 1234406 | 51897 | 61427 | 0 | 1127 | 20968 | 11499 | 1381324
2016 | 0 | 0 | 1256381 | 26471 | 59755 | 0 | 1110 | 19358 | 11231 | 1374306
WMP Adjustment
2015 | 0 | 0 | 16132.4876 | 0 | 0 | 0 | 0 | 0 | 0 | 16132.4876
2016 | 0 | 0 | 16736.8069 | 0 | 0 | 0 | 0 | 0 | 0 | 16736.8069
Total Adjusted Demand (kW)
2015 | 0 | 0 | 1250538.4876 | 51897 | 61427 | 0 | 1127 | 20968 | 11499 | 1397456.4876
2016 | 0 | 0 | 1273117.8069 | 26471 | 59755 | 0 | 1110 | 19358 | 11231 | 1391042.8069

## CDM
Entegrus Powerlines Inc.
EB-2015-0061, Cost of Service Application
Calculation of CDM Adjustment for the Load Forecast
Allocation of Tasked Savings by Year
Description | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | TOTAL
Planned Program Savings by Year
2015 Programs | 28775427.4109 | 28775427.4109 | 28775427.4109 | 28775427.4109 | 28396159.7609 | 28396159.7609
2016 Programs |  | 6218595.9788 | 6218595.9788 | 6218595.9788 | 6218595.9788 | 5611767.7388
2017 Programs |  | 0 | 6049722.729 | 6049722.729 | 6049722.729 | 6049722.729
2018 Programs |  | 0 | 0 | 12078194.9154 | 12078194.9154 | 12078194.9154
2019 Programs |  | 0 | 0 | 0 | 5165783.39 | 5165783.39
2020 Programs |  | 0 | 0 | 0 | 0 | 4777518.8416
Total Planned Programs | 28775427.4109 | 34994023.3898 | 41043746.1188 | 53121941.0342 | 57908456.7742 | 62079147.3757
Annual % of Planned | 45.63% | 9.861% | 9.593% | 19.15% | 8.191% | 7.576% | 100%
Allocated Tasked Savings | 25916720 | 5600807 | 5448710 | 10878282 | 4652586 | 4302895 | 56800000
Allocation of 2015 & 2016 Tasked Savings by Rate Class
Description | Residential | General Service < 50 kW | General Service > 50 kW | Large Use (CK) | Large Use (SMP) | Unmetered Scattered Load | Sentinel Lighting | Street Lighting | Embedded Distributor | Total
Allocation of 2015 Tasked Savings
New Framework Programs | 145989.1239 | 508863.66 | 421417.254 | [6 empty] | 1076270.0379
Old Framework Programs | 439806.5891 | 1480197.454 | 1225830.93 | 23731898.4 |  |  |  | 821425 |  | 27699158.3731
2015 Planned Savings | 585795.7129 | 1989061.114 | 1647248.184 | 23731898.4 | 0 | 0 | 0 | 821425 | 0 | 28775428.4109
% Allocator | 13.87% | 47.11% | 39.01%
2015 Tasked Savings | 189164 | 642305 | 531927 | 23731898.4 | 0 | 0 | 0 | 821425 | 0 | 25916720
Allocation of 2016 Tasked Savings
New Framework Programs | 1008064.1135 | 2850160.9304 | 2360370.935 | [6 empty] | 6218595.9788
2016 Planned Savings | 1008064.1135 | 2850160.9304 | 2360370.935 | 0 | 0 | 0 | 0 | 0 | 0 | 6218595.9788
% Allocator | 16.21% | 45.83% | 37.96%
2016 Tasked Savings | 907918 | 2567012 | 2125879 | 0 | 0 | 0 | 0 | 0 | 0 | 5600809
Calculation of Load Forecast Adjustment by Rate Class
Year | Residential | General Service < 50 kW | General Service > 50 kW | Large Use (CK) | Large Use (SMP) | Unmetered Scattered Load | Sentinel Lighting | Street Lighting | Embedded Distributor | Total
2015 Load Forecast Adjustment
2014 Programs (50%) | 837634.2019 | 590938.5638 | 2066262.0471 | 1894084.5248 |  | 0 | 0 | 10052.4997 | 0 | 5398971.8373
2015 Programs (50%) | 94582 | 321153 | 265964 | 11865949 | 0 | 0 | 0 | 410713 | 0 | 12958361
Total | 932216.2019 | 912091.5638 | 2332226.0471 | 13760033.5248 | 0 | 0 | 0 | 420765.4997 | 0 | 18357332.8373
2016 Load Forecast Adjustment
2014 Programs (50%) | 807367.0816 | 578095.2311 | 2036683.8669 | 1869220.0984 |  |  |  | 10052.4997 |  | 5301418.7778
2015 Programs (100%) | 189164 | 642305 | 531927 | 23731898.4 | 0 | 0 | 0 | 821425 | 0 | 25916719.4
2016 Programs (50%) | 453959 | 1283506 | 1062940 | 0 | 0 | 0 | 0 | 0 | 0 | 2800405
Total | 1450490.0816 | 2503906.2311 | 3631550.8669 | 25601118.4984 | 0 | 0 | 0 | 831477.4997 | 0 | 34018543.1778

## WMP
Entegrus Powerlines Inc.
EB-2015-0061, Cost of Service Application
Calculation of Wholesale Market Participant
Year | Residential | General Service < 50 kW | General Service > 50 kW | Large Use (CK) | Large Use (SMP) | Unmetered Scattered Load | Sentinel Lighting | Street Lighting | Embedded Distributor | Total
Historical kWh
2011 |  |  | 0 | [6 empty] | 0
2012 |  |  | 1862328.28 | [6 empty] | 1862328.28
2013 |  |  | 4199611 | [6 empty] | 4199611
2014 |  |  | 6375131 | [6 empty] | 6375131
Geometric Mean
103.7%
Forecasted kWh
2015 |  |  | 6613941.9608 | [6 empty] | 6613941.9608
2016 |  |  | 6861698.726 | [6 empty] | 6861698.726
Year | Residential | General Service < 50 kW | General Service > 50 kW | Large Use |  | Unmetered Scattered Load | Sentinel Lighting | Street Lighting | Embedded Distribution | Total
Historical kW
2011 |  |  | 0 | [6 empty] | 0
2012 |  |  | 4197.63 | [6 empty] | 4197.63
2013 |  |  | 9630 | [6 empty] | 9630
2014 |  |  | 17662 | [6 empty] | 17662
Percentage kW/kWh
2011
2012 |  |  | 0.2254%
2013 |  |  | 0.2293%
2014 |  |  | 0.277%
Average |  |  | 0.2439%
Total kW Forecast
2015 |  |  | 16132.4876 | [6 empty] | 16132.4876
2016 |  |  | 16736.8069 | [6 empty] | 16736.8069

## Detailed Summary
Entegrus Powerlines Inc.
EB-2015-0061, Cost of Service Application
Historical and Weather Normalized Load Forecast
Description | 2006 Actual | 2007 Actual | 2008 Actual | 2009 Actual | 2010 Actual | 2011 Actual | 2012 Actual | 2013 Actual | 2014 Actual | 2015 Forecasted | 2016 Forecasted
Reconciliation of Purchases
Actual kWh Purchases | 1095393373.1 | 1103377335.9 | 1066571962.6 | 925631872.9 | 970978473.95 | 968593687.67 | 973607964.3602 | 970760691.5465 | 971112987.381
Predicted Purchases | 1049193051.3158 | 1043199742.5321 | 1004606523.0564 | 914212544.5214 | 961947493.2796 | 972522943.4311 | 962982436.2445 | 973593881.7327 | 973414830.2931 | 972164493.0349 | 974498367.1039
CDM Adjustment (Not in Model) | [9 empty] | -18357332.8373 | -34018543.1778
Adjusted Predicted Purchases | 1049193051.3158 | 1043199742.5321 | 1004606523.0564 | 914212544.5214 | 961947493.2796 | 972522943.4311 | 962982436.2445 | 973593881.7327 | 973414830.2931 | 953807160.1975 | 940479823.9261
Percent Difference from Actual | 4.218% | 5.454% | 5.81% | 1.234% | 0.9301% | -0.4057% | 1.091% | -0.2919% | -0.237%
Billed kWh | 1078222399 | 1055654062 | 1021199819 | 886643741 | 932206593 | 938179332 | 936088111 | 928696615 | 933911819 | 923095361.3879 | 909926174.023
Billed kWh by Rate Class
Residential
Customers | 35142 | 35190 | 35334 | 35438 | 35472 | 35628 | 35816 | 35944 | 36074 | 36203 | 36333
kWh | 302355083 | 299638406 | 296054771 | 291091689 | 301267823 | 299495986 | 296656279 | 281071800 | 289455443 | 283047141.0123 | 277535752.6239
kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
General Service < 50 kW
Customers | 4009 | 4001 | 3976 | 3919 | 3916 | 3907 | 3859 | 3862 | 3870 | 3860 | 3850
kWh | 129600878 | 126763870 | 125816796 | 114518667 | 116294933 | 116705566 | 109007040 | 105791729 | 108543510 | 104544015.3417 | 100094962.2598
kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
General Service > 50 kW
Customers | 507 | 513 | 523 | 517 | 496 | 490 | 498 | 499 | 497 | 495 | 491
kWh | 507947705 | 498423262 | 464092558 | 395794984 | 435880111 | 444705629 | 453565445 | 456115509 | 457346103 | 470676382.0584 | 479185558.1374
kW | 1526414 | 1319003 | 1276603 | 1131642 | 1183053 | 1189083 | 1188171 | 1223255 | 1181005 | 1250538.4876 | 1273117.8069
Large Use
Customers | 3 | 4 | 4 | 4 | 3 | 2 | 2 | 2 | 2 | 2 | 2
kWh | 129066875 | 116290944 | 121399083 | 70190881 | 64065282 | 63295873 | 62435388 | 71674481 | 64740617 | 51639984.4752 | 40551282.5016
kW | 301505 | 264468 | 262310 | 197012 | 158624 | 132465 | 134207 | 155785 | 147471 | 113324 | 86226
USL
Connections | 0 | 0 | 0 | 122 | 244 | 245 | 245 | 248 | 251 | 290 | 335
kWh | 0 | 0 | 0 | 1158647 | 1191306 | 1249000 | 1213037 | 1228666 | 1249444 | 1268750 | 1288075
kW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sentinel Lighting
Connections | 393 | 394 | 393 | 390 | 388 | 388 | 388 | 441 | 487 | 509 | 532
kWh | 454662 | 445369 | 436740 | 440153 | 433931 | 353837 | 405259 | 410160 | 408652 | 402619 | 396340
kW | 1897 | 1234 | 1222 | 1217 | 1224 | 980 | 1138 | 1130 | 1144 | 1127 | 1110
Street Lighting
Connections | 12468 | 12468 | 12553 | 12784 | 12931 | 12931 | 12931 | 12931 | 12926 | 12955 | 12984
kWh | 8797196 | 8797782 | 8199730 | 8235437 | 8221743 | 8221874 | 8250167 | 7792246 | 7533249 | 6989494.5003 | 6452546.5003
kW | 24792 | 31812 | 24235 | 24546 | 24338 | 24338 | 24338 | 23008 | 22342 | 20968 | 19358
Embedded Distributor
Customers | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
kWh | 0 | 5294429 | 5200141 | 5213283 | 4851464 | 4151567 | 4555496 | 4612024 | 4634801 | 4526975 | 4421657
kW | 0 | 10733 | 10432 | 10438 | 10285 | 11258 | 10054 | 9926 | 16051 | 11499 | 11231
TOTAL
Customers | 52522 | 52571 | 52784 | 53175 | 53451 | 53592 | 53740 | 53928 | 54108 | 54315 | 54528
kWh | 1078222399 | 1055654062 | 1021199819 | 886643741 | 932206593 | 938179332 | 936088111 | 928696615 | 933911819 | 923095361.3879 | 909926174.023
kW | 1854608 | 1627250 | 1574802 | 1364855 | 1377524 | 1358124 | 1357908 | 1413104 | 1368013 | 1397456.4876 | 1391042.8069
Check | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Summary
Entegrus Powerlines Inc.
EB-2015-0061, Cost of Service Application
Historical and Weather Normalized Load Forecast
Line No. | Rate Class | 2015 |  |  | 2016
|  | Cust/Conn | kWh | kW | Cust/Conn | kWh | kW
1 | Residential | 36203 | 283047141.0123 | 0 | 36333 | 277535752.6239 | 0
2 | GS < 50 kW | 3860 | 104544015.3417 | 0 | 3850 | 100094962.2598 | 0
3 | GS > 50 - 4,999 kW | 495 | 470676382.0584 | 1250538.4876 | 491 | 479185558.1374 | 1273117.8069
4 | Large Use | 2 | 51639984.4752 | 113324 | 2 | 40551282.5016 | 86226
5 | Unmetered Scattered Load | 290 | 1268750 | 0 | 335 | 1288075 | 0
6 | Sentinel Lights | 509 | 402619 | 1127 | 532 | 396340 | 1110
7 | Street Lights | 12955 | 6989494.5003 | 20968 | 12984 | 6452546.5003 | 19358
8 | Embedded Distributor | 1 | 4526975 | 11499 | 1 | 4421657 | 11231
9 | Total | 54315 | 923095361.3879 | 1397456.4876 | 54528 | 909926174.023 | 1391042.8069
Line No. | Rate Class | 2015 |  |  | 2016
|  | Cust/Conn | kWh | kW | Cust/Conn | kWh | kW
1 | Residential | 36203 | 283047141.0123 | 0 | 36333 | 277535752.6239 | 0
2 | GS<50 | 3860 | 104544015.3417 | 0 | 3850 | 100094962.2598 | 0
3 | GS>50 | 495 | 470676382.0584 | 1250538.4876 | 491 | 479185558.1374 | 1273117.8069
4 | Large Use:
5 | CK | 1 | 20926258.4752 | 86400 | 1 | 10673825.5016 | 86400
6 | SMP | 1 | 30713726 | 61427 | 1 | 29877457 | 59755
7 | Unmetered Scattered Load | 290 | 1268750 | 0 | 335 | 1288075 | 0
8 | Sentinel Lights | 509 | 402619 | 1127 | 532 | 396340 | 1110
9 | Street Lights | 12955 | 6989494.5003 | 20968 | 12984 | 6452546.5003 | 19358
10 | Embedded Distributor | 1 | 4526975 | 11499 | 1 | 4421657 | 11231
11 | Total | 54315 | 923095361.3879 | 1431959.4876 | 54528 | 909926174.023 | 1450971.8069

## COP Rates
Entegrus Powerlines Inc.
EB-2015-0061, Cost of Service Application
Cost of Power Rates Utilized
| EPI Loss Factors: | 2015 | 2016
| Total Sec <5 | 1.0428 | 1.0432
| Total Sec >5 | 1.043 | 1.0149
| Total Pri <5 | 1.0324 | 1.0328
| Total Pri >5 | 1.0141 | 1.0049
Link
Line No. | Supply Cost ($/MWh) For the period from May 1, 2015 to April 30, 2016 | RPP | Non-RPP
1 | Forecast Wholesale Electricity Price |  | 18.82
2 | Load-Weighted Price for RPP Consumers | 20.57
3 | Impact of Global Adjustment | 87.92 | 87.92
4 | Adjustment to Address Bias Towards Unfavourable Variance | 1
5 | Adjustment to Clear Existing Variance | -2.22
6 | Total Supply Cost ($/MWh) | 107.27 | 106.74
Line No. | Rate Class | 2014 RPP kWh | 2014 Non- RPP kWh | Total kWh
1 | Residential | 263323082.1164 | 26132361.21 | 289455443.3264
2 | General Service <50 | 92600705.3728 | 17225571.93 | 109826277.3028
3 | General Service >50 | 45487761 | 307853636.9773 | 353341397.9773
4 | Intermediate | 0 | 113731870.0048 | 113731870.0048
5 | Intermediate w/Self Gen | 0 | 33167215.0041 | 33167215.0041
6 | Large User | 0 | 31573402.003 | 31573402.003
7 | Umetered Scattered Load | 1243772.225 | 5671.735 | 1249443.96
8 | Sentinel Lighting | 408651.7533 | 0 | 408651.7533
9 | Street Lighting | 0 | 7533249.33 | 7533249.33
10 | Standby | 0 | 0 | 0
11 | Total | 403063972.4674 | 537222978.1943 | 940286950.6617
12 | Allocation % | 42.87% | 57.13% | 100%
13 | Commodty Rate ($/kWh) | 0.10727 | 0.10674
14 | Weighted Average Rate ($/kWh) | 0.045982 | 0.060985 | 0.10697
Line No. | Rate Class | 2015 Proposed | 2016 Proposed | 2015 Proposed | 2016 Proposed | 2015 Proposed | 2016 Proposed
|  | Low Voltage |  | RTSR - Network |  | RTSR - Connection
1 | Residential | 0.0003 | 0.0018 | 0.0074 | 0.0073 | 0.0053 | 0.0054
2 | General Service < 50 kW | 0.0003 | 0.0016 | 0.0065 | 0.0064 | 0.0047 | 0.0048
3 | General Service > 50 kW | 0.1262 | 0.6512 | 2.8272 | 2.7773 | 1.9724 | 2.0087
4 | WMP | 0.1262 | 0.6512 | 2.8272 | 2.7773 | 1.9724 | 2.0087
5 | Large Use | 0.1363 | 0.7159 | 2.9998 | 2.9469 | 2.1684 | 2.2083
6 | Unmetered Scattered Load | 0.0003 | 0.0016 | 0.0065 | 0.0064 | 0.0047 | 0.0048
7 | Sentinel Lights | 0.0911 | 0.4894 | 2.0769 | 2.0403 | 1.4823 | 1.5096
8 | Street Lights | 0.0523 | 0.478 | 2.0555 | 2.0192 | 1.4478 | 1.4745
9 | Embedded Distributor | 0 | 0 | 0 | 0 | 0 | 0

## COP Forecast
Entegrus Powerlines Inc.
EB-2015-0061, Cost of Service Application
Cost of Power Estimates
Line No. | Rate Class | Unit | 2015 |  |  |  |  | 2016
|  |  | Load Forecast | Loss Factor | Billing Determinant | Rate | Amount | Load Forecast | Loss Factor | Billing Determinant | Rate | Amount
1 | Commodity
2 | Residential | kWh | 283047141.0123 | 1.0428 | 295161558.6477 | 0.10697 | 31572602.5601 | 277535752.6239 | 1.0432 | 289525297.1373 | 0.10697 | 30969707.5035
3 | General Service <50 | kWh | 104544015.3417 | 1.0428 | 109018499.1983 | 0.10697 | 11661402.5304 | 100094962.2598 | 1.0432 | 104419064.6294 | 0.10697 | 11169413.9384
4 | General Service >50 | kWh | 470676382.0584 | 1.0428 | 490821331.2105 | 0.10697 | 52501778.6507 | 479185558.1374 | 1.0432 | 499886374.2489 | 0.10697 | 53471440.8328
5 | Market Participant | kWh | -6613941.9608 | 1.0428 | -6897018.6767 | 0.10697 | -737754.7081 | -6861698.726 | 1.0432 | -7158124.1109 | 0.10697 | -765684.4227
6 | Large Use | kWh | 51639984.4752 | 1.0141 | 52368108.2563 | 0.10697 | 5601669.3921 | 40551282.5016 | 1.0049 | 40749983.7859 | 0.10697 | 4358911.263
7 | Umetered Scatter Load | kWh | 1268750 | 1.0428 | 1323052.5 | 0.10697 | 141523.2083 | 1288075 | 1.0432 | 1343719.84 | 0.10697 | 143733.9356
8 | Sentinel Lighting | kWh | 402619 | 1.0428 | 419851.0932 | 0.10697 | 44910.2917 | 396340 | 1.0432 | 413461.888 | 0.10697 | 44226.8564
9 | Street Lighting | kWh | 6989494.5003 | 1.0428 | 7288644.8649 | 0.10697 | 779645.861 | 6452546.5003 | 1.0432 | 6731296.5091 | 0.10697 | 720027.8734
10 | Embedded Distributor | kWh | 4526975 | 1.0141 | 4590805.3475 | 0.10697 | 491065.5484 | 4421657 | 1.0049 | 4443323.1193 | 0.10697 | 475289.7889
11 | Total | [5 empty] | 102056843.3346 |  |  |  |  | 100587067.5694
12 | Wholesale Market Services & Rural Rate Assistance
13 | Residential | kWh | 283047141.0123 | 1.0428 | 295161558.6477 | 0.0057 | 1682420.8843 | 277535752.6239 | 1.0432 | 289525297.1373 | 0.0057 | 1650294.1937
14 | General Service <50 | kWh | 104544015.3417 | 1.0428 | 109018499.1983 | 0.0057 | 621405.4454 | 100094962.2598 | 1.0432 | 104419064.6294 | 0.0057 | 595188.6684
15 | General Service >50 | kWh | 470676382.0584 | 1.0428 | 490821331.2105 | 0.0057 | 2797681.5879 | 479185558.1374 | 1.0432 | 499886374.2489 | 0.0057 | 2849352.3332
16 | Market Participant | kWh | -6613941.9608 | 1.0428 | -6897018.6767 | 0.0057 | -39313.0065 | -6861698.726 | 1.0432 | -7158124.1109 | 0.0057 | -40801.3074
17 | Large User | kWh | 51639984.4752 | 1.0141 | 52368108.2563 | 0.0057 | 298498.2171 | 40551282.5016 | 1.0049 | 40749983.7859 | 0.0057 | 232274.9076
18 | Umetered Scatter Load | kWh | 1268750 | 1.0428 | 1323052.5 | 0.0057 | 7541.3993 | 1288075 | 1.0432 | 1343719.84 | 0.0057 | 7659.2031
19 | Sentinel Lighting | kWh | 402619 | 1.0428 | 419851.0932 | 0.0057 | 2393.1512 | 396340 | 1.0432 | 413461.888 | 0.0057 | 2356.7328
20 | Street Lighting | kWh | 6989494.5003 | 1.0428 | 7288644.8649 | 0.0057 | 41545.2757 | 6452546.5003 | 1.0432 | 6731296.5091 | 0.0057 | 38368.3901
21 | Embedded Distributor | kWh | 4526975 | 1.0141 | 4590805.3475 | 0.0057 | 26167.5905 | 4421657 | 1.0049 | 4443323.1193 | 0.0057 | 25326.9418
22 | Total | [5 empty] | 5438340.5449 |  |  |  |  | 5360020.0632
23 | Smart Metering Entiry
24 | Residential | Cust | 36203 |  | 36203 | 0.79 | 343204.44 | 36333 |  | 36333 | 0.79 | 344436.84
25 | General Service <50 | Cust | 3860 |  | 3860 | 0.79 | 36592.8 | 3850 |  | 3850 | 0.79 | 36498
26 | General Service >50
27 | Market Participant
28 | Large User
29 | Umetered Scatter Load
30 | Sentinel Lighting
31 | Street Lighting
32 | Embedded Distributor
33 | Total | [5 empty] | 379797.24 |  |  |  |  | 380934.84
34 | Low Voltage
35 | Residential | kWh | 283047141.0123 | 1.0428 | 295161558.6477 | 0.0003 | 88548.4676 | 277535752.6239 | 1.0432 | 289525297.1373 | 0.0018 | 521145.5348
36 | General Service <50 | kWh | 104544015.3417 | 1.0428 | 109018499.1983 | 0.0003 | 32705.5498 | 100094962.2598 | 1.0432 | 104419064.6294 | 0.0016 | 167070.5034
37 | General Service >50 | kW | 1250538.4876 | 0 | 1250538.4876 | 0.1262 | 157817.9571 | 1273117.8069 | 0 | 1273117.8069 | 0.6512 | 829054.3158
38 | Large Use | kW | 113324 | 0 | 113324 | 0.1363 | 15446.0612 | 86226 | 0 | 86226 | 0.7159 | 61729.1934
39 | Umetered Scatter Load | kWh | 1268750 | 1.0428 | 1323052.5 | 0.0003 | 396.9158 | 1288075 | 1.0432 | 1343719.84 | 0.0016 | 2149.9517
40 | Sentinel Lighting | kW | 1127 | 0 | 1127 | 0.0911 | 102.6697 | 1110 | 0 | 1110 | 0.4894 | 543.234
41 | Street Lighting | kW | 20968 | 0 | 20968 | 0.0523 | 1096.6264 | 19358 | 0 | 19358 | 0.478 | 9253.124
42 | Embedded Distributor | kW | 11499 | 0 | 11499 | 0 | 0 | 11231 | 0 | 11231 | 0 | 0
43 | Total | [5 empty] | 296114.2475 |  |  |  |  | 1590945.8572
44 | Transmission - Network
45 | Residential | kWh | 283047141.0123 | 1.0428 | 295161558.6477 | 0.0074 | 2184195.534 | 277535752.6239 | 1.0432 | 289525297.1373 | 0.0073 | 2113534.6691
46 | General Service <50 | kWh | 104544015.3417 | 1.0428 | 109018499.1983 | 0.0065 | 708620.2448 | 100094962.2598 | 1.0432 | 104419064.6294 | 0.0064 | 668282.0136
47 | General Service >50 | kW | 1250538.4876 | 0 | 1250538.4876 | 2.8272 | 3535522.412 | 1273117.8069 | 0 | 1273117.8069 | 2.7773 | 3535830.085
48 | Large Use | kW | 113324 | 0 | 113324 | 2.9998 | 339949.3352 | 86226 | 0 | 86226 | 2.9469 | 254099.3994
49 | Umetered Scatter Load | kWh | 1268750 | 1.0428 | 1323052.5 | 0.0065 | 8599.8412 | 1288075 | 1.0432 | 1343719.84 | 0.0064 | 8599.807
50 | Sentinel Lighting | kW | 1127 | 0 | 1127 | 2.0769 | 2340.6663 | 1110 | 0 | 1110 | 2.0403 | 2264.733
51 | Street Lighting | kW | 20968 | 0 | 20968 | 2.0555 | 43099.724 | 19358 | 0 | 19358 | 2.0192 | 39087.6736
52 | Embedded Distributor | kW | 11499 | 0 | 11499 | 0 | 0 | 11231 | 0 | 11231 | 0 | 0
53 | Total | [5 empty] | 6822327.7575 |  |  |  |  | 6621698.3807
54 | Transmission - Connection
55 | Residential | kWh | 283047141.0123 | 1.0428 | 295161558.6477 | 0.0053 | 1564356.2608 | 277535752.6239 | 1.0432 | 289525297.1373 | 0.0054 | 1563436.6045
56 | General Service <50 | kWh | 104544015.3417 | 1.0428 | 109018499.1983 | 0.0047 | 512386.9462 | 100094962.2598 | 1.0432 | 104419064.6294 | 0.0048 | 501211.5102
57 | General Service >50 | kW | 1250538.4876 | 0 | 1250538.4876 | 1.9724 | 2466562.1128 | 1273117.8069 | 0 | 1273117.8069 | 2.0087 | 2557311.7387
58 | Large Use | kW | 113324 | 0 | 113324 | 2.1684 | 245731.7616 | 86226 | 0 | 86226 | 2.2083 | 190412.8758
59 | Umetered Scatter Load | kWh | 1268750 | 1.0428 | 1323052.5 | 0.0047 | 6218.3467 | 1288075 | 1.0432 | 1343719.84 | 0.0048 | 6449.8552
60 | Sentinel Lighting | kW | 1127 | 0 | 1127 | 1.4823 | 1670.5521 | 1110 | 0 | 1110 | 1.5096 | 1675.656
61 | Street Lighting | kW | 20968 | 0 | 20968 | 1.4478 | 30357.4704 | 19358 | 0 | 19358 | 1.4745 | 28543.371
62 | Embedded Distributor | kW | 11499 | 0 | 11499 | 0 | 0 | 11231 | 0 | 11231 | 0 | 0
63 | Total | [5 empty] | 4827283.4508 |  |  |  |  | 4849041.6115
64 | GRAND TOTAL | [5 empty] | 119820706.5753 |  |  |  |  | 119389708.322

## Allocation of LF
Entegrus Powerlines Inc.
2016 Cost of Service, 2016 Revenue at Old Rates
Allocation of 2014 Billing Determinents
Line No. | Description | Billing Determinants |  |  |  |  | Percentage of Total
|  | CK | SMP | Dutton | Newbury | Total | CK | SMP | Dutton | Newbury
1 | Customers/Connections
2 | Residential | 28836 | 6572 | 552 | 171 | 36131 | 79.81% | 18.19% | 1.528% | 0.4733%
3 | General Service <50 | 3092 | 661 | 89 | 32 | 3874 | 79.81% | 17.06% | 2.297% | 0.826%
4 | General Service >50 | 386 | 96 | 0 | 4 | 486 | 79.42% | 19.75% | 0% | 0.823%
5 | Intermediate | 12 | 0 | 0 | 0 | 12 | 100% | 0% | 0% | 0%
6 | Intermediate with Self Generation | 1 | 0 | 0 | 0 | 1 | 100% | 0% | 0% | 0%
7 | Large User | 0 | 1 | 0 | 0 | 1 | 0% | 100% | 0% | 0%
8 | Unmetered Scattered Load Connections | 199 | 51 | 0 | 0 | 250 | 79.6% | 20.4% | 0% | 0%
9 | Sentinel Lighting Connections | 411 | 69 | 1 | 0 | 481 | 85.45% | 14.35% | 0.2079% | 0%
10 | Street Lighting Connections | 10623 | 2361 | 208 | 74 | 13266 | 80.08% | 17.8% | 1.568% | 0.5578%
11 | Embedded Distribution |  |  |  |  | 0
12 | TOTAL | 43560 | 9811 | 850 | 281 | 54502
13 | kWh
14 | Residential | 225602338.6069 | 57965625.7195 | 4528709 | 1358770 | 289455443.3264 | 77.94% | 20.03% | 1.565% | 0.4694%
15 | General Service <50 | 88516284.1263 | 17337883.1765 | 3437363 | 534747 | 109826277.3028 | 80.6% | 15.79% | 3.13% | 0.4869%
16 | General Service >50 | 245152652.917 | 106710585.0603 | 0 | 1478160 | 353341397.9773 | 69.38% | 30.2% | 0% | 0.4183%
17 | Intermediate | 113731870.0048 | 0 | 0 | 0 | 113731870.0048 | 100% | 0% | 0% | 0%
18 | Intermediate with Self Generation | 33167215.0041 | 0 | 0 | 0 | 33167215.0041 | 100% | 0% | 0% | 0%
19 | Large User | 0 | 31573402.003 | 0 | 0 | 31573402.003 | 0% | 100% | 0% | 0%
20 | Unmetered Scattered Load Connections | 923683.96 | 325760 | 0 | 0 | 1249443.96 | 73.93% | 26.07% | 0% | 0%
21 | Sentinel Lighting Connections | 364562.6251 | 43208.1282 | 881 | 0 | 408651.7533 | 89.21% | 10.57% | 0.2156% | 0%
22 | Street Lighting Connections | 5912082.511 | 1450049.819 | 116024 | 55093 | 7533249.33 | 78.48% | 19.25% | 1.54% | 0.7313%
23 | Total | 713370689.7553 | 215406513.9065 | 8082977 | 3426770 | 940286950.6617
24 | kW
25 | Residential | 0 | 0 | 0 | 0 | 0
26 | General Service <50 | 0 | 0 | 0 | 0 | 0
27 | General Service >50 | 694185 | 240319.3 | 0 | 3877.7 | 938382 | 73.98% | 25.61% | 0% | 0.4132%
28 | Intermediate | 273287 | 0 | 0 | 0 | 273287 | 100% | 0% | 0% | 0%
29 | Intermediate with Self Generation | 81852 | 0 | 0 | 0 | 81852
30 | Large User | 0 | 65619 | 0 | 0 | 65619 | 0% | 100% | 0% | 0%
31 | Unmetered Scattered Load Connections |  | 0 | 0 | 0 | 0
32 | Sentinel Lighting Connections | 1022.0167 | 120.2472 | 2 | 0 | 1144.2639 | 89.32% | 10.51% | 0.1748% | 0%
33 | Street Lighting Connections | 17520.12 | 4315.7 | 343.4 | 163.1 | 22342.32 | 78.42% | 19.32% | 1.537% | 0.73%
34 | Total

## 2016 Revenue at Old Rates
Entegrus Powerlines Inc.
2016 Cost of Service, 2016 Revenue at Old Rates
Allocation of 2014 Billing Determinents
Line No. | Description | Type | 2016 Allocated |  |  |  |  | Approved 2015 Rates |  |  |  | Distribution Revenue |  |  |  | TOA | Total Distribution Revenue | Average Rates for CA Model
|  |  | CK | SMP | Dutton | Newbury | Total | CK | SMP | Dutton | Newbury | CK | SMP | Dutton | Newbury
2015
1 | FIXED REVENUE
2 | Residential | Cust | 28893 | 6585 | 553 | 171 | 36202 | 18.98 | 14.43 | 13.44 | 12.52 | 6580669.68 | 1140258.6 | 89187.84 | 25691.04 |  | 7835807.16 | 18.04
3 | General Service <50 | Cust | 3081 | 659 | 89 | 32 | 3861 | 34.84 | 19.06 | 27.45 | 22.91 | 1288104.48 | 150726.48 | 29316.6 | 8797.44 |  | 1476945 | 31.88
4 | General Service >50 | Cust | 380 | 98 | 0 | 4 | 482 | 122.86 | 45.55 |  | 279.02 | 560241.6 | 53566.8 | 0 | 13392.96 |  | 627201.36 | 108.23
5 | Intermediate | Cust | 12 |  |  |  | 12 | 99.74 |  |  |  | 14362.56 | 0 | 0 | 0 |  | 14362.56
6 | Intermediate with Self Generation | Cust | 1 |  |  |  | 1 | 1385.39 |  |  |  | 16624.68 | 0 | 0 | 0 |  | 16624.68 | 2615.41
7 | Large User | Cust |  | 1 |  |  | 1 |  | 3845.43 |  |  | 0 | 46145.16 | 0 | 0 |  | 46145.16
8 | Unmetered Scattered Load Connections | Conn | 231 | 59 | 0 | 0 | 290 | 11.06 | 9.54 |  |  | 30658.32 | 6754.32 | 0 | 0 |  | 37412.64 | 10.75
9 | Sentinel Lighting Connections | Conn | 435 | 73 | 1 | 0 | 509 | 8.71 | 0.18 | 0.98 |  | 45466.2 | 157.68 | 11.76 | 0 |  | 45635.64 | 7.47
10 | Street Lighting Connections | Conn | 10374 | 2306 | 203 | 72 | 12955 | 1.73 | 0.14 | 0.66 | 0.85 | 215364.24 | 3874.08 | 1607.76 | 734.4 |  | 221580.48 | 1.43
11 | Embedded Distributor | Cust | 1 |  |  |  | 1 | 122.86 |  |  |  | 1474.32 | 0 | 0 | 0 |  | 1474.32 | 122.86
12 | TOTAL |  | 43408 | 9781 | 846 | 279 | 54314 |  |  |  |  | 8752966.08 | 1401483.12 | 120123.96 | 48615.84 | 0 | 10323189
13 | VOLUMETRIC REVENUE
14 | Residential | kWh | 220607690.823 | 56682315.0684 | 4428447.1565 | 1328687.9645 | 283047141.0123 | 0.0088 | 0.0146 | 0.0127 | 0.0126 | 1941347.6792 | 827561.8 | 56241.2789 | 16741.4684 |  | 2841892.2265 | 0.01
15 | General Service <50 | kWh | 84258958.7206 | 16503991.2971 | 3272037.7949 | 509027.5292 | 104544015.3417 | 0.0118 | 0.0051 | 0.0061 | 0.0114 | 994255.7129 | 84170.3556 | 19959.4305 | 5802.9138 |  | 1104188.4129 | 0.0106
16 | General Service >50 | kW | 584114.8742 | 377667.8714 | 0 | 5231.473 | 967014.2185 | 3.4827 | 1.5094 |  | 1.4026 | 2034296.8723 | 570051.8851 | 0 | 7337.664 | -202492.7774 | 2409193.644 | 3.1608
17 | Intermediate | kW | 283524.269 |  |  |  | 283524.269 | 4.7298 |  |  |  | 1341013.0876 | 0 | 0 | 0 | -170114.5614 | 1170898.5262
18 | Intermediate with Self Generation | kW | 51897 |  |  |  | 51897 | 3.4954 |  |  |  | 181400.7738 | 0 | 0 | 0 | -31138.2 | 150262.5738 | 1.6315
19 | Large User | kW |  | 61427 |  |  | 61427 |  | 0.0567 |  |  | 0 | 3482.9109 | 0 | 0 | -36856.2 | -33373.2891
20 | Unmetered Scattered Load Connections | kWh | 937956.4524 | 330793.5476 | 0 | 0 | 1268750 | 0.0008 | 0.0055 |  |  | 750.3652 | 1819.3645 | 0 | 0 |  | 2569.7297 | 0.002
21 | Sentinel Lighting Connections | kW | 1005.4088 | 119.1615 | 2.4297 | 0 | 1127 | 0.6185 | 1.0357 | 5.2239 |  | 621.8454 | 123.4156 | 12.6923 | 0 |  | 757.9533 | 0.6725
22 | Street Lighting Connections | kW | 16455.6542 | 4036.0598 | 322.9405 | 153.3455 | 20968 | 1.2859 | 0.6069 | 3.0966 | 3.5494 | 21160.3258 | 2449.4847 | 1000.0175 | 544.2846 |  | 25154.1125 | 1.1996
23 | Embedded Distributor | kW | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | #DIV/0!
24 | Total | [10 empty] | 6514846.6621 | 1489659.2164 | 77213.4193 | 30426.3307 | -440601.7388 | 7671543.8897
25 | GRAND TOTAL | [10 empty] | 15267812.7421 | 2891142.3364 | 197337.3793 | 79042.1707 | -440601.7388 | 17994732.8897
2016
1 | FIXED REVENUE
2 | Residential | Cust | 28997 | 6609 | 555 | 172 | 36333 | 18.98 | 14.43 | 13.44 | 12.52 | 6604356.72 | 1144414.44 | 89510.4 | 25841.28 |  | 7864122.84 | 18.04
3 | General Service <50 | Cust | 3073 | 657 | 88 | 32 | 3850 | 34.84 | 19.06 | 27.45 | 22.91 | 1284759.84 | 150269.04 | 28987.2 | 8797.44 |  | 1472813.52 | 31.88
4 | General Service >50 | Cust | 377 | 97 | 0 | 4 | 478 | 122.86 | 45.55 |  | 279.02 | 555818.64 | 53020.2 | 0 | 13392.96 |  | 622231.8 | 108.26
5 | Intermediate | Cust | 12 |  |  |  | 12 | 99.74 |  |  |  | 14362.56 | 0 | 0 | 0 |  | 14362.56
6 | Intermediate with Self Generation | Cust | 1 |  |  |  | 1 | 1385.39 |  |  |  | 16624.68 | 0 | 0 | 0 |  | 16624.68 | 2615.41
7 | Large User | Cust |  | 1 |  |  | 1 |  | 3845.43 |  |  | 0 | 46145.16 | 0 | 0 |  | 46145.16
8 | Unmetered Scattered Load Connections | Conn | 267 | 68 | 0 | 0 | 335 | 11.06 | 9.54 |  |  | 35436.24 | 7784.64 | 0 | 0 |  | 43220.88 | 10.75
9 | Sentinel Lighting Connections | Conn | 455 | 76 | 1 | 0 | 532 | 8.71 | 0.18 | 0.98 |  | 47556.6 | 164.16 | 11.76 | 0 |  | 47732.52 | 7.48
10 | Street Lighting Connections | Conn | 10397 | 2311 | 204 | 72 | 12984 | 1.73 | 0.14 | 0.66 | 0.85 | 215841.72 | 3882.48 | 1615.68 | 734.4 |  | 222074.28 | 1.43
11 | Embedded Distributor | Cust | 1 |  |  |  | 1 | 122.86 |  |  |  | 1474.32 | 0 | 0 | 0 |  | 1474.32 | 122.86
12 | TOTAL |  | 43580 | 9819 | 848 | 280 | 54527 |  |  |  |  | 8776231.32 | 1405680.12 | 120125.04 | 48766.08 | 0 | 10350802.56
13 | VOLUMETRIC REVENUE
14 | Residential | kWh | 216312100.1266 | 55578618.1648 | 4342218.0847 | 1302816.2478 | 277535752.6239 | 0.0088 | 0.0146 | 0.0127 | 0.0126 | 1903546.4811 | 811447.8252 | 55146.1697 | 16415.4847 |  | 2786555.9607 | 0.01
15 | General Service <50 | kWh | 80673171.6361 | 15801635.1354 | 3132790.5143 | 487364.974 | 100094962.2598 | 0.0118 | 0.0051 | 0.0061 | 0.0114 | 951943.4253 | 80588.3392 | 19110.0221 | 5555.9607 |  | 1057197.7473 | 0.0106
16 | General Service >50 | kW | 647666.8234 | 326045.0224 | 0 | 5260.9374 | 978972.7831 | 3.4827 | 1.5094 |  | 1.4026 | 2255629.2457 | 492132.3567 | 0 | 7378.9907 | -204996.9008 | 2550143.6924 | 3.2569
17 | Intermediate | kW | 294145.0238 |  |  |  | 294145.0238 | 4.7298 |  |  |  | 1391247.1336 | 0 | 0 | 0 | -176487.0143 | 1214760.1193
18 | Intermediate with Self Generation | kW | 26471 |  |  |  | 26471 | 3.4954 |  |  |  | 92526.7334 | 0 | 0 | 0 | -15882.6 | 76644.1334 | 1.1124
19 | Large User | kW |  | 59755 |  |  | 59755 |  | 0.0567 |  |  | 0 | 3388.1085 | 0 | 0 | -35853 | -32464.8915
20 | Unmetered Scattered Load Connections | kWh | 952242.9616 | 335832.0384 | 0 | 0 | 1288075 | 0.0008 | 0.0055 |  |  | 761.7944 | 1847.0762 | 0 | 0 |  | 2608.8706 | 0.002
21 | Sentinel Lighting Connections | kW | 991.4134 | 116.6465 | 1.9401 | 0 | 1110 | 0.6185 | 1.0357 | 5.2239 |  | 613.1892 | 120.8108 | 10.135 | 0 |  | 744.1349 | 0.6704
22 | Street Lighting Connections | kW | 15179.9134 | 3739.2411 | 297.5312 | 141.3143 | 19358 | 1.2859 | 0.6069 | 3.0966 | 3.5494 | 19519.8507 | 2269.3454 | 921.3351 | 501.5811 |  | 23212.1122 | 1.1991
23 | Embedded Distributor | kW | 11231 |  |  |  | 11231 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0
24 | Total | [10 empty] | 6615787.8533 | 1391793.8621 | 75187.6619 | 29852.0172 | -433219.5151 | 7679401.8794
25 | GRAND TOTAL | [10 empty] | 15392019.1733 | 2797473.9821 | 195312.7019 | 78618.0972 | -433219.5151 | 18030204.4394
Note on B18: andrya.eagen: Currently billed GS>50 fixed charge only.
Note on B30: andrya.eagen: Currently not charged volumetric rates.
Note on B44: andrya.eagen: Currently billed GS>50 fixed charge only.
Note on B56: andrya.eagen: Currently not charged volumetric rates.
Note on Q23: andrya.eagen: Based 2014 Actual % Rec'ing TOA
Note on Q49: andrya.eagen: Based 2014 Actual % Rec'ing TOA
Note on S5: andrya.eagen: Excludes TOA

## Market Participant (hidden)
Entegrus Powerlines Inc.
2016 Cost of Service Load Forecast
Forecast Consumption by Rate Class (kWh)
Year | Month | Customer A | Customer B | Total
2012 | January |  |  |  | 518.64 | 2104.15
2012 | February |  |  |  | 496.98 | 2061.97
2012 | March |  |  |  | 519.04 | 2433.21
2012 | April |  |  |  | 527.66 | 2221.08
2012 | may |  |  |  | 553.79 | 2203.93
2012 | June |  |  |  | 619.23 | 1740.81
2012 | July | 74737.39 |  | 74737.39 | 688.25 | 1529.86
2012 | August | 357467.14 |  | 357467.14 | 706.44 | 2462.25
2012 | September | 403916.21 |  | 403916.21 | 699.9
2012 | October | 360856.57 |  | 360856.57 | 713.29
2012 | November | 345522.85 |  | 345522.85 | 683.63
2012 | December | 319828.12 |  | 319828.12 | 613.13
2013 | January | 342215.98 |  | 342215.98 | 512.32
2013 | February | 327976.34 |  | 327976.34 | 504.38
2013 | March | 285028.32 |  | 285028.32 | 518.77
2013 | April | 315529.03 |  | 315529.03 | 534.2
2013 | may | 318430.2 |  | 318430.2 | 547.87
2013 | June | 370097.98 |  | 370097.98 | 666.32
2013 | July | 390317.12 |  | 390317.12 | 764.12
2013 | August | 422035.93 |  | 422035.93 | 733.9
2013 | September | 402643.29 |  | 402643.29 | 769.94
2013 | October | 361475.37 |  | 361475.37 | 770.96
2013 | November | 348244.32 |  | 348244.32 | 736.76
2013 | December | 316294.63 |  | 316294.63 | 660.06
2014 | January | 338538.32 |  | 338538.32 | 531.9
2014 | February | 324111.21 |  | 324111.21 | 515.74
2014 | March | 284822.1 |  | 284822.1 | 543.85
2014 | April | 315535.26 |  | 315535.26 | 557.83
2014 | may | 317535.92 |  | 317535.92 | 559.02
2014 | June | 354601.21 |  | 354601.21 | 638.95
2014 | July | 381552.06 |  | 381552.06 | 698.95
2014 | August | 387954.8 |  | 387954.8 | 759.43
2014 | September | 396158.93 | 454713.28 | 850872.21 | 757.92
2014 | October | 358649.47 | 404007.62 | 762657.09 | 783.36
2014 | November | 341589.21 | 366238.72 | 707827.93
2014 | December | 281523.98 | 522494.43 | 804018.41
2015 | January | 351219.8887 | 549982.03 | 901201.9187 |  |  | 333660.86 | 549982.03
2015 | February | 336252.3424 | 557403.3 | 893655.6424 |  |  | 319169.97 | 557403.3
2015 | March | 295491.4712 | 327524.89 | 623016.3612 | 1747454.05 |  | 285079.36 | 327524.89
2015 | April | 327355.1392 | 319225.11 | 646580.2492 |  |  | 320064.61 | 319225.11
2015 | May | 329430.7435 | 319225.11 | 648655.8535
2015 | June | 367884.4909 | 404007.62 | 771892.1109
2015 | July | 395844.9136 | 366238.72 | 762083.6336
2015 | August | 402487.4988 | 454713.28 | 857200.7788
2015 | September | 410998.9536 | 471746.7363 | 882745.6899
2015 | October | 372084.3978 | 419141.6538 | 791226.0515
2015 | November | 354385.0643 | 379957.9394 | 734343.0037
2015 | December | 292069.8044 | 542066.9528 | 834136.7572
2016 | January | 364376.506 | 570584.2321 | 934960.738
2016 | February | 348848.2788 | 578283.5011 | 927131.78
2016 | March | 306560.5147 | 339793.8981 | 646354.4128
2016 | April | 339617.7885 | 331183.2102 | 670800.9987
2016 | May | 341771.1444 | 331183.2102 | 672954.3546
2016 | June | 381665.3604 | 419141.6538 | 800807.0142
2016 | July | 410673.1742 | 379957.9394 | 790631.1136
2016 | August | 417564.5892 | 471746.7363 | 889311.3255
2016 | September | 426394.8812 | 489418.262 | 915813.1432
2016 | October | 386022.5949 | 434842.605 | 820865.1999
2016 | November | 367660.2484 | 394191.0776 | 761851.326
2016 | December | 303010.673 | 562372.6579 | 865383.3309
2012 |  | 1862328.28 | 0 | 1862328.28
2013 |  | 4200288.51 | 0 | 4200288.51
2014 |  | 4082572.47 | 1747454.05 | 5830026.52
2015 |  | 4235504.7084 |  | 9346738.0506
2016 |  | 4394165.7538 |  | 9696864.7373
Year | kWh | kW | % kWh/kW
2012 | 1862328.28 | 4197.63 | 0.2254%
2013 | 4199611 | 9630 | 0.2293%
2014 | 6375131 | 17662 | 0.277%
2015 | 10239768.4215 | 24976.4721
2016 | 10623347.8232 | 25912.085