## Summary
Grimsby Power Inc. Weather Normal Load Forecast for 2016 Rate Application
| 2005 Actual | 2006 Actual | 2007 Actual | 2008 Actual | 2009 Actual | 2010 Actual | 2011 Actual | 2012 Actual | 2013 Actual | 2014 Actual | 2015 Weather Normal | 2016 Weather Normal
Actual kWh Purchases | 177744777.81 | 177010660.85 | 182668135.86 | 181594867.18 | 179620065.43 | 188942673.05 | 190473063.9109 | 191452810.6101 | 189981587.1749 | 188316012.84
Predicted kWh Purchases | 181591118.7129 | 177590445.453 | 181945870.5943 | 179912111.3017 | 178359500.5765 | 184297730.8262 | 190484271.5045 | 192243247.6166 | 189718339.7686 | 191662018.3615 | 193523133.814 | 194436974.4481
% Difference | 2.164% | 0.3275% | -0.3954% | -0.9267% | -0.7018% | -2.458% | 0.005884% | 0.4129% | -0.1386% | 1.777%
CDM Purchase Adjustment | [10 empty] | -1320674.6457 | -3185894.6857
Predicted kWh Purchases after CDM | [10 empty] | 192202459.1683 | 191251079.7624
Billed kWh | 171012427.62 | 169025475.32 | 173068980.63 | 172075839 | 170620093.15 | 180067443.34 | 181291509.02 | 184156613.086 | 182595171.93 | 179890866.895 | 183452120.3312 | 182544054.066
By Class
Residential
Customers | 8606 | 8715 | 8825 | 9007 | 9147 | 9290 | 9435 | 9636 | 9720 | 9977 | 10142 | 10310
kWh | 89524366.68 | 85590831.91 | 86770664.69 | 86978305.54 | 86819996.19 | 92147820.4 | 92485342 | 93908435.72 | 92183859.78 | 91571085.55 | 93375125.2994 | 92563941.7826
General Service < 50 kW
Customers | 629 | 639 | 657 | 656 | 662 | 669 | 668 | 687 | 691 | 727 | 739 | 751
kWh | 18053236.02 | 17886710.09 | 18502908 | 18161547.13 | 18343494.58 | 18797357.52 | 17886498 | 17958297.19 | 18436579.29 | 18767140.45 | 19080374.3082 | 18812264.6941
General Service 50 to 4,999 kW
Customers | 115 | 114 | 102 | 105 | 100 | 102 | 111 | 108 | 110 | 109 | 108 | 107
kWh | 61428167.85 | 63517727.4 | 65799685.11 | 64972194.28 | 63520024.21 | 67164677 | 68948029 | 70328519.686 | 70070546.3 | 67963113.635 | 69442720.9837 | 69648507.1793
kW | 174384 | 175421.53 | 176460 | 172781 | 172057 | 174346 | 180394.16 | 183321.63 | 186327.56 | 180748.47 | 186022.2151 | 186573.4724
Street Lighting
Customers | 2489 | 2493 | 2493 | 2529 | 2486 | 2512 | 2544 | 2579 | 2611 | 2644 | 2662 | 2680
kWh | 1608062.86 | 1602772.96 | 1584019.13 | 1611475.44 | 1560091.37 | 1575356 | 1585167 | 1581518.6 | 1528363 | 1218696.8 | 1181812.2951 | 1145991.7194
kW | 4445 | 4424.93 | 4378 | 4443 | 4322 | 4359 | 4410.84 | 4368 | 4229.72 | 3646.25 | 3535.8943 | 3428.7218
Unmetered Scattered Load
Customers | 82 | 85 | 84 | 85 | 82 | 80 | 81 | 78 | 76 | 74 | 74 | 74
kWh | 398594.21 | 427432.96 | 411703.7 | 352316.61 | 376486.8 | 382232.42 | 386473.02 | 379841.89 | 375823.56 | 370830.46 | 372087.4449 | 373348.6906
Embedded Distributor (kW Only)
Customers | [10 empty] | 1 | 1
kW | [10 empty] | 130831.29 | 126624.242
Total
Customer/Connections | 11921 | 12046 | 12161 | 12382 | 12477 | 12653 | 12839 | 13088 | 13208 | 13531 | 13726 | 13923
kWh | 171012427.62 | 169025475.32 | 173068980.63 | 172075839 | 170620093.15 | 180067443.34 | 181291509.02 | 184156613.086 | 182595171.93 | 179890866.895 | 183452120.3312 | 182544054.066
kW from applicable classes | 178829 | 179846.46 | 180838 | 177224 | 176379 | 178705 | 184805 | 187689.63 | 190557.28 | 184394.72 | 320389.3994 | 316626.4362
| 11921 | 12046 | 12161 | 12382 | 12477 | 12653 | 12839 | 13088 | 13208 | 13531 | 13726 | 13923
| 171012427.62 | 169025475.32 | 173068980.63 | 172075839 | 170620093.15 | 180067443.34 | 181291509.02 | 184156613.086 | 182595171.93 | 179890866.895 | 183452120.3312 | 182544054.066
| 178829 | 179846.46 | 180838 | 177224 | 176379 | 178705 | 184805 | 187689.63 | 190557.28 | 184394.72 | 320389.3994 | 316626.4362
Check
Customer/Connections | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
kW from applicable classes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | NPEI Trend Period 2010 - 2013 | 200493.76 | 188870.98 | 178016.05 | 178044.79 | 178044.79 | 178044.79 | 178044.79
-3934.4583
[10 empty] | 154438.04 | 130831.29 | 130831.29
[5 empty] | NPEI Trend 2010-2015 with HAF Wind Reduction | 200493.76 | 188870.98 | 178016.05 | 178044.79 | 154438.04 | 130831.29 | 126624.242
[5 empty] | Embedded Generation Derating Factor | 0.78362
Total Peak July - December
|  |  |  | 2008 | 94266.3208
|  |  |  | 2009 | 91912.56 |  |  |  | gpi | -2128.2083
|  |  |  | 2010 | 102946.26
|  |  |  | 2011 | 96991.9
|  |  |  | 2012 | 89134.4
|  |  |  | 2013 | 93029.67 | 94713.5185
|  |  |  | 2014 | 74219.124
2015
2016
[5 empty] | GPI Trend Period 2014-2015 | 253674.24 | 240793.02 | 255848.95 | 242360.21 | 195506.8 | 191946.58 | 188386.36
315010.602
Note on K57: Amy: From NWTC Load Profile 2013-2015 in Final/Obsolete/Load Forecast
Note on L85: mioara: From NWTC Load Profile GPI 6 month actual x2

## 2015 COP Forecast
Cost of Power 2015 |  |  |  |  | Cost of Power 2015 Without Superstore
2015 Load Forecast | kWh | kW | 2014 %RPP |  | 2015 Load Forecast | kWh | kW | 2014 %RPP
Residential | 93375125.2994 |  | 94.83% |  | Residential | 93238059.1941 |  | 94.83%
General Service < 50 kW | 19080374.3082 |  | 80.93% |  | General Service < 50 kW | 19033179.2063 |  | 80.93%
General Service > 50 kW | 69442720.9837 | 186022.2151 | 9.417% |  | General Service > 50 kW | 65107171.5898 | 177354.4677 | 9.417%
Street Lights | 1181812.2951 | 3535.8943 | 0% |  | Street Lights | 1181726.7766 | 3535.6384 | 0%
Unmetered Loads | 372087.4449 |  | 99.69% |  | Unmetered Loads | 372087.4449 |  | 99.69%
TOTAL | 183452120.3312 | 189558.1094 |  |  | TOTAL | 178932224.2117 | 180890.1061
Electricity - Commodity RPP | 2015 Forecasted Metered kWhs | 2015 Loss Factor | 2015
Class per Load Forecast RPP
Residential | 88420891.103 | 1.0526 | 93071829.975 | 0.1021 | 9502633.8404
General Service < 50 kW | 15403367.9075 | 1.0526 | 16213585.0595 | 0.1021 | 1655407.0346
General Service > 50 kW | 6131287.8003 | 1.0526 | 6453793.5386 | 0.1021 | 658932.3203
Street Lights | 0 | 1.0526 | 0 | 0.1021 | 0
Unmetered Loads | 370926.4591 | 1.0526 | 390437.1908 | 0.1021 | 39863.6372
TOTAL | 110326473.2699 |  | 116129645.7639 |  | 11856836.8325
Electricity - Commodity Non-RPP | 2015 Forecasted Metered kWhs | 2015 Loss Factor | 2015
Class per Load Forecast
Residential | 4817168.0911 | 1.0526 | 5070551.1327 | 0.10186 | 516486.3384
General Service < 50 kW | 3629811.2988 | 1.0526 | 3820739.3731 | 0.10186 | 389180.5125
General Service > 50 kW | 58975883.7895 | 1.0526 | 62078015.2769 | 0.10186 | 6323266.6361
Street Lights | 1181726.7766 | 1.0526 | 1243885.605 | 0.10186 | 126702.1877
Unmetered Loads | 1160.9858 | 1.0526 | 1222.0537 | 0.10186 | 124.4784
TOTAL | 68605750.9418 |  | 72214413.4414 |  | 7355760.1531
Transmission - Network |  | Volume
Class per Load Forecast |  | Metric | 2015
Residential |  | kWh | 98142381.1077 | 0.0076 | 745882.0964
General Service < 50 kW |  | kWh | 20034324.4326 | 0.0071 | 142243.7035
General Service > 50 kW |  | kW | 186022.2151 | 2.8217 | 524898.8844
Street Lights |  | kW | 3535.8943 | 2.1281 | 7524.7367
Unmetered Loads |  | kWh | 1222.0537 | 0.0071 | 8.6766
TOTAL |  |  |  |  | 1420558.0975
Transmission - Connection |  | Volume
Class per Load Forecast |  | Metric | 2015
Residential |  | kWh | 98142381.1077 | 0.0057 | 559411.5723
General Service < 50 kW |  | kWh | 20034324.4326 | 0.005 | 100171.6222
General Service > 50 kW |  | kW | 186022.2151 | 2.0135 | 374555.7301
Street Lights |  | kW | 3535.8943 | 1.5565 | 5503.6195
Unmetered Loads |  | kWh | 1222.0537 | 0.005 | 6.1103
TOTAL |  |  |  |  | 1039648.6544
Wholesale Market Service
Class per Load Forecast |  |  | 2015
Residential |  | kWh | 98142381.1077 | 0.0044 | 431826.4769
General Service < 50 kW |  | kWh | 20034324.4326 | 0.0044 | 88151.0275
General Service > 50 kW |  | kWh | 68531808.8154 | 0.0044 | 301539.9588
Street Lights |  | kWh | 1243885.605 | 0.0044 | 5473.0967
Unmetered Loads |  | kWh | 391659.2445 | 0.0044 | 1723.3007
TOTAL |  |  | 188344059.2052 |  | 828713.8605
Wholesale Market Service - CBDR
Class per Load Forecast |  |  | 2015
Residential |  | kWh | 98142381.1077 |  | 25668.5621 | 49260.28
General Service < 50 kW |  | kWh | 20034324.4326 |  | 5239.8596
General Service > 50 kW |  | kWh | 68531808.8154 |  | 17924.0912
Street Lights |  | kWh | 1243885.605 |  | 325.331
Unmetered Loads |  | kWh | 391659.2445 |  | 102.4362
TOTAL |  |  | 188344059.2052 |  | 49260.28
Rural Rate Assistance
Class per Load Forecast |  |  | 2015
Residential |  | kWh | 98142381.1077 | 0.0013 | 127585.0954
General Service < 50 kW |  | kWh | 20034324.4326 | 0.0013 | 26044.6218
General Service > 50 kW |  | kWh | 68531808.8154 | 0.0013 | 89091.3515
Street Lights |  | kWh | 1243885.605 | 0.0013 | 1617.0513
Unmetered Loads |  | kWh | 391659.2445 | 0.0013 | 509.157
TOTAL |  |  | 188344059.2052 |  | 244847.277
2015
4705-Power Purchased | 19212596.9856
4708-Charges-WMS | 828713.8605
4708-Charges-WMS CBDR | 49260.28
4714-Charges-NW | 1420558.0975
4716-Charges-CN | 1039648.6544
4730-Rural Rate Assistance | 244847.277
4750-Low Voltage | 176186.42
4751-Smart Meter Entity Charge | 103151.88
TOTAL | 23074963.455
2015 | January | February | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Wholesale Market Service-CBDR |  |  |  |  | 4716.34 | 4320.05 | 9223.89 | 10000 | 8000 | 6000 | 4000 | 3000 | 49260.28

## 2016 COP Forecast
Cost of Power 2016 |  |  |  |  | Cost of Power 2016 Without Supterstore 2012-2014
2016 Load Forecast | kWh | kW | 2014 %RPP |  | 2016 Load Forecast | kWh | kW | 2014 %RPP
Residential | 92563941.7826 |  | 94.83% |  | Residential | 92606467.3627 |  | 94.83%
General Service < 50 kW | 18812264.6941 |  | 80.93% |  | General Service < 50 kW | 18814527.2618 |  | 80.93%
General Service > 50 kW | 69648507.1793 | 186573.4724 | 9.417% |  | General Service > 50 kW | 65131299.1154 | 177420.192 | 9.417%
Street Lights | 1145991.7194 | 3428.7218 | 0% |  | Street Lights | 1145878.2648 | 3428.3824 | 0%
Unmetered Loads | 373348.6906 |  | 99.69% |  | Unmetered Loads | 373348.6906 |  | 99.69%
TOTAL | 182544054.066 | 190002.1942 |  |  | TOTAL | 178071520.6952 | 180848.5744
Electricity - Commodity RPP | 2016 Forecasted Metered kWhs | 2016 Loss Factor | 2016
Class per Load Forecast RPP
Residential | 87821930.6245 | 1.0457 | 91835392.854 | 0.10728 | 9852100.9454 | 107.28
General Service < 50 kW | 15226415.0029 | 1.0457 | 15922262.1685 | 0.10728 | 1708140.2854 | 0.10728 | RPP Rate
General Service > 50 kW | 6133559.9433 | 1.0457 | 6413863.6327 | 0.10728 | 688079.2905
Street Lights | 0 | 1.0457 | 0 | 0.10728 | 0
Unmetered Loads | 372183.7694 | 1.0457 | 389192.5677 | 0.10728 | 41752.5787
TOTAL | 109554089.34 |  | 114560711.2229 |  | 12290073.1
Electricity - Commodity Non-RPP | 2016 Forecasted Metered kWhs | 2016 Loss Factor | 2016
Class per Load Forecast
Residential | 4784536.7382 | 1.0457 | 5003190.0671 | 0.10674 | 534040.5078 | 106.74 | Non-RPP Rate
General Service < 50 kW | 3588112.2589 | 1.0457 | 3752088.9891 | 0.10674 | 400497.9787 | 0.10674 | 2016
General Service > 50 kW | 58997739.1721 | 1.0457 | 61693935.8523 | 0.10674 | 6585210.7129
Street Lights | 1145878.2648 | 1.0457 | 1198244.9015 | 0.10674 | 127900.6608
Unmetered Loads | 1164.9212 | 1.0457 | 1218.1581 | 0.10674 | 130.0262
TOTAL | 68517431.3552 |  | 71648677.9681 |  | 7647779.8863
Transmission - Network |  | Volume
Class per Load Forecast |  | Metric | 2016
Residential |  | kWh | 96838582.9212 | 0.0067818 | 656738.6445
General Service < 50 kW |  | kWh | 19674351.1577 | 0.0063356 | 124649.1449
General Service > 50 kW |  | kW | 186573.4724 | 2.5501 | 475781.0119
Street Lights |  | kW | 3428.7218 | 1.899 | 6511.1055
Unmetered Loads |  | kWh | 1218.1581 | 0.0063356 | 7.7178
Embeded Distribuitor |  | kW | 126624.242 | 3.78 | 478639.6348
TOTAL |  |  |  |  | 1742327.2593
Transmission - Connection |  | Volume
Class per Load Forecast |  | Metric | 2016
Residential |  | kWh | 96838582.9212 | 0.0032 | 309883.4653
General Service < 50 kW |  | kWh | 19674351.1577 | 0.0028 | 55088.1832
General Service > 50 kW |  | kW | 186573.4724 | 1.1781 | 219802.2078
Street Lights |  | kW | 3428.7218 | 0.864 | 2962.4157
Unmetered Loads |  | kWh | 1218.1581 | 0.0028 | 3.4108
Embeded Distribuitor |  | kW | 126624.242 | 0.86 | 108896.8481
TOTAL |  |  |  |  | 696636.531
Wholesale Market Service
Class per Load Forecast |  |  | 2016
Residential |  | kWh | 96838582.9212 | 0.0036 | 348618.8985
General Service < 50 kW |  | kWh | 19674351.1577 | 0.0036 | 70827.6642
General Service > 50 kW |  | kWh | 68107799.485 | 0.0036 | 245188.0781
Street Lights |  | kWh | 1198244.9015 | 0.0036 | 4313.6816
Unmetered Loads |  | kWh | 390410.7257 | 0.0036 | 1405.4786
TOTAL |  |  | 186209389.191 |  | 670353.8011
Wholesale Market Service - CBDR
Class per Load Forecast |  |  | 2016
Residential |  | kWh | 96838582.9212 |  | 36403.6466 | 70000
General Service < 50 kW |  | kWh | 19674351.1577 |  | 7395.9997
General Service > 50 kW |  | kWh | 68107799.485 |  | 25603.1449
Street Lights |  | kWh | 1198244.9015 |  | 450.4453
Unmetered Loads |  | kWh | 390410.7257 |  | 146.7635
TOTAL |  |  | 186209389.191 |  | 70000
Wholesale Market Service OESP
Class per Load Forecast |  |  | 2016
Class per Load Forecast |  | kWh | 96838582.9212 | 0.0011 | 106522.4412
Residential |  | kWh | 19674351.1577 | 0.0011 | 21641.7863
General Service < 50 kW |  | kWh | 68107799.485 | 0.0011 | 74918.5794
General Service > 50 kW |  | kWh | 1198244.9015 | 0.0011 | 1318.0694
Street Lights |  | kWh | 390410.7257 | 0.0011 | 429.4518
TOTAL |  |  | 186209389.191 |  | 204830.3281
Rural Rate Assistance
Class per Load Forecast |  |  | 2016
Residential |  | kWh | 96838582.9212 | 0.0013 | 125890.1578
General Service < 50 kW |  | kWh | 19674351.1577 | 0.0013 | 25576.6565
General Service > 50 kW |  | kWh | 68107799.485 | 0.0013 | 88540.1393
Street Lights |  | kWh | 1198244.9015 | 0.0013 | 1557.7184
Unmetered Loads |  | kWh | 390410.7257 | 0.0013 | 507.5339
TOTAL |  |  | 186209389.191 |  | 242072.2059
2016
4705-Power Purchased | 19937852.9863
4708-Charges-WMS | 670353.8011
4708-Charges-WMS CBDR | 70000
4708-Charges-WMS OESP | 204830.3281
4714-Charges-NW | 1742327.2593
4716-Charges-CN | 696636.531
4730-Rural Rate Assistance | 242072.2059
4750-Low Voltage | 176186.42
4751-Smart Meter Entity Charge | 104858.28
TOTAL | 23845117.8118
2016 | January | February | March | April | May | June | July | Aug | Sept | Oct | Nov | Dec
Wholesale Market Service-CBDR | 3000 | 4000 | 5000 | 5000 | 6000 | 6000 | 10000 | 10000 | 8000 | 6000 | 4000 | 3000 | 70000

## Purchased Power Model
With Losses
| Purchased kWh | Heating Degree Days | Cooling Degree Days | Number of Days in Month | Spring Fall Flag | Number of Customers | Predicted Purchases | Ontario Real GDP Monthly % | Number of Peak Hours | Variances (kWh) | % Variance | % Variance (Abs) |  | SUMMARY OUTPUT
2005-01-31 | 15904399.76 | 765.8 | 0 | 31 | 0 | 9373 | 16104601.0215 | 130.7437 | 351.912 | 200201.2615 | 1.259% | 1.259%
2005-02-28 | 13355854.19 | 641.7 | 0 | 28 | 0 | 9380 | 14075883.0385 | 131.0343 | 319.872 | 720028.8485 | 5.391% | 5.391% |  | Regression Statistics
2005-03-31 | 14106534.89 | 646.9 | 0 | 31 | 1 | 9395 | 14655016.2764 | 131.3255 | 336.288 | 548481.3864 | 3.888% | 3.888% |  | Multiple R | 94.68%
2005-04-30 | 12415909.48 | 339 | 0 | 30 | 1 | 9415 | 13298881.2317 | 131.6174 | 336.24 | 882971.7517 | 7.112% | 7.112% |  | R Square | 89.64%
2005-05-31 | 12186546.62 | 212.7 | 0 | 31 | 1 | 9423 | 13546858.4855 | 131.91 | 336.288 | 1360311.8655 | 11.16% | 11.16% |  | Adjusted R Square | 89.19%
2005-06-30 | 16687965.98 | 13.1 | 119.6 | 30 | 0 | 9437 | 17302764.4596 | 132.2031 | 336.24 | 614798.4796 | 3.684% | 3.684% |  | Standard Error | 571870.8057
2005-07-31 | 18388987.8 | 1.1 | 144.7 | 31 | 0 | 9449 | 18622654.0817 | 132.497 | 351.912 | 233666.2817 | 1.271% | 1.271% |  | Observations | 120
2005-08-31 | 17645308.95 | 3.8 | 102.5 | 31 | 0 | 9452 | 17333927.5663 | 132.7915 | 319.92 | -311381.3837 | -1.765% | 1.765%
2005-09-30 | 14535596.56 | 32.8 | 25.6 | 30 | 1 | 9460 | 13323012.1297 | 133.0866 | 336.24 | -1212584.4303 | -8.342% | 8.342% |  | ANOVA
2005-10-31 | 13359592.8 | 234.2 | 7.6 | 31 | 1 | 9467 | 13868277.4173 | 133.3824 | 351.912 | 508684.6173 | 3.808% | 3.808% |  |  | df | SS | MS | F | Significance F
2005-11-30 | 13515783.75 | 396.3 | 0 | 30 | 1 | 9467 | 13485371.0963 | 133.6789 | 319.68 | -30412.6537 | -0.225% | 0.225% |  | Regression | 5 | 322642982342981 | 6.4529e+13 | 197.3133 | 2.1174e-54
2005-12-31 | 15642297.03 | 688.8 | 0 | 31 | 0 | 9469 | 15973871.9086 | 133.976 | 336.288 | 331574.8786 | 2.12% | 2.12% |  | Residual | 114 | 3.7282e+13 | 327036218361.7526
2006-01-31 | 14831646.86 | 554.7 | 0 | 31 | 0 | 9489 | 15639828.3365 | 134.252 | 336.288 | 808181.4765 | 5.449% | 5.449% |  | Total | 119 | 3.5993e+14
2006-02-28 | 13693983.58 | 602.8 | 0 | 28 | 0 | 9523 | 14078133.693 | 134.5285 | 320.16 | 384150.113 | 2.805% | 2.805%
2006-03-31 | 14234656.28 | 530.4 | 0 | 31 | 1 | 9525 | 14446206.2825 | 134.8056 | 368.28 | 211550.0025 | 1.486% | 1.486% |  |  | Coefficients | Standard Error | t Stat | P-value | Lower 95% | Upper 95%
2006-04-30 | 12480966.94 | 314.6 | 0 | 30 | 1 | 9530 | 13318579.2057 | 135.0833 | 336.24 | 837612.2657 | 6.711% | 6.711% |  | Intercept | -10342337.8864 | 2411824.2018 | -4.2882 | 3.7892e-05 | -15120142.8997 | -5564532.8731
2006-05-31 | 13391623.36 | 155.5 | 22.4 | 31 | 1 | 9543 | 14173868.376 | 135.3615 | 319.92 | 782245.016 | 5.841% | 5.841% |  | Heating Degree Days | 2598.786 | 328.9725 | 7.8997 | 1.9231e-12 | 1947.0939 | 3250.478
2006-06-30 | 15047748.8 | 26.7 | 43.2 | 30 | 0 | 9544 | 15065661.819 | 135.6404 | 352.08 | 17913.019 | 0.119% | 0.119% |  | Cooling Degree Days | 30756.1915 | 2063.6215 | 14.904 | 1.5607e-28 | 26668.1734 | 34844.2096
2006-07-31 | 19026239.94 | 1.9 | 136.1 | 31 | 0 | 9551 | 18433943.3581 | 135.9198 | 336.288 | -592296.5819 | -3.113% | 3.113% |  | Number of Days in Month | 570422.4712 | 70802.0346 | 8.0566 | 8.5106e-13 | 430164.1905 | 710680.7519
2006-08-31 | 17271942.44 | 8.1 | 70.1 | 31 | 0 | 9560 | 16426651.3237 | 136.1997 | 336.288 | -845291.1163 | -4.894% | 4.894% |  | Spring Fall Flag | -1156488.0824 | 138671.8628 | -8.3397 | 1.9352e-13 | -1431195.9656 | -881780.1993
2006-09-30 | 13597770.38 | 105.3 | 4.1 | 30 | 1 | 9575 | 12933274.3469 | 136.4803 | 336.24 | -664496.0331 | -4.887% | 4.887% |  | Number of Customers | 722.6813 | 113.9866 | 6.3401 | 4.762e-09 | 496.8748 | 948.4879
2006-10-31 | 13918241.69 | 304.1 | 0 | 31 | 1 | 9589 | 13904352.6221 | 136.7614 | 319.92 | -13889.0679 | -0.09979% | 0.09979%
2006-11-30 | 14040974.21 | 393.1 | 0 | 30 | 1 | 9598 | 13571726.2341 | 137.0431 | 352.08 | -469247.9759 | -3.342% | 3.342%
2006-12-31 | 15474866.37 | 508.1 | 0 | 31 | 0 | 9599 | 15598219.8554 | 137.3254 | 336.288 | 123353.4854 | 0.7971% | 0.7971%
2007-01-31 | 15702987.9 | 665.6 | 0 | 31 | 0 | 9605 | 16011864.7335 | 137.5522 | 319.92 | 308876.8335 | 1.967% | 1.967%
2007-02-28 | 14969307.26 | 761.8 | 0 | 29 | 0 | 9603 | 15119577.6388 | 137.7794 | 319.872 | 150270.3788 | 1.004% | 1.004%
2007-03-31 | 14984498.09 | 565.2 | 0 | 31 | 1 | 9605 | 14594458.5398 | 138.0069 | 351.912 | -390039.5502 | -2.603% | 2.603%
2007-04-30 | 13573714.1 | 374.2 | 0 | 30 | 1 | 9606 | 13528390.6298 | 138.2349 | 336.24 | -45323.4702 | -0.3339% | 0.3339%
2007-05-31 | 13586564.71 | 138.4 | 23.3 | 31 | 1 | 9623 | 14214924.2139 | 138.4632 | 336.288 | 628359.5039 | 4.625% | 4.625%
2007-06-30 | 16499885.75 | 19.2 | 74.2 | 30 | 0 | 9640 | 16068990.2675 | 138.6919 | 352.08 | -430895.4825 | -2.612% | 2.612%
2007-07-31 | 16698025.08 | 9.2 | 82 | 31 | 0 | 9657 | 16865608.7552 | 138.9209 | 319.92 | 167583.6752 | 1.004% | 1.004%
2007-08-31 | 17984839.56 | 8.4 | 106 | 31 | 0 | 9667 | 17608905.1357 | 139.1504 | 351.912 | -375934.4243 | -2.09% | 2.09%
2007-09-30 | 14762955.08 | 55.2 | 37.2 | 30 | 1 | 9721 | 13926616.5812 | 139.3802 | 336.24 | -836338.4988 | -5.665% | 5.665%
2007-10-31 | 14023826.34 | 157.8 | 13 | 31 | 1 | 9742 | 14034550.9662 | 139.6104 | 319.92 | 10724.6262 | 0.07647% | 0.07647%
2007-11-30 | 14013283.17 | 467.5 | 0 | 30 | 1 | 9763 | 13884318.3279 | 139.841 | 352.08 | -128964.8421 | -0.9203% | 0.9203%
2007-12-31 | 15868248.82 | 643.6 | 0 | 31 | 0 | 9789 | 16087664.805 | 140.0719 | 319.92 | 219415.985 | 1.383% | 1.383%
2008-01-31 | 15764851.67 | 632.7 | 0 | 31 | 0 | 9806 | 16071623.6203 | 139.9664 | 336.288 | 306771.9503 | 1.946% | 1.946%
2008-02-29 | 14902958.98 | 678.8 | 0 | 29 | 0 | 9810 | 15053473.4364 | 139.861 | 319.872 | 150514.4564 | 1.01% | 1.01%
2008-03-31 | 15024633.53 | 620.8 | 0 | 31 | 1 | 9810 | 14887100.7101 | 139.7557 | 368.28 | -137532.8199 | -0.9154% | 0.9154%
2008-04-30 | 12928634.49 | 287.6 | 0 | 30 | 1 | 9826 | 13462325.6551 | 139.6504 | 303.84 | 533691.1651 | 4.128% | 4.128%
2008-05-31 | 13093338.75 | 213.1 | 0.3 | 31 | 1 | 9840 | 13858482.9675 | 139.5453 | 351.912 | 765144.2175 | 5.844% | 5.844%
2008-06-30 | 15634587.71 | 34.2 | 55 | 30 | 0 | 9855 | 15672829.6639 | 139.4402 | 352.08 | 38241.9539 | 0.2446% | 0.2446%
2008-07-31 | 17769758.51 | 3.7 | 87.7 | 31 | 0 | 9858 | 17171884.6691 | 139.3351 | 319.92 | -597873.8409 | -3.365% | 3.365%
2008-08-31 | 16451326.59 | 20.2 | 45.2 | 31 | 0 | 9860 | 15909071.8613 | 139.2302 | 351.912 | -542254.7287 | -3.296% | 3.296%
2008-09-30 | 14772755.6 | 70.4 | 20.3 | 30 | 1 | 9869 | 13553295.3268 | 139.1254 | 319.68 | -1219460.2732 | -8.255% | 8.255%
2008-10-31 | 14010438.3 | 297.5 | 0 | 31 | 1 | 9875 | 14093887.492 | 139.0206 | 336.288 | 83449.192 | 0.5956% | 0.5956%
2008-11-30 | 14578064.73 | 460.6 | 0 | 30 | 1 | 9883 | 13953108.463 | 138.9159 | 352.08 | -624956.267 | -4.287% | 4.287%
2008-12-31 | 16663518.32 | 655.3 | 0 | 31 | 0 | 9937 | 16225027.4361 | 138.8113 | 304.296 | -438490.8839 | -2.631% | 2.631%
2009-01-31 | 17050345.33 | 852.3 | 0 | 31 | 0 | 9943 | 16741324.3599 | 138.4356 | 351.912 | -309020.9701 | -1.812% | 1.812%
2009-02-28 | 14445284.02 | 616.6 | 0 | 28 | 0 | 9947 | 14420413.8187 | 138.0609 | 319.872 | -24870.2013 | -0.1722% | 0.1722%
2009-03-31 | 14873166.26 | 540.9 | 0 | 31 | 1 | 9956 | 14784969.1838 | 137.6872 | 351.912 | -88197.0762 | -0.593% | 0.593%
2009-04-30 | 13253479.67 | 334.7 | 0 | 30 | 1 | 9955 | 13677954.3645 | 137.3145 | 319.68 | 424474.6945 | 3.203% | 3.203%
2009-05-31 | 13056802.51 | 178.1 | 0 | 31 | 1 | 9966 | 13849356.4474 | 136.9429 | 351.912 | 792553.9374 | 6.07% | 6.07%
2009-06-30 | 14334094.08 | 58.5 | 30.2 | 30 | 0 | 9967 | 15054166.9214 | 136.5722 | 336.24 | 720072.8414 | 5.023% | 5.023%
2009-07-31 | 15527173.05 | 18.9 | 21.7 | 31 | 0 | 9989 | 15276148.8295 | 136.2026 | 336.288 | -251024.2205 | -1.617% | 1.617%
2009-08-31 | 17690606.24 | 18.1 | 69.7 | 31 | 0 | 9995 | 16754703.0808 | 135.8339 | 351.912 | -935903.1592 | -5.29% | 5.29%
2009-09-30 | 14455745.86 | 67.8 | 12.4 | 30 | 1 | 10008 | 13404017.2738 | 135.4663 | 303.84 | -1051728.5862 | -7.276% | 7.276%
2009-10-31 | 14130993.42 | 259.9077 | 2.5846 | 31 | 1 | 10041 | 14195651.155 | 135.0996 | 351.912 | 64657.735 | 0.4576% | 0.4576%
2009-11-30 | 14175811.05 | 424.6154 | 0 | 30 | 1 | 10055 | 13983893.3364 | 134.734 | 352.08 | -191917.7136 | -1.354% | 1.354%
2009-12-31 | 16626563.94 | 614.3538 | 0 | 31 | 0 | 10073 | 16216901.8054 | 134.3693 | 304.296 | -409662.1346 | -2.464% | 2.464%
2010-01-31 | 16710571.45 | 728.7 | 0 | 31 | 0 | 10076 | 16516231.0296 | 134.7333 | 352 | -194340.4204 | -1.163% | 1.163%
2010-02-28 | 14688782.35 | 618.4 | 0 | 28 | 0 | 10094 | 14531325.7874 | 135.0984 | 320 | -157456.5626 | -1.072% | 1.072%
2010-03-31 | 14685368.52 | 456.8 | 0 | 31 | 1 | 10107 | 14675536.163 | 135.4644 | 304 | -9832.357 | -0.06695% | 0.06695%
2010-04-30 | 13053838.2 | 235.8 | 0.8 | 30 | 1 | 10110 | 13557554.9898 | 135.8314 | 352 | 503716.7898 | 3.859% | 3.859%
2010-05-31 | 14445330.75 | 128.4 | 28.8 | 31 | 1 | 10117 | 14715099.9792 | 136.1994 | 336 | 269769.2292 | 1.868% | 1.868%
2010-06-30 | 16128916.77 | 27.2 | 44.8 | 30 | 0 | 10131 | 15540385.0529 | 136.5684 | 336 | -588531.7171 | -3.649% | 3.649%
2010-07-31 | 19784906.43 | 5.7 | 121.3 | 31 | 0 | 10134 | 18409950.3197 | 136.9384 | 352 | -1374956.1103 | -6.95% | 6.95%
2010-08-31 | 19044589.7 | 6.9 | 95.6 | 31 | 0 | 10148 | 17632752.2797 | 137.3094 | 320 | -1411837.4203 | -7.413% | 7.413%
2010-09-30 | 14895979.83 | 97.2 | 21.7 | 30 | 1 | 10166 | 13880637.8108 | 137.6814 | 336 | -1015342.0192 | -6.816% | 6.816%
2010-10-31 | 13951924.74 | 260.8 | 0 | 31 | 1 | 10176 | 14216039.1241 | 138.0544 | 352 | 264114.3841 | 1.893% | 1.893%
2010-11-30 | 14495200.18 | 416.5 | 0 | 30 | 1 | 10215 | 14078432.1998 | 138.4285 | 304 | -416767.9802 | -2.875% | 2.875%
2010-12-31 | 17057264.13 | 696.2 | 0 | 31 | 0 | 10231 | 16543786.0901 | 138.8035 | 336 | -513478.0399 | -3.01% | 3.01%
2011-01-31 | 16972495.2796 | 743 | 0 | 31 | 0 | 10242 | 16673358.768 | 139.01 | 336 | -299136.5117 | -1.762% | 1.762%
2011-02-28 | 15034235.4426 | 610.7 | 0 | 29 | 0 | 10254 | 15197366.6177 | 139.2168 | 304 | 163131.1751 | 1.085% | 1.085%
2011-03-31 | 15600132.1574 | 548.6 | 0 | 31 | 1 | 10249 | 15016725.4624 | 139.4239 | 352 | -583406.695 | -3.74% | 3.74%
2011-04-30 | 13905160.7646 | 334.6 | 0.73333 | 30 | 1 | 10246 | 13910549.2902 | 139.6314 | 320 | 5388.5256 | 0.03875% | 0.03875%
2011-05-31 | 13964088.6689 | 159.2 | 12 | 31 | 1 | 10267 | 14386840.7677 | 139.8391 | 320 | 422752.0988 | 3.027% | 3.027%
2011-06-30 | 15635949.9331 | 15.2 | 67.5 | 30 | 0 | 10288 | 16320826.1356 | 140.0472 | 352 | 684876.2024 | 4.38% | 4.38%
2011-07-31 | 20776403.3691 | 0 | 209.2 | 31 | 0 | 10283 | 21206285.9894 | 140.2555 | 352 | 429882.6203 | 2.069% | 2.069%
2011-08-31 | 18292832.7743 | 0 | 126.3 | 31 | 0 | 10312 | 18677555.4721 | 140.4642 | 320 | 384722.6978 | 2.103% | 2.103%
2011-09-30 | 15179291.5993 | 44.3 | 47.9 | 30 | 1 | 10322 | 14661712.5362 | 140.6732 | 336 | -517579.0631 | -3.41% | 3.41%
2011-10-31 | 14464910.0175 | 210.8 | 6 | 31 | 1 | 10333 | 14384097.9418 | 140.8824 | 336 | -80812.0757 | -0.5587% | 0.5587%
2011-11-30 | 14415495.6276 | 306.6 | 0 | 30 | 1 | 10345 | 13886774.1933 | 141.092 | 320 | -528721.4343 | -3.668% | 3.668%
2011-12-31 | 16232068.2767 | 505.7 | 0 | 31 | 0 | 10388 | 16162178.3301 | 141.302 | 352 | -69889.9466 | -0.4306% | 0.4306%
2012-01-31 | 16429520.4813 | 582.6 | 0 | 31 | 0 | 10426 | 16389486.8613 | 141.4774 | 320 | -40033.62 | -0.2437% | 0.2437%
2012-02-29 | 14922709.5904 | 510.9 | 0 | 29 | 0 | 10454 | 15082544.0419 | 141.653 | 304 | 159834.4515 | 1.071% | 1.071%
2012-03-31 | 14512774.7804 | 341.7 | 0.5 | 31 | 1 | 10470 | 14654127.3126 | 141.8289 | 368 | 141352.5322 | 0.974% | 0.974%
2012-04-30 | 13420400.9403 | 303.6 | 2.8 | 30 | 1 | 10478 | 14061211.7871 | 142.005 | 320 | 640810.8468 | 4.775% | 4.775%
2012-05-31 | 14603680.8677 | 77.5 | 36.5 | 31 | 1 | 10495 | 15092817.9867 | 142.1813 | 320 | 489137.119 | 3.349% | 3.349%
2012-06-30 | 17157940.4128 | 20.7 | 112 | 30 | 0 | 10511 | 17864927.9145 | 142.3578 | 352 | 706987.5018 | 4.12% | 4.12%
2012-07-31 | 20944843.9827 | 0 | 205.1 | 31 | 0 | 10518 | 21250015.7143 | 142.5345 | 336 | 305171.7316 | 1.457% | 1.457%
2012-08-31 | 18739592.1297 | 0.8 | 132.5 | 31 | 0 | 10537 | 19032926.185 | 142.7115 | 336 | 293334.0554 | 1.565% | 1.565%
2012-09-30 | 15430254.1235 | 62.9 | 39.3 | 30 | 1 | 10546 | 14607427.3239 | 142.8886 | 336 | -822826.7997 | -5.333% | 5.333%
2012-10-31 | 14418668.8595 | 221 | 1.4 | 31 | 1 | 10548 | 14424503.5614 | 143.066 | 320 | 5834.7019 | 0.04047% | 0.04047%
2012-11-30 | 14689598.2317 | 409.4 | 0 | 30 | 1 | 10553 | 14304247.1054 | 143.2436 | 336 | -385351.1263 | -2.623% | 2.623%
2012-12-31 | 16182826.2101 | 193.6 | 0 | 31 | 0 | 10565 | 15479011.8226 | 143.4215 | 368 | -703814.3875 | -4.349% | 4.349%
2013-01-31 | 16622084.1035 | 612.3 | 0 | 31 | 0 | 10571 | 16571459.5959 | 143.5759 | 336 | -50624.5076 | -0.3046% | 0.3046%
2013-02-28 | 15003411.8942 | 590.5 | 0 | 28 | 0 | 10575 | 14806429.3735 | 143.7306 | 304 | -196982.5207 | -1.313% | 1.313%
2013-03-31 | 15405740.2361 | 525.2 | 0 | 31 | 1 | 10578 | 15193676.0248 | 143.8853 | 368 | -212064.2113 | -1.377% | 1.377%
2013-04-30 | 13953064.2102 | 340 | 0 | 30 | 1 | 10579 | 14142681.0734 | 144.0403 | 320 | 189616.8632 | 1.359% | 1.359%
2013-05-31 | 14135961.1057 | 114.6 | 25.4 | 31 | 1 | 10584 | 14912157.8579 | 144.1954 | 336 | 776196.7522 | 5.491% | 5.491%
2013-06-30 | 15880216.2928 | 34.1 | 68.1 | 30 | 0 | 10592 | 16608092.0264 | 144.3507 | 352 | 727875.7335 | 4.584% | 4.584%
2013-07-31 | 19373764.1024 | 0.4 | 141.4 | 31 | 0 | 10592 | 19345364.2476 | 144.5062 | 320 | -28399.8549 | -0.1466% | 0.1466%
2013-08-31 | 17518528.2858 | 2.8 | 95.1 | 31 | 0 | 10589 | 17925421.6233 | 144.6618 | 352 | 406893.3376 | 2.323% | 2.323%
2013-09-30 | 15118315.7803 | 75.6 | 35.8 | 30 | 1 | 10599 | 14571087.3453 | 144.8176 | 336 | -547228.435 | -3.62% | 3.62%
2013-10-31 | 14697969.9435 | 193.4 | 4.4 | 31 | 1 | 10610 | 14489851.885 | 144.9735 | 320 | -208118.0585 | -1.416% | 1.416%
2013-11-30 | 15084391.1214 | 442.2 | 0 | 30 | 1 | 10622 | 14439352.2962 | 145.1297 | 352 | -645038.8253 | -4.276% | 4.276%
2013-12-31 | 17188140.099 | 639.7 | 0 | 31 | 0 | 10668 | 16712766.4194 | 145.286 | 336 | -475373.6796 | -2.766% | 2.766%
2014-01-31 | 17832921.9 | 779.5 | 0 | 31 | 0 | 10677 | 17082580.8298 | 145.5378 | 336 | -750341.0702 | -4.208% | 4.208%
2014-02-28 | 15630733.61 | 683.1 | 0 | 29 | 0 | 10731 | 15730237.7113 | 145.7901 | 320 | 99504.1013 | 0.6366% | 0.6366%
2014-03-31 | 16233179.18 | 647.9 | 0 | 31 | 1 | 10749 | 15636125.5688 | 146.0428 | 352 | -597053.6112 | -3.678% | 3.678%
2014-04-30 | 13779375.02 | 331.7 | 0 | 30 | 1 | 10788 | 14272151.5456 | 146.2959 | 320 | 492776.5256 | 3.576% | 3.576%
2014-05-31 | 13816260.48 | 129.6 | 11.9 | 31 | 1 | 10816 | 14703593.1282 | 146.5495 | 352 | 887332.6482 | 6.422% | 6.422%
2014-06-30 | 15763795.03 | 13.5 | 72.8 | 30 | 0 | 10838 | 16876890.74 | 146.8035 | 336 | 1113095.71 | 7.061% | 7.061%
2014-07-31 | 17256405.4 | 1.7 | 89.6 | 31 | 0 | 10879 | 17962981.4881 | 147.058 | 336 | 706576.0881 | 4.095% | 4.095%
2014-08-31 | 17022827.64 | 4.1 | 88.8 | 31 | 0 | 10916 | 17971352.8301 | 147.3129 | 352 | 948525.1901 | 5.572% | 5.572%
2014-09-30 | 15128454.74 | 57.2 | 42.6 | 30 | 1 | 11008 | 15027988.4453 | 147.5683 | 304 | -100466.2947 | -0.6641% | 0.6641%
2014-10-31 | 14319576.61 | 199.6 | 5.1 | 31 | 1 | 11061 | 14853422.9671 | 147.8241 | 352 | 533846.3571 | 3.728% | 3.728%
2014-11-30 | 15066567.45 | 451.9 | 0 | 30 | 1 | 11065 | 14784708.3446 | 148.0803 | 352 | -281859.1054 | -1.871% | 1.871%
2014-12-31 | 16465915.78 | 534.4 | 0 | 31 | 0 | 11112 | 16759984.7626 | 148.337 | 304 | 294068.9826 | 1.786% | 1.786%
2015-01-31 |  | 691.72 | 0 | 31 | 0 | 11115.3 | 17171210.6197 | 148.6425 | 352 |  |  | 2.957% | Mean Average Percent Error
2015-02-28 |  | 631.53 | 0 | 28 | 0 | 11118.6 | 15305907.1271 | 148.9487 | 304
2015-03-31 |  | 542.44 | 0.05 | 31 | 1 | 11121.9 | 15633083.274 | 149.2555 | 320
2015-04-30 |  | 319.58 | 0.43333 | 30 | 1 | 11125.2 | 14497670.0835 | 149.5629 | 352
2015-05-31 |  | 150.71 | 16.06 | 31 | 1 | 11128.5 | 15112237.169 | 149.871 | 352
2015-06-30 |  | 26.24 | 68.74 | 30 | 0 | 11131.8 | 16997452.9074 | 150.1797 | 320
2015-07-31 |  | 4.26 | 123.88 | 31 | 0 | 11135.1 | 19209035.3108 | 150.4891 | 352
2015-08-31 |  | 7.32 | 93.18 | 31 | 0 | 11138.4 | 18275157.3651 | 150.7991 | 336
2015-09-30 |  | 66.87 | 28.69 | 30 | 1 | 11141.7 | 14721922.5743 | 151.1097 | 320
2015-10-31 |  | 233.9108 | 4.0085 | 31 | 1 | 11145 | 14969722.9776 | 151.4209 | 352
2015-11-30 |  | 416.8715 | 0 | 30 | 1 | 11148.3 | 14753876.2241 | 151.7328 | 336
2015-12-31 |  | 567.9754 | 0 | 31 | 0 | 11151.6 | 16875858.1813 | 152.0454 | 320
2016-01-31 |  | 691.72 | 0 | 31 | 0 | 11154.9 | 17199828.7999 | 152.3586 | 352
2016-02-29 |  | 631.53 | 0 | 29 | 0 | 11158.2 | 15904947.7785 | 152.6724 | 304
2016-03-31 |  | 542.44 | 0.05 | 31 | 1 | 11161.5 | 15661701.4543 | 152.9869 | 336
2016-04-30 |  | 319.58 | 0.43333 | 30 | 1 | 11164.8 | 14526288.2638 | 153.302 | 320
2016-05-31 |  | 150.71 | 16.06 | 31 | 1 | 11168.1 | 15140855.3492 | 153.6178 | 336
2016-06-30 |  | 26.24 | 68.74 | 30 | 0 | 11171.4 | 17026071.0877 | 153.9342 | 336
2016-07-31 |  | 4.26 | 123.88 | 31 | 0 | 11174.7 | 19237653.4911 | 154.2513 | 352
2016-08-31 |  | 7.32 | 93.18 | 31 | 0 | 11178 | 18303775.5453 | 154.569 | 320
2016-09-30 |  | 66.87 | 28.69 | 30 | 1 | 11181.3 | 14750540.7545 | 154.8874 | 336
2016-10-31 |  | 233.9108 | 4.0085 | 31 | 1 | 11184.6 | 14998341.1579 | 155.2065 | 352
2016-11-30 |  | 416.8715 | 0 | 30 | 1 | 11187.9 | 14782494.4044 | 155.5262 | 304
2016-12-31 |  | 567.9754 | 0 | 31 | 0 | 11191.2 | 16904476.3616 | 155.8465 | 336
|  | Weather Normal |  |  |  |  | 2235764762.978
2005 | 177744777.81 | [5 empty] | 181591118.7129 | 3846340.9029 | 3846340.9029 | 2.164% | 2.164%
2006 | 177010660.85 | [5 empty] | 177590445.453 | 579784.603 | 579784.603 | 0.3275% | 0.3275%
2007 | 182668135.86 | [5 empty] | 181945870.5943 | -722265.2657 | -722265.2657 | -0.3954% | 0.3954%
2008 | 181594867.18 | [5 empty] | 179912111.3017 | -1682755.8783 | -1682755.8783 | -0.9267% | 0.9267%
2009 | 179620065.43 | [5 empty] | 178359500.5765 | -1260564.8535 | -1260564.8535 | -0.7018% | 0.7018%
2010 | 188942673.05 | [5 empty] | 184297730.8262 | -4644942.2238 | -4644942.2238 | -2.458% | 2.458%
2011 | 190473063.9109 | [5 empty] | 190484271.5045 | 11207.5936 | 11207.5936 | 0.005884% | 0.005884%
2012 | 191452810.6101 | [5 empty] | 192243247.6166 | 790437.0066 | 790437.0066 | 0.4129% | 0.4129%
2013 | 189981587.1749 | [5 empty] | 189718339.7686 | -263247.4064 | -263247.4064 | -0.1386% | 0.1386%
2014 | 188316012.84 | [5 empty] | 191662018.3615 | 3346005.5215 | 3346005.5215 | 1.777% | 1.777%
2015 | [6 empty] | 193523133.814 |  |  |  | 0.9308%
2016 | [6 empty] | 194436974.4481
Total to 2014 | 1847804654.7159 | [5 empty] | 1847804654.7159 | 3.5763e-06
[7 empty] | 2235764762.978 | 0
Check totals above sould be zero
20 Year Trend
|  | 698.7286 | 0 | 31 | 0 | 11154.9 | 17218042.577 | 152.3586 | 352
|  | 623.4829 | 0 | 29 | 0 | 11158.2 | 15884034.9765 | 152.6724 | 304
|  | 527.2771 | 0.078571 | 31 | 1 | 11161.5 | 15623175.1822 | 152.9869 | 336
|  | 303.1029 | 0.7619 | 30 | 1 | 11164.8 | 14493573.3019 | 153.302 | 320
|  | 135.18 | 19.3486 | 31 | 1 | 11168.1 | 15201640.1358 | 153.6178 | 336
|  | 26.3614 | 68.0543 | 30 | 0 | 11171.4 | 17005296.6946 | 153.9342 | 336
|  | 2.07 | 134.9629 | 31 | 0 | 11174.7 | 19572828.6265 | 154.2513 | 352
|  | 6.6443 | 97.5643 | 31 | 0 | 11178 | 18436863.4396 | 154.569 | 320
|  | 58.18 | 34.4843 | 30 | 1 | 11181.3 | 14906167.4655 | 154.8874 | 336
|  | 224.7795 | 4.5068 | 31 | 1 | 11184.6 | 14989938.2137 | 155.2065 | 352
|  | 397.726 | 0 | 30 | 1 | 11187.9 | 14732739.3619 | 155.5262 | 304
|  | 532.8862 | 0 | 31 | 0 | 11191.2 | 16813286.961 | 155.8465 | 336 | 194877586.9362

## Rate Class Energy Model
| Purchases | Modeled Purchases | Difference | % Difference | Loss Factor | Total Billed | Residential | General Service < 50 kW | General Service 50 to 4,999 kW | Street Lighting | Unmetered Scattered Load
Weatther Normal Projection
2005 | 177744777.81 | 181591118.7129 | 3846340.9029 | 2.164% | 1.0394 | 171012427.62 | 89524366.68 | 18053236.02 | 61428167.85 | 1608062.86 | 398594.21
2006 | 177010660.85 | 177590445.453 | 579784.603 | 0.3275% | 1.0472 | 169025475.32 | 85590831.91 | 17886710.09 | 63517727.4 | 1602772.96 | 427432.96
2007 | 182668135.86 | 181945870.5943 | -722265.2657 | -0.3954% | 1.0555 | 173068980.63 | 86770664.69 | 18502908 | 65799685.11 | 1584019.13 | 411703.7
2008 | 181594867.18 | 179912111.3017 | -1682755.8783 | -0.9267% | 1.0553 | 172075839 | 86978305.54 | 18161547.13 | 64972194.28 | 1611475.44 | 352316.61
2009 | 179620065.43 | 178359500.5765 | -1260564.8535 | -0.7018% | 1.0527 | 170620093.15 | 86819996.19 | 18343494.58 | 63520024.21 | 1560091.37 | 376486.8
2010 | 188942673.05 | 184297730.8262 | -4644942.2238 | -2.458% | 1.0493 | 180067443.34 | 92147820.4 | 18797357.52 | 67164677 | 1575356 | 382232.42
2011 | 190473063.9109 | 190484271.5045 | 11207.5936 | 0.005884% | 1.0506 | 181291509.02 | 92485342 | 17886498 | 68948029 | 1585167 | 386473.02
2012 | 191452810.6101 | 192243247.6166 | 790437.0066 | 0.4129% | 1.0396 | 184156613.086 | 93908435.72 | 17958297.19 | 70328519.686 | 1581518.6 | 379841.89
2013 | 189981587.1749 | 189718339.7686 | -263247.4064 | -0.1386% | 1.0405 | 182595171.93 | 92183859.78 | 18436579.29 | 70070546.3 | 1528363 | 375823.56
2014 | 188316012.84 | 191662018.3615 | 3346005.5215 | 1.777% | 1.0468 | 179890866.895 | 91571085.55 | 18767140.45 | 67963113.635 | 1218696.8 | 370830.46
2015 | 0 | 193523133.814 |  |  |  | 184712669.0519
2016 | 0 | 194436974.4481 |  |  |  | 185584905.5608
Average |  |  |  |  | 1.0477
Usage Per Customer
2005 | [6 empty] | 10402.5525 | 28701.4881 | 534157.9813 | 646.0678 | 4860.905
2006 | [6 empty] | 9821.0937 | 27991.7216 | 557173.0474 | 642.9093 | 5028.6231
2007 | [6 empty] | 9832.3699 | 28162.7215 | 645094.9521 | 635.3867 | 4901.2345
2008 | [6 empty] | 9656.7454 | 27685.2853 | 618782.8027 | 637.1987 | 4144.9013
2009 | [6 empty] | 9491.6362 | 27709.2063 | 635200.2421 | 627.5508 | 4591.3024
2010 | [6 empty] | 9919.0334 | 28097.6943 | 658477.2255 | 627.1322 | 4777.9052
2011 | [6 empty] | 9802.368 | 26776.1946 | 621153.4144 | 623.1002 | 4771.2719
2012 | [6 empty] | 9745.5828 | 26140.1706 | 651189.9971 | 613.2294 | 4869.7678
2013 | [6 empty] | 9483.9362 | 26681.012 | 637004.9664 | 585.3554 | 4945.0468
2014 | [6 empty] | 9178.2185 | 25814.4986 | 623514.804 | 460.9292 | 5011.2224
2015 | [6 empty] | 9051.405 | 25512.2086 | 634323.6235 | 443.9565 | 5028.2087
2016 | [6 empty] | 8926.3437 | 25213.4585 | 645319.8171 | 427.6089 | 5045.2526
2005
2006 | [6 empty] | 0.9441 | 0.97527 | 1.0431 | 0.99511 | 1.0345
2007 | [6 empty] | 1.0011 | 1.0061 | 1.1578 | 0.9883 | 0.97467
2008 | [6 empty] | 0.98214 | 0.98305 | 0.95921 | 1.0029 | 0.84569
2009 | [6 empty] | 0.9829 | 1.0009 | 1.0265 | 0.98486 | 1.1077
2010 | [6 empty] | 1.045 | 1.014 | 1.0366 | 0.99933 | 1.0406
2011 | [6 empty] | 0.98824 | 0.95297 | 0.94332 | 0.99357 | 0.99861
2012 | [6 empty] | 0.99421 | 0.97625 | 1.0484 | 0.98416 | 1.0206
2013 | [6 empty] | 0.97315 | 1.0207 | 0.97822 | 0.95455 | 1.0155
2014 | [6 empty] | 0.96776 | 0.96752 | 0.97882 | 0.78743 | 1.0134
Used | [6 empty] | 0.98618 | 0.98829 | 1.0173 | 0.96318 | 1.0034
Geomean | [6 empty] | 0.98618 | 0.98829 | 1.0173 | 0.96318 | 1.0034
Non Weather Corrected Forecast
2015 | [5 empty] | 180713723.0022 | 91799349.7557 | 18853522.1727 | 68506951.3338 | 1181812.2951 | 372087.4449
2016 | [5 empty] | 181534472.2035 | 92030604.0049 | 18935307.3571 | 69049220.4315 | 1145991.7194 | 373348.6906
Weather Corrected Forecast | [12 empty] | CDM
2015 | [5 empty] | 184712669.0519 | 93375125.2994 | 19080374.3082 | 69442720.9837 | 1181812.2951 | 372087.4449 | 183452120.3312 | 1260548.7207
2016 | [5 empty] | 185584905.5608 | 92563941.7826 | 18812264.6941 | 69648507.1793 | 1145991.7194 | 373348.6906 | 182544054.066 | 3040851.4947
% Weather Sensitive | [6 empty] | 75.9% | 75.9% | 51.81%
2015 | [5 empty] | 3998946.0497 | 69679136.5618 | 14310527.7939 | 35491720.3371 | 0 | 0 | 119481384.6929
2016 | [5 empty] | 4050433.3572 | 69854667.1778 | 14372605.8048 | 35772656.2537 | 0 | 0 | 119999929.2363
Allocation of Weather Sensitive Amount
2015 | [6 empty] | 2332104.7761 | 478961.8796 | 1187879.394 | 0 | 0
2016 | [6 empty] | 2357848.6745 | 485127.6359 | 1207457.0468 | 0 | 0
CDM
2015 | [5 empty] | 1260548.7207 | 756329.2324 | 252109.7441 | 252109.7441 | 0 | 0
2016 | [5 empty] | 3040851.4947 | 1824510.8968 | 608170.2989 | 608170.2989 | 0 | 0
[6 empty] | Rate Class CDM allocation | 60% | 20% | 20%

## Rate Class Customer Model
| Residential | General Service < 50 kW | General Service 50 to 4,999 kW | Street Lighting | Unmetered Scattered Load | Total
2005 | 8606 | 629 | 115 | 2489 | 82 | 11921
2006 | 8715 | 639 | 114 | 2493 | 85 | 12046
2007 | 8825 | 657 | 102 | 2493 | 84 | 12161
2008 | 9007 | 656 | 105 | 2529 | 85 | 12382
2009 | 9147 | 662 | 100 | 2486 | 82 | 12477
2010 | 9290 | 669 | 102 | 2512 | 80 | 12653
2011 | 9435 | 668 | 111 | 2544 | 81 | 12839
2012 | 9636 | 687 | 108 | 2579 | 78 | 13088
2013 | 9720 | 691 | 110 | 2611 | 76 | 13208
2014 | 9977 | 727 | 109 | 2644 | 74 | 13531
2015 | 10142 | 739 | 108 | 2662 | 74 | 13725
2016 | 10310 | 751 | 107 | 2680 | 74 | 13922
Growth Rate in Customer Numbers
2005
2006 | 1.0127 | 1.0159 | 0.9913 | 1.0016 | 1.0366
2007 | 1.0126 | 1.0282 | 0.89474 | 1 | 0.98824
2008 | 1.0206 | 0.99848 | 1.0294 | 1.0144 | 1.0119
2009 | 1.0155 | 1.0091 | 0.95238 | 0.983 | 0.96471
2010 | 1.0156 | 1.0106 | 1.02 | 1.0105 | 0.97561
2011 | 1.0156 | 0.99851 | 1.0882 | 1.0127 | 1.0125
2012 | 1.0213 | 1.0284 | 0.97297 | 1.0138 | 0.96296
2013 | 1.0087 | 1.0058 | 1.0185 | 1.0124 | 0.97436
2014 | 1.0264 | 1.0521 | 0.99091 | 1.0126 | 0.97368
Used | 1.0166 | 1.0162 | 0.99406 | 1.0067 | 1
Geomean | 1.0166 | 1.0162 | 0.99406 | 1.0067 | 0.98866
| 0.01656 | 0.016218 | -0.0059361 | 0.006735 | -0.011341
1997
1998
1999
2000
2001
2002
2003
2004
2005
2006
2007
2008
2009
2010
2011
2012
2013
2014

## Rate Class Load Model
| General Service 50 to 4,999 kW | Street Lighting | Total
2005 | 174384 | 4445 | 178829
2006 | 175421.53 | 4424.93 | 179846.46
2007 | 176460 | 4378 | 180838
2008 | 172781 | 4443 | 177224
2009 | 172057 | 4322 | 176379
2010 | 174346 | 4359 | 178705
2011 | 180394.16 | 4410.84 | 184805
2012 | 183321.63 | 4368 | 187689.63
2013 | 186327.56 | 4229.72 | 190557.28
2014 | 180748.47 | 3646.25 | 184394.72
2015 | 186022.2151 | 3535.8943 | 189558.1094
2016 | 186573.4724 | 3428.7218 | 190002.1942
kW/kWh
2005 | 0.2839% | 0.2764%
2006 | 0.2762% | 0.2761%
2007 | 0.2682% | 0.2764%
2008 | 0.2659% | 0.2757%
2009 | 0.2709% | 0.277%
2010 | 0.2596% | 0.2767%
2011 | 0.2616% | 0.2783%
2012 | 0.2607% | 0.2762%
2013 | 0.2659% | 0.2767%
2014 | 0.266% | 0.2992%
Average | 0.2679% | 0.2789%
Used | 0.2679% | 0.2992%

## CDM Activity
| Total OPA Annual CDM Results up to 2010 Half Year Rule(Net) | Total Annual CDM Results | Increase over previous year | [6 empty] | 4 Year 2011 to 2014 target
2005 |  |  | 0 | 0 | Check |  | Jan | 1 |  | 7760000
2006 |  | 0 | 0 | 0 | 0 | 0 | Feb | 2
2007 |  | 0 | 0 | 0 | 0 | 0 | Mar | 3
2008 |  | 0 | 0 | 0 | 0 | 0 | Apr | 4 |  | 2011 | 2012 | 2013 | 2014 | Total | 2015 | 2016
2009 |  | 0 | 0 | 0 | 0 | 0 | May | 5 | 2011 Programs | 13.61% | 13.41% | 13.41% | 13.16% | 53.6%
2010 |  | 0 | 0 | 0 | 0 | 0 | Jun | 6 | 2012 Programs |  | 12.8% | 12.68% | 12.68% | 38.16%
2011 |  | 528000 | 528000 | 6769.2308 | 528000 | 0 | Jul | 7 | 2013 Programs |  |  | 2.749% | 2.749% | 5.498%
2012 |  | 1537500 | 562730.7692 | 7214.497 | 1537500 | 0 | Aug | 8 | 2014 Programs |  |  |  | 2.749% | 2.749%
2013 |  | 2637500 | 623843.1953 | 7997.9897 | 2637500 | 0 | Sep | 9 | Total | 13.61% | 26.21% | 28.84% | 31.34% | 100%
2014 |  | 3748500 | 583132.6809 | 7476.06 | 3748500 | 0 | Oct | 10
2015 |  | 3934767.4413 | -307152.5195 | -3937.8528 | 3934767.4413 | 0 | Nov | 11 | 2011 Programs | 1056000 | 1041000 | 1041000 | 1021000 | 4159000 | 1021000 | 1021000
2016 |  | 3878712.9894 | 203843.8338 | 2613.3825 | 3878712.9894 | 0 | Dec | 12 | 2012 Programs | -15000 | 993000 | 984000 | 984000 | 2946000 | 984000 | 984000
Total | 0 | 16264980.4308 |  |  | 16264980.4308 | 0 | Total | 78 | 2013 Programs | 0 | 3000 | 1225000 | 1217000 | 2445000 | 1217000 | 1217000
[9 empty] | 2014 Programs | 0 | 2000 | 30000 | 1053000 | 1085000 | 712767.4413 | 656712.9894
|  | CDM Activity Variable | [6 empty] | Total | 1041000 | 2039000 | 3280000 | 4275000 | 10635000 | 3934767.4413 | 3878712.9894
2006-01-01 |  | 0 | [6 empty] | 2015 Programs | [5 empty] | 1808330 | 1808330
2006-02-01 |  | 0 | [6 empty] | 2016 Programs | [6 empty] | 1808330
2006-03-01 |  | 0 | [6 empty] | Total | [5 empty] | 1808330 | 3616660
2006-04-01 |  | 0
2006-05-01 |  | 0
2006-06-01 |  | 0
2006-07-01 |  | 0
2006-08-01 |  | 0
2006-09-01 |  | 0 | [20 empty] | `
2006-10-01 |  | 0
2006-11-01 |  | 0 | Check | [5 empty] | Table 5: Net Energy Savings at the End User Level (GWh)
2006-12-01 |  | 0 | 0 | 0
2007-01-01 |  | 0 | [6 empty] | Implementation Period | Annual |  |  |  | Cumulative
2007-02-01 |  | 0 | [7 empty] | 2011 | 2012 | 2013 | 2014 | 2011-2014
2007-03-01 |  | 0 | [6 empty] | 2011 - Verified | 1.056 | 1.041 | 1.041 | 1.021 | 4.159
2007-04-01 |  | 0 | [6 empty] | 2012 - Verified† | -0.015 | 0.993 | 0.984 | 0.984 | 2.946
2007-05-01 |  | 0 | [6 empty] | 2013 - Verified† | 0 | 0.003 | 1.225 | 1.217 | 2.445
2007-06-01 |  | 0 | [6 empty] | 2014 | 0 | 0.002 | 0.03 | 1.053 | 1.085
2007-07-01 |  | 0 | [6 empty] | Verified Net Cumulative Energy Savings 2011-2014: |  |  |  |  | 10.635
2007-08-01 |  | 0 | [6 empty] | Grimsby Power Inc. 2011-2014 Annual CDM Energy Target: |  |  |  |  | 7.76
2007-09-01 |  | 0 | [6 empty] | Verified Portion of Cumulative Energy Target Achieved in 2014 (%): |  |  |  |  | 137%
2007-10-01 |  | 0 | [6 empty] | †Includes adjustments to previous Years' verified results
2007-11-01 |  | 0 | Check
2007-12-01 |  | 0 | 0 | 0
2008-01-01 |  | 0
2008-02-01 |  | 0
2008-03-01 |  | 0
2008-04-01 |  | 0
2008-05-01 |  | 0
2008-06-01 |  | 0
2008-07-01 |  | 0
2008-08-01 |  | 0
2008-09-01 |  | 0
2008-10-01 |  | 0 | [7 empty] | 2015-2020 | GWh |  |  |  | 10.85 | 108500
2008-11-01 |  | 0 | [7 empty] | 2015 | MWh |  |  |  | 1808.33 | 1808.33 | Table 5: Net Energy Savings at the End User Level (GWh)
2008-12-01 |  | 0 | 0 | 0 | [5 empty] | 2016 | MWh |  |  |  | 1808.33 | 18083.3333 | Finalized Results September 1, 2015
2009-01-01 |  | 0 | [7 empty] | 2017 | MWh |  |  |  | 1808.33 |  | Implementation Period | Annual |  |  |  | Cumulative
2009-02-01 |  | 0 | [7 empty] | 2018 | MWh |  |  |  | 1808.33 |  |  | 2011 | 2012 | 2013 | 2014 | 2011-2014
2009-03-01 |  | 0 | [7 empty] | 2019 | MWh |  |  |  | 1808.33 |  | 2011 - Verified | 1.056 | 1.041 | 1.041 | 1.021 | 4.159
2009-04-01 |  | 0 | [7 empty] | 2020 | MWh |  |  |  | 1808.33 |  | 2012 - Verified† | -0.015 | 0.993 | 0.984 | 0.984 | 2.946
2009-05-01 |  | 0 | [12 empty] | 10849.98 |  | 2013 - Verified† | 0 | 0.003 | 1.225 | 1.217 | 2.445
2009-06-01 |  | 0 | [12 empty] | 10.85 |  | 2014 - Verified† | 0 | 0.002 | 0.03 | 1.053 | 1.085
2009-07-01 |  | 0 | [14 empty] | Verified Net Cumulative Energy Savings 2011-2014: |  |  |  |  | 10.635
2009-08-01 |  | 0 | [14 empty] | Grimsby Power Inc. 2011-2014 Annual CDM Energy Target: |  |  |  |  | 7.76
2009-09-01 |  | 0 | [14 empty] | Verified Portion of Cumulative Energy Target Achieved in 2014 (%): |  |  |  |  | 137%
2009-10-01 |  | 0 | [14 empty] | †Includes adjustments to previous years' verified results
2009-11-01 |  | 0 | [14 empty] | Results presented using scenario 1 which assumes that demand response resources have a persistence of 1 year
2009-12-01 |  | 0 | 0 | 0
2010-01-01 |  | 0
2010-02-01 |  | 0
2010-03-01 |  | 0
2010-04-01 |  | 0
2010-05-01 |  | 0
2010-06-01 |  | 0
2010-07-01 |  | 0
2010-08-01 |  | 0
2010-09-01 |  | 0
2010-10-01 |  | 0
2010-11-01 |  | 0
2010-12-01 |  | 0 | 0 | 0
2011-01-01 |  | 6769.2308
2011-02-01 |  | 13538.4615
2011-03-01 |  | 20307.6923
2011-04-01 |  | 27076.9231
2011-05-01 |  | 33846.1538
2011-06-01 |  | 40615.3846
2011-07-01 |  | 47384.6154
2011-08-01 |  | 54153.8462
2011-09-01 |  | 60923.0769
2011-10-01 |  | 67692.3077
2011-11-01 |  | 74461.5385
2011-12-01 |  | 81230.7692 | 528000 | 974769.2308
2012-01-01 |  | 88445.2663
2012-02-01 |  | 95659.7633
2012-03-01 |  | 102874.2604
2012-04-01 |  | 110088.7574
2012-05-01 |  | 117303.2544
2012-06-01 |  | 124517.7515
2012-07-01 |  | 131732.2485
2012-08-01 |  | 138946.7456
2012-09-01 |  | 146161.2426
2012-10-01 |  | 153375.7396
2012-11-01 |  | 160590.2367
2012-12-01 |  | 167804.7337 | 1537500 | 2013656.8047
2013-01-01 |  | 175802.7234
2013-02-01 |  | 183800.7131
2013-03-01 |  | 191798.7028
2013-04-01 |  | 199796.6925
2013-05-01 |  | 207794.6821
2013-06-01 |  | 215792.6718
2013-07-01 |  | 223790.6615
2013-08-01 |  | 231788.6512
2013-09-01 |  | 239786.6409
2013-10-01 |  | 247784.6306
2013-11-01 |  | 255782.6202
2013-12-01 |  | 263780.6099 | 2637500 | 3165367.3191
2014-01-01 |  | 271256.6699
2014-02-01 |  | 278732.7299
2014-03-01 |  | 286208.79
2014-04-01 |  | 293684.85
2014-05-01 |  | 301160.91
2014-06-01 |  | 308636.97
2014-07-01 |  | 316113.03
2014-08-01 |  | 323589.09
2014-09-01 |  | 331065.15
2014-10-01 |  | 338541.21
2014-11-01 |  | 346017.2701
2014-12-01 |  | 353493.3301 | 3748500 | 4241919.9608
2015-01-01 |  | 349555.4773
2015-02-01 |  | 345617.6244
2015-03-01 |  | 341679.7716
2015-04-01 |  | 337741.9188
2015-05-01 |  | 333804.066
2015-06-01 |  | 329866.2132
2015-07-01 |  | 325928.3604
2015-08-01 |  | 321990.5076
2015-09-01 |  | 318052.6547
2015-10-01 |  | 314114.8019
2015-11-01 |  | 310176.9491
2015-12-01 |  | 306239.0963 | 3934767.4413 | 3674869.1556
2016-01-01 |  | 308852.4788
2016-02-01 |  | 311465.8613
2016-03-01 |  | 314079.2438
2016-04-01 |  | 316692.6262
2016-05-01 |  | 319306.0087
2016-06-01 |  | 321919.3912
2016-07-01 |  | 324532.7737
2016-08-01 |  | 327146.1562
2016-09-01 |  | 329759.5387
2016-10-01 |  | 332372.9211
2016-11-01 |  | 334986.3036
2016-12-01 |  | 337599.6861 | 3878712.9894 | 4051196.2334
16264980.4308
0

## Weather Analysis
Summary of Degree Day Information
Summary of All Heating Degree Days
Month | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 10 Year Avg | 20 Year Trend | 20 Year Avg | 17 Year Avg
January | 643.1 | 774.2 | 746.1 | 620.8 | 774.6 | 747.9 | 703 | 592.6 | 829.5 | 859.1 | 765.8 | 554.7 | 665.6 | 632.7 | 852.3 | 728.7 | 743 | 582.6 | 612.3 | 779.5 | 691.72 | 698.7286 | 710.405 | 708.5118
February | 709.5 | 699.4 | 573.8 | 520.3 | 556.8 | 622.7 | 597.3 | 553.9 | 699.2 | 647.7 | 641.7 | 602.8 | 761.8 | 678.8 | 616.6 | 618.4 | 610.7 | 510.9 | 590.5 | 683.1 | 631.53 | 623.4829 | 624.795 | 618.4235
March | 499 | 666.6 | 583.1 | 504.6 | 566.8 | 434.7 | 598.5 | 539.3 | 593.1 | 513.6 | 646.9 | 530.4 | 565.2 | 620.8 | 540.9 | 456.8 | 548.6 | 341.7 | 525.2 | 647.9 | 542.44 | 527.2771 | 546.185 | 539.7059
April | 422.7 | 408.3 | 375.1 | 290.7 | 317.5 | 363.5 | 314.1 | 338.9 | 387.1 | 329.3 | 339 | 314.6 | 374.2 | 287.6 | 334.7 | 235.8 | 334.6 | 303.6 | 340 | 331.7 | 319.58 | 303.1029 | 337.15 | 325.7
May | 165.4 | 210.1 | 269.6 | 82.1 | 113.1 | 151.7 | 142.2 | 248.9 | 215.8 | 164.1 | 212.7 | 155.5 | 138.4 | 213.1 | 178.1 | 128.4 | 159.2 | 77.5 | 114.6 | 129.6 | 150.71 | 135.18 | 163.505 | 154.4118
June | 21.7 | 26.5 | 33.3 | 63.3 | 37.5 | 42.8 | 40.9 | 41.9 | 54.5 | 60.1 | 13.1 | 26.7 | 19.2 | 34.2 | 58.5 | 27.2 | 15.2 | 20.7 | 34.1 | 13.5 | 26.24 | 26.3614 | 34.245 | 35.4941
July | 13.4 | 12 | 14.5 | 1.3 | 1 | 12.2 | 17.9 | 0.9 | 6.5 | 7.7 | 1.1 | 1.9 | 9.2 | 3.7 | 18.9 | 5.7 | 0 | 0 | 0.4 | 1.7 | 4.26 | 2.07 | 6.5 | 5.3
August | 4.1 | 2.2 | 23.1 | 5.3 | 12.7 | 18 | 0.7 | 4.2 | 5.7 | 28.9 | 3.8 | 8.1 | 8.4 | 20.2 | 18.1 | 6.9 | 0 | 0.8 | 2.8 | 4.1 | 7.32 | 6.6443 | 8.905 | 8.7471
September | 121.1 | 85.4 | 89.5 | 51.8 | 71 | 115.3 | 93.3 | 32.8 | 73.9 | 43.9 | 32.8 | 105.3 | 55.2 | 70.4 | 67.8 | 97.2 | 44.3 | 62.9 | 75.6 | 57.2 | 66.87 | 58.18 | 72.335 | 67.6882
October | 223.7 | 272.4 | 270 | 234.9 | 282.5 | 230.8 | 243.5 | 304.1 | 293.5 | 253.5 | 234.2 | 304.1 | 157.8 | 297.5 | 259.9077 | 260.8 | 210.8 | 221 | 193.4 | 199.6 | 233.9108 | 224.7795 | 247.4004 | 245.9946
November | 516.7 | 521 | 485.1 | 402.7 | 377.2 | 447.4 | 332.1 | 449.5 | 391.5 | 396 | 396.3 | 393.1 | 467.5 | 460.6 | 424.6154 | 416.5 | 306.6 | 409.4 | 442.2 | 451.9 | 416.8715 | 397.726 | 424.3958 | 409.7127
December | 713.3 | 570.8 | 596.9 | 539.5 | 588.5 | 811.6 | 535.2 | 643.2 | 571 | 636.7 | 688.8 | 508.1 | 643.6 | 655.3 | 614.3538 | 696.2 | 505.7 | 193.6 | 639.7 | 534.4 | 567.9754 | 532.8862 | 594.3227 | 588.5561
Total | 4053.7 | 4248.9 | 4060.1 | 3317.3 | 3699.2 | 3998.6 | 3618.7 | 3750.2 | 4121.3 | 3940.6 | 3976.2 | 3505.3 | 3866.1 | 3974.9 | 3984.7769 | 3678.6 | 3478.7 | 2724.7 | 3570.8 | 3834.2
Summary of All Cooling Degree Days
Month | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 10 Year Avg | 20 Year Trend | 20 Year Avg | 17 Year Avg
January | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
February | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
March | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.5 | 0 | 0 | 0.05 | 0.078571 | 0.025 | 0.029412
April | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.73333 | 2.8 | 0 | 0 | 0.43333 | 0.7619 | 0.61667 | 0.72549
May | 0.6 | 10.7 | 0 | 29.2 | 13.6 | 18.7 | 8.3 | 8.3 | 0 | 14.2 | 0 | 22.4 | 23.3 | 0.3 | 0 | 28.8 | 12 | 36.5 | 25.4 | 11.9 | 16.06 | 19.3486 | 13.21 | 14.8765
June | 75.3 | 32.7 | 61.8 | 79.2 | 86.3 | 38.6 | 63.7 | 64.7 | 41.4 | 29.2 | 119.6 | 43.2 | 74.2 | 55 | 30.2 | 44.8 | 67.5 | 112 | 68.1 | 72.8 | 68.74 | 68.0543 | 63.015 | 64.1471
July | 124.9 | 56.3 | 72.1 | 74 | 163.7 | 57.7 | 79.6 | 151 | 83.9 | 71.6 | 144.7 | 136.1 | 82 | 87.7 | 21.7 | 121.3 | 209.2 | 205.1 | 141.4 | 89.6 | 123.88 | 134.9629 | 108.68 | 112.9588
August | 123.9 | 78.1 | 37.2 | 100.7 | 47 | 58.3 | 114 | 94.4 | 102.6 | 40 | 102.5 | 70.1 | 106 | 45.2 | 69.7 | 95.6 | 126.3 | 132.5 | 95.1 | 88.8 | 93.18 | 97.5643 | 86.4 | 87.5765
September | 12.9 | 22.5 | 6.7 | 41.4 | 38.5 | 30.1 | 21.8 | 61.3 | 14.8 | 31.2 | 25.6 | 4.1 | 37.2 | 20.3 | 12.4 | 21.7 | 47.9 | 39.3 | 35.8 | 42.6 | 28.69 | 34.4843 | 28.405 | 30.9412
October | 0.2 | 0 | 3.9 | 0 | 0 | 0.2 | 0 | 8.9 | 0 | 0 | 7.6 | 0 | 13 | 0 | 2.5846 | 0 | 6 | 1.4 | 4.4 | 5.1 | 4.0085 | 4.5068 | 2.6642 | 2.8932
November | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
December | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | 337.8 | 200.3 | 181.7 | 324.5 | 349.1 | 203.6 | 287.4 | 396.6 | 242.7 | 186.2 | 400 | 275.9 | 335.7 | 208.5 | 136.5846 | 313 | 469.6333 | 530.1 | 370.2 | 310.8