## Persist
Reuslts & Persistence Calculations
Table 4: Net Peak Demand Savings at the End User Level (MW) (Scenario 1)
Implementation Period | Annual
| 2011 | 2012 | 2013 | 2014
2011 - Verified | 0.263 | 0.263 | 0.263 | 0.228
2012 - Verified† | 0.006 | 0.242 | 0.145 | 0.145
2013 - Verified† | 0 | 0.001 | 0.436 | 0.176
2014 - Verified† | 0 | 0 | 0.033 | 0.565
Verified Net Annual Peak Demand Savings Persisting in 2014: |  |  |  | 1.1
Ottawa River Power Corporation 2014 Annual CDM Capacity Target: |  |  |  | 2.8
Verified Portion of Peak Demand Savings Target Achieved in 2014 (%): |  |  |  | 40.2%
Persistence
Implementation Period | Annual
| 2011 | 2012 | 2013 | 2014
2011 - Verified |  | 1 | 1 | 0.86692
2012 - Verified† |  |  | 0.59917 | 0.59917
2013 - Verified† |  |  |  | 0.40367
2014 - Verified†
Table 5: Net Energy Savings at the End User Level (GWh)
Implementation Period | Annual |  |  |  | Cumulative
| 2011 | 2012 | 2013 | 2014 | 2011-2014
2011 - Verified | 1.378 | 1.378 | 1.378 | 1.278 | 5.4
2012 - Verified† | 0.074 | 0.674 | 0.672 | 0.672 | 2.1
2013 - Verified† | 0 | 0.002 | 0.777 | 0.77 | 1.5
2014 - Verified† | 0 | 0.003 | 0.177 | 1.215 | 1.4
Verified Net Cumulative Energy Savings 2011-2014: |  |  |  |  | 10.4
Ottawa River Power Corporation 2011-2014 Annual CDM Energy Target: |  |  |  |  | 13.6
Verified Portion of Cumulative Energy Target Achieved in 2014 (%): |  |  |  |  | 76.9%
Persistence
Implementation Period | Annual
| 2011 | 2012 | 2013 | 2014
2011 - Verified |  | 1 | 1 | 0.92743
2012 - Verified† |  |  | 0.99703 | 0.99703
2013 - Verified† |  |  |  | 0.99099
2014 - Verified†

## LRAMVA Calculations
LRAMVA Calculations
|  |  |  | 2011 |  |  |  | 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | Distribution Volumetric Rates |  |  |  | Total LRAM
| Incentive Name | Persistence | Program Year | Net Summer Peak Demand Savings (kW) | Net Energy Savings (kWh) | Gross Summer Peak Demand Savings (kW) | Gross Energy Savings (kWh) | Net Summer Peak Demand Savings (kW) | Net Energy Savings (kWh) | Gross Summer Peak Demand Savings (kW) | Gross Energy Savings (kWh) | Net Summer Peak Demand Savings (kW) | Net Energy Savings (kWh) | Gross Summer Peak Demand Savings (kW) | Gross Energy Savings (kWh) | Net Summer Peak Demand Savings (kW) | Net Energy Savings (kWh) | Gross Summer Peak Demand Savings (kW) | Gross Energy Savings (kWh) | 2011 Dist Vol Rate | 2012 Dist Vol Rate | 2013 Dist Vol Rate | 2014 Dist Vol Rate | 2011 LRAMVA | 2012 LRAMVA | 2013 LRAMVA | 2014 LRAMVA
| Residential | [18 empty] | 0.0134 | 0.0143 | 0.0144 | 0.0146
| GS<50 | [18 empty] | 0.0081 | 0.0082 | 0.0082 | 0.0083
|  |  |  | Pre-2011 Programs Completed in 2011 | [15 empty] | Distribution Volumetric Rates |  |  |  | Total LRAM
|  |  |  | 2011 |  |  |  | 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2011 | 2012 | 2013 | 2014 | 2011 | 2012 | 2013 | 2014
Residential | Electricity Retrofit Incentive Program |  | pre 2011 | 18.85 | 111742 |  |  | 18.85 | 111742 |  |  | 18.85 | 111742 |  |  | 18.85 | 111742 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 1497.3428 | 1564.388 | 1605.3601 | 1623.9837
| High Performance New Construction |  | pre 2011 | 0.15 | 832 |  |  | 0.15 | 832 |  |  | 0.15 | 832 |  |  | 0.15 | 832 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 11.1488 | 11.648 | 11.9531 | 12.0917
| Electricity Retrofit Incentive Program |  | pre 2011 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
| High Performance New Construction |  | pre 2011 | 0 | 209 |  |  | 0 | 209 |  |  |  | 209 |  |  | 0 | 209 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 2.8006 | 2.926 | 3.0026 | 3.0375
[20 empty] | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
| Adjustments | [18 empty] | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
[20 empty] | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
[20 empty] | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
[20 empty] | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
[20 empty] | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
| Total |  |  | 19 | 112783 | 0 | 0 | 19 | 112783 | 0 | 0 | 19 | 112783 | 0 | 0 | 19 | 112783 | 0 | 0 |  |  |  |  | 1511.2922 | 1578.962 | 1620.3158 | 1639.1129
GS<50 |  |  | pre 2011 | [16 empty] | 0.0081 | 0.0081667 | 0.0082 | 0.0082667 | 0 | 0 | 0 | 0
|  |  | pre 2011 | [16 empty] | 0.0081 | 0.0081667 | 0.0082 | 0.0082667 | 0 | 0 | 0 | 0
| Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0
[24 empty] | 1511.2922 | 1578.962 | 1620.3158 | 1639.1129 | 6349.6829
|  |  |  | Programs Completed in 2011 | [15 empty] | Distribution Volumetric Rates |  |  |  | Total LRAM
|  |  |  | 2011 |  |  |  | 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2011 | 2012 | 2013 | 2014 | 2011 | 2012 | 2013 | 2014
Residential | Appliance Retirement |  | 2011 | 6 | 43268 |  |  | 6 | 43268 |  |  | 6 | 43268 |  |  | 6 | 40128.0871 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 579.7912 | 605.752 | 621.6169 | 583.1949
| Appliance Exchange |  | 2011 | 1 | 825 |  |  | 1 | 825 |  |  | 1 | 825 |  |  | 1 | 765.1306 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 11.055 | 11.55 | 11.8525 | 11.1199
| HVAC Incentives |  | 2011 | 62 | 118914 |  |  | 62 | 118914 |  |  | 62 | 118914 |  |  | 62 | 110284.537 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 1593.4476 | 1664.796 | 1708.3978 | 1602.8019
| Conservation Instant Coupon Booklet |  | 2011 | 2 | 36294 |  |  | 2 | 36294 |  |  | 2 | 36294 |  |  | 2 | 33660.1829 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 486.3396 | 508.116 | 521.4238 | 489.1947
| Bi-Annual Retailer Event |  | 2011 | 3 | 56036 |  |  | 3 | 56036 |  |  | 3 | 56036 |  |  | 3 | 51969.5269 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 750.8824 | 784.504 | 805.0505 | 755.2905
| Retailer Co-op |  | 2011 |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
| Residential Demand Response (switch/pstat)† |  | 2011 |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
| Residential Demand Response (IHD)† |  | 2011 |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
| Residential New Construction |  | 2011 |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
| Adjustments | [18 empty] | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
| Adjustments to 2011 Verified Results |  | 2011 | 0 | 73785.144 |  |  | 0 | 73785.144 |  |  | 0 | 73785.144 |  |  | 0 | 68430.6343 |  |  | 0.0134 | 0.014 | 0.014367 | 0.014533 | 988.7209 | 1032.992 | 1060.0466 | 994.5252
[20 empty] | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
[20 empty] | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
[20 empty] | 0.0134 | 0.014 | 0.014367 | 0.014533 | 0 | 0 | 0 | 0
| Total |  |  | 74 | 329122.144 | 0 | 0 | 74 | 329122.144 | 0 | 0 | 74 | 329122.144 | 0 | 0 | 74 | 305238.0987 | 0 | 0 |  |  |  |  | 4410.2367 | 4607.71 | 4728.3881 | 4436.127
GS<50 | Retrofit |  | 2011 | 11 | 44447 |  |  | 11 | 44447 |  |  | 11 | 44447 |  |  | 11 | 41221.5283 |  |  | 0.0081 | 0.0081667 | 0.0082 | 0.0082667 | 360.0207 | 362.9838 | 364.4654 | 340.7646
| Direct Install Lighting |  | 2011 | 116 | 308217 |  |  | 116 | 308217 |  |  | 116 | 308217 |  |  | 116 | 285850.0189 |  |  | 0.0081 | 0.0081667 | 0.0082 | 0.0082667 | 2496.5577 | 2517.1055 | 2527.3794 | 2363.0268
| Energy Manager |  | 2011 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0081 | 0.0081667 | 0.0082 | 0.0082667 | 0 | 0 | 0 | 0
| Total |  |  | 127 | 352664 | 0 | 0 | 127 | 352664 | 0 | 0 | 127 | 352664 | 0 | 0 | 127 | 327071.5472 | 0 | 0 |  |  |  |  | 2856.5784 | 2880.0893 | 2891.8448 | 2703.7915
[24 empty] | 7266.8151 | 7487.7993 | 7620.2329 | 7139.9185 | 29514.7659
|  |  |  | Programs Completed in 2012 | [15 empty] | Distribution Volumetric Rates |  |  |  | Total LRAM
|  |  |  | 2011 |  |  |  | 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2011 | 2012 | 2013 | 2014 | 2011 | 2012 | 2013 | 2014
Residential | Appliance Retirement |  | 2012 |  |  |  |  | 3 | 25892 |  |  | 1.7975 | 25815.1691 |  |  | 1.077 | 25738.5663 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 362.488 | 370.8779 | 374.0672
| Appliance Exchange |  | 2012 |  |  |  |  | 1 | 1509 |  |  | 0.59917 | 1504.5223 |  |  | 0.35901 | 1500.0578 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 21.126 | 21.615 | 21.8008
| HVAC Incentives |  | 2012 |  |  |  |  | 33 | 58485 |  |  | 19.7727 | 58311.454 |  |  | 11.8473 | 58138.423 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 818.79 | 837.7412 | 844.9451
| Conservation Instant Coupon Booklet |  | 2012 |  |  |  |  | 0 | 2666 |  |  | 0 | 2658.089 |  |  | 0 | 2650.2015 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 37.324 | 38.1879 | 38.5163
| Bi-Annual Retailer Event |  | 2012 |  |  |  |  | 3 | 51067 |  |  | 1.7975 | 50915.4659 |  |  | 1.077 | 50764.3814 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 714.938 | 731.4855 | 737.7757
| Retailer Co-op |  | 2012 |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 0 | 0 | 0
| Residential Demand Response (switch/pstat)† |  | 2012 |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 0 | 0 | 0
| Home Assistance Program |  | 2012 |  |  |  |  | 2 | 26046 |  |  | 1.1983 | 25968.7122 |  |  | 0.71802 | 25891.6537 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 364.644 | 373.0838 | 376.292
| Residential New Construction |  | 2012 |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 0 | 0 | 0
| Adjustments | [19 empty] | 0.014 | 0.014367 | 0.014533 |  | 0 | 0 | 0
| Adjustments to 2012 Verified Results |  | 2012 |  |  |  |  | 0 | 4927.687 |  |  | 0 | 4913.0648 |  |  | 0 | 4898.486 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 68.9876 | 70.5844 | 71.1913
[9 empty] | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 0 | 0 | 0
[9 empty] | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 0 | 0 | 0
[9 empty] | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 0 | 0 | 0
[9 empty] | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014 | 0.014367 | 0.014533 |  | 0 | 0 | 0
| Total |  |  | 0 | 0 | 0 | 0 | 42 | 170592.687 | 0 | 0 | 25.1653 | 170086.4772 | 0 | 0 | 15.0784 | 169581.7696 | 0 | 0 | [5 empty] | 2388.2976 | 2443.5757 | 2464.5884
GS<50 | Retrofit |  | 2012 |  |  |  |  | 57 | 271670 |  |  | 34.1529 | 270863.8576 |  |  | 20.4635 | 270060.1072 |  |  |  | 0.0081667 | 0.0082 | 0.0082667 |  | 2218.6383 | 2221.0836 | 2232.4969
| Direct Install Lighting |  | 2012 |  |  |  |  | 28 | 110062 |  |  | 16.7769 | 109735.4065 |  |  | 10.0523 | 109409.7822 |  |  |  | 0.0081667 | 0.0082 | 0.0082667 |  | 898.8397 | 899.8303 | 904.4542
| Energy Audit |  | 2012 |  |  |  |  | 10 | 50353 |  |  | 5.9917 | 50203.5846 |  |  | 3.5901 | 50054.6125 |  |  |  | 0.0081667 | 0.0082 | 0.0082667 |  | 411.2162 | 411.6694 | 413.7848
| Total |  |  | 0 | 0 | 0 | 0 | 95 | 432085 | 0 | 0 | 56.9215 | 430802.8487 | 0 | 0 | 34.1059 | 429524.5019 | 0 | 0 | [5 empty] | 3528.6942 | 3532.5834 | 3550.7359
[25 empty] | 5916.9918 | 5976.1591 | 6015.3243 | 17908.4751
|  |  |  | Programs Completed in 2013 | [15 empty] | Distribution Volumetric Rates |  |  |  | Total LRAM
|  |  |  | 2011 |  |  |  | 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2011 | 2012 | 2013 | 2014 | 2011 | 2012 | 2013 | 2014
Residential | Appliance Retirement |  | 2013 | [8 empty] | 3 | 19992 |  |  | 1.211 | 19811.8919 |  |  |  |  | 0.014367 | 0.014533 |  |  | 287.2184 | 287.9328
| Appliance Exchange |  | 2013 | [8 empty] | 5 | 8497 |  |  | 2.0183 | 8420.4505 |  |  |  |  | 0.014367 | 0.014533 |  |  | 122.0736 | 122.3772
| HVAC Incentives |  | 2013 | [8 empty] | 38 | 68390 |  |  | 15.3394 | 67773.8739 |  |  |  |  | 0.014367 | 0.014533 |  |  | 982.5363 | 984.9803
| Conservation Instant Coupon Booklet |  | 2013 | [8 empty] | 1 | 14697 |  |  | 0.40367 | 14564.5946 |  |  |  |  | 0.014367 | 0.014533 |  |  | 211.1469 | 211.6721
| Bi-Annual Retailer Event |  | 2013 | [8 empty] | 2 | 32758 |  |  | 0.80734 | 32462.8829 |  |  |  |  | 0.014367 | 0.014533 |  |  | 470.6233 | 471.7939
| Retailer Co-op |  | 2013 | [12 empty] | 0 | 0 |  |  |  |  | 0.014367 | 0.014533 |  |  | 0 | 0
| Residential Demand Response (switch/pstat)† |  | 2013 | [12 empty] | 0 | 0 |  |  |  |  | 0.014367 | 0.014533 |  |  | 0 | 0
| Home Assistance Program |  | 2013 | [8 empty] | 5 | 75767 |  |  | 2.0183 | 75084.4144 |  |  |  |  | 0.014367 | 0.014533 |  |  | 1088.5192 | 1091.2268
| Residential New Construction |  | 2013 | [8 empty] | 1 | 8283 |  |  | 0.40367 | 8208.3784 |  |  |  |  | 0.014367 | 0.014533 |  |  | 118.9991 | 119.2951
| Adjustments | [20 empty] | 0.014367 | 0.014533 |  |  | 0 | 0
| Adjustments to 2013 Verified Results |  | 2013 | [9 empty] | 173431.2 |  |  | 0 | 171868.7567 |  |  |  |  | 0.014367 | 0.014533 |  |  | 2491.6282 | 2497.8259
[22 empty] | 0.014367 | 0.014533 |  |  | 0 | 0
[22 empty] | 0.014367 | 0.014533 |  |  | 0 | 0
[23 empty] | 0.014533 |  |  |  | 0
[22 empty] | 0.014367 | 0.014533 |  |  | 0 | 0
[22 empty] | 0.014367 | 0.014533 |  |  | 0 | 0
| Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 55 | 401815.2 | 0 | 0 | 22.2018 | 398195.2432 | 0 | 0 | [6 empty] | 5772.745 | 5787.1042
GS<50 | Retrofit |  | 2013 | [8 empty] | 60 | 292770 |  |  | 24.2202 | 290132.4324 |  |  |  |  | 0.0082 | 0.0082667 |  |  | 2400.714 | 2398.4281
| Direct Install Lighting |  | 2013 | [8 empty] | 49 | 174051 |  |  | 19.7798 | 172482.973 |  |  |  |  | 0.0082 | 0.0082667 |  |  | 1427.2182 | 1425.8592
| New Construction |  | 2013 | [8 empty] | 12 | 74396 |  |  | 4.844 | 73725.7658 |  |  |  |  | 0.0082 | 0.0082667 |  |  | 610.0472 | 609.4663
| Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 121 | 541217 | 0 | 0 | 48.844 | 536341.1712 | 0 | 0 | [6 empty] | 4437.9794 | 4433.7537
[26 empty] | 10210.7244 | 10220.8579 | 20431.5823
|  |  |  | Programs Completed in 2014 | [15 empty] | Distribution Volumetric Rates |  |  |  | Total LRAM
|  |  |  | 2011 |  |  |  | 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2011 | 2012 | 2013 | 2014 | 2011 | 2012 | 2013 | 2014
Residential | Appliance Retirement |  | 2014 | [12 empty] | 5 | 29768 | [5 empty] | 0.014533 |  |  |  | 432.6283
| Appliance Exchange |  | 2014 | [12 empty] | 1 | 2217 | [5 empty] | 0.014533 |  |  |  | 32.2204
| HVAC Incentives |  | 2014 | [12 empty] | 39 | 72906 | [5 empty] | 0.014533 |  |  |  | 1059.5672
| Conservation Instant Coupon Booklet |  | 2014 | [12 empty] | 5 | 56616 | [5 empty] | 0.014533 |  |  |  | 822.8192
| Bi-Annual Retailer Event |  | 2014 | [12 empty] | 15 | 234350 | [5 empty] | 0.014533 |  |  |  | 3405.8867
| Retailer Co-op |  | 2014 | [12 empty] | 1 | [6 empty] | 0.014533 |  |  |  | 0
| Residential Demand Response (switch/pstat)† |  | 2014 | [19 empty] | 0.014533 |  |  |  | 0
| Residential Demand Response (IHD)† |  | 2014 | [19 empty] | 0.014533 |  |  |  | 0
| Residential New Construction |  | 2014 | [12 empty] | 1 | 10799 | [5 empty] | 0.014533 |  |  |  | 156.9455
| Home Assistance Program | [14 empty] | 6 | 33436 | [5 empty] | 0.014533 |  |  |  | 485.9365
| Adjustments | [21 empty] | 0.014533 |  |  |  | 0
[23 empty] | 0.014533 |  |  |  | 0
[23 empty] | 0.014533 |  |  |  | 0
[23 empty] | 0.014533 |  |  |  | 0
[23 empty] | 0.014533 |  |  |  | 0
[23 empty] | 0.014533 |  |  |  | 0
| Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73 | 440092 | 0 | 0 | [7 empty] | 6396.0037
GS<50 | Retrofit |  | 2014 | [12 empty] | 29 | 248761 | [5 empty] | 0.0082667 |  |  |  | 2056.4243
| Direct Install Lighting |  | 2014 | [12 empty] | 85 | 349386 | [5 empty] | 0.0082667 |  |  |  | 2888.2576
| Energy Manager |  | 2014 | [19 empty] | 0.0082667 |  |  |  | 0
| Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 114 | 598147 | 0 | 0 | [7 empty] | 4944.6819
11340.6856
[24 empty] | 8778.1073 | 14983.7531 | 25427.4322 | 36355.8992 | 85545.1919