## Persist
Reuslts & Persistence Calculations
Table 4: Net Peak Demand Savings at the End User Level (MW) (Scenario 1)
Implementation Period | Annual
| 2011 | 2012 | 2013 | 2014
2011 - Verified | 0.217 | 0.217 | 0.214 | 0.181
2012 - Verified† | -0.011 | 0.198 | 0.198 | 0.197
2013 - Verified† | 0 | 0.003 | 0.172 | 0.166
2014 - Verified† | 0 | 0.085 | 0.093 | 0.466
Verified Net Annual Peak Demand Savings Persisting in 2014: |  |  |  | 1.01
Ottawa River Power Corporation 2014 Annual CDM Capacity Target: |  |  |  | 1.61
Verified Portion of Peak Demand Savings Target Achieved in 2014 (%): |  |  |  | 62.73%
Persistence
Implementation Period | Annual
| 2011 | 2012 | 2013 | 2014
2011 - Verified |  | 1 | 0.98618 | 0.8341
2012 - Verified† |  |  | 1 | 0.99495
2013 - Verified† |  |  |  | 0.96512
2014 - Verified†
Table 5: Net Energy Savings at the End User Level (GWh)
Implementation Period | Annual |  |  |  | Cumulative
| 2011 | 2012 | 2013 | 2014 | 2011-2014
2011 - Verified | 0.798 | 0.798 | 0.789 | 0.701 | 3.086
2012 - Verified† | -0.016 | 0.776 | 0.776 | 0.771 | 2.307
2013 - Verified† | 0 | 0.101 | 0.728 | 0.728 | 1.557
2014 - Verified† | 0 | 0.326 | 0.371 | 1.772 | 2.469
Verified Net Cumulative Energy Savings 2011-2014: |  |  |  |  | 9.419
Ottawa River Power Corporation 2011-2014 Annual CDM Energy Target: |  |  |  |  | 8.97
Verified Portion of Cumulative Energy Target Achieved in 2014 (%): |  |  |  |  | 105%
Persistence
Implementation Period | Annual
| 2011 | 2012 | 2013 | 2014
2011 - Verified |  | 1 | 0.98872 | 0.87845
2012 - Verified† |  |  | 1 | 0.99356
2013 - Verified† |  |  |  | 1
2014 - Verified†

## LRAMVA Calculations
LRAMVA Calculations
|  |  |  | 2011 |  |  |  | 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | Distribution Volumetric Rates |  |  |  | Total LRAM
| Incentive Name | Persistence | Program Year | Net Summer Peak Demand Savings (kW) | Net Energy Savings (kWh) | Gross Summer Peak Demand Savings (kW) | Gross Energy Savings (kWh) | Net Summer Peak Demand Savings (kW) | Net Energy Savings (kWh) | Gross Summer Peak Demand Savings (kW) | Gross Energy Savings (kWh) | Net Summer Peak Demand Savings (kW) | Net Energy Savings (kWh) | Gross Summer Peak Demand Savings (kW) | Gross Energy Savings (kWh) | Net Summer Peak Demand Savings (kW) | Net Energy Savings (kWh) | Gross Summer Peak Demand Savings (kW) | Gross Energy Savings (kWh) | 2011 Dist Vol Rate | 2012 Dist Vol Rate | 2013 Dist Vol Rate | 2014 Dist Vol Rate | 2011 LRAMVA | 2012 LRAMVA | 2013 LRAMVA | 2013 LRAMVA
| Residential | [18 empty] | 0.0149 | 0.0148 | 0.0148 | 0.015
| GS<50 | [18 empty] | 0.0103 | 0.0104 | 0.0104 | 0.0105
|  |  |  | Pre-2011 Programs Completed in 2011 | [15 empty] | Distribution Volumetric Rates |  |  |  | Total LRAM
|  |  |  | 2011 |  |  |  | 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2011 | 2012 | 2013 | 2014 | 2011 | 2012 | 2013 | 2014
Residential | Electricity Retrofit Incentive Program |  | pre 2011 | 3.501 | 15725.668 |  |  | 3.501 | 15725.668 |  |  | 3.501 | 15725.668 |  |  | 3.501 | 15725.668 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 234.3125 | 233.2641 | 232.7399 | 234.8366
| High Performance New Construction |  | pre 2011 | 0.095 | 489.684 |  |  | 0.095 | 489.684 |  |  | 0.095 | 489.684 |  |  | 0.095 | 489.684 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 7.2963 | 7.2636 | 7.2473 | 7.3126
| Electricity Retrofit Incentive Program |  | pre 2011 |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
| High Performance New Construction |  | pre 2011 |  | 216.13 |  |  | 0.223 | 216.13 |  |  | 0.223 | 216.13 |  |  | 0.223 | 216.13 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 3.2203 | 3.2059 | 3.1987 | 3.2275
[20 empty] | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
|  | Adjustments | Table 2 | [16 empty] | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
[20 empty] | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
|  | Adjustments | Table 2 | [16 empty] | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
[20 empty] | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
|  | Adjustments | Table 2 | [16 empty] | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
| Total |  |  | 3.596 | 16431.482 | 0 | 0 | 3.819 | 16431.482 | 0 | 0 | 3.819 | 16431.482 | 0 | 0 | 3.819 | 16431.482 | 0 | 0 |  |  |  |  | 244.8291 | 243.7336 | 243.1859 | 245.3768
GS<50 |  |  | pre 2011 | [16 empty] | 0.0103 | 0.010367 | 0.0104 | 0.010467 | 0 | 0 | 0 | 0
|  |  | pre 2011 | [16 empty] | 0.0103 | 0.010367 | 0.0104 | 0.010467 | 0 | 0 | 0 | 0
| Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0
[24 empty] | 244.8291 | 243.7336 | 243.1859 | 245.3768 | 977.1255
|  |  |  | Programs Completed in 2011 | [15 empty] | Distribution Volumetric Rates |  |  |  | Total LRAM
|  |  |  | 2011 |  |  |  | 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2011 | 2012 | 2013 | 2014 | 2011 | 2012 | 2013 | 2014
Residential | Appliance Retirement |  | 2011 | 5.52 | 39179.14 | 1.6132 |  | 5.52 | 39179.14 |  |  | 5.52 | 38637.4929 |  |  | 5.52 | 32679.3748 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 583.7692 | 581.1572 | 571.8349 | 488.012
| Appliance Exchange |  | 2011 | 1.615 | 1896.282 | 0.15345 |  | 1.615 | 1896.282 |  |  | 1.615 | 1870.0661 |  |  | 1.615 | 1581.6914 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 28.2546 | 28.1282 | 27.677 | 23.6199
| HVAC Incentives |  | 2011 | 49.351 | 96848.648 | 0.45725 |  | 49.351 | 96848.648 |  |  | 49.351 | 95509.7266 |  |  | 49.351 | 80781.5912 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 1443.0449 | 1436.5883 | 1413.544 | 1206.3384
| Conservation Instant Coupon Booklet |  | 2011 | 2.376 | 38330.14 |  |  | 2.376 | 38330.14 |  |  | 2.376 | 37800.2302 |  |  | 2.376 | 31971.2228 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 571.1191 | 568.5637 | 559.4434 | 477.4369
| Bi-Annual Retailer Event |  | 2011 | 3.32 | 58017.266 |  |  | 3.32 | 58017.266 |  |  | 3.32 | 57215.184 |  |  | 3.32 | 48392.2818 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 864.4573 | 860.5894 | 846.7847 | 722.6581
| Retailer Co-op |  | 2011 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
| Residential Demand Response (switch/pstat)† |  | 2011 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
| Residential Demand Response (IHD)† |  | 2011 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
| Residential New Construction |  | 2011 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
|  | Adjustments |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
|  |  | 2011 | 0 | -15574.25 | 0.67738 |  | 0 | -15574.25 |  |  | 0 | -15358.9378 |  |  | 0 | -12990.5035 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | -232.0563 | -231.018 | -227.3123 | -193.9915
|  | Adjustments |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
|  |  | 2011 | 0 | 0 | 1.0037 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
|  | Adjustments |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0149 | 0.014833 | 0.0148 | 0.014933 | 0 | 0 | 0 | 0
| Total |  |  | 62.182 | 218697.226 | 3.905 | 0 | 62.182 | 218697.226 | 0 | 0 | 62.182 | 215673.762 | 0 | 0 | 62.182 | 182415.6586 | 0 | 0 |  |  |  |  | 3258.5887 | 3244.0089 | 3191.9717 | 2724.0738
GS<50 | Retrofit |  | 2011 | 40.767 | 264381.824 |  |  | 40.767 | 264381.824 |  |  | 40.767 | 260726.7757 |  |  | 40.767 | 220521.2449 |  |  | 0.0103 | 0.010367 | 0.0104 | 0.010467 | 2723.1328 | 2740.7582 | 2711.5585 | 2308.1224
| Direct Install Lighting |  | 2011 | 110.082 | 283517.248 |  |  | 110.082 | 283517.248 |  |  | 110.082 | 279597.6547 |  |  | 110.082 | 236482.1285 |  |  | 0.0103 | 0.010367 | 0.0104 | 0.010467 | 2920.2277 | 2939.1288 | 2907.8156 | 2475.1796
| Energy Manager |  | 2011 | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0.0103 | 0.010367 | 0.0104 | 0.010467 | 0 | 0 | 0 | 0
| Total |  |  | 150.849 | 547899.072 | 0 | 0 | 150.849 | 547899.072 | 0 | 0 | 150.849 | 540324.4305 | 0 | 0 | 150.849 | 457003.3734 | 0 | 0 |  |  |  |  | 5643.3604 | 5679.887 | 5619.3741 | 4783.302
[24 empty] | 8901.9491 | 8923.8959 | 8811.3458 | 7507.3758 | 34144.5666
|  |  |  | Programs Completed in 2012 | [15 empty] | Distribution Volumetric Rates |  |  |  | Total LRAM
|  |  |  | 2011 |  |  |  | 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2011 | 2012 | 2013 | 2014 | 2011 | 2012 | 2013 | 2014
Residential | Appliance Retirement |  | 2012 |  |  | 1.6132 |  | 8.414 | 56155.242 |  |  | 8.414 | 56155.242 |  |  | 8.414 | 55871.6297 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 832.9694 | 831.0976 | 834.3497
| Appliance Exchange |  | 2012 |  |  | 0.15345 |  | 0.704 | 1250.87 |  |  | 0.704 | 1250.87 |  |  | 0.704 | 1244.5525 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 18.5546 | 18.5129 | 18.5853
| HVAC Incentives |  | 2012 |  |  | 0.45725 |  | 24.371 | 44320.901 |  |  | 24.371 | 44320.901 |  |  | 24.371 | 44097.0581 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 657.4267 | 655.9493 | 658.5161
| Conservation Instant Coupon Booklet |  | 2012 |  |  |  |  | 0.455 | 2760.355 |  |  | 0.455 | 2760.355 |  |  | 0.455 | 2746.4138 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 40.9453 | 40.8533 | 41.0131
| Bi-Annual Retailer Event |  | 2012 |  |  |  |  | 2.922 | 52872.861 |  |  | 2.922 | 52872.861 |  |  | 2.922 | 52605.8263 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 784.2808 | 782.5183 | 785.5803
| Retailer Co-op |  | 2012 |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 0 | 0 | 0
| Residential Demand Response (switch/pstat)† |  | 2012 |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 0 | 0 | 0
| Residential Demand Response (IHD)† |  | 2012 |  |  |  |  | 0 | 0 |  |  | 5.748 | 0 |  |  | 5.748 | 0 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 0 | 0 | 0
| Residential New Construction |  | 2012 |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 0 | 0 | 0
|  | Adjustments | [5 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 0 | 0 | 0
| Adjustments to 2011 Verified Results |  | 2012 |  |  | 0.67738 |  | 0 | 426972.465 |  |  | 0 | 426972.465 |  |  | 0 | 424816.0384 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 6333.4249 | 6319.1925 | 6343.9195
| Persistence of adjustmens | [7 empty] | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 0 | 0 | 0
|  | Adjustments | [5 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 0 | 0 | 0
|  |  | 2012 |  |  | 1.0037 |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 0 | 0 | 0
|  | Adjustments | [5 empty] | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.014833 | 0.0148 | 0.014933 |  | 0 | 0 | 0
| Total |  |  | 0 | 0 | 3.905 | 0 | 36.866 | 584332.694 | 0 | 0 | 42.614 | 584332.694 | 0 | 0 | 42.614 | 581381.5188 | 0 | 0 | [5 empty] | 8667.6016 | 8648.1239 | 8681.964
GS<50 | Retrofit |  | 2012 |  |  |  |  | 59.841 | 211873.905 |  |  | 59.841 | 211873.905 |  |  | 59.841 | 210803.8348 |  |  |  | 0.010367 | 0.0104 | 0.010467 |  | 2196.4261 | 2203.4886 | 2206.4135
| Direct Install Lighting |  | 2012 |  |  |  |  | 112.184 | 422289.894 |  |  | 112.184 | 422289.894 |  |  | 112.184 | 420157.1168 |  |  |  | 0.010367 | 0.0104 | 0.010467 |  | 4377.7386 | 4391.8149 | 4397.6445
| Energy Manager |  | 2012 |  |  |  |  | 0 | 0 |  |  | 0 | 0 |  |  | 0 | 0 |  |  |  | 0.010367 | 0.0104 | 0.010467 |  | 0 | 0 | 0
| Total |  |  | 0 | 0 | 0 | 0 | 172.025 | 634163.799 | 0 | 0 | 172.025 | 634163.799 | 0 | 0 | 172.025 | 630960.9515 | 0 | 0 | [5 empty] | 6574.1647 | 6595.3035 | 6604.058
[25 empty] | 15241.7663 | 15243.4274 | 15286.022 | 45771.2157
|  |  |  | Programs Completed in 2013 | [15 empty] | Distribution Volumetric Rates |  |  |  | Total LRAM
|  |  |  | 2011 |  |  |  | 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2011 | 2012 | 2013 | 2014 | 2011 | 2012 | 2013 | 2014
Residential | Appliance Retirement |  | 2013 | [8 empty] | 4.421 | 26275.257 |  |  | 4.421 | 25358.6783 |  |  |  |  | 0.0148 | 0.014933 |  |  | 388.8738 | 378.6896
| Appliance Exchange |  | 2013 | [8 empty] | 2.279 | 4063.839 |  |  | 2.279 | 3922.0772 |  |  |  |  | 0.0148 | 0.014933 |  |  | 60.1448 | 58.5697
| HVAC Incentives |  | 2013 | [8 empty] | 24.624 | 45705.956 |  |  | 24.624 | 44111.5622 |  |  |  |  | 0.0148 | 0.014933 |  |  | 676.4481 | 658.7327
| Conservation Instant Coupon Booklet |  | 2013 | [8 empty] | 1.02 | 15216.428 |  |  | 1.02 | 14685.6224 |  |  |  |  | 0.0148 | 0.014933 |  |  | 225.2031 | 219.3053
| Bi-Annual Retailer Event |  | 2013 | [8 empty] | 2.337 | 33916.749 |  |  | 2.337 | 32733.6066 |  |  |  |  | 0.0148 | 0.014933 |  |  | 501.9679 | 488.8219
| Retailer Co-op |  | 2013 | [8 empty] | 0 | 0 |  |  | 0 | 0 |  |  |  |  | 0.0148 | 0.014933 |  |  | 0 | 0
| Residential Demand Response (switch/pstat)† |  | 2013 | [8 empty] | 5.748 | 0 |  |  | 5.748 | 0 |  |  |  |  | 0.0148 | 0.014933 |  |  | 0 | 0
| Residential Demand Response (IHD)† |  | 2013 | [18 empty] | 0.0148 | 0.014933 |  |  | 0 | 0
| Residential New Construction |  | 2013 | [18 empty] | 0.0148 | 0.014933 |  |  | 0 | 0
|  | Adjustments | [14 empty] | 0 |  |  |  |  | 0.0148 | 0.014933 |  |  | 0 | 0
|  |  | 2013 | [13 empty] | 0 |  |  |  |  | 0.0148 | 0.014933 |  |  | 0 | 0
|  | Adjustments | [14 empty] | 0 |  |  |  |  | 0.0148 | 0.014933 |  |  | 0 | 0
| Adjustments to 2012 Verified Results |  | 2013 | [9 empty] | 45564.14 |  |  |  | 43974.6933 |  |  |  |  | 0.0148 | 0.014933 |  |  | 674.3493 | 656.6888
[23 empty] | 0.014933 |  |  |  | 0
|  | Adjustments | [14 empty] | 0 |  |  |  |  | 0.0148 | 0.014933 |  |  | 0 | 0
|  |  | 2013 | [18 empty] | 0.0148 | 0.014933 |  |  | 0 | 0
| Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40.429 | 170742.369 | 0 | 0 | 40.429 | 164786.2398 | 0 | 0 | [6 empty] | 2526.9871 | 2460.8078
GS<50 | Retrofit |  | 2013 | [8 empty] | 37.634 | 180758.6 |  |  | 37.634 | 174453.0674 |  |  |  |  | 0.0104 | 0.010467 |  |  | 1879.8894 | 1825.9421
| Direct Install Lighting |  | 2013 | [8 empty] | 90.615 | 320745.827 |  |  | 90.615 | 309557.0191 |  |  |  |  | 0.0104 | 0.010467 |  |  | 3335.7566 | 3240.0301
| Energy Manager |  | 2013 | [18 empty] | 0.0104 | 0.010467 |  |  | 0 | 0
| Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128.249 | 501504.427 | 0 | 0 | 128.249 | 484010.0865 | 0 | 0 | [6 empty] | 5215.646 | 5065.9722
[26 empty] | 7742.6331 | 7526.7801 | 15269.4132
|  |  |  | Programs Completed in 2014 | [15 empty] | Distribution Volumetric Rates |  |  |  | Total LRAM
|  |  |  | 2011 |  |  |  | 2012 |  |  |  | 2013 |  |  |  | 2014 |  |  |  | 2011 | 2012 | 2013 | 2014 | 2011 | 2012 | 2013 | 2014
Residential | Appliance Retirement |  | 2014 | [12 empty] | 3.773 | 25408.735 | [5 empty] | 0.014933 |  |  |  | 379.4371
| Appliance Exchange |  | 2014 | [12 empty] | 1.167 | 4433.279 | [5 empty] | 0.014933 |  |  |  | 66.2036
| HVAC Incentives |  | 2014 | [12 empty] | 29.909 | 62853.304 | [5 empty] | 0.014933 |  |  |  | 938.6093
| Conservation Instant Coupon Booklet |  | 2014 | [12 empty] | 1.544 | 55588.135 | [5 empty] | 0.014933 |  |  |  | 830.1161
| Bi-Annual Retailer Event |  | 2014 | [12 empty] | 12.58 | 242636.846 | [5 empty] | 0.014933 |  |  |  | 3623.3769
| Retailer Co-op |  | 2014 | [12 empty] | 0 | [6 empty] | 0.014933 |  |  |  | 0
| Residential Demand Response (switch/pstat)† |  | 2014 | [12 empty] | 10.912 | [6 empty] | 0.014933 |  |  |  | 0
| Residential Demand Response (IHD)† |  | 2014 | [19 empty] | 0.014933 |  |  |  | 0
| Residential New Construction |  | 2014 | [19 empty] | 0.014933 |  |  |  | 0
| Home Assistance Program | [14 empty] | 6 | 66458 | [5 empty] | 0.014933 |  |  |  | 992.4395
|  | Adjustments | [20 empty] | 0.014933 |  |  |  | 0
|  |  | 2014 | [19 empty] | 0.014933 |  |  |  | 0
|  | Adjustments | [20 empty] | 0.014933 |  |  |  | 0
|  |  | 2014 | [19 empty] | 0.014933 |  |  |  | 0
|  | Adjustments | [20 empty] | 0.014933 |  |  |  | 0
| Adjustments to 2013 Verified Results |  | 2014 | [19 empty] | 0.014933 |  |  |  | 0
| Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65.885 | 457378.299 | 0 | 0 | [7 empty] | 6830.1826
GS<50 | Retrofit |  | 2014 | [12 empty] | 122.314 | 573507.936 | [5 empty] | 0.010467 |  |  |  | 6002.7164
| Direct Install Lighting |  | 2014 | [12 empty] | 100.244 | 370051.259 | [5 empty] | 0.010467 |  |  |  | 3873.2032
| Energy Manager |  | 2014 | [12 empty] | 0.162 | [6 empty] | 0.010467 |  |  |  | 0
| Total |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 222.72 | 943559.195 | 0 | 0 | [7 empty] | 9875.9196
16706.1022
[24 empty] | 9146.7782 | 24409.3959 | 32040.5922 | 47271.6568 | 112868.4231
[27 empty] | Original | 87108.85
[27 empty] | Difference | 25759.5731
Note on AI69: Josh Wasylyk: New reductions due to carrying forward adjustments into subsequent years.