## Instructions
Instructions on how to read attached Tabs:
Tab | Description / Details
Direct Industrial DPs | List of End-User (i.e. industrial customers) delivery points
LDC DPs | List on LDCs (excluding H1 Dx) delivery points
Hydro One Distribution DPs | List of H1 Dx delivery points
SAIDI SAIFI Summary | Frequency and Duration of Interruptions for Delivery Point Classes: Multi-CCT, Single-CCT
Column Title | Description / Details
TYPE | Where the type = MTS or CTS is customer-owned stations/transformers, and for type = TS or DS, this is Hydro One owned
CON_TYPE | Where the value = M, this is multi-circuit supply, and for = N, S, Y this is single supply (i.e. single, switchable, etc.)

## Direct Industrial DPs
Direct Industrial Delivery Point Inventory as of Aug 5, 2016
DP_ID | DPNAME | TYPE | BUS | DPDES | TXFMR | CON_TYPE
55 | VALE COPPER #4 | CTS |  | FL4601 | T1/T2 | M
601 | LANXESS INC | CTS |  | NAW4060 | T1/T2 | M
158 | NELSON | TS | B | NW13B | T1 | M
160 | NELSON | TS | Q | NW13Q | T2 | M
162 | ST.ANDREW | TS | Q | NW18Q | T4 | M
163 | ST.ANDREW | TS | Z | NW18Z | T3 | M
185 | ResFP Thundr Bay | CTS |  | P8 |  | N
237 | ONAPING AREA M&M | CTS |  | NQF931 |  | S
305 | BRUCE HW PLANT | TS | A | NAK8A | T7/T8 | M
306 | BRUCE HW PLANT | TS | B | NAK8B | T7/T8 | M
311 | TEMBEC KAPUSKAS | CTS |  | FJ901 | T6/T7/T8/T9 | S
314 | DYNO NOBEL | CTS |  | Q401 | T1/T2 | M
328 | AV TERRACE BAY | CTS |  | P28 |  | N
342 | MATTABI | CTS |  | FP2901 | T1/T2 | N
345 | LAFARGE BATH | CTS |  | NA8202 |  | M
346 | ResFP Thorold | CTS |  | NF49 | T61/T62 | N
347 | ENBRG KEYSER | CTS |  | NW2907 |  | S
348 | ENBRG BRYANSTON | CTS |  | NW409 | T3 | S
350 | GECO | CTS |  | P2703 | T1 | Y
351 | ResFP Kraft | CTS |  | P802 |  | N
358 | NAE | CTS |  | Q5201 |  | S
370 | FORD ESSEX | CTS |  | NQW2320 | T1/T2 | M
391 | ResFP Thorld 230 CTS | CTS |  | NAN2801 | T63/T64/T65/T66 | S
404 | CHALK RIVER | CTS |  | Q19 | T1/T2/T3/T4 | S
407 | TCPL BELLEVILLE | CTS |  | Q2003 | T1/T2 | N
415 | KIDD MINESITE | CTS |  | FA1202 |  | N
417 | H2O PWR FT FRANCES | CTS |  | FR601 | T4A/T4B/T5 | Y
418 | KIDD METSITE | CTS |  | NAF3005 |  | S
475 | CARLTON | TS | E | NF40E | T4 | M
478 | CARLTON | TS | Q | NF40Q | T1 | M
484 | THOROLD | TS | B | NF44B | T1 | M
487 | THOROLD | TS | Y | NF44Y | T2 | M
497 | ValeCanLtd-PrtClbrne | CTS |  | NF95 | T1 | S
556 | SUNCOR | CTS |  | NQW4022 | T1/T2 | M
566 | DOMTAR ESPANOLA | CTS |  | FS1701 |  | S
567 | IVACO | CTS |  | NA6202 | T1/T2/T3 | N
581 | GERDAU A. WHITBY | CTS |  | NA5204 | T1/T2/T3/T4 | M
588 | CARMEUSE LIME | CTS |  | FS1901 |  | S
590 | EACOM NAIRN CTR | CTS |  | FS902 | T1 | S
595 | DOF.BAY FRONT | CTS |  | NAN1721 | T1/T2/T3/T4/T5/T6 | M
596 | AMERISTEEL CAMBR | CTS |  | NAN2501 | T1/T2/T3 | N
597 | IBM MARKHAM | CTS |  | NAR8121 | T1/T2 | M
601 | ARLANXEO CAN INC | CTS |  | NAW4060 | T1/T2 | M
602 | ASW STEEL | CTS |  | NF29 | T2/T3 | N
605 | PANABRASIVES | CTS |  | NF4113 |  | S
607 | MCMASTER | CTS |  | NF91 | T1/T2 | M
610 | MACASSA SHAFT #3 | CTS |  | NQF3201 | T1/T2 | Y
613 | FQM (Akubra) Winston Lk | CTS |  | NQV1202 | T1 | N
615 | WILLIAMS MINE | CTS |  | NQV1503 | T1/T2 | Y
626 | ENBRG WESTOVER N | CTS |  | NW205 | T1 | S
625 | LAFARGE WOODSTK. | CTS |  | NW1015 |  | S
626 | ENBRG WESTOVER N | CTS |  | NW205 | T1 | S
632 | SUN CDN PIPELINE | CTS |  | NW2906 | T1 | S
639 | ENBRIDGE PL HILT | CTS |  | Q2002 | T1 | N
642 | ENBRIDGE PL CARD | CTS |  | Q402 | T1 | S
926 | ENBRG WESTOVER S | CTS |  | NW2605 | T1/T2 | S
682 | ONAKAWANA | CTS |  | NQF3004 |  | N
684 | MACASSA MILL | CTS |  | NQF3204 | T1 | Y
688 | DOF.KENILWORTH | CTS |  | NAN1722 | T7/T8 | M
691 | ATLANTIC PACKGNG | CTS |  | NAR8125 | T1/T2 | M
778 | FORD OAKVILLE | CTS |  | NAR803 | T1/T2 | M
785 | TCPL COBOURG | CTS |  | NQ2002 | T1/T2/T3 | N
853 | TCPL VERMILL BAY | CTS |  | NA3411 | T1 | N
854 | AINSWORTH | CTS |  | NQ1203 | T1 | N
855 | LAC DES ILES MIN | CTS |  | NQ1209 |  | Y
856 | MUSSELWHITE | CTS |  | NQ1211 | T1/T2 | Y
859 | GLDCRP HOYLEPOND | CTS |  | NQ3301 |  | N
878 | IMP OIL NANTICOK | CTS |  | NA2507 | T1 | N
892 | WEYERHAEUSER KEN | CTS |  | NQ1248 |  | N
909 | NICKEL RIM | CTS |  | NQ7004 |  | Y
916 | FALCONBRIDGE | CTS |  | FS907F |  | Y
926 | ENBRG WESTOVER S | CTS |  | NW2605 | T1/T2 | S
930 | N.R.C. | TS | J1 | Q16J1 | T1 | S
931 | N.R.C. | TS | J3 | Q16J3 | T3 | S
933 | OSHAWA G.M. | TS | A | NA142A | T2 | M
934 | OSHAWA G.M. | TS | B | NA142B | T1 | M
935 | OSHAWA G.M. | TS | C | NA142C | T2 | M
936 | OSHAWA G.M. | TS | D | NA142D | T1 | M
940 | TOYOTA WOODSTOCK | TS | J | NQ159J | T1 | S
949 | TIMMINS WESTMINE | CTS |  | NQ7026 | T1 | Y
1321 | DETOUR LAKE MINE | CTS |  | NA7541 | T1/T2/T3 | Y
1401 | YOUNG DAVIDSON | CTS |  | NQ7147 |  | Y
1521 | Bell Creek | CTS |  | NQ7681 | T1/T2 | Y
1641 | JBL CTS | CTS |  | NQ7674 | T1 | S
1681 | Balmer | CTS |  | NQ7670 | T1/T2 | Y

## LDC DPs
LDC Delivery Point Inventory as of Aug 5, 2016
DP_ID | DPNAME | TYPE | BUS | DPDES | TXFMR | CON_TYPE
25 | NELSON | TS | K | NW13K | T4 | M
26 | NELSON | TS | P | NW13P | T3 | M
38 | MOOSE LAKE | TS | B2 | FR5B2 | T2 | N
39 | MOOSE LAKE | TS | B3 | FR5B3 | T3 | N
64 | MARTINDALE | TS | J | FS9J | T26 | M
65 | MARTINDALE | TS | Z | FS9Z | T25 | M
70 | WONDERLAND | TS | B | NA32B | T5 | M
71 | WONDERLAND | TS | Y | NA32Y | T6 | M
72 | LEASIDE | TS | B | NA34B | T19/T20/T21 | M
73 | LEASIDE | TS | Y | NA34Y | T19/T20/T21 | M
76 | MANBY | TS | B | NA38B | T3 | M
77 | MANBY | TS | F | NA38F | T14 | M
78 | MANBY | TS | Q | NA38Q | T5 | M
79 | MANBY | TS | V | NA38V | T13 | M
80 | MANBY | TS | Y | NA38Y | T4 | M
81 | MANBY | TS | Z | NA38Z | T6 | M
82 | PLEASANT | TS | B | NA42B | T5 | M
83 | PLEASANT | TS | Y | NA42Y | T6 | M
84 | SHEPPARD | TS | B | NA47B | T3 | M
85 | SHEPPARD | TS | Y | NA47Y | T4 | M
89 | LESLIE | TS | Y | NA51Y | T2 | M
90 | THORNTON | TS | B | NA52B | T3 | M
91 | THORNTON | TS | Y | NA52Y | T4 | M
92 | BERMONDSEY | TS | B | NA53B | T3/T4 | M
93 | BERMONDSEY | TS | Y | NA53Y | T3/T4 | M
94 | WILSON | TS | B | NA54B | T1 | M
95 | WILSON | TS | Y | NA54Y | T2 | M
103 | STRATFORD | TS | B | NA68B | T1 | M
104 | STRATFORD | TS | Y | NA68Y | T2 | M
105 | CLARKE | TS | B | NA70B | T3 | M
106 | CLARKE | TS | Y | NA70Y | T4 | M
107 | BELLEVILLE | TS | B | NA78B | T1 | M
108 | BELLEVILLE | TS | Y | NA78Y | T2 | M
109 | CHERRYWOOD | TS | B | NA81B | T7 | M
110 | CHERRYWOOD | TS | Y | NA81Y | T8 | M
113 | RICHVIEW | TS | B | NA88B | T7 | M
114 | RICHVIEW | TS | Y | NA88Y | T8 | M
117 | SOUTH MARCH | TS | Q | NAA9Q | T1 | M
118 | SOUTH MARCH | TS | Y | NAA9Y | T2 | M
121 | HAWTHORNE | TS | B | NKL48B | T7 | M
122 | HAWTHORNE | TS | J | NKL48J | T8 | M
126 | RUNNYMEDE | TS | B | NT11B | T3 | M
127 | RUNNYMEDE | TS | Y | NT11Y | T4 | M
128 | BRONTE | TS | B | NT13B | T6 | M
129 | BRONTE | TS | Y | NT13Y | T5 | M
130 | TERAULEY | TS | A3A4 | NT1A3A4 | T2/T3 | M
131 | TERAULEY | TS | A5A6 | NT1A5A6 | T2/T3 | M
135 | WILTSHIRE | TS | A3A4 | NT32A3A4 | T3/T7 | M
136 | WILTSHIRE | TS | A5A6 | NT32A5A6 | T1/T6 | M
137 | CARLAW | TS | A4A5 | NT87A4A5 | T1/T4 | M
138 | FAIRBANK | TS | B | NT35B | T4 | M
139 | FAIRBANK | TS | Q | NT35Q | T2 | M
140 | FAIRBANK | TS | Y | NT35Y | T1 | M
141 | FAIRBANK | TS | Z | NT35Z | T3 | M
142 | JOHN | TS | A11 | NT37A11 | T5/T6 | M
143 | JOHN | TS | A12 | NT37A12 | T5/T6 | M
144 | JOHN | TS | A3A4 | NT37A3A4 | T1/T2/T3/T4 | M
145 | JOHN | TS | A5A6 | NT37A5A6 | T1/T2/T3/T4 | M
146 | DUPLEX | TS | A1A2 | NT44A1A2 | T1/T2 | M
147 | DUPLEX | TS | A3A4 | NT44A3A4 | T1/T2 | M
148 | CHARLES | TS | A1A2 | NT45A1A2 | T3/T4 | M
149 | CHARLES | TS | A3A4 | NT45A3A4 | T3/T4 | M
152 | DUFFERIN | TS | A1A2 | NT9A1A2 | T1/T3 | M
153 | WOODSTOCK | TS | B | NW10B | T1 | M
154 | WOODSTOCK | TS | Y | NW10Y | T2 | M
155 | ST.THOMAS | TS | Q | NW11Q | T2 | M
157 | ST.THOMAS | TS | Z | NW11Z | T1 | M
159 | NELSON | TS | J | NW13J | T4 | M
161 | NELSON | TS | Y | NW13Y | T3 | M
162 | ST.ANDREW | TS | Q | NW18Q | T4 | M
163 | ST.ANDREW | TS | Z | NW18Z | T3 | M
166 | TILLSONBURG | TS | B | NW20B | T1 | S
167 | TILLSONBURG | TS | Y | NW20Y | T3 | S
171 | STRATHROY | TS | Q | NW29Q | T2 | S
172 | GODERICH | TS | B | NW31B | T1/T2/T3 | S
173 | GODERICH | TS | Y | NW31Y | T1/T2/T3 | S
174 | AYLMER | TS | B | NW34B | T2/T3 | S
180 | BIRCH | TS | B | P17B | T2/T3/T4 | M
181 | BIRCH | TS | Y | P17Y | T2/T3/T4 | M
183 | PORT ARTHUR #1 | TS | B1 | P2B1 | T1/T2 | M
184 | PORT ARTHUR #1 | TS | B2 | P2B2 | T1/T2 | M
189 | FRONTENAC | TS | B | Q3B | T4 | M
190 | FRONTENAC | TS | Y | Q3Y | T3 | M
193 | SLATER | TS | J1 | Q46J1 | T1/T2 | M
194 | SLATER | TS | J2 | Q46J2 | T1/T2 | M
201 | HINCHEY | TS | Q | Q7Q | T3 | M
202 | HINCHEY | TS | Z | Q7Z | T4 | M
209 | LAUZON | TS | B | NA56B | T5 | M
210 | LAUZON | TS | Q | NA56Q | T6 | M
211 | AGINCOURT | TS | B | NA63B | T5/T6 | M
212 | AGINCOURT | TS | Y | NA63Y | T5/T6 | M
214 | BARRIE | TS | B | G13B | T1 | M
215 | BARRIE | TS | Y | G13Y | T2 | M
216 | RICHVIEW | TS | E | NA88E | T1/T2 | M
217 | RICHVIEW | TS | J | NA88J | T1/T2 | M
221 | TROUT LAKE | TS | B | FZ18B | T3 | M
222 | TROUT LAKE | TS | Y | FZ18Y | T4 | M
229 | BATHURST | TS | B | NA85B | T1/T2 | M
230 | BATHURST | TS | Y | NA85Y | T1/T2 | M
231 | FAIRCHILD | TS | B | NA80B | T1/T2 | M
232 | FAIRCHILD | TS | Y | NA80Y | T1/T2 | M
233 | TOMKEN | TS | B | NA83B | T1 | M
234 | TOMKEN | TS | Y | NA83Y | T2 | M
238 | CECIL | TS | A1 | NT49A1 | T1 | M
239 | CECIL | TS | A2 | NT49A2 | T2 | M
240 | CECIL | TS | A3A4 | NT49A3A4 | T1/T2 | M
243 | ALBION | TS | B | NA84B | T1 | M
244 | ALBION | TS | J | NA84J | T1 | M
245 | ALBION | TS | Q | NA84Q | T2 | M
246 | ALBION | TS | Y | NA84Y | T2 | M
248 | PALERMO | TS | B | NAA4B | T3 | M
249 | PALERMO | TS | Y | NAA4Y | T4 | M
252 | CHARLES | TS | A5A6 | NT45A5A6 | T1/T2 | M
259 | COOKSVILLE | TS | J | NA46J | T3/T4 | M
260 | COOKSVILLE | TS | Q | NA46Q | T3/T4 | M
262 | CECIL | TS | A5A6 | NT49A5A6 | T3/T4 | M
265 | LISGAR | TS | J | Q47J | T1 | M
266 | LISGAR | TS | Q | Q47Q | T1 | M
267 | LISGAR | TS | Y | Q47Y | T2 | M
268 | LISGAR | TS | Z | Q47Z | T2 | M
269 | WALKER #1 | TS | E | NW55E | T4 | M
270 | WALKER #1 | TS | Q | NW55Q | T3 | M
273 | LORNE PARK | TS | B | NA67B | T1/T2 | M
274 | LORNE PARK | TS | J | NA67J | T1/T2 | M
275 | HEARST | TS | B | FA21B | T3 | Y
280 | ERINDALE | TS | B | NAC5B | T6 | M
281 | ERINDALE | TS | J | NAC5J | T5 | M
282 | CRAWFORD | TS | E | NW25E | T4 | M
283 | CRAWFORD | TS | Y | NW25Y | T3 | M
290 | DUPLEX | TS | A5A6 | NT44A5A6 | T3/T4 | M
152 | DUFFERIN | TS | A1A2 | NT9A1A2 | T1/T3 | M
297 | DUFFERIN | TS | A3A4 | NT9A3A4 | T1/T3 | M
302 | CARLAW | TS | A6A7 | NT87A6A7 | T1/T2 | M
307 | CLARABELLE | TS | B | FL28B | T1 | M
308 | CLARABELLE | TS | Y | FL28Y | T2 | M
309 | FORT WILLIAM | TS | J | P10J | T6 | M
310 | FORT WILLIAM | TS | Q | P10Q | T5 | M
312 | CHARLES | TS | A7A8 | NT45A7A8 | T1/T2 | M
313 | PLEASANT | TS | J | NA42J | T1 | M
317 | PLEASANT | TS | Q | NA42Q | T2 | M
318 | CECIL | TS | A7A8 | NT49A7A8 | T3/T4 | M
320 | WILSON | TS | Q | NA54Q | T4 | M
326 | ELLESMERE | TS | J | NAH9J | T3/T4 | M
327 | ELLESMERE | TS | Q | NAH9Q | T3/T4 | M
329 | JOHN | TS | A15A16 | NT37A15A16 | T5/T6 | M
330 | STRACHAN | TS | A5A6 | NT3A5A6 | T12/T14 | M
333 | WOODROFFE | TS | B | Q24B | T3/T4 | M
334 | WOODROFFE | TS | J | Q24J | T3/T4 | M
335 | WOODROFFE | TS | Q | Q24Q | T3/T4 | M
336 | WOODROFFE | TS | Z | Q24Z | T3/T4 | M
339 | COCHRANE | MTS |  | FA28 | T1/T2/T3 | S
341 | KENORA | MTS |  | FP1501 |  | N
355 | UPLANDS #2 | MTS |  | Q4801 | T3 | S
359 | HAWKESBURY #1 | MTS |  | Q55 | T1/T2 | S
360 | MANORDALE | MTS |  | Q84 | T1/T2 | S
363 | KAPUSKASING | TS | Z | FA27Z | T5 | N
370 | FORD ESSEX | CTS |  | NQW2320 | T1/T2 | M
371 | OAKVILLE #2 | TS | E | NAR22E | T5/T6 | M
372 | OAKVILLE #2 | TS | Z | NAR22Z | T5/T6 | M
377 | LINCOLN HEIGHTS | TS | B1 | Q71B1 | T1 | M
378 | LINCOLN HEIGHTS | TS | B2 | Q71B2 | T2 | M
379 | LINCOLN HEIGHTS | TS | Y1 | Q71Y1 | T1 | M
380 | LINCOLN HEIGHTS | TS | Y2 | Q71Y2 | T2 | M
381 | ARMITAGE | TS | E | NA41E | T3 | M
382 | ARMITAGE | TS | J | NA41J | T1 | M
383 | ARMITAGE | TS | Q | NA41Q | T2 | M
384 | ARMITAGE | TS | Y | NA41Y | T4 | M
393 | MODELAND | TS | J | NA96J | T3/T4 | M
394 | MODELAND | TS | Q | NA96Q | T3/T4 | M
395 | KENT | TS | B | NAF5B | T1/T2 | M
396 | KENT | TS | Y | NAF5Y | T1/T2 | M
397 | MALDEN | TS | B | NAW24B | T1/T2 | M
398 | MALDEN | TS | Y | NAW24Y | T1/T2 | M
402 | BRAMALEA | TS | B | NA74B | T1/T2 | M
403 | BRAMALEA | TS | Y | NA74Y | T1/T2 | M
408 | STRACHAN | TS | A7A8 | NT3A7A8 | T12/T14 | M
419 | NEPEAN | TS | J | NAL22J | T3 | N
420 | NEPEAN | TS | Q | NAL22Q | T4 | N
423 | MERIVALE | MTS |  | Q72 | T1/T2 | M
424 | TALBOT | TS | Q1 | NAW26Q1 | T3 | M
425 | TALBOT | TS | Q2 | NAW26Q2 | T4 | M
433 | BEACH | TS | Q1 | NA17Q1 | T6 | M
434 | BEACH | TS | Q2 | NA17Q2 | T5 | M
438 | BURLINGTON | TS | B | NA39B | T16 | M
439 | BURLINGTON | TS | Y | NA39Y | T15 | M
440 | BRANTFORD | TS | Y | NA64Y | T3/T4 | M
441 | BRANTFORD | TS | Z | NA64Z | T3/T4 | M
442 | GALT | TS | J | NA65J | T7/T8 | M
443 | GALT | TS | Y | NA65Y | T7/T8 | M
446 | CUMBERLAND | TS | B | NA76B | T3/T4 | M
447 | CUMBERLAND | TS | Q | NA76Q | T3/T4 | M
448 | FAIRCHILD | TS | J | NA80J | T3/T4 | M
449 | FAIRCHILD | TS | Q | NA80Q | T3/T4 | M
450 | HORNING | TS | B1 | NAC4B1 | T1 | M
451 | HORNING | TS | B2 | NAC4B2 | T2 | M
452 | CALEDONIA | TS | B | NAN27B | T1 | M
453 | CALEDONIA | TS | Y | NAN27Y | T2 | M
455 | LAKE | TS | J1 | NAN29J1 | T3 | M
456 | LAKE | TS | J2 | NAN29J2 | T4 | M
457 | LAKE | TS | Q1 | NAN29Q1 | T3 | M
458 | LAKE | TS | Q2 | NAN29Q2 | T4 | M
460 | CAMPBELL | TS | B | NAR36B | T1 | M
461 | CAMPBELL | TS | J | NAR36J | T1 | M
462 | CAMPBELL | TS | Q | NAR36Q | T2 | M
463 | CAMPBELL | TS | Y | NAR36Y | T2 | M
466 | JARVIS | TS | B | NAW57B | T3 | M
467 | JARVIS | TS | Y | NAW57Y | T4 | M
468 | STANLEY | TS | B | NF12B | T1 | M
469 | STANLEY | TS | Y | NF12Y | T2 | M
471 | BEAMSVILLE | TS | Y | NF18Y | T3 | N
472 | MURRAY | TS | Y1 | NF3Y1 | T11 | M
473 | MURRAY | TS | Y2 | NF3Y2 | T12 | M
474 | CARLTON | TS | B | NF40B | T2 | M
476 | CARLTON | TS | H | NF40H | T2 | M
477 | CARLTON | TS | K | NF40K | T3 | M
479 | CARLTON | TS | Y | NF40Y | T3 | M
480 | CROWLAND | TS | Q | NF41Q | T6 | M
481 | CROWLAND | TS | Y | NF41Y | T5 | M
482 | PORT COLBORN | TS | Q | NF43Q | T61 | S
483 | PORT COLBORN | TS | Z | NF43Z | T62 | S
488 | VANSICKLE | TS | B | NF48B | T5 | M
489 | VANSICKLE | TS | Y | NF48Y | T6 | M
490 | GLENDALE | TS | B | NF4B | T1/T2 | M
491 | GLENDALE | TS | D | NF4D | T1/T2 | M
492 | GLENDALE | TS | E | NF4E | T3/T4 | M
493 | GLENDALE | TS | J | NF4J | T1/T2 | M
494 | GLENDALE | TS | Q | NF4Q | T1/T2 | M
495 | GLENDALE | TS | Y | NF4Y | T3/T4 | M
498 | BUNTING | TS | J1 | NQN30J1 | T3/T4 | M
499 | BUNTING | TS | J2 | NQN30J2 | T3/T4 | M
500 | BUNTING | TS | Q1 | NQN30Q1 | T3/T4 | M
501 | BUNTING | TS | Q2 | NQN30Q2 | T3/T4 | M
502 | MOHAWK | TS | B1 | NT20B1 | T1 | M
503 | MOHAWK | TS | B2 | NT20B2 | T2 | M
504 | MOHAWK | TS | Y1 | NT20Y1 | T1 | M
505 | MOHAWK | TS | Y2 | NT20Y2 | T2 | M
506 | GAGE | TS | D | NT24D | T6 | M
507 | GAGE | TS | E | NT24E | T8 | M
508 | GAGE | TS | J | NT24J | T5 | M
509 | GAGE | TS | K | NT24K | T9 | M
510 | GAGE | TS | Y | NT24Y | T3 | M
511 | GAGE | TS | Z | NT24Z | T4 | M
512 | NEWTON | TS | B | NT26B | T1/T2 | M
513 | NEWTON | TS | Y | NT26Y | T1/T2 | M
514 | KENILWORTH | TS | D | NT27D | T1 | M
515 | KENILWORTH | TS | E | NT27E | T4 | M
516 | KENILWORTH | TS | J | NT27J | T1 | M
517 | KENILWORTH | TS | K | NT27K | T4 | M
518 | ELGIN | TS | J | NT28J | T2 | M
519 | ELGIN | TS | Q | NT28Q | T1 | M
520 | STIRTON | TS | B | NT48B | T3 | M
521 | STIRTON | TS | Q | NT48Q | T3 | M
522 | STIRTON | TS | Y | NT48Y | T4 | M
523 | STIRTON | TS | Z | NT48Z | T4 | M
524 | BIRMINGHAM | TS | B | NT50B | T1 | M
525 | BIRMINGHAM | TS | E | NT50E | T3 | M
526 | BIRMINGHAM | TS | J | NT50J | T1 | M
527 | BIRMINGHAM | TS | Q | NT50Q | T2 | M
528 | BIRMINGHAM | TS | Y | NT50Y | T2 | M
529 | BIRMINGHAM | TS | Z | NT50Z | T4 | M
530 | BRANT | TS | B | NW12B | T1 | M
531 | BRANT | TS | Y | NW12Y | T2 | M
536 | DUNDAS | TS | B | NW2B | T1/T2 | M
537 | DUNDAS | TS | Y | NW2Y | T1/T2 | M
297 | DUFFERIN | TS | A3A4 | NT9A3A4 | T1/T3 | M
563 | DUFFERIN | TS | A5A6 | NT9A5A6 | T2/T4 | M
538 | CEDAR | TS | J | NW5J | T7 | M
618 | BRIDGMAN | TS | HLA1A2 | NT31HLA1A2 | T11/T13/T14 | M
620 | BRIDGMAN | TS | HLA7A8 | NT31HLA7A8 | T6/T12/T13 | M
539 | CEDAR | TS | Q | NW5Q | T8 | M
540 | BRAMALEA | TS | J | NA74J | T3 | M
541 | BRAMALEA | TS | Q | NA74Q | T4 | M
542 | EDGEWARE | TS | B | NAW27B | T1/T2 | M
543 | EDGEWARE | TS | Y | NAW27Y | T1/T2 | M
544 | BEACH | TS | J1 | NA17J1 | T6 | M
545 | BEACH | TS | J2 | NA17J2 | T5 | M
546 | LESLIE | TS | H1 | NA51H1 | T1 | S
547 | LESLIE | TS | H2 | NA51H2 | T2 | S
550 | CARLING | TS | K | Q1K | T1 | M
551 | CARLING | TS | Q | Q1Q | T1 | M
552 | CARLING | TS | Y | Q1Y | T2 | M
553 | CARLING | TS | Z | Q1Z | T2 | M
554 | N.O.T.L #2 | MTS |  | NQN2003 | T1/T2 | N
557 | ERINDALE | TS | Y | NAC5Y | T3 | M
562 | ERINDALE | TS | Z | NAC5Z | T4 | M
794 | DUFFERIN | TS | A7A8 | NT9A7A8 | T2/T4 | M
563 | DUFFERIN | TS | A5A6 | NT9A5A6 | T2/T4 | M
569 | SCARBORO | TS | J | NAE5J | T21/T22 | M
570 | SCARBORO | TS | Q | NAE5Q | T21/T22 | M
571 | JOHN | TS | A17 | NT37A17 | T1/T3 | M
572 | JOHN | TS | A18 | NT37A18 | T1/T3 | M
575 | BILBERRY CREEK | TS | B | Q77B | T1 | M
576 | BILBERRY CREEK | TS | Y | Q77Y | T2 | M
577 | MALVERN | TS | J | NAR26J | T3/T4 | M
578 | MALVERN | TS | Q | NAR26Q | T3/T4 | M
579 | ELGIN | TS | E | NT28E | T3 | M
580 | ELGIN | TS | Z | NT28Z | T4 | M
589 | CHAPLEAU | MTS |  | FS801 | T1 | Y
591 | KEITH | TS | B | NA23B | T23 | M
592 | KEITH | TS | Y | NA23Y | T22 | M
593 | SCHEIFELE | MTS |  | NA2602 | T1/T2/T3/T4 | M
598 | MARKHAM #1 | MTS |  | NAR8122 | T1/T2 | M
538 | CEDAR | TS | J | NW5J | T7 | M
603 | DUNNVILLE | TS | E | NF31E | T1 | Y
611 | LIMEBANK | MTS |  | NQLB603 | T1/T2 | S
612 | MARCHWOOD | MTS |  | NQLB604 | T1/T2 | M
617 | BRIDGMAN | TS | A1A2 | NT31A1A2 | T12/T14 | M
539 | CEDAR | TS | Q | NW5Q | T8 | M
618 | BRIDGMAN | TS | HLA1A2 | NT31HLA1A2 | T11/T13/T14 | M
620 | BRIDGMAN | TS | HLA7A8 | NT31HLA7A8 | T6/T12/T13 | M
621 | JOHN | TS | A13A14 | NT37A13A14 | T2/T4 | M
622 | MAIN | TS | A1A2 | NT5A1A2 | T3/T4 | M
623 | MAIN | TS | A3A4 | NT5A3A4 | T3/T4 | M
627 | RUSH | MTS |  | NW2602 | T1/T2 | M
628 | KITCHENER #1 | MTS |  | NW26K1 | T1/T2 | M
629 | KITCHENER #3 | MTS |  | NW26K3 | T5/T6 | M
630 | KITCHENER #4 | MTS |  | NW26K4 | T7/T8 | M
631 | KITCHENER #5 | MTS |  | NW26K5 | T9/T10 | M
634 | ELMIRA | TS | B | NW33B | T1/T2 | S
645 | NEPEAN EPWORTH | MTS |  | QT58 | T1/T2 | M
857 | HANLON | TS | B | NQ127B | T1 | M
657 | BATHURST | TS | J | NA85J | T3/T4 | M
658 | BATHURST | TS | Q | NA85Q | T3/T4 | M
659 | WALKER #2 | MTS |  | NW55 | T1/T2 | M
660 | CENTRE POINT | MTS |  | NQ87 | T1/T2 | S
661 | TERAULEY | TS | A1A2 | NT1A1A2 | T1/T4 | M
663 | MOULTON | MTS |  | Q8 | T1/T2 | N
664 | HORNER | TS | B | NAR30B | T3/T4 | M
665 | HORNER | TS | Y | NAR30Y | T3/T4 | M
666 | CAT LAKE | MTS |  | FP107 | T1 | Y
667 | WARDEN | TS | Q | NAR43Q | T3/T4 | M
668 | WARDEN | TS | J | NAR43J | T3/T4 | M
879 | HANLON | TS | Y | NQ127Y | T2 | M
669 | CEDAR | TS | B | NW5B | T1 | M
670 | CEDAR | TS | Y | NW5Y | T2 | M
671 | LEASIDE | TS | Q1 | NA34Q1 | T19/T20/T21 | M
672 | LEASIDE | TS | Q2 | NA34Q2 | T19/T20/T21 | M
676 | PRESTON | TS | J | NAR21J | T3/T4 | M
677 | PRESTON | TS | Q | NAR21Q | T3/T4 | M
679 | HORNING | TS | Q1 | NAC4Q1 | T1 | M
680 | HORNING | TS | Q2 | NAC4Q2 | T2 | M
681 | MARKHAM #2 | MTS |  | NAR8124 | T1/T2 | M
689 | REXDALE | TS | B | NAR29B | T1 | M
690 | REXDALE | TS | Y | NAR29Y | T2 | M
692 | TALBOT | TS | J1 | NAW26J1 | T3 | M
693 | TALBOT | TS | J2 | NAW26J2 | T4 | M
694 | STANLEY | TS | J | NF12J | T1 | M
695 | STANLEY | TS | Q | NF12Q | T2 | M
701 | BRAMALEA | TS | E | NA74E | T6 | M
702 | BRAMALEA | TS | Z | NA74Z | T5 | M
703 | HALTON | TS | J | NAR41J | T3/T4 | M
704 | HALTON | TS | Q | NAR41Q | T3/T4 | M
705 | ERINDALE | TS | E | NAC5E | T1/T2 | M
706 | ERINDALE | TS | Q | NAC5Q | T1/T2 | M
707 | KLEINBURG | TS | B | NAR45B | T1 | M
708 | KLEINBURG | TS | Y | NAR45Y | T2 | M
714 | KITCHENER #6 | MTS |  | NAR25K6 | T11/T12 | M
715 | OTONABEE | TS | B | NAL128B | T2 | M
716 | OTONABEE | TS | Y | NAL128Y | T1 | M
721 | RIVERDALE | TS | Z | Q25Z | T3 | M
722 | REXDALE | TS | J | NAR29J | T1 | M
723 | REXDALE | TS | Q | NAR29Q | T2 | M
728 | OTONABEE | TS | J | NAL128J | T2 | M
729 | OTONABEE | TS | Q | NAL128Q | T1 | M
730 | NEBO | TS | Q | NAR157Q | T4 | M
731 | TOMKEN | TS | E | NA83E | T3 | M
732 | TOMKEN | TS | Z | NA83Z | T4 | M
733 | BURLINGTON | TS | J | NA39J | T15 | M
734 | BURLINGTON | TS | Q | NA39Q | T16 | M
735 | PLEASANT | TS | E | NA42E | T5 | M
736 | PLEASANT | TS | Z | NA42Z | T6 | M
737 | BERMONDSEY | TS | J | NA53J | T1/T2 | M
738 | BERMONDSEY | TS | Q | NA53Q | T1/T2 | M
739 | NEBO | TS | J | NAR157J | T3 | M
740 | BUCHANAN | TS | B | NAW19B | T13/T14 | M
741 | BUCHANAN | TS | Y | NAW19Y | T13/T14 | M
742 | SHEPPARD | TS | J | NA47J | T1 | M
743 | SHEPPARD | TS | Q | NA47Q | T2 | M
751 | BEACH | TS | B1 | NA17B1 | T3 | M
752 | BEACH | TS | B2 | NA17B2 | T4 | M
753 | BEACH | TS | Y1 | NA17Y1 | T3 | M
754 | BEACH | TS | Y2 | NA17Y2 | T4 | M
761 | LEASIDE | TS | A1 | NA34A1 | T19/T20/T21 | M
762 | CAVANAGH | MTS |  | NA502 | T1/T2 | M
763 | RICHVIEW | TS | Q | NA88Q | T5/T6 | M
764 | RICHVIEW | TS | Z | NA88Z | T5/T6 | M
767 | GOREWAY | TS | B | NAR136B | T5/T6 | M
768 | GOREWAY | TS | Y | NAR136Y | T5/T6 | M
771 | MEADOWVALE | TS | E | NAR3107E | T1 | M
772 | MEADOWVALE | TS | Z | NAR3107Z | T2 | M
773 | CAMPBELL | TS | E | NAR36E | T4 | M
774 | CAMPBELL | TS | Z | NAR36Z | T3 | M
775 | WHITBY | TS | J | NAR40J | T3 | M
776 | WHITBY | TS | Q | NAR40Q | T4 | M
779 | MARKHAM #3 | MTS |  | NAR8126 | T1/T2/T3/T4 | M
780 | RICHMOND HILL #1 | MTS |  | NAR8127 | T1/T2 | M
789 | FALLOWFIELD | MTS |  | NQL606 | T1/T2 | N
791 | STRACHAN | TS | A1 | NT3A1 | T13/T15 | M
792 | STRACHAN | TS | A2 | NT3A2 | T13/T15 | M
1381 | ARLEN | MTS |  | NQ7356 | T1/T2 | M
794 | DUFFERIN | TS | A7A8 | NT9A7A8 | T2/T4 | M
795 | KITCHENER #7 | MTS |  | NW26K7 | T13/T14 | M
845 | MURRAY | TS | Q | NF3Q | T12 | M
847 | LEASIDE | TS | A2 | NA34A2 | T19/T20/T21 | M
848 | BRIDLEWOOD | MTS |  | NQ605 | T1/T2 | N
538 | CEDAR | TS | J | NW5J | T7 | M
857 | HANLON | TS | B | NQ127B | T1 | M
865 | MURRAY | TS | K | NF3K | T13/T14 | M
868 | KENT | TS | E | NAF5E | T3/T4 | M
872 | KENILWORTH | TS | B1 | NT27B1 | T2 | M
873 | KENILWORTH | TS | Y1 | NT27Y1 | T3 | M
874 | ELGIN | TS | D | NT28D | T1 | M
875 | ELGIN | TS | K | NT28K | T2 | M
876 | BIRMINGHAM | TS | D | NT50D | T4 | M
877 | BIRMINGHAM | TS | K | NT50K | T3 | M
539 | CEDAR | TS | Q | NW5Q | T8 | M
879 | HANLON | TS | Y | NQ127Y | T2 | M
880 | BRONTE | TS | Q | NT13Q | T2 | S
881 | HIGHBURY | TS | J | NW4J | T4 | M
882 | HIGHBURY | TS | Y | NW4Y | T3 | M
885 | G.M.WINDSOR | MTS |  | NQ2304 | T1/T2 | M
886 | FORD WINDSOR | MTS |  | NQ2305 | T1/T2 | M
887 | CHRYSLER WAP | MTS |  | NQ2302 | T1/T2 | M
889 | GOREWAY | TS | Z | NAR136Z | T4 | Y
890 | FORD ANNEX | MTS |  | NQ2331 | T1/T2 | M
893 | CAMBRIDGE NDUM#1 | MTS |  | NA2510 | T1/T2 | M
894 | KANATA #1 | MTS |  | NA624 | T1/T2 | M
895 | RICHMOND HILL #2 | MTS |  | NA8136 | T3/T4 | M
898 | DUNDAS #2 | TS | J | NQ117J | T5 | M
899 | DUNDAS #2 | TS | Q | NQ117Q | T6 | M
900 | N.O.T.L. YORK #1 | MTS |  | NQ2514 | T1 | N
902 | NIAGARA WEST | MTS |  | NA2508 | T1/T2 | M
903 | KALAR | MTS |  | NQ2515 | T1/T2 | M
906 | KITCHENER #8 | MTS |  | NA7001 | T15/T16 | M
907 | MIDHURST | TS | J | NAG23J | T3 | M
908 | MIDHURST | TS | Q | NAG23Q | T4 | M
910 | KEITH | TS | T1 | NA23T1 | T1 | Y
911 | BLOOMSBURG | DS |  | NQ7000 | T1/T2 | M
912 | CARDIFF | TS | B | NA135B | T1 | M
913 | CARDIFF | TS | Q | NA135Q | T2 | M
917 | WATERLOO NORTH #3 | MTS |  | NA1917 | T1/T2 | M
669 | CEDAR | TS | B | NW5B | T1 | M
923 | CEDAR | TS | E | NW5E | T2 | M
670 | CEDAR | TS | Y | NW5Y | T2 | M
924 | CEDAR | TS | Z | NW5Z | T1 | M
925 | POWERLINE | MTS |  | NQ7006 | T1/T2 | M
923 | CEDAR | TS | E | NW5E | T2 | M
928 | JIM YARROW | MTS |  | NA3103 | T1/T2 | M
932 | MURRAY | TS | Z | NF3Z | T11 | M
941 | WHITBY | TS | B | NAR40B | T1/T2 | M
942 | WHITBY | TS | E | NAR40E | T1/T2 | M
943 | WHITBY | TS | Y | NAR40Y | T1/T2 | M
944 | WHITBY | TS | Z | NAR40Z | T1/T2 | M
945 | TALBOT | TS | B | NAW26B | T2 | M
946 | TALBOT | TS | Y | NAW26Y | T1 | M
947 | PLEASANT | TS | F | NA42F | T7/T8 | M
948 | PLEASANT | TS | V | NA42V | T7/T8 | M
950 | CYRVILLE | MTS |  | NQ7039 | T1/T2 | M
951 | ESSEX | TS | J | NW15J | T6 | M
952 | ESSEX | TS | Q | NW15Q | T5 | M
953 | HOLLAND | TS | B | NA153B | T1 | M
954 | HOLLAND | TS | Y | NA153Y | T2 | M
960 | GLENGROVE | TS | A3 | NT6A3 | T1/T3 | M
961 | GLENGROVE | TS | A4 | NT6A4 | T1/T3 | M
962 | CARLAW | TS | A8 | NT87A8 | T1/T2 | M
963 | CARLAW | TS | A9 | NT87A9 | T1/T2 | M
964 | TERAULEY | TS | A9 | NT1A9 | T1/T4 | M
965 | TERAULEY | TS | A10 | NT1A10 | T1/T4 | M
1001 | GOREWAY | TS | J | NAR136J | T1/T2 | M
1002 | GOREWAY | TS | Q | NAR136Q | T1/T2 | M
1041 | MARKHAM #4 | MTS |  | NA7110 | T1/T2 | M
1061 | VANSICKLE | TS | Q | NF48Q | T5 | M
1062 | VANSICKLE | TS | J | NF48J | T6 | M
1081 | ELLWOOD | MTS |  | NA7139 | ELWT1/ELWT2 | M
1101 | KITCHENER #9 | MTS |  | NA7195 | T17/T18 | M
1141 | CHURCHILL MEADOWS | TS | B | NA240B | T1 | M
1142 | CHURCHILL MEADOWS | TS | Y | NA240Y | T2 | M
1161 | BASIN | TS | A5 | NT4A5 | T3/T5 | M
1162 | BASIN | TS | A6 | NT4A6 | T3/T5 | M
1163 | BASIN | TS | A8 | NT4A8 | T3/T5 | M
1164 | BASIN | TS | A7 | NT4A7 | T3/T5 | M
1165 | BRIDGMAN | TS | HLA5 | NT31HLA5 | T5/T11 | M
1166 | BRIDGMAN | TS | HLA6 | NT31HLA6 | T5/T11 | M
1181 | ESPLANADE | TS | A1 | NT36A1 | T12/T13 | M
1182 | ESPLANADE | TS | A2 | NT36A2 | T12/T13 | M
1183 | ESPLANADE | TS | J1 | NT36J1 | T11/T12 | M
1184 | ESPLANADE | TS | J2 | NT36J2 | T11/T12 | M
1185 | ESPLANADE | TS | Q2 | NT36Q2 | T11/T13 | M
1186 | ESPLANADE | TS | Q1 | NT36Q1 | T11/T13 | M
1187 | GERRARD | TS | A1 | NT33A1 | T2/T3 | M
1188 | GERRARD | TS | A2 | NT33A2 | T2/T3 | M
1201 | WILTSHIRE | TS | A11 | NT32A11 | T2/T7 | M
1202 | WILTSHIRE | TS | A12 | NT32A12 | T2/T7 | M
1241 | GLENORCHY #1 | MTS |  | NA7331 | T1/T2 | M
1261 | GLENGROVE | TS | A7 | NT6A7 | T2/T4 | M
1281 | GLENGROVE | TS | A8 | NT6A8 | T2/T4 | M
1301 | STRACHAN | TS | A9 | NT3A9 | T13/T15 | M
1302 | STRACHAN | TS | A10 | NT3A10 | T13/T15 | M
924 | CEDAR | TS | Z | NW5Z | T1 | M
1381 | ARLEN | MTS |  | NQ7356 | T1/T2 | M
1421 | TREMAINE | TS | B | NA280B | T1/T2 | M
1422 | TREMAINE | TS | Y | NA280Y | T1/T2 | M
1541 | COMMERCE WAY | TS | B | NQ278B | T1 | M
1542 | COMMERCE WAY | TS | Y | NQ278Y | T2 | M
1581 | NORTH BAY | TS | B | FZ15B | T1 | N
1582 | NORTH BAY | TS | Y | FZ15Y | T2 | N
1621 | Terry Fox | MTS |  | NA7108 | T1/T2 | N
1642 | Festival MTS #1 | MTS |  | NA8051 | T1/T2 | M
1661 | GODERICH | TS | Z | NW31Z | T4 | S
1721 | COOKSVILLE | TS | E | NA46E | T1/T2 | M
1722 | COOKSVILLE | TS | Z | NA46Z | T1/T2 | M
1742 | ORLEANS | TS | Q | NA325Q | T1 | N

## Hydro One Distribution DPs
Hydro One Distribution Delivery Point Inventory as of Aug 5, 2016
DP_ID | DPNAME | TYPE | BUS | DPDES | TXFMR | CON_TYPE
2 | NORTHBROOKE | DS |  | QB49 | T1 | N
7 | NIPIGON | DS |  | P24 | T1 | S
9 | WARREN | DS |  | FS39 | T1/T2 | N
10 | HINCHINBROOKE | DS |  | Q26 | T1 | N
12 | BATTERSEA | DS |  | Q39 | T1/T2 | Y
14 | MARATHON | DS |  | P2735 | T2 | N
15 | SIOUX NARROWS | DS |  | FP27 |  | N
16 | DEEP RIVER | DS |  | Q40 | T1/T2/T3 | S
18 | SAPAWE | DS |  | FR11 | T1 | N
20 | KENORA | DS |  | FP35 |  | N
21 | NAVAN | DS |  | Q27 | T1/T2 | S
22 | HARROWSMITH | DS |  | Q51 | T1/T2 | N
24 | PETAWAWA | DS |  | Q54 | T1/T2 | S
29 | FAUQUIER | DS |  | FA42 | T1 | N
30 | VERMILION BAY | DS |  | FP31 | T1 | N
31 | NORTH SHORE | DS |  | FS35 | T1 | Y
32 | SHABAQUA | DS |  | P32 | T1 | N
33 | ROCKLAND | DS |  | Q52 | T1 | S
34 | CHAPLEAU | DS |  | FS831 | T2 | Y
35 | MANITOUWADGE #1 | DS |  | P19 | T1 | Y
36 | RED ROCK | DS |  | P33 | T1 | S
37 | WESTON LAKE | DS |  | FA23 | T1 | Y
40 | MONTEITH | DS |  | FA34 | T1 | N
41 | SOWERBY | DS |  | FS31 | T1 | Y
43 | SHARBOT | DS |  | Q62 | T1 | N
52 | TIMMINS | TS | Q | FA19Q | T2 | M
53 | TIMMINS | TS | Z | FA19Z | T4 | M
54 | SHININGTREE | DS |  | FA25 | T1 | Y
57 | DRYDEN | TS | Y | FP25Y | T1/T2/T3 | N
59 | ESPANOLA | TS | B | FS18B | T1/T2 | S
60 | ESPANOLA | TS | Y | FS18Y | T1/T2 | S
61 | CONISTON | TS | P1 | FS1P1 | T2/T3 | N
62 | ELLIOT LAKE | TS | B | FS23B | T1/T2/T3 | S
64 | MARTINDALE | TS | J | FS9J | T26 | M
65 | MARTINDALE | TS | Z | FS9Z | T25 | M
66 | BROCKVILLE | TS | B | NA24B | T1 | M
67 | BROCKVILLE | TS | Q | NA24Q | T2 | M
68 | MUSKOKA | TS | B | NA30B | T1 | M
69 | MUSKOKA | TS | Y | NA30Y | T2 | M
71 | WONDERLAND | TS | Y | NA32Y | T6 | M
74 | HANOVER | TS | B | NA36B | T1 | M
75 | HANOVER | TS | Y | NA36Y | T2 | M
85 | SHEPPARD | TS | Y | NA47Y | T4 | M
86 | ST.LAWRENC | TS | J | NA49J | T5 | M
87 | ST.LAWRENC | TS | Q | NA49Q | T6 | M
89 | LESLIE | TS | Y | NA51Y | T2 | M
90 | THORNTON | TS | B | NA52B | T3 | M
91 | THORNTON | TS | Y | NA52Y | T4 | M
95 | WILSON | TS | Y | NA54Y | T2 | M
99 | SEAFORTH | TS | B | NA61B | T1 | M
100 | SEAFORTH | TS | Q | NA61Q | T2 | M
101 | ST.ISIDOR | TS | B | NA62B | T3 | M
102 | ST.ISIDOR | TS | Y | NA62Y | T4 | M
103 | STRATFORD | TS | B | NA68B | T1 | M
104 | STRATFORD | TS | Y | NA68Y | T2 | M
106 | CLARKE | TS | Y | NA70Y | T4 | M
107 | BELLEVILLE | TS | B | NA78B | T1 | M
108 | BELLEVILLE | TS | Y | NA78Y | T2 | M
109 | CHERRYWOOD | TS | B | NA81B | T7 | M
110 | CHERRYWOOD | TS | Y | NA81Y | T8 | M
111 | MINDEN | TS | B | NA87B | T1 | S
112 | MINDEN | TS | Y | NA87Y | T2 | S
113 | RICHVIEW | TS | B | NA88B | T7 | M
114 | RICHVIEW | TS | Y | NA88Y | T8 | M
115 | DOUGLAS POINT | TS | D | NA95D | T4 | M
116 | DOUGLAS POINT | TS | J | NA95J | T3 | M
117 | SOUTH MARCH | TS | Q | NAA9Q | T1 | M
118 | SOUTH MARCH | TS | Y | NAA9Y | T2 | M
119 | ALLISTON | TS | B | NAC9B | T3 | M
120 | ALLISTON | TS | Y | NAC9Y | T4 | M
122 | HAWTHORNE | TS | J | NKL48J | T8 | M
123 | RAMORE | TS | B | NQ120B | T1 | N
124 | RED LAKE | TS | Y | NQV114Y | T3 | Y
125 | LONGLAC | TS | Z | NQV116Z | T2/T3 | Y
153 | WOODSTOCK | TS | B | NW10B | T1 | M
154 | WOODSTOCK | TS | Y | NW10Y | T2 | M
164 | WALLACEBURG | TS | B | NW1B | T1 | S
165 | WALLACEBURG | TS | Y | NW1Y | T2 | S
166 | TILLSONBURG | TS | B | NW20B | T1 | S
167 | TILLSONBURG | TS | Y | NW20Y | T3 | S
168 | CENTRALIA | TS | B | NW24B | T1/T2/T3 | S
169 | CENTRALIA | TS | Y | NW24Y | T1/T2/T3 | S
170 | STRATHROY | TS | B | NW29B | T1 | S
172 | GODERICH | TS | B | NW31B | T1/T2/T3 | S
173 | GODERICH | TS | Y | NW31Y | T1/T2/T3 | S
174 | AYLMER | TS | B | NW34B | T2/T3 | S
175 | WANSTEAD | TS | B | NW41B | T3 | S
176 | WANSTEAD | TS | Y | NW41Y | T1/T2 | S
183 | PORT ARTHUR #1 | TS | B1 | P2B1 | T1/T2 | M
186 | SIDNEY | TS | B | Q12B | T1 | M
187 | SIDNEY | TS | Q | Q12Q | T2 | M
189 | FRONTENAC | TS | B | Q3B | T4 | M
190 | FRONTENAC | TS | Y | Q3Y | T3 | M
197 | ARNPRIOR | TS | B | Q61B | T1 | M
198 | ARNPRIOR | TS | J | Q61J | T2 | M
203 | WHITEFISH | DS |  | FS36 | T1 | S
205 | MOUNTAIN CHUTE | DS |  | Q17 | T1 | N
206 | CRAIG | DS |  | Q68 | T1/T2 | S
207 | ORANGEVILLE | TS | B | NA22B | T3 | M
208 | ORANGEVILLE | TS | Y | NA22Y | T4 | M
210 | LAUZON | TS | Q | NA56Q | T6 | M
211 | AGINCOURT | TS | B | NA63B | T5/T6 | M
212 | AGINCOURT | TS | Y | NA63Y | T5/T6 | M
213 | LAMBTON | TS | Y | NA71Y | T6 | N
214 | BARRIE | TS | B | G13B | T1 | M
218 | CLEARWATER BAY | DS |  | FP40 | T1 | Y
219 | BURLEIGH | DS |  | FR31 | T1 | Y
220 | MASSEY | DS |  | FS40 | T1 | S
221 | TROUT LAKE | TS | B | FZ18B | T3 | M
222 | TROUT LAKE | TS | Y | FZ18Y | T4 | M
225 | ORILLIA | TS | B | NA92B | T1 | M
226 | ORILLIA | TS | Y | NA92Y | T2 | M
227 | PARRY SOUND | TS | B | NA77B | T1 | M
228 | PARRY SOUND | TS | Y | NA77Y | T2 | M
231 | FAIRCHILD | TS | B | NA80B | T1/T2 | M
232 | FAIRCHILD | TS | Y | NA80Y | T1/T2 | M
235 | DYMOND | TS | B | FT32B | T3 | M
241 | PERRAULT FALLS | DS |  | FP36 | T1 | N
242 | NESTOR FALLS | DS |  | FR24 | T1 | N
247 | ARDOCH | DS |  | Q74 | T1 | N
248 | PALERMO | TS | B | NAA4B | T3 | M
250 | SMITHS FALLS | TS | J | NAL82J | T4 | M
251 | SMITHS FALLS | TS | Y | NAL82Y | T3 | M
253 | COCHRANE WEST | DS |  | FA38 | T1 | S
254 | VALORA | DS |  | FP30 | T1 | N
255 | WAUBAUSHENE | TS | Q | NA98Q | T6 | M
256 | WALLACE | TS | Q | NAB8Q | T3 | S
257 | WALLACE | TS | Y | NAB8Y | T4 | S
263 | MAZINAW | DS |  | NAF2 | T1 | N
264 | WAUBAUSHENE | TS | J | NA98J | T5 | M
275 | HEARST | TS | B | FA21B | T3 | Y
277 | VERNER | DS |  | FS42 | T1/T2 | N
278 | FOREST LEA | DS |  | Q70 | T1/T2 | S
279 | CUMBERLAND | DS |  | Q78 | T1/T2 | S
284 | KINGSVILLE | TS | B | NW3B | T1/T3 | M
285 | KINGSVILLE | TS | Y | NW3Y | T2/T4 | M
286 | CHESTERVILLE | TS | B | Q73B | T1 | S
287 | CHESTERVILLE | TS | Y | Q73Y | T2 | S
288 | GARDINER | TS | B | NAH1B | T1 | M
289 | GARDINER | TS | Y | NAH1Y | T2 | M
293 | MEAFORD | TS | B | G51B | T1 | N
294 | MEAFORD | TS | Y | G51Y | T2 | N
298 | CROW RIVER | DS |  | FP21 | T1/T2 | Y
303 | WHITE RIVER | DS |  | P2736 | T1/T2 | Y
304 | DES JOACHIMS | DS |  | Q87 | T1/T2 | S
307 | CLARABELLE | TS | B | FL28B | T1 | M
308 | CLARABELLE | TS | Y | FL28Y | T2 | M
313 | PLEASANT | TS | J | NA42J | T1 | M
315 | SMOOTH ROCK FALLS | DS |  | FA33 | T1/T2 | N
316 | ROCKLAND EAST | DS |  | Q58 | T1/T2 | S
317 | PLEASANT | TS | Q | NA42Q | T2 | M
319 | WILSON | TS | J | NA54J | T3 | M
320 | WILSON | TS | Q | NA54Q | T4 | M
344 | LAMBTON | TS | D | NA71D | T5 | N
352 | DOBBIN | TS | B | Q20B | T3 | M
353 | DOBBIN | TS | Y | Q20Y | T4 | M
354 | LODGEROOM | DS |  | Q38 | T1/T2 | N
356 | PORT HOPE | TS | B | Q50B | T4 | M
357 | PORT HOPE | TS | Y | Q50Y | T3 | M
361 | LARCHWOOD | TS | T2 | FS32T2 | T2 | S
362 | KAPUSKASING | TS | E | FA27E | T6 | N
363 | KAPUSKASING | TS | Z | FA27Z | T5 | N
364 | WINGHAM | TS | B | NAF8B | T1 | M
365 | WINGHAM | TS | Y | NAF8Y | T2 | M
366 | LAUZON | TS | E | NA56E | T7 | M
367 | LAUZON | TS | J | NA56J | T8 | M
368 | MANITOULIN | TS | J | NQF11J | T3 | S
369 | MANITOULIN | TS | Q | NQF11Q | T4 | S
371 | OAKVILLE #2 | TS | E | NAR22E | T5/T6 | M
372 | OAKVILLE #2 | TS | Z | NAR22Z | T5/T6 | M
374 | GRAND BEND EAST | DS |  | NQW6102 | T1/T2 | S
375 | LONGUEUIL | TS | J | NAL26J | T3 | M
376 | LONGUEUIL | TS | Q | NAL26Q | T4 | M
381 | ARMITAGE | TS | E | NA41E | T3 | M
382 | ARMITAGE | TS | J | NA41J | T1 | M
383 | ARMITAGE | TS | Q | NA41Q | T2 | M
384 | ARMITAGE | TS | Y | NA41Y | T4 | M
385 | LINDSAY | TS | B | NAD4B | T1 | M
386 | LINDSAY | TS | Y | NAD4Y | T2 | M
392 | FOREST JURA | DS |  | NQW4002 | T1/T2 | S
395 | KENT | TS | B | NAF5B | T1/T2 | M
396 | KENT | TS | Y | NAF5Y | T1/T2 | M
397 | MALDEN | TS | B | NAW24B | T1/T2 | M
398 | MALDEN | TS | Y | NAW24Y | T1/T2 | M
399 | MARGACH | DS |  | FP24 | T1/T2 | N
400 | MINAKI | DS |  | FP37 | T1/T2 | N
401 | STRIKER | DS |  | NQF3401 | T1/T2 | Y
409 | ALMONTE | TS | J | NAL20J | T3 | N
410 | ALMONTE | TS | Q | NAL20Q | T4 | N
411 | HAVELOCK | TS | B | NA57B | T1 | M
412 | HAVELOCK | TS | Y | NA57Y | T2 | M
413 | PICTON | TS | B | NAL28B | T1 | M
414 | PICTON | TS | Y | NAL28Y | T2 | M
426 | INGERSOLL | TS | E | NAW38E | T5/T6 | M
427 | INGERSOLL | TS | Z | NAW38Z | T5/T6 | M
428 | OWEN SOUND | TS | J | NAC2J | T3 | M
429 | OWEN SOUND | TS | Q | NAC2Q | T4 | M
444 | FERGUS | TS | B | NA73B | T3 | M
445 | FERGUS | TS | Y | NA73Y | T4 | M
448 | FAIRCHILD | TS | J | NA80J | T3/T4 | M
449 | FAIRCHILD | TS | Q | NA80Q | T3/T4 | M
452 | CALEDONIA | TS | B | NAN27B | T1 | M
453 | CALEDONIA | TS | Y | NAN27Y | T2 | M
454 | LAKE | TS | B | NAN29B | T1 | M
459 | LAKE | TS | Y | NAN29Y | T2 | M
464 | ALLANBURG | TS | B | NAW45B | T8 | M
465 | ALLANBURG | TS | Y | NAW45Y | T7 | M
466 | JARVIS | TS | B | NAW57B | T3 | M
467 | JARVIS | TS | Y | NAW57Y | T4 | M
470 | BEAMSVILLE | TS | B | NF18B | T4 | N
471 | BEAMSVILLE | TS | Y | NF18Y | T3 | N
473 | MURRAY | TS | Y2 | NF3Y2 | T12 | M
480 | CROWLAND | TS | Q | NF41Q | T6 | M
481 | CROWLAND | TS | Y | NF41Y | T5 | M
485 | THOROLD | TS | E | NF44E | T2 | M
486 | THOROLD | TS | Q | NF44Q | T1 | M
530 | BRANT | TS | B | NW12B | T1 | M
531 | BRANT | TS | Y | NW12Y | T2 | M
534 | PALMERSTON | TS | B | NW28B | T1/T2/T3 | S
535 | PALMERSTON | TS | Y | NW28Y | T1/T2/T3 | S
536 | DUNDAS | TS | B | NW2B | T1/T2 | M
537 | DUNDAS | TS | Y | NW2Y | T1/T2 | M
540 | BRAMALEA | TS | J | NA74J | T3 | M
541 | BRAMALEA | TS | Q | NA74Q | T4 | M
542 | EDGEWARE | TS | B | NAW27B | T1/T2 | M
543 | EDGEWARE | TS | Y | NAW27Y | T1/T2 | M
548 | OTTO HOLDEN | TS | Y | NA6Y | T3 | Y
549 | IROQUOIS FALLS | DS |  | NQF3003 | T1/T2 | S
555 | WENDOVER | DS |  | NQL4801 | T1/T2 | S
558 | WHARNCLIFFE | DS |  | NQF3404 | T1 | Y
559 | MARIONVILLE | DS |  | NQL4901 | T1 | S
560 | AGIMAK | DS |  | NQV2001 | T1/T2 | N
561 | SAM LAKE | DS |  | NQV2501 | T1/T2 | N
564 | CRYSTAL FALLS | TS | E | FL7E | T5 | M
565 | CRYSTAL FALLS | TS | Z | FL7Z | T6 | M
568 | CONSTANCE | DS |  | NQW1901 | T1/T2 | S
573 | NEWINGTON | DS |  | NQL4902 | T1 | S
574 | PIC | DS |  | NQV1504 | T1/T2 | Y
575 | BILBERRY CREEK | TS | B | Q77B | T1 | M
576 | BILBERRY CREEK | TS | Y | Q77Y | T2 | M
577 | MALVERN | TS | J | NAR26J | T3/T4 | M
591 | KEITH | TS | B | NA23B | T23 | M
592 | KEITH | TS | Y | NA23Y | T22 | M
604 | DUNNVILLE | TS | Q | NF31Q | T2 | Y
648 | Puslinch | DS |  | NQR2603 | T1/T2 | M
633 | TILBURY | TS | T1 | NW30T1 | T1 | N
635 | ELMIRA | TS | Y | NW33Y | T1/T2 | S
644 | COBDEN | DS |  | QM23 | T3 | S
647 | DOBBIN | DS |  | NQR2001 | T1/T2 | S
648 | Puslinch | DS |  | NQR2603 | T1/T2 | M
649 | STEWARTVILLE | TS | Q | Q10Q | T6 | M
650 | STEWARTVILLE | TS | Z | Q10Z | T7 | M
662 | TILBURY WEST | DS |  | NQW2301 | T1/T2 | N
666 | CAT LAKE | MTS |  | FP107 | T1 | Y
667 | WARDEN | TS | Q | NAR43Q | T3/T4 | M
668 | WARDEN | TS | J | NAR43J | T3/T4 | M
674 | MIDHURST | TS | B | NAG23B | T1 | M
675 | MIDHURST | TS | Y | NAG23Y | T2 | M
696 | PORT HOPE | TS | J | Q50J | T1 | M
697 | PORT HOPE | TS | Q | Q50Q | T2 | M
698 | BEARDMORE #2 | DS |  | NQV401 | T1/T2 | Y
699 | KLEINBURG | TS | J | NAR45J | T1 | M
700 | KLEINBURG | TS | Q | NAR45Q | T2 | M
701 | BRAMALEA | TS | E | NA74E | T6 | M
702 | BRAMALEA | TS | Z | NA74Z | T5 | M
704 | HALTON | TS | Q | NAR41Q | T3/T4 | M
707 | KLEINBURG | TS | B | NAR45B | T1 | M
708 | KLEINBURG | TS | Y | NAR45Y | T2 | M
710 | MORRISBURG | TS | Q | QL18Q | T4 | M
711 | CROSBY | TS | B | NAL23B | T1 | S
712 | CROSBY | TS | Y | NAL23Y | T2 | S
713 | MORRISBURG | TS | J | QL18J | T3 | M
715 | OTONABEE | TS | B | NAL128B | T2 | M
716 | OTONABEE | TS | Y | NAL128Y | T1 | M
724 | SPANISH | DS |  | NQF3406 | T1 | S
725 | ETON | DS |  | NQV3402 | T1/T2 | N
726 | MURILLO | DS |  | NQV1206 | T1/T2 | N
740 | BUCHANAN | TS | B | NAW19B | T13/T14 | M
755 | ORANGEVILLE | TS | E | NA22E | T2 | M
756 | ORANGEVILLE | TS | J | NA22J | T2 | M
757 | ORANGEVILLE | TS | Q | NA22Q | T1 | M
758 | ORANGEVILLE | TS | Z | NA22Z | T1 | M
759 | BEAVERTON | TS | J | NA31J | T4 | M
760 | BEAVERTON | TS | Q | NA31Q | T3 | M
763 | RICHVIEW | TS | Q | NA88Q | T5/T6 | M
765 | BROWN HILL | TS | B | NAR132B | T1 | M
766 | BROWN HILL | TS | Y | NAR132Y | T2 | M
769 | NEBO | TS | B | NAR157B | T1/T2 | M
770 | NEBO | TS | Y | NAR157Y | T1/T2 | M
776 | WHITBY | TS | Q | NAR40Q | T4 | M
783 | LONGWOOD | TS | J | NKW52J | T13 | M
784 | LONGWOOD | TS | Q | NKW52Q | T14 | M
786 | LAFOREST ROAD | DS |  | NQF3024 | T1 | N
787 | HOYLE | DS |  | NQF3026 | T1 | N
788 | GREELY | DS |  | NQL123 | T1/T2 | S
790 | SLATE FALLS | DS |  | NQV3414 | T1 | Y
819 | MANITOUWADGE | TS | Q | P13Q | T1 | Y
849 | WILHAVEN | DS |  | NQL4814 | T1/T2 | S
860 | JELLICOE #3 | DS |  | NQ66 | T1 | Y
862 | ALLISTON | TS | T2 | NAC9T2 | T2 | S
863 | BRACEBRIDGE | TS | B | NAG24B | T1 | N
864 | MURRAY | TS | J | NF3J | T13/T14 | M
868 | KENT | TS | E | NAF5E | T3/T4 | M
869 | CROSBY | TS | Q | NAL23Q | T3 | S
870 | TRAFALGAR | TS | B | NK31B | T2 | M
871 | TRAFALGAR | TS | Y | NK31Y | T1 | M
882 | HIGHBURY | TS | Y | NW4Y | T3 | M
883 | PEMBROKE | TS | B | Q6B | T1 | M
884 | PEMBROKE | TS | Y | Q6Y | T2 | M
898 | DUNDAS #2 | TS | J | NQ117J | T5 | M
899 | DUNDAS #2 | TS | Q | NQ117Q | T6 | M
901 | RED LAKE | TS | B | NQV114B | T4 | Y
904 | COBDEN | TS |  | Q23M6 | T1 | S
905 | COBDEN | TS |  | Q23M2 | T2 | S
911 | BLOOMSBURG | DS |  | NQ7000 | T1/T2 | M
914 | HEARST | TS | Y | FA21Y | T4 | Y
915 | EAR FALLS | DS |  | FP41 | T5 | M
918 | CALSTOCK | DS |  | NQ3363 | T1 | Y
919 | CRILLY | DS |  | FR23 |  | Y
920 | WHITEDOG | DS |  | 08221 |  | N
921 | BELLE RIVER | TS | B | NQ143B | T1 | M
922 | BELLE RIVER | TS | Q | NQ143Q | T2 | M
927 | ABITIBI CANYON | DS |  | FA1231 | T1 | Y
929 | AGUASABON | DS |  | P27 | T2/T3 | M
937 | EVERETT | TS | B | NA138B | T1 | M
938 | EVERETT | TS | Y | NA138Y | T2 | M
953 | HOLLAND | TS | B | NA153B | T1 | M
954 | HOLLAND | TS | Y | NA153Y | T2 | M
955 | STAYNER | TS | Y | NA234Y | T3 | M
956 | GARDINER | TS | J | NAH1J | T4 | M
957 | GARDINER | TS | Q | NAH1Q | T3 | M
958 | STAYNER | TS | B | NA234B | T4 | M
1441 | DUART | TS | B | NA247B | T1/T2 | M
1442 | DUART | TS | Y | NA247Y | T1/T2 | M
1461 | KENT | TS | Z | NAF5Z | T3/T4 | M
1541 | COMMERCE WAY | TS | B | NQ278B | T1 | M
1542 | COMMERCE WAY | TS | Y | NQ278Y | T2 | M
1562 | KEEWATIN | DS |  | NQ260 | T1 | Y
1661 | GODERICH | TS | Z | NW31Z | T4 | S
1701 | BARWICK | TS | B | NQ263B | T1 | N
1702 | BARWICK | TS | Y | NQ263Y | T2 | N
1741 | ORLEANS | TS | J | NA325J | T2 | N
1742 | ORLEANS | TS | Q | NA325Q | T1 | N

## SAIDI SAIFI Summary
| T-SAIDI-mc | T-SAIFI-mc | T-SAIDI-sc | T-SAIFI-sc
2006 | 22.6974 | 0.39405 | 142.3182 | 4.4265
2007 | 4.9452 | 0.30499 | 120.054 | 3.694
2008 | 5.5429 | 0.30723 | 152.1656 | 4.1998
2009 | 19.7188 | 0.42087 | 79.3357 | 2.8176
2010 | 9.2591 | 0.33564 | 156.1015 | 2.9571
2011 | 8.8062 | 0.32939 | 409.4145 | 3.2453
2012 | 6.9016 | 0.28377 | 229.73 | 3.6482
2013 | 12.8408 | 0.30341 | 195.7898 | 3.5986
2014 | 11.5417 | 0.35815 | 97.6806 | 2.827
2015 | 10.3978 | 0.35365 | 126.192 | 2.8563