## Figure 3
Table 3: Load Forecast Before and After Embedded Generation and CDM
(12-Month Average Peak in MW)
Charge Determinants
| Ontario | Network | Line | Transformation
| Demand | Connection | Connection | Connection
Year | (MW) | (MW) | (MW) | (MW)
Load Forecast before Deducting Impacts of Embedded Generation and CDM
2015 | 22353 | 22389 | 21622 | 18479
2016 | 22606 | 22642 | 21862 | 18685
2017 | 22784 | 22820 | 22034 | 18832
2018 | 23105 | 23142 | 22344 | 19096
Load Impact of Embedded Generation
2015 | 716 | 717 | 655 | 560
2016 | 735 | 736 | 673 | 575
2017 | 773 | 774 | 709 | 606
2018 | 803 | 805 | 737 | 630
Load Impact of CDM
2015 | 1434 | 1436 | 1390 | 1188
2016 | 1638 | 1641 | 1584 | 1354
2017 | 1638 | 1641 | 1584 | 1354
2018 | 1924 | 1927 | 1860 | 1590
Load Forecast after Deducting Embedded Generation and CDM
2015 | 20203 | 20236 | 19576 | 16731
2016 | 20233 | 20265 | 19605 | 16756
2017 | 20373 | 20405 | 19741 | 16872
2018 | 20378 | 20410 | 19746 | 16876
Note: All figures are weather-normal.

## Figure 4
Table 4: One Standard Deviation Uncertainty Bands for Hydro One Transmission’s
Charge Determinants (Using Current Rates) (MW)
Year | Lower Band | Forecast | Upper Band
Network
2015 (Actual) | 20236 | 20236 | 20236
2016 | 19895 | 20265 | 20639
2017 | 19916 | 20405 | 20897
2018 | 19862 | 20410 | 20956
Line Connection
2015 (Actual) | 19576 | 19576 | 19576
2016 | 19248 | 19605 | 19964
2017 | 19267 | 19741 | 20216
2018 | 19218 | 19746 | 20275
Transformation Connection
2015 (Actual) | 16731 | 16731 | 16731
2016 | 16452 | 16756 | 17063
2017 | 16467 | 16872 | 17278
2018 | 16425 | 16876 | 17325