| Exh. J | Union Gas Limited EB-2016-0186 Technical Conference DATE October 4, 2016 Undertakings | Date Filed |
| --- | --- | --- |
| JT1.1 | TO FILE THE UPDATED SCHEDULE IN LPMA 17 AND ALSO REFILE THE FRPO 9(C) SHOWING THE CORRECTION | Oct. 14/16 |
| JT1.2 | FRPO PRE-FILED TECHNICAL CONFERENCE QUESTIONS | Oct. 14/16 |
| JT1.3 | TO PROVIDE A COPY OF THE SCHEMATIC FOR THE SUMMER MONTHS | Oct. 14/16 |
| JT1.4 | TO PROVIDE THE ACTUAL CONSUMPTION BY THE AGGREGATE OF ELECTRICITY GENERATORS IN THE WINDSOR MARKET FOR THE SUMMERS OF 2013, 2014 AND 2015 | Oct. 14/16 |
| JT1.5 | TO PROVIDE INFORMATION RELATED TO THE CALCUMATION OF LIKELY MINIMUMS | Oct. 14/16 |
| JT1.6 | TO ADVISE HOW MUCH MORE VOLUME COULD BE MOVED THROUGH SANDWICH NOT HOLDING 115 CONSTANT; I.E., HOW MUCH MORE GAS COULD YOU TAKE IN AT OJIBWAY IF YOU ADDED A SECOND COMPRESSOR UNIT. |  |
| JT1.7 JT1.8 | TO PROVIDE A HIGH-LEVEL COST ESTIMATE FOR A SECOND COMPRESSOR AT SANDWICH TO PROVIDE THE WINTER FLOW SCHEMATIC SHOWING THE MAXIMUM RECEIPT OF 140 tJS FOR BOTH 2017 AND 2021 USING FORECASTED DEMAND UNDERPINNING THE APPLICATION WITH EXISTING FACILITIES; IN OTHER WORDS, WITHOUT THE PANHANDLE REINFORCEMENT |  |

| JT1.18 JT1.19 JT1.20 JT1.21 JT1.22 JT1.23 JT1.24 | TO ANSWER 11 AND 12 AS WELL AS POSSIBLE FOCUSING ON THE CURRENT AND SEEING WHAT YOU HAVE FOR THE PAST TO SHOW THE SIMULATION THAT GIVES THE SPECIFIED INFORMATION WITH REFERENCE TO THE CHART AT 1(J), TO CLARIFY WHETHER THE INCREASING VOLUME IS LIKELY TO SHOW UP IN THE LARGE INDUSTRIAL LINE ITEM, OR IN SMALL INDUSTRIAL, OR A COMBINATION TO ADVISE WHETHER PROPANE AERATION IS A VIABLE ALTERNATIVE TO MEET THE FORECASTED DEMAND THAT IS AT ISSUE IN THIS APPLICATION TO BREAK DOWN THE COST OF THE FACILITY INSTALLATION VERSUS THE NECESSARY UPGRADES. ALSO TO ADVISE IF UNION HAS A BREAKDOWN FOR THE ATTRIBUTION OF THE COST TO ALL OF THE VARIOUS REQUIREMENTS THAT ARE INDICATED IN THE CHART TO PROVIDE THE WORK-UP THAT WAS DONE TO ASSESS THE COST OF THE CNG ALTERNATIVE, INCLUDING ANY ASSUMPTIONS THAT GO INTO THAT COST TO PROVIDE A RESPONSE TO STAFF QUESTIONS 1(A) AND (B) THAT WERE PRE-FILED | Oct. 4/16 Oct. 4/16 |
| --- | --- | --- |
| JT1.9 JT1.10 JT1.11 JT1.12 JT1.13 JT1.14 JT1.15 JT1.16 JT1.17 | TO PROVIDE THE DEGREE DAYS EXPERIENCED AND THE DAILY CONSUMPTION IN THE WINTER MARKET SEPARATED BETWEEN ELECTRICITY GENERATION AND NON-GENERATION LOAD FOR THE WINTER PERIOD, SPECIFICALLY NOVEMBER TO MARCH, FOR THE LAST THREE YEARS, IN AN EXCEL SPREADSHEET FORMAT TO PROVIDE THE CLARIFICATION WITH RESPECT TO FRPO 20, WHICH IS THE SEPARATION BETWEEN OJIBWAY AND DAWN WITH RESPECT TO THE ACTUAL FLOWS (A) TO ADVISE WHAT IS FLOWING AT OJIBWAY AND WHO IS FLOWING IT; (B) TO PROVIDE THE MONTHLY AND SPOT GAS PURCHASE; WHAT WAS SCHEDULED AND NOMINATED BY UNION IN THAT PERIOD TO CONFIRM THE CALCULATIONS IN FRPO 3B, QUESTION 7 OF EXHIBIT CT1.2 TO CHECK TO SEE IF ANY OF THE SPOT OR MONTHLY PURCHASES WERE SCHEDULED THROUGH OJIBWAY TO PROVIDE THE NET ALTERNATE COST FOR ALL FOUR WINTERS TO PROVIDE THE RECEIPTS FOR HUB CONTRACTS AT OJIBWAY TO CLARIFY THE CALCULATION THAT RELATED TO THE COLUMN IDENTIFIED AS TRANSPORTATION TOLLS, THE TABLES SET OUT IN FRPO 17 TO SPECIFY THE EXPECTED SYSTEM GROWTH IN THE WINDSOR AREA | Oct. 14/16 Oct. 14/16 Oct. 14/16 Oct. 14/16 Oct. 14/16 Oct. 14/16 Oct. 14/16 Oct. 14/16 Oct. 14/16 |