{"text_format":"1","workbook":"xlsx","n_sheets":13,"sheets":["Admin","Monthly Data","OLS Model","Forecasting Data","Predicted Monthly Data","Predicted Monthly Data Summ","PredictedAnnualDataSumm","PredictedAnnualDataSumm2","Normalized Monthly Data","Normalized Monthly Data Summ","NormalizedAnnualDataSumm","NormalizedAnnualDataSumm2","Summary T Stats"],"not_rendered":{"charts":5,"images":0,"macros":1,"external_links":0,"defined_names":7,"comments":0,"pivot_tables":3},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Admin","index":0,"n_rows":37,"n_cols":28,"rows_kept":37,"cut":false,"hidden":false,"merged":[]}
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Year","Month"]
["Model","WSkWh",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1995,1]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1996,2]
["Actual","Year","Month",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1997,3]
["From Date",2006,1,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1998,4]
["To Date",2015,12,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1999,5]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2000,6]
["Forecast Term",2,"Years",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2001,7]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2002,8]
["Forecast","Year","Month",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2003,9]
["From Date",2016,1,null,"Months",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2004,10]
["To Date",2017,12,null,{"$f":"MyMonthsCount(B11,C11,B12,C12)","v":24},null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2005,11]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2006,12]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2007]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2008]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2009]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2010]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2011]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2012]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2013]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2014]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2015]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2016]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2017]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2018]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2019]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2020]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2021]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2022]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2023]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2024]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2025]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2026]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2027]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2028]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2029]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2030]

{"sheet":"Monthly Data","index":1,"n_rows":121,"n_cols":8,"rows_kept":121,"cut":false,"hidden":false,"merged":[]}
["Date","WSkWh","LonHDD","LonCDD","MonthDays","PeakDays","Year","Population"]
["2006-01-01",293367364.21543998,554.70000000000005,0,31,21,{"$f":"YEAR(A2)","v":2006},631343.79721311864]
["2006-02-01",273298001.47376001,609.29999999999995,0,28,20,{"$f":"YEAR(A3)","v":2006},631751.85800062038]
["2006-03-01",286819878.50223202,545.70000000000005,0,31,23,2006,632160.18253286323]
["2006-04-01",252565044.23746601,286.10000000000002,0,30,18,2006,632568.77098031505]
["2006-05-01",269392545.02871197,151.9,22.9,31,22,2006,632977.62351355399]
["2006-06-01",287975078.90693802,26.7,44.4,30,22,2006,633386.74030326842]
["2006-07-01",333043063.74960798,3.3,133.69999999999999,31,20,2006,633796.12152025709]
["2006-08-01",312185503.224558,5.3,68.2,31,22,2006,634205.76733542909]
["2006-09-01",260653838.61909801,98.5,5,30,20,2006,634615.67791980389]
["2006-10-01",270564368.43940598,307.89999999999998,0.7,31,21,2006,635025.85344451177]
["2006-11-01",272439193.46248603,383.4,0,30,22,2006,635436.29408079328]
["2006-12-01",288148645.78619999,511.9,0,31,19,2006,635846.99999999988]
["2007-01-01",300073559.97788602,655.6,0,31,22,2007,636023.3972679982]
["2007-02-01",289732838.43879998,758.7,0,28,20,2007,636199.84347229102]
["2007-03-01",288143354.59762597,527,0,31,22,2007,636376.33862645447]
["2007-04-01",260543396.47679999,371.1,0,30,19,2007,636552.88274406828]
["2007-05-01",268501831.21296602,131.9,22.7,31,22,2007,636729.47583871591]
["2007-06-01",304679126.96210599,23.2,70.2,30,21,2007,636906.11792398465]
["2007-07-01",302183688.77514601,11.3,71.599999999999994,31,21,2007,637082.80901346542]
["2007-08-01",317756806.98433799,11.5,89.1,31,22,2007,637259.54912075307]
["2007-09-01",280873709.66341197,61,35,30,19,2007,637436.3382594462]
["2007-10-01",275821162.12958002,149.9,21.5,31,22,2007,637613.17644314712]
["2007-11-01",274311353.64484,468.7,0,30,22,2007,637790.063685462]
["2007-12-01",294695847.80001998,657,0,31,19,2007,637967.0000000007]
["2008-01-01",301541879.89762002,639,0,31,22,2008,638231.89422591403]
["2008-02-01",286013196.38046002,692.5,0,29,20,2008,638496.89844019886]
["2008-03-01",285378792.27587998,627.29999999999995,0,31,19,2008,638762.01268852339]
["2008-04-01",255049710.73708001,265,0,30,22,2008,639027.23701657553]
["2008-05-01",248546059.22372001,208.8,2.1,31,21,2008,639292.57147006213]
["2008-06-01",287944901.33534002,24.1,66.400000000000006,30,21,2008,639558.01609470916]
["2008-07-01",319461681.27983999,4,97,31,22,2008,639823.57093626133]
["2008-08-01",293716156.25855798,12.4,53.2,31,20,2008,640089.23604048265]
["2008-09-01",283916906.35448599,56.7,21.4,30,21,2008,640355.01145315578]
["2008-10-01",262065574.00648001,286.8,0,31,22,2008,640620.8972200827]
["2008-11-01",268677317.44528002,468.3,0,30,20,2008,640886.89338708424]
["2008-12-01",298039893.54677999,671,0,31,21,2008,641153.00000000035]
["2009-01-01",307276829.89279997,849.6,0,31,21,2009,641315.60632433277]
["2009-02-01",264065998.38260001,612.70000000000005,0,28,19,2009,641478.25388814614]
["2009-03-01",278082458.00470001,533.29999999999995,0,31,22,2009,641640.9427018991]
["2009-04-01",250781054.79998001,307,3.2,30,20,2009,641803.67277605331]
["2009-05-01",250742745.14269,156.9,3.1,31,20,2009,641966.444121073]
["2009-06-01",265479494.76989001,49.7,35.5,30,22,2009,642129.25674742507]
["2009-07-01",274906308.27781999,20.2,29.4,31,22,2009,642292.11066557909]
["2009-08-01",300712862.66684002,17.899999999999999,71.900000000000006,31,20,2009,642455.00588600745]
["2009-09-01",263969677.20096001,71.2,15.9,30,21,2009,642617.94241918484]
["2009-10-01",258962858.78830001,301.2,0,31,21,2009,642780.92027558899]
["2009-11-01",258162607.58963999,356.7,0,30,21,2009,642943.93946569995]
["2009-12-01",292766418.03745002,637.29999999999995,0,31,21,2009,643107.0000000007]
["2010-01-01",301373371.72127002,733.1,0,31,20,2010,643459.18727764953]
["2010-02-01",268164437.27344999,633.4,0,28,19,2010,643811.56742503692]
["2010-03-01",269584961.72100997,450.2,0,31,23,2010,644164.14054778428]
["2010-04-01",242909549.61668,236.4,0,30,20,2010,644516.90675157146]
["2010-05-01",269054896.24094999,121.1,34.9,31,20,2010,644869.86614213616]
["2010-06-01",288397187.62551999,23.6,57.5,30,22,2010,645223.01882527408]
["2010-07-01",334725938.08823001,5.6,129.69999999999999,31,21,2010,645576.36490683886]
["2010-08-01",325611196.93184,6,121.7,31,21,2010,645929.90449274203]
["2010-09-01",264224371.98183998,87.9,24.1,30,21,2010,646283.63768895308]
["2010-10-01",254480106.5099,239.5,0,31,20,2010,646637.56460149959]
["2010-11-01",262982872.56432,413.6,0,30,22,2010,646991.68533646734]
["2010-12-01",293281443.41191,713.5,0,31,21,2010,647346]
["2011-01-01",300666159.26084,798.8,0,31,20,2011,647679.71882858081]
["2011-02-01",269236699.82142001,677.8,0,28,19,2011,648013.60969538626]
["2011-03-01",282763557.58645999,599.6,0,31,23,2011,648347.67268910515]
["2011-04-01",251072267.56657001,330.4,0,30,19,2011,648681.90789847216]
["2011-05-01",259668932.37447,126.4,17.399999999999999,31,21,2011,649016.31541226769]
["2011-06-01",278903469.94766003,27,39.6,30,22,{"$f":"YEAR(A67)","v":2011},649350.89531931782]
["2011-07-01",342682880.64267004,0,160.9,31,20,2011,649685.64770849433]
["2011-08-01",311408949.97279,1.5,82.9,31,22,2011,650020.57266871503]
["2011-09-01",270531205.43578005,71.900000000000006,29,30,21,2011,650355.67028894357]
["2011-10-01",257212837.85677001,234.6,0,31,20,2011,650690.94065818924]
["2011-11-01",256512690.70552,347.9,0,30,22,2011,651026.38386550744]
["2011-12-01",277881320.22968,548.4,0,31,20,2011,651361.99999999942]
["2012-01-01",290374956.02315003,644.79999999999995,0,31,21,2012,651876.26101622346]
["2012-02-01",265047531.93023002,553,0,29,20,2012,652390.92804998066]
["2012-03-01",264589708.49737003,331.1,2.2000000000000002,31,22,2012,652906.0014218291]
["2012-04-01",241856924.93334001,334.6,0,30,19,2012,653421.48145257949]
["2012-05-01",264293073.48114002,87.2,28.5,31,22,2012,653937.36846329563]
["2012-06-01",290940514.11059999,28.2,81.7,30,21,2012,654453.66277529486]
["2012-07-01",340196199.36287999,0,161,31,21,2012,654970.36471014831]
["2012-08-01",304061556.83872002,7.8,79.599999999999994,31,22,2012,655487.4745896809]
["2012-09-01",261393756.03505,103.4,27.7,30,19,2012,656004.9927359717]
["2012-10-01",253052401.80328,250.5,0.7,31,22,2012,656522.91947135399]
["2012-11-01",260224799.99487001,420.4,0,30,22,2012,657041.25511841557]
["2012-12-01",271295249.79123002,535.9,0,31,19,2012,657559.99999999907]
["2013-01-01",288991701.29513001,657.4,0,31,22,2013,657954.1148766852]
["2013-02-01",262888750.95611,657,0,28,19,2013,658348.4659698921]
["2013-03-01",276366259.18483996,581.9,0,31,20,2013,658743.05342119944]
["2013-04-01",251523569.77759001,362.2,0,30,21,2013,659137.87737227057]
["2013-05-01",259256155.34336001,122.2,27,31,22,2013,659532.93796485395]
["2013-06-01",276460042.34591997,41.1,52.7,30,20,2013,659928.23534078291]
["2013-07-01",321327185.60056001,7.1,112.9,31,22,2013,660323.76964197587]
["2013-08-01",294037259.60016,18.399999999999999,63.4,31,21,2013,660719.54101043625]
["2013-09-01",263616852.67688,94.9,26,30,20,2013,661115.54958825244]
["2013-10-01",260620451.12983999,226.6,2.6,31,22,2013,661511.79551759828]
["2013-11-01",264051626.00784001,492.1,0,30,21,2013,661908.27894073271]
["2013-12-01",286523069.48232001,687.7,0,31,20,2013,662304.99999999977]
["2014-01-01",305527740.50727999,843.9,0,31,22,2014,662715.6798430573]
["2014-02-01",270783682.37704003,790,0,28,19,2014,663126.6143390818]
["2014-03-01",288299673.04279995,716.8,0,31,21,2014,663537.80364597798]
["2014-04-01",244855513.01592001,353.8,0,30,20,2014,663949.24792174809]
["2014-05-01",251891961.47196001,142.5,12.2,31,21,2014,664360.94732449227]
["2014-06-01",283978631.817375,19.7,71.900000000000006,30,21,2014,664772.90201240883]
["2014-07-01",286546351.34231502,21.5,47.6,31,22,2014,665185.11214379419]
["2014-08-01",283846898.55574501,14.5,53.4,31,20,2014,665597.57787704282]
["2014-09-01",261882965.454395,86.2,17.600000000000001,30,21,2014,666010.29937064752]
["2014-10-01",246291396.49902502,247.1,0,31,22,2014,666423.27678319928]
["2014-11-01",259203542.59719998,503.7,0,30,20,2014,666836.51027338742]
["2014-12-01",264968874.82748997,567.5,0,31,21,2014,667249.99999999965]
["2015-01-01",295598619.00983995,812.9,0,31,21,2015,667637.09581631713]
["2015-02-01",273784130.83127999,872.9,0,28,19,2015,668024.41620089347]
["2015-03-01",274934256.05799997,640.1,0,31,22,2015,668411.96128400927]
["2015-04-01",243458062.73736,336.6,0,30,20,2015,668799.73119602026]
["2015-05-01",259161560.15008003,104.7,34.9,31,20,2015,669187.72606735781]
["2015-06-01",267546627.47380927,29.7,30.4,30,22,2015,669575.94602852897]
["2015-07-01",301589192.47099692,7,76.400000000000006,31,22,2015,669964.39121011633]
["2015-08-01",290629200.91832,14,61.6,31,20,2015,670353.06174277852]
["2015-09-01",282605551.88294774,34.6,54.2,30,21,2015,670741.95775724982]
["2015-10-01",248709445.01775387,254.9,0,31,21,2015,671131.07938434032]
["2015-11-01",248717807.65306461,353.2,0,30,21,2015,671520.42675493611]
["2015-12-01",260362308.73120618,447.8,0,31,21,2015,671909.99999999919]

{"sheet":"OLS Model","index":2,"n_rows":23,"n_cols":7,"rows_kept":23,"cut":false,"hidden":false,"merged":[]}
["SUMMARY OUTPUT"]
[]
["Regression Statistics"]
["Multiple R",0.94941090291567365]
["R Square",0.90138106257515471]
["Adjusted R Square",0.89614465881808325]
["Standard Error",7106331.2551118769]
["Observations",120]
[]
["ANOVA"]
[null,"df","SS","MS","F","Significance F"]
["Regression",6,5.21575820478874E+16,8692930341314567,172.13742568225317,1.9770663778877977E-54]
["Residual",113,5706493661533933,50499943907379.937]
["Total",119,5.7864075709421336E+16]
[]
[null,"Coefficients","Standard Error","t Stat","P-value","Lower 95%","Upper 95%"]
["WSkWh",6733221371.4646521,2556969472.39153,2.6332818769115298,9.6403391104529831E-3,1667403673.1396818,11799039069.789623]
["LonHDD",68114.5097980625,3491.4931918908492,19.508704744509178,5.6693763522810256E-38,61197.232061258343,75031.787534866657]
["LonCDD",727412.17109006899,24630.939088859704,29.532457876081114,5.8351982111793056E-55,678613.83833328122,776210.50384685677]
["MonthDays",4684014.5228133099,892586.4116721584,5.2476874637138442,7.2876146837720908E-7,2915639.8549280195,6452389.1906986004]
["PeakDays",2081359.1496618816,661898.00688877353,3.1445315260053905,2.1258347865767183E-3,770019.81847813283,3392698.4808456302]
["Year",-3460144.2139761862,1377730.3391335942,-2.5114814675215387,1.3435735755491365E-2,-6189676.5024373643,-730611.92551500769]
["Population",426.0441579426784,336.58643050394852,1.2657793640248383,0.2081956033718079,-240.79426741723256,1092.8825833025894]

{"sheet":"Forecasting Data","index":3,"n_rows":25,"n_cols":8,"rows_kept":25,"cut":false,"hidden":false,"merged":[]}
["Date","WSkWh","LonHDD","LonCDD","MonthDays","PeakDays","Year","Population"]
["2016-01-01",null,718.98,0,31,20,{"$f":"YEAR(A2)","v":2016},672300.69559703395]
["2016-02-01",null,685.73,0,29,20,{"$f":"YEAR(A3)","v":2016},672691.61837188865]
["2016-03-01",null,555.29999999999995,0.22,31,21,2016,673082.76845666114]
["2016-04-01",null,318.32,0.32,30,21,2016,673474.14598352544]
["2016-05-01",null,135.36000000000001,20.57,31,21,2016,673865.75108473236]
["2016-06-01",null,29.3,55.03,30,22,2016,674257.58389260957]
["2016-07-01",null,8,102.02,31,20,2016,674649.64453956159]
["2016-08-01",null,10.93,74.5,31,22,2016,675041.9331580702]
["2016-09-01",null,76.63,25.59,30,21,2016,675434.44988069392]
["2016-10-01",null,249.9,2.5499999999999998,31,20,2016,675827.19484006858]
["2016-11-01",null,420.8,0,30,22,2016,676220.16816890694]
["2016-12-01",null,597.79999999999995,0,31,20,2016,676613.36999999906]
["2017-01-01",null,718.98,0,31,21,2017,677062.80004069209]
["2017-02-01",null,685.73,0,28,19,2017,677512.52860838722]
["2017-03-01",null,555.29999999999995,0.22,31,23,2017,677962.55590137723]
["2017-04-01",null,318.32,0.32,30,18,2017,678412.88211808575]
["2017-05-01",null,135.36000000000001,20.57,31,22,2017,678863.50745706842]
["2017-06-01",null,29.3,55.03,30,22,2017,679314.43211701256]
["2017-07-01",null,8,102.02,31,20,2017,679765.65629673749]
["2017-08-01",null,10.93,74.5,31,22,2017,680217.18019519455]
["2017-09-01",null,76.63,25.59,30,20,2017,680669.00401146745]
["2017-10-01",null,249.9,2.5499999999999998,31,21,2017,681121.1279447719]
["2017-11-01",null,420.8,0,30,22,2017,681573.5521944561]
["2017-12-01",null,597.79999999999995,0,31,19,2017,682026.27696000051]

{"sheet":"Predicted Monthly Data","index":4,"n_rows":121,"n_cols":17,"rows_kept":121,"cut":false,"hidden":false,"merged":[]}
["Date","WSkWh","LonHDD","LonCDD","MonthDays","PeakDays","Year","Population",null,"WSkWh","LonHDD","LonCDD","MonthDays","PeakDays","Year","Population","Predicted Value"]
["2006-01-01",293367364.21543998,554.70000000000005,0,31,21,{"$f":"YEAR(A2)","v":2006},631343.79721311864,null,{"$f":"WSkWh","v":6733221371.4646521},{"$f":"LonHDD*C2","v":37783118.584985271},{"$f":"LonCDD*D2","v":0},{"$f":"MonthDays*E2","v":145204450.2072126},{"$f":"PeakDays*F2","v":43708542.142899513},{"$f":"Year*G2","v":-6941049293.2362299},{"$f":"Population*H2","v":268980336.45599622},{"$f":"SUM(J2:P2)","v":287848525.61951607}]
["2006-02-01",273298001.47376001,609.29999999999995,0,28,20,{"$f":"YEAR(A3)","v":2006},631751.85800062038,null,6733221371.4646521,41502170.819959477,0,131152406.63877268,41627182.99323763,-6941049293.2362299,269154188.37059683,275608027.05098909]
["2006-03-01",286819878.50223202,545.70000000000005,0,31,23,2006,632160.18253286323,null,6733221371.4646521,37170087.99680271,0,145204450.2072126,47871260.442223281,-6941049293.2362299,269328152.6521036,291746029.52676409]
["2006-04-01",252565044.23746601,286.10000000000002,0,30,18,2006,632568.77098031505,null,6733221371.4646521,19487561.253225684,0,140520435.68439931,37464464.69391387,-6941049293.2362299,269502229.37314332,259146769.23310387]
["2006-05-01",269392545.02871197,151.9,22.9,31,22,2006,632977.62351355399,null,6733221371.4646521,10346594.038325693,16657738.71796258,145204450.2072126,45789901.292561397,-6941049293.2362299,269676418.60638982,279847181.09087354]
["2006-06-01",287975078.90693802,26.7,44.4,30,22,2006,633386.74030326842,null,6733221371.4646521,1818657.4116082687,32297100.396399062,140520435.68439931,45789901.292561397,-6941049293.2362299,269850720.42456394,282448893.43795544]
["2006-07-01",333043063.74960798,3.3,133.69999999999999,31,20,2006,633796.12152025709,null,6733221371.4646521,224777.88233360625,97255007.274742216,145204450.2072126,41627182.99323763,-6941049293.2362299,270025134.90043342,346508631.48638141]
["2006-08-01",312185503.224558,5.3,68.2,31,22,2006,634205.76733542909,null,6733221371.4646521,361006.90192973125,49609510.068342708,145204450.2072126,45789901.292561397,-6941049293.2362299,270199662.10681307,303336608.80528224]
["2006-09-01",260653838.61909801,98.5,5,30,20,2006,634615.67791980389,null,6733221371.4646521,6709279.2151091564,3637060.8554503452,140520435.68439931,41627182.99323763,-6941049293.2362299,270374302.11656487,255040339.09318364]
["2006-10-01",270564368.43940598,307.89999999999998,0.7,31,21,2006,635025.85344451177,null,6733221371.4646521,20972457.566823442,509188.51976304827,145204450.2072126,43708542.142899513,-6941049293.2362299,270549055.00259769,273115771.66771781]
["2006-11-01",272439193.46248603,383.4,0,30,22,2006,635436.29408079328,null,6733221371.4646521,26115103.056577161,0,140520435.68439931,45789901.292561397,-6941049293.2362299,270723920.83786774,275321439.09982777]
["2006-12-01",288148645.78619999,511.9,0,31,19,2006,635846.99999999988,null,6733221371.4646521,34867817.565628193,0,145204450.2072126,39545823.843575753,-6941049293.2362299,270898899.69537818,282689069.54021633]
["2007-01-01",300073559.97788602,655.6,0,31,22,2007,636023.3972679982,null,6733221371.4646521,44655872.623609774,0,145204450.2072126,45789901.292561397,-6944509437.4502058,270974052.72088593,295336210.85871571]
["2007-02-01",289732838.43879998,758.7,0,28,20,2007,636199.84347229102,null,6733221371.4646521,51678478.583790019,0,131152406.63877268,41627182.99323763,-6944509437.4502058,271049226.59541601,284219228.82566255]
["2007-03-01",288143354.59762597,527,0,31,22,2007,636376.33862645447,null,6733221371.4646521,35896346.663578935,0,145204450.2072126,45789901.292561397,-6944509437.4502058,271124421.32475257,286727053.50255179]
["2007-04-01",260543396.47679999,371.1,0,30,19,2007,636552.88274406828,null,6733221371.4646521,25277294.586060993,0,140520435.68439931,39545823.843575753,-6944509437.4502058,271199636.91468108,265255125.04316294]
["2007-05-01",268501831.21296602,131.9,22.7,31,22,2007,636729.47583871591,null,6733221371.4646521,8984303.8423644435,16512256.283744566,145204450.2072126,45789901.292561397,-6944509437.4502058,271274873.37098873,276477719.01131809]
["2007-06-01",304679126.96210599,23.2,70.2,30,21,2007,636906.11792398465,null,6733221371.4646521,1580256.62731505,51064334.410522848,140520435.68439931,43708542.142899513,-6944509437.4502058,271350130.69946426,296935633.57904762]
["2007-07-01",302183688.77514601,11.3,71.599999999999994,31,21,2007,637082.80901346542,null,6733221371.4646521,769693.96071810625,52082711.450048938,145204450.2072126,43708542.142899513,-6944509437.4502058,271425408.90589809,301902740.68122387]
["2007-08-01",317756806.98433799,11.5,89.1,31,22,2007,637259.54912075307,null,6733221371.4646521,783316.86267771875,64812424.444125146,145204450.2072126,45789901.292561397,-6944509437.4502058,271500707.99608213,316802734.81710511]
["2007-09-01",280873709.66341197,61,35,30,19,2007,637436.3382594462,null,6733221371.4646521,4154985.0976818125,25459425.988152415,140520435.68439931,39545823.843575753,-6944509437.4502058,271576027.97581005,269968632.6040659]
["2007-10-01",275821162.12958002,149.9,21.5,31,22,2007,637613.17644314712,null,6733221371.4646521,10210365.018729569,15639361.678436484,145204450.2072126,45789901.292561397,-6944509437.4502058,271651368.85087705,277207381.06226277]
["2007-11-01",274311353.64484,468.7,0,30,22,2007,637790.063685462,null,6733221371.4646521,31925270.742351893,0,140520435.68439931,45789901.292561397,-6944509437.4502058,271726730.6270799,278674272.36083883]
["2007-12-01",294695847.80001998,657,0,31,19,2007,637967.0000000007,null,6733221371.4646521,44751232.937327065,0,145204450.2072126,39545823.843575753,-6944509437.4502058,271802113.31021702,290015554.31277859]
["2008-01-01",301541879.89762002,639,0,31,22,2008,638231.89422591403,null,6733221371.4646521,43525171.760961935,0,145204450.2072126,45789901.292561397,-6947969581.6641817,271914969.94764012,291686283.00884598]
["2008-02-01",286013196.38046002,692.5,0,29,20,2008,638496.89844019886,null,6733221371.4646521,47169298.035158284,0,135836421.16158599,41627182.99323763,-6947969581.6641817,272027873.44496638,281912565.43541819]
["2008-03-01",285378792.27587998,627.29999999999995,0,31,19,2008,638762.01268852339,null,6733221371.4646521,42728231.996324606,0,145204450.2072126,39545823.843575753,-6947969581.6641817,272140823.82165241,284871119.66923523]
["2008-04-01",255049710.73708001,265,0,30,22,2008,639027.23701657553,null,6733221371.4646521,18050345.096486561,0,140520435.68439931,45789901.292561397,-6947969581.6641817,272253821.09716326,261866292.97108084]
["2008-05-01",248546059.22372001,208.8,2.1,31,21,2008,639292.57147006213,null,6733221371.4646521,14222309.64583545,1527565.5592891451,145204450.2072126,43708542.142899513,-6947969581.6641817,272366865.29097217,262281522.64667934]
["2008-06-01",287944901.33534002,24.1,66.400000000000006,30,21,2008,639558.01609470916,null,6733221371.4646521,1641559.6861333062,48300168.160380587,140520435.68439931,43708542.142899513,-6947969581.6641817,272479956.42256033,291902451.89684355]
["2008-07-01",319461681.27983999,4,97,31,22,2008,639823.57093626133,null,6733221371.4646521,272458.03919225,70558980.595736697,145204450.2072126,45789901.292561397,-6947969581.6641817,272593094.51141703,319670674.44659007]
["2008-08-01",293716156.25855798,12.4,53.2,31,20,2008,640089.23604048265,null,6733221371.4646521,844619.921495975,38698327.501991674,145204450.2072126,41627182.99323763,-6947969581.6641817,272706279.57703972,284332650.00144768]
["2008-09-01",283916906.35448599,56.7,21.4,30,21,2008,640355.01145315578,null,{"$f":"WSkWh","v":6733221371.4646521},{"$f":"LonHDD*C34","v":3862092.705550144},{"$f":"LonCDD*D34","v":15566620.461327475},{"$f":"MonthDays*E34","v":140520435.68439931},{"$f":"PeakDays*F34","v":43708542.142899513},{"$f":"Year*G34","v":-6947969581.6641817},{"$f":"Population*H34","v":272819511.63893396},{"$f":"SUM(J34:P34)","v":261728992.43358117}]
["2008-10-01",262065574.00648001,286.8,0,31,22,2008,640620.8972200827,null,6733221371.4646521,19535241.410084326,0,145204450.2072126,45789901.292561397,-6947969581.6641817,272932790.71661323,268714173.42694229]
["2008-11-01",268677317.44528002,468.3,0,30,20,2008,640886.89338708424,null,6733221371.4646521,31898024.938432671,0,140520435.68439931,41627182.99323763,-6947969581.6641817,273046116.82959944,272343550.24613959]
["2008-12-01",298039893.54677999,671,0,31,21,2008,641153.00000000035,null,6733221371.4646521,45704836.074499935,0,145204450.2072126,43708542.142899513,-6947969581.6641817,273159489.99742222,293029108.22250462]
["2009-01-01",307276829.89279997,849.6,0,31,21,2009,641315.60632433277,null,6733221371.4646521,57870087.524433903,0,145204450.2072126,43708542.142899513,-6951429725.8781586,273228767.47194856,301803492.93298811]
["2009-02-01",264065998.38260001,612.70000000000005,0,28,19,2009,641478.25388814614,null,6733221371.4646521,41733760.153272897,0,131152406.63877268,39545823.843575753,-6951429725.8781586,273298062.51631486,267521698.73842943]
["2009-03-01",278082458.00470001,533.29999999999995,0,31,22,2009,641640.9427018991,null,6733221371.4646521,36325468.075306728,0,145204450.2072126,45789901.292561397,-6951429725.8781586,273367375.13497698,282478840.29655135]
["2009-04-01",250781054.79998001,307,3.2,30,20,2009,641803.67277605331,null,6733221371.4646521,20911154.508005187,2327718.9474882209,140520435.68439931,41627182.99323763,-6951429725.8781586,273436705.33239192,260614843.05201548]
["2009-05-01",250742745.14269,156.9,3.1,31,20,2009,641966.444121073,null,6733221371.4646521,10687166.587316006,2254977.730379214,145204450.2072126,41627182.99323763,-6951429725.8781586,273506053.11301804,255071476.21765614]
["2009-06-01",265479494.76989001,49.7,35.5,30,22,2009,642129.25674742507,null,6733221371.4646521,3385291.1369637065,25823132.073697448,140520435.68439931,45789901.292561397,-6951429725.8781586,273575418.48131466,270885824.25543022]
["2009-07-01",274906308.27781999,20.2,29.4,31,22,2009,642292.11066557909,null,6733221371.4646521,1375913.0979208625,21385917.830048028,145204450.2072126,45789901.292561397,-6951429725.8781586,273644801.44174224,269192629.45597774]
["2009-08-01",300712862.66684002,17.899999999999999,71.900000000000006,31,20,2009,642455.00588600745,null,6733221371.4646521,1219249.7253853187,52300935.101375967,145204450.2072126,41627182.99323763,-6951429725.8781586,273714201.99876255,295857665.61246723]
["2009-09-01",263969677.20096001,71.2,15.9,30,21,2009,642617.94241918484,null,6733221371.4646521,4849753.09762205,11565853.520332098,140520435.68439931,43708542.142899513,-6951429725.8781586,273783620.15683818,256219850.18858504]
["2009-10-01",258962858.78830001,301.2,0,31,21,2009,642780.92027558899,null,6733221371.4646521,20516090.351176426,0,145204450.2072126,43708542.142899513,-6951429725.8781586,273853055.92043322,265073784.20821494]
["2009-11-01",258162607.58963999,356.7,0,30,21,2009,642943.93946569995,null,6733221371.4646521,24296445.644968893,0,140520435.68439931,43708542.142899513,-6951429725.8781586,273922509.29401255,264239578.35277414]
["2009-12-01",292766418.03745002,637.29999999999995,0,31,21,2009,643107.0000000007,null,6733221371.4646521,43409377.094305225,0,145204450.2072126,43708542.142899513,-6951429725.8781586,273991980.28204238,288105995.31295288]
["2010-01-01",301373371.72127002,733.1,0,31,20,2010,643459.18727764953,null,6733221371.4646521,49934747.132959619,0,145204450.2072126,41627182.99323763,-6954889870.0921345,274142027.61418641,289239909.3201133]
["2010-02-01",268164437.27344999,633.4,0,28,19,2010,643811.56742503692,null,6733221371.4646521,43143730.506092787,0,131152406.63877268,39545823.843575753,-6954889870.0921345,274292157.11735576,266465619.47831482]
["2010-03-01",269584961.72100997,450.2,0,31,23,2010,644164.14054778428,null,6733221371.4646521,30665152.311087735,0,145204450.2072126,47871260.442223281,-6954889870.0921345,274442368.83654988,276514733.16959107]
["2010-04-01",242909549.61668,236.4,0,30,20,2010,644516.90675157146,null,6733221371.4646521,16102270.116261976,0,140520435.68439931,41627182.99323763,-6954889870.0921345,274592662.81679302,251174052.98321015]
["2010-05-01",269054896.24094999,121.1,34.9,31,20,2010,644869.86614213616,null,6733221371.4646521,8248667.1365453685,25386684.771043409,145204450.2072126,41627182.99323763,-6954889870.0921345,274743039.10313416,273541525.58369064]
["2010-06-01",288397187.62551999,23.6,57.5,30,22,2010,645223.01882527408,null,6733221371.4646521,1607502.431234275,41826199.837678969,140520435.68439931,45789901.292561397,-6954889870.0921345,274893497.74064684,282969038.35903883]
["2010-07-01",334725938.08823001,5.6,129.69999999999999,31,21,2010,645576.36490683886,null,6733221371.4646521,381441.25486915,94345358.590381935,145204450.2072126,43708542.142899513,-6954889870.0921345,275044038.77442944,337015332.34231007]
["2010-08-01",325611196.93184,6,121.7,31,21,2010,645929.90449274203,null,6733221371.4646521,408687.058788375,88526061.221661404,145204450.2072126,43708542.142899513,-6954889870.0921345,275194662.24960494,331373904.25268435]
["2010-09-01",264224371.98183998,87.9,24.1,30,21,2010,646283.63768895308,null,6733221371.4646521,5987265.4112496944,17530633.323270664,140520435.68439931,43708542.142899513,-6954889870.0921345,275345368.21132106,261423746.14565867]
["2010-10-01",254480106.5099,239.5,0,31,20,2010,646637.56460149959,null,6733221371.4646521,16313425.096635969,0,145204450.2072126,41627182.99323763,-6954889870.0921345,275496156.70475018,256972716.37435353]
["2010-11-01",262982872.56432,413.6,0,30,22,2010,646991.68533646734,null,6733221371.4646521,28172161.252478652,0,140520435.68439931,45789901.292561397,-6954889870.0921345,275647027.77508956,268461027.37704688]
["2010-12-01",293281443.41191,713.5,0,31,21,2010,647346,null,6733221371.4646521,48599702.740917593,0,145204450.2072126,43708542.142899513,-6954889870.0921345,275797981.46756107,291642177.93110782]
["2011-01-01",300666159.26084,798.8,0,31,20,2011,647679.71882858081,null,6733221371.4646521,54409870.426692322,0,145204450.2072126,41627182.99323763,-6958350014.3061104,275940160.42487341,292053021.21055704]
["2011-02-01",269236699.82142001,677.8,0,28,19,2011,648013.60969538626,null,6733221371.4646521,46168014.741126761,0,131152406.63877268,39545823.843575753,-6958350014.3061104,276082412.67806631,267820015.06008345]
["2011-03-01",282763557.58645999,599.6,0,31,23,2011,648347.67268910515,null,6733221371.4646521,40841460.074918278,0,145204450.2072126,47871260.442223281,-6958350014.3061104,276224738.26492506,285013266.14782149]
["2011-04-01",251072267.56657001,330.4,0,30,19,2011,648681.90789847216,null,6733221371.4646521,22505034.037279848,0,140520435.68439931,39545823.843575753,-6958350014.3061104,276367137.22325462,253809787.94705147]
["2011-05-01",259668932.37447,126.4,17.399999999999999,31,21,2011,649016.31541226769,null,{"$f":"WSkWh","v":6733221371.4646521},{"$f":"LonHDD*C66","v":8609674.0384751},{"$f":"LonCDD*D66","v":12656971.7769672},{"$f":"MonthDays*E66","v":145204450.2072126},{"$f":"PeakDays*F66","v":43708542.142899513},{"$f":"Year*G66","v":-6958350014.3061104},{"$f":"Population*H66","v":276509609.59087938},{"$f":"SUM(J66:P66)","v":261560604.91497511}]
["2011-06-01",278903469.94766003,27,39.6,30,22,{"$f":"YEAR(A67)","v":2011},649350.89531931782,null,6733221371.4646521,1839091.7645476875,28805521.975166734,140520435.68439931,45789901.292561397,-6958350014.3061104,276652155.40564305,268478463.28085953]
["2011-07-01",342682880.64267004,0,160.9,31,20,2011,649685.64770849433,null,6733221371.4646521,0,117040618.3283921,145204450.2072126,41627182.99323763,-6958350014.3061104,276794774.70540905,355538383.3927927]
["2011-08-01",311408949.97279,1.5,82.9,31,22,2011,650020.57266871503,null,6733221371.4646521,102171.76469709375,60302468.98336672,145204450.2072126,45789901.292561397,-6958350014.3061104,276937467.52806026,303207816.93443996]
["2011-09-01",270531205.43578005,71.900000000000006,29,30,21,2011,650355.67028894357,null,6733221371.4646521,4897433.2544806944,21094952.961612001,140520435.68439931,43708542.142899513,-6958350014.3061104,277080233.91149914,262172955.11343205]
["2011-10-01",257212837.85677001,234.6,0,31,20,2011,650690.94065818924,null,6733221371.4646521,15979663.998625463,0,145204450.2072126,41627182.99323763,-6958350014.3061104,277223073.89364755,254905728.25126493]
["2011-11-01",256512690.70552,347.9,0,30,22,2011,651026.38386550744,null,6733221371.4646521,23697037.958745942,0,140520435.68439931,45789901.292561397,-6958350014.3061104,277365987.512447,262244719.60669577]
["2011-12-01",277881320.22968,548.4,0,31,20,2011,651361.99999999942,null,6733221371.4646521,37353997.17325747,0,145204450.2072126,41627182.99323763,-6958350014.3061104,277508974.80585861,276565962.33810806]
["2012-01-01",290374956.02315003,644.79999999999995,0,31,21,2012,651876.26101622346,null,6733221371.4646521,43920235.917790696,0,145204450.2072126,43708542.142899513,-6961810158.5200863,277728072.70747858,281972513.91994673]
["2012-02-01",265047531.93023002,553,0,29,20,2012,652390.92804998066,null,6733221371.4646521,37667323.918328561,0,135836421.16158599,41627182.99323763,-6961810158.5200863,277947343.59049648,264489484.60821384]
["2012-03-01",264589708.49737003,331.1,2.2000000000000002,31,22,2012,652906.0014218291,null,6733221371.4646521,22552714.194138493,1600306.7763981519,145204450.2072126,45789901.292561397,-6961810158.5200863,278166787.59148437,264725373.00636035]
["2012-04-01",241856924.93334001,334.6,0,30,19,2012,653421.48145257949,null,6733221371.4646521,22791114.978431713,0,140520435.68439931,39545823.843575753,-6961810158.5200863,278386404.84712166,252654992.29809421]
["2012-05-01",264293073.48114002,87.2,28.5,31,22,2012,653937.36846329563,null,6733221371.4646521,5939585.25439105,20731246.876066968,145204450.2072126,45789901.292561397,-6961810158.5200863,278606195.49419582,267682592.06899345]
["2012-06-01",290940514.11059999,28.2,81.7,30,21,2012,654453.66277529486,null,6733221371.4646521,1920829.1763053625,59429574.378058642,140520435.68439931,43708542.142899513,-6961810158.5200863,278826159.6696021,295816753.99583119]
["2012-07-01",340196199.36287999,0,161,31,21,2012,654970.36471014831,null,6733221371.4646521,0,117113359.54550111,145204450.2072126,43708542.142899513,-6961810158.5200863,279046297.51034409,356483862.35052258]
["2012-08-01",304061556.83872002,7.8,79.599999999999994,31,22,2012,655487.4745896809,null,6733221371.4646521,531293.1764248875,57902008.818769485,145204450.2072126,45789901.292561397,-6961810158.5200863,279266609.1535334,300105475.59306759]
["2012-09-01",261393756.03505,103.4,27.7,30,19,2012,656004.9927359717,null,6733221371.4646521,7043040.3131196629,20149317.139194909,140520435.68439931,39545823.843575753,-6961810158.5200863,279487094.73638994,258156924.66124517]
["2012-10-01",253052401.80328,250.5,0.7,31,22,2012,656522.91947135399,null,6733221371.4646521,17062684.704414655,509188.51976304827,145204450.2072126,45789901.292561397,-6961810158.5200863,279707754.39624184,259685192.06475896]
["2012-11-01",260224799.99487001,420.4,0,30,22,2012,657041.25511841557,null,6733221371.4646521,28635339.919105474,0,140520435.68439931,45789901.292561397,-6961810158.5200863,279928588.27052587,266285478.11115831]
["2012-12-01",271295249.79123002,535.9,0,31,19,2012,657559.99999999907,null,6733221371.4646521,36502565.80078169,0,145204450.2072126,39545823.843575753,-6961810158.5200863,280149596.49678719,272813649.29292214]
["2013-01-01",288991701.29513001,657.4,0,31,22,2013,657954.1148766852,null,6733221371.4646521,44778478.741246283,0,145204450.2072126,45789901.292561397,-6965270302.7340631,280317506.83755761,284041405.80916673]
["2013-02-01",262888750.95611,657,0,28,19,2013,658348.4659698921,null,6733221371.4646521,44751232.937327065,0,131152406.63877268,39545823.843575753,-6965270302.7340631,280485517.81699675,263886049.96726149]
["2013-03-01",276366259.18483996,581.9,0,31,20,2013,658743.05342119944,null,6733221371.4646521,39635833.251492567,0,145204450.2072126,41627182.99323763,-6965270302.7340631,280653629.49542373,275072164.67795509]
["2013-04-01",251523569.77759001,362.2,0,30,21,2013,659137.87737227057,null,6733221371.4646521,24671075.448858235,0,140520435.68439931,43708542.142899513,-6965270302.7340631,280821841.93319345,257672963.93993974]
["2013-05-01",259256155.34336001,122.2,27,31,22,2013,659532.93796485395,null,6733221371.4646521,8323593.0973232379,19640128.619431864,145204450.2072126,45789901.292561397,-6965270302.7340631,280990155.19069695,267899297.13781476]
["2013-06-01",276460042.34591997,41.1,52.7,30,20,2013,659928.23534078291,null,6733221371.4646521,2799506.352700369,38334621.416446641,140520435.68439931,41627182.99323763,-6965270302.7340631,281158569.32836157,272391384.5057345]
["2013-07-01",321327185.60056001,7.1,112.9,31,22,2013,660323.76964197587,null,6733221371.4646521,483613.01956624375,82124834.116068795,145204450.2072126,45789901.292561397,-6965270302.7340631,281327084.40665078,322880951.77264905]
["2013-08-01",294037259.60016,18.399999999999999,63.4,31,21,2013,660719.54101043625,null,6733221371.4646521,1253306.98028435,46117931.647110373,145204450.2072126,43708542.142899513,-6965270302.7340631,281495700.48606426,285731000.19415981]
["2013-09-01",263616852.67688,94.9,26,30,20,2013,661115.54958825244,null,6733221371.4646521,6464066.9798361314,18912716.448341794,140520435.68439931,41627182.99323763,-6965270302.7340631,281664417.62713808,257139888.46354192]
["2013-10-01",260620451.12983999,226.6,2.6,31,22,2013,661511.79551759828,null,6733221371.4646521,15434747.920240963,1891271.6448341794,145204450.2072126,45789901.292561397,-6965270302.7340631,281833235.8904444,258104675.68588316]
["2013-11-01",264051626.00784001,492.1,0,30,21,2013,661908.27894073271,null,6733221371.4646521,33519150.271626558,0,140520435.68439931,43708542.142899513,-6965270302.7340631,282002155.33659196,267701352.16610646]
["2013-12-01",286523069.48232001,687.7,0,31,20,2013,662304.99999999977,null,6733221371.4646521,46842348.388127588,0,145204450.2072126,41627182.99323763,-6965270302.7340631,282171176.02622551,283796226.34539169]
["2014-01-01",305527740.50727999,843.9,0,31,22,2014,662715.6798430573,null,{"$f":"WSkWh","v":6733221371.4646521},{"$f":"LonHDD*C98","v":57481834.818584941},{"$f":"LonCDD*D98","v":0},{"$f":"MonthDays*E98","v":145204450.2072126},{"$f":"PeakDays*F98","v":45789901.292561397},{"$f":"Year*G98","v":-6968730446.9480391},{"$f":"Population*H98","v":282346143.77414501},{"$f":"SUM(J98:P98)","v":295313254.60911739}]
["2014-02-01",270783682.37704003,790,0,28,19,2014,663126.6143390818,null,6733221371.4646521,53810462.740469374,0,131152406.63877268,39545823.843575753,-6968730446.9480391,282521220.01547337,271520837.75490379]
["2014-03-01",288299673.04279995,716.8,0,31,21,2014,663537.80364597798,null,6733221371.4646521,48824480.6232512,0,145204450.2072126,43708542.142899513,-6968730446.9480391,282696404.81748497,284924802.3074609]
["2014-04-01",244855513.01592001,353.8,0,30,20,2014,663949.24792174809,null,6733221371.4646521,24098913.566554513,0,140520435.68439931,41627182.99323763,-6968730446.9480391,282871698.24749577,253609155.00829995]
["2014-05-01",251891961.47196001,142.5,12.2,31,21,2014,664360.94732449227,null,6733221371.4646521,9706317.6462239064,8874428.4872988407,145204450.2072126,43708542.142899513,-6968730446.9480391,283047100.37286341,255031763.37311137]
["2014-06-01",283978631.817375,19.7,71.900000000000006,30,21,2014,664772.90201240883,null,6733221371.4646521,1341855.8430218312,52300935.101375967,140520435.68439931,43708542.142899513,-6968730446.9480391,283222611.2609874,285585304.5492965]
["2014-07-01",286546351.34231502,21.5,47.6,31,22,2014,665185.11214379419,null,6733221371.4646521,1464461.9606583437,34624819.343887284,145204450.2072126,45789901.292561397,-6968730446.9480391,283398230.9793089,274972788.30024129]
["2014-08-01",283846898.55574501,14.5,53.4,31,20,2014,665597.57787704282,null,6733221371.4646521,987660.39207190624,38843809.936209686,145204450.2072126,41627182.99323763,-6968730446.9480391,283573959.59531099,274727987.64065534]
["2014-09-01",261882965.454395,86.2,17.600000000000001,30,21,2014,666010.29937064752,null,6733221371.4646521,5871470.7445929879,12802454.211185215,140520435.68439931,43708542.142899513,-6968730446.9480391,283749797.17651868,251143624.47620893]
["2014-10-01",246291396.49902502,247.1,0,31,22,2014,666423.27678319928,null,6733221371.4646521,16831095.371101242,0,145204450.2072126,45789901.292561397,-6968730446.9480391,283925743.79049861,256242115.17798698]
["2014-11-01",259203542.59719998,503.7,0,30,20,2014,666836.51027338742,null,6733221371.4646521,34309278.585284077,0,140520435.68439931,41627182.99323763,-6968730446.9480391,284101799.50485957,265049621.28439391]
["2014-12-01",264968874.82748997,567.5,0,31,21,2014,667249.99999999965,null,6733221371.4646521,38654984.310400471,0,145204450.2072126,43708542.142899513,-6968730446.9480391,284277964.38725203,276336865.56437701]
["2015-01-01",295598619.00983995,812.9,0,31,21,2015,667637.09581631713,null,6733221371.4646521,55370285.014845006,0,145204450.2072126,43708542.142899513,-6972190591.162015,284442884.29835814,289756941.9659521]
["2015-02-01",273784130.83127999,872.9,0,28,19,2015,668024.41620089347,null,6733221371.4646521,59457155.602728754,0,131152406.63877268,39545823.843575753,-6972190591.162015,284607899.88545901,275794066.27317339]
["2015-03-01",274934256.05799997,640.1,0,31,22,2015,668411.96128400927,null,6733221371.4646521,43600097.721739806,0,145204450.2072126,45789901.292561397,-6972190591.162015,284773011.2040599,280398240.72821075]
["2015-04-01",243458062.73736,336.6,0,30,20,2015,668799.73119602026,null,6733221371.4646521,22927343.998027839,0,140520435.68439931,41627182.99323763,-6972190591.162015,284938218.3096981,251043961.28800011]
["2015-05-01",259161560.15008003,104.7,34.9,31,20,2015,669187.72606735781,null,6733221371.4646521,7131589.1758571435,25386684.771043409,145204450.2072126,41627182.99323763,-6972190591.162015,285103521.25794321,265484208.70793158]
["2015-06-01",267546627.47380927,29.7,30.4,30,22,2015,669575.94602852897,null,6733221371.4646521,2023000.9410024562,22113330.001138095,140520435.68439931,45789901.292561397,-6972190591.162015,285268920.10439688,256746368.32613569]
["2015-07-01",301589192.47099692,7,76.400000000000006,31,22,2015,669964.39121011633,null,6733221371.4646521,476801.5685864375,55574289.871281274,145204450.2072126,45789901.292561397,-6972190591.162015,285434414.90469319,293510638.14697224]
["2015-08-01",290629200.91832,14,61.6,31,20,2015,670353.06174277852,null,6733221371.4646521,953603.13717287499,44808589.739148252,145204450.2072126,41627182.99323763,-6972190591.162015,285600005.7144984,279224612.09390628]
["2015-09-01",282605551.88294774,34.6,54.2,30,21,2015,670741.95775724982,null,6733221371.4646521,2356762.0390129625,39425739.673081741,140520435.68439931,43708542.142899513,-6972190591.162015,285765692.58951104,272807952.43154156]
["2015-10-01",248709445.01775387,254.9,0,31,21,2015,671131.07938434032,null,6733221371.4646521,17362388.547526132,0,145204450.2072126,43708542.142899513,-6972190591.162015,285931475.58546209,253237636.78573751]
["2015-11-01",248717807.65306461,353.2,0,30,21,2015,671520.42675493611,null,6733221371.4646521,24058044.860675674,0,140520435.68439931,43708542.142899513,-6972190591.162015,286097354.75811481,255415157.74872684]
["2015-12-01",260362308.73120618,447.8,0,31,21,2015,671909.99999999919,null,6733221371.4646521,30501677.487572387,0,145204450.2072126,43708542.142899513,-6972190591.162015,286263330.16326469,266708780.30358642]

{"sheet":"Predicted Monthly Data Summ","index":5,"n_rows":122,"n_cols":5,"rows_kept":122,"cut":false,"hidden":false,"merged":[]}
["Date","Year","WSkWh","Predicted Value","Absolute % Error"]
["2006-01-01",{"$f":"YEAR(A2)","v":2006},293367364.21543998,287848525.61951607,{"$f":"ABS(D2-C2)/C2","v":1.8812040019117585E-2}]
["2006-02-01",2006,273298001.47376001,275608027.05098909,8.452405669899762E-3]
["2006-03-01",2006,286819878.50223202,291746029.52676409,1.7175068374815396E-2]
["2006-04-01",2006,252565044.23746601,259146769.23310387,2.6059524648429228E-2]
["2006-05-01",2006,269392545.02871197,279847181.09087354,3.8808186251209381E-2]
["2006-06-01",2006,287975078.90693802,282448893.43795544,1.9189804513495484E-2]
["2006-07-01",2006,333043063.74960798,346508631.48638141,4.043191167283177E-2]
["2006-08-01",2006,312185503.224558,303336608.80528224,2.8344988245372391E-2]
["2006-09-01",2006,260653838.61909801,255040339.09318364,2.1536224272214008E-2]
["2006-10-01",2006,270564368.43940598,273115771.66771781,9.4299306410083866E-3]
["2006-11-01",2006,272439193.46248603,275321439.09982777,1.0579408934194387E-2]
["2006-12-01",2006,288148645.78619999,282689069.54021633,1.8947082784607452E-2]
["2007-01-01",2007,300073559.97788602,295336210.85871571,1.5787292687564437E-2]
["2007-02-01",2007,289732838.43879998,284219228.82566255,1.9029978247709255E-2]
["2007-03-01",2007,288143354.59762597,286727053.50255179,4.9152655179292683E-3]
["2007-04-01",2007,260543396.47679999,265255125.04316294,1.8084237136988816E-2]
["2007-05-01",2007,268501831.21296602,276477719.01131809,2.9705152334793108E-2]
["2007-06-01",2007,304679126.96210599,296935633.57904762,2.5415240815040981E-2]
["2007-07-01",2007,302183688.77514601,301902740.68122387,9.2972620415389417E-4]
["2007-08-01",2007,317756806.98433799,316802734.81710511,3.0025231443111039E-3]
["2007-09-01",2007,280873709.66341197,269968632.6040659,3.8825552852256251E-2]
["2007-10-01",2007,275821162.12958002,277207381.06226277,5.0257888915409285E-3]
["2007-11-01",2007,274311353.64484,278674272.36083883,1.5904987737575177E-2]
["2007-12-01",2007,294695847.80001998,290015554.31277859,1.5881776150498818E-2]
["2008-01-01",2008,301541879.89762002,291686283.00884598,3.2684006918442719E-2]
["2008-02-01",2008,286013196.38046002,281912565.43541819,1.4337208901323211E-2]
["2008-03-01",2008,285378792.27587998,284871119.66923523,1.7789430062272282E-3]
["2008-04-01",2008,255049710.73708001,261866292.97108084,2.6726484865641581E-2]
["2008-05-01",2008,248546059.22372001,262281522.64667934,5.5263251671980172E-2]
["2008-06-01",2008,287944901.33534002,291902451.89684355,1.3744124459750633E-2]
["2008-07-01",2008,319461681.27983999,319670674.44659007,6.5420417845669866E-4]
["2008-08-01",2008,293716156.25855798,284332650.00144768,3.1947531850614337E-2]
["2008-09-01",{"$f":"YEAR(A34)","v":2008},283916906.35448599,261728992.43358117,{"$f":"ABS(D34-C34)/C34","v":7.814932265147316E-2}]
["2008-10-01",2008,262065574.00648001,268714173.42694229,2.5369984003690171E-2]
["2008-11-01",2008,268677317.44528002,272343550.24613959,1.3645486845409834E-2]
["2008-12-01",2008,298039893.54677999,293029108.22250462,1.681246515238366E-2]
["2009-01-01",2009,307276829.89279997,301803492.93298811,1.7812397250132252E-2]
["2009-02-01",2009,264065998.38260001,267521698.73842943,1.3086502529653673E-2]
["2009-03-01",2009,278082458.00470001,282478840.29655135,1.5809635470702854E-2]
["2009-04-01",2009,250781054.79998001,260614843.05201548,3.9212644112525889E-2]
["2009-05-01",2009,250742745.14269,255071476.21765614,1.7263634377548132E-2]
["2009-06-01",2009,265479494.76989001,270885824.25543022,2.0364395714351731E-2]
["2009-07-01",2009,274906308.27781999,269192629.45597774,2.0784094979981384E-2]
["2009-08-01",2009,300712862.66684002,295857665.61246723,1.6145624804057231E-2]
["2009-09-01",2009,263969677.20096001,256219850.18858504,2.9358777472289089E-2]
["2009-10-01",2009,258962858.78830001,265073784.20821494,2.3597690605163431E-2]
["2009-11-01",2009,258162607.58963999,264239578.35277414,2.3539314309970655E-2]
["2009-12-01",2009,292766418.03745002,288105995.31295288,1.5918570018167141E-2]
["2010-01-01",2010,301373371.72127002,289239909.3201133,4.0260565596281515E-2]
["2010-02-01",2010,268164437.27344999,266465619.47831482,6.3349854007780631E-3]
["2010-03-01",2010,269584961.72100997,276514733.16959107,2.5705333874493457E-2]
["2010-04-01",2010,242909549.61668,251174052.98321015,3.4022966077586633E-2]
["2010-05-01",2010,269054896.24094999,273541525.58369064,1.6675516429638541E-2]
["2010-06-01",2010,288397187.62551999,282969038.35903883,1.8821782941689232E-2]
["2010-07-01",2010,334725938.08823001,337015332.34231007,6.8396081497472672E-3]
["2010-08-01",2010,325611196.93184,331373904.25268435,1.7698123943970686E-2]
["2010-09-01",2010,264224371.98183998,261423746.14565867,1.0599422813175609E-2]
["2010-10-01",2010,254480106.5099,256972716.37435353,9.7949104888344369E-3]
["2010-11-01",2010,262982872.56432,268461027.37704688,2.0830842553775229E-2]
["2010-12-01",2010,293281443.41191,291642177.93110782,5.5893937977516406E-3]
["2011-01-01",2011,300666159.26084,292053021.21055704,2.8646848955191897E-2]
["2011-02-01",2011,269236699.82142001,267820015.06008345,5.2618560629967134E-3]
["2011-03-01",2011,282763557.58645999,285013266.14782149,7.9561474631454354E-3]
["2011-04-01",2011,251072267.56657001,253809787.94705147,1.0903316431615124E-2]
["2011-05-01",{"$f":"YEAR(A66)","v":2011},259668932.37447,261560604.91497511,{"$f":"ABS(D66-C66)/C66","v":7.284939800873521E-3}]
["2011-06-01",2011,278903469.94766003,268478463.28085953,3.7378547741829429E-2]
["2011-07-01",2011,342682880.64267004,355538383.3927927,3.7514283544054956E-2]
["2011-08-01",2011,311408949.97279,303207816.93443996,2.6335572690080477E-2]
["2011-09-01",2011,270531205.43578005,262172955.11343205,3.0895697628982467E-2]
["2011-10-01",2011,257212837.85677001,254905728.25126493,8.9696518444767597E-3]
["2011-11-01",2011,256512690.70552,262244719.60669577,2.2345985632953393E-2]
["2011-12-01",2011,277881320.22968,276565962.33810806,4.7335239752162653E-3]
["2012-01-01",2012,290374956.02315003,281972513.91994673,2.8936524755025415E-2]
["2012-02-01",2012,265047531.93023002,264489484.60821384,2.105461303307203E-3]
["2012-03-01",2012,264589708.49737003,264725373.00636035,5.127353960997544E-4]
["2012-04-01",2012,241856924.93334001,252654992.29809421,4.464650895454135E-2]
["2012-05-01",2012,264293073.48114002,267682592.06899345,1.2824848351900937E-2]
["2012-06-01",2012,290940514.11059999,295816753.99583119,1.6760264207746303E-2]
["2012-07-01",2012,340196199.36287999,356483862.35052258,4.7877263232646773E-2]
["2012-08-01",2012,304061556.83872002,300105475.59306759,1.3010790600374441E-2]
["2012-09-01",2012,261393756.03505,258156924.66124517,1.2382971280196969E-2]
["2012-10-01",2012,253052401.80328,259685192.06475896,2.6211133402461104E-2]
["2012-11-01",2012,260224799.99487001,266285478.11115831,2.3290163414124182E-2]
["2012-12-01",2012,271295249.79123002,272813649.29292214,5.5968525171766594E-3]
["2013-01-01",2013,288991701.29513001,284041405.80916673,1.7129542003380377E-2]
["2013-02-01",2013,262888750.95611,263886049.96726149,3.7936161495095481E-3]
["2013-03-01",2013,276366259.18483996,275072164.67795509,4.6825343683483209E-3]
["2013-04-01",2013,251523569.77759001,257672963.93993974,2.4448580177942526E-2]
["2013-05-01",2013,259256155.34336001,267899297.13781476,3.3338231769300668E-2]
["2013-06-01",2013,276460042.34591997,272391384.5057345,1.4716983350145643E-2]
["2013-07-01",2013,321327185.60056001,322880951.77264905,4.8354644166974346E-3]
["2013-08-01",2013,294037259.60016,285731000.19415981,2.8249002923286928E-2]
["2013-09-01",2013,263616852.67688,257139888.46354192,2.456961361752168E-2]
["2013-10-01",2013,260620451.12983999,258104675.68588316,9.6530239014261925E-3]
["2013-11-01",2013,264051626.00784001,267701352.16610646,1.3822017358673982E-2]
["2013-12-01",2013,286523069.48232001,283796226.34539169,9.5170107658524173E-3]
["2014-01-01",{"$f":"YEAR(A98)","v":2014},305527740.50727999,295313254.60911739,{"$f":"ABS(D98-C98)/C98","v":3.3432269951013553E-2}]
["2014-02-01",2014,270783682.37704003,271520837.75490379,2.7223035427864054E-3]
["2014-03-01",2014,288299673.04279995,284924802.3074609,1.1706120578353983E-2]
["2014-04-01",2014,244855513.01592001,253609155.00829995,3.5750234432380491E-2]
["2014-05-01",2014,251891961.47196001,255031763.37311137,1.246487534895342E-2]
["2014-06-01",2014,283978631.817375,285585304.5492965,5.6577240394436994E-3]
["2014-07-01",2014,286546351.34231502,274972788.30024129,4.0389846137833654E-2]
["2014-08-01",2014,283846898.55574501,274727987.64065534,3.21261601288865E-2]
["2014-09-01",2014,261882965.454395,251143624.47620893,4.1008169277265374E-2]
["2014-10-01",2014,246291396.49902502,256242115.17798698,4.0402217943497486E-2]
["2014-11-01",2014,259203542.59719998,265049621.28439391,2.2554007667552157E-2]
["2014-12-01",2014,264968874.82748997,276336865.56437701,4.2903117372892402E-2]
["2015-01-01",2015,295598619.00983995,289756941.9659521,1.9762193285799465E-2]
["2015-02-01",2015,273784130.83127999,275794066.27317339,7.3413146181654535E-3]
["2015-03-01",2015,274934256.05799997,280398240.72821075,1.987378636825125E-2]
["2015-04-01",2015,243458062.73736,251043961.28800011,3.1158953888595152E-2]
["2015-05-01",2015,259161560.15008003,265484208.70793158,2.439655230578994E-2]
["2015-06-01",2015,267546627.47380927,256746368.32613569,4.0367764115175918E-2]
["2015-07-01",2015,301589192.47099692,293510638.14697224,2.6786617444196286E-2]
["2015-08-01",2015,290629200.91832,279224612.09390628,3.9241028734820507E-2]
["2015-09-01",2015,282605551.88294774,272807952.43154156,3.4668814487636972E-2]
["2015-10-01",2015,248709445.01775387,253237636.78573751,1.8206754342041193E-2]
["2015-11-01",2015,248717807.65306461,255415157.74872684,2.6927505347764807E-2]
["2015-12-01",2015,260362308.73120618,266708780.30358642,2.4375538853176476E-2]
[null,null,null,null,{"$f":"AVERAGE(E2:E121)","v":2.0940126884721594E-2}]

{"sheet":"PredictedAnnualDataSumm","index":6,"n_rows":15,"n_cols":4,"rows_kept":15,"cut":false,"hidden":false,"merged":[]}
[]
["Annual Predicted vs. Actual WSkWh"]
[null,"WSkWh ","Predicted Value ","Absolute % Error  "]
[2006,3400452525.6459041,3412657285.6518111,3.5891575941319185E-3]
[2007,3457316676.6635199,3439522286.6587343,5.1468788279926958E-3]
[2008,3390352068.7415242,3374339384.4053087,4.7230151947491687E-3]
[2009,3265909313.5536699,3277065678.624042,3.4160057733607879E-3]
[2010,3374790333.6869202,3386793783.3171206,3.556798628460795E-3]
[2011,3358540971.4006305,3343370724.1980815,4.5169159262101995E-3]
[2012,3307326672.8018603,3340872291.9711142,1.01428200138558E-2]
[2013,3305662923.4005494,3296317360.6656041,2.8271372343467729E-3]
[2014,3248077231.5085444,3244458120.0460525,1.1142319607995038E-3]
[2015,3247096762.934659,3240128564.7998743,2.1459779746406402E-3]
[null,null,"Mean Absolute Percentage Error (Annual)",{"$f":"AVERAGE(D4:D13)","v":4.1178939128548274E-3}]
[null,null,"Mean Absolute Percentage Error (Monthly)",2.0940126884721594E-2]

{"sheet":"PredictedAnnualDataSumm2","index":7,"n_rows":13,"n_cols":3,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
[]
[]
[null,"WSkWh ","Predicted Value "]
[2006,3400452525.6459041,3412657285.6518111]
[2007,3457316676.6635199,3439522286.6587343]
[2008,3390352068.7415242,3374339384.4053087]
[2009,3265909313.5536699,3277065678.624042]
[2010,3374790333.6869202,3386793783.3171206]
[2011,3358540971.4006305,3343370724.1980815]
[2012,3307326672.8018603,3340872291.9711142]
[2013,3305662923.4005494,3296317360.6656041]
[2014,3248077231.5085444,3244458120.0460525]
[2015,3247096762.934659,3240128564.7998743]

{"sheet":"Normalized Monthly Data","index":8,"n_rows":145,"n_cols":17,"rows_kept":145,"cut":false,"hidden":false,"merged":[]}
["Date","WSkWh","LonHDD","LonCDD","MonthDays","PeakDays","Year","Population",null,"WSkWh","LonHDD","LonCDD","MonthDays","PeakDays","Year","Population","Normalized Value"]
["2006-01-01",293367364.21543998,554.70000000000005,0,31,21,{"$f":"YEAR(A2)","v":2006},631343.79721311864,null,{"$f":"WSkWh","v":6733221371.4646521},{"$f":"LonHDD*C2","v":37783118.584985271},{"$f":"LonCDD*D2","v":0},{"$f":"MonthDays*E2","v":145204450.2072126},{"$f":"PeakDays*F2","v":43708542.142899513},{"$f":"Year*G2","v":-6941049293.2362299},{"$f":"Population*H2","v":268980336.45599622},{"$f":"SUM(J2:P2)","v":287848525.61951607}]
["2006-02-01",273298001.47376001,609.29999999999995,0,28,20,{"$f":"YEAR(A3)","v":2006},631751.85800062038,null,6733221371.4646521,41502170.819959477,0,131152406.63877268,41627182.99323763,-6941049293.2362299,269154188.37059683,275608027.05098909]
["2006-03-01",286819878.50223202,545.70000000000005,0,31,23,2006,632160.18253286323,null,6733221371.4646521,37170087.99680271,0,145204450.2072126,47871260.442223281,-6941049293.2362299,269328152.6521036,291746029.52676409]
["2006-04-01",252565044.23746601,286.10000000000002,0,30,18,2006,632568.77098031505,null,6733221371.4646521,19487561.253225684,0,140520435.68439931,37464464.69391387,-6941049293.2362299,269502229.37314332,259146769.23310387]
["2006-05-01",269392545.02871197,151.9,22.9,31,22,2006,632977.62351355399,null,6733221371.4646521,10346594.038325693,16657738.71796258,145204450.2072126,45789901.292561397,-6941049293.2362299,269676418.60638982,279847181.09087354]
["2006-06-01",287975078.90693802,26.7,44.4,30,22,2006,633386.74030326842,null,6733221371.4646521,1818657.4116082687,32297100.396399062,140520435.68439931,45789901.292561397,-6941049293.2362299,269850720.42456394,282448893.43795544]
["2006-07-01",333043063.74960798,3.3,133.69999999999999,31,20,2006,633796.12152025709,null,6733221371.4646521,224777.88233360625,97255007.274742216,145204450.2072126,41627182.99323763,-6941049293.2362299,270025134.90043342,346508631.48638141]
["2006-08-01",312185503.224558,5.3,68.2,31,22,2006,634205.76733542909,null,6733221371.4646521,361006.90192973125,49609510.068342708,145204450.2072126,45789901.292561397,-6941049293.2362299,270199662.10681307,303336608.80528224]
["2006-09-01",260653838.61909801,98.5,5,30,20,2006,634615.67791980389,null,6733221371.4646521,6709279.2151091564,3637060.8554503452,140520435.68439931,41627182.99323763,-6941049293.2362299,270374302.11656487,255040339.09318364]
["2006-10-01",270564368.43940598,307.89999999999998,0.7,31,21,2006,635025.85344451177,null,6733221371.4646521,20972457.566823442,509188.51976304827,145204450.2072126,43708542.142899513,-6941049293.2362299,270549055.00259769,273115771.66771781]
["2006-11-01",272439193.46248603,383.4,0,30,22,2006,635436.29408079328,null,6733221371.4646521,26115103.056577161,0,140520435.68439931,45789901.292561397,-6941049293.2362299,270723920.83786774,275321439.09982777]
["2006-12-01",288148645.78619999,511.9,0,31,19,2006,635846.99999999988,null,6733221371.4646521,34867817.565628193,0,145204450.2072126,39545823.843575753,-6941049293.2362299,270898899.69537818,282689069.54021633]
["2007-01-01",300073559.97788602,655.6,0,31,22,2007,636023.3972679982,null,6733221371.4646521,44655872.623609774,0,145204450.2072126,45789901.292561397,-6944509437.4502058,270974052.72088593,295336210.85871571]
["2007-02-01",289732838.43879998,758.7,0,28,20,2007,636199.84347229102,null,6733221371.4646521,51678478.583790019,0,131152406.63877268,41627182.99323763,-6944509437.4502058,271049226.59541601,284219228.82566255]
["2007-03-01",288143354.59762597,527,0,31,22,2007,636376.33862645447,null,6733221371.4646521,35896346.663578935,0,145204450.2072126,45789901.292561397,-6944509437.4502058,271124421.32475257,286727053.50255179]
["2007-04-01",260543396.47679999,371.1,0,30,19,2007,636552.88274406828,null,6733221371.4646521,25277294.586060993,0,140520435.68439931,39545823.843575753,-6944509437.4502058,271199636.91468108,265255125.04316294]
["2007-05-01",268501831.21296602,131.9,22.7,31,22,2007,636729.47583871591,null,6733221371.4646521,8984303.8423644435,16512256.283744566,145204450.2072126,45789901.292561397,-6944509437.4502058,271274873.37098873,276477719.01131809]
["2007-06-01",304679126.96210599,23.2,70.2,30,21,2007,636906.11792398465,null,6733221371.4646521,1580256.62731505,51064334.410522848,140520435.68439931,43708542.142899513,-6944509437.4502058,271350130.69946426,296935633.57904762]
["2007-07-01",302183688.77514601,11.3,71.599999999999994,31,21,2007,637082.80901346542,null,6733221371.4646521,769693.96071810625,52082711.450048938,145204450.2072126,43708542.142899513,-6944509437.4502058,271425408.90589809,301902740.68122387]
["2007-08-01",317756806.98433799,11.5,89.1,31,22,2007,637259.54912075307,null,6733221371.4646521,783316.86267771875,64812424.444125146,145204450.2072126,45789901.292561397,-6944509437.4502058,271500707.99608213,316802734.81710511]
["2007-09-01",280873709.66341197,61,35,30,19,2007,637436.3382594462,null,6733221371.4646521,4154985.0976818125,25459425.988152415,140520435.68439931,39545823.843575753,-6944509437.4502058,271576027.97581005,269968632.6040659]
["2007-10-01",275821162.12958002,149.9,21.5,31,22,2007,637613.17644314712,null,6733221371.4646521,10210365.018729569,15639361.678436484,145204450.2072126,45789901.292561397,-6944509437.4502058,271651368.85087705,277207381.06226277]
["2007-11-01",274311353.64484,468.7,0,30,22,2007,637790.063685462,null,6733221371.4646521,31925270.742351893,0,140520435.68439931,45789901.292561397,-6944509437.4502058,271726730.6270799,278674272.36083883]
["2007-12-01",294695847.80001998,657,0,31,19,2007,637967.0000000007,null,6733221371.4646521,44751232.937327065,0,145204450.2072126,39545823.843575753,-6944509437.4502058,271802113.31021702,290015554.31277859]
["2008-01-01",301541879.89762002,639,0,31,22,2008,638231.89422591403,null,6733221371.4646521,43525171.760961935,0,145204450.2072126,45789901.292561397,-6947969581.6641817,271914969.94764012,291686283.00884598]
["2008-02-01",286013196.38046002,692.5,0,29,20,2008,638496.89844019886,null,6733221371.4646521,47169298.035158284,0,135836421.16158599,41627182.99323763,-6947969581.6641817,272027873.44496638,281912565.43541819]
["2008-03-01",285378792.27587998,627.29999999999995,0,31,19,2008,638762.01268852339,null,6733221371.4646521,42728231.996324606,0,145204450.2072126,39545823.843575753,-6947969581.6641817,272140823.82165241,284871119.66923523]
["2008-04-01",255049710.73708001,265,0,30,22,2008,639027.23701657553,null,6733221371.4646521,18050345.096486561,0,140520435.68439931,45789901.292561397,-6947969581.6641817,272253821.09716326,261866292.97108084]
["2008-05-01",248546059.22372001,208.8,2.1,31,21,2008,639292.57147006213,null,6733221371.4646521,14222309.64583545,1527565.5592891451,145204450.2072126,43708542.142899513,-6947969581.6641817,272366865.29097217,262281522.64667934]
["2008-06-01",287944901.33534002,24.1,66.400000000000006,30,21,2008,639558.01609470916,null,6733221371.4646521,1641559.6861333062,48300168.160380587,140520435.68439931,43708542.142899513,-6947969581.6641817,272479956.42256033,291902451.89684355]
["2008-07-01",319461681.27983999,4,97,31,22,2008,639823.57093626133,null,6733221371.4646521,272458.03919225,70558980.595736697,145204450.2072126,45789901.292561397,-6947969581.6641817,272593094.51141703,319670674.44659007]
["2008-08-01",293716156.25855798,12.4,53.2,31,20,2008,640089.23604048265,null,6733221371.4646521,844619.921495975,38698327.501991674,145204450.2072126,41627182.99323763,-6947969581.6641817,272706279.57703972,284332650.00144768]
["2008-09-01",283916906.35448599,56.7,21.4,30,21,2008,640355.01145315578,null,{"$f":"WSkWh","v":6733221371.4646521},{"$f":"LonHDD*C34","v":3862092.705550144},{"$f":"LonCDD*D34","v":15566620.461327475},{"$f":"MonthDays*E34","v":140520435.68439931},{"$f":"PeakDays*F34","v":43708542.142899513},{"$f":"Year*G34","v":-6947969581.6641817},{"$f":"Population*H34","v":272819511.63893396},{"$f":"SUM(J34:P34)","v":261728992.43358117}]
["2008-10-01",262065574.00648001,286.8,0,31,22,2008,640620.8972200827,null,6733221371.4646521,19535241.410084326,0,145204450.2072126,45789901.292561397,-6947969581.6641817,272932790.71661323,268714173.42694229]
["2008-11-01",268677317.44528002,468.3,0,30,20,2008,640886.89338708424,null,6733221371.4646521,31898024.938432671,0,140520435.68439931,41627182.99323763,-6947969581.6641817,273046116.82959944,272343550.24613959]
["2008-12-01",298039893.54677999,671,0,31,21,2008,641153.00000000035,null,6733221371.4646521,45704836.074499935,0,145204450.2072126,43708542.142899513,-6947969581.6641817,273159489.99742222,293029108.22250462]
["2009-01-01",307276829.89279997,849.6,0,31,21,2009,641315.60632433277,null,6733221371.4646521,57870087.524433903,0,145204450.2072126,43708542.142899513,-6951429725.8781586,273228767.47194856,301803492.93298811]
["2009-02-01",264065998.38260001,612.70000000000005,0,28,19,2009,641478.25388814614,null,6733221371.4646521,41733760.153272897,0,131152406.63877268,39545823.843575753,-6951429725.8781586,273298062.51631486,267521698.73842943]
["2009-03-01",278082458.00470001,533.29999999999995,0,31,22,2009,641640.9427018991,null,6733221371.4646521,36325468.075306728,0,145204450.2072126,45789901.292561397,-6951429725.8781586,273367375.13497698,282478840.29655135]
["2009-04-01",250781054.79998001,307,3.2,30,20,2009,641803.67277605331,null,6733221371.4646521,20911154.508005187,2327718.9474882209,140520435.68439931,41627182.99323763,-6951429725.8781586,273436705.33239192,260614843.05201548]
["2009-05-01",250742745.14269,156.9,3.1,31,20,2009,641966.444121073,null,6733221371.4646521,10687166.587316006,2254977.730379214,145204450.2072126,41627182.99323763,-6951429725.8781586,273506053.11301804,255071476.21765614]
["2009-06-01",265479494.76989001,49.7,35.5,30,22,2009,642129.25674742507,null,6733221371.4646521,3385291.1369637065,25823132.073697448,140520435.68439931,45789901.292561397,-6951429725.8781586,273575418.48131466,270885824.25543022]
["2009-07-01",274906308.27781999,20.2,29.4,31,22,2009,642292.11066557909,null,6733221371.4646521,1375913.0979208625,21385917.830048028,145204450.2072126,45789901.292561397,-6951429725.8781586,273644801.44174224,269192629.45597774]
["2009-08-01",300712862.66684002,17.899999999999999,71.900000000000006,31,20,2009,642455.00588600745,null,6733221371.4646521,1219249.7253853187,52300935.101375967,145204450.2072126,41627182.99323763,-6951429725.8781586,273714201.99876255,295857665.61246723]
["2009-09-01",263969677.20096001,71.2,15.9,30,21,2009,642617.94241918484,null,6733221371.4646521,4849753.09762205,11565853.520332098,140520435.68439931,43708542.142899513,-6951429725.8781586,273783620.15683818,256219850.18858504]
["2009-10-01",258962858.78830001,301.2,0,31,21,2009,642780.92027558899,null,6733221371.4646521,20516090.351176426,0,145204450.2072126,43708542.142899513,-6951429725.8781586,273853055.92043322,265073784.20821494]
["2009-11-01",258162607.58963999,356.7,0,30,21,2009,642943.93946569995,null,6733221371.4646521,24296445.644968893,0,140520435.68439931,43708542.142899513,-6951429725.8781586,273922509.29401255,264239578.35277414]
["2009-12-01",292766418.03745002,637.29999999999995,0,31,21,2009,643107.0000000007,null,6733221371.4646521,43409377.094305225,0,145204450.2072126,43708542.142899513,-6951429725.8781586,273991980.28204238,288105995.31295288]
["2010-01-01",301373371.72127002,733.1,0,31,20,2010,643459.18727764953,null,6733221371.4646521,49934747.132959619,0,145204450.2072126,41627182.99323763,-6954889870.0921345,274142027.61418641,289239909.3201133]
["2010-02-01",268164437.27344999,633.4,0,28,19,2010,643811.56742503692,null,6733221371.4646521,43143730.506092787,0,131152406.63877268,39545823.843575753,-6954889870.0921345,274292157.11735576,266465619.47831482]
["2010-03-01",269584961.72100997,450.2,0,31,23,2010,644164.14054778428,null,6733221371.4646521,30665152.311087735,0,145204450.2072126,47871260.442223281,-6954889870.0921345,274442368.83654988,276514733.16959107]
["2010-04-01",242909549.61668,236.4,0,30,20,2010,644516.90675157146,null,6733221371.4646521,16102270.116261976,0,140520435.68439931,41627182.99323763,-6954889870.0921345,274592662.81679302,251174052.98321015]
["2010-05-01",269054896.24094999,121.1,34.9,31,20,2010,644869.86614213616,null,6733221371.4646521,8248667.1365453685,25386684.771043409,145204450.2072126,41627182.99323763,-6954889870.0921345,274743039.10313416,273541525.58369064]
["2010-06-01",288397187.62551999,23.6,57.5,30,22,2010,645223.01882527408,null,6733221371.4646521,1607502.431234275,41826199.837678969,140520435.68439931,45789901.292561397,-6954889870.0921345,274893497.74064684,282969038.35903883]
["2010-07-01",334725938.08823001,5.6,129.69999999999999,31,21,2010,645576.36490683886,null,6733221371.4646521,381441.25486915,94345358.590381935,145204450.2072126,43708542.142899513,-6954889870.0921345,275044038.77442944,337015332.34231007]
["2010-08-01",325611196.93184,6,121.7,31,21,2010,645929.90449274203,null,6733221371.4646521,408687.058788375,88526061.221661404,145204450.2072126,43708542.142899513,-6954889870.0921345,275194662.24960494,331373904.25268435]
["2010-09-01",264224371.98183998,87.9,24.1,30,21,2010,646283.63768895308,null,6733221371.4646521,5987265.4112496944,17530633.323270664,140520435.68439931,43708542.142899513,-6954889870.0921345,275345368.21132106,261423746.14565867]
["2010-10-01",254480106.5099,239.5,0,31,20,2010,646637.56460149959,null,6733221371.4646521,16313425.096635969,0,145204450.2072126,41627182.99323763,-6954889870.0921345,275496156.70475018,256972716.37435353]
["2010-11-01",262982872.56432,413.6,0,30,22,2010,646991.68533646734,null,6733221371.4646521,28172161.252478652,0,140520435.68439931,45789901.292561397,-6954889870.0921345,275647027.77508956,268461027.37704688]
["2010-12-01",293281443.41191,713.5,0,31,21,2010,647346,null,6733221371.4646521,48599702.740917593,0,145204450.2072126,43708542.142899513,-6954889870.0921345,275797981.46756107,291642177.93110782]
["2011-01-01",300666159.26084,798.8,0,31,20,2011,647679.71882858081,null,6733221371.4646521,54409870.426692322,0,145204450.2072126,41627182.99323763,-6958350014.3061104,275940160.42487341,292053021.21055704]
["2011-02-01",269236699.82142001,677.8,0,28,19,2011,648013.60969538626,null,6733221371.4646521,46168014.741126761,0,131152406.63877268,39545823.843575753,-6958350014.3061104,276082412.67806631,267820015.06008345]
["2011-03-01",282763557.58645999,599.6,0,31,23,2011,648347.67268910515,null,6733221371.4646521,40841460.074918278,0,145204450.2072126,47871260.442223281,-6958350014.3061104,276224738.26492506,285013266.14782149]
["2011-04-01",251072267.56657001,330.4,0,30,19,2011,648681.90789847216,null,6733221371.4646521,22505034.037279848,0,140520435.68439931,39545823.843575753,-6958350014.3061104,276367137.22325462,253809787.94705147]
["2011-05-01",259668932.37447,126.4,17.399999999999999,31,21,2011,649016.31541226769,null,{"$f":"WSkWh","v":6733221371.4646521},{"$f":"LonHDD*C66","v":8609674.0384751},{"$f":"LonCDD*D66","v":12656971.7769672},{"$f":"MonthDays*E66","v":145204450.2072126},{"$f":"PeakDays*F66","v":43708542.142899513},{"$f":"Year*G66","v":-6958350014.3061104},{"$f":"Population*H66","v":276509609.59087938},{"$f":"SUM(J66:P66)","v":261560604.91497511}]
["2011-06-01",278903469.94766003,27,39.6,30,22,{"$f":"YEAR(A67)","v":2011},649350.89531931782,null,6733221371.4646521,1839091.7645476875,28805521.975166734,140520435.68439931,45789901.292561397,-6958350014.3061104,276652155.40564305,268478463.28085953]
["2011-07-01",342682880.64267004,0,160.9,31,20,2011,649685.64770849433,null,6733221371.4646521,0,117040618.3283921,145204450.2072126,41627182.99323763,-6958350014.3061104,276794774.70540905,355538383.3927927]
["2011-08-01",311408949.97279,1.5,82.9,31,22,2011,650020.57266871503,null,6733221371.4646521,102171.76469709375,60302468.98336672,145204450.2072126,45789901.292561397,-6958350014.3061104,276937467.52806026,303207816.93443996]
["2011-09-01",270531205.43578005,71.900000000000006,29,30,21,2011,650355.67028894357,null,6733221371.4646521,4897433.2544806944,21094952.961612001,140520435.68439931,43708542.142899513,-6958350014.3061104,277080233.91149914,262172955.11343205]
["2011-10-01",257212837.85677001,234.6,0,31,20,2011,650690.94065818924,null,6733221371.4646521,15979663.998625463,0,145204450.2072126,41627182.99323763,-6958350014.3061104,277223073.89364755,254905728.25126493]
["2011-11-01",256512690.70552,347.9,0,30,22,2011,651026.38386550744,null,6733221371.4646521,23697037.958745942,0,140520435.68439931,45789901.292561397,-6958350014.3061104,277365987.512447,262244719.60669577]
["2011-12-01",277881320.22968,548.4,0,31,20,2011,651361.99999999942,null,6733221371.4646521,37353997.17325747,0,145204450.2072126,41627182.99323763,-6958350014.3061104,277508974.80585861,276565962.33810806]
["2012-01-01",290374956.02315003,644.79999999999995,0,31,21,2012,651876.26101622346,null,6733221371.4646521,43920235.917790696,0,145204450.2072126,43708542.142899513,-6961810158.5200863,277728072.70747858,281972513.91994673]
["2012-02-01",265047531.93023002,553,0,29,20,2012,652390.92804998066,null,6733221371.4646521,37667323.918328561,0,135836421.16158599,41627182.99323763,-6961810158.5200863,277947343.59049648,264489484.60821384]
["2012-03-01",264589708.49737003,331.1,2.2000000000000002,31,22,2012,652906.0014218291,null,6733221371.4646521,22552714.194138493,1600306.7763981519,145204450.2072126,45789901.292561397,-6961810158.5200863,278166787.59148437,264725373.00636035]
["2012-04-01",241856924.93334001,334.6,0,30,19,2012,653421.48145257949,null,6733221371.4646521,22791114.978431713,0,140520435.68439931,39545823.843575753,-6961810158.5200863,278386404.84712166,252654992.29809421]
["2012-05-01",264293073.48114002,87.2,28.5,31,22,2012,653937.36846329563,null,6733221371.4646521,5939585.25439105,20731246.876066968,145204450.2072126,45789901.292561397,-6961810158.5200863,278606195.49419582,267682592.06899345]
["2012-06-01",290940514.11059999,28.2,81.7,30,21,2012,654453.66277529486,null,6733221371.4646521,1920829.1763053625,59429574.378058642,140520435.68439931,43708542.142899513,-6961810158.5200863,278826159.6696021,295816753.99583119]
["2012-07-01",340196199.36287999,0,161,31,21,2012,654970.36471014831,null,6733221371.4646521,0,117113359.54550111,145204450.2072126,43708542.142899513,-6961810158.5200863,279046297.51034409,356483862.35052258]
["2012-08-01",304061556.83872002,7.8,79.599999999999994,31,22,2012,655487.4745896809,null,6733221371.4646521,531293.1764248875,57902008.818769485,145204450.2072126,45789901.292561397,-6961810158.5200863,279266609.1535334,300105475.59306759]
["2012-09-01",261393756.03505,103.4,27.7,30,19,2012,656004.9927359717,null,6733221371.4646521,7043040.3131196629,20149317.139194909,140520435.68439931,39545823.843575753,-6961810158.5200863,279487094.73638994,258156924.66124517]
["2012-10-01",253052401.80328,250.5,0.7,31,22,2012,656522.91947135399,null,6733221371.4646521,17062684.704414655,509188.51976304827,145204450.2072126,45789901.292561397,-6961810158.5200863,279707754.39624184,259685192.06475896]
["2012-11-01",260224799.99487001,420.4,0,30,22,2012,657041.25511841557,null,6733221371.4646521,28635339.919105474,0,140520435.68439931,45789901.292561397,-6961810158.5200863,279928588.27052587,266285478.11115831]
["2012-12-01",271295249.79123002,535.9,0,31,19,2012,657559.99999999907,null,6733221371.4646521,36502565.80078169,0,145204450.2072126,39545823.843575753,-6961810158.5200863,280149596.49678719,272813649.29292214]
["2013-01-01",288991701.29513001,657.4,0,31,22,2013,657954.1148766852,null,6733221371.4646521,44778478.741246283,0,145204450.2072126,45789901.292561397,-6965270302.7340631,280317506.83755761,284041405.80916673]
["2013-02-01",262888750.95611,657,0,28,19,2013,658348.4659698921,null,6733221371.4646521,44751232.937327065,0,131152406.63877268,39545823.843575753,-6965270302.7340631,280485517.81699675,263886049.96726149]
["2013-03-01",276366259.18483996,581.9,0,31,20,2013,658743.05342119944,null,6733221371.4646521,39635833.251492567,0,145204450.2072126,41627182.99323763,-6965270302.7340631,280653629.49542373,275072164.67795509]
["2013-04-01",251523569.77759001,362.2,0,30,21,2013,659137.87737227057,null,6733221371.4646521,24671075.448858235,0,140520435.68439931,43708542.142899513,-6965270302.7340631,280821841.93319345,257672963.93993974]
["2013-05-01",259256155.34336001,122.2,27,31,22,2013,659532.93796485395,null,6733221371.4646521,8323593.0973232379,19640128.619431864,145204450.2072126,45789901.292561397,-6965270302.7340631,280990155.19069695,267899297.13781476]
["2013-06-01",276460042.34591997,41.1,52.7,30,20,2013,659928.23534078291,null,6733221371.4646521,2799506.352700369,38334621.416446641,140520435.68439931,41627182.99323763,-6965270302.7340631,281158569.32836157,272391384.5057345]
["2013-07-01",321327185.60056001,7.1,112.9,31,22,2013,660323.76964197587,null,6733221371.4646521,483613.01956624375,82124834.116068795,145204450.2072126,45789901.292561397,-6965270302.7340631,281327084.40665078,322880951.77264905]
["2013-08-01",294037259.60016,18.399999999999999,63.4,31,21,2013,660719.54101043625,null,6733221371.4646521,1253306.98028435,46117931.647110373,145204450.2072126,43708542.142899513,-6965270302.7340631,281495700.48606426,285731000.19415981]
["2013-09-01",263616852.67688,94.9,26,30,20,2013,661115.54958825244,null,6733221371.4646521,6464066.9798361314,18912716.448341794,140520435.68439931,41627182.99323763,-6965270302.7340631,281664417.62713808,257139888.46354192]
["2013-10-01",260620451.12983999,226.6,2.6,31,22,2013,661511.79551759828,null,6733221371.4646521,15434747.920240963,1891271.6448341794,145204450.2072126,45789901.292561397,-6965270302.7340631,281833235.8904444,258104675.68588316]
["2013-11-01",264051626.00784001,492.1,0,30,21,2013,661908.27894073271,null,6733221371.4646521,33519150.271626558,0,140520435.68439931,43708542.142899513,-6965270302.7340631,282002155.33659196,267701352.16610646]
["2013-12-01",286523069.48232001,687.7,0,31,20,2013,662304.99999999977,null,6733221371.4646521,46842348.388127588,0,145204450.2072126,41627182.99323763,-6965270302.7340631,282171176.02622551,283796226.34539169]
["2014-01-01",305527740.50727999,843.9,0,31,22,2014,662715.6798430573,null,{"$f":"WSkWh","v":6733221371.4646521},{"$f":"LonHDD*C98","v":57481834.818584941},{"$f":"LonCDD*D98","v":0},{"$f":"MonthDays*E98","v":145204450.2072126},{"$f":"PeakDays*F98","v":45789901.292561397},{"$f":"Year*G98","v":-6968730446.9480391},{"$f":"Population*H98","v":282346143.77414501},{"$f":"SUM(J98:P98)","v":295313254.60911739}]
["2014-02-01",270783682.37704003,790,0,28,19,2014,663126.6143390818,null,6733221371.4646521,53810462.740469374,0,131152406.63877268,39545823.843575753,-6968730446.9480391,282521220.01547337,271520837.75490379]
["2014-03-01",288299673.04279995,716.8,0,31,21,2014,663537.80364597798,null,6733221371.4646521,48824480.6232512,0,145204450.2072126,43708542.142899513,-6968730446.9480391,282696404.81748497,284924802.3074609]
["2014-04-01",244855513.01592001,353.8,0,30,20,2014,663949.24792174809,null,6733221371.4646521,24098913.566554513,0,140520435.68439931,41627182.99323763,-6968730446.9480391,282871698.24749577,253609155.00829995]
["2014-05-01",251891961.47196001,142.5,12.2,31,21,2014,664360.94732449227,null,6733221371.4646521,9706317.6462239064,8874428.4872988407,145204450.2072126,43708542.142899513,-6968730446.9480391,283047100.37286341,255031763.37311137]
["2014-06-01",283978631.817375,19.7,71.900000000000006,30,21,2014,664772.90201240883,null,6733221371.4646521,1341855.8430218312,52300935.101375967,140520435.68439931,43708542.142899513,-6968730446.9480391,283222611.2609874,285585304.5492965]
["2014-07-01",286546351.34231502,21.5,47.6,31,22,2014,665185.11214379419,null,6733221371.4646521,1464461.9606583437,34624819.343887284,145204450.2072126,45789901.292561397,-6968730446.9480391,283398230.9793089,274972788.30024129]
["2014-08-01",283846898.55574501,14.5,53.4,31,20,2014,665597.57787704282,null,6733221371.4646521,987660.39207190624,38843809.936209686,145204450.2072126,41627182.99323763,-6968730446.9480391,283573959.59531099,274727987.64065534]
["2014-09-01",261882965.454395,86.2,17.600000000000001,30,21,2014,666010.29937064752,null,6733221371.4646521,5871470.7445929879,12802454.211185215,140520435.68439931,43708542.142899513,-6968730446.9480391,283749797.17651868,251143624.47620893]
["2014-10-01",246291396.49902502,247.1,0,31,22,2014,666423.27678319928,null,6733221371.4646521,16831095.371101242,0,145204450.2072126,45789901.292561397,-6968730446.9480391,283925743.79049861,256242115.17798698]
["2014-11-01",259203542.59719998,503.7,0,30,20,2014,666836.51027338742,null,6733221371.4646521,34309278.585284077,0,140520435.68439931,41627182.99323763,-6968730446.9480391,284101799.50485957,265049621.28439391]
["2014-12-01",264968874.82748997,567.5,0,31,21,2014,667249.99999999965,null,6733221371.4646521,38654984.310400471,0,145204450.2072126,43708542.142899513,-6968730446.9480391,284277964.38725203,276336865.56437701]
["2015-01-01",295598619.00983995,812.9,0,31,21,2015,667637.09581631713,null,6733221371.4646521,55370285.014845006,0,145204450.2072126,43708542.142899513,-6972190591.162015,284442884.29835814,289756941.9659521]
["2015-02-01",273784130.83127999,872.9,0,28,19,2015,668024.41620089347,null,6733221371.4646521,59457155.602728754,0,131152406.63877268,39545823.843575753,-6972190591.162015,284607899.88545901,275794066.27317339]
["2015-03-01",274934256.05799997,640.1,0,31,22,2015,668411.96128400927,null,6733221371.4646521,43600097.721739806,0,145204450.2072126,45789901.292561397,-6972190591.162015,284773011.2040599,280398240.72821075]
["2015-04-01",243458062.73736,336.6,0,30,20,2015,668799.73119602026,null,6733221371.4646521,22927343.998027839,0,140520435.68439931,41627182.99323763,-6972190591.162015,284938218.3096981,251043961.28800011]
["2015-05-01",259161560.15008003,104.7,34.9,31,20,2015,669187.72606735781,null,6733221371.4646521,7131589.1758571435,25386684.771043409,145204450.2072126,41627182.99323763,-6972190591.162015,285103521.25794321,265484208.70793158]
["2015-06-01",267546627.47380927,29.7,30.4,30,22,2015,669575.94602852897,null,6733221371.4646521,2023000.9410024562,22113330.001138095,140520435.68439931,45789901.292561397,-6972190591.162015,285268920.10439688,256746368.32613569]
["2015-07-01",301589192.47099692,7,76.400000000000006,31,22,2015,669964.39121011633,null,6733221371.4646521,476801.5685864375,55574289.871281274,145204450.2072126,45789901.292561397,-6972190591.162015,285434414.90469319,293510638.14697224]
["2015-08-01",290629200.91832,14,61.6,31,20,2015,670353.06174277852,null,6733221371.4646521,953603.13717287499,44808589.739148252,145204450.2072126,41627182.99323763,-6972190591.162015,285600005.7144984,279224612.09390628]
["2015-09-01",282605551.88294774,34.6,54.2,30,21,2015,670741.95775724982,null,6733221371.4646521,2356762.0390129625,39425739.673081741,140520435.68439931,43708542.142899513,-6972190591.162015,285765692.58951104,272807952.43154156]
["2015-10-01",248709445.01775387,254.9,0,31,21,2015,671131.07938434032,null,6733221371.4646521,17362388.547526132,0,145204450.2072126,43708542.142899513,-6972190591.162015,285931475.58546209,253237636.78573751]
["2015-11-01",248717807.65306461,353.2,0,30,21,2015,671520.42675493611,null,6733221371.4646521,24058044.860675674,0,140520435.68439931,43708542.142899513,-6972190591.162015,286097354.75811481,255415157.74872684]
["2015-12-01",260362308.73120618,447.8,0,31,21,2015,671909.99999999919,null,6733221371.4646521,30501677.487572387,0,145204450.2072126,43708542.142899513,-6972190591.162015,286263330.16326469,266708780.30358642]
["2016-01-01",null,718.98,0,31,20,{"$f":"YEAR(A122)","v":2016},672300.69559703395,null,6733221371.4646521,48972970.254610978,0,145204450.2072126,41627182.99323763,-6975650735.3759918,286429783.73991525,279805023.28363645]
["2016-02-01",null,685.73,0,29,20,{"$f":"YEAR(A123)","v":2016},672691.61837188865,null,6733221371.4646521,46708162.803825401,0,135836421.16158599,41627182.99323763,-6975650735.3759918,286596334.10434884,268338737.15165776]
["2016-03-01",null,555.29999999999995,0.22,31,21,2016,673082.76845666114,null,6733221371.4646521,37823987.290864103,160030.67763981517,145204450.2072126,43708542.142899513,-6975650735.3759918,286762981.31284499,271230627.72012115]
["2016-04-01",null,318.32,0.32,30,21,2016,673474.14598352544,null,6733221371.4646521,21682210.758919254,232771.89474882209,140520435.68439931,43708542.142899513,-6975650735.3759918,286929725.42171556,250644321.99134332]
["2016-05-01",null,135.36000000000001,20.57,31,21,2016,673865.75108473236,null,6733221371.4646521,9219980.0462657399,14962868.359322719,145204450.2072126,43708542.142899513,-6975650735.3759918,287096566.48730534,257763043.33166569]
["2016-06-01",null,29.3,55.03,30,22,2016,674257.58389260957,null,6733221371.4646521,1995755.1370832312,40029491.7750865,140520435.68439931,45789901.292561397,-6975650735.3759918,287263504.5659917,273169724.54378253]
["2016-07-01",null,8,102.02,31,20,2016,674649.64453956159,null,6733221371.4646521,544916.0783845,74210589.694608837,145204450.2072126,41627182.99323763,-6975650735.3759918,287430539.71418482,306588314.77628809]
["2016-08-01",null,10.93,74.5,31,22,2016,675041.9331580702,null,6733221371.4646521,744491.59209282312,54192206.746210143,145204450.2072126,45789901.292561397,-6975650735.3759918,287597671.9883278,291099357.91506463]
["2016-09-01",null,76.63,25.59,30,21,2016,675434.44988069392,null,{"$f":"WSkWh","v":6733221371.4646521},{"$f":"LonHDD*C130","v":5219614.8858255288},{"$f":"LonCDD*D130","v":18614477.458194867},{"$f":"MonthDays*E130","v":140520435.68439931},{"$f":"PeakDays*F130","v":43708542.142899513},{"$f":"Year*G130","v":-6975650735.3759918},{"$f":"Population*H130","v":287764901.44489646},{"$f":"SUM(J130:P130)","v":253398607.70487571}]
["2016-10-01",null,249.9,2.5499999999999998,31,20,2016,675827.19484006858,null,6733221371.4646521,17021815.998535819,1854901.0362796758,145204450.2072126,41627182.99323763,-6975650735.3759918,287932228.14039946,251211214.46432543]
["2016-11-01",null,420.8,0,30,22,2016,676220.16816890694,null,6733221371.4646521,28662585.7230247,0,140520435.68439931,45789901.292561397,-6975650735.3759918,288099652.13137835,260643210.9200241]
["2016-12-01",null,597.79999999999995,0,31,20,2016,676613.36999999906,null,6733221371.4646521,40718853.957281761,0,145204450.2072126,41627182.99323763,-6975650735.3759918,288267173.47440749,273388296.72079974]
["2017-01-01",null,718.98,0,31,21,2017,677062.80004069209,null,6733221371.4646521,48972970.254610978,0,145204450.2072126,43708542.142899513,-6979110879.5899677,288458650.5176487,280455104.99705601]
["2017-02-01",null,685.73,0,28,19,2017,677512.52860838722,null,6733221371.4646521,46708162.803825401,0,131152406.63877268,39545823.843575753,-6979110879.5899677,288650254.74657512,260167139.90743327]
["2017-03-01",null,555.29999999999995,0.22,31,23,2017,677962.55590137723,null,6733221371.4646521,37823987.290864103,160030.67763981517,145204450.2072126,47871260.442223281,-6979110879.5899677,288841986.24566829,274012206.73829257]
["2017-04-01",null,318.32,0.32,30,18,2017,678412.88211808575,null,6733221371.4646521,21682210.758919254,232771.89474882209,140520435.68439931,37464464.69391387,-6979110879.5899677,289033845.09946537,243044220.00613117]
["2017-05-01",null,135.36000000000001,20.57,31,22,2017,678863.50745706842,null,6733221371.4646521,9219980.0462657399,14962868.359322719,145204450.2072126,45789901.292561397,-6979110879.5899677,289225831.39255989,258513523.17260635]
["2017-06-01",null,29.3,55.03,30,22,2017,679314.43211701256,null,6733221371.4646521,1995755.1370832312,40029491.7750865,140520435.68439931,45789901.292561397,-6979110879.5899677,289417945.2096014,271864020.97341633]
["2017-07-01",null,8,102.02,31,20,2017,679765.65629673749,null,6733221371.4646521,544916.0783845,74210589.694608837,145204450.2072126,41627182.99323763,-6979110879.5899677,289610186.63529569,305307817.48342305]
["2017-08-01",null,10.93,74.5,31,22,2017,680217.18019519455,null,6733221371.4646521,744491.59209282312,54192206.746210143,145204450.2072126,45789901.292561397,-6979110879.5899677,289802555.75440478,289844097.46716571]
["2017-09-01",null,76.63,25.59,30,20,2017,680669.00401146745,null,6733221371.4646521,5219614.8858255288,18614477.458194867,140520435.68439931,41627182.99323763,-6979110879.5899677,289995052.65174723,250087255.54808855]
["2017-10-01",null,249.9,2.5499999999999998,31,21,2017,681121.1279447719,null,6733221371.4646521,17021815.998535819,1854901.0362796758,145204450.2072126,43708542.142899513,-6979110879.5899677,290187677.41219765,252087878.67180973]
["2017-11-01",null,420.8,0,30,22,2017,681573.5521944561,null,6733221371.4646521,28662585.7230247,0,140520435.68439931,45789901.292561397,-6979110879.5899677,290380430.12068719,259463844.69535702]
["2017-12-01",null,597.79999999999995,0,31,19,2017,682026.27696000051,null,6733221371.4646521,40718853.957281761,0,145204450.2072126,39545823.843575753,-6979110879.5899677,290573310.86220336,270152930.74495769]

{"sheet":"Normalized Monthly Data Summ","index":9,"n_rows":145,"n_cols":4,"rows_kept":145,"cut":false,"hidden":false,"merged":[]}
["Date","Year","WSkWh","Normalized Value"]
["2006-01-01",{"$f":"YEAR(A2)","v":2006},293367364.21543998,287848525.61951607]
["2006-02-01",2006,273298001.47376001,275608027.05098909]
["2006-03-01",2006,286819878.50223202,291746029.52676409]
["2006-04-01",2006,252565044.23746601,259146769.23310387]
["2006-05-01",2006,269392545.02871197,279847181.09087354]
["2006-06-01",2006,287975078.90693802,282448893.43795544]
["2006-07-01",2006,333043063.74960798,346508631.48638141]
["2006-08-01",2006,312185503.224558,303336608.80528224]
["2006-09-01",2006,260653838.61909801,255040339.09318364]
["2006-10-01",2006,270564368.43940598,273115771.66771781]
["2006-11-01",2006,272439193.46248603,275321439.09982777]
["2006-12-01",2006,288148645.78619999,282689069.54021633]
["2007-01-01",2007,300073559.97788602,295336210.85871571]
["2007-02-01",2007,289732838.43879998,284219228.82566255]
["2007-03-01",2007,288143354.59762597,286727053.50255179]
["2007-04-01",2007,260543396.47679999,265255125.04316294]
["2007-05-01",2007,268501831.21296602,276477719.01131809]
["2007-06-01",2007,304679126.96210599,296935633.57904762]
["2007-07-01",2007,302183688.77514601,301902740.68122387]
["2007-08-01",2007,317756806.98433799,316802734.81710511]
["2007-09-01",2007,280873709.66341197,269968632.6040659]
["2007-10-01",2007,275821162.12958002,277207381.06226277]
["2007-11-01",2007,274311353.64484,278674272.36083883]
["2007-12-01",2007,294695847.80001998,290015554.31277859]
["2008-01-01",2008,301541879.89762002,291686283.00884598]
["2008-02-01",2008,286013196.38046002,281912565.43541819]
["2008-03-01",2008,285378792.27587998,284871119.66923523]
["2008-04-01",2008,255049710.73708001,261866292.97108084]
["2008-05-01",2008,248546059.22372001,262281522.64667934]
["2008-06-01",2008,287944901.33534002,291902451.89684355]
["2008-07-01",2008,319461681.27983999,319670674.44659007]
["2008-08-01",2008,293716156.25855798,284332650.00144768]
["2008-09-01",{"$f":"YEAR(A34)","v":2008},283916906.35448599,261728992.43358117]
["2008-10-01",2008,262065574.00648001,268714173.42694229]
["2008-11-01",2008,268677317.44528002,272343550.24613959]
["2008-12-01",2008,298039893.54677999,293029108.22250462]
["2009-01-01",2009,307276829.89279997,301803492.93298811]
["2009-02-01",2009,264065998.38260001,267521698.73842943]
["2009-03-01",2009,278082458.00470001,282478840.29655135]
["2009-04-01",2009,250781054.79998001,260614843.05201548]
["2009-05-01",2009,250742745.14269,255071476.21765614]
["2009-06-01",2009,265479494.76989001,270885824.25543022]
["2009-07-01",2009,274906308.27781999,269192629.45597774]
["2009-08-01",2009,300712862.66684002,295857665.61246723]
["2009-09-01",2009,263969677.20096001,256219850.18858504]
["2009-10-01",2009,258962858.78830001,265073784.20821494]
["2009-11-01",2009,258162607.58963999,264239578.35277414]
["2009-12-01",2009,292766418.03745002,288105995.31295288]
["2010-01-01",2010,301373371.72127002,289239909.3201133]
["2010-02-01",2010,268164437.27344999,266465619.47831482]
["2010-03-01",2010,269584961.72100997,276514733.16959107]
["2010-04-01",2010,242909549.61668,251174052.98321015]
["2010-05-01",2010,269054896.24094999,273541525.58369064]
["2010-06-01",2010,288397187.62551999,282969038.35903883]
["2010-07-01",2010,334725938.08823001,337015332.34231007]
["2010-08-01",2010,325611196.93184,331373904.25268435]
["2010-09-01",2010,264224371.98183998,261423746.14565867]
["2010-10-01",2010,254480106.5099,256972716.37435353]
["2010-11-01",2010,262982872.56432,268461027.37704688]
["2010-12-01",2010,293281443.41191,291642177.93110782]
["2011-01-01",2011,300666159.26084,292053021.21055704]
["2011-02-01",2011,269236699.82142001,267820015.06008345]
["2011-03-01",2011,282763557.58645999,285013266.14782149]
["2011-04-01",2011,251072267.56657001,253809787.94705147]
["2011-05-01",{"$f":"YEAR(A66)","v":2011},259668932.37447,261560604.91497511]
["2011-06-01",2011,278903469.94766003,268478463.28085953]
["2011-07-01",2011,342682880.64267004,355538383.3927927]
["2011-08-01",2011,311408949.97279,303207816.93443996]
["2011-09-01",2011,270531205.43578005,262172955.11343205]
["2011-10-01",2011,257212837.85677001,254905728.25126493]
["2011-11-01",2011,256512690.70552,262244719.60669577]
["2011-12-01",2011,277881320.22968,276565962.33810806]
["2012-01-01",2012,290374956.02315003,281972513.91994673]
["2012-02-01",2012,265047531.93023002,264489484.60821384]
["2012-03-01",2012,264589708.49737003,264725373.00636035]
["2012-04-01",2012,241856924.93334001,252654992.29809421]
["2012-05-01",2012,264293073.48114002,267682592.06899345]
["2012-06-01",2012,290940514.11059999,295816753.99583119]
["2012-07-01",2012,340196199.36287999,356483862.35052258]
["2012-08-01",2012,304061556.83872002,300105475.59306759]
["2012-09-01",2012,261393756.03505,258156924.66124517]
["2012-10-01",2012,253052401.80328,259685192.06475896]
["2012-11-01",2012,260224799.99487001,266285478.11115831]
["2012-12-01",2012,271295249.79123002,272813649.29292214]
["2013-01-01",2013,288991701.29513001,284041405.80916673]
["2013-02-01",2013,262888750.95611,263886049.96726149]
["2013-03-01",2013,276366259.18483996,275072164.67795509]
["2013-04-01",2013,251523569.77759001,257672963.93993974]
["2013-05-01",2013,259256155.34336001,267899297.13781476]
["2013-06-01",2013,276460042.34591997,272391384.5057345]
["2013-07-01",2013,321327185.60056001,322880951.77264905]
["2013-08-01",2013,294037259.60016,285731000.19415981]
["2013-09-01",2013,263616852.67688,257139888.46354192]
["2013-10-01",2013,260620451.12983999,258104675.68588316]
["2013-11-01",2013,264051626.00784001,267701352.16610646]
["2013-12-01",2013,286523069.48232001,283796226.34539169]
["2014-01-01",{"$f":"YEAR(A98)","v":2014},305527740.50727999,295313254.60911739]
["2014-02-01",2014,270783682.37704003,271520837.75490379]
["2014-03-01",2014,288299673.04279995,284924802.3074609]
["2014-04-01",2014,244855513.01592001,253609155.00829995]
["2014-05-01",2014,251891961.47196001,255031763.37311137]
["2014-06-01",2014,283978631.817375,285585304.5492965]
["2014-07-01",2014,286546351.34231502,274972788.30024129]
["2014-08-01",2014,283846898.55574501,274727987.64065534]
["2014-09-01",2014,261882965.454395,251143624.47620893]
["2014-10-01",2014,246291396.49902502,256242115.17798698]
["2014-11-01",2014,259203542.59719998,265049621.28439391]
["2014-12-01",2014,264968874.82748997,276336865.56437701]
["2015-01-01",2015,295598619.00983995,289756941.9659521]
["2015-02-01",2015,273784130.83127999,275794066.27317339]
["2015-03-01",2015,274934256.05799997,280398240.72821075]
["2015-04-01",2015,243458062.73736,251043961.28800011]
["2015-05-01",2015,259161560.15008003,265484208.70793158]
["2015-06-01",2015,267546627.47380927,256746368.32613569]
["2015-07-01",2015,301589192.47099692,293510638.14697224]
["2015-08-01",2015,290629200.91832,279224612.09390628]
["2015-09-01",2015,282605551.88294774,272807952.43154156]
["2015-10-01",2015,248709445.01775387,253237636.78573751]
["2015-11-01",2015,248717807.65306461,255415157.74872684]
["2015-12-01",2015,260362308.73120618,266708780.30358642]
["2016-01-01",2016,null,279805023.28363645]
["2016-02-01",2016,null,268338737.15165776]
["2016-03-01",2016,null,271230627.72012115]
["2016-04-01",2016,null,250644321.99134332]
["2016-05-01",2016,null,257763043.33166569]
["2016-06-01",2016,null,273169724.54378253]
["2016-07-01",2016,null,306588314.77628809]
["2016-08-01",2016,null,291099357.91506463]
["2016-09-01",{"$f":"YEAR(A130)","v":2016},null,253398607.70487571]
["2016-10-01",2016,null,251211214.46432543]
["2016-11-01",2016,null,260643210.9200241]
["2016-12-01",2016,null,273388296.72079974]
["2017-01-01",2017,null,280455104.99705601]
["2017-02-01",2017,null,260167139.90743327]
["2017-03-01",2017,null,274012206.73829257]
["2017-04-01",2017,null,243044220.00613117]
["2017-05-01",2017,null,258513523.17260635]
["2017-06-01",2017,null,271864020.97341633]
["2017-07-01",2017,null,305307817.48342305]
["2017-08-01",2017,null,289844097.46716571]
["2017-09-01",2017,null,250087255.54808855]
["2017-10-01",2017,null,252087878.67180973]
["2017-11-01",2017,null,259463844.69535702]
["2017-12-01",2017,null,270152930.74495769]

{"sheet":"NormalizedAnnualDataSumm","index":10,"n_rows":15,"n_cols":3,"rows_kept":15,"cut":false,"hidden":false,"merged":[]}
[]
["Annual Actual vs. Normalized WSkWh"]
[null,"WSkWh ","Normalized Value "]
[2006,3400452525.6459041,3412657285.6518111]
[2007,3457316676.6635199,3439522286.6587343]
[2008,3390352068.7415242,3374339384.4053087]
[2009,3265909313.5536699,3277065678.624042]
[2010,3374790333.6869202,3386793783.3171206]
[2011,3358540971.4006305,3343370724.1980815]
[2012,3307326672.8018603,3340872291.9711142]
[2013,3305662923.4005494,3296317360.6656041]
[2014,3248077231.5085444,3244458120.0460525]
[2015,3247096762.934659,3240128564.7998743]
[2016,null,3237280480.5235844]
[2017,null,3215000040.4057369]

{"sheet":"NormalizedAnnualDataSumm2","index":11,"n_rows":15,"n_cols":5,"rows_kept":15,"cut":false,"hidden":false,"merged":[]}
[]
["Annual Actual vs. Normalized WSkWh"]
[null,"WSkWh ","% Change","Normalized Value ","% Change"]
[2006,3400452525.6459041,null,3412657285.6518111]
[2007,3457316676.6635199,{"$f":"B5/B4-1","v":1.6722524601873401E-2},3439522286.6587343,{"$f":"D5/D4-1","v":7.8721649313790998E-3}]
[2008,3390352068.7415242,{"$f":"B6/B5-1","v":-1.9368954071809164E-2},3374339384.4053087,{"$f":"D6/D5-1","v":-1.8951149846087034E-2}]
[2009,3265909313.5536699,-3.6704965344217633E-2,3277065678.624042,-2.8827481382229125E-2]
[2010,3374790333.6869202,3.3338653857101663E-2,3386793783.3171206,3.3483645264976936E-2]
[2011,3358540971.4006305,-4.8149249818839612E-3,3343370724.1980815,-1.2821288184989288E-2]
[2012,3307326672.8018603,-1.5248972406435191E-2,3340872291.9711142,-7.4727944732078111E-4]
[2013,3305662923.4005494,-5.0304961254443725E-4,3296317360.6656041,-1.3336316809411053E-2]
[2014,3248077231.5085444,-1.7420315750998117E-2,3244458120.0460525,-1.5732478079440781E-2]
[2015,3247096762.934659,-3.0186122558117923E-4,3240128564.7998743,-1.3344463346368629E-3]
[2016,null,null,3237280480.5235844,-8.7900347758762543E-4]
[2017,null,null,3215000040.4057369,-6.8824558921888324E-3]

{"sheet":"Summary T Stats","index":12,"n_rows":15,"n_cols":2,"rows_kept":15,"cut":false,"hidden":false,"merged":[]}
[]
["Statistic","Value"]
["R Square",0.90138106257515471]
["Adjusted R Square",0.89614465881808325]
["F Test",172.13742568225317]
["Mean Absolute Percentage Error (Annual)",4.1178939128548274E-3]
["Mean Absolute Percentage Error (Monthly)",2.0940126884721594E-2]
["Variable","t Stat"]
["WSkWh",2.6332818769115298]
["LonHDD",19.508704744509178]
["LonCDD",29.532457876081114]
["MonthDays",5.2476874637138442]
["PeakDays",3.1445315260053905]
["Year",-2.5114814675215387]
["Population",1.2657793640248383]