## Summary Sheet
TABLE 1 - REVENUE FLOW & ECONOMIC EFFICIENCY RESULTS
Row ID | Distributor Serving Sellick | E.L.K. | Hydro One | Reference
1 | Cost Item
2 | One Time Connection Costs
3 | Non-contestable work | 8702.67 | 16103.17 | Hydro One Compendium - Table 1
4 | Contestable work | Not required | Not required | Hydro One Compendium - Table 1
5 | Civil works | Supplied by Sellick | Supplied by Sellick | Hydro One Compendium - Table 1
6 | Capital Contribution | 0 | 0 | Hydro One Compendium - Table 1
7 | Pole relocation cost (already incurred) | 8432.49 | 0 | Hydro One Compendium - Table 1
8 | Total | 17135.16 | 16103.17 | Hydro One Compendium - Table 1
9 | Total One Time Connection Costs | 17135.16 | 16103.17 | Hydro One Compendium - Table 1
10 | Annual Revenue Sources
11 | Hydro One and E.L.K.: Monthly Sellick Bill | 49165.22 | 50104.71 | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
12 | Hydro One: Monthly ST Customer Class Delivery Bill to E.L.K. |  | 10380.3834 | E.L.K. Compendium - Tab 3, Page 2, Column 2 (Note: Does not include $0.28 related to Standard Supply Admin Charge + HST)
13 | Annual Costs & Offsetting Total Sellick and Embedded Distributor Bill Revenues
14 | Total Monthly IESO Charges | 38033.3366 | 37110.8385 | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
15 | Total Monthly Revenue Including HST | 38033.3366 | 37110.8385 | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
16 | LDC Monthly Balance Regarding IESO Charges | 0 | 0 | Row 14 - Row 15
17 | Remaining Sellick Revenue Balance | 11131.8834 | 12993.8715 | Row 11 - Row 15
18 | Total Monthly Debt Retirement & Standard Supply Administration Charges | 2079.0305 | 2099.8225 | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
19 | Total Monthly Revenue Including HST | 2079.0305 | 2099.8225 | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
20 | LDC Monthly Balance Re: Debt Retirement & Standard Supply Administration Charges | 0 | 0 | Row 18 - Row 19
21 | Remaining Sellick Revenue Balance | 9052.8529 | 10894.049 | Row 17-Row 19
22 | Total Monthly ST Customer or Embedded Distributor Class Delivery Charges | 10380.3834 | 10541.2728 | E.L.K. Compendium - Tab 3, Page 2, Columns 4 and 5
23 | Total Monthly Revenue Including HST | 6031.8383 | 10380.3834 | E.L.K. Compendium - Tab 3, Page 2, Columns 4 and 5
24 | LDC Monthly Balance Regarding ST Customer or Embedded Distributor Class Charges | -4348.5451 | -160.8894 | Row 22 - Row 23
25 | Remaining Sellick Revenue Balance | 3021.0146 | 10894.049 | For E.L.K.: Row 21 - Row 23. For Hydro One: Row 21 - 0. Note: For Hydro One, the $10,380.38 Embedded Distributor revenue is sourced from E.L.K. ST customer cost,i.e., Row 12, not Sellick. That revenue is reduced on the next line.
26 | Remaining Monthly ST Customer Class Delivery Bill to E.L.K. Balance |  | 0 | For Hydro One: Row 12 - Row 23
27 | Total Monthly Hydro One Transmission Charges | 0 | 9274.0795 | Uniform Transmission Rates Applied to 1,253 Adjusted Hydro One Peak
28 | Total Monthly Revenue Including HST | 0 | 8340.9707 | E.L.K. Compendium - Tab 3, Page 2, Column 5
29 | LDC Monthly Balance Regarding Hydro One Transmission Charges | 0 | -933.1088 | Row 27 - Row 28
30 | Remaining Sellick Revenue Balance | 3021.0146 | 2553.0783 | Row 25 - Row 28
31 | Total Monthly Costs | 50492.7505 | 59026.0133 | Sum (Rows 14, 18, 22, 27)
32 | Total Monthly Revenue Including HST | 49165.22 | 60485.0934 | Sum (Rows 15, 19, 23, 28)
33 | Monthly Balance - Total Bill Including All Sellick Revenue and Associated Costs | -1327.5305 | 1459.0801 | Row 32 - Row 31
34 | Annual Balance - Total Bill Including All Sellick Revenue and Associated Costs | -15930.366 | 17508.9612 | Row 33 x 12 months
35
36 | Application of Low Voltage and Transmission Revenues
37 | Total Monthly ST Customer or Embedded Distributor Class Charges | 10380.3834 | 10541.2728 | E.L.K. Compendium - Tab 3, Page 2, Columns 4 and 5
38 | Total Monthly Revenue | 6031.8383 | 10380.3834 | E.L.K. Compendium - Tab 3, Page 2, Columns 4 and 5
39 | LDC Monthly Balance Regarding ST Customer or Embedded Distributor Class Charges | -4348.5451 | -160.8894 | Row 37 - Row 38 (Value is the same as Row 24)
40 | Total Monthly Hydro One Transmission Charges | 0 | 9274.0795 | Uniform Transmission Rates Applied to 1,253 Adjusted Hydro One Peak
41 | Total Monthly Revenue | 0 | 8340.9707 | E.L.K. Compendium - Tab 3, Page 2, Column 5
42 | LDC Monthly Balance Regarding Hydro One Transmission Charges | 0 | -933.1088 | Row 40 - Row 41 (Value is the same as Row 29)
44 | Monthly costs to be paid for by other rate payers if only Sellick revenues associated with LV and Transmission Charges are taken into account | -4348.5451 | -1093.9982 | Sum (Rows 39 and 42)
45 | Annual costs to be paid for by other rate payers if only Sellick revenues associated with LV and Transmission Charges are taken into account | -52182.5412 | -13127.9784 | Row 44 x 12 months

## IESO Annual Cost
Annual IESO Costs
Row ID |  | E.L.K. | HONI | Reference
1 | Monthly IESO Electricity Charges
2 | Electricity | 2905.57 | 2835.09 | E.L.K. Compendium - Tab 3, Page 1
3 | Global Adjustment | 29064.6 | 28359.64 | E.L.K. Compendium - Tab 3, Page 1
4 | Monthly IESO Regulatory Charges
5 | Wholesale Market Service | 1012.59 | 988.03 | E.L.K. Compendium - Tab 3, Page 1
6 | Rural and Remote Market Protection | 365.66 | 356.79 | E.L.K. Compendium - Tab 3, Page 1
7 | Ontario Electricity Support Program | 309.4 | 301.9 | E.L.K. Compendium - Tab 3, Page 1
8 | Total Monthly HST on IESO Charges | 4375.5166 | 4269.3885 | E.L.K. Compendium - Tab 3, Page 1
9 | Total Monthly IESO Charges | 38033.3366 | 37110.8385 | E.L.K. Compendium - Tab 3, Page 1
10 | Total Annual IESO Charges | 456400.0392 | 445330.062 | Sum (Rows 1 - 9) x 12 months
11 | Offsetting Revenues
12 | Total Annual IESO Charges | -456400.0392 | -445330.062
13 | OffSetting Revenues Source: Monthly Sellick Bill
14 | Electricity | 2905.57 | 2835.09 | E.L.K. Compendium - Tab 3, Page 1
15 | Global Adjustment | 29064.6 | 28359.64 | E.L.K. Compendium - Tab 3, Page 1
16 | Wholesale Market Service | 1012.59 | 988.03 | E.L.K. Compendium - Tab 3, Page 1
17 | Rural and Remote Market Protection | 365.66 | 356.79 | E.L.K. Compendium - Tab 3, Page 1
18 | Ontario Electricity Support Program | 309.4 | 301.9 | E.L.K. Compendium - Tab 3, Page 1
19 | HST Electricity and Regulatory Charges | 4375.5166 | 4269.3885 | E.L.K. Compendium - Tab 3, Page 1
20 | Total Monthly Revenue | 38033.3366 | 37110.8385 | E.L.K. Compendium - Tab 3, Page 1
21 | Total Annual Revenue to Offset IESO Charges | 456400.0392 | 445330.062 | Sum (Rows 1 - 9) x 12 months
22 | Balance Regarding IESO Charges | 0 | 0 | Line 12 - Line 21

## Embedded Costs
Annual Embedded Distributor and Sub Transmission Customer Costs
Row ID |  | E.L.K. | HONI | Reference
1 | Monthly Incremental Embedded Distributor Class Delivery Charge from ELK to H1 |  | 9328.56 | E.L.K. Compendium - Tab 1
2 | Monthly HST on Incremental Embedded Distributor Class Delivery Charge from ELK to H1 |  | 1212.7128 | E.L.K. Compendium - Tab 1
3 | Monthly Incremental Embedded Distributor Class Delivery Charge from ELK to H1 Including HST |  | 10541.2728 | E.L.K. Compendium - Tab 1
4 | Annual Incremental Embedded Distributor Class Charge from ELK to H1 |  | 126495.2736 | E.L.K. Compendium - Tab 1
5 | Monthly Incremental ST Customer Class Delivery Charge from H1 to ELK | 9186.18 |  | E.L.K. Compendium - Tab 3, Page 2, Column 2
6 | Monthly HST on Incremental ST Customer Class Delivery Charge from H1 to ELK | 1194.2034 |  | E.L.K. Compendium - Tab 3, Page 2, Column 2
7 | Monthly Incremental ST Customer Class Delivery Charge from H1 to ELK Including HST | 10380.3834 |  | E.L.K. Compendium - Tab 3, Page 2, Column 2
8 | Annual Incremental ST Customer Class Charge from H1 to ELK | $124,568.05 |  | E.L.K. Compendium - Tab 3, Page 2, Column 2
9 | Annual Settlement Between Distributors Costs | 124568.05 | 126495.2736
10 | Offsetting Revenues
11 | Annual Settlement Between Distributors Costs | -124568.05 | -126495.27
12 | Offsetting Revenues Source: Monthly E.L.K. Sellick Bill
13 | Low Voltage | 546.6 |  | E.L.K. Compendium - Tab 3, Page 1, Column 1
14 | Transmission Network Service | 2850.64 |  | E.L.K. Compendium - Tab 3, Page 1, Column 1
15 | Transmission Line Connection | 1940.67 |  | E.L.K. Compendium - Tab 3, Page 1, Column 1
16 | HST on LV and RTSR Charges | 693.9283 |  | E.L.K. Compendium - Tab 3, Page 1, Column 1
17 | Total Monthly Revenue | 6031.8383 |  | E.L.K. Compendium - Tab 3, Page 1, Column 1
18 | Offsetting Revenues Source: Monthly HONI Embedded Distributor Bill to E.L.K.
19 | Monthly Incremental ST Customer Class Delivery Charge from H1 to ELK |  | 9186.18 | E.L.K. Compendium - Tab 3, Page 2, Column 2
20 | HST on Incremental ST Customer Class Delivery Charge from H1 to ELK |  | 1194.2034 | E.L.K. Compendium - Tab 3, Page 2, Column 2
21 | Total Monthly Incremental ST Customer Class Delivery Charge from H1 to ELK |  | 10380.3834 | E.L.K. Compendium - Tab 3, Page 2, Column 2
22 | Total Annual Revenue to Offset Annual Settlement Between Distributors | 72382.0596 | 124564.6008 | Monthly revenue from Lines 17 or 21 x 12 months
23 | Balance Regarding Annual Settlement Between Distributors | -52185.9904 | -1930.6692 | Row 11 - Row 22

## HONI TX
Hydro One Transmission Annual Costs
Row ID |  | E.L.K. | HONI | Reference
1 | Monthly Hydro One Transmission Network Service Charges |  | 4585.98 | Hydro One Transmission Rate Schedule
2 | Monthly Hydro One Transmission Line Connection Service Charges |  | 1090.11 | Hydro One Transmission Rate Schedule
3 | Monthly Hydro One Transformation Connection Charges |  | 2531.06 | Hydro One Transmission Rate Schedule
4 | Total HST on Hydro One Transmission Charges |  | 1066.9295 | Hydro One Transmission Rate Schedule
5 | Total Monthly Hydro One Transmission Charges |  | 9274.0795 | Sum (Rows 1-4)
6 | Total Annual Hydro One Transmission Charges |  | 111288.954
7 | Offsetting Revenue
8 | Total Annual Hydro One Transmission Charges |  | -111288.954
9 | Offsetting Revenue Source: Monthly HONI Sellick Bill
10 | Transmission Network Service |  | 4185.21 | E.L.K. Compendium - Tab 3, Page 1, Column 2
11 | Transmission Line Connection |  | 976.37 | E.L.K. Compendium - Tab 3, Page 1, Column 2
12 | Transmission Transformation Connection |  | 2219.81 | E.L.K. Compendium - Tab 3, Page 1, Column 2
13 | HST on RTSR Charges |  | 959.5807 | E.L.K. Compendium - Tab 3, Page 1, Column 2
14 | Total Monthly RTSR Revenue |  | 8340.9707 | Sum (Row 10 -13)
15 | Total Annual RTSR Revenue to Offset Hydro One Transmission Costs |  | 100091.6484 | Row 14 x 12 months
16 | Balance Regarding Hydro One Transmission Costs | 0 | -11197.3056 | Row 15 - Row 8

## Remaining Cx Dx Revenue
Remaining Sellick Distribution Revenue
Row ID |  | E.L.K. | HONI | Reference
1 | Service Charge | 187.07 | 481.41 | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
2 | Meter Charge | -2427.6 | 741.21 | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
3 | Global Adjustment Rate Rider |  | -274.45 | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
4 | E.L.K. Rate Rider Disposition of Deferral Variance | 3014.76 |  | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
5 | E.L.K. Rate Rider Disposition of GA | 1899.24 |  | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
6 | Rate Rider Foregone Revenue |  | 47.56 | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
7 | Common ST - Distribution Volumetric |  | 1422.89 | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
8 | Rate Rider : Disposition of Variance General (Volumetric) |  | 381.9 | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
9 | Rate Rider: Disposition of Variance Wholesale Market Service |  | -541.16 | E.L.K. Compendium - Tab 3, Page 1, Columns 1 & 2
10 | Subtotal without GA Rider |  | 2533.81 | Sum(Rows 1-9) - Row 3
11 | Subtotal without GA Rider + HST |  | 2863.2053 | Row 10 + HST
12 | HST | 347.5511 | 293.7168 | 0.13 x sum(Rows 1 - 9)
13 | Total Remainng Monthly Sellick Distribution Revenue | 3021.0211 | 2553.0768 | Sum(Rows 1-9) + Row 12

## Debt Retirement and SSA
OEFC Debt Retirment and Standard Supply Admin - Annual Costs
Row ID |  | E.L.K. | HONI | Reference
1 | Debt Retirement | 1839.6 | 1858 | E.L.K. Compendium - Tab 3, Page 1, Column 1 & 2
2 | Standard Supply Administration | 0.25 | 0.25 | E.L.K. Compendium - Tab 3, Page 1, Column 1 & 2
3 | Monthly HST | 239.1805 | 241.5725 | E.L.K. Compendium - Tab 3, Page 1, Column 1 & 2
4 | Monthly Total- Debt Retirement & Standard Supply Administration | 2079.0305 | 2099.8225 | E.L.K. Compendium - Tab 3, Page 1, Column 1 & 2
5 | Total Annual Debt Retirement & Standard Supply Administration | 24948.366 | 25197.87 | Row 4 x 12 months
6 | Offsetting Revenue
7 | Total Annual Debt Retirement & Standard Supply Administration | -24948.366 | -25197.87
8 | Debt Retirement | 1839.6 | 1858 | E.L.K. Compendium - Tab 3, Page 1, Column 1 & 2
9 | Standard Supply Administration | 0.25 | 0.25 | E.L.K. Compendium - Tab 3, Page 1, Column 1 & 2
10 | Monthly HST | 239.1805 | 241.5725 | E.L.K. Compendium - Tab 3, Page 1, Column 1 & 2
11 | Monthly Total- Debt Retirement & Standard Supply Administration | 2079.0305 | 2099.8225 | E.L.K. Compendium - Tab 3, Page 1, Column 1 & 2
12 | Total Annual Debt Retirement & Standard Supply Administration | 24948.366 | 25197.87 | Row 4 x 12 months
13 | Balance Regarding Debt Retirement & Standard Supply Administration | 0 | 0 | Row 7 - Row 12

## HONI Tx Charges on HONI Dx
Hydro One Transmission Charges on Hydro One Distribution
Loss Adjusted Peak (kW) | 1253
|  | Rate | Monthly | Annual
Network Service Rate |  | 3.66 | 4585.98 | 55031.76
Line Connection Service Rate |  | 0.87 | 1090.11 | 13081.32
Transformation Connection Service Rate |  | 2.02 | 2531.06 | 30372.72
Total Before HST |  |  | 8207.15 | 98485.8
Total After HST |  |  | 9274.0795 | 111288.954