## Sheet1
Appendix 2-G
Service Reliability and Quality Indicators
2012 - 2016
Service Reliability
Index | Including outages caused by loss of supply |  |  |  |  | Excluding outages caused by loss of supply |  |  |  |  | Excluding Major Event Days*
| 2012 | 2013 | 2014 | 2015 | 2016 | 2012 | 2013 | 2014 | 2015 | 2016 | 2012 | 2013 | 2014 | 2015 | 2016
SAIDI | 11.3 | 27.4 | 9.9 | 12.9 | 13.2 | 10.6 | 26.6 | 9.4 | 12.2 | 12.6 | 7.5 | 7.3 | 7.9 | 8.3 | 8.3
SAIFI | 3.7 | 4.6 | 3.6 | 3.6 | 3.4 | 3.2 | 4.2 | 3 | 3.1 | 2.9 | 3.1 | 2.8 | 3.3 | 3.1 | 2.8
* Excluding force majeure and including loss of supply
5 Year Historical Average
SAIDI |  |  |  |  | 14.94 |  |  |  |  | 14.28 |  |  |  |  | 7.86
SAIFI |  |  |  |  | 3.78 |  |  |  |  | 3.28 |  |  |  |  | 3.02
SAIDI = System Average Interruption Duration Index
SAIFI = System Average Interruption Frequency Index
NOTE: For additional detail and discussion, see Exhibit B1-1-1, Section 1.4.2.1
Service Quality
Indicator |  |  |  | OEB Minimum Standard |  | 2012 | 2013 | 2014 | 2015 | 2016
Low Voltage Connections |  |  |  | 90% |  | 95.5% | 97.54% | 97.4% | 97.5% | TBD
High Voltage Connections* |  |  |  | 90% |  | 96.3% | 100% | 100% | n/a | n/a
Telephone Accessibility |  |  |  | 65% |  | 83.4% | 63.9% | 69.6% | 76.4% | TBD
Appointments Met |  |  |  | 90% |  | 99% | 98.4% | 99.02% | 98.5% | TBD
Written Response to Enquires |  |  |  | 80% |  | 99.8% | 99.3% | 100% | 100% | TBD
Emergency Rural Response** |  |  |  | 80% |  | 81.4% | 61.16% | 81.1% | 76.3% | TBD
Telephone Call Abandon Rate *** |  |  |  | 10% |  | 1.3% | 5.6% | 4.7% | 2.1% | TBD
Appointment Scheduling |  |  |  | 90% |  | 98.5% | 98.7% | 99% | 98.5% | TBD
Rescheduling a Missed Appointment |  |  |  | 100% |  | 97.6% | 87.1% | 91.1% | 96.2% | TBD
Reconnection Performance Standard |  |  |  | 85% |  | 97.6% | 97.77% | 95.7% | 98.1% | TBD
Note 1 - 2016 data will be provided in the Blue Page Update.
Note 2 - Discrepancies between the data in this table and Hydro One’s OEB Electricity Distributor Performance Scorecard,
detailed in Exhibit A, Tab 5, Schedule 1 have been noted in that exhibit. Hydro One will be filing a separate letter to the OEB
to correct its historical RRR data. The information presented in this Table reflects the corrected data.
* High Voltage Connections results are included with Low Voltage results.
** Emergency Response results include the impact of Force Majeure events.
*** Telephone Call Abandon Rate OEB Minimum Standard of 10.0% should be interpreted as no more than 10.0% of calls.
Note on F16: Keith Ritchie: Years changed to formulas driven from TestYear on Sheet 1.